## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4601 | 2021-02-16 13:30 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.3481 | μmol/L | 15.0743 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.404 | 133829.8145 | 313916.3679 | 30.45 | 114.2
4610 | 2021-02-16 14:31 | 60.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 227.7982 | μmol/L | 27.8503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.771 | 128108.049 | 313208.56 | 30.45 | 114.2
4617 | 2021-02-16 15:06 | 96.236 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7645 | μmol/L | 28.9408 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.962 | 128669.7649 | 311230.3615 | 30.45 | 114.2
4627 | 2021-02-16 15:06 | 96.5651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6654 | μmol/L | 28.9777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.955 | 128626.1205 | 311219.9362 | 30.45 | 114.2
4637 | 2021-02-16 15:06 | 96.8988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.5467 | μmol/L | 28.9716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.963 | 128643.5671 | 311185.6549 | 30.45 | 114.2
4647 | 2021-02-16 15:07 | 97.2317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.2501 | μmol/L | 28.9839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.974 | 128733.1419 | 311176.7184 | 30.45 | 114.2
4657 | 2021-02-16 15:07 | 97.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.3095 | μmol/L | 28.9592 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.979 | 128760.2772 | 311137.034 | 30.45 | 114.2
4667 | 2021-02-16 15:07 | 97.8984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.0723 | μmol/L | 28.9962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.979 | 128733.2953 | 311115.2344 | 30.45 | 114.2
4677 | 2021-02-16 15:08 | 98.232 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.3291 | μmol/L | 28.9839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.97 | 128623.9105 | 311103.3634 | 30.45 | 114.2
4687 | 2021-02-16 15:08 | 98.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.2697 | μmol/L | 28.9962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.969 | 128604.1354 | 311081.8986 | 30.45 | 114.2
4697 | 2021-02-16 15:08 | 98.8988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.2896 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.97 | 128597.312 | 311059.3791 | 30.45 | 114.2
4707 | 2021-02-16 15:09 | 99.2317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.5269 | μmol/L | 28.9716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.964 | 128554.1176 | 311044.2771 | 30.45 | 114.2
4717 | 2021-02-16 15:09 | 99.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.0921 | μmol/L | 28.9962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.978 | 128612.9117 | 311007.3606 | 30.45 | 114.2
4727 | 2021-02-16 15:09 | 99.8983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.2106 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.974 | 128572.0027 | 310987.9988 | 30.45 | 114.2
4737 | 2021-02-16 15:10 | 100.2316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.2895 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.966 | 128527.0837 | 310974.5533 | 30.45 | 114.2
4747 | 2021-02-16 15:10 | 100.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.1117 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.975 | 128562.4972 | 310939.88 | 30.45 | 114.2
4757 | 2021-02-16 15:10 | 100.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.9738 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.986 | 128635.956 | 310933.0184 | 30.45 | 114.2
4767 | 2021-02-16 15:11 | 101.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.8353 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.981 | 128614.3519 | 310917.5608 | 30.45 | 114.2
4777 | 2021-02-16 15:11 | 101.5653 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.796 | μmol/L | 29.0209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.985 | 128592.9798 | 310886.5332 | 30.45 | 114.2
4787 | 2021-02-16 15:11 | 101.899 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.9538 | μmol/L | 29.0085 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.981 | 128579.5621 | 310870.0672 | 30.45 | 114.2
4797 | 2021-02-16 15:12 | 102.2319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.1709 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.972 | 128487.523 | 310854.6192 | 30.45 | 114.2
4807 | 2021-02-16 15:12 | 102.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.3685 | μmol/L | 29.0085 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.96 | 128367.8686 | 310831.7473 | 30.45 | 114.2
4817 | 2021-02-16 15:12 | 102.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.4871 | μmol/L | 29.0085 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.954 | 128298.0701 | 310815.9332 | 30.45 | 114.2
4827 | 2021-02-16 15:13 | 103.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.5861 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.955 | 128307.3598 | 310811.4314 | 30.45 | 114.2
4837 | 2021-02-16 15:13 | 103.5649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6455 | μmol/L | 28.9962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.95 | 128251.4288 | 310778.9493 | 30.45 | 114.2
4847 | 2021-02-16 15:13 | 103.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6256 | μmol/L | 29.0085 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.947 | 128202.3998 | 310774.3448 | 30.45 | 114.2
4857 | 2021-02-16 15:14 | 104.2321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6652 | μmol/L | 29.0209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.941 | 128149.1247 | 310762.1014 | 30.45 | 114.2
4867 | 2021-02-16 15:14 | 104.5653 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7049 | μmol/L | 28.9962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.947 | 128163.9988 | 310731.5665 | 30.45 | 114.2
4877 | 2021-02-16 15:14 | 104.8983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6257 | μmol/L | 28.9962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.951 | 128210.2695 | 310709.0681 | 30.45 | 114.2
4887 | 2021-02-16 15:15 | 105.2323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.8039 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.94 | 128108.9905 | 310693.8936 | 30.45 | 114.2
4897 | 2021-02-16 15:15 | 105.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7446 | μmol/L | 28.9839 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.949 | 128161.3243 | 310670.4532 | 30.45 | 114.2
4907 | 2021-02-16 15:15 | 105.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.408 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.96 | 128235.7753 | 310674.3809 | 30.45 | 114.2
4917 | 2021-02-16 15:16 | 106.2317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.3289 | μmol/L | 29.0085 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.962 | 128222.9173 | 310641.4474 | 30.45 | 114.2
4927 | 2021-02-16 15:16 | 106.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.4477 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.962 | 128206.6762 | 310633.2994 | 30.45 | 114.2
4937 | 2021-02-16 15:16 | 106.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7446 | μmol/L | 28.9716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.953 | 128135.2515 | 310623.3286 | 30.45 | 114.2
4947 | 2021-02-16 15:17 | 107.2322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.6853 | μmol/L | 28.9531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.962 | 128196.9272 | 310614.8719 | 30.45 | 114.2
4957 | 2021-02-16 15:17 | 107.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.3489 | μmol/L | 28.9777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.971 | 128241.591 | 310597.4119 | 30.45 | 114.2
4967 | 2021-02-16 15:17 | 107.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.3291 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.968 | 128205.6657 | 310578.3482 | 30.45 | 114.2
4977 | 2021-02-16 15:18 | 108.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.4082 | μmol/L | 28.9777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.968 | 128193.208 | 310567.4654 | 30.45 | 114.2
4987 | 2021-02-16 15:18 | 108.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.4478 | μmol/L | 28.9777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.966 | 128166.361 | 310553.1177 | 30.45 | 114.2
4997 | 2021-02-16 15:18 | 108.899 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7447 | μmol/L | 28.9408 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.963 | 128166.7575 | 310541.9674 | 30.45 | 114.2
5007 | 2021-02-16 15:19 | 109.2321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7447 | μmol/L | 28.9408 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.963 | 128130.6013 | 310517.8337 | 30.45 | 114.2
5017 | 2021-02-16 15:19 | 109.5657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7051 | μmol/L | 28.9592 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.959 | 128075.905 | 310510.2341 | 30.45 | 114.2
5027 | 2021-02-16 15:19 | 109.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9428 | μmol/L | 28.9469 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.951 | 127976.4811 | 310488.1112 | 30.45 | 114.2
5037 | 2021-02-16 15:20 | 110.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.2404 | μmol/L | 28.9284 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.942 | 127923.5589 | 310474.0108 | 30.45 | 114.2
5047 | 2021-02-16 15:20 | 110.5651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7447 | μmol/L | 28.9469 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.961 | 128021.9401 | 310448.877 | 30.45 | 114.2
5057 | 2021-02-16 15:20 | 110.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.4874 | μmol/L | 28.9654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.968 | 128102.6667 | 310432.9296 | 30.45 | 114.2
5067 | 2021-02-16 15:21 | 111.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.1125 | μmol/L | 28.9161 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.003 | 128323.4682 | 310431.7292 | 30.45 | 114.2
5077 | 2021-02-16 15:21 | 111.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.8165 | μmol/L | 28.9531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.006 | 128359.5785 | 310410.3188 | 30.45 | 114.2
5087 | 2021-02-16 15:21 | 111.899 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.5802 | μmol/L | 28.9654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.014 | 128435.8694 | 310403.9596 | 30.45 | 114.2
5097 | 2021-02-16 15:22 | 112.232 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.3052 | μmol/L | 28.9531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.032 | 128560.9424 | 310377.7941 | 30.45 | 114.2
5107 | 2021-02-16 15:22 | 112.5657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.5803 | μmol/L | 28.9592 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.016 | 128452.6668 | 310372.6596 | 30.45 | 114.2
5117 | 2021-02-16 15:22 | 112.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.7183 | μmol/L | 28.9346 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.017 | 128440.6889 | 310360.8157 | 30.45 | 114.2
5127 | 2021-02-16 15:23 | 113.2323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.5017 | μmol/L | 28.9531 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.022 | 128448.9278 | 310333.349 | 30.45 | 114.2
5137 | 2021-02-16 15:23 | 113.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.4818 | μmol/L | 28.9716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.017 | 128397.7052 | 310340.472 | 30.45 | 114.2
5147 | 2021-02-16 15:23 | 113.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.2658 | μmol/L | 28.9654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.03 | 128520.3694 | 310331.4314 | 30.45 | 114.2
5157 | 2021-02-16 15:24 | 114.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.4035 | μmol/L | 28.9469 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.029 | 128464.5661 | 310308.9876 | 30.45 | 114.2
5167 | 2021-02-16 15:24 | 114.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.5016 | μmol/L | 28.9592 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.02 | 128404.6164 | 310283.31 | 30.45 | 114.2
5177 | 2021-02-16 15:24 | 114.8983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.4623 | μmol/L | 28.9592 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.022 | 128412.9846 | 310297.6993 | 30.45 | 114.2
5187 | 2021-02-16 15:25 | 115.2321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.0305 | μmol/L | 28.9592 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.044 | 128590.8462 | 310276.0514 | 30.45 | 114.2
5197 | 2021-02-16 15:25 | 115.5653 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.5799 | μmol/L | 28.9716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.063 | 128708.5039 | 310258.8558 | 30.45 | 114.2
5207 | 2021-02-16 15:25 | 115.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.6192 | μmol/L | 28.9654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.063 | 128678.4045 | 310241.6341 | 30.45 | 114.2
5217 | 2021-02-16 15:26 | 116.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.991 | μmol/L | 28.9716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.042 | 128546.2417 | 310223.1645 | 30.45 | 114.2
5227 | 2021-02-16 15:26 | 116.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.9912 | μmol/L | 28.9654 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.044 | 128524.2609 | 310224.0342 | 30.45 | 114.2
5237 | 2021-02-16 15:26 | 116.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.7559 | μmol/L | 28.9777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.052 | 128585.4405 | 310211.3746 | 30.45 | 114.2
5247 | 2021-02-16 15:27 | 117.2316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.6189 | μmol/L | 28.9777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.059 | 128595.7113 | 310188.1109 | 30.45 | 114.2
5257 | 2021-02-16 15:27 | 117.5653 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.6966 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.047 | 128536.0791 | 310182.6611 | 30.45 | 114.2
5267 | 2021-02-16 15:27 | 117.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.9123 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.04 | 128472.739 | 310161.6375 | 30.45 | 114.2
5277 | 2021-02-16 15:28 | 118.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.1674 | μmol/L | 28.9777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.031 | 128405.5226 | 310144.0546 | 30.45 | 114.2
5287 | 2021-02-16 15:28 | 118.5657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.3047 | μmol/L | 28.9901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.02 | 128303.4238 | 310139.2036 | 30.45 | 114.2
5297 | 2021-02-16 15:28 | 118.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.3241 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.015 | 128260.8314 | 310129.3139 | 30.45 | 114.2
5307 | 2021-02-16 15:29 | 119.2319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 215.1474 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.024 | 128328.6714 | 310128.5395 | 30.45 | 114.2
5317 | 2021-02-16 15:29 | 119.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.794 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.034 | 128382.4213 | 310125.0607 | 30.45 | 114.2
5327 | 2021-02-16 15:29 | 119.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.6966 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.047 | 128487.1569 | 310102.8858 | 30.45 | 114.2
5337 | 2021-02-16 15:30 | 120.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 214.4031 | μmol/L | 29.0085 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.06 | 128574.5792 | 310087.7141 | 30.45 | 114.2
5347 | 2021-02-16 15:30 | 120.5649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.8564 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.082 | 128766.8423 | 310088.4636 | 30.45 | 114.2
5357 | 2021-02-16 15:30 | 120.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.1366 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.113 | 128984.9821 | 310079.3122 | 30.45 | 114.2
5367 | 2021-02-16 15:31 | 121.2316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.0396 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.118 | 129004.1961 | 310049.5902 | 30.45 | 114.2
5377 | 2021-02-16 15:31 | 121.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.2526 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.103 | 128905.8956 | 310038.8095 | 30.45 | 114.2
5387 | 2021-02-16 15:31 | 121.8984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.5054 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.092 | 128787.7357 | 310037.0531 | 30.45 | 114.2
5397 | 2021-02-16 15:32 | 122.2322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.5445 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.092 | 128795.1539 | 310017.7169 | 30.45 | 114.2
5407 | 2021-02-16 15:32 | 122.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.2722 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.104 | 128866.6182 | 310015.3295 | 30.45 | 114.2
5417 | 2021-02-16 15:32 | 122.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.272 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.102 | 128851.7247 | 310000.257 | 30.45 | 114.2
5427 | 2021-02-16 15:33 | 123.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.1357 | μmol/L | 29.0702 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.105 | 128866.6079 | 309988.7974 | 30.45 | 114.2
5437 | 2021-02-16 15:33 | 123.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.0777 | μmol/L | 29.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.11 | 128899.611 | 309987.2611 | 30.45 | 114.2
5447 | 2021-02-16 15:33 | 123.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.9026 | μmol/L | 29.0825 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.113 | 128896.4982 | 309971.1091 | 30.45 | 114.2
5457 | 2021-02-16 15:34 | 124.2323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.883 | μmol/L | 29.0886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.112 | 128887.9028 | 309964.5015 | 30.45 | 114.2
5467 | 2021-02-16 15:34 | 124.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.1357 | μmol/L | 29.0702 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.105 | 128857.6178 | 309956.1255 | 30.45 | 114.2
5477 | 2021-02-16 15:34 | 124.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 213.2138 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.105 | 128838.8433 | 309943.0956 | 30.45 | 114.2
5487 | 2021-02-16 15:35 | 125.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.8447 | μmol/L | 29.0763 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.118 | 128958.3244 | 309928.8471 | 30.45 | 114.2
5497 | 2021-02-16 15:35 | 125.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.7866 | μmol/L | 29.0763 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.121 | 128944.2051 | 309917.5733 | 30.45 | 114.2
5507 | 2021-02-16 15:35 | 125.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.7278 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.118 | 128922.6971 | 309921.6588 | 30.45 | 114.2
5517 | 2021-02-16 15:36 | 126.2322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.8055 | μmol/L | 29.0886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.116 | 128889.6852 | 309901.7505 | 30.45 | 114.2
5527 | 2021-02-16 15:36 | 126.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.9021 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.109 | 128878.2906 | 309882.6915 | 30.45 | 114.2
5537 | 2021-02-16 15:36 | 126.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.8251 | μmol/L | 29.0825 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.117 | 128924.8272 | 309880.3725 | 30.45 | 114.2
5547 | 2021-02-16 15:37 | 127.2316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.631 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.123 | 128921.6479 | 309872.018 | 30.45 | 114.2
5557 | 2021-02-16 15:37 | 127.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.5722 | μmol/L | 29.1133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.12 | 128927.8299 | 309871.9573 | 30.45 | 114.2
5567 | 2021-02-16 15:37 | 127.8984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.5722 | μmol/L | 29.1133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.12 | 128930.9302 | 309848.361 | 30.45 | 114.2
5577 | 2021-02-16 15:38 | 128.2322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.5134 | μmol/L | 29.1318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.117 | 128906.1769 | 309838.6876 | 30.45 | 114.2
5587 | 2021-02-16 15:38 | 128.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.3982 | μmol/L | 29.1133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.129 | 128963.4455 | 309825.0915 | 30.45 | 114.2
5597 | 2021-02-16 15:38 | 128.899 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.2241 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.136 | 129031.2487 | 309821.6293 | 30.45 | 114.2
5607 | 2021-02-16 15:39 | 129.2319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.2241 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.136 | 129009.4963 | 309802.6708 | 30.45 | 114.2
5617 | 2021-02-16 15:39 | 129.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 212.2443 | μmol/L | 29.101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.141 | 129051.967 | 309790.9339 | 30.45 | 114.2
5627 | 2021-02-16 15:39 | 129.8988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 211.4922 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.174 | 129284.645 | 309790.0271 | 30.45 | 114.2
5637 | 2021-02-16 15:40 | 130.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.9563 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.21 | 129562.4583 | 309769.8966 | 30.45 | 114.2
5647 | 2021-02-16 15:40 | 130.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.5743 | μmol/L | 29.0825 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.234 | 129733.8337 | 309769.8541 | 30.45 | 114.2
5657 | 2021-02-16 15:40 | 130.8983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.5372 | μmol/L | 29.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.242 | 129800.6724 | 309758.5212 | 30.45 | 114.2
5667 | 2021-02-16 15:41 | 131.2321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.1343 | μmol/L | 29.101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.251 | 129847.522 | 309746.1913 | 30.45 | 114.2
5677 | 2021-02-16 15:41 | 131.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.7127 | μmol/L | 29.1441 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.259 | 129891.0126 | 309736.7335 | 30.45 | 114.2
5687 | 2021-02-16 15:41 | 131.899 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5611 | μmol/L | 29.1379 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.269 | 129965.8749 | 309721.5155 | 30.45 | 114.2
5697 | 2021-02-16 15:42 | 132.232 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5809 | μmol/L | 29.1256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.272 | 129977.3939 | 309715.7372 | 30.45 | 114.2
5707 | 2021-02-16 15:42 | 132.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.7726 | μmol/L | 29.101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.27 | 129961.0578 | 309702.1213 | 30.45 | 114.2
5717 | 2021-02-16 15:42 | 132.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.6577 | μmol/L | 29.1133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.272 | 129957.6704 | 309689.1929 | 30.45 | 114.2
5727 | 2021-02-16 15:43 | 133.2317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5619 | μmol/L | 29.1256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.273 | 129972.4783 | 309690.6832 | 30.45 | 114.2
5737 | 2021-02-16 15:43 | 133.5657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.8296 | μmol/L | 29.101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.267 | 129918.9954 | 309677.5295 | 30.45 | 114.2
5747 | 2021-02-16 15:43 | 133.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.6383 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.271 | 129904.0764 | 309669.0806 | 30.45 | 114.2
5757 | 2021-02-16 15:44 | 134.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.8094 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.262 | 129827.7515 | 309662.0261 | 30.45 | 114.2
5767 | 2021-02-16 15:44 | 134.5657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.1713 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.243 | 129701.655 | 309658.5854 | 30.45 | 114.2
5777 | 2021-02-16 15:44 | 134.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.3826 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.24 | 129655.8093 | 309639.8865 | 30.45 | 114.2
5787 | 2021-02-16 15:45 | 135.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 210.383 | μmol/L | 29.0886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.242 | 129685.2543 | 309627.6684 | 30.45 | 114.2
5797 | 2021-02-16 15:45 | 135.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.9998 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.252 | 129750.56 | 309627.6468 | 30.45 | 114.2
5807 | 2021-02-16 15:45 | 135.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.6189 | μmol/L | 29.1256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.27 | 129854.8051 | 309611.3407 | 30.45 | 114.2
5817 | 2021-02-16 15:46 | 136.2317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.8487 | μmol/L | 29.101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.266 | 129850.996 | 309606.5037 | 30.45 | 114.2
5827 | 2021-02-16 15:46 | 136.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.4871 | μmol/L | 29.1071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.283 | 129925.5182 | 309596.4341 | 30.45 | 114.2
5837 | 2021-02-16 15:46 | 136.8984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.4314 | μmol/L | 29.0886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.292 | 130005.1835 | 309576.401 | 30.45 | 114.2
5847 | 2021-02-16 15:47 | 137.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.2038 | μmol/L | 29.0886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.304 | 130082.9853 | 309581.7883 | 30.45 | 114.2
5857 | 2021-02-16 15:47 | 137.5657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5477 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.298 | 130049.8709 | 309573.9029 | 30.45 | 114.2
5867 | 2021-02-16 15:47 | 137.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5849 | μmol/L | 29.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.292 | 129968.3461 | 309549.9066 | 30.45 | 114.2
5877 | 2021-02-16 15:48 | 138.2323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.6047 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.295 | 129984.6953 | 309549.4793 | 30.45 | 114.2
5887 | 2021-02-16 15:48 | 138.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.5473 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.296 | 130020.8295 | 309528.6081 | 30.45 | 114.2
5897 | 2021-02-16 15:48 | 138.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.1676 | μmol/L | 29.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.314 | 130089.8462 | 309534.5578 | 30.45 | 114.2
5907 | 2021-02-16 15:49 | 139.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 209.2628 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.311 | 130096.6194 | 309520.8982 | 30.45 | 114.2
5917 | 2021-02-16 15:49 | 139.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.9792 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.328 | 130206.0329 | 309525.5872 | 30.45 | 114.2
5927 | 2021-02-16 15:49 | 139.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6767 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.344 | 130323.8126 | 309509.7977 | 30.45 | 114.2
5937 | 2021-02-16 15:50 | 140.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.5828 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.351 | 130358.423 | 309493.879 | 30.45 | 114.2
5947 | 2021-02-16 15:50 | 140.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6223 | μmol/L | 29.0209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.357 | 130399.1216 | 309489.9286 | 30.45 | 114.2
5957 | 2021-02-16 15:50 | 140.8983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.7557 | μmol/L | 29.0024 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.356 | 130382.6689 | 309476.4481 | 30.45 | 114.2
5967 | 2021-02-16 15:51 | 141.232 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.7167 | μmol/L | 29.0209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.352 | 130347.8423 | 309473.2038 | 30.45 | 114.2
5977 | 2021-02-16 15:51 | 141.5649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.5845 | μmol/L | 29.0209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.359 | 130396.7278 | 309462.3542 | 30.45 | 114.2
5987 | 2021-02-16 15:51 | 141.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.5086 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.361 | 130389.9412 | 309464.2148 | 30.45 | 114.2
5997 | 2021-02-16 15:52 | 142.2317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6407 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.354 | 130338.5753 | 309459.3615 | 30.45 | 114.2
6007 | 2021-02-16 15:52 | 142.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.6219 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.355 | 130330.9456 | 309451.8173 | 30.45 | 114.2
6017 | 2021-02-16 15:52 | 142.8982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.5082 | μmol/L | 29.0332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.359 | 130351.8771 | 309439.6776 | 30.45 | 114.2
6027 | 2021-02-16 15:53 | 143.232 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.3574 | μmol/L | 29.0332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.367 | 130429.4891 | 309435.6584 | 30.45 | 114.2
6037 | 2021-02-16 15:53 | 143.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.3583 | μmol/L | 29.0209 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.371 | 130433.2402 | 309421.2502 | 30.45 | 114.2
6047 | 2021-02-16 15:53 | 143.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2825 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.373 | 130436.2065 | 309410.6862 | 30.45 | 114.2
6057 | 2021-02-16 15:54 | 144.232 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.2251 | μmol/L | 29.0393 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.372 | 130432.3906 | 309418.7323 | 30.45 | 114.2
6067 | 2021-02-16 15:54 | 144.5651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 208.113 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.382 | 130519.3631 | 309418.4784 | 30.45 | 114.2
6077 | 2021-02-16 15:54 | 144.8988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.9057 | μmol/L | 29.0332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.391 | 130585.4468 | 309401.7093 | 30.45 | 114.2
6087 | 2021-02-16 15:55 | 145.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.7362 | μmol/L | 29.0393 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.398 | 130617.4337 | 309390.3939 | 30.45 | 114.2
6097 | 2021-02-16 15:55 | 145.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.7174 | μmol/L | 29.0393 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.399 | 130638.4855 | 309389.8854 | 30.45 | 114.2
6107 | 2021-02-16 15:55 | 145.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5485 | μmol/L | 29.0393 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.408 | 130686.5252 | 309378.3972 | 30.45 | 114.2
6117 | 2021-02-16 15:56 | 146.2324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.5865 | μmol/L | 29.0332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.408 | 130711.7548 | 309371.7177 | 30.45 | 114.2
6127 | 2021-02-16 15:56 | 146.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3419 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.417 | 130749.8008 | 309368.6761 | 30.45 | 114.2
6137 | 2021-02-16 15:56 | 146.8991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.4918 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.409 | 130646.6623 | 309357.3983 | 30.45 | 114.2
6147 | 2021-02-16 15:57 | 147.2319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.6606 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.4 | 130599.1264 | 309352.3497 | 30.45 | 114.2
6157 | 2021-02-16 15:57 | 147.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.3804 | μmol/L | 29.0332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.419 | 130793.3183 | 309340.5143 | 30.45 | 114.2
6167 | 2021-02-16 15:57 | 147.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 207.1936 | μmol/L | 29.027 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.431 | 130841.1565 | 309336.6702 | 30.45 | 114.2
6177 | 2021-02-16 15:58 | 148.2322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.9117 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.44 | 130901.6155 | 309336.4649 | 30.45 | 114.2
6187 | 2021-02-16 15:58 | 148.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.5928 | μmol/L | 29.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.451 | 130943.9091 | 309338.5445 | 30.45 | 114.2
6197 | 2021-02-16 15:58 | 148.8983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.9667 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.433 | 130834.2641 | 309319.7806 | 30.45 | 114.2
6207 | 2021-02-16 15:59 | 149.2322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.8546 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.439 | 130863.0918 | 309317.5445 | 30.45 | 114.2
6217 | 2021-02-16 15:59 | 149.5651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.8364 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.442 | 130881.1106 | 309285.2462 | 30.45 | 114.2
6227 | 2021-02-16 15:59 | 149.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.7436 | μmol/L | 29.0455 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.449 | 130944.5749 | 309300.2785 | 30.45 | 114.2
6237 | 2021-02-16 16:00 | 150.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.5549 | μmol/L | 29.0702 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.451 | 130966.7634 | 309304.9007 | 30.45 | 114.2
6247 | 2021-02-16 16:00 | 150.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2186 | μmol/L | 29.0825 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.465 | 131049.8055 | 309280.0019 | 30.45 | 114.2
6257 | 2021-02-16 16:00 | 150.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2191 | μmol/L | 29.0763 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.467 | 131071.6819 | 309280.0228 | 30.45 | 114.2
6267 | 2021-02-16 16:01 | 151.2321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1819 | μmol/L | 29.0763 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.469 | 131108.6313 | 309260.4229 | 30.45 | 114.2
6277 | 2021-02-16 16:01 | 151.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0134 | μmol/L | 29.0886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.474 | 131111.9464 | 309265.4665 | 30.45 | 114.2
6287 | 2021-02-16 16:01 | 151.8988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1814 | μmol/L | 29.0825 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.467 | 131050.0675 | 309261.2584 | 30.45 | 114.2
6297 | 2021-02-16 16:02 | 152.2319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.3664 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.453 | 130976.3412 | 309251.5122 | 30.45 | 114.2
6307 | 2021-02-16 16:02 | 152.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.3878 | μmol/L | 29.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.462 | 131019.9859 | 309234.291 | 30.45 | 114.2
6317 | 2021-02-16 16:02 | 152.8986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2372 | μmol/L | 29.0825 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.464 | 131023.2523 | 309239.4582 | 30.45 | 114.2
6327 | 2021-02-16 16:03 | 153.2321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0117 | μmol/L | 29.1071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.468 | 131034.1484 | 309226.0473 | 30.45 | 114.2
6337 | 2021-02-16 16:03 | 153.5652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2586 | μmol/L | 29.0517 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.473 | 131106.986 | 309231.7236 | 30.45 | 114.2
6347 | 2021-02-16 16:03 | 153.8983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.92 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.477 | 131090.4429 | 309218.8695 | 30.45 | 114.2
6357 | 2021-02-16 16:04 | 154.2319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.9385 | μmol/L | 29.0948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.476 | 131107.7155 | 309210.3517 | 30.45 | 114.2
6367 | 2021-02-16 16:04 | 154.5657 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.7697 | μmol/L | 29.1133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.479 | 131150.6555 | 309195.3241 | 30.45 | 114.2
6377 | 2021-02-16 16:04 | 154.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6949 | μmol/L | 29.1195 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.481 | 131155.0672 | 309198.8787 | 30.45 | 114.2
6387 | 2021-02-16 16:05 | 155.2316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6751 | μmol/L | 29.1318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.478 | 131095.5297 | 309183.7752 | 30.45 | 114.2
6397 | 2021-02-16 16:05 | 155.5654 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0906 | μmol/L | 29.0578 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.48 | 131145.6502 | 309194.1862 | 30.45 | 114.2
6407 | 2021-02-16 16:05 | 155.8984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0743 | μmol/L | 29.0332 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.489 | 131182.5811 | 309167.8608 | 30.45 | 114.2
6417 | 2021-02-16 16:06 | 156.232 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5298 | μmol/L | 29.101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.496 | 131232.2576 | 309157.7222 | 30.45 | 114.2
6427 | 2021-02-16 16:06 | 156.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3792 | μmol/L | 29.1256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.496 | 131256.2663 | 309156.9485 | 30.45 | 114.2
6437 | 2021-02-16 16:06 | 156.8989 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.1737 | μmol/L | 29.1441 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.501 | 131259.3223 | 309152.0387 | 30.45 | 114.2
6447 | 2021-02-16 16:07 | 157.2317 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.6236 | μmol/L | 29.0886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.495 | 131254.5796 | 309156.7487 | 30.45 | 114.2
6457 | 2021-02-16 16:07 | 157.5655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.381 | μmol/L | 29.1071 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.502 | 131276.0354 | 309141.0836 | 30.45 | 114.2
6467 | 2021-02-16 16:07 | 157.8987 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.9691 | μmol/L | 29.1564 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.508 | 131325.8236 | 309143.2425 | 30.45 | 114.2
6477 | 2021-02-16 16:08 | 158.2318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0277 | μmol/L | 29.1256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.515 | 131344.4604 | 309127.4463 | 30.45 | 114.2
6487 | 2021-02-16 16:08 | 158.5656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.8774 | μmol/L | 29.1503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.515 | 131371.2662 | 309117.2813 | 30.45 | 114.2
6497 | 2021-02-16 16:08 | 158.8985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.7482 | μmol/L | 29.1503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.522 | 131399.1086 | 309120.6448 | 30.45 | 114.2
6507 | 2021-02-16 16:09 | 159.2322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.8774 | μmol/L | 29.1503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.515 | 131346.8364 | 309106.0137 | 30.45 | 114.2
6517 | 2021-02-16 16:09 | 159.565 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.857 | μmol/L | 29.1688 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.51 | 131304.1212 | 309112.0049 | 30.45 | 114.2
6527 | 2021-02-16 16:09 | 159.8984 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0437 | μmol/L | 29.1503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.506 | 131268.4108 | 309100.7217 | 30.45 | 114.2