## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 19:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
6539 | 2021-02-16 18:19 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.7273 | μmol/L | 32.6523 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.844 | 135672.8155 | 308570.8763 | 30.45 | 114.2
6549 | 2021-02-16 18:20 | 0.33789 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5667 | μmol/L | 32.6893 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.841 | 135714.7121 | 308604.0377 | 30.45 | 114.2
6559 | 2021-02-16 18:20 | 0.67163 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5347 | μmol/L | 32.6893 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.843 | 135738.9993 | 308639.5057 | 30.45 | 114.2
6569 | 2021-02-16 18:20 | 1.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5159 | μmol/L | 32.6955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.842 | 135756.0983 | 308661.3251 | 30.45 | 114.2
6579 | 2021-02-16 18:21 | 1.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5507 | μmol/L | 32.6893 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.842 | 135770.948 | 308662.4875 | 30.45 | 114.2
6589 | 2021-02-16 18:21 | 1.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5291 | μmol/L | 32.7016 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.839 | 135800.762 | 308681.0729 | 30.45 | 114.2
6599 | 2021-02-16 18:21 | 2.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3554 | μmol/L | 32.7325 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.839 | 135799.6433 | 308679.072 | 30.45 | 114.2
6609 | 2021-02-16 18:22 | 2.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.4756 | μmol/L | 32.714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.838 | 135813.1226 | 308694.8777 | 30.45 | 114.2
6619 | 2021-02-16 18:22 | 2.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3394 | μmol/L | 32.7325 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.84 | 135828.7861 | 308710.965 | 30.45 | 114.2
6629 | 2021-02-16 18:22 | 3.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3178 | μmol/L | 32.7448 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.837 | 135846.9088 | 308717.62 | 30.45 | 114.2
6639 | 2021-02-16 18:23 | 3.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.2802 | μmol/L | 32.7571 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.835 | 135861.9459 | 308727.9268 | 30.45 | 114.2
6649 | 2021-02-16 18:23 | 3.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.16 | μmol/L | 32.7757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.836 | 135852.4556 | 308707.5064 | 30.45 | 114.2
6659 | 2021-02-16 18:23 | 4.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.0934 | μmol/L | 32.7818 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.838 | 135871.6017 | 308731.4213 | 30.45 | 114.2
6669 | 2021-02-16 18:24 | 4.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.0717 | μmol/L | 32.7942 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.835 | 135869.8388 | 308720.2501 | 30.45 | 114.2
6679 | 2021-02-16 18:24 | 4.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8604 | μmol/L | 32.8373 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.833 | 135877.2634 | 308719.6159 | 30.45 | 114.2
6689 | 2021-02-16 18:24 | 5.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.775 | μmol/L | 32.8497 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.834 | 135885.3497 | 308717.5096 | 30.45 | 114.2
6699 | 2021-02-16 18:25 | 5.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7533 | μmol/L | 32.862 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.831 | 135897.4211 | 308714.9519 | 30.45 | 114.2
6709 | 2021-02-16 18:25 | 5.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.6969 | μmol/L | 32.8805 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.828 | 135893.6608 | 308705.8977 | 30.45 | 114.2
6719 | 2021-02-16 18:25 | 6.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5103 | μmol/L | 32.9052 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.831 | 135892.727 | 308711.4396 | 30.45 | 114.2
6729 | 2021-02-16 18:26 | 6.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.558 | μmol/L | 32.9052 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.828 | 135880.5299 | 308706.8449 | 30.45 | 114.2
6739 | 2021-02-16 18:26 | 6.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.432 | μmol/L | 32.9361 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.825 | 135881.2796 | 308689.3974 | 30.45 | 114.2
6749 | 2021-02-16 18:26 | 7.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.445 | μmol/L | 32.9422 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.822 | 135877.7464 | 308686.2733 | 30.45 | 114.2
6759 | 2021-02-16 18:27 | 7.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.3437 | μmol/L | 32.9546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.824 | 135884.3083 | 308677.8158 | 30.45 | 114.2
6769 | 2021-02-16 18:27 | 7.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2713 | μmol/L | 32.9731 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.822 | 135879.544 | 308665.109 | 30.45 | 114.2
6779 | 2021-02-16 18:27 | 8.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2872 | μmol/L | 32.9731 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.821 | 135873.5888 | 308649.3558 | 30.45 | 114.2
6789 | 2021-02-16 18:28 | 8.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1265 | μmol/L | 33.0101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.818 | 135858.8969 | 308639.6295 | 30.45 | 114.2
6799 | 2021-02-16 18:28 | 8.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.0669 | μmol/L | 33.0348 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.813 | 135848.0936 | 308621.509 | 30.45 | 114.2
6809 | 2021-02-16 18:28 | 9.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9469 | μmol/L | 33.0533 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.814 | 135859.8135 | 308612.1001 | 30.45 | 114.2
6819 | 2021-02-16 18:29 | 9.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9439 | μmol/L | 33.0594 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.812 | 135836.4188 | 308584.1518 | 30.45 | 114.2
6829 | 2021-02-16 18:29 | 9.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.8209 | μmol/L | 33.0841 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.811 | 135837.3128 | 308583.1698 | 30.45 | 114.2
6839 | 2021-02-16 18:29 | 10.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.7484 | μmol/L | 33.1026 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.809 | 135833.0052 | 308573.1382 | 30.45 | 114.2
6849 | 2021-02-16 18:30 | 10.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.7137 | μmol/L | 33.1088 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.809 | 135813.2772 | 308544.2633 | 30.45 | 114.2
6859 | 2021-02-16 18:30 | 10.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.6192 | μmol/L | 33.1396 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.804 | 135808.6577 | 308530.9595 | 30.45 | 114.2
6869 | 2021-02-16 18:30 | 11.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.5436 | μmol/L | 33.1643 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.8 | 135787.6985 | 308525.6423 | 30.45 | 114.2
6879 | 2021-02-16 18:31 | 11.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.3006 | μmol/L | 33.2075 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.8 | 135781.0943 | 308494.1561 | 30.45 | 114.2
6889 | 2021-02-16 18:31 | 11.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.326 | μmol/L | 33.2198 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.794 | 135754.0493 | 308477.6636 | 30.45 | 114.2
6899 | 2021-02-16 18:31 | 12.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.2407 | μmol/L | 33.2322 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.795 | 135728.1539 | 308444.2846 | 30.45 | 114.2
6909 | 2021-02-16 18:32 | 12.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1681 | μmol/L | 33.2507 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.793 | 135708.7181 | 308452.8422 | 30.45 | 114.2
6919 | 2021-02-16 18:32 | 12.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.023 | μmol/L | 33.2877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.789 | 135714.1145 | 308432.247 | 30.45 | 114.2
6929 | 2021-02-16 18:32 | 13.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.7957 | μmol/L | 33.3309 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.788 | 135684.3752 | 308393.4175 | 30.45 | 114.2
6939 | 2021-02-16 18:33 | 13.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.862 | μmol/L | 33.3247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.786 | 135661.4509 | 308375.0596 | 30.45 | 114.2
6949 | 2021-02-16 18:33 | 13.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.7009 | μmol/L | 33.3618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.783 | 135657.7282 | 308375.5297 | 30.45 | 114.2
6959 | 2021-02-16 18:33 | 14.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.4769 | μmol/L | 33.3988 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.784 | 135632.2929 | 308339.8727 | 30.45 | 114.2
6969 | 2021-02-16 18:34 | 14.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.4482 | μmol/L | 33.4235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.777 | 135608.8529 | 308313.8195 | 30.45 | 114.2
6979 | 2021-02-16 18:34 | 14.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3913 | μmol/L | 33.442 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.774 | 135591.8461 | 308306.2866 | 30.45 | 114.2
6989 | 2021-02-16 18:34 | 15.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.2649 | μmol/L | 33.4728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.771 | 135573.7163 | 308282.8635 | 30.45 | 114.2
6999 | 2021-02-16 18:35 | 15.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.1954 | μmol/L | 33.4852 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.771 | 135553.4535 | 308261.549 | 30.45 | 114.2
7009 | 2021-02-16 18:35 | 15.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3592 | μmol/L | 33.4728 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.765 | 135541.0471 | 308238.756 | 30.45 | 114.2
7019 | 2021-02-16 18:35 | 16.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.0971 | μmol/L | 33.5222 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.764 | 135512.7152 | 308232.3808 | 30.45 | 114.2
7029 | 2021-02-16 18:36 | 16.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.0086 | μmol/L | 33.5407 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.763 | 135501.4189 | 308199.1036 | 30.45 | 114.2
7039 | 2021-02-16 18:36 | 16.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.049 | μmol/L | 33.553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.756 | 135481.7124 | 308180.9571 | 30.45 | 114.2
7049 | 2021-02-16 18:36 | 17.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.8563 | μmol/L | 33.5901 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.755 | 135467.8736 | 308178.4414 | 30.45 | 114.2
7059 | 2021-02-16 18:37 | 17.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.7208 | μmol/L | 33.6086 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.757 | 135448.9663 | 308140.2544 | 30.45 | 114.2
7069 | 2021-02-16 18:37 | 17.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.8272 | μmol/L | 33.6147 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.748 | 135427.8843 | 308117.7111 | 30.45 | 114.2
7079 | 2021-02-16 18:37 | 18.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.7039 | μmol/L | 33.6394 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.747 | 135402.415 | 308100.4526 | 30.45 | 114.2
7089 | 2021-02-16 18:38 | 18.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.6344 | μmol/L | 33.6518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.747 | 135385.8173 | 308070.2227 | 30.45 | 114.2
7099 | 2021-02-16 18:38 | 18.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.4695 | μmol/L | 33.695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.742 | 135360.7836 | 308047.778 | 30.45 | 114.2
7109 | 2021-02-16 18:38 | 19.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.4627 | μmol/L | 33.7073 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.738 | 135343.299 | 308027.5982 | 30.45 | 114.2
7119 | 2021-02-16 18:39 | 19.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.3741 | μmol/L | 33.7258 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.737 | 135337.4923 | 308003.52 | 30.45 | 114.2
7129 | 2021-02-16 18:39 | 19.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.3011 | μmol/L | 33.7443 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.735 | 135305.5652 | 307980.8343 | 30.45 | 114.2
7139 | 2021-02-16 18:39 | 20.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.1239 | μmol/L | 33.7813 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.733 | 135289.2991 | 307953.3741 | 30.45 | 114.2
7149 | 2021-02-16 18:40 | 20.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.0509 | μmol/L | 33.7999 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.731 | 135262.3796 | 307930.4574 | 30.45 | 114.2
7159 | 2021-02-16 18:40 | 20.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.9971 | μmol/L | 33.8122 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.73 | 135242.8887 | 307906.123 | 30.45 | 114.2
7169 | 2021-02-16 18:40 | 21.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.9241 | μmol/L | 33.8307 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.728 | 135225.5436 | 307881.6727 | 30.45 | 114.2
7179 | 2021-02-16 18:41 | 21.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6773 | μmol/L | 33.8801 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.726 | 135203.5689 | 307866.4103 | 30.45 | 114.2
7189 | 2021-02-16 18:41 | 21.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6511 | μmol/L | 33.8986 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.721 | 135188.063 | 307834.2084 | 30.45 | 114.2
7199 | 2021-02-16 18:41 | 22.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.5624 | μmol/L | 33.9171 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.72 | 135155.8536 | 307818.4771 | 30.45 | 114.2
7209 | 2021-02-16 18:42 | 22.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4426 | μmol/L | 33.9356 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.721 | 135147.9687 | 307791.2012 | 30.45 | 114.2
7219 | 2021-02-16 18:42 | 22.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4318 | μmol/L | 33.9541 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.715 | 135129.7876 | 307773.3549 | 30.45 | 114.2
7229 | 2021-02-16 18:42 | 23.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4126 | μmol/L | 33.9603 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.714 | 135096.7973 | 307746.0848 | 30.45 | 114.2
7239 | 2021-02-16 18:43 | 23.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.3706 | μmol/L | 33.9788 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.71 | 135075.1085 | 307726.3124 | 30.45 | 114.2
7249 | 2021-02-16 18:43 | 23.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.2975 | μmol/L | 33.9973 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.708 | 135054.0233 | 307690.6989 | 30.45 | 114.2
7259 | 2021-02-16 18:43 | 24.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.2902 | μmol/L | 34.0097 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.704 | 135015.1321 | 307662.2058 | 30.45 | 114.2
7269 | 2021-02-16 18:44 | 24.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.1704 | μmol/L | 34.0282 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.705 | 134989.6464 | 307625.1938 | 30.45 | 114.2
7279 | 2021-02-16 18:44 | 24.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.1091 | μmol/L | 34.0529 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.7 | 134975.5159 | 307610.9332 | 30.45 | 114.2
7289 | 2021-02-16 18:44 | 25.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9278 | μmol/L | 34.0961 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.696 | 134950.2702 | 307582.2594 | 30.45 | 114.2
7299 | 2021-02-16 18:45 | 25.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.8894 | μmol/L | 34.1084 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.694 | 134921.4445 | 307545.0557 | 30.45 | 114.2
7309 | 2021-02-16 18:45 | 25.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9552 | μmol/L | 34.1022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.692 | 134897.0944 | 307532.1666 | 30.45 | 114.2
7319 | 2021-02-16 18:45 | 26.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.8509 | μmol/L | 34.1208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.692 | 134871.4343 | 307491.0574 | 30.45 | 114.2
7329 | 2021-02-16 18:46 | 26.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.677 | μmol/L | 34.1516 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.692 | 134845.4885 | 307483.5859 | 30.45 | 114.2
7339 | 2021-02-16 18:46 | 26.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7123 | μmol/L | 34.1701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.683 | 134824.5638 | 307457.6808 | 30.45 | 114.2
7349 | 2021-02-16 18:46 | 27.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.5924 | μmol/L | 34.1886 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.684 | 134795.9766 | 307419.1575 | 30.45 | 114.2
7359 | 2021-02-16 18:47 | 27.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.5191 | μmol/L | 34.2072 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.682 | 134766.9771 | 307381.1204 | 30.45 | 114.2
7369 | 2021-02-16 18:47 | 27.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.4612 | μmol/L | 34.2257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.679 | 134746.8051 | 307367.1197 | 30.45 | 114.2
7379 | 2021-02-16 18:47 | 28.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.5698 | μmol/L | 34.2257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.672 | 134716.4949 | 307337.3262 | 30.45 | 114.2
7389 | 2021-02-16 18:48 | 28.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.4692 | μmol/L | 34.238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.674 | 134698.3091 | 307309.5124 | 30.45 | 114.2
7399 | 2021-02-16 18:48 | 28.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.4074 | μmol/L | 34.2627 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.669 | 134676.6772 | 307273.4513 | 30.45 | 114.2
7409 | 2021-02-16 18:48 | 29.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.2682 | μmol/L | 34.2874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.669 | 134655.3235 | 307241.0984 | 30.45 | 114.2
7419 | 2021-02-16 18:49 | 29.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.3533 | μmol/L | 34.275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.668 | 134623.6428 | 307218.4975 | 30.45 | 114.2
7429 | 2021-02-16 18:49 | 29.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0865 | μmol/L | 34.3306 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.665 | 134593.0851 | 307196.433 | 30.45 | 114.2
7439 | 2021-02-16 18:49 | 30.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0981 | μmol/L | 34.3368 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.662 | 134555.1954 | 307174.0283 | 30.45 | 114.2
7449 | 2021-02-16 18:50 | 30.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0594 | μmol/L | 34.3491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.66 | 134521.6757 | 307156.0632 | 30.45 | 114.2
7459 | 2021-02-16 18:50 | 30.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.924 | μmol/L | 34.3676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.662 | 134510.5483 | 307117.7783 | 30.45 | 114.2
7469 | 2021-02-16 18:50 | 31.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.862 | μmol/L | 34.3923 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.657 | 134489.7992 | 307100.3985 | 30.45 | 114.2
7479 | 2021-02-16 18:51 | 31.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.9161 | μmol/L | 34.4047 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.649 | 134453.1105 | 307067.0759 | 30.45 | 114.2
7489 | 2021-02-16 18:51 | 31.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.7846 | μmol/L | 34.417 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.653 | 134433.0769 | 307032.3841 | 30.45 | 114.2
7499 | 2021-02-16 18:51 | 32.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.7573 | μmol/L | 34.4355 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.648 | 134404.9976 | 307013.6305 | 30.45 | 114.2
7509 | 2021-02-16 18:52 | 32.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.7186 | μmol/L | 34.4479 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.646 | 134386.5332 | 306983.8711 | 30.45 | 114.2
7519 | 2021-02-16 18:52 | 32.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.5444 | μmol/L | 34.4787 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.646 | 134360.3966 | 306948.5651 | 30.45 | 114.2
7529 | 2021-02-16 18:52 | 33.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.6216 | μmol/L | 34.4787 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.641 | 134329.3943 | 306934.1918 | 30.45 | 114.2
7539 | 2021-02-16 18:53 | 33.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.4434 | μmol/L | 34.5158 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.639 | 134312.174 | 306903.6392 | 30.45 | 114.2
7549 | 2021-02-16 18:53 | 33.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3308 | μmol/L | 34.5466 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.635 | 134286.4451 | 306874.1117 | 30.45 | 114.2
7559 | 2021-02-16 18:53 | 34.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.2222 | μmol/L | 34.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.633 | 134263.7618 | 306853.8904 | 30.45 | 114.2
7569 | 2021-02-16 18:54 | 34.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.2028 | μmol/L | 34.5775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.632 | 134234.9421 | 306815.7775 | 30.45 | 114.2
7579 | 2021-02-16 18:54 | 34.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.1793 | μmol/L | 34.5898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.629 | 134205.108 | 306807.4975 | 30.45 | 114.2
7589 | 2021-02-16 18:54 | 35.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.1015 | μmol/L | 34.6145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.625 | 134179.1645 | 306775.0613 | 30.45 | 114.2
7599 | 2021-02-16 18:55 | 35.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.2564 | μmol/L | 34.5898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.624 | 134153.4307 | 306755.8216 | 30.45 | 114.2
7609 | 2021-02-16 18:55 | 35.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.0666 | μmol/L | 34.6207 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.625 | 134133.757 | 306734.5995 | 30.45 | 114.2
7619 | 2021-02-16 18:55 | 36.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.9385 | μmol/L | 34.6515 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.622 | 134105.182 | 306693.1686 | 30.45 | 114.2
7629 | 2021-02-16 18:56 | 36.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.0544 | μmol/L | 34.6392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.619 | 134078.4135 | 306668.1165 | 30.45 | 114.2
7639 | 2021-02-16 18:56 | 36.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.0349 | μmol/L | 34.6454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.618 | 134056.5691 | 306649.6423 | 30.45 | 114.2
7649 | 2021-02-16 18:56 | 37.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.8021 | μmol/L | 34.6948 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.615 | 134030.3694 | 306621.7029 | 30.45 | 114.2
7659 | 2021-02-16 18:57 | 37.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.6389 | μmol/L | 34.7318 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.612 | 134008.0992 | 306596.4643 | 30.45 | 114.2
7669 | 2021-02-16 18:57 | 37.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7045 | μmol/L | 34.7256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.61 | 133992.4103 | 306578.5762 | 30.45 | 114.2
7679 | 2021-02-16 18:57 | 38.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.6962 | μmol/L | 34.738 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.606 | 133966.2439 | 306554.1864 | 30.45 | 114.2
7689 | 2021-02-16 18:58 | 38.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7968 | μmol/L | 34.7256 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.604 | 133947.237 | 306526.4127 | 30.45 | 114.2
7699 | 2021-02-16 18:58 | 38.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7536 | μmol/L | 34.7441 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.6 | 133917.6512 | 306493.1112 | 30.45 | 114.2
7709 | 2021-02-16 18:58 | 39.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5637 | μmol/L | 34.775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.601 | 133902.3876 | 306477.3134 | 30.45 | 114.2
7719 | 2021-02-16 18:59 | 39.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.4632 | μmol/L | 34.7873 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.603 | 133868.7719 | 306447.8272 | 30.45 | 114.2
7729 | 2021-02-16 18:59 | 39.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.4743 | μmol/L | 34.7935 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.6 | 133845.6197 | 306416.0223 | 30.45 | 114.2
7739 | 2021-02-16 18:59 | 40.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.3263 | μmol/L | 34.8305 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.596 | 133821.6292 | 306393.6334 | 30.45 | 114.2
7749 | 2021-02-16 19:00 | 40.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.2369 | μmol/L | 34.8491 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.595 | 133799.8905 | 306360.2326 | 30.45 | 114.2
7759 | 2021-02-16 19:00 | 40.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.2438 | μmol/L | 34.8614 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.59 | 133775.7029 | 306347.876 | 30.45 | 114.2
7769 | 2021-02-16 19:00 | 41.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.2702 | μmol/L | 34.8676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.586 | 133753.63 | 306325.5 | 30.45 | 114.2
7779 | 2021-02-16 19:01 | 41.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.1109 | μmol/L | 34.8984 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.585 | 133721.9998 | 306294.1998 | 30.45 | 114.2
7789 | 2021-02-16 19:01 | 41.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.1765 | μmol/L | 34.8923 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.583 | 133704.701 | 306281.7368 | 30.45 | 114.2
7799 | 2021-02-16 19:01 | 42.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9559 | μmol/L | 34.9231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.586 | 133683.4021 | 306247.5436 | 30.45 | 114.2
7809 | 2021-02-16 19:02 | 42.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8928 | μmol/L | 34.9478 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.581 | 133656.7715 | 306216.2048 | 30.45 | 114.2
7819 | 2021-02-16 19:02 | 42.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8339 | μmol/L | 34.9664 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.578 | 133633.0838 | 306193.305 | 30.45 | 114.2
7829 | 2021-02-16 19:02 | 43.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8602 | μmol/L | 34.9725 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.574 | 133607.807 | 306161.6496 | 30.45 | 114.2
7839 | 2021-02-16 19:03 | 43.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.7161 | μmol/L | 35.0034 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.572 | 133586.9836 | 306145.6815 | 30.45 | 114.2
7849 | 2021-02-16 19:03 | 43.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.561 | μmol/L | 35.0281 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.573 | 133574.7626 | 306129.4999 | 30.45 | 114.2
7859 | 2021-02-16 19:03 | 44.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.5479 | μmol/L | 35.0466 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.567 | 133541.9496 | 306093.6441 | 30.45 | 114.2
7869 | 2021-02-16 19:04 | 44.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.4583 | μmol/L | 35.0651 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.566 | 133519.8863 | 306060.9416 | 30.45 | 114.2
7879 | 2021-02-16 19:04 | 44.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.4889 | μmol/L | 35.0651 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.564 | 133501.9184 | 306045.542 | 30.45 | 114.2
7889 | 2021-02-16 19:04 | 45.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.4954 | μmol/L | 35.0775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.559 | 133465.7523 | 306020.5861 | 30.45 | 114.2
7899 | 2021-02-16 19:05 | 45.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.4101 | μmol/L | 35.0898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.56 | 133451.8785 | 306007.5191 | 30.45 | 114.2
7909 | 2021-02-16 19:05 | 45.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.3555 | μmol/L | 35.1022 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.559 | 133416.6174 | 305975.0868 | 30.45 | 114.2
7919 | 2021-02-16 19:05 | 46.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.3816 | μmol/L | 35.1083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.555 | 133399.1535 | 305939.9014 | 30.45 | 114.2
7929 | 2021-02-16 19:06 | 46.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.257 | μmol/L | 35.133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.554 | 133374.3812 | 305911.4083 | 30.45 | 114.2
7939 | 2021-02-16 19:06 | 46.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.2023 | μmol/L | 35.1454 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.553 | 133348.3373 | 305888.9734 | 30.45 | 114.2
7949 | 2021-02-16 19:06 | 47.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.1037 | μmol/L | 35.1762 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.548 | 133326.4796 | 305867.9632 | 30.45 | 114.2
7959 | 2021-02-16 19:07 | 47.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.0992 | μmol/L | 35.1824 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.546 | 133307.2513 | 305859.7204 | 30.45 | 114.2
7969 | 2021-02-16 19:07 | 47.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.9942 | μmol/L | 35.2009 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.546 | 133271.1725 | 305818.23 | 30.45 | 114.2
7979 | 2021-02-16 19:07 | 48.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.83 | μmol/L | 35.238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.543 | 133247.8339 | 305803.8722 | 30.45 | 114.2
7989 | 2021-02-16 19:08 | 48.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8452 | μmol/L | 35.238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.542 | 133230.5048 | 305772.0899 | 30.45 | 114.2
7999 | 2021-02-16 19:08 | 48.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8057 | μmol/L | 35.2503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.54 | 133219.458 | 305755.308 | 30.45 | 114.2
8009 | 2021-02-16 19:08 | 49.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.7205 | μmol/L | 35.2627 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.541 | 133189.9243 | 305743.9081 | 30.45 | 114.2
8019 | 2021-02-16 19:09 | 49.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.7814 | μmol/L | 35.2627 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.537 | 133163.954 | 305711.2517 | 30.45 | 114.2
8029 | 2021-02-16 19:09 | 49.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.617 | μmol/L | 35.2997 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.534 | 133129.654 | 305697.2873 | 30.45 | 114.2
8039 | 2021-02-16 19:09 | 50.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.7221 | μmol/L | 35.2812 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.534 | 133106.0644 | 305666.3237 | 30.45 | 114.2
8049 | 2021-02-16 19:10 | 50.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6688 | μmol/L | 35.3121 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.526 | 133085.5618 | 305636.6337 | 30.45 | 114.2
8059 | 2021-02-16 19:10 | 50.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8241 | μmol/L | 35.2874 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.525 | 133072.3694 | 305621.8382 | 30.45 | 114.2
8069 | 2021-02-16 19:10 | 51.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6139 | μmol/L | 35.3244 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.525 | 133050.1489 | 305610.6539 | 30.45 | 114.2
8079 | 2021-02-16 19:11 | 51.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3734 | μmol/L | 35.3614 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.527 | 133020.4621 | 305579.9389 | 30.45 | 114.2
8089 | 2021-02-16 19:11 | 51.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.4448 | μmol/L | 35.3676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.52 | 132997.1459 | 305554.8507 | 30.45 | 114.2
8099 | 2021-02-16 19:11 | 52.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3093 | μmol/L | 35.3861 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.522 | 132977.422 | 305536.2905 | 30.45 | 114.2
8109 | 2021-02-16 19:12 | 52.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.335 | μmol/L | 35.3923 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.518 | 132952.6882 | 305514.8565 | 30.45 | 114.2
8119 | 2021-02-16 19:12 | 52.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1902 | μmol/L | 35.4232 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.516 | 132939.5067 | 305486.819 | 30.45 | 114.2
8129 | 2021-02-16 19:12 | 53.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.2358 | μmol/L | 35.4232 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.513 | 132908.2001 | 305463.681 | 30.45 | 114.2
8139 | 2021-02-16 19:13 | 53.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0056 | μmol/L | 35.4664 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.512 | 132891.0124 | 305440.2543 | 30.45 | 114.2
8149 | 2021-02-16 19:13 | 53.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1411 | μmol/L | 35.4479 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.51 | 132862.6619 | 305424.0468 | 30.45 | 114.2
8159 | 2021-02-16 19:13 | 54.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1119 | μmol/L | 35.4664 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.505 | 132840.2615 | 305409.1656 | 30.45 | 114.2
8169 | 2021-02-16 19:14 | 54.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9669 | μmol/L | 35.4973 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.503 | 132823.328 | 305381.1576 | 30.45 | 114.2
8179 | 2021-02-16 19:14 | 54.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8721 | μmol/L | 35.522 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.5 | 132799.418 | 305372.3493 | 30.45 | 114.2
8189 | 2021-02-16 19:14 | 55.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8569 | μmol/L | 35.522 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.501 | 132786.395 | 305355.3459 | 30.45 | 114.2
8199 | 2021-02-16 19:15 | 55.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0427 | μmol/L | 35.4973 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.498 | 132765.2372 | 305336.1507 | 30.45 | 114.2
8209 | 2021-02-16 19:15 | 55.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8778 | μmol/L | 35.5343 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.495 | 132755.2311 | 305329.2255 | 30.45 | 114.2
8219 | 2021-02-16 19:15 | 56.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8882 | μmol/L | 35.5405 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.492 | 132727.2867 | 305301.4113 | 30.45 | 114.2
8229 | 2021-02-16 19:16 | 56.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.7127 | μmol/L | 35.5714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.492 | 132713.0833 | 305285.6426 | 30.45 | 114.2
8239 | 2021-02-16 19:16 | 56.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.7582 | μmol/L | 35.5714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.489 | 132680.993 | 305259.6872 | 30.45 | 114.2
8249 | 2021-02-16 19:16 | 57.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.6075 | μmol/L | 35.5899 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.492 | 132658.1993 | 305242.5554 | 30.45 | 114.2
8259 | 2021-02-16 19:17 | 57.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.6378 | μmol/L | 35.5899 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.49 | 132638.8579 | 305229.8388 | 30.45 | 114.2