## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4602 | 2021-02-16 13:30 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3942 | μmol/L | 15.4873 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.738 | 179825.1619 | 305911.911 | 59.9307 | 49.4
4618 | 2021-02-16 15:06 | 96.2227 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.4566 | μmol/L | 28.5079 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.105 | 170635.8632 | 303581.6716 | 59.9307 | 49.4
4628 | 2021-02-16 15:06 | 96.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.5416 | μmol/L | 28.4831 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.109 | 170674.0109 | 303568.8575 | 59.9307 | 49.4
4638 | 2021-02-16 15:07 | 96.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1684 | μmol/L | 28.5141 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.116 | 170722.0897 | 303540.0189 | 59.9307 | 49.4
4648 | 2021-02-16 15:07 | 97.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.9723 | μmol/L | 28.5388 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.117 | 170733.4405 | 303527.6685 | 59.9307 | 49.4
4658 | 2021-02-16 15:07 | 97.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.5324 | μmol/L | 28.5636 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.129 | 170830.8274 | 303500.9772 | 59.9307 | 49.4
4668 | 2021-02-16 15:08 | 97.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.4169 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.144 | 170992.3779 | 303480.0044 | 59.9307 | 49.4
4678 | 2021-02-16 15:08 | 98.224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.4169 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.144 | 170971.2082 | 303450.3596 | 59.9307 | 49.4
4688 | 2021-02-16 15:08 | 98.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.3698 | μmol/L | 28.5141 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.152 | 171023.9219 | 303423.2514 | 59.9307 | 49.4
4698 | 2021-02-16 15:09 | 98.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7777 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.169 | 171205.2391 | 303428.2014 | 59.9307 | 49.4
4708 | 2021-02-16 15:09 | 99.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.4029 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.186 | 171362.631 | 303404.7679 | 59.9307 | 49.4
4718 | 2021-02-16 15:09 | 99.5566 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.0044 | μmol/L | 28.5265 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.21 | 171617.3034 | 303378.0166 | 59.9307 | 49.4
4728 | 2021-02-16 15:10 | 99.8905 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4568 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.233 | 171821.3026 | 303369.1438 | 59.9307 | 49.4
4738 | 2021-02-16 15:10 | 100.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.3739 | μmol/L | 28.4955 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.203 | 171517.6885 | 303364.6235 | 59.9307 | 49.4
4748 | 2021-02-16 15:10 | 100.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.9507 | μmol/L | 28.5203 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.169 | 171150.8059 | 303327.3183 | 59.9307 | 49.4
4758 | 2021-02-16 15:11 | 100.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.4391 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.143 | 170827.2156 | 303302.1549 | 59.9307 | 49.4
4768 | 2021-02-16 15:11 | 101.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.238 | μmol/L | 28.5203 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.156 | 170935.6486 | 303303.9194 | 59.9307 | 49.4
4778 | 2021-02-16 15:11 | 101.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.662 | μmol/L | 28.5079 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.186 | 171239.3549 | 303292.2544 | 59.9307 | 49.4
4788 | 2021-02-16 15:12 | 101.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3708 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.233 | 171746.4171 | 303272.1536 | 59.9307 | 49.4
4798 | 2021-02-16 15:12 | 102.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.5638 | μmol/L | 28.5141 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.234 | 171716.474 | 303264.5754 | 59.9307 | 49.4
4808 | 2021-02-16 15:12 | 102.5569 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3683 | μmol/L | 28.5265 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.239 | 171773.9899 | 303259.0118 | 59.9307 | 49.4
4818 | 2021-02-16 15:13 | 102.8906 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0216 | μmol/L | 28.5512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.247 | 171855.0215 | 303225.5493 | 59.9307 | 49.4
4828 | 2021-02-16 15:13 | 103.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1058 | μmol/L | 28.5265 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.251 | 171866.4144 | 303206.771 | 59.9307 | 49.4
4838 | 2021-02-16 15:13 | 103.5568 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.4579 | μmol/L | 28.5822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.263 | 171950.1917 | 303193.8279 | 59.9307 | 49.4
4848 | 2021-02-16 15:14 | 103.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.5218 | μmol/L | 28.5698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.264 | 171978.2149 | 303186.4933 | 59.9307 | 49.4
4858 | 2021-02-16 15:14 | 104.2233 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.7579 | μmol/L | 28.5388 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.263 | 171930.4394 | 303162.954 | 59.9307 | 49.4
4868 | 2021-02-16 15:14 | 104.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9334 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.253 | 171830.1559 | 303145.4081 | 59.9307 | 49.4
4878 | 2021-02-16 15:15 | 104.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0863 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.246 | 171744.4381 | 303136.887 | 59.9307 | 49.4
4888 | 2021-02-16 15:15 | 105.224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1503 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.247 | 171722.9766 | 303123.3969 | 59.9307 | 49.4
4898 | 2021-02-16 15:15 | 105.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1309 | μmol/L | 28.5512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.242 | 171675.4561 | 303107.4666 | 59.9307 | 49.4
4908 | 2021-02-16 15:16 | 105.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0005 | μmol/L | 28.5574 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.246 | 171694.9621 | 303121.3219 | 59.9307 | 49.4
4918 | 2021-02-16 15:16 | 106.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.6102 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.226 | 171457.2365 | 303103.7508 | 59.9307 | 49.4
4928 | 2021-02-16 15:16 | 106.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4584 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.229 | 171439.4459 | 303077.1198 | 59.9307 | 49.4
4938 | 2021-02-16 15:17 | 106.8903 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.9182 | μmol/L | 28.5388 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.21 | 171240.8743 | 303081.4098 | 59.9307 | 49.4
4948 | 2021-02-16 15:17 | 107.224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.1074 | μmol/L | 28.477 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.221 | 171351.9291 | 303076.7904 | 59.9307 | 49.4
4958 | 2021-02-16 15:17 | 107.5569 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8886 | μmol/L | 28.4831 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.229 | 171414.7197 | 303058.0694 | 59.9307 | 49.4
4968 | 2021-02-16 15:18 | 107.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0184 | μmol/L | 28.5265 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.255 | 171697.7911 | 303058.0955 | 59.9307 | 49.4
4978 | 2021-02-16 15:18 | 108.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9102 | μmol/L | 28.5512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.298 | 172168.3514 | 303058.1549 | 59.9307 | 49.4
4988 | 2021-02-16 15:18 | 108.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0845 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.342 | 172574.5513 | 303020.6191 | 59.9307 | 49.4
4998 | 2021-02-16 15:19 | 108.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2635 | μmol/L | 28.5203 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.384 | 172980.7938 | 303003.6595 | 59.9307 | 49.4
5008 | 2021-02-16 15:19 | 109.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7501 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.4 | 173106.942 | 302995.2347 | 59.9307 | 49.4
5018 | 2021-02-16 15:19 | 109.5567 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7084 | μmol/L | 28.5574 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.398 | 173103.5031 | 302985.5175 | 59.9307 | 49.4
5028 | 2021-02-16 15:20 | 109.8905 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0711 | μmol/L | 28.5327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.389 | 173037.6037 | 302968.6705 | 59.9307 | 49.4
5038 | 2021-02-16 15:20 | 110.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7686 | μmol/L | 28.5141 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.409 | 173175.0048 | 302949.8103 | 59.9307 | 49.4
5048 | 2021-02-16 15:20 | 110.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4458 | μmol/L | 28.5017 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.428 | 173356.8715 | 302944.4158 | 59.9307 | 49.4
5058 | 2021-02-16 15:21 | 110.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.6183 | μmol/L | 28.5698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.445 | 173526.503 | 302922.493 | 59.9307 | 49.4
5068 | 2021-02-16 15:21 | 111.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1877 | μmol/L | 28.4893 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.444 | 173491.8848 | 302921.9199 | 59.9307 | 49.4
5078 | 2021-02-16 15:21 | 111.5566 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1889 | μmol/L | 28.5017 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.44 | 173484.8982 | 302912.1492 | 59.9307 | 49.4
5088 | 2021-02-16 15:22 | 111.8906 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.806 | μmol/L | 28.5203 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.452 | 173601.4238 | 302906.4877 | 59.9307 | 49.4
5098 | 2021-02-16 15:22 | 112.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.486 | μmol/L | 28.5203 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.467 | 173738.4905 | 302884.6422 | 59.9307 | 49.4
5108 | 2021-02-16 15:22 | 112.5567 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1718 | μmol/L | 28.5822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.462 | 173692.8878 | 302876.033 | 59.9307 | 49.4
5118 | 2021-02-16 15:23 | 112.8906 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1298 | μmol/L | 28.5884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.462 | 173639.0027 | 302856.9254 | 59.9307 | 49.4
5128 | 2021-02-16 15:23 | 113.2236 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9383 | μmol/L | 28.5884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.471 | 173729.9716 | 302860.9341 | 59.9307 | 49.4
5138 | 2021-02-16 15:23 | 113.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.6424 | μmol/L | 28.6069 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.479 | 173822.6991 | 302845.2444 | 59.9307 | 49.4
5148 | 2021-02-16 15:24 | 113.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8978 | μmol/L | 28.6131 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.465 | 173627.7906 | 302834.3873 | 59.9307 | 49.4
5158 | 2021-02-16 15:24 | 114.224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3411 | μmol/L | 28.5698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.458 | 173561.9372 | 302834.6895 | 59.9307 | 49.4
5168 | 2021-02-16 15:24 | 114.5568 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4695 | μmol/L | 28.576 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.45 | 173490.9969 | 302810.5067 | 59.9307 | 49.4
5178 | 2021-02-16 15:25 | 114.8906 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3006 | μmol/L | 28.5945 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.452 | 173468.064 | 302801.2456 | 59.9307 | 49.4
5188 | 2021-02-16 15:25 | 115.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8573 | μmol/L | 28.6379 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.459 | 173577.4702 | 302796.9066 | 59.9307 | 49.4
5198 | 2021-02-16 15:25 | 115.5566 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8592 | μmol/L | 28.6626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.451 | 173484.6493 | 302779.8996 | 59.9307 | 49.4
5208 | 2021-02-16 15:26 | 115.8906 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0462 | μmol/L | 28.6069 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.46 | 173518.8398 | 302753.5101 | 59.9307 | 49.4
5218 | 2021-02-16 15:26 | 116.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9191 | μmol/L | 28.6131 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.464 | 173552.9496 | 302743.5175 | 59.9307 | 49.4
5228 | 2021-02-16 15:26 | 116.5568 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4029 | μmol/L | 28.545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.463 | 173534.8596 | 302770.4696 | 59.9307 | 49.4
5238 | 2021-02-16 15:27 | 116.8906 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9576 | μmol/L | 28.5636 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.478 | 173695.2765 | 302737.8278 | 59.9307 | 49.4
5248 | 2021-02-16 15:27 | 117.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.641 | μmol/L | 28.5884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.485 | 173767.232 | 302743.8691 | 59.9307 | 49.4
5258 | 2021-02-16 15:27 | 117.5572 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7467 | μmol/L | 28.5822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.482 | 173704.5216 | 302713.1221 | 59.9307 | 49.4
5268 | 2021-02-16 15:28 | 117.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1059 | μmol/L | 28.5574 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.473 | 173624.7407 | 302721.8654 | 59.9307 | 49.4
5278 | 2021-02-16 15:28 | 118.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9369 | μmol/L | 28.5698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.477 | 173630.7509 | 302691.2611 | 59.9307 | 49.4
5288 | 2021-02-16 15:28 | 118.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4944 | μmol/L | 28.6131 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.484 | 173693.6718 | 302676.1324 | 59.9307 | 49.4
5298 | 2021-02-16 15:29 | 118.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3446 | μmol/L | 28.5945 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.497 | 173837.285 | 302692.1655 | 59.9307 | 49.4
5308 | 2021-02-16 15:29 | 119.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.8381 | μmol/L | 28.6131 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.515 | 174049.4876 | 302662.9788 | 59.9307 | 49.4
5318 | 2021-02-16 15:29 | 119.5567 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5649 | μmol/L | 28.6317 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.522 | 174076.3691 | 302654.3254 | 59.9307 | 49.4
5328 | 2021-02-16 15:30 | 119.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.67 | μmol/L | 28.6255 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.519 | 174014.19 | 302666.7254 | 59.9307 | 49.4
5338 | 2021-02-16 15:30 | 120.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6063 | μmol/L | 28.6193 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.524 | 174091.096 | 302642.7134 | 59.9307 | 49.4
5348 | 2021-02-16 15:30 | 120.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1652 | μmol/L | 28.6441 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.537 | 174243.4952 | 302624.7573 | 59.9307 | 49.4
5358 | 2021-02-16 15:31 | 120.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9345 | μmol/L | 28.6564 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.544 | 174294.3263 | 302630.9144 | 59.9307 | 49.4
5368 | 2021-02-16 15:31 | 121.2232 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8519 | μmol/L | 28.6812 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.54 | 174222.1564 | 302637.1367 | 59.9307 | 49.4
5378 | 2021-02-16 15:31 | 121.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.5976 | μmol/L | 28.6441 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.564 | 174471.1737 | 302602.4805 | 59.9307 | 49.4
5388 | 2021-02-16 15:32 | 121.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.4511 | μmol/L | 28.6502 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.569 | 174540.1133 | 302610.2011 | 59.9307 | 49.4
5398 | 2021-02-16 15:32 | 122.2236 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.5339 | μmol/L | 28.6317 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.571 | 174567.3119 | 302589.5709 | 59.9307 | 49.4
5408 | 2021-02-16 15:32 | 122.5566 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.2209 | μmol/L | 28.6564 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.578 | 174628.5579 | 302580.361 | 59.9307 | 49.4
5418 | 2021-02-16 15:33 | 122.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.7223 | μmol/L | 28.7245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.58 | 174653.3937 | 302595.1089 | 59.9307 | 49.4
5428 | 2021-02-16 15:33 | 123.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.5757 | μmol/L | 28.7183 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.589 | 174721.702 | 302560.4056 | 59.9307 | 49.4
5438 | 2021-02-16 15:33 | 123.5572 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.6372 | μmol/L | 28.6936 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.594 | 174784.4363 | 302576.5619 | 59.9307 | 49.4
5448 | 2021-02-16 15:34 | 123.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.0328 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.621 | 175019.8485 | 302559.2855 | 59.9307 | 49.4
5458 | 2021-02-16 15:34 | 124.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1358 | μmol/L | 28.675 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.624 | 175062.57 | 302538.5849 | 59.9307 | 49.4
5468 | 2021-02-16 15:34 | 124.5566 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.0534 | μmol/L | 28.6936 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.622 | 175023.3366 | 302540.1163 | 59.9307 | 49.4
5478 | 2021-02-16 15:35 | 124.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1344 | μmol/L | 28.6441 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.634 | 175113.1702 | 302527.207 | 59.9307 | 49.4
5488 | 2021-02-16 15:35 | 125.2241 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.9469 | μmol/L | 28.6379 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.645 | 175224.3208 | 302518.9458 | 59.9307 | 49.4
5498 | 2021-02-16 15:35 | 125.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.5331 | μmol/L | 28.675 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.653 | 175299.938 | 302519.7112 | 59.9307 | 49.4
5508 | 2021-02-16 15:36 | 125.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.0155 | μmol/L | 28.6874 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.674 | 175518.898 | 302507.4774 | 59.9307 | 49.4
5518 | 2021-02-16 15:36 | 126.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4575 | μmol/L | 28.6812 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.703 | 175810.0588 | 302504.7341 | 59.9307 | 49.4
5528 | 2021-02-16 15:36 | 126.5566 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4785 | μmol/L | 28.6936 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.698 | 175806.25 | 302498.986 | 59.9307 | 49.4
5538 | 2021-02-16 15:37 | 126.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.2521 | μmol/L | 28.7059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.705 | 175865.1449 | 302484.2175 | 59.9307 | 49.4
5548 | 2021-02-16 15:37 | 127.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1896 | μmol/L | 28.6812 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.716 | 175966.2669 | 302491.4122 | 59.9307 | 49.4
5558 | 2021-02-16 15:37 | 127.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1903 | μmol/L | 28.7059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.708 | 175854.1963 | 302465.4137 | 59.9307 | 49.4
5568 | 2021-02-16 15:38 | 127.8899 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.8422 | μmol/L | 28.7802 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.701 | 175773.6714 | 302467.8966 | 59.9307 | 49.4
5578 | 2021-02-16 15:38 | 128.2236 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.8834 | μmol/L | 28.7802 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.699 | 175752.472 | 302454.4226 | 59.9307 | 49.4
5588 | 2021-02-16 15:38 | 128.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7248 | μmol/L | 28.6502 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.7 | 175775.8124 | 302447.5964 | 59.9307 | 49.4
5598 | 2021-02-16 15:39 | 128.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.5395 | μmol/L | 28.6626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.705 | 175825.6349 | 302439.7482 | 59.9307 | 49.4
5608 | 2021-02-16 15:39 | 129.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3745 | μmol/L | 28.6626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.713 | 175877.7856 | 302427.6365 | 59.9307 | 49.4
5618 | 2021-02-16 15:39 | 129.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3338 | μmol/L | 28.6812 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.709 | 175818.3589 | 302407.5974 | 59.9307 | 49.4
5628 | 2021-02-16 15:40 | 129.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.0264 | μmol/L | 28.7369 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.706 | 175813.0928 | 302399.4353 | 59.9307 | 49.4
5638 | 2021-02-16 15:40 | 130.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.7376 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.732 | 176019.8358 | 302403.1324 | 59.9307 | 49.4
5648 | 2021-02-16 15:40 | 130.5567 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.7991 | μmol/L | 28.6936 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.731 | 176007.8136 | 302373.8622 | 59.9307 | 49.4
5658 | 2021-02-16 15:41 | 130.8903 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.717 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.733 | 176015.2383 | 302380.4234 | 59.9307 | 49.4
5668 | 2021-02-16 15:41 | 131.2233 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.7581 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.731 | 175989.8812 | 302374.6463 | 59.9307 | 49.4
5678 | 2021-02-16 15:41 | 131.5572 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.4506 | μmol/L | 28.7183 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.74 | 176052.7172 | 302375.1654 | 59.9307 | 49.4
5688 | 2021-02-16 15:42 | 131.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.9431 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.722 | 175882.6206 | 302351.827 | 59.9307 | 49.4
5698 | 2021-02-16 15:42 | 132.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.2931 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.705 | 175691.0696 | 302338.508 | 59.9307 | 49.4
5708 | 2021-02-16 15:42 | 132.5567 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1699 | μmol/L | 28.7121 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.707 | 175677.6415 | 302340.9779 | 59.9307 | 49.4
5718 | 2021-02-16 15:43 | 132.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.0664 | μmol/L | 28.6936 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.718 | 175784.5269 | 302339.5829 | 59.9307 | 49.4
5728 | 2021-02-16 15:43 | 133.2232 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6635 | μmol/L | 28.6688 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.697 | 175612.9989 | 302327.5101 | 59.9307 | 49.4
5738 | 2021-02-16 15:43 | 133.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.725 | μmol/L | 28.6564 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.698 | 175546.4126 | 302306.469 | 59.9307 | 49.4
5748 | 2021-02-16 15:44 | 133.8903 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4778 | μmol/L | 28.6688 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.706 | 175652.6211 | 302293.4927 | 59.9307 | 49.4
5758 | 2021-02-16 15:44 | 134.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3745 | μmol/L | 28.6626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.713 | 175705.8412 | 302295.5414 | 59.9307 | 49.4
5768 | 2021-02-16 15:44 | 134.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1901 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.71 | 175680.9177 | 302305.0879 | 59.9307 | 49.4
5778 | 2021-02-16 15:45 | 134.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3666 | μmol/L | 28.7059 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.699 | 175567.2203 | 302298.4343 | 59.9307 | 49.4
5788 | 2021-02-16 15:45 | 135.224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3871 | μmol/L | 28.6998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.7 | 175552.1791 | 302286.7681 | 59.9307 | 49.4
5798 | 2021-02-16 15:45 | 135.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.0672 | μmol/L | 28.7245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.708 | 175611.921 | 302291.5677 | 59.9307 | 49.4
5808 | 2021-02-16 15:46 | 135.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4073 | μmol/L | 28.6874 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.703 | 175539.3908 | 302288.1419 | 59.9307 | 49.4
5818 | 2021-02-16 15:46 | 136.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.5722 | μmol/L | 28.6812 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.697 | 175470.9215 | 302261.1388 | 59.9307 | 49.4
5828 | 2021-02-16 15:46 | 136.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.469 | μmol/L | 28.6812 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.702 | 175477.9627 | 302257.1453 | 59.9307 | 49.4
5838 | 2021-02-16 15:47 | 136.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.1695 | μmol/L | 28.6998 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.711 | 175577.5405 | 302222.2658 | 59.9307 | 49.4
5848 | 2021-02-16 15:47 | 137.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.374 | μmol/L | 28.6441 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.719 | 175655.503 | 302236.9006 | 59.9307 | 49.4
5858 | 2021-02-16 15:47 | 137.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.5103 | μmol/L | 28.6812 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.7 | 175460.6711 | 302229.3476 | 59.9307 | 49.4
5868 | 2021-02-16 15:48 | 137.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.9315 | μmol/L | 28.6502 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.69 | 175314.8187 | 302245.5821 | 59.9307 | 49.4
5878 | 2021-02-16 15:48 | 138.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7366 | μmol/L | 28.6564 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.697 | 175395.1147 | 302214.0032 | 59.9307 | 49.4
5888 | 2021-02-16 15:48 | 138.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.0164 | μmol/L | 28.7059 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.716 | 175589.7582 | 302207.8044 | 59.9307 | 49.4
5898 | 2021-02-16 15:49 | 138.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.6251 | μmol/L | 28.6688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.747 | 175891.6066 | 302222.2829 | 59.9307 | 49.4
5908 | 2021-02-16 15:49 | 139.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 223.1533 | μmol/L | 28.6502 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.776 | 176189.761 | 302205.4733 | 59.9307 | 49.4
5918 | 2021-02-16 15:49 | 139.5569 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.6421 | μmol/L | 28.6255 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.809 | 176543.3547 | 302186.0269 | 59.9307 | 49.4
5928 | 2021-02-16 15:50 | 139.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.1936 | μmol/L | 28.6007 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.839 | 176831.3872 | 302196.2995 | 59.9307 | 49.4
5938 | 2021-02-16 15:50 | 140.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.8888 | μmol/L | 28.6193 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.848 | 176927.0606 | 302184.7181 | 59.9307 | 49.4
5948 | 2021-02-16 15:50 | 140.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.7264 | μmol/L | 28.6131 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.858 | 177022.4873 | 302181.9021 | 59.9307 | 49.4
5958 | 2021-02-16 15:51 | 140.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.3616 | μmol/L | 28.6317 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.87 | 177125.9345 | 302159.1383 | 59.9307 | 49.4
5968 | 2021-02-16 15:51 | 141.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.4425 | μmol/L | 28.6131 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.872 | 177130.5136 | 302166.7898 | 59.9307 | 49.4
5978 | 2021-02-16 15:51 | 141.5566 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.7467 | μmol/L | 28.6193 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.855 | 176948.0668 | 302170.1543 | 59.9307 | 49.4
5988 | 2021-02-16 15:52 | 141.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.8481 | μmol/L | 28.6069 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.854 | 176933.6625 | 302156.2378 | 59.9307 | 49.4
5998 | 2021-02-16 15:52 | 142.2233 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 222.0714 | μmol/L | 28.5884 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.849 | 176891.2204 | 302147.797 | 59.9307 | 49.4
6008 | 2021-02-16 15:52 | 142.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.7265 | μmol/L | 28.6317 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.852 | 176893.014 | 302156.311 | 59.9307 | 49.4
6018 | 2021-02-16 15:53 | 142.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 221.2603 | μmol/L | 28.6379 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.873 | 177069.5312 | 302162.9798 | 59.9307 | 49.4
6028 | 2021-02-16 15:53 | 143.224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.8246 | μmol/L | 28.6379 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.895 | 177260.3195 | 302143.0737 | 59.9307 | 49.4
6038 | 2021-02-16 15:53 | 143.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.3919 | μmol/L | 28.675 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.904 | 177363.7364 | 302145.8979 | 59.9307 | 49.4
6048 | 2021-02-16 15:54 | 143.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.3113 | μmol/L | 28.6874 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.904 | 177393.2425 | 302136.6351 | 59.9307 | 49.4
6058 | 2021-02-16 15:54 | 144.2241 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.2108 | μmol/L | 28.6626 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.917 | 177498.0199 | 302122.1697 | 59.9307 | 49.4
6068 | 2021-02-16 15:54 | 144.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.8891 | μmol/L | 28.6688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.931 | 177628.2311 | 302108.4979 | 59.9307 | 49.4
6078 | 2021-02-16 15:55 | 144.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6083 | μmol/L | 28.6502 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.951 | 177819.2771 | 302094.8142 | 59.9307 | 49.4
6088 | 2021-02-16 15:55 | 145.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6486 | μmol/L | 28.6379 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.953 | 177864.728 | 302100.2891 | 59.9307 | 49.4
6098 | 2021-02-16 15:55 | 145.5568 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7089 | μmol/L | 28.6255 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.954 | 177871.7493 | 302095.7149 | 59.9307 | 49.4
6108 | 2021-02-16 15:56 | 145.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3075 | μmol/L | 28.6688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.96 | 177917.3245 | 302091.8474 | 59.9307 | 49.4
6118 | 2021-02-16 15:56 | 146.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3277 | μmol/L | 28.6564 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.963 | 177956.6532 | 302064.0678 | 59.9307 | 49.4
6128 | 2021-02-16 15:56 | 146.5567 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2165 | μmol/L | 28.6626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.967 | 177969.4692 | 302063.1077 | 59.9307 | 49.4
6138 | 2021-02-16 15:57 | 146.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2566 | μmol/L | 28.6564 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.967 | 177950.1362 | 302054.0477 | 59.9307 | 49.4
6148 | 2021-02-16 15:57 | 147.2233 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6488 | μmol/L | 28.6193 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.959 | 177916.9494 | 302066.9367 | 59.9307 | 49.4
6158 | 2021-02-16 15:57 | 147.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5173 | μmol/L | 28.6255 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.964 | 177918.0095 | 302061.5049 | 59.9307 | 49.4
6168 | 2021-02-16 15:58 | 147.89 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0674 | μmol/L | 28.675 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.97 | 177982.684 | 302039.4291 | 59.9307 | 49.4
6178 | 2021-02-16 15:58 | 148.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.9278 | μmol/L | 28.6564 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.983 | 178093.1252 | 302058.5298 | 59.9307 | 49.4
6188 | 2021-02-16 15:58 | 148.5569 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6081 | μmol/L | 28.6812 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.991 | 178205.3403 | 302041.3709 | 59.9307 | 49.4
6198 | 2021-02-16 15:59 | 148.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5972 | μmol/L | 28.675 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 19.994 | 178239.9081 | 302032.4742 | 59.9307 | 49.4
6208 | 2021-02-16 15:59 | 149.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1097 | μmol/L | 28.7059 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.008 | 178349.3081 | 302028.818 | 59.9307 | 49.4
6218 | 2021-02-16 15:59 | 149.5568 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1294 | μmol/L | 28.7121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.005 | 178338.0148 | 302003.3504 | 59.9307 | 49.4
6228 | 2021-02-16 16:00 | 149.8905 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.03 | μmol/L | 28.7121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.01 | 178361.2357 | 302011.8006 | 59.9307 | 49.4
6238 | 2021-02-16 16:00 | 150.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7319 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.023 | 178448.2221 | 302001.9906 | 59.9307 | 49.4
6248 | 2021-02-16 16:00 | 150.5571 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.0497 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.007 | 178315.5467 | 301981.0555 | 59.9307 | 49.4
6258 | 2021-02-16 16:01 | 150.8901 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3483 | μmol/L | 28.7121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.994 | 178182.9403 | 301978.4854 | 59.9307 | 49.4
6268 | 2021-02-16 16:01 | 151.2238 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5674 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.981 | 178048.6517 | 301968.3059 | 59.9307 | 49.4
6278 | 2021-02-16 16:01 | 151.5568 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.4475 | μmol/L | 28.7307 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.983 | 178040.6958 | 301957.7566 | 59.9307 | 49.4
6288 | 2021-02-16 16:02 | 151.8906 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5275 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.983 | 178069.4818 | 301963.3107 | 59.9307 | 49.4
6298 | 2021-02-16 16:02 | 152.2236 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8079 | μmol/L | 28.6626 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.987 | 178086.058 | 301967.9239 | 59.9307 | 49.4
6308 | 2021-02-16 16:02 | 152.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8677 | μmol/L | 28.6688 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.982 | 178039.1281 | 301950.7932 | 59.9307 | 49.4
6318 | 2021-02-16 16:03 | 152.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2476 | μmol/L | 28.6626 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.965 | 177865.2476 | 301964.0229 | 59.9307 | 49.4
6328 | 2021-02-16 16:03 | 153.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5481 | μmol/L | 28.6564 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.952 | 177723.2286 | 301965.3382 | 59.9307 | 49.4
6338 | 2021-02-16 16:03 | 153.5568 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.4879 | μmol/L | 28.6626 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.953 | 177718.8796 | 301957.7487 | 59.9307 | 49.4
6348 | 2021-02-16 16:04 | 153.8907 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5875 | μmol/L | 28.7121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.932 | 177526.0824 | 301934.1952 | 59.9307 | 49.4
6358 | 2021-02-16 16:04 | 154.2236 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7683 | μmol/L | 28.6998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.927 | 177466.116 | 301947.8097 | 59.9307 | 49.4
6368 | 2021-02-16 16:04 | 154.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6075 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.929 | 177466.5697 | 301926.1855 | 59.9307 | 49.4
6378 | 2021-02-16 16:05 | 154.8903 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6882 | μmol/L | 28.6812 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.937 | 177515.4567 | 301906.6431 | 59.9307 | 49.4
6388 | 2021-02-16 16:05 | 155.224 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.728 | μmol/L | 28.7059 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.927 | 177432.763 | 301891.9772 | 59.9307 | 49.4
6398 | 2021-02-16 16:05 | 155.557 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.8685 | μmol/L | 28.7121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.918 | 177354.4692 | 301881.7466 | 59.9307 | 49.4
6408 | 2021-02-16 16:06 | 155.8899 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.8484 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.917 | 177309.0907 | 301884.7253 | 59.9307 | 49.4
6418 | 2021-02-16 16:06 | 156.2237 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7881 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.92 | 177341.9263 | 301897.5537 | 59.9307 | 49.4
6428 | 2021-02-16 16:06 | 156.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6672 | μmol/L | 28.7555 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.914 | 177271.1674 | 301893.7597 | 59.9307 | 49.4
6438 | 2021-02-16 16:07 | 156.8905 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5469 | μmol/L | 28.7493 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.922 | 177376.7218 | 301887.2906 | 59.9307 | 49.4
6448 | 2021-02-16 16:07 | 157.2235 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3265 | μmol/L | 28.7369 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.937 | 177453.3814 | 301841.2851 | 59.9307 | 49.4
6458 | 2021-02-16 16:07 | 157.5574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5672 | μmol/L | 28.7307 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.927 | 177398.4032 | 301863.4514 | 59.9307 | 49.4
6468 | 2021-02-16 16:08 | 157.8905 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6678 | μmol/L | 28.7059 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.93 | 177421.9234 | 301860.3035 | 59.9307 | 49.4
6478 | 2021-02-16 16:08 | 158.2234 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3066 | μmol/L | 28.7307 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.94 | 177495.5435 | 301865.838 | 59.9307 | 49.4
6488 | 2021-02-16 16:08 | 158.5573 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2065 | μmol/L | 28.7307 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.945 | 177512.9027 | 301871.6465 | 59.9307 | 49.4
6498 | 2021-02-16 16:09 | 158.8902 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.1058 | μmol/L | 28.7678 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.938 | 177481.1612 | 301840.8012 | 59.9307 | 49.4
6508 | 2021-02-16 16:09 | 159.2239 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0458 | μmol/L | 28.7678 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.941 | 177525.016 | 301843.3744 | 59.9307 | 49.4
6518 | 2021-02-16 16:09 | 159.5569 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.1463 | μmol/L | 28.7369 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.946 | 177550.4129 | 301827.1175 | 59.9307 | 49.4
6528 | 2021-02-16 16:10 | 159.8904 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.1667 | μmol/L | 28.7183 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.951 | 177581.3448 | 301817.073 | 59.9307 | 49.4