## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 19:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
6540 | 2021-02-16 18:19 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.0933 | μmol/L | 32.2356 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.52 | 185661 | 301446.9902 | 59.9307 | 49.4
6550 | 2021-02-16 18:20 | 0.33856 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.8904 | μmol/L | 32.279 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.517 | 185741.4329 | 301483.1046 | 59.9307 | 49.4
6560 | 2021-02-16 18:20 | 0.67246 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.919 | μmol/L | 32.2914 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.511 | 185653.4979 | 301498.5917 | 59.9307 | 49.4
6570 | 2021-02-16 18:20 | 1.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.641 | μmol/L | 32.3533 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.506 | 185663.5565 | 301513.3586 | 59.9307 | 49.4
6580 | 2021-02-16 18:21 | 1.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.1795 | μmol/L | 32.2728 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.502 | 185644.4095 | 301510.2807 | 59.9307 | 49.4
6590 | 2021-02-16 18:21 | 1.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.3145 | μmol/L | 32.2728 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.494 | 185620.9896 | 301529.5297 | 59.9307 | 49.4
6600 | 2021-02-16 18:21 | 2.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.2032 | μmol/L | 32.2975 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.492 | 185624.4565 | 301559.18 | 59.9307 | 49.4
6610 | 2021-02-16 18:22 | 2.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.1694 | μmol/L | 32.2975 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.494 | 185666.4132 | 301560.9425 | 59.9307 | 49.4
6620 | 2021-02-16 18:22 | 2.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.1475 | μmol/L | 32.3099 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.491 | 185678.1866 | 301536.9397 | 59.9307 | 49.4
6630 | 2021-02-16 18:22 | 3.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.0749 | μmol/L | 32.3223 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.491 | 185680.1737 | 301552.9327 | 59.9307 | 49.4
6640 | 2021-02-16 18:23 | 3.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.2876 | μmol/L | 32.2975 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.487 | 185680.4754 | 301553.0853 | 59.9307 | 49.4
6650 | 2021-02-16 18:23 | 3.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.983 | μmol/L | 32.3409 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.49 | 185714.5745 | 301552.1915 | 59.9307 | 49.4
6660 | 2021-02-16 18:23 | 4.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.9855 | μmol/L | 32.3347 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.492 | 185769.2204 | 301541.6854 | 59.9307 | 49.4
6670 | 2021-02-16 18:24 | 4.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.6618 | μmol/L | 32.3843 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.494 | 185796.3336 | 301535.4594 | 59.9307 | 49.4
6680 | 2021-02-16 18:24 | 4.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.3552 | μmol/L | 32.4339 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.495 | 185848.5345 | 301563.831 | 59.9307 | 49.4
6690 | 2021-02-16 18:24 | 5.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.1988 | μmol/L | 32.4462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.5 | 185902.7101 | 301566.8982 | 59.9307 | 49.4
6700 | 2021-02-16 18:25 | 5.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.1988 | μmol/L | 32.4462 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.5 | 185926.3819 | 301553.0491 | 59.9307 | 49.4
6710 | 2021-02-16 18:25 | 5.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.1132 | μmol/L | 32.4896 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.49 | 185849.4519 | 301536.2664 | 59.9307 | 49.4
6720 | 2021-02-16 18:25 | 6.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.2979 | μmol/L | 32.4896 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.479 | 185723.0806 | 301524.6358 | 59.9307 | 49.4
6730 | 2021-02-16 18:26 | 6.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.6333 | μmol/L | 32.4524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.472 | 185684.3945 | 301533.3974 | 59.9307 | 49.4
6740 | 2021-02-16 18:26 | 6.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.4661 | μmol/L | 32.4896 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.469 | 185647.6733 | 301508.2351 | 59.9307 | 49.4
6750 | 2021-02-16 18:26 | 7.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.1423 | μmol/L | 32.5392 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.471 | 185699.8749 | 301525.7746 | 59.9307 | 49.4
6760 | 2021-02-16 18:27 | 7.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.8075 | μmol/L | 32.5764 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.478 | 185726.7189 | 301508.2158 | 59.9307 | 49.4
6770 | 2021-02-16 18:27 | 7.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.6793 | μmol/L | 32.6012 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.477 | 185747.7428 | 301492.2955 | 59.9307 | 49.4
6780 | 2021-02-16 18:27 | 8.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.6766 | μmol/L | 32.6073 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.475 | 185780.0744 | 301480.2079 | 59.9307 | 49.4
6790 | 2021-02-16 18:28 | 8.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.8188 | μmol/L | 32.5888 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.473 | 185778.4094 | 301486.8046 | 59.9307 | 49.4
6800 | 2021-02-16 18:28 | 8.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.7242 | μmol/L | 32.6135 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.47 | 185750.0349 | 301440.6162 | 59.9307 | 49.4
6810 | 2021-02-16 18:28 | 9.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.5208 | μmol/L | 32.6569 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.467 | 185729.9291 | 301440.131 | 59.9307 | 49.4
6820 | 2021-02-16 18:29 | 9.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.4874 | μmol/L | 32.6569 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.469 | 185730.0674 | 301430.5337 | 59.9307 | 49.4
6830 | 2021-02-16 18:29 | 9.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.3592 | μmol/L | 32.6817 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.468 | 185738.38 | 301427.5928 | 59.9307 | 49.4
6840 | 2021-02-16 18:29 | 10.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.0891 | μmol/L | 32.7251 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.469 | 185744.9062 | 301408.6783 | 59.9307 | 49.4
6850 | 2021-02-16 18:30 | 10.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.0668 | μmol/L | 32.7375 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.466 | 185724.1195 | 301416.5281 | 59.9307 | 49.4
6860 | 2021-02-16 18:30 | 10.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.9888 | μmol/L | 32.7623 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.462 | 185711.3876 | 301402.9734 | 59.9307 | 49.4
6870 | 2021-02-16 18:30 | 11.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.9804 | μmol/L | 32.7808 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.456 | 185638.4948 | 301360.1024 | 59.9307 | 49.4
6880 | 2021-02-16 18:31 | 11.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.7965 | μmol/L | 32.818 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.454 | 185591.6659 | 301361.4895 | 59.9307 | 49.4
6890 | 2021-02-16 18:31 | 11.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.7936 | μmol/L | 32.8242 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.452 | 185579.0733 | 301341.4727 | 59.9307 | 49.4
6900 | 2021-02-16 18:31 | 12.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.7126 | μmol/L | 32.8552 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.446 | 185530.7776 | 301333.5783 | 59.9307 | 49.4
6910 | 2021-02-16 18:32 | 12.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.5787 | μmol/L | 32.8924 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.441 | 185502.123 | 301336.6372 | 59.9307 | 49.4
6920 | 2021-02-16 18:32 | 12.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.4504 | μmol/L | 32.9172 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.44 | 185461.5851 | 301315.0219 | 59.9307 | 49.4
6930 | 2021-02-16 18:32 | 13.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.3751 | μmol/L | 32.9358 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.438 | 185435.2643 | 301276.2909 | 59.9307 | 49.4
6940 | 2021-02-16 18:33 | 13.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.3555 | μmol/L | 32.942 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.437 | 185420.7057 | 301264.4493 | 59.9307 | 49.4
6950 | 2021-02-16 18:33 | 13.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.3135 | μmol/L | 32.9606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.433 | 185371.23 | 301256.9421 | 59.9307 | 49.4
6960 | 2021-02-16 18:33 | 14.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.1235 | μmol/L | 33.0101 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.427 | 185302.7802 | 301238.3553 | 59.9307 | 49.4
6970 | 2021-02-16 18:34 | 14.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.9952 | μmol/L | 33.0349 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.426 | 185299.3141 | 301205.5969 | 59.9307 | 49.4
6980 | 2021-02-16 18:34 | 14.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.9168 | μmol/L | 33.0597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.422 | 185268.0331 | 301200.4207 | 59.9307 | 49.4
6990 | 2021-02-16 18:34 | 15.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.8746 | μmol/L | 33.0783 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.418 | 185253.1985 | 301177.5261 | 59.9307 | 49.4
7000 | 2021-02-16 18:35 | 15.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.7991 | μmol/L | 33.0969 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.416 | 185248.7252 | 301157.5448 | 59.9307 | 49.4
7010 | 2021-02-16 18:35 | 15.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.6572 | μmol/L | 33.1155 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.418 | 185201.5728 | 301136.1516 | 59.9307 | 49.4
7020 | 2021-02-16 18:35 | 16.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.6481 | μmol/L | 33.1341 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.412 | 185171.6919 | 301139.1004 | 59.9307 | 49.4
7030 | 2021-02-16 18:36 | 16.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.5032 | μmol/L | 33.1589 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.412 | 185130.9105 | 301121.3265 | 59.9307 | 49.4
7040 | 2021-02-16 18:36 | 16.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.4669 | μmol/L | 33.1651 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.412 | 185105.4421 | 301102.0164 | 59.9307 | 49.4
7050 | 2021-02-16 18:36 | 17.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.4577 | μmol/L | 33.1837 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.406 | 185095.3454 | 301092.2996 | 59.9307 | 49.4
7060 | 2021-02-16 18:37 | 17.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.5573 | μmol/L | 33.1837 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.4 | 185007.8186 | 301071.047 | 59.9307 | 49.4
7070 | 2021-02-16 18:37 | 17.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.5511 | μmol/L | 33.196 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.396 | 184955.5299 | 301070.0833 | 59.9307 | 49.4
7080 | 2021-02-16 18:37 | 18.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.1886 | μmol/L | 33.258 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.396 | 184935.9569 | 301059.1566 | 59.9307 | 49.4
7090 | 2021-02-16 18:38 | 18.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.0664 | μmol/L | 33.2704 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.399 | 184956.8926 | 301042.0774 | 59.9307 | 49.4
7100 | 2021-02-16 18:38 | 18.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.1326 | μmol/L | 33.2704 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.395 | 184929.1938 | 301001.1091 | 59.9307 | 49.4
7110 | 2021-02-16 18:38 | 19.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.8002 | μmol/L | 33.3386 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.391 | 184884.1578 | 300982.8434 | 59.9307 | 49.4
7120 | 2021-02-16 18:39 | 19.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6718 | μmol/L | 33.3634 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.39 | 184832.531 | 300960.9148 | 59.9307 | 49.4
7130 | 2021-02-16 18:39 | 19.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.7544 | μmol/L | 33.3634 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.385 | 184790.9419 | 300957.7156 | 59.9307 | 49.4
7140 | 2021-02-16 18:39 | 20.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.9427 | μmol/L | 33.351 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.378 | 184765.4661 | 300955.7407 | 59.9307 | 49.4
7150 | 2021-02-16 18:40 | 20.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.5833 | μmol/L | 33.4068 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.38 | 184738.6387 | 300898.4968 | 59.9307 | 49.4
7160 | 2021-02-16 18:40 | 20.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.4613 | μmol/L | 33.4192 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.383 | 184727.6318 | 300890.2704 | 59.9307 | 49.4
7170 | 2021-02-16 18:40 | 21.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.4383 | μmol/L | 33.4316 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.38 | 184703.425 | 300865.6853 | 59.9307 | 49.4
7180 | 2021-02-16 18:41 | 21.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.4253 | μmol/L | 33.4564 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.372 | 184635.7477 | 300846.5159 | 59.9307 | 49.4
7190 | 2021-02-16 18:41 | 21.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.3232 | μmol/L | 33.4935 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.365 | 184542.8587 | 300823.0112 | 59.9307 | 49.4
7200 | 2021-02-16 18:41 | 22.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.1221 | μmol/L | 33.5307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.364 | 184529.8573 | 300801.0659 | 59.9307 | 49.4
7210 | 2021-02-16 18:42 | 22.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.2507 | μmol/L | 33.5059 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.365 | 184519.2087 | 300791.698 | 59.9307 | 49.4
7220 | 2021-02-16 18:42 | 22.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.9771 | μmol/L | 33.5555 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.364 | 184481.4675 | 300798.4679 | 59.9307 | 49.4
7230 | 2021-02-16 18:42 | 23.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.1748 | μmol/L | 33.5555 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.352 | 184361.0734 | 300774.7352 | 59.9307 | 49.4
7240 | 2021-02-16 18:43 | 23.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.9077 | μmol/L | 33.5927 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.355 | 184374.5975 | 300732.8761 | 59.9307 | 49.4
7250 | 2021-02-16 18:43 | 23.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.6442 | μmol/L | 33.6237 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.36 | 184429.5145 | 300722.8175 | 59.9307 | 49.4
7260 | 2021-02-16 18:43 | 24.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.6804 | μmol/L | 33.6175 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.36 | 184404.834 | 300685.014 | 59.9307 | 49.4
7270 | 2021-02-16 18:44 | 24.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.575 | μmol/L | 33.6299 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.362 | 184418.3204 | 300677.9547 | 59.9307 | 49.4
7280 | 2021-02-16 18:44 | 24.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.3775 | μmol/L | 33.6609 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.363 | 184424.9623 | 300652.5347 | 59.9307 | 49.4
7290 | 2021-02-16 18:44 | 25.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2394 | μmol/L | 33.6733 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.367 | 184408.0794 | 300642.5817 | 59.9307 | 49.4
7300 | 2021-02-16 18:45 | 25.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.1403 | μmol/L | 33.7043 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.362 | 184388.8432 | 300618.7161 | 59.9307 | 49.4
7310 | 2021-02-16 18:45 | 25.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2257 | μmol/L | 33.6981 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.359 | 184332.0047 | 300582.2295 | 59.9307 | 49.4
7320 | 2021-02-16 18:45 | 26.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.0015 | μmol/L | 33.7477 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.355 | 184295.8085 | 300572.8097 | 59.9307 | 49.4
7330 | 2021-02-16 18:46 | 26.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.7842 | μmol/L | 33.7849 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.355 | 184248.322 | 300564.1113 | 59.9307 | 49.4
7340 | 2021-02-16 18:46 | 26.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.1948 | μmol/L | 33.7539 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.341 | 184104.9682 | 300550.912 | 59.9307 | 49.4
7350 | 2021-02-16 18:46 | 27.0082 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9468 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.334 | 184000.3988 | 300512.4428 | 59.9307 | 49.4
7360 | 2021-02-16 18:47 | 27.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.0124 | μmol/L | 33.8158 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.33 | 183945.88 | 300482.525 | 59.9307 | 49.4
7370 | 2021-02-16 18:47 | 27.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2197 | μmol/L | 33.7973 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.324 | 183908.7366 | 300473.0165 | 59.9307 | 49.4
7380 | 2021-02-16 18:47 | 28.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9164 | μmol/L | 33.8406 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.327 | 183896.5534 | 300425.2196 | 59.9307 | 49.4
7390 | 2021-02-16 18:48 | 28.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.8801 | μmol/L | 33.8468 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.327 | 183911.6396 | 300421.3598 | 59.9307 | 49.4
7400 | 2021-02-16 18:48 | 28.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6496 | μmol/L | 33.8778 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.33 | 183902.8861 | 300424.9664 | 59.9307 | 49.4
7410 | 2021-02-16 18:48 | 29.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.3631 | μmol/L | 33.9212 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.332 | 183913.3109 | 300372.8746 | 59.9307 | 49.4
7420 | 2021-02-16 18:49 | 29.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.2544 | μmol/L | 33.9398 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.332 | 183868.7547 | 300347.9278 | 59.9307 | 49.4
7430 | 2021-02-16 18:49 | 29.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1874 | μmol/L | 33.9708 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.325 | 183806.9365 | 300333.2294 | 59.9307 | 49.4
7440 | 2021-02-16 18:49 | 30.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.3942 | μmol/L | 33.9522 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.319 | 183726.6296 | 300313.7364 | 59.9307 | 49.4
7450 | 2021-02-16 18:50 | 30.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1076 | μmol/L | 33.9956 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.321 | 183719.2244 | 300300.7652 | 59.9307 | 49.4
7460 | 2021-02-16 18:50 | 30.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.8375 | μmol/L | 34.039 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.322 | 183687.7548 | 300263.5776 | 59.9307 | 49.4
7470 | 2021-02-16 18:50 | 31.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.7577 | μmol/L | 34.0638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.318 | 183660.9464 | 300264.8026 | 59.9307 | 49.4
7480 | 2021-02-16 18:51 | 31.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.7703 | μmol/L | 34.07 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.315 | 183601.0636 | 300238.3443 | 59.9307 | 49.4
7490 | 2021-02-16 18:51 | 31.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.8481 | μmol/L | 34.0762 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.308 | 183511.2817 | 300204.1697 | 59.9307 | 49.4
7500 | 2021-02-16 18:51 | 32.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.837 | μmol/L | 34.0948 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.302 | 183405.6984 | 300184.9862 | 59.9307 | 49.4
7510 | 2021-02-16 18:52 | 32.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.9548 | μmol/L | 34.0886 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.297 | 183337.9586 | 300155.5341 | 59.9307 | 49.4
7520 | 2021-02-16 18:52 | 32.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.2434 | μmol/L | 34.07 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.286 | 183251.2042 | 300119.5899 | 59.9307 | 49.4
7530 | 2021-02-16 18:52 | 33.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.8236 | μmol/L | 34.1444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.285 | 183206.669 | 300118.9033 | 59.9307 | 49.4
7540 | 2021-02-16 18:53 | 33.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.6969 | μmol/L | 34.1382 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.295 | 183260.5889 | 300087.9762 | 59.9307 | 49.4
7550 | 2021-02-16 18:53 | 33.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.6681 | μmol/L | 34.132 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.299 | 183299.6766 | 300081.1122 | 59.9307 | 49.4
7560 | 2021-02-16 18:53 | 34.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.264 | μmol/L | 34.1816 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.306 | 183350.2776 | 300072.2929 | 59.9307 | 49.4
7570 | 2021-02-16 18:54 | 34.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.0789 | μmol/L | 34.2188 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.304 | 183342.3065 | 300042.0649 | 59.9307 | 49.4
7580 | 2021-02-16 18:54 | 34.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.8166 | μmol/L | 34.2498 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.309 | 183348.8958 | 300002.1226 | 59.9307 | 49.4
7590 | 2021-02-16 18:54 | 35.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.7241 | μmol/L | 34.2684 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.308 | 183367.8392 | 300022.2522 | 59.9307 | 49.4
7600 | 2021-02-16 18:55 | 35.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.5507 | μmol/L | 34.287 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.312 | 183342.0087 | 299969.3945 | 59.9307 | 49.4
7610 | 2021-02-16 18:55 | 35.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.6755 | μmol/L | 34.2684 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.311 | 183334.5377 | 299955.6332 | 59.9307 | 49.4
7620 | 2021-02-16 18:55 | 36.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.7117 | μmol/L | 34.2622 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.311 | 183312.1508 | 299943.8433 | 59.9307 | 49.4
7630 | 2021-02-16 18:56 | 36.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.5507 | μmol/L | 34.287 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.312 | 183306.7403 | 299934.3798 | 59.9307 | 49.4
7640 | 2021-02-16 18:56 | 36.6726 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.241 | μmol/L | 34.3428 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.311 | 183287.2634 | 299905.7886 | 59.9307 | 49.4
7650 | 2021-02-16 18:56 | 37.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.06 | μmol/L | 34.3738 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.311 | 183264.475 | 299884.1857 | 59.9307 | 49.4
7660 | 2021-02-16 18:57 | 37.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.0922 | μmol/L | 34.3738 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.309 | 183225.4128 | 299867.7592 | 59.9307 | 49.4
7670 | 2021-02-16 18:57 | 37.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1005 | μmol/L | 34.3862 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.304 | 183158.158 | 299844.2712 | 59.9307 | 49.4
7680 | 2021-02-16 18:57 | 38.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.0726 | μmol/L | 34.4048 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.299 | 183104.8612 | 299827.7403 | 59.9307 | 49.4
7690 | 2021-02-16 18:58 | 38.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.0848 | μmol/L | 34.411 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.296 | 183062.2875 | 299818.673 | 59.9307 | 49.4
7700 | 2021-02-16 18:58 | 38.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1411 | μmol/L | 34.3986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.297 | 183011.0798 | 299782.3896 | 59.9307 | 49.4
7710 | 2021-02-16 18:58 | 39.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1494 | μmol/L | 34.411 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.292 | 182968.4449 | 299770.0655 | 59.9307 | 49.4
7720 | 2021-02-16 18:59 | 39.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.214 | μmol/L | 34.411 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.288 | 182903.394 | 299732.2881 | 59.9307 | 49.4
7730 | 2021-02-16 18:59 | 39.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.0973 | μmol/L | 34.442 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.284 | 182852.9185 | 299731.186 | 59.9307 | 49.4
7740 | 2021-02-16 18:59 | 40.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9967 | μmol/L | 34.473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.279 | 182779.3778 | 299707.1869 | 59.9307 | 49.4
7750 | 2021-02-16 19:00 | 40.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9887 | μmol/L | 34.4854 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.275 | 182700.841 | 299689.5154 | 59.9307 | 49.4
7760 | 2021-02-16 19:00 | 40.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9807 | μmol/L | 34.4978 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.271 | 182655.5716 | 299673.7139 | 59.9307 | 49.4
7770 | 2021-02-16 19:00 | 41.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7468 | μmol/L | 34.535 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.272 | 182647.2936 | 299651.3102 | 59.9307 | 49.4
7780 | 2021-02-16 19:01 | 41.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7428 | μmol/L | 34.5412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.27 | 182614.2548 | 299627.7035 | 59.9307 | 49.4
7790 | 2021-02-16 19:01 | 41.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.6541 | μmol/L | 34.5536 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.271 | 182565.5441 | 299600.5064 | 59.9307 | 49.4
7800 | 2021-02-16 19:01 | 42.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.5129 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.264 | 182500.481 | 299582.0572 | 59.9307 | 49.4
7810 | 2021-02-16 19:02 | 42.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.4968 | μmol/L | 34.597 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.265 | 182459.9943 | 299560.155 | 59.9307 | 49.4
7820 | 2021-02-16 19:02 | 42.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7185 | μmol/L | 34.5784 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.258 | 182411.5942 | 299544.637 | 59.9307 | 49.4
7830 | 2021-02-16 19:02 | 43.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.775 | μmol/L | 34.566 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.259 | 182395.1847 | 299530.6103 | 59.9307 | 49.4
7840 | 2021-02-16 19:03 | 43.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.6055 | μmol/L | 34.6032 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.256 | 182355.0116 | 299514.62 | 59.9307 | 49.4
7850 | 2021-02-16 19:03 | 43.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.4801 | μmol/L | 34.6466 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.248 | 182257.2605 | 299491.1829 | 59.9307 | 49.4
7860 | 2021-02-16 19:03 | 44.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.3951 | μmol/L | 34.6776 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.242 | 182170.2167 | 299494.8448 | 59.9307 | 49.4
7870 | 2021-02-16 19:04 | 44.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.258 | μmol/L | 34.69 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.246 | 182182.2423 | 299471.0957 | 59.9307 | 49.4
7880 | 2021-02-16 19:04 | 44.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.5607 | μmol/L | 34.6466 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.243 | 182142.8222 | 299427.1232 | 59.9307 | 49.4
7890 | 2021-02-16 19:04 | 45.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.3831 | μmol/L | 34.6714 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.245 | 182122.5246 | 299414.9444 | 59.9307 | 49.4
7900 | 2021-02-16 19:05 | 45.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.1329 | μmol/L | 34.7086 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.247 | 182121.5197 | 299391.5002 | 59.9307 | 49.4
7910 | 2021-02-16 19:05 | 45.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.9632 | μmol/L | 34.7458 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.244 | 182089.2224 | 299384.3967 | 59.9307 | 49.4
7920 | 2021-02-16 19:05 | 46.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.1973 | μmol/L | 34.7086 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.243 | 182053.2293 | 299369.3212 | 59.9307 | 49.4
7930 | 2021-02-16 19:06 | 46.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.0352 | μmol/L | 34.7582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.235 | 181983.6044 | 299353.7743 | 59.9307 | 49.4
7940 | 2021-02-16 19:06 | 46.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.1079 | μmol/L | 34.7458 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.235 | 181953.8952 | 299327.6877 | 59.9307 | 49.4
7950 | 2021-02-16 19:06 | 47.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.785 | μmol/L | 34.7954 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.237 | 181959.5838 | 299316.5909 | 59.9307 | 49.4
7960 | 2021-02-16 19:07 | 47.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.567 | μmol/L | 34.8326 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.237 | 181973.1214 | 299295.625 | 59.9307 | 49.4
7970 | 2021-02-16 19:07 | 47.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.346 | μmol/L | 34.8512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.244 | 181971.4279 | 299274.3094 | 59.9307 | 49.4
7980 | 2021-02-16 19:07 | 48.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.2648 | μmol/L | 34.876 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.24 | 181933.217 | 299257.1802 | 59.9307 | 49.4
7990 | 2021-02-16 19:08 | 48.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.3854 | μmol/L | 34.8636 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.237 | 181901.2443 | 299243.1747 | 59.9307 | 49.4
8000 | 2021-02-16 19:08 | 48.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.1719 | μmol/L | 34.8946 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.239 | 181911.6672 | 299210.5131 | 59.9307 | 49.4
8010 | 2021-02-16 19:08 | 49.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.1152 | μmol/L | 34.907 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.238 | 181861.9373 | 299193.5046 | 59.9307 | 49.4
8020 | 2021-02-16 19:09 | 49.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.9817 | μmol/L | 34.938 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.235 | 181781.2628 | 299184.3111 | 59.9307 | 49.4
8030 | 2021-02-16 19:09 | 49.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.1342 | μmol/L | 34.9256 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.23 | 181710.2436 | 299162.9477 | 59.9307 | 49.4
8040 | 2021-02-16 19:09 | 50.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0529 | μmol/L | 34.9504 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.226 | 181650.0502 | 299134.0627 | 59.9307 | 49.4
8050 | 2021-02-16 19:10 | 50.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.9918 | μmol/L | 34.969 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.223 | 181617.0233 | 299138.9737 | 59.9307 | 49.4
8060 | 2021-02-16 19:10 | 50.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8784 | μmol/L | 34.9938 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.221 | 181600.0095 | 299115.1328 | 59.9307 | 49.4
8070 | 2021-02-16 19:10 | 51.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8741 | μmol/L | 35 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.219 | 181565.5656 | 299077.146 | 59.9307 | 49.4
8080 | 2021-02-16 19:11 | 51.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.6852 | μmol/L | 35.0186 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.224 | 181555.6453 | 299070.7959 | 59.9307 | 49.4
8090 | 2021-02-16 19:11 | 51.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.6968 | μmol/L | 35.0248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.221 | 181537.5399 | 299057.4873 | 59.9307 | 49.4
8100 | 2021-02-16 19:11 | 52.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.6329 | μmol/L | 35.0248 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.225 | 181532.6394 | 299038.2593 | 59.9307 | 49.4
8110 | 2021-02-16 19:12 | 52.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.7694 | μmol/L | 35.0124 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.221 | 181485.882 | 299033.2751 | 59.9307 | 49.4
8120 | 2021-02-16 19:12 | 52.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.781 | μmol/L | 35.0186 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.218 | 181446.3893 | 299008.1939 | 59.9307 | 49.4
8130 | 2021-02-16 19:12 | 53.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5674 | μmol/L | 35.0496 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.22 | 181426.8187 | 298980.2098 | 59.9307 | 49.4
8140 | 2021-02-16 19:13 | 53.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2678 | μmol/L | 35.1116 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.216 | 181415.2526 | 298969.5038 | 59.9307 | 49.4
8150 | 2021-02-16 19:13 | 53.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5789 | μmol/L | 35.0558 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.217 | 181398.0784 | 298967.8362 | 59.9307 | 49.4
8160 | 2021-02-16 19:13 | 54.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3698 | μmol/L | 35.0806 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.221 | 181377.8194 | 298950.8417 | 59.9307 | 49.4
8170 | 2021-02-16 19:14 | 54.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1294 | μmol/L | 35.1488 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.211 | 181302.9089 | 298930.0687 | 59.9307 | 49.4
8180 | 2021-02-16 19:14 | 54.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9113 | μmol/L | 35.186 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.211 | 181268.3403 | 298935.9508 | 59.9307 | 49.4
8190 | 2021-02-16 19:14 | 55.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9999 | μmol/L | 35.1736 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.21 | 181255.794 | 298916.2915 | 59.9307 | 49.4
8200 | 2021-02-16 19:15 | 55.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1681 | μmol/L | 35.1612 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.204 | 181190.2743 | 298892.0942 | 59.9307 | 49.4
8210 | 2021-02-16 19:15 | 55.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2453 | μmol/L | 35.1426 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.206 | 181173.9297 | 298885.1474 | 59.9307 | 49.4
8220 | 2021-02-16 19:15 | 56.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9136 | μmol/L | 35.2046 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.204 | 181139.4418 | 298875.1011 | 59.9307 | 49.4
8230 | 2021-02-16 19:16 | 56.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.7523 | μmol/L | 35.2294 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.205 | 181149.907 | 298865.3396 | 59.9307 | 49.4
8240 | 2021-02-16 19:16 | 56.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.8522 | μmol/L | 35.2232 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.201 | 181079.792 | 298842.9172 | 59.9307 | 49.4
8250 | 2021-02-16 19:16 | 57.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9567 | μmol/L | 35.2108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.199 | 181063.5937 | 298846.7915 | 59.9307 | 49.4
8260 | 2021-02-16 19:17 | 57.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0249 | μmol/L | 35.2046 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 20.197 | 181017.834 | 298806.4085 | 59.9307 | 49.4