## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4603 | 2021-02-16 13:30 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 258.7952 | μmol/L | 15.8847 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.162 | 176309.8618 | 324332.0191 | 33.25 | 68.6
4619 | 2021-02-16 15:06 | 96.2127 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9708 | μmol/L | 29.0971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.799 | 159669.1765 | 321172.6724 | 33.25 | 68.6
4629 | 2021-02-16 15:06 | 96.5507 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0066 | μmol/L | 29.1032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.795 | 159631.1376 | 321148.6455 | 33.25 | 68.6
4639 | 2021-02-16 15:07 | 96.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.1893 | μmol/L | 29.0605 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.8 | 159639.0039 | 321107.9333 | 33.25 | 68.6
4649 | 2021-02-16 15:07 | 97.2173 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.2119 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.803 | 159633.4103 | 321079.819 | 33.25 | 68.6
4659 | 2021-02-16 15:07 | 97.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9991 | μmol/L | 29.0666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.808 | 159650.7943 | 321045.9785 | 33.25 | 68.6
4669 | 2021-02-16 15:08 | 97.8838 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.08 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.81 | 159633.1273 | 321019.7466 | 33.25 | 68.6
4679 | 2021-02-16 15:08 | 98.2169 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0819 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.812 | 159614.5774 | 320984.8242 | 33.25 | 68.6
4689 | 2021-02-16 15:08 | 98.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9577 | μmol/L | 29.0788 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.806 | 159578.1814 | 320960.1435 | 33.25 | 68.6
4699 | 2021-02-16 15:09 | 98.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.8466 | μmol/L | 29.0727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.814 | 159621.2441 | 320923.6706 | 33.25 | 68.6
4709 | 2021-02-16 15:09 | 99.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6342 | μmol/L | 29.091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.819 | 159626.2326 | 320889.1957 | 33.25 | 68.6
4719 | 2021-02-16 15:09 | 99.5507 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.5778 | μmol/L | 29.091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.822 | 159661.5857 | 320864.9945 | 33.25 | 68.6
4729 | 2021-02-16 15:10 | 99.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2117 | μmol/L | 29.1215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.831 | 159677.8008 | 320819.3439 | 33.25 | 68.6
4739 | 2021-02-16 15:10 | 100.2166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2886 | μmol/L | 29.1154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.829 | 159648.2805 | 320800.4256 | 33.25 | 68.6
4749 | 2021-02-16 15:10 | 100.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2699 | μmol/L | 29.1154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.83 | 159649.1172 | 320774.7012 | 33.25 | 68.6
4759 | 2021-02-16 15:11 | 100.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2531 | μmol/L | 29.1093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.833 | 159611.5637 | 320741.7705 | 33.25 | 68.6
4769 | 2021-02-16 15:11 | 101.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.3112 | μmol/L | 29.1032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.832 | 159607.4801 | 320705.3291 | 33.25 | 68.6
4779 | 2021-02-16 15:11 | 101.5507 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.0806 | μmol/L | 29.1215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.838 | 159637.0304 | 320687.6963 | 33.25 | 68.6
4789 | 2021-02-16 15:12 | 101.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6681 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.834 | 159595.9907 | 320662.138 | 33.25 | 68.6
4799 | 2021-02-16 15:12 | 102.2166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.6287 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.834 | 159543.7845 | 320621.4381 | 33.25 | 68.6
4809 | 2021-02-16 15:12 | 102.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7452 | μmol/L | 29.036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.832 | 159519.7824 | 320607.3856 | 33.25 | 68.6
4819 | 2021-02-16 15:13 | 102.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.3507 | μmol/L | 29.0971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.832 | 159521.861 | 320576.4245 | 33.25 | 68.6
4829 | 2021-02-16 15:13 | 103.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.5723 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.837 | 159526.1021 | 320552.6616 | 33.25 | 68.6
4839 | 2021-02-16 15:13 | 103.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.4992 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.843 | 159576.6947 | 320536.5325 | 33.25 | 68.6
4849 | 2021-02-16 15:14 | 103.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.3097 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.851 | 159616.7863 | 320506.6054 | 33.25 | 68.6
4859 | 2021-02-16 15:14 | 104.2168 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.5612 | μmol/L | 29.0238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.846 | 159563.2142 | 320473.3993 | 33.25 | 68.6
4869 | 2021-02-16 15:14 | 104.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.0172 | μmol/L | 29.0849 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.854 | 159592.7798 | 320469.3153 | 33.25 | 68.6
4879 | 2021-02-16 15:15 | 104.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1992 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.859 | 159606.1171 | 320452.5576 | 33.25 | 68.6
4889 | 2021-02-16 15:15 | 105.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.7889 | μmol/L | 29.0971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.862 | 159628.7703 | 320428.4011 | 33.25 | 68.6
4899 | 2021-02-16 15:15 | 105.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5795 | μmol/L | 29.1093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.869 | 159663.9005 | 320399.8463 | 33.25 | 68.6
4909 | 2021-02-16 15:16 | 105.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.72 | μmol/L | 29.0788 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.872 | 159677.998 | 320386.4466 | 33.25 | 68.6
4919 | 2021-02-16 15:16 | 106.2169 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.546 | μmol/L | 29.0971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.875 | 159694.286 | 320347.3482 | 33.25 | 68.6
4929 | 2021-02-16 15:16 | 106.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5048 | μmol/L | 29.1093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.873 | 159678.6105 | 320347.3536 | 33.25 | 68.6
4939 | 2021-02-16 15:17 | 106.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6394 | μmol/L | 29.0971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.87 | 159644.5452 | 320344.1115 | 33.25 | 68.6
4949 | 2021-02-16 15:17 | 107.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.8153 | μmol/L | 29.0727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.869 | 159612.9293 | 320307.9431 | 33.25 | 68.6
4959 | 2021-02-16 15:17 | 107.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.8044 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.878 | 159651.7557 | 320295.2953 | 33.25 | 68.6
4969 | 2021-02-16 15:18 | 107.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.0816 | μmol/L | 28.9994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.88 | 159647.4274 | 320267.4595 | 33.25 | 68.6
4979 | 2021-02-16 15:18 | 108.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.0384 | μmol/L | 29.0177 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.876 | 159624.7 | 320257.7171 | 33.25 | 68.6
4989 | 2021-02-16 15:18 | 108.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.3402 | μmol/L | 28.9506 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.883 | 159643.7626 | 320217.2348 | 33.25 | 68.6
4999 | 2021-02-16 15:19 | 108.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1679 | μmol/L | 28.9628 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.888 | 159683.7753 | 320208.2167 | 33.25 | 68.6
5009 | 2021-02-16 15:19 | 109.2168 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.271 | μmol/L | 28.9323 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.893 | 159703.6177 | 320199.047 | 33.25 | 68.6
5019 | 2021-02-16 15:19 | 109.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.0446 | μmol/L | 28.9384 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.903 | 159795.4535 | 320179.5064 | 33.25 | 68.6
5029 | 2021-02-16 15:20 | 109.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4614 | μmol/L | 29.0116 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.909 | 159801.1234 | 320145.3774 | 33.25 | 68.6
5039 | 2021-02-16 15:20 | 110.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.2094 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.912 | 159848.6295 | 320131.5622 | 33.25 | 68.6
5049 | 2021-02-16 15:20 | 110.5501 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.1741 | μmol/L | 29.036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.916 | 159864.7929 | 320107.0743 | 33.25 | 68.6
5059 | 2021-02-16 15:21 | 110.8838 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4967 | μmol/L | 29.0177 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.905 | 159783.4826 | 320106.0559 | 33.25 | 68.6
5069 | 2021-02-16 15:21 | 111.2168 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.9597 | μmol/L | 29.0666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.917 | 159842.0562 | 320073.0133 | 33.25 | 68.6
5079 | 2021-02-16 15:21 | 111.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.2564 | μmol/L | 29.0116 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.92 | 159827.0914 | 320063.3265 | 33.25 | 68.6
5089 | 2021-02-16 15:22 | 111.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.2711 | μmol/L | 29.0238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.915 | 159782.9479 | 320035.3354 | 33.25 | 68.6
5099 | 2021-02-16 15:22 | 112.2166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4653 | μmol/L | 28.9994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.913 | 159757.8355 | 320015.0367 | 33.25 | 68.6
5109 | 2021-02-16 15:22 | 112.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6801 | μmol/L | 28.9689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.912 | 159748.3465 | 320002.4295 | 33.25 | 68.6
5119 | 2021-02-16 15:23 | 112.8839 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.7399 | μmol/L | 28.9567 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.913 | 159731.1936 | 319983.2805 | 33.25 | 68.6
5129 | 2021-02-16 15:23 | 113.2169 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.3682 | μmol/L | 29.0116 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.914 | 159721.8788 | 319969.7661 | 33.25 | 68.6
5139 | 2021-02-16 15:23 | 113.5501 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.3084 | μmol/L | 29.0238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.913 | 159684.4741 | 319929.7055 | 33.25 | 68.6
5149 | 2021-02-16 15:24 | 113.8833 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5418 | μmol/L | 28.9933 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.911 | 159660.5861 | 319938.3849 | 33.25 | 68.6
5159 | 2021-02-16 15:24 | 114.2173 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6801 | μmol/L | 28.9689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.912 | 159660.4898 | 319912.5963 | 33.25 | 68.6
5169 | 2021-02-16 15:24 | 114.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.8802 | μmol/L | 28.9262 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.916 | 159698.4015 | 319888.9284 | 33.25 | 68.6
5179 | 2021-02-16 15:25 | 114.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5573 | μmol/L | 28.9445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.927 | 159786.6656 | 319871.0989 | 33.25 | 68.6
5189 | 2021-02-16 15:25 | 115.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.7367 | μmol/L | 28.9079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.93 | 159804.9285 | 319843.9904 | 33.25 | 68.6
5199 | 2021-02-16 15:25 | 115.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.511 | μmol/L | 28.914 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.94 | 159873.09 | 319844.5176 | 33.25 | 68.6
5209 | 2021-02-16 15:26 | 115.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4982 | μmol/L | 28.8957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.947 | 159915.5931 | 319821.6243 | 33.25 | 68.6
5219 | 2021-02-16 15:26 | 116.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.8923 | μmol/L | 28.9872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.948 | 159922.8013 | 319816.1702 | 33.25 | 68.6
5229 | 2021-02-16 15:26 | 116.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.5074 | μmol/L | 29.0299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.954 | 159953.4958 | 319782.5226 | 33.25 | 68.6
5239 | 2021-02-16 15:27 | 116.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.2646 | μmol/L | 29.036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.965 | 160037.128 | 319781.705 | 33.25 | 68.6
5249 | 2021-02-16 15:27 | 117.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.9246 | μmol/L | 28.9445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.961 | 160009.6122 | 319754.3552 | 33.25 | 68.6
5259 | 2021-02-16 15:27 | 117.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6716 | μmol/L | 28.9811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.962 | 160006.2767 | 319738.956 | 33.25 | 68.6
5269 | 2021-02-16 15:28 | 117.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.0234 | μmol/L | 28.9262 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.962 | 160019.6079 | 319729.1575 | 33.25 | 68.6
5279 | 2021-02-16 15:28 | 118.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.3611 | μmol/L | 29.0238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.964 | 160059.0409 | 319717.8283 | 33.25 | 68.6
5289 | 2021-02-16 15:28 | 118.5503 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.8928 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.983 | 160197.7897 | 319701.8497 | 33.25 | 68.6
5299 | 2021-02-16 15:29 | 118.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.6467 | μmol/L | 29.0605 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.99 | 160223.2929 | 319669.5847 | 33.25 | 68.6
5309 | 2021-02-16 15:29 | 119.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.9173 | μmol/L | 29.0238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.988 | 160185.9409 | 319661.7458 | 33.25 | 68.6
5319 | 2021-02-16 15:29 | 119.5501 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5791 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21 | 160271.8022 | 319647.2798 | 33.25 | 68.6
5329 | 2021-02-16 15:30 | 119.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5955 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.997 | 160231.8114 | 319644.7541 | 33.25 | 68.6
5339 | 2021-02-16 15:30 | 120.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.5422 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.002 | 160276.219 | 319613.2984 | 33.25 | 68.6
5349 | 2021-02-16 15:30 | 120.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.6753 | μmol/L | 29.0299 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.999 | 160227.6517 | 319616.9448 | 33.25 | 68.6
5359 | 2021-02-16 15:31 | 120.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.4849 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.003 | 160236.3181 | 319592.6724 | 33.25 | 68.6
5369 | 2021-02-16 15:31 | 121.2166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3867 | μmol/L | 29.0666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.002 | 160262.7875 | 319577.526 | 33.25 | 68.6
5379 | 2021-02-16 15:31 | 121.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.4153 | μmol/L | 29.036 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.011 | 160312.2451 | 319570.3872 | 33.25 | 68.6
5389 | 2021-02-16 15:32 | 121.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.3028 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.015 | 160350.4775 | 319553.6787 | 33.25 | 68.6
5399 | 2021-02-16 15:32 | 122.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.2639 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.015 | 160347.1776 | 319525.8546 | 33.25 | 68.6
5409 | 2021-02-16 15:32 | 122.5503 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.4971 | μmol/L | 29.0116 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.015 | 160339.4344 | 319513.843 | 33.25 | 68.6
5419 | 2021-02-16 15:33 | 122.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 209.172 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.02 | 160338.1463 | 319506.2613 | 33.25 | 68.6
5429 | 2021-02-16 15:33 | 123.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9104 | μmol/L | 29.1154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.011 | 160284.9437 | 319478.5798 | 33.25 | 68.6
5439 | 2021-02-16 15:33 | 123.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6247 | μmol/L | 29.1459 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.016 | 160322.6269 | 319477.7011 | 33.25 | 68.6
5449 | 2021-02-16 15:34 | 123.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.9248 | μmol/L | 29.0727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.025 | 160383.967 | 319472.856 | 33.25 | 68.6
5459 | 2021-02-16 15:34 | 124.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.6168 | μmol/L | 29.1154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.027 | 160414.0142 | 319464.3586 | 33.25 | 68.6
5469 | 2021-02-16 15:34 | 124.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.4272 | μmol/L | 29.1337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.031 | 160439.2002 | 319459.868 | 33.25 | 68.6
5479 | 2021-02-16 15:35 | 124.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.5047 | μmol/L | 29.1215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.031 | 160435.1086 | 319448.9612 | 33.25 | 68.6
5489 | 2021-02-16 15:35 | 125.217 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.5638 | μmol/L | 29.1093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.032 | 160441.8171 | 319440.322 | 33.25 | 68.6
5499 | 2021-02-16 15:35 | 125.5499 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3377 | μmol/L | 29.1276 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.038 | 160451.1451 | 319410.5312 | 33.25 | 68.6
5509 | 2021-02-16 15:36 | 125.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.2828 | μmol/L | 29.1276 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.041 | 160481.1125 | 319401.5993 | 33.25 | 68.6
5519 | 2021-02-16 15:36 | 126.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.5334 | μmol/L | 29.091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.04 | 160492.4138 | 319386.1886 | 33.25 | 68.6
5529 | 2021-02-16 15:36 | 126.5503 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.9369 | μmol/L | 29.1764 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.043 | 160489.033 | 319375.6178 | 33.25 | 68.6
5539 | 2021-02-16 15:37 | 126.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.7823 | μmol/L | 29.2008 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.043 | 160466.4837 | 319349.4717 | 33.25 | 68.6
5549 | 2021-02-16 15:37 | 127.2168 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.1763 | μmol/L | 29.1459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.04 | 160466.5808 | 319338.3791 | 33.25 | 68.6
5559 | 2021-02-16 15:37 | 127.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3644 | μmol/L | 29.1032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.045 | 160490.0965 | 319321.7457 | 33.25 | 68.6
5569 | 2021-02-16 15:38 | 127.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0367 | μmol/L | 29.152 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.046 | 160517.2568 | 319319.0202 | 33.25 | 68.6
5579 | 2021-02-16 15:38 | 128.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6728 | μmol/L | 29.2008 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.049 | 160517.3215 | 319319.4667 | 33.25 | 68.6
5589 | 2021-02-16 15:38 | 128.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.0205 | μmol/L | 29.1459 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.049 | 160505.8268 | 319283.1331 | 33.25 | 68.6
5599 | 2021-02-16 15:39 | 128.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3869 | μmol/L | 29.091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.048 | 160475.7821 | 319264.1717 | 33.25 | 68.6
5609 | 2021-02-16 15:39 | 129.2166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.102 | μmol/L | 29.1215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.053 | 160492.8689 | 319265.3477 | 33.25 | 68.6
5619 | 2021-02-16 15:39 | 129.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6202 | μmol/L | 29.1947 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.054 | 160504.0394 | 319249.338 | 33.25 | 68.6
5629 | 2021-02-16 15:40 | 129.8833 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.043 | μmol/L | 29.1337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.052 | 160492.8617 | 319245.9828 | 33.25 | 68.6
5639 | 2021-02-16 15:40 | 130.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 208.3016 | μmol/L | 29.0727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.059 | 160544.1899 | 319242.0266 | 33.25 | 68.6
5649 | 2021-02-16 15:40 | 130.5507 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6147 | μmol/L | 29.1581 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.067 | 160583.8374 | 319224.7617 | 33.25 | 68.6
5659 | 2021-02-16 15:41 | 130.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.4765 | μmol/L | 29.1886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.064 | 160551.496 | 319202.8631 | 33.25 | 68.6
5669 | 2021-02-16 15:41 | 131.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3993 | μmol/L | 29.2008 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.064 | 160570.9641 | 319196.7687 | 33.25 | 68.6
5679 | 2021-02-16 15:41 | 131.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.5172 | μmol/L | 29.1764 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.066 | 160575.2968 | 319172.578 | 33.25 | 68.6
5689 | 2021-02-16 15:42 | 131.8833 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6231 | μmol/L | 29.1337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.075 | 160638.2918 | 319182.3166 | 33.25 | 68.6
5699 | 2021-02-16 15:42 | 132.2168 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6435 | μmol/L | 29.1276 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.076 | 160596.2198 | 319154.4844 | 33.25 | 68.6
5709 | 2021-02-16 15:42 | 132.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.7936 | μmol/L | 29.1154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.072 | 160593.3414 | 319142.0257 | 33.25 | 68.6
5719 | 2021-02-16 15:43 | 132.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.4346 | μmol/L | 29.152 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.079 | 160599.6494 | 319124.0496 | 33.25 | 68.6
5729 | 2021-02-16 15:43 | 133.2173 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3007 | μmol/L | 29.1703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.08 | 160616.6531 | 319114.8173 | 33.25 | 68.6
5739 | 2021-02-16 15:43 | 133.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6498 | μmol/L | 29.1093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.082 | 160619.4976 | 319119.3344 | 33.25 | 68.6
5749 | 2021-02-16 15:44 | 133.8833 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6316 | μmol/L | 29.1093 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.083 | 160623.206 | 319097.7603 | 33.25 | 68.6
5759 | 2021-02-16 15:44 | 134.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.8972 | μmol/L | 29.0544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.087 | 160636.8982 | 319089.6738 | 33.25 | 68.6
5769 | 2021-02-16 15:44 | 134.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.5812 | μmol/L | 29.0971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.09 | 160647.6542 | 319074.4402 | 33.25 | 68.6
5779 | 2021-02-16 15:45 | 134.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.4088 | μmol/L | 29.1215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.091 | 160659.0569 | 319062.5304 | 33.25 | 68.6
5789 | 2021-02-16 15:45 | 135.217 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.4408 | μmol/L | 29.1093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.093 | 160678.0451 | 319053.6359 | 33.25 | 68.6
5799 | 2021-02-16 15:45 | 135.5507 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2023 | μmol/L | 29.1398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.096 | 160674.7784 | 319043.2077 | 33.25 | 68.6
5809 | 2021-02-16 15:46 | 135.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0569 | μmol/L | 29.1398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.104 | 160717.0983 | 319032.4163 | 33.25 | 68.6
5819 | 2021-02-16 15:46 | 136.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3519 | μmol/L | 29.1032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.1 | 160686.8028 | 319017.7752 | 33.25 | 68.6
5829 | 2021-02-16 15:46 | 136.5501 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3787 | μmol/L | 29.1032 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.099 | 160684.8598 | 319003.7536 | 33.25 | 68.6
5839 | 2021-02-16 15:47 | 136.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0387 | μmol/L | 29.1398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.105 | 160701.9655 | 318995.8753 | 33.25 | 68.6
5849 | 2021-02-16 15:47 | 137.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.9798 | μmol/L | 29.1276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.112 | 160737.9292 | 318981.6815 | 33.25 | 68.6
5859 | 2021-02-16 15:47 | 137.5499 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.6835 | μmol/L | 29.0116 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.114 | 160753.5859 | 318973.3915 | 33.25 | 68.6
5869 | 2021-02-16 15:48 | 137.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.677 | μmol/L | 29.0055 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.116 | 160749.5146 | 318968.101 | 33.25 | 68.6
5879 | 2021-02-16 15:48 | 138.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.4298 | μmol/L | 29.036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.119 | 160761.391 | 318950.499 | 33.25 | 68.6
5889 | 2021-02-16 15:48 | 138.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3934 | μmol/L | 29.036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.121 | 160768.3443 | 318931.7679 | 33.25 | 68.6
5899 | 2021-02-16 15:49 | 138.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3955 | μmol/L | 29.0299 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.123 | 160773.7543 | 318917.4831 | 33.25 | 68.6
5909 | 2021-02-16 15:49 | 139.2166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.3251 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.121 | 160759.1236 | 318910.3916 | 33.25 | 68.6
5919 | 2021-02-16 15:49 | 139.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0333 | μmol/L | 29.0788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.126 | 160780.4341 | 318908.4011 | 33.25 | 68.6
5929 | 2021-02-16 15:50 | 139.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0236 | μmol/L | 29.0544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.135 | 160830.5065 | 318900.7303 | 33.25 | 68.6
5939 | 2021-02-16 15:50 | 140.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.0344 | μmol/L | 29.0482 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.137 | 160856.4082 | 318883.2766 | 33.25 | 68.6
5949 | 2021-02-16 15:50 | 140.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.4124 | μmol/L | 28.9811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.139 | 160848.0978 | 318877.3147 | 33.25 | 68.6
5959 | 2021-02-16 15:51 | 140.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.2104 | μmol/L | 28.9872 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.148 | 160913.0205 | 318856.6585 | 33.25 | 68.6
5969 | 2021-02-16 15:51 | 141.2166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.8732 | μmol/L | 29.0177 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.156 | 160975.3282 | 318858.7869 | 33.25 | 68.6
5979 | 2021-02-16 15:51 | 141.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.7037 | μmol/L | 29.036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.159 | 160981.9945 | 318836.0375 | 33.25 | 68.6
5989 | 2021-02-16 15:52 | 141.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.3991 | μmol/L | 29.0788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.161 | 161006.6989 | 318822.7383 | 33.25 | 68.6
5999 | 2021-02-16 15:52 | 142.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2162 | μmol/L | 29.0849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.169 | 161045.8879 | 318806.46 | 33.25 | 68.6
6009 | 2021-02-16 15:52 | 142.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.5653 | μmol/L | 29.0177 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.173 | 161060.439 | 318818.8817 | 33.25 | 68.6
6019 | 2021-02-16 15:53 | 142.8839 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 207.048 | μmol/L | 28.9323 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.176 | 161106.202 | 318803.1334 | 33.25 | 68.6
6029 | 2021-02-16 15:53 | 143.2168 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.723 | μmol/L | 28.9811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.177 | 161093.4653 | 318785.8932 | 33.25 | 68.6
6039 | 2021-02-16 15:53 | 143.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.5334 | μmol/L | 29.0055 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.179 | 161125.0177 | 318772.7914 | 33.25 | 68.6
6049 | 2021-02-16 15:54 | 143.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2877 | μmol/L | 29.036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.182 | 161152.0779 | 318754.3718 | 33.25 | 68.6
6059 | 2021-02-16 15:54 | 144.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.4559 | μmol/L | 28.9933 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.188 | 161156.6349 | 318755.8577 | 33.25 | 68.6
6069 | 2021-02-16 15:54 | 144.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.7155 | μmol/L | 28.9506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.188 | 161174.9917 | 318751.84 | 33.25 | 68.6
6079 | 2021-02-16 15:55 | 144.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.5239 | μmol/L | 28.9811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.188 | 161176.1384 | 318736.8545 | 33.25 | 68.6
6089 | 2021-02-16 15:55 | 145.2169 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.3346 | μmol/L | 29.0055 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.19 | 161180.7144 | 318730.075 | 33.25 | 68.6
6099 | 2021-02-16 15:55 | 145.5506 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2666 | μmol/L | 29.0177 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.19 | 161195.4899 | 318710.8082 | 33.25 | 68.6
6109 | 2021-02-16 15:56 | 145.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.2421 | μmol/L | 29.0116 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.193 | 161196.1539 | 318707.8496 | 33.25 | 68.6
6119 | 2021-02-16 15:56 | 146.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.102 | μmol/L | 29.0238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.197 | 161235.348 | 318707.8857 | 33.25 | 68.6
6129 | 2021-02-16 15:56 | 146.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0414 | μmol/L | 29.0421 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.194 | 161222.6276 | 318704.8227 | 33.25 | 68.6
6139 | 2021-02-16 15:57 | 146.8839 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0415 | μmol/L | 29.0177 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.202 | 161274.0365 | 318696.0304 | 33.25 | 68.6
6149 | 2021-02-16 15:57 | 147.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0999 | μmol/L | 29.0055 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.203 | 161285.2928 | 318680.5677 | 33.25 | 68.6
6159 | 2021-02-16 15:57 | 147.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.5621 | μmol/L | 29.0727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.21 | 161315.0683 | 318666.2084 | 33.25 | 68.6
6169 | 2021-02-16 15:58 | 147.8833 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.7041 | μmol/L | 29.0544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.208 | 161315.5158 | 318652.2257 | 33.25 | 68.6
6179 | 2021-02-16 15:58 | 148.2173 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.7668 | μmol/L | 29.0299 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.213 | 161337.9247 | 318631.2325 | 33.25 | 68.6
6189 | 2021-02-16 15:58 | 148.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.1395 | μmol/L | 28.9689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.214 | 161374.4817 | 318630.548 | 33.25 | 68.6
6199 | 2021-02-16 15:59 | 148.884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.1374 | μmol/L | 28.9506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.22 | 161400.1427 | 318619.7667 | 33.25 | 68.6
6209 | 2021-02-16 15:59 | 149.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 206.0249 | μmol/L | 28.9628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.222 | 161425.9661 | 318625.7538 | 33.25 | 68.6
6219 | 2021-02-16 15:59 | 149.5499 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3199 | μmol/L | 29.0727 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.223 | 161408.2269 | 318602.4371 | 33.25 | 68.6
6229 | 2021-02-16 16:00 | 149.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4566 | μmol/L | 29.0421 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.226 | 161439.6284 | 318595.9479 | 33.25 | 68.6
6239 | 2021-02-16 16:00 | 150.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.4453 | μmol/L | 29.0238 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.233 | 161487.0805 | 318579.324 | 33.25 | 68.6
6249 | 2021-02-16 16:00 | 150.5504 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2008 | μmol/L | 29.0544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.236 | 161504.3115 | 318574.6251 | 33.25 | 68.6
6259 | 2021-02-16 16:01 | 150.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1313 | μmol/L | 29.0482 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.242 | 161540.0773 | 318581.9601 | 33.25 | 68.6
6269 | 2021-02-16 16:01 | 151.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.8805 | μmol/L | 29.0971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.239 | 161540.9499 | 318567.5339 | 33.25 | 68.6
6279 | 2021-02-16 16:01 | 151.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.7305 | μmol/L | 29.1154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.241 | 161548.0613 | 318550.1969 | 33.25 | 68.6
6289 | 2021-02-16 16:02 | 151.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.6768 | μmol/L | 29.1154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.244 | 161540.7604 | 318552.4595 | 33.25 | 68.6
6299 | 2021-02-16 16:02 | 152.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.451 | μmol/L | 29.1459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.246 | 161570.231 | 318520.4266 | 33.25 | 68.6
6309 | 2021-02-16 16:02 | 152.5505 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.5806 | μmol/L | 29.1337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.243 | 161550.0406 | 318527.0422 | 33.25 | 68.6
6319 | 2021-02-16 16:03 | 152.8833 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3996 | μmol/L | 29.1398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.251 | 161611.3571 | 318512.114 | 33.25 | 68.6
6329 | 2021-02-16 16:03 | 153.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3259 | μmol/L | 29.1459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.253 | 161605.4965 | 318506.6892 | 33.25 | 68.6
6339 | 2021-02-16 16:03 | 153.5502 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.4197 | μmol/L | 29.1337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.252 | 161609.4182 | 318505.2278 | 33.25 | 68.6
6349 | 2021-02-16 16:04 | 153.8834 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.5538 | μmol/L | 29.1093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.253 | 161621.1509 | 318504.7467 | 33.25 | 68.6
6359 | 2021-02-16 16:04 | 154.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.802 | μmol/L | 29.0666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.254 | 161633.7033 | 318474.4884 | 33.25 | 68.6
6369 | 2021-02-16 16:04 | 154.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3103 | μmol/L | 29.1398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.256 | 161636.2737 | 318476.5964 | 33.25 | 68.6
6379 | 2021-02-16 16:05 | 154.8839 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3862 | μmol/L | 29.1276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.256 | 161634.9736 | 318459.9747 | 33.25 | 68.6
6389 | 2021-02-16 16:05 | 155.2171 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.6924 | μmol/L | 29.0727 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.258 | 161650.9585 | 318459.5622 | 33.25 | 68.6
6399 | 2021-02-16 16:05 | 155.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.5024 | μmol/L | 29.1032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.258 | 161656.1141 | 318458.3742 | 33.25 | 68.6
6409 | 2021-02-16 16:06 | 155.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.2768 | μmol/L | 29.1337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.26 | 161660.9007 | 318437.3734 | 33.25 | 68.6
6419 | 2021-02-16 16:06 | 156.2167 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.1451 | μmol/L | 29.152 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.261 | 161669.9918 | 318440.0006 | 33.25 | 68.6
6429 | 2021-02-16 16:06 | 156.5507 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.2389 | μmol/L | 29.1398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.26 | 161660.2564 | 318427.9083 | 33.25 | 68.6
6439 | 2021-02-16 16:07 | 156.8835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.2612 | μmol/L | 29.1276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.263 | 161680.0435 | 318410.9855 | 33.25 | 68.6
6449 | 2021-02-16 16:07 | 157.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.9956 | μmol/L | 29.1703 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.263 | 161677.5671 | 318398.0731 | 33.25 | 68.6
6459 | 2021-02-16 16:07 | 157.5503 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.8686 | μmol/L | 29.1764 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.268 | 161696.237 | 318408.1991 | 33.25 | 68.6
6469 | 2021-02-16 16:08 | 157.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.2858 | μmol/L | 29.1093 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.268 | 161717.7595 | 318396.0558 | 33.25 | 68.6
6479 | 2021-02-16 16:08 | 158.2172 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.0069 | μmol/L | 29.1398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.273 | 161721.5561 | 318374.1617 | 33.25 | 68.6
6489 | 2021-02-16 16:08 | 158.55 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.0115 | μmol/L | 29.1276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.277 | 161748.2105 | 318385.3744 | 33.25 | 68.6
6499 | 2021-02-16 16:09 | 158.8837 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.6928 | μmol/L | 29.1703 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.28 | 161761.1257 | 318363.592 | 33.25 | 68.6
6509 | 2021-02-16 16:09 | 159.2174 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.0873 | μmol/L | 29.1154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.277 | 161750.8584 | 318347.668 | 33.25 | 68.6
6519 | 2021-02-16 16:09 | 159.5547 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.815 | μmol/L | 29.152 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.28 | 161773.0404 | 318339.8028 | 33.25 | 68.6
6529 | 2021-02-16 16:10 | 159.8836 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.9 | μmol/L | 29.1398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.279 | 161768.7037 | 318342.8497 | 33.25 | 68.6