## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 19:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
6542 | 2021-02-16 18:19 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.8595 | μmol/L | 32.7673 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.482 | 164669.0015 | 317677.7312 | 33.25 | 68.6
6552 | 2021-02-16 18:20 | 0.33393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.6668 | μmol/L | 32.6328 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.48 | 164688.4084 | 317752.7049 | 33.25 | 68.6
6562 | 2021-02-16 18:20 | 0.66765 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0235 | μmol/L | 32.755 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.476 | 164666.902 | 317767.6813 | 33.25 | 68.6
6572 | 2021-02-16 18:20 | 1.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.871 | μmol/L | 32.7734 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.479 | 164708.0616 | 317786.0609 | 33.25 | 68.6
6582 | 2021-02-16 18:21 | 1.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.8866 | μmol/L | 32.7734 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.478 | 164706.4558 | 317787.8655 | 33.25 | 68.6
6592 | 2021-02-16 18:21 | 1.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.8202 | μmol/L | 32.7795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.48 | 164744.3786 | 317801.4536 | 33.25 | 68.6
6602 | 2021-02-16 18:21 | 2.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.7341 | μmol/L | 32.7917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.481 | 164762.9135 | 317802.4628 | 33.25 | 68.6
6612 | 2021-02-16 18:22 | 2.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.5735 | μmol/L | 32.8223 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.48 | 164780.0424 | 317810.396 | 33.25 | 68.6
6622 | 2021-02-16 18:22 | 2.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.7538 | μmol/L | 32.7856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.482 | 164791.0026 | 317825.1053 | 33.25 | 68.6
6632 | 2021-02-16 18:22 | 3.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.6554 | μmol/L | 32.8161 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.477 | 164813.7902 | 317833.1658 | 33.25 | 68.6
6642 | 2021-02-16 18:23 | 3.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.4875 | μmol/L | 32.8345 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.481 | 164834.9465 | 317837.334 | 33.25 | 68.6
6652 | 2021-02-16 18:23 | 3.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3777 | μmol/L | 32.8589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.479 | 164818.6247 | 317823.7694 | 33.25 | 68.6
6662 | 2021-02-16 18:23 | 4.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3736 | μmol/L | 32.865 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.477 | 164824.6382 | 317823.3796 | 33.25 | 68.6
6672 | 2021-02-16 18:24 | 4.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.4285 | μmol/L | 32.8528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.478 | 164833.3196 | 317816.486 | 33.25 | 68.6
6682 | 2021-02-16 18:24 | 4.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3031 | μmol/L | 32.8772 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.477 | 164873.1299 | 317820.402 | 33.25 | 68.6
6692 | 2021-02-16 18:24 | 5.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.1384 | μmol/L | 32.9139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.474 | 164852.922 | 317786.0388 | 33.25 | 68.6
6702 | 2021-02-16 18:25 | 5.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.2088 | μmol/L | 32.9017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.474 | 164847.3413 | 317783.5035 | 33.25 | 68.6
6712 | 2021-02-16 18:25 | 5.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8216 | μmol/L | 32.9689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.474 | 164828.4597 | 317777.431 | 33.25 | 68.6
6722 | 2021-02-16 18:25 | 6.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.1891 | μmol/L | 32.9078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.473 | 164842.3176 | 317755.9018 | 33.25 | 68.6
6732 | 2021-02-16 18:26 | 6.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.0131 | μmol/L | 32.9384 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.473 | 164836.6108 | 317751.6128 | 33.25 | 68.6
6742 | 2021-02-16 18:26 | 6.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8329 | μmol/L | 32.975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.471 | 164845.2952 | 317744.1535 | 33.25 | 68.6
6752 | 2021-02-16 18:26 | 7.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8483 | μmol/L | 32.975 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.47 | 164831.5819 | 317739.4731 | 33.25 | 68.6
6762 | 2021-02-16 18:27 | 7.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.5274 | μmol/L | 33.0361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.468 | 164833.7657 | 317723.8404 | 33.25 | 68.6
6772 | 2021-02-16 18:27 | 7.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.3558 | μmol/L | 33.0606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.47 | 164822.1084 | 317691.8765 | 33.25 | 68.6
6782 | 2021-02-16 18:27 | 8.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2855 | μmol/L | 33.0728 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.47 | 164798.6822 | 317683.4228 | 33.25 | 68.6
6792 | 2021-02-16 18:28 | 8.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.1363 | μmol/L | 33.1094 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.466 | 164808.9137 | 317671.7568 | 33.25 | 68.6
6802 | 2021-02-16 18:28 | 8.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0308 | μmol/L | 33.1278 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.466 | 164805.2154 | 317650.0956 | 33.25 | 68.6
6812 | 2021-02-16 18:28 | 9.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.9716 | μmol/L | 33.1461 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.463 | 164789.8168 | 317642.7776 | 33.25 | 68.6
6822 | 2021-02-16 18:29 | 9.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.8266 | μmol/L | 33.1767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.461 | 164781.5899 | 317613.1729 | 33.25 | 68.6
6832 | 2021-02-16 18:29 | 9.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.5565 | μmol/L | 33.2317 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.458 | 164761.4526 | 317580.5148 | 33.25 | 68.6
6842 | 2021-02-16 18:29 | 10.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.3655 | μmol/L | 33.2622 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.459 | 164745.9091 | 317576.4708 | 33.25 | 68.6
6852 | 2021-02-16 18:30 | 10.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.3106 | μmol/L | 33.2744 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.458 | 164734.5238 | 317562.6707 | 33.25 | 68.6
6862 | 2021-02-16 18:30 | 10.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.1964 | μmol/L | 33.305 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.454 | 164716.3659 | 317543.2481 | 33.25 | 68.6
6872 | 2021-02-16 18:30 | 11.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.3874 | μmol/L | 33.2744 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.453 | 164714.8468 | 317517.8612 | 33.25 | 68.6
6882 | 2021-02-16 18:31 | 11.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.056 | μmol/L | 33.3294 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.454 | 164697.4233 | 317515.7861 | 33.25 | 68.6
6892 | 2021-02-16 18:31 | 11.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.9264 | μmol/L | 33.36 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.451 | 164672.1497 | 317475.3768 | 33.25 | 68.6
6902 | 2021-02-16 18:31 | 12.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.8473 | μmol/L | 33.3844 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.447 | 164660.7521 | 317459.2374 | 33.25 | 68.6
6912 | 2021-02-16 18:32 | 12.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.7726 | μmol/L | 33.4028 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.445 | 164648.276 | 317451.8899 | 33.25 | 68.6
6922 | 2021-02-16 18:32 | 12.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6933 | μmol/L | 33.4272 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.441 | 164600.2426 | 317422.8584 | 33.25 | 68.6
6932 | 2021-02-16 18:32 | 13.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6051 | μmol/L | 33.4639 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.433 | 164590.0709 | 317394.408 | 33.25 | 68.6
6942 | 2021-02-16 18:33 | 13.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.4736 | μmol/L | 33.4761 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.437 | 164571.9892 | 317375.7493 | 33.25 | 68.6
6952 | 2021-02-16 18:33 | 13.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.4187 | μmol/L | 33.4883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.436 | 164547.6727 | 317336.3084 | 33.25 | 68.6
6962 | 2021-02-16 18:33 | 14.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.2737 | μmol/L | 33.5189 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.434 | 164516.0859 | 317328.1283 | 33.25 | 68.6
6972 | 2021-02-16 18:34 | 14.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.1791 | μmol/L | 33.5433 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.431 | 164492.0775 | 317294.647 | 33.25 | 68.6
6982 | 2021-02-16 18:34 | 14.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.0998 | μmol/L | 33.5678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.427 | 164463.5473 | 317274.0507 | 33.25 | 68.6
6992 | 2021-02-16 18:34 | 15.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.9136 | μmol/L | 33.5922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.43 | 164447.4862 | 317250.4054 | 33.25 | 68.6
7002 | 2021-02-16 18:35 | 15.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.8892 | μmol/L | 33.6045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.427 | 164428.1313 | 317230.8425 | 33.25 | 68.6
7012 | 2021-02-16 18:35 | 15.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.729 | μmol/L | 33.635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.426 | 164398.5157 | 317197.5865 | 33.25 | 68.6
7022 | 2021-02-16 18:35 | 16.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.6647 | μmol/L | 33.6595 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.421 | 164357.4092 | 317167.9512 | 33.25 | 68.6
7032 | 2021-02-16 18:36 | 16.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.5747 | μmol/L | 33.6778 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.42 | 164340.1588 | 317160.3757 | 33.25 | 68.6
7042 | 2021-02-16 18:36 | 16.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.5151 | μmol/L | 33.6961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.417 | 164293.2494 | 317120.5771 | 33.25 | 68.6
7052 | 2021-02-16 18:36 | 17.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.4203 | μmol/L | 33.7206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.414 | 164262.6118 | 317098.8647 | 33.25 | 68.6
7062 | 2021-02-16 18:37 | 17.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.2999 | μmol/L | 33.7389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.415 | 164234.779 | 317056.7073 | 33.25 | 68.6
7072 | 2021-02-16 18:37 | 17.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.1302 | μmol/L | 33.7817 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.41 | 164217.128 | 317040.6053 | 33.25 | 68.6
7082 | 2021-02-16 18:37 | 18.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.0098 | μmol/L | 33.8 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.411 | 164171.2764 | 317004.3966 | 33.25 | 68.6
7092 | 2021-02-16 18:38 | 18.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.9501 | μmol/L | 33.8184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.408 | 164164.5204 | 316990.7328 | 33.25 | 68.6
7102 | 2021-02-16 18:38 | 18.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.9103 | μmol/L | 33.8306 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.406 | 164124.9097 | 316973.965 | 33.25 | 68.6
7112 | 2021-02-16 18:38 | 19.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.8202 | μmol/L | 33.8489 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.405 | 164099.6204 | 316940.4965 | 33.25 | 68.6
7122 | 2021-02-16 18:39 | 19.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.8258 | μmol/L | 33.8612 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.4 | 164067.5088 | 316920.132 | 33.25 | 68.6
7132 | 2021-02-16 18:39 | 19.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.6807 | μmol/L | 33.8917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.398 | 164046.1521 | 316897.0253 | 33.25 | 68.6
7142 | 2021-02-16 18:39 | 20.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.7262 | μmol/L | 33.8917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.395 | 163998.2591 | 316875.7267 | 33.25 | 68.6
7152 | 2021-02-16 18:40 | 20.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5707 | μmol/L | 33.9162 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.396 | 163973.714 | 316837.3406 | 33.25 | 68.6
7162 | 2021-02-16 18:40 | 20.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5156 | μmol/L | 33.9284 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.395 | 163952.3806 | 316821.5753 | 33.25 | 68.6
7172 | 2021-02-16 18:40 | 21.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.3203 | μmol/L | 33.9651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.394 | 163897.5684 | 316773.0388 | 33.25 | 68.6
7182 | 2021-02-16 18:41 | 21.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.3306 | μmol/L | 33.9712 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.391 | 163882.686 | 316751.9626 | 33.25 | 68.6
7192 | 2021-02-16 18:41 | 21.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.2405 | μmol/L | 33.9895 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.39 | 163850.9417 | 316722.5106 | 33.25 | 68.6
7202 | 2021-02-16 18:41 | 22.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.1806 | μmol/L | 34.0079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.387 | 163822.2497 | 316693.5901 | 33.25 | 68.6
7212 | 2021-02-16 18:42 | 22.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.0607 | μmol/L | 34.0445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.381 | 163786.9003 | 316662.5267 | 33.25 | 68.6
7222 | 2021-02-16 18:42 | 22.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.0456 | μmol/L | 34.0445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.382 | 163749.7119 | 316643.0502 | 33.25 | 68.6
7232 | 2021-02-16 18:42 | 23.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.8506 | μmol/L | 34.0995 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.374 | 163702.9419 | 316612.4004 | 33.25 | 68.6
7242 | 2021-02-16 18:43 | 23.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.7503 | μmol/L | 34.1118 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.376 | 163684.4363 | 316596.2375 | 33.25 | 68.6
7252 | 2021-02-16 18:43 | 23.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.6401 | μmol/L | 34.1362 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.374 | 163642.494 | 316558.8261 | 33.25 | 68.6
7262 | 2021-02-16 18:43 | 24.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5198 | μmol/L | 34.1546 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.375 | 163620.7707 | 316526.4378 | 33.25 | 68.6
7272 | 2021-02-16 18:44 | 24.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.4798 | μmol/L | 34.1668 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.373 | 163581.3122 | 316505.7919 | 33.25 | 68.6
7282 | 2021-02-16 18:44 | 24.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.4498 | μmol/L | 34.1851 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.368 | 163544.8488 | 316474.1701 | 33.25 | 68.6
7292 | 2021-02-16 18:44 | 25.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.3246 | μmol/L | 34.2096 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.367 | 163508.2711 | 316428.0804 | 33.25 | 68.6
7302 | 2021-02-16 18:45 | 25.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1993 | μmol/L | 34.234 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.366 | 163471.8889 | 316408.9847 | 33.25 | 68.6
7312 | 2021-02-16 18:45 | 25.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1943 | μmol/L | 34.2401 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.364 | 163429.8242 | 316381.1549 | 33.25 | 68.6
7322 | 2021-02-16 18:45 | 26.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.485 | μmol/L | 34.1973 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.361 | 163398.0944 | 316332.2772 | 33.25 | 68.6
7332 | 2021-02-16 18:46 | 26.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1442 | μmol/L | 34.2646 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.358 | 163350.1377 | 316301.6175 | 33.25 | 68.6
7342 | 2021-02-16 18:46 | 26.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.079 | μmol/L | 34.2707 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.36 | 163327.2911 | 316288.2238 | 33.25 | 68.6
7352 | 2021-02-16 18:46 | 27.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.0339 | μmol/L | 34.289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.356 | 163284.4684 | 316262.6558 | 33.25 | 68.6
7362 | 2021-02-16 18:47 | 27.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8384 | μmol/L | 34.3257 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.355 | 163263.4524 | 316224.2185 | 33.25 | 68.6
7372 | 2021-02-16 18:47 | 27.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.693 | μmol/L | 34.3563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.353 | 163225.153 | 316189.1733 | 33.25 | 68.6
7382 | 2021-02-16 18:47 | 28.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.6628 | μmol/L | 34.3746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.348 | 163207.7228 | 316166.0533 | 33.25 | 68.6
7392 | 2021-02-16 18:48 | 28.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.6076 | μmol/L | 34.3868 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.347 | 163168.4198 | 316137.4277 | 33.25 | 68.6
7402 | 2021-02-16 18:48 | 28.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.6175 | μmol/L | 34.393 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.344 | 163129.376 | 316115.0693 | 33.25 | 68.6
7412 | 2021-02-16 18:48 | 29.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.5071 | μmol/L | 34.4174 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.342 | 163095.8542 | 316082.2743 | 33.25 | 68.6
7422 | 2021-02-16 18:49 | 29.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.4318 | μmol/L | 34.4358 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.34 | 163058.6564 | 316043.0553 | 33.25 | 68.6
7432 | 2021-02-16 18:49 | 29.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.5319 | μmol/L | 34.4235 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.338 | 163011.0271 | 316009.9538 | 33.25 | 68.6
7442 | 2021-02-16 18:49 | 30.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.2161 | μmol/L | 34.4785 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.338 | 162993.8563 | 315995.6762 | 33.25 | 68.6
7452 | 2021-02-16 18:50 | 30.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1707 | μmol/L | 34.4969 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.334 | 162951.9001 | 315953.5423 | 33.25 | 68.6
7462 | 2021-02-16 18:50 | 30.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1655 | μmol/L | 34.503 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.332 | 162907.3584 | 315925.2892 | 33.25 | 68.6
7472 | 2021-02-16 18:50 | 31.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1603 | μmol/L | 34.5091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.33 | 162865.3127 | 315881.0784 | 33.25 | 68.6
7482 | 2021-02-16 18:51 | 31.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0401 | μmol/L | 34.5274 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.331 | 162842.598 | 315867.4977 | 33.25 | 68.6
7492 | 2021-02-16 18:51 | 31.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9296 | μmol/L | 34.5519 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.329 | 162804.2777 | 315828.6638 | 33.25 | 68.6
7502 | 2021-02-16 18:51 | 32.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9244 | μmol/L | 34.558 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.327 | 162763.9703 | 315814.4026 | 33.25 | 68.6
7512 | 2021-02-16 18:52 | 32.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.899 | μmol/L | 34.5702 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.324 | 162731.1134 | 315765.4144 | 33.25 | 68.6
7522 | 2021-02-16 18:52 | 32.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.7534 | μmol/L | 34.6008 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.322 | 162702.4784 | 315741.8709 | 33.25 | 68.6
7532 | 2021-02-16 18:52 | 33.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.6683 | μmol/L | 34.613 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.323 | 162675.3419 | 315716.3678 | 33.25 | 68.6
7542 | 2021-02-16 18:53 | 33.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.7376 | μmol/L | 34.6192 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.316 | 162628.3364 | 315684.4845 | 33.25 | 68.6
7552 | 2021-02-16 18:53 | 33.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.6621 | μmol/L | 34.6375 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.314 | 162582.7443 | 315657.5785 | 33.25 | 68.6
7562 | 2021-02-16 18:53 | 34.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.4664 | μmol/L | 34.6742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.313 | 162555.1365 | 315633.4664 | 33.25 | 68.6
7572 | 2021-02-16 18:54 | 34.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.3111 | μmol/L | 34.6986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.314 | 162534.8204 | 315594.4333 | 33.25 | 68.6
7582 | 2021-02-16 18:54 | 34.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2005 | μmol/L | 34.7231 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.312 | 162493.8808 | 315579.8261 | 33.25 | 68.6
7592 | 2021-02-16 18:54 | 35.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2654 | μmol/L | 34.717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.31 | 162459.5343 | 315544.8438 | 33.25 | 68.6
7602 | 2021-02-16 18:55 | 35.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2994 | μmol/L | 34.7292 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.303 | 162414.1027 | 315518.5135 | 33.25 | 68.6
7612 | 2021-02-16 18:55 | 35.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2845 | μmol/L | 34.7292 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.304 | 162392.6295 | 315490.6861 | 33.25 | 68.6
7622 | 2021-02-16 18:55 | 36.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.3494 | μmol/L | 34.7231 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.302 | 162361.9243 | 315474.5295 | 33.25 | 68.6
7632 | 2021-02-16 18:56 | 36.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2792 | μmol/L | 34.7353 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.302 | 162312.5992 | 315434.6915 | 33.25 | 68.6
7642 | 2021-02-16 18:56 | 36.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2631 | μmol/L | 34.7537 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.296 | 162275.8808 | 315414.1866 | 33.25 | 68.6
7652 | 2021-02-16 18:56 | 37.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.1024 | μmol/L | 34.7842 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.295 | 162244.8863 | 315382.2541 | 33.25 | 68.6
7662 | 2021-02-16 18:57 | 37.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.9713 | μmol/L | 34.8148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.292 | 162210.8774 | 315351.8097 | 33.25 | 68.6
7672 | 2021-02-16 18:57 | 37.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8606 | μmol/L | 34.8392 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.29 | 162193.3375 | 315316.6521 | 33.25 | 68.6
7682 | 2021-02-16 18:57 | 38.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7755 | μmol/L | 34.8515 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.291 | 162151.8257 | 315308.2829 | 33.25 | 68.6
7692 | 2021-02-16 18:58 | 38.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.6647 | μmol/L | 34.8759 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.289 | 162130.265 | 315262.1252 | 33.25 | 68.6
7702 | 2021-02-16 18:58 | 38.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5133 | μmol/L | 34.9126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.285 | 162074.6283 | 315253.024 | 33.25 | 68.6
7712 | 2021-02-16 18:58 | 39.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.543 | μmol/L | 34.9126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.283 | 162050.7344 | 315208.8253 | 33.25 | 68.6
7722 | 2021-02-16 18:59 | 39.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5375 | μmol/L | 34.9187 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.281 | 162019.4835 | 315177.1655 | 33.25 | 68.6
7732 | 2021-02-16 18:59 | 39.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.4766 | μmol/L | 34.9371 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.278 | 161964.9304 | 315141.5194 | 33.25 | 68.6
7742 | 2021-02-16 18:59 | 40.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.4414 | μmol/L | 34.9432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.278 | 161916.4572 | 315131.077 | 33.25 | 68.6
7752 | 2021-02-16 19:00 | 40.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5117 | μmol/L | 34.931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.278 | 161875.6205 | 315098.3781 | 33.25 | 68.6
7762 | 2021-02-16 19:00 | 40.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3102 | μmol/L | 34.9738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.275 | 161848.8402 | 315073.4115 | 33.25 | 68.6
7772 | 2021-02-16 19:00 | 41.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3399 | μmol/L | 34.9738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.273 | 161805.2985 | 315044.8334 | 33.25 | 68.6
7782 | 2021-02-16 19:01 | 41.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5195 | μmol/L | 34.9554 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.268 | 161768.3269 | 315017.0125 | 33.25 | 68.6
7792 | 2021-02-16 19:01 | 41.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5898 | μmol/L | 34.9432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.268 | 161755.5912 | 314993.6665 | 33.25 | 68.6
7802 | 2021-02-16 19:01 | 42.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2327 | μmol/L | 35.0104 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.266 | 161708.2761 | 314965.6047 | 33.25 | 68.6
7812 | 2021-02-16 19:02 | 42.3342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.031 | μmol/L | 35.0532 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.263 | 161669.1709 | 314925.0985 | 33.25 | 68.6
7822 | 2021-02-16 19:02 | 42.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.9052 | μmol/L | 35.0777 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.262 | 161640.2471 | 314912.3041 | 33.25 | 68.6
7832 | 2021-02-16 19:02 | 43.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.8293 | μmol/L | 35.096 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.26 | 161604.7309 | 314876.7279 | 33.25 | 68.6
7842 | 2021-02-16 19:03 | 43.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.7591 | μmol/L | 35.1083 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.26 | 161582.2177 | 314862.9688 | 33.25 | 68.6
7852 | 2021-02-16 19:03 | 43.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.6979 | μmol/L | 35.1266 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.257 | 161521.6209 | 314830.6706 | 33.25 | 68.6
7862 | 2021-02-16 19:03 | 44.0007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.7218 | μmol/L | 35.1327 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.253 | 161498.0738 | 314814.3796 | 33.25 | 68.6
7872 | 2021-02-16 19:04 | 44.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.6607 | μmol/L | 35.1511 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.25 | 161451.3917 | 314763.9754 | 33.25 | 68.6
7882 | 2021-02-16 19:04 | 44.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.6902 | μmol/L | 35.1511 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.248 | 161408.9978 | 314744.8196 | 33.25 | 68.6
7892 | 2021-02-16 19:04 | 45.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.655 | μmol/L | 35.1572 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.248 | 161389.9344 | 314722.6092 | 33.25 | 68.6
7902 | 2021-02-16 19:05 | 45.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5882 | μmol/L | 35.1816 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.243 | 161324.5661 | 314690.3409 | 33.25 | 68.6
7912 | 2021-02-16 19:05 | 45.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.4475 | μmol/L | 35.2061 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.243 | 161305.7742 | 314659.4354 | 33.25 | 68.6
7922 | 2021-02-16 19:05 | 46.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2954 | μmol/L | 35.2428 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.239 | 161266.981 | 314652.2526 | 33.25 | 68.6
7932 | 2021-02-16 19:06 | 46.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2545 | μmol/L | 35.255 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.237 | 161251.6533 | 314610.0366 | 33.25 | 68.6
7942 | 2021-02-16 19:06 | 46.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2046 | μmol/L | 35.2611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.238 | 161213.3355 | 314590.8268 | 33.25 | 68.6
7952 | 2021-02-16 19:06 | 47.0008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.4043 | μmol/L | 35.2367 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.234 | 161166.3722 | 314560.3893 | 33.25 | 68.6
7962 | 2021-02-16 19:07 | 47.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2169 | μmol/L | 35.2795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.23 | 161155.4881 | 314529.391 | 33.25 | 68.6
7972 | 2021-02-16 19:07 | 47.6673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0557 | μmol/L | 35.3101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.229 | 161123.9223 | 314514.1049 | 33.25 | 68.6
7982 | 2021-02-16 19:07 | 48.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2112 | μmol/L | 35.2856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.228 | 161085.0129 | 314505.5382 | 33.25 | 68.6
7992 | 2021-02-16 19:08 | 48.3341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2906 | μmol/L | 35.2795 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.225 | 161035.7572 | 314469.9493 | 33.25 | 68.6
8002 | 2021-02-16 19:08 | 48.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2055 | μmol/L | 35.2917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.226 | 161031.9134 | 314453.3243 | 33.25 | 68.6
8012 | 2021-02-16 19:08 | 49.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0621 | μmol/L | 35.3345 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.219 | 160976.2464 | 314427.2061 | 33.25 | 68.6
8022 | 2021-02-16 19:09 | 49.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.977 | μmol/L | 35.3467 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.22 | 160943.5906 | 314391.8631 | 33.25 | 68.6
8032 | 2021-02-16 19:09 | 49.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0269 | μmol/L | 35.3406 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.219 | 160917.7837 | 314363.7845 | 33.25 | 68.6
8042 | 2021-02-16 19:09 | 50.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.9302 | μmol/L | 35.3651 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.216 | 160895.5707 | 314337.9349 | 33.25 | 68.6
8052 | 2021-02-16 19:10 | 50.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.9244 | μmol/L | 35.3712 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.214 | 160859.3963 | 314315.7513 | 33.25 | 68.6
8062 | 2021-02-16 19:10 | 50.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6985 | μmol/L | 35.4079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.215 | 160827.3654 | 314288.5803 | 33.25 | 68.6
8072 | 2021-02-16 19:10 | 51.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6369 | μmol/L | 35.4262 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.212 | 160805.4692 | 314265.0781 | 33.25 | 68.6
8082 | 2021-02-16 19:11 | 51.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.7015 | μmol/L | 35.4201 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.21 | 160770.4833 | 314246.9446 | 33.25 | 68.6
8092 | 2021-02-16 19:11 | 51.6674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6868 | μmol/L | 35.4201 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.211 | 160729.0552 | 314201.8724 | 33.25 | 68.6
8102 | 2021-02-16 19:11 | 52.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.5695 | μmol/L | 35.4507 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.207 | 160709.9636 | 314188.4458 | 33.25 | 68.6
8112 | 2021-02-16 19:12 | 52.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.5079 | μmol/L | 35.469 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.204 | 160681.5119 | 314171.1008 | 33.25 | 68.6
8122 | 2021-02-16 19:12 | 52.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.5461 | μmol/L | 35.4752 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.199 | 160638.281 | 314129.5592 | 33.25 | 68.6
8132 | 2021-02-16 19:12 | 53.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.4961 | μmol/L | 35.4813 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.2 | 160615.7787 | 314109.4155 | 33.25 | 68.6
8142 | 2021-02-16 19:13 | 53.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3611 | μmol/L | 35.4996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.202 | 160578.2639 | 314096.7135 | 33.25 | 68.6
8152 | 2021-02-16 19:13 | 53.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3493 | μmol/L | 35.5118 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.198 | 160561.994 | 314061.5711 | 33.25 | 68.6
8162 | 2021-02-16 19:13 | 54.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6048 | μmol/L | 35.4752 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.195 | 160541.169 | 314054.891 | 33.25 | 68.6
8172 | 2021-02-16 19:14 | 54.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6137 | μmol/L | 35.4813 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.192 | 160499.3249 | 314021.9228 | 33.25 | 68.6
8182 | 2021-02-16 19:14 | 54.6675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.4433 | μmol/L | 35.5057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.194 | 160467.7348 | 314017.0703 | 33.25 | 68.6
8192 | 2021-02-16 19:14 | 55.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2405 | μmol/L | 35.5485 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.191 | 160449.6815 | 313985.5518 | 33.25 | 68.6
8202 | 2021-02-16 19:15 | 55.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.0524 | μmol/L | 35.5913 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.187 | 160414.3806 | 313965.6628 | 33.25 | 68.6
8212 | 2021-02-16 19:15 | 55.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.1229 | μmol/L | 35.5791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.187 | 160403.5039 | 313947.0453 | 33.25 | 68.6
8222 | 2021-02-16 19:15 | 56.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.1522 | μmol/L | 35.5791 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.185 | 160383.724 | 313931.9844 | 33.25 | 68.6
8232 | 2021-02-16 19:16 | 56.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.9846 | μmol/L | 35.6158 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.182 | 160356.9462 | 313907.1079 | 33.25 | 68.6
8242 | 2021-02-16 19:16 | 56.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2668 | μmol/L | 35.5669 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.182 | 160289.8279 | 313893.7189 | 33.25 | 68.6
8252 | 2021-02-16 19:16 | 57.0006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.155 | μmol/L | 35.5913 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.18 | 160256.423 | 313844.5163 | 33.25 | 68.6
8261 | 2021-02-16 19:17 | 57.334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2902 | μmol/L | 35.573 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 21.178 | 160236.952 | 313841.6568 | 33.25 | 68.6