## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4604 | 2021-02-16 13:30 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.942 | μmol/L | 16.1352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.87 | 156790.1565 | 284723.1818 | 26.25 | 74
4611 | 2021-02-16 14:31 | 60.8713 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9568 | μmol/L | 28.9857 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.143 | 155587.552 | 283727.565 | 26.25 | 74
4621 | 2021-02-16 15:06 | 96.1866 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.3361 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.228 | 146505.9357 | 281755.484 | 26.25 | 74
4631 | 2021-02-16 15:06 | 96.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.3166 | μmol/L | 29.3829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.227 | 146480.0507 | 281736.5685 | 26.25 | 74
4641 | 2021-02-16 15:07 | 96.8618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.5289 | μmol/L | 29.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.222 | 146456.4054 | 281711.1634 | 26.25 | 74
4651 | 2021-02-16 15:07 | 97.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.4511 | μmol/L | 29.3829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.22 | 146409.1739 | 281684.5836 | 26.25 | 74
4661 | 2021-02-16 15:07 | 97.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.6248 | μmol/L | 29.3707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.215 | 146360.6556 | 281678.6582 | 26.25 | 74
4671 | 2021-02-16 15:08 | 97.8614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.6245 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.213 | 146330.077 | 281636.4262 | 26.25 | 74
4681 | 2021-02-16 15:08 | 98.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.7596 | μmol/L | 29.3707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.208 | 146277.7734 | 281627.5972 | 26.25 | 74
4691 | 2021-02-16 15:08 | 98.5283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0897 | μmol/L | 29.3096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.211 | 146235.0729 | 281612.2955 | 26.25 | 74
4701 | 2021-02-16 15:09 | 98.8621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3223 | μmol/L | 29.2851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.207 | 146197.135 | 281595.3281 | 26.25 | 74
4711 | 2021-02-16 15:09 | 99.195 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3216 | μmol/L | 29.3035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.201 | 146160.6256 | 281570.6565 | 26.25 | 74
4721 | 2021-02-16 15:09 | 99.5287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2432 | μmol/L | 29.334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.195 | 146121.0389 | 281551.2326 | 26.25 | 74
4731 | 2021-02-16 15:10 | 99.8616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1657 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.197 | 146077.6691 | 281533.9899 | 26.25 | 74
4741 | 2021-02-16 15:10 | 100.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2432 | μmol/L | 29.334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.195 | 146045.2006 | 281505.7682 | 26.25 | 74
4751 | 2021-02-16 15:10 | 100.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7087 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.185 | 145984.8945 | 281490.7685 | 26.25 | 74
4761 | 2021-02-16 15:11 | 100.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2813 | μmol/L | 29.3463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.189 | 145957.8956 | 281470.5891 | 26.25 | 74
4771 | 2021-02-16 15:11 | 101.1952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3007 | μmol/L | 29.3463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.188 | 145919.4302 | 281455.6678 | 26.25 | 74
4781 | 2021-02-16 15:11 | 101.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2806 | μmol/L | 29.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.183 | 145891.5619 | 281433.6212 | 26.25 | 74
4791 | 2021-02-16 15:12 | 101.8616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4555 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.182 | 145857.4802 | 281424.2834 | 26.25 | 74
4801 | 2021-02-16 15:12 | 102.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5329 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.178 | 145814.9807 | 281397.017 | 26.25 | 74
4811 | 2021-02-16 15:12 | 102.5282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4746 | μmol/L | 29.3463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.179 | 145779.7768 | 281387.5363 | 26.25 | 74
4821 | 2021-02-16 15:13 | 102.8619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.649 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.172 | 145752.9772 | 281364.8627 | 26.25 | 74
4831 | 2021-02-16 15:13 | 103.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5909 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.175 | 145729.7505 | 281359.9581 | 26.25 | 74
4841 | 2021-02-16 15:13 | 103.5281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.746 | μmol/L | 29.334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.169 | 145688.9419 | 281329.3171 | 26.25 | 74
4851 | 2021-02-16 15:14 | 103.8614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.0382 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.168 | 145656.4283 | 281308.7912 | 26.25 | 74
4861 | 2021-02-16 15:14 | 104.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.2135 | μmol/L | 29.2668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.167 | 145626.9665 | 281295.9099 | 26.25 | 74
4871 | 2021-02-16 15:14 | 104.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3108 | μmol/L | 29.2607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.164 | 145605.4554 | 281285.3924 | 26.25 | 74
4881 | 2021-02-16 15:15 | 104.8614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.1158 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.164 | 145574.2733 | 281277.0458 | 26.25 | 74
4891 | 2021-02-16 15:15 | 105.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3106 | μmol/L | 29.2668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.162 | 145533.0052 | 281250.0668 | 26.25 | 74
4901 | 2021-02-16 15:15 | 105.5282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7595 | μmol/L | 29.1996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.161 | 145522.0189 | 281234.5475 | 26.25 | 74
4911 | 2021-02-16 15:16 | 105.8619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6031 | μmol/L | 29.2301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.159 | 145485.2665 | 281231.342 | 26.25 | 74
4921 | 2021-02-16 15:16 | 106.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4857 | μmol/L | 29.2607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.155 | 145466.6065 | 281209.7102 | 26.25 | 74
4931 | 2021-02-16 15:16 | 106.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7004 | μmol/L | 29.2301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.154 | 145445.6894 | 281207.3207 | 26.25 | 74
4941 | 2021-02-16 15:17 | 106.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4854 | μmol/L | 29.2729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.151 | 145410.4588 | 281182.0948 | 26.25 | 74
4951 | 2021-02-16 15:17 | 107.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4661 | μmol/L | 29.2668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.154 | 145390.2833 | 281151.1365 | 26.25 | 74
4961 | 2021-02-16 15:17 | 107.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4075 | μmol/L | 29.279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.153 | 145374.7809 | 281156.732 | 26.25 | 74
4971 | 2021-02-16 15:18 | 107.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3684 | μmol/L | 29.2851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.153 | 145346.1252 | 281119.4636 | 26.25 | 74
4981 | 2021-02-16 15:18 | 108.1954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.446 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.147 | 145321.4811 | 281109.7476 | 26.25 | 74
4991 | 2021-02-16 15:18 | 108.5283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.622 | μmol/L | 29.2546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.15 | 145310.7756 | 281106.7178 | 26.25 | 74
5001 | 2021-02-16 15:19 | 108.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8366 | μmol/L | 29.2363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.145 | 145292.2011 | 281088.3739 | 26.25 | 74
5011 | 2021-02-16 15:19 | 109.195 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8953 | μmol/L | 29.224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.146 | 145258.4621 | 281064.6416 | 26.25 | 74
5021 | 2021-02-16 15:19 | 109.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8366 | μmol/L | 29.2363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.145 | 145252.5573 | 281068.4415 | 26.25 | 74
5031 | 2021-02-16 15:20 | 109.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7974 | μmol/L | 29.2485 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.143 | 145217.5211 | 281051.2889 | 26.25 | 74
5041 | 2021-02-16 15:20 | 110.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7193 | μmol/L | 29.2546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.145 | 145201.6657 | 281035.8776 | 26.25 | 74
5051 | 2021-02-16 15:20 | 110.5283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7581 | μmol/L | 29.2607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.141 | 145187.6122 | 281022.4208 | 26.25 | 74
5061 | 2021-02-16 15:21 | 110.8619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8949 | μmol/L | 29.2424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.14 | 145169.4852 | 281009.9224 | 26.25 | 74
5071 | 2021-02-16 15:21 | 111.1949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7776 | μmol/L | 29.2607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.14 | 145153.0108 | 281005.5127 | 26.25 | 74
5081 | 2021-02-16 15:21 | 111.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8167 | μmol/L | 29.2546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.14 | 145131.9183 | 280970.7714 | 26.25 | 74
5091 | 2021-02-16 15:22 | 111.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6603 | μmol/L | 29.279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.14 | 145113.6742 | 280953.3555 | 26.25 | 74
5101 | 2021-02-16 15:22 | 112.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.797 | μmol/L | 29.2668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.137 | 145089.2646 | 280946.7612 | 26.25 | 74
5111 | 2021-02-16 15:22 | 112.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.797 | μmol/L | 29.2668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.137 | 145064.4778 | 280931.9497 | 26.25 | 74
5121 | 2021-02-16 15:23 | 112.8615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7381 | μmol/L | 29.2851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.134 | 145042.4065 | 280912.6456 | 26.25 | 74
5131 | 2021-02-16 15:23 | 113.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6987 | μmol/L | 29.3035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.13 | 145030.185 | 280911.7686 | 26.25 | 74
5141 | 2021-02-16 15:23 | 113.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.855 | μmol/L | 29.2851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.128 | 145011.0685 | 280895.1977 | 26.25 | 74
5151 | 2021-02-16 15:24 | 113.8616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8944 | μmol/L | 29.2668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.132 | 144984.9236 | 280870.6605 | 26.25 | 74
5161 | 2021-02-16 15:24 | 114.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.992 | μmol/L | 29.2607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.129 | 144977.1904 | 280872.0191 | 26.25 | 74
5171 | 2021-02-16 15:24 | 114.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8745 | μmol/L | 29.2851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.127 | 144961.0029 | 280859.1845 | 26.25 | 74
5181 | 2021-02-16 15:25 | 114.8616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9528 | μmol/L | 29.2729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.127 | 144936.832 | 280838.1061 | 26.25 | 74
5191 | 2021-02-16 15:25 | 115.1949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8352 | μmol/L | 29.2974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.125 | 144917.6548 | 280823.0459 | 26.25 | 74
5201 | 2021-02-16 15:25 | 115.5287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9526 | μmol/L | 29.279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.125 | 144902.884 | 280808.4178 | 26.25 | 74
5211 | 2021-02-16 15:26 | 115.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6984 | μmol/L | 29.3157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.126 | 144898.9355 | 280816.5014 | 26.25 | 74
5221 | 2021-02-16 15:26 | 116.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7765 | μmol/L | 29.3096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.124 | 144874.2828 | 280785.0513 | 26.25 | 74
5231 | 2021-02-16 15:26 | 116.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8744 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.125 | 144850.7624 | 280778.3127 | 26.25 | 74
5241 | 2021-02-16 15:27 | 116.8618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7374 | μmol/L | 29.3157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.124 | 144845.3421 | 280754.9247 | 26.25 | 74
5251 | 2021-02-16 15:27 | 117.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7957 | μmol/L | 29.3218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.119 | 144825.9554 | 280755.2069 | 26.25 | 74
5261 | 2021-02-16 15:27 | 117.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7566 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.119 | 144809.0967 | 280740.8585 | 26.25 | 74
5271 | 2021-02-16 15:28 | 117.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7566 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.119 | 144804.8781 | 280730.8087 | 26.25 | 74
5281 | 2021-02-16 15:28 | 118.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.561 | μmol/L | 29.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.119 | 144783.1698 | 280725.8132 | 26.25 | 74
5291 | 2021-02-16 15:28 | 118.5282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7759 | μmol/L | 29.334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.116 | 144767.7025 | 280702.2362 | 26.25 | 74
5301 | 2021-02-16 15:29 | 118.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7176 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.121 | 144758.5622 | 280696.795 | 26.25 | 74
5311 | 2021-02-16 15:29 | 119.1952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.776 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.118 | 144747.0285 | 280682.5896 | 26.25 | 74
5321 | 2021-02-16 15:29 | 119.5282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.5804 | μmol/L | 29.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.118 | 144731.6235 | 280672.5816 | 26.25 | 74
5331 | 2021-02-16 15:30 | 119.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6778 | μmol/L | 29.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.113 | 144714.3577 | 280660.3593 | 26.25 | 74
5341 | 2021-02-16 15:30 | 120.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6191 | μmol/L | 29.3707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.112 | 144680.6913 | 280638.4929 | 26.25 | 74
5351 | 2021-02-16 15:30 | 120.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8146 | μmol/L | 29.3463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.11 | 144668.0525 | 280644.6082 | 26.25 | 74
5361 | 2021-02-16 15:31 | 120.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7949 | μmol/L | 29.3524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.109 | 144656.5221 | 280612.703 | 26.25 | 74
5371 | 2021-02-16 15:31 | 121.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.658 | μmol/L | 29.3707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.11 | 144631.3029 | 280614.5115 | 26.25 | 74
5381 | 2021-02-16 15:31 | 121.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6384 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.109 | 144619.608 | 280602.1088 | 26.25 | 74
5391 | 2021-02-16 15:32 | 121.8621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7164 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.105 | 144603.1387 | 280586.1068 | 26.25 | 74
5401 | 2021-02-16 15:32 | 122.1949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6772 | μmol/L | 29.3829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.105 | 144598.0577 | 280567.9256 | 26.25 | 74
5411 | 2021-02-16 15:32 | 122.5289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.56 | μmol/L | 29.3951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.107 | 144576.5653 | 280570.5324 | 26.25 | 74
5421 | 2021-02-16 15:33 | 122.8618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.5795 | μmol/L | 29.3951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.106 | 144576.7184 | 280558.0227 | 26.25 | 74
5431 | 2021-02-16 15:33 | 123.1954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6771 | μmol/L | 29.389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.103 | 144542.7062 | 280538.9303 | 26.25 | 74
5441 | 2021-02-16 15:33 | 123.5282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4226 | μmol/L | 29.4318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.102 | 144532.0127 | 280539.8838 | 26.25 | 74
5451 | 2021-02-16 15:34 | 123.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.5005 | μmol/L | 29.4318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.098 | 144523.9234 | 280531.5459 | 26.25 | 74
5461 | 2021-02-16 15:34 | 124.1949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.5984 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 144510.0312 | 280522.2575 | 26.25 | 74
5471 | 2021-02-16 15:34 | 124.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3832 | μmol/L | 29.4501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.098 | 144506.4976 | 280515.2806 | 26.25 | 74
5481 | 2021-02-16 15:35 | 124.8614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4225 | μmol/L | 29.4379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.1 | 144498.5872 | 280501.9646 | 26.25 | 74
5491 | 2021-02-16 15:35 | 125.1952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.5593 | μmol/L | 29.4196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 144475.0806 | 280497.5392 | 26.25 | 74
5501 | 2021-02-16 15:35 | 125.5281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6961 | μmol/L | 29.4074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.096 | 144461.916 | 280498.5376 | 26.25 | 74
5511 | 2021-02-16 15:36 | 125.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6179 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.098 | 144448.1506 | 280488.4795 | 26.25 | 74
5521 | 2021-02-16 15:36 | 126.1956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7354 | μmol/L | 29.3951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.098 | 144435.1839 | 280472.8187 | 26.25 | 74
5531 | 2021-02-16 15:36 | 126.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.559 | μmol/L | 29.4318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.095 | 144422.5591 | 280462.1422 | 26.25 | 74
5541 | 2021-02-16 15:37 | 126.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8526 | μmol/L | 29.389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.094 | 144411.1371 | 280451.2113 | 26.25 | 74
5551 | 2021-02-16 15:37 | 127.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8332 | μmol/L | 29.3829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.097 | 144399.9244 | 280438.6014 | 26.25 | 74
5561 | 2021-02-16 15:37 | 127.5289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8136 | μmol/L | 29.389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.096 | 144398.0527 | 280423.9296 | 26.25 | 74
5571 | 2021-02-16 15:38 | 127.8616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7352 | μmol/L | 29.4013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.096 | 144395.43 | 280422.9749 | 26.25 | 74
5581 | 2021-02-16 15:38 | 128.1952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7156 | μmol/L | 29.4074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.095 | 144390.0284 | 280416.0191 | 26.25 | 74
5591 | 2021-02-16 15:38 | 128.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6374 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.097 | 144373.7976 | 280405.8527 | 26.25 | 74
5601 | 2021-02-16 15:39 | 128.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6374 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.097 | 144355.2884 | 280371.8515 | 26.25 | 74
5611 | 2021-02-16 15:39 | 129.1952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6568 | μmol/L | 29.4196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.094 | 144359.2176 | 280366.0602 | 26.25 | 74
5621 | 2021-02-16 15:39 | 129.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8526 | μmol/L | 29.389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.094 | 144358.0403 | 280362.6402 | 26.25 | 74
5631 | 2021-02-16 15:40 | 129.8618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7156 | μmol/L | 29.4074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.095 | 144346.2613 | 280360.1469 | 26.25 | 74
5641 | 2021-02-16 15:40 | 130.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7159 | μmol/L | 29.3951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 144355.4361 | 280332.3796 | 26.25 | 74
5651 | 2021-02-16 15:40 | 130.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0093 | μmol/L | 29.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.094 | 144332.4998 | 280321.4879 | 26.25 | 74
5661 | 2021-02-16 15:41 | 130.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.1465 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.095 | 144335.2853 | 280313.9244 | 26.25 | 74
5671 | 2021-02-16 15:41 | 131.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8529 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.098 | 144334.6329 | 280316.0362 | 26.25 | 74
5681 | 2021-02-16 15:41 | 131.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8724 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.097 | 144330.3836 | 280299.939 | 26.25 | 74
5691 | 2021-02-16 15:42 | 131.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.755 | μmol/L | 29.389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 144312.448 | 280280.5762 | 26.25 | 74
5701 | 2021-02-16 15:42 | 132.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9707 | μmol/L | 29.3463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.102 | 144348.4939 | 280295.5948 | 26.25 | 74
5711 | 2021-02-16 15:42 | 132.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8335 | μmol/L | 29.3707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.101 | 144321.6759 | 280270.2904 | 26.25 | 74
5721 | 2021-02-16 15:43 | 132.8614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9903 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.103 | 144330.1499 | 280259.4671 | 26.25 | 74
5731 | 2021-02-16 15:43 | 133.1954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.108 | μmol/L | 29.3157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.105 | 144319.3187 | 280266.7614 | 26.25 | 74
5741 | 2021-02-16 15:43 | 133.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0687 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.103 | 144333.8537 | 280246.7539 | 26.25 | 74
5751 | 2021-02-16 15:44 | 133.8615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0296 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.105 | 144326.9394 | 280231.5363 | 26.25 | 74
5761 | 2021-02-16 15:44 | 134.1947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0492 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.104 | 144337.1271 | 280238.9439 | 26.25 | 74
5771 | 2021-02-16 15:44 | 134.5287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0688 | μmol/L | 29.3218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.105 | 144328.7102 | 280216.7555 | 26.25 | 74
5781 | 2021-02-16 15:45 | 134.8615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9709 | μmol/L | 29.334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.106 | 144340.2954 | 280202.1739 | 26.25 | 74
5791 | 2021-02-16 15:45 | 135.1952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0104 | μmol/L | 29.3157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.11 | 144338.2609 | 280187.6777 | 26.25 | 74
5801 | 2021-02-16 15:45 | 135.5281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9715 | μmol/L | 29.3096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.114 | 144332.8444 | 280186.4953 | 26.25 | 74
5811 | 2021-02-16 15:46 | 135.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.1084 | μmol/L | 29.2974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.111 | 144344.9978 | 280181.7132 | 26.25 | 74
5821 | 2021-02-16 15:46 | 136.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.1477 | μmol/L | 29.2851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.113 | 144352.1923 | 280159.3152 | 26.25 | 74
5831 | 2021-02-16 15:46 | 136.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9719 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.12 | 144350.5267 | 280149.2111 | 26.25 | 74
5841 | 2021-02-16 15:47 | 136.8615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.5595 | μmol/L | 29.2057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.118 | 144347.795 | 280134.1925 | 26.25 | 74
5851 | 2021-02-16 15:47 | 137.1954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6771 | μmol/L | 29.1874 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.118 | 144353.7915 | 280137.8622 | 26.25 | 74
5861 | 2021-02-16 15:47 | 137.5283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.4615 | μmol/L | 29.2179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.119 | 144372.6695 | 280119.8659 | 26.25 | 74
5871 | 2021-02-16 15:48 | 137.8621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.1286 | μmol/L | 29.2607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.122 | 144380.5178 | 280114.3734 | 26.25 | 74
5881 | 2021-02-16 15:48 | 138.195 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0113 | μmol/L | 29.2729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.124 | 144382.0264 | 280092.8929 | 26.25 | 74
5891 | 2021-02-16 15:48 | 138.5289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9918 | μmol/L | 29.2729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.125 | 144383.1606 | 280104.4484 | 26.25 | 74
5901 | 2021-02-16 15:49 | 138.8619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9136 | μmol/L | 29.279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.127 | 144400.3345 | 280102.9346 | 26.25 | 74
5911 | 2021-02-16 15:49 | 139.1949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9721 | μmol/L | 29.279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.124 | 144414.2905 | 280069.4082 | 26.25 | 74
5921 | 2021-02-16 15:49 | 139.5289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9725 | μmol/L | 29.2607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.13 | 144400.6891 | 280078.2334 | 26.25 | 74
5931 | 2021-02-16 15:50 | 139.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8162 | μmol/L | 29.279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.132 | 144408.6381 | 280064.7958 | 26.25 | 74
5941 | 2021-02-16 15:50 | 140.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7574 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.131 | 144410.0253 | 280073.3182 | 26.25 | 74
5951 | 2021-02-16 15:50 | 140.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.699 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.134 | 144404.5596 | 280051.2064 | 26.25 | 74
5961 | 2021-02-16 15:51 | 140.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7967 | μmol/L | 29.279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.133 | 144419.8259 | 280036.593 | 26.25 | 74
5971 | 2021-02-16 15:51 | 141.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7186 | μmol/L | 29.2851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.135 | 144421.2552 | 280048.3656 | 26.25 | 74
5981 | 2021-02-16 15:51 | 141.5282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4847 | μmol/L | 29.2974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.143 | 144443.6716 | 280036.8153 | 26.25 | 74
5991 | 2021-02-16 15:52 | 141.8619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9929 | μmol/L | 29.2179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.143 | 144449.8935 | 280016.8509 | 26.25 | 74
6001 | 2021-02-16 15:52 | 142.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.1495 | μmol/L | 29.1874 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.145 | 144458.3451 | 280041.0761 | 26.25 | 74
6011 | 2021-02-16 15:52 | 142.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7586 | μmol/L | 29.2424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.147 | 144466.7045 | 280015.6463 | 26.25 | 74
6021 | 2021-02-16 15:53 | 142.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6996 | μmol/L | 29.2668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.142 | 144464.9918 | 280011.3182 | 26.25 | 74
6031 | 2021-02-16 15:53 | 143.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4655 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.146 | 144459.4096 | 279982.7877 | 26.25 | 74
6041 | 2021-02-16 15:53 | 143.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3485 | μmol/L | 29.3035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.148 | 144468.766 | 279995.0175 | 26.25 | 74
6051 | 2021-02-16 15:54 | 143.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.446 | μmol/L | 29.2913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.147 | 144472.7282 | 280001.8551 | 26.25 | 74
6061 | 2021-02-16 15:54 | 144.1956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.407 | μmol/L | 29.2974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.147 | 144467.7029 | 279970.6693 | 26.25 | 74
6071 | 2021-02-16 15:54 | 144.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.2704 | μmol/L | 29.3157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.148 | 144475.8831 | 279981.5359 | 26.25 | 74
6081 | 2021-02-16 15:55 | 144.8621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.0755 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.15 | 144487.1698 | 279976.1767 | 26.25 | 74
6091 | 2021-02-16 15:55 | 145.1949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.2706 | μmol/L | 29.3096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.15 | 144486.3842 | 279969.7119 | 26.25 | 74
6101 | 2021-02-16 15:55 | 145.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3096 | μmol/L | 29.3035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.15 | 144493.8968 | 279956.8959 | 26.25 | 74
6111 | 2021-02-16 15:56 | 145.8615 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.1539 | μmol/L | 29.3157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.154 | 144495.4102 | 279951.0463 | 26.25 | 74
6121 | 2021-02-16 15:56 | 146.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.1343 | μmol/L | 29.3218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.153 | 144493.3654 | 279940.889 | 26.25 | 74
6131 | 2021-02-16 15:56 | 146.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.0954 | μmol/L | 29.3218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.155 | 144503.763 | 279933.1504 | 26.25 | 74
6141 | 2021-02-16 15:57 | 146.8621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.998 | μmol/L | 29.334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.156 | 144507.4887 | 279933.2284 | 26.25 | 74
6151 | 2021-02-16 15:57 | 147.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.8815 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.16 | 144513.561 | 279915.8552 | 26.25 | 74
6161 | 2021-02-16 15:57 | 147.5289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7646 | μmol/L | 29.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.16 | 144532.0387 | 279926.8022 | 26.25 | 74
6171 | 2021-02-16 15:58 | 147.8619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.9594 | μmol/L | 29.3279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.16 | 144527.8193 | 279893.0304 | 26.25 | 74
6181 | 2021-02-16 15:58 | 148.195 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.8233 | μmol/L | 29.3401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.163 | 144535.8017 | 279893.0249 | 26.25 | 74
6191 | 2021-02-16 15:58 | 148.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7452 | μmol/L | 29.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.161 | 144536.3918 | 279883.8785 | 26.25 | 74
6201 | 2021-02-16 15:59 | 148.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.8425 | μmol/L | 29.3463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.16 | 144542.9859 | 279874.1873 | 26.25 | 74
6211 | 2021-02-16 15:59 | 149.1948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7067 | μmol/L | 29.3524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.165 | 144534.5561 | 279874.3221 | 26.25 | 74
6221 | 2021-02-16 15:59 | 149.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5901 | μmol/L | 29.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.167 | 144541.9773 | 279853.0453 | 26.25 | 74
6231 | 2021-02-16 16:00 | 149.8621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5318 | μmol/L | 29.3707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.168 | 144544.2606 | 279861.6958 | 26.25 | 74
6241 | 2021-02-16 16:00 | 150.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.6288 | μmol/L | 29.3646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.165 | 144549.587 | 279856.0791 | 26.25 | 74
6251 | 2021-02-16 16:00 | 150.5289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4537 | μmol/L | 29.389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.166 | 144552.6077 | 279834.0933 | 26.25 | 74
6261 | 2021-02-16 16:01 | 150.8618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4735 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.169 | 144566.2408 | 279818.2845 | 26.25 | 74
6271 | 2021-02-16 16:01 | 151.1956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.6096 | μmol/L | 29.3585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.168 | 144564.8065 | 279827.7777 | 26.25 | 74
6281 | 2021-02-16 16:01 | 151.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.8241 | μmol/L | 29.3157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.171 | 144563.59 | 279820.0459 | 26.25 | 74
6291 | 2021-02-16 16:02 | 151.8616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3377 | μmol/L | 29.389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.172 | 144563.6317 | 279802.9938 | 26.25 | 74
6301 | 2021-02-16 16:02 | 152.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1821 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.172 | 144568.3818 | 279793.3306 | 26.25 | 74
6311 | 2021-02-16 16:02 | 152.5285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2014 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.171 | 144586.2066 | 279801.0472 | 26.25 | 74
6321 | 2021-02-16 16:03 | 152.8621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0462 | μmol/L | 29.4318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.173 | 144580.5288 | 279793.9436 | 26.25 | 74
6331 | 2021-02-16 16:03 | 153.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3379 | μmol/L | 29.3829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.174 | 144569.0421 | 279775.7153 | 26.25 | 74
6341 | 2021-02-16 16:03 | 153.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.085 | μmol/L | 29.4257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.173 | 144583.6284 | 279762.7806 | 26.25 | 74
6351 | 2021-02-16 16:04 | 153.8618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1239 | μmol/L | 29.4196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.173 | 144588.2787 | 279760.7276 | 26.25 | 74
6361 | 2021-02-16 16:04 | 154.1955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1242 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.175 | 144585.8299 | 279745.4845 | 26.25 | 74
6371 | 2021-02-16 16:04 | 154.5284 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1239 | μmol/L | 29.4196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.173 | 144588.4054 | 279750.1864 | 26.25 | 74
6381 | 2021-02-16 16:05 | 154.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0271 | μmol/L | 29.4257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.176 | 144588.0706 | 279739.8219 | 26.25 | 74
6391 | 2021-02-16 16:05 | 155.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0662 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.178 | 144602.1993 | 279736.8189 | 26.25 | 74
6401 | 2021-02-16 16:05 | 155.5288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0076 | μmol/L | 29.4318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.175 | 144596.2356 | 279723.1115 | 26.25 | 74
6411 | 2021-02-16 16:06 | 155.8614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9497 | μmol/L | 29.4318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.178 | 144612.5462 | 279719.9437 | 26.25 | 74
6421 | 2021-02-16 16:06 | 156.1954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0276 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.18 | 144601.3582 | 279719.217 | 26.25 | 74
6431 | 2021-02-16 16:06 | 156.5283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.7951 | μmol/L | 29.4379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.184 | 144616.1504 | 279713.1474 | 26.25 | 74
6441 | 2021-02-16 16:07 | 156.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9695 | μmol/L | 29.4196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.181 | 144633.8454 | 279733.3609 | 26.25 | 74
6451 | 2021-02-16 16:07 | 157.1951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9312 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.185 | 144638.4029 | 279696.047 | 26.25 | 74
6461 | 2021-02-16 16:07 | 157.5282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.8929 | μmol/L | 29.4074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.189 | 144644.9573 | 279701.2896 | 26.25 | 74
6471 | 2021-02-16 16:08 | 157.8622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9314 | μmol/L | 29.4074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.187 | 144640.0205 | 279699.9407 | 26.25 | 74
6481 | 2021-02-16 16:08 | 158.195 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9116 | μmol/L | 29.4196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.184 | 144653.0026 | 279684.511 | 26.25 | 74
6491 | 2021-02-16 16:08 | 158.5289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.8733 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.188 | 144660.5852 | 279680.6799 | 26.25 | 74
6501 | 2021-02-16 16:09 | 158.8617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.8348 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.19 | 144665.6606 | 279675.6933 | 26.25 | 74
6511 | 2021-02-16 16:09 | 159.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.622 | μmol/L | 29.4318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.195 | 144672.1089 | 279666.2247 | 26.25 | 74
6521 | 2021-02-16 16:09 | 159.5286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.6999 | μmol/L | 29.4135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.197 | 144687.8986 | 279667.2898 | 26.25 | 74
6530 | 2021-02-16 16:10 | 159.862 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.952 | μmol/L | 29.3768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.196 | 144690.7887 | 279675.6573 | 26.25 | 74
6532 | 2021-02-16 16:10 | 160.1953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.263 | μmol/L | 29.3218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.198 | 144707.9416 | 279664.9253 | 26.25 | 74