## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4605 | 2021-02-16 13:30 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.2397 | μmol/L | 16.7716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.523 | 177067.3463 | 280064.7135 | 32.55 | 27.7
4623 | 2021-02-16 15:06 | 96.1676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0084 | μmol/L | 29.3793 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.842 | 164225.6954 | 278503.536 | 32.55 | 27.7
4633 | 2021-02-16 15:06 | 96.4946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9288 | μmol/L | 29.3916 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.842 | 164226.0768 | 278452.1827 | 32.55 | 27.7
4643 | 2021-02-16 15:07 | 96.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0281 | μmol/L | 29.367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.845 | 164226.8837 | 278395.4894 | 32.55 | 27.7
4653 | 2021-02-16 15:07 | 97.1613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8691 | μmol/L | 29.3977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.843 | 164207.5971 | 278361.5619 | 32.55 | 27.7
4663 | 2021-02-16 15:07 | 97.4942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9485 | μmol/L | 29.3793 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.845 | 164198.5742 | 278337.2937 | 32.55 | 27.7
4673 | 2021-02-16 15:08 | 97.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8383 | μmol/L | 29.3854 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.849 | 164184.1161 | 278292.3007 | 32.55 | 27.7
4683 | 2021-02-16 15:08 | 98.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.719 | μmol/L | 29.3977 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.851 | 164176.5128 | 278263.1753 | 32.55 | 27.7
4692 | 2021-02-16 15:08 | 98.4942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8488 | μmol/L | 29.3732 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.852 | 164170.9838 | 278238.2842 | 32.55 | 27.7
4703 | 2021-02-16 15:09 | 98.8278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8091 | μmol/L | 29.3854 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.85 | 164162.6783 | 278225.0108 | 32.55 | 27.7
4712 | 2021-02-16 15:09 | 99.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6499 | μmol/L | 29.3916 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.856 | 164192.6986 | 278204.2785 | 32.55 | 27.7
4723 | 2021-02-16 15:09 | 99.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6195 | μmol/L | 29.3977 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.856 | 164166.519 | 278164.286 | 32.55 | 27.7
4733 | 2021-02-16 15:10 | 99.8279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6591 | μmol/L | 29.3854 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.858 | 164158.3749 | 278140.0952 | 32.55 | 27.7
4742 | 2021-02-16 15:10 | 100.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4207 | μmol/L | 29.41 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.862 | 164168.3046 | 278109.9635 | 32.55 | 27.7
4752 | 2021-02-16 15:10 | 100.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5993 | μmol/L | 29.3732 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.865 | 164167.7809 | 278101.7866 | 32.55 | 27.7
4763 | 2021-02-16 15:11 | 100.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5198 | μmol/L | 29.3793 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.867 | 164155.8196 | 278080.9244 | 32.55 | 27.7
4772 | 2021-02-16 15:11 | 101.1606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5794 | μmol/L | 29.3732 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.866 | 164154.6719 | 278064.3107 | 32.55 | 27.7
4783 | 2021-02-16 15:11 | 101.4944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6985 | μmol/L | 29.3486 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.868 | 164156.6437 | 278039.7775 | 32.55 | 27.7
4793 | 2021-02-16 15:12 | 101.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5793 | μmol/L | 29.3609 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.87 | 164169.032 | 278022.8105 | 32.55 | 27.7
4803 | 2021-02-16 15:12 | 102.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5989 | μmol/L | 29.3425 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.875 | 164168.8027 | 277993.1985 | 32.55 | 27.7
4812 | 2021-02-16 15:12 | 102.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.599 | μmol/L | 29.3486 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.873 | 164152.3409 | 277975.0279 | 32.55 | 27.7
4823 | 2021-02-16 15:13 | 102.8278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3409 | μmol/L | 29.3732 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.878 | 164168.0262 | 277970.8844 | 32.55 | 27.7
4833 | 2021-02-16 15:13 | 103.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4003 | μmol/L | 29.3548 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.881 | 164171.8954 | 277967.7763 | 32.55 | 27.7
4842 | 2021-02-16 15:13 | 103.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6291 | μmol/L | 29.3118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.883 | 164196.6919 | 277938.7917 | 32.55 | 27.7
4853 | 2021-02-16 15:14 | 103.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5987 | μmol/L | 29.3241 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.881 | 164161.2722 | 277928.8087 | 32.55 | 27.7
4863 | 2021-02-16 15:14 | 104.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5194 | μmol/L | 29.3363 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.881 | 164148.2396 | 277903.3698 | 32.55 | 27.7
4873 | 2021-02-16 15:14 | 104.494 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6383 | μmol/L | 29.3057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.885 | 164160.3332 | 277883.6569 | 32.55 | 27.7
4882 | 2021-02-16 15:15 | 104.8278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6383 | μmol/L | 29.3057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.885 | 164159.2822 | 277883.1673 | 32.55 | 27.7
4892 | 2021-02-16 15:15 | 105.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8367 | μmol/L | 29.2689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.887 | 164159.6477 | 277850.5197 | 32.55 | 27.7
4903 | 2021-02-16 15:15 | 105.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4596 | μmol/L | 29.3241 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.888 | 164160.2576 | 277845.3382 | 32.55 | 27.7
4913 | 2021-02-16 15:16 | 105.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.371 | μmol/L | 29.3302 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.89 | 164177.0877 | 277833.8963 | 32.55 | 27.7
4923 | 2021-02-16 15:16 | 106.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8074 | μmol/L | 29.2566 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.892 | 164174.1428 | 277818.2003 | 32.55 | 27.7
4932 | 2021-02-16 15:16 | 106.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8958 | μmol/L | 29.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.896 | 164176.744 | 277807.2558 | 32.55 | 27.7
4942 | 2021-02-16 15:17 | 106.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.38 | μmol/L | 29.3118 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.896 | 164171.2121 | 277796.3554 | 32.55 | 27.7
4953 | 2021-02-16 15:17 | 107.1612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.36 | μmol/L | 29.2934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.903 | 164196.5467 | 277783.3515 | 32.55 | 27.7
4962 | 2021-02-16 15:17 | 107.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5689 | μmol/L | 29.2627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.902 | 164173.4207 | 277772.1297 | 32.55 | 27.7
4973 | 2021-02-16 15:18 | 107.828 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7366 | μmol/L | 29.2259 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.906 | 164192.4879 | 277752.3103 | 32.55 | 27.7
4982 | 2021-02-16 15:18 | 108.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5582 | μmol/L | 29.2627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.903 | 164182.7387 | 277740.7785 | 32.55 | 27.7
4993 | 2021-02-16 15:18 | 108.4946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4787 | μmol/L | 29.2566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.909 | 164208.3884 | 277713.2342 | 32.55 | 27.7
5002 | 2021-02-16 15:19 | 108.8274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3507 | μmol/L | 29.2811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.907 | 164191.4595 | 277720.2672 | 32.55 | 27.7
5013 | 2021-02-16 15:19 | 109.1612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4193 | μmol/L | 29.2689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.908 | 164184.4323 | 277709.3904 | 32.55 | 27.7
5022 | 2021-02-16 15:19 | 109.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7165 | μmol/L | 29.2137 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.911 | 164189.9743 | 277699.4249 | 32.55 | 27.7
5033 | 2021-02-16 15:20 | 109.8279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4192 | μmol/L | 29.2566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.912 | 164207.65 | 277671.6962 | 32.55 | 27.7
5043 | 2021-02-16 15:20 | 110.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1417 | μmol/L | 29.275 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.92 | 164241.3425 | 277669.1074 | 32.55 | 27.7
5053 | 2021-02-16 15:20 | 110.4944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3594 | μmol/L | 29.2382 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.921 | 164254.0416 | 277659.6106 | 32.55 | 27.7
5062 | 2021-02-16 15:21 | 110.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4982 | μmol/L | 29.2259 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.918 | 164237.9083 | 277648.81 | 32.55 | 27.7
5073 | 2021-02-16 15:21 | 111.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5972 | μmol/L | 29.2075 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.919 | 164222.6891 | 277631.5272 | 32.55 | 27.7
5083 | 2021-02-16 15:21 | 111.4942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6764 | μmol/L | 29.1891 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.921 | 164227.0591 | 277618.5487 | 32.55 | 27.7
5092 | 2021-02-16 15:22 | 111.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3791 | μmol/L | 29.2259 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.924 | 164222.0077 | 277594.735 | 32.55 | 27.7
5103 | 2021-02-16 15:22 | 112.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2999 | μmol/L | 29.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.926 | 164236.9762 | 277597.4119 | 32.55 | 27.7
5112 | 2021-02-16 15:22 | 112.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8843 | μmol/L | 29.2873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.929 | 164247.0617 | 277594.1651 | 32.55 | 27.7
5123 | 2021-02-16 15:23 | 112.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.9633 | μmol/L | 29.2505 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.937 | 164294.5804 | 277578.555 | 32.55 | 27.7
5133 | 2021-02-16 15:23 | 113.1613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1809 | μmol/L | 29.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.932 | 164252.7215 | 277558.6955 | 32.55 | 27.7
5143 | 2021-02-16 15:23 | 113.4946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1611 | μmol/L | 29.2259 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.935 | 164273.3513 | 277564.5256 | 32.55 | 27.7
5153 | 2021-02-16 15:24 | 113.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0424 | μmol/L | 29.2505 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.933 | 164249.5557 | 277546.4789 | 32.55 | 27.7
5163 | 2021-02-16 15:24 | 114.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1519 | μmol/L | 29.2259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.935 | 164254.8273 | 277522.9148 | 32.55 | 27.7
5173 | 2021-02-16 15:24 | 114.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0529 | μmol/L | 29.2259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.94 | 164263.1627 | 277509.5857 | 32.55 | 27.7
5182 | 2021-02-16 15:25 | 114.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.161 | μmol/L | 29.2198 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.937 | 164264.2932 | 277505.9903 | 32.55 | 27.7
5192 | 2021-02-16 15:25 | 115.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7853 | μmol/L | 29.2566 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.944 | 164298.4448 | 277505.0756 | 32.55 | 27.7
5202 | 2021-02-16 15:25 | 115.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.9237 | μmol/L | 29.2505 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.939 | 164269.602 | 277506.2225 | 32.55 | 27.7
5213 | 2021-02-16 15:26 | 115.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8051 | μmol/L | 29.2627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.941 | 164270.1995 | 277484.8556 | 32.55 | 27.7
5222 | 2021-02-16 15:26 | 116.1606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5984 | μmol/L | 29.2811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.945 | 164284.1553 | 277480.8674 | 32.55 | 27.7
5233 | 2021-02-16 15:26 | 116.4944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8643 | μmol/L | 29.2505 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.942 | 164263.6793 | 277466.9143 | 32.55 | 27.7
5243 | 2021-02-16 15:27 | 116.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7062 | μmol/L | 29.2627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.946 | 164282.4733 | 277451.9067 | 32.55 | 27.7
5253 | 2021-02-16 15:27 | 117.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.4799 | μmol/L | 29.2934 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.947 | 164278.3835 | 277450.2901 | 32.55 | 27.7
5263 | 2021-02-16 15:27 | 117.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5391 | μmol/L | 29.2873 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.946 | 164285.931 | 277447.029 | 32.55 | 27.7
5273 | 2021-02-16 15:28 | 117.8278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3615 | μmol/L | 29.3057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.949 | 164283.2407 | 277410.773 | 32.55 | 27.7
5282 | 2021-02-16 15:28 | 118.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.3418 | μmol/L | 29.2995 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.952 | 164290.34 | 277425.0001 | 32.55 | 27.7
5293 | 2021-02-16 15:28 | 118.4946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.2326 | μmol/L | 29.3241 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.95 | 164294.6746 | 277402.01 | 32.55 | 27.7
5303 | 2021-02-16 15:29 | 118.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.1249 | μmol/L | 29.3057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.961 | 164355.8633 | 277391.0597 | 32.55 | 27.7
5313 | 2021-02-16 15:29 | 119.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9764 | μmol/L | 29.3363 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.959 | 164342.7395 | 277382.8142 | 32.55 | 27.7
5323 | 2021-02-16 15:29 | 119.4944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9764 | μmol/L | 29.3363 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.959 | 164336.8316 | 277380.7022 | 32.55 | 27.7
5332 | 2021-02-16 15:30 | 119.8274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9672 | μmol/L | 29.3363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.959 | 164328.1895 | 277375.6656 | 32.55 | 27.7
5342 | 2021-02-16 15:30 | 120.1605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.9173 | μmol/L | 29.3425 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.96 | 164323.1592 | 277365.0091 | 32.55 | 27.7
5353 | 2021-02-16 15:30 | 120.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.8779 | μmol/L | 29.3548 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.958 | 164310.633 | 277354.1217 | 32.55 | 27.7
5363 | 2021-02-16 15:31 | 120.8279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7506 | μmol/L | 29.367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.96 | 164312.7882 | 277348.8832 | 32.55 | 27.7
5373 | 2021-02-16 15:31 | 121.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7309 | μmol/L | 29.367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.961 | 164300.0108 | 277332.4785 | 32.55 | 27.7
5382 | 2021-02-16 15:31 | 121.4938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6614 | μmol/L | 29.3793 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.961 | 164285.6054 | 277321.1332 | 32.55 | 27.7
5393 | 2021-02-16 15:32 | 121.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6522 | μmol/L | 29.3732 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.963 | 164280.6294 | 277306.6103 | 32.55 | 27.7
5402 | 2021-02-16 15:32 | 122.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.5827 | μmol/L | 29.3854 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.963 | 164281.8282 | 277299.9334 | 32.55 | 27.7
5413 | 2021-02-16 15:32 | 122.4942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.6614 | μmol/L | 29.3793 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.961 | 164284.8215 | 277287.1156 | 32.55 | 27.7
5422 | 2021-02-16 15:33 | 122.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4253 | μmol/L | 29.41 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.963 | 164276.4043 | 277295.0938 | 32.55 | 27.7
5433 | 2021-02-16 15:33 | 123.1612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4253 | μmol/L | 29.41 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.963 | 164270.9283 | 277296.0074 | 32.55 | 27.7
5442 | 2021-02-16 15:33 | 123.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4057 | μmol/L | 29.4038 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.966 | 164275.9851 | 277281.099 | 32.55 | 27.7
5452 | 2021-02-16 15:34 | 123.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3572 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.964 | 164271.6118 | 277265.0482 | 32.55 | 27.7
5462 | 2021-02-16 15:34 | 124.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3966 | μmol/L | 29.4038 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.966 | 164280.1907 | 277267.6767 | 32.55 | 27.7
5473 | 2021-02-16 15:34 | 124.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3179 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.966 | 164256.4753 | 277259.3185 | 32.55 | 27.7
5483 | 2021-02-16 15:35 | 124.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.3179 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.966 | 164262.5735 | 277227.9662 | 32.55 | 27.7
5493 | 2021-02-16 15:35 | 125.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2879 | μmol/L | 29.41 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.97 | 164294.032 | 277226.5126 | 32.55 | 27.7
5502 | 2021-02-16 15:35 | 125.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2394 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.97 | 164269.6073 | 277214.556 | 32.55 | 27.7
5513 | 2021-02-16 15:36 | 125.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1215 | μmol/L | 29.4345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.97 | 164290.1625 | 277230.914 | 32.55 | 27.7
5522 | 2021-02-16 15:36 | 126.1606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.1412 | μmol/L | 29.4284 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.971 | 164286.9343 | 277206.234 | 32.55 | 27.7
5533 | 2021-02-16 15:36 | 126.4942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8664 | μmol/L | 29.459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.975 | 164298.0759 | 277212.2418 | 32.55 | 27.7
5543 | 2021-02-16 15:37 | 126.828 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.788 | μmol/L | 29.4652 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.977 | 164288.3549 | 277203.1129 | 32.55 | 27.7
5552 | 2021-02-16 15:37 | 127.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9843 | μmol/L | 29.4345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.977 | 164298.5419 | 277176.9733 | 32.55 | 27.7
5563 | 2021-02-16 15:37 | 127.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8666 | μmol/L | 29.4468 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.979 | 164307.3411 | 277191.6502 | 32.55 | 27.7
5573 | 2021-02-16 15:38 | 127.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9648 | μmol/L | 29.4345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.978 | 164305.6669 | 277185.5791 | 32.55 | 27.7
5583 | 2021-02-16 15:38 | 128.1612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0237 | μmol/L | 29.4222 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.979 | 164303.6329 | 277162.043 | 32.55 | 27.7
5593 | 2021-02-16 15:38 | 128.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0042 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.982 | 164313.6933 | 277153.5146 | 32.55 | 27.7
5603 | 2021-02-16 15:39 | 128.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7494 | μmol/L | 29.4345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.989 | 164346.9184 | 277146.3492 | 32.55 | 27.7
5613 | 2021-02-16 15:39 | 129.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6908 | μmol/L | 29.4345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.992 | 164355.9768 | 277143.3319 | 32.55 | 27.7
5623 | 2021-02-16 15:39 | 129.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.671 | μmol/L | 29.4468 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.989 | 164352.9591 | 277134.8261 | 32.55 | 27.7
5632 | 2021-02-16 15:40 | 129.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6711 | μmol/L | 29.4406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.991 | 164338.3525 | 277115.1251 | 32.55 | 27.7
5643 | 2021-02-16 15:40 | 130.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8671 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.989 | 164351.3872 | 277116.1826 | 32.55 | 27.7
5652 | 2021-02-16 15:40 | 130.494 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8675 | μmol/L | 29.3916 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.997 | 164357.9086 | 277105.9968 | 32.55 | 27.7
5662 | 2021-02-16 15:41 | 130.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8674 | μmol/L | 29.3977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.995 | 164364.5464 | 277103.4608 | 32.55 | 27.7
5672 | 2021-02-16 15:41 | 131.1606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7785 | μmol/L | 29.4161 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.994 | 164349.275 | 277093.0228 | 32.55 | 27.7
5683 | 2021-02-16 15:41 | 131.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.9265 | μmol/L | 29.3732 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20 | 164390.2415 | 277078.8048 | 32.55 | 27.7
5692 | 2021-02-16 15:42 | 131.8274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6913 | μmol/L | 29.4038 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.002 | 164392.0355 | 277073.2659 | 32.55 | 27.7
5702 | 2021-02-16 15:42 | 132.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6717 | μmol/L | 29.41 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.001 | 164396.7832 | 277077.2714 | 32.55 | 27.7
5713 | 2021-02-16 15:42 | 132.494 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.28 | μmol/L | 29.4652 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.003 | 164388.1397 | 277070.8598 | 32.55 | 27.7
5722 | 2021-02-16 15:43 | 132.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.339 | μmol/L | 29.4406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.008 | 164414.6432 | 277056.4298 | 32.55 | 27.7
5733 | 2021-02-16 15:43 | 133.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3392 | μmol/L | 29.4345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.01 | 164431.4205 | 277069.0585 | 32.55 | 27.7
5743 | 2021-02-16 15:43 | 133.4946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4568 | μmol/L | 29.41 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.012 | 164411.892 | 277045.4565 | 32.55 | 27.7
5753 | 2021-02-16 15:44 | 133.8279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7113 | μmol/L | 29.3793 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.009 | 164412.3208 | 277050.4912 | 32.55 | 27.7
5763 | 2021-02-16 15:44 | 134.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.398 | μmol/L | 29.4222 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.011 | 164425.596 | 277039.079 | 32.55 | 27.7
5773 | 2021-02-16 15:44 | 134.494 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3982 | μmol/L | 29.41 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.015 | 164436.6723 | 277035.6635 | 32.55 | 27.7
5782 | 2021-02-16 15:45 | 134.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.8488 | μmol/L | 29.3363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.016 | 164435.7911 | 277017.3715 | 32.55 | 27.7
5793 | 2021-02-16 15:45 | 135.1605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7705 | μmol/L | 29.3425 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.018 | 164446.4234 | 277030.9184 | 32.55 | 27.7
5802 | 2021-02-16 15:45 | 135.4942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4963 | μmol/L | 29.3854 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.018 | 164444.9496 | 277023.9542 | 32.55 | 27.7
5813 | 2021-02-16 15:46 | 135.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6336 | μmol/L | 29.3548 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.021 | 164464.5587 | 277012.8875 | 32.55 | 27.7
5822 | 2021-02-16 15:46 | 136.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7513 | μmol/L | 29.3241 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.025 | 164478.8477 | 277003.4859 | 32.55 | 27.7
5832 | 2021-02-16 15:46 | 136.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6927 | μmol/L | 29.3241 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.028 | 164496.2814 | 276973.1584 | 32.55 | 27.7
5842 | 2021-02-16 15:47 | 136.8278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4969 | μmol/L | 29.3548 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.028 | 164493.7267 | 276979.286 | 32.55 | 27.7
5853 | 2021-02-16 15:47 | 137.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0258 | μmol/L | 29.2627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.031 | 164498.6294 | 276983.3704 | 32.55 | 27.7
5862 | 2021-02-16 15:47 | 137.4938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7321 | μmol/L | 29.2995 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.034 | 164515.7253 | 276962.5871 | 32.55 | 27.7
5873 | 2021-02-16 15:48 | 137.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3603 | μmol/L | 29.3548 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.035 | 164527.9495 | 276967.629 | 32.55 | 27.7
5882 | 2021-02-16 15:48 | 138.1606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1258 | μmol/L | 29.3854 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.037 | 164525.433 | 276952.1713 | 32.55 | 27.7
5893 | 2021-02-16 15:48 | 138.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3612 | μmol/L | 29.3118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.049 | 164623.1774 | 276940.2824 | 32.55 | 27.7
5903 | 2021-02-16 15:49 | 138.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.147 | μmol/L | 29.3057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.062 | 164735.2796 | 276937.9663 | 32.55 | 27.7
5913 | 2021-02-16 15:49 | 139.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3032 | μmol/L | 29.2873 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.06 | 164714.4631 | 276933.8936 | 32.55 | 27.7
5923 | 2021-02-16 15:49 | 139.4942 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2838 | μmol/L | 29.2811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.063 | 164734.5369 | 276930.9761 | 32.55 | 27.7
5933 | 2021-02-16 15:50 | 139.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2059 | μmol/L | 29.2811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.067 | 164732.9507 | 276927.7379 | 32.55 | 27.7
5942 | 2021-02-16 15:50 | 140.1605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3426 | μmol/L | 29.2627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.066 | 164727.718 | 276917.8397 | 32.55 | 27.7
5953 | 2021-02-16 15:50 | 140.4944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6162 | μmol/L | 29.2198 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.066 | 164736.6853 | 276915.9817 | 32.55 | 27.7
5963 | 2021-02-16 15:51 | 140.8271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6555 | μmol/L | 29.2014 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.07 | 164749.3722 | 276900.0562 | 32.55 | 27.7
5973 | 2021-02-16 15:51 | 141.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.675 | μmol/L | 29.2014 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.069 | 164751.9828 | 276883.2074 | 32.55 | 27.7
5982 | 2021-02-16 15:51 | 141.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2842 | μmol/L | 29.2627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.069 | 164747.5244 | 276890.253 | 32.55 | 27.7
5992 | 2021-02-16 15:52 | 141.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1478 | μmol/L | 29.2689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.074 | 164760.1825 | 276869.1261 | 32.55 | 27.7
6003 | 2021-02-16 15:52 | 142.1606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.3627 | μmol/L | 29.2259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.077 | 164770.9647 | 276878.3446 | 32.55 | 27.7
6013 | 2021-02-16 15:52 | 142.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.343 | μmol/L | 29.2382 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.074 | 164761.0375 | 276853.9418 | 32.55 | 27.7
6022 | 2021-02-16 15:53 | 142.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1672 | μmol/L | 29.2689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.073 | 164774.0214 | 276868.7121 | 32.55 | 27.7
6033 | 2021-02-16 15:53 | 143.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0307 | μmol/L | 29.2873 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.074 | 164756.5634 | 276879.4375 | 32.55 | 27.7
6042 | 2021-02-16 15:53 | 143.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.9139 | μmol/L | 29.2934 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.078 | 164757.4875 | 276860.7483 | 32.55 | 27.7
6053 | 2021-02-16 15:54 | 143.8278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0503 | μmol/L | 29.2811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.075 | 164764.8527 | 276852.3971 | 32.55 | 27.7
6062 | 2021-02-16 15:54 | 144.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0504 | μmol/L | 29.275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.077 | 164774.981 | 276848.9044 | 32.55 | 27.7
6072 | 2021-02-16 15:54 | 144.4939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0505 | μmol/L | 29.2689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.079 | 164768.4105 | 276850.9451 | 32.55 | 27.7
6082 | 2021-02-16 15:55 | 144.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0898 | μmol/L | 29.2505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.083 | 164804.6051 | 276845.9997 | 32.55 | 27.7
6093 | 2021-02-16 15:55 | 145.1612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0901 | μmol/L | 29.2382 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.087 | 164812.9958 | 276838.4791 | 32.55 | 27.7
6103 | 2021-02-16 15:55 | 145.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0702 | μmol/L | 29.2566 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.082 | 164800.1775 | 276824.7773 | 32.55 | 27.7
6113 | 2021-02-16 15:56 | 145.8278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0704 | μmol/L | 29.2505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.084 | 164792.3441 | 276832.281 | 32.55 | 27.7
6123 | 2021-02-16 15:56 | 146.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.856 | μmol/L | 29.275 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.087 | 164809.8939 | 276830.668 | 32.55 | 27.7
6133 | 2021-02-16 15:56 | 146.4946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7392 | μmol/L | 29.2873 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.089 | 164831.0475 | 276808.3853 | 32.55 | 27.7
6143 | 2021-02-16 15:57 | 146.8274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8562 | μmol/L | 29.2689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.089 | 164828.2562 | 276802.2618 | 32.55 | 27.7
6153 | 2021-02-16 15:57 | 147.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5253 | μmol/L | 29.3057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.094 | 164837.1769 | 276794.5807 | 32.55 | 27.7
6163 | 2021-02-16 15:57 | 147.494 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3694 | μmol/L | 29.3363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.092 | 164844.0589 | 276807.3007 | 32.55 | 27.7
6173 | 2021-02-16 15:58 | 147.8279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4668 | μmol/L | 29.3179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.093 | 164830.429 | 276795.7412 | 32.55 | 27.7
6182 | 2021-02-16 15:58 | 148.1609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5059 | μmol/L | 29.3057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.095 | 164853.6202 | 276781.7266 | 32.55 | 27.7
6192 | 2021-02-16 15:58 | 148.4938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.389 | μmol/L | 29.3302 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.093 | 164866.7054 | 276779.097 | 32.55 | 27.7
6203 | 2021-02-16 15:59 | 148.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1169 | μmol/L | 29.3609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.097 | 164855.844 | 276771.2457 | 32.55 | 27.7
6213 | 2021-02-16 15:59 | 149.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2919 | μmol/L | 29.3363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.096 | 164856.9561 | 276772.3669 | 32.55 | 27.7
6223 | 2021-02-16 15:59 | 149.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4668 | μmol/L | 29.3179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.093 | 164847.676 | 276761.6558 | 32.55 | 27.7
6232 | 2021-02-16 16:00 | 149.8273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2725 | μmol/L | 29.3363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.097 | 164853.9048 | 276757.3321 | 32.55 | 27.7
6243 | 2021-02-16 16:00 | 150.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2338 | μmol/L | 29.3363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 164850.5364 | 276747.0962 | 32.55 | 27.7
6253 | 2021-02-16 16:00 | 150.494 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1173 | μmol/L | 29.3486 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.101 | 164869.9447 | 276730.8061 | 32.55 | 27.7
6263 | 2021-02-16 16:01 | 150.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0004 | μmol/L | 29.3732 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 164866.58 | 276734.185 | 32.55 | 27.7
6272 | 2021-02-16 16:01 | 151.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9031 | μmol/L | 29.3916 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.098 | 164875.2593 | 276725.0593 | 32.55 | 27.7
6283 | 2021-02-16 16:01 | 151.4947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9422 | μmol/L | 29.3793 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.1 | 164874.3817 | 276714.3663 | 32.55 | 27.7
6293 | 2021-02-16 16:02 | 151.8276 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8838 | μmol/L | 29.3916 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 164872.554 | 276723.5733 | 32.55 | 27.7
6302 | 2021-02-16 16:02 | 152.1606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7284 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.099 | 164863.7366 | 276705.2092 | 32.55 | 27.7
6312 | 2021-02-16 16:02 | 152.4943 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8254 | μmol/L | 29.4038 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.098 | 164862.4403 | 276704.8221 | 32.55 | 27.7
6323 | 2021-02-16 16:03 | 152.8279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6899 | μmol/L | 29.41 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.103 | 164857.6429 | 276715.591 | 32.55 | 27.7
6333 | 2021-02-16 16:03 | 153.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6123 | μmol/L | 29.4222 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.103 | 164857.7278 | 276694.2259 | 32.55 | 27.7
6343 | 2021-02-16 16:03 | 153.4947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6902 | μmol/L | 29.4038 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.105 | 164860.2845 | 276697.8343 | 32.55 | 27.7
6353 | 2021-02-16 16:04 | 153.8277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4958 | μmol/L | 29.4406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.103 | 164868.6547 | 276696.0027 | 32.55 | 27.7
6363 | 2021-02-16 16:04 | 154.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5734 | μmol/L | 29.4284 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.103 | 164870.4725 | 276692.4771 | 32.55 | 27.7
6373 | 2021-02-16 16:04 | 154.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4572 | μmol/L | 29.4406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.105 | 164869.4691 | 276681.4525 | 32.55 | 27.7
6382 | 2021-02-16 16:05 | 154.8274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5541 | μmol/L | 29.4284 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.104 | 164876.74 | 276673.0409 | 32.55 | 27.7
6392 | 2021-02-16 16:05 | 155.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5155 | μmol/L | 29.4284 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.106 | 164866.5265 | 276679.1511 | 32.55 | 27.7
6402 | 2021-02-16 16:05 | 155.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5934 | μmol/L | 29.41 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.108 | 164870.1675 | 276673.4963 | 32.55 | 27.7
6413 | 2021-02-16 16:06 | 155.8279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4186 | μmol/L | 29.4406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.107 | 164875.1093 | 276669.3243 | 32.55 | 27.7
6422 | 2021-02-16 16:06 | 156.1607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.5741 | μmol/L | 29.41 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.109 | 164880.4162 | 276656.79 | 32.55 | 27.7
6433 | 2021-02-16 16:06 | 156.4944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4196 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.115 | 164879.4556 | 276654.1026 | 32.55 | 27.7
6442 | 2021-02-16 16:07 | 156.8272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6325 | μmol/L | 29.3977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.11 | 164881.8541 | 276634.0693 | 32.55 | 27.7
6453 | 2021-02-16 16:07 | 157.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.516 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.11 | 164889.8308 | 276645.9177 | 32.55 | 27.7
6462 | 2021-02-16 16:07 | 157.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4003 | μmol/L | 29.4161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.116 | 164893.4612 | 276627.9314 | 32.55 | 27.7
6472 | 2021-02-16 16:08 | 157.8271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.536 | μmol/L | 29.3977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.115 | 164899.7136 | 276624.1835 | 32.55 | 27.7
6483 | 2021-02-16 16:08 | 158.1608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3035 | μmol/L | 29.4284 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.117 | 164908.8499 | 276642.0075 | 32.55 | 27.7
6493 | 2021-02-16 16:08 | 158.4945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.2644 | μmol/L | 29.4406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.115 | 164884.5467 | 276615.2238 | 32.55 | 27.7
6502 | 2021-02-16 16:09 | 158.8274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4974 | μmol/L | 29.3977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.117 | 164904.877 | 276631.7852 | 32.55 | 27.7
6513 | 2021-02-16 16:09 | 159.1611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4977 | μmol/L | 29.3916 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.119 | 164906.322 | 276618.2204 | 32.55 | 27.7
6522 | 2021-02-16 16:09 | 159.4941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.4201 | μmol/L | 29.4038 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.119 | 164919.8347 | 276605.2002 | 32.55 | 27.7
6531 | 2021-02-16 16:10 | 159.8275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3237 | μmol/L | 29.4038 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.124 | 164940.1216 | 276603.4944 | 32.55 | 27.7
6533 | 2021-02-16 16:10 | 160.161 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.3235 | μmol/L | 29.41 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.122 | 164936.1854 | 276603.1211 | 32.55 | 27.7