## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 19:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
6534 | 2021-02-16 18:19 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.16 | μmol/L | 32.5775 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.362 | 227908.2186 | 283069.5905 | 62.0402 | 75.7
6541 | 2021-02-16 18:19 | 0.33155 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.157 | μmol/L | 32.5837 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.36 | 227968.845 | 283119.3453 | 62.0402 | 75.7
6551 | 2021-02-16 18:20 | 0.66552 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.057 | μmol/L | 32.6021 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.36 | 228043.2746 | 283137.8291 | 62.0402 | 75.7
6561 | 2021-02-16 18:20 | 0.99836 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.9932 | μmol/L | 32.6083 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.362 | 228100.4674 | 283156.3584 | 62.0402 | 75.7
6571 | 2021-02-16 18:20 | 1.3319 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.975 | μmol/L | 32.6144 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.361 | 228174.2872 | 283183.6367 | 62.0402 | 75.7
6581 | 2021-02-16 18:21 | 1.6656 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.8961 | μmol/L | 32.6206 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.364 | 228227.7935 | 283184.3938 | 62.0402 | 75.7
6591 | 2021-02-16 18:21 | 1.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.8324 | μmol/L | 32.6268 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.366 | 228295.8007 | 283195.2746 | 62.0402 | 75.7
6601 | 2021-02-16 18:21 | 2.3321 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.7809 | μmol/L | 32.6391 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.365 | 228318.833 | 283211.1892 | 62.0402 | 75.7
6611 | 2021-02-16 18:22 | 2.6651 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.7476 | μmol/L | 32.6452 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.365 | 228373.5863 | 283226.4111 | 62.0402 | 75.7
6621 | 2021-02-16 18:22 | 2.9983 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.772 | μmol/L | 32.6575 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.359 | 228352.2759 | 283209.6648 | 62.0402 | 75.7
6631 | 2021-02-16 18:22 | 3.3318 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.7113 | μmol/L | 32.6575 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.363 | 228420.0297 | 283216.5313 | 62.0402 | 75.7
6641 | 2021-02-16 18:23 | 3.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.6931 | μmol/L | 32.6637 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.362 | 228452.0619 | 283216.9839 | 62.0402 | 75.7
6651 | 2021-02-16 18:23 | 3.9989 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.6386 | μmol/L | 32.6822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.359 | 228445.6581 | 283218.8674 | 62.0402 | 75.7
6661 | 2021-02-16 18:23 | 4.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.575 | μmol/L | 32.6883 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.361 | 228497.83 | 283212.8561 | 62.0402 | 75.7
6671 | 2021-02-16 18:24 | 4.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.4447 | μmol/L | 32.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.363 | 228513.1633 | 283214.0097 | 62.0402 | 75.7
6681 | 2021-02-16 18:24 | 4.9983 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.4265 | μmol/L | 32.713 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.362 | 228531.3619 | 283203.977 | 62.0402 | 75.7
6691 | 2021-02-16 18:24 | 5.3323 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.2963 | μmol/L | 32.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.364 | 228554.8833 | 283209.5572 | 62.0402 | 75.7
6701 | 2021-02-16 18:25 | 5.6651 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.3324 | μmol/L | 32.7376 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.36 | 228556.2153 | 283198.4862 | 62.0402 | 75.7
6711 | 2021-02-16 18:25 | 5.9984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.2476 | μmol/L | 32.7561 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.359 | 228559.8933 | 283184.5023 | 62.0402 | 75.7
6721 | 2021-02-16 18:25 | 6.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.1841 | μmol/L | 32.7622 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.361 | 228563.7382 | 283172.3321 | 62.0402 | 75.7
6731 | 2021-02-16 18:26 | 6.6649 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.0358 | μmol/L | 32.7869 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.362 | 228590.5582 | 283159.3561 | 62.0402 | 75.7
6741 | 2021-02-16 18:26 | 6.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.0025 | μmol/L | 32.793 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.362 | 228592.0948 | 283151.7724 | 62.0402 | 75.7
6751 | 2021-02-16 18:26 | 7.3321 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.951 | μmol/L | 32.8177 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.356 | 228549.3938 | 283126.6103 | 62.0402 | 75.7
6761 | 2021-02-16 18:27 | 7.6656 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.821 | μmol/L | 32.8361 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.358 | 228573.0524 | 283123.6 | 62.0402 | 75.7
6771 | 2021-02-16 18:27 | 7.9988 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.8148 | μmol/L | 32.8485 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.354 | 228542.1228 | 283105.6274 | 62.0402 | 75.7
6781 | 2021-02-16 18:27 | 8.3319 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.7087 | μmol/L | 32.8669 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.355 | 228539.1137 | 283105.6575 | 62.0402 | 75.7
6791 | 2021-02-16 18:28 | 8.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.5849 | μmol/L | 32.8854 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.356 | 228532.9153 | 283088.8713 | 62.0402 | 75.7
6801 | 2021-02-16 18:28 | 8.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.5152 | μmol/L | 32.9039 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.354 | 228529.2024 | 283063.5304 | 62.0402 | 75.7
6811 | 2021-02-16 18:28 | 9.3322 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.3639 | μmol/L | 32.9347 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.353 | 228518.4897 | 283035.7747 | 62.0402 | 75.7
6821 | 2021-02-16 18:29 | 9.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.5298 | μmol/L | 32.9224 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.347 | 228464.8822 | 283013.455 | 62.0402 | 75.7
6831 | 2021-02-16 18:29 | 9.9984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.3086 | μmol/L | 32.9716 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.344 | 228437.7082 | 283004.616 | 62.0402 | 75.7
6841 | 2021-02-16 18:29 | 10.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.173 | μmol/L | 32.9839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.348 | 228457.6262 | 282990.1592 | 62.0402 | 75.7
6851 | 2021-02-16 18:30 | 10.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.1365 | μmol/L | 32.9963 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.346 | 228436.3902 | 282973.0114 | 62.0402 | 75.7
6861 | 2021-02-16 18:30 | 10.9984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.0335 | μmol/L | 33.0209 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.344 | 228410.3916 | 282948.5431 | 62.0402 | 75.7
6871 | 2021-02-16 18:30 | 11.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.9337 | μmol/L | 33.0394 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.344 | 228380.5738 | 282928.9155 | 62.0402 | 75.7
6881 | 2021-02-16 18:31 | 11.6654 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.8912 | μmol/L | 33.0517 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.343 | 228389.3877 | 282908.8971 | 62.0402 | 75.7
6891 | 2021-02-16 18:31 | 11.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.7159 | μmol/L | 33.0825 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.343 | 228355.8889 | 282902.431 | 62.0402 | 75.7
6901 | 2021-02-16 18:31 | 12.3319 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.6996 | μmol/L | 33.1133 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.333 | 228280.8153 | 282878.7179 | 62.0402 | 75.7
6911 | 2021-02-16 18:32 | 12.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.5788 | μmol/L | 33.1318 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.335 | 228284.1736 | 282854.5974 | 62.0402 | 75.7
6921 | 2021-02-16 18:32 | 12.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.4551 | μmol/L | 33.1502 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.336 | 228269.3812 | 282845.5937 | 62.0402 | 75.7
6931 | 2021-02-16 18:32 | 13.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.391 | μmol/L | 33.1749 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.332 | 228223.7635 | 282810.9438 | 62.0402 | 75.7
6941 | 2021-02-16 18:33 | 13.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.4269 | μmol/L | 33.1749 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.329 | 228186.5527 | 282789.9654 | 62.0402 | 75.7
6951 | 2021-02-16 18:33 | 13.9983 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.224 | μmol/L | 33.218 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.327 | 228130.5221 | 282773.4888 | 62.0402 | 75.7
6961 | 2021-02-16 18:33 | 14.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.1599 | μmol/L | 33.2426 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.323 | 228101.6261 | 282734.6509 | 62.0402 | 75.7
6971 | 2021-02-16 18:34 | 14.6651 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.0119 | μmol/L | 33.2673 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.324 | 228076.0062 | 282710.2983 | 62.0402 | 75.7
6981 | 2021-02-16 18:34 | 14.9986 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.957 | μmol/L | 33.2857 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.321 | 228055.1525 | 282696.8031 | 62.0402 | 75.7
6991 | 2021-02-16 18:34 | 15.3322 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.8688 | μmol/L | 33.3104 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.318 | 228007.7273 | 282686.6819 | 62.0402 | 75.7
7001 | 2021-02-16 18:35 | 15.6651 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.7805 | μmol/L | 33.335 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.315 | 227954.8684 | 282654.2677 | 62.0402 | 75.7
7011 | 2021-02-16 18:35 | 15.9987 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.7588 | μmol/L | 33.3473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.312 | 227899.9016 | 282632.555 | 62.0402 | 75.7
7021 | 2021-02-16 18:35 | 16.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.682 | μmol/L | 33.3781 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.306 | 227855.427 | 282615.9086 | 62.0402 | 75.7
7031 | 2021-02-16 18:36 | 16.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.6637 | μmol/L | 33.3843 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.305 | 227798.4363 | 282590.0981 | 62.0402 | 75.7
7041 | 2021-02-16 18:36 | 16.9989 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.4309 | μmol/L | 33.4274 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.305 | 227784.4936 | 282560.0186 | 62.0402 | 75.7
7051 | 2021-02-16 18:36 | 17.3317 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.4056 | μmol/L | 33.4459 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.3 | 227727.128 | 282540.4046 | 62.0402 | 75.7
7061 | 2021-02-16 18:37 | 17.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3688 | μmol/L | 33.4582 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.298 | 227666.4178 | 282522.6902 | 62.0402 | 75.7
7071 | 2021-02-16 18:37 | 17.9987 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3847 | μmol/L | 33.4828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.288 | 227579.1558 | 282490.2183 | 62.0402 | 75.7
7081 | 2021-02-16 18:37 | 18.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.2735 | μmol/L | 33.4952 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.291 | 227581.8839 | 282452.1703 | 62.0402 | 75.7
7091 | 2021-02-16 18:38 | 18.6649 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.0957 | μmol/L | 33.5198 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.294 | 227570.9623 | 282443.5559 | 62.0402 | 75.7
7101 | 2021-02-16 18:38 | 18.9987 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.974 | μmol/L | 33.5506 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.291 | 227543.8273 | 282422.7898 | 62.0402 | 75.7
7111 | 2021-02-16 18:38 | 19.3323 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8261 | μmol/L | 33.5752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.292 | 227492.9658 | 282400.9279 | 62.0402 | 75.7
7121 | 2021-02-16 18:39 | 19.6656 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.7264 | μmol/L | 33.5937 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.292 | 227462.6831 | 282373.2388 | 62.0402 | 75.7
7131 | 2021-02-16 18:39 | 19.9983 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.7121 | μmol/L | 33.6184 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.284 | 227394.8159 | 282356.0772 | 62.0402 | 75.7
7141 | 2021-02-16 18:39 | 20.3318 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.705 | μmol/L | 33.6307 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.28 | 227336.3383 | 282322.7561 | 62.0402 | 75.7
7151 | 2021-02-16 18:40 | 20.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.5755 | μmol/L | 33.6492 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.282 | 227314.8018 | 282297.7467 | 62.0402 | 75.7
7161 | 2021-02-16 18:40 | 20.9983 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.4905 | μmol/L | 33.6676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.281 | 227288.5338 | 282282.1051 | 62.0402 | 75.7
7171 | 2021-02-16 18:40 | 21.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.3687 | μmol/L | 33.6984 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.278 | 227235.1264 | 282252.2587 | 62.0402 | 75.7
7181 | 2021-02-16 18:41 | 21.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2653 | μmol/L | 33.7231 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.276 | 227210.6118 | 282233.4767 | 62.0402 | 75.7
7191 | 2021-02-16 18:41 | 21.9987 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1988 | μmol/L | 33.7354 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.276 | 227172.4454 | 282202.0361 | 62.0402 | 75.7
7201 | 2021-02-16 18:41 | 22.3323 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1138 | μmol/L | 33.7539 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.275 | 227118.2364 | 282180.3555 | 62.0402 | 75.7
7211 | 2021-02-16 18:42 | 22.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1878 | μmol/L | 33.7539 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.27 | 227091.1934 | 282167.5096 | 62.0402 | 75.7
7221 | 2021-02-16 18:42 | 22.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9698 | μmol/L | 33.797 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.269 | 227036.6479 | 282128.761 | 62.0402 | 75.7
7231 | 2021-02-16 18:42 | 23.3319 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9143 | μmol/L | 33.8155 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.266 | 227002.8843 | 282104.4171 | 62.0402 | 75.7
7241 | 2021-02-16 18:43 | 23.6654 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.8293 | μmol/L | 33.834 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.265 | 226950.5636 | 282074.8936 | 62.0402 | 75.7
7251 | 2021-02-16 18:43 | 23.9988 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.7683 | μmol/L | 33.8463 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.264 | 226918.0783 | 282059.3088 | 62.0402 | 75.7
7261 | 2021-02-16 18:43 | 24.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.6999 | μmol/L | 33.8771 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.258 | 226848.5705 | 282035.9998 | 62.0402 | 75.7
7271 | 2021-02-16 18:44 | 24.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.6333 | μmol/L | 33.8894 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.258 | 226816.1004 | 281996.3297 | 62.0402 | 75.7
7281 | 2021-02-16 18:44 | 24.9987 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.5113 | μmol/L | 33.9202 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.255 | 226768.7431 | 281974.5464 | 62.0402 | 75.7
7291 | 2021-02-16 18:44 | 25.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.4447 | μmol/L | 33.9325 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.255 | 226736.6821 | 281940.9603 | 62.0402 | 75.7
7301 | 2021-02-16 18:45 | 25.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.3559 | μmol/L | 33.9572 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.252 | 226687.836 | 281928.5411 | 62.0402 | 75.7
7311 | 2021-02-16 18:45 | 25.9987 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.3134 | μmol/L | 33.9633 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.252 | 226647.7334 | 281901.4664 | 62.0402 | 75.7
7321 | 2021-02-16 18:45 | 26.3319 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.2523 | μmol/L | 33.9818 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.25 | 226600.279 | 281869.9044 | 62.0402 | 75.7
7331 | 2021-02-16 18:46 | 26.6651 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.3626 | μmol/L | 33.9941 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.238 | 226504.3809 | 281844.2563 | 62.0402 | 75.7
7341 | 2021-02-16 18:46 | 26.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.1519 | μmol/L | 34.0249 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.241 | 226481.5358 | 281825.9509 | 62.0402 | 75.7
7351 | 2021-02-16 18:46 | 27.3319 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.1628 | μmol/L | 34.0311 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.238 | 226473.9276 | 281794.6544 | 62.0402 | 75.7
7361 | 2021-02-16 18:47 | 27.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0869 | μmol/L | 34.0434 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.238 | 226418.6645 | 281769.4173 | 62.0402 | 75.7
7371 | 2021-02-16 18:47 | 27.9986 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.9407 | μmol/L | 34.0804 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.235 | 226366.9835 | 281735.959 | 62.0402 | 75.7
7381 | 2021-02-16 18:47 | 28.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.8462 | μmol/L | 34.0989 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.234 | 226335.4375 | 281718.3345 | 62.0402 | 75.7
7391 | 2021-02-16 18:48 | 28.6654 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.8222 | μmol/L | 34.105 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.234 | 226281.1855 | 281687.308 | 62.0402 | 75.7
7401 | 2021-02-16 18:48 | 28.9989 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.7959 | μmol/L | 34.1235 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.229 | 226239.2623 | 281674.0554 | 62.0402 | 75.7
7411 | 2021-02-16 18:48 | 29.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6921 | μmol/L | 34.1482 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.227 | 226179.5151 | 281645.6332 | 62.0402 | 75.7
7421 | 2021-02-16 18:49 | 29.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.5775 | μmol/L | 34.1666 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.228 | 226142.7141 | 281609.1162 | 62.0402 | 75.7
7431 | 2021-02-16 18:49 | 29.9988 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.5364 | μmol/L | 34.1851 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.224 | 226084.5348 | 281578.0961 | 62.0402 | 75.7
7441 | 2021-02-16 18:49 | 30.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.4619 | μmol/L | 34.2098 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.22 | 226040.3541 | 281552.5276 | 62.0402 | 75.7
7451 | 2021-02-16 18:50 | 30.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.3846 | μmol/L | 34.2159 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.223 | 226003.4321 | 281518.4423 | 62.0402 | 75.7
7461 | 2021-02-16 18:50 | 30.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.3287 | μmol/L | 34.2344 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.22 | 225959.7833 | 281496.8901 | 62.0402 | 75.7
7471 | 2021-02-16 18:50 | 31.3318 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.2875 | μmol/L | 34.2529 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.216 | 225909.021 | 281481.0877 | 62.0402 | 75.7
7481 | 2021-02-16 18:51 | 31.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.2209 | μmol/L | 34.2652 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.216 | 225866.5224 | 281449.9023 | 62.0402 | 75.7
7491 | 2021-02-16 18:51 | 31.9984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.2089 | μmol/L | 34.2837 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.21 | 225799.0907 | 281425.9406 | 62.0402 | 75.7
7501 | 2021-02-16 18:51 | 32.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.0716 | μmol/L | 34.3145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.208 | 225766.5046 | 281407.2196 | 62.0402 | 75.7
7511 | 2021-02-16 18:52 | 32.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.0237 | μmol/L | 34.3207 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.209 | 225730.0332 | 281368.5084 | 62.0402 | 75.7
7521 | 2021-02-16 18:52 | 32.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.9875 | μmol/L | 34.3391 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.204 | 225675.5419 | 281361.6794 | 62.0402 | 75.7
7531 | 2021-02-16 18:52 | 33.3318 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.8637 | μmol/L | 34.3638 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.204 | 225638.158 | 281329.3499 | 62.0402 | 75.7
7541 | 2021-02-16 18:53 | 33.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.7743 | μmol/L | 34.3884 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.201 | 225576.5755 | 281298.9283 | 62.0402 | 75.7
7551 | 2021-02-16 18:53 | 33.9989 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.7077 | μmol/L | 34.4008 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.201 | 225539.6443 | 281277.8306 | 62.0402 | 75.7
7561 | 2021-02-16 18:53 | 34.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.6849 | μmol/L | 34.4131 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.198 | 225497.6028 | 281251.574 | 62.0402 | 75.7
7571 | 2021-02-16 18:54 | 34.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.6995 | μmol/L | 34.4131 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.197 | 225435.9086 | 281216.9897 | 62.0402 | 75.7
7581 | 2021-02-16 18:54 | 34.9984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.5527 | μmol/L | 34.4439 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.195 | 225415.9776 | 281203.6581 | 62.0402 | 75.7
7591 | 2021-02-16 18:54 | 35.3315 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.4289 | μmol/L | 34.4685 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.195 | 225362.4899 | 281173.2697 | 62.0402 | 75.7
7601 | 2021-02-16 18:55 | 35.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.3582 | μmol/L | 34.487 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.193 | 225311.1595 | 281140.4557 | 62.0402 | 75.7
7611 | 2021-02-16 18:55 | 35.9988 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.3166 | μmol/L | 34.5055 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.189 | 225260.3036 | 281127.5142 | 62.0402 | 75.7
7621 | 2021-02-16 18:55 | 36.3317 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.2499 | μmol/L | 34.5178 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.189 | 225214.8143 | 281106.2822 | 62.0402 | 75.7
7631 | 2021-02-16 18:56 | 36.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.1604 | μmol/L | 34.5425 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.186 | 225176.4732 | 281082.8985 | 62.0402 | 75.7
7641 | 2021-02-16 18:56 | 36.9984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.0562 | μmol/L | 34.5671 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.184 | 225129.692 | 281059.4676 | 62.0402 | 75.7
7651 | 2021-02-16 18:56 | 37.3318 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.129 | μmol/L | 34.5671 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.179 | 225073.5196 | 281042.1687 | 62.0402 | 75.7
7661 | 2021-02-16 18:57 | 37.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.0666 | μmol/L | 34.5733 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.181 | 225029.4555 | 281008.9556 | 62.0402 | 75.7
7671 | 2021-02-16 18:57 | 37.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.0873 | μmol/L | 34.5856 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.175 | 224992.9399 | 280989.4085 | 62.0402 | 75.7
7681 | 2021-02-16 18:57 | 38.3321 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.0455 | μmol/L | 34.6041 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.171 | 224941.0649 | 280978.7884 | 62.0402 | 75.7
7691 | 2021-02-16 18:58 | 38.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.9309 | μmol/L | 34.6226 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.172 | 224911.293 | 280964.0991 | 62.0402 | 75.7
7701 | 2021-02-16 18:58 | 38.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8745 | μmol/L | 34.6411 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.169 | 224852.4656 | 280928.2833 | 62.0402 | 75.7
7711 | 2021-02-16 18:58 | 39.3317 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8036 | μmol/L | 34.6595 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.167 | 224816.058 | 280895.6761 | 62.0402 | 75.7
7721 | 2021-02-16 18:59 | 39.6652 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.7702 | μmol/L | 34.6657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.167 | 224778.3793 | 280888.1385 | 62.0402 | 75.7
7731 | 2021-02-16 18:59 | 39.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.6181 | μmol/L | 34.6965 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.166 | 224733.3794 | 280865.0433 | 62.0402 | 75.7
7741 | 2021-02-16 18:59 | 40.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.5616 | μmol/L | 34.715 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.163 | 224694.5328 | 280829.6539 | 62.0402 | 75.7
7751 | 2021-02-16 19:00 | 40.6654 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.6573 | μmol/L | 34.7027 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.161 | 224651.624 | 280811.764 | 62.0402 | 75.7
7761 | 2021-02-16 19:00 | 40.9988 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.5487 | μmol/L | 34.7335 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.157 | 224599.5713 | 280795.8042 | 62.0402 | 75.7
7771 | 2021-02-16 19:00 | 41.3322 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.5443 | μmol/L | 34.7397 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.155 | 224558.308 | 280766.6844 | 62.0402 | 75.7
7781 | 2021-02-16 19:01 | 41.6649 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.5067 | μmol/L | 34.752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.153 | 224478.2063 | 280746.6025 | 62.0402 | 75.7
7791 | 2021-02-16 19:01 | 41.9984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.4211 | μmol/L | 34.7705 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.152 | 224452.1853 | 280728.6702 | 62.0402 | 75.7
7801 | 2021-02-16 19:01 | 42.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.3398 | μmol/L | 34.7828 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.153 | 224421.2046 | 280697.9704 | 62.0402 | 75.7
7811 | 2021-02-16 19:02 | 42.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.231 | μmol/L | 34.8136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.149 | 224374.8329 | 280667.9888 | 62.0402 | 75.7
7821 | 2021-02-16 19:02 | 42.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.1889 | μmol/L | 34.8321 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.145 | 224320.6503 | 280652.2773 | 62.0402 | 75.7
7831 | 2021-02-16 19:02 | 43.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.2135 | μmol/L | 34.8382 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.141 | 224268.4506 | 280627.0259 | 62.0402 | 75.7
7841 | 2021-02-16 19:03 | 43.6652 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.1423 | μmol/L | 34.8567 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.139 | 224243.7859 | 280616.8709 | 62.0402 | 75.7
7851 | 2021-02-16 19:03 | 43.9988 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.0132 | μmol/L | 34.8752 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.141 | 224193.5171 | 280570.7823 | 62.0402 | 75.7
7861 | 2021-02-16 19:03 | 44.3322 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.9376 | μmol/L | 34.8999 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.137 | 224150.7087 | 280557.1953 | 62.0402 | 75.7
7871 | 2021-02-16 19:04 | 44.6648 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.8853 | μmol/L | 34.9122 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.136 | 224103.2756 | 280536.9755 | 62.0402 | 75.7
7881 | 2021-02-16 19:04 | 44.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.8041 | μmol/L | 34.9245 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.137 | 224071.6393 | 280510.8311 | 62.0402 | 75.7
7891 | 2021-02-16 19:04 | 45.3319 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.8096 | μmol/L | 34.9368 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.132 | 224022.7159 | 280491.0259 | 62.0402 | 75.7
7901 | 2021-02-16 19:05 | 45.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7573 | μmol/L | 34.9492 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.131 | 223980.3578 | 280466.3404 | 62.0402 | 75.7
7911 | 2021-02-16 19:05 | 45.9988 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7339 | μmol/L | 34.9615 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.128 | 223943.7411 | 280439.8655 | 62.0402 | 75.7
7921 | 2021-02-16 19:05 | 46.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.8351 | μmol/L | 34.9615 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.121 | 223869.9139 | 280417.4928 | 62.0402 | 75.7
7931 | 2021-02-16 19:06 | 46.6651 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7349 | μmol/L | 34.98 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.121 | 223840.864 | 280399.6103 | 62.0402 | 75.7
7941 | 2021-02-16 19:06 | 46.9986 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.6536 | μmol/L | 34.9923 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.122 | 223797.396 | 280390.6789 | 62.0402 | 75.7
7951 | 2021-02-16 19:06 | 47.3322 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.5055 | μmol/L | 35.017 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.123 | 223763.2026 | 280364.5518 | 62.0402 | 75.7
7961 | 2021-02-16 19:07 | 47.6649 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.4487 | μmol/L | 35.0354 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.12 | 223726.7809 | 280336.866 | 62.0402 | 75.7
7971 | 2021-02-16 19:07 | 47.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3629 | μmol/L | 35.0539 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.119 | 223668.1969 | 280312.2346 | 62.0402 | 75.7
7981 | 2021-02-16 19:07 | 48.3321 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.4161 | μmol/L | 35.0601 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.113 | 223623.4339 | 280284.37 | 62.0402 | 75.7
7991 | 2021-02-16 19:08 | 48.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3925 | μmol/L | 35.0724 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.11 | 223583.5264 | 280264.1791 | 62.0402 | 75.7
8001 | 2021-02-16 19:08 | 48.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.2922 | μmol/L | 35.0909 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.11 | 223545.0153 | 280252.6197 | 62.0402 | 75.7
8011 | 2021-02-16 19:08 | 49.3323 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1539 | μmol/L | 35.1217 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.108 | 223496.3407 | 280224.2832 | 62.0402 | 75.7
8021 | 2021-02-16 19:09 | 49.6649 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1972 | μmol/L | 35.1217 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.105 | 223443.8418 | 280210.8506 | 62.0402 | 75.7
8031 | 2021-02-16 19:09 | 49.9983 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.207 | μmol/L | 35.1279 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.102 | 223394.4581 | 280194.6406 | 62.0402 | 75.7
8041 | 2021-02-16 19:09 | 50.3322 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1021 | μmol/L | 35.1525 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.1 | 223345.4584 | 280161.6385 | 62.0402 | 75.7
8051 | 2021-02-16 19:10 | 50.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9539 | μmol/L | 35.1772 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.101 | 223305.3222 | 280148.8978 | 62.0402 | 75.7
8061 | 2021-02-16 19:10 | 50.9981 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9683 | μmol/L | 35.1772 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.1 | 223276.3077 | 280133.1738 | 62.0402 | 75.7
8071 | 2021-02-16 19:10 | 51.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9591 | μmol/L | 35.1895 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.096 | 223224.2309 | 280105.3149 | 62.0402 | 75.7
8081 | 2021-02-16 19:11 | 51.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8541 | μmol/L | 35.2142 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.094 | 223187.7224 | 280078.8548 | 62.0402 | 75.7
8091 | 2021-02-16 19:11 | 51.9986 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7825 | μmol/L | 35.2326 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.092 | 223136.7639 | 280070.476 | 62.0402 | 75.7
8101 | 2021-02-16 19:11 | 52.3321 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7109 | μmol/L | 35.2511 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.09 | 223103.4537 | 280049.5748 | 62.0402 | 75.7
8111 | 2021-02-16 19:12 | 52.6655 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.6918 | μmol/L | 35.2573 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.089 | 223054.5897 | 280017.4891 | 62.0402 | 75.7
8121 | 2021-02-16 19:12 | 52.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5533 | μmol/L | 35.2881 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.087 | 223011.7434 | 279995.3684 | 62.0402 | 75.7
8131 | 2021-02-16 19:12 | 53.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5964 | μmol/L | 35.2881 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.084 | 222976.4058 | 279998.6234 | 62.0402 | 75.7
8141 | 2021-02-16 19:13 | 53.665 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5773 | μmol/L | 35.2943 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.083 | 222921.5602 | 279965.1041 | 62.0402 | 75.7
8151 | 2021-02-16 19:13 | 53.9982 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.4722 | μmol/L | 35.3189 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.081 | 222889.5732 | 279944.6215 | 62.0402 | 75.7
8161 | 2021-02-16 19:13 | 54.3316 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.4962 | μmol/L | 35.3251 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.077 | 222849.1291 | 279938.158 | 62.0402 | 75.7
8171 | 2021-02-16 19:14 | 54.6651 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3766 | μmol/L | 35.3497 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.076 | 222813.0994 | 279925.5327 | 62.0402 | 75.7
8181 | 2021-02-16 19:14 | 54.9985 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3719 | μmol/L | 35.3559 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.074 | 222773.0922 | 279908.92 | 62.0402 | 75.7
8191 | 2021-02-16 19:14 | 55.3318 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3001 | μmol/L | 35.3744 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.072 | 222738.8777 | 279889.2094 | 62.0402 | 75.7
8201 | 2021-02-16 19:15 | 55.6652 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1854 | μmol/L | 35.3929 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.073 | 222703.6339 | 279874.3439 | 62.0402 | 75.7
8211 | 2021-02-16 19:15 | 55.9986 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.2379 | μmol/L | 35.399 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.067 | 222659.2165 | 279853.3904 | 62.0402 | 75.7
8221 | 2021-02-16 19:15 | 56.332 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1853 | μmol/L | 35.4114 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.066 | 222621.8225 | 279830.4621 | 62.0402 | 75.7
8231 | 2021-02-16 19:16 | 56.6653 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.0848 | μmol/L | 35.4299 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.066 | 222587.1559 | 279815.0243 | 62.0402 | 75.7
8241 | 2021-02-16 19:16 | 56.9987 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.0608 | μmol/L | 35.4422 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.063 | 222547.3619 | 279803.9258 | 62.0402 | 75.7
8251 | 2021-02-16 19:16 | 57.3321 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.9412 | μmol/L | 35.4668 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 21.062 | 222502.6198 | 279785.6588 | 62.0402 | 75.7