## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4597 | 2021-02-16 13:29 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.1256 | μmol/L | 15.7587 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 21.916 | 183445.9248 | 311993.0878 | 59.9307 | 38.1
4613 | 2021-02-16 15:06 | 96.3106 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.6238 | μmol/L | 29.1161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.774 | 167122.4263 | 308924.4893 | 59.9307 | 38.1
4622 | 2021-02-16 15:06 | 96.6489 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.7839 | μmol/L | 29.1038 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.77 | 167113.6093 | 308910.2303 | 59.9307 | 38.1
4632 | 2021-02-16 15:06 | 96.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.4849 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.771 | 167122.217 | 308884.6931 | 59.9307 | 38.1
4642 | 2021-02-16 15:07 | 97.3153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.4852 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.769 | 167115.6646 | 308878.7619 | 59.9307 | 38.1
4652 | 2021-02-16 15:07 | 97.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.5451 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.768 | 167087.7509 | 308835.4687 | 59.9307 | 38.1
4662 | 2021-02-16 15:07 | 97.9819 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.3259 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.769 | 167098.1598 | 308825.6634 | 59.9307 | 38.1
4672 | 2021-02-16 15:08 | 98.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.4437 | μmol/L | 29.1283 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.779 | 167165.8515 | 308802.6634 | 59.9307 | 38.1
4682 | 2021-02-16 15:08 | 98.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.8645 | μmol/L | 29.1712 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.794 | 167270.4636 | 308783.3656 | 59.9307 | 38.1
4693 | 2021-02-16 15:08 | 98.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.9234 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.799 | 167334.4007 | 308776.2287 | 59.9307 | 38.1
4702 | 2021-02-16 15:09 | 99.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.904 | μmol/L | 29.1589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.796 | 167283.3526 | 308749.6799 | 59.9307 | 38.1
4713 | 2021-02-16 15:09 | 99.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.0633 | μmol/L | 29.1406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.794 | 167234.7289 | 308739.0294 | 59.9307 | 38.1
4722 | 2021-02-16 15:09 | 99.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.8042 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.799 | 167218.4608 | 308712.9165 | 59.9307 | 38.1
4732 | 2021-02-16 15:10 | 100.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.9049 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.79 | 167141.2629 | 308711.9552 | 59.9307 | 38.1
4743 | 2021-02-16 15:10 | 100.6486 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.7256 | μmol/L | 29.1957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.793 | 167152.0135 | 308683.6608 | 59.9307 | 38.1
4753 | 2021-02-16 15:10 | 100.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 218.0257 | μmol/L | 29.1896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.78 | 167052.9524 | 308659.9433 | 59.9307 | 38.1
4762 | 2021-02-16 15:11 | 101.3156 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.5462 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.798 | 167153.2336 | 308643.9798 | 59.9307 | 38.1
4773 | 2021-02-16 15:11 | 101.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.466 | μmol/L | 29.2018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.804 | 167186.8746 | 308632.9348 | 59.9307 | 38.1
4782 | 2021-02-16 15:11 | 101.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.4067 | μmol/L | 29.2141 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.803 | 167197.0827 | 308609.6698 | 59.9307 | 38.1
4792 | 2021-02-16 15:12 | 102.3159 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.4855 | μmol/L | 29.1896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.807 | 167242.2104 | 308580.8561 | 59.9307 | 38.1
4802 | 2021-02-16 15:12 | 102.6488 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.3657 | μmol/L | 29.1896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.813 | 167279.7013 | 308578.8323 | 59.9307 | 38.1
4813 | 2021-02-16 15:12 | 102.9825 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.2856 | μmol/L | 29.1834 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.819 | 167321.4125 | 308556.7867 | 59.9307 | 38.1
4822 | 2021-02-16 15:13 | 103.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.1056 | μmol/L | 29.1712 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.832 | 167409.2496 | 308561.417 | 59.9307 | 38.1
4832 | 2021-02-16 15:13 | 103.6486 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.9268 | μmol/L | 29.1834 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.837 | 167410.6361 | 308543.2782 | 59.9307 | 38.1
4843 | 2021-02-16 15:13 | 103.9824 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.2247 | μmol/L | 29.1589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.83 | 167364.3363 | 308541.1337 | 59.9307 | 38.1
4852 | 2021-02-16 15:14 | 104.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.9871 | μmol/L | 29.1957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.83 | 167339.3271 | 308520.9506 | 59.9307 | 38.1
4862 | 2021-02-16 15:14 | 104.6489 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.9664 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.837 | 167415.9469 | 308506.7307 | 59.9307 | 38.1
4872 | 2021-02-16 15:14 | 104.9819 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.1046 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.84 | 167430.1411 | 308492.7911 | 59.9307 | 38.1
4883 | 2021-02-16 15:15 | 105.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 217.2023 | μmol/L | 29.1038 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.849 | 167494.6222 | 308472.7089 | 59.9307 | 38.1
4893 | 2021-02-16 15:15 | 105.6488 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.9248 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.853 | 167547.377 | 308458.3962 | 59.9307 | 38.1
4902 | 2021-02-16 15:15 | 105.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.5086 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.864 | 167620.5814 | 308447.0604 | 59.9307 | 38.1
4912 | 2021-02-16 15:16 | 106.3156 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.4689 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.866 | 167610.8454 | 308432.9711 | 59.9307 | 38.1
4922 | 2021-02-16 15:16 | 106.6494 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.7466 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.856 | 167511.4385 | 308419.2047 | 59.9307 | 38.1
4933 | 2021-02-16 15:16 | 106.9824 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.8649 | μmol/L | 29.1283 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.858 | 167508.9711 | 308410.8927 | 59.9307 | 38.1
4943 | 2021-02-16 15:17 | 107.316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.7662 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.857 | 167513.6931 | 308385.2434 | 59.9307 | 38.1
4952 | 2021-02-16 15:17 | 107.6488 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.3289 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.883 | 167711.6928 | 308386.3797 | 59.9307 | 38.1
4963 | 2021-02-16 15:17 | 107.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1906 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.886 | 167715.2175 | 308367.5856 | 59.9307 | 38.1
4972 | 2021-02-16 15:18 | 108.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1703 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.891 | 167780.038 | 308354.302 | 59.9307 | 38.1
4983 | 2021-02-16 15:18 | 108.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1315 | μmol/L | 29.1589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.885 | 167682.6599 | 308352.4802 | 59.9307 | 38.1
4992 | 2021-02-16 15:18 | 108.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1305 | μmol/L | 29.1283 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.895 | 167750.3663 | 308321.0318 | 59.9307 | 38.1
5003 | 2021-02-16 15:19 | 109.3159 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.2692 | μmol/L | 29.1283 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.888 | 167717.6662 | 308314.7244 | 59.9307 | 38.1
5012 | 2021-02-16 15:19 | 109.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.8734 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.906 | 167820.0943 | 308299.2114 | 59.9307 | 38.1
5023 | 2021-02-16 15:19 | 109.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1105 | μmol/L | 29.1222 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.898 | 167791.0705 | 308286.4622 | 59.9307 | 38.1
5032 | 2021-02-16 15:20 | 110.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1886 | μmol/L | 29.0915 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.904 | 167792.9051 | 308274.3185 | 59.9307 | 38.1
5042 | 2021-02-16 15:20 | 110.6486 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.9723 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.901 | 167771.1909 | 308259.8167 | 59.9307 | 38.1
5052 | 2021-02-16 15:20 | 110.9821 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.524 | μmol/L | 29.0487 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.901 | 167801.3178 | 308246.6866 | 59.9307 | 38.1
5063 | 2021-02-16 15:21 | 111.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.5421 | μmol/L | 29.0058 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.914 | 167881.0069 | 308235.1918 | 59.9307 | 38.1
5072 | 2021-02-16 15:21 | 111.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.2861 | μmol/L | 29.0487 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.913 | 167878.3687 | 308207.2001 | 59.9307 | 38.1
5082 | 2021-02-16 15:21 | 111.9819 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.246 | μmol/L | 29.0364 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.919 | 167914.9981 | 308204.4959 | 59.9307 | 38.1
5093 | 2021-02-16 15:22 | 112.3156 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.9896 | μmol/L | 29.0609 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.924 | 167934.4642 | 308185.3915 | 59.9307 | 38.1
5102 | 2021-02-16 15:22 | 112.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.7736 | μmol/L | 29.1038 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.921 | 167919.1145 | 308175.6148 | 59.9307 | 38.1
5113 | 2021-02-16 15:22 | 112.9824 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 216.1675 | μmol/L | 29.0548 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.917 | 167860.0859 | 308153.609 | 59.9307 | 38.1
5122 | 2021-02-16 15:23 | 113.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.7344 | μmol/L | 29.1161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.919 | 167874.8988 | 308160.8471 | 59.9307 | 38.1
5132 | 2021-02-16 15:23 | 113.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.7343 | μmol/L | 29.1099 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.921 | 167861.2701 | 308137.8788 | 59.9307 | 38.1
5142 | 2021-02-16 15:23 | 113.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.8321 | μmol/L | 29.0793 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.926 | 167904.69 | 308136.9985 | 59.9307 | 38.1
5152 | 2021-02-16 15:24 | 114.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.872 | μmol/L | 29.0915 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.92 | 167841.7989 | 308116.4379 | 59.9307 | 38.1
5162 | 2021-02-16 15:24 | 114.6488 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.4589 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.923 | 167860.145 | 308112.2655 | 59.9307 | 38.1
5172 | 2021-02-16 15:24 | 114.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.3207 | μmol/L | 29.1406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.932 | 167957.2972 | 308104.4388 | 59.9307 | 38.1
5183 | 2021-02-16 15:25 | 115.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.3404 | μmol/L | 29.1406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.931 | 167927.9473 | 308077.715 | 59.9307 | 38.1
5193 | 2021-02-16 15:25 | 115.6491 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.1631 | μmol/L | 29.1406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.94 | 167989.7927 | 308076.4003 | 59.9307 | 38.1
5203 | 2021-02-16 15:25 | 115.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.045 | μmol/L | 29.1406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.946 | 168021.0675 | 308055.481 | 59.9307 | 38.1
5212 | 2021-02-16 15:26 | 116.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.2018 | μmol/L | 29.1161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.946 | 168036.8255 | 308048.9072 | 59.9307 | 38.1
5223 | 2021-02-16 15:26 | 116.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.2608 | μmol/L | 29.1099 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.945 | 168020.439 | 308028.1182 | 59.9307 | 38.1
5232 | 2021-02-16 15:26 | 116.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.0055 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.95 | 168060.4254 | 308028.1093 | 59.9307 | 38.1
5242 | 2021-02-16 15:27 | 117.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 215.0445 | μmol/L | 29.1222 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.952 | 168066.5972 | 308023.9608 | 59.9307 | 38.1
5252 | 2021-02-16 15:27 | 117.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.6524 | μmol/L | 29.1712 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.956 | 168102.9078 | 307999.2397 | 59.9307 | 38.1
5262 | 2021-02-16 15:27 | 117.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.6521 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.962 | 168146.579 | 308008.1721 | 59.9307 | 38.1
5272 | 2021-02-16 15:28 | 118.316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.9853 | μmol/L | 29.1161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.957 | 168139.8323 | 307983.4985 | 59.9307 | 38.1
5283 | 2021-02-16 15:28 | 118.6491 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.7304 | μmol/L | 29.1406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.962 | 168152.6217 | 307987.5303 | 59.9307 | 38.1
5292 | 2021-02-16 15:28 | 118.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.2995 | μmol/L | 29.1834 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.97 | 168207.1021 | 307961.9427 | 59.9307 | 38.1
5302 | 2021-02-16 15:29 | 119.316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.3189 | μmol/L | 29.1712 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.973 | 168234.5373 | 307950.8737 | 59.9307 | 38.1
5312 | 2021-02-16 15:29 | 119.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.3774 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.976 | 168256.981 | 307941.4901 | 59.9307 | 38.1
5322 | 2021-02-16 15:29 | 119.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.4751 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.977 | 168269.7746 | 307935.8295 | 59.9307 | 38.1
5333 | 2021-02-16 15:30 | 120.316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.9865 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.978 | 168257.3741 | 307911.0007 | 59.9307 | 38.1
5343 | 2021-02-16 15:30 | 120.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.26 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.978 | 168262.444 | 307917.2247 | 59.9307 | 38.1
5352 | 2021-02-16 15:30 | 120.9821 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.1234 | μmol/L | 29.1957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.975 | 168237.1099 | 307908.1022 | 59.9307 | 38.1
5362 | 2021-02-16 15:31 | 121.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.3774 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.976 | 168253.264 | 307890.0129 | 59.9307 | 38.1
5372 | 2021-02-16 15:31 | 121.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 214.0061 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.977 | 168262.7157 | 307890.768 | 59.9307 | 38.1
5383 | 2021-02-16 15:31 | 121.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.8497 | μmol/L | 29.2141 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.983 | 168313.9013 | 307874.3987 | 59.9307 | 38.1
5392 | 2021-02-16 15:32 | 122.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.9471 | μmol/L | 29.1896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.986 | 168319.9751 | 307871.1017 | 59.9307 | 38.1
5403 | 2021-02-16 15:32 | 122.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.6934 | μmol/L | 29.2202 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.989 | 168356.8001 | 307869.1675 | 59.9307 | 38.1
5412 | 2021-02-16 15:32 | 122.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.6738 | μmol/L | 29.2141 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.992 | 168365.4059 | 307848.419 | 59.9307 | 38.1
5423 | 2021-02-16 15:33 | 123.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.3423 | μmol/L | 29.2386 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.001 | 168417.5046 | 307832.3626 | 59.9307 | 38.1
5432 | 2021-02-16 15:33 | 123.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.2644 | μmol/L | 29.2569 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.999 | 168425.0229 | 307819.6581 | 59.9307 | 38.1
5443 | 2021-02-16 15:33 | 123.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.4202 | μmol/L | 29.2263 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.001 | 168452.0101 | 307800.8506 | 59.9307 | 38.1
5453 | 2021-02-16 15:34 | 124.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.1281 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.004 | 168455.5323 | 307810.0302 | 59.9307 | 38.1
5463 | 2021-02-16 15:34 | 124.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.2838 | μmol/L | 29.2447 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.002 | 168444.3362 | 307809.569 | 59.9307 | 38.1
5472 | 2021-02-16 15:34 | 124.9821 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.3034 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.995 | 168359.2057 | 307778.9553 | 59.9307 | 38.1
5482 | 2021-02-16 15:35 | 125.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.2061 | μmol/L | 29.2753 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.996 | 168379.9197 | 307759.5834 | 59.9307 | 38.1
5492 | 2021-02-16 15:35 | 125.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.9919 | μmol/L | 29.2937 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.001 | 168381.8968 | 307761.0002 | 59.9307 | 38.1
5503 | 2021-02-16 15:35 | 125.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.0503 | μmol/L | 29.2876 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20 | 168374.9388 | 307754.0988 | 59.9307 | 38.1
5512 | 2021-02-16 15:36 | 126.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.1476 | μmol/L | 29.2753 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.999 | 168365.3377 | 307743.3897 | 59.9307 | 38.1
5523 | 2021-02-16 15:36 | 126.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 213.1282 | μmol/L | 29.2814 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 19.998 | 168345.7184 | 307738.2559 | 59.9307 | 38.1
5532 | 2021-02-16 15:36 | 126.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.9335 | μmol/L | 29.2876 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.006 | 168371.3333 | 307736.2956 | 59.9307 | 38.1
5542 | 2021-02-16 15:37 | 127.3152 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.8557 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.006 | 168402.7446 | 307724.926 | 59.9307 | 38.1
5553 | 2021-02-16 15:37 | 127.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.603 | μmol/L | 29.3182 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.013 | 168421.728 | 307719.8888 | 59.9307 | 38.1
5562 | 2021-02-16 15:37 | 127.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.7973 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.009 | 168423.3409 | 307717.3372 | 59.9307 | 38.1
5572 | 2021-02-16 15:38 | 128.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.7584 | μmol/L | 29.2876 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.015 | 168469.2256 | 307712.5244 | 59.9307 | 38.1
5582 | 2021-02-16 15:38 | 128.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.603 | μmol/L | 29.3182 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.013 | 168426.3889 | 307696.1696 | 59.9307 | 38.1
5592 | 2021-02-16 15:38 | 128.9824 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.4671 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.026 | 168503.6506 | 307680.2783 | 59.9307 | 38.1
5602 | 2021-02-16 15:39 | 129.3153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5059 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.024 | 168512.4857 | 307669.2437 | 59.9307 | 38.1
5612 | 2021-02-16 15:39 | 129.6491 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.6807 | μmol/L | 29.2753 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.023 | 168502.6902 | 307668.5665 | 59.9307 | 38.1
5622 | 2021-02-16 15:39 | 129.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.3313 | μmol/L | 29.3121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.029 | 168548.3244 | 307652.9586 | 59.9307 | 38.1
5633 | 2021-02-16 15:40 | 130.3156 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5253 | μmol/L | 29.2814 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.029 | 168538.9856 | 307645.6661 | 59.9307 | 38.1
5642 | 2021-02-16 15:40 | 130.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.6807 | μmol/L | 29.2569 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.029 | 168536.3686 | 307632.4225 | 59.9307 | 38.1
5653 | 2021-02-16 15:40 | 130.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5642 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.033 | 168555.8628 | 307633.0219 | 59.9307 | 38.1
5663 | 2021-02-16 15:41 | 131.3161 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2731 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.036 | 168554.9804 | 307616.3917 | 59.9307 | 38.1
5673 | 2021-02-16 15:41 | 131.6491 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.1375 | μmol/L | 29.3121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.039 | 168578.8702 | 307598.6127 | 59.9307 | 38.1
5682 | 2021-02-16 15:41 | 131.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.0987 | μmol/L | 29.3121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.041 | 168602.7644 | 307594.8134 | 59.9307 | 38.1
5693 | 2021-02-16 15:42 | 132.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2345 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.05 | 168641.0365 | 307573.6865 | 59.9307 | 38.1
5703 | 2021-02-16 15:42 | 132.6494 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.3314 | μmol/L | 29.2508 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.049 | 168632.1321 | 307594.0535 | 59.9307 | 38.1
5712 | 2021-02-16 15:42 | 132.9824 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.1183 | μmol/L | 29.2692 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.054 | 168654.0642 | 307565.1608 | 59.9307 | 38.1
5723 | 2021-02-16 15:43 | 133.3161 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5641 | μmol/L | 29.2202 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.047 | 168625.7044 | 307561.4202 | 59.9307 | 38.1
5732 | 2021-02-16 15:43 | 133.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.5835 | μmol/L | 29.2263 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.044 | 168576.8831 | 307560.1232 | 59.9307 | 38.1
5742 | 2021-02-16 15:43 | 133.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.215 | μmol/L | 29.2876 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.043 | 168558.7178 | 307551.1747 | 59.9307 | 38.1
5752 | 2021-02-16 15:44 | 134.316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2344 | μmol/L | 29.2753 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.046 | 168597.0303 | 307538.6731 | 59.9307 | 38.1
5762 | 2021-02-16 15:44 | 134.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.312 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.046 | 168614.5758 | 307537.173 | 59.9307 | 38.1
5772 | 2021-02-16 15:44 | 134.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2539 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.049 | 168618.9147 | 307532.15 | 59.9307 | 38.1
5783 | 2021-02-16 15:45 | 135.3159 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.4477 | μmol/L | 29.2202 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.053 | 168636.0107 | 307506.5946 | 59.9307 | 38.1
5792 | 2021-02-16 15:45 | 135.6489 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.2345 | μmol/L | 29.2386 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.058 | 168649.7464 | 307509.1823 | 59.9307 | 38.1
5803 | 2021-02-16 15:45 | 135.9827 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.9442 | μmol/L | 29.2569 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.067 | 168712.8404 | 307501.6684 | 59.9307 | 38.1
5812 | 2021-02-16 15:46 | 136.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.0022 | μmol/L | 29.2447 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.068 | 168715.0546 | 307499.4627 | 59.9307 | 38.1
5823 | 2021-02-16 15:46 | 136.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.9636 | μmol/L | 29.2386 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.072 | 168728.6972 | 307472.3491 | 59.9307 | 38.1
5833 | 2021-02-16 15:46 | 136.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.1377 | μmol/L | 29.2386 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.063 | 168671.7716 | 307472.3188 | 59.9307 | 38.1
5843 | 2021-02-16 15:47 | 137.316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.0216 | μmol/L | 29.2263 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.073 | 168740.5926 | 307470.7186 | 59.9307 | 38.1
5852 | 2021-02-16 15:47 | 137.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.0023 | μmol/L | 29.2324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.072 | 168732.4107 | 307458.8442 | 59.9307 | 38.1
5863 | 2021-02-16 15:47 | 137.9827 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.983 | μmol/L | 29.2141 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.079 | 168765.1747 | 307447.1556 | 59.9307 | 38.1
5872 | 2021-02-16 15:48 | 138.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.0603 | μmol/L | 29.2202 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.073 | 168709.8289 | 307440.1709 | 59.9307 | 38.1
5883 | 2021-02-16 15:48 | 138.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.0603 | μmol/L | 29.2263 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.071 | 168701.7292 | 307435.5671 | 59.9307 | 38.1
5892 | 2021-02-16 15:48 | 138.9821 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.1958 | μmol/L | 29.2141 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.068 | 168662.6453 | 307423.6201 | 59.9307 | 38.1
5902 | 2021-02-16 15:49 | 139.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.9056 | μmol/L | 29.2202 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.081 | 168772.5476 | 307414.0767 | 59.9307 | 38.1
5912 | 2021-02-16 15:49 | 139.6486 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.1184 | μmol/L | 29.2018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.076 | 168727.0321 | 307409.5574 | 59.9307 | 38.1
5922 | 2021-02-16 15:49 | 139.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.041 | μmol/L | 29.2018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.08 | 168749.2277 | 307408.3701 | 59.9307 | 38.1
5932 | 2021-02-16 15:50 | 140.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.8477 | μmol/L | 29.2202 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.084 | 168767.196 | 307395.9018 | 59.9307 | 38.1
5943 | 2021-02-16 15:50 | 140.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.9056 | μmol/L | 29.2202 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.081 | 168778.216 | 307386.6362 | 59.9307 | 38.1
5952 | 2021-02-16 15:50 | 140.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.732 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.104 | 168949.1985 | 307394.6338 | 59.9307 | 38.1
5962 | 2021-02-16 15:51 | 141.3153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.7127 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.109 | 168960.1593 | 307372.1457 | 59.9307 | 38.1
5972 | 2021-02-16 15:51 | 141.6489 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.7127 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.109 | 168999.8118 | 307358.3099 | 59.9307 | 38.1
5983 | 2021-02-16 15:51 | 141.9827 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.3847 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.112 | 169005.1157 | 307362.5079 | 59.9307 | 38.1
5993 | 2021-02-16 15:52 | 142.3158 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.5584 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.113 | 169037.9625 | 307366.8428 | 59.9307 | 38.1
6002 | 2021-02-16 15:52 | 142.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 212.0411 | μmol/L | 29.1222 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.106 | 168979.3846 | 307352.7243 | 59.9307 | 38.1
6012 | 2021-02-16 15:52 | 142.9825 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.7514 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.113 | 169027.7369 | 307327.9643 | 59.9307 | 38.1
6023 | 2021-02-16 15:53 | 143.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.3078 | μmol/L | 29.1896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.122 | 169095.9186 | 307338.165 | 59.9307 | 38.1
6032 | 2021-02-16 15:53 | 143.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.4428 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.123 | 169090.0768 | 307334.7708 | 59.9307 | 38.1
6043 | 2021-02-16 15:53 | 143.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.3656 | μmol/L | 29.1834 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.121 | 169056.9586 | 307325.4973 | 59.9307 | 38.1
6052 | 2021-02-16 15:54 | 144.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.0575 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.129 | 169101.1224 | 307307.7993 | 59.9307 | 38.1
6063 | 2021-02-16 15:54 | 144.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.1538 | μmol/L | 29.1957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.128 | 169104.5287 | 307313.6036 | 59.9307 | 38.1
6073 | 2021-02-16 15:54 | 144.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.3081 | μmol/L | 29.1467 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.136 | 169158.0458 | 307311.5646 | 59.9307 | 38.1
6083 | 2021-02-16 15:55 | 145.3161 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.4429 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.127 | 169116.5736 | 307290.6674 | 59.9307 | 38.1
6092 | 2021-02-16 15:55 | 145.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.2887 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.131 | 169128.1192 | 307284.9604 | 59.9307 | 38.1
6102 | 2021-02-16 15:55 | 145.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.1541 | μmol/L | 29.1651 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.138 | 169165.7278 | 307267.2937 | 59.9307 | 38.1
6112 | 2021-02-16 15:56 | 146.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.1926 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.14 | 169197.4087 | 307269.7402 | 59.9307 | 38.1
6122 | 2021-02-16 15:56 | 146.6488 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.2888 | μmol/L | 29.1528 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.135 | 169168.1868 | 307264.6254 | 59.9307 | 38.1
6132 | 2021-02-16 15:56 | 146.9826 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.0003 | μmol/L | 29.1589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.148 | 169238.1431 | 307259.3731 | 59.9307 | 38.1
6142 | 2021-02-16 15:57 | 147.3154 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.9233 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.146 | 169246.1581 | 307258.5056 | 59.9307 | 38.1
6152 | 2021-02-16 15:57 | 147.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.7503 | μmol/L | 29.1957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.149 | 169274.585 | 307230.6356 | 59.9307 | 38.1
6162 | 2021-02-16 15:57 | 147.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.9234 | μmol/L | 29.1712 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.148 | 169270.1003 | 307248.6523 | 59.9307 | 38.1
6172 | 2021-02-16 15:58 | 148.3153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 211.1928 | μmol/L | 29.1344 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.146 | 169241.8149 | 307232.6292 | 59.9307 | 38.1
6183 | 2021-02-16 15:58 | 148.6492 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.7503 | μmol/L | 29.1957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.149 | 169265.7445 | 307226.4393 | 59.9307 | 38.1
6193 | 2021-02-16 15:58 | 148.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.7505 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.155 | 169305.5541 | 307228.4003 | 59.9307 | 38.1
6202 | 2021-02-16 15:59 | 149.3153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.712 | μmol/L | 29.1896 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.153 | 169296.6 | 307222.682 | 59.9307 | 38.1
6212 | 2021-02-16 15:59 | 149.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.7697 | μmol/L | 29.1773 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.154 | 169293.1619 | 307210.848 | 59.9307 | 38.1
6222 | 2021-02-16 15:59 | 149.982 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.3663 | μmol/L | 29.2324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.157 | 169298.624 | 307195.5422 | 59.9307 | 38.1
6233 | 2021-02-16 16:00 | 150.3157 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.3858 | μmol/L | 29.2141 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.162 | 169351.8336 | 307193.555 | 59.9307 | 38.1
6242 | 2021-02-16 16:00 | 150.6494 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.4242 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.162 | 169338.2176 | 307181.7486 | 59.9307 | 38.1
6252 | 2021-02-16 16:00 | 150.9823 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.5775 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.154 | 169276.54 | 307175.841 | 59.9307 | 38.1
6262 | 2021-02-16 16:01 | 151.3153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.693 | μmol/L | 29.1712 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.16 | 169322.8628 | 307165.3028 | 59.9307 | 38.1
6273 | 2021-02-16 16:01 | 151.6491 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.4626 | μmol/L | 29.2018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.162 | 169344.1614 | 307172.0037 | 59.9307 | 38.1
6282 | 2021-02-16 16:01 | 151.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.4627 | μmol/L | 29.1957 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.164 | 169347.4657 | 307165.5654 | 59.9307 | 38.1
6292 | 2021-02-16 16:02 | 152.3153 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.983 | μmol/L | 29.2692 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.165 | 169351.2796 | 307160.3721 | 59.9307 | 38.1
6303 | 2021-02-16 16:02 | 152.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.2514 | μmol/L | 29.2324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.163 | 169347.9014 | 307139.3801 | 59.9307 | 38.1
6313 | 2021-02-16 16:02 | 152.9827 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.1555 | μmol/L | 29.2447 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.164 | 169343.9051 | 307132.811 | 59.9307 | 38.1
6322 | 2021-02-16 16:03 | 153.3156 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.0025 | μmol/L | 29.2508 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.17 | 169384.2268 | 307129.9536 | 59.9307 | 38.1
6332 | 2021-02-16 16:03 | 153.6486 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.8872 | μmol/L | 29.2814 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.166 | 169375.2093 | 307126.7792 | 59.9307 | 38.1
6342 | 2021-02-16 16:03 | 153.9825 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.9832 | μmol/L | 29.2569 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.169 | 169381.0005 | 307128.4941 | 59.9307 | 38.1
6352 | 2021-02-16 16:04 | 154.3156 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 210.2136 | μmol/L | 29.2079 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.173 | 169418.2537 | 307114.2437 | 59.9307 | 38.1
6362 | 2021-02-16 16:04 | 154.6494 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.9834 | μmol/L | 29.2508 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.171 | 169400.5169 | 307102.6816 | 59.9307 | 38.1
6372 | 2021-02-16 16:04 | 154.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.8877 | μmol/L | 29.2569 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.174 | 169420.1697 | 307098.9095 | 59.9307 | 38.1
6383 | 2021-02-16 16:05 | 155.316 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.7922 | μmol/L | 29.2569 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.179 | 169447.5666 | 307081.1101 | 59.9307 | 38.1
6393 | 2021-02-16 16:05 | 155.6488 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.2948 | μmol/L | 29.3243 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.183 | 169490.553 | 307081.7693 | 59.9307 | 38.1
6403 | 2021-02-16 16:05 | 155.9827 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.3907 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.186 | 169499.4468 | 307085.0314 | 59.9307 | 38.1
6412 | 2021-02-16 16:06 | 156.3155 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.3717 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.187 | 169518.1579 | 307083.3019 | 59.9307 | 38.1
6423 | 2021-02-16 16:06 | 156.6493 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.3907 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.186 | 169521.3207 | 307067.9776 | 59.9307 | 38.1
6432 | 2021-02-16 16:06 | 156.9821 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.5822 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.188 | 169525.7753 | 307065.0458 | 59.9307 | 38.1
6443 | 2021-02-16 16:07 | 157.3159 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.5822 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.188 | 169519.5884 | 307056.7021 | 59.9307 | 38.1
6452 | 2021-02-16 16:07 | 157.649 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.5632 | μmol/L | 29.2631 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.189 | 169544.5792 | 307057.2584 | 59.9307 | 38.1
6463 | 2021-02-16 16:07 | 157.9827 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.1045 | μmol/L | 29.3243 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.193 | 169554.5304 | 307046.1363 | 59.9307 | 38.1
6473 | 2021-02-16 16:08 | 158.3159 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.0858 | μmol/L | 29.3121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.198 | 169575.6257 | 307037.3707 | 59.9307 | 38.1
6482 | 2021-02-16 16:08 | 158.6487 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.1434 | μmol/L | 29.2937 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.201 | 169617.089 | 307033.9601 | 59.9307 | 38.1
6492 | 2021-02-16 16:08 | 158.9825 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.4102 | μmol/L | 29.2814 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.191 | 169546.5571 | 307025.4492 | 59.9307 | 38.1
6503 | 2021-02-16 16:09 | 159.3161 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.1816 | μmol/L | 29.2876 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.201 | 169593.9073 | 307009.7926 | 59.9307 | 38.1
6512 | 2021-02-16 16:09 | 159.6488 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 209.0672 | μmol/L | 29.2998 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.203 | 169613.4942 | 307017.2634 | 59.9307 | 38.1
6523 | 2021-02-16 16:09 | 159.9822 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 208.8768 | μmol/L | 29.3121 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 20.209 | 169659.9978 | 307012.5671 | 59.9307 | 38.1