## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4598 | 2021-02-16 13:29 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 283.0573 | μmol/L | 16.1691 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.742 | 159161.4408 | 224359.3659 | 27.3 | 43.4
4614 | 2021-02-16 15:06 | 96.2708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.9975 | μmol/L | 29.3015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.059 | 140395.1627 | 222261.4101 | 27.3 | 43.4
4624 | 2021-02-16 15:06 | 96.6023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.8848 | μmol/L | 29.3138 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.06 | 140418.588 | 222270.1905 | 27.3 | 43.4
4634 | 2021-02-16 15:06 | 96.9353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.5919 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.061 | 140393.2952 | 222255.1217 | 27.3 | 43.4
4644 | 2021-02-16 15:07 | 97.2683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.5469 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.061 | 140347.1971 | 222249.076 | 27.3 | 43.4
4654 | 2021-02-16 15:07 | 97.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.682 | μmol/L | 29.3322 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.063 | 140333.9126 | 222227.8761 | 27.3 | 43.4
4664 | 2021-02-16 15:07 | 97.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.9975 | μmol/L | 29.2893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.063 | 140299.6719 | 222224.0027 | 27.3 | 43.4
4674 | 2021-02-16 15:08 | 98.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.0877 | μmol/L | 29.277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.063 | 140259.6887 | 222213.9242 | 27.3 | 43.4
4684 | 2021-02-16 15:08 | 98.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.9074 | μmol/L | 29.2954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.065 | 140256.7339 | 222189.2061 | 27.3 | 43.4
4694 | 2021-02-16 15:08 | 98.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7046 | μmol/L | 29.3138 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.068 | 140273.471 | 222165.417 | 27.3 | 43.4
4704 | 2021-02-16 15:09 | 99.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.4121 | μmol/L | 29.3383 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.073 | 140295.8247 | 222167.9874 | 27.3 | 43.4
4714 | 2021-02-16 15:09 | 99.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.4796 | μmol/L | 29.3199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.076 | 140291.9135 | 222157.5196 | 27.3 | 43.4
4724 | 2021-02-16 15:09 | 99.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.2998 | μmol/L | 29.3322 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.08 | 140282.2386 | 222140.3106 | 27.3 | 43.4
4734 | 2021-02-16 15:10 | 100.2686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1648 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.08 | 140314.5723 | 222136.6689 | 27.3 | 43.4
4744 | 2021-02-16 15:10 | 100.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.8055 | μmol/L | 29.3812 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.086 | 140294.1647 | 222130.1263 | 27.3 | 43.4
4754 | 2021-02-16 15:10 | 100.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0076 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.083 | 140317.4185 | 222111.0772 | 27.3 | 43.4
4764 | 2021-02-16 15:11 | 101.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1878 | μmol/L | 29.3015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.095 | 140331.5019 | 222111.1561 | 27.3 | 43.4
4774 | 2021-02-16 15:11 | 101.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0305 | μmol/L | 29.326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.094 | 140330.7285 | 222094.2647 | 27.3 | 43.4
4784 | 2021-02-16 15:11 | 101.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.604 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.097 | 140340.4404 | 222088.4332 | 27.3 | 43.4
4794 | 2021-02-16 15:12 | 102.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.7613 | μmol/L | 29.3383 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.102 | 140370.0179 | 222068.3043 | 27.3 | 43.4
4804 | 2021-02-16 15:12 | 102.6017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.7839 | μmol/L | 29.326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.105 | 140365.5251 | 222061.5239 | 27.3 | 43.4
4814 | 2021-02-16 15:12 | 102.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.9411 | μmol/L | 29.2954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.108 | 140378.9179 | 222056.8995 | 27.3 | 43.4
4824 | 2021-02-16 15:13 | 103.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.9634 | μmol/L | 29.3077 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.103 | 140322.9568 | 222032.6913 | 27.3 | 43.4
4834 | 2021-02-16 15:13 | 103.6017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.233 | μmol/L | 29.2586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.107 | 140307.4597 | 222030.0177 | 27.3 | 43.4
4844 | 2021-02-16 15:13 | 103.9354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.9188 | μmol/L | 29.2893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.111 | 140347.8071 | 222032.5912 | 27.3 | 43.4
4854 | 2021-02-16 15:14 | 104.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0761 | μmol/L | 29.2525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.116 | 140395.7851 | 222016.9266 | 27.3 | 43.4
4864 | 2021-02-16 15:14 | 104.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0762 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.12 | 140386.9625 | 222006.5755 | 27.3 | 43.4
4874 | 2021-02-16 15:14 | 104.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.3457 | μmol/L | 29.1974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.122 | 140396.8369 | 222004.1022 | 27.3 | 43.4
4884 | 2021-02-16 15:15 | 105.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.3234 | μmol/L | 29.179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.129 | 140428.474 | 221985.957 | 27.3 | 43.4
4894 | 2021-02-16 15:15 | 105.6023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.8075 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.134 | 140440.8399 | 221978.3309 | 27.3 | 43.4
4904 | 2021-02-16 15:15 | 105.9351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.5832 | μmol/L | 29.277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.13 | 140405.4762 | 221971.9389 | 27.3 | 43.4
4914 | 2021-02-16 15:16 | 106.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.337 | μmol/L | 29.2954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.135 | 140428.7601 | 221965.2895 | 27.3 | 43.4
4924 | 2021-02-16 15:16 | 106.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.9199 | μmol/L | 29.1974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.141 | 140453.67 | 221961.0418 | 27.3 | 43.4
4934 | 2021-02-16 15:16 | 106.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.5614 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.143 | 140486.461 | 221947.886 | 27.3 | 43.4
4944 | 2021-02-16 15:17 | 107.2691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.0917 | μmol/L | 29.2831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.15 | 140507.0262 | 221943.3951 | 27.3 | 43.4
4954 | 2021-02-16 15:17 | 107.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.0027 | μmol/L | 29.277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.156 | 140547.0097 | 221932.1614 | 27.3 | 43.4
4964 | 2021-02-16 15:17 | 107.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.2933 | μmol/L | 29.2464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.153 | 140524.4008 | 221917.5782 | 27.3 | 43.4
4974 | 2021-02-16 15:18 | 108.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.4726 | μmol/L | 29.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.159 | 140523.0596 | 221925.5141 | 27.3 | 43.4
4984 | 2021-02-16 15:18 | 108.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.4279 | μmol/L | 29.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.161 | 140573.1905 | 221918.1555 | 27.3 | 43.4
4994 | 2021-02-16 15:18 | 108.9351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.9367 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.173 | 140647.2628 | 221902.1828 | 27.3 | 43.4
5004 | 2021-02-16 15:19 | 109.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.6022 | μmol/L | 29.2648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.178 | 140650.1191 | 221886.2749 | 27.3 | 43.4
5014 | 2021-02-16 15:19 | 109.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.7138 | μmol/L | 29.2464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.179 | 140666.6544 | 221876.6659 | 27.3 | 43.4
5024 | 2021-02-16 15:19 | 109.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.7364 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.182 | 140672.0349 | 221868.1835 | 27.3 | 43.4
5034 | 2021-02-16 15:20 | 110.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.6475 | μmol/L | 29.228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.188 | 140690.9159 | 221862.9648 | 27.3 | 43.4
5044 | 2021-02-16 15:20 | 110.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.7592 | μmol/L | 29.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.189 | 140685.2499 | 221844.1991 | 27.3 | 43.4
5054 | 2021-02-16 15:20 | 110.9353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.6923 | μmol/L | 29.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.19 | 140699.5961 | 221851.8973 | 27.3 | 43.4
5064 | 2021-02-16 15:21 | 111.269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.8707 | μmol/L | 29.1974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.188 | 140702.1405 | 221838.8463 | 27.3 | 43.4
5074 | 2021-02-16 15:21 | 111.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.0496 | μmol/L | 29.1606 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.192 | 140698.4046 | 221835.2275 | 27.3 | 43.4
5084 | 2021-02-16 15:21 | 111.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.871 | μmol/L | 29.1851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.192 | 140701.6985 | 221822.625 | 27.3 | 43.4
5094 | 2021-02-16 15:22 | 112.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.7593 | μmol/L | 29.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.191 | 140684.9904 | 221805.1105 | 27.3 | 43.4
5104 | 2021-02-16 15:22 | 112.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.648 | μmol/L | 29.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.194 | 140696.4197 | 221793.3021 | 27.3 | 43.4
5114 | 2021-02-16 15:22 | 112.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.5368 | μmol/L | 29.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.199 | 140699.4235 | 221802.867 | 27.3 | 43.4
5124 | 2021-02-16 15:23 | 113.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.5145 | μmol/L | 29.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.198 | 140689.2746 | 221780.7855 | 27.3 | 43.4
5134 | 2021-02-16 15:23 | 113.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.3585 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.199 | 140729.6135 | 221790.6218 | 27.3 | 43.4
5144 | 2021-02-16 15:23 | 113.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.27 | μmol/L | 29.2219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.207 | 140749.2177 | 221781.675 | 27.3 | 43.4
5154 | 2021-02-16 15:24 | 114.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.4039 | μmol/L | 29.1974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.209 | 140745.1117 | 221764.617 | 27.3 | 43.4
5164 | 2021-02-16 15:24 | 114.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.2927 | μmol/L | 29.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.212 | 140776.1031 | 221764.7507 | 27.3 | 43.4
5174 | 2021-02-16 15:24 | 114.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.4042 | μmol/L | 29.1851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.213 | 140762.9522 | 221758.3637 | 27.3 | 43.4
5184 | 2021-02-16 15:25 | 115.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.382 | μmol/L | 29.1851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.214 | 140804.1775 | 221742.7532 | 27.3 | 43.4
5194 | 2021-02-16 15:25 | 115.6016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.4045 | μmol/L | 29.1728 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.217 | 140818.1868 | 221743.2357 | 27.3 | 43.4
5204 | 2021-02-16 15:25 | 115.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.982 | μmol/L | 29.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.222 | 140830.9286 | 221729.1667 | 27.3 | 43.4
5214 | 2021-02-16 15:26 | 116.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.9377 | μmol/L | 29.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.224 | 140849.0599 | 221721.5399 | 27.3 | 43.4
5224 | 2021-02-16 15:26 | 116.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.7823 | μmol/L | 29.228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.227 | 140834.0387 | 221715.0743 | 27.3 | 43.4
5234 | 2021-02-16 15:26 | 116.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.7161 | μmol/L | 29.2219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.232 | 140876.454 | 221709.8245 | 27.3 | 43.4
5244 | 2021-02-16 15:27 | 117.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.6494 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.231 | 140868.0432 | 221697.7503 | 27.3 | 43.4
5254 | 2021-02-16 15:27 | 117.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.5828 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.232 | 140869.5582 | 221692.191 | 27.3 | 43.4
5264 | 2021-02-16 15:27 | 117.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.6053 | μmol/L | 29.228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.235 | 140850.0618 | 221688.9967 | 27.3 | 43.4
5274 | 2021-02-16 15:28 | 118.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.5386 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.234 | 140880.5527 | 221665.7231 | 27.3 | 43.4
5284 | 2021-02-16 15:28 | 118.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.2282 | μmol/L | 29.2709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.238 | 140895.8431 | 221665.8184 | 27.3 | 43.4
5294 | 2021-02-16 15:28 | 118.9353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.3172 | μmol/L | 29.2525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.24 | 140900.8217 | 221668.2231 | 27.3 | 43.4
5304 | 2021-02-16 15:29 | 119.2683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.4283 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.241 | 140914.453 | 221652.8851 | 27.3 | 43.4
5314 | 2021-02-16 15:29 | 119.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.0738 | μmol/L | 29.2709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.245 | 140911.6713 | 221646.8348 | 27.3 | 43.4
5324 | 2021-02-16 15:29 | 119.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.0294 | μmol/L | 29.277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.245 | 140942.208 | 221640.5581 | 27.3 | 43.4
5334 | 2021-02-16 15:30 | 120.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.7416 | μmol/L | 29.3077 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.248 | 140934.5745 | 221623.2749 | 27.3 | 43.4
5344 | 2021-02-16 15:30 | 120.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.7201 | μmol/L | 29.2954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.253 | 140947.5986 | 221617.8266 | 27.3 | 43.4
5354 | 2021-02-16 15:30 | 120.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.8308 | μmol/L | 29.2831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.252 | 140968.0573 | 221610.5502 | 27.3 | 43.4
5364 | 2021-02-16 15:31 | 121.2686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.6541 | μmol/L | 29.2954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.256 | 141002.2375 | 221602.8471 | 27.3 | 43.4
5374 | 2021-02-16 15:31 | 121.6023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.5878 | μmol/L | 29.3015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.257 | 140995.6811 | 221599.0399 | 27.3 | 43.4
5384 | 2021-02-16 15:31 | 121.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.4998 | μmol/L | 29.3015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.261 | 141042.7311 | 221603.6658 | 27.3 | 43.4
5394 | 2021-02-16 15:32 | 122.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.7878 | μmol/L | 29.2586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.262 | 141027.9222 | 221592.1492 | 27.3 | 43.4
5404 | 2021-02-16 15:32 | 122.6017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.4784 | μmol/L | 29.2893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.266 | 141029.1667 | 221590.5279 | 27.3 | 43.4
5414 | 2021-02-16 15:32 | 122.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.2126 | μmol/L | 29.3322 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.264 | 141051.2859 | 221587.9772 | 27.3 | 43.4
5424 | 2021-02-16 15:33 | 123.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.9254 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.265 | 141038.0788 | 221572.7409 | 27.3 | 43.4
5434 | 2021-02-16 15:33 | 123.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.1239 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.262 | 141032.7886 | 221569.7424 | 27.3 | 43.4
5444 | 2021-02-16 15:33 | 123.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.788 | μmol/L | 29.2525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.264 | 141038.666 | 221556.087 | 27.3 | 43.4
5454 | 2021-02-16 15:34 | 124.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.5004 | μmol/L | 29.2893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.265 | 141037.427 | 221562.2354 | 27.3 | 43.4
5464 | 2021-02-16 15:34 | 124.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.0803 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.266 | 141025.993 | 221544.6772 | 27.3 | 43.4
5474 | 2021-02-16 15:34 | 124.9354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.9483 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.27 | 141056.9229 | 221540.552 | 27.3 | 43.4
5484 | 2021-02-16 15:35 | 125.2683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.6425 | μmol/L | 29.3322 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.29 | 141208.3575 | 221541.3956 | 27.3 | 43.4
5494 | 2021-02-16 15:35 | 125.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.5108 | μmol/L | 29.3383 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.294 | 141228.666 | 221532.9082 | 27.3 | 43.4
5504 | 2021-02-16 15:35 | 125.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.2029 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.298 | 141259.8139 | 221522.4282 | 27.3 | 43.4
5514 | 2021-02-16 15:36 | 126.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.1593 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.3 | 141251.7987 | 221512.2727 | 27.3 | 43.4
5524 | 2021-02-16 15:36 | 126.6023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.3574 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.299 | 141254.066 | 221503.6085 | 27.3 | 43.4
5534 | 2021-02-16 15:36 | 126.9351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.2477 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.302 | 141251.248 | 221500.115 | 27.3 | 43.4
5544 | 2021-02-16 15:37 | 127.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.4015 | μmol/L | 29.3383 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.299 | 141283.2461 | 221487.3258 | 27.3 | 43.4
5554 | 2021-02-16 15:37 | 127.6017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.5337 | μmol/L | 29.3199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.299 | 141256.1723 | 221486.6409 | 27.3 | 43.4
5564 | 2021-02-16 15:37 | 127.9353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.5341 | μmol/L | 29.3138 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.301 | 141273.4903 | 221470.6126 | 27.3 | 43.4
5574 | 2021-02-16 15:38 | 128.269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.16 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.304 | 141274.6673 | 221474.0436 | 27.3 | 43.4
5584 | 2021-02-16 15:38 | 128.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.0504 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.307 | 141268.1736 | 221466.7282 | 27.3 | 43.4
5594 | 2021-02-16 15:38 | 128.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.7423 | μmol/L | 29.4057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.307 | 141280.3796 | 221462.3913 | 27.3 | 43.4
5604 | 2021-02-16 15:39 | 129.2683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.7637 | μmol/L | 29.4119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.304 | 141290.3825 | 221452.37 | 27.3 | 43.4
5614 | 2021-02-16 15:39 | 129.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.7427 | μmol/L | 29.3996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.309 | 141296.0278 | 221440.6431 | 27.3 | 43.4
5624 | 2021-02-16 15:39 | 129.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.4793 | μmol/L | 29.4302 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.311 | 141302.01 | 221446.4389 | 27.3 | 43.4
5634 | 2021-02-16 15:40 | 130.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.5241 | μmol/L | 29.4119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.315 | 141304.518 | 221437.4067 | 27.3 | 43.4
5644 | 2021-02-16 15:40 | 130.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.283 | μmol/L | 29.4364 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.318 | 141326.1528 | 221426.6205 | 27.3 | 43.4
5654 | 2021-02-16 15:40 | 130.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.4156 | μmol/L | 29.4057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.322 | 141348.5732 | 221418.8325 | 27.3 | 43.4
5664 | 2021-02-16 15:41 | 131.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.4382 | μmol/L | 29.3935 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.325 | 141366.5871 | 221409.2067 | 27.3 | 43.4
5674 | 2021-02-16 15:41 | 131.6023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.1312 | μmol/L | 29.4302 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.327 | 141355.0569 | 221411.3868 | 27.3 | 43.4
5684 | 2021-02-16 15:41 | 131.9351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.1542 | μmol/L | 29.4119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.332 | 141386.6905 | 221398.8801 | 27.3 | 43.4
5694 | 2021-02-16 15:42 | 132.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.1334 | μmol/L | 29.3996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.337 | 141433.6179 | 221397.9314 | 27.3 | 43.4
5704 | 2021-02-16 15:42 | 132.6017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.0899 | μmol/L | 29.3996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.339 | 141472.2361 | 221392.19 | 27.3 | 43.4
5714 | 2021-02-16 15:42 | 132.9353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.0026 | μmol/L | 29.4057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.341 | 141476.1878 | 221388.3409 | 27.3 | 43.4
5724 | 2021-02-16 15:43 | 133.2691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.6099 | μmol/L | 29.4364 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.349 | 141505.532 | 221377.8271 | 27.3 | 43.4
5734 | 2021-02-16 15:43 | 133.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8507 | μmol/L | 29.4057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.348 | 141509.8661 | 221368.086 | 27.3 | 43.4
5744 | 2021-02-16 15:43 | 133.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9397 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.354 | 141543.1456 | 221366.6457 | 27.3 | 43.4
5754 | 2021-02-16 15:44 | 134.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.2032 | μmol/L | 29.3322 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.356 | 141570.5157 | 221357.6599 | 27.3 | 43.4
5764 | 2021-02-16 15:44 | 134.6021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9415 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.362 | 141594.183 | 221352.4289 | 27.3 | 43.4
5774 | 2021-02-16 15:44 | 134.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8547 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.366 | 141603.1896 | 221357.1917 | 27.3 | 43.4
5784 | 2021-02-16 15:45 | 135.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.7026 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.371 | 141642.3293 | 221352.1945 | 27.3 | 43.4
5794 | 2021-02-16 15:45 | 135.6017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9445 | μmol/L | 29.3077 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.376 | 141671.1277 | 221336.5938 | 27.3 | 43.4
5804 | 2021-02-16 15:45 | 135.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.5943 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.376 | 141682.1146 | 221338.0475 | 27.3 | 43.4
5814 | 2021-02-16 15:46 | 136.2683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.4851 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.377 | 141674.0507 | 221325.9029 | 27.3 | 43.4
5824 | 2021-02-16 15:46 | 136.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.7265 | μmol/L | 29.326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.38 | 141720.9178 | 221328.5573 | 27.3 | 43.4
5834 | 2021-02-16 15:46 | 136.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9025 | μmol/L | 29.2893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.384 | 141726.1547 | 221325.2703 | 27.3 | 43.4
5844 | 2021-02-16 15:47 | 137.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9696 | μmol/L | 29.2586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.391 | 141750.1117 | 221322.6146 | 27.3 | 43.4
5854 | 2021-02-16 15:47 | 137.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.883 | μmol/L | 29.2586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.395 | 141774.6728 | 221308.7498 | 27.3 | 43.4
5864 | 2021-02-16 15:47 | 137.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.1464 | μmol/L | 29.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.399 | 141805.6521 | 221296.0156 | 27.3 | 43.4
5874 | 2021-02-16 15:48 | 138.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8842 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.401 | 141810.0023 | 221293.747 | 27.3 | 43.4
5884 | 2021-02-16 15:48 | 138.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.7534 | μmol/L | 29.2525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.403 | 141830.1361 | 221277.0767 | 27.3 | 43.4
5894 | 2021-02-16 15:48 | 138.9351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.3389 | μmol/L | 29.3015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.406 | 141855.0575 | 221285.3226 | 27.3 | 43.4
5904 | 2021-02-16 15:49 | 139.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.2093 | μmol/L | 29.3015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.412 | 141874.9444 | 221281.1263 | 27.3 | 43.4
5914 | 2021-02-16 15:49 | 139.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.276 | μmol/L | 29.277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.417 | 141893.7754 | 221270.0293 | 27.3 | 43.4
5924 | 2021-02-16 15:49 | 139.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.6042 | μmol/L | 29.2219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.42 | 141929.5352 | 221264.73 | 27.3 | 43.4
5934 | 2021-02-16 15:50 | 140.2686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.3863 | μmol/L | 29.2464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.422 | 141934.2265 | 221274.0787 | 27.3 | 43.4
5944 | 2021-02-16 15:50 | 140.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.2999 | μmol/L | 29.2464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.426 | 141947.1059 | 221257.7825 | 27.3 | 43.4
5954 | 2021-02-16 15:50 | 140.9353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.1479 | μmol/L | 29.2586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.429 | 141973.5272 | 221250.2137 | 27.3 | 43.4
5964 | 2021-02-16 15:51 | 141.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.9528 | μmol/L | 29.2709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.434 | 141980.7622 | 221260.5934 | 27.3 | 43.4
5974 | 2021-02-16 15:51 | 141.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.018 | μmol/L | 29.2648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.433 | 142010.8286 | 221258.0112 | 27.3 | 43.4
5984 | 2021-02-16 15:51 | 141.9354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.9317 | μmol/L | 29.2648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.437 | 142022.7482 | 221241.0151 | 27.3 | 43.4
5994 | 2021-02-16 15:52 | 142.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.9327 | μmol/L | 29.2525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.441 | 142030.3074 | 221225.03 | 27.3 | 43.4
6004 | 2021-02-16 15:52 | 142.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.9983 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.442 | 142051.7688 | 221230.5631 | 27.3 | 43.4
6014 | 2021-02-16 15:52 | 142.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.064 | μmol/L | 29.228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.443 | 142075.0984 | 221227.0505 | 27.3 | 43.4
6024 | 2021-02-16 15:53 | 143.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.2177 | μmol/L | 29.1912 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.448 | 142086.2736 | 221225.9359 | 27.3 | 43.4
6034 | 2021-02-16 15:53 | 143.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.0654 | μmol/L | 29.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.449 | 142103.9962 | 221219.2231 | 27.3 | 43.4
6044 | 2021-02-16 15:53 | 143.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.0668 | μmol/L | 29.1912 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.455 | 142134.9998 | 221214.487 | 27.3 | 43.4
6054 | 2021-02-16 15:54 | 144.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.9146 | μmol/L | 29.2096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.456 | 142128.346 | 221209.1498 | 27.3 | 43.4
6064 | 2021-02-16 15:54 | 144.6017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.6538 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.458 | 142147.5788 | 221201.6805 | 27.3 | 43.4
6074 | 2021-02-16 15:54 | 144.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.872 | μmol/L | 29.2035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.46 | 142147.4847 | 221205.4719 | 27.3 | 43.4
6084 | 2021-02-16 15:55 | 145.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.6988 | μmol/L | 29.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.464 | 142176.8106 | 221186.6949 | 27.3 | 43.4
6094 | 2021-02-16 15:55 | 145.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.6113 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.462 | 142181.0442 | 221186.3187 | 27.3 | 43.4
6104 | 2021-02-16 15:55 | 145.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.6343 | μmol/L | 29.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.467 | 142223.4559 | 221175.4793 | 27.3 | 43.4
6114 | 2021-02-16 15:56 | 146.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.5698 | μmol/L | 29.2157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.47 | 142233.8895 | 221183.376 | 27.3 | 43.4
6124 | 2021-02-16 15:56 | 146.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.4178 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.471 | 142240.7397 | 221173.6774 | 27.3 | 43.4
6134 | 2021-02-16 15:56 | 146.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.4833 | μmol/L | 29.2219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.472 | 142276.3183 | 221167.3761 | 27.3 | 43.4
6144 | 2021-02-16 15:57 | 147.2685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.2241 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.478 | 142275.3964 | 221171.9906 | 27.3 | 43.4
6154 | 2021-02-16 15:57 | 147.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.311 | μmol/L | 29.228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.478 | 142286.1383 | 221162.5888 | 27.3 | 43.4
6164 | 2021-02-16 15:57 | 147.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.246 | μmol/L | 29.2341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.479 | 142293.5795 | 221162.962 | 27.3 | 43.4
6174 | 2021-02-16 15:58 | 148.269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.1168 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.483 | 142312.0395 | 221161.8553 | 27.3 | 43.4
6184 | 2021-02-16 15:58 | 148.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.0525 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.486 | 142340.3109 | 221151.3261 | 27.3 | 43.4
6194 | 2021-02-16 15:58 | 148.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.9453 | μmol/L | 29.2402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.491 | 142367.1689 | 221149.2979 | 27.3 | 43.4
6204 | 2021-02-16 15:59 | 149.2688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.8371 | μmol/L | 29.2525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.492 | 142346.6605 | 221146.834 | 27.3 | 43.4
6214 | 2021-02-16 15:59 | 149.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.8591 | μmol/L | 29.2464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.493 | 142381.888 | 221148.2476 | 27.3 | 43.4
6224 | 2021-02-16 15:59 | 149.9355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.8591 | μmol/L | 29.2464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.493 | 142364.6312 | 221124.2614 | 27.3 | 43.4
6234 | 2021-02-16 16:00 | 150.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.6867 | μmol/L | 29.2586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.497 | 142383.1225 | 221131.2631 | 27.3 | 43.4
6244 | 2021-02-16 16:00 | 150.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.6433 | μmol/L | 29.2648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.497 | 142376.9879 | 221122.0791 | 27.3 | 43.4
6254 | 2021-02-16 16:00 | 150.9351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.5572 | μmol/L | 29.2709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.499 | 142405.0448 | 221110.9732 | 27.3 | 43.4
6264 | 2021-02-16 16:01 | 151.269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.4925 | μmol/L | 29.277 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.5 | 142397.7636 | 221098.882 | 27.3 | 43.4
6274 | 2021-02-16 16:01 | 151.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.4278 | μmol/L | 29.2831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.501 | 142421.1156 | 221099.1382 | 27.3 | 43.4
6284 | 2021-02-16 16:01 | 151.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.3406 | μmol/L | 29.3015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.499 | 142420.839 | 221096.9638 | 27.3 | 43.4
6294 | 2021-02-16 16:02 | 152.2686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.0819 | μmol/L | 29.326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.503 | 142423.3584 | 221103.891 | 27.3 | 43.4
6304 | 2021-02-16 16:02 | 152.6022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.0393 | μmol/L | 29.326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.505 | 142454.1086 | 221102.7275 | 27.3 | 43.4
6314 | 2021-02-16 16:02 | 152.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.0405 | μmol/L | 29.3138 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.509 | 142461.583 | 221091.4955 | 27.3 | 43.4
6324 | 2021-02-16 16:03 | 153.269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.9539 | μmol/L | 29.326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.509 | 142447.3526 | 221078.888 | 27.3 | 43.4
6334 | 2021-02-16 16:03 | 153.6018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.7596 | μmol/L | 29.3506 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.51 | 142480.244 | 221086.0195 | 27.3 | 43.4
6344 | 2021-02-16 16:03 | 153.9356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.7822 | μmol/L | 29.3383 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.513 | 142477.4992 | 221083.5554 | 27.3 | 43.4
6354 | 2021-02-16 16:04 | 154.2686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.9326 | μmol/L | 29.326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.51 | 142463.244 | 221076.63 | 27.3 | 43.4
6364 | 2021-02-16 16:04 | 154.6024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.7816 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.511 | 142486.9859 | 221076.3641 | 27.3 | 43.4
6374 | 2021-02-16 16:04 | 154.9354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.8041 | μmol/L | 29.3322 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.514 | 142494.6007 | 221062.2907 | 27.3 | 43.4
6384 | 2021-02-16 16:05 | 155.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.5029 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.518 | 142500.1286 | 221052.7027 | 27.3 | 43.4
6394 | 2021-02-16 16:05 | 155.6021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.4816 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.519 | 142511.2797 | 221044.0403 | 27.3 | 43.4
6404 | 2021-02-16 16:05 | 155.9351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.481 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.517 | 142508.9187 | 221049.6437 | 27.3 | 43.4
6414 | 2021-02-16 16:06 | 156.2687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.2889 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.524 | 142548.8098 | 221044.8829 | 27.3 | 43.4
6424 | 2021-02-16 16:06 | 156.6016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.2696 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.531 | 142563.5079 | 221038.7879 | 27.3 | 43.4
6434 | 2021-02-16 16:06 | 156.9353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.2902 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.528 | 142573.1723 | 221042.3939 | 27.3 | 43.4
6444 | 2021-02-16 16:07 | 157.269 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.2033 | μmol/L | 29.3812 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.526 | 142581.239 | 221042.7926 | 27.3 | 43.4
6454 | 2021-02-16 16:07 | 157.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.2696 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.531 | 142593.7433 | 221031.3613 | 27.3 | 43.4
6464 | 2021-02-16 16:07 | 157.935 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.1846 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.535 | 142599.1348 | 221024.083 | 27.3 | 43.4
6474 | 2021-02-16 16:08 | 158.2689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.9903 | μmol/L | 29.3873 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.534 | 142635.1178 | 221015.9624 | 27.3 | 43.4
6484 | 2021-02-16 16:08 | 158.6019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.0135 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.539 | 142631.3733 | 221022.521 | 27.3 | 43.4
6494 | 2021-02-16 16:08 | 158.9357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.971 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.541 | 142662.8222 | 221010.4726 | 27.3 | 43.4
6504 | 2021-02-16 16:09 | 159.2684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.865 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.546 | 142679.0533 | 221016.0418 | 27.3 | 43.4
6514 | 2021-02-16 16:09 | 159.602 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.8663 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.55 | 142697.8854 | 221008.6768 | 27.3 | 43.4
6524 | 2021-02-16 16:09 | 159.9352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.6948 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.552 | 142727.7534 | 221014.845 | 27.3 | 43.4