## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 19:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
6536 | 2021-02-16 18:19 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4575 | μmol/L | 33.1341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.077 | 147475.3611 | 220486.7718 | 27.3 | 43.4
6545 | 2021-02-16 18:19 | 0.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4929 | μmol/L | 33.1341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.075 | 147484.0771 | 220501.8002 | 27.3 | 43.4
6555 | 2021-02-16 18:20 | 0.66739 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.5319 | μmol/L | 33.128 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.075 | 147532.8953 | 220535.2849 | 27.3 | 43.4
6565 | 2021-02-16 18:20 | 1.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4787 | μmol/L | 33.128 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.078 | 147564.0529 | 220543.7548 | 27.3 | 43.4
6575 | 2021-02-16 18:20 | 1.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.284 | μmol/L | 33.1587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.078 | 147577.5911 | 220555.5101 | 27.3 | 43.4
6585 | 2021-02-16 18:21 | 1.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2947 | μmol/L | 33.1709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.073 | 147589.8309 | 220559.2387 | 27.3 | 43.4
6595 | 2021-02-16 18:21 | 2.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.1284 | μmol/L | 33.1832 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.078 | 147621.186 | 220571.4941 | 27.3 | 43.4
6605 | 2021-02-16 18:21 | 2.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.994 | μmol/L | 33.2016 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.079 | 147646.5295 | 220587.0821 | 27.3 | 43.4
6615 | 2021-02-16 18:22 | 2.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.0859 | μmol/L | 33.1955 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.076 | 147665.4029 | 220591.0121 | 27.3 | 43.4
6625 | 2021-02-16 18:22 | 3.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.9338 | μmol/L | 33.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.078 | 147681.0794 | 220579.3707 | 27.3 | 43.4
6635 | 2021-02-16 18:22 | 3.3341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.591 | μmol/L | 33.2568 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.082 | 147729.9578 | 220585.5608 | 27.3 | 43.4
6645 | 2021-02-16 18:23 | 3.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4957 | μmol/L | 33.2691 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.083 | 147730.0391 | 220578.8061 | 27.3 | 43.4
6655 | 2021-02-16 18:23 | 4.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.2838 | μmol/L | 33.2998 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.084 | 147766.1575 | 220584.1533 | 27.3 | 43.4
6665 | 2021-02-16 18:23 | 4.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1357 | μmol/L | 33.3121 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.088 | 147773.6532 | 220594.0232 | 27.3 | 43.4
6675 | 2021-02-16 18:24 | 4.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9943 | μmol/L | 33.3427 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.085 | 147773.8456 | 220583.7798 | 27.3 | 43.4
6685 | 2021-02-16 18:24 | 5.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8742 | μmol/L | 33.3673 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.083 | 147789.3499 | 220586.6672 | 27.3 | 43.4
6695 | 2021-02-16 18:24 | 5.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8141 | μmol/L | 33.3795 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.082 | 147793.4128 | 220584.7018 | 27.3 | 43.4
6705 | 2021-02-16 18:25 | 5.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.5536 | μmol/L | 33.4041 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.088 | 147829.7475 | 220576.1013 | 27.3 | 43.4
6715 | 2021-02-16 18:25 | 6.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.4409 | μmol/L | 33.4164 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.09 | 147840.5817 | 220569.8565 | 27.3 | 43.4
6725 | 2021-02-16 18:25 | 6.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.2083 | μmol/L | 33.4532 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.09 | 147853.3386 | 220570.1285 | 27.3 | 43.4
6735 | 2021-02-16 18:26 | 6.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.092 | μmol/L | 33.4716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.09 | 147868.4696 | 220545.2896 | 27.3 | 43.4
6745 | 2021-02-16 18:26 | 7.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.9894 | μmol/L | 33.4961 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.087 | 147836.1741 | 220556.7261 | 27.3 | 43.4
6755 | 2021-02-16 18:26 | 7.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7433 | μmol/L | 33.5268 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.09 | 147849.1576 | 220549.2471 | 27.3 | 43.4
6765 | 2021-02-16 18:27 | 7.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.6794 | μmol/L | 33.5452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.087 | 147844.6642 | 220543.3321 | 27.3 | 43.4
6775 | 2021-02-16 18:27 | 8.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.5245 | μmol/L | 33.5698 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.087 | 147852.2749 | 220524.4136 | 27.3 | 43.4
6785 | 2021-02-16 18:27 | 8.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.3173 | μmol/L | 33.5943 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.09 | 147833.8757 | 220522.7799 | 27.3 | 43.4
6795 | 2021-02-16 18:28 | 8.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.1586 | μmol/L | 33.625 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.088 | 147832.0764 | 220522.3967 | 27.3 | 43.4
6805 | 2021-02-16 18:28 | 9.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.0038 | μmol/L | 33.6495 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.088 | 147834.4475 | 220519.3241 | 27.3 | 43.4
6815 | 2021-02-16 18:28 | 9.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.8103 | μmol/L | 33.6802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.088 | 147835.1741 | 220506.1857 | 27.3 | 43.4
6825 | 2021-02-16 18:29 | 9.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.6516 | μmol/L | 33.7109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.086 | 147809.4297 | 220490.1779 | 27.3 | 43.4
6835 | 2021-02-16 18:29 | 10.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.4022 | μmol/L | 33.7477 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.087 | 147799.7791 | 220486.0444 | 27.3 | 43.4
6845 | 2021-02-16 18:29 | 10.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.3209 | μmol/L | 33.7661 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.085 | 147781.2828 | 220480.6155 | 27.3 | 43.4
6855 | 2021-02-16 18:30 | 10.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.0889 | μmol/L | 33.803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.085 | 147778.5968 | 220473.8801 | 27.3 | 43.4
6865 | 2021-02-16 18:30 | 11.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.0249 | μmol/L | 33.8214 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.082 | 147754.7683 | 220463.4492 | 27.3 | 43.4
6875 | 2021-02-16 18:30 | 11.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.8836 | μmol/L | 33.8521 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.079 | 147747.4363 | 220459.8848 | 27.3 | 43.4
6885 | 2021-02-16 18:31 | 11.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.7462 | μmol/L | 33.8766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.078 | 147739.3841 | 220450.5858 | 27.3 | 43.4
6895 | 2021-02-16 18:31 | 12.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.5184 | μmol/L | 33.9073 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.08 | 147717.0088 | 220423.0431 | 27.3 | 43.4
6905 | 2021-02-16 18:31 | 12.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.4675 | μmol/L | 33.9318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.074 | 147684.082 | 220406.5063 | 27.3 | 43.4
6915 | 2021-02-16 18:32 | 12.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.2743 | μmol/L | 33.9625 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.074 | 147669.1626 | 220385.6611 | 27.3 | 43.4
6925 | 2021-02-16 18:32 | 13.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.1156 | μmol/L | 33.9932 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.072 | 147661.3237 | 220374.5339 | 27.3 | 43.4
6935 | 2021-02-16 18:32 | 13.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.0342 | μmol/L | 34.0116 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.07 | 147628.7381 | 220367.0545 | 27.3 | 43.4
6945 | 2021-02-16 18:33 | 13.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.9141 | μmol/L | 34.0362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.068 | 147618.5304 | 220362.9133 | 27.3 | 43.4
6955 | 2021-02-16 18:33 | 14.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7126 | μmol/L | 34.0791 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.064 | 147591.2581 | 220338.3317 | 27.3 | 43.4
6965 | 2021-02-16 18:33 | 14.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.6911 | μmol/L | 34.0853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.063 | 147563.6326 | 220337.9968 | 27.3 | 43.4
6975 | 2021-02-16 18:34 | 14.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.5152 | μmol/L | 34.116 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.062 | 147527.5032 | 220314.302 | 27.3 | 43.4
6985 | 2021-02-16 18:34 | 15.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2964 | μmol/L | 34.1589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.059 | 147524.5621 | 220308.1562 | 27.3 | 43.4
6995 | 2021-02-16 18:34 | 15.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.1805 | μmol/L | 34.1773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.059 | 147501.4901 | 220302.3154 | 27.3 | 43.4
7005 | 2021-02-16 18:35 | 15.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.1376 | μmol/L | 34.1896 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.057 | 147490.795 | 220288.37 | 27.3 | 43.4
7015 | 2021-02-16 18:35 | 16.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.0174 | μmol/L | 34.2142 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.055 | 147452.7524 | 220267.5045 | 27.3 | 43.4
7025 | 2021-02-16 18:35 | 16.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.8116 | μmol/L | 34.2387 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.058 | 147454.0073 | 220246.3703 | 27.3 | 43.4
7035 | 2021-02-16 18:36 | 16.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.7428 | μmol/L | 34.2633 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.053 | 147429.9539 | 220243.4132 | 27.3 | 43.4
7045 | 2021-02-16 18:36 | 17.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.67 | μmol/L | 34.2694 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.055 | 147425.5646 | 220233.9355 | 27.3 | 43.4
7055 | 2021-02-16 18:36 | 17.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.541 | μmol/L | 34.3062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.049 | 147388.8515 | 220222.126 | 27.3 | 43.4
7065 | 2021-02-16 18:37 | 17.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.2797 | μmol/L | 34.3369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.053 | 147378.583 | 220209.9658 | 27.3 | 43.4
7075 | 2021-02-16 18:37 | 18.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.1595 | μmol/L | 34.3615 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.051 | 147360.0927 | 220192.3017 | 27.3 | 43.4
7085 | 2021-02-16 18:37 | 18.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.0052 | μmol/L | 34.386 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.051 | 147339.8167 | 220180.9721 | 27.3 | 43.4
7095 | 2021-02-16 18:38 | 18.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.9962 | μmol/L | 34.3983 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.047 | 147317.2035 | 220155.8713 | 27.3 | 43.4
7105 | 2021-02-16 18:38 | 19.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.8419 | μmol/L | 34.4228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.047 | 147300.3487 | 220133.7983 | 27.3 | 43.4
7115 | 2021-02-16 18:38 | 19.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.7387 | μmol/L | 34.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.044 | 147290.6302 | 220124.9753 | 27.3 | 43.4
7125 | 2021-02-16 18:39 | 19.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.6123 | μmol/L | 34.4719 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.043 | 147260.645 | 220110.3584 | 27.3 | 43.4
7135 | 2021-02-16 18:39 | 20.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.4966 | μmol/L | 34.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.043 | 147228.1079 | 220091.8295 | 27.3 | 43.4
7145 | 2021-02-16 18:39 | 20.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.3779 | μmol/L | 34.5211 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.038 | 147201.1869 | 220076.3662 | 27.3 | 43.4
7155 | 2021-02-16 18:40 | 20.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.2668 | μmol/L | 34.5333 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.04 | 147176.1647 | 220067.0121 | 27.3 | 43.4
7165 | 2021-02-16 18:40 | 21.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.1635 | μmol/L | 34.5579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.037 | 147152.822 | 220051.1281 | 27.3 | 43.4
7175 | 2021-02-16 18:40 | 21.3341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.0478 | μmol/L | 34.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.037 | 147145.6224 | 220036.628 | 27.3 | 43.4
7185 | 2021-02-16 18:41 | 21.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.966 | μmol/L | 34.5947 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.035 | 147104.6503 | 220008.995 | 27.3 | 43.4
7195 | 2021-02-16 18:41 | 22.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.9059 | μmol/L | 34.607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.034 | 147078.684 | 220006.3584 | 27.3 | 43.4
7205 | 2021-02-16 18:41 | 22.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.7686 | μmol/L | 34.6315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.033 | 147059.7549 | 219996.311 | 27.3 | 43.4
7215 | 2021-02-16 18:42 | 22.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.6698 | μmol/L | 34.65 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.032 | 147041.6203 | 219979.1633 | 27.3 | 43.4
7225 | 2021-02-16 18:42 | 23.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.5927 | μmol/L | 34.6622 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.032 | 147015.1064 | 219962.6319 | 27.3 | 43.4
7235 | 2021-02-16 18:42 | 23.3341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.4601 | μmol/L | 34.6806 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.033 | 146987.3256 | 219949.0174 | 27.3 | 43.4
7245 | 2021-02-16 18:43 | 23.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.2965 | μmol/L | 34.7175 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.029 | 146966.2845 | 219932.6955 | 27.3 | 43.4
7255 | 2021-02-16 18:43 | 24.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.2871 | μmol/L | 34.7298 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.025 | 146950.7938 | 219925.131 | 27.3 | 43.4
7265 | 2021-02-16 18:43 | 24.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.1498 | μmol/L | 34.7543 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.024 | 146914.5586 | 219901.6553 | 27.3 | 43.4
7275 | 2021-02-16 18:44 | 24.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.1788 | μmol/L | 34.7604 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.02 | 146900.7737 | 219880.5577 | 27.3 | 43.4
7285 | 2021-02-16 18:44 | 25.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.8461 | μmol/L | 34.7973 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.026 | 146879.2396 | 219874.2145 | 27.3 | 43.4
7295 | 2021-02-16 18:44 | 25.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.8799 | μmol/L | 34.7973 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.024 | 146864.0039 | 219842.2395 | 27.3 | 43.4
7305 | 2021-02-16 18:45 | 25.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.7041 | μmol/L | 34.828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.023 | 146834.8294 | 219828.2734 | 27.3 | 43.4
7315 | 2021-02-16 18:45 | 26.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.7378 | μmol/L | 34.828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.021 | 146803.8515 | 219817.8324 | 27.3 | 43.4
7325 | 2021-02-16 18:45 | 26.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.5668 | μmol/L | 34.8525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.022 | 146775.4695 | 219800.7703 | 27.3 | 43.4
7335 | 2021-02-16 18:46 | 26.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.4029 | μmol/L | 34.8894 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.018 | 146750.6485 | 219779.8834 | 27.3 | 43.4
7345 | 2021-02-16 18:46 | 27.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.4149 | μmol/L | 34.8955 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.015 | 146719.9371 | 219760.9644 | 27.3 | 43.4
7355 | 2021-02-16 18:46 | 27.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.3161 | μmol/L | 34.9139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.014 | 146702.0239 | 219757.4163 | 27.3 | 43.4
7365 | 2021-02-16 18:47 | 27.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.251 | μmol/L | 34.9323 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.011 | 146685.9658 | 219738.493 | 27.3 | 43.4
7375 | 2021-02-16 18:47 | 28.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.0681 | μmol/L | 34.9508 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.015 | 146631.5924 | 219708.1971 | 27.3 | 43.4
7385 | 2021-02-16 18:47 | 28.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.9861 | μmol/L | 34.9692 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.013 | 146616.3285 | 219693.7474 | 27.3 | 43.4
7395 | 2021-02-16 18:48 | 28.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.8873 | μmol/L | 34.9876 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.012 | 146579.4436 | 219664.6802 | 27.3 | 43.4
7405 | 2021-02-16 18:48 | 29.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.7885 | μmol/L | 35.006 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.011 | 146565.179 | 219660.1822 | 27.3 | 43.4
7415 | 2021-02-16 18:48 | 29.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.7568 | μmol/L | 35.0244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.006 | 146557.2762 | 219639.0504 | 27.3 | 43.4
7425 | 2021-02-16 18:49 | 29.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.6294 | μmol/L | 35.0367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.009 | 146515.8467 | 219618.6712 | 27.3 | 43.4
7435 | 2021-02-16 18:49 | 30.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.5306 | μmol/L | 35.0551 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.008 | 146503.2537 | 219602.7345 | 27.3 | 43.4
7445 | 2021-02-16 18:49 | 30.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.5038 | μmol/L | 35.0674 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.005 | 146482.5103 | 219591.2146 | 27.3 | 43.4
7455 | 2021-02-16 18:50 | 30.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.3832 | μmol/L | 35.092 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.003 | 146454.1372 | 219567.191 | 27.3 | 43.4
7465 | 2021-02-16 18:50 | 31.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.4 | μmol/L | 35.092 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.002 | 146435.123 | 219547.7689 | 27.3 | 43.4
7475 | 2021-02-16 18:50 | 31.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.1571 | μmol/L | 35.1226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.005 | 146391.9777 | 219531.2148 | 27.3 | 43.4
7485 | 2021-02-16 18:51 | 31.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.1419 | μmol/L | 35.1411 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.999 | 146374.7539 | 219518.7457 | 27.3 | 43.4
7495 | 2021-02-16 18:51 | 32.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.9492 | μmol/L | 35.1718 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.999 | 146333.5588 | 219493.8634 | 27.3 | 43.4
7505 | 2021-02-16 18:51 | 32.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.8889 | μmol/L | 35.184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.998 | 146316.9821 | 219487.353 | 27.3 | 43.4
7515 | 2021-02-16 18:52 | 32.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.9056 | μmol/L | 35.184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.997 | 146296.7028 | 219463.3217 | 27.3 | 43.4
7525 | 2021-02-16 18:52 | 33.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.7515 | μmol/L | 35.2086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.997 | 146267.8843 | 219451.0106 | 27.3 | 43.4
7535 | 2021-02-16 18:52 | 33.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.7079 | μmol/L | 35.2209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.995 | 146236.0379 | 219437.8872 | 27.3 | 43.4
7545 | 2021-02-16 18:53 | 33.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.5704 | μmol/L | 35.2454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.994 | 146206.8019 | 219420.4279 | 27.3 | 43.4
7555 | 2021-02-16 18:53 | 34.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.4934 | μmol/L | 35.2577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.994 | 146193.1302 | 219414.1125 | 27.3 | 43.4
7565 | 2021-02-16 18:53 | 34.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.4664 | μmol/L | 35.27 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.991 | 146164.744 | 219387.147 | 27.3 | 43.4
7575 | 2021-02-16 18:54 | 34.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.3289 | μmol/L | 35.2946 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.99 | 146129.5139 | 219370.351 | 27.3 | 43.4
7585 | 2021-02-16 18:54 | 35.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.2904 | μmol/L | 35.3007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.99 | 146108.0683 | 219364.9485 | 27.3 | 43.4
7595 | 2021-02-16 18:54 | 35.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.23 | μmol/L | 35.313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.989 | 146091.99 | 219364.1453 | 27.3 | 43.4
7605 | 2021-02-16 18:55 | 35.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.1206 | μmol/L | 35.3437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.984 | 146061.0225 | 219339.2869 | 27.3 | 43.4
7615 | 2021-02-16 18:55 | 36.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.9884 | μmol/L | 35.3621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.985 | 146028.0705 | 219319.7868 | 27.3 | 43.4
7625 | 2021-02-16 18:55 | 36.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.9113 | μmol/L | 35.3744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.985 | 146012.6336 | 219312.4753 | 27.3 | 43.4
7635 | 2021-02-16 18:56 | 36.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.9341 | μmol/L | 35.3866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.979 | 145982.2696 | 219291.5236 | 27.3 | 43.4
7645 | 2021-02-16 18:56 | 37.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.8848 | μmol/L | 35.3989 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.978 | 145945.16 | 219274.4901 | 27.3 | 43.4
7655 | 2021-02-16 18:56 | 37.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.7913 | μmol/L | 35.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.976 | 145922.9314 | 219264.1854 | 27.3 | 43.4
7665 | 2021-02-16 18:57 | 37.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.5985 | μmol/L | 35.4419 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.979 | 145876.2395 | 219242.3447 | 27.3 | 43.4
7675 | 2021-02-16 18:57 | 38.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.6318 | μmol/L | 35.448 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.974 | 145864.6231 | 219232.1259 | 27.3 | 43.4
7685 | 2021-02-16 18:57 | 38.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.4996 | μmol/L | 35.4665 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.975 | 145833.1426 | 219203.3727 | 27.3 | 43.4
7695 | 2021-02-16 18:58 | 38.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.4669 | μmol/L | 35.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.97 | 145810.2275 | 219191.407 | 27.3 | 43.4
7705 | 2021-02-16 18:58 | 39.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.3733 | μmol/L | 35.4972 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.971 | 145794.3546 | 219184.8044 | 27.3 | 43.4
7715 | 2021-02-16 18:58 | 39.3341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.2796 | μmol/L | 35.5094 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.972 | 145769.8281 | 219155.3857 | 27.3 | 43.4
7725 | 2021-02-16 18:59 | 39.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.2523 | μmol/L | 35.5156 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.972 | 145735.03 | 219145.2355 | 27.3 | 43.4
7735 | 2021-02-16 18:59 | 40.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.1532 | μmol/L | 35.5401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.968 | 145733.0214 | 219132.5969 | 27.3 | 43.4
7745 | 2021-02-16 18:59 | 40.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.9659 | μmol/L | 35.5647 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.97 | 145722.3319 | 219109.87 | 27.3 | 43.4
7755 | 2021-02-16 19:00 | 40.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.922 | μmol/L | 35.577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.968 | 145697.5575 | 219103.8955 | 27.3 | 43.4
7765 | 2021-02-16 19:00 | 41.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.8503 | μmol/L | 35.5831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.97 | 145667.1578 | 219084.1105 | 27.3 | 43.4
7775 | 2021-02-16 19:00 | 41.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.8122 | μmol/L | 35.6015 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.966 | 145622.8447 | 219063.8973 | 27.3 | 43.4
7785 | 2021-02-16 19:01 | 41.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.7184 | μmol/L | 35.62 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.964 | 145592.8039 | 219056.9787 | 27.3 | 43.4
7795 | 2021-02-16 19:01 | 42.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.7518 | μmol/L | 35.6322 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.958 | 145568.1182 | 219036.04 | 27.3 | 43.4
7805 | 2021-02-16 19:01 | 42.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.6085 | μmol/L | 35.6445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.962 | 145563.5157 | 219023.1838 | 27.3 | 43.4
7815 | 2021-02-16 19:02 | 42.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.4597 | μmol/L | 35.6691 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.961 | 145542.0443 | 219007.9152 | 27.3 | 43.4
7825 | 2021-02-16 19:02 | 43.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.4486 | μmol/L | 35.6814 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.957 | 145506.2151 | 219003.3788 | 27.3 | 43.4
7835 | 2021-02-16 19:02 | 43.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.3663 | μmol/L | 35.6936 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.958 | 145467.5657 | 218981.5137 | 27.3 | 43.4
7845 | 2021-02-16 19:03 | 43.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.3002 | μmol/L | 35.7121 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.955 | 145434.298 | 218957.4748 | 27.3 | 43.4
7855 | 2021-02-16 19:03 | 44.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.2283 | μmol/L | 35.7243 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.954 | 145420.1967 | 218936.1749 | 27.3 | 43.4
7865 | 2021-02-16 19:03 | 44.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.2505 | μmol/L | 35.7305 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.951 | 145404.3814 | 218933.1458 | 27.3 | 43.4
7875 | 2021-02-16 19:04 | 44.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.1071 | μmol/L | 35.7489 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.952 | 145379.853 | 218911.1797 | 27.3 | 43.4
7885 | 2021-02-16 19:04 | 45.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.0079 | μmol/L | 35.7673 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.951 | 145335.9278 | 218888.8906 | 27.3 | 43.4
7895 | 2021-02-16 19:04 | 45.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.953 | μmol/L | 35.7858 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.948 | 145315.2891 | 218883.2108 | 27.3 | 43.4
7905 | 2021-02-16 19:05 | 45.6675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.9196 | μmol/L | 35.7919 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.947 | 145279.3906 | 218867.2492 | 27.3 | 43.4
7915 | 2021-02-16 19:05 | 46.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.9249 | μmol/L | 35.8042 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.942 | 145272.4385 | 218856.7369 | 27.3 | 43.4
7925 | 2021-02-16 19:05 | 46.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.7819 | μmol/L | 35.8287 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.942 | 145247.0834 | 218844.7886 | 27.3 | 43.4
7935 | 2021-02-16 19:06 | 46.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.6004 | μmol/L | 35.8472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.946 | 145205.4415 | 218820.8737 | 27.3 | 43.4
7945 | 2021-02-16 19:06 | 47.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.6662 | μmol/L | 35.8472 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.942 | 145181.1098 | 218815.7347 | 27.3 | 43.4
7955 | 2021-02-16 19:06 | 47.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.5942 | μmol/L | 35.8717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.937 | 145149.7933 | 218798.4891 | 27.3 | 43.4
7965 | 2021-02-16 19:07 | 47.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.5392 | μmol/L | 35.8779 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.938 | 145125.1565 | 218786.2464 | 27.3 | 43.4
7975 | 2021-02-16 19:07 | 48.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.5278 | μmol/L | 35.8901 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.934 | 145090.42 | 218766.4025 | 27.3 | 43.4
7985 | 2021-02-16 19:07 | 48.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.3349 | μmol/L | 35.9208 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.934 | 145062.3684 | 218762.6277 | 27.3 | 43.4
7995 | 2021-02-16 19:08 | 48.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.3842 | μmol/L | 35.9208 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.931 | 145029.8468 | 218746.8238 | 27.3 | 43.4
8005 | 2021-02-16 19:08 | 49 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.2077 | μmol/L | 35.9516 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.93 | 145004.0342 | 218732.7749 | 27.3 | 43.4
8015 | 2021-02-16 19:08 | 49.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.2077 | μmol/L | 35.9516 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.93 | 144980.5447 | 218716.2776 | 27.3 | 43.4
8025 | 2021-02-16 19:09 | 49.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1248 | μmol/L | 35.97 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.928 | 144973.9577 | 218694.7211 | 27.3 | 43.4
8035 | 2021-02-16 19:09 | 50.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.0477 | μmol/L | 35.9823 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.928 | 144928.2798 | 218682.3478 | 27.3 | 43.4
8045 | 2021-02-16 19:09 | 50.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.0197 | μmol/L | 35.9945 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.925 | 144905.0184 | 218666.0431 | 27.3 | 43.4
8055 | 2021-02-16 19:10 | 50.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.8268 | μmol/L | 36.0252 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.925 | 144891.8422 | 218649.2661 | 27.3 | 43.4
8065 | 2021-02-16 19:10 | 51 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.8151 | μmol/L | 36.0375 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.921 | 144862.3437 | 218644.8561 | 27.3 | 43.4
8075 | 2021-02-16 19:10 | 51.3341 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.7824 | μmol/L | 36.0375 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.923 | 144832.2201 | 218627.3164 | 27.3 | 43.4
8085 | 2021-02-16 19:11 | 51.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.7543 | μmol/L | 36.0498 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.92 | 144804.3399 | 218627.4281 | 27.3 | 43.4
8095 | 2021-02-16 19:11 | 52.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.7099 | μmol/L | 36.0621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.918 | 144767.4626 | 218599.2481 | 27.3 | 43.4
8105 | 2021-02-16 19:11 | 52.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.676 | μmol/L | 36.0805 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.913 | 144756.9346 | 218592.5212 | 27.3 | 43.4
8115 | 2021-02-16 19:12 | 52.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.5052 | μmol/L | 36.1051 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.914 | 144728.3717 | 218580.0641 | 27.3 | 43.4
8125 | 2021-02-16 19:12 | 53.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.4502 | μmol/L | 36.1112 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.915 | 144696.4039 | 218572.1087 | 27.3 | 43.4
8135 | 2021-02-16 19:12 | 53.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.3449 | μmol/L | 36.1358 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.912 | 144680.0673 | 218570.9232 | 27.3 | 43.4
8145 | 2021-02-16 19:13 | 53.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.2736 | μmol/L | 36.1419 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.914 | 144671.5692 | 218555.9637 | 27.3 | 43.4
8155 | 2021-02-16 19:13 | 54.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.3539 | μmol/L | 36.1603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.902 | 144606.9571 | 218540.2893 | 27.3 | 43.4
8165 | 2021-02-16 19:13 | 54.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.1563 | μmol/L | 36.1788 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.907 | 144597.7142 | 218521.6753 | 27.3 | 43.4
8175 | 2021-02-16 19:14 | 54.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.1014 | μmol/L | 36.1849 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.908 | 144594.9861 | 218519.3432 | 27.3 | 43.4
8185 | 2021-02-16 19:14 | 55.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.0791 | μmol/L | 36.1911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.907 | 144569.1577 | 218506.6098 | 27.3 | 43.4
8195 | 2021-02-16 19:14 | 55.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.0671 | μmol/L | 36.2033 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.903 | 144546.0178 | 218488.8603 | 27.3 | 43.4
8205 | 2021-02-16 19:15 | 55.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8963 | μmol/L | 36.2279 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.904 | 144524.2392 | 218477.7024 | 27.3 | 43.4
8215 | 2021-02-16 19:15 | 56.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8354 | μmol/L | 36.2402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.903 | 144488.643 | 218459.9464 | 27.3 | 43.4
8225 | 2021-02-16 19:15 | 56.3342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.7848 | μmol/L | 36.2586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.899 | 144474.9276 | 218462.137 | 27.3 | 43.4
8235 | 2021-02-16 19:16 | 56.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.7685 | μmol/L | 36.2586 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.9 | 144444.57 | 218451.4428 | 27.3 | 43.4
8245 | 2021-02-16 19:16 | 57.0009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.7341 | μmol/L | 36.277 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.895 | 144431.6999 | 218428.4485 | 27.3 | 43.4
8255 | 2021-02-16 19:16 | 57.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.6242 | μmol/L | 36.2893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.897 | 144406.6906 | 218419.5048 | 27.3 | 43.4