## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4599 | 2021-02-16 13:29 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 257.2728 | μmol/L | 16.3109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.195 | 123802.9799 | 311611.1391 | 28.7 | 67.6
4615 | 2021-02-16 15:06 | 96.2572 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.9314 | μmol/L | 29.423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.597 | 115700.685 | 307977.7957 | 28.7 | 67.6
4625 | 2021-02-16 15:06 | 96.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.3226 | μmol/L | 29.4474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.619 | 115851.5767 | 307985.9249 | 28.7 | 67.6
4635 | 2021-02-16 15:06 | 96.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.3529 | μmol/L | 29.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.621 | 115867.6999 | 307963.9385 | 28.7 | 67.6
4645 | 2021-02-16 15:07 | 97.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.7506 | μmol/L | 29.4535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.596 | 115676.0092 | 307949.5975 | 28.7 | 67.6
4655 | 2021-02-16 15:07 | 97.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6204 | μmol/L | 29.4718 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.596 | 115702.3948 | 307930.3431 | 28.7 | 67.6
4665 | 2021-02-16 15:07 | 97.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.4451 | μmol/L | 29.4535 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.611 | 115734.6568 | 307907.5007 | 28.7 | 67.6
4675 | 2021-02-16 15:08 | 98.25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.0308 | μmol/L | 29.4718 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.625 | 115830.1969 | 307892.946 | 28.7 | 67.6
4685 | 2021-02-16 15:08 | 98.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.8378 | μmol/L | 29.4779 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.633 | 115897.1724 | 307879.6393 | 28.7 | 67.6
4695 | 2021-02-16 15:08 | 98.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5744 | μmol/L | 29.4779 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.646 | 115969.579 | 307862.8867 | 28.7 | 67.6
4705 | 2021-02-16 15:09 | 99.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.7553 | μmol/L | 29.4596 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.643 | 115938.3257 | 307839.8691 | 28.7 | 67.6
4715 | 2021-02-16 15:09 | 99.5832 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.8774 | μmol/L | 29.4657 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.635 | 115873.9285 | 307802.5262 | 28.7 | 67.6
4725 | 2021-02-16 15:09 | 99.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.6756 | μmol/L | 29.4779 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.641 | 115922.1732 | 307787.3527 | 28.7 | 67.6
4735 | 2021-02-16 15:10 | 100.2501 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5515 | μmol/L | 29.4413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.659 | 116014.0059 | 307772.704 | 28.7 | 67.6
4745 | 2021-02-16 15:10 | 100.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5299 | μmol/L | 29.423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.666 | 116047.979 | 307754.9048 | 28.7 | 67.6
4755 | 2021-02-16 15:10 | 100.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5479 | μmol/L | 29.3925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.675 | 116082.1105 | 307732.847 | 28.7 | 67.6
4765 | 2021-02-16 15:11 | 101.2501 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.2852 | μmol/L | 29.3925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.688 | 116155.017 | 307701.3835 | 28.7 | 67.6
4775 | 2021-02-16 15:11 | 101.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.1018 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.705 | 116282.526 | 307689.0406 | 28.7 | 67.6
4785 | 2021-02-16 15:11 | 101.9165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9376 | μmol/L | 29.3254 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.727 | 116427.2689 | 307669.1766 | 28.7 | 67.6
4795 | 2021-02-16 15:12 | 102.2496 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.3611 | μmol/L | 29.3254 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.706 | 116281.8105 | 307672.7482 | 28.7 | 67.6
4805 | 2021-02-16 15:12 | 102.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5061 | μmol/L | 29.3742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.683 | 116101.652 | 307644.0503 | 28.7 | 67.6
4815 | 2021-02-16 15:12 | 102.916 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.4473 | μmol/L | 29.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.678 | 116059.1105 | 307623.6689 | 28.7 | 67.6
4825 | 2021-02-16 15:13 | 103.2501 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.6896 | μmol/L | 29.3925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.668 | 115970.9021 | 307610.3205 | 28.7 | 67.6
4835 | 2021-02-16 15:13 | 103.5831 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.9307 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.664 | 115935.3445 | 307583.53 | 28.7 | 67.6
4845 | 2021-02-16 15:13 | 103.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.0543 | μmol/L | 29.3925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.65 | 115826.4893 | 307568.6768 | 28.7 | 67.6
4855 | 2021-02-16 15:14 | 104.2494 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.8143 | μmol/L | 29.4352 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.648 | 115813.492 | 307548.6257 | 28.7 | 67.6
4865 | 2021-02-16 15:14 | 104.5832 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.876 | μmol/L | 29.4474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.641 | 115740.9146 | 307540.3668 | 28.7 | 67.6
4875 | 2021-02-16 15:14 | 104.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.1398 | μmol/L | 29.4474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.628 | 115671.4349 | 307510.8841 | 28.7 | 67.6
4885 | 2021-02-16 15:15 | 105.2499 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.4976 | μmol/L | 29.3498 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.642 | 115720.4011 | 307502.8354 | 28.7 | 67.6
4895 | 2021-02-16 15:15 | 105.583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.9233 | μmol/L | 29.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.656 | 115823.8293 | 307488.9417 | 28.7 | 67.6
4905 | 2021-02-16 15:15 | 105.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.8106 | μmol/L | 29.3864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.664 | 115878.734 | 307478.4445 | 28.7 | 67.6
4915 | 2021-02-16 15:16 | 106.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.1847 | μmol/L | 29.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.691 | 116026.9597 | 307463.4794 | 28.7 | 67.6
4925 | 2021-02-16 15:16 | 106.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.064 | μmol/L | 29.4047 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.695 | 116057.6544 | 307432.3025 | 28.7 | 67.6
4935 | 2021-02-16 15:16 | 106.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7424 | μmol/L | 29.4169 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.707 | 116123.0524 | 307428.984 | 28.7 | 67.6
4945 | 2021-02-16 15:17 | 107.25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4615 | μmol/L | 29.4291 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.717 | 116157.55 | 307422.7032 | 28.7 | 67.6
4955 | 2021-02-16 15:17 | 107.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8625 | μmol/L | 29.4047 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.705 | 116102.6294 | 307398.0451 | 28.7 | 67.6
4965 | 2021-02-16 15:17 | 107.9165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7223 | μmol/L | 29.4169 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.708 | 116091.8234 | 307398.1621 | 28.7 | 67.6
4975 | 2021-02-16 15:18 | 108.2493 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6197 | μmol/L | 29.3864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.723 | 116153.7 | 307376.661 | 28.7 | 67.6
4985 | 2021-02-16 15:18 | 108.5832 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4572 | μmol/L | 29.362 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.739 | 116302.7987 | 307353.7171 | 28.7 | 67.6
4995 | 2021-02-16 15:18 | 108.916 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2568 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.747 | 116320.7398 | 307333.2698 | 28.7 | 67.6
5005 | 2021-02-16 15:19 | 109.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2943 | μmol/L | 29.3254 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.759 | 116397.9895 | 307330.152 | 28.7 | 67.6
5015 | 2021-02-16 15:19 | 109.5827 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3143 | μmol/L | 29.3254 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.758 | 116398.9032 | 307296.6621 | 28.7 | 67.6
5025 | 2021-02-16 15:19 | 109.9163 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.1353 | μmol/L | 29.3498 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.759 | 116349.8006 | 307295.997 | 28.7 | 67.6
5035 | 2021-02-16 15:20 | 110.2501 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4135 | μmol/L | 29.3071 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.759 | 116367.4484 | 307290.2082 | 28.7 | 67.6
5045 | 2021-02-16 15:20 | 110.583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.8752 | μmol/L | 29.3559 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.77 | 116442.8925 | 307262.8772 | 28.7 | 67.6
5055 | 2021-02-16 15:20 | 110.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.8148 | μmol/L | 29.3498 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.775 | 116470.5056 | 307235.777 | 28.7 | 67.6
5065 | 2021-02-16 15:21 | 111.2499 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.6155 | μmol/L | 29.362 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.781 | 116491.2812 | 307219.2675 | 28.7 | 67.6
5075 | 2021-02-16 15:21 | 111.5827 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.3172 | μmol/L | 29.3864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.788 | 116553.6792 | 307223.1374 | 28.7 | 67.6
5085 | 2021-02-16 15:21 | 111.916 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.2174 | μmol/L | 29.3864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.793 | 116552.1221 | 307207.2124 | 28.7 | 67.6
5095 | 2021-02-16 15:22 | 112.2496 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 217.1367 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.803 | 116629.0661 | 307175.4189 | 28.7 | 67.6
5105 | 2021-02-16 15:22 | 112.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.9178 | μmol/L | 29.3742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.812 | 116682.4549 | 307178.3158 | 28.7 | 67.6
5115 | 2021-02-16 15:22 | 112.9163 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.5206 | μmol/L | 29.3864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.828 | 116792.1297 | 307168.6807 | 28.7 | 67.6
5125 | 2021-02-16 15:23 | 113.25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.6784 | μmol/L | 29.362 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.828 | 116792.816 | 307161.2478 | 28.7 | 67.6
5135 | 2021-02-16 15:23 | 113.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.6787 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.826 | 116767.6379 | 307141.7784 | 28.7 | 67.6
5145 | 2021-02-16 15:23 | 113.9163 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.639 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.828 | 116768.5746 | 307124.0446 | 28.7 | 67.6
5155 | 2021-02-16 15:24 | 114.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.6001 | μmol/L | 29.3864 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.824 | 116731.7937 | 307107.0242 | 28.7 | 67.6
5165 | 2021-02-16 15:24 | 114.5835 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 216.1742 | μmol/L | 29.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.843 | 116880.2741 | 307094.5433 | 28.7 | 67.6
5175 | 2021-02-16 15:24 | 114.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.9063 | μmol/L | 29.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.855 | 116946.7988 | 307080.9213 | 28.7 | 67.6
5185 | 2021-02-16 15:25 | 115.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.8667 | μmol/L | 29.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.857 | 116954.6838 | 307070.2858 | 28.7 | 67.6
5195 | 2021-02-16 15:25 | 115.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.7678 | μmol/L | 29.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.862 | 116967.0502 | 307045.0494 | 28.7 | 67.6
5205 | 2021-02-16 15:25 | 115.9165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.5898 | μmol/L | 29.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.871 | 117047.4433 | 307032.3073 | 28.7 | 67.6
5215 | 2021-02-16 15:26 | 116.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.905 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.865 | 117009.7902 | 307017.2953 | 28.7 | 67.6
5225 | 2021-02-16 15:26 | 116.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.6687 | μmol/L | 29.3925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.869 | 117025.1122 | 307013.3083 | 28.7 | 67.6
5235 | 2021-02-16 15:26 | 116.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.4318 | μmol/L | 29.3986 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.879 | 117092.1754 | 307009.2847 | 28.7 | 67.6
5245 | 2021-02-16 15:27 | 117.25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.0876 | μmol/L | 29.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.894 | 117145.9195 | 306986.848 | 28.7 | 67.6
5255 | 2021-02-16 15:27 | 117.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.1077 | μmol/L | 29.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.889 | 117123.1457 | 306960.8822 | 28.7 | 67.6
5265 | 2021-02-16 15:27 | 117.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.0573 | μmol/L | 29.4047 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.896 | 117188.7639 | 306973.8593 | 28.7 | 67.6
5275 | 2021-02-16 15:28 | 118.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.1069 | μmol/L | 29.3925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.897 | 117195.132 | 306945.9542 | 28.7 | 67.6
5285 | 2021-02-16 15:28 | 118.5835 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 215.0758 | μmol/L | 29.3681 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.907 | 117231.3942 | 306937.4094 | 28.7 | 67.6
5295 | 2021-02-16 15:28 | 118.9165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.7022 | μmol/L | 29.3742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.924 | 117349.181 | 306903.3581 | 28.7 | 67.6
5305 | 2021-02-16 15:29 | 119.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 214.2321 | μmol/L | 29.4108 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.936 | 117446.0447 | 306897.9458 | 28.7 | 67.6
5315 | 2021-02-16 15:29 | 119.5827 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.7623 | μmol/L | 29.4108 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.96 | 117581.3211 | 306890.1997 | 28.7 | 67.6
5325 | 2021-02-16 15:29 | 119.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5281 | μmol/L | 29.423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.968 | 117646.3484 | 306889.1321 | 28.7 | 67.6
5335 | 2021-02-16 15:30 | 120.2494 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.5966 | μmol/L | 29.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.972 | 117668.4408 | 306869.9834 | 28.7 | 67.6
5345 | 2021-02-16 15:30 | 120.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.6443 | μmol/L | 29.3742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.978 | 117700.5535 | 306869.0504 | 28.7 | 67.6
5355 | 2021-02-16 15:30 | 120.9162 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.3127 | μmol/L | 29.3803 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.993 | 117794.9438 | 306847.1594 | 28.7 | 67.6
5365 | 2021-02-16 15:31 | 121.2499 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.1564 | μmol/L | 29.3559 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.009 | 117899.6904 | 306831.9287 | 28.7 | 67.6
5375 | 2021-02-16 15:31 | 121.583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7872 | μmol/L | 29.3742 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.022 | 117997.0685 | 306821.9973 | 28.7 | 67.6
5385 | 2021-02-16 15:31 | 121.916 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.6515 | μmol/L | 29.3925 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.023 | 117991.6089 | 306800.8207 | 28.7 | 67.6
5395 | 2021-02-16 15:32 | 122.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.516 | μmol/L | 29.4291 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.018 | 117941.3693 | 306796.1747 | 28.7 | 67.6
5405 | 2021-02-16 15:32 | 122.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.613 | μmol/L | 29.423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.015 | 117912.4821 | 306786.4358 | 28.7 | 67.6
5415 | 2021-02-16 15:32 | 122.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.08 | μmol/L | 29.4413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.985 | 117722.6898 | 306760.8131 | 28.7 | 67.6
5425 | 2021-02-16 15:33 | 123.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 213.2554 | μmol/L | 29.4474 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.974 | 117642.7736 | 306744.317 | 28.7 | 67.6
5435 | 2021-02-16 15:33 | 123.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7885 | μmol/L | 29.4718 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 19.99 | 117751.7628 | 306752.5251 | 28.7 | 67.6
5445 | 2021-02-16 15:33 | 123.9162 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4776 | μmol/L | 29.4718 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.006 | 117850.2507 | 306742.9414 | 28.7 | 67.6
5455 | 2021-02-16 15:34 | 124.25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4579 | μmol/L | 29.4413 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.017 | 117936.0176 | 306730.8343 | 28.7 | 67.6
5465 | 2021-02-16 15:34 | 124.5827 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4189 | μmol/L | 29.423 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.025 | 117977.4717 | 306714.7853 | 28.7 | 67.6
5475 | 2021-02-16 15:34 | 124.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4489 | μmol/L | 29.4474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.015 | 117897.9832 | 306714.5164 | 28.7 | 67.6
5485 | 2021-02-16 15:35 | 125.2496 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.245 | μmol/L | 29.4901 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.012 | 117859.9029 | 306699.0473 | 28.7 | 67.6
5495 | 2021-02-16 15:35 | 125.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.081 | μmol/L | 29.5084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.014 | 117876.8627 | 306674.4718 | 28.7 | 67.6
5505 | 2021-02-16 15:35 | 125.9162 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.187 | μmol/L | 29.5084 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.009 | 117871.0352 | 306669.6365 | 28.7 | 67.6
5515 | 2021-02-16 15:36 | 126.2499 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2838 | μmol/L | 29.4962 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.008 | 117819.8901 | 306667.1362 | 28.7 | 67.6
5525 | 2021-02-16 15:36 | 126.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.7404 | μmol/L | 29.4596 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.996 | 117753.6087 | 306648.1961 | 28.7 | 67.6
5535 | 2021-02-16 15:36 | 126.9165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.6821 | μmol/L | 29.4657 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.997 | 117782.8723 | 306637.7483 | 28.7 | 67.6
5545 | 2021-02-16 15:37 | 127.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2551 | μmol/L | 29.4657 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.019 | 117901.692 | 306621.1189 | 28.7 | 67.6
5555 | 2021-02-16 15:37 | 127.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9067 | μmol/L | 29.4779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.033 | 118007.0125 | 306615.8784 | 28.7 | 67.6
5565 | 2021-02-16 15:37 | 127.9162 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.81 | μmol/L | 29.484 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.036 | 118006.885 | 306600.5397 | 28.7 | 67.6
5575 | 2021-02-16 15:38 | 128.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9841 | μmol/L | 29.4962 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.023 | 117902.3154 | 306603.9231 | 28.7 | 67.6
5585 | 2021-02-16 15:38 | 128.5835 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7908 | μmol/L | 29.5328 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.021 | 117889.9 | 306576.4465 | 28.7 | 67.6
5595 | 2021-02-16 15:38 | 128.9165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9352 | μmol/L | 29.5206 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.018 | 117895.1693 | 306567.3449 | 28.7 | 67.6
5605 | 2021-02-16 15:39 | 129.2494 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7907 | μmol/L | 29.5145 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.027 | 117914.7248 | 306554.4371 | 28.7 | 67.6
5615 | 2021-02-16 15:39 | 129.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8488 | μmol/L | 29.5328 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.018 | 117884.143 | 306548.5411 | 28.7 | 67.6
5625 | 2021-02-16 15:39 | 129.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9159 | μmol/L | 29.5267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.017 | 117823.0534 | 306538.7538 | 28.7 | 67.6
5635 | 2021-02-16 15:40 | 130.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8488 | μmol/L | 29.5389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.016 | 117820.7816 | 306510.5456 | 28.7 | 67.6
5645 | 2021-02-16 15:40 | 130.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8294 | μmol/L | 29.4962 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.031 | 117945.6276 | 306516.1889 | 28.7 | 67.6
5655 | 2021-02-16 15:40 | 130.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9065 | μmol/L | 29.4352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.047 | 118017.8389 | 306494.8235 | 28.7 | 67.6
5665 | 2021-02-16 15:41 | 131.2496 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.6747 | μmol/L | 29.4718 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.047 | 118029.5992 | 306488.7551 | 28.7 | 67.6
5675 | 2021-02-16 15:41 | 131.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.3123 | μmol/L | 29.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.052 | 118048.9728 | 306493.0022 | 28.7 | 67.6
5685 | 2021-02-16 15:41 | 131.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4865 | μmol/L | 29.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.049 | 118026.3815 | 306467.3839 | 28.7 | 67.6
5695 | 2021-02-16 15:42 | 132.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9837 | μmol/L | 29.4108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.051 | 118041.2947 | 306453.2187 | 28.7 | 67.6
5705 | 2021-02-16 15:42 | 132.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2734 | μmol/L | 29.3437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.058 | 118076.5658 | 306446.8065 | 28.7 | 67.6
5715 | 2021-02-16 15:42 | 132.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.8098 | μmol/L | 29.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.05 | 118018.8197 | 306435.9834 | 28.7 | 67.6
5725 | 2021-02-16 15:43 | 133.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.4476 | μmol/L | 29.3254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.055 | 118023.3171 | 306435.3759 | 28.7 | 67.6
5735 | 2021-02-16 15:43 | 133.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.1383 | μmol/L | 29.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.053 | 118023.4495 | 306430.9443 | 28.7 | 67.6
5745 | 2021-02-16 15:43 | 133.9168 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9255 | μmol/L | 29.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.062 | 118045.2736 | 306397.3508 | 28.7 | 67.6
5755 | 2021-02-16 15:44 | 134.2493 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.9833 | μmol/L | 29.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.069 | 118089.8068 | 306403.4861 | 28.7 | 67.6
5765 | 2021-02-16 15:44 | 134.5832 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.848 | μmol/L | 29.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.076 | 118133.1221 | 306390.6177 | 28.7 | 67.6
5775 | 2021-02-16 15:44 | 134.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.4815 | μmol/L | 29.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.081 | 118161.1621 | 306381.2578 | 28.7 | 67.6
5785 | 2021-02-16 15:45 | 135.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2503 | μmol/L | 29.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.087 | 118229.6594 | 306380.3944 | 28.7 | 67.6
5795 | 2021-02-16 15:45 | 135.5827 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.8462 | μmol/L | 29.4718 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.09 | 118222.0364 | 306371.0862 | 28.7 | 67.6
5805 | 2021-02-16 15:45 | 135.9163 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9808 | μmol/L | 29.4657 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.085 | 118175.6668 | 306345.516 | 28.7 | 67.6
5815 | 2021-02-16 15:46 | 136.2501 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9999 | μmol/L | 29.4901 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.076 | 118132.0299 | 306345.2445 | 28.7 | 67.6
5825 | 2021-02-16 15:46 | 136.5831 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.7128 | μmol/L | 29.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.089 | 118175.7567 | 306335.5643 | 28.7 | 67.6
5835 | 2021-02-16 15:46 | 136.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.0407 | μmol/L | 29.2888 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.088 | 118184.3296 | 306328.7341 | 28.7 | 67.6
5845 | 2021-02-16 15:47 | 137.2501 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 212.2724 | μmol/L | 29.2582 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.086 | 118163.6766 | 306300.7787 | 28.7 | 67.6
5855 | 2021-02-16 15:47 | 137.583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.4621 | μmol/L | 29.3437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.1 | 118237.5514 | 306298.5063 | 28.7 | 67.6
5865 | 2021-02-16 15:47 | 137.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.3463 | μmol/L | 29.2888 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.124 | 118413.6613 | 306298.2018 | 28.7 | 67.6
5875 | 2021-02-16 15:48 | 138.2501 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0963 | μmol/L | 29.2949 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.135 | 118489.1228 | 306269.2402 | 28.7 | 67.6
5885 | 2021-02-16 15:48 | 138.583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5588 | μmol/L | 29.3376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.149 | 118548.4015 | 306271.1215 | 28.7 | 67.6
5895 | 2021-02-16 15:48 | 138.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0194 | μmol/L | 29.2766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.145 | 118538.7151 | 306277.6634 | 28.7 | 67.6
5905 | 2021-02-16 15:49 | 139.2496 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.8081 | μmol/L | 29.362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.128 | 118398.8274 | 306255.3944 | 28.7 | 67.6
5915 | 2021-02-16 15:49 | 139.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5396 | μmol/L | 29.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.14 | 118439.5911 | 306262.0271 | 28.7 | 67.6
5925 | 2021-02-16 15:49 | 139.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0194 | μmol/L | 29.301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.137 | 118427.0394 | 306244.9632 | 28.7 | 67.6
5935 | 2021-02-16 15:50 | 140.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.981 | μmol/L | 29.3193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.133 | 118425.1389 | 306241.0607 | 28.7 | 67.6
5945 | 2021-02-16 15:50 | 140.5832 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.597 | μmol/L | 29.3742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.135 | 118417.5883 | 306225.6196 | 28.7 | 67.6
5955 | 2021-02-16 15:50 | 140.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3478 | μmol/L | 29.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.14 | 118419.8319 | 306217.823 | 28.7 | 67.6
5965 | 2021-02-16 15:51 | 141.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.386 | μmol/L | 29.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.136 | 118423.1783 | 306217.1892 | 28.7 | 67.6
5975 | 2021-02-16 15:51 | 141.5835 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3669 | μmol/L | 29.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.137 | 118407.0487 | 306190.5494 | 28.7 | 67.6
5985 | 2021-02-16 15:51 | 141.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2902 | μmol/L | 29.4169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.137 | 118423.4188 | 306197.499 | 28.7 | 67.6
5995 | 2021-02-16 15:52 | 142.25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4436 | μmol/L | 29.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.139 | 118428.372 | 306181.6798 | 28.7 | 67.6
6005 | 2021-02-16 15:52 | 142.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5013 | μmol/L | 29.3559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.146 | 118469.6935 | 306166.2776 | 28.7 | 67.6
6015 | 2021-02-16 15:52 | 142.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.348 | μmol/L | 29.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.15 | 118498.2795 | 306156.0305 | 28.7 | 67.6
6025 | 2021-02-16 15:53 | 143.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0034 | μmol/L | 29.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.158 | 118528.5086 | 306156.0662 | 28.7 | 67.6
6035 | 2021-02-16 15:53 | 143.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0036 | μmol/L | 29.3803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.164 | 118584.6909 | 306143.3044 | 28.7 | 67.6
6045 | 2021-02-16 15:53 | 143.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0421 | μmol/L | 29.3498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.172 | 118629.0751 | 306125.5451 | 28.7 | 67.6
6055 | 2021-02-16 15:54 | 144.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.6983 | μmol/L | 29.3681 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.184 | 118686.4923 | 306133.1605 | 28.7 | 67.6
6065 | 2021-02-16 15:54 | 144.5827 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.5456 | μmol/L | 29.3864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.186 | 118728.0339 | 306135.6896 | 28.7 | 67.6
6075 | 2021-02-16 15:54 | 144.9164 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.2407 | μmol/L | 29.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.196 | 118776.0784 | 306118.4544 | 28.7 | 67.6
6085 | 2021-02-16 15:55 | 145.2493 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.2217 | μmol/L | 29.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.197 | 118785.1799 | 306116.1938 | 28.7 | 67.6
6095 | 2021-02-16 15:55 | 145.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9936 | μmol/L | 29.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.209 | 118865.0418 | 306107.9961 | 28.7 | 67.6
6105 | 2021-02-16 15:55 | 145.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.8228 | μmol/L | 29.3986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.22 | 118927.1211 | 306102.0689 | 28.7 | 67.6
6115 | 2021-02-16 15:56 | 146.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5573 | μmol/L | 29.4047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.232 | 119003.2982 | 306084.3596 | 28.7 | 67.6
6125 | 2021-02-16 15:56 | 146.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3863 | μmol/L | 29.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.233 | 119026.7019 | 306073.1427 | 28.7 | 67.6
6135 | 2021-02-16 15:56 | 146.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1587 | μmol/L | 29.4535 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.237 | 119020.46 | 306065.2809 | 28.7 | 67.6
6145 | 2021-02-16 15:57 | 147.2493 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1968 | μmol/L | 29.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.239 | 119046.5835 | 306062.7164 | 28.7 | 67.6
6155 | 2021-02-16 15:57 | 147.583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3674 | μmol/L | 29.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.234 | 118999.496 | 306050.6067 | 28.7 | 67.6
6165 | 2021-02-16 15:57 | 147.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4239 | μmol/L | 29.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.227 | 118919.2231 | 306027.7272 | 28.7 | 67.6
6175 | 2021-02-16 15:58 | 148.25 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.6325 | μmol/L | 29.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.22 | 118907.7406 | 306030.9416 | 28.7 | 67.6
6185 | 2021-02-16 15:58 | 148.5831 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.6136 | μmol/L | 29.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.221 | 118911.0271 | 306024.7655 | 28.7 | 67.6
6195 | 2021-02-16 15:58 | 148.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5757 | μmol/L | 29.4291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.223 | 118913.9174 | 306031.8446 | 28.7 | 67.6
6205 | 2021-02-16 15:59 | 149.2498 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5948 | μmol/L | 29.423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.224 | 118931.2064 | 306017.1576 | 28.7 | 67.6
6215 | 2021-02-16 15:59 | 149.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3481 | μmol/L | 29.4413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.231 | 118961.2599 | 306007.806 | 28.7 | 67.6
6225 | 2021-02-16 15:59 | 149.9168 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1013 | μmol/L | 29.4779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.232 | 118969.2408 | 305987.1887 | 28.7 | 67.6
6235 | 2021-02-16 16:00 | 150.2496 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.969 | μmol/L | 29.4779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.239 | 119008.8222 | 305996.0176 | 28.7 | 67.6
6245 | 2021-02-16 16:00 | 150.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.9312 | μmol/L | 29.4779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.241 | 119012.8908 | 305976.5729 | 28.7 | 67.6
6255 | 2021-02-16 16:00 | 150.9162 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8367 | μmol/L | 29.484 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.244 | 119028.7391 | 305969.2451 | 28.7 | 67.6
6265 | 2021-02-16 16:01 | 151.2499 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.7046 | μmol/L | 29.484 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.251 | 119081.363 | 305954.8963 | 28.7 | 67.6
6275 | 2021-02-16 16:01 | 151.5828 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.6294 | μmol/L | 29.4779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.257 | 119137.5995 | 305950.3861 | 28.7 | 67.6
6285 | 2021-02-16 16:01 | 151.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.4975 | μmol/L | 29.4779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.264 | 119184.7267 | 305963.3457 | 28.7 | 67.6
6295 | 2021-02-16 16:02 | 152.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2332 | μmol/L | 29.5023 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.27 | 119213.0564 | 305938.437 | 28.7 | 67.6
6305 | 2021-02-16 16:02 | 152.5833 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.1389 | μmol/L | 29.5084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.273 | 119223.486 | 305927.8231 | 28.7 | 67.6
6315 | 2021-02-16 16:02 | 152.9161 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0638 | μmol/L | 29.5084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.277 | 119264.4025 | 305917.9386 | 28.7 | 67.6
6325 | 2021-02-16 16:03 | 153.2497 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9692 | μmol/L | 29.5267 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.276 | 119260.8758 | 305907.9757 | 28.7 | 67.6
6335 | 2021-02-16 16:03 | 153.5835 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8375 | μmol/L | 29.5328 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.281 | 119274.4224 | 305901.115 | 28.7 | 67.6
6345 | 2021-02-16 16:03 | 153.9165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8192 | μmol/L | 29.5206 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.286 | 119320.2281 | 305897.0018 | 28.7 | 67.6
6355 | 2021-02-16 16:04 | 154.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.6507 | μmol/L | 29.5145 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.297 | 119378.5682 | 305899.0689 | 28.7 | 67.6
6365 | 2021-02-16 16:04 | 154.5832 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.5568 | μmol/L | 29.5206 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.3 | 119424.3547 | 305889.1366 | 28.7 | 67.6
6375 | 2021-02-16 16:04 | 154.9163 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.2563 | μmol/L | 29.545 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.308 | 119471.0118 | 305881.3277 | 28.7 | 67.6
6385 | 2021-02-16 16:05 | 155.2493 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.0883 | μmol/L | 29.5389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.319 | 119534.2643 | 305872.0571 | 28.7 | 67.6
6395 | 2021-02-16 16:05 | 155.5829 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.92 | μmol/L | 29.545 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.326 | 119570.6375 | 305867.1995 | 28.7 | 67.6
6405 | 2021-02-16 16:05 | 155.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.883 | μmol/L | 29.5389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.33 | 119617.8539 | 305859.8064 | 28.7 | 67.6
6415 | 2021-02-16 16:06 | 156.2495 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.7891 | μmol/L | 29.5511 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.331 | 119618.4223 | 305851.8903 | 28.7 | 67.6
6425 | 2021-02-16 16:06 | 156.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.7145 | μmol/L | 29.5511 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.335 | 119635.2657 | 305835.1354 | 28.7 | 67.6
6435 | 2021-02-16 16:06 | 156.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.6962 | μmol/L | 29.545 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.338 | 119650.8833 | 305843.6474 | 28.7 | 67.6
6445 | 2021-02-16 16:07 | 157.2494 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.6024 | μmol/L | 29.5572 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.339 | 119657.0435 | 305839.2417 | 28.7 | 67.6
6455 | 2021-02-16 16:07 | 157.5832 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.5087 | μmol/L | 29.5694 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.34 | 119666.139 | 305833.437 | 28.7 | 67.6
6465 | 2021-02-16 16:07 | 157.9163 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.3778 | μmol/L | 29.5817 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.343 | 119680.3926 | 305818.8663 | 28.7 | 67.6
6475 | 2021-02-16 16:08 | 158.2494 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.2287 | μmol/L | 29.5878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.349 | 119694.3572 | 305811.7626 | 28.7 | 67.6
6485 | 2021-02-16 16:08 | 158.5831 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.4721 | μmol/L | 29.5572 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.346 | 119682.3353 | 305790.3062 | 28.7 | 67.6
6495 | 2021-02-16 16:08 | 158.9167 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.6601 | μmol/L | 29.5206 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.348 | 119685.8218 | 305808.0437 | 28.7 | 67.6
6505 | 2021-02-16 16:09 | 159.2496 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.6607 | μmol/L | 29.5084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.352 | 119706.2324 | 305787.1816 | 28.7 | 67.6
6515 | 2021-02-16 16:09 | 159.5834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.5856 | μmol/L | 29.5206 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.352 | 119706.6318 | 305800.6314 | 28.7 | 67.6
6525 | 2021-02-16 16:09 | 159.9166 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.4919 | μmol/L | 29.5328 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.353 | 119699.3001 | 305781.8573 | 28.7 | 67.6