## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 19:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
6537 | 2021-02-16 18:19 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9671 | μmol/L | 33.2023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.756 | 126357.6449 | 305003.2933 | 28.7 | 67.6
6546 | 2021-02-16 18:19 | 0.33729 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0252 | μmol/L | 33.2145 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.748 | 126394.5157 | 305076.2625 | 28.7 | 67.6
6556 | 2021-02-16 18:20 | 0.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0625 | μmol/L | 33.2023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.75 | 126410.1989 | 305099.0386 | 28.7 | 67.6
6566 | 2021-02-16 18:20 | 1.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0943 | μmol/L | 33.2023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.748 | 126447.4883 | 305122.1194 | 28.7 | 67.6
6576 | 2021-02-16 18:20 | 1.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9561 | μmol/L | 33.2267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.748 | 126469.0336 | 305155.4179 | 28.7 | 67.6
6586 | 2021-02-16 18:21 | 1.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8906 | μmol/L | 33.2451 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.745 | 126499.7402 | 305193.9951 | 28.7 | 67.6
6596 | 2021-02-16 18:21 | 2.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9291 | μmol/L | 33.2512 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.741 | 126500.6999 | 305197.1156 | 28.7 | 67.6
6606 | 2021-02-16 18:21 | 2.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8413 | μmol/L | 33.2695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.74 | 126535.5372 | 305228.6294 | 28.7 | 67.6
6617 | 2021-02-16 18:22 | 2.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8385 | μmol/L | 33.2756 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.738 | 126555.5485 | 305233.5398 | 28.7 | 67.6
6626 | 2021-02-16 18:22 | 3.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.634 | μmol/L | 33.3061 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.74 | 126565.689 | 305242.0411 | 28.7 | 67.6
6637 | 2021-02-16 18:22 | 3.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.5463 | μmol/L | 33.3245 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.739 | 126564.4103 | 305241.0122 | 28.7 | 67.6
6646 | 2021-02-16 18:23 | 3.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.5657 | μmol/L | 33.3306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.735 | 126572.8724 | 305248.1305 | 28.7 | 67.6
6657 | 2021-02-16 18:23 | 4.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.578 | μmol/L | 33.3245 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.737 | 126584.0317 | 305256.7408 | 28.7 | 67.6
6666 | 2021-02-16 18:23 | 4.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.437 | μmol/L | 33.355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.735 | 126592.7186 | 305253.278 | 28.7 | 67.6
6677 | 2021-02-16 18:24 | 4.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2763 | μmol/L | 33.3733 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 20.738 | 126622.9899 | 305241.975 | 28.7 | 67.6
6686 | 2021-02-16 18:24 | 5.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2801 | μmol/L | 33.3856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.734 | 126616.4542 | 305242.7669 | 28.7 | 67.6
6696 | 2021-02-16 18:24 | 5.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.1074 | μmol/L | 33.4161 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.734 | 126633.7145 | 305232.4711 | 28.7 | 67.6
6707 | 2021-02-16 18:25 | 5.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.9506 | μmol/L | 33.4467 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.733 | 126648.9056 | 305206.4791 | 28.7 | 67.6
6716 | 2021-02-16 18:25 | 6.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.8974 | μmol/L | 33.4589 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.732 | 126684.1896 | 305215.9734 | 28.7 | 67.6
6727 | 2021-02-16 18:25 | 6.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.9577 | μmol/L | 33.465 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.726 | 126686.5016 | 305215.7133 | 28.7 | 67.6
6737 | 2021-02-16 18:26 | 6.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.7406 | μmol/L | 33.4894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.731 | 126689.6351 | 305197.4192 | 28.7 | 67.6
6747 | 2021-02-16 18:26 | 7.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.7545 | μmol/L | 33.5261 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.717 | 126636.2681 | 305182.3165 | 28.7 | 67.6
6757 | 2021-02-16 18:26 | 7.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.714 | μmol/L | 33.5444 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.713 | 126643.7258 | 305174.2301 | 28.7 | 67.6
6767 | 2021-02-16 18:27 | 7.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.5097 | μmol/L | 33.575 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.715 | 126644.4513 | 305146.1143 | 28.7 | 67.6
6777 | 2021-02-16 18:27 | 8.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.3874 | μmol/L | 33.5994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.714 | 126650.1313 | 305145.6373 | 28.7 | 67.6
6786 | 2021-02-16 18:27 | 8.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.2177 | μmol/L | 33.6238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.716 | 126669.3522 | 305139.2686 | 28.7 | 67.6
6796 | 2021-02-16 18:28 | 8.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.1614 | μmol/L | 33.6422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.713 | 126679.0336 | 305117.1737 | 28.7 | 67.6
6806 | 2021-02-16 18:28 | 9.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.9761 | μmol/L | 33.6666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.716 | 126695.5117 | 305090.2331 | 28.7 | 67.6
6816 | 2021-02-16 18:28 | 9.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.8538 | μmol/L | 33.691 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.715 | 126692.2463 | 305068.0601 | 28.7 | 67.6
6827 | 2021-02-16 18:29 | 9.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.7913 | μmol/L | 33.7216 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.708 | 126698.7954 | 305060.5506 | 28.7 | 67.6
6836 | 2021-02-16 18:29 | 10.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.6658 | μmol/L | 33.7521 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.705 | 126691.3387 | 305021.6692 | 28.7 | 67.6
6846 | 2021-02-16 18:29 | 10.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.5466 | μmol/L | 33.7705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.706 | 126696.1938 | 305025.4001 | 28.7 | 67.6
6857 | 2021-02-16 18:30 | 10.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4054 | μmol/L | 33.801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.704 | 126707.083 | 304998.9705 | 28.7 | 67.6
6867 | 2021-02-16 18:30 | 11.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.2642 | μmol/L | 33.8316 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.702 | 126701.3223 | 304984.6008 | 28.7 | 67.6
6876 | 2021-02-16 18:30 | 11.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.1888 | μmol/L | 33.856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.698 | 126695.8629 | 304965.0708 | 28.7 | 67.6
6887 | 2021-02-16 18:31 | 11.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0601 | μmol/L | 33.8927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.693 | 126676.9032 | 304943.1562 | 28.7 | 67.6
6896 | 2021-02-16 18:31 | 12.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.8972 | μmol/L | 33.9049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.699 | 126712.0992 | 304922.2834 | 28.7 | 67.6
6906 | 2021-02-16 18:31 | 12.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.9064 | μmol/L | 33.9171 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.694 | 126724.7623 | 304903.9877 | 28.7 | 67.6
6917 | 2021-02-16 18:32 | 12.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.6838 | μmol/L | 33.9538 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.695 | 126727.4799 | 304876.6197 | 28.7 | 67.6
6927 | 2021-02-16 18:32 | 13.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.5581 | μmol/L | 33.9843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.692 | 126740.2006 | 304861.869 | 28.7 | 67.6
6937 | 2021-02-16 18:32 | 13.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.4202 | μmol/L | 34.0088 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.692 | 126723.1372 | 304830.7663 | 28.7 | 67.6
6946 | 2021-02-16 18:33 | 13.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.3167 | μmol/L | 34.0271 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.692 | 126733.1277 | 304809.9637 | 28.7 | 67.6
6956 | 2021-02-16 18:33 | 14.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.3658 | μmol/L | 34.0515 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.68 | 126701.6497 | 304784.1124 | 28.7 | 67.6
6966 | 2021-02-16 18:33 | 14.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.1343 | μmol/L | 34.076 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.686 | 126723.6861 | 304770.967 | 28.7 | 67.6
6977 | 2021-02-16 18:34 | 14.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9741 | μmol/L | 34.1126 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.683 | 126712.6901 | 304746.9409 | 28.7 | 67.6
6986 | 2021-02-16 18:34 | 15.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9674 | μmol/L | 34.1249 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.679 | 126701.2823 | 304722.8165 | 28.7 | 67.6
6996 | 2021-02-16 18:34 | 15.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9106 | μmol/L | 34.1432 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.676 | 126692.6985 | 304688.3734 | 28.7 | 67.6
7006 | 2021-02-16 18:35 | 15.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8814 | μmol/L | 34.1676 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.669 | 126674.7486 | 304667.8663 | 28.7 | 67.6
7016 | 2021-02-16 18:35 | 16.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8367 | μmol/L | 34.1921 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.663 | 126653.0805 | 304631.6423 | 28.7 | 67.6
7027 | 2021-02-16 18:35 | 16.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5674 | μmol/L | 34.2287 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.667 | 126655.1049 | 304606.4608 | 28.7 | 67.6
7036 | 2021-02-16 18:36 | 16.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6296 | μmol/L | 34.2287 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.663 | 126640.3486 | 304597.1211 | 28.7 | 67.6
7046 | 2021-02-16 18:36 | 17.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5761 | μmol/L | 34.241 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.662 | 126643.6848 | 304568.561 | 28.7 | 67.6
7057 | 2021-02-16 18:36 | 17.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3535 | μmol/L | 34.2776 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.663 | 126624.5368 | 304530.5721 | 28.7 | 67.6
7066 | 2021-02-16 18:37 | 17.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.305 | μmol/L | 34.3082 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.655 | 126624.8065 | 304536.5185 | 28.7 | 67.6
7076 | 2021-02-16 18:37 | 18.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.217 | μmol/L | 34.3265 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.654 | 126605.8414 | 304499.0507 | 28.7 | 67.6
7086 | 2021-02-16 18:37 | 18.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1599 | μmol/L | 34.3449 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.651 | 126602.6541 | 304458.5165 | 28.7 | 67.6
7096 | 2021-02-16 18:38 | 18.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.0683 | μmol/L | 34.3693 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.648 | 126576.943 | 304443.1367 | 28.7 | 67.6
7106 | 2021-02-16 18:38 | 19.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9492 | μmol/L | 34.3876 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.649 | 126569.505 | 304435.6575 | 28.7 | 67.6
7117 | 2021-02-16 18:38 | 19.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9076 | μmol/L | 34.406 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.645 | 126567.0957 | 304395.4972 | 28.7 | 67.6
7126 | 2021-02-16 18:39 | 19.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7659 | μmol/L | 34.4365 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.643 | 126553.1177 | 304373.3475 | 28.7 | 67.6
7136 | 2021-02-16 18:39 | 20.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6432 | μmol/L | 34.461 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.642 | 126544.5962 | 304337.9228 | 28.7 | 67.6
7147 | 2021-02-16 18:39 | 20.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6551 | μmol/L | 34.4671 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.639 | 126527.0514 | 304317.0766 | 28.7 | 67.6
7156 | 2021-02-16 18:40 | 20.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5706 | μmol/L | 34.4793 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.64 | 126512.6233 | 304285.6879 | 28.7 | 67.6
7166 | 2021-02-16 18:40 | 21.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5251 | μmol/L | 34.5037 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.634 | 126485.9681 | 304251.4979 | 28.7 | 67.6
7176 | 2021-02-16 18:40 | 21.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4524 | μmol/L | 34.5221 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.632 | 126472.7255 | 304221.6928 | 28.7 | 67.6
7186 | 2021-02-16 18:41 | 21.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4142 | μmol/L | 34.5343 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.63 | 126447.3034 | 304225.8716 | 28.7 | 67.6
7197 | 2021-02-16 18:41 | 22.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2569 | μmol/L | 34.5649 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.629 | 126430.149 | 304176.3019 | 28.7 | 67.6
7207 | 2021-02-16 18:41 | 22.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2187 | μmol/L | 34.5771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.627 | 126420.517 | 304150.1054 | 28.7 | 67.6
7216 | 2021-02-16 18:42 | 22.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1613 | μmol/L | 34.5954 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.624 | 126411.2981 | 304115.7078 | 28.7 | 67.6
7227 | 2021-02-16 18:42 | 23.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1002 | μmol/L | 34.6199 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.619 | 126389.7736 | 304094.7466 | 28.7 | 67.6
7236 | 2021-02-16 18:42 | 23.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1428 | μmol/L | 34.626 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.614 | 126352.7646 | 304056.1485 | 28.7 | 67.6
7246 | 2021-02-16 18:43 | 23.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.9891 | μmol/L | 34.6504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.615 | 126336.3951 | 304041.4925 | 28.7 | 67.6
7257 | 2021-02-16 18:43 | 24.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.9354 | μmol/L | 34.6626 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.614 | 126313.9559 | 303993.9959 | 28.7 | 67.6
7267 | 2021-02-16 18:43 | 24.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8587 | μmol/L | 34.6871 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.61 | 126319.4593 | 303977.4626 | 28.7 | 67.6
7276 | 2021-02-16 18:44 | 24.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8628 | μmol/L | 34.7054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.603 | 126255.3266 | 303944.7996 | 28.7 | 67.6
7286 | 2021-02-16 18:44 | 25.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8052 | μmol/L | 34.7238 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.6 | 126232.7348 | 303924.1605 | 28.7 | 67.6
7297 | 2021-02-16 18:44 | 25.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8746 | μmol/L | 34.736 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.591 | 126189.1416 | 303888.9822 | 28.7 | 67.6
7306 | 2021-02-16 18:45 | 25.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7246 | μmol/L | 34.7543 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.594 | 126176.4697 | 303878.8101 | 28.7 | 67.6
7316 | 2021-02-16 18:45 | 26.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7131 | μmol/L | 34.7726 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.588 | 126154.9826 | 303829.9894 | 28.7 | 67.6
7326 | 2021-02-16 18:45 | 26.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.5593 | μmol/L | 34.7971 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.589 | 126140.2667 | 303804.3747 | 28.7 | 67.6
7337 | 2021-02-16 18:46 | 26.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.5016 | μmol/L | 34.8154 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.586 | 126114.7389 | 303773.7602 | 28.7 | 67.6
7347 | 2021-02-16 18:46 | 27.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.5092 | μmol/L | 34.8277 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.581 | 126096.2642 | 303751.6436 | 28.7 | 67.6
7356 | 2021-02-16 18:46 | 27.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.29 | μmol/L | 34.8582 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.584 | 126089.7506 | 303717.0843 | 28.7 | 67.6
7367 | 2021-02-16 18:47 | 27.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2708 | μmol/L | 34.8643 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.583 | 126087.0031 | 303702.3322 | 28.7 | 67.6
7376 | 2021-02-16 18:47 | 28.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1823 | μmol/L | 34.8827 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.582 | 126068.7794 | 303658.2585 | 28.7 | 67.6
7387 | 2021-02-16 18:47 | 28.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1131 | μmol/L | 34.8949 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.582 | 126053.1574 | 303617.0996 | 28.7 | 67.6
7396 | 2021-02-16 18:48 | 28.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.0745 | μmol/L | 34.9071 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.58 | 126049.4309 | 303596.056 | 28.7 | 67.6
7407 | 2021-02-16 18:48 | 29.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8362 | μmol/L | 34.9438 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.582 | 126054.5777 | 303567.3234 | 28.7 | 67.6
7416 | 2021-02-16 18:48 | 29.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.7823 | μmol/L | 34.956 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.581 | 126036.1591 | 303543.6606 | 28.7 | 67.6
7426 | 2021-02-16 18:49 | 29.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8243 | μmol/L | 34.9621 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.576 | 126006.7743 | 303511.4301 | 28.7 | 67.6
7436 | 2021-02-16 18:49 | 30.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8124 | μmol/L | 34.9805 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.57 | 125979.6987 | 303493.7372 | 28.7 | 67.6
7446 | 2021-02-16 18:49 | 30.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.7198 | μmol/L | 35.0049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.567 | 125937.3284 | 303458.254 | 28.7 | 67.6
7456 | 2021-02-16 18:50 | 30.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5732 | μmol/L | 35.0416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.563 | 125889.4007 | 303427.2053 | 28.7 | 67.6
7467 | 2021-02-16 18:50 | 31.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5998 | μmol/L | 35.0477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.559 | 125845.3066 | 303391.7132 | 28.7 | 67.6
7477 | 2021-02-16 18:50 | 31.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.4918 | μmol/L | 35.0721 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.557 | 125827.0393 | 303345.5797 | 28.7 | 67.6
7487 | 2021-02-16 18:51 | 31.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.549 | μmol/L | 35.0783 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.551 | 125793.6156 | 303337.6547 | 28.7 | 67.6
7497 | 2021-02-16 18:51 | 32.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.549 | μmol/L | 35.0783 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.551 | 125772.9266 | 303309.604 | 28.7 | 67.6
7507 | 2021-02-16 18:51 | 32.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3909 | μmol/L | 35.1088 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.55 | 125753.6167 | 303276.124 | 28.7 | 67.6
7517 | 2021-02-16 18:52 | 32.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.2828 | μmol/L | 35.1333 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.548 | 125727.7258 | 303247.2918 | 28.7 | 67.6
7526 | 2021-02-16 18:52 | 33.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.2593 | μmol/L | 35.1455 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.545 | 125698.2743 | 303226.7358 | 28.7 | 67.6
7536 | 2021-02-16 18:52 | 33.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3234 | μmol/L | 35.1638 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.534 | 125647.2406 | 303206.9172 | 28.7 | 67.6
7547 | 2021-02-16 18:53 | 33.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.1888 | μmol/L | 35.1822 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.536 | 125647.4752 | 303172.942 | 28.7 | 67.6
7556 | 2021-02-16 18:53 | 34.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.1499 | μmol/L | 35.1944 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.534 | 125629.1703 | 303155.5334 | 28.7 | 67.6
7566 | 2021-02-16 18:53 | 34.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.0653 | μmol/L | 35.2066 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.535 | 125596.6676 | 303097.1524 | 28.7 | 67.6
7576 | 2021-02-16 18:54 | 34.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.9418 | μmol/L | 35.2311 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.534 | 125565.1363 | 303076.9215 | 28.7 | 67.6
7587 | 2021-02-16 18:54 | 35.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.8377 | μmol/L | 35.2494 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.534 | 125554.2199 | 303070.496 | 28.7 | 67.6
7597 | 2021-02-16 18:54 | 35.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.8861 | μmol/L | 35.2677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.524 | 125490.7748 | 303040.7115 | 28.7 | 67.6
7606 | 2021-02-16 18:55 | 35.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.854 | μmol/L | 35.2922 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.517 | 125464.559 | 303014.1006 | 28.7 | 67.6
7616 | 2021-02-16 18:55 | 36.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.8041 | μmol/L | 35.2983 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.518 | 125446.4597 | 302972.3355 | 28.7 | 67.6
7627 | 2021-02-16 18:55 | 36.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.7651 | μmol/L | 35.3105 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.516 | 125409.2265 | 302958.5426 | 28.7 | 67.6
7636 | 2021-02-16 18:56 | 36.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6609 | μmol/L | 35.3289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.516 | 125396.4205 | 302923.9404 | 28.7 | 67.6
7647 | 2021-02-16 18:56 | 37.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4678 | μmol/L | 35.3655 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.515 | 125385.3545 | 302895.0034 | 28.7 | 67.6
7656 | 2021-02-16 18:56 | 37.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4568 | μmol/L | 35.3594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.518 | 125385.5709 | 302873.1709 | 28.7 | 67.6
7666 | 2021-02-16 18:57 | 37.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4787 | μmol/L | 35.3717 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.512 | 125357.4037 | 302852.7004 | 28.7 | 67.6
7676 | 2021-02-16 18:57 | 38.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.355 | μmol/L | 35.3961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.511 | 125346.8058 | 302850.2981 | 28.7 | 67.6
7686 | 2021-02-16 18:57 | 38.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4073 | μmol/L | 35.4083 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.503 | 125298.0361 | 302815.0777 | 28.7 | 67.6
7696 | 2021-02-16 18:58 | 38.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4096 | μmol/L | 35.4267 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.496 | 125225.7607 | 302781.1292 | 28.7 | 67.6
7707 | 2021-02-16 18:58 | 39.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4009 | μmol/L | 35.4389 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.492 | 125197.8769 | 302750.8727 | 28.7 | 67.6
7716 | 2021-02-16 18:58 | 39.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3966 | μmol/L | 35.445 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.49 | 125151.7274 | 302726.1868 | 28.7 | 67.6
7727 | 2021-02-16 18:59 | 39.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3031 | μmol/L | 35.4695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.487 | 125102.5159 | 302689.7694 | 28.7 | 67.6
7737 | 2021-02-16 18:59 | 40.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3487 | μmol/L | 35.4695 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.484 | 125086.4444 | 302674.4258 | 28.7 | 67.6
7746 | 2021-02-16 18:59 | 40.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.2704 | μmol/L | 35.4939 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.48 | 125054.6222 | 302647.1689 | 28.7 | 67.6
7756 | 2021-02-16 19:00 | 40.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3073 | μmol/L | 35.5061 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.473 | 125019.056 | 302620.9696 | 28.7 | 67.6
7766 | 2021-02-16 19:00 | 41.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1224 | μmol/L | 35.5306 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.476 | 125000.3471 | 302600.1039 | 28.7 | 67.6
7777 | 2021-02-16 19:00 | 41.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1484 | μmol/L | 35.5367 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.472 | 124964.2619 | 302557.108 | 28.7 | 67.6
7786 | 2021-02-16 19:01 | 41.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0395 | μmol/L | 35.5612 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.47 | 124951.0367 | 302536.7281 | 28.7 | 67.6
7796 | 2021-02-16 19:01 | 42.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0395 | μmol/L | 35.5612 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.47 | 124942.8978 | 302501.023 | 28.7 | 67.6
7806 | 2021-02-16 19:01 | 42.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.8958 | μmol/L | 35.5917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.468 | 124920.6783 | 302486.4471 | 28.7 | 67.6
7816 | 2021-02-16 19:02 | 42.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.8869 | μmol/L | 35.604 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.464 | 124886.6515 | 302448.4148 | 28.7 | 67.6
7826 | 2021-02-16 19:02 | 43.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.852 | μmol/L | 35.6101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.464 | 124856.7886 | 302430.5364 | 28.7 | 67.6
7836 | 2021-02-16 19:02 | 43.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.8752 | μmol/L | 35.6406 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.451 | 124799.7828 | 302412.0537 | 28.7 | 67.6
7847 | 2021-02-16 19:03 | 43.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.8161 | μmol/L | 35.659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.448 | 124748.0142 | 302384.3055 | 28.7 | 67.6
7856 | 2021-02-16 19:03 | 44.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.8161 | μmol/L | 35.659 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.448 | 124708.7652 | 302350.9035 | 28.7 | 67.6
7867 | 2021-02-16 19:03 | 44.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6918 | μmol/L | 35.6834 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.447 | 124691.2706 | 302336.0417 | 28.7 | 67.6
7877 | 2021-02-16 19:04 | 44.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6721 | μmol/L | 35.6895 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.446 | 124680.5166 | 302293.9698 | 28.7 | 67.6
7887 | 2021-02-16 19:04 | 45.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.5523 | μmol/L | 35.7079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.447 | 124669.1578 | 302277.6604 | 28.7 | 67.6
7896 | 2021-02-16 19:04 | 45.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7344 | μmol/L | 35.7079 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.435 | 124606.0364 | 302243.011 | 28.7 | 67.6
7906 | 2021-02-16 19:05 | 45.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6297 | μmol/L | 35.7262 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.435 | 124577.1363 | 302236.0777 | 28.7 | 67.6
7917 | 2021-02-16 19:05 | 46.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.4643 | μmol/L | 35.7446 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.439 | 124587.1002 | 302202.9457 | 28.7 | 67.6
7926 | 2021-02-16 19:05 | 46.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.3294 | μmol/L | 35.7629 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.441 | 124572.5666 | 302183.8953 | 28.7 | 67.6
7937 | 2021-02-16 19:06 | 46.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.2504 | μmol/L | 35.7874 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.437 | 124549.8541 | 302149.2213 | 28.7 | 67.6
7947 | 2021-02-16 19:06 | 47.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.311 | μmol/L | 35.7874 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.433 | 124523.2559 | 302139.4385 | 28.7 | 67.6
7956 | 2021-02-16 19:06 | 47.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.2412 | μmol/L | 35.7996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.433 | 124509.0643 | 302098.9432 | 28.7 | 67.6
7966 | 2021-02-16 19:07 | 47.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.0864 | μmol/L | 35.824 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.434 | 124506.7312 | 302064.5615 | 28.7 | 67.6
7976 | 2021-02-16 19:07 | 48.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.0167 | μmol/L | 35.8363 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.434 | 124496.7109 | 302058.193 | 28.7 | 67.6
7987 | 2021-02-16 19:07 | 48.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.0481 | μmol/L | 35.8546 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.425 | 124428.6888 | 302033.1965 | 28.7 | 67.6
7996 | 2021-02-16 19:08 | 48.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.9829 | μmol/L | 35.8607 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.427 | 124414.2459 | 302013.3215 | 28.7 | 67.6
8006 | 2021-02-16 19:08 | 49.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.899 | μmol/L | 35.8913 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.421 | 124355.2029 | 301971.899 | 28.7 | 67.6
8017 | 2021-02-16 19:08 | 49.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.0059 | μmol/L | 35.9096 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.407 | 124296.4224 | 301949.8923 | 28.7 | 67.6
8027 | 2021-02-16 19:09 | 49.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.8906 | μmol/L | 35.9219 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.41 | 124267.9493 | 301930.2351 | 28.7 | 67.6
8037 | 2021-02-16 19:09 | 50.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.8207 | μmol/L | 35.9341 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.41 | 124234.1616 | 301895.875 | 28.7 | 67.6
8046 | 2021-02-16 19:09 | 50.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.8311 | μmol/L | 35.9402 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.407 | 124234.1441 | 301895.2081 | 28.7 | 67.6
8057 | 2021-02-16 19:10 | 50.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.6762 | μmol/L | 35.9647 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.408 | 124205.7257 | 301849.4881 | 28.7 | 67.6
8066 | 2021-02-16 19:10 | 51.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.5761 | μmol/L | 35.9769 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.41 | 124217.8857 | 301837.9652 | 28.7 | 67.6
8077 | 2021-02-16 19:10 | 51.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.5467 | μmol/L | 35.9952 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.405 | 124186.7997 | 301823.4992 | 28.7 | 67.6
8087 | 2021-02-16 19:11 | 51.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.422 | μmol/L | 36.0197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.404 | 124186.8362 | 301809.5198 | 28.7 | 67.6
8096 | 2021-02-16 19:11 | 52.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.3418 | μmol/L | 36.0258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.407 | 124168.0936 | 301772.6275 | 28.7 | 67.6
8106 | 2021-02-16 19:11 | 52.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.3322 | μmol/L | 36.038 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.403 | 124148.9434 | 301755.1398 | 28.7 | 67.6
8117 | 2021-02-16 19:12 | 52.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.9875 | μmol/L | 36.0931 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.405 | 124131.6708 | 301735.8485 | 28.7 | 67.6
8126 | 2021-02-16 19:12 | 53.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.0375 | μmol/L | 36.0869 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.404 | 124111.4804 | 301720.7853 | 28.7 | 67.6
8137 | 2021-02-16 19:12 | 53.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.2279 | μmol/L | 36.0747 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.396 | 124082.0238 | 301686.5924 | 28.7 | 67.6
8146 | 2021-02-16 19:13 | 53.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.1429 | μmol/L | 36.0869 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.397 | 124051.4753 | 301671.215 | 28.7 | 67.6
8156 | 2021-02-16 19:13 | 54.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.0831 | μmol/L | 36.1053 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.394 | 124024.2994 | 301660.0773 | 28.7 | 67.6
8167 | 2021-02-16 19:13 | 54.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.9432 | μmol/L | 36.1297 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.394 | 124026.7617 | 301639.9982 | 28.7 | 67.6
8176 | 2021-02-16 19:14 | 54.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.8782 | μmol/L | 36.1359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.396 | 124025.2278 | 301620.1529 | 28.7 | 67.6
8187 | 2021-02-16 19:14 | 55.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.8033 | μmol/L | 36.1542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.394 | 123997.8216 | 301615.131 | 28.7 | 67.6
8196 | 2021-02-16 19:14 | 55.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.7085 | μmol/L | 36.1787 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.391 | 123972.8671 | 301565.9345 | 28.7 | 67.6
8207 | 2021-02-16 19:15 | 55.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.7386 | μmol/L | 36.1787 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.389 | 123945.9758 | 301561.2242 | 28.7 | 67.6
8217 | 2021-02-16 19:15 | 56.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.7336 | μmol/L | 36.1848 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.387 | 123929.9057 | 301545.1188 | 28.7 | 67.6
8226 | 2021-02-16 19:15 | 56.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.7639 | μmol/L | 36.2031 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.378 | 123884.46 | 301531.2925 | 28.7 | 67.6
8236 | 2021-02-16 19:16 | 56.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.6438 | μmol/L | 36.2215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.379 | 123849.6899 | 301494.6564 | 28.7 | 67.6
8247 | 2021-02-16 19:16 | 57.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.6889 | μmol/L | 36.2215 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.376 | 123812.7473 | 301490.836 | 28.7 | 67.6
8256 | 2021-02-16 19:16 | 57.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.8042 | μmol/L | 36.2276 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 20.366 | 123766.7779 | 301456.4489 | 28.7 | 67.6