## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-16 16:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4600 | 2021-02-16 13:30 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.4261 | μmol/L | 15.6711 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 21.656 | 152294.3625 | 283955.6718 | 36.4 | 83.1
4616 | 2021-02-16 15:06 | 96.2491 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.4589 | μmol/L | 29.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.228 | 141610.4349 | 281597.1376 | 36.4 | 83.1
4626 | 2021-02-16 15:06 | 96.5871 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.2991 | μmol/L | 29.2891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.221 | 141583.8347 | 281588.3466 | 36.4 | 83.1
4636 | 2021-02-16 15:06 | 96.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.5219 | μmol/L | 29.3014 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.207 | 141441.6158 | 281552.467 | 36.4 | 83.1
4646 | 2021-02-16 15:07 | 97.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.5685 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.213 | 141467.7963 | 281538.0907 | 36.4 | 83.1
4656 | 2021-02-16 15:07 | 97.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.2335 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.23 | 141635.8427 | 281503.1763 | 36.4 | 83.1
4666 | 2021-02-16 15:07 | 97.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.033 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.241 | 141709.913 | 281498.6386 | 36.4 | 83.1
4676 | 2021-02-16 15:08 | 98.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.0325 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.239 | 141686.0646 | 281464.7961 | 36.4 | 83.1
4686 | 2021-02-16 15:08 | 98.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 241.9199 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.24 | 141680.4036 | 281448.6675 | 36.4 | 83.1
4696 | 2021-02-16 15:08 | 98.9204 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.1427 | μmol/L | 29.2891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.228 | 141580.7441 | 281423.4639 | 36.4 | 83.1
4706 | 2021-02-16 15:09 | 99.2543 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.2777 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.226 | 141585.6106 | 281420.9567 | 36.4 | 83.1
4716 | 2021-02-16 15:09 | 99.5878 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.3443 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.221 | 141518.1727 | 281399.7367 | 36.4 | 83.1
4726 | 2021-02-16 15:09 | 99.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.5457 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.212 | 141397.9894 | 281365.9873 | 36.4 | 83.1
4736 | 2021-02-16 15:10 | 100.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.4338 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.217 | 141417.2781 | 281351.4754 | 36.4 | 83.1
4746 | 2021-02-16 15:10 | 100.5877 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.8607 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.204 | 141352.2162 | 281338.4321 | 36.4 | 83.1
4756 | 2021-02-16 15:10 | 100.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 242.479 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.217 | 141446.4579 | 281321.6957 | 36.4 | 83.1
4766 | 2021-02-16 15:11 | 101.2543 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 241.6995 | μmol/L | 29.2522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.26 | 141768.235 | 281305.2466 | 36.4 | 83.1
4776 | 2021-02-16 15:11 | 101.5879 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.9204 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.291 | 142004.4695 | 281288.4705 | 36.4 | 83.1
4786 | 2021-02-16 15:11 | 101.9207 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 241.1201 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.282 | 141930.9406 | 281278.4414 | 36.4 | 83.1
4796 | 2021-02-16 15:12 | 102.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.8993 | μmol/L | 29.2522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.296 | 142013.5127 | 281263.7999 | 36.4 | 83.1
4806 | 2021-02-16 15:12 | 102.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.5243 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.319 | 142208.7773 | 281248.4322 | 36.4 | 83.1
4816 | 2021-02-16 15:12 | 102.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.9735 | μmol/L | 29.1662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.321 | 142231.2831 | 281224.3949 | 36.4 | 83.1
4826 | 2021-02-16 15:13 | 103.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.3049 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.335 | 142315.8811 | 281224.0273 | 36.4 | 83.1
4836 | 2021-02-16 15:13 | 103.5873 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.0602 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.34 | 142361.8965 | 281190.5063 | 36.4 | 83.1
4846 | 2021-02-16 15:13 | 103.9211 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.9707 | μmol/L | 29.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.34 | 142344.4811 | 281179.9665 | 36.4 | 83.1
4856 | 2021-02-16 15:14 | 104.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.102 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.33 | 142258.1056 | 281161.1306 | 36.4 | 83.1
4866 | 2021-02-16 15:14 | 104.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.9719 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.344 | 142342.7449 | 281139.6678 | 36.4 | 83.1
4876 | 2021-02-16 15:14 | 104.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.8831 | μmol/L | 29.2399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.346 | 142375.5125 | 281127.1379 | 36.4 | 83.1
4886 | 2021-02-16 15:15 | 105.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4846 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.358 | 142465.364 | 281117.1085 | 36.4 | 83.1
4896 | 2021-02-16 15:15 | 105.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9565 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.38 | 142632.6468 | 281095.9493 | 36.4 | 83.1
4906 | 2021-02-16 15:15 | 105.9209 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9339 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.379 | 142623.4331 | 281087.09 | 36.4 | 83.1
4916 | 2021-02-16 15:16 | 106.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.7379 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.392 | 142706.1025 | 281078.5066 | 36.4 | 83.1
4926 | 2021-02-16 15:16 | 106.5876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.892 | μmol/L | 29.2522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.387 | 142700.9404 | 281050.9014 | 36.4 | 83.1
4936 | 2021-02-16 15:16 | 106.9204 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8057 | μmol/L | 29.2399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.395 | 142731.3409 | 281041.8959 | 36.4 | 83.1
4946 | 2021-02-16 15:17 | 107.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1148 | μmol/L | 29.2215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.387 | 142670.5868 | 281033.1861 | 36.4 | 83.1
4956 | 2021-02-16 15:17 | 107.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.0716 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.391 | 142684.905 | 281015.8239 | 36.4 | 83.1
4966 | 2021-02-16 15:17 | 107.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9392 | μmol/L | 29.2215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.395 | 142717.6646 | 281010.6685 | 36.4 | 83.1
4976 | 2021-02-16 15:18 | 108.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6748 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.403 | 142784.0201 | 280994.7072 | 36.4 | 83.1
4986 | 2021-02-16 15:18 | 108.5876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5018 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.417 | 142862.0628 | 280974.4591 | 36.4 | 83.1
4996 | 2021-02-16 15:18 | 108.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3487 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.424 | 142905.0094 | 280974.9117 | 36.4 | 83.1
5006 | 2021-02-16 15:19 | 109.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4177 | μmol/L | 29.1846 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.431 | 143003.056 | 280959.2895 | 36.4 | 83.1
5016 | 2021-02-16 15:19 | 109.5877 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4212 | μmol/L | 29.1539 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.441 | 143048.4414 | 280947.3324 | 36.4 | 83.1
5026 | 2021-02-16 15:19 | 109.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.2443 | μmol/L | 29.1723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.443 | 143046.0771 | 280939.1563 | 36.4 | 83.1
5036 | 2021-02-16 15:20 | 110.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0647 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.437 | 143018.4722 | 280923.9011 | 36.4 | 83.1
5046 | 2021-02-16 15:20 | 110.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1097 | μmol/L | 29.2031 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.439 | 142991.3088 | 280913.7839 | 36.4 | 83.1
5056 | 2021-02-16 15:20 | 110.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9337 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.443 | 143018.5383 | 280897.7237 | 36.4 | 83.1
5066 | 2021-02-16 15:21 | 111.2538 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8908 | μmol/L | 29.2092 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.447 | 143025.0452 | 280884.7316 | 36.4 | 83.1
5076 | 2021-02-16 15:21 | 111.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9556 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.442 | 142969.0817 | 280865.9388 | 36.4 | 83.1
5086 | 2021-02-16 15:21 | 111.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6722 | μmol/L | 29.2154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.455 | 143085.3565 | 280853.2983 | 36.4 | 83.1
5096 | 2021-02-16 15:22 | 112.2538 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5408 | μmol/L | 29.2215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.459 | 143113.6217 | 280846.2968 | 36.4 | 83.1
5106 | 2021-02-16 15:22 | 112.5876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6301 | μmol/L | 29.2031 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.461 | 143126.0234 | 280825.7025 | 36.4 | 83.1
5116 | 2021-02-16 15:22 | 112.9204 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.543 | μmol/L | 29.2031 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.465 | 143158.1992 | 280823.2743 | 36.4 | 83.1
5126 | 2021-02-16 15:23 | 113.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.7397 | μmol/L | 29.1969 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.458 | 143125.5877 | 280814.7769 | 36.4 | 83.1
5136 | 2021-02-16 15:23 | 113.5873 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9432 | μmol/L | 29.1846 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.407 | 142713.173 | 280809.2601 | 36.4 | 83.1
5146 | 2021-02-16 15:23 | 113.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.7802 | μmol/L | 29.1662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.375 | 142403.6857 | 280787.0533 | 36.4 | 83.1
5156 | 2021-02-16 15:24 | 114.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 240.0733 | μmol/L | 29.0986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.384 | 142492.2813 | 280782.271 | 36.4 | 83.1
5166 | 2021-02-16 15:24 | 114.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.9857 | μmol/L | 29.0925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.39 | 142512.4882 | 280770.824 | 36.4 | 83.1
5176 | 2021-02-16 15:24 | 114.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.6121 | μmol/L | 29.0863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.409 | 142635.2753 | 280751.0756 | 36.4 | 83.1
5186 | 2021-02-16 15:25 | 115.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.8833 | μmol/L | 29.0126 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.421 | 142696.9025 | 280735.6387 | 36.4 | 83.1
5196 | 2021-02-16 15:25 | 115.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1535 | μmol/L | 29.0618 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.438 | 142874.4451 | 280728.7412 | 36.4 | 83.1
5206 | 2021-02-16 15:25 | 115.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1097 | μmol/L | 29.0618 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.44 | 142864.8761 | 280717.302 | 36.4 | 83.1
5216 | 2021-02-16 15:26 | 116.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.178 | μmol/L | 29.0372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.445 | 142927.5962 | 280707.8038 | 36.4 | 83.1
5226 | 2021-02-16 15:26 | 116.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4237 | μmol/L | 28.9942 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.448 | 142942.3889 | 280701.1724 | 36.4 | 83.1
5236 | 2021-02-16 15:26 | 116.9211 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.3773 | μmol/L | 29.0188 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.442 | 142856.4064 | 280665.9385 | 36.4 | 83.1
5246 | 2021-02-16 15:27 | 117.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1335 | μmol/L | 29.0433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.445 | 142878.2816 | 280661.2171 | 36.4 | 83.1
5256 | 2021-02-16 15:27 | 117.5877 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5161 | μmol/L | 29.0863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.459 | 142993.1225 | 280661.7063 | 36.4 | 83.1
5266 | 2021-02-16 15:27 | 117.9207 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8813 | μmol/L | 29.1048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.482 | 143204.6435 | 280662.1289 | 36.4 | 83.1
5276 | 2021-02-16 15:28 | 118.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.3113 | μmol/L | 29.1416 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.496 | 143301.6436 | 280636.3625 | 36.4 | 83.1
5286 | 2021-02-16 15:28 | 118.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.9835 | μmol/L | 29.1601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.505 | 143328.2842 | 280621.8799 | 36.4 | 83.1
5296 | 2021-02-16 15:28 | 118.9205 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5534 | μmol/L | 29.1171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.493 | 143222.8575 | 280611.4237 | 36.4 | 83.1
5306 | 2021-02-16 15:29 | 119.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.4881 | μmol/L | 29.1171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.496 | 143276.3551 | 280593.6007 | 36.4 | 83.1
5316 | 2021-02-16 15:29 | 119.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.4141 | μmol/L | 29.2092 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.515 | 143424.1746 | 280590.4662 | 36.4 | 83.1
5326 | 2021-02-16 15:29 | 119.9204 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.3036 | μmol/L | 29.2276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.514 | 143390.7453 | 280573.8214 | 36.4 | 83.1
5336 | 2021-02-16 15:30 | 120.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.0211 | μmol/L | 29.2399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.523 | 143448.4723 | 280565.2129 | 36.4 | 83.1
5346 | 2021-02-16 15:30 | 120.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.6097 | μmol/L | 29.2522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.538 | 143564.6091 | 280562.7343 | 36.4 | 83.1
5356 | 2021-02-16 15:30 | 120.9211 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.3505 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.548 | 143638.2904 | 280554.1723 | 36.4 | 83.1
5366 | 2021-02-16 15:31 | 121.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.1992 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.553 | 143678.3577 | 280549.2552 | 36.4 | 83.1
5376 | 2021-02-16 15:31 | 121.5876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.7912 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.572 | 143821.4379 | 280544.473 | 36.4 | 83.1
5386 | 2021-02-16 15:31 | 121.9205 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.6822 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.573 | 143759.8479 | 280525.2304 | 36.4 | 83.1
5396 | 2021-02-16 15:32 | 122.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.0282 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.563 | 143744.653 | 280526.8483 | 36.4 | 83.1
5406 | 2021-02-16 15:32 | 122.5871 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.0273 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.561 | 143694.8104 | 280511.7827 | 36.4 | 83.1
5416 | 2021-02-16 15:32 | 122.9208 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.0246 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.555 | 143677.7385 | 280496.2331 | 36.4 | 83.1
5426 | 2021-02-16 15:33 | 123.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.5295 | μmol/L | 29.2952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.574 | 143787.8823 | 280487.5066 | 36.4 | 83.1
5436 | 2021-02-16 15:33 | 123.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.3387 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.587 | 143907.2606 | 280484.5862 | 36.4 | 83.1
5446 | 2021-02-16 15:33 | 123.9204 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.8008 | μmol/L | 29.3075 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.604 | 144007.3802 | 280464.2841 | 36.4 | 83.1
5456 | 2021-02-16 15:34 | 124.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.9298 | μmol/L | 29.3014 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.6 | 143990.5601 | 280465.3926 | 36.4 | 83.1
5466 | 2021-02-16 15:34 | 124.5879 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.8667 | μmol/L | 29.2952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.605 | 144075.4062 | 280461.6535 | 36.4 | 83.1
5476 | 2021-02-16 15:34 | 124.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.3524 | μmol/L | 29.3137 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.623 | 144154.0984 | 280459.1653 | 36.4 | 83.1
5486 | 2021-02-16 15:35 | 125.2537 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.3291 | μmol/L | 29.3259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.62 | 144094.572 | 280441.1152 | 36.4 | 83.1
5496 | 2021-02-16 15:35 | 125.5877 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.4346 | μmol/L | 29.3321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.613 | 144066.229 | 280439.2134 | 36.4 | 83.1
5506 | 2021-02-16 15:35 | 125.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.3272 | μmol/L | 29.3382 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.616 | 144078.6906 | 280433.3469 | 36.4 | 83.1
5516 | 2021-02-16 15:36 | 126.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.0922 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.625 | 144116.5518 | 280427.069 | 36.4 | 83.1
5526 | 2021-02-16 15:36 | 126.5871 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.9212 | μmol/L | 29.3505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.631 | 144166.3219 | 280415.6366 | 36.4 | 83.1
5536 | 2021-02-16 15:36 | 126.9207 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.7726 | μmol/L | 29.3505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.638 | 144244.9384 | 280398.5489 | 36.4 | 83.1
5546 | 2021-02-16 15:37 | 127.2537 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.0709 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.626 | 144123.2439 | 280394.219 | 36.4 | 83.1
5556 | 2021-02-16 15:37 | 127.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.2247 | μmol/L | 29.3137 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.629 | 144147.5776 | 280399.1115 | 36.4 | 83.1
5566 | 2021-02-16 15:37 | 127.9211 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.159 | μmol/L | 29.3259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.628 | 144116.7377 | 280378.6726 | 36.4 | 83.1
5576 | 2021-02-16 15:38 | 128.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.4549 | μmol/L | 29.3382 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.61 | 143972.1464 | 280378.7577 | 36.4 | 83.1
5586 | 2021-02-16 15:38 | 128.5879 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.4316 | μmol/L | 29.3505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.607 | 143954.3832 | 280361.2267 | 36.4 | 83.1
5596 | 2021-02-16 15:38 | 128.9209 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.3658 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.606 | 143931.0822 | 280352.4815 | 36.4 | 83.1
5606 | 2021-02-16 15:39 | 129.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.156 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.622 | 144076.0071 | 280331.2925 | 36.4 | 83.1
5616 | 2021-02-16 15:39 | 129.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.7069 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.637 | 144178.0432 | 280314.2761 | 36.4 | 83.1
5626 | 2021-02-16 15:39 | 129.9211 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.5827 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.649 | 144272.1422 | 280326.1038 | 36.4 | 83.1
5636 | 2021-02-16 15:40 | 130.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.3053 | μmol/L | 29.3567 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.658 | 144328.0828 | 280310.9571 | 36.4 | 83.1
5646 | 2021-02-16 15:40 | 130.5871 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.0716 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.667 | 144431.9722 | 280309.1342 | 36.4 | 83.1
5656 | 2021-02-16 15:40 | 130.9209 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.9215 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.67 | 144449.6253 | 280290.3536 | 36.4 | 83.1
5666 | 2021-02-16 15:41 | 131.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7337 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.683 | 144537.8345 | 280294.9372 | 36.4 | 83.1
5676 | 2021-02-16 15:41 | 131.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7537 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.68 | 144529.922 | 280281.5035 | 36.4 | 83.1
5686 | 2021-02-16 15:41 | 131.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.8793 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.672 | 144438.7523 | 280263.8609 | 36.4 | 83.1
5696 | 2021-02-16 15:42 | 132.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.8593 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.675 | 144468.5396 | 280239.1697 | 36.4 | 83.1
5706 | 2021-02-16 15:42 | 132.5879 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7737 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.677 | 144464.737 | 280240.1755 | 36.4 | 83.1
5716 | 2021-02-16 15:42 | 132.9207 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.3256 | μmol/L | 29.4058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.688 | 144563.2087 | 280236.3601 | 36.4 | 83.1
5726 | 2021-02-16 15:43 | 133.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6065 | μmol/L | 29.4304 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.714 | 144732.3058 | 280227.6973 | 36.4 | 83.1
5736 | 2021-02-16 15:43 | 133.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7568 | μmol/L | 29.412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.713 | 144773.3605 | 280238.0331 | 36.4 | 83.1
5746 | 2021-02-16 15:43 | 133.9205 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.4049 | μmol/L | 29.3874 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.738 | 144937.6362 | 280217.1937 | 36.4 | 83.1
5756 | 2021-02-16 15:44 | 134.2546 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9802 | μmol/L | 29.3382 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.727 | 144855.6544 | 280221.5335 | 36.4 | 83.1
5766 | 2021-02-16 15:44 | 134.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.3798 | μmol/L | 29.3382 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.708 | 144653.0911 | 280202.4112 | 36.4 | 83.1
5776 | 2021-02-16 15:44 | 134.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.1672 | μmol/L | 29.3505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.714 | 144737.6794 | 280204.2561 | 36.4 | 83.1
5786 | 2021-02-16 15:45 | 135.254 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.894 | μmol/L | 29.3505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.727 | 144832.3382 | 280189.8827 | 36.4 | 83.1
5796 | 2021-02-16 15:45 | 135.5879 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7692 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.735 | 144922.9904 | 280181.1038 | 36.4 | 83.1
5806 | 2021-02-16 15:45 | 135.9208 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3082 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.757 | 145075.4929 | 280186.0598 | 36.4 | 83.1
5816 | 2021-02-16 15:46 | 136.2543 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6876 | μmol/L | 29.3321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.743 | 144956.4971 | 280164.9949 | 36.4 | 83.1
5826 | 2021-02-16 15:46 | 136.5873 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.8565 | μmol/L | 29.3259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.737 | 144909.2603 | 280148.0857 | 36.4 | 83.1
5836 | 2021-02-16 15:46 | 136.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9626 | μmol/L | 29.3198 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.734 | 144879.068 | 280149.543 | 36.4 | 83.1
5846 | 2021-02-16 15:47 | 137.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6479 | μmol/L | 29.3198 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.749 | 144979.8061 | 280151.5363 | 36.4 | 83.1
5856 | 2021-02-16 15:47 | 137.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.4384 | μmol/L | 29.3198 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.759 | 145056.6924 | 280135.2972 | 36.4 | 83.1
5866 | 2021-02-16 15:47 | 137.9209 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.1653 | μmol/L | 29.3259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.77 | 145150.3991 | 280127.6064 | 36.4 | 83.1
5876 | 2021-02-16 15:48 | 138.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.5742 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.771 | 145144.1625 | 280122.6651 | 36.4 | 83.1
5886 | 2021-02-16 15:48 | 138.5878 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.1339 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.79 | 145284.8257 | 280107.4419 | 36.4 | 83.1
5896 | 2021-02-16 15:48 | 138.9207 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.9008 | μmol/L | 29.2891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.795 | 145314.7101 | 280111.2152 | 36.4 | 83.1
5906 | 2021-02-16 15:49 | 139.2543 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.8185 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.801 | 145360.4985 | 280112.4391 | 36.4 | 83.1
5916 | 2021-02-16 15:49 | 139.5873 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.0921 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.792 | 145277.8022 | 280110.2908 | 36.4 | 83.1
5926 | 2021-02-16 15:49 | 139.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.1142 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.793 | 145289.5025 | 280094.9018 | 36.4 | 83.1
5936 | 2021-02-16 15:50 | 140.254 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.0944 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.796 | 145294.0923 | 280089.1215 | 36.4 | 83.1
5946 | 2021-02-16 15:50 | 140.5878 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.1617 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.801 | 145314.3151 | 280088.2479 | 36.4 | 83.1
5956 | 2021-02-16 15:50 | 140.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.2638 | μmol/L | 29.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.792 | 145242.1547 | 280080.329 | 36.4 | 83.1
5966 | 2021-02-16 15:51 | 141.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.055 | μmol/L | 29.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.802 | 145320.4906 | 280082.2774 | 36.4 | 83.1
5976 | 2021-02-16 15:51 | 141.5871 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.5095 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.822 | 145465.1634 | 280065.5064 | 36.4 | 83.1
5986 | 2021-02-16 15:51 | 141.9208 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.3199 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.827 | 145497.6016 | 280058.3545 | 36.4 | 83.1
5996 | 2021-02-16 15:52 | 142.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.4655 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.82 | 145455.1877 | 280040.4469 | 36.4 | 83.1
6006 | 2021-02-16 15:52 | 142.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.1744 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.834 | 145562.8011 | 280043.103 | 36.4 | 83.1
6016 | 2021-02-16 15:52 | 142.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.1964 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.835 | 145583.8004 | 280043.2672 | 36.4 | 83.1
6026 | 2021-02-16 15:53 | 143.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.2599 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.834 | 145566.9698 | 280023.4028 | 36.4 | 83.1
6036 | 2021-02-16 15:53 | 143.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.0522 | μmol/L | 29.2645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.844 | 145627.3216 | 280016.3541 | 36.4 | 83.1
6046 | 2021-02-16 15:53 | 143.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.8252 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.857 | 145734.7715 | 280006.5793 | 36.4 | 83.1
6056 | 2021-02-16 15:54 | 144.2542 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.9106 | μmol/L | 29.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.857 | 145713.7495 | 280012.9063 | 36.4 | 83.1
6066 | 2021-02-16 15:54 | 144.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.4738 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.834 | 145557.985 | 280004.3144 | 36.4 | 83.1
6076 | 2021-02-16 15:54 | 144.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.6427 | μmol/L | 29.2215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.83 | 145529.7381 | 279993.0467 | 36.4 | 83.1
6086 | 2021-02-16 15:55 | 145.2538 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 229.3306 | μmol/L | 29.2215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.845 | 145642.1196 | 279973.4652 | 36.4 | 83.1
6096 | 2021-02-16 15:55 | 145.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.8301 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.865 | 145790.4891 | 279987.5429 | 36.4 | 83.1
6106 | 2021-02-16 15:55 | 145.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.5608 | μmol/L | 29.2338 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.878 | 145875.7742 | 279966.8336 | 36.4 | 83.1
6116 | 2021-02-16 15:56 | 146.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.3734 | μmol/L | 29.2399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.885 | 145975.3398 | 279979.1406 | 36.4 | 83.1
6126 | 2021-02-16 15:56 | 146.5876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.2081 | μmol/L | 29.2399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.893 | 146003.5698 | 279963.9614 | 36.4 | 83.1
6136 | 2021-02-16 15:56 | 146.9204 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.2895 | μmol/L | 29.2461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.887 | 146002.6372 | 279956.0124 | 36.4 | 83.1
6146 | 2021-02-16 15:57 | 147.2539 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.2469 | μmol/L | 29.2522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.887 | 145967.1037 | 279953.5835 | 36.4 | 83.1
6156 | 2021-02-16 15:57 | 147.5877 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.2056 | μmol/L | 29.2522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.889 | 145926.3262 | 279951.3411 | 36.4 | 83.1
6166 | 2021-02-16 15:57 | 147.9207 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 228.1837 | μmol/L | 29.2584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.888 | 145937.4809 | 279947.1032 | 36.4 | 83.1
6176 | 2021-02-16 15:58 | 148.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.9335 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.896 | 145998.0956 | 279941.4863 | 36.4 | 83.1
6186 | 2021-02-16 15:58 | 148.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.6025 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.91 | 146088.8215 | 279938.3227 | 36.4 | 83.1
6196 | 2021-02-16 15:58 | 148.9205 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.8304 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.901 | 146032.4289 | 279918.3883 | 36.4 | 83.1
6206 | 2021-02-16 15:59 | 149.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.8923 | μmol/L | 29.2706 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.898 | 146008.8051 | 279927.2002 | 36.4 | 83.1
6216 | 2021-02-16 15:59 | 149.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.5407 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.913 | 146105.8813 | 279913.9736 | 36.4 | 83.1
6226 | 2021-02-16 15:59 | 149.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.6849 | μmol/L | 29.2768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.906 | 146046.1723 | 279910.1539 | 36.4 | 83.1
6236 | 2021-02-16 16:00 | 150.254 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.6218 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.907 | 146064.4601 | 279904.4634 | 36.4 | 83.1
6246 | 2021-02-16 16:00 | 150.5876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.416 | μmol/L | 29.2829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.917 | 146140.399 | 279906.1281 | 36.4 | 83.1
6256 | 2021-02-16 16:00 | 150.9207 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.2502 | μmol/L | 29.2891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.923 | 146176.4851 | 279884.4951 | 36.4 | 83.1
6266 | 2021-02-16 16:01 | 151.2545 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.2078 | μmol/L | 29.2952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.923 | 146171.2727 | 279874.1033 | 36.4 | 83.1
6276 | 2021-02-16 16:01 | 151.5873 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.3722 | μmol/L | 29.2952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.915 | 146110.1652 | 279877.8797 | 36.4 | 83.1
6286 | 2021-02-16 16:01 | 151.9204 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.1025 | μmol/L | 29.3075 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.924 | 146147.1752 | 279875.1443 | 36.4 | 83.1
6296 | 2021-02-16 16:02 | 152.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.2463 | μmol/L | 29.3075 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.917 | 146097.4481 | 279860.7798 | 36.4 | 83.1
6306 | 2021-02-16 16:02 | 152.5872 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.2052 | μmol/L | 29.3075 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.919 | 146098.4795 | 279857.4016 | 36.4 | 83.1
6316 | 2021-02-16 16:02 | 152.9208 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.1409 | μmol/L | 29.3198 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.918 | 146125.5508 | 279860.4204 | 36.4 | 83.1
6326 | 2021-02-16 16:03 | 153.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.1435 | μmol/L | 29.3075 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.922 | 146140.7477 | 279847.59 | 36.4 | 83.1
6336 | 2021-02-16 16:03 | 153.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 227.0395 | μmol/L | 29.3137 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.925 | 146154.192 | 279841.9014 | 36.4 | 83.1
6346 | 2021-02-16 16:03 | 153.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.9548 | μmol/L | 29.3259 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.925 | 146162.1076 | 279826.0674 | 36.4 | 83.1
6356 | 2021-02-16 16:04 | 154.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.8072 | μmol/L | 29.3444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.926 | 146139.0384 | 279826.1389 | 36.4 | 83.1
6366 | 2021-02-16 16:04 | 154.5873 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.5149 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.932 | 146182.3945 | 279813.3757 | 36.4 | 83.1
6376 | 2021-02-16 16:04 | 154.921 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.268 | μmol/L | 29.3751 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.942 | 146243.5194 | 279814.7516 | 36.4 | 83.1
6386 | 2021-02-16 16:05 | 155.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.3102 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.942 | 146266.6516 | 279815.8199 | 36.4 | 83.1
6396 | 2021-02-16 16:05 | 155.5876 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.2707 | μmol/L | 29.3628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.946 | 146283.4946 | 279790.0714 | 36.4 | 83.1
6406 | 2021-02-16 16:05 | 155.9205 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.4535 | μmol/L | 29.369 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.935 | 146210.062 | 279791.9359 | 36.4 | 83.1
6416 | 2021-02-16 16:06 | 156.2543 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.2052 | μmol/L | 29.3812 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.943 | 146258.084 | 279778.9321 | 36.4 | 83.1
6426 | 2021-02-16 16:06 | 156.5874 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.9137 | μmol/L | 29.4058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.949 | 146328.2157 | 279782.601 | 36.4 | 83.1
6436 | 2021-02-16 16:06 | 156.9212 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.6879 | μmol/L | 29.412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.958 | 146417.4111 | 279783.1919 | 36.4 | 83.1
6446 | 2021-02-16 16:07 | 157.254 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.6499 | μmol/L | 29.3997 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.964 | 146424.0766 | 279775.8468 | 36.4 | 83.1
6456 | 2021-02-16 16:07 | 157.5878 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.2981 | μmol/L | 29.4242 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.973 | 146478.7353 | 279769.4636 | 36.4 | 83.1
6466 | 2021-02-16 16:07 | 157.9206 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.5059 | μmol/L | 29.4058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.969 | 146447.7543 | 279767.0667 | 36.4 | 83.1
6476 | 2021-02-16 16:08 | 158.2544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.5684 | μmol/L | 29.3997 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.968 | 146444.3942 | 279766.5077 | 36.4 | 83.1
6486 | 2021-02-16 16:08 | 158.5875 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.6717 | μmol/L | 29.3935 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.965 | 146405.966 | 279750.4748 | 36.4 | 83.1
6496 | 2021-02-16 16:08 | 158.9205 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.6105 | μmol/L | 29.3935 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.968 | 146427.3525 | 279752.0484 | 36.4 | 83.1
6506 | 2021-02-16 16:09 | 159.2541 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.1992 | μmol/L | 29.412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.982 | 146548.9758 | 279744.3994 | 36.4 | 83.1
6516 | 2021-02-16 16:09 | 159.5878 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.9496 | μmol/L | 29.4365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.986 | 146591.6426 | 279750.0143 | 36.4 | 83.1
6526 | 2021-02-16 16:09 | 159.9209 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.9699 | μmol/L | 29.4365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 19.985 | 146535.5568 | 279738.3559 | 36.4 | 83.1