## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 11:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8274 | 2021-02-17 09:44 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.6098 | μmol/L | 9.4149 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.689 | 186275.7208 | 285195.6743 | 32.55 | 27.7
8289 | 2021-02-17 09:47 | 3.0101 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.1326 | μmol/L | 34.26 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.596 | 170834.8908 | 285247.5903 | 32.55 | 27.7
8314 | 2021-02-17 10:13 | 29.2739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.8284 | μmol/L | 31.4044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.585 | 159271.3548 | 284590.3559 | 32.55 | 27.7
8328 | 2021-02-17 10:40 | 55.7212 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.5223 | μmol/L | 32.6016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.912 | 161449.846 | 282509.8705 | 32.55 | 27.7
8339 | 2021-02-17 10:40 | 56.0545 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4053 | μmol/L | 32.6139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.915 | 161438.4181 | 282455.1543 | 32.55 | 27.7
8349 | 2021-02-17 10:40 | 56.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.2486 | μmol/L | 32.6077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.927 | 161502.5625 | 282385.5767 | 32.55 | 27.7
8359 | 2021-02-17 10:41 | 56.7211 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0417 | μmol/L | 32.6077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.94 | 161612.6809 | 282332.4247 | 32.55 | 27.7
8368 | 2021-02-17 10:41 | 57.0542 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8855 | μmol/L | 32.6016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.952 | 161641.5382 | 282292.0605 | 32.55 | 27.7
8379 | 2021-02-17 10:41 | 57.3878 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.7477 | μmol/L | 32.6261 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.952 | 161622.4323 | 282245.7895 | 32.55 | 27.7
8389 | 2021-02-17 10:42 | 57.7209 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.536 | μmol/L | 32.6384 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.961 | 161707.8832 | 282185.0158 | 32.55 | 27.7
8399 | 2021-02-17 10:42 | 58.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4568 | μmol/L | 32.6384 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.966 | 161722.3698 | 282160.141 | 32.55 | 27.7
8409 | 2021-02-17 10:42 | 58.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4966 | μmol/L | 32.62 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.97 | 161698.5036 | 282115.8235 | 32.55 | 27.7
8418 | 2021-02-17 10:43 | 58.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.1741 | μmol/L | 32.6691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.973 | 161691.0752 | 282066.1495 | 32.55 | 27.7
8429 | 2021-02-17 10:43 | 59.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0003 | μmol/L | 32.6691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.984 | 161768.0186 | 282026.4568 | 32.55 | 27.7
8439 | 2021-02-17 10:43 | 59.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.9769 | μmol/L | 32.6507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.992 | 161798.1606 | 282002.8003 | 32.55 | 27.7
8449 | 2021-02-17 10:44 | 59.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7218 | μmol/L | 32.6568 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.006 | 161921.723 | 281953.0964 | 32.55 | 27.7
8459 | 2021-02-17 10:44 | 60.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5143 | μmol/L | 32.663 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.017 | 161969.0391 | 281909.9921 | 32.55 | 27.7
8468 | 2021-02-17 10:44 | 60.3876 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.9068 | μmol/L | 32.5954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.016 | 161958.5918 | 281872.6508 | 32.55 | 27.7
8479 | 2021-02-17 10:45 | 60.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.841 | μmol/L | 32.6016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.018 | 161944.3811 | 281857.5744 | 32.55 | 27.7
8488 | 2021-02-17 10:45 | 61.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.3514 | μmol/L | 32.6753 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.023 | 161942.5643 | 281805.3514 | 32.55 | 27.7
8499 | 2021-02-17 10:45 | 61.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.2359 | μmol/L | 32.6875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.026 | 161930.2598 | 281760.1181 | 32.55 | 27.7
8509 | 2021-02-17 10:46 | 61.7212 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.9893 | μmol/L | 32.7121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.033 | 161975.0483 | 281744.8483 | 32.55 | 27.7
8519 | 2021-02-17 10:46 | 62.0548 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.6462 | μmol/L | 32.7428 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.044 | 162089.776 | 281707.4831 | 32.55 | 27.7
8528 | 2021-02-17 10:46 | 62.3878 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.5736 | μmol/L | 32.7305 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.053 | 162092.5788 | 281682.7656 | 32.55 | 27.7
8539 | 2021-02-17 10:47 | 62.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.5551 | μmol/L | 32.7367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.052 | 162083.5439 | 281658.3275 | 32.55 | 27.7
8549 | 2021-02-17 10:47 | 63.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.3903 | μmol/L | 32.7551 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.056 | 162099.7193 | 281617.3039 | 32.55 | 27.7
8558 | 2021-02-17 10:47 | 63.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1263 | μmol/L | 32.7858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.062 | 162132.2725 | 281590.1379 | 32.55 | 27.7
8568 | 2021-02-17 10:48 | 63.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.9306 | μmol/L | 32.8042 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.068 | 162143.8352 | 281567.7928 | 32.55 | 27.7
8578 | 2021-02-17 10:48 | 64.0542 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.8314 | μmol/L | 32.8165 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.07 | 162190.2516 | 281532.4469 | 32.55 | 27.7
8589 | 2021-02-17 10:48 | 64.388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.7196 | μmol/L | 32.8226 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.075 | 162192.7856 | 281508.2107 | 32.55 | 27.7
8599 | 2021-02-17 10:49 | 64.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.4506 | μmol/L | 32.8656 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.077 | 162227.0337 | 281460.5156 | 32.55 | 27.7
8609 | 2021-02-17 10:49 | 65.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.3884 | μmol/L | 32.8656 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.081 | 162238.4102 | 281436.1108 | 32.55 | 27.7
8618 | 2021-02-17 10:49 | 65.3875 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.2023 | μmol/L | 32.8656 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.093 | 162300.6279 | 281411.1993 | 32.55 | 27.7
8628 | 2021-02-17 10:50 | 65.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.0385 | μmol/L | 32.8841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.097 | 162334.4607 | 281385.965 | 32.55 | 27.7
8638 | 2021-02-17 10:50 | 66.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.8719 | μmol/L | 32.9086 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.099 | 162321.5808 | 281352.8104 | 32.55 | 27.7
8649 | 2021-02-17 10:50 | 66.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.7238 | μmol/L | 32.927 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.102 | 162334.3304 | 281336.0916 | 32.55 | 27.7
8659 | 2021-02-17 10:51 | 66.7211 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.6834 | μmol/L | 32.9148 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.109 | 162348.8375 | 281292.2944 | 32.55 | 27.7
8669 | 2021-02-17 10:51 | 67.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.2308 | μmol/L | 32.9885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.112 | 162384.7162 | 281269.5479 | 32.55 | 27.7
8679 | 2021-02-17 10:51 | 67.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.394 | μmol/L | 32.97 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.108 | 162356.6335 | 281244.2667 | 32.55 | 27.7
8689 | 2021-02-17 10:52 | 67.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.1386 | μmol/L | 33.0192 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.107 | 162354.6786 | 281212.6761 | 32.55 | 27.7
8699 | 2021-02-17 10:52 | 68.0545 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 174.3233 | μmol/L | 32.9885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.106 | 162333.7577 | 281188.9553 | 32.55 | 27.7
8709 | 2021-02-17 10:52 | 68.3883 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.705 | μmol/L | 33.056 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.122 | 162398.1043 | 281161.7248 | 32.55 | 27.7
8718 | 2021-02-17 10:53 | 68.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.5484 | μmol/L | 33.0622 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.13 | 162488.3706 | 281154.6205 | 32.55 | 27.7
8729 | 2021-02-17 10:53 | 69.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.6159 | μmol/L | 33.0499 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.13 | 162478.2756 | 281115.8968 | 32.55 | 27.7
8738 | 2021-02-17 10:53 | 69.3879 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.4196 | μmol/L | 33.0744 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.134 | 162530.4374 | 281078.3036 | 32.55 | 27.7
8749 | 2021-02-17 10:54 | 69.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 173.0794 | μmol/L | 33.1113 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.143 | 162565.3914 | 281044.3325 | 32.55 | 27.7
8759 | 2021-02-17 10:54 | 70.0544 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.7455 | μmol/L | 33.1666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.145 | 162589.3598 | 281037.5069 | 32.55 | 27.7
8769 | 2021-02-17 10:54 | 70.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.5771 | μmol/L | 33.1973 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.145 | 162603.7214 | 281014.2344 | 32.55 | 27.7
8779 | 2021-02-17 10:55 | 70.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.4825 | μmol/L | 33.2034 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.149 | 162626.709 | 280984.5591 | 32.55 | 27.7
8788 | 2021-02-17 10:55 | 71.0544 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.2501 | μmol/L | 33.2403 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.151 | 162629.623 | 280941.8908 | 32.55 | 27.7
8798 | 2021-02-17 10:55 | 71.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.981 | μmol/L | 33.2894 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.151 | 162627.0208 | 280926.8656 | 32.55 | 27.7
8808 | 2021-02-17 10:56 | 71.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 172.0635 | μmol/L | 33.2771 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.15 | 162655.867 | 280919.0301 | 32.55 | 27.7
8819 | 2021-02-17 10:56 | 72.0545 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.7945 | μmol/L | 33.3262 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.15 | 162627.1069 | 280887.5311 | 32.55 | 27.7
8828 | 2021-02-17 10:56 | 72.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.4379 | μmol/L | 33.3692 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.158 | 162708.6628 | 280866.3614 | 32.55 | 27.7
8839 | 2021-02-17 10:57 | 72.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.28 | μmol/L | 33.3815 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.164 | 162758.7885 | 280842.8182 | 32.55 | 27.7
8849 | 2021-02-17 10:57 | 73.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.0182 | μmol/L | 33.4184 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.168 | 162790.5195 | 280823.9993 | 32.55 | 27.7
8858 | 2021-02-17 10:57 | 73.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 171.1273 | μmol/L | 33.4122 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.163 | 162753.803 | 280792.7372 | 32.55 | 27.7
8869 | 2021-02-17 10:58 | 73.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.9813 | μmol/L | 33.4307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.166 | 162788.1109 | 280780.3366 | 32.55 | 27.7
8878 | 2021-02-17 10:58 | 74.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.6946 | μmol/L | 33.4859 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.165 | 162751.1088 | 280742.9563 | 32.55 | 27.7
8889 | 2021-02-17 10:58 | 74.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.4046 | μmol/L | 33.5474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.162 | 162784.2234 | 280726.341 | 32.55 | 27.7
8899 | 2021-02-17 10:59 | 74.7208 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.3075 | μmol/L | 33.5597 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.164 | 162798.9932 | 280709.2524 | 32.55 | 27.7
8909 | 2021-02-17 10:59 | 75.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.9193 | μmol/L | 33.6088 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.172 | 162840.5941 | 280674.8377 | 32.55 | 27.7
8918 | 2021-02-17 10:59 | 75.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.0013 | μmol/L | 33.5965 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.171 | 162862.4314 | 280652.6467 | 32.55 | 27.7
8928 | 2021-02-17 11:00 | 75.7208 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 170.2623 | μmol/L | 33.5597 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.167 | 162806.1034 | 280629.9012 | 32.55 | 27.7
8938 | 2021-02-17 11:00 | 76.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.9759 | μmol/L | 33.6149 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.166 | 162794.4899 | 280603.3943 | 32.55 | 27.7
8948 | 2021-02-17 11:00 | 76.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.6446 | μmol/L | 33.6702 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.168 | 162862.2715 | 280591.7551 | 32.55 | 27.7
8958 | 2021-02-17 11:01 | 76.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.4465 | μmol/L | 33.6764 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.179 | 162917.7246 | 280577.5992 | 32.55 | 27.7
8968 | 2021-02-17 11:01 | 77.0544 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.2573 | μmol/L | 33.7194 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.176 | 162926.6932 | 280544.6557 | 32.55 | 27.7
8978 | 2021-02-17 11:01 | 77.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.5143 | μmol/L | 33.6886 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.17 | 162894.7308 | 280529.7341 | 32.55 | 27.7
8988 | 2021-02-17 11:02 | 77.7209 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 169.3875 | μmol/L | 33.7009 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.174 | 162926.4034 | 280511.7799 | 32.55 | 27.7
8998 | 2021-02-17 11:02 | 78.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.9857 | μmol/L | 33.7501 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.183 | 162974.8105 | 280467.456 | 32.55 | 27.7
9009 | 2021-02-17 11:02 | 78.3878 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.9416 | μmol/L | 33.7746 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.177 | 162977.8376 | 280455.9054 | 32.55 | 27.7
9018 | 2021-02-17 11:03 | 78.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.8116 | μmol/L | 33.7931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.179 | 162988.8453 | 280420.6968 | 32.55 | 27.7
9028 | 2021-02-17 11:03 | 79.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.7371 | μmol/L | 33.7931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.184 | 162998.2836 | 280413.4975 | 32.55 | 27.7
9039 | 2021-02-17 11:03 | 79.388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.6071 | μmol/L | 33.8115 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.186 | 163020.5351 | 280389.4888 | 32.55 | 27.7
9048 | 2021-02-17 11:04 | 79.7212 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.3435 | μmol/L | 33.8299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.197 | 163086.4225 | 280369.4248 | 32.55 | 27.7
9058 | 2021-02-17 11:04 | 80.0542 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.2511 | μmol/L | 33.8606 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.192 | 163073.2793 | 280344.974 | 32.55 | 27.7
9068 | 2021-02-17 11:04 | 80.3879 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.1323 | μmol/L | 33.8606 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.2 | 163134.2572 | 280324.2449 | 32.55 | 27.7
9078 | 2021-02-17 11:05 | 80.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.0917 | μmol/L | 33.8791 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.196 | 163093.4511 | 280295.5111 | 32.55 | 27.7
9088 | 2021-02-17 11:05 | 81.0548 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.1547 | μmol/L | 33.8729 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.194 | 163107.6445 | 280277.1432 | 32.55 | 27.7
9098 | 2021-02-17 11:05 | 81.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.0138 | μmol/L | 33.8852 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.199 | 163117.1717 | 280274.5678 | 32.55 | 27.7
9108 | 2021-02-17 11:06 | 81.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.1213 | μmol/L | 33.8791 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.194 | 163085.314 | 280242.84 | 32.55 | 27.7
9118 | 2021-02-17 11:06 | 82.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.2141 | μmol/L | 33.8729 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.19 | 163058.0115 | 280225.2561 | 32.55 | 27.7
9128 | 2021-02-17 11:06 | 82.3879 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.4849 | μmol/L | 33.8422 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.183 | 162995.9886 | 280201.6932 | 32.55 | 27.7
9138 | 2021-02-17 11:07 | 82.7209 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.2847 | μmol/L | 33.8791 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.183 | 162977.6288 | 280197.7745 | 32.55 | 27.7
9148 | 2021-02-17 11:07 | 83.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.9437 | μmol/L | 33.9282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.188 | 163015.6512 | 280174.3358 | 32.55 | 27.7
9159 | 2021-02-17 11:07 | 83.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 168.1362 | μmol/L | 33.8791 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.193 | 163060.72 | 280161.0609 | 32.55 | 27.7
9169 | 2021-02-17 11:08 | 83.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.9399 | μmol/L | 33.9098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.195 | 163061.7175 | 280133.7011 | 32.55 | 27.7
9178 | 2021-02-17 11:08 | 84.0545 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.7844 | μmol/L | 33.9221 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.201 | 163129.9604 | 280121.8413 | 32.55 | 27.7
9188 | 2021-02-17 11:08 | 84.3876 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.8952 | μmol/L | 33.8852 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.207 | 163178.1349 | 280099.1202 | 32.55 | 27.7
9198 | 2021-02-17 11:09 | 84.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.8841 | μmol/L | 33.8791 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.21 | 163198.2687 | 280077.7078 | 32.55 | 27.7
9208 | 2021-02-17 11:09 | 85.0545 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.7362 | μmol/L | 33.9036 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.211 | 163206.7488 | 280079.6317 | 32.55 | 27.7
9218 | 2021-02-17 11:09 | 85.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3961 | μmol/L | 33.9528 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 163211.4498 | 280049.6647 | 32.55 | 27.7
9229 | 2021-02-17 11:10 | 85.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.762 | μmol/L | 33.8852 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 163220.6273 | 280021.8124 | 32.55 | 27.7
9238 | 2021-02-17 11:10 | 86.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.6289 | μmol/L | 33.9098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 163226.8663 | 280006.7764 | 32.55 | 27.7
9249 | 2021-02-17 11:10 | 86.3879 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3296 | μmol/L | 33.9651 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 163191.1598 | 280000.5228 | 32.55 | 27.7
9258 | 2021-02-17 11:11 | 86.7209 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3075 | μmol/L | 33.9774 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.213 | 163185.5678 | 279985.1712 | 32.55 | 27.7
9269 | 2021-02-17 11:11 | 87.0541 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.4442 | μmol/L | 33.9466 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.215 | 163211.4313 | 279954.6806 | 32.55 | 27.7
9279 | 2021-02-17 11:11 | 87.3879 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3924 | μmol/L | 33.9589 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.214 | 163150.8375 | 279939.8216 | 32.55 | 27.7
9289 | 2021-02-17 11:12 | 87.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.4922 | μmol/L | 33.9651 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.205 | 163063.5422 | 279910.2379 | 32.55 | 27.7
9299 | 2021-02-17 11:12 | 88.0549 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.4293 | μmol/L | 33.9712 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.207 | 163060.0053 | 279906.7431 | 32.55 | 27.7
9309 | 2021-02-17 11:12 | 88.388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.5624 | μmol/L | 33.9221 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 163130.8223 | 279873.0378 | 32.55 | 27.7
9319 | 2021-02-17 11:13 | 88.7211 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.3297 | μmol/L | 33.9405 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.225 | 163186.2891 | 279852.4079 | 32.55 | 27.7
9329 | 2021-02-17 11:13 | 89.0548 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.149 | μmol/L | 33.9466 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.235 | 163263.5019 | 279845.3622 | 32.55 | 27.7
9339 | 2021-02-17 11:13 | 89.3878 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.02 | μmol/L | 33.9651 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.237 | 163273.8603 | 279825.4744 | 32.55 | 27.7
9348 | 2021-02-17 11:14 | 89.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.0311 | μmol/L | 33.9466 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.243 | 163290.2241 | 279810.321 | 32.55 | 27.7
9358 | 2021-02-17 11:14 | 90.0542 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.9649 | μmol/L | 33.9344 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.252 | 163341.719 | 279789.2001 | 32.55 | 27.7
9369 | 2021-02-17 11:14 | 90.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7369 | μmol/L | 33.9466 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.263 | 163434.7441 | 279774.8227 | 32.55 | 27.7
9379 | 2021-02-17 11:15 | 90.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8988 | μmol/L | 33.9221 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.261 | 163436.4587 | 279763.919 | 32.55 | 27.7
9388 | 2021-02-17 11:15 | 91.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 167.0534 | μmol/L | 33.8852 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.264 | 163465.5487 | 279761.5514 | 32.55 | 27.7
9399 | 2021-02-17 11:15 | 91.3879 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8179 | μmol/L | 33.9098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.271 | 163500.9731 | 279724.6975 | 32.55 | 27.7
9409 | 2021-02-17 11:16 | 91.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.5718 | μmol/L | 33.9282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.281 | 163540.3019 | 279711.4238 | 32.55 | 27.7
9418 | 2021-02-17 11:16 | 92.0541 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.6748 | μmol/L | 33.8791 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.292 | 163579.0536 | 279702.1442 | 32.55 | 27.7
9429 | 2021-02-17 11:16 | 92.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.8437 | μmol/L | 33.8422 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.294 | 163627.9026 | 279694.6523 | 32.55 | 27.7
9438 | 2021-02-17 11:17 | 92.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.6235 | μmol/L | 33.8668 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.3 | 163645.4271 | 279676.6657 | 32.55 | 27.7
9448 | 2021-02-17 11:17 | 93.0545 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.4144 | μmol/L | 33.8975 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.303 | 163672.4883 | 279656.1337 | 32.55 | 27.7
9458 | 2021-02-17 11:17 | 93.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.7703 | μmol/L | 33.8176 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.308 | 163699.5949 | 279650.8543 | 32.55 | 27.7
9468 | 2021-02-17 11:18 | 93.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.5685 | μmol/L | 33.8361 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.315 | 163731.9797 | 279619.9522 | 32.55 | 27.7
9479 | 2021-02-17 11:18 | 94.0549 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.3305 | μmol/L | 33.8422 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.329 | 163826.2549 | 279614.9261 | 32.55 | 27.7
9489 | 2021-02-17 11:18 | 94.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.2902 | μmol/L | 33.8606 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.325 | 163787.0639 | 279611.0913 | 32.55 | 27.7
9499 | 2021-02-17 11:19 | 94.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 166.1696 | μmol/L | 33.8422 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.34 | 163893.5445 | 279572.8264 | 32.55 | 27.7
9509 | 2021-02-17 11:19 | 95.0544 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.9066 | μmol/L | 33.8668 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.349 | 163947.6368 | 279563.4707 | 32.55 | 27.7
9519 | 2021-02-17 11:19 | 95.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8521 | μmol/L | 33.8361 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.364 | 164038.2727 | 279551.5838 | 32.55 | 27.7
9528 | 2021-02-17 11:20 | 95.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8779 | μmol/L | 33.7931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.378 | 164148.2185 | 279539.1977 | 32.55 | 27.7
9538 | 2021-02-17 11:20 | 96.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.8633 | μmol/L | 33.7931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.379 | 164150.9902 | 279541.0955 | 32.55 | 27.7
9548 | 2021-02-17 11:20 | 96.3877 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.7578 | μmol/L | 33.7746 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.393 | 164240.4235 | 279514.4636 | 32.55 | 27.7
9559 | 2021-02-17 11:21 | 96.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.6049 | μmol/L | 33.7869 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.399 | 164269.3886 | 279499.6721 | 32.55 | 27.7
9569 | 2021-02-17 11:21 | 97.0549 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.6923 | μmol/L | 33.7624 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.402 | 164306.0479 | 279474.1244 | 32.55 | 27.7
9578 | 2021-02-17 11:21 | 97.388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.6778 | μmol/L | 33.7378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.412 | 164380.1883 | 279469.7177 | 32.55 | 27.7
9589 | 2021-02-17 11:22 | 97.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.696 | μmol/L | 33.6825 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.431 | 164485.1406 | 279458.6609 | 32.55 | 27.7
9598 | 2021-02-17 11:22 | 98.0546 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.6596 | μmol/L | 33.6702 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.438 | 164562.8947 | 279444.0278 | 32.55 | 27.7
9608 | 2021-02-17 11:22 | 98.3875 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.38 | μmol/L | 33.7009 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.446 | 164579.5754 | 279439.4354 | 32.55 | 27.7
9619 | 2021-02-17 11:23 | 98.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.3474 | μmol/L | 33.6825 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.455 | 164632.1036 | 279423.6277 | 32.55 | 27.7
9628 | 2021-02-17 11:23 | 99.0544 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.4852 | μmol/L | 33.6456 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.459 | 164662.0391 | 279406.9688 | 32.55 | 27.7
9638 | 2021-02-17 11:23 | 99.3875 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 165.0794 | μmol/L | 33.6948 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.469 | 164732.4226 | 279385.121 | 32.55 | 27.7
9649 | 2021-02-17 11:24 | 99.7211 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.8913 | μmol/L | 33.6948 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.482 | 164854.2046 | 279380.6121 | 32.55 | 27.7
9659 | 2021-02-17 11:24 | 100.0549 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.8373 | μmol/L | 33.6641 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.497 | 164977.1084 | 279360.2607 | 32.55 | 27.7
9669 | 2021-02-17 11:24 | 100.3883 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.5848 | μmol/L | 33.6518 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.519 | 165111.8286 | 279361.0933 | 32.55 | 27.7
9679 | 2021-02-17 11:25 | 100.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.4047 | μmol/L | 33.6641 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.527 | 165183.3572 | 279341.7005 | 32.55 | 27.7
9688 | 2021-02-17 11:25 | 101.0542 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.0127 | μmol/L | 33.6948 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.543 | 165298.694 | 279326.9449 | 32.55 | 27.7
9698 | 2021-02-17 11:25 | 101.3878 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.8515 | μmol/L | 33.6764 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.561 | 165428.2272 | 279303.9567 | 32.55 | 27.7
9708 | 2021-02-17 11:26 | 101.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.1499 | μmol/L | 33.6088 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.565 | 165449.5949 | 279299.8347 | 32.55 | 27.7
9718 | 2021-02-17 11:26 | 102.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.3116 | μmol/L | 33.5535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.574 | 165507.6207 | 279279.2996 | 32.55 | 27.7
9728 | 2021-02-17 11:26 | 102.3878 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.1788 | μmol/L | 33.5351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.59 | 165612.0945 | 279275.6536 | 32.55 | 27.7
9739 | 2021-02-17 11:27 | 102.7208 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 164.1142 | μmol/L | 33.5474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.59 | 165590.9631 | 279274.7705 | 32.55 | 27.7
9749 | 2021-02-17 11:27 | 103.0541 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.745 | μmol/L | 33.5904 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.6 | 165700.1301 | 279246.1844 | 32.55 | 27.7
9758 | 2021-02-17 11:27 | 103.3879 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.5986 | μmol/L | 33.5719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.617 | 165795.3831 | 279225.9415 | 32.55 | 27.7
9768 | 2021-02-17 11:28 | 103.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.724 | μmol/L | 33.5044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.633 | 165923.4824 | 279211.1673 | 32.55 | 27.7
9778 | 2021-02-17 11:28 | 104.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.6847 | μmol/L | 33.4982 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.638 | 165990.6259 | 279203.5438 | 32.55 | 27.7
9788 | 2021-02-17 11:28 | 104.3875 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.3205 | μmol/L | 33.5351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.65 | 166067.0207 | 279211.8674 | 32.55 | 27.7
9799 | 2021-02-17 11:29 | 104.7216 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.1283 | μmol/L | 33.5228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.668 | 166179.9852 | 279194.3817 | 32.55 | 27.7
9809 | 2021-02-17 11:29 | 105.0544 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.9718 | μmol/L | 33.5228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.679 | 166249.8232 | 279170.881 | 32.55 | 27.7
9818 | 2021-02-17 11:29 | 105.3876 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.1072 | μmol/L | 33.4859 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.683 | 166274.3546 | 279157.4606 | 32.55 | 27.7
9828 | 2021-02-17 11:30 | 105.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.9578 | μmol/L | 33.4982 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.689 | 166309.0243 | 279142.0448 | 32.55 | 27.7
9838 | 2021-02-17 11:30 | 106.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.0931 | μmol/L | 33.4614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.693 | 166351.1204 | 279151.551 | 32.55 | 27.7
9849 | 2021-02-17 11:30 | 106.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.8336 | μmol/L | 33.4921 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.7 | 166387.6218 | 279140.5552 | 32.55 | 27.7
9858 | 2021-02-17 11:31 | 106.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 163.0292 | μmol/L | 33.4491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.702 | 166412.1647 | 279118.6448 | 32.55 | 27.7
9868 | 2021-02-17 11:31 | 107.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.5994 | μmol/L | 33.5044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.712 | 166474.7683 | 279091.4506 | 32.55 | 27.7
9879 | 2021-02-17 11:31 | 107.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.518 | μmol/L | 33.4982 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.72 | 166530.3443 | 279096.8646 | 32.55 | 27.7
9888 | 2021-02-17 11:32 | 107.7209 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.4725 | μmol/L | 33.4552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.739 | 166705.4885 | 279083.1556 | 32.55 | 27.7
9898 | 2021-02-17 11:32 | 108.0542 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.9209 | μmol/L | 33.5044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.76 | 166857.6068 | 279066.9989 | 32.55 | 27.7
9909 | 2021-02-17 11:32 | 108.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0055 | μmol/L | 33.5044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.754 | 166814.1703 | 279044.2188 | 32.55 | 27.7
9918 | 2021-02-17 11:33 | 108.7209 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.1191 | μmol/L | 33.4552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.764 | 166879.7055 | 279033.8376 | 32.55 | 27.7
9929 | 2021-02-17 11:33 | 109.055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.8645 | μmol/L | 33.5044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.764 | 166868.2078 | 279029.2109 | 32.55 | 27.7
9939 | 2021-02-17 11:33 | 109.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.7659 | μmol/L | 33.5044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.771 | 166919.6167 | 279020.6874 | 32.55 | 27.7
9948 | 2021-02-17 11:34 | 109.721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.6038 | μmol/L | 33.5167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.778 | 166965.066 | 279009.6244 | 32.55 | 27.7
9959 | 2021-02-17 11:34 | 110.0549 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 162.0594 | μmol/L | 33.4368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.775 | 166921.5013 | 279000.2473 | 32.55 | 27.7
9968 | 2021-02-17 11:34 | 110.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.7346 | μmol/L | 33.4859 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.78 | 166993.0016 | 278981.9091 | 32.55 | 27.7
9979 | 2021-02-17 11:35 | 110.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.5017 | μmol/L | 33.5228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.783 | 166991.683 | 278985.1882 | 32.55 | 27.7
9989 | 2021-02-17 11:35 | 111.0544 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 161.0824 | μmol/L | 33.5904 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.788 | 167041.2895 | 278968.4995 | 32.55 | 27.7
9999 | 2021-02-17 11:35 | 111.388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.7875 | μmol/L | 33.6149 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.8 | 167131.8113 | 278942.1981 | 32.55 | 27.7
10008 | 2021-02-17 11:36 | 111.7212 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.6058 | μmol/L | 33.6149 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.813 | 167239.9731 | 278939.3651 | 32.55 | 27.7
10018 | 2021-02-17 11:36 | 112.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.4979 | μmol/L | 33.6088 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.823 | 167303.0755 | 278923.5113 | 32.55 | 27.7
10029 | 2021-02-17 11:36 | 112.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.2877 | μmol/L | 33.6334 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.829 | 167355.2745 | 278916.8898 | 32.55 | 27.7
10038 | 2021-02-17 11:37 | 112.7211 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.0387 | μmol/L | 33.6764 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.831 | 167408.0201 | 278920.9885 | 32.55 | 27.7
10048 | 2021-02-17 11:37 | 113.0549 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 160.0259 | μmol/L | 33.6518 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.841 | 167450.9565 | 278906.1854 | 32.55 | 27.7
10059 | 2021-02-17 11:37 | 113.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.9136 | μmol/L | 33.6764 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.84 | 167456.8713 | 278886.0886 | 32.55 | 27.7
10069 | 2021-02-17 11:38 | 113.7211 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.6964 | μmol/L | 33.7132 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.842 | 167508.8111 | 278881.7017 | 32.55 | 27.7
10078 | 2021-02-17 11:38 | 114.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.2994 | μmol/L | 33.7501 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.857 | 167624.2984 | 278870.8096 | 32.55 | 27.7
10088 | 2021-02-17 11:38 | 114.3881 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.0605 | μmol/L | 33.7562 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.872 | 167751.7127 | 278855.6084 | 32.55 | 27.7
10099 | 2021-02-17 11:39 | 114.7213 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.8336 | μmol/L | 33.7439 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.893 | 167912.5099 | 278845.0501 | 32.55 | 27.7
10108 | 2021-02-17 11:39 | 115.0542 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 159.2772 | μmol/L | 33.6518 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.895 | 167962.5945 | 278849.5533 | 32.55 | 27.7
10118 | 2021-02-17 11:39 | 115.388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.5114 | μmol/L | 33.7746 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.905 | 168035.1265 | 278821.218 | 32.55 | 27.7
10129 | 2021-02-17 11:40 | 115.7212 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.3564 | μmol/L | 33.7808 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.914 | 168106.4662 | 278814.2828 | 32.55 | 27.7
10138 | 2021-02-17 11:40 | 116.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.0118 | μmol/L | 33.8484 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.914 | 168102.4414 | 278799.0109 | 32.55 | 27.7
10149 | 2021-02-17 11:40 | 116.3882 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 158.0568 | μmol/L | 33.8422 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.913 | 168132.031 | 278810.7356 | 32.55 | 27.7
10159 | 2021-02-17 11:41 | 116.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.9452 | μmol/L | 33.8668 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.912 | 168135.2388 | 278784.3703 | 32.55 | 27.7
10169 | 2021-02-17 11:41 | 117.0547 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.8982 | μmol/L | 33.8545 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.92 | 168197.8609 | 278775.6296 | 32.55 | 27.7
10179 | 2021-02-17 11:41 | 117.3876 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.8552 | μmol/L | 33.8791 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.914 | 168182.0904 | 278780.7201 | 32.55 | 27.7
10188 | 2021-02-17 11:42 | 117.7215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.7476 | μmol/L | 33.8975 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.915 | 168185.501 | 278775.0622 | 32.55 | 27.7
10199 | 2021-02-17 11:42 | 118.0543 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.4271 | μmol/L | 33.9282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.927 | 168261.7104 | 278755.9003 | 32.55 | 27.7
10208 | 2021-02-17 11:42 | 118.3883 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.4077 | μmol/L | 33.9159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.933 | 168338.9312 | 278757.5535 | 32.55 | 27.7
10219 | 2021-02-17 11:43 | 118.7214 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.277 | μmol/L | 33.9282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.938 | 168391.9558 | 278743.538 | 32.55 | 27.7
10228 | 2021-02-17 11:43 | 119.0541 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.1055 | μmol/L | 33.9405 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.946 | 168456.0587 | 278714.7722 | 32.55 | 27.7
10234 | 2021-02-17 11:43 | 119.3878 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 157.2053 | μmol/L | 33.8914 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.957 | 168546.3504 | 278718.0644 | 32.55 | 27.7