## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10247 | 2021-02-17 13:49 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.143 | μmol/L | 39.0985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.076 | 183683.3918 | 277433.3092 | 32.55 | 27.7
10257 | 2021-02-17 13:49 | 0.33956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.0926 | μmol/L | 39.0985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.081 | 183724.9183 | 277419.5501 | 32.55 | 27.7
10267 | 2021-02-17 13:50 | 0.67249 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.3521 | μmol/L | 38.9693 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.113 | 183951.5668 | 277397.8969 | 32.55 | 27.7
10277 | 2021-02-17 13:50 | 1.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.9767 | μmol/L | 39.0124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.131 | 184169.7249 | 277382.1568 | 32.55 | 27.7
10287 | 2021-02-17 13:50 | 1.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.5471 | μmol/L | 39.0431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.16 | 184373.3034 | 277366.8432 | 32.55 | 27.7
10297 | 2021-02-17 13:51 | 1.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.3415 | μmol/L | 39.0801 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.164 | 184417.6183 | 277339.5836 | 32.55 | 27.7
10307 | 2021-02-17 13:51 | 2.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.3341 | μmol/L | 39.0616 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.173 | 184507.7207 | 277322.5051 | 32.55 | 27.7
10317 | 2021-02-17 13:51 | 2.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.3343 | μmol/L | 39.037 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.184 | 184625.1693 | 277316.6539 | 32.55 | 27.7
10327 | 2021-02-17 13:52 | 2.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.3368 | μmol/L | 39.0185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.192 | 184704.7373 | 277310.8546 | 32.55 | 27.7
10337 | 2021-02-17 13:52 | 3.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.2594 | μmol/L | 39.0001 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.208 | 184826.2767 | 277287.326 | 32.55 | 27.7
10347 | 2021-02-17 13:52 | 3.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.0784 | μmol/L | 39.0185 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.217 | 184887.4457 | 277285.1913 | 32.55 | 27.7
10357 | 2021-02-17 13:53 | 3.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.706 | μmol/L | 39.037 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.247 | 185147.4718 | 277269.2455 | 32.55 | 27.7
10367 | 2021-02-17 13:53 | 4.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.7994 | μmol/L | 39.0185 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.245 | 185101.3492 | 277252.6347 | 32.55 | 27.7
10377 | 2021-02-17 13:53 | 4.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.8381 | μmol/L | 38.9939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.253 | 185203.8425 | 277251.3064 | 32.55 | 27.7
10387 | 2021-02-17 13:54 | 4.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.5892 | μmol/L | 39.0431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.256 | 185216.066 | 277239.6869 | 32.55 | 27.7
10397 | 2021-02-17 13:54 | 5.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.6095 | μmol/L | 38.9939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.276 | 185401.6794 | 277237.8004 | 32.55 | 27.7
10407 | 2021-02-17 13:54 | 5.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.213 | μmol/L | 39.0185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.305 | 185635.3762 | 277223.6647 | 32.55 | 27.7
10417 | 2021-02-17 13:55 | 5.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.2531 | μmol/L | 38.9447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.334 | 185898.2497 | 277211.8803 | 32.55 | 27.7
10427 | 2021-02-17 13:55 | 6.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.7545 | μmol/L | 39.0062 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.357 | 186112.402 | 277193.6019 | 32.55 | 27.7
10437 | 2021-02-17 13:55 | 6.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.867 | μmol/L | 38.9632 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.364 | 186184.1485 | 277186.1766 | 32.55 | 27.7
10447 | 2021-02-17 13:56 | 6.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.7774 | μmol/L | 38.9386 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.385 | 186369.1154 | 277183.1594 | 32.55 | 27.7
10457 | 2021-02-17 13:56 | 7.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.1464 | μmol/L | 39.0062 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.419 | 186657.6033 | 277190.4807 | 32.55 | 27.7
10467 | 2021-02-17 13:56 | 7.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.8759 | μmol/L | 38.9878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.455 | 186956.0328 | 277162.8427 | 32.55 | 27.7
10477 | 2021-02-17 13:57 | 7.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.7567 | μmol/L | 38.9816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.47 | 187143.639 | 277156.6169 | 32.55 | 27.7
10487 | 2021-02-17 13:57 | 8.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.9419 | μmol/L | 38.9816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.451 | 186958.6007 | 277167.7975 | 32.55 | 27.7
10497 | 2021-02-17 13:57 | 8.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.1539 | μmol/L | 39.0001 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.421 | 186706.0199 | 277163.1419 | 32.55 | 27.7
10507 | 2021-02-17 13:58 | 8.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.8088 | μmol/L | 39.0431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.437 | 186807.2645 | 277158.148 | 32.55 | 27.7
10517 | 2021-02-17 13:58 | 9.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.4848 | μmol/L | 39.0616 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.462 | 187024.5487 | 277137.1726 | 32.55 | 27.7
10527 | 2021-02-17 13:58 | 9.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.137 | μmol/L | 39.0924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.484 | 187240.8405 | 277136.8311 | 32.55 | 27.7
10537 | 2021-02-17 13:59 | 9.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.1775 | μmol/L | 39.0431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.502 | 187399.7891 | 277138.2568 | 32.55 | 27.7
10547 | 2021-02-17 13:59 | 10.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.8085 | μmol/L | 39.0924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.518 | 187517.9598 | 277122.0818 | 32.55 | 27.7
10557 | 2021-02-17 13:59 | 10.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.8082 | μmol/L | 39.037 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.543 | 187758.0018 | 277132.3261 | 32.55 | 27.7
10567 | 2021-02-17 14:00 | 10.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.7587 | μmol/L | 39.0062 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.562 | 187963.3235 | 277115.7198 | 32.55 | 27.7
10577 | 2021-02-17 14:00 | 11.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.0825 | μmol/L | 39.1047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.588 | 188153.163 | 277110.8988 | 32.55 | 27.7
10587 | 2021-02-17 14:00 | 11.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.239 | μmol/L | 39.0862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.58 | 188122.4078 | 277094.5103 | 32.55 | 27.7
10597 | 2021-02-17 14:01 | 11.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.1016 | μmol/L | 39.1047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.586 | 188169.7011 | 277094.1493 | 32.55 | 27.7
10607 | 2021-02-17 14:01 | 12.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.4736 | μmol/L | 39.0431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.575 | 188066.6292 | 277083.2038 | 32.55 | 27.7
10617 | 2021-02-17 14:01 | 12.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.29 | μmol/L | 39.1231 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.558 | 187898.449 | 277089.2339 | 32.55 | 27.7
10627 | 2021-02-17 14:02 | 12.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.177 | μmol/L | 39.1293 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.567 | 187968.2367 | 277081.8755 | 32.55 | 27.7
10637 | 2021-02-17 14:02 | 13.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.7704 | μmol/L | 39.1724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.59 | 188200.1455 | 277081.8524 | 32.55 | 27.7
10647 | 2021-02-17 14:02 | 13.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.7774 | μmol/L | 39.1354 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.606 | 188340.5572 | 277076.9425 | 32.55 | 27.7
10657 | 2021-02-17 14:03 | 13.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.7991 | μmol/L | 39.1724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.587 | 188195.2571 | 277073.0483 | 32.55 | 27.7
10667 | 2021-02-17 14:03 | 14.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.4032 | μmol/L | 39.2154 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.609 | 188375.9652 | 277074.3643 | 32.55 | 27.7
10677 | 2021-02-17 14:03 | 14.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.105 | μmol/L | 39.2339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.632 | 188630.1697 | 277045.1776 | 32.55 | 27.7
10687 | 2021-02-17 14:04 | 14.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.1199 | μmol/L | 39.1908 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.65 | 188826.4355 | 277052.5307 | 32.55 | 27.7
10697 | 2021-02-17 14:04 | 15.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.1026 | μmol/L | 39.1662 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.663 | 188905.8269 | 277057.1943 | 32.55 | 27.7
10707 | 2021-02-17 14:04 | 15.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.9098 | μmol/L | 39.2154 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.661 | 188879.0315 | 277036.9862 | 32.55 | 27.7
10717 | 2021-02-17 14:05 | 15.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.7548 | μmol/L | 39.2339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.669 | 188973.4737 | 277035.8772 | 32.55 | 27.7
10727 | 2021-02-17 14:05 | 16.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.734 | μmol/L | 39.197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.688 | 189149.84 | 277036.5871 | 32.55 | 27.7
10737 | 2021-02-17 14:05 | 16.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.152 | μmol/L | 39.2646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.719 | 189472.1527 | 277026.4535 | 32.55 | 27.7
10747 | 2021-02-17 14:06 | 16.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.2479 | μmol/L | 39.24 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.72 | 189474.7977 | 277030.3071 | 32.55 | 27.7
10757 | 2021-02-17 14:06 | 17.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.7593 | μmol/L | 39.3323 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.73 | 189553.423 | 277026.6724 | 32.55 | 27.7
10767 | 2021-02-17 14:06 | 17.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.8827 | μmol/L | 39.3385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.714 | 189428.1583 | 277018.5639 | 32.55 | 27.7
10777 | 2021-02-17 14:07 | 17.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.0068 | μmol/L | 39.3139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.712 | 189445.6512 | 277027.727 | 32.55 | 27.7
10787 | 2021-02-17 14:07 | 18.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.1422 | μmol/L | 39.2954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.706 | 189367.4504 | 277017.7871 | 32.55 | 27.7
10797 | 2021-02-17 14:07 | 18.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.0796 | μmol/L | 39.3385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.693 | 189281.9388 | 277001.7634 | 32.55 | 27.7
10807 | 2021-02-17 14:08 | 18.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.7254 | μmol/L | 39.4123 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.697 | 189290.0389 | 276994.168 | 32.55 | 27.7
10817 | 2021-02-17 14:08 | 19.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.5894 | μmol/L | 39.3939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.72 | 189520.8414 | 276992.4742 | 32.55 | 27.7
10827 | 2021-02-17 14:08 | 19.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.519 | μmol/L | 39.3754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.736 | 189634.9148 | 276995.4895 | 32.55 | 27.7
10837 | 2021-02-17 14:09 | 19.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.5317 | μmol/L | 39.3877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.729 | 189592.889 | 276982.4788 | 32.55 | 27.7
10847 | 2021-02-17 14:09 | 20.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.5418 | μmol/L | 39.4246 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.711 | 189450.1077 | 276978.5498 | 32.55 | 27.7
10857 | 2021-02-17 14:09 | 20.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.6158 | μmol/L | 39.3877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.72 | 189529.1189 | 276971.549 | 32.55 | 27.7
10867 | 2021-02-17 14:10 | 20.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.2393 | μmol/L | 39.48 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.718 | 189481.1399 | 276958.9192 | 32.55 | 27.7
10877 | 2021-02-17 14:10 | 21.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.185 | μmol/L | 39.4862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.721 | 189551.9554 | 276962.4393 | 32.55 | 27.7
10887 | 2021-02-17 14:10 | 21.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.9991 | μmol/L | 39.4862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.741 | 189708.5175 | 276960.656 | 32.55 | 27.7
10897 | 2021-02-17 14:11 | 21.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.9726 | μmol/L | 39.4554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.758 | 189863.1639 | 276953.7916 | 32.55 | 27.7
10907 | 2021-02-17 14:11 | 22.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.0254 | μmol/L | 39.48 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.741 | 189700.4151 | 276946.5909 | 32.55 | 27.7
10917 | 2021-02-17 14:11 | 22.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.682 | μmol/L | 39.5538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.744 | 189752.3232 | 276950.092 | 32.55 | 27.7
10927 | 2021-02-17 14:12 | 22.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.8721 | μmol/L | 39.4615 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.766 | 189919.0619 | 276940.281 | 32.55 | 27.7
10937 | 2021-02-17 14:12 | 23.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.6329 | μmol/L | 39.5046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.772 | 189979.9932 | 276937.1472 | 32.55 | 27.7
10947 | 2021-02-17 14:12 | 23.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.582 | μmol/L | 39.5231 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.769 | 189940.3316 | 276932.9501 | 32.55 | 27.7
10957 | 2021-02-17 14:13 | 23.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.2138 | μmol/L | 39.5661 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.789 | 190137.7082 | 276934.0257 | 32.55 | 27.7
10967 | 2021-02-17 14:13 | 24.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.5019 | μmol/L | 39.4615 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.806 | 190314.5222 | 276923.7629 | 32.55 | 27.7
10977 | 2021-02-17 14:13 | 24.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.9306 | μmol/L | 39.5354 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.834 | 190554.335 | 276927.9347 | 32.55 | 27.7
10987 | 2021-02-17 14:14 | 24.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.7167 | μmol/L | 39.5231 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.863 | 190832.8636 | 276926.7883 | 32.55 | 27.7
10997 | 2021-02-17 14:14 | 25.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.5691 | μmol/L | 39.48 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.899 | 191170.658 | 276937.4175 | 32.55 | 27.7
11007 | 2021-02-17 14:14 | 25.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.6515 | μmol/L | 39.48 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.89 | 191071.6889 | 276921.8354 | 32.55 | 27.7
11017 | 2021-02-17 14:15 | 25.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.9341 | μmol/L | 39.4738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.862 | 190785.6889 | 276910.8541 | 32.55 | 27.7
11027 | 2021-02-17 14:15 | 26.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.9034 | μmol/L | 39.4985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.854 | 190730.5749 | 276924.4924 | 32.55 | 27.7
11037 | 2021-02-17 14:15 | 26.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.6005 | μmol/L | 39.5354 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.87 | 190870.6322 | 276924.8554 | 32.55 | 27.7
11047 | 2021-02-17 14:16 | 26.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.5523 | μmol/L | 39.4862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.898 | 191153.2863 | 276906.7464 | 32.55 | 27.7
11057 | 2021-02-17 14:16 | 27.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.2261 | μmol/L | 39.5354 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.911 | 191269.9883 | 276907.5988 | 32.55 | 27.7
11067 | 2021-02-17 14:16 | 27.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.5673 | μmol/L | 39.5108 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.885 | 191030.4367 | 276899.3108 | 32.55 | 27.7
11077 | 2021-02-17 14:17 | 27.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.4485 | μmol/L | 39.5108 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.898 | 191149.6158 | 276907.2962 | 32.55 | 27.7
11087 | 2021-02-17 14:17 | 28.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.6134 | μmol/L | 39.4738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.897 | 191145.6857 | 276890.8257 | 32.55 | 27.7
11097 | 2021-02-17 14:17 | 28.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.6394 | μmol/L | 39.3939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.931 | 191455.1917 | 276877.9486 | 32.55 | 27.7
11107 | 2021-02-17 14:18 | 28.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.692 | μmol/L | 39.3139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.962 | 191721.0172 | 276876.9355 | 32.55 | 27.7
11117 | 2021-02-17 14:18 | 29.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.3807 | μmol/L | 39.3816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.965 | 191721.6318 | 276881.8847 | 32.55 | 27.7
11127 | 2021-02-17 14:18 | 29.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.3564 | μmol/L | 39.3939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.962 | 191651.7622 | 276871.1036 | 32.55 | 27.7
11137 | 2021-02-17 14:19 | 29.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.9543 | μmol/L | 39.4615 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.975 | 191787.71 | 276872.1604 | 32.55 | 27.7
11147 | 2021-02-17 14:19 | 30.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.8229 | μmol/L | 39.4431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.998 | 191964.2395 | 276864.2217 | 32.55 | 27.7
11157 | 2021-02-17 14:19 | 30.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.9788 | μmol/L | 39.4123 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.995 | 191975.3029 | 276858.7394 | 32.55 | 27.7
11167 | 2021-02-17 14:20 | 30.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.7156 | μmol/L | 39.4492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.007 | 192066.2067 | 276861.7252 | 32.55 | 27.7
11177 | 2021-02-17 14:20 | 31.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.7338 | μmol/L | 39.4492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.005 | 191972.7766 | 276852.5679 | 32.55 | 27.7
11187 | 2021-02-17 14:20 | 31.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.7913 | μmol/L | 39.4246 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.01 | 192064.3979 | 276853.0592 | 32.55 | 27.7
11197 | 2021-02-17 14:21 | 31.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.6436 | μmol/L | 39.4123 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.032 | 192281.4672 | 276860.173 | 32.55 | 27.7
11207 | 2021-02-17 14:21 | 32.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.4434 | μmol/L | 39.4062 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.057 | 192459.1333 | 276848.5229 | 32.55 | 27.7
11217 | 2021-02-17 14:21 | 32.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.3354 | μmol/L | 39.3692 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.086 | 192742.6076 | 276833.9449 | 32.55 | 27.7
11227 | 2021-02-17 14:22 | 32.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.3068 | μmol/L | 39.3631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.092 | 192807.7349 | 276843.7777 | 32.55 | 27.7
11237 | 2021-02-17 14:22 | 33.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.3188 | μmol/L | 39.3754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.085 | 192702.9642 | 276827.8108 | 32.55 | 27.7
11247 | 2021-02-17 14:22 | 33.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.4045 | μmol/L | 39.2277 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.033 | 192245.6672 | 276847.4781 | 32.55 | 27.7
11257 | 2021-02-17 14:23 | 33.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.2799 | μmol/L | 39.3077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.01 | 192053.1989 | 276839.0684 | 32.55 | 27.7
11267 | 2021-02-17 14:23 | 34.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.5875 | μmol/L | 39.197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.027 | 192204.2506 | 276842.569 | 32.55 | 27.7
11277 | 2021-02-17 14:23 | 34.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.9103 | μmol/L | 39.2831 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.062 | 192482.4478 | 276819.6998 | 32.55 | 27.7
11287 | 2021-02-17 14:24 | 34.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.6287 | μmol/L | 39.3508 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.062 | 192474.4952 | 276823.5506 | 32.55 | 27.7
11297 | 2021-02-17 14:24 | 35.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.9438 | μmol/L | 39.3077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.047 | 192296.4376 | 276803.8656 | 32.55 | 27.7
11307 | 2021-02-17 14:24 | 35.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.2498 | μmol/L | 39.2277 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.05 | 192327.1475 | 276817.5683 | 32.55 | 27.7
11317 | 2021-02-17 14:25 | 35.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.669 | μmol/L | 39.1293 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.049 | 192345.2996 | 276804.6201 | 32.55 | 27.7
11327 | 2021-02-17 14:25 | 36.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.7459 | μmol/L | 39.1108 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.049 | 192302.0679 | 276805.621 | 32.55 | 27.7
11337 | 2021-02-17 14:25 | 36.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.5834 | μmol/L | 39.117 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.064 | 192427.5988 | 276799.222 | 32.55 | 27.7
11347 | 2021-02-17 14:26 | 36.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.7033 | μmol/L | 39.1539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.034 | 192148.0702 | 276795.1082 | 32.55 | 27.7
11357 | 2021-02-17 14:26 | 37.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.4992 | μmol/L | 39.1416 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.062 | 192412.1744 | 276799.7989 | 32.55 | 27.7
11367 | 2021-02-17 14:26 | 37.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.0805 | μmol/L | 39.1724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.094 | 192698.3684 | 276800.6015 | 32.55 | 27.7
11377 | 2021-02-17 14:27 | 37.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.7216 | μmol/L | 39.1847 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.128 | 192999.4958 | 276799.7453 | 32.55 | 27.7
11387 | 2021-02-17 14:27 | 38.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.784 | μmol/L | 39.1477 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.138 | 193089.1353 | 276789.2088 | 32.55 | 27.7
11397 | 2021-02-17 14:27 | 38.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.7224 | μmol/L | 39.1539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.142 | 193120.3926 | 276784.0094 | 32.55 | 27.7
11407 | 2021-02-17 14:28 | 38.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.801 | μmol/L | 39.1108 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.153 | 193201.4434 | 276791.4701 | 32.55 | 27.7
11417 | 2021-02-17 14:28 | 39.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.9376 | μmol/L | 39.0185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.18 | 193451.4392 | 276789.9249 | 32.55 | 27.7
11427 | 2021-02-17 14:28 | 39.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.0644 | μmol/L | 38.9878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.18 | 193457.7736 | 276777.5636 | 32.55 | 27.7
11437 | 2021-02-17 14:29 | 39.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.5359 | μmol/L | 39.0985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.188 | 193497.5834 | 276775.915 | 32.55 | 27.7
11447 | 2021-02-17 14:29 | 40.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.6774 | μmol/L | 39.0247 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.206 | 193623.9219 | 276769.9421 | 32.55 | 27.7
11457 | 2021-02-17 14:29 | 40.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.6882 | μmol/L | 39.0308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.202 | 193596.3461 | 276774.1119 | 32.55 | 27.7
11467 | 2021-02-17 14:30 | 40.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.8726 | μmol/L | 38.9509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.218 | 193702.2856 | 276758.2959 | 32.55 | 27.7
11477 | 2021-02-17 14:30 | 41.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.575 | μmol/L | 38.9509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.251 | 194025.9702 | 276759.3309 | 32.55 | 27.7
11487 | 2021-02-17 14:30 | 41.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.9515 | μmol/L | 39.0308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.284 | 194287.5092 | 276775.0155 | 32.55 | 27.7
11497 | 2021-02-17 14:31 | 41.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.0038 | μmol/L | 38.9939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.295 | 194360.4576 | 276767.1639 | 32.55 | 27.7
11507 | 2021-02-17 14:31 | 42.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.9057 | μmol/L | 38.9632 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.32 | 194552.3866 | 276755.5934 | 32.55 | 27.7
11517 | 2021-02-17 14:31 | 42.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.1492 | μmol/L | 38.9078 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.318 | 194547.4313 | 276746.0882 | 32.55 | 27.7
11527 | 2021-02-17 14:32 | 42.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.82 | μmol/L | 38.9447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.338 | 194733.3263 | 276738.7391 | 32.55 | 27.7
11537 | 2021-02-17 14:32 | 43.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.5738 | μmol/L | 38.957 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.36 | 194904.4434 | 276750.275 | 32.55 | 27.7
11547 | 2021-02-17 14:32 | 43.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.4989 | μmol/L | 38.9755 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.36 | 194923.5282 | 276739.6179 | 32.55 | 27.7
11557 | 2021-02-17 14:33 | 43.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.3211 | μmol/L | 38.9755 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.38 | 195087.9076 | 276722.6626 | 32.55 | 27.7
11567 | 2021-02-17 14:33 | 44.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.5721 | μmol/L | 38.9509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.363 | 194922.1733 | 276732.7218 | 32.55 | 27.7
11577 | 2021-02-17 14:33 | 44.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.7144 | μmol/L | 38.9816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.333 | 194678.789 | 276716.1922 | 32.55 | 27.7
11587 | 2021-02-17 14:34 | 44.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.2458 | μmol/L | 38.8709 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.324 | 194578.2309 | 276723.0979 | 32.55 | 27.7
11597 | 2021-02-17 14:34 | 45.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.879 | μmol/L | 38.9016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.351 | 194795.5336 | 276710.5396 | 32.55 | 27.7
11607 | 2021-02-17 14:34 | 45.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.2681 | μmol/L | 38.9447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.4 | 195251.1609 | 276697.6032 | 32.55 | 27.7
11617 | 2021-02-17 14:35 | 45.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.3092 | μmol/L | 38.9016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.415 | 195381.5406 | 276700.0267 | 32.55 | 27.7
11627 | 2021-02-17 14:35 | 46.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.4709 | μmol/L | 38.8463 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.422 | 195443.5849 | 276696.2437 | 32.55 | 27.7
11637 | 2021-02-17 14:35 | 46.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.4514 | μmol/L | 38.8709 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.413 | 195352.5702 | 276690.6432 | 32.55 | 27.7
11647 | 2021-02-17 14:36 | 46.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.1 | μmol/L | 38.914 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.433 | 195506.0302 | 276685.276 | 32.55 | 27.7
11657 | 2021-02-17 14:36 | 47.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.8737 | μmol/L | 38.8955 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.467 | 195831.534 | 276670.5923 | 32.55 | 27.7
11667 | 2021-02-17 14:36 | 47.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.5853 | μmol/L | 38.9693 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.466 | 195820.9762 | 276675.9336 | 32.55 | 27.7
11677 | 2021-02-17 14:37 | 47.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.8791 | μmol/L | 38.8832 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.472 | 195868.8065 | 276668.6859 | 32.55 | 27.7
11687 | 2021-02-17 14:37 | 48.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.706 | μmol/L | 38.8955 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.486 | 195962.8218 | 276660.5262 | 32.55 | 27.7
11697 | 2021-02-17 14:37 | 48.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.1882 | μmol/L | 38.9632 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.514 | 196232.744 | 276644.2215 | 32.55 | 27.7
11707 | 2021-02-17 14:38 | 48.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.2413 | μmol/L | 38.9324 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.522 | 196304.2377 | 276677.9862 | 32.55 | 27.7
11717 | 2021-02-17 14:38 | 49.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.8032 | μmol/L | 38.9632 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.558 | 196641.5952 | 276660.0027 | 32.55 | 27.7
11727 | 2021-02-17 14:38 | 49.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.895 | μmol/L | 38.914 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.57 | 196730.7559 | 276653.2019 | 32.55 | 27.7
11737 | 2021-02-17 14:39 | 49.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.7188 | μmol/L | 38.9078 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.593 | 196981.1324 | 276641.5716 | 32.55 | 27.7
11747 | 2021-02-17 14:39 | 50.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.4891 | μmol/L | 38.8955 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.625 | 197214.1753 | 276637.0735 | 32.55 | 27.7
11757 | 2021-02-17 14:39 | 50.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.947 | μmol/L | 38.9447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.665 | 197582.1361 | 276638.4312 | 32.55 | 27.7
11767 | 2021-02-17 14:40 | 50.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.3101 | μmol/L | 38.9816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.722 | 198089.2278 | 276642.8394 | 32.55 | 27.7
11777 | 2021-02-17 14:40 | 51.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.4071 | μmol/L | 38.957 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.722 | 198103.9235 | 276651.3694 | 32.55 | 27.7
11787 | 2021-02-17 14:40 | 51.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.2489 | μmol/L | 39.0124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.715 | 198038.317 | 276645.9428 | 32.55 | 27.7
11797 | 2021-02-17 14:41 | 51.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.3534 | μmol/L | 38.914 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.748 | 198328.7169 | 276642.8149 | 32.55 | 27.7
11807 | 2021-02-17 14:41 | 52.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.1585 | μmol/L | 38.8893 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.782 | 198637.4588 | 276640.837 | 32.55 | 27.7
11817 | 2021-02-17 14:41 | 52.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.653 | μmol/L | 38.9878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.796 | 198758.3174 | 276648.7294 | 32.55 | 27.7
11827 | 2021-02-17 14:42 | 52.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.9011 | μmol/L | 38.9201 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.798 | 198822.1431 | 276631.1648 | 32.55 | 27.7
11837 | 2021-02-17 14:42 | 53.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.5209 | μmol/L | 38.9693 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.82 | 198980.2582 | 276628.9261 | 32.55 | 27.7
11847 | 2021-02-17 14:42 | 53.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.3071 | μmol/L | 39.0001 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.831 | 199124.5431 | 276626.0286 | 32.55 | 27.7
11857 | 2021-02-17 14:43 | 53.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.3037 | μmol/L | 38.914 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.871 | 199454.4096 | 276612.3936 | 32.55 | 27.7
11867 | 2021-02-17 14:43 | 54.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.0429 | μmol/L | 38.957 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.882 | 199557.3631 | 276617.8164 | 32.55 | 27.7
11877 | 2021-02-17 14:43 | 54.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.7781 | μmol/L | 39.0185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.885 | 199576.5041 | 276617.0579 | 32.55 | 27.7
11887 | 2021-02-17 14:44 | 54.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.3962 | μmol/L | 39.0431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.919 | 199912.4929 | 276596.273 | 32.55 | 27.7
11897 | 2021-02-17 14:44 | 55.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.2659 | μmol/L | 39.0616 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.926 | 200002.7605 | 276605.5547 | 32.55 | 27.7
11907 | 2021-02-17 14:44 | 55.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.7754 | μmol/L | 38.9693 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.908 | 199831.6249 | 276598.6846 | 32.55 | 27.7
11917 | 2021-02-17 14:45 | 55.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.3021 | μmol/L | 39.0739 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.916 | 199910.9944 | 276594.1785 | 32.55 | 27.7
11927 | 2021-02-17 14:45 | 56.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.0152 | μmol/L | 39.1047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.936 | 200085.8702 | 276584.4045 | 32.55 | 27.7
11937 | 2021-02-17 14:45 | 56.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 101.428 | μmol/L | 39.1724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.975 | 200426.2361 | 276587.4281 | 32.55 | 27.7
11947 | 2021-02-17 14:46 | 56.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 101.3103 | μmol/L | 39.1231 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.012 | 200753.2114 | 276586.6204 | 32.55 | 27.7
11957 | 2021-02-17 14:46 | 57.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 100.9245 | μmol/L | 39.1847 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.03 | 200951.2583 | 276582.0998 | 32.55 | 27.7
11967 | 2021-02-17 14:46 | 57.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 100.8441 | μmol/L | 39.197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.034 | 200951.8987 | 276572.277 | 32.55 | 27.7
11977 | 2021-02-17 14:47 | 57.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 100.8949 | μmol/L | 39.2031 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.025 | 200915.3855 | 276571.4522 | 32.55 | 27.7
11987 | 2021-02-17 14:47 | 58.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 100.4337 | μmol/L | 39.2523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.058 | 201165.7722 | 276576.5795 | 32.55 | 27.7
11997 | 2021-02-17 14:47 | 58.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 100.0387 | μmol/L | 39.2462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.109 | 201638.061 | 276567.6449 | 32.55 | 27.7
12007 | 2021-02-17 14:48 | 58.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.7169 | μmol/L | 39.2277 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.157 | 202082.6732 | 276561.8523 | 32.55 | 27.7
12017 | 2021-02-17 14:48 | 59.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.4411 | μmol/L | 39.2339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.188 | 202382.6873 | 276569.5218 | 32.55 | 27.7
12027 | 2021-02-17 14:48 | 59.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.4899 | μmol/L | 39.2339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.182 | 202364.7786 | 276572.4467 | 32.55 | 27.7
12037 | 2021-02-17 14:49 | 59.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.6537 | μmol/L | 39.24 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.159 | 202092.6835 | 276565.038 | 32.55 | 27.7
12047 | 2021-02-17 14:49 | 60.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.2665 | μmol/L | 39.2585 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.198 | 202466.3529 | 276566.2515 | 32.55 | 27.7
12057 | 2021-02-17 14:49 | 60.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.7789 | μmol/L | 39.2093 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.158 | 202124.799 | 276553.8492 | 32.55 | 27.7
12067 | 2021-02-17 14:50 | 60.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.3949 | μmol/L | 39.3508 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.139 | 201974.3754 | 276548.0934 | 32.55 | 27.7
12077 | 2021-02-17 14:50 | 61.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.1852 | μmol/L | 39.3077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.185 | 202408.4644 | 276561.9045 | 32.55 | 27.7
12087 | 2021-02-17 14:50 | 61.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.0746 | μmol/L | 39.3262 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.19 | 202455.4058 | 276560.45 | 32.55 | 27.7
12097 | 2021-02-17 14:51 | 61.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 99.2503 | μmol/L | 39.2585 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.2 | 202532.9635 | 276549.6952 | 32.55 | 27.7
12107 | 2021-02-17 14:51 | 62.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.7649 | μmol/L | 39.2585 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.26 | 203063.785 | 276547.8913 | 32.55 | 27.7
12117 | 2021-02-17 14:51 | 62.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.2312 | μmol/L | 39.3446 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.286 | 203307.3192 | 276546.8431 | 32.55 | 27.7
12127 | 2021-02-17 14:52 | 62.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.3095 | μmol/L | 39.3877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.256 | 203019.6348 | 276542.4559 | 32.55 | 27.7
12137 | 2021-02-17 14:52 | 63.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.3676 | μmol/L | 39.3446 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.269 | 203115.8762 | 276540.2608 | 32.55 | 27.7
12147 | 2021-02-17 14:52 | 63.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.0436 | μmol/L | 39.4369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.266 | 203092.0648 | 276559.0959 | 32.55 | 27.7
12157 | 2021-02-17 14:53 | 63.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.3916 | μmol/L | 39.4 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.24 | 202893.4538 | 276537.674 | 32.55 | 27.7
12167 | 2021-02-17 14:53 | 64.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.2168 | μmol/L | 39.4738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.227 | 202778.6743 | 276546.2981 | 32.55 | 27.7
12177 | 2021-02-17 14:53 | 64.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.3755 | μmol/L | 39.4 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.242 | 202913.6763 | 276541.9053 | 32.55 | 27.7
12187 | 2021-02-17 14:54 | 64.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.2922 | μmol/L | 39.4369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.235 | 202875.4975 | 276529.316 | 32.55 | 27.7
12197 | 2021-02-17 14:54 | 65.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.1815 | μmol/L | 39.4492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.243 | 202921.549 | 276531.5351 | 32.55 | 27.7
12207 | 2021-02-17 14:54 | 65.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.2487 | μmol/L | 39.4123 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.252 | 203016.8707 | 276523.7842 | 32.55 | 27.7
12217 | 2021-02-17 14:55 | 65.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.2791 | μmol/L | 39.4 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.254 | 203027.653 | 276518.0863 | 32.55 | 27.7
12227 | 2021-02-17 14:55 | 66.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.42 | μmol/L | 39.4308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.222 | 202743.7495 | 276515.9862 | 32.55 | 27.7
12237 | 2021-02-17 14:55 | 66.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.4843 | μmol/L | 39.4308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.214 | 202704.9923 | 276514.1676 | 32.55 | 27.7
12247 | 2021-02-17 14:56 | 66.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 98.472 | μmol/L | 39.4 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.23 | 202831.4783 | 276514.3761 | 32.55 | 27.7
12257 | 2021-02-17 14:56 | 67.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.9788 | μmol/L | 39.4308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.277 | 203250.8879 | 276507.3482 | 32.55 | 27.7
12267 | 2021-02-17 14:56 | 67.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.3655 | μmol/L | 39.4985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.322 | 203677.6699 | 276518.1685 | 32.55 | 27.7
12277 | 2021-02-17 14:57 | 67.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.7207 | μmol/L | 39.4738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.289 | 203402.5089 | 276511.3508 | 32.55 | 27.7
12287 | 2021-02-17 14:57 | 68.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.8134 | μmol/L | 39.4492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.289 | 203382.3968 | 276497.8859 | 32.55 | 27.7
12297 | 2021-02-17 14:57 | 68.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.7044 | μmol/L | 39.3508 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.349 | 203900.7009 | 276495.847 | 32.55 | 27.7
12307 | 2021-02-17 14:58 | 68.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.2071 | μmol/L | 39.3754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.4 | 204374.2764 | 276504.2942 | 32.55 | 27.7
12317 | 2021-02-17 14:58 | 69.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 96.7107 | μmol/L | 39.4492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.428 | 204596.1591 | 276500.3848 | 32.55 | 27.7
12327 | 2021-02-17 14:58 | 69.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 96.5884 | μmol/L | 39.48 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.429 | 204613.5615 | 276496.8645 | 32.55 | 27.7
12337 | 2021-02-17 14:59 | 69.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 96.5125 | μmol/L | 39.4369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.459 | 204873.9691 | 276492.8543 | 32.55 | 27.7
12347 | 2021-02-17 14:59 | 70.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 96.7654 | μmol/L | 39.3816 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.453 | 204783.8668 | 276503.3136 | 32.55 | 27.7
12357 | 2021-02-17 14:59 | 70.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 96.9144 | μmol/L | 39.4369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.408 | 204422.4905 | 276486.4648 | 32.55 | 27.7
12367 | 2021-02-17 15:00 | 70.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.1896 | μmol/L | 39.3631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.408 | 204368.1304 | 276490.0911 | 32.55 | 27.7
12377 | 2021-02-17 15:00 | 71.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 97.2075 | μmol/L | 39.32 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.426 | 204561.7195 | 276486.991 | 32.55 | 27.7
12387 | 2021-02-17 15:00 | 71.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 96.6465 | μmol/L | 39.3754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.471 | 204946.611 | 276471.3198 | 32.55 | 27.7
12397 | 2021-02-17 15:01 | 71.673 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 95.8562 | μmol/L | 39.4492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.537 | 205532.7117 | 276485.7824 | 32.55 | 27.7
12407 | 2021-02-17 15:01 | 72.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 95.6898 | μmol/L | 39.4246 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.57 | 205828.1099 | 276474.9762 | 32.55 | 27.7
12417 | 2021-02-17 15:01 | 72.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 95.7952 | μmol/L | 39.3939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.571 | 205840.2046 | 276460.9008 | 32.55 | 27.7
12427 | 2021-02-17 15:02 | 72.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 95.9388 | μmol/L | 39.2954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.599 | 206089.3348 | 276475.2789 | 32.55 | 27.7
12437 | 2021-02-17 15:02 | 73.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 95.0907 | μmol/L | 39.4062 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.656 | 206589.316 | 276470.4398 | 32.55 | 27.7
12447 | 2021-02-17 15:02 | 73.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.9048 | μmol/L | 39.4 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.683 | 206804.3611 | 276460.5613 | 32.55 | 27.7
12457 | 2021-02-17 15:03 | 73.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 95.0975 | μmol/L | 39.3323 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.69 | 206882.2331 | 276472.0645 | 32.55 | 27.7
12467 | 2021-02-17 15:03 | 74.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.5693 | μmol/L | 39.3569 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.747 | 207369.2569 | 276471.6573 | 32.55 | 27.7
12477 | 2021-02-17 15:03 | 74.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.9109 | μmol/L | 39.32 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.72 | 207138.3387 | 276445.7254 | 32.55 | 27.7
12487 | 2021-02-17 15:04 | 74.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.9454 | μmol/L | 39.3508 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.701 | 206949.4071 | 276449.8207 | 32.55 | 27.7
12497 | 2021-02-17 15:04 | 75.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.8277 | μmol/L | 39.3323 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.725 | 207201.1426 | 276443.5355 | 32.55 | 27.7
12507 | 2021-02-17 15:04 | 75.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.5007 | μmol/L | 39.2954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.785 | 207696.9786 | 276455.5346 | 32.55 | 27.7
12517 | 2021-02-17 15:05 | 75.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.3905 | μmol/L | 39.2708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.811 | 207929.1141 | 276448.5172 | 32.55 | 27.7
12527 | 2021-02-17 15:05 | 76.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.3163 | μmol/L | 39.2893 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.812 | 207906.0966 | 276449.0964 | 32.55 | 27.7
12537 | 2021-02-17 15:05 | 76.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.2689 | μmol/L | 39.2154 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.853 | 208239.2927 | 276429.3771 | 32.55 | 27.7
12547 | 2021-02-17 15:06 | 76.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 93.8247 | μmol/L | 39.2585 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.891 | 208589.1177 | 276428.2467 | 32.55 | 27.7
12557 | 2021-02-17 15:06 | 77.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 93.7465 | μmol/L | 39.24 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.91 | 208813.5809 | 276429.8933 | 32.55 | 27.7
12567 | 2021-02-17 15:06 | 77.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 93.7845 | μmol/L | 39.24 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.905 | 208730.1021 | 276424.2079 | 32.55 | 27.7
12577 | 2021-02-17 15:07 | 77.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.1079 | μmol/L | 39.2708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.848 | 208222.14 | 276422.717 | 32.55 | 27.7
12587 | 2021-02-17 15:07 | 78.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.6327 | μmol/L | 39.2462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.791 | 207706.5517 | 276421.672 | 32.55 | 27.7
12597 | 2021-02-17 15:07 | 78.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.7386 | μmol/L | 39.2339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.783 | 207594.191 | 276428.6973 | 32.55 | 27.7
12607 | 2021-02-17 15:08 | 78.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.7431 | μmol/L | 39.2093 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.794 | 207661.6053 | 276420.0387 | 32.55 | 27.7
12617 | 2021-02-17 15:08 | 79.006 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.9183 | μmol/L | 39.197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.777 | 207482.2559 | 276402.9575 | 32.55 | 27.7
12627 | 2021-02-17 15:08 | 79.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.5488 | μmol/L | 39.1908 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.828 | 207949.3272 | 276421.7502 | 32.55 | 27.7
12636 | 2021-02-17 15:09 | 79.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.2726 | μmol/L | 39.1847 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.867 | 208283.2414 | 276410.1717 | 32.55 | 27.7
12639 | 2021-02-17 15:09 | 80.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 94.2734 | μmol/L | 39.1908 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.864 | 208289.215 | 276413.8381 | 32.55 | 27.7