## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 11:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8270 | 2021-02-17 09:44 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 297.9989 | μmol/L | 6.3533 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.289 | 140508.5597 | 321273.2087 | 30.45 | 114.2
8280 | 2021-02-17 09:45 | 1.6772 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 300.1299 | μmol/L | 5.98 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.362 | 140432.1718 | 321331.1882 | 30.45 | 114.2
8286 | 2021-02-17 09:47 | 3.0636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 301.3756 | μmol/L | 5.5577 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.493 | 141872.6226 | 321400.4539 | 30.45 | 114.2
8294 | 2021-02-17 09:48 | 4.6186 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 297.7204 | μmol/L | 6.0595 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.425 | 141014.156 | 321417.1009 | 30.45 | 114.2
8304 | 2021-02-17 09:51 | 7.2735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 295.5429 | μmol/L | 6.5553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.303 | 139404.622 | 321455.8372 | 30.45 | 114.2
8309 | 2021-02-17 09:52 | 8.734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 294.7073 | μmol/L | 6.5553 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.337 | 140178.578 | 321453.6158 | 30.45 | 114.2
8320 | 2021-02-17 10:39 | 55.6906 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.9022 | μmol/L | 32.4055 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.574 | 132826.3159 | 316583.7392 | 30.45 | 114.2
8330 | 2021-02-17 10:40 | 56.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.908 | μmol/L | 32.3932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.578 | 132830.9673 | 316531.0839 | 30.45 | 114.2
8340 | 2021-02-17 10:40 | 56.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.2199 | μmol/L | 32.3315 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.579 | 132808.7642 | 316488.7475 | 30.45 | 114.2
8350 | 2021-02-17 10:40 | 56.6928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8246 | μmol/L | 32.3809 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.588 | 132828.1426 | 316438.9301 | 30.45 | 114.2
8360 | 2021-02-17 10:41 | 57.0268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.08 | μmol/L | 32.3439 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.584 | 132770.5504 | 316394.9773 | 30.45 | 114.2
8370 | 2021-02-17 10:41 | 57.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6495 | μmol/L | 32.4055 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.591 | 132770.1305 | 316333.2367 | 30.45 | 114.2
8380 | 2021-02-17 10:41 | 57.6934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6702 | μmol/L | 32.3932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132759.2096 | 316280.8175 | 30.45 | 114.2
8390 | 2021-02-17 10:42 | 58.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.279 | μmol/L | 32.4672 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132711.3666 | 316223.4482 | 30.45 | 114.2
8400 | 2021-02-17 10:42 | 58.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8823 | μmol/L | 32.5227 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.601 | 132700.8072 | 316181.7052 | 30.45 | 114.2
8410 | 2021-02-17 10:42 | 58.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0479 | μmol/L | 32.5166 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.592 | 132616.3101 | 316134.7487 | 30.45 | 114.2
8420 | 2021-02-17 10:43 | 59.0262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.2879 | μmol/L | 32.4487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.6 | 132647.5733 | 316062.6892 | 30.45 | 114.2
8430 | 2021-02-17 10:43 | 59.3602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.2138 | μmol/L | 32.4796 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132584.7252 | 316024.9971 | 30.45 | 114.2
8440 | 2021-02-17 10:43 | 59.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9414 | μmol/L | 32.5227 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.597 | 132563.5493 | 315978.0868 | 30.45 | 114.2
8450 | 2021-02-17 10:44 | 60.027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.7934 | μmol/L | 32.5536 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.596 | 132511.0057 | 315923.2511 | 30.45 | 114.2
8460 | 2021-02-17 10:44 | 60.3601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8675 | μmol/L | 32.5227 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.602 | 132517.24 | 315872.7319 | 30.45 | 114.2
8470 | 2021-02-17 10:44 | 60.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9741 | μmol/L | 32.4857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.608 | 132504.7929 | 315815.3083 | 30.45 | 114.2
8480 | 2021-02-17 10:45 | 61.0267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.6132 | μmol/L | 32.5597 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.606 | 132467.6361 | 315773.0534 | 30.45 | 114.2
8490 | 2021-02-17 10:45 | 61.3597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8144 | μmol/L | 32.5104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.61 | 132480.3589 | 315726.602 | 30.45 | 114.2
8500 | 2021-02-17 10:45 | 61.6935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.3982 | μmol/L | 32.5474 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.625 | 132538.0584 | 315667.9179 | 30.45 | 114.2
8510 | 2021-02-17 10:46 | 62.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.2713 | μmol/L | 32.5659 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.627 | 132505.4478 | 315619.6899 | 30.45 | 114.2
8520 | 2021-02-17 10:46 | 62.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.4869 | μmol/L | 32.5166 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.63 | 132518.0195 | 315593.5219 | 30.45 | 114.2
8530 | 2021-02-17 10:46 | 62.6932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.9792 | μmol/L | 32.6214 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.627 | 132476.191 | 315537.126 | 30.45 | 114.2
8540 | 2021-02-17 10:47 | 63.0262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.8733 | μmol/L | 32.6276 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.632 | 132485.138 | 315488.4544 | 30.45 | 114.2
8550 | 2021-02-17 10:47 | 63.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.7406 | μmol/L | 32.6584 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.63 | 132473.5343 | 315447.17 | 30.45 | 114.2
8560 | 2021-02-17 10:47 | 63.6936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.7174 | μmol/L | 32.6461 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.636 | 132446.3975 | 315398.1194 | 30.45 | 114.2
8570 | 2021-02-17 10:48 | 64.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.7914 | μmol/L | 32.6153 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.642 | 132486.5942 | 315341.7844 | 30.45 | 114.2
8580 | 2021-02-17 10:48 | 64.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.3766 | μmol/L | 32.6831 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.646 | 132462.3731 | 315301.6686 | 30.45 | 114.2
8590 | 2021-02-17 10:48 | 64.6936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.0947 | μmol/L | 32.7201 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.652 | 132495.2758 | 315256.8625 | 30.45 | 114.2
8600 | 2021-02-17 10:49 | 65.0268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.1949 | μmol/L | 32.6955 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.654 | 132504.483 | 315209.4281 | 30.45 | 114.2
8610 | 2021-02-17 10:49 | 65.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.2574 | μmol/L | 32.6584 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.663 | 132528.4666 | 315160.009 | 30.45 | 114.2
8620 | 2021-02-17 10:49 | 65.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.8289 | μmol/L | 32.7263 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.668 | 132551.6046 | 315120.6743 | 30.45 | 114.2
8630 | 2021-02-17 10:50 | 66.0263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.6415 | μmol/L | 32.751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.672 | 132563.9111 | 315085.3769 | 30.45 | 114.2
8640 | 2021-02-17 10:50 | 66.3602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.4992 | μmol/L | 32.7448 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.684 | 132583.8248 | 315041.6071 | 30.45 | 114.2
8650 | 2021-02-17 10:50 | 66.6932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.5106 | μmol/L | 32.751 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.681 | 132555.7985 | 314990.276 | 30.45 | 114.2
8660 | 2021-02-17 10:51 | 67.0261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.4025 | μmol/L | 32.7633 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.684 | 132567.1997 | 314956.3483 | 30.45 | 114.2
8670 | 2021-02-17 10:51 | 67.3601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9368 | μmol/L | 32.8497 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.685 | 132552.6247 | 314920.7184 | 30.45 | 114.2
8680 | 2021-02-17 10:51 | 67.693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.1542 | μmol/L | 32.7942 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.69 | 132572.4274 | 314868.911 | 30.45 | 114.2
8690 | 2021-02-17 10:52 | 68.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.0559 | μmol/L | 32.788 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.699 | 132605.4213 | 314827.9258 | 30.45 | 114.2
8700 | 2021-02-17 10:52 | 68.3603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9416 | μmol/L | 32.8127 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.698 | 132544.1833 | 314778.8875 | 30.45 | 114.2
8710 | 2021-02-17 10:52 | 68.693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.7823 | μmol/L | 32.8127 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.709 | 132567.403 | 314745.5603 | 30.45 | 114.2
8720 | 2021-02-17 10:53 | 69.0269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.5894 | μmol/L | 32.8497 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.709 | 132586.1949 | 314712.347 | 30.45 | 114.2
8730 | 2021-02-17 10:53 | 69.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2393 | μmol/L | 32.9114 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.711 | 132552.6954 | 314651.8595 | 30.45 | 114.2
8740 | 2021-02-17 10:53 | 69.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.0001 | μmol/L | 32.9546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.712 | 132544.2099 | 314607.7885 | 30.45 | 114.2
8750 | 2021-02-17 10:54 | 70.0268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.9425 | μmol/L | 32.9546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.716 | 132552.7819 | 314569.7855 | 30.45 | 114.2
8760 | 2021-02-17 10:54 | 70.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2537 | μmol/L | 32.9114 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.71 | 132499.7681 | 314542.8479 | 30.45 | 114.2
8770 | 2021-02-17 10:54 | 70.6928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.9425 | μmol/L | 32.9546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.716 | 132493.9026 | 314491.7744 | 30.45 | 114.2
8780 | 2021-02-17 10:55 | 71.0267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.5753 | μmol/L | 33.0224 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.717 | 132468.7467 | 314441.7072 | 30.45 | 114.2
8790 | 2021-02-17 10:55 | 71.36 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4394 | μmol/L | 33.0348 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.722 | 132500.7861 | 314416.5967 | 30.45 | 114.2
8800 | 2021-02-17 10:55 | 71.6932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4538 | μmol/L | 33.0348 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.721 | 132482.1016 | 314368.737 | 30.45 | 114.2
8810 | 2021-02-17 10:56 | 72.0265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.9657 | μmol/L | 33.115 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 132470.6714 | 314331.6468 | 30.45 | 114.2
8820 | 2021-02-17 10:56 | 72.36 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.0508 | μmol/L | 33.0903 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.729 | 132456.9662 | 314303.9191 | 30.45 | 114.2
8830 | 2021-02-17 10:56 | 72.6932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.9405 | μmol/L | 33.1088 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.73 | 132457.3102 | 314248.8809 | 30.45 | 114.2
8840 | 2021-02-17 10:57 | 73.027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.6526 | μmol/L | 33.1643 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.73 | 132432.6248 | 314209.3572 | 30.45 | 114.2
8850 | 2021-02-17 10:57 | 73.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4002 | μmol/L | 33.2075 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.732 | 132406.1665 | 314161.918 | 30.45 | 114.2
8860 | 2021-02-17 10:57 | 73.6935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.3898 | μmol/L | 33.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 132368.7179 | 314133.2015 | 30.45 | 114.2
8870 | 2021-02-17 10:58 | 74.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4469 | μmol/L | 33.226 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.722 | 132335.9751 | 314097.3493 | 30.45 | 114.2
8880 | 2021-02-17 10:58 | 74.3602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.23 | μmol/L | 33.2569 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.726 | 132337.7733 | 314054.7742 | 30.45 | 114.2
8890 | 2021-02-17 10:58 | 74.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9528 | μmol/L | 33.2939 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.732 | 132342.3237 | 314020.6842 | 30.45 | 114.2
8900 | 2021-02-17 10:59 | 75.0263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.999 | μmol/L | 33.2877 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.731 | 132321.8852 | 314004.782 | 30.45 | 114.2
8910 | 2021-02-17 10:59 | 75.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.52 | μmol/L | 33.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.731 | 132315.8496 | 313949.7635 | 30.45 | 114.2
8920 | 2021-02-17 10:59 | 75.6936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.5307 | μmol/L | 33.3618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.737 | 132332.386 | 313908.8725 | 30.45 | 114.2
8930 | 2021-02-17 11:00 | 76.0268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.5165 | μmol/L | 33.3618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.738 | 132307.5233 | 313872.2756 | 30.45 | 114.2
8940 | 2021-02-17 11:00 | 76.3597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.1479 | μmol/L | 33.4358 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.737 | 132293.3636 | 313862.0579 | 30.45 | 114.2
8950 | 2021-02-17 11:00 | 76.6928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.9566 | μmol/L | 33.4728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.737 | 132250.1051 | 313814.0855 | 30.45 | 114.2
8960 | 2021-02-17 11:01 | 77.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.8505 | μmol/L | 33.4852 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.74 | 132247.171 | 313777.1819 | 30.45 | 114.2
8970 | 2021-02-17 11:01 | 77.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.8683 | μmol/L | 33.479 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.741 | 132213.2247 | 313722.1211 | 30.45 | 114.2
8980 | 2021-02-17 11:01 | 77.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.769 | μmol/L | 33.5037 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.739 | 132192.3694 | 313702.6479 | 30.45 | 114.2
8990 | 2021-02-17 11:02 | 78.0261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.5252 | μmol/L | 33.5345 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.745 | 132197.3765 | 313669.8154 | 30.45 | 114.2
9000 | 2021-02-17 11:02 | 78.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.5043 | μmol/L | 33.5222 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.751 | 132205.8252 | 313642.7782 | 30.45 | 114.2
9010 | 2021-02-17 11:02 | 78.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.155 | μmol/L | 33.5654 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.76 | 132238.8647 | 313600.393 | 30.45 | 114.2
9020 | 2021-02-17 11:03 | 79.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9437 | μmol/L | 33.5901 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.766 | 132273.2255 | 313564.4504 | 30.45 | 114.2
9030 | 2021-02-17 11:03 | 79.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2156 | μmol/L | 33.5345 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.767 | 132268.3419 | 313516.6231 | 30.45 | 114.2
9040 | 2021-02-17 11:03 | 79.6936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.6233 | μmol/L | 33.6333 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.773 | 132290.4357 | 313500.0607 | 30.45 | 114.2
9050 | 2021-02-17 11:04 | 80.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.6373 | μmol/L | 33.6333 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.772 | 132271.7779 | 313468.4605 | 30.45 | 114.2
9060 | 2021-02-17 11:04 | 80.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.655 | μmol/L | 33.6271 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.773 | 132257.6756 | 313443.2819 | 30.45 | 114.2
9070 | 2021-02-17 11:04 | 80.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.6456 | μmol/L | 33.5962 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.785 | 132330.2389 | 313405.2792 | 30.45 | 114.2
9080 | 2021-02-17 11:05 | 81.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.4917 | μmol/L | 33.5962 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.796 | 132393.6206 | 313380.7123 | 30.45 | 114.2
9090 | 2021-02-17 11:05 | 81.3602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.7407 | μmol/L | 33.7073 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.809 | 132437.1846 | 313339.2667 | 30.45 | 114.2
9100 | 2021-02-17 11:05 | 81.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.0532 | μmol/L | 33.6518 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.807 | 132436.6196 | 313307.2826 | 30.45 | 114.2
9110 | 2021-02-17 11:06 | 82.0262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.9165 | μmol/L | 33.6703 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.81 | 132458.5762 | 313268.2016 | 30.45 | 114.2
9120 | 2021-02-17 11:06 | 82.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.685 | μmol/L | 33.7073 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.813 | 132499.2035 | 313239.1703 | 30.45 | 114.2
9130 | 2021-02-17 11:06 | 82.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.4551 | μmol/L | 33.7196 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.825 | 132553.9456 | 313219.414 | 30.45 | 114.2
9140 | 2021-02-17 11:07 | 83.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.344 | μmol/L | 33.7196 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.833 | 132587.5894 | 313182.2662 | 30.45 | 114.2
9150 | 2021-02-17 11:07 | 83.3597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.2116 | μmol/L | 33.732 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.838 | 132591.8133 | 313144.5156 | 30.45 | 114.2
9160 | 2021-02-17 11:07 | 83.6936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.4147 | μmol/L | 33.695 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.837 | 132606.3057 | 313118.9575 | 30.45 | 114.2
9170 | 2021-02-17 11:08 | 84.0269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8664 | μmol/L | 33.7752 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.847 | 132632.088 | 313086.1228 | 30.45 | 114.2
9180 | 2021-02-17 11:08 | 84.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.0024 | μmol/L | 33.7567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.844 | 132593.8344 | 313054.484 | 30.45 | 114.2
9190 | 2021-02-17 11:08 | 84.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.1953 | μmol/L | 33.7135 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.846 | 132604.4045 | 313023.6196 | 30.45 | 114.2
9200 | 2021-02-17 11:09 | 85.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.9194 | μmol/L | 33.7567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.85 | 132599.3929 | 313001.4574 | 30.45 | 114.2
9210 | 2021-02-17 11:09 | 85.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8779 | μmol/L | 33.7567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.853 | 132606.1236 | 312955.0623 | 30.45 | 114.2
9220 | 2021-02-17 11:09 | 85.6935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7382 | μmol/L | 33.7813 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.854 | 132607.6 | 312945.6022 | 30.45 | 114.2
9230 | 2021-02-17 11:10 | 86.0265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8832 | μmol/L | 33.7258 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.864 | 132663.1837 | 312912.9698 | 30.45 | 114.2
9240 | 2021-02-17 11:10 | 86.3603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.5212 | μmol/L | 33.7752 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.872 | 132664.5051 | 312881.9924 | 30.45 | 114.2
9250 | 2021-02-17 11:10 | 86.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.293 | μmol/L | 33.7875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.884 | 132741.2854 | 312852.9907 | 30.45 | 114.2
9260 | 2021-02-17 11:11 | 87.0267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.9563 | μmol/L | 33.6518 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.886 | 132721.9886 | 312825.4849 | 30.45 | 114.2
9270 | 2021-02-17 11:11 | 87.3597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.6208 | μmol/L | 33.7258 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.883 | 132677.3425 | 312794.5533 | 30.45 | 114.2
9280 | 2021-02-17 11:11 | 87.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.4377 | μmol/L | 33.732 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.894 | 132718.4749 | 312768.1294 | 30.45 | 114.2
9290 | 2021-02-17 11:12 | 88.0265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.4553 | μmol/L | 33.7258 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.895 | 132710.1244 | 312731.4769 | 30.45 | 114.2
9300 | 2021-02-17 11:12 | 88.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7077 | μmol/L | 33.6518 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.904 | 132748.82 | 312709.6561 | 30.45 | 114.2
9310 | 2021-02-17 11:12 | 88.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.1624 | μmol/L | 33.732 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.914 | 132778.9542 | 312691.3758 | 30.45 | 114.2
9320 | 2021-02-17 11:13 | 89.0269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8406 | μmol/L | 33.6147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.908 | 132737.7604 | 312657.5614 | 30.45 | 114.2
9330 | 2021-02-17 11:13 | 89.3597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.452 | μmol/L | 33.6641 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.918 | 132768.0061 | 312616.1705 | 30.45 | 114.2
9340 | 2021-02-17 11:13 | 89.6928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.2403 | μmol/L | 33.695 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.922 | 132807.9222 | 312602.5261 | 30.45 | 114.2
9350 | 2021-02-17 11:14 | 90.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.3181 | μmol/L | 33.6579 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.93 | 132812.8353 | 312566.2294 | 30.45 | 114.2
9360 | 2021-02-17 11:14 | 90.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.218 | μmol/L | 33.6641 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.935 | 132831.2279 | 312551.872 | 30.45 | 114.2
9370 | 2021-02-17 11:14 | 90.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.5723 | μmol/L | 33.6024 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.932 | 132777.9109 | 312509.8718 | 30.45 | 114.2
9380 | 2021-02-17 11:15 | 91.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.9145 | μmol/L | 33.6888 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.948 | 132879.292 | 312490.6854 | 30.45 | 114.2
9390 | 2021-02-17 11:15 | 91.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.6548 | μmol/L | 33.732 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.951 | 132895.4134 | 312456.7515 | 30.45 | 114.2
9400 | 2021-02-17 11:15 | 91.693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.6244 | μmol/L | 33.516 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.96 | 132943.8463 | 312436.3922 | 30.45 | 114.2
9410 | 2021-02-17 11:16 | 92.0269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.3232 | μmol/L | 33.5592 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.966 | 132936.1913 | 312415.1026 | 30.45 | 114.2
9420 | 2021-02-17 11:16 | 92.3601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.1932 | μmol/L | 33.5469 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.98 | 133035.5743 | 312389.7307 | 30.45 | 114.2
9430 | 2021-02-17 11:16 | 92.6932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.5561 | μmol/L | 33.6703 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.981 | 133021.8522 | 312367.8882 | 30.45 | 114.2
9440 | 2021-02-17 11:17 | 93.0263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.7506 | μmol/L | 33.6209 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.985 | 133043.2444 | 312335.7221 | 30.45 | 114.2
9450 | 2021-02-17 11:17 | 93.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.5454 | μmol/L | 33.6209 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22 | 133130.2295 | 312315.2435 | 30.45 | 114.2
9460 | 2021-02-17 11:17 | 93.6934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.2495 | μmol/L | 33.6579 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.008 | 133130.8723 | 312291.8054 | 30.45 | 114.2
9470 | 2021-02-17 11:18 | 94.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.2943 | μmol/L | 33.6518 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.007 | 133112.8801 | 312278.0313 | 30.45 | 114.2
9480 | 2021-02-17 11:18 | 94.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3579 | μmol/L | 33.6147 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.016 | 133139.7272 | 312244.5138 | 30.45 | 114.2
9490 | 2021-02-17 11:18 | 94.6936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.0919 | μmol/L | 33.6703 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.015 | 133124.6462 | 312210.0124 | 30.45 | 114.2
9500 | 2021-02-17 11:19 | 95.0264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3245 | μmol/L | 33.6024 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.023 | 133188.8694 | 312200.8713 | 30.45 | 114.2
9510 | 2021-02-17 11:19 | 95.3603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3161 | μmol/L | 33.5715 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.035 | 133262.0479 | 312165.6346 | 30.45 | 114.2
9520 | 2021-02-17 11:19 | 95.6934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.176 | μmol/L | 33.5777 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.043 | 133256.7682 | 312157.9666 | 30.45 | 114.2
9530 | 2021-02-17 11:20 | 96.0267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.1971 | μmol/L | 33.5654 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.046 | 133284.9491 | 312145.6378 | 30.45 | 114.2
9540 | 2021-02-17 11:20 | 96.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3807 | μmol/L | 33.5098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.053 | 133325.0803 | 312105.9185 | 30.45 | 114.2
9550 | 2021-02-17 11:20 | 96.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.9399 | μmol/L | 33.5407 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.074 | 133458.3322 | 312099.8479 | 30.45 | 114.2
9560 | 2021-02-17 11:21 | 97.027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.8818 | μmol/L | 33.5469 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.076 | 133447.2495 | 312062.6968 | 30.45 | 114.2
9570 | 2021-02-17 11:21 | 97.36 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.6789 | μmol/L | 33.5901 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.075 | 133421.5128 | 312041.0492 | 30.45 | 114.2
9580 | 2021-02-17 11:21 | 97.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.7955 | μmol/L | 33.5098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.096 | 133554.0704 | 312006.6261 | 30.45 | 114.2
9590 | 2021-02-17 11:22 | 98.0265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.1292 | μmol/L | 33.4296 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.101 | 133560.9834 | 311990.6127 | 30.45 | 114.2
9600 | 2021-02-17 11:22 | 98.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.8907 | μmol/L | 33.442 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.114 | 133650.4429 | 311968.4875 | 30.45 | 114.2
9610 | 2021-02-17 11:22 | 98.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.6995 | μmol/L | 33.4666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.119 | 133697.2131 | 311946.6412 | 30.45 | 114.2
9620 | 2021-02-17 11:23 | 99.0263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5588 | μmol/L | 33.4975 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.118 | 133678.884 | 311934.3415 | 30.45 | 114.2
9630 | 2021-02-17 11:23 | 99.3601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.0884 | μmol/L | 33.5592 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.13 | 133738.7655 | 311899.7514 | 30.45 | 114.2
9640 | 2021-02-17 11:23 | 99.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8957 | μmol/L | 33.5654 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.142 | 133781.9963 | 311896.444 | 30.45 | 114.2
9650 | 2021-02-17 11:24 | 100.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.105 | μmol/L | 33.5098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.147 | 133830.3351 | 311859.842 | 30.45 | 114.2
9660 | 2021-02-17 11:24 | 100.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5467 | μmol/L | 33.4049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.153 | 133848.4872 | 311848.7271 | 30.45 | 114.2
9670 | 2021-02-17 11:24 | 100.6935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.1311 | μmol/L | 33.4666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.161 | 133908.0478 | 311821.9588 | 30.45 | 114.2
9680 | 2021-02-17 11:25 | 101.0268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7963 | μmol/L | 33.4852 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.179 | 133998.9848 | 311789.6275 | 30.45 | 114.2
9690 | 2021-02-17 11:25 | 101.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9227 | μmol/L | 33.4543 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.181 | 134031.2477 | 311778.0659 | 30.45 | 114.2
9700 | 2021-02-17 11:25 | 101.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.696 | μmol/L | 33.4728 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.191 | 134048.7997 | 311749.4054 | 30.45 | 114.2
9710 | 2021-02-17 11:26 | 102.0269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.5406 | μmol/L | 33.4852 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.198 | 134103.2484 | 311726.1741 | 30.45 | 114.2
9720 | 2021-02-17 11:26 | 102.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.5765 | μmol/L | 33.4481 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.209 | 134121.9871 | 311716.5239 | 30.45 | 114.2
9730 | 2021-02-17 11:26 | 102.693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.1305 | μmol/L | 33.4975 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.224 | 134258.4047 | 311686.177 | 30.45 | 114.2
9740 | 2021-02-17 11:27 | 103.0262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.1567 | μmol/L | 33.4543 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.238 | 134322.8473 | 311683.0072 | 30.45 | 114.2
9750 | 2021-02-17 11:27 | 103.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.296 | μmol/L | 33.4235 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.239 | 134358.3637 | 311665.8566 | 30.45 | 114.2
9760 | 2021-02-17 11:27 | 103.6936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.0154 | μmol/L | 33.4666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.244 | 134345.3147 | 311632.0971 | 30.45 | 114.2
9770 | 2021-02-17 11:28 | 104.0268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.0891 | μmol/L | 33.4111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.259 | 134444.6427 | 311631.9629 | 30.45 | 114.2
9780 | 2021-02-17 11:28 | 104.3603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.9137 | μmol/L | 33.4358 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.263 | 134453.7428 | 311600.8931 | 30.45 | 114.2
9790 | 2021-02-17 11:28 | 104.6934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.2392 | μmol/L | 33.3618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.266 | 134463.6662 | 311573.1172 | 30.45 | 114.2
9800 | 2021-02-17 11:29 | 105.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.9812 | μmol/L | 33.3679 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.283 | 134558.9449 | 311548.461 | 30.45 | 114.2
9810 | 2021-02-17 11:29 | 105.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.9752 | μmol/L | 33.3556 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.288 | 134578.2326 | 311524.8542 | 30.45 | 114.2
9820 | 2021-02-17 11:29 | 105.6935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.8877 | μmol/L | 33.3679 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.29 | 134602.2267 | 311524.1247 | 30.45 | 114.2
9830 | 2021-02-17 11:30 | 106.0265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.1189 | μmol/L | 33.2939 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.3 | 134652.5 | 311487.7421 | 30.45 | 114.2
9840 | 2021-02-17 11:30 | 106.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.2789 | μmol/L | 33.4049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.322 | 134791.8455 | 311475.1527 | 30.45 | 114.2
9850 | 2021-02-17 11:30 | 106.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.4587 | μmol/L | 33.3494 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.329 | 134825.6783 | 311473.9422 | 30.45 | 114.2
9860 | 2021-02-17 11:31 | 107.0265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.3581 | μmol/L | 33.3618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.332 | 134851.1075 | 311456.4575 | 30.45 | 114.2
9870 | 2021-02-17 11:31 | 107.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.1099 | μmol/L | 33.3988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.337 | 134865.1084 | 311427.6444 | 30.45 | 114.2
9880 | 2021-02-17 11:31 | 107.693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.0796 | μmol/L | 33.4049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.337 | 134856.4822 | 311401.4184 | 30.45 | 114.2
9890 | 2021-02-17 11:32 | 108.027 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.8769 | μmol/L | 33.4111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.35 | 134939.6755 | 311383.9088 | 30.45 | 114.2
9900 | 2021-02-17 11:32 | 108.3601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.8031 | μmol/L | 33.4235 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.351 | 134907.7938 | 311368.0361 | 30.45 | 114.2
9910 | 2021-02-17 11:32 | 108.693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.8992 | μmol/L | 33.3741 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.362 | 134985.1317 | 311341.1631 | 30.45 | 114.2
9920 | 2021-02-17 11:33 | 109.0268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.5988 | μmol/L | 33.4111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.371 | 135044.9447 | 311322.2115 | 30.45 | 114.2
9930 | 2021-02-17 11:33 | 109.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.2969 | μmol/L | 33.4296 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.387 | 135117.0016 | 311326.1687 | 30.45 | 114.2
9940 | 2021-02-17 11:33 | 109.693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1782 | μmol/L | 33.4296 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.396 | 135190.5695 | 311307.6735 | 30.45 | 114.2
9950 | 2021-02-17 11:34 | 110.0265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.9185 | μmol/L | 33.4666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.402 | 135212.2735 | 311297.489 | 30.45 | 114.2
9960 | 2021-02-17 11:34 | 110.3595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.8001 | μmol/L | 33.4666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.411 | 135261.847 | 311269.9601 | 30.45 | 114.2
9970 | 2021-02-17 11:34 | 110.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.6048 | μmol/L | 33.4852 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.419 | 135322.4528 | 311243.5785 | 30.45 | 114.2
9980 | 2021-02-17 11:35 | 111.0267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.8133 | μmol/L | 33.4235 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.426 | 135348.8539 | 311234.4238 | 30.45 | 114.2
9990 | 2021-02-17 11:35 | 111.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.2504 | μmol/L | 33.5284 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.43 | 135372.7657 | 311226.9477 | 30.45 | 114.2
10000 | 2021-02-17 11:35 | 111.6935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.144 | μmol/L | 33.5098 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.445 | 135437.533 | 311206.7157 | 30.45 | 114.2
10010 | 2021-02-17 11:36 | 112.0267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.4401 | μmol/L | 33.4543 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.443 | 135410.8469 | 311189.0757 | 30.45 | 114.2
10020 | 2021-02-17 11:36 | 112.3598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.1723 | μmol/L | 33.4852 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.452 | 135450.7116 | 311165.803 | 30.45 | 114.2
10030 | 2021-02-17 11:36 | 112.6935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.9403 | μmol/L | 33.5222 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.456 | 135450.2621 | 311146.5408 | 30.45 | 114.2
10040 | 2021-02-17 11:37 | 113.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3952 | μmol/L | 33.442 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.451 | 135420.8343 | 311138.0414 | 30.45 | 114.2
10050 | 2021-02-17 11:37 | 113.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.0829 | μmol/L | 33.4605 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.468 | 135511.9312 | 311100.775 | 30.45 | 114.2
10060 | 2021-02-17 11:37 | 113.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4817 | μmol/L | 33.5469 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.482 | 135569.6282 | 311097.3819 | 30.45 | 114.2
10070 | 2021-02-17 11:38 | 114.0263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.2298 | μmol/L | 33.5962 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.483 | 135591.0753 | 311083.7873 | 30.45 | 114.2
10080 | 2021-02-17 11:38 | 114.3603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.9209 | μmol/L | 33.6333 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.493 | 135646.2139 | 311071.1651 | 30.45 | 114.2
10090 | 2021-02-17 11:38 | 114.6932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.162 | μmol/L | 33.5592 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.502 | 135692.6464 | 311064.4731 | 30.45 | 114.2
10100 | 2021-02-17 11:39 | 115.0262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.5675 | μmol/L | 33.6394 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.518 | 135774.5774 | 311037.5509 | 30.45 | 114.2
10110 | 2021-02-17 11:39 | 115.3602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.486 | μmol/L | 33.6456 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.522 | 135779.9292 | 311020.0797 | 30.45 | 114.2
10120 | 2021-02-17 11:39 | 115.6933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.3839 | μmol/L | 33.6641 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.523 | 135784.6249 | 311000.3626 | 30.45 | 114.2
10130 | 2021-02-17 11:40 | 116.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.2638 | μmol/L | 33.6703 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.53 | 135798.7759 | 310990.2692 | 30.45 | 114.2
10140 | 2021-02-17 11:40 | 116.3596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 149.1915 | μmol/L | 33.6826 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.531 | 135825.7408 | 310982.4858 | 30.45 | 114.2
10150 | 2021-02-17 11:40 | 116.6929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.9479 | μmol/L | 33.7011 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.543 | 135884.0804 | 310956.8254 | 30.45 | 114.2
10160 | 2021-02-17 11:41 | 117.0266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.8489 | μmol/L | 33.695 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.553 | 135934.3783 | 310953.3151 | 30.45 | 114.2
10170 | 2021-02-17 11:41 | 117.3599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.7935 | μmol/L | 33.7011 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.555 | 135980.8918 | 310949.438 | 30.45 | 114.2
10180 | 2021-02-17 11:41 | 117.6931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.5515 | μmol/L | 33.7382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.56 | 136024.0862 | 310924.531 | 30.45 | 114.2
10190 | 2021-02-17 11:42 | 118.0262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.3729 | μmol/L | 33.7567 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.567 | 136042.098 | 310921.7223 | 30.45 | 114.2
10200 | 2021-02-17 11:42 | 118.36 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.0842 | μmol/L | 33.7875 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.578 | 136098.1755 | 310889.515 | 30.45 | 114.2
10210 | 2021-02-17 11:42 | 118.6932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.3671 | μmol/L | 33.7258 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.579 | 136121.2677 | 310877.6145 | 30.45 | 114.2
10220 | 2021-02-17 11:43 | 119.0261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.18 | μmol/L | 33.7382 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.589 | 136185.8588 | 310868.7065 | 30.45 | 114.2
10230 | 2021-02-17 11:43 | 119.36 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 148.0155 | μmol/L | 33.7752 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.588 | 136239.4538 | 310849.5014 | 30.45 | 114.2