## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen |  | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10242 | 2021-02-17 13:49 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.8885 | 213.8885 | μmol/L | 39.1728 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.442 | 145145.5666 | 307904.4503 | 30.45 | 114.2 | #N/A
10252 | 2021-02-17 13:49 | 0.33736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.0454 | 214.0454 | μmol/L | 39.1234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.448 | 145191.9237 | 307916.7453 | 30.45 | 114.2 | #N/A
10262 | 2021-02-17 13:50 | 0.67026 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.2217 | 214.2217 | μmol/L | 39.0739 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.452 | 145220.7921 | 307934.3987 | 30.45 | 114.2 | #N/A
10272 | 2021-02-17 13:50 | 1.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.0096 | 214.0096 | μmol/L | 39.1048 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.46 | 145262.9368 | 307917.2387 | 30.45 | 114.2 | #N/A
10282 | 2021-02-17 13:50 | 1.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.0873 | 214.0873 | μmol/L | 39.1048 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.452 | 145215.5882 | 307912.933 | 30.45 | 114.2 | #N/A
10292 | 2021-02-17 13:51 | 1.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.1536 | 214.1536 | μmol/L | 39.0739 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.459 | 145239.7302 | 307903.5083 | 30.45 | 114.2 | #N/A
10302 | 2021-02-17 13:51 | 2.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.8462 | 213.8462 | μmol/L | 39.1357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.463 | 145234.6984 | 307899.9872 | 30.45 | 114.2 | #N/A
10312 | 2021-02-17 13:51 | 2.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.4223 | 214.4223 | μmol/L | 39.0121 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.459 | 145192.3522 | 307891.8122 | 30.45 | 114.2 | #N/A
10322 | 2021-02-17 13:52 | 2.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.425 | 214.425 | μmol/L | 38.9936 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.467 | 145243.0341 | 307872.8536 | 30.45 | 114.2 | #N/A
10332 | 2021-02-17 13:52 | 3.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.6251 | 214.6251 | μmol/L | 38.907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.485 | 145354.5788 | 307869.7821 | 30.45 | 114.2 | #N/A
10342 | 2021-02-17 13:52 | 3.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.4424 | 214.4424 | μmol/L | 38.9132 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.501 | 145456.6992 | 307862.7022 | 30.45 | 114.2 | #N/A
10352 | 2021-02-17 13:53 | 3.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.695 | 213.695 | μmol/L | 39.0925 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.498 | 145431.8675 | 307868.796 | 30.45 | 114.2 | #N/A
10362 | 2021-02-17 13:53 | 4.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.2453 | 214.2453 | μmol/L | 38.9565 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.502 | 145440.7694 | 307856.7206 | 30.45 | 114.2 | #N/A
10372 | 2021-02-17 13:53 | 4.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.9388 | 213.9388 | μmol/L | 39.0183 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.506 | 145449.641 | 307840.3869 | 30.45 | 114.2 | #N/A
10382 | 2021-02-17 13:54 | 4.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.8202 | 213.8202 | μmol/L | 39.0121 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.521 | 145522.3591 | 307841.0916 | 30.45 | 114.2 | #N/A
10392 | 2021-02-17 13:54 | 5.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.7622 | 213.7622 | μmol/L | 39.0121 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.527 | 145599.1609 | 307830.0411 | 30.45 | 114.2 | #N/A
10402 | 2021-02-17 13:54 | 5.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 114.0099 | 214.0099 | μmol/L | 38.9503 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.529 | 145600.3299 | 307821.7291 | 30.45 | 114.2 | #N/A
10412 | 2021-02-17 13:55 | 5.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.7235 | 213.7235 | μmol/L | 39.0121 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.531 | 145601.6549 | 307828.3196 | 30.45 | 114.2 | #N/A
10422 | 2021-02-17 13:55 | 6.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.5031 | 213.5031 | μmol/L | 39.043 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.54 | 145633.7169 | 307827.3174 | 30.45 | 114.2 | #N/A
10432 | 2021-02-17 13:55 | 6.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.7192 | 213.7192 | μmol/L | 38.975 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.548 | 145733.6816 | 307817.8156 | 30.45 | 114.2 | #N/A
10442 | 2021-02-17 13:56 | 6.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.618 | 213.618 | μmol/L | 38.9627 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.564 | 145851.9647 | 307808.6506 | 30.45 | 114.2 | #N/A
10452 | 2021-02-17 13:56 | 7.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.4104 | 213.4104 | μmol/L | 38.975 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.58 | 145930.5794 | 307780.0163 | 30.45 | 114.2 | #N/A
10462 | 2021-02-17 13:56 | 7.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.2389 | 213.2389 | μmol/L | 39.0059 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.584 | 145954.4435 | 307797.9329 | 30.45 | 114.2 | #N/A
10472 | 2021-02-17 13:57 | 7.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.0912 | 213.0912 | μmol/L | 39.0492 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.58 | 145939.0965 | 307786.3035 | 30.45 | 114.2 | #N/A
10482 | 2021-02-17 13:57 | 8.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.0845 | 213.0845 | μmol/L | 39.0306 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.589 | 145976.834 | 307774.8297 | 30.45 | 114.2 | #N/A
10492 | 2021-02-17 13:57 | 8.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.0269 | 213.0269 | μmol/L | 39.0306 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.595 | 146022.6688 | 307782.3848 | 30.45 | 114.2 | #N/A
10502 | 2021-02-17 13:58 | 8.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.6625 | 212.6625 | μmol/L | 39.111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.597 | 146051.6176 | 307775.4387 | 30.45 | 114.2 | #N/A
10512 | 2021-02-17 13:58 | 9.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 113.1771 | 213.1771 | μmol/L | 38.9688 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.607 | 146116.5084 | 307763.3457 | 30.45 | 114.2 | #N/A
10522 | 2021-02-17 13:58 | 9.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.5052 | 212.5052 | μmol/L | 39.0986 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.619 | 146190.4268 | 307761.6321 | 30.45 | 114.2 | #N/A
10532 | 2021-02-17 13:59 | 9.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.8012 | 212.8012 | μmol/L | 39.043 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.613 | 146145.7719 | 307756.9957 | 30.45 | 114.2 | #N/A
10542 | 2021-02-17 13:59 | 10.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.4829 | 212.4829 | μmol/L | 39.1172 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.613 | 146139.2311 | 307753.9485 | 30.45 | 114.2 | #N/A
10552 | 2021-02-17 13:59 | 10.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.3058 | 212.3058 | μmol/L | 39.1295 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.626 | 146218.3275 | 307761.2092 | 30.45 | 114.2 | #N/A
10562 | 2021-02-17 14:00 | 10.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.0877 | 212.0877 | μmol/L | 39.1604 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.635 | 146321.2494 | 307744.3362 | 30.45 | 114.2 | #N/A
10572 | 2021-02-17 14:00 | 11.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.3035 | 212.3035 | μmol/L | 39.0677 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.654 | 146436.9267 | 307737.2564 | 30.45 | 114.2 | #N/A
10582 | 2021-02-17 14:00 | 11.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 112.0953 | 212.0953 | μmol/L | 39.0986 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.662 | 146477.9145 | 307737.0928 | 30.45 | 114.2 | #N/A
10592 | 2021-02-17 14:01 | 11.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.6064 | 211.6064 | μmol/L | 39.1975 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.669 | 146547.939 | 307727.0044 | 30.45 | 114.2 | #N/A
10602 | 2021-02-17 14:01 | 12.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.6341 | 211.6341 | μmol/L | 39.1666 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.68 | 146618.3372 | 307725.942 | 30.45 | 114.2 | #N/A
10612 | 2021-02-17 14:01 | 12.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.5678 | 211.5678 | μmol/L | 39.1666 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.687 | 146676.0447 | 307709.4459 | 30.45 | 114.2 | #N/A
10622 | 2021-02-17 14:02 | 12.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.4097 | 211.4097 | μmol/L | 39.2037 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.687 | 146674.701 | 307691.8997 | 30.45 | 114.2 | #N/A
10632 | 2021-02-17 14:02 | 13.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.4375 | 211.4375 | μmol/L | 39.1728 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.698 | 146753.6086 | 307705.6853 | 30.45 | 114.2 | #N/A
10642 | 2021-02-17 14:02 | 13.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.2492 | 211.2492 | μmol/L | 39.2037 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.704 | 146799.1582 | 307696.3258 | 30.45 | 114.2 | #N/A
10652 | 2021-02-17 14:03 | 13.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.2795 | 211.2795 | μmol/L | 39.2099 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.698 | 146768.2767 | 307699.1374 | 30.45 | 114.2 | #N/A
10662 | 2021-02-17 14:03 | 14.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.2516 | 211.2516 | μmol/L | 39.2408 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.687 | 146693.5958 | 307688.6971 | 30.45 | 114.2 | #N/A
10672 | 2021-02-17 14:03 | 14.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.1706 | 211.1706 | μmol/L | 39.2532 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.69 | 146710.6379 | 307692.7797 | 30.45 | 114.2 | #N/A
10682 | 2021-02-17 14:04 | 14.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.1082 | 211.1082 | μmol/L | 39.2346 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.705 | 146853.1941 | 307685.3202 | 30.45 | 114.2 | #N/A
10692 | 2021-02-17 14:04 | 15.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 111.0215 | 211.0215 | μmol/L | 39.2284 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.717 | 146946.7702 | 307682.4888 | 30.45 | 114.2 | #N/A
10702 | 2021-02-17 14:04 | 15.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.7341 | 210.7341 | μmol/L | 39.2717 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.728 | 147014.7634 | 307683.8347 | 30.45 | 114.2 | #N/A
10712 | 2021-02-17 14:05 | 15.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.3555 | 210.3555 | μmol/L | 39.3211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.746 | 147135.6445 | 307670.5895 | 30.45 | 114.2 | #N/A
10722 | 2021-02-17 14:05 | 16.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.1741 | 210.1741 | μmol/L | 39.3397 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.757 | 147217.726 | 307663.5333 | 30.45 | 114.2 | #N/A
10732 | 2021-02-17 14:05 | 16.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.191 | 210.191 | μmol/L | 39.3335 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.758 | 147244.0467 | 307667.6795 | 30.45 | 114.2 | #N/A
10742 | 2021-02-17 14:06 | 16.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.4904 | 210.4904 | μmol/L | 39.2717 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.754 | 147240.5695 | 307648.8854 | 30.45 | 114.2 | #N/A
10752 | 2021-02-17 14:06 | 17.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.2358 | 210.2358 | μmol/L | 39.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.756 | 147218.4323 | 307637.0028 | 30.45 | 114.2 | #N/A
10762 | 2021-02-17 14:06 | 17.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.3948 | 210.3948 | μmol/L | 39.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.739 | 147133.6526 | 307631.1302 | 30.45 | 114.2 | #N/A
10772 | 2021-02-17 14:07 | 17.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.1323 | 210.1323 | μmol/L | 39.3891 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.739 | 147122.1101 | 307634.9896 | 30.45 | 114.2 | #N/A
10782 | 2021-02-17 14:07 | 18.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.1679 | 210.1679 | μmol/L | 39.383 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.738 | 147123.6916 | 307627.8759 | 30.45 | 114.2 | #N/A
10792 | 2021-02-17 14:07 | 18.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.0816 | 210.0816 | μmol/L | 39.4077 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.736 | 147138.5928 | 307630.8171 | 30.45 | 114.2 | #N/A
10802 | 2021-02-17 14:08 | 18.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.8428 | 209.8428 | μmol/L | 39.42 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.756 | 147250.965 | 307619.7176 | 30.45 | 114.2 | #N/A
10812 | 2021-02-17 14:08 | 19.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.4432 | 209.4432 | μmol/L | 39.488 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.768 | 147371.2015 | 307619.2961 | 30.45 | 114.2 | #N/A
10822 | 2021-02-17 14:08 | 19.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.6036 | 209.6036 | μmol/L | 39.4633 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.762 | 147333.3001 | 307609.0896 | 30.45 | 114.2 | #N/A
10832 | 2021-02-17 14:09 | 19.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.5005 | 209.5005 | μmol/L | 39.4942 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.759 | 147293.1129 | 307605.416 | 30.45 | 114.2 | #N/A
10842 | 2021-02-17 14:09 | 20.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.8217 | 209.8217 | μmol/L | 39.4448 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.747 | 147256.7333 | 307620.0072 | 30.45 | 114.2 | #N/A
10852 | 2021-02-17 14:09 | 20.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.8149 | 209.8149 | μmol/L | 39.42 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.759 | 147307.3801 | 307608.4861 | 30.45 | 114.2 | #N/A
10862 | 2021-02-17 14:10 | 20.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3957 | 209.3957 | μmol/L | 39.5189 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.759 | 147335.4848 | 307592.9699 | 30.45 | 114.2 | #N/A
10872 | 2021-02-17 14:10 | 21.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.257 | 209.257 | μmol/L | 39.556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.757 | 147331.7834 | 307599.4745 | 30.45 | 114.2 | #N/A
10882 | 2021-02-17 14:10 | 21.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3046 | 209.3046 | μmol/L | 39.5251 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.766 | 147383.5969 | 307596.8233 | 30.45 | 114.2 | #N/A
10892 | 2021-02-17 14:11 | 21.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3952 | 209.3952 | μmol/L | 39.4819 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.776 | 147468.31 | 307576.5422 | 30.45 | 114.2 | #N/A
10902 | 2021-02-17 14:11 | 22.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2121 | 209.2121 | μmol/L | 39.5251 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.776 | 147474.6056 | 307572.8859 | 30.45 | 114.2 | #N/A
10912 | 2021-02-17 14:11 | 22.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.146 | 209.146 | μmol/L | 39.556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.769 | 147430.1843 | 307577.3737 | 30.45 | 114.2 | #N/A
10922 | 2021-02-17 14:12 | 22.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.4001 | 209.4001 | μmol/L | 39.5004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.767 | 147415.5322 | 307569.5402 | 30.45 | 114.2 | #N/A
10932 | 2021-02-17 14:12 | 23.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.7835 | 209.7835 | μmol/L | 39.4077 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.768 | 147412.0452 | 307570.7999 | 30.45 | 114.2 | #N/A
10942 | 2021-02-17 14:12 | 23.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.7277 | 209.7277 | μmol/L | 39.4077 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.774 | 147473.7054 | 307564.8592 | 30.45 | 114.2 | #N/A
10952 | 2021-02-17 14:13 | 23.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3869 | 209.3869 | μmol/L | 39.4509 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.791 | 147585.9677 | 307562.958 | 30.45 | 114.2 | #N/A
10962 | 2021-02-17 14:13 | 24.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.8813 | 208.8813 | μmol/L | 39.5684 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.792 | 147593.0841 | 307561.698 | 30.45 | 114.2 | #N/A
10972 | 2021-02-17 14:13 | 24.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2133 | 209.2133 | μmol/L | 39.4942 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.79 | 147570.829 | 307552.3298 | 30.45 | 114.2 | #N/A
10982 | 2021-02-17 14:14 | 24.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.0963 | 209.0963 | μmol/L | 39.5066 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.797 | 147646.112 | 307552.4985 | 30.45 | 114.2 | #N/A
10992 | 2021-02-17 14:14 | 25.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1144 | 209.1144 | μmol/L | 39.4695 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.812 | 147721.8444 | 307538.6599 | 30.45 | 114.2 | #N/A
11002 | 2021-02-17 14:14 | 25.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1698 | 209.1698 | μmol/L | 39.4695 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.806 | 147712.3402 | 307523.7944 | 30.45 | 114.2 | #N/A
11012 | 2021-02-17 14:15 | 25.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1758 | 209.1758 | μmol/L | 39.4571 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.811 | 147734.897 | 307519.3951 | 30.45 | 114.2 | #N/A
11022 | 2021-02-17 14:15 | 26.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1372 | 209.1372 | μmol/L | 39.4509 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.818 | 147783.4671 | 307530.4716 | 30.45 | 114.2 | #N/A
11032 | 2021-02-17 14:15 | 26.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1985 | 209.1985 | μmol/L | 39.4386 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.817 | 147780.2821 | 307527.6081 | 30.45 | 114.2 | #N/A
11042 | 2021-02-17 14:16 | 26.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.9458 | 208.9458 | μmol/L | 39.5313 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.802 | 147675.8244 | 307518.9202 | 30.45 | 114.2 | #N/A
11052 | 2021-02-17 14:16 | 27.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.0991 | 209.0991 | μmol/L | 39.4819 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.808 | 147715.8706 | 307527.1665 | 30.45 | 114.2 | #N/A
11062 | 2021-02-17 14:16 | 27.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.185 | 209.185 | μmol/L | 39.4571 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.81 | 147743.4838 | 307494.7989 | 30.45 | 114.2 | #N/A
11072 | 2021-02-17 14:17 | 27.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3574 | 209.3574 | μmol/L | 39.3768 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.828 | 147867.9866 | 307503.9642 | 30.45 | 114.2 | #N/A
11082 | 2021-02-17 14:17 | 28.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.8393 | 208.8393 | μmol/L | 39.4757 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.839 | 147922.3074 | 307494.6947 | 30.45 | 114.2 | #N/A
11092 | 2021-02-17 14:17 | 28.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.8561 | 208.8561 | μmol/L | 39.4695 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.84 | 147948.219 | 307496.314 | 30.45 | 114.2 | #N/A
11102 | 2021-02-17 14:18 | 28.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.666 | 208.666 | μmol/L | 39.4819 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.855 | 148040.591 | 307506.4743 | 30.45 | 114.2 | #N/A
11112 | 2021-02-17 14:18 | 29.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.654 | 208.654 | μmol/L | 39.5066 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.845 | 147967.8132 | 307508.2614 | 30.45 | 114.2 | #N/A
11122 | 2021-02-17 14:18 | 29.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.0122 | 209.0122 | μmol/L | 39.4324 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.84 | 147939.8189 | 307487.8058 | 30.45 | 114.2 | #N/A
11132 | 2021-02-17 14:19 | 29.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.9048 | 208.9048 | μmol/L | 39.4448 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.846 | 147951.0775 | 307479.8277 | 30.45 | 114.2 | #N/A
11142 | 2021-02-17 14:19 | 30.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.186 | 209.186 | μmol/L | 39.4262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.824 | 147794.8675 | 307476.9323 | 30.45 | 114.2 | #N/A
11152 | 2021-02-17 14:19 | 30.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1024 | 209.1024 | μmol/L | 39.4942 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.802 | 147641.2068 | 307467.8181 | 30.45 | 114.2 | #N/A
11162 | 2021-02-17 14:20 | 30.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.9165 | 208.9165 | μmol/L | 39.5251 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.808 | 147660.949 | 307469.8815 | 30.45 | 114.2 | #N/A
11172 | 2021-02-17 14:20 | 31.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.8059 | 208.8059 | μmol/L | 39.5251 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.82 | 147755.2949 | 307474.3928 | 30.45 | 114.2 | #N/A
11182 | 2021-02-17 14:20 | 31.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.913 | 208.913 | μmol/L | 39.4757 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.831 | 147829.2057 | 307461.7302 | 30.45 | 114.2 | #N/A
11192 | 2021-02-17 14:21 | 31.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.8669 | 208.8669 | μmol/L | 39.4757 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.836 | 147859.2314 | 307458.4465 | 30.45 | 114.2 | #N/A
11202 | 2021-02-17 14:21 | 32.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.9937 | 208.9937 | μmol/L | 39.4324 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.842 | 147900.0357 | 307458.0468 | 30.45 | 114.2 | #N/A
11212 | 2021-02-17 14:21 | 32.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.6248 | 208.6248 | μmol/L | 39.5004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.851 | 147964.2264 | 307463.3029 | 30.45 | 114.2 | #N/A
11222 | 2021-02-17 14:22 | 32.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.9032 | 208.9032 | μmol/L | 39.4386 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.849 | 147928.3243 | 307444.3939 | 30.45 | 114.2 | #N/A
11232 | 2021-02-17 14:22 | 33.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.6476 | 208.6476 | μmol/L | 39.4819 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.857 | 147973.4349 | 307453.6506 | 30.45 | 114.2 | #N/A
11242 | 2021-02-17 14:22 | 33.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1581 | 209.1581 | μmol/L | 39.3582 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.858 | 147979.2326 | 307440.8011 | 30.45 | 114.2 | #N/A
11252 | 2021-02-17 14:23 | 33.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.0777 | 209.0777 | μmol/L | 39.4015 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.847 | 147891.9178 | 307434.2407 | 30.45 | 114.2 | #N/A
11262 | 2021-02-17 14:23 | 34.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.17 | 209.17 | μmol/L | 39.4015 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.837 | 147793.0748 | 307443.3118 | 30.45 | 114.2 | #N/A
11272 | 2021-02-17 14:23 | 34.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.5472 | 209.5472 | μmol/L | 39.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.83 | 147779.4274 | 307420.6214 | 30.45 | 114.2 | #N/A
11282 | 2021-02-17 14:24 | 34.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2354 | 209.2354 | μmol/L | 39.3706 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.844 | 147862.3984 | 307430.0244 | 30.45 | 114.2 | #N/A
11292 | 2021-02-17 14:24 | 35.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3716 | 209.3716 | μmol/L | 39.2964 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.863 | 147978.2418 | 307417.5022 | 30.45 | 114.2 | #N/A
11302 | 2021-02-17 14:24 | 35.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1591 | 209.1591 | μmol/L | 39.2964 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.886 | 148147.4094 | 307418.7392 | 30.45 | 114.2 | #N/A
11312 | 2021-02-17 14:25 | 35.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3477 | 209.3477 | μmol/L | 39.2779 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.874 | 148029.4157 | 307407.3447 | 30.45 | 114.2 | #N/A
11322 | 2021-02-17 14:25 | 36.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.546 | 209.546 | μmol/L | 39.2593 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.861 | 147963.8471 | 307402.5151 | 30.45 | 114.2 | #N/A
11332 | 2021-02-17 14:25 | 36.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3382 | 209.3382 | μmol/L | 39.3088 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.861 | 147936.5668 | 307417.4686 | 30.45 | 114.2 | #N/A
11342 | 2021-02-17 14:26 | 36.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1102 | 209.1102 | μmol/L | 39.352 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.866 | 147956.9216 | 307404.4042 | 30.45 | 114.2 | #N/A
11352 | 2021-02-17 14:26 | 37.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.9125 | 208.9125 | μmol/L | 39.3706 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.879 | 148060.6835 | 307405.0066 | 30.45 | 114.2 | #N/A
11362 | 2021-02-17 14:26 | 37.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2545 | 209.2545 | μmol/L | 39.3397 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.856 | 147872.7416 | 307398.8841 | 30.45 | 114.2 | #N/A
11372 | 2021-02-17 14:27 | 37.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.8504 | 209.8504 | μmol/L | 39.2222 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.845 | 147811.3537 | 307398.5061 | 30.45 | 114.2 | #N/A
11382 | 2021-02-17 14:27 | 38.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.4346 | 209.4346 | μmol/L | 39.2902 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.859 | 147900.3449 | 307399.1467 | 30.45 | 114.2 | #N/A
11392 | 2021-02-17 14:27 | 38.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.9797 | 209.9797 | μmol/L | 39.1295 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.873 | 147957.8172 | 307387.6121 | 30.45 | 114.2 | #N/A
11402 | 2021-02-17 14:28 | 38.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.6369 | 209.6369 | μmol/L | 39.2222 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.868 | 147892.3218 | 307387.6021 | 30.45 | 114.2 | #N/A
11412 | 2021-02-17 14:28 | 39.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 110.0742 | 210.0742 | μmol/L | 39.1048 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.874 | 147975.69 | 307392.3305 | 30.45 | 114.2 | #N/A
11422 | 2021-02-17 14:28 | 39.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.5496 | 209.5496 | μmol/L | 39.179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.897 | 148102.4054 | 307389.0236 | 30.45 | 114.2 | #N/A
11432 | 2021-02-17 14:29 | 39.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2482 | 209.2482 | μmol/L | 39.2222 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.91 | 148212.0482 | 307376.1206 | 30.45 | 114.2 | #N/A
11442 | 2021-02-17 14:29 | 40.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.4625 | 209.4625 | μmol/L | 39.1666 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.912 | 148214.9749 | 307372.7217 | 30.45 | 114.2 | #N/A
11452 | 2021-02-17 14:29 | 40.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.7973 | 209.7973 | μmol/L | 39.111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.901 | 148132.1674 | 307375.9913 | 30.45 | 114.2 | #N/A
11462 | 2021-02-17 14:30 | 40.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.5826 | 209.5826 | μmol/L | 39.1357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.913 | 148209.7971 | 307369.711 | 30.45 | 114.2 | #N/A
11472 | 2021-02-17 14:30 | 41.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.6742 | 209.6742 | μmol/L | 39.0739 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.931 | 148321.6583 | 307367.3773 | 30.45 | 114.2 | #N/A
11482 | 2021-02-17 14:30 | 41.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2093 | 209.2093 | μmol/L | 39.1543 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.945 | 148383.5069 | 307365.8064 | 30.45 | 114.2 | #N/A
11492 | 2021-02-17 14:31 | 41.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.5042 | 209.5042 | μmol/L | 39.0925 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.941 | 148375.4791 | 307366.8203 | 30.45 | 114.2 | #N/A
11502 | 2021-02-17 14:31 | 42.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.386 | 209.386 | μmol/L | 39.0986 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.951 | 148419.8914 | 307343.8375 | 30.45 | 114.2 | #N/A
11512 | 2021-02-17 14:31 | 42.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2183 | 209.2183 | μmol/L | 39.1234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.958 | 148453.221 | 307334.0033 | 30.45 | 114.2 | #N/A
11522 | 2021-02-17 14:32 | 42.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.5842 | 209.5842 | μmol/L | 39.0245 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.963 | 148486.0566 | 307340.8906 | 30.45 | 114.2 | #N/A
11532 | 2021-02-17 14:32 | 43.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.6252 | 209.6252 | μmol/L | 39.0368 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.953 | 148411.3381 | 307335.4392 | 30.45 | 114.2 | #N/A
11542 | 2021-02-17 14:32 | 43.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.7037 | 209.7037 | μmol/L | 38.9936 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.964 | 148468.8189 | 307330.433 | 30.45 | 114.2 | #N/A
11552 | 2021-02-17 14:33 | 43.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.7161 | 209.7161 | μmol/L | 38.975 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.971 | 148509.1782 | 307336.4581 | 30.45 | 114.2 | #N/A
11562 | 2021-02-17 14:33 | 44.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2819 | 209.2819 | μmol/L | 39.0615 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.979 | 148570.8432 | 307318.9722 | 30.45 | 114.2 | #N/A
11572 | 2021-02-17 14:33 | 44.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.5783 | 209.5783 | μmol/L | 38.9503 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.997 | 148691.1671 | 307304.9654 | 30.45 | 114.2 | #N/A
11582 | 2021-02-17 14:34 | 44.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.4365 | 209.4365 | μmol/L | 38.9688 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.004 | 148735.6584 | 307310.1539 | 30.45 | 114.2 | #N/A
11592 | 2021-02-17 14:34 | 45.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2477 | 209.2477 | μmol/L | 39.0121 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.005 | 148748.9718 | 307297.8659 | 30.45 | 114.2 | #N/A
11602 | 2021-02-17 14:34 | 45.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.6419 | 209.6419 | μmol/L | 38.9194 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.004 | 148729.7135 | 307309.8716 | 30.45 | 114.2 | #N/A
11612 | 2021-02-17 14:35 | 45.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.3432 | 209.3432 | μmol/L | 38.9379 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.028 | 148870.4001 | 307291.1152 | 30.45 | 114.2 | #N/A
11622 | 2021-02-17 14:35 | 46.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.163 | 209.163 | μmol/L | 38.9503 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.042 | 148975.4649 | 307292.1021 | 30.45 | 114.2 | #N/A
11632 | 2021-02-17 14:35 | 46.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1149 | 209.1149 | μmol/L | 38.9441 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.05 | 149018.0291 | 307289.2405 | 30.45 | 114.2 | #N/A
11642 | 2021-02-17 14:36 | 46.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.8114 | 208.8114 | μmol/L | 38.9997 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.058 | 149083.4955 | 307280.0292 | 30.45 | 114.2 | #N/A
11652 | 2021-02-17 14:36 | 47.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.7492 | 208.7492 | μmol/L | 39.0059 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.062 | 149133.0797 | 307283.8574 | 30.45 | 114.2 | #N/A
11662 | 2021-02-17 14:36 | 47.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.8238 | 208.8238 | μmol/L | 38.9812 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.065 | 149139.0871 | 307269.1111 | 30.45 | 114.2 | #N/A
11672 | 2021-02-17 14:37 | 47.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.88 | 208.88 | μmol/L | 38.9565 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.07 | 149137.75 | 307264.0768 | 30.45 | 114.2 | #N/A
11682 | 2021-02-17 14:37 | 48.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.0832 | 209.0832 | μmol/L | 38.9318 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.059 | 149061.7102 | 307253.2494 | 30.45 | 114.2 | #N/A
11692 | 2021-02-17 14:37 | 48.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.1947 | 209.1947 | μmol/L | 38.907 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.058 | 149048.8289 | 307251.9596 | 30.45 | 114.2 | #N/A
11702 | 2021-02-17 14:38 | 48.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.0373 | 209.0373 | μmol/L | 38.9318 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.064 | 149103.8322 | 307235.1776 | 30.45 | 114.2 | #N/A
11712 | 2021-02-17 14:38 | 49.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.2119 | 209.2119 | μmol/L | 38.8761 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.07 | 149139.6719 | 307239.0432 | 30.45 | 114.2 | #N/A
11722 | 2021-02-17 14:38 | 49.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 109.18 | 209.18 | μmol/L | 38.8638 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.079 | 149216.304 | 307238.9296 | 30.45 | 114.2 | #N/A
11732 | 2021-02-17 14:39 | 49.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.5907 | 208.5907 | μmol/L | 38.9688 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.096 | 149297.6238 | 307234.0941 | 30.45 | 114.2 | #N/A
11742 | 2021-02-17 14:39 | 50.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.7303 | 208.7303 | μmol/L | 38.9194 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.103 | 149378.7944 | 307236.7885 | 30.45 | 114.2 | #N/A
11752 | 2021-02-17 14:39 | 50.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.3662 | 208.3662 | μmol/L | 38.9812 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.115 | 149451.593 | 307222.458 | 30.45 | 114.2 | #N/A
11762 | 2021-02-17 14:40 | 50.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.3166 | 208.3166 | μmol/L | 38.9688 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.126 | 149523.2234 | 307220.3992 | 30.45 | 114.2 | #N/A
11772 | 2021-02-17 14:40 | 51.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.3186 | 208.3186 | μmol/L | 38.975 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.123 | 149483.6429 | 307203.0463 | 30.45 | 114.2 | #N/A
11782 | 2021-02-17 14:40 | 51.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.3824 | 208.3824 | μmol/L | 38.975 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.116 | 149485.5332 | 307211.0681 | 30.45 | 114.2 | #N/A
11792 | 2021-02-17 14:41 | 51.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.7994 | 207.7994 | μmol/L | 39.0925 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.127 | 149556.3817 | 307206.9129 | 30.45 | 114.2 | #N/A
11802 | 2021-02-17 14:41 | 52.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.9696 | 207.9696 | μmol/L | 39.0245 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.139 | 149622.8576 | 307204.7106 | 30.45 | 114.2 | #N/A
11812 | 2021-02-17 14:41 | 52.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.917 | 207.917 | μmol/L | 39.0306 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.142 | 149620.6543 | 307193.2729 | 30.45 | 114.2 | #N/A
11822 | 2021-02-17 14:42 | 52.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 108.0276 | 208.0276 | μmol/L | 39.0059 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.141 | 149621.1486 | 307181.9408 | 30.45 | 114.2 | #N/A
11832 | 2021-02-17 14:42 | 53.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.8681 | 207.8681 | μmol/L | 39.0492 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.139 | 149604.0864 | 307173.1579 | 30.45 | 114.2 | #N/A
11842 | 2021-02-17 14:42 | 53.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.6307 | 207.6307 | μmol/L | 39.1048 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.14 | 149642.8972 | 307174.5413 | 30.45 | 114.2 | #N/A
11852 | 2021-02-17 14:43 | 53.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.5165 | 207.5165 | μmol/L | 39.1172 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.147 | 149675.6659 | 307183.5097 | 30.45 | 114.2 | #N/A
11862 | 2021-02-17 14:43 | 54.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.7554 | 207.7554 | μmol/L | 39.0368 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.157 | 149751.1336 | 307179.1479 | 30.45 | 114.2 | #N/A
11872 | 2021-02-17 14:43 | 54.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.3718 | 207.3718 | μmol/L | 39.1172 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.163 | 149808.0297 | 307166.0111 | 30.45 | 114.2 | #N/A
11882 | 2021-02-17 14:44 | 54.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.7369 | 207.7369 | μmol/L | 39.0059 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.173 | 149859.5948 | 307161.4784 | 30.45 | 114.2 | #N/A
11892 | 2021-02-17 14:44 | 55.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.3338 | 207.3338 | μmol/L | 39.111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.17 | 149842.1749 | 307168.7683 | 30.45 | 114.2 | #N/A
11902 | 2021-02-17 14:44 | 55.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.2796 | 207.2796 | μmol/L | 39.111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.176 | 149909.7023 | 307150.4089 | 30.45 | 114.2 | #N/A
11912 | 2021-02-17 14:45 | 55.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.303 | 207.303 | μmol/L | 39.1295 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.165 | 149835.0732 | 307153.9833 | 30.45 | 114.2 | #N/A
11922 | 2021-02-17 14:45 | 56.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.1331 | 207.1331 | μmol/L | 39.1666 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.167 | 149847.2863 | 307154.353 | 30.45 | 114.2 | #N/A
11932 | 2021-02-17 14:45 | 56.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.0734 | 207.0734 | μmol/L | 39.179 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.168 | 149867.8069 | 307145.8787 | 30.45 | 114.2 | #N/A
11942 | 2021-02-17 14:46 | 56.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.9378 | 206.9378 | μmol/L | 39.2099 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.169 | 149866.144 | 307137.3295 | 30.45 | 114.2 | #N/A
11952 | 2021-02-17 14:46 | 57.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.088 | 207.088 | μmol/L | 39.1666 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.172 | 149873.5892 | 307140.859 | 30.45 | 114.2 | #N/A
11962 | 2021-02-17 14:46 | 57.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.7108 | 206.7108 | μmol/L | 39.2346 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.183 | 149958.726 | 307139.9813 | 30.45 | 114.2 | #N/A
11972 | 2021-02-17 14:47 | 57.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.5305 | 206.5305 | μmol/L | 39.2655 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.189 | 150018.5419 | 307118.5524 | 30.45 | 114.2 | #N/A
11982 | 2021-02-17 14:47 | 58.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.3031 | 206.3031 | μmol/L | 39.3211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.189 | 150033.4812 | 307125.0929 | 30.45 | 114.2 | #N/A
11992 | 2021-02-17 14:47 | 58.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.4906 | 206.4906 | μmol/L | 39.2841 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.185 | 150017.2355 | 307130.9116 | 30.45 | 114.2 | #N/A
12002 | 2021-02-17 14:48 | 58.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.6243 | 206.6243 | μmol/L | 39.247 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.187 | 150027.9352 | 307132.852 | 30.45 | 114.2 | #N/A
12012 | 2021-02-17 14:48 | 59.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.8552 | 206.8552 | μmol/L | 39.2037 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.181 | 149992.7314 | 307116.43 | 30.45 | 114.2 | #N/A
12022 | 2021-02-17 14:48 | 59.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.4922 | 206.4922 | μmol/L | 39.2902 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.182 | 150004.3858 | 307120.6707 | 30.45 | 114.2 | #N/A
12032 | 2021-02-17 14:49 | 59.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.3463 | 206.3463 | μmol/L | 39.315 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.187 | 150052.2933 | 307117.6281 | 30.45 | 114.2 | #N/A
12042 | 2021-02-17 14:49 | 60.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.4726 | 206.4726 | μmol/L | 39.2841 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.187 | 150056.5697 | 307110.1391 | 30.45 | 114.2 | #N/A
12052 | 2021-02-17 14:49 | 60.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.0667 | 206.0667 | μmol/L | 39.3768 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.19 | 150091.4546 | 307104.5584 | 30.45 | 114.2 | #N/A
12062 | 2021-02-17 14:50 | 60.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.5085 | 206.5085 | μmol/L | 39.2841 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.183 | 150048.1205 | 307095.3964 | 30.45 | 114.2 | #N/A
12072 | 2021-02-17 14:50 | 61.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.43 | 206.43 | μmol/L | 39.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.172 | 150002.1126 | 307105.7769 | 30.45 | 114.2 | #N/A
12082 | 2021-02-17 14:50 | 61.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.4619 | 206.4619 | μmol/L | 39.383 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.143 | 149780.3699 | 307094.555 | 30.45 | 114.2 | #N/A
12092 | 2021-02-17 14:51 | 61.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.5096 | 206.5096 | μmol/L | 39.3582 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.149 | 149826.977 | 307097.1817 | 30.45 | 114.2 | #N/A
12102 | 2021-02-17 14:51 | 62.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.0384 | 206.0384 | μmol/L | 39.4448 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.162 | 149923.8323 | 307082.0144 | 30.45 | 114.2 | #N/A
12112 | 2021-02-17 14:51 | 62.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.8733 | 205.8733 | μmol/L | 39.4633 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.172 | 150001.7296 | 307084.4589 | 30.45 | 114.2 | #N/A
12122 | 2021-02-17 14:52 | 62.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.7486 | 205.7486 | μmol/L | 39.4633 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.186 | 150107.6527 | 307082.2976 | 30.45 | 114.2 | #N/A
12132 | 2021-02-17 14:52 | 63.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.4089 | 206.4089 | μmol/L | 39.315 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.18 | 150068.6196 | 307087.3765 | 30.45 | 114.2 | #N/A
12142 | 2021-02-17 14:52 | 63.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.9448 | 205.9448 | μmol/L | 39.4262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.181 | 150079.3893 | 307076.1029 | 30.45 | 114.2 | #N/A
12152 | 2021-02-17 14:53 | 63.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.7176 | 205.7176 | μmol/L | 39.4448 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.198 | 150216.6789 | 307074.2385 | 30.45 | 114.2 | #N/A
12162 | 2021-02-17 14:53 | 64.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.8305 | 205.8305 | μmol/L | 39.3953 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.208 | 150277.2604 | 307083.8389 | 30.45 | 114.2 | #N/A
12172 | 2021-02-17 14:53 | 64.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.6954 | 205.6954 | μmol/L | 39.4262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.209 | 150300.1274 | 307088.5446 | 30.45 | 114.2 | #N/A
12182 | 2021-02-17 14:54 | 64.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.5618 | 205.5618 | μmol/L | 39.4633 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.207 | 150292.6687 | 307077.0804 | 30.45 | 114.2 | #N/A
12192 | 2021-02-17 14:54 | 65.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.8988 | 205.8988 | μmol/L | 39.383 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.206 | 150286.188 | 307079.4248 | 30.45 | 114.2 | #N/A
12202 | 2021-02-17 14:54 | 65.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.332 | 205.332 | μmol/L | 39.5066 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.213 | 150348.2223 | 307062.7736 | 30.45 | 114.2 | #N/A
12212 | 2021-02-17 14:55 | 65.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.488 | 205.488 | μmol/L | 39.4509 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.221 | 150397.5799 | 307073.3986 | 30.45 | 114.2 | #N/A
12222 | 2021-02-17 14:55 | 66.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.6777 | 205.6777 | μmol/L | 39.4262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.211 | 150324.5481 | 307069.4822 | 30.45 | 114.2 | #N/A
12232 | 2021-02-17 14:55 | 66.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.422 | 205.422 | μmol/L | 39.5128 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.2 | 150241.504 | 307063.6607 | 30.45 | 114.2 | #N/A
12242 | 2021-02-17 14:56 | 66.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.5197 | 205.5197 | μmol/L | 39.5128 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.189 | 150177.0396 | 307054.5104 | 30.45 | 114.2 | #N/A
12252 | 2021-02-17 14:56 | 67.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.6549 | 205.6549 | μmol/L | 39.4819 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.188 | 150182.3616 | 307063.418 | 30.45 | 114.2 | #N/A
12262 | 2021-02-17 14:56 | 67.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.5394 | 205.5394 | μmol/L | 39.4819 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.201 | 150278.4945 | 307054.6554 | 30.45 | 114.2 | #N/A
12272 | 2021-02-17 14:57 | 67.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.437 | 205.437 | μmol/L | 39.5004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.204 | 150277.2663 | 307048.234 | 30.45 | 114.2 | #N/A
12282 | 2021-02-17 14:57 | 68.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.7012 | 205.7012 | μmol/L | 39.4509 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.197 | 150224.5067 | 307051.5752 | 30.45 | 114.2 | #N/A
12292 | 2021-02-17 14:57 | 68.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.6571 | 205.6571 | μmol/L | 39.5313 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.165 | 150006.3144 | 307043.8337 | 30.45 | 114.2 | #N/A
12302 | 2021-02-17 14:58 | 68.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.8044 | 205.8044 | μmol/L | 39.5128 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.157 | 149952.364 | 307042.4098 | 30.45 | 114.2 | #N/A
12312 | 2021-02-17 14:58 | 69.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.9981 | 205.9981 | μmol/L | 39.4633 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.158 | 149949.2618 | 307037.5643 | 30.45 | 114.2 | #N/A
12322 | 2021-02-17 14:58 | 69.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.8954 | 205.8954 | μmol/L | 39.4819 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.161 | 149983.5991 | 307038.3001 | 30.45 | 114.2 | #N/A
12332 | 2021-02-17 14:59 | 69.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.8447 | 205.8447 | μmol/L | 39.4942 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.161 | 149943.5056 | 307033.0604 | 30.45 | 114.2 | #N/A
12342 | 2021-02-17 14:59 | 70.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.651 | 205.651 | μmol/L | 39.5437 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.16 | 149987.5796 | 307023.3571 | 30.45 | 114.2 | #N/A
12352 | 2021-02-17 14:59 | 70.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.7392 | 205.7392 | μmol/L | 39.5004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.17 | 150056.6335 | 307024.4773 | 30.45 | 114.2 | #N/A
12362 | 2021-02-17 15:00 | 70.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.2932 | 206.2932 | μmol/L | 39.3891 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.159 | 149960.8566 | 307015.6233 | 30.45 | 114.2 | #N/A
12372 | 2021-02-17 15:00 | 71.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 105.8517 | 205.8517 | μmol/L | 39.5251 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.146 | 149874.3752 | 307028.6284 | 30.45 | 114.2 | #N/A
12382 | 2021-02-17 15:00 | 71.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.2753 | 206.2753 | μmol/L | 39.4633 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.127 | 149712.7702 | 307018.6374 | 30.45 | 114.2 | #N/A
12392 | 2021-02-17 15:01 | 71.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.6252 | 206.6252 | μmol/L | 39.4262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.105 | 149549.0026 | 307005.7 | 30.45 | 114.2 | #N/A
12402 | 2021-02-17 15:01 | 72.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.8154 | 206.8154 | μmol/L | 39.3953 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.098 | 149510.8385 | 307002.6438 | 30.45 | 114.2 | #N/A
12412 | 2021-02-17 15:01 | 72.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.3556 | 206.3556 | μmol/L | 39.5004 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.101 | 149504.2394 | 307007.464 | 30.45 | 114.2 | #N/A
12422 | 2021-02-17 15:02 | 72.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.5545 | 206.5545 | μmol/L | 39.5066 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.076 | 149369.1992 | 307004.9527 | 30.45 | 114.2 | #N/A
12432 | 2021-02-17 15:02 | 73.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.0906 | 207.0906 | μmol/L | 39.4139 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.059 | 149221.8097 | 306998.8034 | 30.45 | 114.2 | #N/A
12442 | 2021-02-17 15:02 | 73.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.4754 | 207.4754 | μmol/L | 39.3273 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.056 | 149214.0814 | 306997.8167 | 30.45 | 114.2 | #N/A
12452 | 2021-02-17 15:03 | 73.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.0454 | 207.0454 | μmol/L | 39.4139 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.064 | 149243.3345 | 306978.5304 | 30.45 | 114.2 | #N/A
12462 | 2021-02-17 15:03 | 74.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.0392 | 207.0392 | μmol/L | 39.3891 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.076 | 149338.4256 | 306987.8499 | 30.45 | 114.2 | #N/A
12472 | 2021-02-17 15:03 | 74.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.5967 | 206.5967 | μmol/L | 39.4571 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.094 | 149392.9325 | 306979.756 | 30.45 | 114.2 | #N/A
12482 | 2021-02-17 15:04 | 74.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.9957 | 206.9957 | μmol/L | 39.3953 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.078 | 149316.1956 | 306975.5166 | 30.45 | 114.2 | #N/A
12492 | 2021-02-17 15:04 | 75.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.6417 | 206.6417 | μmol/L | 39.4571 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.089 | 149402.1934 | 306980.0087 | 30.45 | 114.2 | #N/A
12502 | 2021-02-17 15:04 | 75.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.7779 | 206.7779 | μmol/L | 39.3891 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.105 | 149508.4709 | 306968.5776 | 30.45 | 114.2 | #N/A
12512 | 2021-02-17 15:05 | 75.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.7403 | 206.7403 | μmol/L | 39.383 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.112 | 149535.6602 | 306982.7631 | 30.45 | 114.2 | #N/A
12522 | 2021-02-17 15:05 | 76.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.0874 | 207.0874 | μmol/L | 39.2964 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.113 | 149531.0069 | 306963.856 | 30.45 | 114.2 | #N/A
12532 | 2021-02-17 15:05 | 76.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.043 | 207.043 | μmol/L | 39.3335 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.101 | 149424.2893 | 306966.7879 | 30.45 | 114.2 | #N/A
12542 | 2021-02-17 15:06 | 76.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.2466 | 207.2466 | μmol/L | 39.2841 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.101 | 149431.9489 | 306964.2398 | 30.45 | 114.2 | #N/A
12552 | 2021-02-17 15:06 | 77.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.0127 | 207.0127 | μmol/L | 39.3211 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.11 | 149531.7408 | 306970.6845 | 30.45 | 114.2 | #N/A
12562 | 2021-02-17 15:06 | 77.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.5741 | 207.5741 | μmol/L | 39.1913 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.107 | 149471.4783 | 306957.8072 | 30.45 | 114.2 | #N/A
12572 | 2021-02-17 15:07 | 77.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.9122 | 207.9122 | μmol/L | 39.1357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.095 | 149398.0613 | 306946.06 | 30.45 | 114.2 | #N/A
12582 | 2021-02-17 15:07 | 78.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.5375 | 207.5375 | μmol/L | 39.2222 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.097 | 149385.2543 | 306954.533 | 30.45 | 114.2 | #N/A
12592 | 2021-02-17 15:07 | 78.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.3864 | 207.3864 | μmol/L | 39.2655 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.094 | 149354.8677 | 306952.342 | 30.45 | 114.2 | #N/A
12602 | 2021-02-17 15:08 | 78.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.965 | 206.965 | μmol/L | 39.3459 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.104 | 149447.4016 | 306955.441 | 30.45 | 114.2 | #N/A
12612 | 2021-02-17 15:08 | 79.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 106.8855 | 206.8855 | μmol/L | 39.352 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.11 | 149461.256 | 306945.9104 | 30.45 | 114.2 | #N/A
12622 | 2021-02-17 15:08 | 79.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.3886 | 207.3886 | μmol/L | 39.2408 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.105 | 149392.7427 | 306946.4843 | 30.45 | 114.2 | #N/A
12632 | 2021-02-17 15:09 | 79.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 107.7957 | 207.7957 | μmol/L | 39.1728 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 24.091 | 149328.1241 | 306952.7049 | 30.45 | 114.2 | #N/A