## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10243 | 2021-02-17 13:49 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.8989 | μmol/L | 38.9211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.249 | 197626.6395 | 301675.8236 | 59.9307 | 49.4
10253 | 2021-02-17 13:49 | 0.33183 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.1782 | μmol/L | 39.0267 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.268 | 197812.6975 | 301683.4983 | 59.9307 | 49.4
10263 | 2021-02-17 13:50 | 0.66474 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.9731 | μmol/L | 39.0143 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.292 | 198039.2391 | 301656.456 | 59.9307 | 49.4
10273 | 2021-02-17 13:50 | 0.99838 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.649 | μmol/L | 39.0267 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.316 | 198266.8351 | 301638.7883 | 59.9307 | 49.4
10283 | 2021-02-17 13:50 | 1.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.1518 | μmol/L | 39.0639 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.345 | 198555.2005 | 301629.2463 | 59.9307 | 49.4
10293 | 2021-02-17 13:51 | 1.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.1128 | μmol/L | 39.0515 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.354 | 198610.2104 | 301639.1349 | 59.9307 | 49.4
10303 | 2021-02-17 13:51 | 1.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.4465 | μmol/L | 38.9956 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.348 | 198521.3911 | 301639.7371 | 59.9307 | 49.4
10313 | 2021-02-17 13:51 | 2.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.7002 | μmol/L | 38.9336 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.352 | 198554.0297 | 301614.0979 | 59.9307 | 49.4
10323 | 2021-02-17 13:52 | 2.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.1002 | μmol/L | 39.0701 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.347 | 198511.6087 | 301613.3615 | 59.9307 | 49.4
10333 | 2021-02-17 13:52 | 2.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.3164 | μmol/L | 39.0205 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.349 | 198492.7819 | 301614.9347 | 59.9307 | 49.4
10343 | 2021-02-17 13:52 | 3.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.1193 | μmol/L | 39.0205 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.367 | 198674.6844 | 301612.3686 | 59.9307 | 49.4
10353 | 2021-02-17 13:53 | 3.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.9549 | μmol/L | 39.0639 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.363 | 198649.8158 | 301596.6578 | 59.9307 | 49.4
10363 | 2021-02-17 13:53 | 3.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.2194 | μmol/L | 39.0018 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.366 | 198637.7621 | 301584.279 | 59.9307 | 49.4
10373 | 2021-02-17 13:53 | 4.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.5677 | μmol/L | 38.8901 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.383 | 198829.517 | 301592.8877 | 59.9307 | 49.4
10383 | 2021-02-17 13:54 | 4.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.9851 | μmol/L | 38.9708 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.401 | 198980.566 | 301577.3423 | 59.9307 | 49.4
10393 | 2021-02-17 13:54 | 4.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.141 | μmol/L | 38.9336 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.403 | 198986.5709 | 301566.5231 | 59.9307 | 49.4
10403 | 2021-02-17 13:54 | 5.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.6887 | μmol/L | 39.0329 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.401 | 198954.0919 | 301561.7759 | 59.9307 | 49.4
10413 | 2021-02-17 13:55 | 5.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.0506 | μmol/L | 38.9708 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.395 | 198919.8949 | 301559.8093 | 59.9307 | 49.4
10423 | 2021-02-17 13:55 | 5.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.141 | μmol/L | 38.9336 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.403 | 198991.119 | 301547.9643 | 59.9307 | 49.4
10433 | 2021-02-17 13:55 | 6.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.5021 | μmol/L | 38.828 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.416 | 199105.9484 | 301538.9139 | 59.9307 | 49.4
10443 | 2021-02-17 13:56 | 6.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.3148 | μmol/L | 38.8466 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.425 | 199181.0414 | 301525.8008 | 59.9307 | 49.4
10453 | 2021-02-17 13:56 | 6.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.8881 | μmol/L | 38.9087 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.437 | 199297.3005 | 301531.9889 | 59.9307 | 49.4
10463 | 2021-02-17 13:56 | 7.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.7913 | μmol/L | 38.8901 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.454 | 199467.9407 | 301533.6521 | 59.9307 | 49.4
10473 | 2021-02-17 13:57 | 7.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.4913 | μmol/L | 38.8777 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.487 | 199806.2467 | 301535.4084 | 59.9307 | 49.4
10483 | 2021-02-17 13:57 | 7.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9682 | μmol/L | 38.9584 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.5 | 199921.4006 | 301540.9399 | 59.9307 | 49.4
10493 | 2021-02-17 13:57 | 8.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4569 | μmol/L | 39.0391 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.512 | 200031.8359 | 301515.2846 | 59.9307 | 49.4
10503 | 2021-02-17 13:58 | 8.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6037 | μmol/L | 39.0081 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.512 | 200046.4827 | 301519.7489 | 59.9307 | 49.4
10513 | 2021-02-17 13:58 | 8.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.1194 | μmol/L | 39.0018 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.467 | 199631.7411 | 301523.1489 | 59.9307 | 49.4
10523 | 2021-02-17 13:58 | 9.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.6873 | μmol/L | 39.0081 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.412 | 199038.7733 | 301513.9738 | 59.9307 | 49.4
10533 | 2021-02-17 13:59 | 9.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.918 | μmol/L | 38.9894 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.399 | 198886.1899 | 301490.5534 | 59.9307 | 49.4
10543 | 2021-02-17 13:59 | 9.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.782 | μmol/L | 39.0453 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.387 | 198781.7342 | 301504.8778 | 59.9307 | 49.4
10553 | 2021-02-17 13:59 | 10.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.9256 | μmol/L | 39.0267 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.382 | 198736.177 | 301508.3588 | 59.9307 | 49.4
10563 | 2021-02-17 14:00 | 10.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.1989 | μmol/L | 38.9398 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.395 | 198859.4064 | 301504.6091 | 59.9307 | 49.4
10573 | 2021-02-17 14:00 | 10.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.7418 | μmol/L | 39.0081 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.407 | 198991.9513 | 301483.068 | 59.9307 | 49.4
10583 | 2021-02-17 14:00 | 11.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.799 | μmol/L | 39.0577 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.38 | 198722.4768 | 301498.568 | 59.9307 | 49.4
10593 | 2021-02-17 14:01 | 11.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.8348 | μmol/L | 39.0639 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.374 | 198648.1897 | 301482.0456 | 59.9307 | 49.4
10603 | 2021-02-17 14:01 | 11.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.6694 | μmol/L | 39.0826 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.381 | 198736.3049 | 301482.8214 | 59.9307 | 49.4
10613 | 2021-02-17 14:01 | 12.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.0786 | μmol/L | 39.0267 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.368 | 198619.1237 | 301481.502 | 59.9307 | 49.4
10623 | 2021-02-17 14:02 | 12.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.9659 | μmol/L | 39.0639 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.362 | 198547.683 | 301488.4879 | 59.9307 | 49.4
10633 | 2021-02-17 14:02 | 12.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.7148 | μmol/L | 39.0639 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.385 | 198763.0684 | 301474.257 | 59.9307 | 49.4
10643 | 2021-02-17 14:02 | 13.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.2392 | μmol/L | 39.1384 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.396 | 198884.0089 | 301478.9899 | 59.9307 | 49.4
10653 | 2021-02-17 14:03 | 13.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7455 | μmol/L | 39.2191 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.406 | 198999.7457 | 301483.1965 | 59.9307 | 49.4
10663 | 2021-02-17 14:03 | 13.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7558 | μmol/L | 39.1943 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.416 | 199107.391 | 301448.4325 | 59.9307 | 49.4
10673 | 2021-02-17 14:03 | 14.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.4546 | μmol/L | 39.0888 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.398 | 198928.4416 | 301456.268 | 59.9307 | 49.4
10683 | 2021-02-17 14:04 | 14.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.419 | μmol/L | 39.0826 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.404 | 198979.1917 | 301440.4366 | 59.9307 | 49.4
10693 | 2021-02-17 14:04 | 14.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.3399 | μmol/L | 39.0763 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.414 | 199093.8121 | 301455.2622 | 59.9307 | 49.4
10703 | 2021-02-17 14:04 | 15.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.4447 | μmol/L | 39.1136 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.388 | 198795.4566 | 301424.2528 | 59.9307 | 49.4
10713 | 2021-02-17 14:05 | 15.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.4457 | μmol/L | 39.1384 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.377 | 198684.1721 | 301419.6729 | 59.9307 | 49.4
10723 | 2021-02-17 14:05 | 15.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.3052 | μmol/L | 39.1633 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.379 | 198726.5603 | 301417.9598 | 59.9307 | 49.4
10733 | 2021-02-17 14:05 | 16.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9398 | μmol/L | 39.1943 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.399 | 198957.2238 | 301418.3504 | 59.9307 | 49.4
10743 | 2021-02-17 14:06 | 16.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7393 | μmol/L | 39.1819 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.423 | 199199.5716 | 301425.1512 | 59.9307 | 49.4
10753 | 2021-02-17 14:06 | 16.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4155 | μmol/L | 39.1819 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.453 | 199488.6442 | 301413.6181 | 59.9307 | 49.4
10763 | 2021-02-17 14:06 | 17.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.9941 | μmol/L | 39.2253 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.473 | 199713.7948 | 301423.9801 | 59.9307 | 49.4
10773 | 2021-02-17 14:07 | 17.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.8895 | μmol/L | 39.2316 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.48 | 199775.3582 | 301430.9018 | 59.9307 | 49.4
10783 | 2021-02-17 14:07 | 17.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.7396 | μmol/L | 39.2564 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.483 | 199822.0487 | 301400.9572 | 59.9307 | 49.4
10793 | 2021-02-17 14:07 | 18.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.1757 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.5 | 199972.3471 | 301397.1272 | 59.9307 | 49.4
10803 | 2021-02-17 14:08 | 18.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.5631 | μmol/L | 39.2688 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.494 | 199945.7494 | 301402.7095 | 59.9307 | 49.4
10813 | 2021-02-17 14:08 | 18.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.6192 | μmol/L | 39.275 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.486 | 199871.6413 | 301410.4054 | 59.9307 | 49.4
10823 | 2021-02-17 14:08 | 19.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.7424 | μmol/L | 39.2874 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.469 | 199713.7923 | 301399.4713 | 59.9307 | 49.4
10833 | 2021-02-17 14:09 | 19.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4009 | μmol/L | 39.3185 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.394 | 198965.0671 | 301397.394 | 59.9307 | 49.4
10843 | 2021-02-17 14:09 | 19.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7008 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.358 | 198575.2593 | 301370.2182 | 59.9307 | 49.4
10853 | 2021-02-17 14:09 | 20.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.5195 | μmol/L | 39.393 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.35 | 198483.1824 | 301371.8389 | 59.9307 | 49.4
10863 | 2021-02-17 14:10 | 20.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6061 | μmol/L | 39.3682 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.353 | 198530.4773 | 301370.092 | 59.9307 | 49.4
10873 | 2021-02-17 14:10 | 20.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.5548 | μmol/L | 39.3495 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.366 | 198643.379 | 301372.2898 | 59.9307 | 49.4
10883 | 2021-02-17 14:10 | 21.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7116 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.357 | 198539.4445 | 301345.4788 | 59.9307 | 49.4
10893 | 2021-02-17 14:11 | 21.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9906 | μmol/L | 39.3309 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.334 | 198330.5412 | 301375.7028 | 59.9307 | 49.4
10903 | 2021-02-17 14:11 | 21.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9472 | μmol/L | 39.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.305 | 198072.4403 | 301355.034 | 59.9307 | 49.4
10913 | 2021-02-17 14:11 | 22.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.1373 | μmol/L | 39.393 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.293 | 197946.7375 | 301348.9257 | 59.9307 | 49.4
10923 | 2021-02-17 14:12 | 22.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9363 | μmol/L | 39.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.306 | 198066.3461 | 301332.3802 | 59.9307 | 49.4
10933 | 2021-02-17 14:12 | 22.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.2132 | μmol/L | 39.3185 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.319 | 198196.7184 | 301328.0641 | 59.9307 | 49.4
10943 | 2021-02-17 14:12 | 23.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6762 | μmol/L | 39.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.33 | 198310.4812 | 301350.4244 | 59.9307 | 49.4
10953 | 2021-02-17 14:13 | 23.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6817 | μmol/L | 39.393 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.335 | 198346.9305 | 301326.1929 | 59.9307 | 49.4
10963 | 2021-02-17 14:13 | 23.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7495 | μmol/L | 39.3744 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.337 | 198360.9847 | 301314.9964 | 59.9307 | 49.4
10973 | 2021-02-17 14:13 | 24.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1761 | μmol/L | 39.4489 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.357 | 198551.8693 | 301333.3213 | 59.9307 | 49.4
10983 | 2021-02-17 14:14 | 24.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.9387 | μmol/L | 39.4737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.368 | 198672.9553 | 301321.13 | 59.9307 | 49.4
10993 | 2021-02-17 14:14 | 24.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.6167 | μmol/L | 39.4737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.398 | 198991.3995 | 301329.6116 | 59.9307 | 49.4
11003 | 2021-02-17 14:14 | 25.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.2471 | μmol/L | 39.4861 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.427 | 199269.294 | 301325.5317 | 59.9307 | 49.4
11013 | 2021-02-17 14:15 | 25.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.1806 | μmol/L | 39.4799 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.436 | 199340.1867 | 301301.7962 | 59.9307 | 49.4
11023 | 2021-02-17 14:15 | 25.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.4384 | μmol/L | 39.4302 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.434 | 199347.7854 | 301313.9531 | 59.9307 | 49.4
11033 | 2021-02-17 14:15 | 26.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1046 | μmol/L | 39.2812 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.438 | 199336.2059 | 301307.6088 | 59.9307 | 49.4
11043 | 2021-02-17 14:16 | 26.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.8168 | μmol/L | 39.3868 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.418 | 199146.5706 | 301304.1465 | 59.9307 | 49.4
11053 | 2021-02-17 14:16 | 26.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6897 | μmol/L | 39.2874 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.381 | 198758.0353 | 301292.4814 | 59.9307 | 49.4
11063 | 2021-02-17 14:16 | 27.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2028 | μmol/L | 39.4613 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.349 | 198440.702 | 301295.1158 | 59.9307 | 49.4
11073 | 2021-02-17 14:17 | 27.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.7495 | μmol/L | 39.3744 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.337 | 198335.0208 | 301299.8985 | 59.9307 | 49.4
11083 | 2021-02-17 14:17 | 27.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6005 | μmol/L | 39.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.337 | 198319.4895 | 301277.6865 | 59.9307 | 49.4
11093 | 2021-02-17 14:17 | 28.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4897 | μmol/L | 39.3992 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.35 | 198428.7319 | 301278.9671 | 59.9307 | 49.4
11103 | 2021-02-17 14:18 | 28.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6061 | μmol/L | 39.3433 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.364 | 198585.6937 | 301286.4128 | 59.9307 | 49.4
11113 | 2021-02-17 14:18 | 28.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6411 | μmol/L | 39.2999 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.38 | 198720.2043 | 301287.4481 | 59.9307 | 49.4
11123 | 2021-02-17 14:18 | 29.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.9183 | μmol/L | 39.424 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.392 | 198854.4902 | 301269.5841 | 59.9307 | 49.4
11133 | 2021-02-17 14:19 | 29.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3039 | μmol/L | 39.3433 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.392 | 198860.5994 | 301267.34 | 59.9307 | 49.4
11143 | 2021-02-17 14:19 | 29.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3685 | μmol/L | 39.3433 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.386 | 198794.6185 | 301278.4347 | 59.9307 | 49.4
11153 | 2021-02-17 14:19 | 30.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2391 | μmol/L | 39.3682 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.387 | 198773.3564 | 301274.0698 | 59.9307 | 49.4
11163 | 2021-02-17 14:20 | 30.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2364 | μmol/L | 39.3619 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.39 | 198777.1323 | 301259.8206 | 59.9307 | 49.4
11173 | 2021-02-17 14:20 | 30.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4846 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.378 | 198672.2812 | 301251.3106 | 59.9307 | 49.4
11183 | 2021-02-17 14:20 | 31.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3037 | μmol/L | 39.3682 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.381 | 198668.0369 | 301243.5695 | 59.9307 | 49.4
11193 | 2021-02-17 14:21 | 31.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3792 | μmol/L | 39.3682 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.374 | 198633.973 | 301258.2804 | 59.9307 | 49.4
11203 | 2021-02-17 14:21 | 31.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.2225 | μmol/L | 39.2191 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.362 | 198471.5526 | 301250.0768 | 59.9307 | 49.4
11213 | 2021-02-17 14:21 | 32.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.3363 | μmol/L | 39.2067 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.357 | 198406.3865 | 301277.8909 | 59.9307 | 49.4
11223 | 2021-02-17 14:22 | 32.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9009 | μmol/L | 39.2999 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.356 | 198410.3082 | 301263.285 | 59.9307 | 49.4
11233 | 2021-02-17 14:22 | 32.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.8112 | μmol/L | 39.2688 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.378 | 198586.907 | 301262.2069 | 59.9307 | 49.4
11243 | 2021-02-17 14:22 | 33.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3551 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.39 | 198746.8299 | 301258.1014 | 59.9307 | 49.4
11253 | 2021-02-17 14:23 | 33.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1827 | μmol/L | 39.3123 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.417 | 199000.3711 | 301239.0691 | 59.9307 | 49.4
11263 | 2021-02-17 14:23 | 33.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.5154 | μmol/L | 39.1881 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.441 | 199206.8281 | 301233.7012 | 59.9307 | 49.4
11273 | 2021-02-17 14:23 | 34.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4035 | μmol/L | 39.1322 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.476 | 199551.1902 | 301226.8431 | 59.9307 | 49.4
11283 | 2021-02-17 14:24 | 34.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2184 | μmol/L | 39.1508 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.485 | 199656.8154 | 301232.6983 | 59.9307 | 49.4
11293 | 2021-02-17 14:24 | 34.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4818 | μmol/L | 39.1384 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.466 | 199448.0313 | 301222.1209 | 59.9307 | 49.4
11303 | 2021-02-17 14:24 | 35.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1502 | μmol/L | 39.2626 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.442 | 199206.5656 | 301238.7435 | 59.9307 | 49.4
11313 | 2021-02-17 14:25 | 35.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.613 | μmol/L | 39.2129 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.421 | 198962.6428 | 301228.4906 | 59.9307 | 49.4
11323 | 2021-02-17 14:25 | 35.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.614 | μmol/L | 39.2874 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.388 | 198655.8932 | 301219.4717 | 59.9307 | 49.4
11333 | 2021-02-17 14:25 | 36.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.1436 | μmol/L | 39.2129 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.372 | 198478.4759 | 301222.0496 | 59.9307 | 49.4
11343 | 2021-02-17 14:26 | 36.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.2522 | μmol/L | 39.2129 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.362 | 198375.8231 | 301212.3627 | 59.9307 | 49.4
11353 | 2021-02-17 14:26 | 36.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6601 | μmol/L | 39.3185 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.37 | 198450.3883 | 301204.5893 | 59.9307 | 49.4
11363 | 2021-02-17 14:26 | 37.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.986 | μmol/L | 39.2005 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.392 | 198618.8061 | 301224.1935 | 59.9307 | 49.4
11373 | 2021-02-17 14:27 | 37.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9324 | μmol/L | 39.2253 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.386 | 198529.3624 | 301207.2415 | 59.9307 | 49.4
11383 | 2021-02-17 14:27 | 37.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.0504 | μmol/L | 39.1757 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.397 | 198644.6435 | 301203.1353 | 59.9307 | 49.4
11393 | 2021-02-17 14:27 | 38.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.4921 | μmol/L | 39.0763 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.4 | 198650.9801 | 301192.1525 | 59.9307 | 49.4
11403 | 2021-02-17 14:28 | 38.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.083 | μmol/L | 39.1757 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.394 | 198607.3192 | 301198.9508 | 59.9307 | 49.4
11413 | 2021-02-17 14:28 | 38.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.1024 | μmol/L | 39.1943 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.384 | 198481.3479 | 301195.053 | 59.9307 | 49.4
11423 | 2021-02-17 14:28 | 39.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.7558 | μmol/L | 39.126 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.354 | 198213.9359 | 301193.2308 | 59.9307 | 49.4
11433 | 2021-02-17 14:29 | 39.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.0139 | μmol/L | 39.095 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.344 | 198096.5077 | 301179.7576 | 59.9307 | 49.4
11443 | 2021-02-17 14:29 | 39.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.0071 | μmol/L | 39.126 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.331 | 197917.394 | 301182.8412 | 59.9307 | 49.4
11453 | 2021-02-17 14:29 | 40.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.9584 | μmol/L | 39.1384 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.33 | 197874.8601 | 301180.1231 | 59.9307 | 49.4
11463 | 2021-02-17 14:30 | 40.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.0953 | μmol/L | 39.0826 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.342 | 198007.9915 | 301172.614 | 59.9307 | 49.4
11473 | 2021-02-17 14:30 | 40.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.416 | μmol/L | 39.1446 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.377 | 198347.3902 | 301186.2423 | 59.9307 | 49.4
11483 | 2021-02-17 14:30 | 41.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.9442 | μmol/L | 39.1571 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.415 | 198689.6268 | 301170.0985 | 59.9307 | 49.4
11493 | 2021-02-17 14:31 | 41.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.0992 | μmol/L | 39.095 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.428 | 198820.3816 | 301170.1099 | 59.9307 | 49.4
11503 | 2021-02-17 14:31 | 41.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.1239 | μmol/L | 39.1012 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.423 | 198781.5652 | 301150.1052 | 59.9307 | 49.4
11513 | 2021-02-17 14:31 | 42.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.8086 | μmol/L | 39.0329 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.39 | 198411.6771 | 301171.0785 | 59.9307 | 49.4
11523 | 2021-02-17 14:32 | 42.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.5962 | μmol/L | 38.9025 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.375 | 198240.6292 | 301154.9416 | 59.9307 | 49.4
11533 | 2021-02-17 14:32 | 42.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.3851 | μmol/L | 38.9398 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.378 | 198266.8949 | 301147.1373 | 59.9307 | 49.4
11543 | 2021-02-17 14:32 | 43.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.1255 | μmol/L | 39.0329 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.361 | 198142.0114 | 301169.6887 | 59.9307 | 49.4
11553 | 2021-02-17 14:33 | 43.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.0044 | μmol/L | 38.8839 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.346 | 197980.9193 | 301151.6392 | 59.9307 | 49.4
11563 | 2021-02-17 14:33 | 43.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.033 | μmol/L | 38.8963 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.338 | 197882.9326 | 301159.0973 | 59.9307 | 49.4
11573 | 2021-02-17 14:33 | 44.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.5455 | μmol/L | 38.8218 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.324 | 197721.6364 | 301161.3766 | 59.9307 | 49.4
11583 | 2021-02-17 14:34 | 44.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.2792 | μmol/L | 38.9025 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.313 | 197607.5153 | 301143.981 | 59.9307 | 49.4
11593 | 2021-02-17 14:34 | 44.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.3246 | μmol/L | 38.8839 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.317 | 197633.5448 | 301136.8452 | 59.9307 | 49.4
11603 | 2021-02-17 14:34 | 45.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.9469 | μmol/L | 38.9211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.335 | 197792.3686 | 301135.2518 | 59.9307 | 49.4
11613 | 2021-02-17 14:35 | 45.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.2878 | μmol/L | 38.8156 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.35 | 197940.1182 | 301116.5531 | 59.9307 | 49.4
11623 | 2021-02-17 14:35 | 45.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.5244 | μmol/L | 38.9336 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.368 | 198128.8435 | 301113.1489 | 59.9307 | 49.4
11633 | 2021-02-17 14:35 | 46.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.0781 | μmol/L | 38.8156 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.369 | 198148.028 | 301107.4624 | 59.9307 | 49.4
11643 | 2021-02-17 14:36 | 46.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.4741 | μmol/L | 38.9211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.378 | 198232.8806 | 301115.7552 | 59.9307 | 49.4
11653 | 2021-02-17 14:36 | 46.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.843 | μmol/L | 39.0143 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.395 | 198355.4486 | 301116.7133 | 59.9307 | 49.4
11663 | 2021-02-17 14:36 | 47.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.0553 | μmol/L | 38.9584 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.4 | 198418.7584 | 301121.5771 | 59.9307 | 49.4
11673 | 2021-02-17 14:37 | 47.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.9149 | μmol/L | 38.9832 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.402 | 198435.513 | 301089.6356 | 59.9307 | 49.4
11683 | 2021-02-17 14:37 | 47.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.116 | μmol/L | 38.9274 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.408 | 198503.5883 | 301089.6011 | 59.9307 | 49.4
11693 | 2021-02-17 14:37 | 48.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.8556 | μmol/L | 38.9522 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.421 | 198624.9936 | 301103.927 | 59.9307 | 49.4
11703 | 2021-02-17 14:38 | 48.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.0281 | μmol/L | 38.8839 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.435 | 198770.3782 | 301094.809 | 59.9307 | 49.4
11713 | 2021-02-17 14:38 | 48.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.6407 | μmol/L | 38.9149 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.457 | 198964.2233 | 301095.8359 | 59.9307 | 49.4
11723 | 2021-02-17 14:38 | 49.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.265 | μmol/L | 38.9894 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.459 | 198962.895 | 301093.4273 | 59.9307 | 49.4
11733 | 2021-02-17 14:39 | 49.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.3721 | μmol/L | 38.9646 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.46 | 198987.304 | 301088.1107 | 59.9307 | 49.4
11743 | 2021-02-17 14:39 | 49.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.2108 | μmol/L | 38.9894 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.464 | 199051.9673 | 301085.9093 | 59.9307 | 49.4
11753 | 2021-02-17 14:39 | 50.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.1501 | μmol/L | 39.0205 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.456 | 198956.0512 | 301092.8373 | 59.9307 | 49.4
11763 | 2021-02-17 14:40 | 50.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.975 | μmol/L | 39.0391 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.464 | 199052.1886 | 301094.377 | 59.9307 | 49.4
11773 | 2021-02-17 14:40 | 50.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4608 | μmol/L | 39.0701 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.498 | 199386.3145 | 301074.5871 | 59.9307 | 49.4
11783 | 2021-02-17 14:40 | 51.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4057 | μmol/L | 38.977 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.544 | 199816.667 | 301080.4586 | 59.9307 | 49.4
11793 | 2021-02-17 14:41 | 51.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3967 | μmol/L | 38.9584 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.553 | 199909.5962 | 301063.4126 | 59.9307 | 49.4
11803 | 2021-02-17 14:41 | 51.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2982 | μmol/L | 38.977 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.554 | 199917.7677 | 301065.1672 | 59.9307 | 49.4
11813 | 2021-02-17 14:41 | 52.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2015 | μmol/L | 38.977 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.563 | 199990.3812 | 301054.0613 | 59.9307 | 49.4
11823 | 2021-02-17 14:42 | 52.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1222 | μmol/L | 38.946 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.584 | 200226.5839 | 301058.6554 | 59.9307 | 49.4
11833 | 2021-02-17 14:42 | 52.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.8545 | μmol/L | 38.946 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.609 | 200489.7425 | 301057.8569 | 59.9307 | 49.4
11843 | 2021-02-17 14:42 | 53.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.2523 | μmol/L | 39.0267 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.63 | 200700.6966 | 301048.7384 | 59.9307 | 49.4
11853 | 2021-02-17 14:43 | 53.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.2873 | μmol/L | 38.9646 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.654 | 200943.2793 | 301056.6896 | 59.9307 | 49.4
11863 | 2021-02-17 14:43 | 53.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.4276 | μmol/L | 38.946 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.649 | 200888.7456 | 301058.2272 | 59.9307 | 49.4
11873 | 2021-02-17 14:43 | 54.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.1673 | μmol/L | 39.0267 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.638 | 200792.239 | 301048.9569 | 59.9307 | 49.4
11883 | 2021-02-17 14:44 | 54.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.417 | μmol/L | 39.0143 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.62 | 200603.8442 | 301013.8209 | 59.9307 | 49.4
11893 | 2021-02-17 14:44 | 54.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.7623 | μmol/L | 39.0453 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.574 | 200139.1324 | 301010.6262 | 59.9307 | 49.4
11903 | 2021-02-17 14:44 | 55.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.5456 | μmol/L | 39.1322 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.556 | 199939.1868 | 301009.157 | 59.9307 | 49.4
11913 | 2021-02-17 14:45 | 55.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.9842 | μmol/L | 39.0391 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.556 | 199969.0707 | 301031.7142 | 59.9307 | 49.4
11923 | 2021-02-17 14:45 | 55.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.4995 | μmol/L | 39.1012 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.574 | 200128.6899 | 301021.8486 | 59.9307 | 49.4
11933 | 2021-02-17 14:45 | 56.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.5864 | μmol/L | 39.0577 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.585 | 200265.6291 | 301017.8546 | 59.9307 | 49.4
11943 | 2021-02-17 14:46 | 56.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.1405 | μmol/L | 39.1322 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.594 | 200343.4564 | 301017.4778 | 59.9307 | 49.4
11953 | 2021-02-17 14:46 | 56.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.2599 | μmol/L | 39.1136 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.591 | 200330.5999 | 301017.3673 | 59.9307 | 49.4
11963 | 2021-02-17 14:46 | 57.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.632 | μmol/L | 39.0639 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.578 | 200201.5747 | 301001.1027 | 59.9307 | 49.4
11973 | 2021-02-17 14:47 | 57.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.29 | μmol/L | 39.1571 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.569 | 200103.7066 | 301008.0477 | 59.9307 | 49.4
11983 | 2021-02-17 14:47 | 57.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.1969 | μmol/L | 39.1633 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.575 | 200181.2524 | 300989.4665 | 59.9307 | 49.4
11993 | 2021-02-17 14:47 | 58.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.9605 | μmol/L | 39.1819 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.589 | 200353.8705 | 300996.2379 | 59.9307 | 49.4
12003 | 2021-02-17 14:48 | 58.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.939 | μmol/L | 39.1571 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.602 | 200479.0474 | 301011.7436 | 59.9307 | 49.4
12013 | 2021-02-17 14:48 | 58.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.6079 | μmol/L | 39.2005 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.614 | 200610.3909 | 301010.8167 | 59.9307 | 49.4
12023 | 2021-02-17 14:48 | 59.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.6978 | μmol/L | 39.1633 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.622 | 200686.4982 | 300988.7825 | 59.9307 | 49.4
12033 | 2021-02-17 14:49 | 59.6652 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2242 | μmol/L | 39.2936 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.609 | 200556.2102 | 300986.1909 | 59.9307 | 49.4
12043 | 2021-02-17 14:49 | 59.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.6715 | μmol/L | 39.2005 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.608 | 200543.8574 | 300998.0481 | 59.9307 | 49.4
12053 | 2021-02-17 14:49 | 60.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1031 | μmol/L | 39.2812 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.626 | 200728.5318 | 300964.583 | 59.9307 | 49.4
12063 | 2021-02-17 14:50 | 60.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.7289 | μmol/L | 39.3185 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.645 | 200932.4936 | 300992.8872 | 59.9307 | 49.4
12073 | 2021-02-17 14:50 | 60.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.6663 | μmol/L | 39.2936 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.662 | 201129.4265 | 300974.0365 | 59.9307 | 49.4
12083 | 2021-02-17 14:50 | 61.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.5954 | μmol/L | 39.2999 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.666 | 201158.9453 | 300995.705 | 59.9307 | 49.4
12093 | 2021-02-17 14:51 | 61.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.5819 | μmol/L | 39.3185 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.659 | 201111.2906 | 300988.8554 | 59.9307 | 49.4
12103 | 2021-02-17 14:51 | 61.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.7949 | μmol/L | 39.2999 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.647 | 200982.1667 | 300975.7286 | 59.9307 | 49.4
12113 | 2021-02-17 14:51 | 62.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1398 | μmol/L | 39.2936 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.617 | 200671.2443 | 300977.1692 | 59.9307 | 49.4
12123 | 2021-02-17 14:52 | 62.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.0862 | μmol/L | 39.3433 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.6 | 200519.8938 | 300983.7165 | 59.9307 | 49.4
12133 | 2021-02-17 14:52 | 62.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.0465 | μmol/L | 39.3495 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.601 | 200531.6512 | 300975.3895 | 59.9307 | 49.4
12143 | 2021-02-17 14:52 | 63.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1575 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.596 | 200472.2715 | 300977.9673 | 59.9307 | 49.4
12153 | 2021-02-17 14:53 | 63.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1309 | μmol/L | 39.3495 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.593 | 200464.3208 | 300978.2208 | 59.9307 | 49.4
12163 | 2021-02-17 14:53 | 63.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.977 | μmol/L | 39.3868 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.591 | 200422.56 | 300949.2175 | 59.9307 | 49.4
12173 | 2021-02-17 14:53 | 64.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1756 | μmol/L | 39.3557 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.586 | 200374.5126 | 300968.2092 | 59.9307 | 49.4
12183 | 2021-02-17 14:54 | 64.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1148 | μmol/L | 39.3619 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.589 | 200387.3003 | 300966.9089 | 59.9307 | 49.4
12193 | 2021-02-17 14:54 | 64.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2319 | μmol/L | 39.3123 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.6 | 200515.5499 | 300972.3288 | 59.9307 | 49.4
12203 | 2021-02-17 14:54 | 65.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.7486 | μmol/L | 39.3682 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.621 | 200702.3883 | 300962.0072 | 59.9307 | 49.4
12213 | 2021-02-17 14:55 | 65.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.583 | μmol/L | 39.3744 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.634 | 200862.3227 | 300950.7417 | 59.9307 | 49.4
12223 | 2021-02-17 14:55 | 65.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.7542 | μmol/L | 39.3557 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.626 | 200798.6388 | 300961.4074 | 59.9307 | 49.4
12233 | 2021-02-17 14:55 | 66.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2606 | μmol/L | 39.3309 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.589 | 200437.7299 | 300954.7791 | 59.9307 | 49.4
12243 | 2021-02-17 14:56 | 66.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2694 | μmol/L | 39.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.555 | 200074.4064 | 300959.3383 | 59.9307 | 49.4
12253 | 2021-02-17 14:56 | 66.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2849 | μmol/L | 39.4178 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.548 | 199969.9769 | 300953.6991 | 59.9307 | 49.4
12263 | 2021-02-17 14:56 | 67.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.3134 | μmol/L | 39.4364 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.537 | 199896.4972 | 300951.6418 | 59.9307 | 49.4
12273 | 2021-02-17 14:57 | 67.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.6163 | μmol/L | 39.3992 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.525 | 199738.9187 | 300930.1544 | 59.9307 | 49.4
12283 | 2021-02-17 14:57 | 67.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.9627 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.52 | 199697.714 | 300926.6864 | 59.9307 | 49.4
12293 | 2021-02-17 14:57 | 68.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.5895 | μmol/L | 39.4116 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.522 | 199726.0693 | 300945.0772 | 59.9307 | 49.4
12303 | 2021-02-17 14:58 | 68.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.7392 | μmol/L | 39.3619 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.53 | 199794.9853 | 300930.2116 | 59.9307 | 49.4
12313 | 2021-02-17 14:58 | 68.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.4667 | μmol/L | 39.2191 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.525 | 199765.0558 | 300925.1341 | 59.9307 | 49.4
12323 | 2021-02-17 14:58 | 69.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.6347 | μmol/L | 39.1881 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.523 | 199721.996 | 300928.2151 | 59.9307 | 49.4
12333 | 2021-02-17 14:59 | 69.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.0882 | μmol/L | 39.2812 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.533 | 199805.669 | 300928.4724 | 59.9307 | 49.4
12343 | 2021-02-17 14:59 | 69.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.8968 | μmol/L | 39.2812 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.551 | 200015.0945 | 300909.3384 | 59.9307 | 49.4
12353 | 2021-02-17 14:59 | 70.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.4187 | μmol/L | 39.3557 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.563 | 200123.4353 | 300899.7129 | 59.9307 | 49.4
12363 | 2021-02-17 15:00 | 70.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1402 | μmol/L | 39.3992 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.57 | 200181.5369 | 300907.6233 | 59.9307 | 49.4
12373 | 2021-02-17 15:00 | 70.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.3304 | μmol/L | 39.3992 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.552 | 200032.6438 | 300894.1805 | 59.9307 | 49.4
12383 | 2021-02-17 15:00 | 71.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.4785 | μmol/L | 39.3992 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.538 | 199860.5247 | 300900.2297 | 59.9307 | 49.4
12393 | 2021-02-17 15:01 | 71.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.5371 | μmol/L | 39.3868 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.538 | 199828.4292 | 300899.3496 | 59.9307 | 49.4
12403 | 2021-02-17 15:01 | 71.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.4037 | μmol/L | 39.424 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.534 | 199829.6156 | 300888.4594 | 59.9307 | 49.4
12413 | 2021-02-17 15:01 | 72.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.4118 | μmol/L | 39.4178 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.536 | 199813.7902 | 300900.8762 | 59.9307 | 49.4
12423 | 2021-02-17 15:02 | 72.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.5628 | μmol/L | 39.2191 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.516 | 199578.2078 | 300873.6843 | 59.9307 | 49.4
12433 | 2021-02-17 15:02 | 72.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.6834 | μmol/L | 39.2502 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.491 | 199351.0105 | 300883.9495 | 59.9307 | 49.4
12443 | 2021-02-17 15:02 | 73.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.7156 | μmol/L | 39.275 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.477 | 199197.6884 | 300899.2432 | 59.9307 | 49.4
12453 | 2021-02-17 15:03 | 73.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1285 | μmol/L | 39.2378 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.455 | 198970.1352 | 300870.2133 | 59.9307 | 49.4
12463 | 2021-02-17 15:03 | 73.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2551 | μmol/L | 39.2564 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.435 | 198736.571 | 300885.9907 | 59.9307 | 49.4
12473 | 2021-02-17 15:03 | 74.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.4487 | μmol/L | 39.2316 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.428 | 198691.8232 | 300887.6373 | 59.9307 | 49.4
12483 | 2021-02-17 15:04 | 74.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2551 | μmol/L | 39.2564 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.435 | 198736.5953 | 300871.2645 | 59.9307 | 49.4
12493 | 2021-02-17 15:04 | 74.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3322 | μmol/L | 39.1881 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.458 | 198947.764 | 300874.028 | 59.9307 | 49.4
12503 | 2021-02-17 15:04 | 75.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.3544 | μmol/L | 39.3309 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.486 | 199239.5872 | 300868.8245 | 59.9307 | 49.4
12513 | 2021-02-17 15:05 | 75.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.5496 | μmol/L | 39.2378 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.509 | 199498.8708 | 300874.2558 | 59.9307 | 49.4
12523 | 2021-02-17 15:05 | 75.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.2587 | μmol/L | 39.2812 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.517 | 199566.8684 | 300874.9237 | 59.9307 | 49.4
12533 | 2021-02-17 15:05 | 76.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.2054 | μmol/L | 39.2812 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.522 | 199607.173 | 300856.0538 | 59.9307 | 49.4
12543 | 2021-02-17 15:06 | 76.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.1253 | μmol/L | 39.3185 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.513 | 199464.3654 | 300847.5233 | 59.9307 | 49.4
12553 | 2021-02-17 15:06 | 76.9983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.4508 | μmol/L | 39.2812 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.499 | 199335.7372 | 300856.9021 | 59.9307 | 49.4
12563 | 2021-02-17 15:06 | 77.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.9294 | μmol/L | 39.2005 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.49 | 199234.1302 | 300846.4644 | 59.9307 | 49.4
12573 | 2021-02-17 15:07 | 77.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.9189 | μmol/L | 39.2253 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.48 | 199124.0813 | 300864.6185 | 59.9307 | 49.4
12583 | 2021-02-17 15:07 | 77.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.1525 | μmol/L | 39.2191 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.461 | 198909.6861 | 300840.8409 | 59.9307 | 49.4
12593 | 2021-02-17 15:07 | 78.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.091 | μmol/L | 39.2502 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.453 | 198818.4329 | 300811.5427 | 59.9307 | 49.4
12603 | 2021-02-17 15:08 | 78.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2416 | μmol/L | 39.2502 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.439 | 198697.2429 | 300835.6922 | 59.9307 | 49.4
12613 | 2021-02-17 15:08 | 78.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.1199 | μmol/L | 39.0701 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.437 | 198643.1056 | 300849.3636 | 59.9307 | 49.4
12623 | 2021-02-17 15:08 | 79.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.5238 | μmol/L | 39.2067 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.432 | 198616.8245 | 300852.1463 | 59.9307 | 49.4
12633 | 2021-02-17 15:09 | 79.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.849 | μmol/L | 39.1384 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.432 | 198606.4255 | 300830.5749 | 59.9307 | 49.4