## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 11:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8272 | 2021-02-17 09:44 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.4311 | μmol/L | 9.3737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.566 | 211744.299 | 331111.9294 | 33.25 | 68.6
8287 | 2021-02-17 09:47 | 3.0166 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.6546 | μmol/L | 9.3191 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.579 | 212839.9325 | 331264.1864 | 33.25 | 68.6
8295 | 2021-02-17 09:48 | 4.5591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 261.1125 | μmol/L | 9.4041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.663 | 213273.8116 | 331274.3871 | 33.25 | 68.6
8305 | 2021-02-17 09:51 | 7.2638 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0089 | μmol/L | 9.5436 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.279 | 206929.1288 | 331331.8411 | 33.25 | 68.6
8310 | 2021-02-17 09:53 | 8.7286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1639 | μmol/L | 33.7084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.641 | 192103.0282 | 331293.0568 | 33.25 | 68.6
8324 | 2021-02-17 10:40 | 55.6908 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2432 | μmol/L | 32.1441 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.155 | 188743.0205 | 326061.6855 | 33.25 | 68.6
8334 | 2021-02-17 10:40 | 56.0232 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.3688 | μmol/L | 32.309 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.153 | 188648.2027 | 326027.5618 | 33.25 | 68.6
8343 | 2021-02-17 10:40 | 56.3561 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.0704 | μmol/L | 32.2052 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.144 | 188514.071 | 325979.5255 | 33.25 | 68.6
8354 | 2021-02-17 10:41 | 56.6901 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.9994 | μmol/L | 32.2235 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.142 | 188427.1684 | 325910.9432 | 33.25 | 68.6
8363 | 2021-02-17 10:41 | 57.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.9431 | μmol/L | 32.2418 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.139 | 188351.2476 | 325851.0715 | 33.25 | 68.6
8373 | 2021-02-17 10:41 | 57.356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.6603 | μmol/L | 32.2907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.14 | 188293.2354 | 325785.7028 | 33.25 | 68.6
8384 | 2021-02-17 10:42 | 57.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.0266 | μmol/L | 32.2174 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.143 | 188264.1337 | 325720.2476 | 33.25 | 68.6
8394 | 2021-02-17 10:42 | 58.023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.7957 | μmol/L | 32.2418 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.149 | 188265.1195 | 325651.9261 | 33.25 | 68.6
8404 | 2021-02-17 10:42 | 58.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.3353 | μmol/L | 32.3151 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.153 | 188335.1324 | 325579.7383 | 33.25 | 68.6
8414 | 2021-02-17 10:43 | 58.6899 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.5629 | μmol/L | 32.2602 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.158 | 188320.6207 | 325525.5189 | 33.25 | 68.6
8423 | 2021-02-17 10:43 | 59.023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.3516 | μmol/L | 32.2907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.161 | 188330.8491 | 325472.6744 | 33.25 | 68.6
8433 | 2021-02-17 10:43 | 59.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.4372 | μmol/L | 32.2724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.162 | 188316.8745 | 325417.5217 | 33.25 | 68.6
8443 | 2021-02-17 10:44 | 59.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1486 | μmol/L | 32.309 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.168 | 188260.7749 | 325357.725 | 33.25 | 68.6
8453 | 2021-02-17 10:44 | 60.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0924 | μmol/L | 32.3274 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.165 | 188205.1325 | 325286.6787 | 33.25 | 68.6
8464 | 2021-02-17 10:44 | 60.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9213 | μmol/L | 32.364 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.163 | 188139.2402 | 325244.4672 | 33.25 | 68.6
8474 | 2021-02-17 10:45 | 60.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.3267 | μmol/L | 32.2968 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.161 | 188059.524 | 325189.9607 | 33.25 | 68.6
8484 | 2021-02-17 10:45 | 61.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9779 | μmol/L | 32.3579 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.162 | 188022.9011 | 325129.3757 | 33.25 | 68.6
8493 | 2021-02-17 10:45 | 61.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9278 | μmol/L | 32.3762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.158 | 187915.8383 | 325061.6738 | 33.25 | 68.6
8503 | 2021-02-17 10:46 | 61.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.855 | μmol/L | 32.419 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.147 | 187778.4598 | 325015.8691 | 33.25 | 68.6
8514 | 2021-02-17 10:46 | 62.023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9177 | μmol/L | 32.4129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.145 | 187695.6674 | 324962.3999 | 33.25 | 68.6
8523 | 2021-02-17 10:46 | 62.356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1289 | μmol/L | 32.3823 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.142 | 187596.9318 | 324911.1348 | 33.25 | 68.6
8533 | 2021-02-17 10:47 | 62.6899 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.7612 | μmol/L | 32.4496 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.142 | 187532.712 | 324845.9373 | 33.25 | 68.6
8543 | 2021-02-17 10:47 | 63.0226 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.7841 | μmol/L | 32.4373 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.145 | 187519.6619 | 324789.808 | 33.25 | 68.6
8554 | 2021-02-17 10:47 | 63.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.4917 | μmol/L | 32.4801 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.149 | 187520.2211 | 324755.5322 | 33.25 | 68.6
8563 | 2021-02-17 10:48 | 63.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.2873 | μmol/L | 32.5229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.147 | 187457.757 | 324687.3024 | 33.25 | 68.6
8574 | 2021-02-17 10:48 | 64.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.87 | μmol/L | 32.4312 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.142 | 187374.2966 | 324646.1126 | 33.25 | 68.6
8583 | 2021-02-17 10:48 | 64.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0767 | μmol/L | 32.3946 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.141 | 187311.9248 | 324598.1787 | 33.25 | 68.6
8593 | 2021-02-17 10:49 | 64.6896 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8871 | μmol/L | 32.6084 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.143 | 187291.6941 | 324560.6537 | 33.25 | 68.6
8604 | 2021-02-17 10:49 | 65.0235 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.4751 | μmol/L | 32.5045 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.141 | 187213.3722 | 324492.2014 | 33.25 | 68.6
8614 | 2021-02-17 10:49 | 65.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.0307 | μmol/L | 32.5779 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.144 | 187203.8624 | 324459.9305 | 33.25 | 68.6
8623 | 2021-02-17 10:50 | 65.6893 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3828 | μmol/L | 32.6939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.145 | 187171.3743 | 324398.7567 | 33.25 | 68.6
8634 | 2021-02-17 10:50 | 66.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.6639 | μmol/L | 32.6451 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.144 | 187123.4327 | 324339.2351 | 33.25 | 68.6
8643 | 2021-02-17 10:50 | 66.3561 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5888 | μmol/L | 32.6695 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.14 | 187047.587 | 324306.9139 | 33.25 | 68.6
8653 | 2021-02-17 10:51 | 66.6899 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.6948 | μmol/L | 32.6634 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.135 | 186967.9478 | 324260.8273 | 33.25 | 68.6
8663 | 2021-02-17 10:51 | 67.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.4469 | μmol/L | 32.7062 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.136 | 186915.2767 | 324213.9625 | 33.25 | 68.6
8674 | 2021-02-17 10:51 | 67.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2948 | μmol/L | 32.7367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.135 | 186837.6094 | 324162.0713 | 33.25 | 68.6
8683 | 2021-02-17 10:52 | 67.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.2383 | μmol/L | 32.755 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.132 | 186764.251 | 324115.4109 | 33.25 | 68.6
8694 | 2021-02-17 10:52 | 68.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.0992 | μmol/L | 32.7673 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.137 | 186766.7851 | 324064.6092 | 33.25 | 68.6
8704 | 2021-02-17 10:52 | 68.3562 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.276 | μmol/L | 32.7428 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.134 | 186730.2677 | 324034.009 | 33.25 | 68.6
8713 | 2021-02-17 10:53 | 68.6899 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.895 | μmol/L | 32.81 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.135 | 186670.8679 | 323977.8148 | 33.25 | 68.6
8723 | 2021-02-17 10:53 | 69.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1427 | μmol/L | 32.7673 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.134 | 186634.6264 | 323935.5357 | 33.25 | 68.6
8734 | 2021-02-17 10:53 | 69.3567 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1513 | μmol/L | 32.755 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.138 | 186629.3689 | 323888.7534 | 33.25 | 68.6
8743 | 2021-02-17 10:54 | 69.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.6128 | μmol/L | 32.8528 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.139 | 186591.5535 | 323843.386 | 33.25 | 68.6
8754 | 2021-02-17 10:54 | 70.0234 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.4234 | μmol/L | 32.8834 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.14 | 186551.8292 | 323809.2227 | 33.25 | 68.6
8763 | 2021-02-17 10:54 | 70.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0998 | μmol/L | 32.9322 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.144 | 186598.5612 | 323766.7051 | 33.25 | 68.6
8773 | 2021-02-17 10:55 | 70.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2521 | μmol/L | 32.9811 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.115 | 186314.2426 | 323712.5559 | 33.25 | 68.6
8784 | 2021-02-17 10:55 | 71.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.1666 | μmol/L | 32.9995 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.114 | 186237.8603 | 323674.0652 | 33.25 | 68.6
8793 | 2021-02-17 10:55 | 71.3562 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0844 | μmol/L | 33.0056 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.118 | 186217.5332 | 323628.9511 | 33.25 | 68.6
8803 | 2021-02-17 10:56 | 71.6901 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.9803 | μmol/L | 33.0178 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.12 | 186215.6148 | 323587.9411 | 33.25 | 68.6
8814 | 2021-02-17 10:56 | 72.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6711 | μmol/L | 33.0667 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.123 | 186208.0214 | 323530.2051 | 33.25 | 68.6
8824 | 2021-02-17 10:56 | 72.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3721 | μmol/L | 33.1217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.123 | 186164.0114 | 323489.7673 | 33.25 | 68.6
8833 | 2021-02-17 10:57 | 72.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.8968 | μmol/L | 33.085 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.101 | 185951.9492 | 323451.8149 | 33.25 | 68.6
8843 | 2021-02-17 10:57 | 73.0234 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.9666 | μmol/L | 33.1156 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.084 | 185760.3072 | 323415.1984 | 33.25 | 68.6
8854 | 2021-02-17 10:57 | 73.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6569 | μmol/L | 33.1644 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.087 | 185739.0995 | 323364.7688 | 33.25 | 68.6
8863 | 2021-02-17 10:58 | 73.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.3421 | μmol/L | 33.2011 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.095 | 185743.4479 | 323326.2514 | 33.25 | 68.6
8874 | 2021-02-17 10:58 | 74.0235 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.6388 | μmol/L | 33.1889 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.079 | 185623.393 | 323278.3658 | 33.25 | 68.6
8883 | 2021-02-17 10:58 | 74.3565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.0332 | μmol/L | 33.1033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.084 | 185607.0577 | 323235.0469 | 33.25 | 68.6
8893 | 2021-02-17 10:59 | 74.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.2907 | μmol/L | 33.2317 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.087 | 185615.6453 | 323185.7762 | 33.25 | 68.6
8904 | 2021-02-17 10:59 | 75.0234 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 167.1184 | μmol/L | 33.2317 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.099 | 185676.1502 | 323149.7051 | 33.25 | 68.6
8914 | 2021-02-17 10:59 | 75.3565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.7237 | μmol/L | 33.2806 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.108 | 185737.2554 | 323118.1445 | 33.25 | 68.6
8923 | 2021-02-17 11:00 | 75.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.9178 | μmol/L | 33.2317 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.113 | 185793.9567 | 323078.3482 | 33.25 | 68.6
8934 | 2021-02-17 11:00 | 76.0235 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.5297 | μmol/L | 33.3294 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.103 | 185688.2856 | 323046.7098 | 33.25 | 68.6
8943 | 2021-02-17 11:00 | 76.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.4918 | μmol/L | 33.3417 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.101 | 185602.8208 | 323002.9588 | 33.25 | 68.6
8954 | 2021-02-17 11:01 | 76.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.4876 | μmol/L | 33.3661 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.092 | 185470.1308 | 322953.4891 | 33.25 | 68.6
8963 | 2021-02-17 11:01 | 77.0234 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.9749 | μmol/L | 33.4211 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.107 | 185580.0829 | 322930.8562 | 33.25 | 68.6
8974 | 2021-02-17 11:01 | 77.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.9744 | μmol/L | 33.3844 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.121 | 185688.1224 | 322900.2706 | 33.25 | 68.6
8984 | 2021-02-17 11:02 | 77.6901 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.4209 | μmol/L | 33.4578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.132 | 185787.0873 | 322852.9987 | 33.25 | 68.6
8994 | 2021-02-17 11:02 | 78.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.3548 | μmol/L | 33.5067 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.118 | 185624.3558 | 322808.2893 | 33.25 | 68.6
9004 | 2021-02-17 11:02 | 78.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.5149 | μmol/L | 33.3111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.111 | 185512.6167 | 322779.0454 | 33.25 | 68.6
9013 | 2021-02-17 11:03 | 78.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 166.6287 | μmol/L | 33.2928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.11 | 185482.1706 | 322730.6814 | 33.25 | 68.6
9024 | 2021-02-17 11:03 | 79.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.4258 | μmol/L | 33.5067 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.113 | 185453.8097 | 322713.4714 | 33.25 | 68.6
9034 | 2021-02-17 11:03 | 79.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.4779 | μmol/L | 33.5311 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.1 | 185332.8826 | 322672.7958 | 33.25 | 68.6
9044 | 2021-02-17 11:04 | 79.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.1419 | μmol/L | 33.5983 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.098 | 185268.8306 | 322610.4971 | 33.25 | 68.6
9053 | 2021-02-17 11:04 | 80.0232 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.0236 | μmol/L | 33.6228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.097 | 185221.7926 | 322587.9001 | 33.25 | 68.6
9063 | 2021-02-17 11:04 | 80.356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.2696 | μmol/L | 33.58 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.096 | 185191.6486 | 322560.4091 | 33.25 | 68.6
9074 | 2021-02-17 11:05 | 80.6899 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.6267 | μmol/L | 33.6778 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.104 | 185227.6203 | 322525.7477 | 33.25 | 68.6
9083 | 2021-02-17 11:05 | 81.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.8726 | μmol/L | 33.6167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.11 | 185254.9953 | 322477.8425 | 33.25 | 68.6
9094 | 2021-02-17 11:05 | 81.3567 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.3785 | μmol/L | 33.5128 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.114 | 185264.9656 | 322454.2797 | 33.25 | 68.6
9103 | 2021-02-17 11:06 | 81.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.4872 | μmol/L | 33.4822 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.118 | 185263.1568 | 322420.1244 | 33.25 | 68.6
9114 | 2021-02-17 11:06 | 82.0227 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 165.0619 | μmol/L | 33.5372 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.127 | 185275.8115 | 322374.2747 | 33.25 | 68.6
9123 | 2021-02-17 11:06 | 82.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.9627 | μmol/L | 33.5556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.127 | 185294.5863 | 322354.9867 | 33.25 | 68.6
9133 | 2021-02-17 11:07 | 82.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.1797 | μmol/L | 33.69 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.131 | 185309.9322 | 322321.694 | 33.25 | 68.6
9144 | 2021-02-17 11:07 | 83.0229 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.656 | μmol/L | 33.6045 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.13 | 185233.3032 | 322286.3351 | 33.25 | 68.6
9153 | 2021-02-17 11:07 | 83.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.5519 | μmol/L | 33.6472 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.121 | 185119.0222 | 322243.8289 | 33.25 | 68.6
9163 | 2021-02-17 11:08 | 83.6898 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.4996 | μmol/L | 33.6778 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.113 | 185039.9295 | 322207.2627 | 33.25 | 68.6
9173 | 2021-02-17 11:08 | 84.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.6129 | μmol/L | 33.6595 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.112 | 184997.1126 | 322187.218 | 33.25 | 68.6
9184 | 2021-02-17 11:08 | 84.3565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.2876 | μmol/L | 33.6961 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.121 | 185009.8288 | 322138.085 | 33.25 | 68.6
9193 | 2021-02-17 11:09 | 84.6898 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.3767 | μmol/L | 33.7084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.11 | 184921.6326 | 322114.1185 | 33.25 | 68.6
9204 | 2021-02-17 11:09 | 85.0235 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.2308 | μmol/L | 33.7145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.118 | 184932.7581 | 322075.3434 | 33.25 | 68.6
9214 | 2021-02-17 11:09 | 85.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.5323 | μmol/L | 33.69 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.106 | 184845.2563 | 322041.679 | 33.25 | 68.6
9224 | 2021-02-17 11:10 | 85.6899 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.1823 | μmol/L | 33.7756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.098 | 184714.6564 | 322024.2429 | 33.25 | 68.6
9234 | 2021-02-17 11:10 | 86.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.1162 | μmol/L | 33.7878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.098 | 184678.8583 | 321973.3828 | 33.25 | 68.6
9243 | 2021-02-17 11:10 | 86.3567 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.3622 | μmol/L | 33.7267 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.104 | 184707.794 | 321957.0484 | 33.25 | 68.6
9253 | 2021-02-17 11:11 | 86.6895 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.2731 | μmol/L | 33.7145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.115 | 184769.0852 | 321920.9306 | 33.25 | 68.6
9263 | 2021-02-17 11:11 | 87.023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 164.344 | μmol/L | 33.6961 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.117 | 184773.4171 | 321884.9087 | 33.25 | 68.6
9274 | 2021-02-17 11:11 | 87.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.577 | μmol/L | 33.7939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.134 | 184903.9131 | 321860.7124 | 33.25 | 68.6
9284 | 2021-02-17 11:12 | 87.6898 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.559 | μmol/L | 33.7573 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.15 | 185010.7393 | 321827.6742 | 33.25 | 68.6
9294 | 2021-02-17 11:12 | 88.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.0804 | μmol/L | 33.8367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.153 | 185060.816 | 321807.9535 | 33.25 | 68.6
9304 | 2021-02-17 11:12 | 88.3567 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.1594 | μmol/L | 33.8428 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.145 | 184963.4996 | 321785.1805 | 33.25 | 68.6
9313 | 2021-02-17 11:13 | 88.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.4325 | μmol/L | 33.7817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.149 | 184937.9515 | 321749.501 | 33.25 | 68.6
9323 | 2021-02-17 11:13 | 89.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.5793 | μmol/L | 33.7206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.162 | 185015.0353 | 321707.0707 | 33.25 | 68.6
9333 | 2021-02-17 11:13 | 89.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.0546 | μmol/L | 33.7817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.176 | 185108.7084 | 321675.7276 | 33.25 | 68.6
9344 | 2021-02-17 11:14 | 89.6896 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 163.7355 | μmol/L | 33.6472 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.179 | 185133.5562 | 321650.4656 | 33.25 | 68.6
9353 | 2021-02-17 11:14 | 90.0229 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6107 | μmol/L | 33.8306 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.189 | 185194.9235 | 321628.2685 | 33.25 | 68.6
9364 | 2021-02-17 11:14 | 90.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4248 | μmol/L | 33.8367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.2 | 185252.1032 | 321611.8241 | 33.25 | 68.6
9374 | 2021-02-17 11:15 | 90.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6877 | μmol/L | 33.7695 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.207 | 185305.792 | 321567.0589 | 33.25 | 68.6
9383 | 2021-02-17 11:15 | 91.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.5582 | μmol/L | 33.7573 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.221 | 185404.9358 | 321552.6799 | 33.25 | 68.6
9394 | 2021-02-17 11:15 | 91.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9794 | μmol/L | 33.855 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.225 | 185393.521 | 321514.0353 | 33.25 | 68.6
9404 | 2021-02-17 11:16 | 91.6898 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6187 | μmol/L | 33.7511 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.219 | 185303.9004 | 321477.1243 | 33.25 | 68.6
9413 | 2021-02-17 11:16 | 92.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.7776 | μmol/L | 33.7267 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.217 | 185260.3423 | 321455.0756 | 33.25 | 68.6
9424 | 2021-02-17 11:16 | 92.3561 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.5948 | μmol/L | 33.7573 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.219 | 185234.1615 | 321425.3551 | 33.25 | 68.6
9434 | 2021-02-17 11:17 | 92.6902 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6651 | μmol/L | 33.7389 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.221 | 185232.6441 | 321387.4522 | 33.25 | 68.6
9444 | 2021-02-17 11:17 | 93.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6995 | μmol/L | 33.7022 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.232 | 185290.1695 | 321370.7284 | 33.25 | 68.6
9454 | 2021-02-17 11:17 | 93.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4713 | μmol/L | 33.7267 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.239 | 185319.9934 | 321342.009 | 33.25 | 68.6
9464 | 2021-02-17 11:18 | 93.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4759 | μmol/L | 33.7145 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.244 | 185377.6962 | 321329.0471 | 33.25 | 68.6
9473 | 2021-02-17 11:18 | 94.0227 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.7358 | μmol/L | 33.8245 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.255 | 185472.636 | 321282.711 | 33.25 | 68.6
9484 | 2021-02-17 11:18 | 94.3565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0815 | μmol/L | 33.7389 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.263 | 185501.4045 | 321269.3093 | 33.25 | 68.6
9494 | 2021-02-17 11:19 | 94.6898 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9855 | μmol/L | 33.7267 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.274 | 185563.8148 | 321242.9068 | 33.25 | 68.6
9504 | 2021-02-17 11:19 | 95.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0507 | μmol/L | 33.7145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.274 | 185532.7407 | 321217.1766 | 33.25 | 68.6
9513 | 2021-02-17 11:19 | 95.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.7217 | μmol/L | 33.745 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.286 | 185616.2075 | 321192.5242 | 33.25 | 68.6
9524 | 2021-02-17 11:20 | 95.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.6721 | μmol/L | 33.7206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.299 | 185715.1055 | 321157.4297 | 33.25 | 68.6
9533 | 2021-02-17 11:20 | 96.0234 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.5746 | μmol/L | 33.7389 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.299 | 185656.4634 | 321144.908 | 33.25 | 68.6
9543 | 2021-02-17 11:20 | 96.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.4542 | μmol/L | 33.745 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.306 | 185693.8359 | 321120.4293 | 33.25 | 68.6
9553 | 2021-02-17 11:21 | 96.6896 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.5153 | μmol/L | 33.7267 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.308 | 185693.6897 | 321085.7189 | 33.25 | 68.6
9564 | 2021-02-17 11:21 | 97.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.3805 | μmol/L | 33.7573 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.306 | 185624.0839 | 321065.6722 | 33.25 | 68.6
9573 | 2021-02-17 11:21 | 97.3565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.4128 | μmol/L | 33.745 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.309 | 185660.7284 | 321030.393 | 33.25 | 68.6
9583 | 2021-02-17 11:22 | 97.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.4883 | μmol/L | 33.7022 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.32 | 185719.908 | 321025.1821 | 33.25 | 68.6
9594 | 2021-02-17 11:22 | 98.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.3642 | μmol/L | 33.7022 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.329 | 185760.6296 | 321006.2533 | 33.25 | 68.6
9604 | 2021-02-17 11:22 | 98.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.3061 | μmol/L | 33.6778 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.342 | 185866.6573 | 320978.9178 | 33.25 | 68.6
9614 | 2021-02-17 11:23 | 98.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.1862 | μmol/L | 33.69 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.346 | 185877.4203 | 320948.0718 | 33.25 | 68.6
9623 | 2021-02-17 11:23 | 99.023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.5052 | μmol/L | 33.6289 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.347 | 185891.5283 | 320917.93 | 33.25 | 68.6
9633 | 2021-02-17 11:23 | 99.3561 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.2605 | μmol/L | 33.6595 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.353 | 185883.9536 | 320888.1937 | 33.25 | 68.6
9643 | 2021-02-17 11:24 | 99.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.8288 | μmol/L | 33.69 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.372 | 185987.9559 | 320867.058 | 33.25 | 68.6
9653 | 2021-02-17 11:24 | 100.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.9784 | μmol/L | 33.6228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.387 | 186112.2646 | 320854.5447 | 33.25 | 68.6
9663 | 2021-02-17 11:24 | 100.3561 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7981 | μmol/L | 33.6534 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.389 | 186140.9678 | 320825.8808 | 33.25 | 68.6
9674 | 2021-02-17 11:25 | 100.6901 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7481 | μmol/L | 33.6472 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.395 | 186184.174 | 320818.8671 | 33.25 | 68.6
9684 | 2021-02-17 11:25 | 101.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7217 | μmol/L | 33.635 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.401 | 186218.8224 | 320794.266 | 33.25 | 68.6
9693 | 2021-02-17 11:25 | 101.3561 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4333 | μmol/L | 33.6534 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.415 | 186292.6729 | 320757.1739 | 33.25 | 68.6
9704 | 2021-02-17 11:26 | 101.6901 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.6401 | μmol/L | 33.6106 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.417 | 186306.723 | 320738.7181 | 33.25 | 68.6
9713 | 2021-02-17 11:26 | 102.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.596 | μmol/L | 33.5861 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.429 | 186383.8195 | 320719.6506 | 33.25 | 68.6
9723 | 2021-02-17 11:26 | 102.3567 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4718 | μmol/L | 33.5983 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.434 | 186401.615 | 320709.3613 | 33.25 | 68.6
9734 | 2021-02-17 11:27 | 102.6899 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.6054 | μmol/L | 33.5678 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.436 | 186410.518 | 320672.7469 | 33.25 | 68.6
9744 | 2021-02-17 11:27 | 103.0227 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4407 | μmol/L | 33.5922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.438 | 186372.3332 | 320658.1967 | 33.25 | 68.6
9754 | 2021-02-17 11:27 | 103.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.6972 | μmol/L | 33.5556 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.434 | 186322.4107 | 320633.7385 | 33.25 | 68.6
9763 | 2021-02-17 11:28 | 103.6896 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.826 | μmol/L | 33.5311 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.434 | 186268.0176 | 320600.9628 | 33.25 | 68.6
9774 | 2021-02-17 11:28 | 104.0231 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4114 | μmol/L | 33.6228 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.429 | 186183.388 | 320594.7093 | 33.25 | 68.6
9784 | 2021-02-17 11:28 | 104.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4348 | μmol/L | 33.6106 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.432 | 186194.258 | 320565.5346 | 33.25 | 68.6
9794 | 2021-02-17 11:29 | 104.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4952 | μmol/L | 33.5861 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.437 | 186215.5762 | 320526.3337 | 33.25 | 68.6
9803 | 2021-02-17 11:29 | 105.0232 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.8997 | μmol/L | 33.6656 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.45 | 186310.719 | 320514.8799 | 33.25 | 68.6
9813 | 2021-02-17 11:29 | 105.3562 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.9845 | μmol/L | 33.6167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.462 | 186395.5321 | 320501.7031 | 33.25 | 68.6
9824 | 2021-02-17 11:30 | 105.6901 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4209 | μmol/L | 33.5067 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.473 | 186518.2275 | 320480.4066 | 33.25 | 68.6
9833 | 2021-02-17 11:30 | 106.023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.1162 | μmol/L | 33.5189 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.49 | 186637.3756 | 320459.8254 | 33.25 | 68.6
9844 | 2021-02-17 11:30 | 106.3567 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4004 | μmol/L | 33.4456 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.498 | 186675.9005 | 320441.3469 | 33.25 | 68.6
9853 | 2021-02-17 11:31 | 106.6896 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.952 | μmol/L | 33.5372 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.495 | 186638.5696 | 320413.3844 | 33.25 | 68.6
9864 | 2021-02-17 11:31 | 107.0234 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.7518 | μmol/L | 33.5495 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.505 | 186674.4729 | 320412.3721 | 33.25 | 68.6
9873 | 2021-02-17 11:31 | 107.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.651 | μmol/L | 33.5739 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.503 | 186652.7388 | 320380.3959 | 33.25 | 68.6
9883 | 2021-02-17 11:32 | 107.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.2679 | μmol/L | 33.6228 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.513 | 186763.5492 | 320357.7176 | 33.25 | 68.6
9893 | 2021-02-17 11:32 | 108.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.2796 | μmol/L | 33.5739 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.531 | 186894.5237 | 320336.9031 | 33.25 | 68.6
9904 | 2021-02-17 11:32 | 108.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.0912 | μmol/L | 33.5617 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.549 | 187017.662 | 320302.7022 | 33.25 | 68.6
9913 | 2021-02-17 11:33 | 108.6896 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.8334 | μmol/L | 33.58 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.561 | 187143.275 | 320286.793 | 33.25 | 68.6
9924 | 2021-02-17 11:33 | 109.0228 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.6288 | μmol/L | 33.6106 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.565 | 187116.6675 | 320274.0211 | 33.25 | 68.6
9934 | 2021-02-17 11:33 | 109.3566 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.7454 | μmol/L | 33.6228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.551 | 186993.8092 | 320237.7786 | 33.25 | 68.6
9943 | 2021-02-17 11:34 | 109.6898 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.3329 | μmol/L | 33.5128 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.55 | 186959.6869 | 320223.0789 | 33.25 | 68.6
9953 | 2021-02-17 11:34 | 110.0229 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.131 | μmol/L | 33.36 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.55 | 186938.2068 | 320205.6609 | 33.25 | 68.6
9963 | 2021-02-17 11:34 | 110.356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.8798 | μmol/L | 33.3967 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.555 | 186990.2783 | 320193.6208 | 33.25 | 68.6
9974 | 2021-02-17 11:35 | 110.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.1142 | μmol/L | 33.5433 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.555 | 186947.8339 | 320170.2006 | 33.25 | 68.6
9984 | 2021-02-17 11:35 | 111.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.5841 | μmol/L | 33.4517 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.555 | 186936.0237 | 320148.7702 | 33.25 | 68.6
9994 | 2021-02-17 11:35 | 111.3562 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.6915 | μmol/L | 33.6228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.555 | 186911.2664 | 320129.4401 | 33.25 | 68.6
10004 | 2021-02-17 11:36 | 111.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.9522 | μmol/L | 33.5495 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.564 | 186976.9492 | 320119.21 | 33.25 | 68.6
10013 | 2021-02-17 11:36 | 112.0232 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.5771 | μmol/L | 33.58 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.58 | 187109.7684 | 320091.4516 | 33.25 | 68.6
10023 | 2021-02-17 11:36 | 112.3564 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.4423 | μmol/L | 33.5739 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.593 | 187221.224 | 320073.8832 | 33.25 | 68.6
10034 | 2021-02-17 11:37 | 112.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.1211 | μmol/L | 33.6228 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.598 | 187292.5177 | 320070.3086 | 33.25 | 68.6
10043 | 2021-02-17 11:37 | 113.0233 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.1174 | μmol/L | 33.6106 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.603 | 187305.5474 | 320053.1132 | 33.25 | 68.6
10054 | 2021-02-17 11:37 | 113.3569 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.2564 | μmol/L | 33.7878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.598 | 187262.1253 | 320032.3889 | 33.25 | 68.6
10064 | 2021-02-17 11:38 | 113.69 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.4177 | μmol/L | 33.7206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.612 | 187357.9427 | 320021.0966 | 33.25 | 68.6
10073 | 2021-02-17 11:38 | 114.0235 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.3361 | μmol/L | 33.7389 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.611 | 187364.6345 | 319986.5116 | 33.25 | 68.6
10083 | 2021-02-17 11:38 | 114.3565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.5649 | μmol/L | 33.7145 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.604 | 187252.0059 | 319978.2634 | 33.25 | 68.6
10094 | 2021-02-17 11:39 | 114.6894 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.8404 | μmol/L | 33.6778 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.597 | 187162.9664 | 319961.8587 | 33.25 | 68.6
10104 | 2021-02-17 11:39 | 115.0232 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.6184 | μmol/L | 33.7206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.597 | 187181.9246 | 319930.7594 | 33.25 | 68.6
10114 | 2021-02-17 11:39 | 115.3568 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.1479 | μmol/L | 33.6228 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.596 | 187125.6318 | 319924.7069 | 33.25 | 68.6
10123 | 2021-02-17 11:40 | 115.6898 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.517 | μmol/L | 33.7573 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.591 | 187108.3154 | 319910.3227 | 33.25 | 68.6
10134 | 2021-02-17 11:40 | 116.0235 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.3351 | μmol/L | 33.8 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.588 | 187067.4997 | 319885.7178 | 33.25 | 68.6
10144 | 2021-02-17 11:40 | 116.3565 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.6642 | μmol/L | 33.7634 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.577 | 186960.8187 | 319872.346 | 33.25 | 68.6
10154 | 2021-02-17 11:41 | 116.6896 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.6424 | μmol/L | 33.7573 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.581 | 186941.5866 | 319855.5341 | 33.25 | 68.6
10164 | 2021-02-17 11:41 | 117.0232 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.6212 | μmol/L | 33.7939 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.569 | 186868.1902 | 319839.5346 | 33.25 | 68.6
10173 | 2021-02-17 11:41 | 117.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5909 | μmol/L | 33.9651 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.579 | 186906.1883 | 319823.0117 | 33.25 | 68.6
10184 | 2021-02-17 11:42 | 117.6893 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9045 | μmol/L | 33.8917 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.584 | 186948.2278 | 319811.603 | 33.25 | 68.6
10194 | 2021-02-17 11:42 | 118.0234 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.4616 | μmol/L | 33.9284 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.603 | 187094.4603 | 319791.7362 | 33.25 | 68.6
10204 | 2021-02-17 11:42 | 118.3567 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5154 | μmol/L | 33.8734 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.621 | 187296.1521 | 319772.2053 | 33.25 | 68.6
10213 | 2021-02-17 11:43 | 118.6897 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.8182 | μmol/L | 33.8123 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.622 | 187280.2609 | 319758.7349 | 33.25 | 68.6
10224 | 2021-02-17 11:43 | 119.023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5187 | μmol/L | 33.8856 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.616 | 187234.4089 | 319745.4004 | 33.25 | 68.6
10232 | 2021-02-17 11:43 | 119.3563 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.7782 | μmol/L | 33.8612 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.606 | 187174.1401 | 319731.8419 | 33.25 | 68.6