## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10244 | 2021-02-17 13:49 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.4042 | μmol/L | 39.0238 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.764 | 197320.5489 | 316762.7759 | 33.25 | 68.6
10254 | 2021-02-17 13:49 | 0.34121 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.4683 | μmol/L | 39.0054 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.766 | 197353.9814 | 316782.7449 | 33.25 | 68.6
10264 | 2021-02-17 13:50 | 0.67414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.3169 | μmol/L | 39.0666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.753 | 197213.487 | 316767.9017 | 33.25 | 68.6
10274 | 2021-02-17 13:50 | 1.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.8534 | μmol/L | 38.9687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.744 | 197066.9461 | 316757.7858 | 33.25 | 68.6
10284 | 2021-02-17 13:50 | 1.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.8978 | μmol/L | 38.9503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.748 | 197142.3151 | 316748.6234 | 33.25 | 68.6
10294 | 2021-02-17 13:51 | 1.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 119.1065 | μmol/L | 38.883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.758 | 197194.7393 | 316730.5185 | 33.25 | 68.6
10304 | 2021-02-17 13:51 | 2.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.5601 | μmol/L | 38.9442 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.785 | 197423.1534 | 316717.0834 | 33.25 | 68.6
10314 | 2021-02-17 13:51 | 2.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.2844 | μmol/L | 38.9809 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.796 | 197524.3567 | 316722.81 | 33.25 | 68.6
10324 | 2021-02-17 13:52 | 2.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.0715 | μmol/L | 38.9932 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.812 | 197682.4998 | 316704.3692 | 33.25 | 68.6
10334 | 2021-02-17 13:52 | 3.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.8035 | μmol/L | 38.9809 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.845 | 197934.5109 | 316692.5151 | 33.25 | 68.6
10344 | 2021-02-17 13:52 | 3.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.2221 | μmol/L | 38.9687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.808 | 197593.0473 | 316668.8625 | 33.25 | 68.6
10354 | 2021-02-17 13:53 | 3.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.1352 | μmol/L | 39.0115 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.797 | 197500.2277 | 316671.4873 | 33.25 | 68.6
10364 | 2021-02-17 13:53 | 4.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.9111 | μmol/L | 39.0177 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.817 | 197650.4894 | 316656.2739 | 33.25 | 68.6
10374 | 2021-02-17 13:53 | 4.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.9619 | μmol/L | 38.9503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.843 | 197911.7639 | 316653.9034 | 33.25 | 68.6
10384 | 2021-02-17 13:54 | 4.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.5069 | μmol/L | 38.9687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.881 | 198227.2308 | 316632.1876 | 33.25 | 68.6
10394 | 2021-02-17 13:54 | 5.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.2174 | μmol/L | 39.0177 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.888 | 198296.4562 | 316636.7093 | 33.25 | 68.6
10404 | 2021-02-17 13:54 | 5.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.055 | μmol/L | 39.0299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.899 | 198366.6359 | 316630.3278 | 33.25 | 68.6
10414 | 2021-02-17 13:55 | 5.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.5264 | μmol/L | 38.8952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.913 | 198494.5012 | 316612.5259 | 33.25 | 68.6
10424 | 2021-02-17 13:55 | 6.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.5392 | μmol/L | 38.8708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.923 | 198608.3297 | 316602.1266 | 33.25 | 68.6
10434 | 2021-02-17 13:55 | 6.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.1337 | μmol/L | 38.9197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.942 | 198774.4938 | 316606.5883 | 33.25 | 68.6
10444 | 2021-02-17 13:56 | 6.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.6088 | μmol/L | 38.8401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.93 | 198659.1222 | 316595.3726 | 33.25 | 68.6
10454 | 2021-02-17 13:56 | 7.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.3963 | μmol/L | 38.883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.932 | 198644.6472 | 316582.3702 | 33.25 | 68.6
10464 | 2021-02-17 13:56 | 7.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.3461 | μmol/L | 38.9503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.906 | 198413.4687 | 316584.631 | 33.25 | 68.6
10474 | 2021-02-17 13:57 | 7.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.5509 | μmol/L | 38.9503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.885 | 198192.702 | 316556.6872 | 33.25 | 68.6
10484 | 2021-02-17 13:57 | 8.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.8068 | μmol/L | 38.9565 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.856 | 197900.5427 | 316549.3824 | 33.25 | 68.6
10494 | 2021-02-17 13:57 | 8.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.7268 | μmol/L | 38.9871 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.85 | 197844.1532 | 316549.3139 | 33.25 | 68.6
10504 | 2021-02-17 13:58 | 8.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.143 | μmol/L | 38.8952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.85 | 197818.9176 | 316535.3094 | 33.25 | 68.6
10514 | 2021-02-17 13:58 | 9.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.3263 | μmol/L | 38.883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.837 | 197711.9682 | 316547.6538 | 33.25 | 68.6
10524 | 2021-02-17 13:58 | 9.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 118.3373 | μmol/L | 38.8524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.85 | 197855.3825 | 316525.9972 | 33.25 | 68.6
10534 | 2021-02-17 13:59 | 9.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.5278 | μmol/L | 39.0115 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.859 | 197972.3412 | 316533.5749 | 33.25 | 68.6
10544 | 2021-02-17 13:59 | 10.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.42 | μmol/L | 39.0483 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.853 | 197862.3202 | 316514.4357 | 33.25 | 68.6
10554 | 2021-02-17 13:59 | 10.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.8637 | μmol/L | 38.9136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.87 | 198018.7366 | 316502.6091 | 33.25 | 68.6
10564 | 2021-02-17 14:00 | 10.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.9619 | μmol/L | 38.8095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.908 | 198361.1276 | 316500.0894 | 33.25 | 68.6
10574 | 2021-02-17 14:00 | 11.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 116.7258 | μmol/L | 39.0728 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.913 | 198423.1227 | 316486.7557 | 33.25 | 68.6
10584 | 2021-02-17 14:00 | 11.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 116.7892 | μmol/L | 39.0544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.915 | 198403.9501 | 316487.3545 | 33.25 | 68.6
10594 | 2021-02-17 14:01 | 11.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 116.8644 | μmol/L | 39.0054 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.93 | 198570.0265 | 316468.5247 | 33.25 | 68.6
10604 | 2021-02-17 14:01 | 12.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 117.6159 | μmol/L | 38.9014 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.901 | 198236.3593 | 316474.9747 | 33.25 | 68.6
10614 | 2021-02-17 14:01 | 12.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 116.356 | μmol/L | 39.1891 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.897 | 198206.1362 | 316470.655 | 33.25 | 68.6
10624 | 2021-02-17 14:02 | 12.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 116.2512 | μmol/L | 39.1523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.925 | 198517.6405 | 316458.4708 | 33.25 | 68.6
10634 | 2021-02-17 14:02 | 13.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 116.6685 | μmol/L | 39.036 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.936 | 198606.2723 | 316462.564 | 33.25 | 68.6
10644 | 2021-02-17 14:02 | 13.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 116.2842 | μmol/L | 39.1279 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.933 | 198553.0809 | 316454.7678 | 33.25 | 68.6
10654 | 2021-02-17 14:03 | 13.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.7709 | μmol/L | 39.2013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.952 | 198745.5313 | 316440.7646 | 33.25 | 68.6
10664 | 2021-02-17 14:03 | 14.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.3026 | μmol/L | 39.2074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.998 | 199190.9893 | 316434.2821 | 33.25 | 68.6
10674 | 2021-02-17 14:03 | 14.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.7821 | μmol/L | 39.2748 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.021 | 199443.9246 | 316433.3461 | 33.25 | 68.6
10684 | 2021-02-17 14:04 | 14.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.8344 | μmol/L | 39.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.974 | 198946.3442 | 316422.4549 | 33.25 | 68.6
10694 | 2021-02-17 14:04 | 15.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.4588 | μmol/L | 39.2687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.953 | 198743.6522 | 316417.8933 | 33.25 | 68.6
10704 | 2021-02-17 14:04 | 15.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.6308 | μmol/L | 39.2197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.958 | 198808.7861 | 316393.6229 | 33.25 | 68.6
10714 | 2021-02-17 14:05 | 15.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.3887 | μmol/L | 39.2074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.989 | 199134.9188 | 316389.1576 | 33.25 | 68.6
10724 | 2021-02-17 14:05 | 16.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.7239 | μmol/L | 39.2687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.03 | 199476.5051 | 316390.4755 | 33.25 | 68.6
10734 | 2021-02-17 14:05 | 16.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.9652 | μmol/L | 39.3666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.064 | 199796.1216 | 316374.5539 | 33.25 | 68.6
10744 | 2021-02-17 14:06 | 16.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.3965 | μmol/L | 39.2442 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.076 | 199941.2837 | 316378.8295 | 33.25 | 68.6
10754 | 2021-02-17 14:06 | 17.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.3686 | μmol/L | 39.3482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.03 | 199481.466 | 316375.0368 | 33.25 | 68.6
10764 | 2021-02-17 14:06 | 17.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.4836 | μmol/L | 39.3544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.015 | 199355.7061 | 316363.2796 | 33.25 | 68.6
10774 | 2021-02-17 14:07 | 17.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.7415 | μmol/L | 39.2136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.054 | 199729.6468 | 316341.4281 | 33.25 | 68.6
10784 | 2021-02-17 14:07 | 18.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.2068 | μmol/L | 39.3972 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.024 | 199455.4158 | 316348.1748 | 33.25 | 68.6
10794 | 2021-02-17 14:07 | 18.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.3215 | μmol/L | 39.4033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.009 | 199324.3921 | 316353.0367 | 33.25 | 68.6
10804 | 2021-02-17 14:08 | 18.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.8619 | μmol/L | 39.2931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.004 | 199296.3783 | 316335.948 | 33.25 | 68.6
10814 | 2021-02-17 14:08 | 19.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.1336 | μmol/L | 39.2687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.987 | 199106.5486 | 316330.6215 | 33.25 | 68.6
10824 | 2021-02-17 14:08 | 19.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.2794 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.999 | 199222.0523 | 316330.6136 | 33.25 | 68.6
10834 | 2021-02-17 14:09 | 19.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.4378 | μmol/L | 39.2136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.981 | 199050.0237 | 316312.6114 | 33.25 | 68.6
10844 | 2021-02-17 14:09 | 20.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.4976 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.976 | 198997.0973 | 316319.7931 | 33.25 | 68.6
10854 | 2021-02-17 14:09 | 20.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.8925 | μmol/L | 39.3544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.972 | 198983.7869 | 316323.1338 | 33.25 | 68.6
10864 | 2021-02-17 14:10 | 20.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.3888 | μmol/L | 39.4646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.973 | 198967.1874 | 316291.3232 | 33.25 | 68.6
10874 | 2021-02-17 14:10 | 21.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.3047 | μmol/L | 39.4156 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.005 | 199256.3697 | 316293.4078 | 33.25 | 68.6
10884 | 2021-02-17 14:10 | 21.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.3363 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.993 | 199179.2843 | 316299.4202 | 33.25 | 68.6
10894 | 2021-02-17 14:11 | 21.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.4975 | μmol/L | 39.3789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.002 | 199198.3209 | 316283.4113 | 33.25 | 68.6
10904 | 2021-02-17 14:11 | 22.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.3858 | μmol/L | 39.4462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.982 | 199042.427 | 316271.2405 | 33.25 | 68.6
10914 | 2021-02-17 14:11 | 22.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.8818 | μmol/L | 39.3482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.976 | 198973.2409 | 316278.3026 | 33.25 | 68.6
10924 | 2021-02-17 14:12 | 22.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.697 | μmol/L | 39.3789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.981 | 199042.1371 | 316270.7227 | 33.25 | 68.6
10934 | 2021-02-17 14:12 | 23.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.731 | μmol/L | 39.4095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.963 | 198884.4317 | 316265.7701 | 33.25 | 68.6
10944 | 2021-02-17 14:12 | 23.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.0142 | μmol/L | 39.3421 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.965 | 198903.5315 | 316247.4218 | 33.25 | 68.6
10954 | 2021-02-17 14:13 | 23.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.8347 | μmol/L | 39.4033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.955 | 198788.1149 | 316265.3735 | 33.25 | 68.6
10964 | 2021-02-17 14:13 | 24.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 115.0453 | μmol/L | 39.3054 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.979 | 199023.2619 | 316247.3739 | 33.25 | 68.6
10974 | 2021-02-17 14:13 | 24.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.136 | μmol/L | 39.4829 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.991 | 199172.1634 | 316235.1709 | 33.25 | 68.6
10984 | 2021-02-17 14:14 | 24.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.7927 | μmol/L | 39.587 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.978 | 198972.5752 | 316237.0967 | 33.25 | 68.6
10994 | 2021-02-17 14:14 | 25.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.4681 | μmol/L | 39.4278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.982 | 199038.8218 | 316233.9378 | 33.25 | 68.6
11004 | 2021-02-17 14:14 | 25.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.6032 | μmol/L | 39.5809 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.001 | 199216.0735 | 316237.2275 | 33.25 | 68.6
11014 | 2021-02-17 14:15 | 25.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 114.0933 | μmol/L | 39.3972 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.036 | 199519.8086 | 316223.6733 | 33.25 | 68.6
11024 | 2021-02-17 14:15 | 26.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.393 | μmol/L | 39.4952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.064 | 199771.1156 | 316211.9921 | 33.25 | 68.6
11034 | 2021-02-17 14:15 | 26.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.7222 | μmol/L | 39.3789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.084 | 199956.3386 | 316206.0745 | 33.25 | 68.6
11044 | 2021-02-17 14:16 | 26.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.224 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.111 | 200212.7402 | 316198.0139 | 33.25 | 68.6
11054 | 2021-02-17 14:16 | 27.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.3252 | μmol/L | 39.4217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.106 | 200182.3032 | 316196.9507 | 33.25 | 68.6
11064 | 2021-02-17 14:16 | 27.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.3306 | μmol/L | 39.3972 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.117 | 200219.5375 | 316193.6875 | 33.25 | 68.6
11074 | 2021-02-17 14:17 | 27.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.5367 | μmol/L | 39.4523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.069 | 199843.9412 | 316200.7608 | 33.25 | 68.6
11084 | 2021-02-17 14:17 | 28.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.8937 | μmol/L | 39.4462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.034 | 199458.3803 | 316185.5665 | 33.25 | 68.6
11094 | 2021-02-17 14:17 | 28.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.7636 | μmol/L | 39.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.042 | 199538.9828 | 316191.1465 | 33.25 | 68.6
11104 | 2021-02-17 14:18 | 28.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.6873 | μmol/L | 39.4523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.053 | 199628.3534 | 316175.3075 | 33.25 | 68.6
11114 | 2021-02-17 14:18 | 29.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.5396 | μmol/L | 39.4707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.06 | 199661.6864 | 316167.0354 | 33.25 | 68.6
11124 | 2021-02-17 14:18 | 29.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.2898 | μmol/L | 39.4952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.075 | 199805.6345 | 316158.7043 | 33.25 | 68.6
11134 | 2021-02-17 14:19 | 29.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.6342 | μmol/L | 39.4156 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.076 | 199804.2461 | 316150.164 | 33.25 | 68.6
11144 | 2021-02-17 14:19 | 30.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.3815 | μmol/L | 39.4217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.1 | 200015.864 | 316145.4254 | 33.25 | 68.6
11154 | 2021-02-17 14:19 | 30.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.222 | μmol/L | 39.4217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.117 | 200178.8649 | 316144.2047 | 33.25 | 68.6
11164 | 2021-02-17 14:20 | 30.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 113.0471 | μmol/L | 39.4401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.127 | 200262.6272 | 316142.1777 | 33.25 | 68.6
11174 | 2021-02-17 14:20 | 31.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.7846 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.158 | 200493.4892 | 316137.2224 | 33.25 | 68.6
11184 | 2021-02-17 14:20 | 31.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.4614 | μmol/L | 39.4523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.184 | 200753.4729 | 316128.2315 | 33.25 | 68.6
11194 | 2021-02-17 14:21 | 31.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.6625 | μmol/L | 39.4278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.174 | 200671.0574 | 316132.884 | 33.25 | 68.6
11204 | 2021-02-17 14:21 | 32.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.6317 | μmol/L | 39.4095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.186 | 200793.8344 | 316110.6611 | 33.25 | 68.6
11214 | 2021-02-17 14:21 | 32.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.4325 | μmol/L | 39.385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.219 | 201064.345 | 316127.0849 | 33.25 | 68.6
11224 | 2021-02-17 14:22 | 32.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.3064 | μmol/L | 39.4095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.221 | 201100.7739 | 316116.6567 | 33.25 | 68.6
11234 | 2021-02-17 14:22 | 33.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.7935 | μmol/L | 39.3727 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.186 | 200749.3931 | 316103.0268 | 33.25 | 68.6
11244 | 2021-02-17 14:22 | 33.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.6689 | μmol/L | 39.4095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.182 | 200709.3598 | 316099.9673 | 33.25 | 68.6
11254 | 2021-02-17 14:23 | 33.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.7406 | μmol/L | 39.3911 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.183 | 200703.1766 | 316109.4407 | 33.25 | 68.6
11264 | 2021-02-17 14:23 | 34.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.7499 | μmol/L | 39.3911 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.182 | 200665.035 | 316101.952 | 33.25 | 68.6
11274 | 2021-02-17 14:23 | 34.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.7376 | μmol/L | 39.3727 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.192 | 200783.5544 | 316099.5043 | 33.25 | 68.6
11284 | 2021-02-17 14:24 | 34.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.1913 | μmol/L | 39.385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.245 | 201233.938 | 316092.3811 | 33.25 | 68.6
11294 | 2021-02-17 14:24 | 35.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.9664 | μmol/L | 39.3666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.278 | 201517.7937 | 316096.1032 | 33.25 | 68.6
11304 | 2021-02-17 14:24 | 35.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.0929 | μmol/L | 39.3482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.273 | 201508.4829 | 316096.5794 | 33.25 | 68.6
11314 | 2021-02-17 14:25 | 35.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.5382 | μmol/L | 39.3482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.225 | 201029.8446 | 316084.4512 | 33.25 | 68.6
11324 | 2021-02-17 14:25 | 36.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.8092 | μmol/L | 39.2993 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.219 | 200989.3224 | 316079.7872 | 33.25 | 68.6
11334 | 2021-02-17 14:25 | 36.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.6871 | μmol/L | 39.2931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.235 | 201109.9032 | 316073.2522 | 33.25 | 68.6
11344 | 2021-02-17 14:26 | 36.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.5197 | μmol/L | 39.2931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.253 | 201288.1054 | 316069.4707 | 33.25 | 68.6
11354 | 2021-02-17 14:26 | 37.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.4216 | μmol/L | 39.2625 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.278 | 201497.3878 | 316058.9814 | 33.25 | 68.6
11364 | 2021-02-17 14:26 | 37.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.1745 | μmol/L | 39.2809 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.296 | 201635.9015 | 316061.5312 | 33.25 | 68.6
11374 | 2021-02-17 14:27 | 37.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.2907 | μmol/L | 39.2564 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.295 | 201655.5981 | 316053.1879 | 33.25 | 68.6
11384 | 2021-02-17 14:27 | 38.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.0501 | μmol/L | 39.2564 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.321 | 201845.7372 | 316047.2053 | 33.25 | 68.6
11394 | 2021-02-17 14:27 | 38.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.9279 | μmol/L | 39.2442 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.34 | 202041.4761 | 316039.0877 | 33.25 | 68.6
11404 | 2021-02-17 14:28 | 38.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.6218 | μmol/L | 39.2319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.379 | 202376.4755 | 316040.3728 | 33.25 | 68.6
11414 | 2021-02-17 14:28 | 39.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.6554 | μmol/L | 39.2136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.384 | 202423.1324 | 316040.0649 | 33.25 | 68.6
11424 | 2021-02-17 14:28 | 39.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.6278 | μmol/L | 39.2136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.387 | 202469.8668 | 316021.9199 | 33.25 | 68.6
11434 | 2021-02-17 14:29 | 39.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.8863 | μmol/L | 39.1646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.382 | 202393.0197 | 316025.1667 | 33.25 | 68.6
11444 | 2021-02-17 14:29 | 40.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.7897 | μmol/L | 39.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.404 | 202578.4818 | 316019.5886 | 33.25 | 68.6
11454 | 2021-02-17 14:29 | 40.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.8022 | μmol/L | 39.1585 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.394 | 202449.7954 | 316017.2972 | 33.25 | 68.6
11464 | 2021-02-17 14:30 | 40.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.9947 | μmol/L | 39.1523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.376 | 202278.3972 | 316010.9139 | 33.25 | 68.6
11474 | 2021-02-17 14:30 | 41.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.1957 | μmol/L | 39.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.36 | 202151.216 | 316001.0679 | 33.25 | 68.6
11484 | 2021-02-17 14:30 | 41.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.5638 | μmol/L | 39.0789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.349 | 201995.7126 | 315986.3339 | 33.25 | 68.6
11494 | 2021-02-17 14:31 | 41.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.2651 | μmol/L | 39.1156 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.364 | 202151.1348 | 316003.605 | 33.25 | 68.6
11504 | 2021-02-17 14:31 | 42.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.4884 | μmol/L | 39.0728 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.36 | 202118.2715 | 315991.5255 | 33.25 | 68.6
11514 | 2021-02-17 14:31 | 42.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.1264 | μmol/L | 39.1156 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.379 | 202265.6691 | 315981.9678 | 33.25 | 68.6
11524 | 2021-02-17 14:32 | 42.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.0628 | μmol/L | 39.0728 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.406 | 202531.6104 | 315977.2974 | 33.25 | 68.6
11534 | 2021-02-17 14:32 | 43.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.7311 | μmol/L | 39.0728 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.442 | 202834.7865 | 315971.4316 | 33.25 | 68.6
11544 | 2021-02-17 14:32 | 43.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.7412 | μmol/L | 39.0299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.461 | 202990.6561 | 315961.0933 | 33.25 | 68.6
11554 | 2021-02-17 14:33 | 43.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.0231 | μmol/L | 39.0115 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.439 | 202806.6228 | 315955.7031 | 33.25 | 68.6
11564 | 2021-02-17 14:33 | 44.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.738 | μmol/L | 39.0605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.447 | 202895.9096 | 315946.1831 | 33.25 | 68.6
11574 | 2021-02-17 14:33 | 44.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.9702 | μmol/L | 39.0238 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.439 | 202762.5191 | 315949.0817 | 33.25 | 68.6
11584 | 2021-02-17 14:34 | 44.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.111 | μmol/L | 39.036 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.418 | 202552.9994 | 315933.1769 | 33.25 | 68.6
11594 | 2021-02-17 14:34 | 45.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.1732 | μmol/L | 39.0238 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.417 | 202532.411 | 315925.8084 | 33.25 | 68.6
11604 | 2021-02-17 14:34 | 45.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.1658 | μmol/L | 38.9871 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.435 | 202711.1922 | 315925.259 | 33.25 | 68.6
11614 | 2021-02-17 14:35 | 45.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.0378 | μmol/L | 38.9932 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.446 | 202813.5773 | 315913.5956 | 33.25 | 68.6
11624 | 2021-02-17 14:35 | 46.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.4234 | μmol/L | 39.0972 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.464 | 202996.5484 | 315912.119 | 33.25 | 68.6
11634 | 2021-02-17 14:35 | 46.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.6751 | μmol/L | 38.9748 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.494 | 203245.9887 | 315911.9849 | 33.25 | 68.6
11644 | 2021-02-17 14:36 | 46.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.6016 | μmol/L | 38.9748 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.502 | 203353.9187 | 315905.7767 | 33.25 | 68.6
11654 | 2021-02-17 14:36 | 47.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.3489 | μmol/L | 39.0422 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.498 | 203266.4838 | 315882.0591 | 33.25 | 68.6
11664 | 2021-02-17 14:36 | 47.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.4601 | μmol/L | 39.0483 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.483 | 203157.7529 | 315891.6724 | 33.25 | 68.6
11674 | 2021-02-17 14:37 | 47.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.4749 | μmol/L | 39.0299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.49 | 203172.4446 | 315880.8235 | 33.25 | 68.6
11684 | 2021-02-17 14:37 | 48.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.642 | μmol/L | 38.9932 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.489 | 203175.0831 | 315873.0321 | 33.25 | 68.6
11694 | 2021-02-17 14:37 | 48.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.5116 | μmol/L | 39.0299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.486 | 203125.1642 | 315873.114 | 33.25 | 68.6
11704 | 2021-02-17 14:38 | 48.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 112.0028 | μmol/L | 38.8708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.507 | 203297.7065 | 315858.2394 | 33.25 | 68.6
11714 | 2021-02-17 14:38 | 49.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.472 | μmol/L | 38.9687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.519 | 203431.8555 | 315849.0869 | 33.25 | 68.6
11724 | 2021-02-17 14:38 | 49.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.0734 | μmol/L | 39.036 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.531 | 203530.6138 | 315841.3041 | 33.25 | 68.6
11734 | 2021-02-17 14:39 | 49.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 111.66 | μmol/L | 38.8585 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.55 | 203720.1334 | 315840.5356 | 33.25 | 68.6
11744 | 2021-02-17 14:39 | 50.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.6577 | μmol/L | 39.0544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.568 | 203885.3301 | 315844.1852 | 33.25 | 68.6
11754 | 2021-02-17 14:39 | 50.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.6202 | μmol/L | 39.0483 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.575 | 203937.7035 | 315832.409 | 33.25 | 68.6
11764 | 2021-02-17 14:40 | 50.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.8135 | μmol/L | 39.0115 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.571 | 203940.7622 | 315806.9079 | 33.25 | 68.6
11774 | 2021-02-17 14:40 | 51.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.5167 | μmol/L | 39.0789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.572 | 203887.377 | 315822.1666 | 33.25 | 68.6
11784 | 2021-02-17 14:40 | 51.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.9319 | μmol/L | 39.0115 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.558 | 203779.5326 | 315808.3687 | 33.25 | 68.6
11794 | 2021-02-17 14:41 | 51.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.8452 | μmol/L | 38.9871 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.579 | 204004.1304 | 315807.4114 | 33.25 | 68.6
11804 | 2021-02-17 14:41 | 52.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.5338 | μmol/L | 39.0728 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.573 | 203945.7908 | 315811.8202 | 33.25 | 68.6
11814 | 2021-02-17 14:41 | 52.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.7771 | μmol/L | 39.0115 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.575 | 203949.2327 | 315794.7055 | 33.25 | 68.6
11824 | 2021-02-17 14:42 | 52.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.3267 | μmol/L | 39.134 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.567 | 203881.2011 | 315806.5116 | 33.25 | 68.6
11834 | 2021-02-17 14:42 | 53.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.6054 | μmol/L | 39.0666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.568 | 203869.9881 | 315789.2014 | 33.25 | 68.6
11844 | 2021-02-17 14:42 | 53.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.8543 | μmol/L | 38.9871 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.578 | 203976.9479 | 315788.1517 | 33.25 | 68.6
11854 | 2021-02-17 14:43 | 53.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.2643 | μmol/L | 39.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.571 | 203860.7746 | 315794.814 | 33.25 | 68.6
11864 | 2021-02-17 14:43 | 54.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.4542 | μmol/L | 39.085 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.576 | 203927.1427 | 315764.9131 | 33.25 | 68.6
11874 | 2021-02-17 14:43 | 54.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.715 | μmol/L | 39.2074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.6 | 204212.9556 | 315772.7696 | 33.25 | 68.6
11884 | 2021-02-17 14:44 | 54.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.0709 | μmol/L | 39.2319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.549 | 203740.3246 | 315764.8041 | 33.25 | 68.6
11894 | 2021-02-17 14:44 | 55.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.772 | μmol/L | 39.134 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.518 | 203434.0337 | 315758.1511 | 33.25 | 68.6
11904 | 2021-02-17 14:44 | 55.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.5245 | μmol/L | 39.1768 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.525 | 203469.8175 | 315761.1054 | 33.25 | 68.6
11914 | 2021-02-17 14:45 | 55.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.2543 | μmol/L | 39.1891 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.549 | 203692.0365 | 315746.0061 | 33.25 | 68.6
11924 | 2021-02-17 14:45 | 56.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.219 | μmol/L | 39.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.576 | 203918.1799 | 315747.0228 | 33.25 | 68.6
11934 | 2021-02-17 14:45 | 56.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.2045 | μmol/L | 39.2809 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.622 | 204358.1788 | 315749.4146 | 33.25 | 68.6
11944 | 2021-02-17 14:46 | 56.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.5463 | μmol/L | 39.1095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.665 | 204776.7961 | 315750.6788 | 33.25 | 68.6
11954 | 2021-02-17 14:46 | 57.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.6169 | μmol/L | 39.3666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.647 | 204670.1309 | 315723.8577 | 33.25 | 68.6
11964 | 2021-02-17 14:46 | 57.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.9387 | μmol/L | 39.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.607 | 204291.1735 | 315736.7868 | 33.25 | 68.6
11974 | 2021-02-17 14:47 | 57.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.239 | μmol/L | 39.336 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.592 | 204111.5503 | 315726.7627 | 33.25 | 68.6
11984 | 2021-02-17 14:47 | 58.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.7448 | μmol/L | 39.2258 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.588 | 204104.218 | 315724.6202 | 33.25 | 68.6
11994 | 2021-02-17 14:47 | 58.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.0937 | μmol/L | 39.2625 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.532 | 203582.4742 | 315709.1998 | 33.25 | 68.6
12004 | 2021-02-17 14:48 | 58.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.7905 | μmol/L | 39.3544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.522 | 203419.3269 | 315702.9119 | 33.25 | 68.6
12014 | 2021-02-17 14:48 | 59.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 110.0113 | μmol/L | 39.2564 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.544 | 203667.3477 | 315715.5133 | 33.25 | 68.6
12024 | 2021-02-17 14:48 | 59.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.128 | μmol/L | 39.3789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.584 | 204061.7684 | 315703.73 | 33.25 | 68.6
12034 | 2021-02-17 14:49 | 59.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.0239 | μmol/L | 39.336 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.616 | 204333.6026 | 315701.0777 | 33.25 | 68.6
12044 | 2021-02-17 14:49 | 60.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.0621 | μmol/L | 39.3544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.603 | 204242.7613 | 315706.3163 | 33.25 | 68.6
12054 | 2021-02-17 14:49 | 60.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.7473 | μmol/L | 39.4891 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.574 | 203977.6641 | 315711.706 | 33.25 | 68.6
12064 | 2021-02-17 14:50 | 60.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.1393 | μmol/L | 39.3972 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.574 | 203964.4067 | 315709.743 | 33.25 | 68.6
12074 | 2021-02-17 14:50 | 61.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 109.0987 | μmol/L | 39.3605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.596 | 204168.8456 | 315688.5282 | 33.25 | 68.6
12084 | 2021-02-17 14:50 | 61.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.6563 | μmol/L | 39.3972 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.628 | 204494.9666 | 315696.5649 | 33.25 | 68.6
12094 | 2021-02-17 14:51 | 61.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.0531 | μmol/L | 39.4095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.69 | 205055.1898 | 315684.3165 | 33.25 | 68.6
12104 | 2021-02-17 14:51 | 62.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.9683 | μmol/L | 39.3666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.72 | 205398.3288 | 315684.8133 | 33.25 | 68.6
12114 | 2021-02-17 14:51 | 62.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.5531 | μmol/L | 39.287 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.692 | 205098.0269 | 315670.658 | 33.25 | 68.6
12124 | 2021-02-17 14:52 | 62.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.8807 | μmol/L | 39.4523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.689 | 205047.6124 | 315670.3833 | 33.25 | 68.6
12134 | 2021-02-17 14:52 | 63.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.8944 | μmol/L | 39.4156 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.705 | 205198.6389 | 315672.1045 | 33.25 | 68.6
12144 | 2021-02-17 14:52 | 63.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.5845 | μmol/L | 39.4095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.743 | 205566.0217 | 315678.4351 | 33.25 | 68.6
12154 | 2021-02-17 14:53 | 63.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.7024 | μmol/L | 39.3605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.753 | 205719.418 | 315669.561 | 33.25 | 68.6
12164 | 2021-02-17 14:53 | 64.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.808 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.706 | 205227.9391 | 315645.501 | 33.25 | 68.6
12174 | 2021-02-17 14:53 | 64.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.9332 | μmol/L | 39.4462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.686 | 205072.1168 | 315657.2672 | 33.25 | 68.6
12184 | 2021-02-17 14:54 | 64.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.9332 | μmol/L | 39.5319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.645 | 204660.4729 | 315651.0431 | 33.25 | 68.6
12194 | 2021-02-17 14:54 | 65.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.0763 | μmol/L | 39.5442 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.623 | 204438.7369 | 315651.2444 | 33.25 | 68.6
12204 | 2021-02-17 14:54 | 65.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.8889 | μmol/L | 39.3299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.634 | 204542.4534 | 315658.8568 | 33.25 | 68.6
12214 | 2021-02-17 14:55 | 65.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.6195 | μmol/L | 39.3176 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.67 | 204875.7263 | 315627.0772 | 33.25 | 68.6
12224 | 2021-02-17 14:55 | 66.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.3861 | μmol/L | 39.538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.704 | 205210.9836 | 315646.9515 | 33.25 | 68.6
12234 | 2021-02-17 14:55 | 66.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.2512 | μmol/L | 39.5074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.734 | 205515.1639 | 315634.0073 | 33.25 | 68.6
12244 | 2021-02-17 14:56 | 66.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.0094 | μmol/L | 39.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.785 | 205951.4776 | 315643.3253 | 33.25 | 68.6
12254 | 2021-02-17 14:56 | 67.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7142 | μmol/L | 39.4829 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.807 | 206146.7735 | 315625.0293 | 33.25 | 68.6
12264 | 2021-02-17 14:56 | 67.3414 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.2846 | μmol/L | 39.5564 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.821 | 206291.4666 | 315633.5637 | 33.25 | 68.6
12274 | 2021-02-17 14:57 | 67.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.8442 | μmol/L | 39.4707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.798 | 206066.4866 | 315612.9678 | 33.25 | 68.6
12284 | 2021-02-17 14:57 | 68.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.9051 | μmol/L | 39.5625 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.747 | 205572.847 | 315618.7796 | 33.25 | 68.6
12294 | 2021-02-17 14:57 | 68.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.3245 | μmol/L | 39.538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.711 | 205239.2467 | 315610.0164 | 33.25 | 68.6
12304 | 2021-02-17 14:58 | 68.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 108.0924 | μmol/L | 39.3666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.706 | 205204.2119 | 315615.7479 | 33.25 | 68.6
12314 | 2021-02-17 14:58 | 69.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.581 | μmol/L | 39.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.72 | 205311.4311 | 315609.7907 | 33.25 | 68.6
12324 | 2021-02-17 14:58 | 69.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.1146 | μmol/L | 39.5503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.729 | 205372.7041 | 315603.2697 | 33.25 | 68.6
12334 | 2021-02-17 14:59 | 69.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.1738 | μmol/L | 39.5258 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.734 | 205411.3651 | 315602.7538 | 33.25 | 68.6
12344 | 2021-02-17 14:59 | 70.0079 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.0738 | μmol/L | 39.4891 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.763 | 205686.2362 | 315588.5659 | 33.25 | 68.6
12354 | 2021-02-17 14:59 | 70.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.8504 | μmol/L | 39.538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.765 | 205695.358 | 315568.5613 | 33.25 | 68.6
12364 | 2021-02-17 15:00 | 70.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.9317 | μmol/L | 39.4707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.788 | 205903.0218 | 315574.751 | 33.25 | 68.6
12374 | 2021-02-17 15:00 | 71.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.9317 | μmol/L | 39.4707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.788 | 205908.2453 | 315583.223 | 33.25 | 68.6
12384 | 2021-02-17 15:00 | 71.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.8985 | μmol/L | 39.4891 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.783 | 205841.8007 | 315568.1563 | 33.25 | 68.6
12394 | 2021-02-17 15:01 | 71.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.183 | μmol/L | 39.4401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.774 | 205754.134 | 315572.3968 | 33.25 | 68.6
12404 | 2021-02-17 15:01 | 72.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.923 | μmol/L | 39.4707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.789 | 205890.4727 | 315558.2484 | 33.25 | 68.6
12414 | 2021-02-17 15:01 | 72.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7643 | μmol/L | 39.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.813 | 206108.5731 | 315564.5153 | 33.25 | 68.6
12424 | 2021-02-17 15:02 | 72.6748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.6792 | μmol/L | 39.4829 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.811 | 206075.9176 | 315558.2652 | 33.25 | 68.6
12434 | 2021-02-17 15:02 | 73.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.5303 | μmol/L | 39.4768 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.831 | 206242.9099 | 315549.4772 | 33.25 | 68.6
12444 | 2021-02-17 15:02 | 73.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.6961 | μmol/L | 39.4768 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.812 | 206047.0028 | 315538.8369 | 33.25 | 68.6
12454 | 2021-02-17 15:03 | 73.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7381 | μmol/L | 39.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.816 | 206074.5455 | 315538.3734 | 33.25 | 68.6
12464 | 2021-02-17 15:03 | 74.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7793 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.823 | 206139.2271 | 315530.7267 | 33.25 | 68.6
12474 | 2021-02-17 15:03 | 74.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7612 | μmol/L | 39.4278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.828 | 206176.875 | 315549.9467 | 33.25 | 68.6
12484 | 2021-02-17 15:04 | 74.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.6633 | μmol/L | 39.4095 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.848 | 206392.4432 | 315532.7876 | 33.25 | 68.6
12494 | 2021-02-17 15:04 | 75.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.4901 | μmol/L | 39.4217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.862 | 206509.6318 | 315523.3147 | 33.25 | 68.6
12504 | 2021-02-17 15:04 | 75.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7182 | μmol/L | 39.434 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.83 | 206211.0612 | 315534.3078 | 33.25 | 68.6
12514 | 2021-02-17 15:05 | 75.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7031 | μmol/L | 39.4584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.82 | 206098.6443 | 315516.8352 | 33.25 | 68.6
12524 | 2021-02-17 15:05 | 76.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.9093 | μmol/L | 39.4217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.814 | 206041.1183 | 315527.0094 | 33.25 | 68.6
12534 | 2021-02-17 15:05 | 76.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.1258 | μmol/L | 39.3972 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.801 | 205872.6968 | 315513.38 | 33.25 | 68.6
12544 | 2021-02-17 15:06 | 76.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.4073 | μmol/L | 39.3238 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.804 | 205916.7763 | 315520.8035 | 33.25 | 68.6
12554 | 2021-02-17 15:06 | 77.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.9153 | μmol/L | 39.3176 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.863 | 206456.6767 | 315505.1106 | 33.25 | 68.6
12564 | 2021-02-17 15:06 | 77.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.3271 | μmol/L | 39.3605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.91 | 206928.1411 | 315498.9514 | 33.25 | 68.6
12574 | 2021-02-17 15:07 | 77.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.5849 | μmol/L | 39.3299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.895 | 206774.9596 | 315493.1149 | 33.25 | 68.6
12584 | 2021-02-17 15:07 | 78.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.7929 | μmol/L | 39.3176 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.877 | 206578.4649 | 315499.795 | 33.25 | 68.6
12594 | 2021-02-17 15:07 | 78.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.8905 | μmol/L | 39.3299 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.86 | 206388.2892 | 315493.5666 | 33.25 | 68.6
12604 | 2021-02-17 15:08 | 78.6749 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.0642 | μmol/L | 39.3176 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.846 | 206270.1333 | 315498.9887 | 33.25 | 68.6
12614 | 2021-02-17 15:08 | 79.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 107.0277 | μmol/L | 39.3054 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.856 | 206383.6488 | 315493.6242 | 33.25 | 68.6
12624 | 2021-02-17 15:08 | 79.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.9037 | μmol/L | 39.2931 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.876 | 206538.0857 | 315490.5587 | 33.25 | 68.6
12634 | 2021-02-17 15:09 | 79.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.8133 | μmol/L | 39.2687 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.898 | 206700.081 | 315491.3434 | 33.25 | 68.6
12637 | 2021-02-17 15:09 | 80.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 106.9303 | μmol/L | 39.2258 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.905 | 206780.7548 | 315485.8184 | 33.25 | 68.6