## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10241 | 2021-02-17 13:49 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 128.855 | μmol/L | 39.0229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.68 | 163093.7728 | 279643.8313 | 36.4 | 83.1
10251 | 2021-02-17 13:49 | 0.32663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 128.8422 | μmol/L | 39.0475 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.67 | 162962.4011 | 279635.6984 | 36.4 | 83.1
10261 | 2021-02-17 13:49 | 0.65968 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 129.2731 | μmol/L | 38.9982 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.653 | 162828.4842 | 279633.4215 | 36.4 | 83.1
10271 | 2021-02-17 13:50 | 0.99332 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 128.7246 | μmol/L | 39.1153 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.65 | 162764.7833 | 279620.645 | 36.4 | 83.1
10281 | 2021-02-17 13:50 | 1.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 129.0255 | μmol/L | 39.0106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.67 | 162963.5897 | 279613.1448 | 36.4 | 83.1
10291 | 2021-02-17 13:50 | 1.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 128.8756 | μmol/L | 38.9613 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.706 | 163252.3444 | 279607.0741 | 36.4 | 83.1
10301 | 2021-02-17 13:51 | 1.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 128.1548 | μmol/L | 38.9859 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.761 | 163676.1304 | 279596.4386 | 36.4 | 83.1
10311 | 2021-02-17 13:51 | 2.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 127.486 | μmol/L | 39.0229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.806 | 164049.031 | 279594.373 | 36.4 | 83.1
10321 | 2021-02-17 13:51 | 2.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 127.3651 | μmol/L | 38.9859 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.834 | 164241.8121 | 279576.3144 | 36.4 | 83.1
10331 | 2021-02-17 13:52 | 2.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 126.6236 | μmol/L | 39.0783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.861 | 164428.0744 | 279570.9639 | 36.4 | 83.1
10341 | 2021-02-17 13:52 | 3.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 126.5813 | μmol/L | 39.0167 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.893 | 164725.626 | 279560.7042 | 36.4 | 83.1
10351 | 2021-02-17 13:52 | 3.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 126.2925 | μmol/L | 39.0475 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.906 | 164801.2375 | 279558.8614 | 36.4 | 83.1
10361 | 2021-02-17 13:53 | 3.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 125.983 | μmol/L | 39.0783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.921 | 164901.8584 | 279567.094 | 36.4 | 83.1
10371 | 2021-02-17 13:53 | 4.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 126.3506 | μmol/L | 38.9674 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.937 | 165058.3134 | 279553.3231 | 36.4 | 83.1
10381 | 2021-02-17 13:53 | 4.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 125.8141 | μmol/L | 38.9859 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.979 | 165338.63 | 279540.593 | 36.4 | 83.1
10391 | 2021-02-17 13:54 | 4.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 125.8991 | μmol/L | 38.8935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.013 | 165634.9258 | 279531.9751 | 36.4 | 83.1
10401 | 2021-02-17 13:54 | 5.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 125.2387 | μmol/L | 38.9428 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.053 | 165935.0205 | 279514.4179 | 36.4 | 83.1
10411 | 2021-02-17 13:54 | 5.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 124.8026 | μmol/L | 38.9613 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.086 | 166194.1743 | 279528.1941 | 36.4 | 83.1
10421 | 2021-02-17 13:55 | 5.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 124.7358 | μmol/L | 38.9181 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.112 | 166386.3247 | 279505.2411 | 36.4 | 83.1
10431 | 2021-02-17 13:55 | 6.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 124.3477 | μmol/L | 38.9489 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.135 | 166565.0588 | 279502.4082 | 36.4 | 83.1
10441 | 2021-02-17 13:55 | 6.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 124.4801 | μmol/L | 38.9058 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.142 | 166626.8144 | 279494.4615 | 36.4 | 83.1
10451 | 2021-02-17 13:56 | 6.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 123.6675 | μmol/L | 39.0414 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.158 | 166717.0776 | 279496.512 | 36.4 | 83.1
10461 | 2021-02-17 13:56 | 7.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 123.5494 | μmol/L | 39.029 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.175 | 166856.7545 | 279482.1727 | 36.4 | 83.1
10471 | 2021-02-17 13:56 | 7.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 123.2304 | μmol/L | 39.0414 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.201 | 167047.9819 | 279486.5888 | 36.4 | 83.1
10481 | 2021-02-17 13:57 | 7.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 123.1458 | μmol/L | 39.0352 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.212 | 167149.0017 | 279488.8689 | 36.4 | 83.1
10491 | 2021-02-17 13:57 | 8.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 123.145 | μmol/L | 38.9982 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.229 | 167282.559 | 279475.8457 | 36.4 | 83.1
10501 | 2021-02-17 13:57 | 8.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.6195 | μmol/L | 39.066 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.248 | 167399.1118 | 279461.3193 | 36.4 | 83.1
10511 | 2021-02-17 13:58 | 8.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 123.3206 | μmol/L | 38.8935 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.259 | 167498.9424 | 279455.7784 | 36.4 | 83.1
10521 | 2021-02-17 13:58 | 9.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.8909 | μmol/L | 38.9736 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.264 | 167546.1323 | 279448.5399 | 36.4 | 83.1
10531 | 2021-02-17 13:58 | 9.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.8075 | μmol/L | 38.9366 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.289 | 167741.9913 | 279444.5511 | 36.4 | 83.1
10541 | 2021-02-17 13:59 | 9.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.5746 | μmol/L | 38.9489 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.306 | 167832.5317 | 279441.1737 | 36.4 | 83.1
10551 | 2021-02-17 13:59 | 10.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.0733 | μmol/L | 39.0229 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.321 | 167938.2227 | 279435.3599 | 36.4 | 83.1
10561 | 2021-02-17 13:59 | 10.6593 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.699 | μmol/L | 39.0722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.335 | 168059.6478 | 279432.0488 | 36.4 | 83.1
10571 | 2021-02-17 14:00 | 10.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.1342 | μmol/L | 38.9859 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.332 | 168093.1338 | 279423.0807 | 36.4 | 83.1
10581 | 2021-02-17 14:00 | 11.3259 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.0172 | μmol/L | 39.0414 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.318 | 167954.8339 | 279424.2099 | 36.4 | 83.1
10591 | 2021-02-17 14:00 | 11.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.5119 | μmol/L | 38.9797 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.298 | 167789.7774 | 279400.0732 | 36.4 | 83.1
10601 | 2021-02-17 14:01 | 11.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.6081 | μmol/L | 38.9921 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.283 | 167657.2626 | 279398.143 | 36.4 | 83.1
10611 | 2021-02-17 14:01 | 12.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.4696 | μmol/L | 39.0106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.288 | 167700.1836 | 279401.6824 | 36.4 | 83.1
10621 | 2021-02-17 14:01 | 12.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.1333 | μmol/L | 39.0537 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.301 | 167811.8674 | 279402.0972 | 36.4 | 83.1
10631 | 2021-02-17 14:02 | 12.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.9678 | μmol/L | 39.0475 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.32 | 167948.4339 | 279396.01 | 36.4 | 83.1
10641 | 2021-02-17 14:02 | 13.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.6327 | μmol/L | 39.0907 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.333 | 168074.2764 | 279399.3751 | 36.4 | 83.1
10651 | 2021-02-17 14:02 | 13.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.3795 | μmol/L | 39.1338 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.338 | 168120.1587 | 279391.0277 | 36.4 | 83.1
10661 | 2021-02-17 14:03 | 13.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.4647 | μmol/L | 39.0722 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.358 | 168263.0012 | 279385.1873 | 36.4 | 83.1
10671 | 2021-02-17 14:03 | 14.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 120.9042 | μmol/L | 39.14 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.382 | 168455.1412 | 279380.9857 | 36.4 | 83.1
10681 | 2021-02-17 14:03 | 14.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 120.4663 | μmol/L | 39.1708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.412 | 168685.0205 | 279376.4562 | 36.4 | 83.1
10691 | 2021-02-17 14:04 | 14.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.8449 | μmol/L | 39.2201 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.451 | 168982.6776 | 279368.509 | 36.4 | 83.1
10701 | 2021-02-17 14:04 | 15.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.5943 | μmol/L | 39.2139 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.478 | 169230.5754 | 279359.5597 | 36.4 | 83.1
10711 | 2021-02-17 14:04 | 15.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.4272 | μmol/L | 39.1831 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.509 | 169472.2457 | 279356.4809 | 36.4 | 83.1
10721 | 2021-02-17 14:05 | 15.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.965 | μmol/L | 39.2077 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.544 | 169696.6036 | 279359.7982 | 36.4 | 83.1
10731 | 2021-02-17 14:05 | 16.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.8145 | μmol/L | 39.2447 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.542 | 169700.2307 | 279350.8733 | 36.4 | 83.1
10741 | 2021-02-17 14:05 | 16.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.683 | μmol/L | 39.2509 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.452 | 168994.0985 | 279348.2381 | 36.4 | 83.1
10751 | 2021-02-17 14:06 | 16.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 120.2049 | μmol/L | 39.2509 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.4 | 168597.7718 | 279336.2689 | 36.4 | 83.1
10761 | 2021-02-17 14:06 | 17.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 120.3761 | μmol/L | 39.2509 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.383 | 168451.2287 | 279327.3342 | 36.4 | 83.1
10771 | 2021-02-17 14:06 | 17.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.9176 | μmol/L | 39.3125 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.4 | 168593.4243 | 279336.1437 | 36.4 | 83.1
10781 | 2021-02-17 14:07 | 17.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.5276 | μmol/L | 39.3618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.416 | 168713.5163 | 279330.6243 | 36.4 | 83.1
10791 | 2021-02-17 14:07 | 18.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.7128 | μmol/L | 39.294 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.429 | 168789.5964 | 279339.642 | 36.4 | 83.1
10801 | 2021-02-17 14:07 | 18.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.1109 | μmol/L | 39.3741 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.452 | 168985.1 | 279333.7416 | 36.4 | 83.1
10811 | 2021-02-17 14:08 | 18.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.552 | μmol/L | 39.4111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.491 | 169301.0246 | 279322.0409 | 36.4 | 83.1
10821 | 2021-02-17 14:08 | 19.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.3568 | μmol/L | 39.3803 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.526 | 169557.6318 | 279315.1521 | 36.4 | 83.1
10831 | 2021-02-17 14:08 | 19.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.2232 | μmol/L | 39.3495 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.553 | 169762.5054 | 279326.3857 | 36.4 | 83.1
10841 | 2021-02-17 14:09 | 19.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.7355 | μmol/L | 39.4296 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.566 | 169863.1526 | 279314.6668 | 36.4 | 83.1
10851 | 2021-02-17 14:09 | 20.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.6065 | μmol/L | 39.4173 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.584 | 170009.1769 | 279306.3039 | 36.4 | 83.1
10861 | 2021-02-17 14:09 | 20.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.2918 | μmol/L | 39.4111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.619 | 170293.6184 | 279309.2391 | 36.4 | 83.1
10871 | 2021-02-17 14:10 | 20.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.229 | μmol/L | 39.3371 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.66 | 170605.0913 | 279297.7414 | 36.4 | 83.1
10881 | 2021-02-17 14:10 | 21.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.8923 | μmol/L | 39.3618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.683 | 170771.5198 | 279291.5539 | 36.4 | 83.1
10891 | 2021-02-17 14:10 | 21.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.1047 | μmol/L | 39.522 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.689 | 170832.1491 | 279290.0142 | 36.4 | 83.1
10901 | 2021-02-17 14:11 | 21.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.1727 | μmol/L | 39.3495 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.66 | 170605.3845 | 279297.8886 | 36.4 | 83.1
10911 | 2021-02-17 14:11 | 22.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.2372 | μmol/L | 39.3803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.639 | 170451.1004 | 279286.1316 | 36.4 | 83.1
10921 | 2021-02-17 14:11 | 22.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.2515 | μmol/L | 39.4049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.626 | 170345.8404 | 279291.6818 | 36.4 | 83.1
10931 | 2021-02-17 14:12 | 22.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.999 | μmol/L | 39.4727 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.621 | 170268.9566 | 279268.259 | 36.4 | 83.1
10941 | 2021-02-17 14:12 | 23.3259 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.2389 | μmol/L | 39.4481 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.608 | 170194.628 | 279286.3775 | 36.4 | 83.1
10951 | 2021-02-17 14:12 | 23.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.1887 | μmol/L | 39.4357 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.618 | 170257.2725 | 279276.2085 | 36.4 | 83.1
10961 | 2021-02-17 14:13 | 23.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.3804 | μmol/L | 39.3618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.633 | 170379.8799 | 279268.3172 | 36.4 | 83.1
10971 | 2021-02-17 14:13 | 24.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.0802 | μmol/L | 39.4296 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.632 | 170388.8467 | 279280.3285 | 36.4 | 83.1
10981 | 2021-02-17 14:13 | 24.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.502 | μmol/L | 39.522 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.648 | 170457.5461 | 279263.5206 | 36.4 | 83.1
10991 | 2021-02-17 14:14 | 24.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.8234 | μmol/L | 39.4666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.641 | 170428.4795 | 279267.7967 | 36.4 | 83.1
11001 | 2021-02-17 14:14 | 25.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.7553 | μmol/L | 39.4666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 23.648 | 170466.9592 | 279251.0592 | 36.4 | 83.1
11011 | 2021-02-17 14:14 | 25.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.4077 | μmol/L | 39.485 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.676 | 170689.5297 | 279258.7697 | 36.4 | 83.1
11021 | 2021-02-17 14:15 | 25.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0342 | μmol/L | 39.5097 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.703 | 170882.673 | 279250.1879 | 36.4 | 83.1
11031 | 2021-02-17 14:15 | 26.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.9829 | μmol/L | 39.4912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.717 | 170997.168 | 279254.358 | 36.4 | 83.1
11041 | 2021-02-17 14:15 | 26.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.1121 | μmol/L | 39.4542 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.721 | 171023.3133 | 279243.2082 | 36.4 | 83.1
11051 | 2021-02-17 14:16 | 26.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.2143 | μmol/L | 39.3741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.748 | 171252.2514 | 279249.1046 | 36.4 | 83.1
11061 | 2021-02-17 14:16 | 27.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.5186 | μmol/L | 39.4789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.771 | 171392.945 | 279240.804 | 36.4 | 83.1
11071 | 2021-02-17 14:16 | 27.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.6964 | μmol/L | 39.4481 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.767 | 171365.85 | 279246.1197 | 36.4 | 83.1
11081 | 2021-02-17 14:17 | 27.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.7252 | μmol/L | 39.4481 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.764 | 171357.5858 | 279237.3698 | 36.4 | 83.1
11091 | 2021-02-17 14:17 | 28.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.7273 | μmol/L | 39.4604 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.758 | 171289.8659 | 279237.1062 | 36.4 | 83.1
11101 | 2021-02-17 14:17 | 28.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0372 | μmol/L | 39.4111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.749 | 171216.4969 | 279228.0902 | 36.4 | 83.1
11111 | 2021-02-17 14:18 | 28.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0479 | μmol/L | 39.4173 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.745 | 171157.3079 | 279224.1915 | 36.4 | 83.1
11121 | 2021-02-17 14:18 | 29.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0576 | μmol/L | 39.4173 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.744 | 171156.998 | 279226.0984 | 36.4 | 83.1
11131 | 2021-02-17 14:18 | 29.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0951 | μmol/L | 39.4111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.743 | 171160.1443 | 279203.775 | 36.4 | 83.1
11141 | 2021-02-17 14:19 | 29.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.1176 | μmol/L | 39.4296 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.732 | 171048.38 | 279207.1303 | 36.4 | 83.1
11151 | 2021-02-17 14:19 | 30.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.4821 | μmol/L | 39.3556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.729 | 171015.744 | 279201.9145 | 36.4 | 83.1
11161 | 2021-02-17 14:19 | 30.6593 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.4787 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.738 | 171116.0427 | 279198.5963 | 36.4 | 83.1
11171 | 2021-02-17 14:20 | 30.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0275 | μmol/L | 39.4111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.75 | 171179.3578 | 279191.4376 | 36.4 | 83.1
11181 | 2021-02-17 14:20 | 31.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.4034 | μmol/L | 39.3495 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.74 | 171113.1316 | 279200.6224 | 36.4 | 83.1
11191 | 2021-02-17 14:20 | 31.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.5853 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.727 | 171000.1839 | 279193.2138 | 36.4 | 83.1
11201 | 2021-02-17 14:21 | 31.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.0377 | μmol/L | 39.2632 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.715 | 170869.9147 | 279196.301 | 36.4 | 83.1
11211 | 2021-02-17 14:21 | 32.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.2952 | μmol/L | 39.2817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.68 | 170600.9793 | 279178.33 | 36.4 | 83.1
11221 | 2021-02-17 14:21 | 32.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.8309 | μmol/L | 39.2201 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.654 | 170405.9278 | 279187.069 | 36.4 | 83.1
11231 | 2021-02-17 14:22 | 32.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.5239 | μmol/L | 39.3002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.648 | 170316.269 | 279170.408 | 36.4 | 83.1
11241 | 2021-02-17 14:22 | 33.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.6941 | μmol/L | 39.2694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.645 | 170289.7513 | 279178.4545 | 36.4 | 83.1
11251 | 2021-02-17 14:22 | 33.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.9429 | μmol/L | 39.2385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.634 | 170204.5197 | 279169.5598 | 36.4 | 83.1
11261 | 2021-02-17 14:23 | 33.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.0945 | μmol/L | 39.257 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.61 | 170017.442 | 279162.1574 | 36.4 | 83.1
11271 | 2021-02-17 14:23 | 34.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.3247 | μmol/L | 39.14 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.641 | 170284.053 | 279160.2012 | 36.4 | 83.1
11281 | 2021-02-17 14:23 | 34.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.0742 | μmol/L | 39.1646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.655 | 170380.7452 | 279160.1594 | 36.4 | 83.1
11291 | 2021-02-17 14:24 | 34.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.3584 | μmol/L | 39.1153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.649 | 170299.5144 | 279166.6925 | 36.4 | 83.1
11301 | 2021-02-17 14:24 | 35.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.1403 | μmol/L | 39.1523 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.654 | 170311.0184 | 279170.2567 | 36.4 | 83.1
11311 | 2021-02-17 14:24 | 35.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.0742 | μmol/L | 39.1646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.655 | 170349.3247 | 279160.816 | 36.4 | 83.1
11321 | 2021-02-17 14:25 | 35.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.7255 | μmol/L | 39.2324 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.659 | 170357.164 | 279148.8409 | 36.4 | 83.1
11331 | 2021-02-17 14:25 | 36.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.5922 | μmol/L | 39.2509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.664 | 170407.3824 | 279154.64 | 36.4 | 83.1
11341 | 2021-02-17 14:25 | 36.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.4674 | μmol/L | 39.2632 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.671 | 170468.4677 | 279161.1057 | 36.4 | 83.1
11351 | 2021-02-17 14:26 | 36.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.0547 | μmol/L | 39.2509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.719 | 170816.0649 | 279144.473 | 36.4 | 83.1
11361 | 2021-02-17 14:26 | 37.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.6604 | μmol/L | 39.1584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.7 | 170659.5138 | 279145.5971 | 36.4 | 83.1
11371 | 2021-02-17 14:26 | 37.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.553 | μmol/L | 39.103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.635 | 170139.5865 | 279137.8346 | 36.4 | 83.1
11381 | 2021-02-17 14:27 | 37.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.8552 | μmol/L | 39.0044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.65 | 170261.6926 | 279139.8213 | 36.4 | 83.1
11391 | 2021-02-17 14:27 | 38.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.3807 | μmol/L | 39.0845 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.661 | 170363.9676 | 279137.4581 | 36.4 | 83.1
11401 | 2021-02-17 14:27 | 38.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.102 | μmol/L | 39.0722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.695 | 170591.0367 | 279137.0082 | 36.4 | 83.1
11411 | 2021-02-17 14:28 | 38.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.3058 | μmol/L | 38.9797 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.717 | 170773.7549 | 279120.1578 | 36.4 | 83.1
11421 | 2021-02-17 14:28 | 39.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.4484 | μmol/L | 38.9982 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.694 | 170587.1256 | 279135.5123 | 36.4 | 83.1
11431 | 2021-02-17 14:28 | 39.6593 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.7998 | μmol/L | 38.9428 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.684 | 170501.8718 | 279128.5302 | 36.4 | 83.1
11441 | 2021-02-17 14:29 | 39.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.7599 | μmol/L | 38.9797 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.671 | 170394.4394 | 279127.3676 | 36.4 | 83.1
11451 | 2021-02-17 14:29 | 40.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.1576 | μmol/L | 39.0229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.611 | 169938.6084 | 279125.9473 | 36.4 | 83.1
11461 | 2021-02-17 14:29 | 40.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 120.3954 | μmol/L | 38.9058 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.541 | 169349.521 | 279111.965 | 36.4 | 83.1
11471 | 2021-02-17 14:30 | 40.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.1771 | μmol/L | 38.9921 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.424 | 168423.7302 | 279102.4559 | 36.4 | 83.1
11481 | 2021-02-17 14:30 | 41.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.0633 | μmol/L | 38.8565 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.399 | 168253.4541 | 279102.0223 | 36.4 | 83.1
11491 | 2021-02-17 14:30 | 41.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.9205 | μmol/L | 38.9243 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.382 | 168090.165 | 279101.9274 | 36.4 | 83.1
11501 | 2021-02-17 14:31 | 41.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.8518 | μmol/L | 38.8996 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.4 | 168223.6733 | 279101.4265 | 36.4 | 83.1
11511 | 2021-02-17 14:31 | 42.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.7341 | μmol/L | 38.8812 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.42 | 168365.6994 | 279084.4124 | 36.4 | 83.1
11521 | 2021-02-17 14:31 | 42.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.0463 | μmol/L | 38.7703 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.44 | 168511.7355 | 279078.4615 | 36.4 | 83.1
11531 | 2021-02-17 14:32 | 42.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.9988 | μmol/L | 38.8134 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.425 | 168369.0558 | 279082.9375 | 36.4 | 83.1
11541 | 2021-02-17 14:32 | 43.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.4718 | μmol/L | 38.7887 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.39 | 168106.0711 | 279067.0966 | 36.4 | 83.1
11551 | 2021-02-17 14:32 | 43.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.4836 | μmol/L | 38.8257 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.372 | 167947.863 | 279068.0886 | 36.4 | 83.1
11561 | 2021-02-17 14:33 | 43.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.823 | μmol/L | 38.7949 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.353 | 167803.1131 | 279066.3058 | 36.4 | 83.1
11571 | 2021-02-17 14:33 | 44.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.5749 | μmol/L | 38.8873 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.335 | 167661.3545 | 279058.9353 | 36.4 | 83.1
11581 | 2021-02-17 14:33 | 44.6593 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.8787 | μmol/L | 38.7764 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.356 | 167783.5048 | 279059.5967 | 36.4 | 83.1
11591 | 2021-02-17 14:34 | 44.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.7202 | μmol/L | 38.7949 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.363 | 167871.6789 | 279051.4744 | 36.4 | 83.1
11601 | 2021-02-17 14:34 | 45.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 122.2326 | μmol/L | 38.875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.374 | 167933.9293 | 279041.0813 | 36.4 | 83.1
11611 | 2021-02-17 14:34 | 45.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.9528 | μmol/L | 38.8627 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.407 | 168175.0253 | 279042.8393 | 36.4 | 83.1
11621 | 2021-02-17 14:35 | 45.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 121.7221 | μmol/L | 38.7764 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.469 | 168682.0019 | 279048.0549 | 36.4 | 83.1
11631 | 2021-02-17 14:35 | 46.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 120.828 | μmol/L | 38.8011 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.546 | 169281.0127 | 279037.0781 | 36.4 | 83.1
11641 | 2021-02-17 14:35 | 46.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 120.7271 | μmol/L | 38.7025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.601 | 169694.4667 | 279024.7241 | 36.4 | 83.1
11651 | 2021-02-17 14:36 | 46.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.6271 | μmol/L | 38.8442 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.646 | 170044.4628 | 279030.7495 | 36.4 | 83.1
11661 | 2021-02-17 14:36 | 47.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 119.4373 | μmol/L | 38.8072 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.682 | 170330.5207 | 279023.1135 | 36.4 | 83.1
11671 | 2021-02-17 14:36 | 47.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.8723 | μmol/L | 38.8442 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.722 | 170621.372 | 279017.3726 | 36.4 | 83.1
11681 | 2021-02-17 14:37 | 47.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 118.5019 | μmol/L | 38.8257 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.768 | 170992.491 | 279022.3669 | 36.4 | 83.1
11691 | 2021-02-17 14:37 | 48.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.8143 | μmol/L | 38.8627 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.821 | 171401.5118 | 279023.717 | 36.4 | 83.1
11701 | 2021-02-17 14:37 | 48.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.4883 | μmol/L | 38.8873 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.843 | 171599.7672 | 279003.7576 | 36.4 | 83.1
11711 | 2021-02-17 14:38 | 48.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.4886 | μmol/L | 38.8503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.86 | 171727.3686 | 279003.8009 | 36.4 | 83.1
11721 | 2021-02-17 14:38 | 49.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.2808 | μmol/L | 38.838 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.887 | 171906.2403 | 279007.2506 | 36.4 | 83.1
11731 | 2021-02-17 14:38 | 49.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.9826 | μmol/L | 38.8503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.912 | 172097.4116 | 278994.2432 | 36.4 | 83.1
11741 | 2021-02-17 14:39 | 49.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 117.1803 | μmol/L | 38.7518 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.937 | 172273.9279 | 278991.5147 | 36.4 | 83.1
11751 | 2021-02-17 14:39 | 50.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.9022 | μmol/L | 38.7641 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.96 | 172497.5068 | 278998.398 | 36.4 | 83.1
11761 | 2021-02-17 14:39 | 50.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.3558 | μmol/L | 38.8195 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.991 | 172701.5956 | 279002.1829 | 36.4 | 83.1
11771 | 2021-02-17 14:40 | 50.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.9164 | μmol/L | 38.912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.994 | 172757.789 | 278984.7706 | 36.4 | 83.1
11781 | 2021-02-17 14:40 | 51.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0442 | μmol/L | 38.8442 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.012 | 172890.5225 | 278993.7348 | 36.4 | 83.1
11791 | 2021-02-17 14:40 | 51.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0361 | μmol/L | 38.8503 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.01 | 172858.4256 | 278986.7887 | 36.4 | 83.1
11801 | 2021-02-17 14:41 | 51.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.0908 | μmol/L | 38.838 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.01 | 172867.5148 | 278984.6925 | 36.4 | 83.1
11811 | 2021-02-17 14:41 | 52.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 116.2548 | μmol/L | 38.8011 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.01 | 172828.6238 | 278967.5866 | 36.4 | 83.1
11821 | 2021-02-17 14:41 | 52.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.757 | μmol/L | 38.8873 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.022 | 172936.176 | 278967.7432 | 36.4 | 83.1
11831 | 2021-02-17 14:42 | 52.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.7497 | μmol/L | 38.8565 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.037 | 173061.4915 | 278970.0955 | 36.4 | 83.1
11841 | 2021-02-17 14:42 | 53.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.7177 | μmol/L | 38.9243 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.009 | 172817.062 | 278956.1278 | 36.4 | 83.1
11851 | 2021-02-17 14:42 | 53.6593 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.9264 | μmol/L | 38.9551 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.973 | 172545.9561 | 278957.5244 | 36.4 | 83.1
11861 | 2021-02-17 14:43 | 53.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.9716 | μmol/L | 38.9428 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.974 | 172561.4961 | 278961.2948 | 36.4 | 83.1
11871 | 2021-02-17 14:43 | 54.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.5647 | μmol/L | 38.9674 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.005 | 172807.4537 | 278967.2361 | 36.4 | 83.1
11881 | 2021-02-17 14:43 | 54.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.2083 | μmol/L | 38.9982 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.028 | 172972.4419 | 278944.7046 | 36.4 | 83.1
11891 | 2021-02-17 14:44 | 54.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 115.0394 | μmol/L | 39.0106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.04 | 173082.5123 | 278960.7443 | 36.4 | 83.1
11901 | 2021-02-17 14:44 | 55.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.9796 | μmol/L | 38.9982 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.052 | 173168.0746 | 278951.099 | 36.4 | 83.1
11911 | 2021-02-17 14:44 | 55.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.6712 | μmol/L | 39.0229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.073 | 173321.0022 | 278935.4078 | 36.4 | 83.1
11921 | 2021-02-17 14:45 | 55.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.202 | μmol/L | 39.0907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.091 | 173462.8339 | 278939.3895 | 36.4 | 83.1
11931 | 2021-02-17 14:45 | 56.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.3213 | μmol/L | 39.0722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.087 | 173438.7263 | 278940.0542 | 36.4 | 83.1
11941 | 2021-02-17 14:45 | 56.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.5522 | μmol/L | 39.0907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.054 | 173187.0052 | 278932.604 | 36.4 | 83.1
11951 | 2021-02-17 14:46 | 56.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.5476 | μmol/L | 39.1153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.043 | 173093.8291 | 278941.183 | 36.4 | 83.1
11961 | 2021-02-17 14:46 | 57.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.1937 | μmol/L | 39.1461 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.066 | 173264.3162 | 278936.9062 | 36.4 | 83.1
11971 | 2021-02-17 14:46 | 57.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.8242 | μmol/L | 39.1892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.085 | 173388.7984 | 278915.2934 | 36.4 | 83.1
11981 | 2021-02-17 14:47 | 57.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 114.2776 | μmol/L | 39.14 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.06 | 173221.3626 | 278915.6563 | 36.4 | 83.1
11991 | 2021-02-17 14:47 | 58.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.792 | μmol/L | 39.2201 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.074 | 173338.5941 | 278916.7661 | 36.4 | 83.1
12001 | 2021-02-17 14:47 | 58.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.5851 | μmol/L | 39.2201 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.096 | 173511.8763 | 278919.4349 | 36.4 | 83.1
12011 | 2021-02-17 14:48 | 58.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.2277 | μmol/L | 39.2139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.137 | 173814.2226 | 278912.2002 | 36.4 | 83.1
12021 | 2021-02-17 14:48 | 59.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.3801 | μmol/L | 39.2755 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.199 | 174324.4544 | 278911.4687 | 36.4 | 83.1
12031 | 2021-02-17 14:48 | 59.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.2675 | μmol/L | 39.2077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.243 | 174662.699 | 278904.9218 | 36.4 | 83.1
12041 | 2021-02-17 14:49 | 59.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.8756 | μmol/L | 39.2447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.268 | 174850.5711 | 278912.1833 | 36.4 | 83.1
12051 | 2021-02-17 14:49 | 60.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.6001 | μmol/L | 39.2509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.295 | 175063.5549 | 278904.25 | 36.4 | 83.1
12061 | 2021-02-17 14:49 | 60.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.5393 | μmol/L | 39.2139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.319 | 175270.6351 | 278903.0607 | 36.4 | 83.1
12071 | 2021-02-17 14:50 | 60.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.3638 | μmol/L | 39.2694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.312 | 175192.36 | 278886.1055 | 36.4 | 83.1
12081 | 2021-02-17 14:50 | 61.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.5981 | μmol/L | 39.3002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.272 | 174888.6687 | 278890.2189 | 36.4 | 83.1
12091 | 2021-02-17 14:50 | 61.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.7041 | μmol/L | 39.2694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.275 | 174904.6235 | 278867.133 | 36.4 | 83.1
12101 | 2021-02-17 14:51 | 61.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.6627 | μmol/L | 39.2385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.294 | 175057.5328 | 278862.4454 | 36.4 | 83.1
12111 | 2021-02-17 14:51 | 62.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.1306 | μmol/L | 39.3063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.32 | 175291.356 | 278870.7302 | 36.4 | 83.1
12121 | 2021-02-17 14:51 | 62.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 110.9036 | μmol/L | 39.3187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.339 | 175398.2907 | 278869.0793 | 36.4 | 83.1
12131 | 2021-02-17 14:52 | 62.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.314 | μmol/L | 39.3063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.3 | 175101.0454 | 278890.9501 | 36.4 | 83.1
12141 | 2021-02-17 14:52 | 63.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.8969 | μmol/L | 39.3926 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.196 | 174303.2685 | 278881.0449 | 36.4 | 83.1
12151 | 2021-02-17 14:52 | 63.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.6097 | μmol/L | 39.3187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.154 | 173951.8226 | 278869.2362 | 36.4 | 83.1
12161 | 2021-02-17 14:53 | 63.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.3456 | μmol/L | 39.3556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.165 | 174067.1833 | 278883.4953 | 36.4 | 83.1
12171 | 2021-02-17 14:53 | 64.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.8246 | μmol/L | 39.4049 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.198 | 174295.216 | 278874.2239 | 36.4 | 83.1
12181 | 2021-02-17 14:53 | 64.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.8549 | μmol/L | 39.3556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.218 | 174475.8458 | 278865.0241 | 36.4 | 83.1
12191 | 2021-02-17 14:54 | 64.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.5631 | μmol/L | 39.3803 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.238 | 174634.1476 | 278869.8393 | 36.4 | 83.1
12201 | 2021-02-17 14:54 | 65.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.713 | μmol/L | 39.3988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.213 | 174437.0849 | 278886.6338 | 36.4 | 83.1
12211 | 2021-02-17 14:54 | 65.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.4219 | μmol/L | 39.3063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.18 | 174192.0525 | 278863.5116 | 36.4 | 83.1
12221 | 2021-02-17 14:55 | 65.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.1383 | μmol/L | 39.3988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.167 | 174078.1933 | 278866.0056 | 36.4 | 83.1
12231 | 2021-02-17 14:55 | 66.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.3456 | μmol/L | 39.3556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.165 | 174052.4883 | 278872.0682 | 36.4 | 83.1
12241 | 2021-02-17 14:55 | 66.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.4247 | μmol/L | 39.3248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.171 | 174104.0539 | 278869.1109 | 36.4 | 83.1
12251 | 2021-02-17 14:56 | 66.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.5073 | μmol/L | 39.257 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.194 | 174281.5193 | 278866.2616 | 36.4 | 83.1
12261 | 2021-02-17 14:56 | 67.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.505 | μmol/L | 39.4296 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.221 | 174459.9246 | 278865.7062 | 36.4 | 83.1
12271 | 2021-02-17 14:56 | 67.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.291 | μmol/L | 39.485 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.218 | 174446.6457 | 278857.2815 | 36.4 | 83.1
12281 | 2021-02-17 14:57 | 67.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.5948 | μmol/L | 39.4111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.22 | 174458.5777 | 278842.7714 | 36.4 | 83.1
12291 | 2021-02-17 14:57 | 68.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.3954 | μmol/L | 39.4357 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.23 | 174545.0504 | 278846.6488 | 36.4 | 83.1
12301 | 2021-02-17 14:57 | 68.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.4682 | μmol/L | 39.4296 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.225 | 174483.2007 | 278839.7084 | 36.4 | 83.1
12311 | 2021-02-17 14:58 | 68.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.041 | μmol/L | 39.3002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.224 | 174451.8854 | 278830.2948 | 36.4 | 83.1
12321 | 2021-02-17 14:58 | 69.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.7265 | μmol/L | 39.3618 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.229 | 174497.6932 | 278829.9096 | 36.4 | 83.1
12331 | 2021-02-17 14:58 | 69.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.1405 | μmol/L | 39.4542 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.249 | 174641.2946 | 278829.7649 | 36.4 | 83.1
12341 | 2021-02-17 14:59 | 69.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 110.9565 | μmol/L | 39.4481 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.272 | 174826.6965 | 278829.0303 | 36.4 | 83.1
12351 | 2021-02-17 14:59 | 70.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.199 | μmol/L | 39.3371 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.298 | 175025.1656 | 278817.7732 | 36.4 | 83.1
12361 | 2021-02-17 14:59 | 70.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.3831 | μmol/L | 39.2755 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.307 | 175081.2075 | 278833.3438 | 36.4 | 83.1
12371 | 2021-02-17 15:00 | 70.9926 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.3315 | μmol/L | 39.3002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.301 | 175050.8165 | 278830.7753 | 36.4 | 83.1
12381 | 2021-02-17 15:00 | 71.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.4429 | μmol/L | 39.2447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.315 | 175137.9689 | 278818.8017 | 36.4 | 83.1
12391 | 2021-02-17 15:00 | 71.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.5155 | μmol/L | 39.2385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.31 | 175027.1793 | 278827.6868 | 36.4 | 83.1
12401 | 2021-02-17 15:01 | 71.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.2749 | μmol/L | 39.3556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.281 | 174813.8787 | 278803.1298 | 36.4 | 83.1
12411 | 2021-02-17 15:01 | 72.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.5179 | μmol/L | 39.3187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.272 | 174768.8264 | 278803.2117 | 36.4 | 83.1
12421 | 2021-02-17 15:01 | 72.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.2607 | μmol/L | 39.3187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.3 | 174945.9152 | 278797.9297 | 36.4 | 83.1
12431 | 2021-02-17 15:02 | 72.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.2254 | μmol/L | 39.3988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.266 | 174688.3698 | 278805.291 | 36.4 | 83.1
12441 | 2021-02-17 15:02 | 73.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.6905 | μmol/L | 39.368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.23 | 174361.9194 | 278790.4831 | 36.4 | 83.1
12451 | 2021-02-17 15:02 | 73.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.4301 | μmol/L | 39.2385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.211 | 174220.9444 | 278791.6069 | 36.4 | 83.1
12461 | 2021-02-17 15:03 | 73.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.9125 | μmol/L | 39.3063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.235 | 174377.9706 | 278779.4323 | 36.4 | 83.1
12471 | 2021-02-17 15:03 | 74.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.9154 | μmol/L | 39.2632 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.255 | 174529.3197 | 278782.0502 | 36.4 | 83.1
12481 | 2021-02-17 15:03 | 74.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.7732 | μmol/L | 39.2385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.282 | 174736.7417 | 278787.5949 | 36.4 | 83.1
12491 | 2021-02-17 15:04 | 74.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.0258 | μmol/L | 39.3433 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.314 | 175009.4935 | 278773.7074 | 36.4 | 83.1
12501 | 2021-02-17 15:04 | 75.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.1215 | μmol/L | 39.3063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.321 | 175043.0896 | 278762.874 | 36.4 | 83.1
12511 | 2021-02-17 15:04 | 75.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.6367 | μmol/L | 39.1892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.32 | 175040.1275 | 278759.187 | 36.4 | 83.1
12521 | 2021-02-17 15:05 | 75.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.6138 | μmol/L | 39.2201 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.308 | 174924.4407 | 278765.9018 | 36.4 | 83.1
12531 | 2021-02-17 15:05 | 76.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.9204 | μmol/L | 39.1769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.295 | 174853.6227 | 278767.4306 | 36.4 | 83.1
12541 | 2021-02-17 15:05 | 76.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 111.9068 | μmol/L | 39.2077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.282 | 174737.6936 | 278767.6507 | 36.4 | 83.1
12551 | 2021-02-17 15:06 | 76.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 112.6394 | μmol/L | 39.103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.252 | 174505.066 | 278763.0195 | 36.4 | 83.1
12561 | 2021-02-17 15:06 | 77.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.2879 | μmol/L | 39.1831 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.145 | 173661.2604 | 278763.6203 | 36.4 | 83.1
12571 | 2021-02-17 15:06 | 77.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.9472 | μmol/L | 39.14 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.095 | 173270.3672 | 278758.4801 | 36.4 | 83.1
12581 | 2021-02-17 15:07 | 77.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.822 | μmol/L | 39.1769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.091 | 173256.6599 | 278760.3654 | 36.4 | 83.1
12591 | 2021-02-17 15:07 | 78.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.8778 | μmol/L | 39.1215 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.111 | 173361.6473 | 278763.1707 | 36.4 | 83.1
12601 | 2021-02-17 15:07 | 78.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.4688 | μmol/L | 39.1461 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.143 | 173634.4264 | 278763.287 | 36.4 | 83.1
12611 | 2021-02-17 15:08 | 78.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.6695 | μmol/L | 39.0167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.182 | 173924.1439 | 278759.1836 | 36.4 | 83.1
12621 | 2021-02-17 15:08 | 79.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.4996 | μmol/L | 39.0598 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.18 | 173938.7553 | 278761.9501 | 36.4 | 83.1
12631 | 2021-02-17 15:08 | 79.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 113.5381 | μmol/L | 39.0167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.196 | 174043.1972 | 278753.3269 | 36.4 | 83.1