## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 11:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8263 | 2021-02-17 05:54 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 71.1141 | μmol/L | 44.5701 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 26.387 | 289717.0536 | 280727.6097 | 62.0402 | 75.7
8265 | 2021-02-17 09:42 | 228.0997 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 244.9598 | μmol/L | 10.506 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 25.02 | 265602.609 | 294825.8678 | 62.0402 | 75.7
8275 | 2021-02-17 09:44 | 229.775 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.0778 | μmol/L | 34.4377 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.445 | 235671.1387 | 294867.3837 | 62.0402 | 75.7
8311 | 2021-02-17 10:08 | 253.8986 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 184.7873 | μmol/L | 30.589 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.261 | 222618.4845 | 293831.9568 | 62.0402 | 75.7
8315 | 2021-02-17 10:39 | 284.8903 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.2292 | μmol/L | 31.8448 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.557 | 224518.0647 | 290422.0274 | 62.0402 | 75.7
8322 | 2021-02-17 10:39 | 285.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.0588 | μmol/L | 31.8879 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.553 | 224465.0055 | 290386.5519 | 62.0402 | 75.7
8332 | 2021-02-17 10:40 | 285.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.7866 | μmol/L | 31.9556 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.547 | 224386.4874 | 290329.6234 | 62.0402 | 75.7
8342 | 2021-02-17 10:40 | 285.8921 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.3943 | μmol/L | 31.8509 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.544 | 224290.3469 | 290270.6359 | 62.0402 | 75.7
8351 | 2021-02-17 10:40 | 286.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.4021 | μmol/L | 31.8325 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.55 | 224337.5775 | 290215.9882 | 62.0402 | 75.7
8361 | 2021-02-17 10:41 | 286.558 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.5713 | μmol/L | 31.9618 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.559 | 224401.1112 | 290155.1853 | 62.0402 | 75.7
8372 | 2021-02-17 10:41 | 286.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.9119 | μmol/L | 31.8756 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.567 | 224486.1565 | 290096.049 | 62.0402 | 75.7
8381 | 2021-02-17 10:41 | 287.2255 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.595 | μmol/L | 31.9063 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.577 | 224554.5901 | 290032.0268 | 62.0402 | 75.7
8392 | 2021-02-17 10:42 | 287.5585 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.7929 | μmol/L | 31.8694 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.577 | 224559.82 | 290002.2117 | 62.0402 | 75.7
8402 | 2021-02-17 10:42 | 287.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.3715 | μmol/L | 31.9679 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.57 | 224527.5019 | 289937.8847 | 62.0402 | 75.7
8412 | 2021-02-17 10:42 | 288.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.0803 | μmol/L | 32.011 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.574 | 224515.7925 | 289892.2079 | 62.0402 | 75.7
8422 | 2021-02-17 10:43 | 288.5588 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.3323 | μmol/L | 32.0233 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.553 | 224214.2566 | 289838.884 | 62.0402 | 75.7
8432 | 2021-02-17 10:43 | 288.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.8117 | μmol/L | 31.9679 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.541 | 224001.5346 | 289777.6395 | 62.0402 | 75.7
8441 | 2021-02-17 10:43 | 289.2248 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.6921 | μmol/L | 31.9987 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.538 | 223924.3168 | 289737.2312 | 62.0402 | 75.7
8452 | 2021-02-17 10:44 | 289.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.4786 | μmol/L | 32.0356 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.539 | 223927.1034 | 289693.0508 | 62.0402 | 75.7
8462 | 2021-02-17 10:44 | 289.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.0122 | μmol/L | 32.0972 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.548 | 223963.2935 | 289635.7358 | 62.0402 | 75.7
8471 | 2021-02-17 10:44 | 290.2247 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.9819 | μmol/L | 32.0972 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.55 | 223953.4071 | 289600.9953 | 62.0402 | 75.7
8482 | 2021-02-17 10:45 | 290.5585 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.6776 | μmol/L | 31.9618 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.552 | 223974.2294 | 289530.5591 | 62.0402 | 75.7
8492 | 2021-02-17 10:45 | 290.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 173.0179 | μmol/L | 31.9125 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.547 | 223854.6718 | 289493.6349 | 62.0402 | 75.7
8502 | 2021-02-17 10:45 | 291.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.235 | μmol/L | 32.0726 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.542 | 223764.4796 | 289442.2267 | 62.0402 | 75.7
8512 | 2021-02-17 10:46 | 291.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.7687 | μmol/L | 31.9618 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.546 | 223741.2366 | 289407.2727 | 62.0402 | 75.7
8522 | 2021-02-17 10:46 | 291.8921 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.3536 | μmol/L | 32.0787 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.532 | 223547.5111 | 289346.8888 | 62.0402 | 75.7
8531 | 2021-02-17 10:46 | 292.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.0097 | μmol/L | 32.1711 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.522 | 223413.021 | 289312.2748 | 62.0402 | 75.7
8542 | 2021-02-17 10:47 | 292.5588 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 172.2561 | μmol/L | 32.128 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.521 | 223413.707 | 289265.1068 | 62.0402 | 75.7
8552 | 2021-02-17 10:47 | 292.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.9326 | μmol/L | 32.1403 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.538 | 223515.3875 | 289217.1071 | 62.0402 | 75.7
8562 | 2021-02-17 10:47 | 293.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.714 | μmol/L | 32.1896 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.535 | 223512.4993 | 289174.8128 | 62.0402 | 75.7
8571 | 2021-02-17 10:48 | 293.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.978 | μmol/L | 32.1403 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.535 | 223461.324 | 289128.2542 | 62.0402 | 75.7
8582 | 2021-02-17 10:48 | 293.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.1621 | μmol/L | 32.2758 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.541 | 223493.8731 | 289086.5435 | 62.0402 | 75.7
8592 | 2021-02-17 10:48 | 294.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 171.1649 | μmol/L | 32.2696 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.543 | 223504.1393 | 289039.7309 | 62.0402 | 75.7
8601 | 2021-02-17 10:49 | 294.5588 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.88 | μmol/L | 32.3004 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.551 | 223578.8043 | 289010.4332 | 62.0402 | 75.7
8612 | 2021-02-17 10:49 | 294.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.7447 | μmol/L | 32.3004 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.56 | 223651.5467 | 288959.2755 | 62.0402 | 75.7
8622 | 2021-02-17 10:49 | 295.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.9533 | μmol/L | 32.2388 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.568 | 223701.5536 | 288922.8355 | 62.0402 | 75.7
8632 | 2021-02-17 10:50 | 295.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.5853 | μmol/L | 32.2881 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.575 | 223781.6804 | 288886.0462 | 62.0402 | 75.7
8642 | 2021-02-17 10:50 | 295.8914 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.8424 | μmol/L | 32.4051 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.583 | 223853.1271 | 288847.8853 | 62.0402 | 75.7
8651 | 2021-02-17 10:50 | 296.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.7976 | μmol/L | 32.4051 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.586 | 223861.5768 | 288809.1982 | 62.0402 | 75.7
8662 | 2021-02-17 10:51 | 296.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.1995 | μmol/L | 32.3127 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.592 | 223911.8275 | 288764.7942 | 62.0402 | 75.7
8672 | 2021-02-17 10:51 | 296.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.0149 | μmol/L | 32.3558 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.589 | 223862.4295 | 288724.8663 | 62.0402 | 75.7
8682 | 2021-02-17 10:51 | 297.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.1196 | μmol/L | 32.3558 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.582 | 223729.7068 | 288679.3651 | 62.0402 | 75.7
8692 | 2021-02-17 10:52 | 297.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.7625 | μmol/L | 32.479 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.562 | 223475.0911 | 288655.5458 | 62.0402 | 75.7
8701 | 2021-02-17 10:52 | 297.8914 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.6683 | μmol/L | 32.3681 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.541 | 223181.6197 | 288616.865 | 62.0402 | 75.7
8712 | 2021-02-17 10:52 | 298.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.2615 | μmol/L | 32.4359 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.544 | 223227.1045 | 288571.1668 | 62.0402 | 75.7
8722 | 2021-02-17 10:53 | 298.558 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.091 | μmol/L | 32.4482 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.551 | 223267.2235 | 288540.9884 | 62.0402 | 75.7
8732 | 2021-02-17 10:53 | 298.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.503 | μmol/L | 32.6144 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.531 | 223043.5261 | 288495.5083 | 62.0402 | 75.7
8741 | 2021-02-17 10:53 | 299.2247 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.2146 | μmol/L | 32.5344 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.512 | 222767.761 | 288469.2993 | 62.0402 | 75.7
8752 | 2021-02-17 10:54 | 299.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.9064 | μmol/L | 32.6144 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.504 | 222625.2383 | 288411.1274 | 62.0402 | 75.7
8761 | 2021-02-17 10:54 | 299.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.4131 | μmol/L | 32.676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.515 | 222774.8897 | 288377.6712 | 62.0402 | 75.7
8772 | 2021-02-17 10:54 | 300.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.3924 | μmol/L | 32.6575 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.523 | 222850.0268 | 288338.9209 | 62.0402 | 75.7
8782 | 2021-02-17 10:55 | 300.5585 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.7447 | μmol/L | 32.6699 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.495 | 222490.6289 | 288301.4431 | 62.0402 | 75.7
8792 | 2021-02-17 10:55 | 300.8916 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.4161 | μmol/L | 32.6452 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.459 | 222038.4704 | 288263.7679 | 62.0402 | 75.7
8802 | 2021-02-17 10:55 | 301.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.3229 | μmol/L | 32.713 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.441 | 221831.1161 | 288224.0897 | 62.0402 | 75.7
8812 | 2021-02-17 10:56 | 301.5585 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.3077 | μmol/L | 32.7438 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.431 | 221657.4769 | 288185.6548 | 62.0402 | 75.7
8822 | 2021-02-17 10:56 | 301.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.9971 | μmol/L | 32.6268 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.427 | 221580.4779 | 288161.9582 | 62.0402 | 75.7
8831 | 2021-02-17 10:56 | 302.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.9919 | μmol/L | 32.8053 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.43 | 221576.016 | 288132.764 | 62.0402 | 75.7
8842 | 2021-02-17 10:57 | 302.5588 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.482 | μmol/L | 32.7561 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.415 | 221382.876 | 288097.1635 | 62.0402 | 75.7
8852 | 2021-02-17 10:57 | 302.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.5393 | μmol/L | 32.7314 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.42 | 221429.7053 | 288060.6481 | 62.0402 | 75.7
8862 | 2021-02-17 10:57 | 303.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.98 | μmol/L | 32.7992 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.433 | 221582.193 | 288024.1594 | 62.0402 | 75.7
8872 | 2021-02-17 10:58 | 303.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.0996 | μmol/L | 32.9716 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.43 | 221500.3958 | 287983.3624 | 62.0402 | 75.7
8881 | 2021-02-17 10:58 | 303.8914 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.1476 | μmol/L | 32.9655 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.429 | 221498.7862 | 287943.2548 | 62.0402 | 75.7
8892 | 2021-02-17 10:58 | 304.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.6291 | μmol/L | 33.0455 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.435 | 221553.7783 | 287908.785 | 62.0402 | 75.7
8902 | 2021-02-17 10:59 | 304.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.6899 | μmol/L | 33.0147 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.442 | 221584.3765 | 287895.2067 | 62.0402 | 75.7
8912 | 2021-02-17 10:59 | 304.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.8005 | μmol/L | 33.0024 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.439 | 221549.0405 | 287850.1134 | 62.0402 | 75.7
8922 | 2021-02-17 10:59 | 305.2248 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.4791 | μmol/L | 33.0763 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.434 | 221454.9695 | 287809.6158 | 62.0402 | 75.7
8932 | 2021-02-17 11:00 | 305.5588 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.33 | μmol/L | 33.0455 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.388 | 220939.4943 | 287784.5439 | 62.0402 | 75.7
8942 | 2021-02-17 11:00 | 305.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.47 | μmol/L | 33.064 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.372 | 220696.3775 | 287743.5319 | 62.0402 | 75.7
8952 | 2021-02-17 11:00 | 306.2248 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.9434 | μmol/L | 33.0763 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.336 | 220264.097 | 287710.6695 | 62.0402 | 75.7
8962 | 2021-02-17 11:01 | 306.5585 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.6013 | μmol/L | 33.0271 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.31 | 219947.1432 | 287685.8363 | 62.0402 | 75.7
8972 | 2021-02-17 11:01 | 306.8921 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.9131 | μmol/L | 33.1626 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.307 | 219913.7609 | 287640.9343 | 62.0402 | 75.7
8981 | 2021-02-17 11:01 | 307.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.5233 | μmol/L | 33.218 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.313 | 219990.0387 | 287631.3463 | 62.0402 | 75.7
8992 | 2021-02-17 11:02 | 307.5588 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.1006 | μmol/L | 33.335 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.299 | 219813.162 | 287591.6275 | 62.0402 | 75.7
9002 | 2021-02-17 11:02 | 307.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.5752 | μmol/L | 33.2611 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.294 | 219674.1106 | 287563.5742 | 62.0402 | 75.7
9012 | 2021-02-17 11:02 | 308.2255 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.1457 | μmol/L | 33.2796 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.316 | 219913.5897 | 287533.411 | 62.0402 | 75.7
9022 | 2021-02-17 11:03 | 308.5583 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.8973 | μmol/L | 33.2488 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.277 | 219504.5496 | 287503.1223 | 62.0402 | 75.7
9032 | 2021-02-17 11:03 | 308.8921 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.1315 | μmol/L | 33.2611 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.257 | 219212.9435 | 287476.9979 | 62.0402 | 75.7
9042 | 2021-02-17 11:03 | 309.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 170.2469 | μmol/L | 33.2426 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.256 | 219154.3954 | 287449.2952 | 62.0402 | 75.7
9052 | 2021-02-17 11:04 | 309.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.6803 | μmol/L | 33.3165 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.267 | 219266.6202 | 287404.701 | 62.0402 | 75.7
9062 | 2021-02-17 11:04 | 309.8921 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.5035 | μmol/L | 33.3104 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.281 | 219440.7545 | 287385.4962 | 62.0402 | 75.7
9072 | 2021-02-17 11:04 | 310.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 169.2338 | μmol/L | 33.3104 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.299 | 219623.8959 | 287343.8231 | 62.0402 | 75.7
9081 | 2021-02-17 11:05 | 310.5583 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3916 | μmol/L | 33.4028 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.322 | 219853.7577 | 287309.869 | 62.0402 | 75.7
9092 | 2021-02-17 11:05 | 310.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.7473 | μmol/L | 33.2981 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.336 | 220007.246 | 287286.9696 | 62.0402 | 75.7
9101 | 2021-02-17 11:05 | 311.2249 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.0793 | μmol/L | 33.4028 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.343 | 220081.3015 | 287256.1711 | 62.0402 | 75.7
9111 | 2021-02-17 11:06 | 311.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8736 | μmol/L | 33.452 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.339 | 220011.3597 | 287233.8538 | 62.0402 | 75.7
9122 | 2021-02-17 11:06 | 311.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.7293 | μmol/L | 33.2488 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.355 | 220178.4423 | 287191.4805 | 62.0402 | 75.7
9132 | 2021-02-17 11:06 | 312.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3729 | μmol/L | 33.3289 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.35 | 220115.6078 | 287180.0171 | 62.0402 | 75.7
9142 | 2021-02-17 11:07 | 312.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.5434 | μmol/L | 33.3165 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.343 | 219996.3168 | 287154.0852 | 62.0402 | 75.7
9152 | 2021-02-17 11:07 | 312.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.4189 | μmol/L | 33.3535 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.338 | 219922.0682 | 287116.4055 | 62.0402 | 75.7
9162 | 2021-02-17 11:07 | 313.2249 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.4316 | μmol/L | 33.3843 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.326 | 219755.9814 | 287091.8051 | 62.0402 | 75.7
9171 | 2021-02-17 11:08 | 313.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.916 | μmol/L | 33.4028 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.354 | 220059.3303 | 287065.4193 | 62.0402 | 75.7
9181 | 2021-02-17 11:08 | 313.8914 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6731 | μmol/L | 33.3597 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.386 | 220404.3217 | 287037.8755 | 62.0402 | 75.7
9191 | 2021-02-17 11:08 | 314.2247 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9912 | μmol/L | 33.4952 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.383 | 220372.9137 | 287010.7206 | 62.0402 | 75.7
9202 | 2021-02-17 11:09 | 314.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.7025 | μmol/L | 33.4397 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.355 | 220016.5584 | 286990.5579 | 62.0402 | 75.7
9211 | 2021-02-17 11:09 | 314.8913 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.7838 | μmol/L | 33.5321 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.316 | 219578.1656 | 286945.8882 | 62.0402 | 75.7
9222 | 2021-02-17 11:09 | 315.2252 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.1072 | μmol/L | 33.5383 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.292 | 219283.4491 | 286932.4262 | 62.0402 | 75.7
9231 | 2021-02-17 11:10 | 315.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.5441 | μmol/L | 33.4767 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.285 | 219154.2262 | 286901.323 | 62.0402 | 75.7
9242 | 2021-02-17 11:10 | 315.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.2928 | μmol/L | 33.526 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.284 | 219115.9938 | 286880.8743 | 62.0402 | 75.7
9252 | 2021-02-17 11:10 | 316.2247 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.2873 | μmol/L | 33.4828 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.3 | 219230.8154 | 286855.9229 | 62.0402 | 75.7
9262 | 2021-02-17 11:11 | 316.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.4105 | μmol/L | 33.5629 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.33 | 219558.2094 | 286832.3711 | 62.0402 | 75.7
9272 | 2021-02-17 11:11 | 316.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2176 | μmol/L | 33.5383 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.352 | 219826.2585 | 286800.2636 | 62.0402 | 75.7
9282 | 2021-02-17 11:11 | 317.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.5765 | μmol/L | 33.5506 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.391 | 220240.1642 | 286780.7774 | 62.0402 | 75.7
9291 | 2021-02-17 11:12 | 317.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9589 | μmol/L | 33.526 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.374 | 220014.0766 | 286750.0777 | 62.0402 | 75.7
9302 | 2021-02-17 11:12 | 317.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.4117 | μmol/L | 33.4828 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.359 | 219795.1437 | 286738.1465 | 62.0402 | 75.7
9311 | 2021-02-17 11:12 | 318.2249 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9418 | μmol/L | 33.5814 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.355 | 219755.2768 | 286703.0263 | 62.0402 | 75.7
9322 | 2021-02-17 11:13 | 318.5587 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0144 | μmol/L | 33.5321 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.368 | 219822.0716 | 286683.7307 | 62.0402 | 75.7
9332 | 2021-02-17 11:13 | 318.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6451 | μmol/L | 33.489 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.341 | 219483.1969 | 286664.8337 | 62.0402 | 75.7
9342 | 2021-02-17 11:13 | 319.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.3218 | μmol/L | 33.4212 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.32 | 219255.0199 | 286626.4597 | 62.0402 | 75.7
9352 | 2021-02-17 11:14 | 319.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 168.0126 | μmol/L | 33.4952 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.314 | 219217.9713 | 286621.1775 | 62.0402 | 75.7
9362 | 2021-02-17 11:14 | 319.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8606 | μmol/L | 33.5013 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.322 | 219248.6397 | 286595.688 | 62.0402 | 75.7
9371 | 2021-02-17 11:14 | 320.2247 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.653 | μmol/L | 33.5013 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.336 | 219401.1137 | 286572.3236 | 62.0402 | 75.7
9382 | 2021-02-17 11:15 | 320.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2534 | μmol/L | 33.5013 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.363 | 219701.1741 | 286551.4134 | 62.0402 | 75.7
9392 | 2021-02-17 11:15 | 320.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8258 | μmol/L | 33.3781 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.369 | 219747.6559 | 286528.0672 | 62.0402 | 75.7
9402 | 2021-02-17 11:15 | 321.2249 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.268 | μmol/L | 33.5506 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.412 | 220174.6759 | 286497.6917 | 62.0402 | 75.7
9412 | 2021-02-17 11:16 | 321.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0267 | μmol/L | 33.5876 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.415 | 220227.1032 | 286478.2693 | 62.0402 | 75.7
9422 | 2021-02-17 11:16 | 321.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9252 | μmol/L | 33.5075 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.383 | 219796.2203 | 286445.1079 | 62.0402 | 75.7
9432 | 2021-02-17 11:16 | 322.2246 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1472 | μmol/L | 33.5321 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.359 | 219523.0147 | 286433.2427 | 62.0402 | 75.7
9442 | 2021-02-17 11:17 | 322.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.5109 | μmol/L | 33.4644 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.359 | 219482.8947 | 286403.9831 | 62.0402 | 75.7
9451 | 2021-02-17 11:17 | 322.8913 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.4065 | μmol/L | 33.4397 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.375 | 219647.7211 | 286392.9343 | 62.0402 | 75.7
9462 | 2021-02-17 11:17 | 323.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.8969 | μmol/L | 33.4274 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.414 | 220071.1732 | 286365.5203 | 62.0402 | 75.7
9472 | 2021-02-17 11:18 | 323.5583 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.6657 | μmol/L | 33.4459 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.423 | 220187.712 | 286357.8938 | 62.0402 | 75.7
9482 | 2021-02-17 11:18 | 323.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6748 | μmol/L | 33.5383 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.457 | 220539.0014 | 286337.5522 | 62.0402 | 75.7
9492 | 2021-02-17 11:18 | 324.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.5063 | μmol/L | 33.5013 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.482 | 220812.199 | 286300.1939 | 62.0402 | 75.7
9502 | 2021-02-17 11:19 | 324.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6664 | μmol/L | 33.4767 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.48 | 220728.5791 | 286274.8949 | 62.0402 | 75.7
9511 | 2021-02-17 11:19 | 324.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0808 | μmol/L | 33.3905 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.483 | 220776.2903 | 286254.3671 | 62.0402 | 75.7
9522 | 2021-02-17 11:19 | 325.2247 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.9458 | μmol/L | 33.489 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.525 | 221236.7031 | 286238.0396 | 62.0402 | 75.7
9532 | 2021-02-17 11:20 | 325.5588 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.8431 | μmol/L | 33.4151 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.559 | 221596.519 | 286223.8925 | 62.0402 | 75.7
9542 | 2021-02-17 11:20 | 325.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.554 | μmol/L | 33.4644 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.561 | 221616.1104 | 286191.1071 | 62.0402 | 75.7
9551 | 2021-02-17 11:20 | 326.2248 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.3842 | μmol/L | 33.4828 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.566 | 221663.054 | 286191.2897 | 62.0402 | 75.7
9562 | 2021-02-17 11:21 | 326.5587 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.4383 | μmol/L | 33.4644 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.569 | 221619.3097 | 286153.8856 | 62.0402 | 75.7
9572 | 2021-02-17 11:21 | 326.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.6441 | μmol/L | 33.4336 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.566 | 221624.7756 | 286141.4134 | 62.0402 | 75.7
9582 | 2021-02-17 11:21 | 327.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.6919 | μmol/L | 33.5814 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.578 | 221737.1221 | 286114.116 | 62.0402 | 75.7
9591 | 2021-02-17 11:22 | 327.5585 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.1128 | μmol/L | 33.4274 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.605 | 222020.2442 | 286104.4436 | 62.0402 | 75.7
9601 | 2021-02-17 11:22 | 327.8914 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.7742 | μmol/L | 33.4151 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.633 | 222321.3029 | 286084.6809 | 62.0402 | 75.7
9612 | 2021-02-17 11:22 | 328.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.0929 | μmol/L | 33.3104 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.649 | 222464.6534 | 286064.0711 | 62.0402 | 75.7
9622 | 2021-02-17 11:23 | 328.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.3113 | μmol/L | 33.4705 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.645 | 222382.0001 | 286032.2468 | 62.0402 | 75.7
9632 | 2021-02-17 11:23 | 328.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.6485 | μmol/L | 33.4336 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.635 | 222253.1519 | 286025.7737 | 62.0402 | 75.7
9642 | 2021-02-17 11:23 | 329.2251 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8746 | μmol/L | 33.3905 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.635 | 222232.9261 | 285998.8798 | 62.0402 | 75.7
9652 | 2021-02-17 11:24 | 329.5587 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.512 | μmol/L | 33.4212 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.649 | 222406.4453 | 285975.7362 | 62.0402 | 75.7
9661 | 2021-02-17 11:24 | 329.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.3435 | μmol/L | 33.4397 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.654 | 222403.8343 | 285958.8534 | 62.0402 | 75.7
9672 | 2021-02-17 11:24 | 330.2252 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.544 | μmol/L | 33.3905 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.658 | 222487.3246 | 285943.6391 | 62.0402 | 75.7
9682 | 2021-02-17 11:25 | 330.5583 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8276 | μmol/L | 33.372 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.645 | 222246.634 | 285932.0086 | 62.0402 | 75.7
9692 | 2021-02-17 11:25 | 330.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.7565 | μmol/L | 33.4459 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.623 | 221999.418 | 285910.4264 | 62.0402 | 75.7
9702 | 2021-02-17 11:25 | 331.2252 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.3999 | μmol/L | 33.3289 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.621 | 221946.2481 | 285894.6904 | 62.0402 | 75.7
9712 | 2021-02-17 11:26 | 331.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.256 | μmol/L | 33.3535 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.622 | 221923.9049 | 285877.1937 | 62.0402 | 75.7
9722 | 2021-02-17 11:26 | 331.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.6841 | μmol/L | 33.3966 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.646 | 222174.9604 | 285851.4638 | 62.0402 | 75.7
9732 | 2021-02-17 11:26 | 332.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.3899 | μmol/L | 33.4089 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.662 | 222368.1983 | 285825.5398 | 62.0402 | 75.7
9742 | 2021-02-17 11:27 | 332.5587 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8035 | μmol/L | 33.2365 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.696 | 222731.1238 | 285827.2098 | 62.0402 | 75.7
9752 | 2021-02-17 11:27 | 332.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7423 | μmol/L | 33.3658 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.723 | 223023.7682 | 285802.2535 | 62.0402 | 75.7
9762 | 2021-02-17 11:27 | 333.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3292 | μmol/L | 33.3905 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.743 | 223241.1887 | 285774.8523 | 62.0402 | 75.7
9772 | 2021-02-17 11:28 | 333.5583 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.6634 | μmol/L | 33.3042 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.751 | 223312.255 | 285755.0418 | 62.0402 | 75.7
9782 | 2021-02-17 11:28 | 333.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.9307 | μmol/L | 33.2857 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.739 | 223160.4149 | 285747.5774 | 62.0402 | 75.7
9792 | 2021-02-17 11:28 | 334.2252 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.0021 | μmol/L | 33.2857 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.734 | 223074.386 | 285727.9773 | 62.0402 | 75.7
9801 | 2021-02-17 11:29 | 334.5585 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7671 | μmol/L | 33.3473 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.728 | 223025.5077 | 285708.847 | 62.0402 | 75.7
9812 | 2021-02-17 11:29 | 334.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7241 | μmol/L | 33.3227 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.74 | 223157.1712 | 285703.0805 | 62.0402 | 75.7
9822 | 2021-02-17 11:29 | 335.2252 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.5956 | μmol/L | 33.2981 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.758 | 223350.4342 | 285682.6919 | 62.0402 | 75.7
9831 | 2021-02-17 11:30 | 335.5583 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7366 | μmol/L | 33.3843 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.787 | 223628.4719 | 285655.1523 | 62.0402 | 75.7
9842 | 2021-02-17 11:30 | 335.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7296 | μmol/L | 33.372 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.792 | 223667.5321 | 285637.6795 | 62.0402 | 75.7
9851 | 2021-02-17 11:30 | 336.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.176 | μmol/L | 33.2857 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.792 | 223651.2947 | 285617.0558 | 62.0402 | 75.7
9861 | 2021-02-17 11:31 | 336.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.5705 | μmol/L | 33.3535 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.81 | 223819.2004 | 285602.4975 | 62.0402 | 75.7
9872 | 2021-02-17 11:31 | 336.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9172 | μmol/L | 33.2919 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.808 | 223777.7801 | 285589.5881 | 62.0402 | 75.7
9882 | 2021-02-17 11:31 | 337.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7084 | μmol/L | 33.335 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.807 | 223777.9231 | 285566.0716 | 62.0402 | 75.7
9892 | 2021-02-17 11:32 | 337.5587 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.9702 | μmol/L | 33.2734 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.811 | 223834.4551 | 285549.019 | 62.0402 | 75.7
9902 | 2021-02-17 11:32 | 337.8919 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1398 | μmol/L | 33.3658 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.836 | 224079.5985 | 285530.7817 | 62.0402 | 75.7
9912 | 2021-02-17 11:32 | 338.2249 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7575 | μmol/L | 33.2241 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.844 | 224150.1926 | 285522.9799 | 62.0402 | 75.7
9921 | 2021-02-17 11:33 | 338.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.0696 | μmol/L | 33.3412 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.85 | 224207.6631 | 285512.4014 | 62.0402 | 75.7
9932 | 2021-02-17 11:33 | 338.8917 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3375 | μmol/L | 33.2919 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.849 | 224159.4855 | 285492.6032 | 62.0402 | 75.7
9941 | 2021-02-17 11:33 | 339.2249 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3655 | μmol/L | 33.3658 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.82 | 223842.3677 | 285483.5739 | 62.0402 | 75.7
9952 | 2021-02-17 11:34 | 339.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.5085 | μmol/L | 33.1749 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.809 | 223685.7621 | 285471.6692 | 62.0402 | 75.7
9961 | 2021-02-17 11:34 | 339.8914 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3195 | μmol/L | 33.3966 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.812 | 223659.6901 | 285450.8396 | 62.0402 | 75.7
9972 | 2021-02-17 11:34 | 340.2252 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.0484 | μmol/L | 33.3104 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.792 | 223458.4621 | 285430.6606 | 62.0402 | 75.7
9982 | 2021-02-17 11:35 | 340.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.7507 | μmol/L | 33.4089 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.777 | 223255.2833 | 285411.836 | 62.0402 | 75.7
9991 | 2021-02-17 11:35 | 340.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.4887 | μmol/L | 33.2857 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.77 | 223165.5006 | 285406.2477 | 62.0402 | 75.7
10002 | 2021-02-17 11:35 | 341.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8427 | μmol/L | 33.4212 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.766 | 223123.9658 | 285388.5929 | 62.0402 | 75.7
10011 | 2021-02-17 11:36 | 341.5584 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3926 | μmol/L | 33.489 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.773 | 223161.9971 | 285366.23 | 62.0402 | 75.7
10022 | 2021-02-17 11:36 | 341.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.3998 | μmol/L | 33.4767 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.777 | 223206.7283 | 285354.2959 | 62.0402 | 75.7
10032 | 2021-02-17 11:36 | 342.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8748 | μmol/L | 33.3658 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.784 | 223294.5988 | 285357.4547 | 62.0402 | 75.7
10041 | 2021-02-17 11:37 | 342.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.5393 | μmol/L | 33.526 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.82 | 223675.8706 | 285337.5558 | 62.0402 | 75.7
10052 | 2021-02-17 11:37 | 342.8916 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.5368 | μmol/L | 33.4828 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.836 | 223874.7449 | 285320.0335 | 62.0402 | 75.7
10061 | 2021-02-17 11:37 | 343.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.261 | μmol/L | 33.5691 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.824 | 223776.9783 | 285311.3006 | 62.0402 | 75.7
10072 | 2021-02-17 11:38 | 343.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.9454 | μmol/L | 33.4336 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.825 | 223749.0993 | 285299.4895 | 62.0402 | 75.7
10082 | 2021-02-17 11:38 | 343.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.272 | μmol/L | 33.5506 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.83 | 223799.6859 | 285265.6487 | 62.0402 | 75.7
10092 | 2021-02-17 11:38 | 344.2253 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.0413 | μmol/L | 33.5383 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.851 | 224073.6461 | 285258.213 | 62.0402 | 75.7
10101 | 2021-02-17 11:39 | 344.5581 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.5478 | μmol/L | 33.5691 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.875 | 224337.8226 | 285248.9633 | 62.0402 | 75.7
10112 | 2021-02-17 11:39 | 344.8918 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.7455 | μmol/L | 33.4952 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.888 | 224462.6734 | 285236.6575 | 62.0402 | 75.7
10122 | 2021-02-17 11:39 | 345.2249 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.7383 | μmol/L | 33.643 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.906 | 224678.4361 | 285212.9821 | 62.0402 | 75.7
10132 | 2021-02-17 11:40 | 345.5587 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.822 | μmol/L | 33.5506 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.934 | 224968.9119 | 285206.1632 | 62.0402 | 75.7
10142 | 2021-02-17 11:40 | 345.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1585 | μmol/L | 33.6184 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.957 | 225222.0648 | 285192.9445 | 62.0402 | 75.7
10152 | 2021-02-17 11:40 | 346.2247 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.0945 | μmol/L | 33.6553 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.948 | 225138.8575 | 285181.3691 | 62.0402 | 75.7
10162 | 2021-02-17 11:41 | 346.5586 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1008 | μmol/L | 33.6676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.943 | 225054.4716 | 285158.2317 | 62.0402 | 75.7
10171 | 2021-02-17 11:41 | 346.8915 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.0266 | μmol/L | 33.6984 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.937 | 224975.9195 | 285139.8292 | 62.0402 | 75.7
10182 | 2021-02-17 11:41 | 347.2254 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7235 | μmol/L | 33.6984 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.959 | 225258.356 | 285134.9714 | 62.0402 | 75.7
10191 | 2021-02-17 11:42 | 347.5583 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.2989 | μmol/L | 33.5691 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.965 | 225313.0148 | 285117.9127 | 62.0402 | 75.7
10202 | 2021-02-17 11:42 | 347.892 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3806 | μmol/L | 33.7416 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.968 | 225323.9057 | 285102.2201 | 62.0402 | 75.7
10212 | 2021-02-17 11:42 | 348.225 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.8977 | μmol/L | 33.6615 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.96 | 225285.5113 | 285092.8731 | 62.0402 | 75.7
10221 | 2021-02-17 11:43 | 348.5582 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.6968 | μmol/L | 33.7416 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.945 | 225081.9441 | 285082.2032 | 62.0402 | 75.7