## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10238 | 2021-02-17 13:49 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 77.9125 | μmol/L | 38.9556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.077 | 202767.2467 | 306174.507 | 59.9307 | 38.1
10248 | 2021-02-17 13:49 | 0.33397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 77.4453 | μmol/L | 38.9433 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.157 | 203419.4343 | 306172.1383 | 59.9307 | 38.1
10258 | 2021-02-17 13:49 | 0.66772 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 76.7853 | μmol/L | 38.9617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.254 | 204249.7569 | 306161.7295 | 59.9307 | 38.1
10268 | 2021-02-17 13:50 | 1.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 76.4852 | μmol/L | 38.9986 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.285 | 204413.7611 | 306146.7433 | 59.9307 | 38.1
10278 | 2021-02-17 13:50 | 1.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 76.6912 | μmol/L | 38.9003 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.298 | 204529.5269 | 306141.8822 | 59.9307 | 38.1
10288 | 2021-02-17 13:50 | 1.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 76.2236 | μmol/L | 38.9802 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.336 | 204881.9661 | 306125.7293 | 59.9307 | 38.1
10298 | 2021-02-17 13:51 | 2.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 75.8858 | μmol/L | 38.931 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.414 | 205438.1552 | 306113.6045 | 59.9307 | 38.1
10308 | 2021-02-17 13:51 | 2.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 75.5574 | μmol/L | 38.845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.508 | 206168.9451 | 306098.0318 | 59.9307 | 38.1
10318 | 2021-02-17 13:51 | 2.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.9891 | μmol/L | 38.8266 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.61 | 206978.9367 | 306093.5877 | 59.9307 | 38.1
10328 | 2021-02-17 13:52 | 3.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.5354 | μmol/L | 38.8757 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.662 | 207441.5667 | 306087.635 | 59.9307 | 38.1
10338 | 2021-02-17 13:52 | 3.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.5524 | μmol/L | 38.8143 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.688 | 207664.4472 | 306064.516 | 59.9307 | 38.1
10348 | 2021-02-17 13:52 | 3.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.5252 | μmol/L | 38.8389 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.681 | 207614.7235 | 306063.7415 | 59.9307 | 38.1
10358 | 2021-02-17 13:53 | 4.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.6067 | μmol/L | 38.8143 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.679 | 207594.344 | 306054.6095 | 59.9307 | 38.1
10368 | 2021-02-17 13:53 | 4.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.3355 | μmol/L | 38.8634 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.701 | 207686.3074 | 306031.6562 | 59.9307 | 38.1
10378 | 2021-02-17 13:53 | 4.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.1022 | μmol/L | 38.8696 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.737 | 207973.0098 | 306039.4262 | 59.9307 | 38.1
10388 | 2021-02-17 13:54 | 5.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 73.698 | μmol/L | 38.8327 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.822 | 208626.5209 | 306026.3975 | 59.9307 | 38.1
10398 | 2021-02-17 13:54 | 5.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 73.8782 | μmol/L | 38.845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.786 | 208309.3226 | 306026.9919 | 59.9307 | 38.1
10408 | 2021-02-17 13:54 | 5.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 74.0184 | μmol/L | 38.8696 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.751 | 207987.5846 | 306015.1184 | 59.9307 | 38.1
10418 | 2021-02-17 13:55 | 6.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 73.769 | μmol/L | 38.8819 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.787 | 208202.7587 | 306001.2136 | 59.9307 | 38.1
10428 | 2021-02-17 13:55 | 6.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 73.1662 | μmol/L | 38.9064 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.877 | 208949.4409 | 306002.0857 | 59.9307 | 38.1
10438 | 2021-02-17 13:55 | 6.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 72.6819 | μmol/L | 38.8941 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 28.965 | 209624.2824 | 305989.3305 | 59.9307 | 38.1
10448 | 2021-02-17 13:56 | 7.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 71.965 | μmol/L | 38.8511 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.108 | 210740.4938 | 305988.9563 | 59.9307 | 38.1
10458 | 2021-02-17 13:56 | 7.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 70.9907 | μmol/L | 38.8573 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.274 | 212020.6902 | 305977.2491 | 59.9307 | 38.1
10468 | 2021-02-17 13:56 | 7.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 70.0605 | μmol/L | 38.888 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.423 | 213248.9215 | 305968.9875 | 59.9307 | 38.1
10478 | 2021-02-17 13:57 | 8.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 69.5549 | μmol/L | 38.9003 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.507 | 213871.8093 | 305956.9908 | 59.9307 | 38.1
10488 | 2021-02-17 13:57 | 8.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 69.2241 | μmol/L | 38.8941 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.569 | 214356.5783 | 305951.6342 | 59.9307 | 38.1
10498 | 2021-02-17 13:57 | 8.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 68.3492 | μmol/L | 38.9126 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.718 | 215540.5912 | 305958.0071 | 59.9307 | 38.1
10508 | 2021-02-17 13:58 | 9.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 68.0681 | μmol/L | 38.9064 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.772 | 215996.6376 | 305933.8877 | 59.9307 | 38.1
10518 | 2021-02-17 13:58 | 9.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.7794 | μmol/L | 38.8634 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.845 | 216554.6952 | 305934.6708 | 59.9307 | 38.1
10528 | 2021-02-17 13:58 | 9.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.0763 | μmol/L | 38.845 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.983 | 217598.3818 | 305938.1792 | 59.9307 | 38.1
10538 | 2021-02-17 13:59 | 10.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.2202 | μmol/L | 38.9494 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.093 | 218465.749 | 305924.9541 | 59.9307 | 38.1
10548 | 2021-02-17 13:59 | 10.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.9857 | μmol/L | 38.9494 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.137 | 218719.6602 | 305927.9833 | 59.9307 | 38.1
10558 | 2021-02-17 13:59 | 10.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.973 | μmol/L | 38.9249 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.151 | 218828.0623 | 305931.3563 | 59.9307 | 38.1
10568 | 2021-02-17 14:00 | 11.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.4219 | μmol/L | 38.8696 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.093 | 218318.0752 | 305925.2676 | 59.9307 | 38.1
10578 | 2021-02-17 14:00 | 11.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.278 | μmol/L | 38.9371 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.088 | 218206.5062 | 305912.2918 | 59.9307 | 38.1
10588 | 2021-02-17 14:00 | 11.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.7275 | μmol/L | 38.974 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.174 | 218860.6042 | 305889.1872 | 59.9307 | 38.1
10598 | 2021-02-17 14:01 | 12.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.9686 | μmol/L | 38.974 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.318 | 220001.4969 | 305902.4751 | 59.9307 | 38.1
10608 | 2021-02-17 14:01 | 12.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.0218 | μmol/L | 38.9187 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.334 | 220139.3916 | 305896.4024 | 59.9307 | 38.1
10618 | 2021-02-17 14:01 | 12.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.3896 | μmol/L | 38.9802 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.235 | 219326.0882 | 305877.4551 | 59.9307 | 38.1
10628 | 2021-02-17 14:02 | 13.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.7641 | μmol/L | 38.9679 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.17 | 218795.9148 | 305881.3142 | 59.9307 | 38.1
10638 | 2021-02-17 14:02 | 13.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.8681 | μmol/L | 39.0293 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.311 | 219898.9463 | 305876.1155 | 59.9307 | 38.1
10648 | 2021-02-17 14:02 | 13.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.7983 | μmol/L | 39.0047 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.336 | 220117.3451 | 305879.6781 | 59.9307 | 38.1
10658 | 2021-02-17 14:03 | 14.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.6796 | μmol/L | 38.9556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.382 | 220465.6005 | 305875.9296 | 59.9307 | 38.1
10668 | 2021-02-17 14:03 | 14.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.3014 | μmol/L | 38.974 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.446 | 220915.2085 | 305867.8652 | 59.9307 | 38.1
10678 | 2021-02-17 14:03 | 14.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.6992 | μmol/L | 38.9986 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.551 | 221778.5365 | 305849.591 | 59.9307 | 38.1
10688 | 2021-02-17 14:04 | 15.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.5517 | μmol/L | 39.0907 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.536 | 221587.3558 | 305849.5637 | 59.9307 | 38.1
10698 | 2021-02-17 14:04 | 15.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.9142 | μmol/L | 39.0539 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.483 | 221072.3868 | 305843.8235 | 59.9307 | 38.1
10708 | 2021-02-17 14:04 | 15.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.4135 | μmol/L | 39.0907 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.563 | 221675.8555 | 305842.2411 | 59.9307 | 38.1
10718 | 2021-02-17 14:05 | 16.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.1558 | μmol/L | 39.1337 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.593 | 221967.1867 | 305836.0227 | 59.9307 | 38.1
10728 | 2021-02-17 14:05 | 16.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.4032 | μmol/L | 39.0907 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.565 | 221734.1821 | 305833.793 | 59.9307 | 38.1
10738 | 2021-02-17 14:05 | 16.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.4363 | μmol/L | 39.1276 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.541 | 221495.3921 | 305833.0649 | 59.9307 | 38.1
10748 | 2021-02-17 14:06 | 17.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.2797 | μmol/L | 39.1583 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.557 | 221588.4605 | 305824.9738 | 59.9307 | 38.1
10758 | 2021-02-17 14:06 | 17.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 62.9313 | μmol/L | 39.2075 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.602 | 221847.4162 | 305822.8262 | 59.9307 | 38.1
10768 | 2021-02-17 14:06 | 17.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 62.609 | μmol/L | 39.1522 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.692 | 222514.3338 | 305813.8083 | 59.9307 | 38.1
10778 | 2021-02-17 14:07 | 18.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 62.5197 | μmol/L | 39.0969 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.736 | 222799.3263 | 305813.1138 | 59.9307 | 38.1
10788 | 2021-02-17 14:07 | 18.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.604 | μmol/L | 39.2935 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.825 | 223467.0645 | 305822.0298 | 59.9307 | 38.1
10798 | 2021-02-17 14:07 | 18.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.4084 | μmol/L | 39.3611 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.832 | 223538.3579 | 305805.1065 | 59.9307 | 38.1
10808 | 2021-02-17 14:08 | 19.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.7226 | μmol/L | 39.275 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.81 | 223266.1386 | 305797.2701 | 59.9307 | 38.1
10818 | 2021-02-17 14:08 | 19.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.7413 | μmol/L | 39.2505 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.818 | 223249.1333 | 305791.6315 | 59.9307 | 38.1
10828 | 2021-02-17 14:08 | 19.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.334 | μmol/L | 39.2505 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.9 | 223809.8916 | 305789.3193 | 59.9307 | 38.1
10838 | 2021-02-17 14:09 | 20.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.1276 | μmol/L | 39.275 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.93 | 224040.4849 | 305781.2956 | 59.9307 | 38.1
10848 | 2021-02-17 14:09 | 20.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.147 | μmol/L | 39.2689 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.929 | 223954.8877 | 305768.5648 | 59.9307 | 38.1
10858 | 2021-02-17 14:09 | 20.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.1597 | μmol/L | 39.3303 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.897 | 223632.8911 | 305781.455 | 59.9307 | 38.1
10868 | 2021-02-17 14:10 | 21.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.6491 | μmol/L | 39.2013 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.86 | 223309.5503 | 305771.5647 | 59.9307 | 38.1
10878 | 2021-02-17 14:10 | 21.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.2976 | μmol/L | 39.3181 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.875 | 223362.744 | 305769.4493 | 59.9307 | 38.1
10888 | 2021-02-17 14:10 | 21.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.0227 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.913 | 223562.4722 | 305759.7726 | 59.9307 | 38.1
10898 | 2021-02-17 14:11 | 22.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.0867 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.9 | 223377.631 | 305770.7555 | 59.9307 | 38.1
10908 | 2021-02-17 14:11 | 22.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.9759 | μmol/L | 39.2996 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.949 | 223663.0014 | 305752.9576 | 59.9307 | 38.1
10918 | 2021-02-17 14:11 | 22.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.0687 | μmol/L | 39.3979 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.883 | 223070.751 | 305746.9323 | 59.9307 | 38.1
10928 | 2021-02-17 14:12 | 23.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.2203 | μmol/L | 39.3611 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.87 | 222884.1552 | 305733.9562 | 59.9307 | 38.1
10938 | 2021-02-17 14:12 | 23.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.141 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.889 | 222938.3843 | 305731.8234 | 59.9307 | 38.1
10948 | 2021-02-17 14:12 | 23.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.8072 | μmol/L | 39.3795 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.945 | 223272.0328 | 305731.9472 | 59.9307 | 38.1
10958 | 2021-02-17 14:13 | 24.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.5391 | μmol/L | 39.4164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.982 | 223494.5748 | 305734.6785 | 59.9307 | 38.1
10968 | 2021-02-17 14:13 | 24.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.5079 | μmol/L | 39.3672 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.012 | 223632.1582 | 305733.8304 | 59.9307 | 38.1
10978 | 2021-02-17 14:13 | 24.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.1978 | μmol/L | 39.4164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.052 | 223885.2882 | 305731.0704 | 59.9307 | 38.1
10988 | 2021-02-17 14:14 | 25.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.0646 | μmol/L | 39.3611 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.106 | 224240.3235 | 305727.7764 | 59.9307 | 38.1
10998 | 2021-02-17 14:14 | 25.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.2003 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.081 | 224048.9221 | 305705.673 | 59.9307 | 38.1
11008 | 2021-02-17 14:14 | 25.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.8568 | μmol/L | 39.3734 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.143 | 224488.643 | 305697.4047 | 59.9307 | 38.1
11018 | 2021-02-17 14:15 | 26.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.6099 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.203 | 225011.8362 | 305701.5583 | 59.9307 | 38.1
11028 | 2021-02-17 14:15 | 26.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.7774 | μmol/L | 39.3242 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.183 | 224842.7904 | 305696.8083 | 59.9307 | 38.1
11038 | 2021-02-17 14:15 | 26.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.5957 | μmol/L | 39.3611 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.203 | 224924.304 | 305702.1222 | 59.9307 | 38.1
11048 | 2021-02-17 14:16 | 27.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.0716 | μmol/L | 39.4532 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.268 | 225405.7032 | 305709.6123 | 59.9307 | 38.1
11058 | 2021-02-17 14:16 | 27.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.8556 | μmol/L | 39.4102 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.334 | 225865.8216 | 305696.4532 | 59.9307 | 38.1
11068 | 2021-02-17 14:16 | 27.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.5757 | μmol/L | 39.4164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.39 | 226202.234 | 305686.9852 | 59.9307 | 38.1
11078 | 2021-02-17 14:17 | 28.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.6739 | μmol/L | 39.3795 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.387 | 226152.7811 | 305698.6255 | 59.9307 | 38.1
11088 | 2021-02-17 14:17 | 28.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.1866 | μmol/L | 39.3672 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.496 | 226927.7685 | 305676.8887 | 59.9307 | 38.1
11098 | 2021-02-17 14:17 | 28.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.1398 | μmol/L | 39.3734 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.503 | 226939.098 | 305671.6079 | 59.9307 | 38.1
11108 | 2021-02-17 14:18 | 29.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.3809 | μmol/L | 39.3918 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.443 | 226427.2189 | 305660.0987 | 59.9307 | 38.1
11118 | 2021-02-17 14:18 | 29.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.2324 | μmol/L | 39.4041 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.258 | 224980.8665 | 305671.1744 | 59.9307 | 38.1
11128 | 2021-02-17 14:18 | 29.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.6451 | μmol/L | 39.3918 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.178 | 224356.0541 | 305662.1994 | 59.9307 | 38.1
11138 | 2021-02-17 14:19 | 30.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.8229 | μmol/L | 39.3734 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.15 | 224125.4351 | 305652.0709 | 59.9307 | 38.1
11148 | 2021-02-17 14:19 | 30.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.3606 | μmol/L | 39.3734 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.246 | 224881.7505 | 305654.6824 | 59.9307 | 38.1
11158 | 2021-02-17 14:19 | 30.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.8977 | μmol/L | 39.3918 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.334 | 225703.2807 | 305645.8165 | 59.9307 | 38.1
11168 | 2021-02-17 14:20 | 31.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.3735 | μmol/L | 39.3365 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.261 | 225259.4173 | 305650.5423 | 59.9307 | 38.1
11178 | 2021-02-17 14:20 | 31.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.3399 | μmol/L | 39.3365 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.268 | 225317.9915 | 305644.134 | 59.9307 | 38.1
11188 | 2021-02-17 14:20 | 31.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.1965 | μmol/L | 39.3426 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.295 | 225649.3942 | 305637.7565 | 59.9307 | 38.1
11198 | 2021-02-17 14:21 | 32.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.5292 | μmol/L | 39.275 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.258 | 225345.7777 | 305630.7096 | 59.9307 | 38.1
11208 | 2021-02-17 14:21 | 32.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.2665 | μmol/L | 39.3181 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.086 | 223973.6876 | 305649.5141 | 59.9307 | 38.1
11218 | 2021-02-17 14:21 | 32.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 62.0058 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.715 | 221085.0707 | 305631.758 | 59.9307 | 38.1
11228 | 2021-02-17 14:22 | 33.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.6144 | μmol/L | 39.3303 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.216 | 217185.3619 | 305631.3778 | 59.9307 | 38.1
11238 | 2021-02-17 14:22 | 33.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.0898 | μmol/L | 39.3181 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.131 | 216493.39 | 305615.4456 | 59.9307 | 38.1
11248 | 2021-02-17 14:22 | 33.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.2594 | μmol/L | 39.3488 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.084 | 216162.3707 | 305597.5122 | 59.9307 | 38.1
11258 | 2021-02-17 14:23 | 34.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.3512 | μmol/L | 39.3181 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.893 | 214755.0073 | 305606.9319 | 59.9307 | 38.1
11268 | 2021-02-17 14:23 | 34.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.3991 | μmol/L | 39.3119 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.887 | 214668.5897 | 305596.4522 | 59.9307 | 38.1
11278 | 2021-02-17 14:23 | 34.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.8227 | μmol/L | 39.2996 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.001 | 215617.8998 | 305613.5827 | 59.9307 | 38.1
11288 | 2021-02-17 14:24 | 35.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.3135 | μmol/L | 39.3119 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.903 | 214860.2802 | 305600.5701 | 59.9307 | 38.1
11298 | 2021-02-17 14:24 | 35.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.2635 | μmol/L | 39.275 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.93 | 215050.6232 | 305598.3427 | 59.9307 | 38.1
11308 | 2021-02-17 14:24 | 35.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.3538 | μmol/L | 39.2628 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.919 | 214948.3405 | 305587.5202 | 59.9307 | 38.1
11318 | 2021-02-17 14:25 | 36.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.3354 | μmol/L | 39.2198 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.943 | 215124.391 | 305589.1002 | 59.9307 | 38.1
11328 | 2021-02-17 14:25 | 36.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.0871 | μmol/L | 39.2689 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.966 | 215281.101 | 305587.2769 | 59.9307 | 38.1
11338 | 2021-02-17 14:25 | 36.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.8779 | μmol/L | 39.2382 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.02 | 215655.2259 | 305594.4462 | 59.9307 | 38.1
11348 | 2021-02-17 14:26 | 37.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.4261 | μmol/L | 39.2075 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.12 | 216427.8483 | 305592.7333 | 59.9307 | 38.1
11358 | 2021-02-17 14:26 | 37.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.9386 | μmol/L | 39.232 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.201 | 217078.8135 | 305587.5937 | 59.9307 | 38.1
11368 | 2021-02-17 14:26 | 37.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.7673 | μmol/L | 39.1706 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.264 | 217622.181 | 305568.1119 | 59.9307 | 38.1
11378 | 2021-02-17 14:27 | 38.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.2572 | μmol/L | 39.1645 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.984 | 215487.4464 | 305570.5514 | 59.9307 | 38.1
11388 | 2021-02-17 14:27 | 38.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.2887 | μmol/L | 39.1276 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.81 | 214187.7765 | 305577.8329 | 59.9307 | 38.1
11398 | 2021-02-17 14:27 | 38.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.8504 | μmol/L | 39.1337 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.704 | 213402.6462 | 305567.3603 | 59.9307 | 38.1
11408 | 2021-02-17 14:28 | 39.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.1676 | μmol/L | 39.1829 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.806 | 214201.0352 | 305543.2798 | 59.9307 | 38.1
11418 | 2021-02-17 14:28 | 39.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.0099 | μmol/L | 39.1706 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.841 | 214541.2473 | 305550.9412 | 59.9307 | 38.1
11428 | 2021-02-17 14:28 | 39.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.2657 | μmol/L | 39.1092 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.823 | 214409.11 | 305548.4598 | 59.9307 | 38.1
11438 | 2021-02-17 14:29 | 40.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.7896 | μmol/L | 39.103 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.914 | 215065.7641 | 305543.5468 | 59.9307 | 38.1
11448 | 2021-02-17 14:29 | 40.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.3874 | μmol/L | 39.0354 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.021 | 216001.0771 | 305550.5479 | 59.9307 | 38.1
11458 | 2021-02-17 14:29 | 40.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.5513 | μmol/L | 39.0846 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 29.968 | 215613.3324 | 305537.8322 | 59.9307 | 38.1
11468 | 2021-02-17 14:30 | 41.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.8833 | μmol/L | 38.9863 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.952 | 215490.5979 | 305546.7733 | 59.9307 | 38.1
11478 | 2021-02-17 14:30 | 41.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.3308 | μmol/L | 39.0662 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.017 | 215936.5504 | 305532.6389 | 59.9307 | 38.1
11488 | 2021-02-17 14:30 | 41.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.8432 | μmol/L | 38.9617 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.158 | 217052.1084 | 305534.4696 | 59.9307 | 38.1
11498 | 2021-02-17 14:31 | 42.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.0904 | μmol/L | 39.06 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.254 | 217783.6945 | 305524.1581 | 59.9307 | 38.1
11508 | 2021-02-17 14:31 | 42.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.7089 | μmol/L | 38.931 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.388 | 218829.226 | 305520.877 | 59.9307 | 38.1
11518 | 2021-02-17 14:31 | 42.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.2825 | μmol/L | 38.9986 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.438 | 219265.1968 | 305525.0923 | 59.9307 | 38.1
11528 | 2021-02-17 14:32 | 43.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.021 | μmol/L | 38.974 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.308 | 218239.1967 | 305517.2535 | 59.9307 | 38.1
11538 | 2021-02-17 14:32 | 43.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.8186 | μmol/L | 38.9863 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.151 | 216978.54 | 305505.0161 | 59.9307 | 38.1
11548 | 2021-02-17 14:32 | 43.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.7501 | μmol/L | 38.9924 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.161 | 217039.129 | 305506.0183 | 59.9307 | 38.1
11558 | 2021-02-17 14:33 | 44.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.5009 | μmol/L | 38.9863 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.211 | 217377.9235 | 305495.2539 | 59.9307 | 38.1
11568 | 2021-02-17 14:33 | 44.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.7164 | μmol/L | 38.9679 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.179 | 217069.1888 | 305486.1735 | 59.9307 | 38.1
11578 | 2021-02-17 14:33 | 44.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.8879 | μmol/L | 38.9249 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.167 | 216929.6369 | 305488.5511 | 59.9307 | 38.1
11588 | 2021-02-17 14:34 | 45.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.4721 | μmol/L | 38.9556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.231 | 217460.0852 | 305489.4726 | 59.9307 | 38.1
11598 | 2021-02-17 14:34 | 45.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.1993 | μmol/L | 38.9126 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.304 | 218065.3278 | 305482.2358 | 59.9307 | 38.1
11608 | 2021-02-17 14:34 | 45.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.2684 | μmol/L | 38.9802 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.258 | 217757.3338 | 305482.0574 | 59.9307 | 38.1
11618 | 2021-02-17 14:35 | 46.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.2697 | μmol/L | 38.931 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.281 | 217922.1728 | 305474.4108 | 59.9307 | 38.1
11628 | 2021-02-17 14:35 | 46.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.8479 | μmol/L | 38.9064 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.373 | 218578.5354 | 305482.8619 | 59.9307 | 38.1
11638 | 2021-02-17 14:35 | 46.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.8275 | μmol/L | 38.9126 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.374 | 218600.4784 | 305477.8727 | 59.9307 | 38.1
11648 | 2021-02-17 14:36 | 47.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.6083 | μmol/L | 38.9126 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.416 | 218858.9626 | 305471.5934 | 59.9307 | 38.1
11658 | 2021-02-17 14:36 | 47.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.1441 | μmol/L | 38.888 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.517 | 219614.3329 | 305455.6233 | 59.9307 | 38.1
11668 | 2021-02-17 14:36 | 47.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.5267 | μmol/L | 38.8941 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.634 | 220524.5559 | 305456.5821 | 59.9307 | 38.1
11678 | 2021-02-17 14:37 | 48.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 62.7412 | μmol/L | 38.8819 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.794 | 221718.9652 | 305446.7233 | 59.9307 | 38.1
11688 | 2021-02-17 14:37 | 48.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 62.2575 | μmol/L | 38.888 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.887 | 222424.5225 | 305447.5865 | 59.9307 | 38.1
11698 | 2021-02-17 14:37 | 48.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.7873 | μmol/L | 38.8941 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.978 | 223105.2261 | 305450.7345 | 59.9307 | 38.1
11708 | 2021-02-17 14:38 | 49.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.6602 | μmol/L | 38.8634 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.018 | 223394.5924 | 305433.566 | 59.9307 | 38.1
11718 | 2021-02-17 14:38 | 49.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.521 | μmol/L | 38.9249 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.017 | 223309.3825 | 305439.0362 | 59.9307 | 38.1
11728 | 2021-02-17 14:38 | 49.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.8173 | μmol/L | 38.8941 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.972 | 222901.1155 | 305422.3477 | 59.9307 | 38.1
11738 | 2021-02-17 14:39 | 50.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 61.6324 | μmol/L | 38.888 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.012 | 223166.8439 | 305437.7955 | 59.9307 | 38.1
11748 | 2021-02-17 14:39 | 50.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.8996 | μmol/L | 38.8819 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.163 | 224258.7272 | 305421.9594 | 59.9307 | 38.1
11758 | 2021-02-17 14:39 | 50.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.1693 | μmol/L | 38.8634 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.321 | 225519.7004 | 305417.9867 | 59.9307 | 38.1
11768 | 2021-02-17 14:40 | 51.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.8242 | μmol/L | 38.9126 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.369 | 225880.7214 | 305418.7622 | 59.9307 | 38.1
11778 | 2021-02-17 14:40 | 51.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.9001 | μmol/L | 38.9556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.333 | 225539.7287 | 305420.2964 | 59.9307 | 38.1
11788 | 2021-02-17 14:40 | 51.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.0785 | μmol/L | 38.8819 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.331 | 225422.3553 | 305401.8071 | 59.9307 | 38.1
11798 | 2021-02-17 14:41 | 52.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.1047 | μmol/L | 38.9679 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.285 | 225077.1414 | 305404.3755 | 59.9307 | 38.1
11808 | 2021-02-17 14:41 | 52.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.0298 | μmol/L | 39.0047 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.283 | 224986.8433 | 305385.9924 | 59.9307 | 38.1
11818 | 2021-02-17 14:41 | 52.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.5683 | μmol/L | 38.974 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.393 | 225781.3876 | 305390.7975 | 59.9307 | 38.1
11828 | 2021-02-17 14:42 | 53.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.0909 | μmol/L | 39.0047 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.478 | 226430.3898 | 305384.0813 | 59.9307 | 38.1
11838 | 2021-02-17 14:42 | 53.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.1685 | μmol/L | 38.9556 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.485 | 226449.6362 | 305395.3234 | 59.9307 | 38.1
11848 | 2021-02-17 14:42 | 53.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.2964 | μmol/L | 38.9371 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.467 | 226253.262 | 305378.5064 | 59.9307 | 38.1
11858 | 2021-02-17 14:43 | 54.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 59.0417 | μmol/L | 38.9863 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.497 | 226448.8652 | 305370.0351 | 59.9307 | 38.1
11868 | 2021-02-17 14:43 | 54.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.791 | μmol/L | 39.017 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.536 | 226691.8037 | 305371.8823 | 59.9307 | 38.1
11878 | 2021-02-17 14:43 | 54.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.3996 | μmol/L | 39.0416 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.606 | 227183.7618 | 305373.7599 | 59.9307 | 38.1
11888 | 2021-02-17 14:44 | 55.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 57.9083 | μmol/L | 39.0907 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.688 | 227739.028 | 305345.3291 | 59.9307 | 38.1
11898 | 2021-02-17 14:44 | 55.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 57.2948 | μmol/L | 39.0477 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.839 | 228838.7824 | 305350.0435 | 59.9307 | 38.1
11908 | 2021-02-17 14:44 | 55.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.2928 | μmol/L | 39.146 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.011 | 230132.2238 | 305349.7252 | 59.9307 | 38.1
11918 | 2021-02-17 14:45 | 56.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.7278 | μmol/L | 39.1153 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.149 | 231187.3098 | 305357.2816 | 59.9307 | 38.1
11928 | 2021-02-17 14:45 | 56.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.3799 | μmol/L | 39.0477 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.259 | 232097.9437 | 305347.234 | 59.9307 | 38.1
11938 | 2021-02-17 14:45 | 56.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.1451 | μmol/L | 39.0907 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.291 | 232402.8885 | 305355.744 | 59.9307 | 38.1
11948 | 2021-02-17 14:46 | 57.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.3519 | μmol/L | 39.0969 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.242 | 232145.5468 | 305342.9413 | 59.9307 | 38.1
11958 | 2021-02-17 14:46 | 57.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.7372 | μmol/L | 39.06 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.174 | 231578.2117 | 305343.055 | 59.9307 | 38.1
11968 | 2021-02-17 14:46 | 57.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.9733 | μmol/L | 39.0662 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.119 | 231148.0775 | 305334.8895 | 59.9307 | 38.1
11978 | 2021-02-17 14:47 | 58.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.8142 | μmol/L | 39.2013 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.09 | 230895.3473 | 305327.0348 | 59.9307 | 38.1
11988 | 2021-02-17 14:47 | 58.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.9798 | μmol/L | 39.1645 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.071 | 230686.7947 | 305332.3374 | 59.9307 | 38.1
11998 | 2021-02-17 14:47 | 58.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.7581 | μmol/L | 39.2505 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.079 | 230661.477 | 305327.8843 | 59.9307 | 38.1
12008 | 2021-02-17 14:48 | 59.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.7289 | μmol/L | 39.2075 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.105 | 230744.5904 | 305323.7233 | 59.9307 | 38.1
12018 | 2021-02-17 14:48 | 59.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.7362 | μmol/L | 39.2628 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.078 | 230455.4559 | 305329.6005 | 59.9307 | 38.1
12028 | 2021-02-17 14:48 | 59.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.6389 | μmol/L | 39.2136 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.122 | 230670.4962 | 305317.4429 | 59.9307 | 38.1
12038 | 2021-02-17 14:49 | 60.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.2015 | μmol/L | 39.1952 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.228 | 231361.8649 | 305323.344 | 59.9307 | 38.1
12048 | 2021-02-17 14:49 | 60.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.5849 | μmol/L | 39.2505 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.34 | 232173.4521 | 305313.6428 | 59.9307 | 38.1
12058 | 2021-02-17 14:49 | 60.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.34 | μmol/L | 39.2259 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.407 | 232633.7913 | 305321.2135 | 59.9307 | 38.1
12068 | 2021-02-17 14:50 | 61.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.1544 | μmol/L | 39.2198 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.452 | 232931.7481 | 305292.5733 | 59.9307 | 38.1
12078 | 2021-02-17 14:50 | 61.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.9269 | μmol/L | 39.2382 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.495 | 233195.5636 | 305305.5668 | 59.9307 | 38.1
12088 | 2021-02-17 14:50 | 61.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.4727 | μmol/L | 39.2259 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.377 | 232270.3163 | 305308.0201 | 59.9307 | 38.1
12098 | 2021-02-17 14:51 | 62.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.5623 | μmol/L | 39.2443 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.348 | 231913.5685 | 305309.3823 | 59.9307 | 38.1
12108 | 2021-02-17 14:51 | 62.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.3764 | μmol/L | 39.2443 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.39 | 232191.3627 | 305287.7591 | 59.9307 | 38.1
12118 | 2021-02-17 14:51 | 62.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.6415 | μmol/L | 39.2996 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.531 | 233239.3333 | 305288.2712 | 59.9307 | 38.1
12128 | 2021-02-17 14:52 | 63.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.176 | μmol/L | 39.2935 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.641 | 234068.4375 | 305277.2138 | 59.9307 | 38.1
12138 | 2021-02-17 14:52 | 63.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 52.7349 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.714 | 234599.398 | 305289.3906 | 59.9307 | 38.1
12148 | 2021-02-17 14:52 | 63.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 52.2416 | μmol/L | 39.4164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.8 | 235284.8556 | 305285.8917 | 59.9307 | 38.1
12158 | 2021-02-17 14:53 | 64.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 52.6021 | μmol/L | 39.3611 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.742 | 234814.6245 | 305294.6083 | 59.9307 | 38.1
12168 | 2021-02-17 14:53 | 64.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.0941 | μmol/L | 39.2996 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.657 | 234122.5944 | 305267.0493 | 59.9307 | 38.1
12178 | 2021-02-17 14:53 | 64.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 52.9853 | μmol/L | 39.3672 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.65 | 234038.6105 | 305278.8096 | 59.9307 | 38.1
12188 | 2021-02-17 14:54 | 65.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.2172 | μmol/L | 39.3365 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.611 | 233754.7561 | 305272.1477 | 59.9307 | 38.1
12198 | 2021-02-17 14:54 | 65.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.0247 | μmol/L | 39.3795 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.635 | 233927.9701 | 305272.9878 | 59.9307 | 38.1
12208 | 2021-02-17 14:54 | 65.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 52.8166 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.695 | 234448.4096 | 305268.7993 | 59.9307 | 38.1
12218 | 2021-02-17 14:55 | 66.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.083 | μmol/L | 39.2566 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.68 | 234361.5993 | 305269.7005 | 59.9307 | 38.1
12228 | 2021-02-17 14:55 | 66.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 53.2079 | μmol/L | 39.3242 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.619 | 233892.7894 | 305263.0561 | 59.9307 | 38.1
12238 | 2021-02-17 14:55 | 66.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.1372 | μmol/L | 39.3979 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.371 | 232003.4896 | 305253.1439 | 59.9307 | 38.1
12248 | 2021-02-17 14:56 | 67.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 54.8499 | μmol/L | 39.3979 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.21 | 230715.2763 | 305246.535 | 59.9307 | 38.1
12258 | 2021-02-17 14:56 | 67.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.0183 | μmol/L | 39.3734 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.962 | 228889.8486 | 305243.4073 | 59.9307 | 38.1
12268 | 2021-02-17 14:56 | 67.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 57.5233 | μmol/L | 39.4041 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.62 | 226276.3629 | 305241.3684 | 59.9307 | 38.1
12278 | 2021-02-17 14:57 | 68.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.0359 | μmol/L | 39.3611 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.531 | 225617.4213 | 305249.3134 | 59.9307 | 38.1
12288 | 2021-02-17 14:57 | 68.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 57.56 | μmol/L | 39.3979 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.616 | 226278.691 | 305233.045 | 59.9307 | 38.1
12298 | 2021-02-17 14:57 | 68.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 57.3035 | μmol/L | 39.3795 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.68 | 226783.6388 | 305228.1631 | 59.9307 | 38.1
12308 | 2021-02-17 14:58 | 69.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 57.0215 | μmol/L | 39.3795 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.74 | 227268.4824 | 305237.4578 | 59.9307 | 38.1
12318 | 2021-02-17 14:58 | 69.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.8632 | μmol/L | 39.2505 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.836 | 228006.4568 | 305240.4449 | 59.9307 | 38.1
12328 | 2021-02-17 14:58 | 69.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.2914 | μmol/L | 39.275 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.949 | 228816.6298 | 305233.8136 | 59.9307 | 38.1
12338 | 2021-02-17 14:59 | 70.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.9389 | μmol/L | 39.2873 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.802 | 227681.393 | 305229.4055 | 59.9307 | 38.1
12348 | 2021-02-17 14:59 | 70.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.917 | μmol/L | 39.3119 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.795 | 227619.2793 | 305217.512 | 59.9307 | 38.1
12358 | 2021-02-17 14:59 | 70.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.7119 | μmol/L | 39.3549 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.819 | 227817.6539 | 305221.007 | 59.9307 | 38.1
12368 | 2021-02-17 15:00 | 71.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.5128 | μmol/L | 39.4225 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.83 | 227934.9108 | 305215.372 | 59.9307 | 38.1
12378 | 2021-02-17 15:00 | 71.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.2744 | μmol/L | 39.4041 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.891 | 228420.0868 | 305210.942 | 59.9307 | 38.1
12388 | 2021-02-17 15:00 | 71.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.5179 | μmol/L | 39.4225 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 32.05 | 229762.6295 | 305204.2782 | 59.9307 | 38.1
12398 | 2021-02-17 15:01 | 72.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.7065 | μmol/L | 39.3918 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 32.022 | 229670.6949 | 305205.8897 | 59.9307 | 38.1
12408 | 2021-02-17 15:01 | 72.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.9139 | μmol/L | 39.3734 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.985 | 229486.4551 | 305198.9348 | 59.9307 | 38.1
12418 | 2021-02-17 15:01 | 72.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 55.8105 | μmol/L | 39.3918 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.999 | 229626.2626 | 305199.9611 | 59.9307 | 38.1
12428 | 2021-02-17 15:02 | 73.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.1412 | μmol/L | 39.2873 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.977 | 229555.7131 | 305189.526 | 59.9307 | 38.1
12438 | 2021-02-17 15:02 | 73.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.3338 | μmol/L | 39.4041 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.878 | 228864.4021 | 305173.6986 | 59.9307 | 38.1
12448 | 2021-02-17 15:02 | 73.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 56.9758 | μmol/L | 39.3979 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.742 | 227795.5673 | 305181.7307 | 59.9307 | 38.1
12458 | 2021-02-17 15:03 | 74.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 57.5498 | μmol/L | 39.3672 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 31.632 | 226900.9055 | 305193.1907 | 59.9307 | 38.1
12468 | 2021-02-17 15:03 | 74.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 58.5284 | μmol/L | 39.3119 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 31.451 | 225414.3974 | 305184.1414 | 59.9307 | 38.1
12478 | 2021-02-17 15:03 | 74.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 60.7514 | μmol/L | 39.3426 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.975 | 221690.1802 | 305167.7264 | 59.9307 | 38.1
12488 | 2021-02-17 15:04 | 75.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 62.5583 | μmol/L | 39.3549 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.606 | 218887.7327 | 305191.3768 | 59.9307 | 38.1
12498 | 2021-02-17 15:04 | 75.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.0505 | μmol/L | 39.3795 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.302 | 216582.0263 | 305179.24 | 59.9307 | 38.1
12508 | 2021-02-17 15:04 | 75.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.053 | μmol/L | 39.3181 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.331 | 216779.0515 | 305181.1676 | 59.9307 | 38.1
12518 | 2021-02-17 15:05 | 76.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.1738 | μmol/L | 39.2505 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.34 | 216909.3111 | 305177.3386 | 59.9307 | 38.1
12528 | 2021-02-17 15:05 | 76.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.9313 | μmol/L | 39.2566 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.384 | 217278.7803 | 305162.3064 | 59.9307 | 38.1
12538 | 2021-02-17 15:05 | 76.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.0865 | μmol/L | 39.2628 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.351 | 216999.6398 | 305164.312 | 59.9307 | 38.1
12548 | 2021-02-17 15:06 | 77.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 63.9842 | μmol/L | 39.275 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.364 | 217055.2812 | 305160.8735 | 59.9307 | 38.1
12558 | 2021-02-17 15:06 | 77.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.1301 | μmol/L | 39.2075 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.369 | 217079.4842 | 305173.876 | 59.9307 | 38.1
12568 | 2021-02-17 15:06 | 77.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 64.7409 | μmol/L | 39.2505 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 30.23 | 216040.5996 | 305159.9523 | 59.9307 | 38.1
12578 | 2021-02-17 15:07 | 78.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 65.1831 | μmol/L | 39.2996 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 30.123 | 215146.7072 | 305154.1093 | 59.9307 | 38.1
12588 | 2021-02-17 15:07 | 78.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.185 | μmol/L | 39.2075 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.977 | 214031.2024 | 305145.3258 | 59.9307 | 38.1
12598 | 2021-02-17 15:07 | 78.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.2457 | μmol/L | 39.2198 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.774 | 212444.3593 | 305151.7011 | 59.9307 | 38.1
12608 | 2021-02-17 15:08 | 79.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.2583 | μmol/L | 39.2505 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.757 | 212400.3185 | 305148.6525 | 59.9307 | 38.1
12618 | 2021-02-17 15:08 | 79.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 67.6712 | μmol/L | 39.2382 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.687 | 211894.1195 | 305142.9165 | 59.9307 | 38.1
12628 | 2021-02-17 15:08 | 79.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 66.8968 | μmol/L | 39.2689 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 29.815 | 212904.6845 | 305145.8741 | 59.9307 | 38.1