## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 11:46

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8264 | 2021-02-17 05:56 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 89.0147 | μmol/L | 45.2186 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 23.706 | 165975.2025 | 218511.2686 | 27.3 | 43.4
8267 | 2021-02-17 09:43 | 226.9727 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.524 | μmol/L | 9.1194 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.765 | 148296.0777 | 227835.7409 | 27.3 | 43.4
8277 | 2021-02-17 09:45 | 228.7437 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4427 | μmol/L | 9.089 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.781 | 148359.175 | 227871.6853 | 27.3 | 43.4
8283 | 2021-02-17 09:47 | 230.1251 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.4338 | μmol/L | 9.0707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.789 | 148519.5904 | 227920.0371 | 27.3 | 43.4
8291 | 2021-02-17 09:48 | 231.6974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.3985 | μmol/L | 9.1133 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.813 | 147538.713 | 227926.0796 | 27.3 | 43.4
8298 | 2021-02-17 09:49 | 232.6275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 298.1126 | μmol/L | 9.1377 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.855 | 148732.9843 | 227930.5658 | 27.3 | 43.4
8301 | 2021-02-17 09:50 | 233.9191 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 353.6928 | μmol/L | 6.1965 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.047 | 140727.651 | 227955.6941 | 27.3 | 43.4
8308 | 2021-02-17 09:51 | 234.8088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.6154 | μmol/L | 33.7539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.74 | 128743.7046 | 227946.8761 | 27.3 | 43.4
8317 | 2021-02-17 10:39 | 282.7533 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9336 | μmol/L | 32.3488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.223 | 124611.9306 | 224985.8349 | 27.3 | 43.4
8325 | 2021-02-17 10:40 | 283.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9366 | μmol/L | 32.3427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.225 | 124578.7522 | 224961.9621 | 27.3 | 43.4
8335 | 2021-02-17 10:40 | 283.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.0378 | μmol/L | 32.355 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.215 | 124481.3145 | 224927.5775 | 27.3 | 43.4
8345 | 2021-02-17 10:40 | 283.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.0553 | μmol/L | 32.3918 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.201 | 124386.9296 | 224901.9064 | 27.3 | 43.4
8355 | 2021-02-17 10:41 | 284.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.0256 | μmol/L | 32.3795 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.207 | 124344.3703 | 224869.5426 | 27.3 | 43.4
8365 | 2021-02-17 10:41 | 284.4264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.112 | μmol/L | 32.3856 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.2 | 124265.5748 | 224832.2531 | 27.3 | 43.4
8375 | 2021-02-17 10:41 | 284.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9777 | μmol/L | 32.4041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.201 | 124240.8279 | 224809.1033 | 27.3 | 43.4
8385 | 2021-02-17 10:42 | 285.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9093 | μmol/L | 32.3979 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.207 | 124247.2119 | 224768.4432 | 27.3 | 43.4
8395 | 2021-02-17 10:42 | 285.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.1002 | μmol/L | 32.3734 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.205 | 124202.6219 | 224751.7178 | 27.3 | 43.4
8405 | 2021-02-17 10:42 | 285.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.2524 | μmol/L | 32.355 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.203 | 124143.6278 | 224711.0567 | 27.3 | 43.4
8415 | 2021-02-17 10:43 | 286.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.8526 | μmol/L | 32.4041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.208 | 124127.5427 | 224671.8334 | 27.3 | 43.4
8425 | 2021-02-17 10:43 | 286.4264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.492 | μmol/L | 32.447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.213 | 124135.813 | 224656.5824 | 27.3 | 43.4
8435 | 2021-02-17 10:43 | 286.7592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.2929 | μmol/L | 32.4531 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.222 | 124161.056 | 224621.1871 | 27.3 | 43.4
8445 | 2021-02-17 10:44 | 287.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.481 | μmol/L | 32.3979 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.231 | 124209.2268 | 224582.6809 | 27.3 | 43.4
8455 | 2021-02-17 10:44 | 287.426 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.371 | μmol/L | 32.4041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.235 | 124192.9068 | 224569.7243 | 27.3 | 43.4
8465 | 2021-02-17 10:44 | 287.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.0407 | μmol/L | 32.4593 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.234 | 124142.9406 | 224527.9264 | 27.3 | 43.4
8475 | 2021-02-17 10:45 | 288.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.9989 | μmol/L | 32.4715 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.232 | 124115.1507 | 224503.7374 | 27.3 | 43.4
8485 | 2021-02-17 10:45 | 288.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.7973 | μmol/L | 32.4838 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.239 | 124156.9332 | 224476.1094 | 27.3 | 43.4
8495 | 2021-02-17 10:45 | 288.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1482 | μmol/L | 32.4225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.241 | 124135.3927 | 224435.0125 | 27.3 | 43.4
8505 | 2021-02-17 10:46 | 289.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.8661 | μmol/L | 32.4531 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.246 | 124119.986 | 224416.046 | 27.3 | 43.4
8515 | 2021-02-17 10:46 | 289.4256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.8461 | μmol/L | 32.4225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.258 | 124188.8323 | 224392.0146 | 27.3 | 43.4
8525 | 2021-02-17 10:46 | 289.7593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.6354 | μmol/L | 32.4531 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.259 | 124154.9076 | 224364.1552 | 27.3 | 43.4
8535 | 2021-02-17 10:47 | 290.0931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.3768 | μmol/L | 32.5083 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.254 | 124077.9697 | 224327.232 | 27.3 | 43.4
8545 | 2021-02-17 10:47 | 290.426 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.0909 | μmol/L | 32.582 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.244 | 124005.4941 | 224311.1889 | 27.3 | 43.4
8555 | 2021-02-17 10:47 | 290.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.4123 | μmol/L | 32.5083 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.252 | 123989.0799 | 224278.7839 | 27.3 | 43.4
8565 | 2021-02-17 10:48 | 291.0927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.4831 | μmol/L | 32.5083 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.248 | 123970.6807 | 224249.166 | 27.3 | 43.4
8575 | 2021-02-17 10:48 | 291.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.5269 | μmol/L | 32.5267 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.239 | 123892.3217 | 224220.646 | 27.3 | 43.4
8585 | 2021-02-17 10:48 | 291.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.4256 | μmol/L | 32.5513 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.236 | 123837.2161 | 224200.9009 | 27.3 | 43.4
8595 | 2021-02-17 10:49 | 292.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.2952 | μmol/L | 32.5635 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.239 | 123828.3843 | 224177.821 | 27.3 | 43.4
8605 | 2021-02-17 10:49 | 292.426 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.0347 | μmol/L | 32.5881 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.245 | 123832.531 | 224150.4714 | 27.3 | 43.4
8615 | 2021-02-17 10:49 | 292.7589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.7664 | μmol/L | 32.5942 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.258 | 123888.6866 | 224122.5586 | 27.3 | 43.4
8625 | 2021-02-17 10:50 | 293.0927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.3799 | μmol/L | 32.6249 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.269 | 123932.6546 | 224091.7576 | 27.3 | 43.4
8635 | 2021-02-17 10:50 | 293.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2534 | μmol/L | 32.631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.274 | 123969.642 | 224058.7428 | 27.3 | 43.4
8645 | 2021-02-17 10:50 | 293.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.1719 | μmol/L | 32.6188 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.283 | 123960.3156 | 224038.0296 | 27.3 | 43.4
8655 | 2021-02-17 10:51 | 294.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.1491 | μmol/L | 32.6617 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.269 | 123896.9144 | 224022.7008 | 27.3 | 43.4
8665 | 2021-02-17 10:51 | 294.426 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8877 | μmol/L | 32.7231 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.262 | 123800.6358 | 223981.5686 | 27.3 | 43.4
8675 | 2021-02-17 10:51 | 294.7589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.6528 | μmol/L | 32.7353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.271 | 123817.6462 | 223969.6317 | 27.3 | 43.4
8685 | 2021-02-17 10:52 | 295.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8525 | μmol/L | 32.7231 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.264 | 123766.8562 | 223945.2151 | 27.3 | 43.4
8695 | 2021-02-17 10:52 | 295.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8492 | μmol/L | 32.7292 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.262 | 123745.0469 | 223921.5621 | 27.3 | 43.4
8705 | 2021-02-17 10:52 | 295.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4181 | μmol/L | 32.7476 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.28 | 123832.8863 | 223897.6682 | 27.3 | 43.4
8715 | 2021-02-17 10:53 | 296.0924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1246 | μmol/L | 32.7721 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.288 | 123854.6684 | 223868.1061 | 27.3 | 43.4
8725 | 2021-02-17 10:53 | 296.4261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9921 | μmol/L | 32.7905 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.289 | 123861.5609 | 223849.419 | 27.3 | 43.4
8735 | 2021-02-17 10:53 | 296.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8597 | μmol/L | 32.8089 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.29 | 123842.2528 | 223830.896 | 27.3 | 43.4
8745 | 2021-02-17 10:54 | 297.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.6332 | μmol/L | 32.8396 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.292 | 123830.9029 | 223807.0205 | 27.3 | 43.4
8755 | 2021-02-17 10:54 | 297.4261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.4385 | μmol/L | 32.9071 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.279 | 123744.0844 | 223782.9448 | 27.3 | 43.4
8765 | 2021-02-17 10:54 | 297.759 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.2851 | μmol/L | 32.901 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.29 | 123773.2811 | 223751.6628 | 27.3 | 43.4
8775 | 2021-02-17 10:55 | 298.0927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.9859 | μmol/L | 32.9378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.294 | 123809.4407 | 223724.6546 | 27.3 | 43.4
8785 | 2021-02-17 10:55 | 298.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.6107 | μmol/L | 32.9562 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.309 | 123855.337 | 223701.7963 | 27.3 | 43.4
8795 | 2021-02-17 10:55 | 298.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.1565 | μmol/L | 32.993 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.322 | 123937.1505 | 223670.1227 | 27.3 | 43.4
8805 | 2021-02-17 10:56 | 299.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.0873 | μmol/L | 32.993 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.326 | 123913.9913 | 223659.3173 | 27.3 | 43.4
8815 | 2021-02-17 10:56 | 299.426 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.7687 | μmol/L | 33.0359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.329 | 123896.501 | 223630.4045 | 27.3 | 43.4
8825 | 2021-02-17 10:56 | 299.7593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.8896 | μmol/L | 33.0359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.322 | 123869.538 | 223613.9116 | 27.3 | 43.4
8835 | 2021-02-17 10:57 | 300.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.6436 | μmol/L | 33.0728 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.323 | 123862.7585 | 223586.4056 | 27.3 | 43.4
8845 | 2021-02-17 10:57 | 300.4261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.3017 | μmol/L | 33.0973 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.334 | 123894.0657 | 223562.3294 | 27.3 | 43.4
8855 | 2021-02-17 10:57 | 300.7593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.3197 | μmol/L | 33.0666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.344 | 123933.3293 | 223540.7065 | 27.3 | 43.4
8865 | 2021-02-17 10:58 | 301.0931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.1992 | μmol/L | 33.0666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.351 | 123966.3195 | 223517.4289 | 27.3 | 43.4
8875 | 2021-02-17 10:58 | 301.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.9613 | μmol/L | 33.0912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.356 | 123987.3611 | 223500.7941 | 27.3 | 43.4
8885 | 2021-02-17 10:58 | 301.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.5546 | μmol/L | 33.1402 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.362 | 124015.1222 | 223472.7035 | 27.3 | 43.4
8895 | 2021-02-17 10:59 | 302.0925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.1448 | μmol/L | 33.1955 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.366 | 124025.6628 | 223448.4643 | 27.3 | 43.4
8905 | 2021-02-17 10:59 | 302.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.0386 | μmol/L | 33.2016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.37 | 124037.9934 | 223438.7649 | 27.3 | 43.4
8915 | 2021-02-17 10:59 | 302.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.6502 | μmol/L | 33.2507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.375 | 124077.8438 | 223410.1682 | 27.3 | 43.4
8925 | 2021-02-17 11:00 | 303.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.1263 | μmol/L | 33.2998 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.388 | 124131.7799 | 223385.3698 | 27.3 | 43.4
8935 | 2021-02-17 11:00 | 303.4261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.3643 | μmol/L | 33.2446 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.394 | 124153.0383 | 223367.4442 | 27.3 | 43.4
8945 | 2021-02-17 11:00 | 303.759 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.0318 | μmol/L | 33.2875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.398 | 124155.725 | 223347.7068 | 27.3 | 43.4
8955 | 2021-02-17 11:01 | 304.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.8299 | μmol/L | 33.3121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.401 | 124172.6645 | 223325.4792 | 27.3 | 43.4
8965 | 2021-02-17 11:01 | 304.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.7678 | μmol/L | 33.2752 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.418 | 124244.0009 | 223301.3497 | 27.3 | 43.4
8975 | 2021-02-17 11:01 | 304.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.0751 | μmol/L | 33.355 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.43 | 124307.8422 | 223282.7629 | 27.3 | 43.4
8985 | 2021-02-17 11:02 | 305.0925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.7417 | μmol/L | 33.4286 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.423 | 124272.6404 | 223258.3194 | 27.3 | 43.4
8995 | 2021-02-17 11:02 | 305.4261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.778 | μmol/L | 33.398 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.432 | 124305.8971 | 223242.7038 | 27.3 | 43.4
9005 | 2021-02-17 11:02 | 305.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.927 | μmol/L | 33.3489 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.441 | 124347.7234 | 223229.4631 | 27.3 | 43.4
9015 | 2021-02-17 11:03 | 306.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.4748 | μmol/L | 33.398 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.45 | 124381.3159 | 223201.9718 | 27.3 | 43.4
9025 | 2021-02-17 11:03 | 306.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.5408 | μmol/L | 33.3734 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.455 | 124392.2402 | 223193.0527 | 27.3 | 43.4
9035 | 2021-02-17 11:03 | 306.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.2265 | μmol/L | 33.3918 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.467 | 124454.3008 | 223158.8402 | 27.3 | 43.4
9045 | 2021-02-17 11:04 | 307.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.0469 | μmol/L | 33.4102 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.471 | 124461.4328 | 223137.5611 | 27.3 | 43.4
9055 | 2021-02-17 11:04 | 307.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.9876 | μmol/L | 33.398 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.479 | 124482.2957 | 223109.9286 | 27.3 | 43.4
9065 | 2021-02-17 11:04 | 307.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.317 | μmol/L | 33.4777 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.49 | 124538.4247 | 223098.5877 | 27.3 | 43.4
9075 | 2021-02-17 11:05 | 308.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.2247 | μmol/L | 33.4655 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.5 | 124593.303 | 223080.4347 | 27.3 | 43.4
9085 | 2021-02-17 11:05 | 308.4263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.5138 | μmol/L | 33.3795 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.514 | 124664.2185 | 223069.3508 | 27.3 | 43.4
9095 | 2021-02-17 11:05 | 308.7594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.0031 | μmol/L | 33.447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.52 | 124711.4307 | 223036.7774 | 27.3 | 43.4
9105 | 2021-02-17 11:06 | 309.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.7088 | μmol/L | 33.49 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.522 | 124704.3638 | 223022.4086 | 27.3 | 43.4
9115 | 2021-02-17 11:06 | 309.4261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.7461 | μmol/L | 33.4839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.522 | 124693.6425 | 223004.1559 | 27.3 | 43.4
9125 | 2021-02-17 11:06 | 309.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.3769 | μmol/L | 33.5145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.533 | 124722.6952 | 222988.0308 | 27.3 | 43.4
9135 | 2021-02-17 11:07 | 310.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.4262 | μmol/L | 33.49 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.539 | 124734.5611 | 222980.5793 | 27.3 | 43.4
9145 | 2021-02-17 11:07 | 310.4262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.5292 | μmol/L | 33.4593 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.544 | 124763.1031 | 222957.4089 | 27.3 | 43.4
9155 | 2021-02-17 11:07 | 310.7593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.2573 | μmol/L | 33.3366 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.545 | 124760.9964 | 222940.0329 | 27.3 | 43.4
9165 | 2021-02-17 11:08 | 311.0925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.5491 | μmol/L | 33.4286 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.554 | 124785.737 | 222922.9765 | 27.3 | 43.4
9175 | 2021-02-17 11:08 | 311.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.0739 | μmol/L | 33.4961 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.558 | 124798.3121 | 222903.4297 | 27.3 | 43.4
9185 | 2021-02-17 11:08 | 311.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.123 | μmol/L | 33.4716 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.564 | 124848.2933 | 222882.9345 | 27.3 | 43.4
9195 | 2021-02-17 11:09 | 312.0927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.1185 | μmol/L | 33.4532 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.571 | 124873.0069 | 222868.7893 | 27.3 | 43.4
9205 | 2021-02-17 11:09 | 312.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 186.1961 | μmol/L | 33.4102 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.582 | 124912.0608 | 222843.8144 | 27.3 | 43.4
9215 | 2021-02-17 11:09 | 312.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.4328 | μmol/L | 33.4655 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.608 | 125014.7315 | 222827.5039 | 27.3 | 43.4
9225 | 2021-02-17 11:10 | 313.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.8778 | μmol/L | 33.5084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.626 | 125121.6343 | 222806.8207 | 27.3 | 43.4
9235 | 2021-02-17 11:10 | 313.4262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.374 | μmol/L | 33.4041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.634 | 125204.6357 | 222796.9659 | 27.3 | 43.4
9245 | 2021-02-17 11:10 | 313.7592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.6445 | μmol/L | 33.3427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.64 | 125230.729 | 222774.6559 | 27.3 | 43.4
9255 | 2021-02-17 11:11 | 314.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 185.0165 | μmol/L | 33.4225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.649 | 125253.5795 | 222759.7312 | 27.3 | 43.4
9265 | 2021-02-17 11:11 | 314.4264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.4593 | μmol/L | 33.4961 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.656 | 125322.8975 | 222748.5268 | 27.3 | 43.4
9275 | 2021-02-17 11:11 | 314.7593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.6146 | μmol/L | 33.4348 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.669 | 125397.1228 | 222730.5777 | 27.3 | 43.4
9285 | 2021-02-17 11:12 | 315.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.2996 | μmol/L | 33.4655 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.677 | 125434.6829 | 222718.9714 | 27.3 | 43.4
9295 | 2021-02-17 11:12 | 315.4262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.1157 | μmol/L | 33.4716 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.686 | 125458.9074 | 222712.3896 | 27.3 | 43.4
9305 | 2021-02-17 11:12 | 315.7592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.1809 | μmol/L | 33.447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.691 | 125477.6234 | 222687.0959 | 27.3 | 43.4
9315 | 2021-02-17 11:13 | 316.0924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 184.781 | μmol/L | 33.3305 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.697 | 125519.612 | 222669.3339 | 27.3 | 43.4
9325 | 2021-02-17 11:13 | 316.426 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.9971 | μmol/L | 33.4286 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.709 | 125580.1818 | 222661.3612 | 27.3 | 43.4
9335 | 2021-02-17 11:13 | 316.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.7241 | μmol/L | 33.447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.719 | 125648.2383 | 222635.3614 | 27.3 | 43.4
9345 | 2021-02-17 11:14 | 317.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.5287 | μmol/L | 33.447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.731 | 125668.2057 | 222623.4273 | 27.3 | 43.4
9355 | 2021-02-17 11:14 | 317.4263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.728 | μmol/L | 33.3918 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.739 | 125716.9488 | 222606.3375 | 27.3 | 43.4
9365 | 2021-02-17 11:14 | 317.759 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 183.4149 | μmol/L | 33.4225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.747 | 125732.1514 | 222601.7292 | 27.3 | 43.4
9375 | 2021-02-17 11:15 | 318.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.9035 | μmol/L | 33.4839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.756 | 125796.7575 | 222576.5019 | 27.3 | 43.4
9385 | 2021-02-17 11:15 | 318.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.7174 | μmol/L | 33.4716 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.772 | 125891.6128 | 222553.3878 | 27.3 | 43.4
9395 | 2021-02-17 11:15 | 318.7593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.7823 | μmol/L | 33.447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.777 | 125910.1943 | 222541.0275 | 27.3 | 43.4
9405 | 2021-02-17 11:16 | 319.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.8958 | μmol/L | 33.4225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.779 | 125869.5966 | 222534.6956 | 27.3 | 43.4
9415 | 2021-02-17 11:16 | 319.4256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.7743 | μmol/L | 33.4348 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.782 | 125898.5319 | 222512.0394 | 27.3 | 43.4
9425 | 2021-02-17 11:16 | 319.7594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.3416 | μmol/L | 33.4777 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.793 | 125963.3543 | 222491.9558 | 27.3 | 43.4
9435 | 2021-02-17 11:17 | 320.0925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 182.0514 | μmol/L | 33.4777 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.811 | 126063.7134 | 222475.0965 | 27.3 | 43.4
9445 | 2021-02-17 11:17 | 320.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.9953 | μmol/L | 33.4655 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.819 | 126095.5096 | 222459.6553 | 27.3 | 43.4
9455 | 2021-02-17 11:17 | 320.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.8702 | μmol/L | 33.4839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.82 | 126093.1302 | 222444.657 | 27.3 | 43.4
9465 | 2021-02-17 11:18 | 321.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.6286 | μmol/L | 33.5084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.826 | 126096.1918 | 222440.398 | 27.3 | 43.4
9475 | 2021-02-17 11:18 | 321.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.8831 | μmol/L | 33.4409 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.835 | 126144.63 | 222423.011 | 27.3 | 43.4
9485 | 2021-02-17 11:18 | 321.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.9603 | μmol/L | 33.3734 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.855 | 126247.6677 | 222407.4624 | 27.3 | 43.4
9495 | 2021-02-17 11:19 | 322.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.4697 | μmol/L | 33.4348 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.863 | 126315.013 | 222395.5758 | 27.3 | 43.4
9505 | 2021-02-17 11:19 | 322.4264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.9598 | μmol/L | 33.5023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.87 | 126317.2803 | 222377.9665 | 27.3 | 43.4
9515 | 2021-02-17 11:19 | 322.7592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.418 | μmol/L | 33.4164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.873 | 126313.8643 | 222375.891 | 27.3 | 43.4
9525 | 2021-02-17 11:20 | 323.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.7632 | μmol/L | 33.533 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.871 | 126273.5028 | 222349.3869 | 27.3 | 43.4
9535 | 2021-02-17 11:20 | 323.4262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.9119 | μmol/L | 33.5023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.873 | 126276.2741 | 222339.4495 | 27.3 | 43.4
9545 | 2021-02-17 11:20 | 323.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.262 | μmol/L | 33.4102 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.885 | 126340.9474 | 222319.6444 | 27.3 | 43.4
9555 | 2021-02-17 11:21 | 324.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1299 | μmol/L | 33.4164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.891 | 126374.6502 | 222305.9358 | 27.3 | 43.4
9565 | 2021-02-17 11:21 | 324.4261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 181.1427 | μmol/L | 33.3734 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.906 | 126450.5229 | 222291.9385 | 27.3 | 43.4
9575 | 2021-02-17 11:21 | 324.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.2231 | μmol/L | 33.4839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.923 | 126542.7111 | 222278.2712 | 27.3 | 43.4
9585 | 2021-02-17 11:22 | 325.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.428 | μmol/L | 33.4164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.935 | 126618.9213 | 222269.0937 | 27.3 | 43.4
9595 | 2021-02-17 11:22 | 325.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.081 | μmol/L | 33.4593 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.941 | 126656.9752 | 222260.4697 | 27.3 | 43.4
9605 | 2021-02-17 11:22 | 325.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.7745 | μmol/L | 33.49 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.949 | 126649.0981 | 222250.7362 | 27.3 | 43.4
9615 | 2021-02-17 11:23 | 326.0925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.954 | μmol/L | 33.4593 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.949 | 126690.0343 | 222242.4767 | 27.3 | 43.4
9625 | 2021-02-17 11:23 | 326.4264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8588 | μmol/L | 33.4593 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.955 | 126674.4746 | 222217.7853 | 27.3 | 43.4
9635 | 2021-02-17 11:23 | 326.7592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.2379 | μmol/L | 33.3918 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.956 | 126660.8084 | 222223.4045 | 27.3 | 43.4
9645 | 2021-02-17 11:24 | 327.0927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.4457 | μmol/L | 33.3427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.961 | 126666.3098 | 222206.0326 | 27.3 | 43.4
9655 | 2021-02-17 11:24 | 327.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.5099 | μmol/L | 33.3182 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.966 | 126672.7382 | 222192.0389 | 27.3 | 43.4
9665 | 2021-02-17 11:24 | 327.7589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 180.3986 | μmol/L | 33.3182 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.973 | 126714.1249 | 222175.5391 | 27.3 | 43.4
9675 | 2021-02-17 11:25 | 328.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.6788 | μmol/L | 33.398 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.989 | 126812.4815 | 222152.0473 | 27.3 | 43.4
9685 | 2021-02-17 11:25 | 328.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.6954 | μmol/L | 33.3734 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.997 | 126846.2233 | 222155.8942 | 27.3 | 43.4
9695 | 2021-02-17 11:25 | 328.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.3934 | μmol/L | 33.4225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.998 | 126850.4765 | 222127.8822 | 27.3 | 43.4
9705 | 2021-02-17 11:26 | 329.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.2995 | μmol/L | 33.398 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.013 | 126905.733 | 222128.3585 | 27.3 | 43.4
9715 | 2021-02-17 11:26 | 329.4263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.868 | μmol/L | 33.2814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.02 | 126946.9699 | 222104.9008 | 27.3 | 43.4
9725 | 2021-02-17 11:26 | 329.7592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.3336 | μmol/L | 33.3243 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.038 | 127055.0221 | 222098.5517 | 27.3 | 43.4
9735 | 2021-02-17 11:27 | 330.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.3467 | μmol/L | 33.2814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.053 | 127130.56 | 222084.6202 | 27.3 | 43.4
9745 | 2021-02-17 11:27 | 330.4263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.8739 | μmol/L | 33.1771 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.058 | 127172.7826 | 222064.3019 | 27.3 | 43.4
9755 | 2021-02-17 11:27 | 330.7593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.0118 | μmol/L | 33.2875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.072 | 127223.9185 | 222060.2359 | 27.3 | 43.4
9765 | 2021-02-17 11:28 | 331.0924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.1151 | μmol/L | 33.2507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.079 | 127275.3899 | 222055.8654 | 27.3 | 43.4
9775 | 2021-02-17 11:28 | 331.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.6421 | μmol/L | 33.2998 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.091 | 127298.15 | 222032.9605 | 27.3 | 43.4
9785 | 2021-02-17 11:28 | 331.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.2067 | μmol/L | 33.2077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.089 | 127301.106 | 222031.4329 | 27.3 | 43.4
9795 | 2021-02-17 11:29 | 332.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 179.1006 | μmol/L | 33.2016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.098 | 127319.1817 | 222012.4076 | 27.3 | 43.4
9805 | 2021-02-17 11:29 | 332.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.7379 | μmol/L | 33.2507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.103 | 127349.378 | 222003.5252 | 27.3 | 43.4
9815 | 2021-02-17 11:29 | 332.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.5967 | μmol/L | 33.2507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.112 | 127407.5513 | 221987.5108 | 27.3 | 43.4
9825 | 2021-02-17 11:30 | 333.0927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.271 | μmol/L | 33.2691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.126 | 127483.2638 | 221982.7411 | 27.3 | 43.4
9835 | 2021-02-17 11:30 | 333.4256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.0949 | μmol/L | 33.2752 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.135 | 127525.197 | 221968.8879 | 27.3 | 43.4
9845 | 2021-02-17 11:30 | 333.7594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 178.0365 | μmol/L | 33.2691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.141 | 127537.675 | 221959.871 | 27.3 | 43.4
9855 | 2021-02-17 11:31 | 334.0923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.9304 | μmol/L | 33.2875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.141 | 127543.9187 | 221941.6719 | 27.3 | 43.4
9865 | 2021-02-17 11:31 | 334.4263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.9906 | μmol/L | 33.2446 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.153 | 127588.0952 | 221936.7155 | 27.3 | 43.4
9875 | 2021-02-17 11:31 | 334.7592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.7328 | μmol/L | 33.2568 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.165 | 127644.6855 | 221924.361 | 27.3 | 43.4
9885 | 2021-02-17 11:32 | 335.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.467 | μmol/L | 33.2814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.173 | 127712.8617 | 221910.8671 | 27.3 | 43.4
9895 | 2021-02-17 11:32 | 335.4262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.2129 | μmol/L | 33.3121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.178 | 127733.4192 | 221908.6934 | 27.3 | 43.4
9905 | 2021-02-17 11:32 | 335.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 177.0619 | μmol/L | 33.3059 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.19 | 127785.1991 | 221889.7282 | 27.3 | 43.4
9915 | 2021-02-17 11:33 | 336.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.7703 | μmol/L | 33.3243 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.202 | 127885.211 | 221875.1213 | 27.3 | 43.4
9925 | 2021-02-17 11:33 | 336.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.5227 | μmol/L | 33.3243 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.218 | 127983.7683 | 221876.542 | 27.3 | 43.4
9935 | 2021-02-17 11:33 | 336.7589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.4889 | μmol/L | 33.3059 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.227 | 128048.6751 | 221855.9895 | 27.3 | 43.4
9945 | 2021-02-17 11:34 | 337.0924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.4046 | μmol/L | 33.2936 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.237 | 128123.2824 | 221853.4963 | 27.3 | 43.4
9955 | 2021-02-17 11:34 | 337.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.7853 | μmol/L | 33.3427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.259 | 128212.7507 | 221840.6143 | 27.3 | 43.4
9965 | 2021-02-17 11:34 | 337.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.2279 | μmol/L | 33.2814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.253 | 128182.8124 | 221823.5491 | 27.3 | 43.4
9975 | 2021-02-17 11:35 | 338.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.9953 | μmol/L | 33.3059 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.259 | 128206.9769 | 221818.5901 | 27.3 | 43.4
9985 | 2021-02-17 11:35 | 338.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.0681 | μmol/L | 33.3121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.252 | 128147.3986 | 221819.1059 | 27.3 | 43.4
9995 | 2021-02-17 11:35 | 338.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.7699 | μmol/L | 33.3427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.26 | 128154.4721 | 221797.0431 | 27.3 | 43.4
10005 | 2021-02-17 11:36 | 339.0925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.861 | μmol/L | 33.2998 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.27 | 128231.7238 | 221790.5594 | 27.3 | 43.4
10015 | 2021-02-17 11:36 | 339.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.5871 | μmol/L | 33.3182 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.281 | 128322.9057 | 221770.295 | 27.3 | 43.4
10025 | 2021-02-17 11:36 | 339.7597 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.0057 | μmol/L | 33.3611 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.303 | 128435.9574 | 221763.7711 | 27.3 | 43.4
10035 | 2021-02-17 11:37 | 340.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.4871 | μmol/L | 33.4041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.321 | 128556.5257 | 221761.5852 | 27.3 | 43.4
10045 | 2021-02-17 11:37 | 340.4258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.4328 | μmol/L | 33.4164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.32 | 128569.046 | 221752.2629 | 27.3 | 43.4
10055 | 2021-02-17 11:37 | 340.759 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.6635 | μmol/L | 33.3918 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.314 | 128517.2319 | 221749.6431 | 27.3 | 43.4
10065 | 2021-02-17 11:38 | 341.0929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.7526 | μmol/L | 33.3734 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.315 | 128503.5037 | 221733.5417 | 27.3 | 43.4
10075 | 2021-02-17 11:38 | 341.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.5 | μmol/L | 33.3857 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.327 | 128570.1516 | 221724.8781 | 27.3 | 43.4
10085 | 2021-02-17 11:38 | 341.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.769 | μmol/L | 33.3059 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.339 | 128659.7627 | 221710.7208 | 27.3 | 43.4
10095 | 2021-02-17 11:39 | 342.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.4623 | μmol/L | 33.3305 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.35 | 128692.5818 | 221692.6596 | 27.3 | 43.4
10105 | 2021-02-17 11:39 | 342.4264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.8116 | μmol/L | 33.4348 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.354 | 128746.0141 | 221692.945 | 27.3 | 43.4
10115 | 2021-02-17 11:39 | 342.7595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.7313 | μmol/L | 33.398 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.373 | 128828.0304 | 221686.4043 | 27.3 | 43.4
10125 | 2021-02-17 11:40 | 343.0928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.2145 | μmol/L | 33.4655 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.382 | 128905.0309 | 221673.2478 | 27.3 | 43.4
10135 | 2021-02-17 11:40 | 343.4259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.5737 | μmol/L | 33.5391 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.397 | 129000.5647 | 221660.3041 | 27.3 | 43.4
10145 | 2021-02-17 11:40 | 343.7591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.5895 | μmol/L | 33.4961 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.412 | 129106.0632 | 221656.3319 | 27.3 | 43.4
10155 | 2021-02-17 11:41 | 344.0931 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.1212 | μmol/L | 33.5207 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.434 | 129238.6354 | 221644.4365 | 27.3 | 43.4
10165 | 2021-02-17 11:41 | 344.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.7934 | μmol/L | 33.5391 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.449 | 129326.7796 | 221628.8688 | 27.3 | 43.4
10175 | 2021-02-17 11:41 | 344.7596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.6543 | μmol/L | 33.5452 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.456 | 129389.4449 | 221615.6239 | 27.3 | 43.4
10185 | 2021-02-17 11:42 | 345.0926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.5929 | μmol/L | 33.5268 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.467 | 129433.6822 | 221613.9382 | 27.3 | 43.4
10195 | 2021-02-17 11:42 | 345.4257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.6316 | μmol/L | 33.5145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.469 | 129432.2907 | 221610.8472 | 27.3 | 43.4
10205 | 2021-02-17 11:42 | 345.7595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.511 | μmol/L | 33.5575 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.461 | 129382.288 | 221609.7348 | 27.3 | 43.4
10215 | 2021-02-17 11:43 | 346.093 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.5259 | μmol/L | 33.5575 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.46 | 129373.6452 | 221592.8553 | 27.3 | 43.4
10225 | 2021-02-17 11:43 | 346.4263 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.3991 | μmol/L | 33.5882 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.457 | 129366.5342 | 221597.5694 | 27.3 | 43.4