## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10239 | 2021-02-17 13:49 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.9847 | μmol/L | 38.5931 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.11 | 132001.2856 | 219780.9034 | 27.3 | 43.4
10249 | 2021-02-17 13:49 | 0.33081 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.8295 | μmol/L | 38.587 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.126 | 132088.0838 | 219793.1689 | 27.3 | 43.4
10259 | 2021-02-17 13:49 | 0.66392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.5157 | μmol/L | 38.63 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.134 | 132114.9327 | 219784.286 | 27.3 | 43.4
10269 | 2021-02-17 13:50 | 0.99689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.6442 | μmol/L | 38.5686 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.15 | 132155.2597 | 219778.4573 | 27.3 | 43.4
10279 | 2021-02-17 13:50 | 1.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.636 | μmol/L | 38.5747 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.148 | 132155.8623 | 219785.7839 | 27.3 | 43.4
10289 | 2021-02-17 13:50 | 1.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.6546 | μmol/L | 38.587 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.141 | 132081.9672 | 219769.4222 | 27.3 | 43.4
10299 | 2021-02-17 13:51 | 1.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.8493 | μmol/L | 38.5808 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.127 | 131992.8302 | 219772.0643 | 27.3 | 43.4
10309 | 2021-02-17 13:51 | 2.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.8039 | μmol/L | 38.5624 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.139 | 132042.899 | 219756.4292 | 27.3 | 43.4
10319 | 2021-02-17 13:51 | 2.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.6687 | μmol/L | 38.5501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.156 | 132130.4883 | 219760.7608 | 27.3 | 43.4
10329 | 2021-02-17 13:52 | 2.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.2653 | μmol/L | 38.5563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.188 | 132370 | 219760.4762 | 27.3 | 43.4
10339 | 2021-02-17 13:52 | 3.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 135.0301 | μmol/L | 38.5501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.211 | 132527.3463 | 219738.2393 | 27.3 | 43.4
10349 | 2021-02-17 13:52 | 3.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.7077 | μmol/L | 38.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.247 | 132708.7243 | 219742.5914 | 27.3 | 43.4
10359 | 2021-02-17 13:53 | 3.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.6453 | μmol/L | 38.544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.247 | 132724.2795 | 219746.8492 | 27.3 | 43.4
10369 | 2021-02-17 13:53 | 4.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.316 | μmol/L | 38.5317 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.281 | 132928.3917 | 219742.4764 | 27.3 | 43.4
10379 | 2021-02-17 13:53 | 4.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.5027 | μmol/L | 38.4948 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.281 | 132924.5909 | 219738.0804 | 27.3 | 43.4
10389 | 2021-02-17 13:54 | 4.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.5889 | μmol/L | 38.5255 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.26 | 132761.2571 | 219713.8829 | 27.3 | 43.4
10399 | 2021-02-17 13:54 | 5.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.3146 | μmol/L | 38.5501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.273 | 132841.9494 | 219724.544 | 27.3 | 43.4
10409 | 2021-02-17 13:54 | 5.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.2207 | μmol/L | 38.5255 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.292 | 132952.6053 | 219715.0306 | 27.3 | 43.4
10419 | 2021-02-17 13:55 | 5.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 133.878 | μmol/L | 38.5071 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.33 | 133201.0027 | 219717.0131 | 27.3 | 43.4
10429 | 2021-02-17 13:55 | 6.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.1947 | μmol/L | 38.4579 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.324 | 133190.224 | 219710.0835 | 27.3 | 43.4
10439 | 2021-02-17 13:55 | 6.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 133.7588 | μmol/L | 38.5194 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.335 | 133231.3431 | 219715.6945 | 27.3 | 43.4
10449 | 2021-02-17 13:56 | 6.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 134.12 | μmol/L | 38.4887 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.317 | 133116.8067 | 219710.4961 | 27.3 | 43.4
10459 | 2021-02-17 13:56 | 7.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 133.6592 | μmol/L | 38.5255 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.341 | 133257.8723 | 219710.0673 | 27.3 | 43.4
10469 | 2021-02-17 13:56 | 7.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 133.4066 | μmol/L | 38.544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.355 | 133359.5894 | 219704.1023 | 27.3 | 43.4
10479 | 2021-02-17 13:57 | 7.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 133.4246 | μmol/L | 38.5563 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.348 | 133327.6338 | 219706.394 | 27.3 | 43.4
10489 | 2021-02-17 13:57 | 8.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 133.2454 | μmol/L | 38.6054 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.342 | 133256.7831 | 219700.7005 | 27.3 | 43.4
10499 | 2021-02-17 13:57 | 8.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.8992 | μmol/L | 38.6177 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.367 | 133419.1356 | 219686.0958 | 27.3 | 43.4
10509 | 2021-02-17 13:58 | 8.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.5446 | μmol/L | 38.6116 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.401 | 133690.8082 | 219693.7077 | 27.3 | 43.4
10519 | 2021-02-17 13:58 | 9.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.2272 | μmol/L | 38.544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.459 | 134012.4846 | 219692.5007 | 27.3 | 43.4
10529 | 2021-02-17 13:58 | 9.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.3287 | μmol/L | 38.544 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.45 | 133972.3652 | 219689.4464 | 27.3 | 43.4
10539 | 2021-02-17 13:59 | 9.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.3442 | μmol/L | 38.6177 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.416 | 133748.8478 | 219681.3223 | 27.3 | 43.4
10549 | 2021-02-17 13:59 | 10.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.4019 | μmol/L | 38.6423 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.4 | 133664.0165 | 219688.5766 | 27.3 | 43.4
10559 | 2021-02-17 13:59 | 10.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.3064 | μmol/L | 38.6546 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.403 | 133658.5772 | 219680.3652 | 27.3 | 43.4
10569 | 2021-02-17 14:00 | 10.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.9578 | μmol/L | 38.6792 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.423 | 133824.8911 | 219669.2879 | 27.3 | 43.4
10579 | 2021-02-17 14:00 | 11.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.5561 | μmol/L | 38.6853 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.456 | 134023.0798 | 219669.9873 | 27.3 | 43.4
10589 | 2021-02-17 14:00 | 11.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.5685 | μmol/L | 38.6423 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.474 | 134160.6452 | 219668.0042 | 27.3 | 43.4
10599 | 2021-02-17 14:01 | 11.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.9824 | μmol/L | 38.6607 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.429 | 133866.1617 | 219660.8257 | 27.3 | 43.4
10609 | 2021-02-17 14:01 | 12.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.4514 | μmol/L | 38.673 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.382 | 133571.8858 | 219669.4677 | 27.3 | 43.4
10619 | 2021-02-17 14:01 | 12.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.8267 | μmol/L | 38.6976 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.338 | 133263.7882 | 219659.074 | 27.3 | 43.4
10629 | 2021-02-17 14:02 | 12.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.4627 | μmol/L | 38.7406 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.351 | 133356.2865 | 219654.0318 | 27.3 | 43.4
10639 | 2021-02-17 14:02 | 13.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.4 | μmol/L | 38.7283 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.362 | 133422.2647 | 219650.682 | 27.3 | 43.4
10649 | 2021-02-17 14:02 | 13.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.5019 | μmol/L | 38.7283 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.353 | 133363.0135 | 219645.4952 | 27.3 | 43.4
10659 | 2021-02-17 14:03 | 13.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.4544 | μmol/L | 38.7468 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.349 | 133377.9373 | 219637.0734 | 27.3 | 43.4
10669 | 2021-02-17 14:03 | 14.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.4853 | μmol/L | 38.7406 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.349 | 133358.2255 | 219636.9367 | 27.3 | 43.4
10679 | 2021-02-17 14:03 | 14.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.8091 | μmol/L | 38.7529 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.315 | 133157.3877 | 219638.7763 | 27.3 | 43.4
10689 | 2021-02-17 14:04 | 14.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.9443 | μmol/L | 38.7959 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.284 | 132948.2063 | 219633.4013 | 27.3 | 43.4
10699 | 2021-02-17 14:04 | 15.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.9237 | μmol/L | 38.7775 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.294 | 132993.5354 | 219621.8745 | 27.3 | 43.4
10709 | 2021-02-17 14:04 | 15.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.7864 | μmol/L | 38.7529 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.317 | 133159.4272 | 219635.4132 | 27.3 | 43.4
10719 | 2021-02-17 14:05 | 15.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.7873 | μmol/L | 38.7775 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.306 | 133114.6092 | 219624.8472 | 27.3 | 43.4
10729 | 2021-02-17 14:05 | 16.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 132.3493 | μmol/L | 38.8328 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.32 | 133212.2989 | 219616.2383 | 27.3 | 43.4
10739 | 2021-02-17 14:05 | 16.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.9632 | μmol/L | 38.9004 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.324 | 133240.8929 | 219612.4908 | 27.3 | 43.4
10749 | 2021-02-17 14:06 | 16.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.715 | μmol/L | 38.8758 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.357 | 133429.0663 | 219612.1967 | 27.3 | 43.4
10759 | 2021-02-17 14:06 | 17.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.1732 | μmol/L | 38.9189 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.386 | 133633.1088 | 219606.5904 | 27.3 | 43.4
10769 | 2021-02-17 14:06 | 17.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.5974 | μmol/L | 38.9557 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.421 | 133861.0862 | 219604.8763 | 27.3 | 43.4
10779 | 2021-02-17 14:07 | 17.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.0769 | μmol/L | 38.9865 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.454 | 134054.8932 | 219607.5312 | 27.3 | 43.4
10789 | 2021-02-17 14:07 | 18.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.354 | μmol/L | 39.0295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.5 | 134360.8406 | 219599.9179 | 27.3 | 43.4
10799 | 2021-02-17 14:07 | 18.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.2666 | μmol/L | 39.0049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.519 | 134474.6229 | 219586.5955 | 27.3 | 43.4
10809 | 2021-02-17 14:08 | 18.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.2641 | μmol/L | 38.9988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.522 | 134483.2832 | 219597.9016 | 27.3 | 43.4
10819 | 2021-02-17 14:08 | 19.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.9389 | μmol/L | 38.9496 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.483 | 134210.6293 | 219583.2079 | 27.3 | 43.4
10829 | 2021-02-17 14:08 | 19.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.2287 | μmol/L | 39.0295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.421 | 133835.274 | 219594.6371 | 27.3 | 43.4
10839 | 2021-02-17 14:09 | 19.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.9837 | μmol/L | 39.0541 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.432 | 133882.9695 | 219583.3166 | 27.3 | 43.4
10849 | 2021-02-17 14:09 | 20.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.9325 | μmol/L | 39.091 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.42 | 133813.9396 | 219569.3313 | 27.3 | 43.4
10859 | 2021-02-17 14:09 | 20.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.4539 | μmol/L | 39.0356 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.398 | 133642.8958 | 219564.4331 | 27.3 | 43.4
10869 | 2021-02-17 14:10 | 20.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.5293 | μmol/L | 39.0295 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.394 | 133614.1527 | 219572.6193 | 27.3 | 43.4
10879 | 2021-02-17 14:10 | 21.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.0947 | μmol/L | 39.0541 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.422 | 133751.6776 | 219570.4718 | 27.3 | 43.4
10889 | 2021-02-17 14:10 | 21.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.3979 | μmol/L | 39.1094 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.46 | 134024.1174 | 219564.9706 | 27.3 | 43.4
10899 | 2021-02-17 14:11 | 21.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.9122 | μmol/L | 39.134 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.493 | 134245.6571 | 219566.3525 | 27.3 | 43.4
10909 | 2021-02-17 14:11 | 22.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.0964 | μmol/L | 39.0725 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.504 | 134288.1614 | 219568.4638 | 27.3 | 43.4
10919 | 2021-02-17 14:11 | 22.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.2079 | μmol/L | 39.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.48 | 134126.6868 | 219573.1818 | 27.3 | 43.4
10929 | 2021-02-17 14:12 | 22.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.252 | μmol/L | 39.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.476 | 134088.3217 | 219566.9478 | 27.3 | 43.4
10939 | 2021-02-17 14:12 | 23.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.6794 | μmol/L | 39.0418 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.465 | 134041.4873 | 219564.5927 | 27.3 | 43.4
10949 | 2021-02-17 14:12 | 23.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.4481 | μmol/L | 39.0971 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.461 | 133962.5963 | 219562.2039 | 27.3 | 43.4
10959 | 2021-02-17 14:13 | 23.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.0918 | μmol/L | 39.1156 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.485 | 134116.7725 | 219554.1146 | 27.3 | 43.4
10969 | 2021-02-17 14:13 | 24.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.2851 | μmol/L | 39.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.473 | 134013.3358 | 219559.94 | 27.3 | 43.4
10979 | 2021-02-17 14:13 | 24.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.5696 | μmol/L | 39.0971 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.45 | 133837.4881 | 219557.565 | 27.3 | 43.4
10989 | 2021-02-17 14:14 | 24.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.8711 | μmol/L | 39.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.42 | 133644.9714 | 219552.3668 | 27.3 | 43.4
10999 | 2021-02-17 14:14 | 25.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.1341 | μmol/L | 39.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.388 | 133462.3901 | 219550.4913 | 27.3 | 43.4
11009 | 2021-02-17 14:14 | 25.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.4681 | μmol/L | 39.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.358 | 133229.6076 | 219554.384 | 27.3 | 43.4
11019 | 2021-02-17 14:15 | 25.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.3481 | μmol/L | 39.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.366 | 133306.6585 | 219544.9227 | 27.3 | 43.4
11029 | 2021-02-17 14:15 | 26.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.3755 | μmol/L | 39.1401 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.358 | 133203.6368 | 219539.392 | 27.3 | 43.4
11039 | 2021-02-17 14:15 | 26.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.6691 | μmol/L | 39.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.34 | 133096.9689 | 219531.741 | 27.3 | 43.4
11049 | 2021-02-17 14:16 | 26.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.6158 | μmol/L | 39.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.342 | 133109.0738 | 219540.0372 | 27.3 | 43.4
11059 | 2021-02-17 14:16 | 27.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.344 | μmol/L | 39.1217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.37 | 133314.6188 | 219518.275 | 27.3 | 43.4
11069 | 2021-02-17 14:16 | 27.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.9872 | μmol/L | 39.1463 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.391 | 133405.5132 | 219524.5634 | 27.3 | 43.4
11079 | 2021-02-17 14:17 | 27.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.9811 | μmol/L | 39.1278 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.399 | 133432.4547 | 219533.1843 | 27.3 | 43.4
11089 | 2021-02-17 14:17 | 28.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.9931 | μmol/L | 39.1033 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.409 | 133536.4286 | 219528.4954 | 27.3 | 43.4
11099 | 2021-02-17 14:17 | 28.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.6129 | μmol/L | 39.1217 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.435 | 133679.0265 | 219527.0568 | 27.3 | 43.4
11109 | 2021-02-17 14:18 | 28.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.8907 | μmol/L | 39.0971 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.421 | 133580.4435 | 219520.2851 | 27.3 | 43.4
11119 | 2021-02-17 14:18 | 29.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.3449 | μmol/L | 39.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.381 | 133333.4475 | 219517.1398 | 27.3 | 43.4
11129 | 2021-02-17 14:18 | 29.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.579 | μmol/L | 39.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.36 | 133179.1729 | 219521.6625 | 27.3 | 43.4
11139 | 2021-02-17 14:19 | 29.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.671 | μmol/L | 39.1033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.349 | 133109.7423 | 219513.8882 | 27.3 | 43.4
11149 | 2021-02-17 14:19 | 30.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.0099 | μmol/L | 39.0848 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.327 | 132982.4071 | 219508.9733 | 27.3 | 43.4
11159 | 2021-02-17 14:19 | 30.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.1675 | μmol/L | 39.0602 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.324 | 132923.2569 | 219510.9743 | 27.3 | 43.4
11169 | 2021-02-17 14:20 | 30.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.5582 | μmol/L | 39.0541 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.292 | 132746.9986 | 219508.6159 | 27.3 | 43.4
11179 | 2021-02-17 14:20 | 31.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.578 | μmol/L | 39.0479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.293 | 132704.5639 | 219505.3641 | 27.3 | 43.4
11189 | 2021-02-17 14:20 | 31.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.4292 | μmol/L | 39.0172 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.32 | 132874.6023 | 219493.8392 | 27.3 | 43.4
11199 | 2021-02-17 14:21 | 31.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.9769 | μmol/L | 39.0602 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.341 | 133035.9944 | 219499.9217 | 27.3 | 43.4
11209 | 2021-02-17 14:21 | 32.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.899 | μmol/L | 39.0356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.359 | 133159.0908 | 219498.1403 | 27.3 | 43.4
11219 | 2021-02-17 14:21 | 32.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.9885 | μmol/L | 39.0356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.351 | 133065.0461 | 219489.8854 | 27.3 | 43.4
11229 | 2021-02-17 14:22 | 32.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.4068 | μmol/L | 39.0172 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.322 | 132863.7627 | 219498.4092 | 27.3 | 43.4
11239 | 2021-02-17 14:22 | 33.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.3138 | μmol/L | 39.0356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.322 | 132886.0451 | 219486.2927 | 27.3 | 43.4
11249 | 2021-02-17 14:22 | 33.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.272 | μmol/L | 39.0172 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.334 | 132963.799 | 219496.6389 | 27.3 | 43.4
11259 | 2021-02-17 14:23 | 33.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.1991 | μmol/L | 39.0049 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.346 | 133066.9694 | 219476.3995 | 27.3 | 43.4
11269 | 2021-02-17 14:23 | 34.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.4409 | μmol/L | 38.9435 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.352 | 133085.2349 | 219469.6018 | 27.3 | 43.4
11279 | 2021-02-17 14:23 | 34.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.2134 | μmol/L | 38.9865 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.353 | 133098.8698 | 219478.2274 | 27.3 | 43.4
11289 | 2021-02-17 14:24 | 34.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.7727 | μmol/L | 38.9066 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.339 | 133000.8588 | 219485.9261 | 27.3 | 43.4
11299 | 2021-02-17 14:24 | 35.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.6827 | μmol/L | 38.9312 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.336 | 132978.3533 | 219476.2751 | 27.3 | 43.4
11309 | 2021-02-17 14:24 | 35.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.6826 | μmol/L | 38.9066 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.347 | 133046.55 | 219473.1515 | 27.3 | 43.4
11319 | 2021-02-17 14:25 | 35.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.3454 | μmol/L | 38.9312 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.366 | 133153.1801 | 219466.4233 | 27.3 | 43.4
11329 | 2021-02-17 14:25 | 36.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.421 | μmol/L | 38.8758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.384 | 133281.0139 | 219470.5367 | 27.3 | 43.4
11339 | 2021-02-17 14:25 | 36.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.6005 | μmol/L | 38.8513 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.379 | 133223.4095 | 219472.4117 | 27.3 | 43.4
11349 | 2021-02-17 14:26 | 36.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.7409 | μmol/L | 38.839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.372 | 133203.4439 | 219462.9885 | 27.3 | 43.4
11359 | 2021-02-17 14:26 | 37.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.4688 | μmol/L | 38.882 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.377 | 133236.6405 | 219459.6382 | 27.3 | 43.4
11369 | 2021-02-17 14:26 | 37.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.6059 | μmol/L | 38.839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.384 | 133288.4281 | 219463.4797 | 27.3 | 43.4
11379 | 2021-02-17 14:27 | 37.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.2191 | μmol/L | 38.8758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.402 | 133399.6993 | 219473.8805 | 27.3 | 43.4
11389 | 2021-02-17 14:27 | 38.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.0987 | μmol/L | 38.882 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.41 | 133455.4168 | 219463.5512 | 27.3 | 43.4
11399 | 2021-02-17 14:27 | 38.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.4117 | μmol/L | 38.8082 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.415 | 133489.2946 | 219463.6953 | 27.3 | 43.4
11409 | 2021-02-17 14:28 | 38.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.9253 | μmol/L | 38.6853 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.424 | 133516.0624 | 219460.9807 | 27.3 | 43.4
11419 | 2021-02-17 14:28 | 39.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.872 | μmol/L | 38.6915 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.426 | 133550.5395 | 219459.4806 | 27.3 | 43.4
11429 | 2021-02-17 14:28 | 39.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.3746 | μmol/L | 38.7775 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.432 | 133574.018 | 219455.6001 | 27.3 | 43.4
11439 | 2021-02-17 14:29 | 39.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.0893 | μmol/L | 38.7898 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.452 | 133731.52 | 219452.3245 | 27.3 | 43.4
11449 | 2021-02-17 14:29 | 40.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.437 | μmol/L | 38.6976 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.462 | 133768.5194 | 219448.2012 | 27.3 | 43.4
11459 | 2021-02-17 14:29 | 40.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.1808 | μmol/L | 38.7468 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.463 | 133789.7746 | 219450.3635 | 27.3 | 43.4
11469 | 2021-02-17 14:30 | 40.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.0825 | μmol/L | 38.7283 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.48 | 133877.5156 | 219433.495 | 27.3 | 43.4
11479 | 2021-02-17 14:30 | 41.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.8815 | μmol/L | 38.7283 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.498 | 133979.9751 | 219437.5376 | 27.3 | 43.4
11489 | 2021-02-17 14:30 | 41.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.1489 | μmol/L | 38.7038 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.485 | 133897.9423 | 219436.508 | 27.3 | 43.4
11499 | 2021-02-17 14:31 | 41.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.2055 | μmol/L | 38.7283 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.469 | 133801.3377 | 219427.003 | 27.3 | 43.4
11509 | 2021-02-17 14:31 | 42.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.5146 | μmol/L | 38.673 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.466 | 133766.6918 | 219429.2212 | 27.3 | 43.4
11519 | 2021-02-17 14:31 | 42.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.5962 | μmol/L | 38.6116 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.486 | 133891.4463 | 219422.2949 | 27.3 | 43.4
11529 | 2021-02-17 14:32 | 42.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.6167 | μmol/L | 38.63 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.476 | 133816.5739 | 219412.0887 | 27.3 | 43.4
11539 | 2021-02-17 14:32 | 43.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.4392 | μmol/L | 38.6792 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.47 | 133790.2504 | 219417.7156 | 27.3 | 43.4
11549 | 2021-02-17 14:32 | 43.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.2824 | μmol/L | 38.6792 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.484 | 133862.3172 | 219416.1347 | 27.3 | 43.4
11559 | 2021-02-17 14:33 | 43.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 131.2246 | μmol/L | 38.63 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.511 | 134019.9496 | 219412.8834 | 27.3 | 43.4
11569 | 2021-02-17 14:33 | 44.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.9354 | μmol/L | 38.587 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.556 | 134314.4545 | 219399.7729 | 27.3 | 43.4
11579 | 2021-02-17 14:33 | 44.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.5367 | μmol/L | 38.6362 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.57 | 134398.7184 | 219411.1753 | 27.3 | 43.4
11589 | 2021-02-17 14:34 | 44.9976 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.2372 | μmol/L | 38.6362 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.597 | 134575.0317 | 219402.7748 | 27.3 | 43.4
11599 | 2021-02-17 14:34 | 45.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 130.0623 | μmol/L | 38.6177 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.621 | 134745.1288 | 219406.1134 | 27.3 | 43.4
11609 | 2021-02-17 14:34 | 45.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.6488 | μmol/L | 38.63 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.653 | 134940.211 | 219401.1767 | 27.3 | 43.4
11619 | 2021-02-17 14:35 | 45.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.3767 | μmol/L | 38.6362 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.675 | 135081.6071 | 219401.2552 | 27.3 | 43.4
11629 | 2021-02-17 14:35 | 46.3303 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.0366 | μmol/L | 38.6362 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.706 | 135264.3399 | 219398.7681 | 27.3 | 43.4
11639 | 2021-02-17 14:35 | 46.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.1076 | μmol/L | 38.6239 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.705 | 135270.3878 | 219395.9073 | 27.3 | 43.4
11649 | 2021-02-17 14:36 | 46.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.8721 | μmol/L | 38.6116 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.732 | 135422.8648 | 219394.8229 | 27.3 | 43.4
11659 | 2021-02-17 14:36 | 47.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.5967 | μmol/L | 38.63 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.749 | 135548.1846 | 219383.8406 | 27.3 | 43.4
11669 | 2021-02-17 14:36 | 47.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.5503 | μmol/L | 38.6239 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.756 | 135584.649 | 219387.6272 | 27.3 | 43.4
11679 | 2021-02-17 14:37 | 47.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.3543 | μmol/L | 38.6239 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.774 | 135674.8186 | 219386.8833 | 27.3 | 43.4
11689 | 2021-02-17 14:37 | 48.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.8905 | μmol/L | 38.6792 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.792 | 135821.6484 | 219381.2158 | 27.3 | 43.4
11699 | 2021-02-17 14:37 | 48.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.485 | μmol/L | 38.6915 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.824 | 135995.961 | 219373.4541 | 27.3 | 43.4
11709 | 2021-02-17 14:38 | 48.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.4581 | μmol/L | 38.6546 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.843 | 136162.9868 | 219365.5046 | 27.3 | 43.4
11719 | 2021-02-17 14:38 | 49.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.9786 | μmol/L | 38.716 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.86 | 136234.4454 | 219369.5387 | 27.3 | 43.4
11729 | 2021-02-17 14:38 | 49.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.8605 | μmol/L | 38.716 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.871 | 136297.9724 | 219368.3151 | 27.3 | 43.4
11739 | 2021-02-17 14:39 | 49.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.8715 | μmol/L | 38.6915 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.881 | 136350.3603 | 219354.5623 | 27.3 | 43.4
11749 | 2021-02-17 14:39 | 50.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.8098 | μmol/L | 38.6976 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.884 | 136394.7398 | 219361.5817 | 27.3 | 43.4
11759 | 2021-02-17 14:39 | 50.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.6867 | μmol/L | 38.6853 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.901 | 136509.3631 | 219359.0086 | 27.3 | 43.4
11769 | 2021-02-17 14:40 | 50.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.8558 | μmol/L | 38.63 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.91 | 136557.9317 | 219354.5261 | 27.3 | 43.4
11779 | 2021-02-17 14:40 | 51.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.2317 | μmol/L | 38.6792 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.853 | 136148.1051 | 219347.1608 | 27.3 | 43.4
11789 | 2021-02-17 14:40 | 51.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.896 | μmol/L | 38.6915 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.786 | 135716.2576 | 219341.4094 | 27.3 | 43.4
11799 | 2021-02-17 14:41 | 51.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.189 | μmol/L | 38.6915 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.759 | 135545.9578 | 219343.3881 | 27.3 | 43.4
11809 | 2021-02-17 14:41 | 52.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.8932 | μmol/L | 38.7099 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.778 | 135643.1257 | 219341.5613 | 27.3 | 43.4
11819 | 2021-02-17 14:41 | 52.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.3877 | μmol/L | 38.716 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.822 | 135917.4996 | 219330.4149 | 27.3 | 43.4
11829 | 2021-02-17 14:42 | 52.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.8742 | μmol/L | 38.716 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.777 | 135644.6168 | 219339.3214 | 27.3 | 43.4
11839 | 2021-02-17 14:42 | 53.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.6946 | μmol/L | 38.8021 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.755 | 135470.0056 | 219342.3714 | 27.3 | 43.4
11849 | 2021-02-17 14:42 | 53.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.6166 | μmol/L | 38.7714 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.776 | 135570.1903 | 219325.1952 | 27.3 | 43.4
11859 | 2021-02-17 14:43 | 53.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.9148 | μmol/L | 38.7345 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.765 | 135514.4145 | 219331.233 | 27.3 | 43.4
11869 | 2021-02-17 14:43 | 54.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.3276 | μmol/L | 38.7591 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.716 | 135177.8324 | 219321.8298 | 27.3 | 43.4
11879 | 2021-02-17 14:43 | 54.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.8598 | μmol/L | 38.7529 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.67 | 134881.4674 | 219314.3672 | 27.3 | 43.4
11889 | 2021-02-17 14:44 | 54.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.4193 | μmol/L | 38.7283 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.63 | 134606.2743 | 219314.5709 | 27.3 | 43.4
11899 | 2021-02-17 14:44 | 55.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.2024 | μmol/L | 38.8082 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.614 | 134474.1372 | 219313.1504 | 27.3 | 43.4
11909 | 2021-02-17 14:44 | 55.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.9744 | μmol/L | 38.839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.621 | 134544.2787 | 219311.8607 | 27.3 | 43.4
11919 | 2021-02-17 14:45 | 55.9968 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.7092 | μmol/L | 38.8082 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.659 | 134780.1088 | 219301.9039 | 27.3 | 43.4
11929 | 2021-02-17 14:45 | 56.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.046 | μmol/L | 38.7529 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.653 | 134705.3129 | 219308.4716 | 27.3 | 43.4
11939 | 2021-02-17 14:45 | 56.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.217 | μmol/L | 38.882 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.671 | 134826.7016 | 219308.7802 | 27.3 | 43.4
11949 | 2021-02-17 14:46 | 56.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.7108 | μmol/L | 38.9189 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.701 | 135021.0635 | 219306.75 | 27.3 | 43.4
11959 | 2021-02-17 14:46 | 57.3301 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.6024 | μmol/L | 38.9189 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.711 | 135063.1366 | 219294.203 | 27.3 | 43.4
11969 | 2021-02-17 14:46 | 57.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.3768 | μmol/L | 38.9496 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.718 | 135104.7518 | 219293.0984 | 27.3 | 43.4
11979 | 2021-02-17 14:47 | 57.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.0416 | μmol/L | 38.9312 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.665 | 134729.2959 | 219289.1033 | 27.3 | 43.4
11989 | 2021-02-17 14:47 | 58.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.4615 | μmol/L | 38.9189 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.632 | 134521.109 | 219286.606 | 27.3 | 43.4
11999 | 2021-02-17 14:47 | 58.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.0983 | μmol/L | 39.0172 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.621 | 134467.732 | 219300.6931 | 27.3 | 43.4
12009 | 2021-02-17 14:48 | 58.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.9143 | μmol/L | 38.9926 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.649 | 134623.3373 | 219296.3952 | 27.3 | 43.4
12019 | 2021-02-17 14:48 | 59.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.167 | μmol/L | 39.0479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.693 | 134890.1872 | 219287.3487 | 27.3 | 43.4
12029 | 2021-02-17 14:48 | 59.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.0149 | μmol/L | 39.0172 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.721 | 135051.1993 | 219293.201 | 27.3 | 43.4
12039 | 2021-02-17 14:49 | 59.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.9068 | μmol/L | 39.0725 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.706 | 134991.5845 | 219285.9112 | 27.3 | 43.4
12049 | 2021-02-17 14:49 | 60.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.0061 | μmol/L | 39.0787 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.694 | 134872.7915 | 219289.7074 | 27.3 | 43.4
12059 | 2021-02-17 14:49 | 60.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.9591 | μmol/L | 39.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.69 | 134876.3445 | 219281.6855 | 27.3 | 43.4
12069 | 2021-02-17 14:50 | 60.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.816 | μmol/L | 39.0602 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.72 | 135035.8976 | 219283.6136 | 27.3 | 43.4
12079 | 2021-02-17 14:50 | 61.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.6776 | μmol/L | 39.0356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.744 | 135182.4572 | 219291.3571 | 27.3 | 43.4
12089 | 2021-02-17 14:50 | 61.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.1921 | μmol/L | 39.0848 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.767 | 135347.0006 | 219274.2949 | 27.3 | 43.4
12099 | 2021-02-17 14:51 | 61.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.721 | μmol/L | 39.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.786 | 135458.8427 | 219281.1533 | 27.3 | 43.4
12109 | 2021-02-17 14:51 | 62.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.5337 | μmol/L | 39.1524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.798 | 135521.1433 | 219274.4247 | 27.3 | 43.4
12119 | 2021-02-17 14:51 | 62.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.0731 | μmol/L | 39.1709 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.833 | 135750.9372 | 219276.5088 | 27.3 | 43.4
12129 | 2021-02-17 14:52 | 62.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 124.8764 | μmol/L | 39.1524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.86 | 135911.8725 | 219270.1803 | 27.3 | 43.4
12139 | 2021-02-17 14:52 | 63.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 124.5514 | μmol/L | 39.1586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.888 | 136115.4672 | 219274.9119 | 27.3 | 43.4
12149 | 2021-02-17 14:52 | 63.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 124.9166 | μmol/L | 39.1463 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.859 | 135912.0003 | 219260.7889 | 27.3 | 43.4
12159 | 2021-02-17 14:53 | 63.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.0074 | μmol/L | 39.1955 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.828 | 135699.3567 | 219266.7557 | 27.3 | 43.4
12169 | 2021-02-17 14:53 | 64.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.4721 | μmol/L | 39.1586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.801 | 135529.9359 | 219265.18 | 27.3 | 43.4
12179 | 2021-02-17 14:53 | 64.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.4444 | μmol/L | 39.2016 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.784 | 135433.5904 | 219271.5002 | 27.3 | 43.4
12189 | 2021-02-17 14:54 | 64.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.6125 | μmol/L | 39.1647 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.785 | 135410.357 | 219265.8053 | 27.3 | 43.4
12199 | 2021-02-17 14:54 | 65.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.1089 | μmol/L | 39.2139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.81 | 135589.9092 | 219269.1369 | 27.3 | 43.4
12209 | 2021-02-17 14:54 | 65.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.3509 | μmol/L | 39.2078 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.79 | 135508.3752 | 219277.6935 | 27.3 | 43.4
12219 | 2021-02-17 14:55 | 65.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.4678 | μmol/L | 39.2078 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.779 | 135402.4611 | 219269.6617 | 27.3 | 43.4
12229 | 2021-02-17 14:55 | 66.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.3742 | μmol/L | 39.2139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.785 | 135446.9982 | 219268.5177 | 27.3 | 43.4
12239 | 2021-02-17 14:55 | 66.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.6678 | μmol/L | 39.2323 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.749 | 135222.598 | 219271.6442 | 27.3 | 43.4
12249 | 2021-02-17 14:56 | 66.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.9111 | μmol/L | 39.2262 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.729 | 135097.126 | 219267.4006 | 27.3 | 43.4
12259 | 2021-02-17 14:56 | 67.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.4724 | μmol/L | 39.2078 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.685 | 134795.8424 | 219272.6744 | 27.3 | 43.4
12269 | 2021-02-17 14:56 | 67.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.2835 | μmol/L | 39.22 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.697 | 134851.8139 | 219267.9178 | 27.3 | 43.4
12279 | 2021-02-17 14:57 | 67.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.0907 | μmol/L | 39.1893 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.729 | 135072.1771 | 219258.9323 | 27.3 | 43.4
12289 | 2021-02-17 14:57 | 68.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.5592 | μmol/L | 39.2262 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.762 | 135288.284 | 219246.0661 | 27.3 | 43.4
12299 | 2021-02-17 14:57 | 68.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.3678 | μmol/L | 39.2262 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.78 | 135415.7346 | 219260.7756 | 27.3 | 43.4
12309 | 2021-02-17 14:58 | 68.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.7724 | μmol/L | 39.1955 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.756 | 135246.8421 | 219241.2019 | 27.3 | 43.4
12319 | 2021-02-17 14:58 | 69.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.8001 | μmol/L | 39.2139 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.745 | 135164.9737 | 219232.2244 | 27.3 | 43.4
12329 | 2021-02-17 14:58 | 69.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.0479 | μmol/L | 39.1893 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.733 | 135055.7859 | 219235.1923 | 27.3 | 43.4
12339 | 2021-02-17 14:59 | 69.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.8769 | μmol/L | 39.1893 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.749 | 135164.1252 | 219245.9915 | 27.3 | 43.4
12349 | 2021-02-17 14:59 | 70.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.7894 | μmol/L | 39.1832 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.76 | 135270.3818 | 219237.8654 | 27.3 | 43.4
12359 | 2021-02-17 14:59 | 70.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 125.862 | μmol/L | 39.177 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.756 | 135218.4343 | 219236.5272 | 27.3 | 43.4
12369 | 2021-02-17 15:00 | 70.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.4292 | μmol/L | 39.177 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.703 | 134868.8601 | 219224.1422 | 27.3 | 43.4
12379 | 2021-02-17 15:00 | 71.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.1291 | μmol/L | 39.177 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.638 | 134457.2388 | 219229.8246 | 27.3 | 43.4
12389 | 2021-02-17 15:00 | 71.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.3107 | μmol/L | 39.1709 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.624 | 134358.3429 | 219224.0789 | 27.3 | 43.4
12399 | 2021-02-17 15:01 | 71.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.5778 | μmol/L | 39.1033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.63 | 134363.9947 | 219216.3491 | 27.3 | 43.4
12409 | 2021-02-17 15:01 | 72.3302 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.2805 | μmol/L | 39.177 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.624 | 134346.0678 | 219215.9736 | 27.3 | 43.4
12419 | 2021-02-17 15:01 | 72.664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.5608 | μmol/L | 39.1156 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.626 | 134362.8292 | 219212.7462 | 27.3 | 43.4
12429 | 2021-02-17 15:02 | 72.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.1593 | μmol/L | 39.1709 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.638 | 134416.4572 | 219217.4596 | 27.3 | 43.4
12439 | 2021-02-17 15:02 | 73.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.2553 | μmol/L | 39.1094 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.657 | 134546.2956 | 219210.3235 | 27.3 | 43.4
12449 | 2021-02-17 15:02 | 73.6638 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.2622 | μmol/L | 39.1278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.648 | 134490.6549 | 219217.764 | 27.3 | 43.4
12459 | 2021-02-17 15:03 | 73.9969 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.2947 | μmol/L | 39.1278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.645 | 134434.335 | 219207.0911 | 27.3 | 43.4
12469 | 2021-02-17 15:03 | 74.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.3488 | μmol/L | 39.1278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.64 | 134421.17 | 219207.0444 | 27.3 | 43.4
12479 | 2021-02-17 15:03 | 74.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.2947 | μmol/L | 39.1278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.645 | 134431.2773 | 219197.5602 | 27.3 | 43.4
12489 | 2021-02-17 15:04 | 74.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.3047 | μmol/L | 39.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.658 | 134508.868 | 219200.1462 | 27.3 | 43.4
12499 | 2021-02-17 15:04 | 75.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.1102 | μmol/L | 39.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.676 | 134651.3356 | 219195.4875 | 27.3 | 43.4
12509 | 2021-02-17 15:04 | 75.6636 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 126.7914 | μmol/L | 39.1094 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.7 | 134793.1659 | 219204.4062 | 27.3 | 43.4
12519 | 2021-02-17 15:05 | 75.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.1454 | μmol/L | 39.0479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.695 | 134775.9475 | 219198.4122 | 27.3 | 43.4
12529 | 2021-02-17 15:05 | 76.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.1656 | μmol/L | 39.0725 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.682 | 134666.283 | 219184.4585 | 27.3 | 43.4
12539 | 2021-02-17 15:05 | 76.6635 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.3974 | μmol/L | 39.0848 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.655 | 134458.2697 | 219190.2025 | 27.3 | 43.4
12549 | 2021-02-17 15:06 | 76.9971 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.9554 | μmol/L | 38.9865 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.648 | 134436.7169 | 219192.6299 | 27.3 | 43.4
12559 | 2021-02-17 15:06 | 77.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 127.8494 | μmol/L | 39.0479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.63 | 134318.9694 | 219180.0923 | 27.3 | 43.4
12569 | 2021-02-17 15:06 | 77.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.0934 | μmol/L | 39.0049 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.627 | 134299.112 | 219181.5999 | 27.3 | 43.4
12579 | 2021-02-17 15:07 | 77.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.4575 | μmol/L | 38.9619 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.613 | 134158.7531 | 219182.9889 | 27.3 | 43.4
12589 | 2021-02-17 15:07 | 78.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.3064 | μmol/L | 38.9926 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.613 | 134116.8085 | 219181.6528 | 27.3 | 43.4
12599 | 2021-02-17 15:07 | 78.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.747 | μmol/L | 38.9742 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.581 | 133954.684 | 219179.7418 | 27.3 | 43.4
12609 | 2021-02-17 15:08 | 78.997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.2669 | μmol/L | 38.9312 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.553 | 133796.5371 | 219181.3633 | 27.3 | 43.4
12619 | 2021-02-17 15:08 | 79.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 128.614 | μmol/L | 39.0234 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.571 | 133877.7449 | 219187.4401 | 27.3 | 43.4
12629 | 2021-02-17 15:08 | 79.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 129.204 | μmol/L | 38.9127 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.567 | 133854.4498 | 219181.8334 | 27.3 | 43.4