## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-17 15:12

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10240 | 2021-02-17 13:49 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.4772 | μmol/L | 38.9068 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.127 | 141353.3371 | 304446.2401 | 28.7 | 67.6
10250 | 2021-02-17 13:49 | 0.34171 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.2167 | μmol/L | 38.8456 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.183 | 141676.9176 | 304458.8968 | 28.7 | 67.6
10260 | 2021-02-17 13:49 | 0.67474 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.1809 | μmol/L | 38.8639 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.289 | 142367.6663 | 304458.7025 | 28.7 | 67.6
10270 | 2021-02-17 13:50 | 1.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.4068 | μmol/L | 38.8333 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.389 | 143061.9984 | 304478.5342 | 28.7 | 67.6
10280 | 2021-02-17 13:50 | 1.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.5185 | μmol/L | 38.7477 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.415 | 143232.4498 | 304469.5776 | 28.7 | 67.6
10290 | 2021-02-17 13:50 | 1.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.1044 | μmol/L | 38.8578 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.411 | 143093.5705 | 304456.0872 | 28.7 | 67.6
10300 | 2021-02-17 13:51 | 2.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.0301 | μmol/L | 38.8211 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.325 | 142561.5915 | 304457.0561 | 28.7 | 67.6
10310 | 2021-02-17 13:51 | 2.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.0897 | μmol/L | 38.7844 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 24.334 | 142594.888 | 304455.6865 | 28.7 | 67.6
10320 | 2021-02-17 13:51 | 2.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.6799 | μmol/L | 38.7905 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.157 | 141468.1705 | 304448.3399 | 28.7 | 67.6
10330 | 2021-02-17 13:52 | 3.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 109.5764 | μmol/L | 38.7538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.076 | 140901.6047 | 304447.5788 | 28.7 | 67.6
10340 | 2021-02-17 13:52 | 3.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.9638 | μmol/L | 38.766 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.137 | 141227.2974 | 304442.8743 | 28.7 | 67.6
10350 | 2021-02-17 13:52 | 3.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.4519 | μmol/L | 38.8639 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.149 | 141312.4583 | 304426.0613 | 28.7 | 67.6
10360 | 2021-02-17 13:53 | 4.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.7835 | μmol/L | 39.1087 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.112 | 141084.6564 | 304425.6677 | 28.7 | 67.6
10370 | 2021-02-17 13:53 | 4.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.4655 | μmol/L | 38.9741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.098 | 141031.364 | 304424.1386 | 28.7 | 67.6
10380 | 2021-02-17 13:53 | 4.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 109.2552 | μmol/L | 38.8517 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.067 | 140870.3866 | 304413.3933 | 28.7 | 67.6
10390 | 2021-02-17 13:54 | 5.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 109.4422 | μmol/L | 38.8578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.044 | 140683.1124 | 304427.522 | 28.7 | 67.6
10400 | 2021-02-17 13:54 | 5.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 109.2921 | μmol/L | 38.8517 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.063 | 140865.5826 | 304409.1181 | 28.7 | 67.6
10410 | 2021-02-17 13:54 | 5.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.4886 | μmol/L | 38.8884 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.134 | 141302.9629 | 304404.2854 | 28.7 | 67.6
10420 | 2021-02-17 13:55 | 6.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.8755 | μmol/L | 38.8456 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.111 | 141133.3189 | 304396.0957 | 28.7 | 67.6
10430 | 2021-02-17 13:55 | 6.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 109.4836 | μmol/L | 38.8456 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.045 | 140724.2771 | 304403.493 | 28.7 | 67.6
10440 | 2021-02-17 13:55 | 6.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 109.373 | μmol/L | 38.87 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.046 | 140688.5135 | 304386.7159 | 28.7 | 67.6
10450 | 2021-02-17 13:56 | 7.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.477 | μmol/L | 38.8578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.149 | 141360.4939 | 304372.6157 | 28.7 | 67.6
10460 | 2021-02-17 13:56 | 7.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.0256 | μmol/L | 38.87 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.193 | 141681.7335 | 304370.4765 | 28.7 | 67.6
10470 | 2021-02-17 13:56 | 7.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.3682 | μmol/L | 38.8578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.271 | 142219.3225 | 304384.195 | 28.7 | 67.6
10480 | 2021-02-17 13:57 | 8.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.8747 | μmol/L | 38.8884 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.312 | 142506.0199 | 304388.2797 | 28.7 | 67.6
10490 | 2021-02-17 13:57 | 8.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.2118 | μmol/L | 38.9129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.375 | 142918.0905 | 304373.9176 | 28.7 | 67.6
10500 | 2021-02-17 13:57 | 8.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.8857 | μmol/L | 38.919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.297 | 142410.2772 | 304368.4603 | 28.7 | 67.6
10510 | 2021-02-17 13:58 | 9.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.4286 | μmol/L | 38.9496 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.223 | 141898.3583 | 304345.634 | 28.7 | 67.6
10520 | 2021-02-17 13:58 | 9.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.73 | μmol/L | 38.9618 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.295 | 142389.9361 | 304349.5131 | 28.7 | 67.6
10530 | 2021-02-17 13:58 | 9.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.7142 | μmol/L | 38.968 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.294 | 142401.7359 | 304342.098 | 28.7 | 67.6
10540 | 2021-02-17 13:59 | 10.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.0688 | μmol/L | 39.0047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.238 | 142000.6938 | 304341.8077 | 28.7 | 67.6
10550 | 2021-02-17 13:59 | 10.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.4847 | μmol/L | 39.1393 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.242 | 142041.9504 | 304335.3567 | 28.7 | 67.6
10560 | 2021-02-17 13:59 | 10.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.7411 | μmol/L | 39.1271 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.219 | 141900.2806 | 304318.8145 | 28.7 | 67.6
10570 | 2021-02-17 14:00 | 11.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.365 | μmol/L | 38.9741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.219 | 141871.9434 | 304314.8055 | 28.7 | 67.6
10580 | 2021-02-17 14:00 | 11.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.3603 | μmol/L | 38.9863 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.214 | 141854.1224 | 304302.2034 | 28.7 | 67.6
10590 | 2021-02-17 14:00 | 11.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.2022 | μmol/L | 39.0781 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.19 | 141731.1063 | 304300.5258 | 28.7 | 67.6
10600 | 2021-02-17 14:01 | 12.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.1545 | μmol/L | 39.2066 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.137 | 141408.4588 | 304308.3816 | 28.7 | 67.6
10610 | 2021-02-17 14:01 | 12.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.0218 | μmol/L | 39.2433 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.135 | 141402.9647 | 304301.6919 | 28.7 | 67.6
10620 | 2021-02-17 14:01 | 12.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.2063 | μmol/L | 39.2556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.109 | 141216.4572 | 304289.6792 | 28.7 | 67.6
10630 | 2021-02-17 14:02 | 13.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.2322 | μmol/L | 39.2801 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.095 | 141118.4728 | 304288.3842 | 28.7 | 67.6
10640 | 2021-02-17 14:02 | 13.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.6497 | μmol/L | 39.225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.074 | 140998.998 | 304279.5605 | 28.7 | 67.6
10650 | 2021-02-17 14:02 | 13.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.8051 | μmol/L | 39.2556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.043 | 140799.16 | 304287.1414 | 28.7 | 67.6
10660 | 2021-02-17 14:03 | 14.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.5739 | μmol/L | 39.329 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.035 | 140762.4895 | 304275.5597 | 28.7 | 67.6
10670 | 2021-02-17 14:03 | 14.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.5604 | μmol/L | 39.2862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.056 | 140890.2387 | 304269.6434 | 28.7 | 67.6
10680 | 2021-02-17 14:03 | 14.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.2793 | μmol/L | 39.2862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.087 | 141111.3318 | 304272.7742 | 28.7 | 67.6
10690 | 2021-02-17 14:04 | 15.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.8195 | μmol/L | 39.329 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.008 | 140629.2071 | 304259.5194 | 28.7 | 67.6
10700 | 2021-02-17 14:04 | 15.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.1158 | μmol/L | 39.3719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.956 | 140255.247 | 304261.1767 | 28.7 | 67.6
10710 | 2021-02-17 14:04 | 15.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 108.3335 | μmol/L | 39.2801 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 23.974 | 140414.2959 | 304262.095 | 28.7 | 67.6
10720 | 2021-02-17 14:05 | 16.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.7433 | μmol/L | 39.3474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.008 | 140654.6279 | 304243.3515 | 28.7 | 67.6
10730 | 2021-02-17 14:05 | 16.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.2621 | μmol/L | 39.3474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.061 | 141005.6292 | 304249.4498 | 28.7 | 67.6
10740 | 2021-02-17 14:05 | 16.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.4787 | μmol/L | 39.2862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.065 | 141019.1068 | 304242.5146 | 28.7 | 67.6
10750 | 2021-02-17 14:06 | 17.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.9943 | μmol/L | 39.329 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.099 | 141252.901 | 304229.4773 | 28.7 | 67.6
10760 | 2021-02-17 14:06 | 17.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.7206 | μmol/L | 39.378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.107 | 141332.7837 | 304234.1666 | 28.7 | 67.6
10770 | 2021-02-17 14:06 | 17.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.4632 | μmol/L | 39.4514 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.102 | 141319.4365 | 304217.2076 | 28.7 | 67.6
10780 | 2021-02-17 14:07 | 18.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.5137 | μmol/L | 39.3474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.144 | 141593.2853 | 304220.2723 | 28.7 | 67.6
10790 | 2021-02-17 14:07 | 18.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.6935 | μmol/L | 39.4392 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.082 | 141197.4349 | 304207.8543 | 28.7 | 67.6
10800 | 2021-02-17 14:07 | 18.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.2733 | μmol/L | 39.5432 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.081 | 141214.822 | 304212.3451 | 28.7 | 67.6
10810 | 2021-02-17 14:08 | 19.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 107.0923 | μmol/L | 39.3841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.063 | 141094.6671 | 304193.1614 | 28.7 | 67.6
10820 | 2021-02-17 14:08 | 19.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.8522 | μmol/L | 39.3963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.084 | 141262.1053 | 304187.0459 | 28.7 | 67.6
10830 | 2021-02-17 14:08 | 19.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.6252 | μmol/L | 39.3902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.112 | 141426.5352 | 304197.2797 | 28.7 | 67.6
10840 | 2021-02-17 14:09 | 20.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.2471 | μmol/L | 39.5126 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.098 | 141332.2865 | 304181.9417 | 28.7 | 67.6
10850 | 2021-02-17 14:09 | 20.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.2829 | μmol/L | 39.5126 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.094 | 141331.9322 | 304176.8034 | 28.7 | 67.6
10860 | 2021-02-17 14:09 | 20.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.3935 | μmol/L | 39.3963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.135 | 141610.001 | 304180.8335 | 28.7 | 67.6
10870 | 2021-02-17 14:10 | 21.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.7694 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.202 | 142032.8202 | 304171.4306 | 28.7 | 67.6
10880 | 2021-02-17 14:10 | 21.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.9055 | μmol/L | 39.4208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.291 | 142628.7042 | 304182.2643 | 28.7 | 67.6
10890 | 2021-02-17 14:10 | 21.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.6192 | μmol/L | 39.6779 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.319 | 142794.77 | 304165.9489 | 28.7 | 67.6
10900 | 2021-02-17 14:11 | 22.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.0327 | μmol/L | 39.58 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.317 | 142810.5393 | 304171.4005 | 28.7 | 67.6
10910 | 2021-02-17 14:11 | 22.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.158 | μmol/L | 39.7146 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.355 | 143089.6189 | 304172.5357 | 28.7 | 67.6
10920 | 2021-02-17 14:11 | 22.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.7518 | μmol/L | 39.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.335 | 142951.7694 | 304163.3671 | 28.7 | 67.6
10930 | 2021-02-17 14:12 | 23.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9214 | μmol/L | 39.5188 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.358 | 143105.8436 | 304160.6084 | 28.7 | 67.6
10940 | 2021-02-17 14:12 | 23.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.5498 | μmol/L | 39.5677 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.378 | 143253.455 | 304147.0713 | 28.7 | 67.6
10950 | 2021-02-17 14:12 | 23.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.6426 | μmol/L | 39.6656 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.322 | 142804.5965 | 304147.4673 | 28.7 | 67.6
10960 | 2021-02-17 14:13 | 24.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.9291 | μmol/L | 39.5432 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.232 | 142235.8252 | 304155.502 | 28.7 | 67.6
10970 | 2021-02-17 14:13 | 24.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.9581 | μmol/L | 39.6228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.192 | 142002.4557 | 304143.6012 | 28.7 | 67.6
10980 | 2021-02-17 14:13 | 24.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.0289 | μmol/L | 39.6228 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.184 | 141894.0009 | 304137.4885 | 28.7 | 67.6
10990 | 2021-02-17 14:14 | 25.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.4359 | μmol/L | 39.6901 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.107 | 141430.6774 | 304136.1802 | 28.7 | 67.6
11000 | 2021-02-17 14:14 | 25.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.8258 | μmol/L | 39.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.1 | 141312.7175 | 304142.6098 | 28.7 | 67.6
11010 | 2021-02-17 14:14 | 25.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.4891 | μmol/L | 39.6534 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.118 | 141375.0388 | 304127.5584 | 28.7 | 67.6
11020 | 2021-02-17 14:15 | 26.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.1043 | μmol/L | 39.7146 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.133 | 141504.4335 | 304135.333 | 28.7 | 67.6
11030 | 2021-02-17 14:15 | 26.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.9066 | μmol/L | 39.4147 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.181 | 141838.8055 | 304119.3984 | 28.7 | 67.6
11040 | 2021-02-17 14:15 | 26.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.1301 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.274 | 142429.1532 | 304115.0693 | 28.7 | 67.6
11050 | 2021-02-17 14:16 | 27.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.4235 | μmol/L | 39.3963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.357 | 143016.5371 | 304099.9241 | 28.7 | 67.6
11060 | 2021-02-17 14:16 | 27.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.5975 | μmol/L | 39.378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.46 | 143688.9396 | 304100.4083 | 28.7 | 67.6
11070 | 2021-02-17 14:16 | 27.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9115 | μmol/L | 39.3474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.438 | 143584.9122 | 304101.0061 | 28.7 | 67.6
11080 | 2021-02-17 14:17 | 28.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.3316 | μmol/L | 39.3902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.485 | 143903.7715 | 304097.8653 | 28.7 | 67.6
11090 | 2021-02-17 14:17 | 28.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.8764 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.532 | 144139.9681 | 304089.1439 | 28.7 | 67.6
11100 | 2021-02-17 14:17 | 28.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.7556 | μmol/L | 39.3351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.577 | 144481.8195 | 304079.5284 | 28.7 | 67.6
11110 | 2021-02-17 14:18 | 29.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.1158 | μmol/L | 39.3596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.524 | 144119.3276 | 304069.2754 | 28.7 | 67.6
11120 | 2021-02-17 14:18 | 29.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.0437 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.629 | 144792.3675 | 304068.1347 | 28.7 | 67.6
11130 | 2021-02-17 14:18 | 29.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.4373 | μmol/L | 39.2923 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.751 | 145549.9549 | 304078.0244 | 28.7 | 67.6
11140 | 2021-02-17 14:19 | 30.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.2841 | μmol/L | 39.3229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.755 | 145610.5792 | 304077.4567 | 28.7 | 67.6
11150 | 2021-02-17 14:19 | 30.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.56 | μmol/L | 39.3413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.714 | 145293.3174 | 304065.7428 | 28.7 | 67.6
11160 | 2021-02-17 14:19 | 30.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.7516 | μmol/L | 39.2923 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.714 | 145258.551 | 304062.6017 | 28.7 | 67.6
11170 | 2021-02-17 14:20 | 31.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.2802 | μmol/L | 39.3413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.747 | 145496.421 | 304049.5138 | 28.7 | 67.6
11180 | 2021-02-17 14:20 | 31.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.4533 | μmol/L | 39.2678 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.879 | 146365.7856 | 304057.9726 | 28.7 | 67.6
11190 | 2021-02-17 14:20 | 31.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.2661 | μmol/L | 39.3168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.999 | 147155.6444 | 304045.6739 | 28.7 | 67.6
11200 | 2021-02-17 14:21 | 32.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.1569 | μmol/L | 39.2739 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.032 | 147337.7019 | 304052.7057 | 28.7 | 67.6
11210 | 2021-02-17 14:21 | 32.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.9357 | μmol/L | 39.3045 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.924 | 146645.8334 | 304030.4621 | 28.7 | 67.6
11220 | 2021-02-17 14:21 | 32.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.3223 | μmol/L | 39.2801 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.889 | 146396.78 | 304037.9976 | 28.7 | 67.6
11230 | 2021-02-17 14:22 | 33.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.7725 | μmol/L | 39.2495 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.969 | 146955.5939 | 304024.3368 | 28.7 | 67.6
11240 | 2021-02-17 14:22 | 33.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.086 | μmol/L | 39.2372 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.937 | 146751.7415 | 304033.1248 | 28.7 | 67.6
11250 | 2021-02-17 14:22 | 33.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.6134 | μmol/L | 39.2372 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.874 | 146290.2333 | 304025.0679 | 28.7 | 67.6
11260 | 2021-02-17 14:23 | 34.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.4965 | μmol/L | 39.2066 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.902 | 146499.8572 | 304030.0738 | 28.7 | 67.6
11270 | 2021-02-17 14:23 | 34.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.0948 | μmol/L | 39.2556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.048 | 147459.803 | 304031.1002 | 28.7 | 67.6
11280 | 2021-02-17 14:23 | 34.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.8746 | μmol/L | 39.225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.968 | 146928.2876 | 304020.3293 | 28.7 | 67.6
11290 | 2021-02-17 14:24 | 35.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 98.8569 | μmol/L | 39.1577 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.122 | 147885.893 | 304017.9147 | 28.7 | 67.6
11300 | 2021-02-17 14:24 | 35.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 98.0612 | μmol/L | 39.2189 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.191 | 148358.9485 | 304023.43 | 28.7 | 67.6
11310 | 2021-02-17 14:24 | 35.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 97.6991 | μmol/L | 39.2005 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.244 | 148708.0895 | 304007.8959 | 28.7 | 67.6
11320 | 2021-02-17 14:25 | 36.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 97.7629 | μmol/L | 39.1271 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.27 | 148857.697 | 304012.276 | 28.7 | 67.6
11330 | 2021-02-17 14:25 | 36.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 98.5159 | μmol/L | 39.1393 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.172 | 148201.1912 | 304017.1978 | 28.7 | 67.6
11340 | 2021-02-17 14:25 | 36.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.9848 | μmol/L | 39.1026 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.011 | 147121.9188 | 303989.2806 | 28.7 | 67.6
11350 | 2021-02-17 14:26 | 37.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.4331 | μmol/L | 39.2189 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.024 | 147267.165 | 303998.5113 | 28.7 | 67.6
11360 | 2021-02-17 14:26 | 37.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.526 | μmol/L | 39.1271 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.055 | 147404.0653 | 303998.3947 | 28.7 | 67.6
11370 | 2021-02-17 14:26 | 37.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.7139 | μmol/L | 39.0842 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.052 | 147402.6719 | 303998.8654 | 28.7 | 67.6
11380 | 2021-02-17 14:27 | 38.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 98.7163 | μmol/L | 39.1209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.156 | 148048.9774 | 304008.2663 | 28.7 | 67.6
11390 | 2021-02-17 14:27 | 38.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 98.4204 | μmol/L | 39.0842 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.209 | 148403.3167 | 303997.5729 | 28.7 | 67.6
11400 | 2021-02-17 14:27 | 38.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 97.6257 | μmol/L | 39.0965 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.301 | 148976.3333 | 303995.728 | 28.7 | 67.6
11410 | 2021-02-17 14:28 | 39.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 96.3477 | μmol/L | 39.1332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.443 | 149915.8314 | 303995.7633 | 28.7 | 67.6
11420 | 2021-02-17 14:28 | 39.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 96.5526 | μmol/L | 39.1209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.423 | 149816.91 | 303986.2694 | 28.7 | 67.6
11430 | 2021-02-17 14:28 | 39.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 98.1122 | μmol/L | 39.0598 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.258 | 148697.0745 | 303987.9751 | 28.7 | 67.6
11440 | 2021-02-17 14:29 | 40.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.9628 | μmol/L | 38.9312 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.092 | 147592.3727 | 303991.4123 | 28.7 | 67.6
11450 | 2021-02-17 14:29 | 40.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.3152 | μmol/L | 38.9986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.019 | 147140.4509 | 303966.2387 | 28.7 | 67.6
11460 | 2021-02-17 14:29 | 40.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.4172 | μmol/L | 39.0047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 25.004 | 146995.364 | 303962.8256 | 28.7 | 67.6
11470 | 2021-02-17 14:30 | 41.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.9454 | μmol/L | 38.9741 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.955 | 146683.0018 | 303955.8627 | 28.7 | 67.6
11480 | 2021-02-17 14:30 | 41.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.5975 | μmol/L | 38.9802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.875 | 146132.6931 | 303948.7938 | 28.7 | 67.6
11490 | 2021-02-17 14:30 | 41.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.4121 | μmol/L | 38.9986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.771 | 145457.5103 | 303960.9863 | 28.7 | 67.6
11500 | 2021-02-17 14:31 | 42.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.2375 | μmol/L | 38.9435 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.7 | 144984.7647 | 303942.7591 | 28.7 | 67.6
11510 | 2021-02-17 14:31 | 42.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.2401 | μmol/L | 39.2127 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.577 | 144150.2698 | 303945.5933 | 28.7 | 67.6
11520 | 2021-02-17 14:31 | 42.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.7331 | μmol/L | 38.9374 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.531 | 143810.5974 | 303936.0506 | 28.7 | 67.6
11530 | 2021-02-17 14:32 | 43.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.1972 | μmol/L | 38.9802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.688 | 144840.2411 | 303923.8003 | 28.7 | 67.6
11540 | 2021-02-17 14:32 | 43.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.0258 | μmol/L | 38.9068 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.858 | 145916.1262 | 303914.5775 | 28.7 | 67.6
11550 | 2021-02-17 14:32 | 43.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.6796 | μmol/L | 38.8395 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.812 | 145539.9554 | 303911.5224 | 28.7 | 67.6
11560 | 2021-02-17 14:33 | 44.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.3711 | μmol/L | 39.0047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.773 | 145396.1992 | 303920.2296 | 28.7 | 67.6
11570 | 2021-02-17 14:33 | 44.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.8167 | μmol/L | 38.8333 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.683 | 144809.8898 | 303911.5321 | 28.7 | 67.6
11580 | 2021-02-17 14:33 | 44.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9934 | μmol/L | 38.8945 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.635 | 144524.1636 | 303886.3622 | 28.7 | 67.6
11590 | 2021-02-17 14:34 | 45.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.5537 | μmol/L | 38.8211 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.604 | 144233.4824 | 303906.0605 | 28.7 | 67.6
11600 | 2021-02-17 14:34 | 45.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.9623 | μmol/L | 38.9129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.516 | 143688.7394 | 303889.6701 | 28.7 | 67.6
11610 | 2021-02-17 14:34 | 45.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.7489 | μmol/L | 38.9129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.427 | 143085.8327 | 303866.6604 | 28.7 | 67.6
11620 | 2021-02-17 14:35 | 46.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 106.1297 | μmol/L | 38.8823 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.398 | 142937.8513 | 303884.823 | 28.7 | 67.6
11630 | 2021-02-17 14:35 | 46.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.8344 | μmol/L | 38.9251 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.525 | 143675.0165 | 303870.2726 | 28.7 | 67.6
11640 | 2021-02-17 14:35 | 46.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.1208 | μmol/L | 38.9129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.498 | 143603.0618 | 303870.2952 | 28.7 | 67.6
11650 | 2021-02-17 14:36 | 47.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.8567 | μmol/L | 38.9129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.528 | 143738.2556 | 303864.6146 | 28.7 | 67.6
11660 | 2021-02-17 14:36 | 47.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.1587 | μmol/L | 38.8945 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.502 | 143587.1544 | 303854.0743 | 28.7 | 67.6
11670 | 2021-02-17 14:36 | 47.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.5649 | μmol/L | 38.8027 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.611 | 144267.3379 | 303839.3699 | 28.7 | 67.6
11680 | 2021-02-17 14:37 | 48.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.7494 | μmol/L | 38.7538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.612 | 144300.9412 | 303847.7116 | 28.7 | 67.6
11690 | 2021-02-17 14:37 | 48.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.057 | μmol/L | 38.8762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.636 | 144492.5421 | 303832.8845 | 28.7 | 67.6
11700 | 2021-02-17 14:37 | 48.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.8294 | μmol/L | 38.8456 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.676 | 144676.1243 | 303828.7334 | 28.7 | 67.6
11710 | 2021-02-17 14:38 | 49.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.6615 | μmol/L | 38.9068 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.553 | 143964.2247 | 303827.6462 | 28.7 | 67.6
11720 | 2021-02-17 14:38 | 49.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.0571 | μmol/L | 38.9068 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.508 | 143617.9132 | 303840.3789 | 28.7 | 67.6
11730 | 2021-02-17 14:38 | 49.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.4177 | μmol/L | 38.8517 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.492 | 143528.1873 | 303841.9562 | 28.7 | 67.6
11740 | 2021-02-17 14:39 | 50.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.4573 | μmol/L | 38.968 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.435 | 143178.9361 | 303815.0919 | 28.7 | 67.6
11750 | 2021-02-17 14:39 | 50.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.0226 | μmol/L | 39.1271 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.412 | 142971.8664 | 303813.0785 | 28.7 | 67.6
11760 | 2021-02-17 14:39 | 50.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.8514 | μmol/L | 39.1148 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.437 | 143170.8876 | 303803.8048 | 28.7 | 67.6
11770 | 2021-02-17 14:40 | 51.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.7814 | μmol/L | 39.0598 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.47 | 143405.3256 | 303815.5541 | 28.7 | 67.6
11780 | 2021-02-17 14:40 | 51.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.2486 | μmol/L | 39.0598 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.417 | 143054.6128 | 303805.5601 | 28.7 | 67.6
11790 | 2021-02-17 14:40 | 51.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 105.3231 | μmol/L | 39.0169 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.428 | 143128.3368 | 303796.2946 | 28.7 | 67.6
11800 | 2021-02-17 14:41 | 52.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.7345 | μmol/L | 39.0659 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.587 | 144178.6342 | 303784.7926 | 28.7 | 67.6
11810 | 2021-02-17 14:41 | 52.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.423 | μmol/L | 39.0353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.753 | 145251.6002 | 303794.6467 | 28.7 | 67.6
11820 | 2021-02-17 14:41 | 52.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.252 | μmol/L | 39.0353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.773 | 145402.1819 | 303771.0161 | 28.7 | 67.6
11830 | 2021-02-17 14:42 | 53.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.4977 | μmol/L | 38.9986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.761 | 145333.3595 | 303779.1476 | 28.7 | 67.6
11840 | 2021-02-17 14:42 | 53.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.9117 | μmol/L | 39.1209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.657 | 144655.3595 | 303770.3074 | 28.7 | 67.6
11850 | 2021-02-17 14:42 | 53.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.5641 | μmol/L | 39.2556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.52 | 143803.955 | 303776.3224 | 28.7 | 67.6
11860 | 2021-02-17 14:43 | 54.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.611 | μmol/L | 39.2372 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.523 | 143801.0892 | 303783.4127 | 28.7 | 67.6
11870 | 2021-02-17 14:43 | 54.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.4565 | μmol/L | 39.2433 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.538 | 143905.6881 | 303763.5465 | 28.7 | 67.6
11880 | 2021-02-17 14:43 | 54.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.7813 | μmol/L | 39.2862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.481 | 143505.6988 | 303761.9483 | 28.7 | 67.6
11890 | 2021-02-17 14:44 | 55.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.5296 | μmol/L | 39.3841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.465 | 143423.6451 | 303759.767 | 28.7 | 67.6
11900 | 2021-02-17 14:44 | 55.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9239 | μmol/L | 39.329 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.445 | 143310.9776 | 303753.7928 | 28.7 | 67.6
11910 | 2021-02-17 14:44 | 55.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9453 | μmol/L | 39.2495 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.479 | 143536.5952 | 303756.9432 | 28.7 | 67.6
11920 | 2021-02-17 14:45 | 56.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.6788 | μmol/L | 39.2617 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.504 | 143723.5116 | 303743.4811 | 28.7 | 67.6
11930 | 2021-02-17 14:45 | 56.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.5135 | μmol/L | 39.2923 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.509 | 143767.2944 | 303725.6909 | 28.7 | 67.6
11940 | 2021-02-17 14:45 | 56.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.4986 | μmol/L | 39.3657 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.477 | 143580.5991 | 303736.2917 | 28.7 | 67.6
11950 | 2021-02-17 14:46 | 57.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.4877 | μmol/L | 39.3902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.467 | 143491.9897 | 303721.5093 | 28.7 | 67.6
11960 | 2021-02-17 14:46 | 57.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.3046 | μmol/L | 39.3535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.505 | 143749.2805 | 303723 | 28.7 | 67.6
11970 | 2021-02-17 14:46 | 57.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.2449 | μmol/L | 39.3902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.495 | 143699.872 | 303720.5623 | 28.7 | 67.6
11980 | 2021-02-17 14:47 | 58.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.6137 | μmol/L | 39.3413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.475 | 143574.2877 | 303716.9883 | 28.7 | 67.6
11990 | 2021-02-17 14:47 | 58.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.5632 | μmol/L | 39.3474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.478 | 143610.0626 | 303694.232 | 28.7 | 67.6
12000 | 2021-02-17 14:47 | 58.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.3308 | μmol/L | 39.4208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.471 | 143553.3632 | 303709.9282 | 28.7 | 67.6
12010 | 2021-02-17 14:48 | 59.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.293 | μmol/L | 39.4086 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.481 | 143673.521 | 303703.1303 | 28.7 | 67.6
12020 | 2021-02-17 14:48 | 59.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.0158 | μmol/L | 39.4759 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.482 | 143690.9089 | 303712.5492 | 28.7 | 67.6
12030 | 2021-02-17 14:48 | 59.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.1169 | μmol/L | 39.5004 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.459 | 143576.4415 | 303710.0976 | 28.7 | 67.6
12040 | 2021-02-17 14:49 | 60.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.1169 | μmol/L | 39.5004 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.459 | 143550.8363 | 303695.0453 | 28.7 | 67.6
12050 | 2021-02-17 14:49 | 60.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.6182 | μmol/L | 39.4576 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.421 | 143298.563 | 303673.894 | 28.7 | 67.6
12060 | 2021-02-17 14:49 | 60.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.5423 | μmol/L | 39.4331 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.441 | 143452.3772 | 303705.1511 | 28.7 | 67.6
12070 | 2021-02-17 14:50 | 61.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.4842 | μmol/L | 39.5126 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.411 | 143259.1316 | 303687.0454 | 28.7 | 67.6
12080 | 2021-02-17 14:50 | 61.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.1678 | μmol/L | 39.6044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.405 | 143249.0368 | 303702.8628 | 28.7 | 67.6
12090 | 2021-02-17 14:50 | 61.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.2529 | μmol/L | 39.5249 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.432 | 143431.1518 | 303689.9244 | 28.7 | 67.6
12100 | 2021-02-17 14:51 | 62.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.7325 | μmol/L | 39.6289 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.444 | 143507.3787 | 303692.1807 | 28.7 | 67.6
12110 | 2021-02-17 14:51 | 62.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.431 | μmol/L | 39.6167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.369 | 143062.5698 | 303689.9372 | 28.7 | 67.6
12120 | 2021-02-17 14:51 | 62.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.1848 | μmol/L | 39.4882 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.342 | 142872.6983 | 303678.3193 | 28.7 | 67.6
12130 | 2021-02-17 14:52 | 63.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.4537 | μmol/L | 39.58 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.269 | 142407.1289 | 303672.4498 | 28.7 | 67.6
12140 | 2021-02-17 14:52 | 63.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 104.9689 | μmol/L | 39.4269 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.281 | 142483.5593 | 303677.8498 | 28.7 | 67.6
12150 | 2021-02-17 14:52 | 63.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9851 | μmol/L | 39.4269 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.393 | 143190.6859 | 303684.4068 | 28.7 | 67.6
12160 | 2021-02-17 14:53 | 64.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.8413 | μmol/L | 39.378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.432 | 143459.0497 | 303671.6549 | 28.7 | 67.6
12170 | 2021-02-17 14:53 | 64.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.606 | μmol/L | 39.4576 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.538 | 144184.3472 | 303676.6793 | 28.7 | 67.6
12180 | 2021-02-17 14:53 | 64.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.8004 | μmol/L | 39.4086 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.538 | 144160.9795 | 303662.0891 | 28.7 | 67.6
12190 | 2021-02-17 14:54 | 65.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.6611 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.557 | 144261.6579 | 303671.9155 | 28.7 | 67.6
12200 | 2021-02-17 14:54 | 65.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.1518 | μmol/L | 39.3902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.622 | 144739.9073 | 303669.7047 | 28.7 | 67.6
12210 | 2021-02-17 14:54 | 65.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.0623 | μmol/L | 39.4086 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.624 | 144829.5505 | 303677.2864 | 28.7 | 67.6
12220 | 2021-02-17 14:55 | 66.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.0557 | μmol/L | 39.4514 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.605 | 144624.8231 | 303660.1608 | 28.7 | 67.6
12230 | 2021-02-17 14:55 | 66.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.5868 | μmol/L | 39.3474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.591 | 144544.6195 | 303671.9987 | 28.7 | 67.6
12240 | 2021-02-17 14:55 | 66.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.47 | μmol/L | 39.4637 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.551 | 144299.8144 | 303660.4373 | 28.7 | 67.6
12250 | 2021-02-17 14:56 | 67.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.8411 | μmol/L | 39.4331 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.522 | 144111.9097 | 303669.8866 | 28.7 | 67.6
12260 | 2021-02-17 14:56 | 67.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.2 | μmol/L | 39.4514 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.472 | 143779.9078 | 303651.6219 | 28.7 | 67.6
12270 | 2021-02-17 14:56 | 67.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.4183 | μmol/L | 39.3902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.475 | 143736.4513 | 303652.5859 | 28.7 | 67.6
12280 | 2021-02-17 14:57 | 68.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.0837 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.508 | 143980.8409 | 303642.2312 | 28.7 | 67.6
12290 | 2021-02-17 14:57 | 68.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.4079 | μmol/L | 39.4208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.578 | 144454.1927 | 303639.1877 | 28.7 | 67.6
12300 | 2021-02-17 14:57 | 68.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.3347 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.595 | 144525.5151 | 303642.6261 | 28.7 | 67.6
12310 | 2021-02-17 14:58 | 69.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.0632 | μmol/L | 39.3902 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.516 | 144035.1334 | 303639.9725 | 28.7 | 67.6
12320 | 2021-02-17 14:58 | 69.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9322 | μmol/L | 39.3596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.43 | 143451.1536 | 303631.0562 | 28.7 | 67.6
12330 | 2021-02-17 14:58 | 69.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.9705 | μmol/L | 39.3719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.42 | 143331.7336 | 303623.7586 | 28.7 | 67.6
12340 | 2021-02-17 14:59 | 70.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.4839 | μmol/L | 39.4086 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.459 | 143618.8869 | 303623.5119 | 28.7 | 67.6
12350 | 2021-02-17 14:59 | 70.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 103.2708 | μmol/L | 39.2923 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.537 | 144134.0058 | 303611.1384 | 28.7 | 67.6
12360 | 2021-02-17 14:59 | 70.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.4229 | μmol/L | 39.378 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.596 | 144509.1604 | 303609.5429 | 28.7 | 67.6
12370 | 2021-02-17 15:00 | 71.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.6006 | μmol/L | 39.4025 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.681 | 145058.0395 | 303588.1047 | 28.7 | 67.6
12380 | 2021-02-17 15:00 | 71.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.0285 | μmol/L | 39.3841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.757 | 145539.775 | 303601.6013 | 28.7 | 67.6
12390 | 2021-02-17 15:00 | 71.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.3076 | μmol/L | 39.3229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.871 | 146275.042 | 303588.3718 | 28.7 | 67.6
12400 | 2021-02-17 15:01 | 72.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.5028 | μmol/L | 39.2984 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.859 | 146223.7418 | 303587.7735 | 28.7 | 67.6
12410 | 2021-02-17 15:01 | 72.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.3677 | μmol/L | 39.329 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.861 | 146258.0415 | 303579.7432 | 28.7 | 67.6
12420 | 2021-02-17 15:01 | 72.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.7716 | μmol/L | 39.2801 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.955 | 146822.7533 | 303588.2172 | 28.7 | 67.6
12430 | 2021-02-17 15:02 | 73.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.6391 | μmol/L | 39.3168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.954 | 146861.3159 | 303583.8487 | 28.7 | 67.6
12440 | 2021-02-17 15:02 | 73.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 99.8896 | μmol/L | 39.2862 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.938 | 146730.2361 | 303585.4207 | 28.7 | 67.6
12450 | 2021-02-17 15:02 | 73.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.6431 | μmol/L | 39.3229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.831 | 145988.1454 | 303576.1947 | 28.7 | 67.6
12460 | 2021-02-17 15:03 | 74.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.6866 | μmol/L | 39.329 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.823 | 145950.1724 | 303572.6563 | 28.7 | 67.6
12470 | 2021-02-17 15:03 | 74.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.6058 | μmol/L | 39.2739 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.858 | 146199.4759 | 303582.6942 | 28.7 | 67.6
12480 | 2021-02-17 15:03 | 74.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.0703 | μmol/L | 39.3474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.769 | 145665.9837 | 303562.7727 | 28.7 | 67.6
12490 | 2021-02-17 15:04 | 75.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.7432 | μmol/L | 39.3596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.684 | 145062.8249 | 303573.1291 | 28.7 | 67.6
12500 | 2021-02-17 15:04 | 75.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.4135 | μmol/L | 39.3413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.614 | 144633.6165 | 303563.7255 | 28.7 | 67.6
12510 | 2021-02-17 15:04 | 75.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.8515 | μmol/L | 39.3168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.691 | 145154.3065 | 303559.6697 | 28.7 | 67.6
12520 | 2021-02-17 15:05 | 76.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.5203 | μmol/L | 39.1883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.789 | 145742.4135 | 303566.659 | 28.7 | 67.6
12530 | 2021-02-17 15:05 | 76.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.7471 | μmol/L | 39.2678 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.844 | 146092.8826 | 303534.9828 | 28.7 | 67.6
12540 | 2021-02-17 15:05 | 76.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 100.7967 | μmol/L | 39.2311 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.855 | 146141.527 | 303565.7109 | 28.7 | 67.6
12550 | 2021-02-17 15:06 | 77.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.3368 | μmol/L | 39.2311 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.791 | 145699.1241 | 303539.8958 | 28.7 | 67.6
12560 | 2021-02-17 15:06 | 77.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.2107 | μmol/L | 39.1699 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.834 | 145948.6267 | 303542.9904 | 28.7 | 67.6
12570 | 2021-02-17 15:06 | 77.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.4647 | μmol/L | 39.1393 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.818 | 145818.2992 | 303545.8866 | 28.7 | 67.6
12580 | 2021-02-17 15:07 | 78.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.2997 | μmol/L | 39.2189 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.801 | 145760.0875 | 303556.8252 | 28.7 | 67.6
12590 | 2021-02-17 15:07 | 78.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.3424 | μmol/L | 39.1883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.81 | 145836.2152 | 303542.1378 | 28.7 | 67.6
12600 | 2021-02-17 15:07 | 78.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.6666 | μmol/L | 39.1026 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.811 | 145789.634 | 303542.4862 | 28.7 | 67.6
12610 | 2021-02-17 15:08 | 79.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.3366 | μmol/L | 39.1209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.724 | 145246.7662 | 303550.3593 | 28.7 | 67.6
12620 | 2021-02-17 15:08 | 79.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 102.0461 | μmol/L | 39.1209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.758 | 145464.5148 | 303553.9912 | 28.7 | 67.6
12630 | 2021-02-17 15:08 | 79.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 101.8263 | μmol/L | 39.0965 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 24.795 | 145735.4812 | 303552.0545 | 28.7 | 67.6