## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 12:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
14270 | 2021-02-18 10:55 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5819 | μmol/L | 11.0144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.863 | 127251.3576 | 309438.0192 | 30.45 | 114.2
14280 | 2021-02-18 10:55 | 0.33426 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4848 | μmol/L | 11.0205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.865 | 127261.8487 | 309428.471 | 30.45 | 114.2
14290 | 2021-02-18 10:56 | 0.66802 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4406 | μmol/L | 11.0205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.867 | 127250.2725 | 309432.1865 | 30.45 | 114.2
14300 | 2021-02-18 10:56 | 1.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.335 | μmol/L | 11.0328 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.867 | 127161.4147 | 309413.478 | 30.45 | 114.2
14310 | 2021-02-18 10:56 | 1.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2602 | μmol/L | 11.0389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.868 | 127129.471 | 309412.9101 | 30.45 | 114.2
14320 | 2021-02-18 10:57 | 1.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3522 | μmol/L | 11.0205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.871 | 127150.1915 | 309439.0425 | 30.45 | 114.2
14330 | 2021-02-18 10:57 | 2.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2773 | μmol/L | 11.0266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.872 | 127154.6074 | 309460.6928 | 30.45 | 114.2
14340 | 2021-02-18 10:57 | 2.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3436 | μmol/L | 11.0266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.869 | 127156.3455 | 309480.8293 | 30.45 | 114.2
14350 | 2021-02-18 10:58 | 2.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2638 | μmol/L | 11.0205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.875 | 127177.1607 | 309490.8788 | 30.45 | 114.2
14360 | 2021-02-18 10:58 | 3.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2944 | μmol/L | 11.0144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.876 | 127186.9941 | 309507.6298 | 30.45 | 114.2
14370 | 2021-02-18 10:58 | 3.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5413 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.872 | 127202.493 | 309507.4712 | 30.45 | 114.2
14380 | 2021-02-18 10:59 | 3.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4 | μmol/L | 11.0021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.876 | 127205.0357 | 309536.2041 | 30.45 | 114.2
14390 | 2021-02-18 10:59 | 4.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5191 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.873 | 127216.4085 | 309535.6362 | 30.45 | 114.2
14400 | 2021-02-18 10:59 | 4.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.497 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.874 | 127238.4811 | 309558.6508 | 30.45 | 114.2
14410 | 2021-02-18 11:00 | 4.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.303 | μmol/L | 11.0082 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.878 | 127234.0971 | 309548.9425 | 30.45 | 114.2
14420 | 2021-02-18 11:00 | 5.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3116 | μmol/L | 11.0021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.88 | 127246.7071 | 309563.7365 | 30.45 | 114.2
14430 | 2021-02-18 11:00 | 5.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.497 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.874 | 127268.0717 | 309560.9624 | 30.45 | 114.2
14440 | 2021-02-18 11:01 | 5.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4086 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.878 | 127281.2173 | 309595.569 | 30.45 | 114.2
14450 | 2021-02-18 11:01 | 6.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2625 | μmol/L | 10.9899 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.887 | 127306.6993 | 309581.0791 | 30.45 | 114.2
14460 | 2021-02-18 11:01 | 6.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4479 | μmol/L | 10.9837 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.881 | 127329.9683 | 309585.5604 | 30.45 | 114.2
14470 | 2021-02-18 11:02 | 6.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3202 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.882 | 127327.8794 | 309605.0729 | 30.45 | 114.2
14480 | 2021-02-18 11:02 | 7.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.373 | μmol/L | 10.9899 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.882 | 127353.4029 | 309598.4674 | 30.45 | 114.2
14490 | 2021-02-18 11:02 | 7.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1263 | μmol/L | 11.0082 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.886 | 127368.0693 | 309604.3806 | 30.45 | 114.2
14500 | 2021-02-18 11:03 | 7.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2318 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.886 | 127378.9735 | 309610.8214 | 30.45 | 114.2
14510 | 2021-02-18 11:03 | 8.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2097 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.887 | 127384.0768 | 309613.9641 | 30.45 | 114.2
14520 | 2021-02-18 11:03 | 8.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0686 | μmol/L | 11.0021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.891 | 127393.9457 | 309623.9431 | 30.45 | 114.2
14530 | 2021-02-18 11:04 | 8.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1876 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.888 | 127410.6971 | 309617.6222 | 30.45 | 114.2
14540 | 2021-02-18 11:04 | 9.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1655 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.889 | 127417.4892 | 309611.8637 | 30.45 | 114.2
14550 | 2021-02-18 11:04 | 9.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0772 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.893 | 127425.0425 | 309603.4285 | 30.45 | 114.2
14560 | 2021-02-18 11:05 | 9.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9497 | μmol/L | 11.0082 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.894 | 127441.4621 | 309600.6144 | 30.45 | 114.2
14570 | 2021-02-18 11:05 | 10.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0466 | μmol/L | 11.0021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.892 | 127435.5618 | 309604.3732 | 30.45 | 114.2
14580 | 2021-02-18 11:05 | 10.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0331 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.895 | 127448.5516 | 309593.062 | 30.45 | 114.2
14590 | 2021-02-18 11:06 | 10.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9362 | μmol/L | 11.0021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127441.5038 | 309603.6957 | 30.45 | 114.2
14600 | 2021-02-18 11:06 | 11.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.011 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127450.6021 | 309596.0199 | 30.45 | 114.2
14610 | 2021-02-18 11:06 | 11.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0024 | μmol/L | 11.0021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.894 | 127458.6441 | 309591.8878 | 30.45 | 114.2
14620 | 2021-02-18 11:07 | 11.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.011 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127455.7826 | 309587.6657 | 30.45 | 114.2
14630 | 2021-02-18 11:07 | 12.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9803 | μmol/L | 11.0021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.895 | 127464.4018 | 309595.6622 | 30.45 | 114.2
14640 | 2021-02-18 11:07 | 12.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.011 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127466.1607 | 309587.1087 | 30.45 | 114.2
14650 | 2021-02-18 11:08 | 12.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9669 | μmol/L | 10.996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127472.871 | 309577.3385 | 30.45 | 114.2
14660 | 2021-02-18 11:08 | 13.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9634 | μmol/L | 10.996 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127476.8048 | 309569.6086 | 30.45 | 114.2
14670 | 2021-02-18 11:08 | 13.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9327 | μmol/L | 11.0021 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127473.0666 | 309548.5151 | 30.45 | 114.2
14680 | 2021-02-18 11:09 | 13.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.8053 | μmol/L | 11.0144 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127464.2872 | 309551.5398 | 30.45 | 114.2
14690 | 2021-02-18 11:09 | 14.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.9548 | μmol/L | 11.0021 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127467.6291 | 309548.1482 | 30.45 | 114.2
14700 | 2021-02-18 11:09 | 14.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7647 | μmol/L | 11.0144 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127464.7556 | 309557.5748 | 30.45 | 114.2
14710 | 2021-02-18 11:10 | 14.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.858 | μmol/L | 11.0082 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127452.9062 | 309547.4875 | 30.45 | 114.2
14720 | 2021-02-18 11:10 | 15.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6865 | μmol/L | 11.0205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127465.4181 | 309547.7903 | 30.45 | 114.2
14730 | 2021-02-18 11:10 | 15.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.8139 | μmol/L | 11.0082 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127456.3576 | 309526.2639 | 30.45 | 114.2
14740 | 2021-02-18 11:11 | 15.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7171 | μmol/L | 11.0144 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.902 | 127452.8076 | 309527.3053 | 30.45 | 114.2
14750 | 2021-02-18 11:11 | 16.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7392 | μmol/L | 11.0144 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127447.9676 | 309520.4798 | 30.45 | 114.2
14760 | 2021-02-18 11:11 | 16.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.858 | μmol/L | 11.0082 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127460.6687 | 309512.5392 | 30.45 | 114.2
14770 | 2021-02-18 11:12 | 16.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7085 | μmol/L | 11.0205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127458.6544 | 309494.2375 | 30.45 | 114.2
14780 | 2021-02-18 11:12 | 17.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6424 | μmol/L | 11.0205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127464.0932 | 309507.1577 | 30.45 | 114.2
14790 | 2021-02-18 11:12 | 17.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7085 | μmol/L | 11.0205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127446.9804 | 309492.8653 | 30.45 | 114.2
14800 | 2021-02-18 11:13 | 17.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7 | μmol/L | 11.0266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127442.894 | 309490.2193 | 30.45 | 114.2
14810 | 2021-02-18 11:13 | 18.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7085 | μmol/L | 11.0205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127442.0408 | 309479.2876 | 30.45 | 114.2
14820 | 2021-02-18 11:13 | 18.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7085 | μmol/L | 11.0205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127433.7212 | 309480.1743 | 30.45 | 114.2
14830 | 2021-02-18 11:14 | 18.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7085 | μmol/L | 11.0205 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127431.2491 | 309457.0572 | 30.45 | 114.2
14840 | 2021-02-18 11:14 | 19.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6253 | μmol/L | 11.0328 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127433.4553 | 309472.6705 | 30.45 | 114.2
14850 | 2021-02-18 11:14 | 19.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.7 | μmol/L | 11.0266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127425.3138 | 309454.8028 | 30.45 | 114.2
14860 | 2021-02-18 11:15 | 19.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.722 | μmol/L | 11.0266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127432.9643 | 309447.4012 | 30.45 | 114.2
14870 | 2021-02-18 11:15 | 20.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6474 | μmol/L | 11.0328 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127429.9982 | 309437.7983 | 30.45 | 114.2
14880 | 2021-02-18 11:15 | 20.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6474 | μmol/L | 11.0328 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127431.1383 | 309438.2194 | 30.45 | 114.2
14890 | 2021-02-18 11:16 | 20.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.5813 | μmol/L | 11.0328 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127424.3516 | 309423.5445 | 30.45 | 114.2
14900 | 2021-02-18 11:16 | 21.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.5898 | μmol/L | 11.0266 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127422.2422 | 309418.6033 | 30.45 | 114.2
14910 | 2021-02-18 11:16 | 21.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.4932 | μmol/L | 11.0328 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.905 | 127422.6116 | 309423.2958 | 30.45 | 114.2
14920 | 2021-02-18 11:17 | 21.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.4846 | μmol/L | 11.0389 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127423.4285 | 309406.9352 | 30.45 | 114.2
14930 | 2021-02-18 11:17 | 22.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.5286 | μmol/L | 11.0389 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127423.1912 | 309398.5945 | 30.45 | 114.2
14940 | 2021-02-18 11:17 | 22.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.4846 | μmol/L | 11.0389 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127418.5137 | 309393.221 | 30.45 | 114.2
14950 | 2021-02-18 11:18 | 22.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.388 | μmol/L | 11.045 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.905 | 127415.542 | 309395.4341 | 30.45 | 114.2
14960 | 2021-02-18 11:18 | 23.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.432 | μmol/L | 11.045 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127403.4286 | 309368.854 | 30.45 | 114.2
14970 | 2021-02-18 11:18 | 23.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.432 | μmol/L | 11.045 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127405.5581 | 309371.6612 | 30.45 | 114.2
14980 | 2021-02-18 11:19 | 23.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.344 | μmol/L | 11.045 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.907 | 127415.1639 | 309353.5877 | 30.45 | 114.2
14990 | 2021-02-18 11:19 | 24.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.366 | μmol/L | 11.045 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.906 | 127415.1619 | 309360.9273 | 30.45 | 114.2
15000 | 2021-02-18 11:19 | 24.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.2694 | μmol/L | 11.0511 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.908 | 127421.0347 | 309350.0648 | 30.45 | 114.2
15010 | 2021-02-18 11:20 | 24.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.2034 | μmol/L | 11.0511 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.911 | 127433.855 | 309351.2527 | 30.45 | 114.2
15020 | 2021-02-18 11:20 | 25.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.19 | μmol/L | 11.045 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.914 | 127432.4785 | 309329.9223 | 30.45 | 114.2
15030 | 2021-02-18 11:20 | 25.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0715 | μmol/L | 11.0511 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.917 | 127430.1806 | 309315.5623 | 30.45 | 114.2
15040 | 2021-02-18 11:21 | 25.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.146 | μmol/L | 11.045 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.916 | 127441.1586 | 309309.9412 | 30.45 | 114.2
15050 | 2021-02-18 11:21 | 26.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8787 | μmol/L | 11.0634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.921 | 127465.4979 | 309309.2609 | 30.45 | 114.2
15060 | 2021-02-18 11:21 | 26.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9177 | μmol/L | 11.0511 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.924 | 127469.2822 | 309292.3749 | 30.45 | 114.2
15070 | 2021-02-18 11:22 | 26.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8872 | μmol/L | 11.0573 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.923 | 127478.7604 | 309290.0199 | 30.45 | 114.2
15080 | 2021-02-18 11:22 | 27.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9177 | μmol/L | 11.0511 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.924 | 127487.3027 | 309278.7053 | 30.45 | 114.2
15090 | 2021-02-18 11:22 | 27.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8567 | μmol/L | 11.0634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.922 | 127489.6936 | 309275.1263 | 30.45 | 114.2
15100 | 2021-02-18 11:23 | 27.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.703 | μmol/L | 11.0634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.929 | 127481.7291 | 309269.7603 | 30.45 | 114.2
15110 | 2021-02-18 11:23 | 28.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7908 | μmol/L | 11.0634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.925 | 127474.7044 | 309268.9185 | 30.45 | 114.2
15120 | 2021-02-18 11:23 | 28.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7908 | μmol/L | 11.0634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.925 | 127477.8349 | 309242.7176 | 30.45 | 114.2
15130 | 2021-02-18 11:24 | 28.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7469 | μmol/L | 11.0634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.927 | 127486.9036 | 309248.844 | 30.45 | 114.2
15140 | 2021-02-18 11:24 | 29.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6726 | μmol/L | 11.0695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.928 | 127479.4521 | 309241.522 | 30.45 | 114.2
15150 | 2021-02-18 11:24 | 29.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7823 | μmol/L | 11.0695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.923 | 127472.0168 | 309233.5485 | 30.45 | 114.2
15160 | 2021-02-18 11:25 | 29.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.725 | μmol/L | 11.0634 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.928 | 127456.4681 | 309228.8959 | 30.45 | 114.2
15170 | 2021-02-18 11:25 | 30.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7384 | μmol/L | 11.0695 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.925 | 127450.4102 | 309228.1097 | 30.45 | 114.2
15180 | 2021-02-18 11:25 | 30.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7519 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.922 | 127446.8538 | 309218.8352 | 30.45 | 114.2
15190 | 2021-02-18 11:26 | 30.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6336 | μmol/L | 11.0818 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.925 | 127423.2981 | 309204.4463 | 30.45 | 114.2
15200 | 2021-02-18 11:26 | 31.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7958 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.92 | 127417.4421 | 309186.9378 | 30.45 | 114.2
15210 | 2021-02-18 11:26 | 31.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7738 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.921 | 127400.4425 | 309184.857 | 30.45 | 114.2
15220 | 2021-02-18 11:27 | 31.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8397 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.918 | 127397.4782 | 309175.0566 | 30.45 | 114.2
15230 | 2021-02-18 11:27 | 32.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8397 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.918 | 127391.7876 | 309177.8627 | 30.45 | 114.2
15240 | 2021-02-18 11:27 | 32.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9056 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.915 | 127380.0071 | 309166.8859 | 30.45 | 114.2
15250 | 2021-02-18 11:28 | 32.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8836 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.916 | 127379.7312 | 309161.2367 | 30.45 | 114.2
15260 | 2021-02-18 11:28 | 33.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8616 | μmol/L | 11.0757 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.917 | 127349.4586 | 309141.2955 | 30.45 | 114.2
15270 | 2021-02-18 11:28 | 33.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8007 | μmol/L | 11.0879 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.915 | 127333.7176 | 309136.6794 | 30.45 | 114.2
15280 | 2021-02-18 11:29 | 33.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8312 | μmol/L | 11.0818 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.916 | 127326.1575 | 309126.557 | 30.45 | 114.2
15290 | 2021-02-18 11:29 | 34.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.941 | μmol/L | 11.0818 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.911 | 127304.5878 | 309123.8879 | 30.45 | 114.2
15300 | 2021-02-18 11:29 | 34.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9325 | μmol/L | 11.0879 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.909 | 127295.7347 | 309105.6924 | 30.45 | 114.2
15310 | 2021-02-18 11:30 | 34.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9325 | μmol/L | 11.0879 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.909 | 127281.5571 | 309103.2498 | 30.45 | 114.2
15320 | 2021-02-18 11:30 | 35.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9765 | μmol/L | 11.0879 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.907 | 127282.2257 | 309103.4391 | 30.45 | 114.2
15330 | 2021-02-18 11:30 | 35.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9984 | μmol/L | 11.0879 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.906 | 127261.1855 | 309093.5974 | 30.45 | 114.2
15340 | 2021-02-18 11:31 | 35.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0119 | μmol/L | 11.0941 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127239.7984 | 309084.9639 | 30.45 | 114.2
15350 | 2021-02-18 11:31 | 36.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.1084 | μmol/L | 11.0879 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127245.0301 | 309078.6186 | 30.45 | 114.2
15360 | 2021-02-18 11:31 | 36.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9375 | μmol/L | 11.1002 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.904 | 127221.333 | 309077.9211 | 30.45 | 114.2
15370 | 2021-02-18 11:32 | 36.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.1439 | μmol/L | 11.0941 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127212.0415 | 309069.4063 | 30.45 | 114.2
15380 | 2021-02-18 11:32 | 37.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0779 | μmol/L | 11.0941 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127201.7387 | 309056.8967 | 30.45 | 114.2
15390 | 2021-02-18 11:32 | 37.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0474 | μmol/L | 11.1002 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127199.3528 | 309071.3788 | 30.45 | 114.2
15400 | 2021-02-18 11:33 | 37.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.929 | μmol/L | 11.1063 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.902 | 127190.9053 | 309034.4093 | 30.45 | 114.2
15410 | 2021-02-18 11:33 | 38.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0694 | μmol/L | 11.1002 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127181.9608 | 309046.9064 | 30.45 | 114.2
15420 | 2021-02-18 11:33 | 38.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0694 | μmol/L | 11.1002 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127174.1351 | 309032.5826 | 30.45 | 114.2
15430 | 2021-02-18 11:34 | 38.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.039 | μmol/L | 11.1063 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127161.1927 | 309038.1867 | 30.45 | 114.2
15440 | 2021-02-18 11:34 | 39.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0085 | μmol/L | 11.1124 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127145.7628 | 309034.5922 | 30.45 | 114.2
15450 | 2021-02-18 11:34 | 39.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0525 | μmol/L | 11.1124 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 127138.2424 | 309025.4021 | 30.45 | 114.2
15460 | 2021-02-18 11:35 | 39.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0829 | μmol/L | 11.1063 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.895 | 127139.4867 | 309000.4848 | 30.45 | 114.2
15470 | 2021-02-18 11:35 | 40.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9561 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127138.7174 | 309007.3876 | 30.45 | 114.2
15480 | 2021-02-18 11:35 | 40.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0525 | μmol/L | 11.1124 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 127136.3084 | 308994.5494 | 30.45 | 114.2
15490 | 2021-02-18 11:36 | 40.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9561 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127127.3681 | 308983.5875 | 30.45 | 114.2
15500 | 2021-02-18 11:36 | 41.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9781 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.895 | 127116.3482 | 308980.1243 | 30.45 | 114.2
15510 | 2021-02-18 11:36 | 41.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0525 | μmol/L | 11.1124 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 127118.8035 | 308977.8864 | 30.45 | 114.2
15520 | 2021-02-18 11:37 | 41.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0085 | μmol/L | 11.1124 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127121.0405 | 308973.3184 | 30.45 | 114.2
15530 | 2021-02-18 11:37 | 42.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 127113.3717 | 308969.2476 | 30.45 | 114.2
15540 | 2021-02-18 11:37 | 42.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.022 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.893 | 127114.4982 | 308959.0618 | 30.45 | 114.2
15550 | 2021-02-18 11:38 | 42.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9781 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.895 | 127115.6383 | 308969.3686 | 30.45 | 114.2
15560 | 2021-02-18 11:38 | 43.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 127112.4012 | 308951.0119 | 30.45 | 114.2
15570 | 2021-02-18 11:38 | 43.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.9781 | μmol/L | 11.1186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.895 | 127100.714 | 308955.2129 | 30.45 | 114.2
15580 | 2021-02-18 11:39 | 43.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7854 | μmol/L | 11.1308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127101.6014 | 308934.8166 | 30.45 | 114.2
15590 | 2021-02-18 11:39 | 44.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8817 | μmol/L | 11.1247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127103.9075 | 308936.7963 | 30.45 | 114.2
15600 | 2021-02-18 11:39 | 44.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8293 | μmol/L | 11.1308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127112.7671 | 308925.4656 | 30.45 | 114.2
15610 | 2021-02-18 11:40 | 44.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8817 | μmol/L | 11.1247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 127109.5288 | 308923.1615 | 30.45 | 114.2
15620 | 2021-02-18 11:40 | 45.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.8209 | μmol/L | 11.137 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.895 | 127094.3784 | 308914.0727 | 30.45 | 114.2
15630 | 2021-02-18 11:40 | 45.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7854 | μmol/L | 11.1308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127093.8135 | 308920.7345 | 30.45 | 114.2
15640 | 2021-02-18 11:41 | 45.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7414 | μmol/L | 11.1308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127104.1528 | 308916.5934 | 30.45 | 114.2
15650 | 2021-02-18 11:41 | 46.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7414 | μmol/L | 11.1308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127101.827 | 308910.6638 | 30.45 | 114.2
15660 | 2021-02-18 11:41 | 46.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7854 | μmol/L | 11.1308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127100.8794 | 308898.9103 | 30.45 | 114.2
15670 | 2021-02-18 11:42 | 46.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6671 | μmol/L | 11.137 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.902 | 127095.9083 | 308889.3252 | 30.45 | 114.2
15680 | 2021-02-18 11:42 | 47.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.755 | μmol/L | 11.137 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127097.6484 | 308876.3757 | 30.45 | 114.2
15690 | 2021-02-18 11:42 | 47.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.7026 | μmol/L | 11.1431 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127091.2735 | 308889.8676 | 30.45 | 114.2
15700 | 2021-02-18 11:43 | 47.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6806 | μmol/L | 11.1431 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127085.5137 | 308867.6853 | 30.45 | 114.2
15710 | 2021-02-18 11:43 | 48.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6367 | μmol/L | 11.1431 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127083.6027 | 308870.7969 | 30.45 | 114.2
15720 | 2021-02-18 11:43 | 48.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6283 | μmol/L | 11.1492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127088.2861 | 308877.2872 | 30.45 | 114.2
15730 | 2021-02-18 11:44 | 48.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6148 | μmol/L | 11.1431 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.902 | 127080.3962 | 308853.8325 | 30.45 | 114.2
15740 | 2021-02-18 11:44 | 49.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6942 | μmol/L | 11.1492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 127074.2849 | 308863.1266 | 30.45 | 114.2
15750 | 2021-02-18 11:44 | 49.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.576 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127076.8037 | 308853.3988 | 30.45 | 114.2
15760 | 2021-02-18 11:45 | 49.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4882 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.903 | 127075.7072 | 308847.2325 | 30.45 | 114.2
15770 | 2021-02-18 11:45 | 50.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5979 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127077.3764 | 308828.0315 | 30.45 | 114.2
15780 | 2021-02-18 11:45 | 50.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5186 | μmol/L | 11.1492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.904 | 127069.3055 | 308810.2629 | 30.45 | 114.2
15790 | 2021-02-18 11:46 | 50.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5321 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127066.905 | 308822.7421 | 30.45 | 114.2
15800 | 2021-02-18 11:46 | 51.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5102 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.902 | 127053.9759 | 308814.8318 | 30.45 | 114.2
15810 | 2021-02-18 11:46 | 51.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5979 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127053.2775 | 308800.7097 | 30.45 | 114.2
15820 | 2021-02-18 11:47 | 51.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5017 | μmol/L | 11.1615 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127039.5396 | 308795.9205 | 30.45 | 114.2
15830 | 2021-02-18 11:47 | 52.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5017 | μmol/L | 11.1615 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127046.3292 | 308788.9132 | 30.45 | 114.2
15840 | 2021-02-18 11:47 | 52.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5979 | μmol/L | 11.1553 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127050.2074 | 308794.4147 | 30.45 | 114.2
15850 | 2021-02-18 11:48 | 52.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4798 | μmol/L | 11.1615 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.901 | 127036.4522 | 308780.5022 | 30.45 | 114.2
15860 | 2021-02-18 11:48 | 53.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4495 | μmol/L | 11.1676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127034.8013 | 308771.8299 | 30.45 | 114.2
15870 | 2021-02-18 11:48 | 53.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4495 | μmol/L | 11.1676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127032.1374 | 308766.9738 | 30.45 | 114.2
15880 | 2021-02-18 11:49 | 53.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.3972 | μmol/L | 11.1737 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 127025.576 | 308768.8318 | 30.45 | 114.2
15890 | 2021-02-18 11:49 | 54.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4933 | μmol/L | 11.1676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.898 | 127011.9499 | 308747.1988 | 30.45 | 114.2
15900 | 2021-02-18 11:49 | 54.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4714 | μmol/L | 11.1676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127005.2883 | 308741.9672 | 30.45 | 114.2
15910 | 2021-02-18 11:50 | 54.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4714 | μmol/L | 11.1676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 127005.9924 | 308734.0932 | 30.45 | 114.2
15920 | 2021-02-18 11:50 | 55.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5153 | μmol/L | 11.1676 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126991.3833 | 308755.7989 | 30.45 | 114.2
15930 | 2021-02-18 11:50 | 55.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4849 | μmol/L | 11.1737 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126980.7549 | 308732.264 | 30.45 | 114.2
15940 | 2021-02-18 11:51 | 55.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4191 | μmol/L | 11.1737 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.899 | 126977.7435 | 308717.7383 | 30.45 | 114.2
15950 | 2021-02-18 11:51 | 56.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2927 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 126973.5812 | 308711.1809 | 30.45 | 114.2
15960 | 2021-02-18 11:51 | 56.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4107 | μmol/L | 11.1799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126975.2846 | 308714.1816 | 30.45 | 114.2
15970 | 2021-02-18 11:52 | 56.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5288 | μmol/L | 11.1737 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126971.4858 | 308720.0692 | 30.45 | 114.2
15980 | 2021-02-18 11:52 | 57.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4023 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.895 | 126959.7362 | 308712.3189 | 30.45 | 114.2
15990 | 2021-02-18 11:52 | 57.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4462 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126946.3153 | 308699.2974 | 30.45 | 114.2
16000 | 2021-02-18 11:53 | 57.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4682 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126947.3453 | 308702.0406 | 30.45 | 114.2
16010 | 2021-02-18 11:53 | 58.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4327 | μmol/L | 11.1799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126941.7962 | 308702.5789 | 30.45 | 114.2
16020 | 2021-02-18 11:53 | 58.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4985 | μmol/L | 11.1799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126936.1962 | 308713.0623 | 30.45 | 114.2
16030 | 2021-02-18 11:54 | 58.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4327 | μmol/L | 11.1799 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126934.2615 | 308670.8189 | 30.45 | 114.2
16040 | 2021-02-18 11:54 | 59.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4243 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126914.7742 | 308672.4726 | 30.45 | 114.2
16050 | 2021-02-18 11:54 | 59.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.394 | μmol/L | 11.1921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126911.3898 | 308669.7693 | 30.45 | 114.2
16060 | 2021-02-18 11:55 | 59.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4243 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126911.1033 | 308674.1164 | 30.45 | 114.2
16070 | 2021-02-18 11:55 | 60.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4462 | μmol/L | 11.186 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126898.555 | 308659.9767 | 30.45 | 114.2
16080 | 2021-02-18 11:55 | 60.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4378 | μmol/L | 11.1921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126896.378 | 308650.3968 | 30.45 | 114.2
16090 | 2021-02-18 11:56 | 60.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4817 | μmol/L | 11.1921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.889 | 126899.2312 | 308642.3458 | 30.45 | 114.2
16100 | 2021-02-18 11:56 | 61.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4378 | μmol/L | 11.1921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126891.7491 | 308633.3283 | 30.45 | 114.2
16110 | 2021-02-18 11:56 | 61.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5037 | μmol/L | 11.1921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.888 | 126874.0814 | 308635.723 | 30.45 | 114.2
16120 | 2021-02-18 11:57 | 61.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4598 | μmol/L | 11.1921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126876.5571 | 308624.7579 | 30.45 | 114.2
16130 | 2021-02-18 11:57 | 62.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4159 | μmol/L | 11.1921 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126872.1592 | 308638.0219 | 30.45 | 114.2
16140 | 2021-02-18 11:57 | 62.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4514 | μmol/L | 11.1983 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.888 | 126872.6277 | 308619.089 | 30.45 | 114.2
16150 | 2021-02-18 11:58 | 62.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.3856 | μmol/L | 11.1983 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126872.3727 | 308626.8631 | 30.45 | 114.2
16160 | 2021-02-18 11:58 | 63.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4295 | μmol/L | 11.1983 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.889 | 126866.5573 | 308618.7361 | 30.45 | 114.2
16170 | 2021-02-18 11:58 | 63.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4295 | μmol/L | 11.1983 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.889 | 126864.3661 | 308609.9333 | 30.45 | 114.2
16180 | 2021-02-18 11:59 | 63.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4953 | μmol/L | 11.1983 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.886 | 126850.1015 | 308607.8155 | 30.45 | 114.2
16190 | 2021-02-18 11:59 | 64.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4075 | μmol/L | 11.1983 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126855.8457 | 308606.8339 | 30.45 | 114.2
16200 | 2021-02-18 11:59 | 64.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.325 | μmol/L | 11.2105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.889 | 126854.3501 | 308603.2742 | 30.45 | 114.2
16210 | 2021-02-18 12:00 | 64.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.3689 | μmol/L | 11.2105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.887 | 126857.5652 | 308596.3385 | 30.45 | 114.2
16220 | 2021-02-18 12:00 | 65.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.4211 | μmol/L | 11.2044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.887 | 126861.1311 | 308590.5852 | 30.45 | 114.2
16230 | 2021-02-18 12:00 | 65.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.3689 | μmol/L | 11.2105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.887 | 126843.6066 | 308596.738 | 30.45 | 114.2
16240 | 2021-02-18 12:01 | 65.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.3334 | μmol/L | 11.2044 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126845.2732 | 308573.8148 | 30.45 | 114.2
16250 | 2021-02-18 12:01 | 66.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.3031 | μmol/L | 11.2105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126840.9112 | 308580.7462 | 30.45 | 114.2
16260 | 2021-02-18 12:01 | 66.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2509 | μmol/L | 11.2166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126847.3683 | 308592.9125 | 30.45 | 114.2
16270 | 2021-02-18 12:02 | 66.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2811 | μmol/L | 11.2105 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126844.2275 | 308579.5613 | 30.45 | 114.2
16280 | 2021-02-18 12:02 | 67.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2947 | μmol/L | 11.2166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.888 | 126839.6671 | 308568.7048 | 30.45 | 114.2
16290 | 2021-02-18 12:02 | 67.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2425 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.888 | 126835.1847 | 308574.1195 | 30.45 | 114.2
16300 | 2021-02-18 12:03 | 67.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2206 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.889 | 126817.4042 | 308565.4269 | 30.45 | 114.2
16310 | 2021-02-18 12:03 | 68.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2728 | μmol/L | 11.2166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.889 | 126842.5221 | 308564.4055 | 30.45 | 114.2
16320 | 2021-02-18 12:03 | 68.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2644 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.887 | 126836.2191 | 308561.6078 | 30.45 | 114.2
16330 | 2021-02-18 12:04 | 68.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2289 | μmol/L | 11.2166 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126826.4377 | 308548.8572 | 30.45 | 114.2
16340 | 2021-02-18 12:04 | 69.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1548 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126830.2042 | 308557.9841 | 30.45 | 114.2
16350 | 2021-02-18 12:04 | 69.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.111 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126830.6343 | 308545.3413 | 30.45 | 114.2
16360 | 2021-02-18 12:05 | 69.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1027 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126831.3295 | 308547.9837 | 30.45 | 114.2
16370 | 2021-02-18 12:05 | 70.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1548 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126830.827 | 308550.9991 | 30.45 | 114.2
16380 | 2021-02-18 12:05 | 70.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1027 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126837.583 | 308548.1905 | 30.45 | 114.2
16390 | 2021-02-18 12:06 | 70.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1548 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126836.7459 | 308544.335 | 30.45 | 114.2
16400 | 2021-02-18 12:06 | 71.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0808 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126837.7467 | 308532.9004 | 30.45 | 114.2
16410 | 2021-02-18 12:06 | 71.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2644 | μmol/L | 11.2228 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.887 | 126838.1175 | 308534.8585 | 30.45 | 114.2
16420 | 2021-02-18 12:07 | 71.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1465 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126834.3979 | 308521.4167 | 30.45 | 114.2
16430 | 2021-02-18 12:07 | 72.0014 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1027 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126840.4989 | 308534.5641 | 30.45 | 114.2
16440 | 2021-02-18 12:07 | 72.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0589 | μmol/L | 11.2289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126831.6159 | 308531.164 | 30.45 | 114.2
16450 | 2021-02-18 12:08 | 72.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0724 | μmol/L | 11.235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126821.8127 | 308525.9626 | 30.45 | 114.2
16460 | 2021-02-18 12:08 | 73.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0203 | μmol/L | 11.2412 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126820.1838 | 308524.1344 | 30.45 | 114.2
16470 | 2021-02-18 12:08 | 73.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0422 | μmol/L | 11.2412 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126824.9746 | 308508.6291 | 30.45 | 114.2
16480 | 2021-02-18 12:09 | 73.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0724 | μmol/L | 11.235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126821.9376 | 308517.1251 | 30.45 | 114.2
16490 | 2021-02-18 12:09 | 74.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0422 | μmol/L | 11.2412 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126815.4028 | 308498.7521 | 30.45 | 114.2
16500 | 2021-02-18 12:09 | 74.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.086 | μmol/L | 11.2412 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.888 | 126810.1891 | 308508.6733 | 30.45 | 114.2
16510 | 2021-02-18 12:10 | 74.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1601 | μmol/L | 11.235 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.887 | 126813.8282 | 308500.012 | 30.45 | 114.2
16520 | 2021-02-18 12:10 | 75.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.1565 | μmol/L | 11.235 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.887 | 126810.0027 | 308476.7416 | 30.45 | 114.2
16530 | 2021-02-18 12:10 | 75.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0168 | μmol/L | 11.2412 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126817.532 | 308499.2198 | 30.45 | 114.2
16540 | 2021-02-18 12:11 | 75.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.0168 | μmol/L | 11.2412 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.891 | 126822.7144 | 308495.1639 | 30.45 | 114.2
16550 | 2021-02-18 12:11 | 76.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.9865 | μmol/L | 11.2473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126809.1908 | 308491.6903 | 30.45 | 114.2
16560 | 2021-02-18 12:11 | 76.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.9865 | μmol/L | 11.2473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126811.8494 | 308480.2668 | 30.45 | 114.2
16570 | 2021-02-18 12:12 | 76.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.9865 | μmol/L | 11.2473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126808.8544 | 308478.7951 | 30.45 | 114.2
16580 | 2021-02-18 12:12 | 77.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.9427 | μmol/L | 11.2473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126816.0741 | 308469.0391 | 30.45 | 114.2
16590 | 2021-02-18 12:12 | 77.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.8906 | μmol/L | 11.2534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126819.7729 | 308472.3746 | 30.45 | 114.2
16600 | 2021-02-18 12:13 | 77.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.8385 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.892 | 126813.7391 | 308471.3087 | 30.45 | 114.2
16610 | 2021-02-18 12:13 | 78.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.8989 | μmol/L | 11.2473 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126803.655 | 308456.9902 | 30.45 | 114.2
16620 | 2021-02-18 12:13 | 78.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.8468 | μmol/L | 11.2534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126813.9366 | 308450.1846 | 30.45 | 114.2
16630 | 2021-02-18 12:14 | 78.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.825 | μmol/L | 11.2534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.895 | 126820.2392 | 308458.5889 | 30.45 | 114.2
16640 | 2021-02-18 12:14 | 79.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.825 | μmol/L | 11.2534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.895 | 126814.0488 | 308435.1394 | 30.45 | 114.2
16650 | 2021-02-18 12:14 | 79.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.7812 | μmol/L | 11.2534 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126827.744 | 308443.2936 | 30.45 | 114.2
16660 | 2021-02-18 12:15 | 79.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.7729 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.895 | 126835.7289 | 308446.7998 | 30.45 | 114.2
16670 | 2021-02-18 12:15 | 80.0015 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.8166 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126838.2988 | 308421.907 | 30.45 | 114.2
16680 | 2021-02-18 12:15 | 80.3345 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5979 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.903 | 126840.7461 | 308425.8934 | 30.45 | 114.2
16690 | 2021-02-18 12:16 | 80.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.6854 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.899 | 126831.7735 | 308417.8508 | 30.45 | 114.2
16700 | 2021-02-18 12:16 | 81.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.6635 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.9 | 126837.4916 | 308420.2405 | 30.45 | 114.2
16710 | 2021-02-18 12:16 | 81.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.6115 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.9 | 126838.6989 | 308414.6552 | 30.45 | 114.2
16720 | 2021-02-18 12:17 | 81.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5896 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.901 | 126839.0291 | 308411.4189 | 30.45 | 114.2
16730 | 2021-02-18 12:17 | 82.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.524 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.904 | 126839.3336 | 308405.3978 | 30.45 | 114.2
16740 | 2021-02-18 12:17 | 82.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.576 | μmol/L | 11.2595 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.904 | 126838.1204 | 308416.7063 | 30.45 | 114.2
16750 | 2021-02-18 12:18 | 82.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5459 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.903 | 126845.3066 | 308400.0093 | 30.45 | 114.2
16760 | 2021-02-18 12:18 | 83.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.472 | μmol/L | 11.2718 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.904 | 126843.8855 | 308381.2828 | 30.45 | 114.2
16770 | 2021-02-18 12:18 | 83.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5022 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.905 | 126834.9204 | 308391.3339 | 30.45 | 114.2
16780 | 2021-02-18 12:19 | 83.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.524 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.904 | 126835.0364 | 308385.2724 | 30.45 | 114.2
16790 | 2021-02-18 12:19 | 84.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5677 | μmol/L | 11.2657 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.902 | 126833.4793 | 308387.5679 | 30.45 | 114.2
16800 | 2021-02-18 12:19 | 84.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5074 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.9 | 126838.1916 | 308371.8723 | 30.45 | 114.2
16810 | 2021-02-18 12:20 | 84.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5157 | μmol/L | 11.2718 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.902 | 126824.5843 | 308367.8388 | 30.45 | 114.2
16820 | 2021-02-18 12:20 | 85.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.472 | μmol/L | 11.2718 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.904 | 126820.4006 | 308368.7657 | 30.45 | 114.2
16830 | 2021-02-18 12:20 | 85.3349 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5074 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.9 | 126818.8565 | 308366.8226 | 30.45 | 114.2
16840 | 2021-02-18 12:21 | 85.6682 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5157 | μmol/L | 11.2718 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.902 | 126809.363 | 308351.4279 | 30.45 | 114.2
16850 | 2021-02-18 12:21 | 86.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5949 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126812.5973 | 308332.2748 | 30.45 | 114.2
16860 | 2021-02-18 12:21 | 86.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4856 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.901 | 126791.9667 | 308332.5026 | 30.45 | 114.2
16870 | 2021-02-18 12:22 | 86.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4637 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.902 | 126782.8591 | 308340.0011 | 30.45 | 114.2
16880 | 2021-02-18 12:22 | 87.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3816 | μmol/L | 11.2902 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.901 | 126790.2013 | 308332.5114 | 30.45 | 114.2
16890 | 2021-02-18 12:22 | 87.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.573 | μmol/L | 11.2779 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126788.967 | 308327.8122 | 30.45 | 114.2
16900 | 2021-02-18 12:23 | 87.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.521 | μmol/L | 11.2841 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126787.9997 | 308320.1683 | 30.45 | 114.2
16910 | 2021-02-18 12:23 | 88.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.469 | μmol/L | 11.2902 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126771.8019 | 308331.6526 | 30.45 | 114.2
16920 | 2021-02-18 12:23 | 88.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4909 | μmol/L | 11.2902 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126774.1413 | 308313.5462 | 30.45 | 114.2
16930 | 2021-02-18 12:24 | 88.6678 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.521 | μmol/L | 11.2841 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126755.7158 | 308314.32 | 30.45 | 114.2
16940 | 2021-02-18 12:24 | 89.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4471 | μmol/L | 11.2902 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.898 | 126753.4838 | 308311.733 | 30.45 | 114.2
16950 | 2021-02-18 12:24 | 89.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.469 | μmol/L | 11.2902 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126754.0226 | 308304.5241 | 30.45 | 114.2
16960 | 2021-02-18 12:25 | 89.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4034 | μmol/L | 11.2902 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.9 | 126756.4379 | 308294.0138 | 30.45 | 114.2
16970 | 2021-02-18 12:25 | 90.0012 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.469 | μmol/L | 11.2902 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126753.3779 | 308300.6909 | 30.45 | 114.2
16980 | 2021-02-18 12:25 | 90.3342 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4306 | μmol/L | 11.3025 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126746.9806 | 308299.0137 | 30.45 | 114.2
16990 | 2021-02-18 12:26 | 90.668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.5044 | μmol/L | 11.2963 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126756.2741 | 308288.8771 | 30.45 | 114.2
17000 | 2021-02-18 12:26 | 91.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3952 | μmol/L | 11.2963 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.898 | 126741.3054 | 308290.4947 | 30.45 | 114.2
17010 | 2021-02-18 12:26 | 91.3347 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4389 | μmol/L | 11.2963 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126729.982 | 308279.7927 | 30.45 | 114.2
17020 | 2021-02-18 12:27 | 91.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3432 | μmol/L | 11.3025 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.898 | 126725.2857 | 308280.8186 | 30.45 | 114.2
17030 | 2021-02-18 12:27 | 92.0013 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4607 | μmol/L | 11.2963 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.895 | 126726.5024 | 308274.3172 | 30.45 | 114.2
17040 | 2021-02-18 12:27 | 92.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3787 | μmol/L | 11.3086 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126736.69 | 308275.6875 | 30.45 | 114.2
17050 | 2021-02-18 12:28 | 92.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3869 | μmol/L | 11.3025 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126730.6263 | 308263.1568 | 30.45 | 114.2
17060 | 2021-02-18 12:28 | 93.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4306 | μmol/L | 11.3025 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126715.0375 | 308267.9972 | 30.45 | 114.2
17070 | 2021-02-18 12:28 | 93.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2913 | μmol/L | 11.3086 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.898 | 126716.4565 | 308252.1679 | 30.45 | 114.2
17080 | 2021-02-18 12:29 | 93.6681 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3568 | μmol/L | 11.3086 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.895 | 126722.1028 | 308248.8315 | 30.45 | 114.2
17090 | 2021-02-18 12:29 | 94.0011 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2913 | μmol/L | 11.3086 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.898 | 126707.9978 | 308255.1637 | 30.45 | 114.2
17100 | 2021-02-18 12:29 | 94.3346 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.3267 | μmol/L | 11.3147 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126706.0789 | 308247.311 | 30.45 | 114.2
17110 | 2021-02-18 12:30 | 94.6679 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.283 | μmol/L | 11.3147 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.896 | 126709.1153 | 308237.733 | 30.45 | 114.2
17120 | 2021-02-18 12:30 | 95.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4005 | μmol/L | 11.3086 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.893 | 126702.3128 | 308251.1368 | 30.45 | 114.2
17130 | 2021-02-18 12:30 | 95.3348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2093 | μmol/L | 11.3208 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.897 | 126693.6037 | 308231.7979 | 30.45 | 114.2
17140 | 2021-02-18 12:31 | 95.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4661 | μmol/L | 11.3086 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.89 | 126697.0159 | 308242.6039 | 30.45 | 114.2
17150 | 2021-02-18 12:31 | 96.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.2748 | μmol/L | 11.3208 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 23.894 | 126696.1848 | 308229.2077 | 30.45 | 114.2