## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 12:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
14271 | 2021-02-18 10:55 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8605 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.512 | 167921.8534 | 303228.4127 | 59.9307 | 49.4
14281 | 2021-02-18 10:56 | 0.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7582 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.514 | 167863.8072 | 303219.1971 | 59.9307 | 49.4
14291 | 2021-02-18 10:56 | 0.66092 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8047 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.512 | 167855.7513 | 303212.9381 | 59.9307 | 49.4
14301 | 2021-02-18 10:56 | 0.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8047 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.512 | 167743.6849 | 303204.8994 | 59.9307 | 49.4
14311 | 2021-02-18 10:57 | 1.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7582 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.514 | 167678.1522 | 303197.5423 | 59.9307 | 49.4
14321 | 2021-02-18 10:57 | 1.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.721 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.518 | 167677.59 | 303205.9378 | 59.9307 | 49.4
14331 | 2021-02-18 10:57 | 1.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7675 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.516 | 167669.9004 | 303231.5105 | 59.9307 | 49.4
14341 | 2021-02-18 10:58 | 2.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6884 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.517 | 167684.5848 | 303257.3801 | 59.9307 | 49.4
14351 | 2021-02-18 10:58 | 2.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7535 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.519 | 167708.4472 | 303259.2552 | 59.9307 | 49.4
14361 | 2021-02-18 10:58 | 2.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7535 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.519 | 167713.4309 | 303248.0972 | 59.9307 | 49.4
14371 | 2021-02-18 10:59 | 3.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8233 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.516 | 167754.3477 | 303286.2477 | 59.9307 | 49.4
14381 | 2021-02-18 10:59 | 3.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7861 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.52 | 167771.6481 | 303303.2703 | 59.9307 | 49.4
14391 | 2021-02-18 10:59 | 3.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8559 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.517 | 167783.5526 | 303312.3247 | 59.9307 | 49.4
14401 | 2021-02-18 11:00 | 4.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8884 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.518 | 167809.9684 | 303312.0567 | 59.9307 | 49.4
14411 | 2021-02-18 11:00 | 4.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7721 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.523 | 167822.7536 | 303318.7862 | 59.9307 | 49.4
14421 | 2021-02-18 11:00 | 4.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8419 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.52 | 167841.4445 | 303319.8454 | 59.9307 | 49.4
14431 | 2021-02-18 11:01 | 5.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8512 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.522 | 167876.0655 | 303340.7421 | 59.9307 | 49.4
14441 | 2021-02-18 11:01 | 5.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.828 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.523 | 167886.6933 | 303345.1204 | 59.9307 | 49.4
14451 | 2021-02-18 11:01 | 5.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.828 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.523 | 167899.2166 | 303350.2955 | 59.9307 | 49.4
14461 | 2021-02-18 11:02 | 6.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.9071 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.522 | 167908.4957 | 303359.7199 | 59.9307 | 49.4
14471 | 2021-02-18 11:02 | 6.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8978 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.52 | 167923.0864 | 303360.3303 | 59.9307 | 49.4
14481 | 2021-02-18 11:02 | 6.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8512 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.522 | 167931.2403 | 303368.6843 | 59.9307 | 49.4
14491 | 2021-02-18 11:03 | 7.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7489 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.524 | 167955.0667 | 303342.726 | 59.9307 | 49.4
14501 | 2021-02-18 11:03 | 7.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7256 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.525 | 167952.5804 | 303339.8109 | 59.9307 | 49.4
14511 | 2021-02-18 11:03 | 7.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7954 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.522 | 167973.6396 | 303346.3164 | 59.9307 | 49.4
14521 | 2021-02-18 11:04 | 8.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7814 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.525 | 167983.1207 | 303359.6795 | 59.9307 | 49.4
14531 | 2021-02-18 11:04 | 8.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8047 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.524 | 167989.8303 | 303348.545 | 59.9307 | 49.4
14541 | 2021-02-18 11:04 | 8.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7675 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.528 | 167999.612 | 303355.916 | 59.9307 | 49.4
14551 | 2021-02-18 11:05 | 9.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7814 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.525 | 168007.9167 | 303361.5297 | 59.9307 | 49.4
14561 | 2021-02-18 11:05 | 9.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7908 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.527 | 168019.9645 | 303349.145 | 59.9307 | 49.4
14571 | 2021-02-18 11:05 | 9.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7349 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.527 | 168023.6666 | 303345.2333 | 59.9307 | 49.4
14581 | 2021-02-18 11:06 | 10.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7675 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.528 | 168021.3888 | 303318.7744 | 59.9307 | 49.4
14591 | 2021-02-18 11:06 | 10.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.814 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.526 | 168022.7568 | 303331.4995 | 59.9307 | 49.4
14601 | 2021-02-18 11:06 | 10.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7675 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.528 | 168030.2196 | 303323.4674 | 59.9307 | 49.4
14611 | 2021-02-18 11:07 | 11.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7442 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.529 | 168033.1503 | 303323.5578 | 59.9307 | 49.4
14621 | 2021-02-18 11:07 | 11.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7908 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.527 | 168034.9189 | 303322.7456 | 59.9307 | 49.4
14631 | 2021-02-18 11:07 | 11.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8001 | μmol/L | 10.596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.529 | 168039.1558 | 303328.1991 | 59.9307 | 49.4
14641 | 2021-02-18 11:08 | 12.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6513 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.533 | 168043.0708 | 303335.0425 | 59.9307 | 49.4
14651 | 2021-02-18 11:08 | 12.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.8233 | μmol/L | 10.596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.528 | 168029.5596 | 303302.1786 | 59.9307 | 49.4
14661 | 2021-02-18 11:08 | 12.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6977 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.531 | 168038.0746 | 303317.9637 | 59.9307 | 49.4
14671 | 2021-02-18 11:09 | 13.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6652 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.53 | 168041.916 | 303308.5451 | 59.9307 | 49.4
14681 | 2021-02-18 11:09 | 13.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6745 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 168045.4274 | 303294.0885 | 59.9307 | 49.4
14691 | 2021-02-18 11:09 | 13.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5955 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.533 | 168038.8033 | 303290.7265 | 59.9307 | 49.4
14701 | 2021-02-18 11:10 | 14.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7071 | μmol/L | 10.596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.533 | 168037.3607 | 303290.7171 | 59.9307 | 49.4
14711 | 2021-02-18 11:10 | 14.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6187 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 168038.7767 | 303280.1414 | 59.9307 | 49.4
14721 | 2021-02-18 11:10 | 14.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.7303 | μmol/L | 10.596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 168045.575 | 303288.2638 | 59.9307 | 49.4
14731 | 2021-02-18 11:11 | 15.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.628 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.534 | 168034.2508 | 303267.3831 | 59.9307 | 49.4
14741 | 2021-02-18 11:11 | 15.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6745 | μmol/L | 10.6021 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 168036.4983 | 303264.7781 | 59.9307 | 49.4
14751 | 2021-02-18 11:11 | 15.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4932 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.535 | 168025.3315 | 303251.6344 | 59.9307 | 49.4
14761 | 2021-02-18 11:12 | 16.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6187 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 168020.7521 | 303266.1654 | 59.9307 | 49.4
14771 | 2021-02-18 11:12 | 16.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5722 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.534 | 168013.0352 | 303268.584 | 59.9307 | 49.4
14781 | 2021-02-18 11:12 | 16.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5722 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.534 | 168015.9151 | 303241.0129 | 59.9307 | 49.4
14791 | 2021-02-18 11:13 | 17.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5955 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.533 | 168020.2861 | 303230.7686 | 59.9307 | 49.4
14801 | 2021-02-18 11:13 | 17.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5397 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.533 | 168024.7697 | 303241.931 | 59.9307 | 49.4
14811 | 2021-02-18 11:13 | 17.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.6187 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.532 | 168012.4229 | 303231.0133 | 59.9307 | 49.4
14821 | 2021-02-18 11:14 | 18.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5722 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.534 | 168001.3738 | 303206.2053 | 59.9307 | 49.4
14831 | 2021-02-18 11:14 | 18.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4932 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.535 | 168017.6532 | 303219.7337 | 59.9307 | 49.4
14841 | 2021-02-18 11:14 | 18.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5257 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.536 | 167998.2614 | 303225.9823 | 59.9307 | 49.4
14851 | 2021-02-18 11:15 | 19.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4235 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.538 | 167998.0579 | 303224.5531 | 59.9307 | 49.4
14861 | 2021-02-18 11:15 | 19.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.5025 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.537 | 167988.8937 | 303203.5449 | 59.9307 | 49.4
14871 | 2021-02-18 11:15 | 19.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.549 | μmol/L | 10.6083 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.535 | 167978.4546 | 303197.6806 | 59.9307 | 49.4
14881 | 2021-02-18 11:16 | 20.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.47 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.536 | 167982.2208 | 303173.1552 | 59.9307 | 49.4
14891 | 2021-02-18 11:16 | 20.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4932 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.535 | 167981.3323 | 303176.2145 | 59.9307 | 49.4
14901 | 2021-02-18 11:16 | 20.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.47 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.536 | 167969.2828 | 303181.5577 | 59.9307 | 49.4
14911 | 2021-02-18 11:17 | 21.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4467 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.537 | 167967.7358 | 303168.3374 | 59.9307 | 49.4
14921 | 2021-02-18 11:17 | 21.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4235 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.538 | 167962.55 | 303162.1045 | 59.9307 | 49.4
14931 | 2021-02-18 11:17 | 21.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.47 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.536 | 167956.711 | 303144.1367 | 59.9307 | 49.4
14941 | 2021-02-18 11:18 | 22.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3353 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.537 | 167946.5729 | 303157.1952 | 59.9307 | 49.4
14951 | 2021-02-18 11:18 | 22.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3213 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167939.6598 | 303142.7001 | 59.9307 | 49.4
14961 | 2021-02-18 11:18 | 22.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.391 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.537 | 167944.794 | 303142.4971 | 59.9307 | 49.4
14971 | 2021-02-18 11:19 | 23.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2656 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167950.2599 | 303128.9813 | 59.9307 | 49.4
14981 | 2021-02-18 11:19 | 23.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3678 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.538 | 167935.115 | 303126.1521 | 59.9307 | 49.4
14991 | 2021-02-18 11:19 | 23.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.391 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.537 | 167922.9367 | 303122.8297 | 59.9307 | 49.4
15001 | 2021-02-18 11:20 | 24.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3446 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.539 | 167917.5752 | 303124.427 | 59.9307 | 49.4
15011 | 2021-02-18 11:20 | 24.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.4003 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.539 | 167916.943 | 303103.5421 | 59.9307 | 49.4
15021 | 2021-02-18 11:20 | 24.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3446 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.539 | 167909.3686 | 303084.9569 | 59.9307 | 49.4
15031 | 2021-02-18 11:21 | 25.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3771 | μmol/L | 10.6144 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167904.7911 | 303092.6431 | 59.9307 | 49.4
15041 | 2021-02-18 11:21 | 25.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.3213 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167897.5565 | 303067.3111 | 59.9307 | 49.4
15051 | 2021-02-18 11:21 | 25.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.312 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.538 | 167895.5696 | 303068.4619 | 59.9307 | 49.4
15061 | 2021-02-18 11:22 | 26.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2981 | μmol/L | 10.6206 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.541 | 167893.4848 | 303066.6094 | 59.9307 | 49.4
15071 | 2021-02-18 11:22 | 26.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2888 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.539 | 167881.282 | 303046.4738 | 59.9307 | 49.4
15081 | 2021-02-18 11:22 | 26.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.312 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.538 | 167874.7443 | 303050.9477 | 59.9307 | 49.4
15091 | 2021-02-18 11:23 | 27.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2424 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.541 | 167866.4407 | 303045.1681 | 59.9307 | 49.4
15101 | 2021-02-18 11:23 | 27.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2424 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.541 | 167862.7568 | 303056.2056 | 59.9307 | 49.4
15111 | 2021-02-18 11:23 | 27.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2192 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 167862.2362 | 303048.6716 | 59.9307 | 49.4
15121 | 2021-02-18 11:24 | 28.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2424 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.541 | 167862.0941 | 303029.7449 | 59.9307 | 49.4
15131 | 2021-02-18 11:24 | 28.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2099 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167856.1411 | 303018.6799 | 59.9307 | 49.4
15141 | 2021-02-18 11:24 | 28.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2192 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 167849.9907 | 303033.8488 | 59.9307 | 49.4
15151 | 2021-02-18 11:25 | 29.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2656 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167848.8985 | 303025.4376 | 59.9307 | 49.4
15161 | 2021-02-18 11:25 | 29.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2192 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 167844.3987 | 303017.2626 | 59.9307 | 49.4
15171 | 2021-02-18 11:25 | 29.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2424 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.541 | 167828.4036 | 303006.2986 | 59.9307 | 49.4
15181 | 2021-02-18 11:26 | 30.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.2656 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167829.4549 | 303010.1461 | 59.9307 | 49.4
15191 | 2021-02-18 11:26 | 30.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0707 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.546 | 167824.7192 | 303005.4778 | 59.9307 | 49.4
15201 | 2021-02-18 11:26 | 30.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1542 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.54 | 167820.8047 | 302998.5909 | 59.9307 | 49.4
15211 | 2021-02-18 11:27 | 31.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1171 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 167807.247 | 302979.683 | 59.9307 | 49.4
15221 | 2021-02-18 11:27 | 31.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1635 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 167794.7223 | 302974.7725 | 59.9307 | 49.4
15231 | 2021-02-18 11:27 | 31.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0939 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.545 | 167793.9696 | 302967.2414 | 59.9307 | 49.4
15241 | 2021-02-18 11:28 | 32.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1635 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 167794.6957 | 302962.8029 | 59.9307 | 49.4
15251 | 2021-02-18 11:28 | 32.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0383 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.545 | 167797.3261 | 302962.2129 | 59.9307 | 49.4
15261 | 2021-02-18 11:28 | 32.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1728 | μmol/L | 10.6268 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 167795.195 | 302973.5896 | 59.9307 | 49.4
15271 | 2021-02-18 11:29 | 33.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0383 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.545 | 167799.5233 | 302969.1891 | 59.9307 | 49.4
15281 | 2021-02-18 11:29 | 33.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0383 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.545 | 167778.2959 | 302953.324 | 59.9307 | 49.4
15291 | 2021-02-18 11:29 | 33.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0383 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.545 | 167767.1347 | 302945.6246 | 59.9307 | 49.4
15301 | 2021-02-18 11:30 | 34.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8899 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167769.6873 | 302952.1676 | 59.9307 | 49.4
15311 | 2021-02-18 11:30 | 34.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9919 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.547 | 167773.0982 | 302953.4485 | 59.9307 | 49.4
15321 | 2021-02-18 11:30 | 34.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0615 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 167754.4019 | 302921.0053 | 59.9307 | 49.4
15331 | 2021-02-18 11:31 | 35.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.1171 | μmol/L | 10.6329 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 167747.7354 | 302924.9891 | 59.9307 | 49.4
15341 | 2021-02-18 11:31 | 35.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0058 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 167743.25 | 302922.5292 | 59.9307 | 49.4
15351 | 2021-02-18 11:31 | 35.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 275.0615 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.544 | 167745.4578 | 302913.2254 | 59.9307 | 49.4
15361 | 2021-02-18 11:32 | 36.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9919 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.547 | 167740.633 | 302904.1593 | 59.9307 | 49.4
15371 | 2021-02-18 11:32 | 36.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9687 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.548 | 167736.7047 | 302921.8249 | 59.9307 | 49.4
15381 | 2021-02-18 11:32 | 36.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8806 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.547 | 167731.2996 | 302907.3855 | 59.9307 | 49.4
15391 | 2021-02-18 11:33 | 37.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9363 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.547 | 167715.5525 | 302866.7899 | 59.9307 | 49.4
15401 | 2021-02-18 11:33 | 37.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8899 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167722.7152 | 302895.5715 | 59.9307 | 49.4
15411 | 2021-02-18 11:33 | 37.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8899 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167707.8542 | 302886.5487 | 59.9307 | 49.4
15421 | 2021-02-18 11:34 | 38.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9455 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167720.5063 | 302898.4244 | 59.9307 | 49.4
15431 | 2021-02-18 11:34 | 38.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9455 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167716.1387 | 302885.546 | 59.9307 | 49.4
15441 | 2021-02-18 11:34 | 38.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8899 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167709.8267 | 302876.0677 | 59.9307 | 49.4
15451 | 2021-02-18 11:35 | 39.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9363 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.547 | 167700.6947 | 302853.553 | 59.9307 | 49.4
15461 | 2021-02-18 11:35 | 39.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.9455 | μmol/L | 10.6391 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167693.359 | 302863.5771 | 59.9307 | 49.4
15471 | 2021-02-18 11:35 | 39.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8899 | μmol/L | 10.6452 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167678.4213 | 302847.8398 | 59.9307 | 49.4
15481 | 2021-02-18 11:36 | 40.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8343 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167682.3743 | 302851.5579 | 59.9307 | 49.4
15491 | 2021-02-18 11:36 | 40.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.788 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.551 | 167684.2906 | 302840.7326 | 59.9307 | 49.4
15501 | 2021-02-18 11:36 | 40.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7555 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 167674.1219 | 302840.7408 | 59.9307 | 49.4
15511 | 2021-02-18 11:37 | 41.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8111 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 167663.2803 | 302819.1502 | 59.9307 | 49.4
15521 | 2021-02-18 11:37 | 41.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8575 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.548 | 167664.164 | 302820.2542 | 59.9307 | 49.4
15531 | 2021-02-18 11:37 | 41.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8111 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 167646.3861 | 302821.475 | 59.9307 | 49.4
15541 | 2021-02-18 11:38 | 42.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8343 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167641.7793 | 302815.7029 | 59.9307 | 49.4
15551 | 2021-02-18 11:38 | 42.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8575 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.548 | 167637.926 | 302814.8437 | 59.9307 | 49.4
15561 | 2021-02-18 11:38 | 42.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8111 | μmol/L | 10.6514 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 167636.8635 | 302830.2693 | 59.9307 | 49.4
15571 | 2021-02-18 11:39 | 43.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.8019 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.548 | 167636.9742 | 302807.2828 | 59.9307 | 49.4
15581 | 2021-02-18 11:39 | 43.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7787 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167628.4587 | 302784.8349 | 59.9307 | 49.4
15591 | 2021-02-18 11:39 | 43.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7231 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167625.4443 | 302785.6451 | 59.9307 | 49.4
15601 | 2021-02-18 11:40 | 44.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6398 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167617.9188 | 302781.7763 | 59.9307 | 49.4
15611 | 2021-02-18 11:40 | 44.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7787 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167610.6908 | 302775.6557 | 59.9307 | 49.4
15621 | 2021-02-18 11:40 | 44.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7787 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167616.6549 | 302776.0331 | 59.9307 | 49.4
15631 | 2021-02-18 11:41 | 45.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7092 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167609.2266 | 302767.1896 | 59.9307 | 49.4
15641 | 2021-02-18 11:41 | 45.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7092 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167602.0009 | 302764.1528 | 59.9307 | 49.4
15651 | 2021-02-18 11:41 | 45.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7787 | μmol/L | 10.6575 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167604.8944 | 302752.6473 | 59.9307 | 49.4
15661 | 2021-02-18 11:42 | 46.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6768 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.551 | 167586.787 | 302754.9893 | 59.9307 | 49.4
15671 | 2021-02-18 11:42 | 46.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6536 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167594.8214 | 302753.0876 | 59.9307 | 49.4
15681 | 2021-02-18 11:42 | 46.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6305 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.553 | 167591.0212 | 302763.4783 | 59.9307 | 49.4
15691 | 2021-02-18 11:43 | 47.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.7 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 167581.5679 | 302755.7592 | 59.9307 | 49.4
15701 | 2021-02-18 11:43 | 47.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6536 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167579.5488 | 302734.7306 | 59.9307 | 49.4
15711 | 2021-02-18 11:43 | 47.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5749 | μmol/L | 10.6698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.553 | 167571.7864 | 302734.0289 | 59.9307 | 49.4
15721 | 2021-02-18 11:44 | 48.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6768 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.551 | 167575.8195 | 302719.9441 | 59.9307 | 49.4
15731 | 2021-02-18 11:44 | 48.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5842 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167561.2083 | 302721.0894 | 59.9307 | 49.4
15741 | 2021-02-18 11:44 | 48.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6675 | μmol/L | 10.6698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167554.5267 | 302702.2973 | 59.9307 | 49.4
15751 | 2021-02-18 11:45 | 49.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6768 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.551 | 167558.2016 | 302710.176 | 59.9307 | 49.4
15761 | 2021-02-18 11:45 | 49.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5287 | μmol/L | 10.6698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167554.3865 | 302718.6778 | 59.9307 | 49.4
15771 | 2021-02-18 11:45 | 49.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6073 | μmol/L | 10.6637 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167548.5146 | 302712.7802 | 59.9307 | 49.4
15781 | 2021-02-18 11:46 | 50.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5981 | μmol/L | 10.6698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167543.2584 | 302713.9623 | 59.9307 | 49.4
15791 | 2021-02-18 11:46 | 50.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6675 | μmol/L | 10.6698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.549 | 167548.6193 | 302708.829 | 59.9307 | 49.4
15801 | 2021-02-18 11:46 | 50.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5426 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167541.0996 | 302705.6782 | 59.9307 | 49.4
15811 | 2021-02-18 11:47 | 51.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.6212 | μmol/L | 10.6698 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.551 | 167539.5879 | 302673.6907 | 59.9307 | 49.4
15821 | 2021-02-18 11:47 | 51.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5426 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167534.5145 | 302700.1743 | 59.9307 | 49.4
15831 | 2021-02-18 11:47 | 51.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4963 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167531.7456 | 302676.1447 | 59.9307 | 49.4
15841 | 2021-02-18 11:48 | 52.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.45 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167509.0439 | 302674.8707 | 59.9307 | 49.4
15851 | 2021-02-18 11:48 | 52.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4963 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167512.8251 | 302666.5422 | 59.9307 | 49.4
15861 | 2021-02-18 11:48 | 52.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4927 | μmol/L | 10.676 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167520.0236 | 302658.7971 | 59.9307 | 49.4
15871 | 2021-02-18 11:49 | 53.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4963 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167509.9612 | 302652.2194 | 59.9307 | 49.4
15881 | 2021-02-18 11:49 | 53.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3945 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167500.1015 | 302655.3046 | 59.9307 | 49.4
15891 | 2021-02-18 11:49 | 53.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5426 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167501.6528 | 302650.8041 | 59.9307 | 49.4
15901 | 2021-02-18 11:50 | 54.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.5426 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167501.1683 | 302640.8655 | 59.9307 | 49.4
15911 | 2021-02-18 11:50 | 54.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.539 | μmol/L | 10.676 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.552 | 167489.3117 | 302633.4157 | 59.9307 | 49.4
15921 | 2021-02-18 11:50 | 54.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4176 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167491.567 | 302632.7166 | 59.9307 | 49.4
15931 | 2021-02-18 11:51 | 55.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4176 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167479.8616 | 302638.4604 | 59.9307 | 49.4
15941 | 2021-02-18 11:51 | 55.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3714 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.557 | 167483.4326 | 302631.8234 | 59.9307 | 49.4
15951 | 2021-02-18 11:51 | 55.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4963 | μmol/L | 10.676 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167478.9329 | 302615.048 | 59.9307 | 49.4
15961 | 2021-02-18 11:52 | 56.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3714 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.557 | 167474.4068 | 302615.9875 | 59.9307 | 49.4
15971 | 2021-02-18 11:52 | 56.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3622 | μmol/L | 10.6883 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167466.4377 | 302613.1318 | 59.9307 | 49.4
15981 | 2021-02-18 11:52 | 56.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3817 | μmol/L | 10.6883 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167455.8778 | 302587.0441 | 59.9307 | 49.4
15991 | 2021-02-18 11:53 | 57.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3945 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167454.6568 | 302603.3414 | 59.9307 | 49.4
16001 | 2021-02-18 11:53 | 57.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4176 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167447.5067 | 302582.7899 | 59.9307 | 49.4
16011 | 2021-02-18 11:53 | 57.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3123 | μmol/L | 10.6883 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.557 | 167451.1385 | 302585.5616 | 59.9307 | 49.4
16021 | 2021-02-18 11:54 | 58.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.4408 | μmol/L | 10.6822 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167444.4349 | 302592.2176 | 59.9307 | 49.4
16031 | 2021-02-18 11:54 | 58.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3067 | μmol/L | 10.6945 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167435.3133 | 302571.4938 | 59.9307 | 49.4
16041 | 2021-02-18 11:54 | 58.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3853 | μmol/L | 10.6883 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167432.3786 | 302589.3027 | 59.9307 | 49.4
16051 | 2021-02-18 11:55 | 59.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3298 | μmol/L | 10.6945 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.554 | 167424.9578 | 302589.2091 | 59.9307 | 49.4
16061 | 2021-02-18 11:55 | 59.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2836 | μmol/L | 10.6945 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167425.6482 | 302574.8757 | 59.9307 | 49.4
16071 | 2021-02-18 11:55 | 59.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3123 | μmol/L | 10.6883 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.557 | 167417.1709 | 302569.8274 | 59.9307 | 49.4
16081 | 2021-02-18 11:56 | 60.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3355 | μmol/L | 10.6883 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167414.3365 | 302579.0519 | 59.9307 | 49.4
16091 | 2021-02-18 11:56 | 60.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.3031 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167402.8964 | 302538.6283 | 59.9307 | 49.4
16101 | 2021-02-18 11:56 | 60.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1783 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167407.1797 | 302550.5257 | 59.9307 | 49.4
16111 | 2021-02-18 11:57 | 61.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2246 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167402.5943 | 302550.0425 | 59.9307 | 49.4
16121 | 2021-02-18 11:57 | 61.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1875 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167402.8824 | 302556.4691 | 59.9307 | 49.4
16131 | 2021-02-18 11:57 | 61.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.28 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167394.6981 | 302547.9472 | 59.9307 | 49.4
16141 | 2021-02-18 11:58 | 62.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2338 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167384.5608 | 302537.8686 | 59.9307 | 49.4
16151 | 2021-02-18 11:58 | 62.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2477 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.555 | 167389.3673 | 302552.7636 | 59.9307 | 49.4
16161 | 2021-02-18 11:58 | 62.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1783 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167389.3311 | 302528.7307 | 59.9307 | 49.4
16171 | 2021-02-18 11:59 | 63.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2014 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.557 | 167385.2459 | 302523.885 | 59.9307 | 49.4
16181 | 2021-02-18 11:59 | 63.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2338 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167383.5979 | 302520.4688 | 59.9307 | 49.4
16191 | 2021-02-18 11:59 | 63.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2569 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.557 | 167386.9589 | 302524.407 | 59.9307 | 49.4
16201 | 2021-02-18 12:00 | 64.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1783 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167382.2709 | 302525.0763 | 59.9307 | 49.4
16211 | 2021-02-18 12:00 | 64.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2338 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167376.1915 | 302522.1468 | 59.9307 | 49.4
16221 | 2021-02-18 12:00 | 64.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1875 | μmol/L | 10.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167380.6304 | 302525.0462 | 59.9307 | 49.4
16231 | 2021-02-18 12:01 | 65.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.2246 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.556 | 167379.778 | 302517.3351 | 59.9307 | 49.4
16241 | 2021-02-18 12:01 | 65.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1783 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167361.4313 | 302493.1204 | 59.9307 | 49.4
16251 | 2021-02-18 12:01 | 65.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0767 | μmol/L | 10.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167372.9249 | 302520.2787 | 59.9307 | 49.4
16261 | 2021-02-18 12:02 | 66.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1229 | μmol/L | 10.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167367.2473 | 302511.8286 | 59.9307 | 49.4
16271 | 2021-02-18 12:02 | 66.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1552 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 167354.1869 | 302490.3228 | 59.9307 | 49.4
16281 | 2021-02-18 12:02 | 66.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0628 | μmol/L | 10.7006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167359.2955 | 302495.6917 | 59.9307 | 49.4
16291 | 2021-02-18 12:03 | 67.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0444 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 167354.9316 | 302473.8322 | 59.9307 | 49.4
16301 | 2021-02-18 12:03 | 67.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0213 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167365.0401 | 302476.5943 | 59.9307 | 49.4
16311 | 2021-02-18 12:03 | 67.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0767 | μmol/L | 10.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167359.1951 | 302474.0036 | 59.9307 | 49.4
16321 | 2021-02-18 12:04 | 68.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.952 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167348.3689 | 302479.1241 | 59.9307 | 49.4
16331 | 2021-02-18 12:04 | 68.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.1229 | μmol/L | 10.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 167332.2191 | 302481.7704 | 59.9307 | 49.4
16341 | 2021-02-18 12:04 | 68.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0444 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 167351.0489 | 302471.8587 | 59.9307 | 49.4
16351 | 2021-02-18 12:05 | 69.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0074 | μmol/L | 10.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167350.6203 | 302482.5123 | 59.9307 | 49.4
16361 | 2021-02-18 12:05 | 69.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.952 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167356.8544 | 302494.5622 | 59.9307 | 49.4
16371 | 2021-02-18 12:05 | 69.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.989 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 167346.5598 | 302478.3576 | 59.9307 | 49.4
16381 | 2021-02-18 12:06 | 70.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0213 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167331.9005 | 302461.0264 | 59.9307 | 49.4
16391 | 2021-02-18 12:06 | 70.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0767 | μmol/L | 10.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167330.2208 | 302453.2983 | 59.9307 | 49.4
16401 | 2021-02-18 12:06 | 70.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0444 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 167336.1671 | 302448.0994 | 59.9307 | 49.4
16411 | 2021-02-18 12:07 | 71.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0305 | μmol/L | 10.7068 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 167343.9076 | 302462.2594 | 59.9307 | 49.4
16421 | 2021-02-18 12:07 | 71.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 274.0213 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 167336.8178 | 302451.7149 | 59.9307 | 49.4
16431 | 2021-02-18 12:07 | 71.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.9751 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 167322.1227 | 302439.8669 | 59.9307 | 49.4
16441 | 2021-02-18 12:08 | 72.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.952 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167327.7409 | 302461.9668 | 59.9307 | 49.4
16451 | 2021-02-18 12:08 | 72.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.9751 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 167327.7235 | 302436.8179 | 59.9307 | 49.4
16461 | 2021-02-18 12:08 | 72.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.9982 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 167327.0899 | 302461.1276 | 59.9307 | 49.4
16471 | 2021-02-18 12:09 | 73.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.9751 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 167329.8663 | 302435.043 | 59.9307 | 49.4
16481 | 2021-02-18 12:09 | 73.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.952 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167331.1693 | 302436.0176 | 59.9307 | 49.4
16491 | 2021-02-18 12:09 | 73.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8967 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167329.8109 | 302421.6589 | 59.9307 | 49.4
16501 | 2021-02-18 12:10 | 74.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8736 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 167320.8426 | 302433.4368 | 59.9307 | 49.4
16511 | 2021-02-18 12:10 | 74.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8505 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167328.7686 | 302422.3168 | 59.9307 | 49.4
16521 | 2021-02-18 12:10 | 74.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8967 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167318.8932 | 302424.3953 | 59.9307 | 49.4
16531 | 2021-02-18 12:11 | 75.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8736 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 167323.5951 | 302431.8482 | 59.9307 | 49.4
16541 | 2021-02-18 12:11 | 75.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.9982 | μmol/L | 10.7129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 167323.3449 | 302418.9762 | 59.9307 | 49.4
16551 | 2021-02-18 12:11 | 75.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8736 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 167327.6452 | 302412.7684 | 59.9307 | 49.4
16561 | 2021-02-18 12:12 | 76.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.749 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 167332.8666 | 302438.0695 | 59.9307 | 49.4
16571 | 2021-02-18 12:12 | 76.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8505 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167328.6788 | 302421.8629 | 59.9307 | 49.4
16581 | 2021-02-18 12:12 | 76.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8967 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 167307.8423 | 302406.1752 | 59.9307 | 49.4
16591 | 2021-02-18 12:13 | 77.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7951 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167305.4305 | 302394.691 | 59.9307 | 49.4
16601 | 2021-02-18 12:13 | 77.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8736 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 167309.5752 | 302386.751 | 59.9307 | 49.4
16611 | 2021-02-18 12:13 | 77.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7721 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.566 | 167310.434 | 302395.7575 | 59.9307 | 49.4
16621 | 2021-02-18 12:14 | 78.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7951 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167302.7673 | 302381.1697 | 59.9307 | 49.4
16631 | 2021-02-18 12:14 | 78.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7813 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167300.4661 | 302386.7696 | 59.9307 | 49.4
16641 | 2021-02-18 12:14 | 78.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8736 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 167293.5859 | 302387.5875 | 59.9307 | 49.4
16651 | 2021-02-18 12:15 | 79.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7168 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.566 | 167290.4135 | 302380.1038 | 59.9307 | 49.4
16661 | 2021-02-18 12:15 | 79.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8505 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167292.0169 | 302383.0936 | 59.9307 | 49.4
16671 | 2021-02-18 12:15 | 79.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7951 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167289.8649 | 302389.7654 | 59.9307 | 49.4
16681 | 2021-02-18 12:16 | 80.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6706 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167283.4904 | 302380.5387 | 59.9307 | 49.4
16691 | 2021-02-18 12:16 | 80.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.8736 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 167290.6337 | 302375.2561 | 59.9307 | 49.4
16701 | 2021-02-18 12:16 | 80.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7259 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167285.6918 | 302384.3962 | 59.9307 | 49.4
16711 | 2021-02-18 12:17 | 81.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7951 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167276.1246 | 302371.9989 | 59.9307 | 49.4
16721 | 2021-02-18 12:17 | 81.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6706 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167282.6928 | 302388.0183 | 59.9307 | 49.4
16731 | 2021-02-18 12:17 | 81.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7398 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 167273.5663 | 302354.7398 | 59.9307 | 49.4
16741 | 2021-02-18 12:18 | 82.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.749 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 167276.8768 | 302342.5297 | 59.9307 | 49.4
16751 | 2021-02-18 12:18 | 82.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6937 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 167261.5554 | 302350.4033 | 59.9307 | 49.4
16761 | 2021-02-18 12:18 | 82.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6014 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 167261.0031 | 302354.5738 | 59.9307 | 49.4
16771 | 2021-02-18 12:19 | 83.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.749 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 167275.827 | 302368.6806 | 59.9307 | 49.4
16781 | 2021-02-18 12:19 | 83.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.689 | μmol/L | 10.7191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167258.6813 | 302331.1735 | 59.9307 | 49.4
16791 | 2021-02-18 12:19 | 83.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6153 | μmol/L | 10.7376 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167259.4651 | 302330.9599 | 59.9307 | 49.4
16801 | 2021-02-18 12:20 | 84.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.7029 | μmol/L | 10.7252 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 167257.3256 | 302339.6134 | 59.9307 | 49.4
16811 | 2021-02-18 12:20 | 84.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6937 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 167260.3982 | 302367.1155 | 59.9307 | 49.4
16821 | 2021-02-18 12:20 | 84.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6476 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 167242.2995 | 302331.6585 | 59.9307 | 49.4
16831 | 2021-02-18 12:21 | 85.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6476 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 167250.2304 | 302349.3771 | 59.9307 | 49.4
16841 | 2021-02-18 12:21 | 85.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6706 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167244.3924 | 302341.5568 | 59.9307 | 49.4
16851 | 2021-02-18 12:21 | 85.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.5784 | μmol/L | 10.7314 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167232.4102 | 302350.4182 | 59.9307 | 49.4
16861 | 2021-02-18 12:22 | 86.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.56 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167244.6064 | 302339.1175 | 59.9307 | 49.4
16871 | 2021-02-18 12:22 | 86.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.5139 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 167241.0428 | 302327.5532 | 59.9307 | 49.4
16881 | 2021-02-18 12:22 | 86.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.6153 | μmol/L | 10.7376 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 167239.0356 | 302333.7153 | 59.9307 | 49.4
16891 | 2021-02-18 12:23 | 87.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.5692 | μmol/L | 10.7376 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 167236.5449 | 302325.752 | 59.9307 | 49.4
16901 | 2021-02-18 12:23 | 87.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.537 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 167231.0585 | 302327.0709 | 59.9307 | 49.4
16911 | 2021-02-18 12:23 | 87.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4678 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167235.8643 | 302328.2732 | 59.9307 | 49.4
16921 | 2021-02-18 12:24 | 88.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4587 | μmol/L | 10.7499 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 167228.1056 | 302314.451 | 59.9307 | 49.4
16931 | 2021-02-18 12:24 | 88.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.5139 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 167227.9816 | 302323.9689 | 59.9307 | 49.4
16941 | 2021-02-18 12:24 | 88.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4909 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 167223.2606 | 302292.4488 | 59.9307 | 49.4
16951 | 2021-02-18 12:25 | 89.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.5139 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 167216.8193 | 302295.3871 | 59.9307 | 49.4
16961 | 2021-02-18 12:25 | 89.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4356 | μmol/L | 10.7499 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 167213.8017 | 302281.0424 | 59.9307 | 49.4
16971 | 2021-02-18 12:25 | 89.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3574 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167215.7682 | 302284.6211 | 59.9307 | 49.4
16981 | 2021-02-18 12:26 | 90.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4817 | μmol/L | 10.7499 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 167202.0268 | 302272.2803 | 59.9307 | 49.4
16991 | 2021-02-18 12:26 | 90.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4126 | μmol/L | 10.7499 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167204.4277 | 302265.738 | 59.9307 | 49.4
17001 | 2021-02-18 12:26 | 90.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4909 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 167196.0377 | 302260.5225 | 59.9307 | 49.4
17011 | 2021-02-18 12:27 | 91.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.537 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 167212.5904 | 302266.9914 | 59.9307 | 49.4
17021 | 2021-02-18 12:27 | 91.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4817 | μmol/L | 10.7499 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 167195.5646 | 302266.7477 | 59.9307 | 49.4
17031 | 2021-02-18 12:27 | 91.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4035 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 167198.6857 | 302271.6831 | 59.9307 | 49.4
17041 | 2021-02-18 12:28 | 92.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3574 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167194.8026 | 302262.8759 | 59.9307 | 49.4
17051 | 2021-02-18 12:28 | 92.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.4909 | μmol/L | 10.7437 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 167191.8322 | 302248.8948 | 59.9307 | 49.4
17061 | 2021-02-18 12:28 | 92.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3482 | μmol/L | 10.7622 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 167193.688 | 302253.1029 | 59.9307 | 49.4
17071 | 2021-02-18 12:29 | 93.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3022 | μmol/L | 10.7622 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167190.3029 | 302267.9393 | 59.9307 | 49.4
17081 | 2021-02-18 12:29 | 93.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3574 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167199.2613 | 302261.8218 | 59.9307 | 49.4
17091 | 2021-02-18 12:29 | 93.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3804 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 167198.5634 | 302251.9489 | 59.9307 | 49.4
17101 | 2021-02-18 12:30 | 94.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3343 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 167190.2947 | 302226.1721 | 59.9307 | 49.4
17111 | 2021-02-18 12:30 | 94.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3574 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167185.9671 | 302239.741 | 59.9307 | 49.4
17121 | 2021-02-18 12:30 | 94.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3574 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 167185.3348 | 302238.056 | 59.9307 | 49.4
17131 | 2021-02-18 12:31 | 95.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3343 | μmol/L | 10.756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 167185.0905 | 302239.1513 | 59.9307 | 49.4
17141 | 2021-02-18 12:31 | 95.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.2561 | μmol/L | 10.7622 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.574 | 167181.3924 | 302225.5324 | 59.9307 | 49.4
17151 | 2021-02-18 12:31 | 95.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 273.3665 | μmol/L | 10.7499 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.574 | 167173.2074 | 302227.4826 | 59.9307 | 49.4