## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 10:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12648 | 2021-02-18 09:56 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4941 | μmol/L | 10.5693 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.73 | 177868.9514 | 321292.3382 | 33.25 | 68.6
12658 | 2021-02-18 09:57 | 0.33368 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4282 | μmol/L | 10.5693 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.733 | 177845.3359 | 321296.4497 | 33.25 | 68.6
12668 | 2021-02-18 09:57 | 0.66656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5499 | μmol/L | 10.5632 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.73 | 177838.6914 | 321262.8691 | 33.25 | 68.6
12678 | 2021-02-18 09:57 | 1.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5279 | μmol/L | 10.5632 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.731 | 177847.4226 | 321229.7713 | 33.25 | 68.6
12688 | 2021-02-18 09:58 | 1.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5177 | μmol/L | 10.5572 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.734 | 177870.9305 | 321219.2526 | 33.25 | 68.6
12698 | 2021-02-18 09:58 | 1.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4619 | μmol/L | 10.5632 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.734 | 177792.7553 | 321204.7261 | 33.25 | 68.6
12708 | 2021-02-18 09:58 | 2.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5955 | μmol/L | 10.5511 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.733 | 177826.0534 | 321170.375 | 33.25 | 68.6
12718 | 2021-02-18 09:59 | 2.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5177 | μmol/L | 10.5572 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.734 | 177840.4297 | 321135.0051 | 33.25 | 68.6
12728 | 2021-02-18 09:59 | 2.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5177 | μmol/L | 10.5572 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.734 | 177866.5067 | 321118.3328 | 33.25 | 68.6
12738 | 2021-02-18 09:59 | 3.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.6175 | μmol/L | 10.5511 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.732 | 177851.0935 | 321093.3454 | 33.25 | 68.6
12748 | 2021-02-18 10:00 | 3.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5075 | μmol/L | 10.5511 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.737 | 177772.2493 | 321077.0647 | 33.25 | 68.6
12758 | 2021-02-18 10:00 | 3.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4973 | μmol/L | 10.545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.74 | 177737.8601 | 321060.9212 | 33.25 | 68.6
12768 | 2021-02-18 10:00 | 4.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5971 | μmol/L | 10.5389 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.738 | 177714.28 | 321031.6712 | 33.25 | 68.6
12778 | 2021-02-18 10:01 | 4.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.697 | μmol/L | 10.5329 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.736 | 177674.6337 | 320991.0876 | 33.25 | 68.6
12788 | 2021-02-18 10:01 | 4.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.587 | μmol/L | 10.5329 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.741 | 177687.0792 | 320994.2505 | 33.25 | 68.6
12798 | 2021-02-18 10:01 | 5 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.565 | μmol/L | 10.5329 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.742 | 177654.7539 | 320954.1508 | 33.25 | 68.6
12808 | 2021-02-18 10:02 | 5.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.565 | μmol/L | 10.5329 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.742 | 177606.3045 | 320925.1007 | 33.25 | 68.6
12818 | 2021-02-18 10:02 | 5.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.543 | μmol/L | 10.5329 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.743 | 177640.0296 | 320913.6888 | 33.25 | 68.6
12828 | 2021-02-18 10:02 | 5.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.6546 | μmol/L | 10.5207 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.743 | 177637.5217 | 320886.6906 | 33.25 | 68.6
12838 | 2021-02-18 10:03 | 6.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4872 | μmol/L | 10.5389 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.743 | 177587.8777 | 320881.5681 | 33.25 | 68.6
12848 | 2021-02-18 10:03 | 6.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5328 | μmol/L | 10.5268 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.746 | 177589.9843 | 320850.6996 | 33.25 | 68.6
12858 | 2021-02-18 10:03 | 7.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5328 | μmol/L | 10.5268 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.746 | 177594.415 | 320841.8599 | 33.25 | 68.6
12868 | 2021-02-18 10:04 | 7.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5108 | μmol/L | 10.5268 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.747 | 177627.957 | 320811.4715 | 33.25 | 68.6
12878 | 2021-02-18 10:04 | 7.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5226 | μmol/L | 10.5207 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.749 | 177595.926 | 320777.0821 | 33.25 | 68.6
12888 | 2021-02-18 10:04 | 8.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4888 | μmol/L | 10.5268 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.748 | 177593.8713 | 320761.0578 | 33.25 | 68.6
12898 | 2021-02-18 10:05 | 8.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5785 | μmol/L | 10.5147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.749 | 177617.6193 | 320752.6273 | 33.25 | 68.6
12908 | 2021-02-18 10:05 | 8.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.6005 | μmol/L | 10.5147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.748 | 177581.3512 | 320708.2199 | 33.25 | 68.6
12918 | 2021-02-18 10:05 | 9.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5785 | μmol/L | 10.5147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.749 | 177571.9333 | 320692.0319 | 33.25 | 68.6
12928 | 2021-02-18 10:06 | 9.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4347 | μmol/L | 10.5207 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.753 | 177538.7447 | 320675.6046 | 33.25 | 68.6
12938 | 2021-02-18 10:06 | 9.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5345 | μmol/L | 10.5147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.751 | 177548.1054 | 320652.6538 | 33.25 | 68.6
12948 | 2021-02-18 10:06 | 10.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5125 | μmol/L | 10.5147 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.752 | 177492.486 | 320629.9342 | 33.25 | 68.6
12958 | 2021-02-18 10:07 | 10.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5243 | μmol/L | 10.5086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.754 | 177470.5637 | 320603.2704 | 33.25 | 68.6
12968 | 2021-02-18 10:07 | 10.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5243 | μmol/L | 10.5086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.754 | 177476.3503 | 320583.6442 | 33.25 | 68.6
12978 | 2021-02-18 10:07 | 11.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5582 | μmol/L | 10.5025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.755 | 177447.1136 | 320578.4458 | 33.25 | 68.6
12988 | 2021-02-18 10:08 | 11.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5802 | μmol/L | 10.5025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.754 | 177437.81 | 320555.207 | 33.25 | 68.6
12998 | 2021-02-18 10:08 | 11.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4922 | μmol/L | 10.5025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.758 | 177431.352 | 320533.9878 | 33.25 | 68.6
13008 | 2021-02-18 10:08 | 12.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5142 | μmol/L | 10.5025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.757 | 177398.2438 | 320514.3704 | 33.25 | 68.6
13018 | 2021-02-18 10:09 | 12.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4922 | μmol/L | 10.5025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.758 | 177415.0533 | 320502.3208 | 33.25 | 68.6
13028 | 2021-02-18 10:09 | 12.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5819 | μmol/L | 10.4904 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.759 | 177383.4217 | 320469.664 | 33.25 | 68.6
13038 | 2021-02-18 10:09 | 12.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.6598 | μmol/L | 10.4843 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.758 | 177414.1165 | 320465.2171 | 33.25 | 68.6
13048 | 2021-02-18 10:10 | 13.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5379 | μmol/L | 10.4904 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.761 | 177396.2668 | 320442.481 | 33.25 | 68.6
13058 | 2021-02-18 10:10 | 13.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5041 | μmol/L | 10.4965 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.76 | 177396.7739 | 320425.8683 | 33.25 | 68.6
13068 | 2021-02-18 10:10 | 14.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.516 | μmol/L | 10.4904 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.762 | 177372.5958 | 320387.5795 | 33.25 | 68.6
13078 | 2021-02-18 10:11 | 14.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5498 | μmol/L | 10.4843 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.763 | 177378.6599 | 320388.3975 | 33.25 | 68.6
13088 | 2021-02-18 10:11 | 14.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5718 | μmol/L | 10.4843 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.762 | 177352.2473 | 320381.6434 | 33.25 | 68.6
13098 | 2021-02-18 10:11 | 14.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5837 | μmol/L | 10.4782 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.764 | 177337.1842 | 320342.9578 | 33.25 | 68.6
13108 | 2021-02-18 10:12 | 15.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5498 | μmol/L | 10.4843 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.763 | 177313.1084 | 320320.1903 | 33.25 | 68.6
13118 | 2021-02-18 10:12 | 15.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4399 | μmol/L | 10.4843 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.768 | 177338.9474 | 320309.6528 | 33.25 | 68.6
13128 | 2021-02-18 10:12 | 16.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4399 | μmol/L | 10.4843 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.768 | 177327.1315 | 320292.6928 | 33.25 | 68.6
13138 | 2021-02-18 10:13 | 16.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5076 | μmol/L | 10.4722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.77 | 177332.215 | 320257.1882 | 33.25 | 68.6
13148 | 2021-02-18 10:13 | 16.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4518 | μmol/L | 10.4782 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.77 | 177322.1074 | 320249.7238 | 33.25 | 68.6
13158 | 2021-02-18 10:13 | 16.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4298 | μmol/L | 10.4782 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.771 | 177318.9152 | 320235.1841 | 33.25 | 68.6
13168 | 2021-02-18 10:14 | 17.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5516 | μmol/L | 10.4722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.768 | 177323.9295 | 320229.9315 | 33.25 | 68.6
13178 | 2021-02-18 10:14 | 17.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4857 | μmol/L | 10.4722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.771 | 177340.0603 | 320207.7093 | 33.25 | 68.6
13188 | 2021-02-18 10:14 | 17.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4637 | μmol/L | 10.4722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.772 | 177294.6316 | 320184.0135 | 33.25 | 68.6
13198 | 2021-02-18 10:15 | 18.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4637 | μmol/L | 10.4722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.772 | 177271.9025 | 320168.3778 | 33.25 | 68.6
13208 | 2021-02-18 10:15 | 18.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4756 | μmol/L | 10.4661 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.774 | 177238.9336 | 320149.0885 | 33.25 | 68.6
13218 | 2021-02-18 10:15 | 19.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4976 | μmol/L | 10.4661 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.773 | 177256.4493 | 320120.0049 | 33.25 | 68.6
13228 | 2021-02-18 10:16 | 19.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3977 | μmol/L | 10.4722 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.775 | 177267.4257 | 320112.6949 | 33.25 | 68.6
13238 | 2021-02-18 10:16 | 19.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5095 | μmol/L | 10.46 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.775 | 177263.0269 | 320097.3999 | 33.25 | 68.6
13248 | 2021-02-18 10:16 | 20.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5095 | μmol/L | 10.46 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.775 | 177211.6736 | 320067.9151 | 33.25 | 68.6
13258 | 2021-02-18 10:17 | 20.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4976 | μmol/L | 10.4661 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.773 | 177205.2915 | 320065.7662 | 33.25 | 68.6
13268 | 2021-02-18 10:17 | 20.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5214 | μmol/L | 10.454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.777 | 177186.1571 | 320031.6751 | 33.25 | 68.6
13278 | 2021-02-18 10:17 | 21 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5095 | μmol/L | 10.46 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.775 | 177175.7888 | 320013.7836 | 33.25 | 68.6
13288 | 2021-02-18 10:18 | 21.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5214 | μmol/L | 10.454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.777 | 177184.056 | 320013.7731 | 33.25 | 68.6
13298 | 2021-02-18 10:18 | 21.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4655 | μmol/L | 10.46 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.777 | 177157.0033 | 319993.8155 | 33.25 | 68.6
13308 | 2021-02-18 10:18 | 21.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4994 | μmol/L | 10.454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.778 | 177165.4387 | 319968.4917 | 33.25 | 68.6
13318 | 2021-02-18 10:19 | 22.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5333 | μmol/L | 10.4479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.779 | 177129.5292 | 319955.8017 | 33.25 | 68.6
13328 | 2021-02-18 10:19 | 22.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5333 | μmol/L | 10.4479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.779 | 177151.847 | 319950.5583 | 33.25 | 68.6
13338 | 2021-02-18 10:19 | 23.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4994 | μmol/L | 10.454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.778 | 177114.1125 | 319915.1063 | 33.25 | 68.6
13348 | 2021-02-18 10:20 | 23.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5113 | μmol/L | 10.4479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.78 | 177101.2985 | 319907 | 33.25 | 68.6
13358 | 2021-02-18 10:20 | 23.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5113 | μmol/L | 10.4479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.78 | 177101.4096 | 319879.8089 | 33.25 | 68.6
13368 | 2021-02-18 10:20 | 24.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4454 | μmol/L | 10.4479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.783 | 177084.334 | 319860.5046 | 33.25 | 68.6
13378 | 2021-02-18 10:21 | 24.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3675 | μmol/L | 10.454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.784 | 177062.881 | 319848.5575 | 33.25 | 68.6
13388 | 2021-02-18 10:21 | 24.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.5452 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.781 | 177043.8303 | 319820.4486 | 33.25 | 68.6
13398 | 2021-02-18 10:21 | 24.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4115 | μmol/L | 10.454 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.782 | 177037.048 | 319807.2068 | 33.25 | 68.6
13408 | 2021-02-18 10:22 | 25.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4454 | μmol/L | 10.4479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.783 | 177029.5069 | 319796.2578 | 33.25 | 68.6
13418 | 2021-02-18 10:22 | 25.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4134 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.787 | 177027.5446 | 319773.6168 | 33.25 | 68.6
13428 | 2021-02-18 10:22 | 26.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4793 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.784 | 177006.1145 | 319757.3778 | 33.25 | 68.6
13438 | 2021-02-18 10:23 | 26.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3914 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.788 | 177013.7121 | 319742.0741 | 33.25 | 68.6
13448 | 2021-02-18 10:23 | 26.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4134 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.787 | 177004.6785 | 319717.7228 | 33.25 | 68.6
13458 | 2021-02-18 10:23 | 27 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4473 | μmol/L | 10.4358 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.788 | 177013.2821 | 319712.4533 | 33.25 | 68.6
13468 | 2021-02-18 10:24 | 27.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4353 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.786 | 176966.7131 | 319683.625 | 33.25 | 68.6
13478 | 2021-02-18 10:24 | 27.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3035 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.792 | 177001.0837 | 319678.1321 | 33.25 | 68.6
13488 | 2021-02-18 10:24 | 27.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2816 | μmol/L | 10.4418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.793 | 177024.1993 | 319668.3137 | 33.25 | 68.6
13498 | 2021-02-18 10:25 | 28.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3814 | μmol/L | 10.4358 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.791 | 177020.5271 | 319636.0532 | 33.25 | 68.6
13508 | 2021-02-18 10:25 | 28.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4033 | μmol/L | 10.4358 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.79 | 177026.1758 | 319632.0228 | 33.25 | 68.6
13518 | 2021-02-18 10:25 | 29.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4153 | μmol/L | 10.4297 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.792 | 176994.7253 | 319617.7206 | 33.25 | 68.6
13528 | 2021-02-18 10:26 | 29.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4253 | μmol/L | 10.4358 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.789 | 176973.6496 | 319601.8848 | 33.25 | 68.6
13538 | 2021-02-18 10:26 | 29.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3814 | μmol/L | 10.4358 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.791 | 176931.5338 | 319584.3376 | 33.25 | 68.6
13548 | 2021-02-18 10:26 | 30.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3933 | μmol/L | 10.4297 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.793 | 176939.0816 | 319574.8543 | 33.25 | 68.6
13558 | 2021-02-18 10:27 | 30.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4153 | μmol/L | 10.4297 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.792 | 176913.0001 | 319556.9481 | 33.25 | 68.6
13568 | 2021-02-18 10:27 | 30.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2835 | μmol/L | 10.4297 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.798 | 176902.9468 | 319540.7925 | 33.25 | 68.6
13578 | 2021-02-18 10:27 | 31.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3613 | μmol/L | 10.4236 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.797 | 176925.5735 | 319524.4609 | 33.25 | 68.6
13588 | 2021-02-18 10:28 | 31.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3393 | μmol/L | 10.4236 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.798 | 176935.5754 | 319515.9257 | 33.25 | 68.6
13598 | 2021-02-18 10:28 | 31.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3393 | μmol/L | 10.4236 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.798 | 176902.4935 | 319494.2645 | 33.25 | 68.6
13608 | 2021-02-18 10:28 | 32 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3613 | μmol/L | 10.4236 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.797 | 176883.249 | 319480.1494 | 33.25 | 68.6
13618 | 2021-02-18 10:29 | 32.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3733 | μmol/L | 10.4175 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.799 | 176891.4663 | 319471.7257 | 33.25 | 68.6
13628 | 2021-02-18 10:29 | 32.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2735 | μmol/L | 10.4236 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.801 | 176863.8386 | 319466.9482 | 33.25 | 68.6
13638 | 2021-02-18 10:29 | 33.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3174 | μmol/L | 10.4236 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.799 | 176878.068 | 319434.6627 | 33.25 | 68.6
13648 | 2021-02-18 10:30 | 33.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3293 | μmol/L | 10.4175 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.801 | 176878.8295 | 319430.8896 | 33.25 | 68.6
13658 | 2021-02-18 10:30 | 33.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3852 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.801 | 176846.5295 | 319403.4222 | 33.25 | 68.6
13668 | 2021-02-18 10:30 | 34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4392 | μmol/L | 10.4175 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.796 | 176825.1087 | 319391.8249 | 33.25 | 68.6
13678 | 2021-02-18 10:31 | 34.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4072 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.8 | 176823.8637 | 319366.8197 | 33.25 | 68.6
13688 | 2021-02-18 10:31 | 34.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4511 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.798 | 176841.1337 | 319356.5426 | 33.25 | 68.6
13698 | 2021-02-18 10:31 | 35.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3074 | μmol/L | 10.4175 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.802 | 176809.818 | 319335.2085 | 33.25 | 68.6
13708 | 2021-02-18 10:32 | 35.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2854 | μmol/L | 10.4175 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.803 | 176792.2559 | 319317.3389 | 33.25 | 68.6
13718 | 2021-02-18 10:32 | 35.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4411 | μmol/L | 10.4054 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.801 | 176776.959 | 319313.9653 | 33.25 | 68.6
13728 | 2021-02-18 10:32 | 35.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3413 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.803 | 176714.3186 | 319295.9417 | 33.25 | 68.6
13738 | 2021-02-18 10:33 | 36.3337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3752 | μmol/L | 10.4054 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.804 | 176656.406 | 319275.5691 | 33.25 | 68.6
13748 | 2021-02-18 10:33 | 36.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3413 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.803 | 176662.1122 | 319262.4993 | 33.25 | 68.6
13758 | 2021-02-18 10:33 | 37.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2974 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.805 | 176684.4134 | 319229.5328 | 33.25 | 68.6
13768 | 2021-02-18 10:34 | 37.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.4092 | μmol/L | 10.3993 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.805 | 176652.1038 | 319230.5853 | 33.25 | 68.6
13778 | 2021-02-18 10:34 | 37.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2654 | μmol/L | 10.4054 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.809 | 176642.1407 | 319217.0412 | 33.25 | 68.6
13788 | 2021-02-18 10:34 | 38.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2315 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.808 | 176596.3919 | 319218.9525 | 33.25 | 68.6
13798 | 2021-02-18 10:35 | 38.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2096 | μmol/L | 10.4115 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.809 | 176624.7494 | 319194.1978 | 33.25 | 68.6
13808 | 2021-02-18 10:35 | 38.6664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3213 | μmol/L | 10.3993 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.809 | 176614.6169 | 319173.7737 | 33.25 | 68.6
13818 | 2021-02-18 10:35 | 39.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2555 | μmol/L | 10.3993 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.812 | 176635.727 | 319156.3745 | 33.25 | 68.6
13828 | 2021-02-18 10:36 | 39.3331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2959 | μmol/L | 10.3993 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.81 | 176643.228 | 319142.0497 | 33.25 | 68.6
13838 | 2021-02-18 10:36 | 39.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2301 | μmol/L | 10.3993 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.813 | 176650.8444 | 319127.7448 | 33.25 | 68.6
13848 | 2021-02-18 10:36 | 39.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3992 | μmol/L | 10.3933 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.808 | 176682.1431 | 319128.9522 | 33.25 | 68.6
13858 | 2021-02-18 10:37 | 40.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3553 | μmol/L | 10.3933 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.81 | 176649.7963 | 319111.1569 | 33.25 | 68.6
13868 | 2021-02-18 10:37 | 40.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3114 | μmol/L | 10.3933 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.812 | 176641.1586 | 319106.7691 | 33.25 | 68.6
13878 | 2021-02-18 10:37 | 41.0001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1996 | μmol/L | 10.4054 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.812 | 176636.128 | 319077.9175 | 33.25 | 68.6
13888 | 2021-02-18 10:38 | 41.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3079 | μmol/L | 10.3933 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.812 | 176636.8638 | 319075.7053 | 33.25 | 68.6
13898 | 2021-02-18 10:38 | 41.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2081 | μmol/L | 10.3993 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.814 | 176625.5956 | 319051.2893 | 33.25 | 68.6
13908 | 2021-02-18 10:38 | 41.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2236 | μmol/L | 10.3933 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.816 | 176625.6332 | 319044.6066 | 33.25 | 68.6
13918 | 2021-02-18 10:39 | 42.3335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1862 | μmol/L | 10.3993 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.815 | 176649.7717 | 319035.9795 | 33.25 | 68.6
13928 | 2021-02-18 10:39 | 42.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1643 | μmol/L | 10.3993 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.816 | 176578.3123 | 319022.2582 | 33.25 | 68.6
13938 | 2021-02-18 10:39 | 43.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.298 | μmol/L | 10.3872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.815 | 176530.8439 | 319012.3646 | 33.25 | 68.6
13948 | 2021-02-18 10:40 | 43.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2201 | μmol/L | 10.3933 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.816 | 176490.0242 | 318995.1896 | 33.25 | 68.6
13958 | 2021-02-18 10:40 | 43.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3539 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.815 | 176537.4765 | 318975.1068 | 33.25 | 68.6
13968 | 2021-02-18 10:40 | 44 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1577 | μmol/L | 10.3933 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.819 | 176581.3059 | 318971.8798 | 33.25 | 68.6
13978 | 2021-02-18 10:41 | 44.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.288 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.818 | 176549.3006 | 318954.2509 | 33.25 | 68.6
13988 | 2021-02-18 10:41 | 44.6672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.3199 | μmol/L | 10.3872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.814 | 176512.7777 | 318933.6124 | 33.25 | 68.6
13998 | 2021-02-18 10:41 | 45.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2321 | μmol/L | 10.3872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.818 | 176500.5426 | 318933.7061 | 33.25 | 68.6
14008 | 2021-02-18 10:42 | 45.3339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2441 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.82 | 176504.5617 | 318911.2789 | 33.25 | 68.6
14018 | 2021-02-18 10:42 | 45.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1663 | μmol/L | 10.3872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.821 | 176506.9981 | 318907.2904 | 33.25 | 68.6
14028 | 2021-02-18 10:42 | 46.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2541 | μmol/L | 10.3872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.817 | 176493.2114 | 318890.0129 | 33.25 | 68.6
14038 | 2021-02-18 10:43 | 46.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.31 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.817 | 176487.0659 | 318887.1185 | 33.25 | 68.6
14048 | 2021-02-18 10:43 | 46.6669 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.288 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.818 | 176462.4459 | 318881.2052 | 33.25 | 68.6
14058 | 2021-02-18 10:43 | 46.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2321 | μmol/L | 10.3872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.818 | 176479.425 | 318871.8569 | 33.25 | 68.6
14068 | 2021-02-18 10:44 | 47.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2441 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.82 | 176497.9447 | 318851.3411 | 33.25 | 68.6
14078 | 2021-02-18 10:44 | 47.6665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2781 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.821 | 176469.7621 | 318851.8893 | 33.25 | 68.6
14088 | 2021-02-18 10:44 | 48.0003 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1783 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.823 | 176461.405 | 318818.1808 | 33.25 | 68.6
14098 | 2021-02-18 10:45 | 48.3334 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2222 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.821 | 176455.3277 | 318807.5741 | 33.25 | 68.6
14108 | 2021-02-18 10:45 | 48.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2222 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.821 | 176430.403 | 318791.3029 | 33.25 | 68.6
14118 | 2021-02-18 10:45 | 49.0004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1903 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.825 | 176443.3055 | 318791.7818 | 33.25 | 68.6
14128 | 2021-02-18 10:46 | 49.3333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1563 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.824 | 176441.6566 | 318778.409 | 33.25 | 68.6
14138 | 2021-02-18 10:46 | 49.6668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1125 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.826 | 176403.0293 | 318755.5871 | 33.25 | 68.6
14148 | 2021-02-18 10:46 | 49.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1903 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.825 | 176432.8433 | 318746.4948 | 33.25 | 68.6
14158 | 2021-02-18 10:47 | 50.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2342 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.823 | 176434.7868 | 318737.6859 | 33.25 | 68.6
14168 | 2021-02-18 10:47 | 50.6666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1563 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.824 | 176432.0883 | 318724.1416 | 33.25 | 68.6
14178 | 2021-02-18 10:47 | 51.0002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1125 | μmol/L | 10.3811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.826 | 176415.5292 | 318698.5341 | 33.25 | 68.6
14188 | 2021-02-18 10:48 | 51.3338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.2681 | μmol/L | 10.369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.824 | 176413.8157 | 318705.0348 | 33.25 | 68.6
14198 | 2021-02-18 10:48 | 51.667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1903 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.825 | 176382.8644 | 318687.4663 | 33.25 | 68.6
14208 | 2021-02-18 10:48 | 51.9999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1464 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.827 | 176410.2219 | 318669.3991 | 33.25 | 68.6
14218 | 2021-02-18 10:49 | 52.3336 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1584 | μmol/L | 10.369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.829 | 176385.275 | 318661.9692 | 33.25 | 68.6
14228 | 2021-02-18 10:49 | 52.6667 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0587 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.831 | 176372.9784 | 318643.7399 | 33.25 | 68.6
14238 | 2021-02-18 10:49 | 53.0005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1584 | μmol/L | 10.369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.829 | 176369.6435 | 318632.8993 | 33.25 | 68.6
14248 | 2021-02-18 10:50 | 53.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.1584 | μmol/L | 10.369 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.829 | 176324.6207 | 318620.1367 | 33.25 | 68.6
14258 | 2021-02-18 10:50 | 53.6671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0806 | μmol/L | 10.3751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.83 | 176336.0918 | 318599.7157 | 33.25 | 68.6