## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 10:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12650 | 2021-02-18 09:56 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4882 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.729 | 155875.0035 | 282627.2054 | 26.25 | 74
12660 | 2021-02-18 09:57 | 0.33021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.5203 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.73 | 155866.3759 | 282608.5602 | 26.25 | 74
12670 | 2021-02-18 09:57 | 0.66316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4522 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 155853.1128 | 282594.3855 | 26.25 | 74
12680 | 2021-02-18 09:57 | 0.99697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4522 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 155822.0903 | 282581.5662 | 26.25 | 74
12690 | 2021-02-18 09:58 | 1.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4522 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 155798.9404 | 282556.7994 | 26.25 | 74
12700 | 2021-02-18 09:58 | 1.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4749 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.732 | 155778.102 | 282541.375 | 26.25 | 74
12710 | 2021-02-18 09:58 | 1.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.5525 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.731 | 155752.6883 | 282518.5079 | 26.25 | 74
12720 | 2021-02-18 09:59 | 2.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.507 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 155735.5301 | 282501.4565 | 26.25 | 74
12730 | 2021-02-18 09:59 | 2.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3841 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 155712.6437 | 282489.1286 | 26.25 | 74
12740 | 2021-02-18 09:59 | 2.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4295 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.734 | 155698.6256 | 282473.6742 | 26.25 | 74
12750 | 2021-02-18 10:00 | 3.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4162 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.737 | 155673.7304 | 282445.3172 | 26.25 | 74
12760 | 2021-02-18 10:00 | 3.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.507 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 155653.1445 | 282435.7014 | 26.25 | 74
12770 | 2021-02-18 10:00 | 3.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3708 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 155632.567 | 282406.5796 | 26.25 | 74
12780 | 2021-02-18 10:01 | 4.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3841 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 155615.808 | 282401.2884 | 26.25 | 74
12790 | 2021-02-18 10:01 | 4.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3935 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 155599.6698 | 282378.9536 | 26.25 | 74
12800 | 2021-02-18 10:01 | 4.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4616 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.735 | 155576.0992 | 282350.8377 | 26.25 | 74
12810 | 2021-02-18 10:02 | 5.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3935 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 155557.9635 | 282339.494 | 26.25 | 74
12820 | 2021-02-18 10:02 | 5.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4937 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 155548.1019 | 282320.1612 | 26.25 | 74
12830 | 2021-02-18 10:02 | 5.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3708 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 155529.8812 | 282296.902 | 26.25 | 74
12840 | 2021-02-18 10:03 | 6.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3387 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 155505.3074 | 282280.5027 | 26.25 | 74
12850 | 2021-02-18 10:03 | 6.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3387 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 155486.7764 | 282267.4904 | 26.25 | 74
12860 | 2021-02-18 10:03 | 6.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3255 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.741 | 155469.5856 | 282229.5006 | 26.25 | 74
12870 | 2021-02-18 10:04 | 7.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4483 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 155455.9379 | 282224.5658 | 26.25 | 74
12880 | 2021-02-18 10:04 | 7.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4256 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 155441.2587 | 282217.4209 | 26.25 | 74
12890 | 2021-02-18 10:04 | 7.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3255 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.741 | 155418.7997 | 282200.8517 | 26.25 | 74
12900 | 2021-02-18 10:05 | 8.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2801 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 155408.4844 | 282178.1138 | 26.25 | 74
12910 | 2021-02-18 10:05 | 8.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4256 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 155391.8178 | 282159.3129 | 26.25 | 74
12920 | 2021-02-18 10:05 | 8.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3708 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 155371.2896 | 282134.2647 | 26.25 | 74
12930 | 2021-02-18 10:06 | 9.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3576 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.742 | 155359.9424 | 282120.7795 | 26.25 | 74
12940 | 2021-02-18 10:06 | 9.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2707 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.741 | 155335.8261 | 282113.9063 | 26.25 | 74
12950 | 2021-02-18 10:06 | 9.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1667 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 155325.5813 | 282088.7786 | 26.25 | 74
12960 | 2021-02-18 10:07 | 10.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3576 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.742 | 155293.4961 | 282061.2956 | 26.25 | 74
12970 | 2021-02-18 10:07 | 10.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3349 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 155289.6464 | 282055.8489 | 26.25 | 74
12980 | 2021-02-18 10:07 | 10.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3576 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.742 | 155277.2266 | 282035.8948 | 26.25 | 74
12990 | 2021-02-18 10:08 | 11.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2347 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.745 | 155256.8505 | 282019.3966 | 26.25 | 74
13000 | 2021-02-18 10:08 | 11.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3122 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.744 | 155242.1429 | 281988.8697 | 26.25 | 74
13010 | 2021-02-18 10:08 | 11.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3443 | μmol/L | 10.8495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.745 | 155231.9043 | 281992.4225 | 26.25 | 74
13020 | 2021-02-18 10:09 | 12.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2215 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 155214.8451 | 281969.806 | 26.25 | 74
13030 | 2021-02-18 10:09 | 12.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2441 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.747 | 155195.4998 | 281951.3365 | 26.25 | 74
13040 | 2021-02-18 10:09 | 12.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1476 | μmol/L | 10.8616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.749 | 155183.0233 | 281935.443 | 26.25 | 74
13050 | 2021-02-18 10:10 | 13.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2704 | μmol/L | 10.8556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.746 | 155170.9187 | 281908.789 | 26.25 | 74
13060 | 2021-02-18 10:10 | 13.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2798 | μmol/L | 10.8495 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.748 | 155155.8091 | 281894.3907 | 26.25 | 74
13070 | 2021-02-18 10:10 | 13.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1988 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.749 | 155140.0992 | 281889.8528 | 26.25 | 74
13080 | 2021-02-18 10:11 | 14.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1988 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.749 | 155128.0715 | 281863.2623 | 26.25 | 74
13090 | 2021-02-18 10:11 | 14.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1667 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 155115.3493 | 281858.5937 | 26.25 | 74
13100 | 2021-02-18 10:11 | 14.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2215 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 155107.0148 | 281855.188 | 26.25 | 74
13110 | 2021-02-18 10:12 | 15.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1214 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 155086.6638 | 281830.4969 | 26.25 | 74
13120 | 2021-02-18 10:12 | 15.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0439 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 155067.9637 | 281807.5628 | 26.25 | 74
13130 | 2021-02-18 10:12 | 15.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2215 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 155051.3113 | 281790.9219 | 26.25 | 74
13140 | 2021-02-18 10:13 | 16.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0987 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 155034.8644 | 281781.5274 | 26.25 | 74
13150 | 2021-02-18 10:13 | 16.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1308 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 155012.1107 | 281743.7151 | 26.25 | 74
13160 | 2021-02-18 10:13 | 16.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1761 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 155003.7413 | 281754.6429 | 26.25 | 74
13170 | 2021-02-18 10:14 | 17.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1534 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154997.2656 | 281734.0763 | 26.25 | 74
13180 | 2021-02-18 10:14 | 17.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1081 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154976.8479 | 281719.9113 | 26.25 | 74
13190 | 2021-02-18 10:14 | 17.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1081 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154963.1031 | 281709.3187 | 26.25 | 74
13200 | 2021-02-18 10:15 | 18.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.2215 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 154946.1034 | 281695.1206 | 26.25 | 74
13210 | 2021-02-18 10:15 | 18.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.157 | μmol/L | 10.8556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154929.6881 | 281683.222 | 26.25 | 74
13220 | 2021-02-18 10:15 | 18.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1343 | μmol/L | 10.8556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154910.5899 | 281661.6063 | 26.25 | 74
13230 | 2021-02-18 10:16 | 19.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1081 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154892.7415 | 281649.3452 | 26.25 | 74
13240 | 2021-02-18 10:16 | 19.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0854 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.754 | 154884.8082 | 281619.3143 | 26.25 | 74
13250 | 2021-02-18 10:16 | 19.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1214 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154866.7697 | 281604.2942 | 26.25 | 74
13260 | 2021-02-18 10:17 | 20.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1117 | μmol/L | 10.8556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154844.577 | 281601.5505 | 26.25 | 74
13270 | 2021-02-18 10:17 | 20.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0213 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154841.3659 | 281593.242 | 26.25 | 74
13280 | 2021-02-18 10:17 | 20.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1797 | μmol/L | 10.8556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154831.9802 | 281584.9849 | 26.25 | 74
13290 | 2021-02-18 10:18 | 21.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1308 | μmol/L | 10.8556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154809.6686 | 281571.4812 | 26.25 | 74
13300 | 2021-02-18 10:18 | 21.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.157 | μmol/L | 10.8556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154802.7812 | 281537.814 | 26.25 | 74
13310 | 2021-02-18 10:18 | 21.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0249 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154797.6458 | 281519.7069 | 26.25 | 74
13320 | 2021-02-18 10:19 | 22.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0569 | μmol/L | 10.8616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154782.4414 | 281503.9289 | 26.25 | 74
13330 | 2021-02-18 10:19 | 22.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9569 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.755 | 154767.9455 | 281499.9089 | 26.25 | 74
13340 | 2021-02-18 10:19 | 22.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9569 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.755 | 154754.4481 | 281478.35 | 26.25 | 74
13350 | 2021-02-18 10:20 | 23.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0249 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154729.9392 | 281452.183 | 26.25 | 74
13360 | 2021-02-18 10:20 | 23.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0022 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154733.0867 | 281459.787 | 26.25 | 74
13370 | 2021-02-18 10:20 | 23.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0022 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154708.5823 | 281432.1698 | 26.25 | 74
13380 | 2021-02-18 10:21 | 24.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0022 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154690.9933 | 281429.4318 | 26.25 | 74
13390 | 2021-02-18 10:21 | 24.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.157 | μmol/L | 10.8556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154688.167 | 281414.5945 | 26.25 | 74
13400 | 2021-02-18 10:21 | 24.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9796 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.754 | 154674.0529 | 281398.6017 | 26.25 | 74
13410 | 2021-02-18 10:22 | 25.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0249 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154650.3624 | 281383.7945 | 26.25 | 74
13420 | 2021-02-18 10:22 | 25.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1249 | μmol/L | 10.8616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154623.8764 | 281355.5832 | 26.25 | 74
13430 | 2021-02-18 10:22 | 25.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0249 | μmol/L | 10.8677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154622.7891 | 281353.3993 | 26.25 | 74
13440 | 2021-02-18 10:23 | 26.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1667 | μmol/L | 10.8616 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 154601.1576 | 281335.0711 | 26.25 | 74
13450 | 2021-02-18 10:23 | 26.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9439 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154596.7058 | 281325.2075 | 26.25 | 74
13460 | 2021-02-18 10:23 | 26.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0213 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154588.9205 | 281321.4826 | 26.25 | 74
13470 | 2021-02-18 10:24 | 27.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0893 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.749 | 154564.7642 | 281305.9676 | 26.25 | 74
13480 | 2021-02-18 10:24 | 27.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9892 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154545.7496 | 281283.8658 | 26.25 | 74
13490 | 2021-02-18 10:24 | 27.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0213 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154539.1026 | 281271.7753 | 26.25 | 74
13500 | 2021-02-18 10:25 | 28.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0119 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154523.2649 | 281268.4005 | 26.25 | 74
13510 | 2021-02-18 10:25 | 28.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9666 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154506.925 | 281259.7467 | 26.25 | 74
13520 | 2021-02-18 10:25 | 28.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0213 | μmol/L | 10.8677 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154502.9332 | 281232.0878 | 26.25 | 74
13530 | 2021-02-18 10:26 | 29.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9892 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154495.6515 | 281230.9775 | 26.25 | 74
13540 | 2021-02-18 10:26 | 29.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0119 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154485.8523 | 281215.4776 | 26.25 | 74
13550 | 2021-02-18 10:26 | 29.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8439 | μmol/L | 10.8799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.755 | 154460.3973 | 281194.3306 | 26.25 | 74
13560 | 2021-02-18 10:27 | 30.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9345 | μmol/L | 10.8799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154453.9352 | 281200.928 | 26.25 | 74
13570 | 2021-02-18 10:27 | 30.6637 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0572 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 154440.6794 | 281179.1022 | 26.25 | 74
13580 | 2021-02-18 10:27 | 30.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9572 | μmol/L | 10.8799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154436.2968 | 281178.2664 | 26.25 | 74
13590 | 2021-02-18 10:28 | 31.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9892 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154408.0347 | 281155.2924 | 26.25 | 74
13600 | 2021-02-18 10:28 | 31.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9892 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154396.8848 | 281147.3941 | 26.25 | 74
13610 | 2021-02-18 10:28 | 31.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9666 | μmol/L | 10.8738 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154385.0822 | 281130.2952 | 26.25 | 74
13620 | 2021-02-18 10:29 | 32.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9345 | μmol/L | 10.8799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154365.8151 | 281117.4015 | 26.25 | 74
13630 | 2021-02-18 10:29 | 32.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8439 | μmol/L | 10.8799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.755 | 154355.5149 | 281115.6965 | 26.25 | 74
13640 | 2021-02-18 10:29 | 32.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8572 | μmol/L | 10.886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154340.1222 | 281073.1958 | 26.25 | 74
13650 | 2021-02-18 10:30 | 33.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9251 | μmol/L | 10.886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.749 | 154334.4732 | 281074.1062 | 26.25 | 74
13660 | 2021-02-18 10:30 | 33.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8345 | μmol/L | 10.886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.753 | 154315.7819 | 281057.1296 | 26.25 | 74
13670 | 2021-02-18 10:30 | 33.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9119 | μmol/L | 10.8799 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.752 | 154301.9844 | 281043.9387 | 26.25 | 74
13680 | 2021-02-18 10:31 | 34.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9025 | μmol/L | 10.886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154279.9639 | 281039.6864 | 26.25 | 74
13690 | 2021-02-18 10:31 | 34.6635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8705 | μmol/L | 10.892 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.749 | 154262.754 | 281022.2113 | 26.25 | 74
13700 | 2021-02-18 10:31 | 34.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9704 | μmol/L | 10.886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.747 | 154259.7877 | 281020.0604 | 26.25 | 74
13710 | 2021-02-18 10:32 | 35.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9158 | μmol/L | 10.892 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.747 | 154232.9755 | 280997.4287 | 26.25 | 74
13720 | 2021-02-18 10:32 | 35.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8252 | μmol/L | 10.892 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.751 | 154225.4855 | 280984.6636 | 26.25 | 74
13730 | 2021-02-18 10:32 | 35.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8478 | μmol/L | 10.892 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154195.5148 | 280961.7328 | 26.25 | 74
13740 | 2021-02-18 10:33 | 36.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8158 | μmol/L | 10.8981 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.749 | 154171.5104 | 280964.4563 | 26.25 | 74
13750 | 2021-02-18 10:33 | 36.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9931 | μmol/L | 10.886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.746 | 154164.1202 | 280943.9869 | 26.25 | 74
13760 | 2021-02-18 10:33 | 36.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8837 | μmol/L | 10.8981 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.746 | 154160.1267 | 280933.7737 | 26.25 | 74
13770 | 2021-02-18 10:34 | 37.3304 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9478 | μmol/L | 10.886 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 154139.5557 | 280925.1864 | 26.25 | 74
13780 | 2021-02-18 10:34 | 37.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9611 | μmol/L | 10.892 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.745 | 154117.1094 | 280908.4685 | 26.25 | 74
13790 | 2021-02-18 10:34 | 37.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8478 | μmol/L | 10.892 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.75 | 154102.5764 | 280895.9872 | 26.25 | 74
13800 | 2021-02-18 10:35 | 38.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9158 | μmol/L | 10.892 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.747 | 154083.4052 | 280872.8373 | 26.25 | 74
13810 | 2021-02-18 10:35 | 38.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7838 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.748 | 154066.3212 | 280877.7183 | 26.25 | 74
13820 | 2021-02-18 10:35 | 38.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8517 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.745 | 154052.5187 | 280848.7594 | 26.25 | 74
13830 | 2021-02-18 10:36 | 39.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8064 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.747 | 154039.458 | 280847.8654 | 26.25 | 74
13840 | 2021-02-18 10:36 | 39.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8291 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.746 | 154019.1162 | 280825.2643 | 26.25 | 74
13850 | 2021-02-18 10:36 | 39.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8197 | μmol/L | 10.9103 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.744 | 154015.0165 | 280827.4063 | 26.25 | 74
13860 | 2021-02-18 10:37 | 40.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8517 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.745 | 154002.1359 | 280813.8516 | 26.25 | 74
13870 | 2021-02-18 10:37 | 40.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.865 | μmol/L | 10.9103 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.742 | 153974.497 | 280794.5813 | 26.25 | 74
13880 | 2021-02-18 10:37 | 40.9971 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8744 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.744 | 153965.5337 | 280783.3255 | 26.25 | 74
13890 | 2021-02-18 10:38 | 41.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8517 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.745 | 153948.4101 | 280778.9505 | 26.25 | 74
13900 | 2021-02-18 10:38 | 41.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.929 | μmol/L | 10.8981 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.744 | 153932.6078 | 280769.6834 | 26.25 | 74
13910 | 2021-02-18 10:38 | 41.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7744 | μmol/L | 10.9103 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.746 | 153917.6813 | 280755.216 | 26.25 | 74
13920 | 2021-02-18 10:39 | 42.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.897 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 153908.822 | 280738.6825 | 26.25 | 74
13930 | 2021-02-18 10:39 | 42.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7971 | μmol/L | 10.9103 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.745 | 153885.8381 | 280738.9819 | 26.25 | 74
13940 | 2021-02-18 10:39 | 42.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.897 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 153882.6224 | 280737.468 | 26.25 | 74
13950 | 2021-02-18 10:40 | 43.3303 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8197 | μmol/L | 10.9103 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.744 | 153858.9989 | 280703.4251 | 26.25 | 74
13960 | 2021-02-18 10:40 | 43.6631 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7877 | μmol/L | 10.9163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 153854.2299 | 280712.9248 | 26.25 | 74
13970 | 2021-02-18 10:40 | 43.9969 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.897 | μmol/L | 10.9042 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.743 | 153836.1333 | 280690.441 | 26.25 | 74
13980 | 2021-02-18 10:41 | 44.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7651 | μmol/L | 10.9163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.744 | 153824.0002 | 280680.9329 | 26.25 | 74
13990 | 2021-02-18 10:41 | 44.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.865 | μmol/L | 10.9103 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.742 | 153796.8977 | 280677.2948 | 26.25 | 74
14000 | 2021-02-18 10:41 | 44.9962 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8556 | μmol/L | 10.9163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.74 | 153791.6062 | 280653.4169 | 26.25 | 74
14010 | 2021-02-18 10:42 | 45.3298 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8783 | μmol/L | 10.9163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 153758.484 | 280655.7269 | 26.25 | 74
14020 | 2021-02-18 10:42 | 45.6634 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.833 | μmol/L | 10.9163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.741 | 153748.6546 | 280633.1064 | 26.25 | 74
14030 | 2021-02-18 10:42 | 45.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.801 | μmol/L | 10.9224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.74 | 153727.7603 | 280626.8039 | 26.25 | 74
14040 | 2021-02-18 10:43 | 46.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8783 | μmol/L | 10.9163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.739 | 153726.7575 | 280615.0867 | 26.25 | 74
14050 | 2021-02-18 10:43 | 46.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9009 | μmol/L | 10.9163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 153712.7596 | 280614.7244 | 26.25 | 74
14060 | 2021-02-18 10:43 | 46.9967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8916 | μmol/L | 10.9224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 153690.1174 | 280595.6667 | 26.25 | 74
14070 | 2021-02-18 10:44 | 47.3297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.801 | μmol/L | 10.9224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.74 | 153681.7811 | 280577.1482 | 26.25 | 74
14080 | 2021-02-18 10:44 | 47.6633 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8689 | μmol/L | 10.9224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.737 | 153670.1132 | 280583.2398 | 26.25 | 74
14090 | 2021-02-18 10:44 | 47.997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8463 | μmol/L | 10.9224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 153650.4416 | 280574.604 | 26.25 | 74
14100 | 2021-02-18 10:45 | 48.33 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7917 | μmol/L | 10.9285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 153631.8977 | 280557.8811 | 26.25 | 74
14110 | 2021-02-18 10:45 | 48.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.837 | μmol/L | 10.9285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 153623.4675 | 280549.7774 | 26.25 | 74
14120 | 2021-02-18 10:45 | 48.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8823 | μmol/L | 10.9285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.734 | 153609.9396 | 280529.584 | 26.25 | 74
14130 | 2021-02-18 10:46 | 49.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7917 | μmol/L | 10.9285 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.738 | 153594.7504 | 280524.4967 | 26.25 | 74
14140 | 2021-02-18 10:46 | 49.663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8276 | μmol/L | 10.9346 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.734 | 153577.8714 | 280509.0119 | 26.25 | 74
14150 | 2021-02-18 10:46 | 49.9963 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7504 | μmol/L | 10.9407 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.735 | 153564.4886 | 280499.295 | 26.25 | 74
14160 | 2021-02-18 10:47 | 50.3301 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8503 | μmol/L | 10.9346 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 153548.0937 | 280489.4433 | 26.25 | 74
14170 | 2021-02-18 10:47 | 50.6636 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7504 | μmol/L | 10.9407 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.735 | 153531.0852 | 280475.9792 | 26.25 | 74
14180 | 2021-02-18 10:47 | 50.9965 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8276 | μmol/L | 10.9346 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.734 | 153513.5424 | 280460.6528 | 26.25 | 74
14190 | 2021-02-18 10:48 | 51.3299 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7957 | μmol/L | 10.9407 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 153495.4657 | 280446.5265 | 26.25 | 74
14200 | 2021-02-18 10:48 | 51.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.6731 | μmol/L | 10.9467 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 153484.6957 | 280449.2902 | 26.25 | 74
14210 | 2021-02-18 10:48 | 51.9966 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.741 | μmol/L | 10.9467 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 153467.4632 | 280429.7884 | 26.25 | 74
14220 | 2021-02-18 10:49 | 52.3302 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7637 | μmol/L | 10.9467 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.732 | 153452.0217 | 280421.7421 | 26.25 | 74
14230 | 2021-02-18 10:49 | 52.6632 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.741 | μmol/L | 10.9467 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 153441.4125 | 280414.6979 | 26.25 | 74
14240 | 2021-02-18 10:49 | 52.9968 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7277 | μmol/L | 10.9407 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.736 | 153425.8892 | 280404.1867 | 26.25 | 74
14250 | 2021-02-18 10:50 | 53.3296 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7184 | μmol/L | 10.9467 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.734 | 153404.9945 | 280380.0306 | 26.25 | 74
14259 | 2021-02-18 10:50 | 53.6629 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.6864 | μmol/L | 10.9528 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 153395.7304 | 280379.1271 | 26.25 | 74
14261 | 2021-02-18 10:50 | 53.9964 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7957 | μmol/L | 10.9407 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.733 | 153380.3608 | 280352.5988 | 26.25 | 74