## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 10:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12652 | 2021-02-18 09:56 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.2201 | μmol/L | 10.5006 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.722 | 156940.3567 | 280202.9231 | 32.55 | 27.7
12663 | 2021-02-18 09:57 | 0.33713 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1746 | μmol/L | 10.5006 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.724 | 156934.9164 | 280150.4088 | 32.55 | 27.7
12672 | 2021-02-18 09:57 | 0.67092 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.2527 | μmol/L | 10.4945 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.723 | 156915.5112 | 280110.5539 | 32.55 | 27.7
12682 | 2021-02-18 09:57 | 1.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1291 | μmol/L | 10.5006 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.726 | 156915.1224 | 280093.7941 | 32.55 | 27.7
12693 | 2021-02-18 09:58 | 1.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.2169 | μmol/L | 10.4884 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.727 | 156896.9991 | 280073.1064 | 32.55 | 27.7
12702 | 2021-02-18 09:58 | 1.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.2071 | μmol/L | 10.4945 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.725 | 156883.0607 | 280035.8894 | 32.55 | 27.7
12712 | 2021-02-18 09:58 | 2.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1259 | μmol/L | 10.4884 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.731 | 156883.5962 | 280012.1138 | 32.55 | 27.7
12723 | 2021-02-18 09:59 | 2.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1031 | μmol/L | 10.4884 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.732 | 156870.9973 | 280003.6958 | 32.55 | 27.7
12732 | 2021-02-18 09:59 | 2.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1487 | μmol/L | 10.4884 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.73 | 156857.0948 | 279987.5103 | 32.55 | 27.7
12743 | 2021-02-18 09:59 | 3.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0902 | μmol/L | 10.4823 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.735 | 156846.6223 | 279966.3081 | 32.55 | 27.7
12752 | 2021-02-18 10:00 | 3.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0576 | μmol/L | 10.4884 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.734 | 156844.7126 | 279946.3419 | 32.55 | 27.7
12762 | 2021-02-18 10:00 | 3.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0219 | μmol/L | 10.4823 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.738 | 156836.6193 | 279921.5372 | 32.55 | 27.7
12773 | 2021-02-18 10:00 | 4.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1228 | μmol/L | 10.4762 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.736 | 156821.9474 | 279904.6126 | 32.55 | 27.7
12783 | 2021-02-18 10:01 | 4.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1326 | μmol/L | 10.4701 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.738 | 156818.0846 | 279890.5257 | 32.55 | 27.7
12792 | 2021-02-18 10:01 | 4.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1098 | μmol/L | 10.4701 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.739 | 156800.6847 | 279862.2531 | 32.55 | 27.7
12803 | 2021-02-18 10:01 | 5.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0643 | μmol/L | 10.4701 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.741 | 156799.8373 | 279873.113 | 32.55 | 27.7
12812 | 2021-02-18 10:02 | 5.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1098 | μmol/L | 10.4701 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.739 | 156792.4164 | 279852.3798 | 32.55 | 27.7
12823 | 2021-02-18 10:02 | 5.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1879 | μmol/L | 10.464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.738 | 156763.2729 | 279826.8323 | 32.55 | 27.7
12832 | 2021-02-18 10:02 | 6.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0188 | μmol/L | 10.4701 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.743 | 156745.9751 | 279811.9764 | 32.55 | 27.7
12843 | 2021-02-18 10:03 | 6.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1295 | μmol/L | 10.4579 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.743 | 156740.8677 | 279792.7567 | 32.55 | 27.7
12852 | 2021-02-18 10:03 | 6.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0287 | μmol/L | 10.464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.745 | 156723.8644 | 279779.1075 | 32.55 | 27.7
12863 | 2021-02-18 10:03 | 7.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0514 | μmol/L | 10.464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.744 | 156711.0529 | 279762.2605 | 32.55 | 27.7
12873 | 2021-02-18 10:04 | 7.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1295 | μmol/L | 10.4579 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.743 | 156690.0781 | 279743.5729 | 32.55 | 27.7
12882 | 2021-02-18 10:04 | 7.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1295 | μmol/L | 10.4579 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.743 | 156676.7804 | 279726.7272 | 32.55 | 27.7
12892 | 2021-02-18 10:04 | 8.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1393 | μmol/L | 10.4518 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.745 | 156682.3069 | 279724.2921 | 32.55 | 27.7
12902 | 2021-02-18 10:05 | 8.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.1166 | μmol/L | 10.4518 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.746 | 156665.5847 | 279706.9324 | 32.55 | 27.7
12913 | 2021-02-18 10:05 | 8.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0938 | μmol/L | 10.4518 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.747 | 156657.7355 | 279692.7464 | 32.55 | 27.7
12922 | 2021-02-18 10:05 | 9.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0256 | μmol/L | 10.4518 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.75 | 156657.0935 | 279681.3752 | 32.55 | 27.7
12933 | 2021-02-18 10:06 | 9.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0256 | μmol/L | 10.4518 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.75 | 156644.8201 | 279662.6101 | 32.55 | 27.7
12942 | 2021-02-18 10:06 | 9.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9445 | μmol/L | 10.4457 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.756 | 156636.4745 | 279648.2554 | 32.55 | 27.7
12953 | 2021-02-18 10:06 | 10.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0582 | μmol/L | 10.4457 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.751 | 156620.6467 | 279635.2054 | 32.55 | 27.7
12962 | 2021-02-18 10:07 | 10.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0779 | μmol/L | 10.4335 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.755 | 156613.257 | 279626.2466 | 32.55 | 27.7
12972 | 2021-02-18 10:07 | 10.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0681 | μmol/L | 10.4396 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.753 | 156599.8914 | 279604.9535 | 32.55 | 27.7
12982 | 2021-02-18 10:07 | 11.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0552 | μmol/L | 10.4335 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.756 | 156594.1292 | 279599.5928 | 32.55 | 27.7
12993 | 2021-02-18 10:08 | 11.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8763 | μmol/L | 10.4457 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.759 | 156582.9773 | 279591.0919 | 32.55 | 27.7
13003 | 2021-02-18 10:08 | 11.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9673 | μmol/L | 10.4457 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.755 | 156573.8923 | 279563.2376 | 32.55 | 27.7
13012 | 2021-02-18 10:08 | 12.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0325 | μmol/L | 10.4335 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.757 | 156570.6714 | 279566.9568 | 32.55 | 27.7
13023 | 2021-02-18 10:09 | 12.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9771 | μmol/L | 10.4396 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.757 | 156551.5207 | 279543.1287 | 32.55 | 27.7
13033 | 2021-02-18 10:09 | 12.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8408 | μmol/L | 10.4396 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.763 | 156557.3523 | 279543.8804 | 32.55 | 27.7
13042 | 2021-02-18 10:09 | 13.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8961 | μmol/L | 10.4335 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.763 | 156543.4468 | 279523.5557 | 32.55 | 27.7
13052 | 2021-02-18 10:10 | 13.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9514 | μmol/L | 10.4274 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.763 | 156543.4152 | 279533.9615 | 32.55 | 27.7
13063 | 2021-02-18 10:10 | 13.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8961 | μmol/L | 10.4335 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.763 | 156525.0459 | 279507.6076 | 32.55 | 27.7
13073 | 2021-02-18 10:10 | 14.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9287 | μmol/L | 10.4274 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.764 | 156514.1846 | 279494.117 | 32.55 | 27.7
13083 | 2021-02-18 10:11 | 14.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9386 | μmol/L | 10.4213 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.766 | 156518.9401 | 279503.5915 | 32.55 | 27.7
13093 | 2021-02-18 10:11 | 14.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9287 | μmol/L | 10.4274 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.764 | 156505.8075 | 279482.0397 | 32.55 | 27.7
13103 | 2021-02-18 10:11 | 15.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8378 | μmol/L | 10.4274 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 156491.2225 | 279467.539 | 32.55 | 27.7
13113 | 2021-02-18 10:12 | 15.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9386 | μmol/L | 10.4213 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.766 | 156468.4763 | 279456.79 | 32.55 | 27.7
13122 | 2021-02-18 10:12 | 15.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7825 | μmol/L | 10.4335 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 156462.0038 | 279448.9013 | 32.55 | 27.7
13132 | 2021-02-18 10:12 | 16.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8378 | μmol/L | 10.4274 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 156448.0267 | 279431.7233 | 32.55 | 27.7
13142 | 2021-02-18 10:13 | 16.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8378 | μmol/L | 10.4274 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 156446.7215 | 279425.1787 | 32.55 | 27.7
13152 | 2021-02-18 10:13 | 16.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9712 | μmol/L | 10.4152 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.767 | 156429.8557 | 279430.556 | 32.55 | 27.7
13162 | 2021-02-18 10:13 | 17.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9158 | μmol/L | 10.4213 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.767 | 156414.8604 | 279415.801 | 32.55 | 27.7
13173 | 2021-02-18 10:14 | 17.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8832 | μmol/L | 10.4274 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.766 | 156401.9775 | 279407.6705 | 32.55 | 27.7
13183 | 2021-02-18 10:14 | 17.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.903 | μmol/L | 10.4152 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.77 | 156386.2742 | 279385.892 | 32.55 | 27.7
13192 | 2021-02-18 10:14 | 18.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0038 | μmol/L | 10.4091 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.768 | 156378.0564 | 279385.0962 | 32.55 | 27.7
13203 | 2021-02-18 10:15 | 18.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0166 | μmol/L | 10.4152 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.765 | 156362.7086 | 279366.6998 | 32.55 | 27.7
13212 | 2021-02-18 10:15 | 18.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.825 | μmol/L | 10.4213 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 156355.3201 | 279350.348 | 32.55 | 27.7
13223 | 2021-02-18 10:15 | 19.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.903 | μmol/L | 10.4152 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.77 | 156354.1954 | 279351.3367 | 32.55 | 27.7
13232 | 2021-02-18 10:16 | 19.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8447 | μmol/L | 10.4091 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.775 | 156333.8148 | 279337.0781 | 32.55 | 27.7
13242 | 2021-02-18 10:16 | 19.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8576 | μmol/L | 10.4152 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.772 | 156331.9266 | 279338.2591 | 32.55 | 27.7
13252 | 2021-02-18 10:16 | 20.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9129 | μmol/L | 10.4091 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.772 | 156308.8872 | 279302.7418 | 32.55 | 27.7
13262 | 2021-02-18 10:17 | 20.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8675 | μmol/L | 10.4091 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.774 | 156295.535 | 279284.4492 | 32.55 | 27.7
13273 | 2021-02-18 10:17 | 20.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9682 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.772 | 156290.6224 | 279286.411 | 32.55 | 27.7
13283 | 2021-02-18 10:17 | 21.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8803 | μmol/L | 10.4152 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 156283.3245 | 279281.3896 | 32.55 | 27.7
13293 | 2021-02-18 10:18 | 21.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.991 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 156259.2517 | 279282.7114 | 32.55 | 27.7
13302 | 2021-02-18 10:18 | 21.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.991 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 156251.3242 | 279269.1765 | 32.55 | 27.7
13312 | 2021-02-18 10:18 | 22.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.991 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 156239.8766 | 279249.237 | 32.55 | 27.7
13322 | 2021-02-18 10:19 | 22.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.991 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 156228.3282 | 279242.3867 | 32.55 | 27.7
13332 | 2021-02-18 10:19 | 22.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9228 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.774 | 156217.4987 | 279239.1989 | 32.55 | 27.7
13343 | 2021-02-18 10:19 | 23.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0236 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.772 | 156200.8999 | 279212.6379 | 32.55 | 27.7
13353 | 2021-02-18 10:20 | 23.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9682 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.772 | 156185.7717 | 279205.0172 | 32.55 | 27.7
13363 | 2021-02-18 10:20 | 23.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0009 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.773 | 156168.1492 | 279176.3693 | 32.55 | 27.7
13372 | 2021-02-18 10:20 | 24.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0009 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.773 | 156162.7568 | 279179.6227 | 32.55 | 27.7
13382 | 2021-02-18 10:21 | 24.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.91 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.777 | 156155.1787 | 279168.6134 | 32.55 | 27.7
13393 | 2021-02-18 10:21 | 24.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 274.0009 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.773 | 156139.9703 | 279153.3804 | 32.55 | 27.7
13403 | 2021-02-18 10:21 | 25.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8546 | μmol/L | 10.403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.777 | 156145.4362 | 279158.5592 | 32.55 | 27.7
13412 | 2021-02-18 10:22 | 25.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8646 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.779 | 156129.6116 | 279145.968 | 32.55 | 27.7
13422 | 2021-02-18 10:22 | 25.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.91 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.777 | 156125.6722 | 279141.3568 | 32.55 | 27.7
13433 | 2021-02-18 10:22 | 26.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.91 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.777 | 156109.1344 | 279118.5434 | 32.55 | 27.7
13443 | 2021-02-18 10:23 | 26.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.91 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.777 | 156100.823 | 279109.1612 | 32.55 | 27.7
13453 | 2021-02-18 10:23 | 26.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8418 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.78 | 156091.4341 | 279100.569 | 32.55 | 27.7
13463 | 2021-02-18 10:23 | 27.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7737 | μmol/L | 10.3969 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.783 | 156078.2324 | 279077.0417 | 32.55 | 27.7
13472 | 2021-02-18 10:24 | 27.3377 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8972 | μmol/L | 10.3908 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.78 | 156077.8557 | 279074.8017 | 32.55 | 27.7
13483 | 2021-02-18 10:24 | 27.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9881 | μmol/L | 10.3908 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.776 | 156061.832 | 279059.8779 | 32.55 | 27.7
13492 | 2021-02-18 10:24 | 28.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8972 | μmol/L | 10.3908 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.78 | 156048.8138 | 279055.3621 | 32.55 | 27.7
13502 | 2021-02-18 10:25 | 28.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8972 | μmol/L | 10.3908 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.78 | 156042.8587 | 279059.7388 | 32.55 | 27.7
13512 | 2021-02-18 10:25 | 28.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9071 | μmol/L | 10.3847 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.782 | 156034.3925 | 279052.9552 | 32.55 | 27.7
13523 | 2021-02-18 10:25 | 29.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7609 | μmol/L | 10.3908 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.786 | 156014.6808 | 279036.2067 | 32.55 | 27.7
13533 | 2021-02-18 10:26 | 29.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9526 | μmol/L | 10.3847 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.78 | 156017.9912 | 279021.6219 | 32.55 | 27.7
13543 | 2021-02-18 10:26 | 29.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9071 | μmol/L | 10.3847 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.782 | 156007.6246 | 279025.463 | 32.55 | 27.7
13552 | 2021-02-18 10:26 | 30.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9852 | μmol/L | 10.3786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.781 | 156004.5551 | 279021.5398 | 32.55 | 27.7
13563 | 2021-02-18 10:27 | 30.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8844 | μmol/L | 10.3847 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.783 | 155997.9744 | 279006.4731 | 32.55 | 27.7
13572 | 2021-02-18 10:27 | 30.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9398 | μmol/L | 10.3786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.783 | 155982.5127 | 278999.5501 | 32.55 | 27.7
13583 | 2021-02-18 10:27 | 31.0044 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9171 | μmol/L | 10.3786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 155975.6272 | 278993.052 | 32.55 | 27.7
13593 | 2021-02-18 10:28 | 31.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8617 | μmol/L | 10.3847 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 155968.0867 | 278974.1108 | 32.55 | 27.7
13602 | 2021-02-18 10:28 | 31.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9497 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 155954.9662 | 278975.2146 | 32.55 | 27.7
13612 | 2021-02-18 10:28 | 32.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9497 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 155931.7001 | 278949.0076 | 32.55 | 27.7
13622 | 2021-02-18 10:29 | 32.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8716 | μmol/L | 10.3786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.786 | 155937.1674 | 278941.8897 | 32.55 | 27.7
13633 | 2021-02-18 10:29 | 32.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9724 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 155917.4026 | 278939.8002 | 32.55 | 27.7
13643 | 2021-02-18 10:29 | 33.0044 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9497 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 155914.4568 | 278929.7554 | 32.55 | 27.7
13653 | 2021-02-18 10:30 | 33.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9497 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 155905.2806 | 278927.9644 | 32.55 | 27.7
13662 | 2021-02-18 10:30 | 33.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9171 | μmol/L | 10.3786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 155900.1848 | 278913.6502 | 32.55 | 27.7
13673 | 2021-02-18 10:30 | 34.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.927 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.786 | 155880.1712 | 278896.0571 | 32.55 | 27.7
13682 | 2021-02-18 10:31 | 34.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9824 | μmol/L | 10.3664 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.786 | 155879.2543 | 278886.5826 | 32.55 | 27.7
13693 | 2021-02-18 10:31 | 34.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9171 | μmol/L | 10.3786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.784 | 155879.6343 | 278876.4191 | 32.55 | 27.7
13703 | 2021-02-18 10:31 | 35.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9369 | μmol/L | 10.3664 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.788 | 155870.4073 | 278871.7496 | 32.55 | 27.7
13713 | 2021-02-18 10:32 | 35.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9142 | μmol/L | 10.3664 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 155866.192 | 278860.3931 | 32.55 | 27.7
13723 | 2021-02-18 10:32 | 35.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8134 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.791 | 155863.3871 | 278872.8642 | 32.55 | 27.7
13732 | 2021-02-18 10:32 | 36.004 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8035 | μmol/L | 10.3786 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 155844.0268 | 278853.9374 | 32.55 | 27.7
13742 | 2021-02-18 10:33 | 36.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7907 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.792 | 155833.935 | 278838.7905 | 32.55 | 27.7
13753 | 2021-02-18 10:33 | 36.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8688 | μmol/L | 10.3664 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.791 | 155825.8033 | 278829.6226 | 32.55 | 27.7
13762 | 2021-02-18 10:33 | 37.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7546 | μmol/L | 10.3786 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.791 | 155813.2331 | 278819.5776 | 32.55 | 27.7
13773 | 2021-02-18 10:34 | 37.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.768 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.793 | 155792.8734 | 278812.831 | 32.55 | 27.7
13782 | 2021-02-18 10:34 | 37.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.768 | μmol/L | 10.3725 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.793 | 155782.7054 | 278809.7243 | 32.55 | 27.7
13793 | 2021-02-18 10:34 | 38.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8234 | μmol/L | 10.3664 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.793 | 155774.9186 | 278783.9166 | 32.55 | 27.7
13803 | 2021-02-18 10:35 | 38.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8199 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.793 | 155762.755 | 278779.3613 | 32.55 | 27.7
13812 | 2021-02-18 10:35 | 38.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8653 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.791 | 155767.28 | 278779.022 | 32.55 | 27.7
13823 | 2021-02-18 10:35 | 39.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8426 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.792 | 155742.0204 | 278763.3346 | 32.55 | 27.7
13832 | 2021-02-18 10:36 | 39.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.9207 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.791 | 155741.8177 | 278762.9742 | 32.55 | 27.7
13843 | 2021-02-18 10:36 | 39.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8199 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.793 | 155728.3635 | 278761.7922 | 32.55 | 27.7
13852 | 2021-02-18 10:36 | 40.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7192 | μmol/L | 10.3725 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.795 | 155715.9771 | 278747.0146 | 32.55 | 27.7
13862 | 2021-02-18 10:37 | 40.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8299 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.795 | 155713.4466 | 278724.5347 | 32.55 | 27.7
13872 | 2021-02-18 10:37 | 40.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8753 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.793 | 155692.1345 | 278728.3248 | 32.55 | 27.7
13883 | 2021-02-18 10:37 | 41.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8526 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.794 | 155697.3569 | 278745.8794 | 32.55 | 27.7
13893 | 2021-02-18 10:38 | 41.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8753 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.793 | 155683.9945 | 278711.6798 | 32.55 | 27.7
13903 | 2021-02-18 10:38 | 41.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8399 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.797 | 155679.0129 | 278712.0905 | 32.55 | 27.7
13913 | 2021-02-18 10:38 | 42.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7972 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.794 | 155679.6743 | 278707.4083 | 32.55 | 27.7
13922 | 2021-02-18 10:39 | 42.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7845 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.797 | 155664.7106 | 278701.7421 | 32.55 | 27.7
13932 | 2021-02-18 10:39 | 42.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8299 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.795 | 155647.8087 | 278685.2367 | 32.55 | 27.7
13942 | 2021-02-18 10:39 | 43.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8072 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.796 | 155649.6984 | 278687.6762 | 32.55 | 27.7
13952 | 2021-02-18 10:40 | 43.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7391 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.799 | 155640.3417 | 278685.658 | 32.55 | 27.7
13963 | 2021-02-18 10:40 | 43.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7518 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.796 | 155623.6346 | 278664.3974 | 32.55 | 27.7
13973 | 2021-02-18 10:40 | 44.0039 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7845 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.797 | 155617.4743 | 278663.3066 | 32.55 | 27.7
13982 | 2021-02-18 10:41 | 44.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7064 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.798 | 155609.4735 | 278641.3871 | 32.55 | 27.7
13992 | 2021-02-18 10:41 | 44.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8299 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.795 | 155598.6356 | 278648.501 | 32.55 | 27.7
14002 | 2021-02-18 10:41 | 45.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7064 | μmol/L | 10.3664 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.798 | 155599.8829 | 278639.1331 | 32.55 | 27.7
14012 | 2021-02-18 10:42 | 45.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.6937 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.801 | 155601.7818 | 278635.6442 | 32.55 | 27.7
14023 | 2021-02-18 10:42 | 45.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.6483 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.803 | 155602.3343 | 278632.7454 | 32.55 | 27.7
14032 | 2021-02-18 10:42 | 46.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8172 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.798 | 155588.0387 | 278613.2002 | 32.55 | 27.7
14043 | 2021-02-18 10:43 | 46.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.671 | μmol/L | 10.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.802 | 155579.8717 | 278610.6671 | 32.55 | 27.7
14052 | 2021-02-18 10:43 | 46.6703 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7718 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.8 | 155582.0131 | 278607.9706 | 32.55 | 27.7
14063 | 2021-02-18 10:43 | 47.0042 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7491 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.801 | 155557.962 | 278598.1614 | 32.55 | 27.7
14072 | 2021-02-18 10:44 | 47.3371 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8271 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.8 | 155548.6022 | 278581.5434 | 32.55 | 27.7
14083 | 2021-02-18 10:44 | 47.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.759 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.803 | 155555.6488 | 278581.9212 | 32.55 | 27.7
14093 | 2021-02-18 10:44 | 48.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7264 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.802 | 155544.4753 | 278580.8083 | 32.55 | 27.7
14103 | 2021-02-18 10:45 | 48.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8271 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.8 | 155529.0567 | 278550.0923 | 32.55 | 27.7
14113 | 2021-02-18 10:45 | 48.6709 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7037 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.803 | 155536.3593 | 278559.8061 | 32.55 | 27.7
14123 | 2021-02-18 10:45 | 49.0043 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8371 | μmol/L | 10.342 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.802 | 155521.6571 | 278545.6942 | 32.55 | 27.7
14133 | 2021-02-18 10:46 | 49.3373 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.8144 | μmol/L | 10.342 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.803 | 155520.0829 | 278536.7256 | 32.55 | 27.7
14142 | 2021-02-18 10:46 | 49.6708 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7037 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.803 | 155508.5006 | 278530.9489 | 32.55 | 27.7
14152 | 2021-02-18 10:46 | 50.0038 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7136 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.805 | 155496.9182 | 278514.7841 | 32.55 | 27.7
14162 | 2021-02-18 10:47 | 50.3376 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.681 | μmol/L | 10.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155491.4134 | 278518.5678 | 32.55 | 27.7
14172 | 2021-02-18 10:47 | 50.6707 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7363 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155479.1147 | 278504.6514 | 32.55 | 27.7
14182 | 2021-02-18 10:47 | 51.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7917 | μmol/L | 10.342 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155461.2256 | 278496.977 | 32.55 | 27.7
14193 | 2021-02-18 10:48 | 51.3375 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.6683 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.807 | 155469.0931 | 278480.5407 | 32.55 | 27.7
14203 | 2021-02-18 10:48 | 51.671 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7363 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155465.5434 | 278471.8762 | 32.55 | 27.7
14213 | 2021-02-18 10:48 | 52.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7136 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.805 | 155453.2712 | 278472.5214 | 32.55 | 27.7
14223 | 2021-02-18 10:49 | 52.3374 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.769 | μmol/L | 10.342 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.805 | 155440.6983 | 278468.8931 | 32.55 | 27.7
14233 | 2021-02-18 10:49 | 52.6705 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7363 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155437.1059 | 278468.8891 | 32.55 | 27.7
14243 | 2021-02-18 10:49 | 53.0041 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7136 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.805 | 155410.8139 | 278439.6347 | 32.55 | 27.7
14252 | 2021-02-18 10:50 | 53.3372 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7917 | μmol/L | 10.342 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155400.3932 | 278436.9558 | 32.55 | 27.7
14260 | 2021-02-18 10:50 | 53.6706 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7363 | μmol/L | 10.3481 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155404.7088 | 278425.3368 | 32.55 | 27.7
14262 | 2021-02-18 10:50 | 54.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 273.7917 | μmol/L | 10.342 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.804 | 155386.5579 | 278413.7907 | 32.55 | 27.7