## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17161 | 2021-02-18 13:39 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.0565 | μmol/L | 34.4232 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.233 | 112649.9015 | 306165.0123 | 30.45 | 114.2
17171 | 2021-02-18 13:40 | 0.33498 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.92 | μmol/L | 34.454 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.231 | 112662.5904 | 306153.2031 | 30.45 | 114.2
17181 | 2021-02-18 13:40 | 0.66864 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8766 | μmol/L | 34.454 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.234 | 112644.0297 | 306118.0628 | 30.45 | 114.2
17191 | 2021-02-18 13:40 | 1.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.9614 | μmol/L | 34.4355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.235 | 112639.4501 | 306079.3037 | 30.45 | 114.2
17201 | 2021-02-18 13:41 | 1.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.7196 | μmol/L | 34.4725 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.238 | 112615.747 | 306049.4783 | 30.45 | 114.2
17211 | 2021-02-18 13:41 | 1.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.7858 | μmol/L | 34.4602 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.238 | 112625.8229 | 306023.0836 | 30.45 | 114.2
17221 | 2021-02-18 13:41 | 2.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.6558 | μmol/L | 34.4602 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.247 | 112631.6513 | 305996.0162 | 30.45 | 114.2
17231 | 2021-02-18 13:42 | 2.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.6558 | μmol/L | 34.4602 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.247 | 112638.2482 | 305957.3807 | 30.45 | 114.2
17241 | 2021-02-18 13:42 | 2.6683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.565 | μmol/L | 34.4664 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.251 | 112649.7064 | 305919.797 | 30.45 | 114.2
17251 | 2021-02-18 13:42 | 3.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5073 | μmol/L | 34.4664 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.255 | 112657.5936 | 305900.0934 | 30.45 | 114.2
17261 | 2021-02-18 13:43 | 3.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5919 | μmol/L | 34.4479 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.256 | 112654.3267 | 305880.1983 | 30.45 | 114.2
17271 | 2021-02-18 13:43 | 3.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5919 | μmol/L | 34.4479 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.256 | 112628.8466 | 305844.3393 | 30.45 | 114.2
17281 | 2021-02-18 13:43 | 4.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.6105 | μmol/L | 34.4417 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.257 | 112608.1291 | 305823.5191 | 30.45 | 114.2
17291 | 2021-02-18 13:44 | 4.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5179 | μmol/L | 34.4293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.268 | 112629.0579 | 305780.3466 | 30.45 | 114.2
17301 | 2021-02-18 13:44 | 4.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.7405 | μmol/L | 34.3985 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.264 | 112613.0683 | 305746.7711 | 30.45 | 114.2
17311 | 2021-02-18 13:44 | 5.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.555 | μmol/L | 34.417 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.27 | 112606.8531 | 305714.3547 | 30.45 | 114.2
17321 | 2021-02-18 13:45 | 5.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4705 | μmol/L | 34.4355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.269 | 112609.3974 | 305686.7509 | 30.45 | 114.2
17331 | 2021-02-18 13:45 | 5.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4891 | μmol/L | 34.4293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.27 | 112608.7696 | 305671.8944 | 30.45 | 114.2
17341 | 2021-02-18 13:45 | 6.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5035 | μmol/L | 34.4293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.269 | 112604.9034 | 305637.5711 | 30.45 | 114.2
17351 | 2021-02-18 13:46 | 6.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5818 | μmol/L | 34.3985 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.275 | 112600.7028 | 305610.0411 | 30.45 | 114.2
17361 | 2021-02-18 13:46 | 6.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.3636 | μmol/L | 34.4232 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.281 | 112593.0872 | 305582.2417 | 30.45 | 114.2
17371 | 2021-02-18 13:46 | 7.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5242 | μmol/L | 34.3985 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.279 | 112593.6998 | 305559.8058 | 30.45 | 114.2
17381 | 2021-02-18 13:47 | 7.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.415 | μmol/L | 34.4108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.282 | 112594.6852 | 305501.4456 | 30.45 | 114.2
17391 | 2021-02-18 13:47 | 7.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.1394 | μmol/L | 34.4355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.292 | 112607.7877 | 305477.143 | 30.45 | 114.2
17401 | 2021-02-18 13:47 | 8.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.0634 | μmol/L | 34.4417 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.295 | 112609.8996 | 305442.1369 | 30.45 | 114.2
17411 | 2021-02-18 13:48 | 8.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.0203 | μmol/L | 34.4417 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.298 | 112614.0283 | 305427.2825 | 30.45 | 114.2
17421 | 2021-02-18 13:48 | 8.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9999 | μmol/L | 34.4293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.304 | 112633.0734 | 305395.824 | 30.45 | 114.2
17431 | 2021-02-18 13:48 | 9.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.0657 | μmol/L | 34.417 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.304 | 112642.3366 | 305379.5795 | 30.45 | 114.2
17441 | 2021-02-18 13:49 | 9.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9323 | μmol/L | 34.4232 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.311 | 112627.6194 | 305334.5715 | 30.45 | 114.2
17451 | 2021-02-18 13:49 | 9.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.074 | μmol/L | 34.4047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.308 | 112602.0634 | 305307.7413 | 30.45 | 114.2
17461 | 2021-02-18 13:49 | 10.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.0268 | μmol/L | 34.4108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.309 | 112581.8444 | 305276.657 | 30.45 | 114.2
17471 | 2021-02-18 13:50 | 10.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9999 | μmol/L | 34.4293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.304 | 112561.3254 | 305243.8021 | 30.45 | 114.2
17481 | 2021-02-18 13:50 | 10.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9652 | μmol/L | 34.417 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.311 | 112564.8981 | 305216.0003 | 30.45 | 114.2
17491 | 2021-02-18 13:50 | 11.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.111 | μmol/L | 34.3923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.31 | 112554.4242 | 305191.1139 | 30.45 | 114.2
17501 | 2021-02-18 13:51 | 11.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.035 | μmol/L | 34.3985 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.313 | 112562.9831 | 305165.1853 | 30.45 | 114.2
17511 | 2021-02-18 13:51 | 11.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9017 | μmol/L | 34.4047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.32 | 112597.9659 | 305139.231 | 30.45 | 114.2
17521 | 2021-02-18 13:51 | 12.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.738 | μmol/L | 34.3923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.336 | 112651.9982 | 305107.5809 | 30.45 | 114.2
17531 | 2021-02-18 13:52 | 12.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.7218 | μmol/L | 34.3738 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.344 | 112723.0054 | 305082.2297 | 30.45 | 114.2
17541 | 2021-02-18 13:52 | 12.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.5131 | μmol/L | 34.3861 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.354 | 112765.9697 | 305054.0064 | 30.45 | 114.2
17551 | 2021-02-18 13:52 | 13.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.3619 | μmol/L | 34.3985 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.36 | 112796.0838 | 305015.5857 | 30.45 | 114.2
17561 | 2021-02-18 13:53 | 13.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.111 | μmol/L | 34.4108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.373 | 112818.0498 | 304985.1643 | 30.45 | 114.2
17571 | 2021-02-18 13:53 | 13.6683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.0866 | μmol/L | 34.4047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.377 | 112860.579 | 304974.2715 | 30.45 | 114.2
17581 | 2021-02-18 13:53 | 14.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.1502 | μmol/L | 34.3738 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.384 | 112883.0301 | 304933.0202 | 30.45 | 114.2
17591 | 2021-02-18 13:54 | 14.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.9424 | μmol/L | 34.3861 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.394 | 112925.0212 | 304918.0146 | 30.45 | 114.2
17601 | 2021-02-18 13:54 | 14.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.7634 | μmol/L | 34.3985 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.402 | 112967.2632 | 304872.8853 | 30.45 | 114.2
17611 | 2021-02-18 13:54 | 15.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.4926 | μmol/L | 34.4417 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.405 | 113009.6773 | 304852.0853 | 30.45 | 114.2
17621 | 2021-02-18 13:55 | 15.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.3423 | μmol/L | 34.454 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.411 | 113020.2005 | 304831.1001 | 30.45 | 114.2
17631 | 2021-02-18 13:55 | 15.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2772 | μmol/L | 34.4664 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.411 | 113029.8304 | 304801.8602 | 30.45 | 114.2
17641 | 2021-02-18 13:55 | 16.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2489 | μmol/L | 34.4664 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.413 | 113023.1318 | 304775.3844 | 30.45 | 114.2
17651 | 2021-02-18 13:56 | 16.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.3282 | μmol/L | 34.454 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.412 | 112999.6862 | 304736.2789 | 30.45 | 114.2
17661 | 2021-02-18 13:56 | 16.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2588 | μmol/L | 34.4725 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.41 | 112973.4771 | 304714.5163 | 30.45 | 114.2
17671 | 2021-02-18 13:56 | 17.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.2872 | μmol/L | 34.4725 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.408 | 112952.7818 | 304675.3679 | 30.45 | 114.2
17681 | 2021-02-18 13:57 | 17.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.3198 | μmol/L | 34.4664 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.408 | 112943.8172 | 304665.9868 | 30.45 | 114.2
17691 | 2021-02-18 13:57 | 17.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.324 | μmol/L | 34.4602 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.41 | 112948.9447 | 304644.2546 | 30.45 | 114.2
17701 | 2021-02-18 13:57 | 18.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9856 | μmol/L | 34.5404 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.404 | 112942.5724 | 304603.0269 | 30.45 | 114.2
17711 | 2021-02-18 13:58 | 18.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.7804 | μmol/L | 34.5713 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.407 | 112939.5506 | 304573.3453 | 30.45 | 114.2
17721 | 2021-02-18 13:58 | 18.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.8087 | μmol/L | 34.5713 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.405 | 112921.8315 | 304559.3195 | 30.45 | 114.2
17731 | 2021-02-18 13:58 | 19.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9573 | μmol/L | 34.5404 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.406 | 112900.3156 | 304546.6722 | 30.45 | 114.2
17741 | 2021-02-18 13:59 | 19.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9304 | μmol/L | 34.559 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.401 | 112887.8169 | 304497.6638 | 30.45 | 114.2
17751 | 2021-02-18 13:59 | 19.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.8751 | μmol/L | 34.5775 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.398 | 112860.9738 | 304464.9877 | 30.45 | 114.2
17761 | 2021-02-18 13:59 | 20.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.8708 | μmol/L | 34.5836 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.396 | 112843.9792 | 304460.7261 | 30.45 | 114.2
17771 | 2021-02-18 14:00 | 20.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9231 | μmol/L | 34.5898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.39 | 112828.919 | 304431.2099 | 30.45 | 114.2
17781 | 2021-02-18 14:00 | 20.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.746 | μmol/L | 34.6207 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.391 | 112808.2886 | 304409.5891 | 30.45 | 114.2
17791 | 2021-02-18 14:00 | 21.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.7189 | μmol/L | 34.6392 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.386 | 112785.2597 | 304375.3017 | 30.45 | 114.2
17801 | 2021-02-18 14:01 | 21.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.7374 | μmol/L | 34.633 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.387 | 112762.5833 | 304369.7152 | 30.45 | 114.2
17811 | 2021-02-18 14:01 | 21.6683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.6874 | μmol/L | 34.6639 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.379 | 112744.627 | 304331.9109 | 30.45 | 114.2
17821 | 2021-02-18 14:01 | 22.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.6787 | μmol/L | 34.6762 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.375 | 112708.3797 | 304300.0986 | 30.45 | 114.2
17831 | 2021-02-18 14:02 | 22.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.6189 | μmol/L | 34.7009 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.37 | 112682.0759 | 304279.8765 | 30.45 | 114.2
17841 | 2021-02-18 14:02 | 22.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.5819 | μmol/L | 34.7133 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.368 | 112663.5571 | 304262.212 | 30.45 | 114.2
17851 | 2021-02-18 14:02 | 23.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.4047 | μmol/L | 34.7441 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.369 | 112648.0974 | 304228.8865 | 30.45 | 114.2
17861 | 2021-02-18 14:03 | 23.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.5025 | μmol/L | 34.7256 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.369 | 112647.0983 | 304198.1102 | 30.45 | 114.2
17871 | 2021-02-18 14:03 | 23.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.4188 | μmol/L | 34.7441 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.368 | 112646.8031 | 304172.364 | 30.45 | 114.2
17881 | 2021-02-18 14:03 | 24.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.2698 | μmol/L | 34.775 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.367 | 112628.8461 | 304161.1226 | 30.45 | 114.2
17891 | 2021-02-18 14:04 | 24.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.1816 | μmol/L | 34.7997 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.364 | 112615.7835 | 304121.7134 | 30.45 | 114.2
17901 | 2021-02-18 14:04 | 24.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.023 | μmol/L | 34.8244 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.366 | 112609.6288 | 304108.4593 | 30.45 | 114.2
17911 | 2021-02-18 14:04 | 25.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.06 | μmol/L | 34.812 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.368 | 112611.7054 | 304078.3283 | 30.45 | 114.2
17921 | 2021-02-18 14:05 | 25.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.9207 | μmol/L | 34.8491 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.364 | 112605.0144 | 304053.0108 | 30.45 | 114.2
17931 | 2021-02-18 14:05 | 25.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.874 | μmol/L | 34.8552 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.365 | 112593.6828 | 304022.0282 | 30.45 | 114.2
17941 | 2021-02-18 14:05 | 26.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.7576 | μmol/L | 34.8799 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.364 | 112586.2894 | 304008.5007 | 30.45 | 114.2
17951 | 2021-02-18 14:06 | 26.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.8369 | μmol/L | 34.8676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.363 | 112585.2509 | 303981.3552 | 30.45 | 114.2
17961 | 2021-02-18 14:06 | 26.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.6688 | μmol/L | 34.8861 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.368 | 112585.7846 | 303956.0583 | 30.45 | 114.2
17971 | 2021-02-18 14:06 | 27.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.4547 | μmol/L | 34.9293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.367 | 112587.6812 | 303939.5712 | 30.45 | 114.2
17981 | 2021-02-18 14:07 | 27.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.3661 | μmol/L | 34.9355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.371 | 112578.7913 | 303908.489 | 30.45 | 114.2
17991 | 2021-02-18 14:07 | 27.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.2218 | μmol/L | 34.9602 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.372 | 112577.9316 | 303883.1095 | 30.45 | 114.2
18001 | 2021-02-18 14:07 | 28.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.4032 | μmol/L | 34.9231 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.373 | 112572.8968 | 303871.846 | 30.45 | 114.2
18011 | 2021-02-18 14:08 | 28.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.3009 | μmol/L | 34.9478 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.371 | 112561.7222 | 303850.796 | 30.45 | 114.2
18021 | 2021-02-18 14:08 | 28.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.0635 | μmol/L | 34.9849 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.374 | 112553.1871 | 303826.7949 | 30.45 | 114.2
18031 | 2021-02-18 14:08 | 29.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.0915 | μmol/L | 34.9849 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.372 | 112554.5997 | 303794.0245 | 30.45 | 114.2
18041 | 2021-02-18 14:09 | 29.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.1287 | μmol/L | 34.9725 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.374 | 112533.817 | 303766.0203 | 30.45 | 114.2
18051 | 2021-02-18 14:09 | 29.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.1518 | μmol/L | 34.9664 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.374 | 112539.0805 | 303747.4488 | 30.45 | 114.2
18061 | 2021-02-18 14:09 | 30.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.975 | μmol/L | 34.991 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.378 | 112539.5399 | 303722.6428 | 30.45 | 114.2
18071 | 2021-02-18 14:10 | 30.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7053 | μmol/L | 35.0404 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.378 | 112553.1466 | 303712.8829 | 30.45 | 114.2
18081 | 2021-02-18 14:10 | 30.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.9051 | μmol/L | 34.9972 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.38 | 112567.9778 | 303698.6212 | 30.45 | 114.2
18091 | 2021-02-18 14:10 | 31.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.7797 | μmol/L | 35.0096 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.385 | 112580.035 | 303663.2049 | 30.45 | 114.2
18101 | 2021-02-18 14:11 | 31.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.6819 | μmol/L | 35.0157 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.389 | 112595.9524 | 303650.2889 | 30.45 | 114.2
18111 | 2021-02-18 14:11 | 31.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8257 | μmol/L | 34.9725 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.395 | 112606.4388 | 303620.2785 | 30.45 | 114.2
18121 | 2021-02-18 14:11 | 32.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.5703 | μmol/L | 35.0157 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.397 | 112628.6878 | 303603.2058 | 30.45 | 114.2
18131 | 2021-02-18 14:12 | 32.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.4032 | μmol/L | 35.0343 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.402 | 112634.5183 | 303566.33 | 30.45 | 114.2
18141 | 2021-02-18 14:12 | 32.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.3012 | μmol/L | 35.0404 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.407 | 112661.4961 | 303553.3878 | 30.45 | 114.2
18151 | 2021-02-18 14:12 | 33.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.2131 | μmol/L | 35.0466 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.411 | 112682.3852 | 303533.947 | 30.45 | 114.2
18161 | 2021-02-18 14:13 | 33.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.0695 | μmol/L | 35.0528 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.419 | 112704.3234 | 303504.0742 | 30.45 | 114.2
18171 | 2021-02-18 14:13 | 33.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.0371 | μmol/L | 35.0404 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.426 | 112714.256 | 303477.9499 | 30.45 | 114.2
18181 | 2021-02-18 14:13 | 34.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.9307 | μmol/L | 35.0528 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.429 | 112733.4995 | 303452.1171 | 30.45 | 114.2
18191 | 2021-02-18 14:14 | 34.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.1435 | μmol/L | 35.0096 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.43 | 112753.7258 | 303453.0512 | 30.45 | 114.2
18201 | 2021-02-18 14:14 | 34.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.0232 | μmol/L | 35.0219 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.434 | 112777.2446 | 303412.1603 | 30.45 | 114.2
18211 | 2021-02-18 14:14 | 35.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.7922 | μmol/L | 35.0466 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.442 | 112776.7715 | 303401.4968 | 30.45 | 114.2
18221 | 2021-02-18 14:15 | 35.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.7597 | μmol/L | 35.0404 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.446 | 112804.5248 | 303382.5465 | 30.45 | 114.2
18231 | 2021-02-18 14:15 | 35.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.5427 | μmol/L | 35.0713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.45 | 112828.2304 | 303367.4736 | 30.45 | 114.2
18241 | 2021-02-18 14:15 | 36.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3859 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.459 | 112840.3367 | 303345.5144 | 30.45 | 114.2
18251 | 2021-02-18 14:16 | 36.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.3307 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.463 | 112865.6798 | 303322.2816 | 30.45 | 114.2
18261 | 2021-02-18 14:16 | 36.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.2755 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.467 | 112895.9386 | 303304.3157 | 30.45 | 114.2
18271 | 2021-02-18 14:16 | 37.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.234 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.47 | 112914.0218 | 303298.1054 | 30.45 | 114.2
18281 | 2021-02-18 14:17 | 37.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.1466 | μmol/L | 35.0836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.474 | 112923.9808 | 303272.355 | 30.45 | 114.2
18291 | 2021-02-18 14:17 | 37.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.1513 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.476 | 112928.4778 | 303252.3232 | 30.45 | 114.2
18301 | 2021-02-18 14:17 | 38.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.1697 | μmol/L | 35.0713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.477 | 112936.1029 | 303237.5005 | 30.45 | 114.2
18311 | 2021-02-18 14:18 | 38.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 156.1975 | μmol/L | 35.0528 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.482 | 112942.5486 | 303205.0431 | 30.45 | 114.2
18321 | 2021-02-18 14:18 | 38.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.9997 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.487 | 112951.2092 | 303189.9394 | 30.45 | 114.2
18331 | 2021-02-18 14:18 | 39.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.9492 | μmol/L | 35.0713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.493 | 112990.1383 | 303173.1692 | 30.45 | 114.2
18341 | 2021-02-18 14:19 | 39.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.821 | μmol/L | 35.0589 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.507 | 113041.8777 | 303155.0832 | 30.45 | 114.2
18351 | 2021-02-18 14:19 | 39.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.7247 | μmol/L | 35.0589 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.514 | 113081.2934 | 303135.4964 | 30.45 | 114.2
18361 | 2021-02-18 14:19 | 40.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.7755 | μmol/L | 35.0281 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.522 | 113134.0871 | 303131.3605 | 30.45 | 114.2
18371 | 2021-02-18 14:20 | 40.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4455 | μmol/L | 35.0651 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.532 | 113176.1819 | 303107.1104 | 30.45 | 114.2
18381 | 2021-02-18 14:20 | 40.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.3586 | μmol/L | 35.0713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.536 | 113195.5002 | 303094.8542 | 30.45 | 114.2
18391 | 2021-02-18 14:20 | 41.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2307 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.543 | 113229.8817 | 303065.2332 | 30.45 | 114.2
18401 | 2021-02-18 14:21 | 41.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9981 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.56 | 113301.8148 | 303058.4691 | 30.45 | 114.2
18411 | 2021-02-18 14:21 | 41.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9755 | μmol/L | 35.0713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.564 | 113327.2975 | 303030.1128 | 30.45 | 114.2
18421 | 2021-02-18 14:21 | 42.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.839 | μmol/L | 35.0713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.574 | 113373.6422 | 303025.6509 | 30.45 | 114.2
18431 | 2021-02-18 14:22 | 42.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9216 | μmol/L | 35.0343 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.582 | 113408.1666 | 303004.6277 | 30.45 | 114.2
18441 | 2021-02-18 14:22 | 42.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7711 | μmol/L | 35.0528 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.586 | 113425.0379 | 302977.5147 | 30.45 | 114.2
18451 | 2021-02-18 14:22 | 43.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7941 | μmol/L | 35.0404 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.589 | 113426.0874 | 302965.0701 | 30.45 | 114.2
18461 | 2021-02-18 14:23 | 43.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9399 | μmol/L | 35.0281 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.583 | 113408.9438 | 302952.2647 | 30.45 | 114.2
18471 | 2021-02-18 14:23 | 43.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8031 | μmol/L | 35.0466 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.586 | 113396.3859 | 302925.8169 | 30.45 | 114.2
18481 | 2021-02-18 14:23 | 44.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8304 | μmol/L | 35.0466 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.584 | 113371.133 | 302907.3523 | 30.45 | 114.2
18491 | 2021-02-18 14:24 | 44.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.844 | μmol/L | 35.0466 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.583 | 113365.2564 | 302888.01 | 30.45 | 114.2
18501 | 2021-02-18 14:24 | 44.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9538 | μmol/L | 35.0096 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.589 | 113394.9479 | 302874.7707 | 30.45 | 114.2
18511 | 2021-02-18 14:24 | 45.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7808 | μmol/L | 35.0219 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.597 | 113412.066 | 302849.6777 | 30.45 | 114.2
18521 | 2021-02-18 14:25 | 45.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7489 | μmol/L | 35.0281 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.597 | 113403.8823 | 302844.7231 | 30.45 | 114.2
18531 | 2021-02-18 14:25 | 45.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7762 | μmol/L | 35.0281 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.595 | 113388.6164 | 302818.0202 | 30.45 | 114.2
18541 | 2021-02-18 14:25 | 46.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8766 | μmol/L | 35.0034 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.597 | 113373.0109 | 302799.2911 | 30.45 | 114.2
18551 | 2021-02-18 14:26 | 46.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8217 | μmol/L | 35.0219 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.594 | 113350.0455 | 302784.8717 | 30.45 | 114.2
18561 | 2021-02-18 14:26 | 46.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7625 | μmol/L | 35.0281 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.596 | 113346.976 | 302768.0545 | 30.45 | 114.2
18571 | 2021-02-18 14:26 | 47.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8447 | μmol/L | 35.0096 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.597 | 113347.3917 | 302761.3602 | 30.45 | 114.2
18581 | 2021-02-18 14:27 | 47.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7535 | μmol/L | 35.0219 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.599 | 113326.8461 | 302739.5487 | 30.45 | 114.2
18591 | 2021-02-18 14:27 | 47.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8583 | μmol/L | 35.0096 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.596 | 113324.7532 | 302723.4225 | 30.45 | 114.2
18601 | 2021-02-18 14:27 | 48.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8493 | μmol/L | 35.0034 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.599 | 113336.8859 | 302701.0078 | 30.45 | 114.2
18611 | 2021-02-18 14:28 | 48.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9224 | μmol/L | 34.9787 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.603 | 113348.5774 | 302686.8053 | 30.45 | 114.2
18621 | 2021-02-18 14:28 | 48.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8176 | μmol/L | 34.991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.606 | 113388.8629 | 302667.7209 | 30.45 | 114.2
18631 | 2021-02-18 14:28 | 49.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7222 | μmol/L | 34.991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.613 | 113393.6465 | 302655.1185 | 30.45 | 114.2
18641 | 2021-02-18 14:29 | 49.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7132 | μmol/L | 34.9849 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.616 | 113389.5992 | 302642.4245 | 30.45 | 114.2
18651 | 2021-02-18 14:29 | 49.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8133 | μmol/L | 34.9787 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.611 | 113357.5458 | 302626.1441 | 30.45 | 114.2
18661 | 2021-02-18 14:29 | 50.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.8951 | μmol/L | 34.9787 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.605 | 113315.8649 | 302607.3529 | 30.45 | 114.2
18671 | 2021-02-18 14:30 | 50.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.0135 | μmol/L | 34.9664 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.601 | 113267.2892 | 302597.2 | 30.45 | 114.2
18681 | 2021-02-18 14:30 | 50.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.0727 | μmol/L | 34.9602 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.599 | 113232.8212 | 302586.8518 | 30.45 | 114.2
18691 | 2021-02-18 14:30 | 51.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2687 | μmol/L | 34.954 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.587 | 113149.3508 | 302557.2835 | 30.45 | 114.2
18701 | 2021-02-18 14:31 | 51.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4011 | μmol/L | 34.9417 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.582 | 113107.0322 | 302560.7739 | 30.45 | 114.2
18711 | 2021-02-18 14:31 | 51.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5336 | μmol/L | 34.9293 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.577 | 113064.4626 | 302539.1359 | 30.45 | 114.2
18721 | 2021-02-18 14:31 | 52.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.561 | μmol/L | 34.9293 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.575 | 113058.2671 | 302524.1048 | 30.45 | 114.2
18731 | 2021-02-18 14:32 | 52.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4742 | μmol/L | 34.9355 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.579 | 113060.2055 | 302501.784 | 30.45 | 114.2
18741 | 2021-02-18 14:32 | 52.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4833 | μmol/L | 34.9231 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.583 | 113085.0855 | 302505.2696 | 30.45 | 114.2
18751 | 2021-02-18 14:32 | 53.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4057 | μmol/L | 34.917 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.591 | 113097.3288 | 302486.8742 | 30.45 | 114.2
18761 | 2021-02-18 14:33 | 53.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4514 | μmol/L | 34.9108 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.59 | 113111.0085 | 302468.847 | 30.45 | 114.2
18771 | 2021-02-18 14:33 | 53.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5198 | μmol/L | 34.8738 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.599 | 113132.9344 | 302467.8803 | 30.45 | 114.2
18781 | 2021-02-18 14:33 | 54.0016 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.3419 | μmol/L | 34.8923 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.605 | 113166.031 | 302446.4764 | 30.45 | 114.2
18791 | 2021-02-18 14:34 | 54.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4741 | μmol/L | 34.8614 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.607 | 113162.6522 | 302412.5802 | 30.45 | 114.2
18801 | 2021-02-18 14:34 | 54.669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4468 | μmol/L | 34.8614 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.609 | 113152.9796 | 302401.1743 | 30.45 | 114.2
18811 | 2021-02-18 14:34 | 55.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.4468 | μmol/L | 34.8614 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.609 | 113144.0197 | 302401.277 | 30.45 | 114.2
18821 | 2021-02-18 14:35 | 55.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.538 | μmol/L | 34.8491 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.607 | 113138.6087 | 302395.5065 | 30.45 | 114.2
18831 | 2021-02-18 14:35 | 55.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5699 | μmol/L | 34.8429 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.607 | 113108.6682 | 302378.531 | 30.45 | 114.2
18841 | 2021-02-18 14:35 | 56.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.716 | μmol/L | 34.8305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.601 | 113095.9299 | 302355.5303 | 30.45 | 114.2
18851 | 2021-02-18 14:36 | 56.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.5835 | μmol/L | 34.8244 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.613 | 113131.2309 | 302346.814 | 30.45 | 114.2
18861 | 2021-02-18 14:36 | 56.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.442 | μmol/L | 34.8305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.621 | 113161.9258 | 302327.705 | 30.45 | 114.2
18871 | 2021-02-18 14:36 | 57.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.3781 | μmol/L | 34.8244 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.628 | 113195.1363 | 302319.4736 | 30.45 | 114.2
18881 | 2021-02-18 14:37 | 57.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.369 | μmol/L | 34.8182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.631 | 113237.293 | 302312.6255 | 30.45 | 114.2
18891 | 2021-02-18 14:37 | 57.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2641 | μmol/L | 34.812 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.641 | 113264.5952 | 302298.6752 | 30.45 | 114.2
18901 | 2021-02-18 14:37 | 58.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.2732 | μmol/L | 34.7997 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.645 | 113279.809 | 302280.8234 | 30.45 | 114.2
18911 | 2021-02-18 14:38 | 58.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.1594 | μmol/L | 34.8059 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.651 | 113327.1717 | 302278.4658 | 30.45 | 114.2
18921 | 2021-02-18 14:38 | 58.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 155.0865 | μmol/L | 34.7935 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.661 | 113350.4979 | 302254.291 | 30.45 | 114.2
18931 | 2021-02-18 14:38 | 59.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.9819 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.671 | 113409.4267 | 302241.9812 | 30.45 | 114.2
18941 | 2021-02-18 14:39 | 59.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.7504 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.688 | 113493.3358 | 302246.8941 | 30.45 | 114.2
18951 | 2021-02-18 14:39 | 59.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.6235 | μmol/L | 34.7935 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.695 | 113538.8039 | 302228.8453 | 30.45 | 114.2
18961 | 2021-02-18 14:39 | 60.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.5465 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.703 | 113611.1546 | 302202.7349 | 30.45 | 114.2
18971 | 2021-02-18 14:40 | 60.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.361 | μmol/L | 34.7812 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.719 | 113658.0745 | 302199.1 | 30.45 | 114.2
18981 | 2021-02-18 14:40 | 60.6691 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.1803 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.73 | 113725.6123 | 302191.6015 | 30.45 | 114.2
18991 | 2021-02-18 14:40 | 61.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 154.1081 | μmol/L | 34.775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.74 | 113764.8327 | 302173.6815 | 30.45 | 114.2
19001 | 2021-02-18 14:41 | 61.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.9368 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.748 | 113812.379 | 302158.314 | 30.45 | 114.2
19011 | 2021-02-18 14:41 | 61.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.8648 | μmol/L | 34.775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.758 | 113850.162 | 302144.4626 | 30.45 | 114.2
19021 | 2021-02-18 14:41 | 62.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.8062 | μmol/L | 34.7812 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.76 | 113899.8954 | 302134.4563 | 30.45 | 114.2
19031 | 2021-02-18 14:42 | 62.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.6848 | μmol/L | 34.7812 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.769 | 113943.3153 | 302123.8753 | 30.45 | 114.2
19041 | 2021-02-18 14:42 | 62.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.5365 | μmol/L | 34.7812 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.78 | 113984.9399 | 302110.1177 | 30.45 | 114.2
19051 | 2021-02-18 14:42 | 63.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.559 | μmol/L | 34.7688 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.783 | 114015.3291 | 302093.3972 | 30.45 | 114.2
19061 | 2021-02-18 14:43 | 63.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.4737 | μmol/L | 34.7565 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.794 | 114066.035 | 302093.9003 | 30.45 | 114.2
19071 | 2021-02-18 14:43 | 63.6686 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.3347 | μmol/L | 34.7626 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.802 | 114109.933 | 302085.6249 | 30.45 | 114.2
19081 | 2021-02-18 14:43 | 64.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 153.115 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.809 | 114143.8875 | 302090.6505 | 30.45 | 114.2
19091 | 2021-02-18 14:44 | 64.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.9674 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.82 | 114188.9626 | 302069.4171 | 30.45 | 114.2
19101 | 2021-02-18 14:44 | 64.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.8602 | μmol/L | 34.7873 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.828 | 114228.0786 | 302057.6376 | 30.45 | 114.2
19111 | 2021-02-18 14:44 | 65.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.7841 | μmol/L | 34.7997 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.829 | 114253.581 | 302041.7734 | 30.45 | 114.2
19121 | 2021-02-18 14:45 | 65.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.6947 | μmol/L | 34.812 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.831 | 114275.4069 | 302040.4755 | 30.45 | 114.2
19131 | 2021-02-18 14:45 | 65.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.5965 | μmol/L | 34.8182 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.836 | 114300.7333 | 302018.1681 | 30.45 | 114.2
19141 | 2021-02-18 14:45 | 66.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.5609 | μmol/L | 34.812 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.841 | 114320.8357 | 302017.3424 | 30.45 | 114.2
19151 | 2021-02-18 14:46 | 66.3354 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.5521 | μmol/L | 34.8059 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.844 | 114339.7646 | 302026.2365 | 30.45 | 114.2
19161 | 2021-02-18 14:46 | 66.6683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.4583 | μmol/L | 34.8244 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.844 | 114352.1998 | 302001.3159 | 30.45 | 114.2
19171 | 2021-02-18 14:46 | 67.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.3869 | μmol/L | 34.8305 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.847 | 114357.6476 | 301975.5298 | 30.45 | 114.2
19181 | 2021-02-18 14:47 | 67.3357 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.2439 | μmol/L | 34.8614 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.846 | 114355.6222 | 301989.7657 | 30.45 | 114.2
19191 | 2021-02-18 14:47 | 67.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.1589 | μmol/L | 34.8861 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.843 | 114347.6725 | 301965.7165 | 30.45 | 114.2
19201 | 2021-02-18 14:47 | 68.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.9759 | μmol/L | 34.917 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.845 | 114342.307 | 301953.2874 | 30.45 | 114.2
19211 | 2021-02-18 14:48 | 68.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.0605 | μmol/L | 34.9108 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.841 | 114361.8137 | 301940.6946 | 30.45 | 114.2
19221 | 2021-02-18 14:48 | 68.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 152.0118 | μmol/L | 34.9046 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.847 | 114366.8007 | 301934.8307 | 30.45 | 114.2
19231 | 2021-02-18 14:48 | 69.0024 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.789 | μmol/L | 34.9355 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.852 | 114391.3479 | 301921.8226 | 30.45 | 114.2
19241 | 2021-02-18 14:49 | 69.3352 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.6375 | μmol/L | 34.9602 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.854 | 114404.3541 | 301922.5718 | 30.45 | 114.2
19251 | 2021-02-18 14:49 | 69.6683 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.5571 | μmol/L | 34.9787 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.853 | 114415.9016 | 301904.6805 | 30.45 | 114.2
19261 | 2021-02-18 14:49 | 70.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.4463 | μmol/L | 34.9849 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.859 | 114422.624 | 301892.7467 | 30.45 | 114.2
19271 | 2021-02-18 14:50 | 70.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3215 | μmol/L | 35.0096 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.859 | 114431.8487 | 301889.2957 | 30.45 | 114.2
19281 | 2021-02-18 14:50 | 70.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3573 | μmol/L | 34.9972 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.861 | 114454.7765 | 301879.0616 | 30.45 | 114.2
19291 | 2021-02-18 14:50 | 71.0022 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.3885 | μmol/L | 34.991 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.861 | 114465.2861 | 301888.8764 | 30.45 | 114.2
19301 | 2021-02-18 14:51 | 71.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 151.224 | μmol/L | 35.0157 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.864 | 114478.9897 | 301885.1935 | 30.45 | 114.2
19311 | 2021-02-18 14:51 | 71.6685 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.9575 | μmol/L | 35.0528 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.87 | 114486.0175 | 301859.6523 | 30.45 | 114.2
19321 | 2021-02-18 14:51 | 72.0023 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.8197 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.871 | 114513.2948 | 301835.5406 | 30.45 | 114.2
19331 | 2021-02-18 14:52 | 72.3353 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.7885 | μmol/L | 35.0836 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.871 | 114522.5523 | 301839.1937 | 30.45 | 114.2
19341 | 2021-02-18 14:52 | 72.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.8461 | μmol/L | 35.0775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.869 | 114511.992 | 301823.5597 | 30.45 | 114.2
19351 | 2021-02-18 14:52 | 73.0019 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.7706 | μmol/L | 35.0898 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.87 | 114504.8424 | 301813.4878 | 30.45 | 114.2
19361 | 2021-02-18 14:53 | 73.3358 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6903 | μmol/L | 35.1083 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.869 | 114490.7492 | 301811.6154 | 30.45 | 114.2
19371 | 2021-02-18 14:53 | 73.6688 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.7035 | μmol/L | 35.1083 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.868 | 114495.327 | 301798.3433 | 30.45 | 114.2
19381 | 2021-02-18 14:53 | 74.0018 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6591 | μmol/L | 35.1145 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.869 | 114491.0058 | 301800.1784 | 30.45 | 114.2
19391 | 2021-02-18 14:54 | 74.3355 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.6316 | μmol/L | 35.133 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.864 | 114489.6256 | 301789.7472 | 30.45 | 114.2
19401 | 2021-02-18 14:54 | 74.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4447 | μmol/L | 35.1701 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.864 | 114480.6738 | 301783.3952 | 30.45 | 114.2
19411 | 2021-02-18 14:54 | 75.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5154 | μmol/L | 35.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.861 | 114453.4593 | 301773.2254 | 30.45 | 114.2
19421 | 2021-02-18 14:55 | 75.335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5154 | μmol/L | 35.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.861 | 114440.4997 | 301755.8783 | 30.45 | 114.2
19431 | 2021-02-18 14:55 | 75.6689 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4531 | μmol/L | 35.1762 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.861 | 114436.8892 | 301755.5539 | 30.45 | 114.2
19441 | 2021-02-18 14:55 | 76.0017 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.555 | μmol/L | 35.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.858 | 114435.9649 | 301737.9381 | 30.45 | 114.2
19451 | 2021-02-18 14:56 | 76.3356 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5106 | μmol/L | 35.1701 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.859 | 114427.3902 | 301739.7152 | 30.45 | 114.2
19461 | 2021-02-18 14:56 | 76.6684 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.3859 | μmol/L | 35.1948 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.859 | 114421.9872 | 301718.4613 | 30.45 | 114.2
19471 | 2021-02-18 14:56 | 77.0021 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.4039 | μmol/L | 35.1886 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.86 | 114428.3593 | 301729.003 | 30.45 | 114.2
19481 | 2021-02-18 14:57 | 77.3351 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.5022 | μmol/L | 35.1639 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.862 | 114449.8935 | 301709.3969 | 30.45 | 114.2
19491 | 2021-02-18 14:57 | 77.6687 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.1656 | μmol/L | 35.2071 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.871 | 114481.1863 | 301707.0498 | 30.45 | 114.2
19501 | 2021-02-18 14:57 | 78.002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 150.1179 | μmol/L | 35.2009 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.877 | 114531.4795 | 301711.7459 | 30.45 | 114.2