## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19521 | 2021-02-18 15:34 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1273 | μmol/L | 37.5477 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.895 | 116649.6247 | 301271.1567 | 30.45 | 114.2 | #N/A
19531 | 2021-02-18 15:34 | 0.32845 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0646 | μmol/L | 37.5724 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.89 | 116662.1 | 301290.9787 | 30.45 | 114.2 | #N/A
19541 | 2021-02-18 15:35 | 0.66128 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.904 | μmol/L | 37.6094 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.888 | 116655.91 | 301272.2151 | 30.45 | 114.2 | #N/A
19551 | 2021-02-18 15:35 | 0.99501 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7366 | μmol/L | 37.6527 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.884 | 116677.0781 | 301279.3579 | 30.45 | 114.2 | #N/A
19561 | 2021-02-18 15:35 | 1.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.6858 | μmol/L | 37.6774 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.878 | 116676.0392 | 301282.1912 | 30.45 | 114.2 | #N/A
19571 | 2021-02-18 15:36 | 1.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.4888 | μmol/L | 37.7145 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.879 | 116673.8651 | 301281.3497 | 30.45 | 114.2 | #N/A | -0.27849 | 16.7096
19581 | 2021-02-18 15:36 | 1.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.4753 | μmol/L | 37.7268 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.875 | 116675.52 | 301276.2645 | 30.45 | 114.2 | #N/A | 136.9956
19591 | 2021-02-18 15:36 | 2.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.2768 | μmol/L | 37.7762 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.871 | 116651.2906 | 301248.3886 | 30.45 | 114.2 | #N/A
19601 | 2021-02-18 15:37 | 2.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1879 | μmol/L | 37.8133 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.863 | 116649.8719 | 301248.4883 | 30.45 | 114.2 | #N/A
19611 | 2021-02-18 15:37 | 2.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1194 | μmol/L | 37.8318 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.861 | 116641.6807 | 301241.0499 | 30.45 | 114.2 | #N/A
19621 | 2021-02-18 15:37 | 3.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.8537 | μmol/L | 37.8875 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.86 | 116635.4289 | 301241.2605 | 30.45 | 114.2 | #N/A
19631 | 2021-02-18 15:38 | 3.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.7782 | μmol/L | 37.9122 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.856 | 116653.7552 | 301235.8065 | 30.45 | 114.2 | #N/A
19641 | 2021-02-18 15:38 | 3.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.581 | μmol/L | 37.9492 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.857 | 116686.2297 | 301239.2308 | 30.45 | 114.2 | #N/A
19651 | 2021-02-18 15:38 | 4.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.4934 | μmol/L | 37.9739 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.854 | 116674.2923 | 301225.4932 | 30.45 | 114.2 | #N/A
19661 | 2021-02-18 15:39 | 4.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.2823 | μmol/L | 38.0234 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.851 | 116664.7551 | 301227.2723 | 30.45 | 114.2 | #N/A
19671 | 2021-02-18 15:39 | 4.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.1756 | μmol/L | 38.0543 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.847 | 116661.463 | 301219.1199 | 30.45 | 114.2 | #N/A
19681 | 2021-02-18 15:39 | 5.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.0521 | μmol/L | 38.079 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.847 | 116677.5343 | 301211.9402 | 30.45 | 114.2 | #N/A
19691 | 2021-02-18 15:40 | 5.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.8716 | μmol/L | 38.1222 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.844 | 116682.8925 | 301208.7411 | 30.45 | 114.2 | #N/A
19701 | 2021-02-18 15:40 | 5.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.8385 | μmol/L | 38.1408 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.839 | 116682.1504 | 301197.2002 | 30.45 | 114.2 | #N/A
19711 | 2021-02-18 15:40 | 6.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.5841 | μmol/L | 38.1964 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.837 | 116688.5911 | 301211.1392 | 30.45 | 114.2 | #N/A
19721 | 2021-02-18 15:41 | 6.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.4842 | μmol/L | 38.2211 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.835 | 116682.1492 | 301190.9577 | 30.45 | 114.2 | #N/A
19731 | 2021-02-18 15:41 | 6.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.3225 | μmol/L | 38.2582 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.833 | 116682.5768 | 301188.6747 | 30.45 | 114.2 | #N/A
19741 | 2021-02-18 15:41 | 7.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.1488 | μmol/L | 38.2952 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.832 | 116685.9658 | 301186.5548 | 30.45 | 114.2 | #N/A
19751 | 2021-02-18 15:42 | 7.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.0699 | μmol/L | 38.3323 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.823 | 116689.0241 | 301173.2652 | 30.45 | 114.2 | #N/A
19761 | 2021-02-18 15:42 | 7.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.908 | μmol/L | 38.3694 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.821 | 116674.5797 | 301168.7844 | 30.45 | 114.2 | #N/A
19771 | 2021-02-18 15:42 | 8.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.7769 | μmol/L | 38.4003 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.819 | 116664.0745 | 301154.3566 | 30.45 | 114.2 | #N/A
19781 | 2021-02-18 15:43 | 8.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.6384 | μmol/L | 38.4374 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.815 | 116674.4507 | 301173.4536 | 30.45 | 114.2 | #N/A
19791 | 2021-02-18 15:43 | 8.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.4173 | μmol/L | 38.4744 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.818 | 116672.5142 | 301159.2864 | 30.45 | 114.2 | #N/A
19801 | 2021-02-18 15:43 | 9.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.2316 | μmol/L | 38.5115 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.818 | 116682.6293 | 301168.6765 | 30.45 | 114.2 | #N/A
19811 | 2021-02-18 15:44 | 9.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.2831 | μmol/L | 38.5177 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.811 | 116669.566 | 301156.7629 | 30.45 | 114.2 | #N/A
19821 | 2021-02-18 15:44 | 9.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.2386 | μmol/L | 38.5548 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.799 | 116652.041 | 301158.0657 | 30.45 | 114.2 | #N/A
19831 | 2021-02-18 15:44 | 10.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.9553 | μmol/L | 38.6042 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.802 | 116654.7427 | 301141.7211 | 30.45 | 114.2 | #N/A
19841 | 2021-02-18 15:45 | 10.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.8089 | μmol/L | 38.6475 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.796 | 116638.562 | 301136.3873 | 30.45 | 114.2 | #N/A
19851 | 2021-02-18 15:45 | 10.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.6228 | μmol/L | 38.6846 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.796 | 116635.578 | 301136.4418 | 30.45 | 114.2 | #N/A
19861 | 2021-02-18 15:45 | 11.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.5658 | μmol/L | 38.7216 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.785 | 116631.4676 | 301133.6587 | 30.45 | 114.2 | #N/A
19871 | 2021-02-18 15:46 | 11.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.3871 | μmol/L | 38.7525 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.787 | 116632.2624 | 301137.6157 | 30.45 | 114.2 | #N/A
19881 | 2021-02-18 15:46 | 11.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.2788 | μmol/L | 38.7834 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.783 | 116624.4997 | 301123.1715 | 30.45 | 114.2 | #N/A
19891 | 2021-02-18 15:46 | 12.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.0732 | μmol/L | 38.8267 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.782 | 116613.8402 | 301131.3709 | 30.45 | 114.2 | #N/A
19901 | 2021-02-18 15:47 | 12.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.9143 | μmol/L | 38.87 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.777 | 116608.7357 | 301122.9294 | 30.45 | 114.2 | #N/A
19911 | 2021-02-18 15:47 | 12.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8328 | μmol/L | 38.8885 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.776 | 116629.1647 | 301126.6158 | 30.45 | 114.2 | #N/A
19921 | 2021-02-18 15:47 | 13.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6814 | μmol/L | 38.9256 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.773 | 116638.5296 | 301131.4889 | 30.45 | 114.2 | #N/A
19931 | 2021-02-18 15:48 | 13.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.5416 | μmol/L | 38.9627 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.769 | 116636.6971 | 301113.7908 | 30.45 | 114.2 | #N/A
19941 | 2021-02-18 15:48 | 13.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.39 | μmol/L | 38.9997 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.766 | 116629.6551 | 301104.6958 | 30.45 | 114.2 | #N/A
19951 | 2021-02-18 15:48 | 14.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.2927 | μmol/L | 39.0306 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.761 | 116616.5604 | 301122.2299 | 30.45 | 114.2 | #N/A
19961 | 2021-02-18 15:49 | 14.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.18 | μmol/L | 39.0554 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.76 | 116627.7024 | 301099.4108 | 30.45 | 114.2 | #N/A
19971 | 2021-02-18 15:49 | 14.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.005 | μmol/L | 39.0925 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.759 | 116642.1942 | 301104.4792 | 30.45 | 114.2 | #N/A
19981 | 2021-02-18 15:49 | 15.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.966 | μmol/L | 39.1048 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.757 | 116657.7949 | 301103.6805 | 30.45 | 114.2 | #N/A
19991 | 2021-02-18 15:50 | 15.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.7207 | μmol/L | 39.1604 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.754 | 116668.058 | 301098.8133 | 30.45 | 114.2 | #N/A
20001 | 2021-02-18 15:50 | 15.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.5652 | μmol/L | 39.1913 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.754 | 116667.5379 | 301096.604 | 30.45 | 114.2 | #N/A
20011 | 2021-02-18 15:50 | 16.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.5839 | μmol/L | 39.2037 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.747 | 116668.9719 | 301078.0777 | 30.45 | 114.2 | #N/A
20021 | 2021-02-18 15:51 | 16.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.3358 | μmol/L | 39.2346 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.755 | 116688.9623 | 301080.3019 | 30.45 | 114.2 | #N/A
20031 | 2021-02-18 15:51 | 16.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.1998 | μmol/L | 39.2593 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.756 | 116720.779 | 301093.6078 | 30.45 | 114.2 | #N/A
20041 | 2021-02-18 15:51 | 17.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.0443 | μmol/L | 39.2902 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.756 | 116752.1727 | 301087.0229 | 30.45 | 114.2 | #N/A
20051 | 2021-02-18 15:52 | 17.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8184 | μmol/L | 39.3397 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.754 | 116771.2201 | 301081.7104 | 30.45 | 114.2 | #N/A
20061 | 2021-02-18 15:52 | 17.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.7562 | μmol/L | 39.352 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.754 | 116762.264 | 301073.3233 | 30.45 | 114.2 | #N/A
20071 | 2021-02-18 15:52 | 18.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8597 | μmol/L | 39.352 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.745 | 116748.2865 | 301081.3716 | 30.45 | 114.2 | #N/A
20081 | 2021-02-18 15:53 | 18.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8089 | μmol/L | 39.3644 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.744 | 116730.8005 | 301059.1482 | 30.45 | 114.2 | #N/A
20091 | 2021-02-18 15:53 | 18.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.863 | μmol/L | 39.3582 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.742 | 116732.1354 | 301060.3437 | 30.45 | 114.2 | #N/A
20101 | 2021-02-18 15:53 | 19.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.6024 | μmol/L | 39.4077 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.743 | 116737.0881 | 301054.239 | 30.45 | 114.2 | #N/A
20111 | 2021-02-18 15:54 | 19.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.691 | μmol/L | 39.4015 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.738 | 116748.0333 | 301059.1797 | 30.45 | 114.2 | #N/A
20121 | 2021-02-18 15:54 | 19.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.5696 | μmol/L | 39.4324 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.735 | 116736.8912 | 301059.6268 | 30.45 | 114.2 | #N/A
20131 | 2021-02-18 15:54 | 20.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.5532 | μmol/L | 39.4448 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.731 | 116717.31 | 301054.7418 | 30.45 | 114.2 | #N/A
20141 | 2021-02-18 15:55 | 20.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4037 | μmol/L | 39.488 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.725 | 116692.8725 | 301044.3958 | 30.45 | 114.2 | #N/A
20151 | 2021-02-18 15:55 | 20.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.3872 | μmol/L | 39.5004 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.721 | 116682.7485 | 301052.1442 | 30.45 | 114.2 | #N/A
20161 | 2021-02-18 15:55 | 21.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4102 | μmol/L | 39.5004 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.719 | 116675.0493 | 301038.8395 | 30.45 | 114.2 | #N/A
20171 | 2021-02-18 15:56 | 21.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4446 | μmol/L | 39.5004 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.716 | 116665.531 | 301040.7836 | 30.45 | 114.2 | #N/A
20181 | 2021-02-18 15:56 | 21.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4166 | μmol/L | 39.5128 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.713 | 116665.4684 | 301045.6842 | 30.45 | 114.2 | #N/A
20191 | 2021-02-18 15:56 | 22.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4197 | μmol/L | 39.5189 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.71 | 116662.7592 | 301030.4027 | 30.45 | 114.2 | #N/A
20201 | 2021-02-18 15:57 | 22.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.224 | μmol/L | 39.5622 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.708 | 116658.6302 | 301034.2029 | 30.45 | 114.2 | #N/A
20211 | 2021-02-18 15:57 | 22.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.2667 | μmol/L | 39.556 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.707 | 116664.3811 | 301037.1505 | 30.45 | 114.2 | #N/A
20221 | 2021-02-18 15:57 | 23.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.2157 | μmol/L | 39.5684 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.706 | 116661.5973 | 301036.1489 | 30.45 | 114.2 | #N/A
20231 | 2021-02-18 15:58 | 23.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.9032 | μmol/L | 39.6302 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.706 | 116639.9211 | 301029.633 | 30.45 | 114.2 | #N/A
20241 | 2021-02-18 15:58 | 23.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.8323 | μmol/L | 39.6488 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.704 | 116659.418 | 301020.1482 | 30.45 | 114.2 | #N/A
20251 | 2021-02-18 15:58 | 24.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.673 | μmol/L | 39.6735 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.707 | 116692.4791 | 301024.079 | 30.45 | 114.2 | #N/A
20261 | 2021-02-18 15:59 | 24.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.6388 | μmol/L | 39.6735 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.71 | 116716.6985 | 301023.909 | 30.45 | 114.2 | #N/A
20271 | 2021-02-18 15:59 | 24.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.6586 | μmol/L | 39.6673 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.711 | 116724.3308 | 301020.4464 | 30.45 | 114.2 | #N/A
20281 | 2021-02-18 15:59 | 25.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.6244 | μmol/L | 39.6673 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.714 | 116758.1947 | 301019.5729 | 30.45 | 114.2 | #N/A
20291 | 2021-02-18 16:00 | 25.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.5872 | μmol/L | 39.6611 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.72 | 116801.7737 | 301015.5469 | 30.45 | 114.2 | #N/A
20301 | 2021-02-18 16:00 | 25.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.55 | μmol/L | 39.6549 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.726 | 116847.184 | 301023.2396 | 30.45 | 114.2 | #N/A
20311 | 2021-02-18 16:00 | 26.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.4163 | μmol/L | 39.6611 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.735 | 116891.5797 | 301015.0935 | 30.45 | 114.2 | #N/A
20321 | 2021-02-18 16:01 | 26.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.2546 | μmol/L | 39.6797 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.741 | 116946.8077 | 301030.3627 | 30.45 | 114.2 | #N/A
20331 | 2021-02-18 16:01 | 26.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.2066 | μmol/L | 39.6982 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.737 | 116947.7651 | 301022.9664 | 30.45 | 114.2 | #N/A
20341 | 2021-02-18 16:01 | 27.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.045 | μmol/L | 39.7168 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.743 | 116953.6504 | 301027.25 | 30.45 | 114.2 | #N/A
20351 | 2021-02-18 16:02 | 27.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.3995 | μmol/L | 39.6735 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.731 | 116919.0567 | 301012.7613 | 30.45 | 114.2 | #N/A
20361 | 2021-02-18 16:02 | 27.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.6573 | μmol/L | 39.6178 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.733 | 116913.1105 | 301015.0057 | 30.45 | 114.2 | #N/A
20371 | 2021-02-18 16:02 | 28.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.6178 | μmol/L | 39.6302 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.731 | 116908.0754 | 301022.9943 | 30.45 | 114.2 | #N/A
20381 | 2021-02-18 16:03 | 28.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.1558 | μmol/L | 39.7353 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.725 | 116906.972 | 301011.1553 | 30.45 | 114.2 | #N/A
20391 | 2021-02-18 16:03 | 28.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.9147 | μmol/L | 39.7538 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.738 | 116944.6396 | 301011.8614 | 30.45 | 114.2 | #N/A
20401 | 2021-02-18 16:03 | 29.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.909 | μmol/L | 39.7415 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.744 | 116983.5098 | 301005.4143 | 30.45 | 114.2 | #N/A
20411 | 2021-02-18 16:04 | 29.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.8326 | μmol/L | 39.7477 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.748 | 117021.0027 | 301014.3278 | 30.45 | 114.2 | #N/A
20421 | 2021-02-18 16:04 | 29.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.8806 | μmol/L | 39.7291 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.752 | 117052.2373 | 301010.7873 | 30.45 | 114.2 | #N/A
20431 | 2021-02-18 16:04 | 30.3286 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.7052 | μmol/L | 39.7415 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.762 | 117117.5688 | 301005.9524 | 30.45 | 114.2 | #N/A
20441 | 2021-02-18 16:05 | 30.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.4735 | μmol/L | 39.7538 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.777 | 117206.0695 | 301007.0742 | 30.45 | 114.2 | #N/A
20451 | 2021-02-18 16:05 | 30.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.3071 | μmol/L | 39.76 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.789 | 117267.4866 | 301019.5448 | 30.45 | 114.2 | #N/A
20461 | 2021-02-18 16:05 | 31.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.2197 | μmol/L | 39.7662 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.794 | 117303.5255 | 301010.5151 | 30.45 | 114.2 | #N/A
20471 | 2021-02-18 16:06 | 31.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.2 | μmol/L | 39.7724 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.793 | 117320.8508 | 301009.7117 | 30.45 | 114.2 | #N/A
20481 | 2021-02-18 16:06 | 31.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.214 | μmol/L | 39.7786 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.789 | 117295.6765 | 301014.2479 | 30.45 | 114.2 | #N/A
20491 | 2021-02-18 16:06 | 32.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1492 | μmol/L | 39.7848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.792 | 117325.6519 | 301019.4004 | 30.45 | 114.2 | #N/A
20501 | 2021-02-18 16:07 | 32.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.2114 | μmol/L | 39.7477 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.803 | 117369.8361 | 301014.4581 | 30.45 | 114.2 | #N/A
20511 | 2021-02-18 16:07 | 32.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.0987 | μmol/L | 39.7724 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.802 | 117393.9539 | 301009.2146 | 30.45 | 114.2 | #N/A
20521 | 2021-02-18 16:07 | 33.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.0452 | μmol/L | 39.7786 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.804 | 117414.5182 | 301006.7851 | 30.45 | 114.2 | #N/A
20531 | 2021-02-18 16:08 | 33.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.9216 | μmol/L | 39.7786 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.815 | 117459.5125 | 301007.0993 | 30.45 | 114.2 | #N/A
20541 | 2021-02-18 16:08 | 33.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7532 | μmol/L | 39.7786 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.83 | 117558.6403 | 301018.9158 | 30.45 | 114.2 | #N/A
20551 | 2021-02-18 16:08 | 34.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.613 | μmol/L | 39.7909 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.837 | 117603.6933 | 301010.3043 | 30.45 | 114.2 | #N/A
20561 | 2021-02-18 16:09 | 34.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5963 | μmol/L | 39.7786 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.844 | 117643.9967 | 300999.2568 | 30.45 | 114.2 | #N/A
20571 | 2021-02-18 16:09 | 34.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5207 | μmol/L | 39.7848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.848 | 117675.0846 | 301011.9725 | 30.45 | 114.2 | #N/A
20581 | 2021-02-18 16:09 | 35.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.4089 | μmol/L | 39.7848 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.858 | 117739.3494 | 301014.6492 | 30.45 | 114.2 | #N/A
20591 | 2021-02-18 16:10 | 35.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.4457 | μmol/L | 39.7415 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.874 | 117829.6837 | 301018.0417 | 30.45 | 114.2 | #N/A
20601 | 2021-02-18 16:10 | 35.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.3648 | μmol/L | 39.7353 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.884 | 117909.4808 | 301020.9098 | 30.45 | 114.2 | #N/A
20611 | 2021-02-18 16:10 | 36.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1721 | μmol/L | 39.7538 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.893 | 117962.9666 | 301019.2618 | 30.45 | 114.2 | #N/A
20621 | 2021-02-18 16:11 | 36.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1191 | μmol/L | 39.76 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.895 | 117965.5512 | 301013.1912 | 30.45 | 114.2 | #N/A
20631 | 2021-02-18 16:11 | 36.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0772 | μmol/L | 39.7662 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.896 | 117980.452 | 301008.2502 | 30.45 | 114.2 | #N/A
20641 | 2021-02-18 16:11 | 37.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.2336 | μmol/L | 39.7415 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.893 | 117954.8862 | 301013.583 | 30.45 | 114.2 | #N/A
20651 | 2021-02-18 16:12 | 37.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1471 | μmol/L | 39.7477 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.898 | 117978.6156 | 301007.5248 | 30.45 | 114.2 | #N/A
20661 | 2021-02-18 16:12 | 37.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1501 | μmol/L | 39.7291 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.906 | 118024.1044 | 301017.1711 | 30.45 | 114.2 | #N/A
20671 | 2021-02-18 16:12 | 38.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0637 | μmol/L | 39.7353 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.911 | 118052.4397 | 301021.076 | 30.45 | 114.2 | #N/A
20681 | 2021-02-18 16:13 | 38.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9244 | μmol/L | 39.7477 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.918 | 118078.3435 | 301022.2797 | 30.45 | 114.2 | #N/A
20691 | 2021-02-18 16:13 | 38.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9747 | μmol/L | 39.7353 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.919 | 118111.4385 | 301019.2788 | 30.45 | 114.2 | #N/A
20701 | 2021-02-18 16:13 | 39.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9551 | μmol/L | 39.7415 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.918 | 118096.2907 | 301034.8764 | 30.45 | 114.2 | #N/A
20711 | 2021-02-18 16:14 | 39.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9302 | μmol/L | 39.7353 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.923 | 118121.1768 | 301029.632 | 30.45 | 114.2 | #N/A
20721 | 2021-02-18 16:14 | 39.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9804 | μmol/L | 39.7229 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.924 | 118145.4266 | 301039.2429 | 30.45 | 114.2 | #N/A
20731 | 2021-02-18 16:14 | 40.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9609 | μmol/L | 39.7291 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.923 | 118129.0372 | 301033.2774 | 30.45 | 114.2 | #N/A
20741 | 2021-02-18 16:15 | 40.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0111 | μmol/L | 39.7168 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.924 | 118115.946 | 301042.7416 | 30.45 | 114.2 | #N/A
20751 | 2021-02-18 16:15 | 40.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0556 | μmol/L | 39.7168 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.92 | 118104.2812 | 301057.8544 | 30.45 | 114.2 | #N/A
20761 | 2021-02-18 16:15 | 41.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0417 | μmol/L | 39.7106 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.924 | 118127.323 | 301045.4534 | 30.45 | 114.2 | #N/A
20771 | 2021-02-18 16:16 | 41.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1169 | μmol/L | 39.7044 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.92 | 118135.493 | 301056.2494 | 30.45 | 114.2 | #N/A
20781 | 2021-02-18 16:16 | 41.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.2925 | μmol/L | 39.6982 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.907 | 118035.8473 | 301042.4491 | 30.45 | 114.2 | #N/A
20791 | 2021-02-18 16:16 | 42.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5075 | μmol/L | 39.6797 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.896 | 117961.3462 | 301055.9137 | 30.45 | 114.2 | #N/A
20801 | 2021-02-18 16:17 | 42.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.6277 | μmol/L | 39.6735 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.888 | 117901.1517 | 301063.3464 | 30.45 | 114.2 | #N/A
20811 | 2021-02-18 16:17 | 42.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7927 | μmol/L | 39.6426 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.887 | 117891.5254 | 301070.9691 | 30.45 | 114.2 | #N/A
20821 | 2021-02-18 16:17 | 43.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.8571 | μmol/L | 39.6364 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.884 | 117887.1845 | 301066.6436 | 30.45 | 114.2 | #N/A
20831 | 2021-02-18 16:18 | 43.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.9048 | μmol/L | 39.6426 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.877 | 117834.0561 | 301072.2143 | 30.45 | 114.2 | #N/A
20841 | 2021-02-18 16:18 | 43.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.9666 | μmol/L | 39.6549 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.866 | 117773.0455 | 301073.2121 | 30.45 | 114.2 | #N/A
20851 | 2021-02-18 16:18 | 44.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.0116 | μmol/L | 39.6549 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.862 | 117754.6893 | 301077.0067 | 30.45 | 114.2 | #N/A
20861 | 2021-02-18 16:19 | 44.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.9693 | μmol/L | 39.6364 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.874 | 117832.251 | 301079.8131 | 30.45 | 114.2 | #N/A
20871 | 2021-02-18 16:19 | 44.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7116 | μmol/L | 39.6611 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.886 | 117876.7272 | 301078.8494 | 30.45 | 114.2 | #N/A
20881 | 2021-02-18 16:19 | 45.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.72 | μmol/L | 39.6549 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.888 | 117901.0832 | 301091.8824 | 30.45 | 114.2 | #N/A
20891 | 2021-02-18 16:20 | 45.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7396 | μmol/L | 39.6488 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.889 | 117922.0284 | 301082.0327 | 30.45 | 114.2 | #N/A
20901 | 2021-02-18 16:20 | 45.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.6164 | μmol/L | 39.6488 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.9 | 117980.4552 | 301088.8505 | 30.45 | 114.2 | #N/A
20911 | 2021-02-18 16:20 | 46.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5912 | μmol/L | 39.6426 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.905 | 118023.0571 | 301085.4029 | 30.45 | 114.2 | #N/A
20921 | 2021-02-18 16:21 | 46.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5577 | μmol/L | 39.6426 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.908 | 118094.9223 | 301088.7089 | 30.45 | 114.2 | #N/A
20931 | 2021-02-18 16:21 | 46.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.3873 | μmol/L | 39.6364 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.926 | 118179.3634 | 301098.6177 | 30.45 | 114.2 | #N/A
20941 | 2021-02-18 16:21 | 47.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.2786 | μmol/L | 39.6426 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.933 | 118225.1985 | 301109.109 | 30.45 | 114.2 | #N/A
20951 | 2021-02-18 16:22 | 47.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1728 | μmol/L | 39.6549 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.937 | 118245.4316 | 301114.4721 | 30.45 | 114.2 | #N/A
20961 | 2021-02-18 16:22 | 47.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.042 | μmol/L | 39.6611 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.946 | 118309.8251 | 301110.9391 | 30.45 | 114.2 | #N/A
20971 | 2021-02-18 16:22 | 48.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0281 | μmol/L | 39.6549 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.95 | 118361.5283 | 301110.2256 | 30.45 | 114.2 | #N/A
20981 | 2021-02-18 16:23 | 48.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.4336 | μmol/L | 39.5437 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.963 | 118407.8586 | 301105.4074 | 30.45 | 114.2 | #N/A
20991 | 2021-02-18 16:23 | 48.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9447 | μmol/L | 39.6426 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.963 | 118449.5408 | 301110.3031 | 30.45 | 114.2 | #N/A
21001 | 2021-02-18 16:23 | 49.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.7698 | μmol/L | 39.6488 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.976 | 118523.1994 | 301118.4758 | 30.45 | 114.2 | #N/A
21011 | 2021-02-18 16:24 | 49.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0999 | μmol/L | 39.5684 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.982 | 118590.9756 | 301116.5648 | 30.45 | 114.2 | #N/A
21021 | 2021-02-18 16:24 | 49.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.6728 | μmol/L | 39.6302 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.993 | 118645.4109 | 301114.4862 | 30.45 | 114.2 | #N/A
21031 | 2021-02-18 16:24 | 50.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4236 | μmol/L | 39.6673 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 21.999 | 118694.1479 | 301114.7949 | 30.45 | 114.2 | #N/A
21041 | 2021-02-18 16:25 | 50.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.288 | μmol/L | 39.6858 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.003 | 118719.5125 | 301118.0915 | 30.45 | 114.2 | #N/A
21051 | 2021-02-18 16:25 | 50.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.2244 | μmol/L | 39.692 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.006 | 118746.4644 | 301131.5523 | 30.45 | 114.2 | #N/A
21061 | 2021-02-18 16:25 | 51.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.1609 | μmol/L | 39.6982 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.009 | 118761.5352 | 301133.0826 | 30.45 | 114.2 | #N/A
21071 | 2021-02-18 16:26 | 51.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.0281 | μmol/L | 39.7229 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.01 | 118749.4086 | 301127.7503 | 30.45 | 114.2 | #N/A
21081 | 2021-02-18 16:26 | 51.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.1856 | μmol/L | 39.7044 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.004 | 118745.0872 | 301116.8944 | 30.45 | 114.2 | #N/A
21091 | 2021-02-18 16:26 | 52.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.1357 | μmol/L | 39.7168 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.003 | 118745.2864 | 301136.0629 | 30.45 | 114.2 | #N/A
21101 | 2021-02-18 16:27 | 52.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.0859 | μmol/L | 39.7291 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.002 | 118760.8274 | 301141.9254 | 30.45 | 114.2 | #N/A
21111 | 2021-02-18 16:27 | 52.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.0806 | μmol/L | 39.7168 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.008 | 118792.9733 | 301141.4482 | 30.45 | 114.2 | #N/A
21121 | 2021-02-18 16:27 | 53.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.0832 | μmol/L | 39.7229 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.005 | 118820.9526 | 301141.6235 | 30.45 | 114.2 | #N/A
21131 | 2021-02-18 16:28 | 53.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.9866 | μmol/L | 39.7291 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.011 | 118844.2682 | 301153.145 | 30.45 | 114.2 | #N/A
21141 | 2021-02-18 16:28 | 53.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.815 | μmol/L | 39.7662 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.01 | 118869.8004 | 301146.8071 | 30.45 | 114.2 | #N/A
21151 | 2021-02-18 16:28 | 54.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.804 | μmol/L | 39.7662 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.011 | 118873.6002 | 301148.6373 | 30.45 | 114.2 | #N/A
21161 | 2021-02-18 16:29 | 54.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.7322 | μmol/L | 39.7786 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.012 | 118883.7115 | 301151.123 | 30.45 | 114.2 | #N/A
21171 | 2021-02-18 16:29 | 54.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.58 | μmol/L | 39.8095 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.012 | 118891.9639 | 301135.5895 | 30.45 | 114.2 | #N/A
21181 | 2021-02-18 16:29 | 55.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.4169 | μmol/L | 39.8404 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.013 | 118909.4254 | 301147.7678 | 30.45 | 114.2 | #N/A
21191 | 2021-02-18 16:30 | 55.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.1501 | μmol/L | 39.8837 | °C | 997 | hPa | Humid | 28 | 0 | 0 | 22.017 | 118939.6448 | 301152.0214 | 30.45 | 114.2 | #N/A
21201 | 2021-02-18 16:30 | 55.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.0665 | μmol/L | 39.896 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.02 | 118972.0918 | 301145.3348 | 30.45 | 114.2 | #N/A
21211 | 2021-02-18 16:30 | 56.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.2061 | μmol/L | 39.8589 | °C | 997 | hPa | Humid | 28 | 0 | 0 | 22.023 | 119013.8315 | 301149.5034 | 30.45 | 114.2 | #N/A
21221 | 2021-02-18 16:31 | 56.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.1139 | μmol/L | 39.8775 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.024 | 119030.4251 | 301151.9269 | 30.45 | 114.2 | #N/A
21231 | 2021-02-18 16:31 | 56.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.9814 | μmol/L | 39.9022 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.025 | 119050.1119 | 301128.4627 | 30.45 | 114.2 | #N/A
21241 | 2021-02-18 16:31 | 57.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.9534 | μmol/L | 39.9146 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.022 | 119077.8189 | 301145.1659 | 30.45 | 114.2 | #N/A
21251 | 2021-02-18 16:32 | 57.6617 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.7577 | μmol/L | 39.9455 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.026 | 119084.8385 | 301154.6177 | 30.45 | 114.2 | #N/A
21261 | 2021-02-18 16:32 | 57.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.7491 | μmol/L | 39.9517 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.024 | 119111.5011 | 301143.2901 | 30.45 | 114.2 | #N/A
21271 | 2021-02-18 16:32 | 58.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.6424 | μmol/L | 39.9578 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.031 | 119145.2246 | 301143.0257 | 30.45 | 114.2 | #N/A
21281 | 2021-02-18 16:33 | 58.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.6923 | μmol/L | 39.9455 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.032 | 119175.0147 | 301158.1152 | 30.45 | 114.2 | #N/A
21291 | 2021-02-18 16:33 | 58.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.5988 | μmol/L | 39.9578 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.035 | 119206.9556 | 301145.5634 | 30.45 | 114.2 | #N/A
21301 | 2021-02-18 16:33 | 59.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.4796 | μmol/L | 39.9888 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.032 | 119200.2972 | 301161.4084 | 30.45 | 114.2 | #N/A
21311 | 2021-02-18 16:34 | 59.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.3689 | μmol/L | 40.0135 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.031 | 119201.7118 | 301157.2283 | 30.45 | 114.2 | #N/A
21321 | 2021-02-18 16:34 | 59.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.217 | μmol/L | 40.0444 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.031 | 119188.5686 | 301151.2962 | 30.45 | 114.2 | #N/A
21331 | 2021-02-18 16:34 | 60.3285 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.3408 | μmol/L | 40.0259 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.028 | 119214.5926 | 301151.968 | 30.45 | 114.2 | #N/A
21341 | 2021-02-18 16:35 | 60.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.2365 | μmol/L | 40.0382 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.032 | 119261.2172 | 301154.592 | 30.45 | 114.2 | #N/A
21351 | 2021-02-18 16:35 | 60.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.1561 | μmol/L | 40.0259 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.045 | 119323.4685 | 301157.3319 | 30.45 | 114.2 | #N/A
21361 | 2021-02-18 16:35 | 61.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.0888 | μmol/L | 40.0197 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.054 | 119371.9406 | 301148.9743 | 30.45 | 114.2 | #N/A
21371 | 2021-02-18 16:36 | 61.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.8961 | μmol/L | 40.0568 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.055 | 119387.3872 | 301155.3508 | 30.45 | 114.2 | #N/A
21381 | 2021-02-18 16:36 | 61.9949 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.7943 | μmol/L | 40.0753 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.056 | 119426.3975 | 301164.0858 | 30.45 | 114.2 | #N/A
21391 | 2021-02-18 16:36 | 62.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.6925 | μmol/L | 40.0939 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.057 | 119433.6161 | 301167.0644 | 30.45 | 114.2 | #N/A
21401 | 2021-02-18 16:37 | 62.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.6709 | μmol/L | 40.0939 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.059 | 119429.862 | 301148.7832 | 30.45 | 114.2 | #N/A
21411 | 2021-02-18 16:37 | 62.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.619 | μmol/L | 40.1 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.061 | 119453.1703 | 301165.7032 | 30.45 | 114.2 | #N/A
21421 | 2021-02-18 16:37 | 63.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.5044 | μmol/L | 40.1124 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.066 | 119479.1061 | 301157.8424 | 30.45 | 114.2 | #N/A
21431 | 2021-02-18 16:38 | 63.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.4633 | μmol/L | 40.1186 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.067 | 119516.4881 | 301161.8151 | 30.45 | 114.2 | #N/A
21441 | 2021-02-18 16:38 | 63.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3704 | μmol/L | 40.131 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.07 | 119540.4721 | 301161.5162 | 30.45 | 114.2 | #N/A
21451 | 2021-02-18 16:38 | 64.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.4504 | μmol/L | 40.1124 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.071 | 119541.8317 | 301168.4149 | 30.45 | 114.2 | #N/A
21461 | 2021-02-18 16:39 | 64.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3857 | μmol/L | 40.1124 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.077 | 119585.9062 | 301173.0379 | 30.45 | 114.2 | #N/A
21471 | 2021-02-18 16:39 | 64.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3037 | μmol/L | 40.1248 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.079 | 119617.0769 | 301168.1756 | 30.45 | 114.2 | #N/A
21481 | 2021-02-18 16:39 | 65.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.2431 | μmol/L | 40.1371 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.079 | 119609.0069 | 301162.1994 | 30.45 | 114.2 | #N/A
21491 | 2021-02-18 16:40 | 65.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1893 | μmol/L | 40.1371 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.084 | 119641.0352 | 301165.5027 | 30.45 | 114.2 | #N/A
21501 | 2021-02-18 16:40 | 65.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1893 | μmol/L | 40.1371 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.084 | 119673.3195 | 301183.8437 | 30.45 | 114.2 | #N/A
21511 | 2021-02-18 16:40 | 66.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0898 | μmol/L | 40.1619 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.082 | 119658.9731 | 301168.0056 | 30.45 | 114.2 | #N/A
21521 | 2021-02-18 16:41 | 66.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1308 | μmol/L | 40.1557 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.081 | 119650.7912 | 301177.5657 | 30.45 | 114.2 | #N/A
21531 | 2021-02-18 16:41 | 66.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3103 | μmol/L | 40.1124 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.084 | 119662.4206 | 301173.3401 | 30.45 | 114.2 | #N/A
21541 | 2021-02-18 16:41 | 67.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3406 | μmol/L | 40.1062 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.084 | 119684.8202 | 301177.3009 | 30.45 | 114.2 | #N/A
21551 | 2021-02-18 16:42 | 67.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1335 | μmol/L | 40.131 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.092 | 119695.7916 | 301180.8946 | 30.45 | 114.2 | #N/A
21561 | 2021-02-18 16:42 | 67.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1093 | μmol/L | 40.1557 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.083 | 119657.217 | 301177.6326 | 30.45 | 114.2 | #N/A
21571 | 2021-02-18 16:42 | 68.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1241 | μmol/L | 40.1681 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.076 | 119614.0675 | 301172.7809 | 30.45 | 114.2 | #N/A
21581 | 2021-02-18 16:43 | 68.6614 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1994 | μmol/L | 40.1681 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.069 | 119577.0818 | 301185.5756 | 30.45 | 114.2 | #N/A
21591 | 2021-02-18 16:43 | 68.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.2317 | μmol/L | 40.1681 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.066 | 119575.8097 | 301172.1907 | 30.45 | 114.2 | #N/A
21601 | 2021-02-18 16:43 | 69.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.2384 | μmol/L | 40.1557 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.071 | 119608.4394 | 301171.2258 | 30.45 | 114.2 | #N/A
21611 | 2021-02-18 16:44 | 69.6618 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3596 | μmol/L | 40.131 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.071 | 119631.6393 | 301188.3707 | 30.45 | 114.2 | #N/A
21621 | 2021-02-18 16:44 | 69.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3708 | μmol/L | 40.1 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.084 | 119676.2058 | 301189.6193 | 30.45 | 114.2 | #N/A
21631 | 2021-02-18 16:44 | 70.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.276 | μmol/L | 40.1062 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.09 | 119735.3637 | 301192.0763 | 30.45 | 114.2 | #N/A
21641 | 2021-02-18 16:45 | 70.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9462 | μmol/L | 40.1495 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.101 | 119811.2822 | 301198.7932 | 30.45 | 114.2 | #N/A
21651 | 2021-02-18 16:45 | 70.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.8262 | μmol/L | 40.1433 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.115 | 119870.948 | 301194.6766 | 30.45 | 114.2 | #N/A
21661 | 2021-02-18 16:45 | 71.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.7746 | μmol/L | 40.1495 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.117 | 119889.9535 | 301194.2396 | 30.45 | 114.2 | #N/A
21671 | 2021-02-18 16:46 | 71.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.8175 | μmol/L | 40.1495 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.113 | 119865.8574 | 301192.3031 | 30.45 | 114.2 | #N/A
21681 | 2021-02-18 16:46 | 71.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9549 | μmol/L | 40.1433 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.103 | 119789.2098 | 301199.5234 | 30.45 | 114.2 | #N/A
21691 | 2021-02-18 16:46 | 72.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1207 | μmol/L | 40.1248 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.096 | 119732.373 | 301185.146 | 30.45 | 114.2 | #N/A
21701 | 2021-02-18 16:47 | 72.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0281 | μmol/L | 40.1371 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.099 | 119784.3883 | 301200.3288 | 30.45 | 114.2 | #N/A
21711 | 2021-02-18 16:47 | 72.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1428 | μmol/L | 40.0939 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.108 | 119857.3372 | 301193.6418 | 30.45 | 114.2 | #N/A
21721 | 2021-02-18 16:47 | 73.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0527 | μmol/L | 40.0815 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.122 | 119926.1479 | 301204.3325 | 30.45 | 114.2 | #N/A
21731 | 2021-02-18 16:48 | 73.6615 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.8228 | μmol/L | 40.1 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.135 | 119996.957 | 301196.1435 | 30.45 | 114.2 | #N/A
21741 | 2021-02-18 16:48 | 73.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6361 | μmol/L | 40.1186 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.144 | 120082.1052 | 301196.979 | 30.45 | 114.2 | #N/A
21751 | 2021-02-18 16:48 | 74.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.5446 | μmol/L | 40.1 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.161 | 120136.8623 | 301201.5992 | 30.45 | 114.2 | #N/A
21761 | 2021-02-18 16:49 | 74.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.598 | μmol/L | 40.1 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.156 | 120148.6194 | 301214.0546 | 30.45 | 114.2 | #N/A
21771 | 2021-02-18 16:49 | 74.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.4932 | μmol/L | 40.1062 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.163 | 120187.4482 | 301191.1925 | 30.45 | 114.2 | #N/A
21781 | 2021-02-18 16:49 | 75.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.3951 | μmol/L | 40.1 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.175 | 120245.7545 | 301217.4952 | 30.45 | 114.2 | #N/A
21791 | 2021-02-18 16:50 | 75.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.3437 | μmol/L | 40.1062 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.177 | 120297.1118 | 301207.7734 | 30.45 | 114.2 | #N/A
21801 | 2021-02-18 16:50 | 75.9948 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6717 | μmol/L | 40.032 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.18 | 120315.2827 | 301206.1036 | 30.45 | 114.2 | #N/A
21811 | 2021-02-18 16:50 | 76.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.353 | μmol/L | 40.0691 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.193 | 120333.8026 | 301200.9751 | 30.45 | 114.2 | #N/A
21821 | 2021-02-18 16:51 | 76.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.3764 | μmol/L | 40.0753 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.188 | 120316.3775 | 301193.8103 | 30.45 | 114.2 | #N/A
21831 | 2021-02-18 16:51 | 76.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.3764 | μmol/L | 40.0753 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.188 | 120330.1582 | 301202.4295 | 30.45 | 114.2 | #N/A
21841 | 2021-02-18 16:51 | 77.3284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.4536 | μmol/L | 40.0506 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.192 | 120350.9912 | 301206.092 | 30.45 | 114.2 | #N/A
21851 | 2021-02-18 16:52 | 77.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.3363 | μmol/L | 40.0506 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.203 | 120409.6753 | 301195.2167 | 30.45 | 114.2 | #N/A
21861 | 2021-02-18 16:52 | 77.9952 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.3769 | μmol/L | 40.0444 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.202 | 120389.112 | 301193.7333 | 30.45 | 114.2 | #N/A
21871 | 2021-02-18 16:52 | 78.3282 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.4622 | μmol/L | 40.0444 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.194 | 120358.9472 | 301192.0804 | 30.45 | 114.2 | #N/A
21881 | 2021-02-18 16:53 | 78.6619 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6141 | μmol/L | 40.0197 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.191 | 120347.0103 | 301201.5732 | 30.45 | 114.2 | #N/A
21891 | 2021-02-18 16:53 | 78.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6206 | μmol/L | 40.0073 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.196 | 120377.6797 | 301192.8368 | 30.45 | 114.2 | #N/A
21901 | 2021-02-18 16:53 | 79.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.4987 | μmol/L | 40.0259 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.199 | 120388.5224 | 301200.8726 | 30.45 | 114.2 | #N/A
21911 | 2021-02-18 16:54 | 79.6616 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.4581 | μmol/L | 40.032 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.2 | 120376.0784 | 301194.2663 | 30.45 | 114.2 | #N/A
21921 | 2021-02-18 16:54 | 79.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6912 | μmol/L | 39.9949 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.195 | 120326.7112 | 301197.3373 | 30.45 | 114.2 | #N/A
21931 | 2021-02-18 16:54 | 80.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.8388 | μmol/L | 39.9888 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.184 | 120254.1617 | 301195.6864 | 30.45 | 114.2 | #N/A
21941 | 2021-02-18 16:55 | 80.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9052 | μmol/L | 39.9949 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.175 | 120185.3404 | 301195.3546 | 30.45 | 114.2 | #N/A
21951 | 2021-02-18 16:55 | 80.995 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.124 | μmol/L | 39.9764 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.163 | 120103.0491 | 301198.7309 | 30.45 | 114.2 | #N/A
21961 | 2021-02-18 16:55 | 81.3283 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3776 | μmol/L | 39.964 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.145 | 119994.0029 | 301183.4746 | 30.45 | 114.2 | #N/A
21971 | 2021-02-18 16:56 | 81.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.4983 | μmol/L | 39.9702 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.131 | 119921.9707 | 301187.8973 | 30.45 | 114.2 | #N/A
21981 | 2021-02-18 16:56 | 81.9951 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.7829 | μmol/L | 39.9517 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.113 | 119804.5506 | 301198.837 | 30.45 | 114.2 | #N/A
21991 | 2021-02-18 16:56 | 82.3281 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.0676 | μmol/L | 39.9022 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.109 | 119734.6457 | 301204.7783 | 30.45 | 114.2 | #N/A
22001 | 2021-02-18 16:57 | 82.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.9121 | μmol/L | 39.9208 | °C | 998 | hPa | Humid | 28 | 0 | 0 | 22.115 | 119528.3125 | 301209.3674 | 30.45 | 114.2 | #N/A