## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 15:00

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17162 | 2021-02-18 13:39 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.9177 | μmol/L | 34.2622 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.484 | 157642.4001 | 300725.953 | 59.9307 | 49.4
17172 | 2021-02-18 13:40 | 0.33084 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.7393 | μmol/L | 34.2932 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.484 | 157634.0033 | 300727.2571 | 59.9307 | 49.4
17182 | 2021-02-18 13:40 | 0.66452 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8898 | μmol/L | 34.256 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.488 | 157647.3336 | 300678.8476 | 59.9307 | 49.4
17192 | 2021-02-18 13:40 | 0.99737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.7868 | μmol/L | 34.2684 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.49 | 157623.4233 | 300643.0372 | 59.9307 | 49.4
17202 | 2021-02-18 13:41 | 1.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5492 | μmol/L | 34.2932 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.496 | 157640.2142 | 300650.7383 | 59.9307 | 49.4
17212 | 2021-02-18 13:41 | 1.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.4146 | μmol/L | 34.3056 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.5 | 157638.0422 | 300604.3166 | 59.9307 | 49.4
17222 | 2021-02-18 13:41 | 1.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3909 | μmol/L | 34.2932 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.506 | 157663.6047 | 300580.5052 | 59.9307 | 49.4
17232 | 2021-02-18 13:42 | 2.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5253 | μmol/L | 34.256 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.511 | 157666.5384 | 300542.104 | 59.9307 | 49.4
17242 | 2021-02-18 13:42 | 2.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3711 | μmol/L | 34.2746 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.514 | 157665.3044 | 300504.3175 | 59.9307 | 49.4
17252 | 2021-02-18 13:42 | 2.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3611 | μmol/L | 34.2746 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.514 | 157656.0967 | 300494.9265 | 59.9307 | 49.4
17262 | 2021-02-18 13:43 | 3.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5704 | μmol/L | 34.2188 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.521 | 157658.4309 | 300461.9105 | 59.9307 | 49.4
17272 | 2021-02-18 13:43 | 3.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2425 | μmol/L | 34.2622 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.526 | 157662.787 | 300437.4022 | 59.9307 | 49.4
17282 | 2021-02-18 13:43 | 3.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5624 | μmol/L | 34.2064 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.526 | 157645.029 | 300415.2311 | 59.9307 | 49.4
17292 | 2021-02-18 13:44 | 4.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5882 | μmol/L | 34.2064 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.525 | 157658.1202 | 300388.5084 | 59.9307 | 49.4
17302 | 2021-02-18 13:44 | 4.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.128 | μmol/L | 34.2684 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.531 | 157665.5146 | 300368.6286 | 59.9307 | 49.4
17312 | 2021-02-18 13:44 | 4.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.4911 | μmol/L | 34.194 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.535 | 157662.6085 | 300339.9626 | 59.9307 | 49.4
17322 | 2021-02-18 13:45 | 5.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3646 | μmol/L | 34.194 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.543 | 157677.0929 | 300326.9477 | 59.9307 | 49.4
17332 | 2021-02-18 13:45 | 5.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3313 | μmol/L | 34.2126 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.539 | 157649.5861 | 300302.946 | 59.9307 | 49.4
17342 | 2021-02-18 13:45 | 5.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.4514 | μmol/L | 34.1816 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.542 | 157634.0797 | 300278.3264 | 59.9307 | 49.4
17352 | 2021-02-18 13:46 | 6.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1831 | μmol/L | 34.2064 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.55 | 157652.7791 | 300249.3558 | 59.9307 | 49.4
17362 | 2021-02-18 13:46 | 6.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.12 | μmol/L | 34.2064 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.554 | 157677.2052 | 300220.0059 | 59.9307 | 49.4
17372 | 2021-02-18 13:46 | 6.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0884 | μmol/L | 34.2064 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.556 | 157679.4775 | 300198.795 | 59.9307 | 49.4
17382 | 2021-02-18 13:47 | 7.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3483 | μmol/L | 34.1444 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.562 | 157664.5684 | 300167.1859 | 59.9307 | 49.4
17392 | 2021-02-18 13:47 | 7.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3128 | μmol/L | 34.1506 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.562 | 157675.7688 | 300155.4087 | 59.9307 | 49.4
17402 | 2021-02-18 13:47 | 7.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1788 | μmol/L | 34.163 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.566 | 157676.7227 | 300132.4171 | 59.9307 | 49.4
17412 | 2021-02-18 13:48 | 8.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3343 | μmol/L | 34.132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.568 | 157654.517 | 300102.4489 | 59.9307 | 49.4
17422 | 2021-02-18 13:48 | 8.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9268 | μmol/L | 34.1878 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.573 | 157667.291 | 300078.1915 | 59.9307 | 49.4
17432 | 2021-02-18 13:48 | 8.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5682 | μmol/L | 34.07 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.575 | 157636.0791 | 300079.5978 | 59.9307 | 49.4
17442 | 2021-02-18 13:49 | 9.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3791 | μmol/L | 34.0948 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.578 | 157634.8046 | 300043.7736 | 59.9307 | 49.4
17452 | 2021-02-18 13:49 | 9.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2789 | μmol/L | 34.1196 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.576 | 157635.2047 | 300023.5721 | 59.9307 | 49.4
17462 | 2021-02-18 13:49 | 9.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1765 | μmol/L | 34.132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.578 | 157601.506 | 299997.6806 | 59.9307 | 49.4
17472 | 2021-02-18 13:50 | 10.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.354 | μmol/L | 34.1258 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.569 | 157575.9457 | 299970.6139 | 59.9307 | 49.4
17482 | 2021-02-18 13:50 | 10.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3441 | μmol/L | 34.1258 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.569 | 157558.496 | 299952.758 | 59.9307 | 49.4
17492 | 2021-02-18 13:50 | 10.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3066 | μmol/L | 34.1258 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.572 | 157543.443 | 299915.5411 | 59.9307 | 49.4
17502 | 2021-02-18 13:51 | 11.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5016 | μmol/L | 34.101 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.568 | 157513.2834 | 299908.0137 | 59.9307 | 49.4
17512 | 2021-02-18 13:51 | 11.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5115 | μmol/L | 34.101 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.568 | 157496.5243 | 299897.3859 | 59.9307 | 49.4
17522 | 2021-02-18 13:51 | 11.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1334 | μmol/L | 34.1506 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.574 | 157506.42 | 299867.1013 | 59.9307 | 49.4
17532 | 2021-02-18 13:52 | 12.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1018 | μmol/L | 34.1506 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.576 | 157510.9558 | 299844.5625 | 59.9307 | 49.4
17542 | 2021-02-18 13:52 | 12.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.153 | μmol/L | 34.1444 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.575 | 157494.2774 | 299805.958 | 59.9307 | 49.4
17552 | 2021-02-18 13:52 | 12.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2554 | μmol/L | 34.132 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.573 | 157458.2966 | 299778.2986 | 59.9307 | 49.4
17562 | 2021-02-18 13:53 | 13.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1099 | μmol/L | 34.163 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.571 | 157421.0694 | 299759.7647 | 59.9307 | 49.4
17572 | 2021-02-18 13:53 | 13.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.4407 | μmol/L | 34.1134 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.568 | 157417.0206 | 299738.016 | 59.9307 | 49.4
17582 | 2021-02-18 13:53 | 13.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0684 | μmol/L | 34.163 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.573 | 157430.4948 | 299723.4655 | 59.9307 | 49.4
17592 | 2021-02-18 13:54 | 14.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9347 | μmol/L | 34.2002 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.568 | 157363.4292 | 299709.5929 | 59.9307 | 49.4
17602 | 2021-02-18 13:54 | 14.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1511 | μmol/L | 34.1568 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.57 | 157366.0523 | 299680.8383 | 59.9307 | 49.4
17612 | 2021-02-18 13:54 | 14.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0526 | μmol/L | 34.163 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.574 | 157358.4286 | 299669.601 | 59.9307 | 49.4
17622 | 2021-02-18 13:55 | 15.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.2543 | μmol/L | 34.3056 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.573 | 157365.0093 | 299645.0756 | 59.9307 | 49.4
17632 | 2021-02-18 13:55 | 15.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.3998 | μmol/L | 34.2746 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.575 | 157358.8386 | 299636.1004 | 59.9307 | 49.4
17642 | 2021-02-18 13:55 | 15.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3321 | μmol/L | 34.1196 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.572 | 157311.0068 | 299606.9569 | 59.9307 | 49.4
17652 | 2021-02-18 13:56 | 16.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.1276 | μmol/L | 34.1692 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.567 | 157288.1188 | 299568.254 | 59.9307 | 49.4
17662 | 2021-02-18 13:56 | 16.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4626 | μmol/L | 34.2746 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.571 | 157275.2047 | 299561.3467 | 59.9307 | 49.4
17672 | 2021-02-18 13:56 | 16.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.5215 | μmol/L | 34.2808 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.565 | 157246.4289 | 299530.5067 | 59.9307 | 49.4
17682 | 2021-02-18 13:57 | 17.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.3719 | μmol/L | 34.318 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.561 | 157196.7128 | 299501.7267 | 59.9307 | 49.4
17692 | 2021-02-18 13:57 | 17.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.793 | μmol/L | 34.2498 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.559 | 157169.6437 | 299480.0727 | 59.9307 | 49.4
17702 | 2021-02-18 13:57 | 17.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9545 | μmol/L | 34.2436 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.551 | 157129.7551 | 299458.3159 | 59.9307 | 49.4
17712 | 2021-02-18 13:58 | 18.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.9821 | μmol/L | 34.2498 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.547 | 157099.39 | 299440.1364 | 59.9307 | 49.4
17722 | 2021-02-18 13:58 | 18.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.9819 | μmol/L | 34.411 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.552 | 157083.8503 | 299414.5581 | 59.9307 | 49.4
17732 | 2021-02-18 13:58 | 18.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.2492 | μmol/L | 34.3862 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.544 | 157044.8028 | 299405.9298 | 59.9307 | 49.4
17742 | 2021-02-18 13:59 | 19.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4341 | μmol/L | 34.3676 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.539 | 156996.0111 | 299379.5619 | 59.9307 | 49.4
17752 | 2021-02-18 13:59 | 19.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.8638 | μmol/L | 34.287 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.541 | 156989.3791 | 299365.8509 | 59.9307 | 49.4
17762 | 2021-02-18 13:59 | 19.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.5994 | μmol/L | 34.3552 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.533 | 156922.0124 | 299352.2141 | 59.9307 | 49.4
17772 | 2021-02-18 14:00 | 20.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.1893 | μmol/L | 34.4296 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.532 | 156901.8922 | 299319.1121 | 59.9307 | 49.4
17782 | 2021-02-18 14:00 | 20.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4413 | μmol/L | 34.4048 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.525 | 156871.749 | 299294.2612 | 59.9307 | 49.4
17792 | 2021-02-18 14:00 | 20.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.3703 | μmol/L | 34.4172 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.525 | 156844.302 | 299283.6466 | 59.9307 | 49.4
17802 | 2021-02-18 14:01 | 21.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.3581 | μmol/L | 34.4358 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.519 | 156804.868 | 299245.2425 | 59.9307 | 49.4
17812 | 2021-02-18 14:01 | 21.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.9362 | μmol/L | 34.504 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.521 | 156815.1639 | 299251.4246 | 59.9307 | 49.4
17822 | 2021-02-18 14:01 | 21.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.255 | μmol/L | 34.473 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.512 | 156758.7598 | 299215.3056 | 59.9307 | 49.4
17832 | 2021-02-18 14:02 | 22.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.1962 | μmol/L | 34.4668 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.518 | 156761.1168 | 299193.6117 | 59.9307 | 49.4
17842 | 2021-02-18 14:02 | 22.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.212 | μmol/L | 34.4668 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.517 | 156749.8775 | 299182.3135 | 59.9307 | 49.4
17852 | 2021-02-18 14:02 | 22.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.117 | μmol/L | 34.4916 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.514 | 156715.2391 | 299148.2068 | 59.9307 | 49.4
17862 | 2021-02-18 14:03 | 23.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.7421 | μmol/L | 34.5598 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.513 | 156702.4796 | 299148.638 | 59.9307 | 49.4
17872 | 2021-02-18 14:03 | 23.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.7859 | μmol/L | 34.5412 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.517 | 156706.7175 | 299118.8974 | 59.9307 | 49.4
17882 | 2021-02-18 14:03 | 23.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.3444 | μmol/L | 34.6156 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.518 | 156716.5622 | 299085.056 | 59.9307 | 49.4
17892 | 2021-02-18 14:04 | 24.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.8057 | μmol/L | 34.535 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.518 | 156724.5078 | 299080.7097 | 59.9307 | 49.4
17902 | 2021-02-18 14:04 | 24.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.6251 | μmol/L | 34.5474 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.525 | 156755.0305 | 299064.8445 | 59.9307 | 49.4
17912 | 2021-02-18 14:04 | 24.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.4081 | μmol/L | 34.5908 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.523 | 156734.8867 | 299055.1033 | 59.9307 | 49.4
17922 | 2021-02-18 14:05 | 25.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.3727 | μmol/L | 34.597 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.523 | 156739.35 | 299043.6042 | 59.9307 | 49.4
17932 | 2021-02-18 14:05 | 25.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.3811 | μmol/L | 34.5846 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.527 | 156727.8638 | 298994.0036 | 59.9307 | 49.4
17942 | 2021-02-18 14:05 | 25.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.2038 | μmol/L | 34.6156 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.527 | 156767.6735 | 298984.5432 | 59.9307 | 49.4
17952 | 2021-02-18 14:06 | 26.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.4165 | μmol/L | 34.5784 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.527 | 156745.5078 | 298965.1769 | 59.9307 | 49.4
17962 | 2021-02-18 14:06 | 26.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.1768 | μmol/L | 34.6094 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.531 | 156764.3207 | 298939.3867 | 59.9307 | 49.4
17972 | 2021-02-18 14:06 | 26.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.9019 | μmol/L | 34.6466 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.535 | 156786.5904 | 298920.3303 | 59.9307 | 49.4
17982 | 2021-02-18 14:07 | 27.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.001 | μmol/L | 34.6156 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.54 | 156793.017 | 298898.1495 | 59.9307 | 49.4
17992 | 2021-02-18 14:07 | 27.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.7418 | μmol/L | 34.6528 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.543 | 156811.9215 | 298897.347 | 59.9307 | 49.4
18002 | 2021-02-18 14:07 | 27.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.3639 | μmol/L | 34.7272 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.54 | 156818.7123 | 298875.7633 | 59.9307 | 49.4
18012 | 2021-02-18 14:08 | 28.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.4657 | μmol/L | 34.7148 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.538 | 156763.0667 | 298856.2214 | 59.9307 | 49.4
18022 | 2021-02-18 14:08 | 28.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.9966 | μmol/L | 34.7644 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.55 | 156824.6318 | 298850.3329 | 59.9307 | 49.4
18032 | 2021-02-18 14:08 | 28.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.4448 | μmol/L | 34.6776 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.553 | 156850.6277 | 298826.0193 | 59.9307 | 49.4
18042 | 2021-02-18 14:09 | 29.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.1819 | μmol/L | 34.721 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.554 | 156876.2819 | 298806.6469 | 59.9307 | 49.4
18052 | 2021-02-18 14:09 | 29.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.6981 | μmol/L | 34.7706 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.567 | 156959.5631 | 298797.2707 | 59.9307 | 49.4
18062 | 2021-02-18 14:09 | 29.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.6715 | μmol/L | 34.7644 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.571 | 156979.0307 | 298744.7373 | 59.9307 | 49.4
18072 | 2021-02-18 14:10 | 30.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.7507 | μmol/L | 34.7396 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.575 | 156993.3235 | 298745.2964 | 59.9307 | 49.4
18082 | 2021-02-18 14:10 | 30.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.572 | μmol/L | 34.752 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.582 | 157047.9898 | 298739.3178 | 59.9307 | 49.4
18092 | 2021-02-18 14:10 | 30.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.5276 | μmol/L | 34.7272 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.594 | 157072.124 | 298716.9145 | 59.9307 | 49.4
18102 | 2021-02-18 14:11 | 31.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.7655 | μmol/L | 34.6962 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.59 | 157097.6511 | 298701.729 | 59.9307 | 49.4
18112 | 2021-02-18 14:11 | 31.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.1997 | μmol/L | 34.7768 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.597 | 157140.4369 | 298669.3073 | 59.9307 | 49.4
18122 | 2021-02-18 14:11 | 31.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.7754 | μmol/L | 34.8326 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.604 | 157166.0763 | 298636.9904 | 59.9307 | 49.4
18132 | 2021-02-18 14:12 | 32.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.6416 | μmol/L | 34.8264 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.615 | 157220.7962 | 298651.7911 | 59.9307 | 49.4
18142 | 2021-02-18 14:12 | 32.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.8106 | μmol/L | 34.783 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.62 | 157279.7698 | 298619.4689 | 59.9307 | 49.4
18152 | 2021-02-18 14:12 | 32.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.7031 | μmol/L | 34.783 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.627 | 157318.2654 | 298589.7655 | 59.9307 | 49.4
18162 | 2021-02-18 14:13 | 33.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.793 | μmol/L | 34.7644 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.628 | 157345.2784 | 298597.3348 | 59.9307 | 49.4
18172 | 2021-02-18 14:13 | 33.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.7009 | μmol/L | 34.7644 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.634 | 157397.6553 | 298584.2877 | 59.9307 | 49.4
18182 | 2021-02-18 14:13 | 33.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.7424 | μmol/L | 34.7272 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.645 | 157433.0183 | 298545.6246 | 59.9307 | 49.4
18192 | 2021-02-18 14:14 | 34.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.4445 | μmol/L | 34.7582 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.653 | 157485.2852 | 298567.2833 | 59.9307 | 49.4
18202 | 2021-02-18 14:14 | 34.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.9525 | μmol/L | 34.8264 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.66 | 157508.777 | 298522.9585 | 59.9307 | 49.4
18212 | 2021-02-18 14:14 | 34.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.1121 | μmol/L | 34.7954 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.661 | 157522.782 | 298529.631 | 59.9307 | 49.4
18222 | 2021-02-18 14:15 | 35.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.3045 | μmol/L | 34.7396 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.669 | 157564.5448 | 298502.7231 | 59.9307 | 49.4
18232 | 2021-02-18 14:15 | 35.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.9637 | μmol/L | 34.7892 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.673 | 157581.2812 | 298475.2501 | 59.9307 | 49.4
18242 | 2021-02-18 14:15 | 35.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.8372 | μmol/L | 34.7954 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.679 | 157619.2832 | 298468.0351 | 59.9307 | 49.4
18252 | 2021-02-18 14:16 | 36.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.6847 | μmol/L | 34.7954 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.689 | 157667.1169 | 298437.7244 | 59.9307 | 49.4
18262 | 2021-02-18 14:16 | 36.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.7612 | μmol/L | 34.752 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.7 | 157735.2696 | 298431.5695 | 59.9307 | 49.4
18272 | 2021-02-18 14:16 | 36.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.6393 | μmol/L | 34.752 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.708 | 157809.973 | 298415.128 | 59.9307 | 49.4
18282 | 2021-02-18 14:17 | 37.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.339 | μmol/L | 34.7892 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.714 | 157878.6086 | 298376.8246 | 59.9307 | 49.4
18292 | 2021-02-18 14:17 | 37.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.1783 | μmol/L | 34.8016 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.72 | 157892.0075 | 298387.4506 | 59.9307 | 49.4
18302 | 2021-02-18 14:17 | 37.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.0221 | μmol/L | 34.8078 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.728 | 157933.5199 | 298371.4374 | 59.9307 | 49.4
18312 | 2021-02-18 14:18 | 38.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.194 | μmol/L | 34.7582 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.735 | 157975.709 | 298354.2101 | 59.9307 | 49.4
18322 | 2021-02-18 14:18 | 38.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.9444 | μmol/L | 34.7892 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.74 | 158002.8373 | 298339.1752 | 59.9307 | 49.4
18332 | 2021-02-18 14:18 | 38.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.0423 | μmol/L | 34.7582 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.745 | 158036.4895 | 298322.3256 | 59.9307 | 49.4
18342 | 2021-02-18 14:19 | 39.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.7582 | μmol/L | 34.7954 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.75 | 158051.5021 | 298322.6767 | 59.9307 | 49.4
18352 | 2021-02-18 14:19 | 39.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.6372 | μmol/L | 34.7954 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.758 | 158096.0874 | 298314.554 | 59.9307 | 49.4
18362 | 2021-02-18 14:19 | 39.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.6505 | μmol/L | 34.7768 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.764 | 158143.0859 | 298295.7848 | 59.9307 | 49.4
18372 | 2021-02-18 14:20 | 40.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.4301 | μmol/L | 34.7892 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.774 | 158203.2981 | 298274.6994 | 59.9307 | 49.4
18382 | 2021-02-18 14:20 | 40.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.9218 | μmol/L | 34.6714 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.785 | 158269.5539 | 298290.001 | 59.9307 | 49.4
18392 | 2021-02-18 14:20 | 40.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.6063 | μmol/L | 34.69 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.799 | 158358.7873 | 298239.758 | 59.9307 | 49.4
18402 | 2021-02-18 14:21 | 41.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.1117 | μmol/L | 34.7706 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.802 | 158413.5128 | 298229.3888 | 59.9307 | 49.4
18412 | 2021-02-18 14:21 | 41.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.0107 | μmol/L | 34.7644 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.811 | 158464.7823 | 298222.229 | 59.9307 | 49.4
18422 | 2021-02-18 14:21 | 41.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.8364 | μmol/L | 34.7768 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.818 | 158480.1302 | 298195.2474 | 59.9307 | 49.4
18432 | 2021-02-18 14:22 | 42.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.1107 | μmol/L | 34.7086 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.825 | 158536.572 | 298166.6043 | 59.9307 | 49.4
18442 | 2021-02-18 14:22 | 42.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.2078 | μmol/L | 34.6776 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.83 | 158565.1733 | 298166.8083 | 59.9307 | 49.4
18452 | 2021-02-18 14:22 | 42.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.6978 | μmol/L | 34.7396 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.841 | 158607.1351 | 298170.858 | 59.9307 | 49.4
18462 | 2021-02-18 14:23 | 43.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.4535 | μmol/L | 34.7458 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.855 | 158690.457 | 298142.7066 | 59.9307 | 49.4
18472 | 2021-02-18 14:23 | 43.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.1246 | μmol/L | 34.6032 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.863 | 158786.2112 | 298126.01 | 59.9307 | 49.4
18482 | 2021-02-18 14:23 | 43.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.3796 | μmol/L | 34.7024 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.876 | 158860.2043 | 298105.9004 | 59.9307 | 49.4
18492 | 2021-02-18 14:24 | 44.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.0048 | μmol/L | 34.7458 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.885 | 158879.2213 | 298079.8203 | 59.9307 | 49.4
18502 | 2021-02-18 14:24 | 44.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.1016 | μmol/L | 34.7148 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.89 | 158941.2836 | 298086.838 | 59.9307 | 49.4
18512 | 2021-02-18 14:24 | 44.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.2133 | μmol/L | 34.6838 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.894 | 158961.3025 | 298083.6835 | 59.9307 | 49.4
18522 | 2021-02-18 14:25 | 45.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.1175 | μmol/L | 34.6714 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.905 | 159008.1008 | 298069.6896 | 59.9307 | 49.4
18532 | 2021-02-18 14:25 | 45.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.812 | μmol/L | 34.7024 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.914 | 159063.9638 | 298062.2768 | 59.9307 | 49.4
18542 | 2021-02-18 14:25 | 45.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.3878 | μmol/L | 34.5846 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.919 | 159105.5855 | 298039.2572 | 59.9307 | 49.4
18552 | 2021-02-18 14:26 | 46.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.9946 | μmol/L | 34.6342 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.927 | 159164.1314 | 298025.2582 | 59.9307 | 49.4
18562 | 2021-02-18 14:26 | 46.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.4295 | μmol/L | 34.6962 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.942 | 159242.0699 | 298001.9507 | 59.9307 | 49.4
18572 | 2021-02-18 14:26 | 46.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.56 | μmol/L | 34.659 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.947 | 159274.1756 | 297999.2628 | 59.9307 | 49.4
18582 | 2021-02-18 14:27 | 47.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.5627 | μmol/L | 34.6342 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.956 | 159325.7346 | 297999.7875 | 59.9307 | 49.4
18592 | 2021-02-18 14:27 | 47.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.5951 | μmol/L | 34.6094 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.963 | 159391.1956 | 297976.4831 | 59.9307 | 49.4
18602 | 2021-02-18 14:27 | 47.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.4037 | μmol/L | 34.628 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.969 | 159438.0933 | 297980.7991 | 59.9307 | 49.4
18612 | 2021-02-18 14:28 | 48.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.0614 | μmol/L | 34.6714 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.976 | 159481.9641 | 297961.6451 | 59.9307 | 49.4
18622 | 2021-02-18 14:28 | 48.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.9473 | μmol/L | 34.6652 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.986 | 159539.2194 | 297925.502 | 59.9307 | 49.4
18632 | 2021-02-18 14:28 | 48.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.959 | μmol/L | 34.628 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.999 | 159662.3499 | 297912.5917 | 59.9307 | 49.4
18642 | 2021-02-18 14:29 | 49.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.8293 | μmol/L | 34.6094 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.014 | 159737.7418 | 297899.3261 | 59.9307 | 49.4
18652 | 2021-02-18 14:29 | 49.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.6234 | μmol/L | 34.6218 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.024 | 159808.8061 | 297871.3241 | 59.9307 | 49.4
18662 | 2021-02-18 14:29 | 49.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.4574 | μmol/L | 34.6342 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.03 | 159855.2593 | 297877.1103 | 59.9307 | 49.4
18672 | 2021-02-18 14:30 | 50.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.2423 | μmol/L | 34.6466 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.04 | 159908.6896 | 297857.6247 | 59.9307 | 49.4
18682 | 2021-02-18 14:30 | 50.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.2497 | μmol/L | 34.6156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.051 | 159991.8184 | 297851.6032 | 59.9307 | 49.4
18692 | 2021-02-18 14:30 | 50.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.132 | μmol/L | 34.6156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.059 | 160057.7826 | 297844.7418 | 59.9307 | 49.4
18702 | 2021-02-18 14:31 | 51.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 165.1348 | μmol/L | 34.5908 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.068 | 160146.4458 | 297838.6062 | 59.9307 | 49.4
18712 | 2021-02-18 14:31 | 51.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.9498 | μmol/L | 34.6032 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.076 | 160164.5506 | 297839.1819 | 59.9307 | 49.4
18722 | 2021-02-18 14:31 | 51.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.7795 | μmol/L | 34.6156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.083 | 160213.111 | 297815.8576 | 59.9307 | 49.4
18732 | 2021-02-18 14:32 | 52.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.888 | μmol/L | 34.566 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.094 | 160277.1328 | 297807.3053 | 59.9307 | 49.4
18742 | 2021-02-18 14:32 | 52.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.6886 | μmol/L | 34.5784 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.103 | 160333.5293 | 297806.5443 | 59.9307 | 49.4
18752 | 2021-02-18 14:32 | 52.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.5173 | μmol/L | 34.5722 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.117 | 160464.5412 | 297780.7576 | 59.9307 | 49.4
18762 | 2021-02-18 14:33 | 53.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.4427 | μmol/L | 34.5536 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.129 | 160558.3983 | 297768.8293 | 59.9307 | 49.4
18772 | 2021-02-18 14:33 | 53.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.3389 | μmol/L | 34.535 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.143 | 160617.7637 | 297758.9472 | 59.9307 | 49.4
18782 | 2021-02-18 14:33 | 53.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.4045 | μmol/L | 34.504 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.15 | 160661.8915 | 297744.3833 | 59.9307 | 49.4
18792 | 2021-02-18 14:34 | 54.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.6232 | μmol/L | 34.442 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.158 | 160711.0285 | 297742.616 | 59.9307 | 49.4
18802 | 2021-02-18 14:34 | 54.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.3619 | μmol/L | 34.4606 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.169 | 160814.3833 | 297727.057 | 59.9307 | 49.4
18812 | 2021-02-18 14:34 | 54.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.2958 | μmol/L | 34.4296 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.185 | 160888.1049 | 297721.5642 | 59.9307 | 49.4
18822 | 2021-02-18 14:35 | 55.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 164.2942 | μmol/L | 34.411 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.192 | 160956.06 | 297704.363 | 59.9307 | 49.4
18832 | 2021-02-18 14:35 | 55.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.8388 | μmol/L | 34.4792 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.198 | 161001.2986 | 297709.1904 | 59.9307 | 49.4
18842 | 2021-02-18 14:35 | 55.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.7516 | μmol/L | 34.4792 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.204 | 161030.0824 | 297687.3409 | 59.9307 | 49.4
18852 | 2021-02-18 14:36 | 56.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.6456 | μmol/L | 34.4854 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.209 | 161064.5498 | 297670.5327 | 59.9307 | 49.4
18862 | 2021-02-18 14:36 | 56.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.4772 | μmol/L | 34.4978 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.216 | 161096.3504 | 297650.3699 | 59.9307 | 49.4
18872 | 2021-02-18 14:36 | 56.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.438 | μmol/L | 34.4916 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.221 | 161121.9419 | 297657.0826 | 59.9307 | 49.4
18882 | 2021-02-18 14:37 | 57.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.409 | μmol/L | 34.4916 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.223 | 161159.2318 | 297648.9292 | 59.9307 | 49.4
18892 | 2021-02-18 14:37 | 57.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.3902 | μmol/L | 34.4978 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.222 | 161177.8875 | 297635.6082 | 59.9307 | 49.4
18902 | 2021-02-18 14:37 | 57.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.4221 | μmol/L | 34.473 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.229 | 161211.746 | 297626.112 | 59.9307 | 49.4
18912 | 2021-02-18 14:38 | 58.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.3496 | μmol/L | 34.473 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.234 | 161238.2781 | 297622.3542 | 59.9307 | 49.4
18922 | 2021-02-18 14:38 | 58.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.5163 | μmol/L | 34.442 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.234 | 161240.8739 | 297612.5996 | 59.9307 | 49.4
18932 | 2021-02-18 14:38 | 58.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.4728 | μmol/L | 34.442 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.237 | 161260.9637 | 297607.5957 | 59.9307 | 49.4
18942 | 2021-02-18 14:39 | 59.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.1773 | μmol/L | 34.4916 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.239 | 161260.8232 | 297602.8702 | 59.9307 | 49.4
18952 | 2021-02-18 14:39 | 59.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.5104 | μmol/L | 34.4296 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.239 | 161267.8054 | 297585.7503 | 59.9307 | 49.4
18962 | 2021-02-18 14:39 | 59.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.5684 | μmol/L | 34.4296 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.235 | 161247.8052 | 297575.4849 | 59.9307 | 49.4
18972 | 2021-02-18 14:40 | 60.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.7001 | μmol/L | 34.3862 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.242 | 161261.4306 | 297585.445 | 59.9307 | 49.4
18982 | 2021-02-18 14:40 | 60.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.7087 | μmol/L | 34.3738 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.246 | 161276.9798 | 297542.0212 | 59.9307 | 49.4
18992 | 2021-02-18 14:40 | 60.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.3843 | μmol/L | 34.4234 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.25 | 161322.4571 | 297544.3501 | 59.9307 | 49.4
19002 | 2021-02-18 14:41 | 61.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.6404 | μmol/L | 34.3676 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.253 | 161349.5063 | 297521.3518 | 59.9307 | 49.4
19012 | 2021-02-18 14:41 | 61.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.5056 | μmol/L | 34.3738 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.26 | 161415.8339 | 297531.1638 | 59.9307 | 49.4
19022 | 2021-02-18 14:41 | 61.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.9576 | μmol/L | 34.4544 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.268 | 161467.9358 | 297514.355 | 59.9307 | 49.4
19032 | 2021-02-18 14:42 | 62.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.6298 | μmol/L | 34.5102 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.27 | 161488.4696 | 297496.3985 | 59.9307 | 49.4
19042 | 2021-02-18 14:42 | 62.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.7137 | μmol/L | 34.473 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.278 | 161546.225 | 297511.6623 | 59.9307 | 49.4
19052 | 2021-02-18 14:42 | 62.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.9504 | μmol/L | 34.4234 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.28 | 161567.8759 | 297503.6523 | 59.9307 | 49.4
19062 | 2021-02-18 14:43 | 63.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 163.1367 | μmol/L | 34.4048 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.274 | 161555.0233 | 297487.5491 | 59.9307 | 49.4
19072 | 2021-02-18 14:43 | 63.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.9648 | μmol/L | 34.4234 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.279 | 161592.7654 | 297475.9311 | 59.9307 | 49.4
19082 | 2021-02-18 14:43 | 63.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.5377 | μmol/L | 34.4978 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.281 | 161580.8773 | 297457.5375 | 59.9307 | 49.4
19092 | 2021-02-18 14:44 | 64.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.4181 | μmol/L | 34.504 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.287 | 161604.2368 | 297477.8409 | 59.9307 | 49.4
19102 | 2021-02-18 14:44 | 64.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.5132 | μmol/L | 34.4916 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.285 | 161612.5608 | 297440.6568 | 59.9307 | 49.4
19112 | 2021-02-18 14:44 | 64.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.5696 | μmol/L | 34.473 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.288 | 161652.1881 | 297434.9086 | 59.9307 | 49.4
19122 | 2021-02-18 14:45 | 65.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.4744 | μmol/L | 34.4854 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.29 | 161695.7376 | 297442.5979 | 59.9307 | 49.4
19132 | 2021-02-18 14:45 | 65.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.3418 | μmol/L | 34.5102 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.29 | 161688.7597 | 297435.0926 | 59.9307 | 49.4
19142 | 2021-02-18 14:45 | 65.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.9628 | μmol/L | 34.5784 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.291 | 161676.724 | 297431.9735 | 59.9307 | 49.4
19152 | 2021-02-18 14:46 | 66.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.0103 | μmol/L | 34.5722 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.29 | 161728.4554 | 297415.347 | 59.9307 | 49.4
19162 | 2021-02-18 14:46 | 66.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 162.0667 | μmol/L | 34.5536 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.293 | 161730.0273 | 297414.1426 | 59.9307 | 49.4
19172 | 2021-02-18 14:46 | 66.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.9905 | μmol/L | 34.5598 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.296 | 161755.7902 | 297417.4929 | 59.9307 | 49.4
19182 | 2021-02-18 14:47 | 67.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.4268 | μmol/L | 34.6466 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.303 | 161834.9628 | 297382.729 | 59.9307 | 49.4
19192 | 2021-02-18 14:47 | 67.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.5117 | μmol/L | 34.628 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.304 | 161855.6263 | 297375.6446 | 59.9307 | 49.4
19202 | 2021-02-18 14:47 | 67.9977 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.2568 | μmol/L | 34.6838 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.301 | 161844.2822 | 297362.7808 | 59.9307 | 49.4
19212 | 2021-02-18 14:48 | 68.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.6781 | μmol/L | 34.6156 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.297 | 161826.7699 | 297368.3827 | 59.9307 | 49.4
19222 | 2021-02-18 14:48 | 68.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.4893 | μmol/L | 34.659 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.294 | 161811.2052 | 297347.4269 | 59.9307 | 49.4
19232 | 2021-02-18 14:48 | 68.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 161.3185 | μmol/L | 34.6776 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.299 | 161835.9541 | 297356.8715 | 59.9307 | 49.4
19242 | 2021-02-18 14:49 | 69.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.8029 | μmol/L | 34.7582 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.305 | 161887.6961 | 297347.5419 | 59.9307 | 49.4
19252 | 2021-02-18 14:49 | 69.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.779 | μmol/L | 34.752 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.309 | 161929.7578 | 297357.8809 | 59.9307 | 49.4
19262 | 2021-02-18 14:49 | 69.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.6088 | μmol/L | 34.7706 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.314 | 161974.4083 | 297337.5163 | 59.9307 | 49.4
19272 | 2021-02-18 14:50 | 70.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.2644 | μmol/L | 34.8326 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.315 | 161974.1259 | 297329.6051 | 59.9307 | 49.4
19282 | 2021-02-18 14:50 | 70.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.2076 | μmol/L | 34.8326 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.319 | 162046.0322 | 297347.4588 | 59.9307 | 49.4
19292 | 2021-02-18 14:50 | 70.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.2924 | μmol/L | 34.814 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.32 | 162046.042 | 297315.3701 | 59.9307 | 49.4
19302 | 2021-02-18 14:51 | 71.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.0094 | μmol/L | 34.8512 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.326 | 162085.4585 | 297320.5626 | 59.9307 | 49.4
19312 | 2021-02-18 14:51 | 71.6644 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.2637 | μmol/L | 34.7954 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.329 | 162131.9894 | 297312.49 | 59.9307 | 49.4
19322 | 2021-02-18 14:51 | 71.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.4565 | μmol/L | 34.7458 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.334 | 162166.0112 | 297296.7798 | 59.9307 | 49.4
19332 | 2021-02-18 14:52 | 72.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 160.004 | μmol/L | 34.8016 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.345 | 162231.2697 | 297277.9446 | 59.9307 | 49.4
19342 | 2021-02-18 14:52 | 72.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.8625 | μmol/L | 34.8016 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.355 | 162331.6017 | 297291.348 | 59.9307 | 49.4
19352 | 2021-02-18 14:52 | 72.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.8013 | μmol/L | 34.8078 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.357 | 162332.1523 | 297266.7968 | 59.9307 | 49.4
19362 | 2021-02-18 14:53 | 73.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.5993 | μmol/L | 34.8512 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.355 | 162342.1183 | 297277.0131 | 59.9307 | 49.4
19372 | 2021-02-18 14:53 | 73.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.5946 | μmol/L | 34.8574 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.353 | 162317.0183 | 297256.9094 | 59.9307 | 49.4
19382 | 2021-02-18 14:53 | 73.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.4584 | μmol/L | 34.8884 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.351 | 162300.872 | 297245.7327 | 59.9307 | 49.4
19392 | 2021-02-18 14:54 | 74.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.6088 | μmol/L | 34.8574 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.352 | 162295.8984 | 297266.4645 | 59.9307 | 49.4
19402 | 2021-02-18 14:54 | 74.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.5524 | μmol/L | 34.876 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.349 | 162265.9892 | 297235.5325 | 59.9307 | 49.4
19412 | 2021-02-18 14:54 | 74.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.2 | μmol/L | 34.9318 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.353 | 162316.7554 | 297217.6879 | 59.9307 | 49.4
19422 | 2021-02-18 14:55 | 75.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.1906 | μmol/L | 34.9256 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.356 | 162348.1379 | 297207.8221 | 59.9307 | 49.4
19432 | 2021-02-18 14:55 | 75.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.2892 | μmol/L | 34.8884 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.363 | 162396.7497 | 297199.0487 | 59.9307 | 49.4
19442 | 2021-02-18 14:55 | 75.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.0874 | μmol/L | 34.9132 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.368 | 162427.1012 | 297206.5624 | 59.9307 | 49.4
19452 | 2021-02-18 14:56 | 76.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.6139 | μmol/L | 34.9814 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.376 | 162507.1361 | 297208.6341 | 59.9307 | 49.4
19462 | 2021-02-18 14:56 | 76.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.6657 | μmol/L | 34.9504 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.384 | 162533.7343 | 297193.9497 | 59.9307 | 49.4
19472 | 2021-02-18 14:56 | 76.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 159.0452 | μmol/L | 34.876 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.385 | 162544.3119 | 297184.6196 | 59.9307 | 49.4
19482 | 2021-02-18 14:57 | 77.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.4505 | μmol/L | 34.9752 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.39 | 162604.5991 | 297189.3019 | 59.9307 | 49.4
19492 | 2021-02-18 14:57 | 77.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.9234 | μmol/L | 34.8698 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.396 | 162656.1616 | 297178.5608 | 59.9307 | 49.4
19502 | 2021-02-18 14:57 | 77.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 158.1519 | μmol/L | 34.9814 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.409 | 162737.866 | 297186.1631 | 59.9307 | 49.4