## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19522 | 2021-02-18 15:34 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.0757 | μmol/L | 37.4316 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.196 | 162997.1966 | 296918.1058 | 59.9307 | 49.4
19532 | 2021-02-18 15:34 | 0.33329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.9633 | μmol/L | 37.4626 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.192 | 162977.9421 | 296901.019 | 59.9307 | 49.4
19542 | 2021-02-18 15:35 | 0.66616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.798 | μmol/L | 37.506 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.187 | 162934.3784 | 296872.2979 | 59.9307 | 49.4
19552 | 2021-02-18 15:35 | 0.99983 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.7578 | μmol/L | 37.5308 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.18 | 162896.0914 | 296882.9431 | 59.9307 | 49.4
19562 | 2021-02-18 15:35 | 1.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.5397 | μmol/L | 37.5743 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.179 | 162890.9192 | 296877.307 | 59.9307 | 49.4
19572 | 2021-02-18 15:36 | 1.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.5518 | μmol/L | 37.5991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.168 | 162850.0969 | 296889.0074 | 59.9307 | 49.4
19582 | 2021-02-18 15:36 | 1.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.4258 | μmol/L | 37.6301 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.165 | 162831.4181 | 296867.591 | 59.9307 | 49.4
19592 | 2021-02-18 15:36 | 2.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.1867 | μmol/L | 37.6922 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.158 | 162794.6352 | 296854.7842 | 59.9307 | 49.4
19602 | 2021-02-18 15:37 | 2.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.9751 | μmol/L | 37.7294 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.159 | 162801.9082 | 296843.94 | 59.9307 | 49.4
19612 | 2021-02-18 15:37 | 2.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.8558 | μmol/L | 37.7542 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.158 | 162777.2718 | 296844.7926 | 59.9307 | 49.4
19622 | 2021-02-18 15:37 | 3.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.9534 | μmol/L | 37.7604 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.148 | 162763.7459 | 296837.0733 | 59.9307 | 49.4
19632 | 2021-02-18 15:38 | 3.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.798 | μmol/L | 37.8287 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.132 | 162695.1358 | 296841.791 | 59.9307 | 49.4
19642 | 2021-02-18 15:38 | 3.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.4817 | μmol/L | 37.8659 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.141 | 162723.0181 | 296827.6586 | 59.9307 | 49.4
19652 | 2021-02-18 15:38 | 4.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.5197 | μmol/L | 37.8784 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.133 | 162694.1743 | 296835.5846 | 59.9307 | 49.4
19662 | 2021-02-18 15:39 | 4.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.0511 | μmol/L | 37.9466 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.141 | 162733.9721 | 296830.2972 | 59.9307 | 49.4
19672 | 2021-02-18 15:39 | 5 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.1538 | μmol/L | 37.959 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.128 | 162696.1978 | 296839.2468 | 59.9307 | 49.4
19682 | 2021-02-18 15:39 | 5.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.0646 | μmol/L | 38.0025 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.117 | 162631.7928 | 296825.0812 | 59.9307 | 49.4
19692 | 2021-02-18 15:40 | 5.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.8915 | μmol/L | 38.0397 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.115 | 162606.0785 | 296792.3506 | 59.9307 | 49.4
19702 | 2021-02-18 15:40 | 5.9999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.8496 | μmol/L | 38.0645 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.108 | 162566.798 | 296807.5152 | 59.9307 | 49.4
19712 | 2021-02-18 15:40 | 6.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.7354 | μmol/L | 38.0956 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.104 | 162557.6131 | 296802.3024 | 59.9307 | 49.4
19722 | 2021-02-18 15:41 | 6.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.7037 | μmol/L | 38.0894 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.109 | 162585.0183 | 296796.3935 | 59.9307 | 49.4
19732 | 2021-02-18 15:41 | 6.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.6584 | μmol/L | 38.139 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.092 | 162511.2091 | 296789.3992 | 59.9307 | 49.4
19742 | 2021-02-18 15:41 | 7.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.2482 | μmol/L | 38.2011 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.098 | 162551.5673 | 296793.0026 | 59.9307 | 49.4
19752 | 2021-02-18 15:42 | 7.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.191 | μmol/L | 38.2383 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.087 | 162491.3198 | 296773.5921 | 59.9307 | 49.4
19762 | 2021-02-18 15:42 | 8.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.0689 | μmol/L | 38.2756 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.081 | 162478.7737 | 296776.1723 | 59.9307 | 49.4
19772 | 2021-02-18 15:42 | 8.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.8821 | μmol/L | 38.3128 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.08 | 162460.0164 | 296769.4844 | 59.9307 | 49.4
19782 | 2021-02-18 15:43 | 8.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.9113 | μmol/L | 38.3314 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.07 | 162405.8692 | 296756.0081 | 59.9307 | 49.4
19792 | 2021-02-18 15:43 | 9.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.7017 | μmol/L | 38.3873 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.063 | 162372.2714 | 296755.8702 | 59.9307 | 49.4
19802 | 2021-02-18 15:43 | 9.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.7813 | μmol/L | 38.3749 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.062 | 162390.9136 | 296739.2859 | 59.9307 | 49.4
19812 | 2021-02-18 15:44 | 9.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.5662 | μmol/L | 38.4245 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.058 | 162361.4412 | 296750.2135 | 59.9307 | 49.4
19822 | 2021-02-18 15:44 | 10 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.2713 | μmol/L | 38.4866 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.055 | 162348.7117 | 296733.2913 | 59.9307 | 49.4
19832 | 2021-02-18 15:44 | 10.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.2177 | μmol/L | 38.5301 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.041 | 162298.0958 | 296744.8588 | 59.9307 | 49.4
19842 | 2021-02-18 15:45 | 10.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.0199 | μmol/L | 38.5549 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.046 | 162309.5118 | 296739.9524 | 59.9307 | 49.4
19852 | 2021-02-18 15:45 | 10.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.948 | μmol/L | 38.5921 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.036 | 162270.1927 | 296745.6376 | 59.9307 | 49.4
19862 | 2021-02-18 15:45 | 11.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7809 | μmol/L | 38.6232 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.036 | 162282.1949 | 296739.9365 | 59.9307 | 49.4
19872 | 2021-02-18 15:46 | 11.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6133 | μmol/L | 38.6852 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.023 | 162209.3222 | 296715.4835 | 59.9307 | 49.4
19882 | 2021-02-18 15:46 | 11.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.4412 | μmol/L | 38.7101 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.026 | 162231.6813 | 296728.6253 | 59.9307 | 49.4
19892 | 2021-02-18 15:46 | 12.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.3635 | μmol/L | 38.7411 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.019 | 162198.1164 | 296719.2074 | 59.9307 | 49.4
19902 | 2021-02-18 15:47 | 12.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2906 | μmol/L | 38.7784 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.009 | 162164.3415 | 296741.015 | 59.9307 | 49.4
19912 | 2021-02-18 15:47 | 13.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2334 | μmol/L | 38.8032 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.003 | 162115.0784 | 296734.8442 | 59.9307 | 49.4
19922 | 2021-02-18 15:47 | 13.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.0116 | μmol/L | 38.8466 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.002 | 162124.7373 | 296730.6237 | 59.9307 | 49.4
19932 | 2021-02-18 15:48 | 13.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.8281 | μmol/L | 38.8901 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.998 | 162105.3606 | 296727.4597 | 59.9307 | 49.4
19942 | 2021-02-18 15:48 | 13.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.7738 | μmol/L | 38.9025 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.997 | 162104.9549 | 296737.6518 | 59.9307 | 49.4
19952 | 2021-02-18 15:48 | 14.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.5438 | μmol/L | 38.9522 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.994 | 162085.3124 | 296721.1809 | 59.9307 | 49.4
19962 | 2021-02-18 15:49 | 14.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.5404 | μmol/L | 38.9646 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.989 | 162064.8935 | 296726.2342 | 59.9307 | 49.4
19972 | 2021-02-18 15:49 | 14.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.4444 | μmol/L | 38.9894 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.986 | 162064.1784 | 296728.765 | 59.9307 | 49.4
19982 | 2021-02-18 15:49 | 15.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.1887 | μmol/L | 39.0391 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.985 | 162076.2457 | 296723.1499 | 59.9307 | 49.4
19992 | 2021-02-18 15:50 | 15.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.0926 | μmol/L | 39.0639 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.982 | 162051.551 | 296710.1287 | 59.9307 | 49.4
20002 | 2021-02-18 15:50 | 15.9999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.0463 | μmol/L | 39.0701 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.983 | 162093.1075 | 296719.9887 | 59.9307 | 49.4
20012 | 2021-02-18 15:50 | 16.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.9665 | μmol/L | 39.0826 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.984 | 162085.9781 | 296733.1299 | 59.9307 | 49.4
20022 | 2021-02-18 15:51 | 16.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.9628 | μmol/L | 39.095 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.979 | 162050.6789 | 296721.8999 | 59.9307 | 49.4
20032 | 2021-02-18 15:51 | 16.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.6271 | μmol/L | 39.1571 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.979 | 162059.4476 | 296731.6236 | 59.9307 | 49.4
20042 | 2021-02-18 15:51 | 17.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.4679 | μmol/L | 39.2005 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.973 | 162026.4058 | 296707.654 | 59.9307 | 49.4
20052 | 2021-02-18 15:52 | 17.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.8627 | μmol/L | 39.1322 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.971 | 162022.2441 | 296709.4843 | 59.9307 | 49.4
20062 | 2021-02-18 15:52 | 17.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.1992 | μmol/L | 39.2502 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.973 | 162023.2698 | 296701.917 | 59.9307 | 49.4
20072 | 2021-02-18 15:52 | 18.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.2621 | μmol/L | 39.2316 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.976 | 162085.7995 | 296694.9503 | 59.9307 | 49.4
20082 | 2021-02-18 15:53 | 18.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.6406 | μmol/L | 39.1943 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.962 | 161994.1084 | 296687.8126 | 59.9307 | 49.4
20092 | 2021-02-18 15:53 | 18.9999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.2328 | μmol/L | 39.244 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.973 | 162069.9815 | 296682.827 | 59.9307 | 49.4
20102 | 2021-02-18 15:53 | 19.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.0186 | μmol/L | 39.2626 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.982 | 162129.3417 | 296706.9398 | 59.9307 | 49.4
20112 | 2021-02-18 15:54 | 19.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.9221 | μmol/L | 39.2874 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.979 | 162127.7028 | 296665.4743 | 59.9307 | 49.4
20122 | 2021-02-18 15:54 | 19.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.8047 | μmol/L | 39.2999 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.983 | 162151.2907 | 296672.747 | 59.9307 | 49.4
20132 | 2021-02-18 15:54 | 20.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.8592 | μmol/L | 39.2874 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.984 | 162171.7725 | 296673.0845 | 59.9307 | 49.4
20142 | 2021-02-18 15:55 | 20.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.7208 | μmol/L | 39.3061 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.987 | 162203.6723 | 296680.6893 | 59.9307 | 49.4
20152 | 2021-02-18 15:55 | 20.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.704 | μmol/L | 39.3185 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.983 | 162170.4894 | 296662.4497 | 59.9307 | 49.4
20162 | 2021-02-18 15:55 | 21.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.3017 | μmol/L | 39.3744 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.991 | 162216.2177 | 296671.7832 | 59.9307 | 49.4
20172 | 2021-02-18 15:56 | 21.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.9617 | μmol/L | 39.4489 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.986 | 162227.2304 | 296662.0232 | 59.9307 | 49.4
20182 | 2021-02-18 15:56 | 21.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.3013 | μmol/L | 39.393 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.983 | 162203.5095 | 296675.0809 | 59.9307 | 49.4
20192 | 2021-02-18 15:56 | 22.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.2096 | μmol/L | 39.3868 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.993 | 162270.2262 | 296677.4052 | 59.9307 | 49.4
20202 | 2021-02-18 15:57 | 22.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.126 | μmol/L | 39.393 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.997 | 162274.8134 | 296662.4973 | 59.9307 | 49.4
20212 | 2021-02-18 15:57 | 23 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.172 | μmol/L | 39.3868 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 20.996 | 162283.4665 | 296675.1316 | 59.9307 | 49.4
20222 | 2021-02-18 15:57 | 23.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.0509 | μmol/L | 39.393 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.003 | 162339.9206 | 296672.262 | 59.9307 | 49.4
20232 | 2021-02-18 15:58 | 23.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.3859 | μmol/L | 39.3309 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.003 | 162370.0919 | 296663.4291 | 59.9307 | 49.4
20242 | 2021-02-18 15:58 | 24.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.9135 | μmol/L | 39.393 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.014 | 162409.2547 | 296673.7953 | 59.9307 | 49.4
20252 | 2021-02-18 15:58 | 24.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.0264 | μmol/L | 39.3744 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.013 | 162422.0225 | 296652.2626 | 59.9307 | 49.4
20262 | 2021-02-18 15:59 | 24.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.5959 | μmol/L | 39.4427 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.018 | 162460.4475 | 296667.7701 | 59.9307 | 49.4
20272 | 2021-02-18 15:59 | 25.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.4745 | μmol/L | 39.4675 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.017 | 162470.6196 | 296662.9541 | 59.9307 | 49.4
20282 | 2021-02-18 15:59 | 25.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.8261 | μmol/L | 39.393 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.021 | 162506.8445 | 296658.7242 | 59.9307 | 49.4
20292 | 2021-02-18 16:00 | 25.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.7093 | μmol/L | 39.4054 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.025 | 162541.3605 | 296647.3706 | 59.9307 | 49.4
20302 | 2021-02-18 16:00 | 26 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.472 | μmol/L | 39.424 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.036 | 162592.2764 | 296651.6379 | 59.9307 | 49.4
20312 | 2021-02-18 16:00 | 26.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.354 | μmol/L | 39.4737 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.024 | 162564.0048 | 296678.5629 | 59.9307 | 49.4
20322 | 2021-02-18 16:01 | 26.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.455 | μmol/L | 39.4364 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.032 | 162621.4602 | 296675.3109 | 59.9307 | 49.4
20332 | 2021-02-18 16:01 | 27.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.9472 | μmol/L | 39.4985 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.046 | 162688.4294 | 296630.2694 | 59.9307 | 49.4
20342 | 2021-02-18 16:01 | 27.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.0225 | μmol/L | 39.4799 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.048 | 162707.7834 | 296653.3463 | 59.9307 | 49.4
20352 | 2021-02-18 16:02 | 27.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.9396 | μmol/L | 39.4861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.052 | 162752.523 | 296669.7749 | 59.9307 | 49.4
20362 | 2021-02-18 16:02 | 27.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.9853 | μmol/L | 39.4799 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.051 | 162754.3794 | 296649.5578 | 59.9307 | 49.4
20372 | 2021-02-18 16:02 | 28.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.9481 | μmol/L | 39.4799 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.054 | 162786.9809 | 296646.827 | 59.9307 | 49.4
20382 | 2021-02-18 16:03 | 28.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.8195 | μmol/L | 39.4923 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.059 | 162804.3113 | 296643.8548 | 59.9307 | 49.4
20392 | 2021-02-18 16:03 | 28.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.0118 | μmol/L | 39.4427 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.065 | 162858.627 | 296641.8223 | 59.9307 | 49.4
20402 | 2021-02-18 16:03 | 29.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.2295 | μmol/L | 39.5793 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.069 | 162873.9749 | 296641.5398 | 59.9307 | 49.4
20412 | 2021-02-18 16:04 | 29.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.4294 | μmol/L | 39.542 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.069 | 162882.7595 | 296629.8286 | 59.9307 | 49.4
20422 | 2021-02-18 16:04 | 30.0002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.7672 | μmol/L | 39.4675 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.074 | 162924.1184 | 296622.9447 | 59.9307 | 49.4
20432 | 2021-02-18 16:04 | 30.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.4982 | μmol/L | 39.4923 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.085 | 162993.1645 | 296637.2307 | 59.9307 | 49.4
20442 | 2021-02-18 16:05 | 30.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.6853 | μmol/L | 39.4551 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.086 | 163020.7056 | 296665.9032 | 59.9307 | 49.4
20452 | 2021-02-18 16:05 | 31 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.4155 | μmol/L | 39.4985 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.089 | 163039.5138 | 296660.9669 | 59.9307 | 49.4
20462 | 2021-02-18 16:05 | 31.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.4574 | μmol/L | 39.4861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.091 | 163055.8001 | 296649.3684 | 59.9307 | 49.4
20472 | 2021-02-18 16:06 | 31.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.3587 | μmol/L | 39.4861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.099 | 163138.7106 | 296652.4377 | 59.9307 | 49.4
20482 | 2021-02-18 16:06 | 31.9999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.2725 | μmol/L | 39.4861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.106 | 163176.9849 | 296661.2187 | 59.9307 | 49.4
20492 | 2021-02-18 16:06 | 32.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.5342 | μmol/L | 39.4302 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.109 | 163217.3136 | 296666.8451 | 59.9307 | 49.4
20502 | 2021-02-18 16:07 | 32.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.228 | μmol/L | 39.4737 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.115 | 163265.2329 | 296653.7211 | 59.9307 | 49.4
20512 | 2021-02-18 16:07 | 32.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.9381 | μmol/L | 39.5234 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.117 | 163297.3855 | 296666.9518 | 59.9307 | 49.4
20522 | 2021-02-18 16:07 | 33.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.0301 | μmol/L | 39.4923 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.123 | 163323.897 | 296667.7313 | 59.9307 | 49.4
20532 | 2021-02-18 16:08 | 33.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.0152 | μmol/L | 39.4675 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.135 | 163394.6709 | 296666.2273 | 59.9307 | 49.4
20542 | 2021-02-18 16:08 | 34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.0152 | μmol/L | 39.4675 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.135 | 163415.449 | 296653.4537 | 59.9307 | 49.4
20552 | 2021-02-18 16:08 | 34.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.8913 | μmol/L | 39.4861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.137 | 163449.5162 | 296677.8351 | 59.9307 | 49.4
20562 | 2021-02-18 16:09 | 34.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7601 | μmol/L | 39.4923 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.145 | 163491.4067 | 296669.3436 | 59.9307 | 49.4
20572 | 2021-02-18 16:09 | 34.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.6069 | μmol/L | 39.5234 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.144 | 163515.1235 | 296662.9813 | 59.9307 | 49.4
20582 | 2021-02-18 16:09 | 35.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.2155 | μmol/L | 39.393 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.151 | 163546.1412 | 296654.0043 | 59.9307 | 49.4
20592 | 2021-02-18 16:10 | 35.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.0926 | μmol/L | 39.393 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.161 | 163593.6852 | 296671.6007 | 59.9307 | 49.4
20602 | 2021-02-18 16:10 | 35.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.9605 | μmol/L | 39.4178 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.161 | 163642.066 | 296657.6313 | 59.9307 | 49.4
20612 | 2021-02-18 16:10 | 36.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.6866 | μmol/L | 39.4489 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.169 | 163697.4586 | 296670.6283 | 59.9307 | 49.4
20622 | 2021-02-18 16:11 | 36.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.9707 | μmol/L | 39.3744 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.179 | 163772.8265 | 296669.5178 | 59.9307 | 49.4
20632 | 2021-02-18 16:11 | 37 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.5919 | μmol/L | 39.4364 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.183 | 163799.1297 | 296659.3049 | 59.9307 | 49.4
20642 | 2021-02-18 16:11 | 37.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7285 | μmol/L | 39.3992 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.188 | 163839.7773 | 296654.4595 | 59.9307 | 49.4
20652 | 2021-02-18 16:12 | 37.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.2857 | μmol/L | 39.4737 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.191 | 163865.2233 | 296654.4217 | 59.9307 | 49.4
20662 | 2021-02-18 16:12 | 38.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1548 | μmol/L | 39.4613 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.208 | 163987.708 | 296646.6819 | 59.9307 | 49.4
20672 | 2021-02-18 16:12 | 38.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7655 | μmol/L | 39.3371 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.211 | 164012.4111 | 296658.1099 | 59.9307 | 49.4
20682 | 2021-02-18 16:13 | 38.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7616 | μmol/L | 39.3309 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.214 | 164041.04 | 296667.4311 | 59.9307 | 49.4
20692 | 2021-02-18 16:13 | 38.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1221 | μmol/L | 39.424 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.226 | 164135.2267 | 296661.3683 | 59.9307 | 49.4
20702 | 2021-02-18 16:13 | 39.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.2095 | μmol/L | 39.3868 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.235 | 164186.357 | 296675.4058 | 59.9307 | 49.4
20712 | 2021-02-18 16:14 | 39.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.784 | μmol/L | 39.4489 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.243 | 164249.7148 | 296658.6421 | 59.9307 | 49.4
20722 | 2021-02-18 16:14 | 40 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1495 | μmol/L | 39.3682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.248 | 164285.6204 | 296649.6623 | 59.9307 | 49.4
20732 | 2021-02-18 16:14 | 40.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1672 | μmol/L | 39.3371 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.26 | 164364.6119 | 296661.9617 | 59.9307 | 49.4
20742 | 2021-02-18 16:15 | 40.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9595 | μmol/L | 39.3557 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.269 | 164459.673 | 296663.5449 | 59.9307 | 49.4
20752 | 2021-02-18 16:15 | 40.9999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9062 | μmol/L | 39.3682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.268 | 164478.7076 | 296668.138 | 59.9307 | 49.4
20762 | 2021-02-18 16:15 | 41.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.7558 | μmol/L | 39.3806 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.275 | 164523.7246 | 296678.7639 | 59.9307 | 49.4
20772 | 2021-02-18 16:16 | 41.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9034 | μmol/L | 39.3433 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.279 | 164578.045 | 296679.1952 | 59.9307 | 49.4
20782 | 2021-02-18 16:16 | 41.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.8464 | μmol/L | 39.3495 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.281 | 164577.9226 | 296689.7538 | 59.9307 | 49.4
20792 | 2021-02-18 16:16 | 42.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.0387 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.284 | 164619.0779 | 296675.1559 | 59.9307 | 49.4
20802 | 2021-02-18 16:17 | 42.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.8511 | μmol/L | 39.3371 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.286 | 164640.1976 | 296688.3827 | 59.9307 | 49.4
20812 | 2021-02-18 16:17 | 42.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9537 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.291 | 164652.8605 | 296677.9921 | 59.9307 | 49.4
20822 | 2021-02-18 16:17 | 43.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1535 | μmol/L | 39.275 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.288 | 164688.8702 | 296699.1566 | 59.9307 | 49.4
20832 | 2021-02-18 16:18 | 43.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9901 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.288 | 164674.3304 | 296679.9646 | 59.9307 | 49.4
20842 | 2021-02-18 16:18 | 44.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.8436 | μmol/L | 39.3247 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.292 | 164713.8656 | 296701.4496 | 59.9307 | 49.4
20852 | 2021-02-18 16:18 | 44.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1086 | μmol/L | 39.2812 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.289 | 164698.6343 | 296704.3586 | 59.9307 | 49.4
20862 | 2021-02-18 16:19 | 44.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.0805 | μmol/L | 39.275 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.294 | 164724.934 | 296704.4298 | 59.9307 | 49.4
20872 | 2021-02-18 16:19 | 44.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1618 | μmol/L | 39.2688 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.29 | 164743.795 | 296699.2156 | 59.9307 | 49.4
20882 | 2021-02-18 16:19 | 45.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.0478 | μmol/L | 39.2812 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.294 | 164755.1333 | 296687.2045 | 59.9307 | 49.4
20892 | 2021-02-18 16:20 | 45.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4518 | μmol/L | 39.2067 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.293 | 164769.611 | 296715.9455 | 59.9307 | 49.4
20902 | 2021-02-18 16:20 | 45.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9863 | μmol/L | 39.2999 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.291 | 164765.6445 | 296715.447 | 59.9307 | 49.4
20912 | 2021-02-18 16:20 | 46.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.2764 | μmol/L | 39.2378 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.294 | 164799.3443 | 296696.4968 | 59.9307 | 49.4
20922 | 2021-02-18 16:21 | 46.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.8929 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.296 | 164788.7205 | 296695.1807 | 59.9307 | 49.4
20932 | 2021-02-18 16:21 | 46.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.3495 | μmol/L | 39.2378 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.288 | 164771.2148 | 296712.6159 | 59.9307 | 49.4
20942 | 2021-02-18 16:21 | 47.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1291 | μmol/L | 39.275 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.29 | 164768.2914 | 296718.0042 | 59.9307 | 49.4
20952 | 2021-02-18 16:22 | 47.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.1375 | μmol/L | 39.2688 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.292 | 164810.0336 | 296704.9588 | 59.9307 | 49.4
20962 | 2021-02-18 16:22 | 47.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.8193 | μmol/L | 39.3247 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.294 | 164824.8197 | 296707.0573 | 59.9307 | 49.4
20972 | 2021-02-18 16:22 | 48.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.3378 | μmol/L | 39.2191 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.297 | 164868.8658 | 296718.8227 | 59.9307 | 49.4
20982 | 2021-02-18 16:23 | 48.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.0683 | μmol/L | 39.275 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.295 | 164835.6809 | 296742.6722 | 59.9307 | 49.4
20992 | 2021-02-18 16:23 | 48.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.9544 | μmol/L | 39.2874 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.299 | 164873.6238 | 296713.7546 | 59.9307 | 49.4
21002 | 2021-02-18 16:23 | 49.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.918 | μmol/L | 39.2874 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.302 | 164922.5496 | 296724.0736 | 59.9307 | 49.4
21012 | 2021-02-18 16:24 | 49.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.0319 | μmol/L | 39.275 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.298 | 164909.3223 | 296718.4086 | 59.9307 | 49.4
21022 | 2021-02-18 16:24 | 49.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.8732 | μmol/L | 39.2936 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.303 | 164927.7452 | 296720.0783 | 59.9307 | 49.4
21032 | 2021-02-18 16:24 | 50.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.616 | μmol/L | 39.3495 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.3 | 164910.2913 | 296715.9627 | 59.9307 | 49.4
21042 | 2021-02-18 16:25 | 50.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.7213 | μmol/L | 39.3433 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.294 | 164903.0142 | 296717.2107 | 59.9307 | 49.4
21052 | 2021-02-18 16:25 | 51 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.6271 | μmol/L | 39.3682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.291 | 164900.7931 | 296697.7484 | 59.9307 | 49.4
21062 | 2021-02-18 16:25 | 51.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.4565 | μmol/L | 39.3868 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.297 | 164937.3324 | 296708.9807 | 59.9307 | 49.4
21072 | 2021-02-18 16:26 | 51.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.4575 | μmol/L | 39.3682 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.305 | 164981.3451 | 296725.2641 | 59.9307 | 49.4
21082 | 2021-02-18 16:26 | 51.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.477 | μmol/L | 39.3806 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.298 | 164963.0195 | 296724.1985 | 59.9307 | 49.4
21092 | 2021-02-18 16:26 | 52.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.1591 | μmol/L | 39.4364 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.3 | 164972.5603 | 296739.418 | 59.9307 | 49.4
21102 | 2021-02-18 16:27 | 52.6661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.3996 | μmol/L | 39.393 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.299 | 164960.7079 | 296729.6016 | 59.9307 | 49.4
21112 | 2021-02-18 16:27 | 53.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.2352 | μmol/L | 39.4427 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.291 | 164931.0255 | 296732.7273 | 59.9307 | 49.4
21122 | 2021-02-18 16:27 | 53.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.2316 | μmol/L | 39.4364 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.294 | 164942.1028 | 296733.893 | 59.9307 | 49.4
21132 | 2021-02-18 16:28 | 53.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.7934 | μmol/L | 39.5358 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.287 | 164907.3274 | 296727.6926 | 59.9307 | 49.4
21142 | 2021-02-18 16:28 | 54 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.4908 | μmol/L | 39.5979 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.285 | 164905.1853 | 296740.2267 | 59.9307 | 49.4
21152 | 2021-02-18 16:28 | 54.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.3682 | μmol/L | 39.4427 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.28 | 164892.7491 | 296726.1929 | 59.9307 | 49.4
21162 | 2021-02-18 16:29 | 54.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.8416 | μmol/L | 39.5358 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.283 | 164910.5896 | 296722.2043 | 59.9307 | 49.4
21172 | 2021-02-18 16:29 | 54.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.7677 | μmol/L | 39.5544 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.281 | 164886.0164 | 296746.4409 | 59.9307 | 49.4
21182 | 2021-02-18 16:29 | 55.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136 | μmol/L | 39.5172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.278 | 164874.798 | 296734.065 | 59.9307 | 49.4
21192 | 2021-02-18 16:30 | 55.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.859 | μmol/L | 39.5668 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.268 | 164850.8765 | 296721.6405 | 59.9307 | 49.4
21202 | 2021-02-18 16:30 | 55.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.7092 | μmol/L | 39.5793 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.275 | 164854.9597 | 296741.7605 | 59.9307 | 49.4
21212 | 2021-02-18 16:30 | 56.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.7057 | μmol/L | 39.573 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.278 | 164900.0843 | 296744.5326 | 59.9307 | 49.4
21222 | 2021-02-18 16:31 | 56.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.6042 | μmol/L | 39.5855 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.281 | 164921.7238 | 296734.6273 | 59.9307 | 49.4
21232 | 2021-02-18 16:31 | 56.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.5595 | μmol/L | 39.5917 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.282 | 164924.9573 | 296735.0357 | 59.9307 | 49.4
21242 | 2021-02-18 16:31 | 57.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.4682 | μmol/L | 39.6227 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.276 | 164917.2415 | 296720.1857 | 59.9307 | 49.4
21252 | 2021-02-18 16:32 | 57.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.4614 | μmol/L | 39.6103 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.282 | 164930.3604 | 296738.7117 | 59.9307 | 49.4
21262 | 2021-02-18 16:32 | 58 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.0779 | μmol/L | 39.6786 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.284 | 164987.3955 | 296739.6069 | 59.9307 | 49.4
21272 | 2021-02-18 16:32 | 58.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.176 | μmol/L | 39.66 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.284 | 164982.1096 | 296748.5892 | 59.9307 | 49.4
21282 | 2021-02-18 16:33 | 58.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.8077 | μmol/L | 39.7345 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.282 | 164999.7718 | 296750.8605 | 59.9307 | 49.4
21292 | 2021-02-18 16:33 | 58.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.516 | μmol/L | 39.7717 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.29 | 165030.3464 | 296749.5038 | 59.9307 | 49.4
21302 | 2021-02-18 16:33 | 59.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.4538 | μmol/L | 39.7904 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.287 | 165037.9528 | 296752.4692 | 59.9307 | 49.4
21312 | 2021-02-18 16:34 | 59.6665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.7654 | μmol/L | 39.7221 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.291 | 165072.9247 | 296741.1365 | 59.9307 | 49.4
21322 | 2021-02-18 16:34 | 60.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.3941 | μmol/L | 39.7904 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.292 | 165067.444 | 296747.8987 | 59.9307 | 49.4
21332 | 2021-02-18 16:34 | 60.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.7622 | μmol/L | 39.7159 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.294 | 165089.8656 | 296753.3161 | 59.9307 | 49.4
21342 | 2021-02-18 16:35 | 60.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.6435 | μmol/L | 39.7407 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.293 | 165133.6707 | 296760.8741 | 59.9307 | 49.4
21352 | 2021-02-18 16:35 | 60.9999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.5273 | μmol/L | 39.7469 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.3 | 165162.4228 | 296763.0595 | 59.9307 | 49.4
21362 | 2021-02-18 16:35 | 61.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.6753 | μmol/L | 39.7097 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.304 | 165197.3205 | 296750.7114 | 59.9307 | 49.4
21372 | 2021-02-18 16:36 | 61.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.2626 | μmol/L | 39.7655 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.314 | 165262.2014 | 296754.1129 | 59.9307 | 49.4
21382 | 2021-02-18 16:36 | 61.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.4883 | μmol/L | 39.7407 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.306 | 165250.4292 | 296750.9825 | 59.9307 | 49.4
21392 | 2021-02-18 16:36 | 62.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.3541 | μmol/L | 39.7345 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.32 | 165333.2274 | 296740.1891 | 59.9307 | 49.4
21402 | 2021-02-18 16:37 | 62.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.9481 | μmol/L | 39.8028 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.324 | 165368.1099 | 296743.9676 | 59.9307 | 49.4
21412 | 2021-02-18 16:37 | 62.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.8739 | μmol/L | 39.7966 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.333 | 165403.4375 | 296750.1341 | 59.9307 | 49.4
21422 | 2021-02-18 16:37 | 63.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.7378 | μmol/L | 39.8338 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.328 | 165445.0088 | 296739.7751 | 59.9307 | 49.4
21432 | 2021-02-18 16:38 | 63.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.5514 | μmol/L | 39.8649 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.33 | 165444.0279 | 296755.2846 | 59.9307 | 49.4
21442 | 2021-02-18 16:38 | 63.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.2612 | μmol/L | 39.7159 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.336 | 165478.7778 | 296756.5068 | 59.9307 | 49.4
21452 | 2021-02-18 16:38 | 64.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.0929 | μmol/L | 39.7593 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.331 | 165457.4598 | 296762.3255 | 59.9307 | 49.4
21462 | 2021-02-18 16:39 | 64.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.2493 | μmol/L | 39.7159 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.337 | 165521.894 | 296780.7815 | 59.9307 | 49.4
21472 | 2021-02-18 16:39 | 64.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.8291 | μmol/L | 39.778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.345 | 165607.9635 | 296774.866 | 59.9307 | 49.4
21482 | 2021-02-18 16:39 | 65.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.7048 | μmol/L | 39.7904 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.35 | 165640.7623 | 296771.7169 | 59.9307 | 49.4
21492 | 2021-02-18 16:40 | 65.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.6131 | μmol/L | 39.7966 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.355 | 165668.7479 | 296749.2103 | 59.9307 | 49.4
21502 | 2021-02-18 16:40 | 65.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.6277 | μmol/L | 39.778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.362 | 165720.7115 | 296754.0443 | 59.9307 | 49.4
21512 | 2021-02-18 16:40 | 66.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.2853 | μmol/L | 39.8276 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.369 | 165750.7945 | 296753.9123 | 59.9307 | 49.4
21522 | 2021-02-18 16:41 | 66.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.1408 | μmol/L | 39.8463 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.373 | 165803.5209 | 296758.804 | 59.9307 | 49.4
21532 | 2021-02-18 16:41 | 66.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.4533 | μmol/L | 39.7842 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.374 | 165838.3312 | 296763.2524 | 59.9307 | 49.4
21542 | 2021-02-18 16:41 | 67.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.0583 | μmol/L | 39.8463 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.38 | 165877.6328 | 296769.2294 | 59.9307 | 49.4
21552 | 2021-02-18 16:42 | 67.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.344 | μmol/L | 39.778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.386 | 165927.6359 | 296755.9436 | 59.9307 | 49.4
21562 | 2021-02-18 16:42 | 68.0001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.4674 | μmol/L | 39.7407 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.392 | 165968.8154 | 296758.3401 | 59.9307 | 49.4
21572 | 2021-02-18 16:42 | 68.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.1464 | μmol/L | 39.7842 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.4 | 166016.7627 | 296746.1341 | 59.9307 | 49.4
21582 | 2021-02-18 16:43 | 68.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.2789 | μmol/L | 39.7655 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.397 | 166041.9732 | 296773.8499 | 59.9307 | 49.4
21592 | 2021-02-18 16:43 | 68.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.9964 | μmol/L | 39.8152 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.399 | 166052.7745 | 296767.535 | 59.9307 | 49.4
21602 | 2021-02-18 16:43 | 69.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.4022 | μmol/L | 39.7283 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.403 | 166076.9699 | 296754.3495 | 59.9307 | 49.4
21612 | 2021-02-18 16:44 | 69.6662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.8729 | μmol/L | 39.8028 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.415 | 166149.7216 | 296789.0016 | 59.9307 | 49.4
21622 | 2021-02-18 16:44 | 69.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.914 | μmol/L | 39.7904 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.417 | 166179.4944 | 296770.6299 | 59.9307 | 49.4
21632 | 2021-02-18 16:44 | 70.3329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.9961 | μmol/L | 39.7655 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.421 | 166221.008 | 296777.5133 | 59.9307 | 49.4
21642 | 2021-02-18 16:45 | 70.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.1956 | μmol/L | 39.7159 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.426 | 166272.2619 | 296783.3982 | 59.9307 | 49.4
21652 | 2021-02-18 16:45 | 70.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.8991 | μmol/L | 39.7593 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.432 | 166322.3934 | 296794.6041 | 59.9307 | 49.4
21662 | 2021-02-18 16:45 | 71.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.7201 | μmol/L | 39.778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.439 | 166367.6034 | 296789.9619 | 59.9307 | 49.4
21672 | 2021-02-18 16:46 | 71.6665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.6966 | μmol/L | 39.778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.441 | 166400.0977 | 296787.4821 | 59.9307 | 49.4
21682 | 2021-02-18 16:46 | 71.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.7024 | μmol/L | 39.7655 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.446 | 166425.9232 | 296795.8056 | 59.9307 | 49.4
21692 | 2021-02-18 16:46 | 72.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.3861 | μmol/L | 39.7904 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.462 | 166505.7341 | 296792.7113 | 59.9307 | 49.4
21702 | 2021-02-18 16:47 | 72.6663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4856 | μmol/L | 39.778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.459 | 166514.3771 | 296802.6596 | 59.9307 | 49.4
21712 | 2021-02-18 16:47 | 72.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.5351 | μmol/L | 39.7345 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.474 | 166606.9533 | 296817.0498 | 59.9307 | 49.4
21722 | 2021-02-18 16:47 | 73.3328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.681 | μmol/L | 39.6972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.478 | 166653.7403 | 296814.8486 | 59.9307 | 49.4
21732 | 2021-02-18 16:48 | 73.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4822 | μmol/L | 39.7221 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.484 | 166715.4248 | 296804.9265 | 59.9307 | 49.4
21742 | 2021-02-18 16:48 | 73.9996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4004 | μmol/L | 39.7221 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.491 | 166780.356 | 296820.2169 | 59.9307 | 49.4
21752 | 2021-02-18 16:48 | 74.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.1231 | μmol/L | 39.7531 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.501 | 166828.2939 | 296816.7236 | 59.9307 | 49.4
21762 | 2021-02-18 16:49 | 74.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4291 | μmol/L | 39.6848 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.505 | 166880.1855 | 296811.6751 | 59.9307 | 49.4
21772 | 2021-02-18 16:49 | 74.9999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4027 | μmol/L | 39.6786 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.51 | 166933.136 | 296806.628 | 59.9307 | 49.4
21782 | 2021-02-18 16:49 | 75.333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.42 | μmol/L | 39.6662 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.514 | 166991.3606 | 296809.6806 | 59.9307 | 49.4
21792 | 2021-02-18 16:50 | 75.6666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.3178 | μmol/L | 39.6724 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.52 | 167050.1862 | 296810.8401 | 59.9307 | 49.4
21802 | 2021-02-18 16:50 | 75.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8783 | μmol/L | 39.7283 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.533 | 167136.6345 | 296806.9676 | 59.9307 | 49.4
21812 | 2021-02-18 16:50 | 76.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.9973 | μmol/L | 39.6848 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.542 | 167173.1493 | 296793.8761 | 59.9307 | 49.4
21822 | 2021-02-18 16:51 | 76.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8984 | μmol/L | 39.6972 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.545 | 167234.8834 | 296799.5709 | 59.9307 | 49.4
21832 | 2021-02-18 16:51 | 76.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.2087 | μmol/L | 39.6165 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.554 | 167258.6797 | 296796.7011 | 59.9307 | 49.4
21842 | 2021-02-18 16:51 | 77.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.9011 | μmol/L | 39.6786 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.553 | 167288.7342 | 296800.2367 | 59.9307 | 49.4
21852 | 2021-02-18 16:52 | 77.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.0516 | μmol/L | 39.6289 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.562 | 167350.5345 | 296803.2977 | 59.9307 | 49.4
21862 | 2021-02-18 16:52 | 77.9995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.2687 | μmol/L | 39.573 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.568 | 167407.239 | 296794.2887 | 59.9307 | 49.4
21872 | 2021-02-18 16:52 | 78.3331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8745 | μmol/L | 39.6476 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.569 | 167436.0433 | 296782.9453 | 59.9307 | 49.4
21882 | 2021-02-18 16:53 | 78.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.6743 | μmol/L | 39.6662 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.578 | 167493.3814 | 296798.3307 | 59.9307 | 49.4
21892 | 2021-02-18 16:53 | 78.9997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.1257 | μmol/L | 39.5668 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.583 | 167542.8292 | 296793.1144 | 59.9307 | 49.4
21902 | 2021-02-18 16:53 | 79.3334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.9511 | μmol/L | 39.5668 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.598 | 167611.1663 | 296782.6711 | 59.9307 | 49.4
21912 | 2021-02-18 16:54 | 79.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.7341 | μmol/L | 39.5979 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.603 | 167653.81 | 296785.2099 | 59.9307 | 49.4
21922 | 2021-02-18 16:54 | 79.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.6645 | μmol/L | 39.5979 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.609 | 167713.4177 | 296789.3766 | 59.9307 | 49.4
21932 | 2021-02-18 16:54 | 80.3335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8775 | μmol/L | 39.5358 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.618 | 167795.905 | 296787.9421 | 59.9307 | 49.4
21942 | 2021-02-18 16:55 | 80.6664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.831 | μmol/L | 39.5358 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.622 | 167809.6485 | 296777.2553 | 59.9307 | 49.4
21952 | 2021-02-18 16:55 | 80.9994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8016 | μmol/L | 39.5234 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.63 | 167892.9122 | 296803.7747 | 59.9307 | 49.4
21962 | 2021-02-18 16:55 | 81.3332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.6307 | μmol/L | 39.5296 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.642 | 167967.6374 | 296804.5721 | 59.9307 | 49.4
21972 | 2021-02-18 16:56 | 81.6668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.423 | μmol/L | 39.5544 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.649 | 168038.1991 | 296786.3699 | 59.9307 | 49.4
21982 | 2021-02-18 16:56 | 81.9998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.5203 | μmol/L | 39.5172 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.657 | 168105.5811 | 296791.849 | 59.9307 | 49.4
21992 | 2021-02-18 16:56 | 82.3333 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.4762 | μmol/L | 39.4985 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.669 | 168000.6908 | 296794.5504 | 59.9307 | 49.4
22002 | 2021-02-18 16:57 | 82.6667 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.071 | μmol/L | 39.5668 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 21.674 | 167707.8673 | 296795.3376 | 59.9307 | 49.4