## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 15:00

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17164 | 2021-02-18 13:40 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.0774 | μmol/L | 34.2695 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.208 | 138274.8418 | 277208.9433 | 26.25 | 74
17174 | 2021-02-18 13:40 | 0.32703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.9791 | μmol/L | 34.2389 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.226 | 138362.2529 | 277178.7177 | 26.25 | 74
17184 | 2021-02-18 13:40 | 0.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.0853 | μmol/L | 34.2572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.212 | 138289.6627 | 277158.9268 | 26.25 | 74
17194 | 2021-02-18 13:41 | 0.99355 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.9006 | μmol/L | 34.2695 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.22 | 138317.4325 | 277123.1454 | 26.25 | 74
17204 | 2021-02-18 13:41 | 1.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.0597 | μmol/L | 34.2511 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.216 | 138291.3634 | 277092.5484 | 26.25 | 74
17214 | 2021-02-18 13:41 | 1.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.1157 | μmol/L | 34.2327 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.219 | 138301.4932 | 277053.4319 | 26.25 | 74
17224 | 2021-02-18 13:42 | 1.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.2719 | μmol/L | 34.196 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.222 | 138324.8165 | 277012.6863 | 26.25 | 74
17234 | 2021-02-18 13:42 | 2.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.7721 | μmol/L | 34.2633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.231 | 138331.6754 | 276982.4298 | 26.25 | 74
17244 | 2021-02-18 13:42 | 2.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.8319 | μmol/L | 34.2389 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.236 | 138359.3 | 276955.2925 | 26.25 | 74
17254 | 2021-02-18 13:43 | 2.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6584 | μmol/L | 34.2572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.241 | 138369.3378 | 276936.0368 | 26.25 | 74
17264 | 2021-02-18 13:43 | 3.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.4663 | μmol/L | 34.2817 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.245 | 138375.0357 | 276910.1468 | 26.25 | 74
17274 | 2021-02-18 13:43 | 3.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.7956 | μmol/L | 34.2266 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.243 | 138373.5466 | 276877.3729 | 26.25 | 74
17284 | 2021-02-18 13:44 | 3.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.5634 | μmol/L | 34.245 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.252 | 138394.5173 | 276846.7103 | 26.25 | 74
17294 | 2021-02-18 13:44 | 4.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6594 | μmol/L | 34.2327 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.25 | 138386.5155 | 276806.9779 | 26.25 | 74
17304 | 2021-02-18 13:44 | 4.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6751 | μmol/L | 34.2082 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.258 | 138396.0837 | 276777.461 | 26.25 | 74
17314 | 2021-02-18 13:45 | 4.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.5018 | μmol/L | 34.2266 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.263 | 138414.8932 | 276744.4779 | 26.25 | 74
17324 | 2021-02-18 13:45 | 5.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.539 | μmol/L | 34.2144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.265 | 138401.8113 | 276726.4481 | 26.25 | 74
17334 | 2021-02-18 13:45 | 5.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.0491 | μmol/L | 34.1287 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.262 | 138373.3009 | 276707.8696 | 26.25 | 74
17344 | 2021-02-18 13:46 | 5.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.5908 | μmol/L | 34.2021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.266 | 138384.1639 | 276670.9765 | 26.25 | 74
17354 | 2021-02-18 13:46 | 6.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.3347 | μmol/L | 34.1899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.288 | 138466.0997 | 276640.0914 | 26.25 | 74
17364 | 2021-02-18 13:46 | 6.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2965 | μmol/L | 34.2266 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.277 | 138430.1552 | 276611.7993 | 26.25 | 74
17374 | 2021-02-18 13:47 | 6.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.4977 | μmol/L | 34.1409 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.295 | 138466.607 | 276591.9022 | 26.25 | 74
17384 | 2021-02-18 13:47 | 7.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.3093 | μmol/L | 34.1838 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.292 | 138481.4766 | 276566.7462 | 26.25 | 74
17394 | 2021-02-18 13:47 | 7.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6861 | μmol/L | 34.0981 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.298 | 138502.0246 | 276521.6676 | 26.25 | 74
17404 | 2021-02-18 13:48 | 7.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.3727 | μmol/L | 34.1532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.299 | 138483.7193 | 276491.454 | 26.25 | 74
17414 | 2021-02-18 13:48 | 8.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.4175 | μmol/L | 34.1287 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.305 | 138526.5482 | 276482.0264 | 26.25 | 74
17424 | 2021-02-18 13:48 | 8.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2194 | μmol/L | 34.1409 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.314 | 138562.1154 | 276451.7286 | 26.25 | 74
17434 | 2021-02-18 13:49 | 8.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.8442 | μmol/L | 34.2021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.317 | 138563.1273 | 276417.1153 | 26.25 | 74
17444 | 2021-02-18 13:49 | 9.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2973 | μmol/L | 34.1103 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.32 | 138552.4337 | 276389.2125 | 26.25 | 74
17454 | 2021-02-18 13:49 | 9.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2719 | μmol/L | 34.1042 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.324 | 138567.4516 | 276367.0169 | 26.25 | 74
17464 | 2021-02-18 13:50 | 9.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.081 | μmol/L | 34.1287 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.328 | 138587.1618 | 276339.2732 | 26.25 | 74
17474 | 2021-02-18 13:50 | 10.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.5034 | μmol/L | 34.1654 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.354 | 138717.5625 | 276299.7051 | 26.25 | 74
17484 | 2021-02-18 13:50 | 10.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.7268 | μmol/L | 34.1348 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.35 | 138655.3775 | 276280.0038 | 26.25 | 74
17494 | 2021-02-18 13:51 | 10.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.6344 | μmol/L | 34.1654 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.345 | 138631.5921 | 276255.9888 | 26.25 | 74
17504 | 2021-02-18 13:51 | 11.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.6305 | μmol/L | 34.1715 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.343 | 138594.7824 | 276226.5336 | 26.25 | 74
17514 | 2021-02-18 13:51 | 11.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.8483 | μmol/L | 34.1042 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.353 | 138653.03 | 276204.9826 | 26.25 | 74
17524 | 2021-02-18 13:52 | 11.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.288 | μmol/L | 34.1838 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.362 | 138700.8645 | 276174.7597 | 26.25 | 74
17534 | 2021-02-18 13:52 | 12.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.8414 | μmol/L | 34.092 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.358 | 138659.3645 | 276140.2524 | 26.25 | 74
17544 | 2021-02-18 13:52 | 12.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.3819 | μmol/L | 34.196 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.351 | 138632.3528 | 276122.2277 | 26.25 | 74
17554 | 2021-02-18 13:53 | 12.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.2404 | μmol/L | 34.1899 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.363 | 138660.9217 | 276096.6058 | 26.25 | 74
17564 | 2021-02-18 13:53 | 13.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.4821 | μmol/L | 34.1532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.36 | 138638.4126 | 276073.5207 | 26.25 | 74
17574 | 2021-02-18 13:53 | 13.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.2668 | μmol/L | 34.1715 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.368 | 138688.522 | 276040.092 | 26.25 | 74
17584 | 2021-02-18 13:54 | 13.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.392 | μmol/L | 34.1348 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.373 | 138699.884 | 276010.1699 | 26.25 | 74
17594 | 2021-02-18 13:54 | 14.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.6074 | μmol/L | 34.1164 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.365 | 138644.6618 | 275994.3834 | 26.25 | 74
17604 | 2021-02-18 13:54 | 14.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.0675 | μmol/L | 34.1654 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.384 | 138735.5704 | 275964.3848 | 26.25 | 74
17614 | 2021-02-18 13:55 | 14.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.0003 | μmol/L | 34.2021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.375 | 138673.3537 | 275946.2011 | 26.25 | 74
17624 | 2021-02-18 13:55 | 15.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.3037 | μmol/L | 34.1593 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.37 | 138640.5408 | 275906.1441 | 26.25 | 74
17634 | 2021-02-18 13:55 | 15.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6828 | μmol/L | 34.245 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.381 | 138691.2933 | 275878.2188 | 26.25 | 74
17644 | 2021-02-18 13:56 | 15.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6972 | μmol/L | 34.245 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.38 | 138667.3156 | 275850.1661 | 26.25 | 74
17654 | 2021-02-18 13:56 | 16.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.3391 | μmol/L | 34.3062 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.382 | 138675.0491 | 275838.1444 | 26.25 | 74
17664 | 2021-02-18 13:56 | 16.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.4587 | μmol/L | 34.3001 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.376 | 138611.8239 | 275805.9418 | 26.25 | 74
17674 | 2021-02-18 13:57 | 16.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.4338 | μmol/L | 34.2939 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.38 | 138637.5271 | 275769.5733 | 26.25 | 74
17684 | 2021-02-18 13:57 | 17.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.4828 | μmol/L | 34.2633 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.388 | 138680.2852 | 275744.3603 | 26.25 | 74
17694 | 2021-02-18 13:57 | 17.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.5157 | μmol/L | 34.2572 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.388 | 138672.4333 | 275717.4095 | 26.25 | 74
17704 | 2021-02-18 13:58 | 17.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.364 | μmol/L | 34.3123 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.378 | 138609.9163 | 275694.3785 | 26.25 | 74
17714 | 2021-02-18 13:58 | 18.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.0736 | μmol/L | 34.3368 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.389 | 138648.2528 | 275677.0953 | 26.25 | 74
17724 | 2021-02-18 13:58 | 18.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.979 | μmol/L | 34.349 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.391 | 138672.4142 | 275646.051 | 26.25 | 74
17734 | 2021-02-18 13:59 | 18.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.9975 | μmol/L | 34.3429 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.392 | 138693.5285 | 275613.2141 | 26.25 | 74
17744 | 2021-02-18 13:59 | 19.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.5847 | μmol/L | 34.4225 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.391 | 138662.8615 | 275602.4297 | 26.25 | 74
17754 | 2021-02-18 13:59 | 19.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.5929 | μmol/L | 34.4102 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.395 | 138678.5227 | 275577.398 | 26.25 | 74
17764 | 2021-02-18 14:00 | 19.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.2543 | μmol/L | 34.4653 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.398 | 138666.6579 | 275560.4502 | 26.25 | 74
17774 | 2021-02-18 14:00 | 20.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.123 | μmol/L | 34.4898 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.398 | 138697.736 | 275529.2813 | 26.25 | 74
17784 | 2021-02-18 14:00 | 20.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.1003 | μmol/L | 34.502 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.395 | 138674.7274 | 275507.0272 | 26.25 | 74
17794 | 2021-02-18 14:01 | 20.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.0841 | μmol/L | 34.4837 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.403 | 138707.8964 | 275490.2077 | 26.25 | 74
17804 | 2021-02-18 14:01 | 21.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.9529 | μmol/L | 34.5082 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.403 | 138698.1247 | 275453.0602 | 26.25 | 74
17814 | 2021-02-18 14:01 | 21.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.9756 | μmol/L | 34.4959 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.406 | 138702.3431 | 275427.6686 | 26.25 | 74
17824 | 2021-02-18 14:02 | 21.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.562 | μmol/L | 34.5571 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.412 | 138715.2401 | 275405.0057 | 26.25 | 74
17834 | 2021-02-18 14:02 | 22.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.6561 | μmol/L | 34.5449 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.41 | 138705.0193 | 275395.7354 | 26.25 | 74
17844 | 2021-02-18 14:02 | 22.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.4981 | μmol/L | 34.5877 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.405 | 138682.362 | 275364.1733 | 26.25 | 74
17854 | 2021-02-18 14:03 | 22.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.4494 | μmol/L | 34.5755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.413 | 138709.5097 | 275347.8189 | 26.25 | 74
17864 | 2021-02-18 14:03 | 23.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.2772 | μmol/L | 34.6183 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.409 | 138674.741 | 275328.0905 | 26.25 | 74
17874 | 2021-02-18 14:03 | 23.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.1376 | μmol/L | 34.6551 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.405 | 138642.1806 | 275301.1552 | 26.25 | 74
17884 | 2021-02-18 14:04 | 23.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.1376 | μmol/L | 34.6551 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.405 | 138634.2244 | 275289.7228 | 26.25 | 74
17894 | 2021-02-18 14:04 | 24.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.9083 | μmol/L | 34.6979 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.405 | 138626.1563 | 275259.2788 | 26.25 | 74
17904 | 2021-02-18 14:04 | 24.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.7161 | μmol/L | 34.7285 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.407 | 138644.3031 | 275230.5995 | 26.25 | 74
17914 | 2021-02-18 14:05 | 24.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.7859 | μmol/L | 34.7101 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.409 | 138629.0387 | 275214.0794 | 26.25 | 74
17924 | 2021-02-18 14:05 | 25.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.8471 | μmol/L | 34.704 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.407 | 138619.7149 | 275188.6555 | 26.25 | 74
17934 | 2021-02-18 14:05 | 25.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.8273 | μmol/L | 34.6918 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.413 | 138625.2042 | 275160.299 | 26.25 | 74
17944 | 2021-02-18 14:06 | 25.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.5643 | μmol/L | 34.7224 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.42 | 138666.0354 | 275133.1831 | 26.25 | 74
17954 | 2021-02-18 14:06 | 26.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.7062 | μmol/L | 34.7224 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.41 | 138610.4044 | 275116.0526 | 26.25 | 74
17964 | 2021-02-18 14:06 | 26.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.3866 | μmol/L | 34.753 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.421 | 138653.8996 | 275081.6058 | 26.25 | 74
17974 | 2021-02-18 14:07 | 26.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.4063 | μmol/L | 34.7652 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.415 | 138606.2187 | 275082.0815 | 26.25 | 74
17984 | 2021-02-18 14:07 | 27.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.3365 | μmol/L | 34.7836 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.413 | 138587.2633 | 275039.0897 | 26.25 | 74
17994 | 2021-02-18 14:07 | 27.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.0173 | μmol/L | 34.8142 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.424 | 138640.495 | 275016.7493 | 26.25 | 74
18004 | 2021-02-18 14:08 | 27.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.2046 | μmol/L | 34.7897 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.42 | 138618.8418 | 275005.3823 | 26.25 | 74
18014 | 2021-02-18 14:08 | 28.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.149 | μmol/L | 34.8081 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.417 | 138576.3129 | 274981.2674 | 26.25 | 74
18024 | 2021-02-18 14:08 | 28.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9529 | μmol/L | 34.8448 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.417 | 138572.5845 | 274970.6551 | 26.25 | 74
18034 | 2021-02-18 14:09 | 28.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9846 | μmol/L | 34.8203 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.424 | 138600.6101 | 274946.3106 | 26.25 | 74
18044 | 2021-02-18 14:09 | 29.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.8955 | μmol/L | 34.8264 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.428 | 138622.5356 | 274926.2578 | 26.25 | 74
18054 | 2021-02-18 14:09 | 29.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.9325 | μmol/L | 34.8142 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.43 | 138628.6585 | 274888.9167 | 26.25 | 74
18064 | 2021-02-18 14:10 | 29.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.8213 | μmol/L | 34.8509 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.424 | 138574.0304 | 274876.0509 | 26.25 | 74
18074 | 2021-02-18 14:10 | 30.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.7285 | μmol/L | 34.8815 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.419 | 138550.2122 | 274842.4396 | 26.25 | 74
18084 | 2021-02-18 14:10 | 30.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.5964 | μmol/L | 34.8693 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.433 | 138611.5388 | 274825.3447 | 26.25 | 74
18094 | 2021-02-18 14:11 | 30.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.4747 | μmol/L | 34.8815 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.437 | 138626.9993 | 274810.5763 | 26.25 | 74
18104 | 2021-02-18 14:11 | 31.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.0534 | μmol/L | 34.7836 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.433 | 138579.2426 | 274793.1879 | 26.25 | 74
18114 | 2021-02-18 14:11 | 31.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.356 | μmol/L | 34.7163 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.437 | 138607.4307 | 274769.8567 | 26.25 | 74
18124 | 2021-02-18 14:12 | 31.9931 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 161.0675 | μmol/L | 34.7836 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.432 | 138562.0572 | 274734.9435 | 26.25 | 74
18134 | 2021-02-18 14:12 | 32.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.428 | μmol/L | 34.8877 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.438 | 138601.6321 | 274723.6993 | 26.25 | 74
18144 | 2021-02-18 14:12 | 32.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2317 | μmol/L | 34.906 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.445 | 138620.0121 | 274696.6753 | 26.25 | 74
18154 | 2021-02-18 14:13 | 32.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.428 | μmol/L | 34.8877 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.438 | 138607.0992 | 274687.9686 | 26.25 | 74
18164 | 2021-02-18 14:13 | 33.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.3947 | μmol/L | 34.8754 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.445 | 138627.2166 | 274667.8107 | 26.25 | 74
18174 | 2021-02-18 14:13 | 33.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.6044 | μmol/L | 34.8387 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.444 | 138598.1875 | 274642.4219 | 26.25 | 74
18184 | 2021-02-18 14:14 | 33.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.4169 | μmol/L | 34.8448 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.455 | 138627.9487 | 274616.0627 | 26.25 | 74
18194 | 2021-02-18 14:14 | 34.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2215 | μmol/L | 34.8815 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.455 | 138623.5624 | 274615.9321 | 26.25 | 74
18204 | 2021-02-18 14:14 | 34.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.3051 | μmol/L | 34.8632 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.456 | 138651.5687 | 274578.9563 | 26.25 | 74
18214 | 2021-02-18 14:15 | 34.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.3517 | μmol/L | 34.857 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.455 | 138616.6209 | 274566.6311 | 26.25 | 74
18224 | 2021-02-18 14:15 | 35.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2104 | μmol/L | 34.8387 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.472 | 138705.4459 | 274542.3596 | 26.25 | 74
18234 | 2021-02-18 14:15 | 35.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2629 | μmol/L | 34.8632 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.459 | 138622.7658 | 274536.269 | 26.25 | 74
18244 | 2021-02-18 14:16 | 35.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1224 | μmol/L | 34.8632 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.469 | 138657.3755 | 274509.924 | 26.25 | 74
18254 | 2021-02-18 14:16 | 36.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1402 | μmol/L | 34.8387 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.477 | 138693.8594 | 274500.3832 | 26.25 | 74
18264 | 2021-02-18 14:16 | 36.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2104 | μmol/L | 34.8387 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.472 | 138653.4031 | 274482.0582 | 26.25 | 74
18274 | 2021-02-18 14:17 | 36.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2851 | μmol/L | 34.8326 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.469 | 138639.1873 | 274462.5957 | 26.25 | 74
18284 | 2021-02-18 14:17 | 37.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2015 | μmol/L | 34.8509 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.468 | 138623.9694 | 274432.3221 | 26.25 | 74
18294 | 2021-02-18 14:17 | 37.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0899 | μmol/L | 34.8693 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.469 | 138634.2611 | 274415.8281 | 26.25 | 74
18304 | 2021-02-18 14:18 | 37.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.41 | μmol/L | 34.7958 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.474 | 138660.5123 | 274412.223 | 26.25 | 74
18314 | 2021-02-18 14:18 | 38.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0796 | μmol/L | 34.8448 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.479 | 138662.4813 | 274381.7441 | 26.25 | 74
18324 | 2021-02-18 14:18 | 38.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.084 | μmol/L | 34.8387 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.481 | 138667.2304 | 274354.2223 | 26.25 | 74
18334 | 2021-02-18 14:19 | 38.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9902 | μmol/L | 34.8326 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.49 | 138702.0895 | 274353.7116 | 26.25 | 74
18344 | 2021-02-18 14:19 | 39.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1202 | μmol/L | 34.8081 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.49 | 138723.397 | 274329.138 | 26.25 | 74
18354 | 2021-02-18 14:19 | 39.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0456 | μmol/L | 34.8142 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.493 | 138713.7837 | 274309.3761 | 26.25 | 74
18364 | 2021-02-18 14:20 | 39.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9526 | μmol/L | 34.8264 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.495 | 138737.5764 | 274298.3919 | 26.25 | 74
18374 | 2021-02-18 14:20 | 40.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0536 | μmol/L | 34.7836 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.504 | 138762.6181 | 274271.7832 | 26.25 | 74
18384 | 2021-02-18 14:20 | 40.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.915 | μmol/L | 34.8203 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.5 | 138754.1796 | 274260.4078 | 26.25 | 74
18394 | 2021-02-18 14:21 | 40.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8589 | μmol/L | 34.8203 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.504 | 138767.0614 | 274257.66 | 26.25 | 74
18404 | 2021-02-18 14:21 | 41.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8934 | μmol/L | 34.753 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.527 | 138880.4221 | 274233.0652 | 26.25 | 74
18414 | 2021-02-18 14:21 | 41.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7977 | μmol/L | 34.8081 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.513 | 138800.2502 | 274213.9757 | 26.25 | 74
18424 | 2021-02-18 14:22 | 41.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6631 | μmol/L | 34.8264 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.515 | 138782.6427 | 274184.646 | 26.25 | 74
18434 | 2021-02-18 14:22 | 42.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8207 | μmol/L | 34.802 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.513 | 138782.4851 | 274177.2129 | 26.25 | 74
18444 | 2021-02-18 14:22 | 42.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6496 | μmol/L | 34.8387 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.512 | 138757.1725 | 274156.0442 | 26.25 | 74
18454 | 2021-02-18 14:23 | 42.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7926 | μmol/L | 34.7958 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.518 | 138781.4615 | 274146.2738 | 26.25 | 74
18464 | 2021-02-18 14:23 | 43.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5379 | μmol/L | 34.8448 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.517 | 138751.4974 | 274128.1918 | 26.25 | 74
18474 | 2021-02-18 14:23 | 43.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9312 | μmol/L | 34.7652 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.519 | 138779.7789 | 274110.5115 | 26.25 | 74
18484 | 2021-02-18 14:24 | 43.9933 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7316 | μmol/L | 34.7897 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.524 | 138788.6313 | 274098.0315 | 26.25 | 74
18494 | 2021-02-18 14:24 | 44.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.8175 | μmol/L | 34.7285 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.541 | 138866.0933 | 274074.8257 | 26.25 | 74
18504 | 2021-02-18 14:24 | 44.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5315 | μmol/L | 34.7958 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.536 | 138848.4532 | 274067.298 | 26.25 | 74
18514 | 2021-02-18 14:25 | 44.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.1616 | μmol/L | 34.8632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.537 | 138835.0823 | 274042.2362 | 26.25 | 74
18524 | 2021-02-18 14:25 | 45.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6977 | μmol/L | 34.7591 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.538 | 138840.2663 | 274027.055 | 26.25 | 74
18534 | 2021-02-18 14:25 | 45.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6645 | μmol/L | 34.7469 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.545 | 138850.7976 | 274016.0925 | 26.25 | 74
18544 | 2021-02-18 14:26 | 45.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0257 | μmol/L | 34.6918 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.54 | 138836.871 | 274000.9125 | 26.25 | 74
18554 | 2021-02-18 14:26 | 46.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9103 | μmol/L | 34.7163 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.539 | 138823.5256 | 273980.9019 | 26.25 | 74
18564 | 2021-02-18 14:26 | 46.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7344 | μmol/L | 34.7469 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.54 | 138826.3598 | 273967.1801 | 26.25 | 74
18574 | 2021-02-18 14:27 | 46.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5204 | μmol/L | 34.753 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.553 | 138870.6805 | 273942.6681 | 26.25 | 74
18584 | 2021-02-18 14:27 | 47.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6314 | μmol/L | 34.7346 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.552 | 138861.6153 | 273937.0604 | 26.25 | 74
18594 | 2021-02-18 14:27 | 47.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6681 | μmol/L | 34.7224 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.554 | 138857.4119 | 273921.3157 | 26.25 | 74
18604 | 2021-02-18 14:28 | 47.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6445 | μmol/L | 34.7163 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.558 | 138870.6655 | 273903.263 | 26.25 | 74
18614 | 2021-02-18 14:28 | 48.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7546 | μmol/L | 34.6795 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.564 | 138909.8434 | 273895.8224 | 26.25 | 74
18624 | 2021-02-18 14:28 | 48.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.9161 | μmol/L | 34.6489 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.564 | 138903.5242 | 273871.4493 | 26.25 | 74
18634 | 2021-02-18 14:29 | 48.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.2382 | μmol/L | 34.5694 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.571 | 138945.6573 | 273868.2568 | 26.25 | 74
18644 | 2021-02-18 14:29 | 49.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0163 | μmol/L | 34.6061 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.573 | 138957.0247 | 273850.6723 | 26.25 | 74
18654 | 2021-02-18 14:29 | 49.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7623 | μmol/L | 34.6489 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.575 | 138944.7432 | 273834.4092 | 26.25 | 74
18664 | 2021-02-18 14:30 | 49.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5677 | μmol/L | 34.6673 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.582 | 138976.2117 | 273818.0693 | 26.25 | 74
18674 | 2021-02-18 14:30 | 50.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.3916 | μmol/L | 34.6795 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.59 | 138998.6693 | 273811.2207 | 26.25 | 74
18684 | 2021-02-18 14:30 | 50.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4988 | μmol/L | 34.6857 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.58 | 138956.497 | 273792.9008 | 26.25 | 74
18694 | 2021-02-18 14:31 | 50.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5817 | μmol/L | 34.6673 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.581 | 138956.5302 | 273786.0669 | 26.25 | 74
18704 | 2021-02-18 14:31 | 51.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4701 | μmol/L | 34.6673 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.589 | 138974.2143 | 273782.5337 | 26.25 | 74
18714 | 2021-02-18 14:31 | 51.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5475 | μmol/L | 34.6367 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.595 | 138995.7758 | 273760.8908 | 26.25 | 74
18724 | 2021-02-18 14:32 | 51.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4465 | μmol/L | 34.6612 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.593 | 139012.1862 | 273743.7762 | 26.25 | 74
18734 | 2021-02-18 14:32 | 52.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.1869 | μmol/L | 34.502 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.6 | 139012.02 | 273720.8309 | 26.25 | 74
18744 | 2021-02-18 14:32 | 52.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5326 | μmol/L | 34.6183 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.603 | 139038.3052 | 273709.9571 | 26.25 | 74
18754 | 2021-02-18 14:33 | 52.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.537 | μmol/L | 34.6122 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.605 | 139031.5141 | 273684.1694 | 26.25 | 74
18764 | 2021-02-18 14:33 | 53.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.757 | μmol/L | 34.5571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.61 | 139057.4565 | 273685.0215 | 26.25 | 74
18774 | 2021-02-18 14:33 | 53.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.7152 | μmol/L | 34.5571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.613 | 139077.43 | 273676.8315 | 26.25 | 74
18784 | 2021-02-18 14:34 | 53.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4619 | μmol/L | 34.6 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.615 | 139082.5779 | 273672.0345 | 26.25 | 74
18794 | 2021-02-18 14:34 | 54.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.5757 | μmol/L | 34.5571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.623 | 139100.0153 | 273645.0666 | 26.25 | 74
18804 | 2021-02-18 14:34 | 54.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 160.0486 | μmol/L | 34.4592 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.626 | 139139.1137 | 273632.0977 | 26.25 | 74
18814 | 2021-02-18 14:35 | 54.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6013 | μmol/L | 34.5204 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.635 | 139168.9441 | 273625.7039 | 26.25 | 74
18824 | 2021-02-18 14:35 | 55.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.3206 | μmol/L | 34.5632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.639 | 139194.9426 | 273618.9911 | 26.25 | 74
18834 | 2021-02-18 14:35 | 55.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.3667 | μmol/L | 34.5571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.638 | 139206.5942 | 273597.1001 | 26.25 | 74
18844 | 2021-02-18 14:36 | 55.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.6729 | μmol/L | 34.4775 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.646 | 139231.3708 | 273582.7828 | 26.25 | 74
18854 | 2021-02-18 14:36 | 56.3265 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.387 | μmol/L | 34.5082 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.655 | 139272.0487 | 273570.6813 | 26.25 | 74
18864 | 2021-02-18 14:36 | 56.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.2575 | μmol/L | 34.5143 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.662 | 139297.7275 | 273567.8636 | 26.25 | 74
18874 | 2021-02-18 14:37 | 56.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.3998 | μmol/L | 34.4898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.661 | 139299.3898 | 273551.1067 | 26.25 | 74
18884 | 2021-02-18 14:37 | 57.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.3719 | μmol/L | 34.4898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.663 | 139307.0455 | 273542.0418 | 26.25 | 74
18894 | 2021-02-18 14:37 | 57.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.2927 | μmol/L | 34.4837 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.671 | 139336.5442 | 273530.5577 | 26.25 | 74
18904 | 2021-02-18 14:38 | 57.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4935 | μmol/L | 34.4347 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.675 | 139383.3201 | 273511.3775 | 26.25 | 74
18914 | 2021-02-18 14:38 | 58.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4965 | μmol/L | 34.4102 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.684 | 139404.428 | 273499.3353 | 26.25 | 74
18924 | 2021-02-18 14:38 | 58.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.4657 | μmol/L | 34.4347 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.677 | 139383.3285 | 273494.2513 | 26.25 | 74
18934 | 2021-02-18 14:39 | 58.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.1943 | μmol/L | 34.4653 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.685 | 139420.8678 | 273483.1452 | 26.25 | 74
18944 | 2021-02-18 14:39 | 59.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.0065 | μmol/L | 34.4959 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.687 | 139422.4824 | 273464.8573 | 26.25 | 74
18954 | 2021-02-18 14:39 | 59.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.9691 | μmol/L | 34.4898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.692 | 139432.096 | 273468.5823 | 26.25 | 74
18964 | 2021-02-18 14:40 | 59.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.9137 | μmol/L | 34.4898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.696 | 139451.5476 | 273446.5159 | 26.25 | 74
18974 | 2021-02-18 14:40 | 60.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.0459 | μmol/L | 34.4592 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.698 | 139466.0551 | 273429.0576 | 26.25 | 74
18984 | 2021-02-18 14:40 | 60.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.9958 | μmol/L | 34.4714 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.697 | 139473.0269 | 273423.9634 | 26.25 | 74
18994 | 2021-02-18 14:41 | 60.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 159.067 | μmol/L | 34.4286 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.708 | 139508.5934 | 273422.9006 | 26.25 | 74
19004 | 2021-02-18 14:41 | 61.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.903 | μmol/L | 34.4653 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.706 | 139509.5961 | 273405.9959 | 26.25 | 74
19014 | 2021-02-18 14:41 | 61.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.756 | μmol/L | 34.4775 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.712 | 139526.8613 | 273384.7644 | 26.25 | 74
19024 | 2021-02-18 14:42 | 61.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.8156 | μmol/L | 34.4714 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.71 | 139536.1766 | 273369.6843 | 26.25 | 74
19034 | 2021-02-18 14:42 | 62.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.3314 | μmol/L | 34.551 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.715 | 139547.7427 | 273360.4952 | 26.25 | 74
19044 | 2021-02-18 14:42 | 62.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.2632 | μmol/L | 34.5694 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.713 | 139574.506 | 273350.7001 | 26.25 | 74
19054 | 2021-02-18 14:43 | 62.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.1123 | μmol/L | 34.5877 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.717 | 139559.5307 | 273346.945 | 26.25 | 74
19064 | 2021-02-18 14:43 | 63.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.2581 | μmol/L | 34.5571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.718 | 139568.834 | 273339.8826 | 26.25 | 74
19074 | 2021-02-18 14:43 | 63.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.2581 | μmol/L | 34.5571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.718 | 139568.9598 | 273319.6083 | 26.25 | 74
19084 | 2021-02-18 14:44 | 63.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.3719 | μmol/L | 34.5326 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.719 | 139584.53 | 273323.4325 | 26.25 | 74
19094 | 2021-02-18 14:44 | 64.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.3072 | μmol/L | 34.5265 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.726 | 139630.9155 | 273321.6364 | 26.25 | 74
19104 | 2021-02-18 14:44 | 64.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.0375 | μmol/L | 34.5571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.734 | 139664.9793 | 273311.1335 | 26.25 | 74
19114 | 2021-02-18 14:45 | 64.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.4847 | μmol/L | 34.4898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.727 | 139637.6554 | 273295.1886 | 26.25 | 74
19124 | 2021-02-18 14:45 | 65.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.2529 | μmol/L | 34.5449 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.723 | 139624.8957 | 273287.5154 | 26.25 | 74
19134 | 2021-02-18 14:45 | 65.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.1383 | μmol/L | 34.551 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.729 | 139641.6861 | 273300.7995 | 26.25 | 74
19144 | 2021-02-18 14:46 | 65.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 158.047 | μmol/L | 34.5632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.731 | 139670.2849 | 273277.4495 | 26.25 | 74
19154 | 2021-02-18 14:46 | 66.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.8507 | μmol/L | 34.5877 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.736 | 139691.354 | 273259.6351 | 26.25 | 74
19164 | 2021-02-18 14:46 | 66.66 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.8652 | μmol/L | 34.6061 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.728 | 139654.8234 | 273252.3658 | 26.25 | 74
19174 | 2021-02-18 14:47 | 66.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.8608 | μmol/L | 34.6122 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.726 | 139654.3703 | 273243.504 | 26.25 | 74
19184 | 2021-02-18 14:47 | 67.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.6147 | μmol/L | 34.6489 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.73 | 139636.8449 | 273237.4002 | 26.25 | 74
19194 | 2021-02-18 14:47 | 67.6598 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.3324 | μmol/L | 34.6979 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.732 | 139667.6792 | 273221.4553 | 26.25 | 74
19204 | 2021-02-18 14:48 | 67.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.2277 | μmol/L | 34.7101 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.735 | 139678.2713 | 273218.1072 | 26.25 | 74
19214 | 2021-02-18 14:48 | 68.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.1048 | μmol/L | 34.7285 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.737 | 139689.827 | 273212.1767 | 26.25 | 74
19224 | 2021-02-18 14:48 | 68.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 157.0412 | μmol/L | 34.7407 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.737 | 139683.815 | 273199.8518 | 26.25 | 74
19234 | 2021-02-18 14:49 | 68.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.8548 | μmol/L | 34.7714 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.739 | 139712.8926 | 273183.467 | 26.25 | 74
19244 | 2021-02-18 14:49 | 69.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.6323 | μmol/L | 34.8326 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.732 | 139680.4819 | 273170.5219 | 26.25 | 74
19254 | 2021-02-18 14:49 | 69.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.6233 | μmol/L | 34.8448 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.728 | 139656.0558 | 273159.0388 | 26.25 | 74
19264 | 2021-02-18 14:50 | 69.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.7822 | μmol/L | 34.7958 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.735 | 139699.721 | 273156.8087 | 26.25 | 74
19274 | 2021-02-18 14:50 | 70.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.1918 | μmol/L | 34.8938 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.741 | 139717.3696 | 273142.0097 | 26.25 | 74
19284 | 2021-02-18 14:50 | 70.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.033 | μmol/L | 34.906 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.748 | 139765.1164 | 273129.5692 | 26.25 | 74
19294 | 2021-02-18 14:51 | 70.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.0285 | μmol/L | 34.9121 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.746 | 139769.2462 | 273145.3251 | 26.25 | 74
19304 | 2021-02-18 14:51 | 71.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.9559 | μmol/L | 34.9183 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.749 | 139797.8015 | 273126.8595 | 26.25 | 74
19314 | 2021-02-18 14:51 | 71.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.7156 | μmol/L | 34.9672 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.748 | 139806.5019 | 273116.3305 | 26.25 | 74
19324 | 2021-02-18 14:52 | 71.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.8016 | μmol/L | 34.9611 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.744 | 139753.3533 | 273108.7602 | 26.25 | 74
19334 | 2021-02-18 14:52 | 72.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.9196 | μmol/L | 34.9305 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.747 | 139769.8439 | 273107.2414 | 26.25 | 74
19344 | 2021-02-18 14:52 | 72.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.838 | μmol/L | 34.9489 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.746 | 139767.9234 | 273093.7541 | 26.25 | 74
19354 | 2021-02-18 14:53 | 72.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.8833 | μmol/L | 34.9427 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.745 | 139776.3621 | 273088.2317 | 26.25 | 74
19364 | 2021-02-18 14:53 | 73.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.3983 | μmol/L | 35.0285 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.748 | 139772.1025 | 273081.0865 | 26.25 | 74
19374 | 2021-02-18 14:53 | 73.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.7427 | μmol/L | 34.9672 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.746 | 139782.4506 | 273076.2277 | 26.25 | 74
19384 | 2021-02-18 14:54 | 73.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 156.0512 | μmol/L | 34.8999 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.749 | 139816.0869 | 273071.7133 | 26.25 | 74
19394 | 2021-02-18 14:54 | 74.3266 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.6342 | μmol/L | 34.9672 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.754 | 139820.9719 | 273048.7673 | 26.25 | 74
19404 | 2021-02-18 14:54 | 74.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.4168 | μmol/L | 35.004 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.756 | 139825.4634 | 273043.5754 | 26.25 | 74
19414 | 2021-02-18 14:55 | 74.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.4439 | μmol/L | 35.004 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.754 | 139836.1688 | 273039.1215 | 26.25 | 74
19424 | 2021-02-18 14:55 | 75.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.132 | μmol/L | 35.0407 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.763 | 139871.2834 | 273020.937 | 26.25 | 74
19434 | 2021-02-18 14:55 | 75.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.7567 | μmol/L | 34.9305 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.759 | 139866.4238 | 273020.5305 | 26.25 | 74
19444 | 2021-02-18 14:56 | 75.9932 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.544 | μmol/L | 34.9611 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.763 | 139900.0822 | 273012.1335 | 26.25 | 74
19454 | 2021-02-18 14:56 | 76.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 155.3136 | μmol/L | 34.9795 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.773 | 139941.0226 | 273010.4498 | 26.25 | 74
19464 | 2021-02-18 14:56 | 76.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.9471 | μmol/L | 35.0529 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.772 | 139942.1524 | 273001.2638 | 26.25 | 74
19474 | 2021-02-18 14:57 | 76.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.9471 | μmol/L | 35.0529 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.772 | 139931.4259 | 272980.8801 | 26.25 | 74
19484 | 2021-02-18 14:57 | 77.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.8792 | μmol/L | 35.0713 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.77 | 139929.9447 | 272991.2236 | 26.25 | 74
19494 | 2021-02-18 14:57 | 77.6599 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.9653 | μmol/L | 35.0468 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.773 | 139930.7867 | 272983.8204 | 26.25 | 74
19504 | 2021-02-18 14:58 | 77.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 154.776 | μmol/L | 35.0652 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.78 | 139961.9461 | 272966.504 | 26.25 | 74