## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19527 | 2021-02-18 15:34 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.9065 | μmol/L | 37.6434 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.67 | 139917.9069 | 272587.8453 | 26.25 | 74 | #N/A
19537 | 2021-02-18 15:35 | 0.33952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.7443 | μmol/L | 37.6434 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.683 | 139975.8816 | 272604.1752 | 26.25 | 74 | #N/A
19547 | 2021-02-18 15:35 | 0.67258 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.4105 | μmol/L | 37.6986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.687 | 140041.2666 | 272577.4013 | 26.25 | 74 | #N/A
19557 | 2021-02-18 15:35 | 1.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 142.184 | μmol/L | 37.7353 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.69 | 140047.6687 | 272583.4711 | 26.25 | 74 | #N/A
19567 | 2021-02-18 15:36 | 1.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.9126 | μmol/L | 37.7905 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.689 | 140049.8915 | 272581.0095 | 26.25 | 74 | #N/A
19577 | 2021-02-18 15:36 | 1.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.5905 | μmol/L | 37.8579 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.687 | 140051.0087 | 272570.045 | 26.25 | 74 | #N/A | -0.49786 | 29.8713
19587 | 2021-02-18 15:36 | 2.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.3958 | μmol/L | 37.8885 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.69 | 140063.9513 | 272555.0459 | 26.25 | 74 | #N/A | 142.5347
19597 | 2021-02-18 15:37 | 2.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.5163 | μmol/L | 37.8579 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.693 | 140103.3885 | 272559.8975 | 26.25 | 74 | #N/A
19607 | 2021-02-18 15:37 | 2.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 141.1204 | μmol/L | 37.9252 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.697 | 140138.0356 | 272557.1821 | 26.25 | 74 | #N/A
19617 | 2021-02-18 15:37 | 3.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.7546 | μmol/L | 37.9988 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.696 | 140153.4165 | 272538.3095 | 26.25 | 74 | #N/A
19627 | 2021-02-18 15:38 | 3.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.5533 | μmol/L | 38.0355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.697 | 140139.4299 | 272542.9701 | 26.25 | 74 | #N/A
19637 | 2021-02-18 15:38 | 3.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.6094 | μmol/L | 38.0294 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.695 | 140134.0611 | 272526.3476 | 26.25 | 74 | #N/A
19647 | 2021-02-18 15:38 | 4.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.55 | μmol/L | 38.06 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.687 | 140066.7272 | 272520.2376 | 26.25 | 74 | #N/A
19657 | 2021-02-18 15:39 | 4.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.289 | μmol/L | 38.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.68 | 140062.2366 | 272517.4565 | 26.25 | 74 | #N/A
19667 | 2021-02-18 15:39 | 4.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.2522 | μmol/L | 38.1274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.683 | 140089.9723 | 272513.8936 | 26.25 | 74 | #N/A
19677 | 2021-02-18 15:39 | 5.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 140.0649 | μmol/L | 38.152 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.688 | 140122.2137 | 272513.8078 | 26.25 | 74 | #N/A
19687 | 2021-02-18 15:40 | 5.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.7935 | μmol/L | 38.2071 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.687 | 140144.4313 | 272503.7438 | 26.25 | 74 | #N/A
19697 | 2021-02-18 15:40 | 5.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.6573 | μmol/L | 38.2194 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.693 | 140165.964 | 272501.3724 | 26.25 | 74 | #N/A
19707 | 2021-02-18 15:40 | 6.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.4031 | μmol/L | 38.2806 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.688 | 140148.3685 | 272491.0641 | 26.25 | 74 | #N/A
19717 | 2021-02-18 15:41 | 6.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.1028 | μmol/L | 38.3603 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.679 | 140091.5494 | 272501.3495 | 26.25 | 74 | #N/A
19727 | 2021-02-18 15:41 | 6.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 139.2947 | μmol/L | 38.3419 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.671 | 140049.65 | 272489.9544 | 26.25 | 74 | #N/A
19737 | 2021-02-18 15:41 | 7.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.8214 | μmol/L | 38.4338 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.671 | 140064.1831 | 272483.1267 | 26.25 | 74 | #N/A
19747 | 2021-02-18 15:42 | 7.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.4769 | μmol/L | 38.489 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.676 | 140077.6688 | 272465.4066 | 26.25 | 74 | #N/A
19757 | 2021-02-18 15:42 | 7.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.6245 | μmol/L | 38.4583 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.676 | 140113.1887 | 272475.8644 | 26.25 | 74 | #N/A
19767 | 2021-02-18 15:42 | 8.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.6559 | μmol/L | 38.5012 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.656 | 139949.062 | 272468.8488 | 26.25 | 74 | #N/A
19777 | 2021-02-18 15:43 | 8.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.7424 | μmol/L | 38.5503 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.628 | 139736.6859 | 272461.4218 | 26.25 | 74 | #N/A
19787 | 2021-02-18 15:43 | 8.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.4453 | μmol/L | 38.6054 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.629 | 139749.5778 | 272455.0925 | 26.25 | 74 | #N/A
19797 | 2021-02-18 15:43 | 9.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 138.3094 | μmol/L | 38.6177 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.635 | 139805.3713 | 272464.1504 | 26.25 | 74 | #N/A
19807 | 2021-02-18 15:44 | 9.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.8426 | μmol/L | 38.6851 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.644 | 139878.8321 | 272456.5211 | 26.25 | 74 | #N/A
19817 | 2021-02-18 15:44 | 9.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.7402 | μmol/L | 38.7096 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.642 | 139899.4995 | 272453.0867 | 26.25 | 74 | #N/A
19827 | 2021-02-18 15:44 | 10.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.6586 | μmol/L | 38.7157 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.647 | 139924.7588 | 272466.9311 | 26.25 | 74 | #N/A
19837 | 2021-02-18 15:45 | 10.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.3082 | μmol/L | 38.777 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.649 | 139950.8434 | 272459.9907 | 26.25 | 74 | #N/A
19847 | 2021-02-18 15:45 | 10.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 137.087 | μmol/L | 38.8199 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.649 | 139974.9233 | 272457.8581 | 26.25 | 74 | #N/A
19857 | 2021-02-18 15:45 | 11.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.917 | μmol/L | 38.8505 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.65 | 139977.3713 | 272445.2889 | 26.25 | 74 | #N/A
19867 | 2021-02-18 15:46 | 11.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.7667 | μmol/L | 38.8751 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.652 | 139986.3192 | 272449.5252 | 26.25 | 74 | #N/A
19877 | 2021-02-18 15:46 | 11.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.5975 | μmol/L | 38.9241 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.645 | 139946.1048 | 272440.467 | 26.25 | 74 | #N/A
19887 | 2021-02-18 15:46 | 12.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.4322 | μmol/L | 38.9793 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.635 | 139910.7945 | 272451.9421 | 26.25 | 74 | #N/A
19897 | 2021-02-18 15:47 | 12.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.3726 | μmol/L | 38.9793 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.64 | 139928.9812 | 272448.5399 | 26.25 | 74 | #N/A
19907 | 2021-02-18 15:47 | 12.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.2305 | μmol/L | 39.016 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.636 | 139931.1199 | 272442.1074 | 26.25 | 74 | #N/A
19917 | 2021-02-18 15:47 | 13.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 136.0566 | μmol/L | 39.0589 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.632 | 139914.0706 | 272432.9599 | 26.25 | 74 | #N/A
19927 | 2021-02-18 15:48 | 13.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.9022 | μmol/L | 39.0773 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.637 | 139948.2705 | 272442.7512 | 26.25 | 74 | #N/A
19937 | 2021-02-18 15:48 | 13.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.7837 | μmol/L | 39.1141 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.631 | 139937.7145 | 272444.6328 | 26.25 | 74 | #N/A
19947 | 2021-02-18 15:48 | 14.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.6135 | μmol/L | 39.1447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.632 | 139931.7694 | 272420.0006 | 26.25 | 74 | #N/A
19957 | 2021-02-18 15:49 | 14.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.384 | μmol/L | 39.1938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.63 | 139916.7082 | 272431.4272 | 26.25 | 74 | #N/A
19967 | 2021-02-18 15:49 | 14.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.3444 | μmol/L | 39.206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.628 | 139935.0375 | 272437.8415 | 26.25 | 74 | #N/A
19977 | 2021-02-18 15:49 | 15.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 135.2258 | μmol/L | 39.2244 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.63 | 139965.6728 | 272429.1836 | 26.25 | 74 | #N/A
19987 | 2021-02-18 15:50 | 15.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.9886 | μmol/L | 39.2612 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.634 | 139980 | 272429.4742 | 26.25 | 74 | #N/A
19997 | 2021-02-18 15:50 | 15.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.8937 | μmol/L | 39.2796 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.634 | 139986.6637 | 272422.3251 | 26.25 | 74 | #N/A
20007 | 2021-02-18 15:50 | 16.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.6406 | μmol/L | 39.3286 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.634 | 140008.4207 | 272418.3118 | 26.25 | 74 | #N/A
20017 | 2021-02-18 15:51 | 16.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.5221 | μmol/L | 39.347 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.636 | 140014.7363 | 272408.685 | 26.25 | 74 | #N/A
20027 | 2021-02-18 15:51 | 16.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.2583 | μmol/L | 39.3777 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.645 | 140051.2452 | 272401.799 | 26.25 | 74 | #N/A
20037 | 2021-02-18 15:51 | 17.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.4905 | μmol/L | 39.3531 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.636 | 140053.9893 | 272408.0536 | 26.25 | 74 | #N/A
20047 | 2021-02-18 15:52 | 17.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.317 | μmol/L | 39.3777 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.64 | 140057.1393 | 272402.2321 | 26.25 | 74 | #N/A
20057 | 2021-02-18 15:52 | 17.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.1976 | μmol/L | 39.4144 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.634 | 140037.1861 | 272398.7108 | 26.25 | 74 | #N/A
20067 | 2021-02-18 15:52 | 18.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.1894 | μmol/L | 39.4206 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.632 | 140014.8206 | 272392.8578 | 26.25 | 74 | #N/A
20077 | 2021-02-18 15:53 | 18.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.1766 | μmol/L | 39.4389 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.625 | 139989.4294 | 272402.376 | 26.25 | 74 | #N/A
20087 | 2021-02-18 15:53 | 18.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.9619 | μmol/L | 39.4941 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.619 | 139937.4243 | 272388.4023 | 26.25 | 74 | #N/A
20097 | 2021-02-18 15:53 | 19.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 134.0605 | μmol/L | 39.4819 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.616 | 139921.2591 | 272388.8265 | 26.25 | 74 | #N/A
20107 | 2021-02-18 15:54 | 19.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.9971 | μmol/L | 39.4941 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.616 | 139916.2926 | 272373.0784 | 26.25 | 74 | #N/A
20117 | 2021-02-18 15:54 | 19.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.6802 | μmol/L | 39.5554 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.616 | 139907.1481 | 272371.315 | 26.25 | 74 | #N/A
20127 | 2021-02-18 15:54 | 20.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.6636 | μmol/L | 39.5677 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.612 | 139896.6264 | 272377.8377 | 26.25 | 74 | #N/A
20137 | 2021-02-18 15:55 | 20.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.6134 | μmol/L | 39.5615 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.619 | 139942.0119 | 272368.2879 | 26.25 | 74 | #N/A
20147 | 2021-02-18 15:55 | 20.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.59 | μmol/L | 39.5615 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.621 | 139967.8137 | 272365.3121 | 26.25 | 74 | #N/A
20157 | 2021-02-18 15:55 | 21.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.2215 | μmol/L | 39.6351 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.62 | 139957.4529 | 272371.2703 | 26.25 | 74 | #N/A
20167 | 2021-02-18 15:56 | 21.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.5768 | μmol/L | 39.5799 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.614 | 139916.5497 | 272372.6976 | 26.25 | 74 | #N/A
20177 | 2021-02-18 15:56 | 21.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.168 | μmol/L | 39.6658 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.611 | 139909.0055 | 272356.7072 | 26.25 | 74 | #N/A
20187 | 2021-02-18 15:56 | 22.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.3181 | μmol/L | 39.6412 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.609 | 139876.8942 | 272366.3928 | 26.25 | 74 | #N/A
20197 | 2021-02-18 15:57 | 22.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.7843 | μmol/L | 39.7332 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.614 | 139909.9428 | 272353.0841 | 26.25 | 74 | #N/A
20207 | 2021-02-18 15:57 | 22.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.6829 | μmol/L | 39.7393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.62 | 139959.1795 | 272356.7595 | 26.25 | 74 | #N/A
20217 | 2021-02-18 15:57 | 23.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.7199 | μmol/L | 39.7209 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.625 | 139986.4413 | 272344.6031 | 26.25 | 74 | #N/A
20227 | 2021-02-18 15:58 | 23.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.6481 | μmol/L | 39.7393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.623 | 139975.8555 | 272344.6704 | 26.25 | 74 | #N/A
20237 | 2021-02-18 15:58 | 23.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.9396 | μmol/L | 39.6964 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.617 | 139951.6916 | 272337.5003 | 26.25 | 74 | #N/A
20247 | 2021-02-18 15:58 | 24.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.9597 | μmol/L | 39.6903 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.618 | 139938.1852 | 272340.6671 | 26.25 | 74 | #N/A
20257 | 2021-02-18 15:59 | 24.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.8097 | μmol/L | 39.7148 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.62 | 139935.504 | 272325.3955 | 26.25 | 74 | #N/A
20267 | 2021-02-18 15:59 | 24.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.5879 | μmol/L | 39.7577 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.62 | 139967.0291 | 272328.6639 | 26.25 | 74 | #N/A
20277 | 2021-02-18 15:59 | 25.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.4465 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.624 | 139984.9492 | 272330.505 | 26.25 | 74 | #N/A
20287 | 2021-02-18 16:00 | 25.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.4982 | μmol/L | 39.7638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.625 | 140013.1953 | 272346.4318 | 26.25 | 74 | #N/A
20297 | 2021-02-18 16:00 | 25.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.5785 | μmol/L | 39.7393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.629 | 140031.4542 | 272329.1926 | 26.25 | 74 | #N/A
20307 | 2021-02-18 16:00 | 26.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3106 | μmol/L | 39.7822 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.633 | 140074.476 | 272340.1493 | 26.25 | 74 | #N/A
20317 | 2021-02-18 16:01 | 26.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.2728 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.639 | 140094.6807 | 272328.8781 | 26.25 | 74 | #N/A
20327 | 2021-02-18 16:01 | 26.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3592 | μmol/L | 39.7638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.637 | 140084.177 | 272342.9702 | 26.25 | 74 | #N/A
20337 | 2021-02-18 16:01 | 27.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3739 | μmol/L | 39.77 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.633 | 140062.9932 | 272336.3228 | 26.25 | 74 | #N/A
20347 | 2021-02-18 16:02 | 27.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3886 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.629 | 140050.3073 | 272322.543 | 26.25 | 74 | #N/A
20357 | 2021-02-18 16:02 | 27.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3654 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.631 | 140066.4568 | 272324.6356 | 26.25 | 74 | #N/A
20367 | 2021-02-18 16:02 | 28.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.1196 | μmol/L | 39.819 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.634 | 140078.1186 | 272324.129 | 26.25 | 74 | #N/A
20377 | 2021-02-18 16:03 | 28.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.2412 | μmol/L | 39.7822 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.639 | 140107.5031 | 272320.3096 | 26.25 | 74 | #N/A
20387 | 2021-02-18 16:03 | 28.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.9449 | μmol/L | 39.8374 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.64 | 140104.8117 | 272311.7485 | 26.25 | 74 | #N/A
20397 | 2021-02-18 16:03 | 29.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3646 | μmol/L | 39.7516 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.642 | 140115.421 | 272314.6242 | 26.25 | 74 | #N/A
20407 | 2021-02-18 16:04 | 29.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.1834 | μmol/L | 39.7822 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.644 | 140128.472 | 272321.6209 | 26.25 | 74 | #N/A
20417 | 2021-02-18 16:04 | 29.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.0569 | μmol/L | 39.8068 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.644 | 140141.8456 | 272316.2232 | 26.25 | 74 | #N/A
20427 | 2021-02-18 16:04 | 30.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.1262 | μmol/L | 39.8068 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.638 | 140080.3917 | 272308.3525 | 26.25 | 74 | #N/A
20437 | 2021-02-18 16:05 | 30.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3307 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.634 | 140068.3165 | 272310.4221 | 26.25 | 74 | #N/A
20447 | 2021-02-18 16:05 | 30.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3415 | μmol/L | 39.7516 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.644 | 140123.6631 | 272310.9115 | 26.25 | 74 | #N/A
20457 | 2021-02-18 16:05 | 31.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.37 | μmol/L | 39.7393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.647 | 140148.1641 | 272306.0084 | 26.25 | 74 | #N/A
20467 | 2021-02-18 16:06 | 31.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.1742 | μmol/L | 39.7638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.653 | 140178.6086 | 272316.6684 | 26.25 | 74 | #N/A
20477 | 2021-02-18 16:06 | 31.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.2027 | μmol/L | 39.7516 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.656 | 140196.0628 | 272324.6114 | 26.25 | 74 | #N/A
20487 | 2021-02-18 16:06 | 32.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.7259 | μmol/L | 39.8374 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.659 | 140232.5327 | 272322.9165 | 26.25 | 74 | #N/A
20497 | 2021-02-18 16:07 | 32.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.1711 | μmol/L | 39.7577 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.656 | 140233.81 | 272317.9228 | 26.25 | 74 | #N/A
20507 | 2021-02-18 16:07 | 32.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.987 | μmol/L | 39.7822 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.661 | 140241.6783 | 272330.9448 | 26.25 | 74 | #N/A
20517 | 2021-02-18 16:07 | 33.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.7976 | μmol/L | 39.819 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.661 | 140254.5185 | 272318.0975 | 26.25 | 74 | #N/A
20527 | 2021-02-18 16:08 | 33.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.024 | μmol/L | 39.7638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.666 | 140292.2245 | 272325.6739 | 26.25 | 74 | #N/A
20537 | 2021-02-18 16:08 | 33.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3028 | μmol/L | 39.7209 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.661 | 140243.8221 | 272335.5763 | 26.25 | 74 | #N/A
20547 | 2021-02-18 16:08 | 34.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.0447 | μmol/L | 39.7822 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.656 | 140235.395 | 272321.8358 | 26.25 | 74 | #N/A
20557 | 2021-02-18 16:09 | 34.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.0648 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.657 | 140229.0309 | 272334.7458 | 26.25 | 74 | #N/A
20567 | 2021-02-18 16:09 | 34.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.1996 | μmol/L | 39.7454 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.659 | 140232.9239 | 272331.0645 | 26.25 | 74 | #N/A
20577 | 2021-02-18 16:09 | 35.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.0733 | μmol/L | 39.77 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.659 | 140246.932 | 272328.5146 | 26.25 | 74 | #N/A
20587 | 2021-02-18 16:10 | 35.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.8778 | μmol/L | 39.7945 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.665 | 140266.8759 | 272319.836 | 26.25 | 74 | #N/A
20597 | 2021-02-18 16:10 | 35.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.9725 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.665 | 140252.4024 | 272336.0772 | 26.25 | 74 | #N/A
20607 | 2021-02-18 16:10 | 36.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.8953 | μmol/L | 39.8068 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.658 | 140219.064 | 272334.8209 | 26.25 | 74 | #N/A
20617 | 2021-02-18 16:11 | 36.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.5217 | μmol/L | 39.6964 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.653 | 140168.2747 | 272342.5067 | 26.25 | 74 | #N/A
20627 | 2021-02-18 16:11 | 36.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.2088 | μmol/L | 39.7638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.65 | 140158.289 | 272340.4883 | 26.25 | 74 | #N/A
20637 | 2021-02-18 16:11 | 37.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.2827 | μmol/L | 39.7271 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.66 | 140232.4322 | 272340.2526 | 26.25 | 74 | #N/A
20647 | 2021-02-18 16:12 | 37.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.9773 | μmol/L | 39.5922 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.66 | 140196.3011 | 272337.8321 | 26.25 | 74 | #N/A
20657 | 2021-02-18 16:12 | 37.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.5628 | μmol/L | 39.7087 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.644 | 140114.7891 | 272336.1357 | 26.25 | 74 | #N/A
20667 | 2021-02-18 16:12 | 38.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.8292 | μmol/L | 39.6412 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.651 | 140177.0217 | 272341.1926 | 26.25 | 74 | #N/A
20677 | 2021-02-18 16:13 | 38.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3637 | μmol/L | 39.7271 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.653 | 140170.3287 | 272352.2594 | 26.25 | 74 | #N/A
20687 | 2021-02-18 16:13 | 38.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3953 | μmol/L | 39.7209 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.653 | 140161.708 | 272366.867 | 26.25 | 74 | #N/A
20697 | 2021-02-18 16:13 | 39.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.2712 | μmol/L | 39.7271 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.661 | 140231.781 | 272351.2461 | 26.25 | 74 | #N/A
20707 | 2021-02-18 16:14 | 39.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.1849 | μmol/L | 39.7393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.663 | 140228.385 | 272351.3131 | 26.25 | 74 | #N/A
20717 | 2021-02-18 16:14 | 39.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.4774 | μmol/L | 39.678 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.665 | 140240.5057 | 272358.4455 | 26.25 | 74 | #N/A
20727 | 2021-02-18 16:14 | 40.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.4375 | μmol/L | 39.6903 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.663 | 140221.618 | 272351.8795 | 26.25 | 74 | #N/A
20737 | 2021-02-18 16:15 | 40.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.7963 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.662 | 140199.2062 | 272363.3255 | 26.25 | 74 | #N/A
20747 | 2021-02-18 16:15 | 40.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.0255 | μmol/L | 39.5738 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.664 | 140230.8452 | 272355.9855 | 26.25 | 74 | #N/A
20757 | 2021-02-18 16:15 | 41.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.6816 | μmol/L | 39.6474 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.661 | 140206.7181 | 272354.0377 | 26.25 | 74 | #N/A
20767 | 2021-02-18 16:16 | 41.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.1916 | μmol/L | 39.537 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.666 | 140261.8876 | 272368.3256 | 26.25 | 74 | #N/A
20777 | 2021-02-18 16:16 | 41.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.5657 | μmol/L | 39.6474 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.671 | 140249.2544 | 272372.6056 | 26.25 | 74 | #N/A
20787 | 2021-02-18 16:16 | 42.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.7016 | μmol/L | 39.6412 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.662 | 140214.0288 | 272365.7077 | 26.25 | 74 | #N/A
20797 | 2021-02-18 16:17 | 42.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.7963 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.662 | 140192.7795 | 272381.8669 | 26.25 | 74 | #N/A
20807 | 2021-02-18 16:17 | 42.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.5805 | μmol/L | 39.6535 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.667 | 140244.7324 | 272371.9113 | 26.25 | 74 | #N/A
20817 | 2021-02-18 16:17 | 43.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.9259 | μmol/L | 39.5615 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.678 | 140330.8232 | 272376.4232 | 26.25 | 74 | #N/A
20827 | 2021-02-18 16:18 | 43.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.4666 | μmol/L | 39.6351 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.685 | 140383.5479 | 272399.7178 | 26.25 | 74 | #N/A
20837 | 2021-02-18 16:18 | 43.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 133.1994 | μmol/L | 39.488 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.687 | 140406.6985 | 272397.3937 | 26.25 | 74 | #N/A
20847 | 2021-02-18 16:18 | 44.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.6491 | μmol/L | 39.5861 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.691 | 140433.9896 | 272398.3677 | 26.25 | 74 | #N/A
20857 | 2021-02-18 16:19 | 44.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.6757 | μmol/L | 39.5493 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.705 | 140516.2888 | 272402.3099 | 26.25 | 74 | #N/A
20867 | 2021-02-18 16:19 | 44.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.6608 | μmol/L | 39.5432 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.709 | 140572.6514 | 272411.4702 | 26.25 | 74 | #N/A
20877 | 2021-02-18 16:19 | 45.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3252 | μmol/L | 39.5861 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.719 | 140645.4963 | 272416.9796 | 26.25 | 74 | #N/A
20887 | 2021-02-18 16:20 | 45.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.436 | μmol/L | 39.5554 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.723 | 140687.3118 | 272415.5733 | 26.25 | 74 | #N/A
20897 | 2021-02-18 16:20 | 45.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.6921 | μmol/L | 39.4941 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.728 | 140755.8665 | 272425.2734 | 26.25 | 74 | #N/A
20907 | 2021-02-18 16:20 | 46.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3338 | μmol/L | 39.537 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.74 | 140843.7881 | 272422.8358 | 26.25 | 74 | #N/A
20917 | 2021-02-18 16:21 | 46.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 132.3601 | μmol/L | 39.5002 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.754 | 140913.0733 | 272415.3495 | 26.25 | 74 | #N/A
20927 | 2021-02-18 16:21 | 46.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.983 | μmol/L | 39.5493 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.765 | 140998.3134 | 272435.2279 | 26.25 | 74 | #N/A
20937 | 2021-02-18 16:21 | 47.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.644 | μmol/L | 39.6045 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.77 | 141056.449 | 272432.6535 | 26.25 | 74 | #N/A
20947 | 2021-02-18 16:22 | 47.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.447 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.779 | 141134.4928 | 272428.9582 | 26.25 | 74 | #N/A
20957 | 2021-02-18 16:22 | 47.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.4949 | μmol/L | 39.6045 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.783 | 141166.9404 | 272446.8193 | 26.25 | 74 | #N/A
20967 | 2021-02-18 16:22 | 48.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.4688 | μmol/L | 39.5983 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.788 | 141200.4366 | 272451.8649 | 26.25 | 74 | #N/A
20977 | 2021-02-18 16:23 | 48.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.3231 | μmol/L | 39.6045 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.798 | 141283.555 | 272434.9597 | 26.25 | 74 | #N/A
20987 | 2021-02-18 16:23 | 48.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.2691 | μmol/L | 39.6106 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.8 | 141304.5031 | 272442.5369 | 26.25 | 74 | #N/A
20997 | 2021-02-18 16:23 | 49.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.1579 | μmol/L | 39.6167 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.807 | 141339.9823 | 272438.3462 | 26.25 | 74 | #N/A
21007 | 2021-02-18 16:24 | 49.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.0468 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.814 | 141377.1994 | 272449.424 | 26.25 | 74 | #N/A
21017 | 2021-02-18 16:24 | 49.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.002 | μmol/L | 39.6474 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.807 | 141356.3945 | 272436.9185 | 26.25 | 74 | #N/A
21027 | 2021-02-18 16:24 | 50.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.0986 | μmol/L | 39.6351 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.804 | 141355.8174 | 272446.4797 | 26.25 | 74 | #N/A
21037 | 2021-02-18 16:25 | 50.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.9906 | μmol/L | 39.6474 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.808 | 141374.1043 | 272436.6229 | 26.25 | 74 | #N/A
21047 | 2021-02-18 16:25 | 50.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.9761 | μmol/L | 39.6412 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.812 | 141421.2436 | 272465.5282 | 26.25 | 74 | #N/A
21057 | 2021-02-18 16:25 | 51.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.1631 | μmol/L | 39.6045 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.812 | 141447.8064 | 272454.0117 | 26.25 | 74 | #N/A
21067 | 2021-02-18 16:26 | 51.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 131.0209 | μmol/L | 39.6167 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.819 | 141486.2937 | 272451.075 | 26.25 | 74 | #N/A
21077 | 2021-02-18 16:26 | 51.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.6298 | μmol/L | 39.678 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.826 | 141514.501 | 272449.7921 | 26.25 | 74 | #N/A
21087 | 2021-02-18 16:26 | 52.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.2819 | μmol/L | 39.7577 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.821 | 141524.6286 | 272460.4585 | 26.25 | 74 | #N/A
21097 | 2021-02-18 16:27 | 52.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.412 | μmol/L | 39.7209 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.826 | 141537.9361 | 272450.7814 | 26.25 | 74 | #N/A
21107 | 2021-02-18 16:27 | 52.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.2083 | μmol/L | 39.77 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.822 | 141551.2033 | 272454.7133 | 26.25 | 74 | #N/A
21117 | 2021-02-18 16:27 | 53.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 130.1374 | μmol/L | 39.7638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.831 | 141588.6426 | 272454.632 | 26.25 | 74 | #N/A
21127 | 2021-02-18 16:28 | 53.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.9988 | μmol/L | 39.7822 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.835 | 141628.591 | 272463.6302 | 26.25 | 74 | #N/A
21137 | 2021-02-18 16:28 | 53.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.962 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.841 | 141672.679 | 272477.2968 | 26.25 | 74 | #N/A
21147 | 2021-02-18 16:28 | 54.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.9196 | μmol/L | 39.7822 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.842 | 141704.5282 | 272477.8561 | 26.25 | 74 | #N/A
21157 | 2021-02-18 16:29 | 54.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.8038 | μmol/L | 39.8006 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.844 | 141749.4109 | 272495.0946 | 26.25 | 74 | #N/A
21167 | 2021-02-18 16:29 | 54.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.654 | μmol/L | 39.8435 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.838 | 141718.8407 | 272481.4225 | 26.25 | 74 | #N/A
21177 | 2021-02-18 16:29 | 55.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.7049 | μmol/L | 39.8313 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.839 | 141684.8771 | 272484.5157 | 26.25 | 74 | #N/A
21187 | 2021-02-18 16:30 | 55.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.5918 | μmol/L | 39.8558 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.838 | 141695.3237 | 272472.9406 | 26.25 | 74 | #N/A
21197 | 2021-02-18 16:30 | 55.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.2921 | μmol/L | 39.9171 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.837 | 141716.5858 | 272481.1635 | 26.25 | 74 | #N/A
21207 | 2021-02-18 16:30 | 56.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.2359 | μmol/L | 39.9171 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.842 | 141749.8199 | 272481.5577 | 26.25 | 74 | #N/A
21217 | 2021-02-18 16:31 | 56.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.3516 | μmol/L | 39.8987 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.84 | 141750.6776 | 272486.7427 | 26.25 | 74 | #N/A
21227 | 2021-02-18 16:31 | 56.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.3291 | μmol/L | 39.8987 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.842 | 141768.8639 | 272479.7856 | 26.25 | 74 | #N/A
21237 | 2021-02-18 16:31 | 57.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.0778 | μmol/L | 39.9416 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.845 | 141767.962 | 272478.6238 | 26.25 | 74 | #N/A
21247 | 2021-02-18 16:32 | 57.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.0976 | μmol/L | 39.9355 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.846 | 141803.3218 | 272475.3195 | 26.25 | 74 | #N/A
21257 | 2021-02-18 16:32 | 57.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.8439 | μmol/L | 39.9723 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.852 | 141855.9166 | 272480.2961 | 26.25 | 74 | #N/A
21267 | 2021-02-18 16:32 | 58.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 129.0052 | μmol/L | 39.9294 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.857 | 141901.0587 | 272489.278 | 26.25 | 74 | #N/A
21277 | 2021-02-18 16:33 | 58.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.8215 | μmol/L | 39.9723 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.854 | 141894.059 | 272491.2628 | 26.25 | 74 | #N/A
21287 | 2021-02-18 16:33 | 58.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.7991 | μmol/L | 39.9723 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.856 | 141909.2634 | 272477.2363 | 26.25 | 74 | #N/A
21297 | 2021-02-18 16:33 | 59.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.7706 | μmol/L | 39.9845 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.853 | 141914.8496 | 272485.6649 | 26.25 | 74 | #N/A
21307 | 2021-02-18 16:34 | 59.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.4352 | μmol/L | 40.0397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.858 | 141933.3462 | 272491.6366 | 26.25 | 74 | #N/A
21317 | 2021-02-18 16:34 | 59.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.3458 | μmol/L | 40.0397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.866 | 141980.1962 | 272489.318 | 26.25 | 74 | #N/A
21327 | 2021-02-18 16:34 | 60.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.4079 | μmol/L | 40.0275 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.866 | 142006.8327 | 272489.1941 | 26.25 | 74 | #N/A
21337 | 2021-02-18 16:35 | 60.3397 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.0531 | μmol/L | 40.0888 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.87 | 142022.2275 | 272499.6467 | 26.25 | 74 | #N/A
21347 | 2021-02-18 16:35 | 60.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.2367 | μmol/L | 40.0458 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.873 | 142068.2206 | 272500.0308 | 26.25 | 74 | #N/A
21357 | 2021-02-18 16:35 | 61.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.995 | μmol/L | 40.0826 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.878 | 142097.5895 | 272501.3673 | 26.25 | 74 | #N/A
21367 | 2021-02-18 16:36 | 61.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.0037 | μmol/L | 40.0765 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.88 | 142123.6731 | 272497.5451 | 26.25 | 74 | #N/A
21377 | 2021-02-18 16:36 | 61.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8861 | μmol/L | 40.0888 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.885 | 142167.8681 | 272507.4061 | 26.25 | 74 | #N/A
21387 | 2021-02-18 16:36 | 62.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7845 | μmol/L | 40.1133 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.883 | 142166.9643 | 272509.4151 | 26.25 | 74 | #N/A
21397 | 2021-02-18 16:37 | 62.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7575 | μmol/L | 40.101 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.891 | 142204.5925 | 272502.8958 | 26.25 | 74 | #N/A
21407 | 2021-02-18 16:37 | 62.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6535 | μmol/L | 40.1194 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.892 | 142216.8832 | 272502.331 | 26.25 | 74 | #N/A
21417 | 2021-02-18 16:37 | 63.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6401 | μmol/L | 40.1133 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.896 | 142240.5095 | 272519.5712 | 26.25 | 74 | #N/A
21427 | 2021-02-18 16:38 | 63.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7155 | μmol/L | 40.1072 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.892 | 142243.1527 | 272508.2366 | 26.25 | 74 | #N/A
21437 | 2021-02-18 16:38 | 63.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6798 | μmol/L | 40.101 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.898 | 142287.0493 | 272503.7148 | 26.25 | 74 | #N/A
21447 | 2021-02-18 16:38 | 64.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.5578 | μmol/L | 40.101 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.909 | 142335.8581 | 272514.2552 | 26.25 | 74 | #N/A
21457 | 2021-02-18 16:39 | 64.3396 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7726 | μmol/L | 40.0826 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.898 | 142287.2252 | 272513.3713 | 26.25 | 74 | #N/A
21467 | 2021-02-18 16:39 | 64.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8543 | μmol/L | 40.0642 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.899 | 142291.3801 | 272505.0455 | 26.25 | 74 | #N/A
21477 | 2021-02-18 16:39 | 65.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7084 | μmol/L | 40.0888 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.901 | 142297.0052 | 272509.7058 | 26.25 | 74 | #N/A
21487 | 2021-02-18 16:40 | 65.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8321 | μmol/L | 40.0642 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.901 | 142320.8662 | 272507.5246 | 26.25 | 74 | #N/A
21497 | 2021-02-18 16:40 | 65.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.5799 | μmol/L | 40.101 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.907 | 142348.2478 | 272508.4314 | 26.25 | 74 | #N/A
21507 | 2021-02-18 16:40 | 66.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8977 | μmol/L | 40.0336 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.909 | 142377.9893 | 272515.7581 | 26.25 | 74 | #N/A
21517 | 2021-02-18 16:41 | 66.3399 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4073 | μmol/L | 40.1133 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.917 | 142417.2976 | 272510.2432 | 26.25 | 74 | #N/A
21527 | 2021-02-18 16:41 | 66.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.447 | μmol/L | 40.101 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.919 | 142450.2592 | 272531.1894 | 26.25 | 74 | #N/A
21537 | 2021-02-18 16:41 | 67.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4382 | μmol/L | 40.1072 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.917 | 142455.3469 | 272519.7219 | 26.25 | 74 | #N/A
21547 | 2021-02-18 16:42 | 67.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.5507 | μmol/L | 40.0826 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.918 | 142440.4652 | 272513.5412 | 26.25 | 74 | #N/A
21557 | 2021-02-18 16:42 | 67.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.9645 | μmol/L | 39.9784 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.928 | 142495.1069 | 272514.1206 | 26.25 | 74 | #N/A
21567 | 2021-02-18 16:42 | 68.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6188 | μmol/L | 40.0581 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.923 | 142506.3286 | 272531.0534 | 26.25 | 74 | #N/A
21577 | 2021-02-18 16:43 | 68.3394 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.3805 | μmol/L | 40.101 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.925 | 142519.2298 | 272512.4318 | 26.25 | 74 | #N/A
21587 | 2021-02-18 16:43 | 68.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.1027 | μmol/L | 40.1562 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.925 | 142520.6708 | 272520.0764 | 26.25 | 74 | #N/A
21597 | 2021-02-18 16:43 | 69.006 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6916 | μmol/L | 40.0458 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.922 | 142489.4935 | 272519.0374 | 26.25 | 74 | #N/A
21607 | 2021-02-18 16:44 | 69.339 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6916 | μmol/L | 40.0458 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.922 | 142502.1052 | 272521.7954 | 26.25 | 74 | #N/A
21617 | 2021-02-18 16:44 | 69.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6251 | μmol/L | 40.0458 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.928 | 142518.1845 | 272532.3497 | 26.25 | 74 | #N/A
21627 | 2021-02-18 16:44 | 70.0057 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4976 | μmol/L | 40.0888 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.92 | 142468.2704 | 272525.9228 | 26.25 | 74 | #N/A
21637 | 2021-02-18 16:45 | 70.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4201 | μmol/L | 40.0888 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.927 | 142485.8521 | 272522.181 | 26.25 | 74 | #N/A
21647 | 2021-02-18 16:45 | 70.6724 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4067 | μmol/L | 40.0826 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.931 | 142529.6147 | 272534.3138 | 26.25 | 74 | #N/A
21657 | 2021-02-18 16:45 | 71.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4597 | μmol/L | 40.0765 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.929 | 142513.7836 | 272532.3367 | 26.25 | 74 | #N/A
21667 | 2021-02-18 16:46 | 71.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7436 | μmol/L | 40.0091 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.934 | 142545.8679 | 272549.3635 | 26.25 | 74 | #N/A
21677 | 2021-02-18 16:46 | 71.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.5562 | μmol/L | 40.0397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.937 | 142574.4969 | 272538.3834 | 26.25 | 74 | #N/A
21687 | 2021-02-18 16:46 | 72.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4241 | μmol/L | 40.0704 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.935 | 142556.0695 | 272538.6407 | 26.25 | 74 | #N/A
21697 | 2021-02-18 16:47 | 72.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4723 | μmol/L | 40.052 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.939 | 142552.8445 | 272547.051 | 26.25 | 74 | #N/A
21707 | 2021-02-18 16:47 | 72.6727 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6496 | μmol/L | 40.052 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.923 | 142481.6892 | 272540.041 | 26.25 | 74 | #N/A
21717 | 2021-02-18 16:47 | 73.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6472 | μmol/L | 40.0458 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.926 | 142491.1247 | 272530.018 | 26.25 | 74 | #N/A
21727 | 2021-02-18 16:48 | 73.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6337 | μmol/L | 40.0397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.93 | 142545.0746 | 272547.9335 | 26.25 | 74 | #N/A
21737 | 2021-02-18 16:48 | 73.6726 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.3356 | μmol/L | 40.0704 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.943 | 142588.1228 | 272553.1199 | 26.25 | 74 | #N/A
21747 | 2021-02-18 16:48 | 74.0062 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6178 | μmol/L | 40.0275 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.937 | 142578.4229 | 272558.1836 | 26.25 | 74 | #N/A
21757 | 2021-02-18 16:49 | 74.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.5301 | μmol/L | 40.0581 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.931 | 142541.4821 | 272556.3761 | 26.25 | 74 | #N/A
21767 | 2021-02-18 16:49 | 74.6731 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.6092 | μmol/L | 40.0336 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.935 | 142557.6071 | 272552.164 | 26.25 | 74 | #N/A
21777 | 2021-02-18 16:49 | 75.0061 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.4762 | μmol/L | 40.0336 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.947 | 142641.0874 | 272540.2163 | 26.25 | 74 | #N/A
21787 | 2021-02-18 16:50 | 75.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7818 | μmol/L | 39.9661 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.95 | 142671.0694 | 272547.4875 | 26.25 | 74 | #N/A
21797 | 2021-02-18 16:50 | 75.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.634 | μmol/L | 39.9845 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.955 | 142693.3763 | 272535.2611 | 26.25 | 74 | #N/A
21807 | 2021-02-18 16:50 | 76.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7843 | μmol/L | 39.9723 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.947 | 142632.0116 | 272539.0205 | 26.25 | 74 | #N/A
21817 | 2021-02-18 16:51 | 76.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.011 | μmol/L | 39.9294 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.946 | 142630.7486 | 272537.5037 | 26.25 | 74 | #N/A
21827 | 2021-02-18 16:51 | 76.673 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.7005 | μmol/L | 39.9845 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.949 | 142661.3658 | 272550.9777 | 26.25 | 74 | #N/A
21837 | 2021-02-18 16:51 | 77.0059 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8999 | μmol/L | 39.9294 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.956 | 142708.8904 | 272530.5249 | 26.25 | 74 | #N/A
21847 | 2021-02-18 16:52 | 77.3395 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8555 | μmol/L | 39.9294 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.96 | 142704.09 | 272522.7473 | 26.25 | 74 | #N/A
21857 | 2021-02-18 16:52 | 77.6732 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8802 | μmol/L | 39.9355 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.955 | 142689.2548 | 272528.111 | 26.25 | 74 | #N/A
21867 | 2021-02-18 16:52 | 78.0063 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.1128 | μmol/L | 39.8803 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.959 | 142717.0177 | 272532.1497 | 26.25 | 74 | #N/A
21877 | 2021-02-18 16:53 | 78.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.9675 | μmol/L | 39.9048 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.961 | 142714.982 | 272544.5395 | 26.25 | 74 | #N/A
21887 | 2021-02-18 16:53 | 78.6728 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.9307 | μmol/L | 39.9232 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.956 | 142684.8155 | 272531.6314 | 26.25 | 74 | #N/A
21897 | 2021-02-18 16:53 | 79.0065 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.9564 | μmol/L | 39.9048 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.962 | 142722.1681 | 272539.8776 | 26.25 | 74 | #N/A
21907 | 2021-02-18 16:54 | 79.3392 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8872 | μmol/L | 39.8987 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.971 | 142799.7002 | 272541.2618 | 26.25 | 74 | #N/A
21917 | 2021-02-18 16:54 | 79.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.1167 | μmol/L | 39.8374 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.978 | 142847.179 | 272535.8714 | 26.25 | 74 | #N/A
21927 | 2021-02-18 16:54 | 80.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.005 | μmol/L | 39.8619 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.977 | 142838.2825 | 272535.669 | 26.25 | 74 | #N/A
21937 | 2021-02-18 16:55 | 80.3393 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.0278 | μmol/L | 39.8374 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.986 | 142885.3961 | 272531.4834 | 26.25 | 74 | #N/A
21947 | 2021-02-18 16:55 | 80.6729 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.9468 | μmol/L | 39.8558 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.985 | 142898.4368 | 272528.8282 | 26.25 | 74 | #N/A
21957 | 2021-02-18 16:55 | 81.0058 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.0474 | μmol/L | 39.8313 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.987 | 142885.0592 | 272530.7148 | 26.25 | 74 | #N/A
21967 | 2021-02-18 16:56 | 81.3398 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 127.8829 | μmol/L | 39.8619 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.988 | 142885.6356 | 272527.8043 | 26.25 | 74 | #N/A
21977 | 2021-02-18 16:56 | 81.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.1146 | μmol/L | 39.8068 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.992 | 142931.5561 | 272515.4737 | 26.25 | 74 | #N/A
21987 | 2021-02-18 16:56 | 82.0064 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.5023 | μmol/L | 39.7271 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.993 | 142929.2053 | 272525.2954 | 26.25 | 74 | #N/A
21997 | 2021-02-18 16:57 | 82.3391 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.1453 | μmol/L | 39.8006 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.992 | 142713.2754 | 272521.6425 | 26.25 | 74 | #N/A
22004 | 2021-02-18 16:57 | 82.6725 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 128.2458 | μmol/L | 39.7761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.994 | 142622.0507 | 272556.6357 | 26.25 | 74 | #N/A