## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19515 | 2021-02-18 15:34 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.7176 | μmol/L | 37.3394 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.044 | 156605.2223 | 273567.859 | 32.55 | 27.7
19523 | 2021-02-18 15:34 | 0.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.4576 | μmol/L | 37.3701 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.053 | 156688.0405 | 273545.717 | 32.55 | 27.7
19533 | 2021-02-18 15:35 | 0.67645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.3857 | μmol/L | 37.3701 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.059 | 156728.8425 | 273520.1974 | 32.55 | 27.7
19543 | 2021-02-18 15:35 | 1.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.2807 | μmol/L | 37.4131 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.05 | 156695.998 | 273506.1839 | 32.55 | 27.7
19553 | 2021-02-18 15:35 | 1.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.0613 | μmol/L | 37.4623 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.048 | 156681.8905 | 273504.3175 | 32.55 | 27.7
19563 | 2021-02-18 15:36 | 1.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.7465 | μmol/L | 37.5115 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.054 | 156718.9393 | 273478.8999 | 32.55 | 27.7
19573 | 2021-02-18 15:36 | 2.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.7191 | μmol/L | 37.5484 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.041 | 156646.9758 | 273456.3789 | 32.55 | 27.7
19583 | 2021-02-18 15:36 | 2.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.8067 | μmol/L | 37.5669 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.026 | 156546.7002 | 273444.874 | 32.55 | 27.7
19593 | 2021-02-18 15:37 | 2.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.8108 | μmol/L | 37.5853 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.018 | 156517.9031 | 273438.9174 | 32.55 | 27.7
19603 | 2021-02-18 15:37 | 3.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.5313 | μmol/L | 37.6345 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.021 | 156525.4681 | 273418.6861 | 32.55 | 27.7
19613 | 2021-02-18 15:37 | 3.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.2585 | μmol/L | 37.6776 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.026 | 156609.5916 | 273435.4562 | 32.55 | 27.7
19623 | 2021-02-18 15:38 | 3.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.1115 | μmol/L | 37.7145 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.023 | 156627.3812 | 273406.9077 | 32.55 | 27.7
19633 | 2021-02-18 15:38 | 4.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.1285 | μmol/L | 37.7206 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.019 | 156625.7293 | 273400.5672 | 32.55 | 27.7
19643 | 2021-02-18 15:38 | 4.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.3865 | μmol/L | 37.7022 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.005 | 156578.767 | 273397.8944 | 32.55 | 27.7
19653 | 2021-02-18 15:39 | 4.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.1698 | μmol/L | 37.7698 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.995 | 156460.4837 | 273387.4874 | 32.55 | 27.7
19663 | 2021-02-18 15:39 | 5.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.0002 | μmol/L | 37.7944 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.999 | 156548.3564 | 273376.0477 | 32.55 | 27.7
19673 | 2021-02-18 15:39 | 5.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.6372 | μmol/L | 37.8867 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.991 | 156472.1504 | 273377.008 | 32.55 | 27.7
19683 | 2021-02-18 15:40 | 5.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.7794 | μmol/L | 37.8867 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.979 | 156415.8146 | 273379.3981 | 32.55 | 27.7
19693 | 2021-02-18 15:40 | 6.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.4176 | μmol/L | 37.9666 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.976 | 156401.3424 | 273357.7625 | 32.55 | 27.7
19703 | 2021-02-18 15:40 | 6.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.3634 | μmol/L | 37.9728 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.978 | 156426.9782 | 273361.2095 | 32.55 | 27.7
19713 | 2021-02-18 15:41 | 6.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.2134 | μmol/L | 38.022 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.97 | 156378.9318 | 273357.9038 | 32.55 | 27.7
19723 | 2021-02-18 15:41 | 7.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.0723 | μmol/L | 38.0528 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.969 | 156414.1184 | 273336.0162 | 32.55 | 27.7
19733 | 2021-02-18 15:41 | 7.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.0583 | μmol/L | 38.0651 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.965 | 156391.8927 | 273339.6275 | 32.55 | 27.7
19743 | 2021-02-18 15:42 | 7.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.8913 | μmol/L | 38.1081 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.961 | 156366.7616 | 273322.0638 | 32.55 | 27.7
19753 | 2021-02-18 15:42 | 8.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.7219 | μmol/L | 38.1635 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.952 | 156296.2952 | 273326.7092 | 32.55 | 27.7
19763 | 2021-02-18 15:42 | 8.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.5994 | μmol/L | 38.1881 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.952 | 156343.1458 | 273333.9272 | 32.55 | 27.7
19773 | 2021-02-18 15:43 | 8.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.359 | μmol/L | 38.2434 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.949 | 156369.8656 | 273331.9614 | 32.55 | 27.7
19783 | 2021-02-18 15:43 | 9.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.9591 | μmol/L | 38.3049 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.957 | 156467.7583 | 273319.9002 | 32.55 | 27.7
19793 | 2021-02-18 15:43 | 9.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.9734 | μmol/L | 38.2926 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.961 | 156506.184 | 273313.5643 | 32.55 | 27.7
19803 | 2021-02-18 15:44 | 9.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.0411 | μmol/L | 38.3049 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.95 | 156450.7502 | 273311.2156 | 32.55 | 27.7
19813 | 2021-02-18 15:44 | 10.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.9131 | μmol/L | 38.3541 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.94 | 156386.2079 | 273312.6752 | 32.55 | 27.7
19823 | 2021-02-18 15:44 | 10.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8797 | μmol/L | 38.3726 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.935 | 156378.6827 | 273307.3744 | 32.55 | 27.7
19833 | 2021-02-18 15:45 | 10.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.5396 | μmol/L | 38.4526 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.93 | 156340.1367 | 273306.3009 | 32.55 | 27.7
19843 | 2021-02-18 15:45 | 11.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.2838 | μmol/L | 38.5202 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.923 | 156298.4815 | 273308.661 | 32.55 | 27.7
19853 | 2021-02-18 15:45 | 11.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.9089 | μmol/L | 38.5817 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.928 | 156359.0561 | 273295.988 | 32.55 | 27.7
19863 | 2021-02-18 15:46 | 11.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.299 | μmol/L | 38.5756 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.898 | 156158.3877 | 273296.0527 | 32.55 | 27.7
19873 | 2021-02-18 15:46 | 12.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.212 | μmol/L | 38.6187 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.887 | 156068.1096 | 273299.9317 | 32.55 | 27.7
19883 | 2021-02-18 15:46 | 12.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.792 | μmol/L | 38.6863 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.894 | 156128.9915 | 273288.1118 | 32.55 | 27.7
19893 | 2021-02-18 15:47 | 12.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.5418 | μmol/L | 38.7294 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.897 | 156209.9511 | 273286.8951 | 32.55 | 27.7
19903 | 2021-02-18 15:47 | 13.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.315 | μmol/L | 38.7725 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.898 | 156216.2379 | 273279.9903 | 32.55 | 27.7
19913 | 2021-02-18 15:47 | 13.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.4657 | μmol/L | 38.7725 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.885 | 156111.7346 | 273279.2609 | 32.55 | 27.7
19923 | 2021-02-18 15:48 | 13.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.6259 | μmol/L | 38.7663 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.873 | 156038.8145 | 273276.9635 | 32.55 | 27.7
19933 | 2021-02-18 15:48 | 14.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.2697 | μmol/L | 38.8278 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.878 | 156093.6593 | 273280.6834 | 32.55 | 27.7
19943 | 2021-02-18 15:48 | 14.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.108 | μmol/L | 38.8647 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.876 | 156091.8631 | 273265.6867 | 32.55 | 27.7
19953 | 2021-02-18 15:49 | 14.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.7577 | μmol/L | 38.914 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.885 | 156184.1647 | 273271.408 | 32.55 | 27.7
19963 | 2021-02-18 15:49 | 15.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.7231 | μmol/L | 38.8955 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.896 | 156309.598 | 273272.5969 | 32.55 | 27.7
19973 | 2021-02-18 15:49 | 15.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.3158 | μmol/L | 38.9632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.902 | 156352.4981 | 273270.5491 | 32.55 | 27.7
19983 | 2021-02-18 15:50 | 15.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.6346 | μmol/L | 38.9386 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.885 | 156251.2757 | 273266.3415 | 32.55 | 27.7
19993 | 2021-02-18 15:50 | 16.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.5455 | μmol/L | 39.0001 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.866 | 156121.2099 | 273264.2471 | 32.55 | 27.7
20003 | 2021-02-18 15:50 | 16.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.6147 | μmol/L | 39.0001 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.86 | 156089.39 | 273257.2844 | 32.55 | 27.7
20013 | 2021-02-18 15:51 | 16.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.5378 | μmol/L | 39.0062 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.864 | 156092.2479 | 273248.2544 | 32.55 | 27.7
20023 | 2021-02-18 15:51 | 17.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.3141 | μmol/L | 39.0555 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.862 | 156095.6691 | 273255.4588 | 32.55 | 27.7
20033 | 2021-02-18 15:51 | 17.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.883 | μmol/L | 39.1231 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.87 | 156171.2473 | 273230.3815 | 32.55 | 27.7
20043 | 2021-02-18 15:52 | 17.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.3045 | μmol/L | 39.037 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.87 | 156214.5866 | 273237.3135 | 32.55 | 27.7
20053 | 2021-02-18 15:52 | 18.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.2529 | μmol/L | 39.0493 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.87 | 156244.1001 | 273243.1164 | 32.55 | 27.7
20063 | 2021-02-18 15:52 | 18.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.7605 | μmol/L | 39.1293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.878 | 156306.5618 | 273241.4003 | 32.55 | 27.7
20073 | 2021-02-18 15:53 | 18.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.9704 | μmol/L | 39.2646 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.887 | 156399.3952 | 273239.8749 | 32.55 | 27.7
20083 | 2021-02-18 15:53 | 19.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.2777 | μmol/L | 39.1847 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.896 | 156456.569 | 273227.8145 | 32.55 | 27.7
20093 | 2021-02-18 15:53 | 19.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.6187 | μmol/L | 39.2893 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.908 | 156559.3517 | 273220.4192 | 32.55 | 27.7
20103 | 2021-02-18 15:54 | 19.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.3729 | μmol/L | 39.3385 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.908 | 156583.8728 | 273214.6022 | 32.55 | 27.7
20113 | 2021-02-18 15:54 | 20.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.415 | μmol/L | 39.3323 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.907 | 156572.5766 | 273221.4734 | 32.55 | 27.7
20123 | 2021-02-18 15:54 | 20.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.3309 | μmol/L | 39.3446 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.909 | 156624.4742 | 273225.8984 | 32.55 | 27.7
20133 | 2021-02-18 15:55 | 20.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.1947 | μmol/L | 39.3631 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.912 | 156606.3302 | 273230.6368 | 32.55 | 27.7
20143 | 2021-02-18 15:55 | 21.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.381 | μmol/L | 39.3323 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.91 | 156596.1601 | 273229.3851 | 32.55 | 27.7
20153 | 2021-02-18 15:55 | 21.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.9559 | μmol/L | 39.4062 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.915 | 156645.3492 | 273213.2927 | 32.55 | 27.7
20163 | 2021-02-18 15:56 | 21.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.9942 | μmol/L | 39.4123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.908 | 156636.1582 | 273213.8202 | 32.55 | 27.7
20173 | 2021-02-18 15:56 | 22.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.8632 | μmol/L | 39.4431 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.906 | 156637.937 | 273217.9822 | 32.55 | 27.7
20183 | 2021-02-18 15:56 | 22.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7154 | μmol/L | 39.4431 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.92 | 156721.0518 | 273200.3951 | 32.55 | 27.7
20193 | 2021-02-18 15:57 | 22.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.731 | μmol/L | 39.4492 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.915 | 156741.3573 | 273213.3243 | 32.55 | 27.7
20203 | 2021-02-18 15:57 | 23.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7084 | μmol/L | 39.4492 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.917 | 156737.9027 | 273208.8257 | 32.55 | 27.7
20213 | 2021-02-18 15:57 | 23.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6696 | μmol/L | 39.4615 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.915 | 156700.9564 | 273203.8298 | 32.55 | 27.7
20223 | 2021-02-18 15:58 | 23.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.5936 | μmol/L | 39.4923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.909 | 156685.3556 | 273195.7117 | 32.55 | 27.7
20233 | 2021-02-18 15:58 | 24.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6727 | μmol/L | 39.4677 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.912 | 156690.7276 | 273197.8937 | 32.55 | 27.7
20243 | 2021-02-18 15:58 | 24.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.5772 | μmol/L | 39.5046 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.905 | 156622.792 | 273188.578 | 32.55 | 27.7
20253 | 2021-02-18 15:59 | 24.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4379 | μmol/L | 39.5415 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.901 | 156592.2302 | 273198.0168 | 32.55 | 27.7
20263 | 2021-02-18 15:59 | 25.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7834 | μmol/L | 39.4862 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.894 | 156558.0413 | 273195.4526 | 32.55 | 27.7
20273 | 2021-02-18 15:59 | 25.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6694 | μmol/L | 39.4862 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.905 | 156653.7503 | 273198.8725 | 32.55 | 27.7
20283 | 2021-02-18 16:00 | 25.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4708 | μmol/L | 39.5169 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.909 | 156694.5051 | 273197.9479 | 32.55 | 27.7
20293 | 2021-02-18 16:00 | 26.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4206 | μmol/L | 39.5292 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.908 | 156682.328 | 273188.6555 | 32.55 | 27.7
20303 | 2021-02-18 16:00 | 26.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6254 | μmol/L | 39.5108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.898 | 156625.6706 | 273191.0702 | 32.55 | 27.7
20313 | 2021-02-18 16:01 | 26.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4806 | μmol/L | 39.56 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.889 | 156515.3387 | 273184.7449 | 32.55 | 27.7
20323 | 2021-02-18 16:01 | 27.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7216 | μmol/L | 39.5231 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.884 | 156485.1526 | 273186.1241 | 32.55 | 27.7
20333 | 2021-02-18 16:01 | 27.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7607 | μmol/L | 39.5108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.886 | 156507.6023 | 273183.7633 | 32.55 | 27.7
20343 | 2021-02-18 16:02 | 27.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6631 | μmol/L | 39.5415 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.881 | 156481.6296 | 273185.232 | 32.55 | 27.7
20353 | 2021-02-18 16:02 | 28.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.657 | μmol/L | 39.5292 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.887 | 156543.3052 | 273177.1944 | 32.55 | 27.7
20363 | 2021-02-18 16:02 | 28.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.5833 | μmol/L | 39.5169 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.899 | 156609.8238 | 273165.2237 | 32.55 | 27.7
20373 | 2021-02-18 16:03 | 28.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7073 | μmol/L | 39.5169 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.888 | 156532.0547 | 273167.6735 | 32.55 | 27.7
20383 | 2021-02-18 16:03 | 29.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6991 | μmol/L | 39.5231 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.886 | 156549.4924 | 273174.5259 | 32.55 | 27.7
20393 | 2021-02-18 16:03 | 29.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7832 | μmol/L | 39.5108 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.884 | 156502.9434 | 273179.5069 | 32.55 | 27.7
20403 | 2021-02-18 16:04 | 29.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.775 | μmol/L | 39.5169 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.882 | 156484.7757 | 273172.2026 | 32.55 | 27.7
20413 | 2021-02-18 16:04 | 30.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6323 | μmol/L | 39.5477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.881 | 156468.1442 | 273161.3936 | 32.55 | 27.7
20423 | 2021-02-18 16:04 | 30.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6653 | μmol/L | 39.5231 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.889 | 156510.1175 | 273177.0032 | 32.55 | 27.7
20433 | 2021-02-18 16:05 | 30.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4953 | μmol/L | 39.5415 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.895 | 156576.4749 | 273161.0943 | 32.55 | 27.7
20443 | 2021-02-18 16:05 | 31.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.3232 | μmol/L | 39.56 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.903 | 156646.9277 | 273162.9892 | 32.55 | 27.7
20453 | 2021-02-18 16:05 | 31.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.3284 | μmol/L | 39.5477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.908 | 156681.1009 | 273169.3767 | 32.55 | 27.7
20463 | 2021-02-18 16:06 | 31.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.3183 | μmol/L | 39.5477 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.908 | 156688.9205 | 273165.758 | 32.55 | 27.7
20473 | 2021-02-18 16:06 | 32.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.3348 | μmol/L | 39.5354 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.912 | 156727.5898 | 273173.756 | 32.55 | 27.7
20483 | 2021-02-18 16:06 | 32.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2255 | μmol/L | 39.5415 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.919 | 156794.6437 | 273166.906 | 32.55 | 27.7
20493 | 2021-02-18 16:07 | 32.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2899 | μmol/L | 39.5354 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.916 | 156792.6437 | 273159.4292 | 32.55 | 27.7
20503 | 2021-02-18 16:07 | 33.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2674 | μmol/L | 39.5354 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.918 | 156774.2166 | 273152.328 | 32.55 | 27.7
20513 | 2021-02-18 16:07 | 33.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.1888 | μmol/L | 39.5354 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.925 | 156862.5004 | 273169.8883 | 32.55 | 27.7
20523 | 2021-02-18 16:08 | 33.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.1604 | μmol/L | 39.5231 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.933 | 156912.2445 | 273164.3477 | 32.55 | 27.7
20533 | 2021-02-18 16:08 | 34.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2299 | μmol/L | 39.5046 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.935 | 156938.3227 | 273157.12 | 32.55 | 27.7
20543 | 2021-02-18 16:08 | 34.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0819 | μmol/L | 39.5231 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.94 | 156975.9037 | 273173.7068 | 32.55 | 27.7
20553 | 2021-02-18 16:09 | 34.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.9781 | μmol/L | 39.5169 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.952 | 157050.0103 | 273173.1487 | 32.55 | 27.7
20563 | 2021-02-18 16:09 | 35.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0199 | μmol/L | 39.5108 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.951 | 157045.0192 | 273169.7655 | 32.55 | 27.7
20573 | 2021-02-18 16:09 | 35.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0893 | μmol/L | 39.4923 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.953 | 157054.6743 | 273156.9686 | 32.55 | 27.7
20583 | 2021-02-18 16:10 | 35.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0609 | μmol/L | 39.48 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.961 | 157101.3654 | 273169.6524 | 32.55 | 27.7
20593 | 2021-02-18 16:10 | 36.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.9937 | μmol/L | 39.48 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.967 | 157163.3542 | 273171.3156 | 32.55 | 27.7
20603 | 2021-02-18 16:10 | 36.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6785 | μmol/L | 39.4985 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.987 | 157295.3239 | 273169.8497 | 32.55 | 27.7
20613 | 2021-02-18 16:11 | 36.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7284 | μmol/L | 39.4862 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.988 | 157325.9369 | 273170.9367 | 32.55 | 27.7
20623 | 2021-02-18 16:11 | 37.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7559 | μmol/L | 39.4738 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.991 | 157316.4309 | 273152.5721 | 32.55 | 27.7
20633 | 2021-02-18 16:11 | 37.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8646 | μmol/L | 39.4677 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.984 | 157275.4648 | 273148.2701 | 32.55 | 27.7
20643 | 2021-02-18 16:12 | 37.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.948 | μmol/L | 39.4554 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.982 | 157258.3455 | 273161.6958 | 32.55 | 27.7
20653 | 2021-02-18 16:12 | 38.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.9338 | μmol/L | 39.4492 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.986 | 157308.2672 | 273169.9897 | 32.55 | 27.7
20663 | 2021-02-18 16:12 | 38.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.9297 | μmol/L | 39.4185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22 | 157400.8999 | 273176.1501 | 32.55 | 27.7
20673 | 2021-02-18 16:13 | 38.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8048 | μmol/L | 39.4369 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.003 | 157431.279 | 273174.1249 | 32.55 | 27.7
20683 | 2021-02-18 16:13 | 39.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7764 | μmol/L | 39.4246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.011 | 157465.0516 | 273160.9722 | 32.55 | 27.7
20693 | 2021-02-18 16:13 | 39.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7622 | μmol/L | 39.4185 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.015 | 157502.7665 | 273171.4925 | 32.55 | 27.7
20703 | 2021-02-18 16:14 | 39.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8261 | μmol/L | 39.4123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.012 | 157505.2121 | 273158.0305 | 32.55 | 27.7
20713 | 2021-02-18 16:14 | 40.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.9051 | μmol/L | 39.3692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.024 | 157622.3714 | 273178.1071 | 32.55 | 27.7
20723 | 2021-02-18 16:14 | 40.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8604 | μmol/L | 39.3692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.028 | 157633.7098 | 273178.78 | 32.55 | 27.7
20733 | 2021-02-18 16:15 | 40.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8989 | μmol/L | 39.3569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.03 | 157680.3343 | 273193.7449 | 32.55 | 27.7
20743 | 2021-02-18 16:15 | 41.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6262 | μmol/L | 39.3692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.049 | 157840.9342 | 273191.9433 | 32.55 | 27.7
20753 | 2021-02-18 16:15 | 41.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6392 | μmol/L | 39.3508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.056 | 157849.0847 | 273186.1581 | 32.55 | 27.7
20763 | 2021-02-18 16:16 | 41.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6584 | μmol/L | 39.3446 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.057 | 157887.7902 | 273199.1419 | 32.55 | 27.7
20773 | 2021-02-18 16:16 | 42.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.5916 | μmol/L | 39.3446 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.063 | 157918.5215 | 273197.8417 | 32.55 | 27.7
20783 | 2021-02-18 16:16 | 42.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.5551 | μmol/L | 39.3385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.069 | 157983.9612 | 273198.0342 | 32.55 | 27.7
20793 | 2021-02-18 16:17 | 42.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6954 | μmol/L | 39.3077 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.07 | 157968.9365 | 273204.2102 | 32.55 | 27.7
20803 | 2021-02-18 16:17 | 43.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6126 | μmol/L | 39.32 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.072 | 157997.8467 | 273205.7457 | 32.55 | 27.7
20813 | 2021-02-18 16:17 | 43.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.4933 | μmol/L | 39.3262 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.08 | 158076.7868 | 273215.4145 | 32.55 | 27.7
20823 | 2021-02-18 16:18 | 43.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.5538 | μmol/L | 39.3139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.08 | 158085.7982 | 273201.9657 | 32.55 | 27.7
20833 | 2021-02-18 16:18 | 44.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.4093 | μmol/L | 39.3139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.093 | 158151.1395 | 273205.2637 | 32.55 | 27.7
20843 | 2021-02-18 16:18 | 44.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7482 | μmol/L | 39.2585 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.087 | 158131.2243 | 273203.7955 | 32.55 | 27.7
20853 | 2021-02-18 16:19 | 44.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.831 | μmol/L | 39.2462 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.085 | 158103.4531 | 273211.1061 | 32.55 | 27.7
20863 | 2021-02-18 16:19 | 45.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6766 | μmol/L | 39.2708 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.088 | 158135.7035 | 273209.1568 | 32.55 | 27.7
20873 | 2021-02-18 16:19 | 45.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.5684 | μmol/L | 39.277 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.095 | 158178.2151 | 273204.2397 | 32.55 | 27.7
20883 | 2021-02-18 16:20 | 45.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.4683 | μmol/L | 39.277 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.104 | 158270.9848 | 273207.6287 | 32.55 | 27.7
20893 | 2021-02-18 16:20 | 46.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.513 | μmol/L | 39.2339 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.119 | 158369.3042 | 273217.8217 | 32.55 | 27.7
20903 | 2021-02-18 16:20 | 46.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6019 | μmol/L | 39.2339 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.111 | 158356.5943 | 273217.7026 | 32.55 | 27.7
20913 | 2021-02-18 16:21 | 46.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8053 | μmol/L | 39.197 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.109 | 158311.8093 | 273229.5093 | 32.55 | 27.7
20923 | 2021-02-18 16:21 | 47.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6194 | μmol/L | 39.2462 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.104 | 158297.793 | 273225.0129 | 32.55 | 27.7
20933 | 2021-02-18 16:21 | 47.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.3715 | μmol/L | 39.2831 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.11 | 158357.716 | 273213.1309 | 32.55 | 27.7
20943 | 2021-02-18 16:22 | 47.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.2414 | μmol/L | 39.2893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.119 | 158414.7716 | 273224.4661 | 32.55 | 27.7
20953 | 2021-02-18 16:22 | 48.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.1417 | μmol/L | 39.2893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.128 | 158514.4031 | 273207.8323 | 32.55 | 27.7
20963 | 2021-02-18 16:22 | 48.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.0088 | μmol/L | 39.2893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.14 | 158619.0406 | 273235.2063 | 32.55 | 27.7
20973 | 2021-02-18 16:23 | 48.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.819 | μmol/L | 39.3077 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.149 | 158720.4621 | 273223.3231 | 32.55 | 27.7
20983 | 2021-02-18 16:23 | 49.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.6786 | μmol/L | 39.3139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.159 | 158780.1757 | 273218.3521 | 32.55 | 27.7
20993 | 2021-02-18 16:23 | 49.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.5272 | μmol/L | 39.32 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.17 | 158874.9442 | 273230.9431 | 32.55 | 27.7
21003 | 2021-02-18 16:24 | 49.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.7436 | μmol/L | 39.2893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.164 | 158796.7886 | 273226.1422 | 32.55 | 27.7
21013 | 2021-02-18 16:24 | 50.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.6945 | μmol/L | 39.3016 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.163 | 158807.2604 | 273222.216 | 32.55 | 27.7
21023 | 2021-02-18 16:24 | 50.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.5272 | μmol/L | 39.32 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.17 | 158894.6607 | 273232.3876 | 32.55 | 27.7
21033 | 2021-02-18 16:25 | 50.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.5011 | μmol/L | 39.2893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.186 | 159053.3966 | 273233.9416 | 32.55 | 27.7
21043 | 2021-02-18 16:25 | 51.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.3621 | μmol/L | 39.32 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.185 | 159084.1269 | 273232.0012 | 32.55 | 27.7
21053 | 2021-02-18 16:25 | 51.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.0453 | μmol/L | 39.3692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.192 | 159099.6827 | 273232.3333 | 32.55 | 27.7
21063 | 2021-02-18 16:26 | 51.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.9438 | μmol/L | 39.3631 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.204 | 159190.9805 | 273224.6372 | 32.55 | 27.7
21073 | 2021-02-18 16:26 | 52.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.1454 | μmol/L | 39.3262 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.202 | 159200.9254 | 273229.1293 | 32.55 | 27.7
21083 | 2021-02-18 16:26 | 52.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.1703 | μmol/L | 39.3323 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.197 | 159184.8038 | 273223.1214 | 32.55 | 27.7
21093 | 2021-02-18 16:27 | 52.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.805 | μmol/L | 39.3939 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.203 | 159231.7178 | 273227.6029 | 32.55 | 27.7
21103 | 2021-02-18 16:27 | 53.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.6956 | μmol/L | 39.3939 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.213 | 159304.3721 | 273221.8292 | 32.55 | 27.7
21113 | 2021-02-18 16:27 | 53.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.5702 | μmol/L | 39.4062 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.219 | 159404.7922 | 273235.1895 | 32.55 | 27.7
21123 | 2021-02-18 16:28 | 53.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.5236 | μmol/L | 39.4 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.226 | 159472.7042 | 273224.7404 | 32.55 | 27.7
21133 | 2021-02-18 16:28 | 54.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.4771 | μmol/L | 39.3939 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.233 | 159547.7815 | 273238.2099 | 32.55 | 27.7
21143 | 2021-02-18 16:28 | 54.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.0371 | μmol/L | 39.48 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.235 | 159569.9217 | 273240.3866 | 32.55 | 27.7
21153 | 2021-02-18 16:29 | 54.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.0752 | μmol/L | 39.4923 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.226 | 159514.2934 | 273238.328 | 32.55 | 27.7
21163 | 2021-02-18 16:29 | 55.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.9475 | μmol/L | 39.5231 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.224 | 159492.1181 | 273242.4144 | 32.55 | 27.7
21173 | 2021-02-18 16:29 | 55.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.8715 | μmol/L | 39.5231 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.231 | 159534.2494 | 273248.7662 | 32.55 | 27.7
21183 | 2021-02-18 16:30 | 55.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.8741 | μmol/L | 39.5292 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.228 | 159553.8497 | 273223.9675 | 32.55 | 27.7
21193 | 2021-02-18 16:30 | 56.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.5375 | μmol/L | 39.5785 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.237 | 159653.6378 | 273238.0766 | 32.55 | 27.7
21203 | 2021-02-18 16:30 | 56.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.2641 | μmol/L | 39.5969 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.254 | 159758.0722 | 273224.361 | 32.55 | 27.7
21213 | 2021-02-18 16:31 | 56.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.3484 | μmol/L | 39.5661 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.26 | 159822.179 | 273240.7175 | 32.55 | 27.7
21223 | 2021-02-18 16:31 | 57.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.075 | μmol/L | 39.6092 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.266 | 159877.9486 | 273229.6747 | 32.55 | 27.7
21233 | 2021-02-18 16:31 | 57.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.8425 | μmol/L | 39.6461 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.271 | 159954.9288 | 273235.0839 | 32.55 | 27.7
21243 | 2021-02-18 16:32 | 57.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.978 | μmol/L | 39.6092 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.275 | 160022.7938 | 273241.1513 | 32.55 | 27.7
21253 | 2021-02-18 16:32 | 58.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.7324 | μmol/L | 39.64 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.284 | 160084.0094 | 273240.591 | 32.55 | 27.7
21263 | 2021-02-18 16:32 | 58.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.5027 | μmol/L | 39.6831 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.286 | 160113.9725 | 273254.2781 | 32.55 | 27.7
21273 | 2021-02-18 16:33 | 58.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.3682 | μmol/L | 39.6954 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.293 | 160175.2127 | 273255.1713 | 32.55 | 27.7
21283 | 2021-02-18 16:33 | 59.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.2576 | μmol/L | 39.7138 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.295 | 160218.6607 | 273244.4541 | 32.55 | 27.7
21293 | 2021-02-18 16:33 | 59.3424 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.3658 | μmol/L | 39.6892 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.296 | 160220.1121 | 273247.9984 | 32.55 | 27.7
21303 | 2021-02-18 16:34 | 59.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.1637 | μmol/L | 39.72 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.301 | 160284.7134 | 273256.0349 | 32.55 | 27.7
21313 | 2021-02-18 16:34 | 60.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.128 | μmol/L | 39.7384 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.296 | 160253.6683 | 273240.4837 | 32.55 | 27.7
21323 | 2021-02-18 16:34 | 60.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.1007 | μmol/L | 39.7508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.293 | 160230.2942 | 273247.1863 | 32.55 | 27.7
21333 | 2021-02-18 16:35 | 60.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.1969 | μmol/L | 39.7508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.284 | 160176.3702 | 273242.4012 | 32.55 | 27.7
21343 | 2021-02-18 16:35 | 61.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.1137 | μmol/L | 39.7569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.289 | 160211.4162 | 273237.7467 | 32.55 | 27.7
21353 | 2021-02-18 16:35 | 61.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.0329 | μmol/L | 39.7692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.291 | 160226.8998 | 273245.3057 | 32.55 | 27.7
21363 | 2021-02-18 16:36 | 61.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.978 | μmol/L | 39.7938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.285 | 160194.2264 | 273237.5303 | 32.55 | 27.7
21373 | 2021-02-18 16:36 | 62.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.304 | μmol/L | 39.7508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.274 | 160127.7428 | 273235.2397 | 32.55 | 27.7
21383 | 2021-02-18 16:36 | 62.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.204 | μmol/L | 39.7692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.275 | 160110.6874 | 273246.049 | 32.55 | 27.7
21393 | 2021-02-18 16:37 | 62.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.2836 | μmol/L | 39.7815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.262 | 160029.9854 | 273246.81 | 32.55 | 27.7
21403 | 2021-02-18 16:37 | 63.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.4458 | μmol/L | 39.7569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.258 | 160002.8568 | 273252.2853 | 32.55 | 27.7
21413 | 2021-02-18 16:37 | 63.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.7283 | μmol/L | 39.6831 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.265 | 160049.732 | 273241.7008 | 32.55 | 27.7
21423 | 2021-02-18 16:38 | 63.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.1575 | μmol/L | 39.7877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.271 | 160126.4765 | 273252.1519 | 32.55 | 27.7
21433 | 2021-02-18 16:38 | 64.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.9849 | μmol/L | 39.8123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.276 | 160189.5189 | 273256.1006 | 32.55 | 27.7
21443 | 2021-02-18 16:38 | 64.3423 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.9422 | μmol/L | 39.8123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.28 | 160204.0998 | 273246.4436 | 32.55 | 27.7
21453 | 2021-02-18 16:39 | 64.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.9719 | μmol/L | 39.8061 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.28 | 160164.4807 | 273258.4675 | 32.55 | 27.7
21463 | 2021-02-18 16:39 | 65.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.2421 | μmol/L | 39.7569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.277 | 160158.2184 | 273253.4333 | 32.55 | 27.7
21473 | 2021-02-18 16:39 | 65.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.1323 | μmol/L | 39.8061 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.265 | 160084.7517 | 273247.248 | 32.55 | 27.7
21483 | 2021-02-18 16:40 | 65.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.9749 | μmol/L | 39.8431 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.263 | 160058.5833 | 273252.2355 | 32.55 | 27.7
21493 | 2021-02-18 16:40 | 66.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.2753 | μmol/L | 39.7877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.26 | 160057.4101 | 273237.246 | 32.55 | 27.7
21503 | 2021-02-18 16:40 | 66.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.0002 | μmol/L | 39.8246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.269 | 160092.7227 | 273243.0452 | 32.55 | 27.7
21513 | 2021-02-18 16:41 | 66.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.9849 | μmol/L | 39.8123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.276 | 160158.9098 | 273245.525 | 32.55 | 27.7
21523 | 2021-02-18 16:41 | 67.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.7911 | μmol/L | 39.8369 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.283 | 160224.1139 | 273237.2449 | 32.55 | 27.7
21533 | 2021-02-18 16:41 | 67.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.7058 | μmol/L | 39.8369 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.291 | 160304.4839 | 273244.9729 | 32.55 | 27.7
21543 | 2021-02-18 16:42 | 67.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.6486 | μmol/L | 39.8554 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.288 | 160303.3304 | 273238.6992 | 32.55 | 27.7
21553 | 2021-02-18 16:42 | 68.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.6716 | μmol/L | 39.8308 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.297 | 160356.0754 | 273234.3476 | 32.55 | 27.7
21563 | 2021-02-18 16:42 | 68.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.5953 | μmol/L | 39.8554 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.293 | 160354.1841 | 273235.4198 | 32.55 | 27.7
21573 | 2021-02-18 16:43 | 68.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.5141 | μmol/L | 39.8369 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.309 | 160459.2506 | 273230.4011 | 32.55 | 27.7
21583 | 2021-02-18 16:43 | 69.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.5074 | μmol/L | 39.8184 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.318 | 160532.6611 | 273235.5983 | 32.55 | 27.7
21593 | 2021-02-18 16:43 | 69.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4246 | μmol/L | 39.8246 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.323 | 160601.092 | 273235.8553 | 32.55 | 27.7
21603 | 2021-02-18 16:44 | 69.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2464 | μmol/L | 39.8308 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.337 | 160711.4461 | 273240.972 | 32.55 | 27.7
21613 | 2021-02-18 16:44 | 70.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4514 | μmol/L | 39.7815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.34 | 160710.3296 | 273234.8235 | 32.55 | 27.7
21623 | 2021-02-18 16:44 | 70.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.3179 | μmol/L | 39.7938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.347 | 160740.6404 | 273238.864 | 32.55 | 27.7
21633 | 2021-02-18 16:45 | 70.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.3307 | μmol/L | 39.8 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.343 | 160723.9729 | 273247.9008 | 32.55 | 27.7
21643 | 2021-02-18 16:45 | 71.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.5045 | μmol/L | 39.7815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.335 | 160673.4257 | 273230.8492 | 32.55 | 27.7
21653 | 2021-02-18 16:45 | 71.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.3777 | μmol/L | 39.8123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.333 | 160639.2227 | 273229.6676 | 32.55 | 27.7
21663 | 2021-02-18 16:46 | 71.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4688 | μmol/L | 39.8 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.33 | 160639.2945 | 273241.3627 | 32.55 | 27.7
21673 | 2021-02-18 16:46 | 72.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.3564 | μmol/L | 39.8123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.335 | 160665.1463 | 273243.4853 | 32.55 | 27.7
21683 | 2021-02-18 16:46 | 72.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4514 | μmol/L | 39.7815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.34 | 160733.7061 | 273253.7144 | 32.55 | 27.7
21693 | 2021-02-18 16:47 | 72.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2626 | μmol/L | 39.7877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.355 | 160838.3576 | 273237.1089 | 32.55 | 27.7
21703 | 2021-02-18 16:47 | 73.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.296 | μmol/L | 39.7631 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.363 | 160912.4579 | 273252.0023 | 32.55 | 27.7
21713 | 2021-02-18 16:47 | 73.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2725 | μmol/L | 39.7569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.368 | 160946.4905 | 273254.8797 | 32.55 | 27.7
21723 | 2021-02-18 16:48 | 73.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.1922 | μmol/L | 39.7692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.37 | 160955.3354 | 273245.5075 | 32.55 | 27.7
21733 | 2021-02-18 16:48 | 74.0089 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2218 | μmol/L | 39.7631 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.37 | 160968.5417 | 273248.0967 | 32.55 | 27.7
21743 | 2021-02-18 16:48 | 74.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.1264 | μmol/L | 39.7631 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.379 | 161044.9913 | 273243.6593 | 32.55 | 27.7
21753 | 2021-02-18 16:49 | 74.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9972 | μmol/L | 39.7569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.394 | 161090.1555 | 273244.3145 | 32.55 | 27.7
21763 | 2021-02-18 16:49 | 75.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.0222 | μmol/L | 39.7384 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.4 | 161166.4546 | 273251.5116 | 32.55 | 27.7
21773 | 2021-02-18 16:49 | 75.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.0682 | μmol/L | 39.72 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.404 | 161190.8364 | 273236.9255 | 32.55 | 27.7
21783 | 2021-02-18 16:50 | 75.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2813 | μmol/L | 39.6954 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.395 | 161133.9777 | 273251.4694 | 32.55 | 27.7
21793 | 2021-02-18 16:50 | 76.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.326 | μmol/L | 39.7015 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.388 | 161084.0102 | 273255.6738 | 32.55 | 27.7
21803 | 2021-02-18 16:50 | 76.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.332 | μmol/L | 39.6892 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.393 | 161135.4883 | 273253.7993 | 32.55 | 27.7
21813 | 2021-02-18 16:51 | 76.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.1942 | μmol/L | 39.6892 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.406 | 161233.7671 | 273257.6541 | 32.55 | 27.7
21823 | 2021-02-18 16:51 | 77.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9405 | μmol/L | 39.6892 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.43 | 161410.2192 | 273242.9583 | 32.55 | 27.7
21833 | 2021-02-18 16:51 | 77.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.0263 | μmol/L | 39.6646 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.433 | 161448.9632 | 273236.676 | 32.55 | 27.7
21843 | 2021-02-18 16:52 | 77.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.977 | μmol/L | 39.6461 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.446 | 161485.5973 | 273231.8934 | 32.55 | 27.7
21853 | 2021-02-18 16:52 | 78.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9665 | μmol/L | 39.6461 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.447 | 161520.1974 | 273244.6719 | 32.55 | 27.7
21863 | 2021-02-18 16:52 | 78.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.3354 | μmol/L | 39.6154 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.426 | 161380.7917 | 273232.3288 | 32.55 | 27.7
21873 | 2021-02-18 16:53 | 78.6756 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4732 | μmol/L | 39.6154 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.413 | 161253.5546 | 273240.9796 | 32.55 | 27.7
21883 | 2021-02-18 16:53 | 79.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4674 | μmol/L | 39.6277 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.408 | 161236.7784 | 273232.9676 | 32.55 | 27.7
21893 | 2021-02-18 16:53 | 79.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.5157 | μmol/L | 39.6154 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.409 | 161218.2071 | 273241.4764 | 32.55 | 27.7
21903 | 2021-02-18 16:54 | 79.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.5639 | μmol/L | 39.6031 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.41 | 161203.9819 | 273244.5883 | 32.55 | 27.7
21913 | 2021-02-18 16:54 | 80.009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4342 | μmol/L | 39.5969 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.425 | 161295.2282 | 273239.0654 | 32.55 | 27.7
21923 | 2021-02-18 16:54 | 80.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2742 | μmol/L | 39.6215 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.429 | 161358.5448 | 273224.2648 | 32.55 | 27.7
21933 | 2021-02-18 16:55 | 80.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.193 | μmol/L | 39.6031 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.445 | 161456.8278 | 273224.9152 | 32.55 | 27.7
21943 | 2021-02-18 16:55 | 81.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.1622 | μmol/L | 39.5785 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.459 | 161568.9848 | 273234.4117 | 32.55 | 27.7
21953 | 2021-02-18 16:55 | 81.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9323 | μmol/L | 39.5846 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.478 | 161709.7306 | 273234.6356 | 32.55 | 27.7
21963 | 2021-02-18 16:56 | 81.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.0689 | μmol/L | 39.5292 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.49 | 161831.717 | 273234.8461 | 32.55 | 27.7
21973 | 2021-02-18 16:56 | 82.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9236 | μmol/L | 39.5354 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.501 | 161920.9699 | 273230.3272 | 32.55 | 27.7
21983 | 2021-02-18 16:56 | 82.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.7388 | μmol/L | 39.5477 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.513 | 161984.9875 | 273231.4634 | 32.55 | 27.7
21993 | 2021-02-18 16:57 | 82.6757 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9883 | μmol/L | 39.4862 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.517 | 161870.5254 | 273223.0674 | 32.55 | 27.7