## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 10:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12640 | 2021-02-18 09:24 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.7365 | μmol/L | 11.0566 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.556 | 235267.77 | 287316.5222 | 62.0402 | 75.7
12641 | 2021-02-18 09:56 | 31.7546 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0397 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.634 | 235506.6122 | 286620.5076 | 62.0402 | 75.7
12649 | 2021-02-18 09:56 | 32.0937 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0853 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 235486.6687 | 286601.8585 | 62.0402 | 75.7
12659 | 2021-02-18 09:57 | 32.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1167 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 235466.7625 | 286573.7715 | 62.0402 | 75.7
12669 | 2021-02-18 09:57 | 32.7606 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1851 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 235448.5683 | 286548.4352 | 62.0402 | 75.7
12679 | 2021-02-18 09:57 | 33.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1623 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 235429.0602 | 286532.0405 | 62.0402 | 75.7
12689 | 2021-02-18 09:58 | 33.4264 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0939 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.634 | 235413.3151 | 286501.6706 | 62.0402 | 75.7
12699 | 2021-02-18 09:58 | 33.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1309 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 235383.9424 | 286482.4857 | 62.0402 | 75.7
12709 | 2021-02-18 09:58 | 34.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0853 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 235356.7528 | 286457.4587 | 62.0402 | 75.7
12719 | 2021-02-18 09:59 | 34.4266 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1851 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 235344.4693 | 286429.1751 | 62.0402 | 75.7
12729 | 2021-02-18 09:59 | 34.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1623 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 235332.3817 | 286407.6427 | 62.0402 | 75.7
12739 | 2021-02-18 09:59 | 35.0933 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0625 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 235306.8541 | 286381.1026 | 62.0402 | 75.7
12749 | 2021-02-18 10:00 | 35.427 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1395 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 235293.6439 | 286371.1097 | 62.0402 | 75.7
12759 | 2021-02-18 10:00 | 35.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1623 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 235283.3172 | 286345.2898 | 62.0402 | 75.7
12769 | 2021-02-18 10:00 | 36.0939 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0853 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 235246.6518 | 286318.4053 | 62.0402 | 75.7
12779 | 2021-02-18 10:01 | 36.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0625 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 235231.1729 | 286316.2794 | 62.0402 | 75.7
12789 | 2021-02-18 10:01 | 36.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1081 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 235206.4961 | 286283.077 | 62.0402 | 75.7
12799 | 2021-02-18 10:01 | 37.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0169 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.635 | 235185.0221 | 286267.3263 | 62.0402 | 75.7
12809 | 2021-02-18 10:02 | 37.4272 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0939 | μmol/L | 10.9281 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.634 | 235164.8766 | 286235.4072 | 62.0402 | 75.7
12819 | 2021-02-18 10:02 | 37.76 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0397 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.634 | 235151.9986 | 286229.2912 | 62.0402 | 75.7
12829 | 2021-02-18 10:02 | 38.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1081 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 235127.7478 | 286214.3401 | 62.0402 | 75.7
12839 | 2021-02-18 10:03 | 38.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1081 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 235103.5493 | 286182.7211 | 62.0402 | 75.7
12849 | 2021-02-18 10:03 | 38.7603 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1537 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 235093.153 | 286169.3471 | 62.0402 | 75.7
12859 | 2021-02-18 10:03 | 39.0931 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.954 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 235075.1341 | 286167.6384 | 62.0402 | 75.7
12869 | 2021-02-18 10:04 | 39.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0766 | μmol/L | 10.9404 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 235058.0433 | 286133.3372 | 62.0402 | 75.7
12879 | 2021-02-18 10:04 | 39.7605 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0625 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 235033.8247 | 286109.2396 | 62.0402 | 75.7
12889 | 2021-02-18 10:04 | 40.0934 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.031 | μmol/L | 10.9404 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 235015.974 | 286090.4713 | 62.0402 | 75.7
12899 | 2021-02-18 10:05 | 40.4271 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0538 | μmol/L | 10.9404 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234997.8442 | 286077.9596 | 62.0402 | 75.7
12909 | 2021-02-18 10:05 | 40.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.1081 | μmol/L | 10.9343 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234974.8201 | 286058.0657 | 62.0402 | 75.7
12919 | 2021-02-18 10:05 | 41.0937 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9996 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234953.3876 | 286037.2998 | 62.0402 | 75.7
12929 | 2021-02-18 10:06 | 41.4266 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.068 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.628 | 234928.2911 | 286015.6889 | 62.0402 | 75.7
12939 | 2021-02-18 10:06 | 41.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0224 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234911.2477 | 285999.7542 | 62.0402 | 75.7
12949 | 2021-02-18 10:06 | 42.0932 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0766 | μmol/L | 10.9404 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234899.9043 | 285987.7768 | 62.0402 | 75.7
12959 | 2021-02-18 10:07 | 42.427 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9996 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234869.4441 | 285960.7261 | 62.0402 | 75.7
12969 | 2021-02-18 10:07 | 42.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9454 | μmol/L | 10.9526 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234848.067 | 285951.2682 | 62.0402 | 75.7
12979 | 2021-02-18 10:07 | 43.0936 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 271.0224 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234832.5949 | 285925.2751 | 62.0402 | 75.7
12989 | 2021-02-18 10:08 | 43.4272 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.954 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 234818.1018 | 285915.1391 | 62.0402 | 75.7
12999 | 2021-02-18 10:08 | 43.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9226 | μmol/L | 10.9526 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 234798.1556 | 285906.9768 | 62.0402 | 75.7
13009 | 2021-02-18 10:08 | 44.0937 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9768 | μmol/L | 10.9465 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 234774.7473 | 285884.7203 | 62.0402 | 75.7
13019 | 2021-02-18 10:09 | 44.4272 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9226 | μmol/L | 10.9526 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 234761.6162 | 285865.7839 | 62.0402 | 75.7
13029 | 2021-02-18 10:09 | 44.7601 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9454 | μmol/L | 10.9526 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234739.0902 | 285849.3614 | 62.0402 | 75.7
13039 | 2021-02-18 10:09 | 45.0939 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.914 | μmol/L | 10.9587 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234724.0021 | 285828.1795 | 62.0402 | 75.7
13049 | 2021-02-18 10:10 | 45.427 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9682 | μmol/L | 10.9526 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234704.812 | 285827.1552 | 62.0402 | 75.7
13059 | 2021-02-18 10:10 | 45.76 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8599 | μmol/L | 10.9648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234684.6447 | 285815.4956 | 62.0402 | 75.7
13069 | 2021-02-18 10:10 | 46.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.9682 | μmol/L | 10.9526 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234682.1436 | 285795.3806 | 62.0402 | 75.7
13079 | 2021-02-18 10:11 | 46.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8826 | μmol/L | 10.9648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 234669.7803 | 285781.1153 | 62.0402 | 75.7
13089 | 2021-02-18 10:11 | 46.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8685 | μmol/L | 10.9587 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 234641.9222 | 285763.8709 | 62.0402 | 75.7
13099 | 2021-02-18 10:11 | 47.0932 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8371 | μmol/L | 10.9648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234623.4891 | 285753.1673 | 62.0402 | 75.7
13109 | 2021-02-18 10:12 | 47.427 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8599 | μmol/L | 10.9648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234612.2329 | 285734.5368 | 62.0402 | 75.7
13119 | 2021-02-18 10:12 | 47.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8285 | μmol/L | 10.971 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 234600.3006 | 285719.7508 | 62.0402 | 75.7
13129 | 2021-02-18 10:12 | 48.0936 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8371 | μmol/L | 10.9648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234580.6828 | 285700.7317 | 62.0402 | 75.7
13139 | 2021-02-18 10:13 | 48.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8371 | μmol/L | 10.9648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234571.2171 | 285690.6736 | 62.0402 | 75.7
13149 | 2021-02-18 10:13 | 48.7603 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7146 | μmol/L | 10.971 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.634 | 234547.699 | 285667.3432 | 62.0402 | 75.7
13159 | 2021-02-18 10:13 | 49.0939 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8371 | μmol/L | 10.9648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234538.0135 | 285655.4545 | 62.0402 | 75.7
13169 | 2021-02-18 10:14 | 49.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8057 | μmol/L | 10.971 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234520.0019 | 285643.7725 | 62.0402 | 75.7
13179 | 2021-02-18 10:14 | 49.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7374 | μmol/L | 10.971 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.633 | 234516.4076 | 285627.4278 | 62.0402 | 75.7
13189 | 2021-02-18 10:14 | 50.0933 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7601 | μmol/L | 10.971 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 234487.2611 | 285621.9779 | 62.0402 | 75.7
13199 | 2021-02-18 10:15 | 50.427 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8285 | μmol/L | 10.971 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 234466.745 | 285590.8571 | 62.0402 | 75.7
13209 | 2021-02-18 10:15 | 50.7603 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7601 | μmol/L | 10.971 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.632 | 234453.2147 | 285595.2981 | 62.0402 | 75.7
13219 | 2021-02-18 10:15 | 51.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7516 | μmol/L | 10.9771 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234412.7562 | 285561.3726 | 62.0402 | 75.7
13229 | 2021-02-18 10:16 | 51.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7288 | μmol/L | 10.9771 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.631 | 234412.4214 | 285551.5725 | 62.0402 | 75.7
13239 | 2021-02-18 10:16 | 51.7598 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.8199 | μmol/L | 10.9771 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 234399.517 | 285541.1591 | 62.0402 | 75.7
13249 | 2021-02-18 10:16 | 52.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.743 | μmol/L | 10.9832 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.628 | 234369.4236 | 285506.7681 | 62.0402 | 75.7
13259 | 2021-02-18 10:17 | 52.4271 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6974 | μmol/L | 10.9832 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234342.674 | 285492.6189 | 62.0402 | 75.7
13269 | 2021-02-18 10:17 | 52.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7202 | μmol/L | 10.9832 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 234342.8052 | 285479.8088 | 62.0402 | 75.7
13279 | 2021-02-18 10:17 | 53.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7516 | μmol/L | 10.9771 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234315.2485 | 285458.0556 | 62.0402 | 75.7
13289 | 2021-02-18 10:18 | 53.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7202 | μmol/L | 10.9832 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 234296.9821 | 285456.1971 | 62.0402 | 75.7
13299 | 2021-02-18 10:18 | 53.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6661 | μmol/L | 10.9893 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 234285.0156 | 285437.3926 | 62.0402 | 75.7
13309 | 2021-02-18 10:18 | 54.0934 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6974 | μmol/L | 10.9832 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.63 | 234260.7308 | 285417.4747 | 62.0402 | 75.7
13319 | 2021-02-18 10:19 | 54.4271 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6889 | μmol/L | 10.9893 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.628 | 234236.9029 | 285406.8142 | 62.0402 | 75.7
13329 | 2021-02-18 10:19 | 54.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.7658 | μmol/L | 10.9832 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 234228.1596 | 285382.6642 | 62.0402 | 75.7
13339 | 2021-02-18 10:19 | 55.0932 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6889 | μmol/L | 10.9893 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.628 | 234211.3653 | 285373.9652 | 62.0402 | 75.7
13349 | 2021-02-18 10:20 | 55.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6348 | μmol/L | 10.9954 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.628 | 234176.2282 | 285352.3902 | 62.0402 | 75.7
13359 | 2021-02-18 10:20 | 55.7605 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6575 | μmol/L | 10.9954 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 234160.5924 | 285332.8314 | 62.0402 | 75.7
13369 | 2021-02-18 10:20 | 56.0934 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6575 | μmol/L | 10.9954 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 234140.5874 | 285326.0092 | 62.0402 | 75.7
13379 | 2021-02-18 10:21 | 56.4271 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6034 | μmol/L | 11.0016 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 234115.4478 | 285308.7417 | 62.0402 | 75.7
13389 | 2021-02-18 10:21 | 56.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6803 | μmol/L | 10.9954 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 234108.9468 | 285302.8404 | 62.0402 | 75.7
13399 | 2021-02-18 10:21 | 57.0936 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6034 | μmol/L | 11.0016 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 234090.8118 | 285275.3086 | 62.0402 | 75.7
13409 | 2021-02-18 10:22 | 57.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6262 | μmol/L | 11.0016 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 234072.8295 | 285271.2187 | 62.0402 | 75.7
13419 | 2021-02-18 10:22 | 57.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.5266 | μmol/L | 11.0077 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.628 | 234050.8041 | 285252.1846 | 62.0402 | 75.7
13429 | 2021-02-18 10:22 | 58.0939 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.6717 | μmol/L | 11.0016 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.624 | 234049.8628 | 285239.1194 | 62.0402 | 75.7
13439 | 2021-02-18 10:23 | 58.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.5579 | μmol/L | 11.0016 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.629 | 234041.2038 | 285227.6904 | 62.0402 | 75.7
13449 | 2021-02-18 10:23 | 58.7606 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.4725 | μmol/L | 11.0138 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.628 | 234015.6464 | 285211.9104 | 62.0402 | 75.7
13459 | 2021-02-18 10:23 | 59.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.5408 | μmol/L | 11.0138 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.625 | 234000.061 | 285201.5689 | 62.0402 | 75.7
13469 | 2021-02-18 10:24 | 59.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.4953 | μmol/L | 11.0138 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 233971.2875 | 285178.9058 | 62.0402 | 75.7
13479 | 2021-02-18 10:24 | 59.7606 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.518 | μmol/L | 11.0138 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233966.8192 | 285172.4245 | 62.0402 | 75.7
13489 | 2021-02-18 10:24 | 60.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.518 | μmol/L | 11.0138 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233938.2809 | 285156.0223 | 62.0402 | 75.7
13499 | 2021-02-18 10:25 | 60.4272 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.5095 | μmol/L | 11.0199 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.624 | 233935.5193 | 285135.7233 | 62.0402 | 75.7
13509 | 2021-02-18 10:25 | 60.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.4412 | μmol/L | 11.0199 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.627 | 233912.1507 | 285114.1616 | 62.0402 | 75.7
13519 | 2021-02-18 10:25 | 61.0933 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.41 | μmol/L | 11.026 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233894.0718 | 285109.0663 | 62.0402 | 75.7
13529 | 2021-02-18 10:26 | 61.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.41 | μmol/L | 11.026 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233887.0997 | 285106.7653 | 62.0402 | 75.7
13539 | 2021-02-18 10:26 | 61.7598 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.41 | μmol/L | 11.026 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233869.7315 | 285088.8966 | 62.0402 | 75.7
13549 | 2021-02-18 10:26 | 62.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3787 | μmol/L | 11.0322 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.625 | 233862.9751 | 285071.429 | 62.0402 | 75.7
13559 | 2021-02-18 10:27 | 62.4271 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.4327 | μmol/L | 11.026 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.625 | 233835.3576 | 285058.6723 | 62.0402 | 75.7
13569 | 2021-02-18 10:27 | 62.76 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3702 | μmol/L | 11.0383 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.623 | 233826.7461 | 285049.7929 | 62.0402 | 75.7
13579 | 2021-02-18 10:27 | 63.0937 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3019 | μmol/L | 11.0383 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233813.5575 | 285048.7097 | 62.0402 | 75.7
13589 | 2021-02-18 10:28 | 63.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3787 | μmol/L | 11.0322 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.625 | 233797.5829 | 285017.1063 | 62.0402 | 75.7
13599 | 2021-02-18 10:28 | 63.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3559 | μmol/L | 11.0322 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233777.8521 | 285002.6703 | 62.0402 | 75.7
13609 | 2021-02-18 10:28 | 64.0933 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3247 | μmol/L | 11.0383 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.625 | 233758.2347 | 285001.372 | 62.0402 | 75.7
13619 | 2021-02-18 10:29 | 64.4269 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.2707 | μmol/L | 11.0444 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.625 | 233731.4483 | 284984.4944 | 62.0402 | 75.7
13629 | 2021-02-18 10:29 | 64.7598 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3702 | μmol/L | 11.0383 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.623 | 233730.2248 | 284967.2019 | 62.0402 | 75.7
13639 | 2021-02-18 10:29 | 65.0937 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.2444 | μmol/L | 11.0444 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233717.3555 | 284956.72 | 62.0402 | 75.7
13649 | 2021-02-18 10:30 | 65.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.248 | μmol/L | 11.0444 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233703.3869 | 284938.0469 | 62.0402 | 75.7
13659 | 2021-02-18 10:30 | 65.7603 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.2707 | μmol/L | 11.0444 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.625 | 233682.7691 | 284938.8951 | 62.0402 | 75.7
13669 | 2021-02-18 10:30 | 66.0933 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.3162 | μmol/L | 11.0444 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.623 | 233676.7142 | 284917.7145 | 62.0402 | 75.7
13679 | 2021-02-18 10:31 | 66.427 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.2586 | μmol/L | 11.0505 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.623 | 233659.991 | 284910.343 | 62.0402 | 75.7
13689 | 2021-02-18 10:31 | 66.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.2395 | μmol/L | 11.0505 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.624 | 233648.3141 | 284896.8422 | 62.0402 | 75.7
13699 | 2021-02-18 10:31 | 67.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.2359 | μmol/L | 11.0505 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.624 | 233632.9739 | 284884.0737 | 62.0402 | 75.7
13709 | 2021-02-18 10:32 | 67.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.1365 | μmol/L | 11.0566 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.626 | 233608.8883 | 284868.0117 | 62.0402 | 75.7
13719 | 2021-02-18 10:32 | 67.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.1819 | μmol/L | 11.0566 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.624 | 233597.7315 | 284848.9775 | 62.0402 | 75.7
13729 | 2021-02-18 10:32 | 68.0932 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.128 | μmol/L | 11.0627 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.624 | 233581.8401 | 284845.1707 | 62.0402 | 75.7
13739 | 2021-02-18 10:33 | 68.4271 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.1734 | μmol/L | 11.0627 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.622 | 233562.0012 | 284834.5063 | 62.0402 | 75.7
13749 | 2021-02-18 10:33 | 68.7606 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.0655 | μmol/L | 11.075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.622 | 233539.9211 | 284824.7087 | 62.0402 | 75.7
13759 | 2021-02-18 10:33 | 69.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.2189 | μmol/L | 11.0627 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 233531.6047 | 284798.7232 | 62.0402 | 75.7
13769 | 2021-02-18 10:34 | 69.4266 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.0967 | μmol/L | 11.0689 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.623 | 233523.5982 | 284789.447 | 62.0402 | 75.7
13779 | 2021-02-18 10:34 | 69.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.074 | μmol/L | 11.0689 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.624 | 233519.9349 | 284788.7254 | 62.0402 | 75.7
13789 | 2021-02-18 10:34 | 70.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.1734 | μmol/L | 11.0627 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.622 | 233495.1365 | 284773.8117 | 62.0402 | 75.7
13799 | 2021-02-18 10:35 | 70.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.0883 | μmol/L | 11.075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.621 | 233478.8941 | 284763.792 | 62.0402 | 75.7
13809 | 2021-02-18 10:35 | 70.7605 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.0655 | μmol/L | 11.075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.622 | 233468.2545 | 284758.5027 | 62.0402 | 75.7
13819 | 2021-02-18 10:35 | 71.0933 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.0571 | μmol/L | 11.0811 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 233462.6855 | 284756.9883 | 62.0402 | 75.7
13829 | 2021-02-18 10:36 | 71.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.9662 | μmol/L | 11.0811 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.624 | 233444.2584 | 284730.2236 | 62.0402 | 75.7
13839 | 2021-02-18 10:36 | 71.7601 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.9805 | μmol/L | 11.0872 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.621 | 233439.8576 | 284723.0515 | 62.0402 | 75.7
13849 | 2021-02-18 10:36 | 72.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 270.0259 | μmol/L | 11.0872 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.619 | 233410.4735 | 284723.2733 | 62.0402 | 75.7
13859 | 2021-02-18 10:37 | 72.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.9039 | μmol/L | 11.0933 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.622 | 233410.4983 | 284708.0174 | 62.0402 | 75.7
13869 | 2021-02-18 10:37 | 72.7604 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.9266 | μmol/L | 11.0933 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.621 | 233400.1411 | 284686.4973 | 62.0402 | 75.7
13879 | 2021-02-18 10:37 | 73.0932 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.9266 | μmol/L | 11.0933 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.621 | 233380.7201 | 284677.2766 | 62.0402 | 75.7
13889 | 2021-02-18 10:38 | 73.4268 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.9493 | μmol/L | 11.0933 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 233361.0506 | 284648.5182 | 62.0402 | 75.7
13899 | 2021-02-18 10:38 | 73.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8954 | μmol/L | 11.0995 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 233349.0954 | 284655.9464 | 62.0402 | 75.7
13909 | 2021-02-18 10:38 | 74.0936 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8189 | μmol/L | 11.1056 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.621 | 233346.3442 | 284637.4879 | 62.0402 | 75.7
13919 | 2021-02-18 10:39 | 74.4272 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8727 | μmol/L | 11.0995 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.621 | 233336.0506 | 284611.6599 | 62.0402 | 75.7
13929 | 2021-02-18 10:39 | 74.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8954 | μmol/L | 11.0995 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 233314.8974 | 284608.514 | 62.0402 | 75.7
13939 | 2021-02-18 10:39 | 75.0931 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8189 | μmol/L | 11.1056 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.621 | 233309.7843 | 284607.3645 | 62.0402 | 75.7
13949 | 2021-02-18 10:40 | 75.4269 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8643 | μmol/L | 11.1056 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.619 | 233282.9522 | 284588.2541 | 62.0402 | 75.7
13959 | 2021-02-18 10:40 | 75.7605 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8416 | μmol/L | 11.1056 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 233276.3518 | 284585.168 | 62.0402 | 75.7
13969 | 2021-02-18 10:40 | 76.0935 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8558 | μmol/L | 11.1117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.617 | 233259.6943 | 284592.7467 | 62.0402 | 75.7
13979 | 2021-02-18 10:41 | 76.427 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8331 | μmol/L | 11.1117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.618 | 233245.8911 | 284555.7602 | 62.0402 | 75.7
13989 | 2021-02-18 10:41 | 76.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8104 | μmol/L | 11.1117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.619 | 233231.7195 | 284543.6322 | 62.0402 | 75.7
13999 | 2021-02-18 10:41 | 77.0937 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8104 | μmol/L | 11.1117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.619 | 233216.7688 | 284537.0172 | 62.0402 | 75.7
14009 | 2021-02-18 10:42 | 77.4272 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.8558 | μmol/L | 11.1117 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.617 | 233200.828 | 284539.7009 | 62.0402 | 75.7
14019 | 2021-02-18 10:42 | 77.7601 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6944 | μmol/L | 11.1301 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.617 | 233186.1312 | 284519.3297 | 62.0402 | 75.7
14029 | 2021-02-18 10:42 | 78.0939 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6801 | μmol/L | 11.1239 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.62 | 233171.8937 | 284500.728 | 62.0402 | 75.7
14039 | 2021-02-18 10:43 | 78.4269 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.7482 | μmol/L | 11.1239 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.617 | 233149.3872 | 284491.429 | 62.0402 | 75.7
14049 | 2021-02-18 10:43 | 78.7603 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.7255 | μmol/L | 11.1239 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.618 | 233152.6753 | 284485.9712 | 62.0402 | 75.7
14059 | 2021-02-18 10:43 | 79.0933 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6717 | μmol/L | 11.1301 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.618 | 233126.8093 | 284456.9554 | 62.0402 | 75.7
14069 | 2021-02-18 10:44 | 79.4271 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.7171 | μmol/L | 11.1301 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.616 | 233125.2092 | 284454.4771 | 62.0402 | 75.7
14079 | 2021-02-18 10:44 | 79.7599 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6179 | μmol/L | 11.1362 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.618 | 233102.0016 | 284451.6524 | 62.0402 | 75.7
14089 | 2021-02-18 10:44 | 80.0936 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6406 | μmol/L | 11.1362 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.617 | 233091.1692 | 284435.3143 | 62.0402 | 75.7
14099 | 2021-02-18 10:45 | 80.4266 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.686 | μmol/L | 11.1362 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 233073.5788 | 284423.0396 | 62.0402 | 75.7
14109 | 2021-02-18 10:45 | 80.7602 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.533 | μmol/L | 11.1484 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.617 | 233064.963 | 284412.4347 | 62.0402 | 75.7
14119 | 2021-02-18 10:45 | 81.0937 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6011 | μmol/L | 11.1484 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 233042.0296 | 284403.9047 | 62.0402 | 75.7
14129 | 2021-02-18 10:46 | 81.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6011 | μmol/L | 11.1484 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 233029.4713 | 284397.3442 | 62.0402 | 75.7
14139 | 2021-02-18 10:46 | 81.7603 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.4709 | μmol/L | 11.1606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 233015.315 | 284378.5488 | 62.0402 | 75.7
14149 | 2021-02-18 10:46 | 82.0934 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.7229 | μmol/L | 11.1423 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 233001.7173 | 284363.4019 | 62.0402 | 75.7
14159 | 2021-02-18 10:47 | 82.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.5473 | μmol/L | 11.1545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232990.6149 | 284368.2194 | 62.0402 | 75.7
14169 | 2021-02-18 10:47 | 82.7601 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.6011 | μmol/L | 11.1484 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232990.0045 | 284362.1462 | 62.0402 | 75.7
14179 | 2021-02-18 10:47 | 83.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.5163 | μmol/L | 11.1606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232964.4174 | 284342.1962 | 62.0402 | 75.7
14189 | 2021-02-18 10:48 | 83.4265 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.57 | μmol/L | 11.1545 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232948.9262 | 284319.3334 | 62.0402 | 75.7
14199 | 2021-02-18 10:48 | 83.7606 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.5163 | μmol/L | 11.1606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232933.7374 | 284319.8384 | 62.0402 | 75.7
14209 | 2021-02-18 10:48 | 84.0934 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.4172 | μmol/L | 11.1668 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 232938.9033 | 284313.5946 | 62.0402 | 75.7
14219 | 2021-02-18 10:49 | 84.4272 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.5616 | μmol/L | 11.1606 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232917.4174 | 284299.2273 | 62.0402 | 75.7
14229 | 2021-02-18 10:49 | 84.7601 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.4625 | μmol/L | 11.1668 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232900.3462 | 284279.4889 | 62.0402 | 75.7
14239 | 2021-02-18 10:49 | 85.0938 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.4088 | μmol/L | 11.1729 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232878.8336 | 284275.3085 | 62.0402 | 75.7
14249 | 2021-02-18 10:50 | 85.4267 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.4852 | μmol/L | 11.1668 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232881.8858 | 284262.8397 | 62.0402 | 75.7
14263 | 2021-02-18 10:51 | 86.4119 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.3778 | μmol/L | 11.179 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232868.8784 | 284238.4961 | 62.0402 | 75.7
14264 | 2021-02-18 10:51 | 86.7433 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.3468 | μmol/L | 11.1851 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232850.1496 | 284233.1674 | 62.0402 | 75.7