## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 12:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
14265 | 2021-02-18 10:55 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1238 | μmol/L | 11.2157 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232785.3114 | 284088.4697 | 62.0402 | 75.7
14273 | 2021-02-18 10:55 | 0.33342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1465 | μmol/L | 11.2157 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.608 | 232760.7639 | 284094.7932 | 62.0402 | 75.7
14283 | 2021-02-18 10:56 | 0.66734 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.2454 | μmol/L | 11.2096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.606 | 232666.72 | 284081.114 | 62.0402 | 75.7
14293 | 2021-02-18 10:56 | 1.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.2145 | μmol/L | 11.2157 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.605 | 232597.6142 | 284064.8975 | 62.0402 | 75.7
14303 | 2021-02-18 10:56 | 1.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1525 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.603 | 232444.3938 | 284055.7554 | 62.0402 | 75.7
14313 | 2021-02-18 10:57 | 1.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1155 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.607 | 232401.3191 | 284064.0111 | 62.0402 | 75.7
14323 | 2021-02-18 10:57 | 2.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1382 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.606 | 232404.4014 | 284086.5422 | 62.0402 | 75.7
14333 | 2021-02-18 10:57 | 2.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1608 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.605 | 232399.4712 | 284101.0332 | 62.0402 | 75.7
14343 | 2021-02-18 10:58 | 2.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1382 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.606 | 232422.066 | 284120.3402 | 62.0402 | 75.7
14353 | 2021-02-18 10:58 | 3.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.2001 | μmol/L | 11.2096 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.608 | 232444.1674 | 284131.2365 | 62.0402 | 75.7
14363 | 2021-02-18 10:58 | 3.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.1155 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.607 | 232463.8773 | 284149.1308 | 62.0402 | 75.7
14373 | 2021-02-18 10:59 | 3.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.0166 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232509.3137 | 284168.7306 | 62.0402 | 75.7
14383 | 2021-02-18 10:59 | 4.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.994 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232537.7506 | 284184.7606 | 62.0402 | 75.7
14393 | 2021-02-18 10:59 | 4.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.994 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232546.5478 | 284206.8142 | 62.0402 | 75.7
14403 | 2021-02-18 11:00 | 4.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.9487 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232586.7384 | 284223.795 | 62.0402 | 75.7
14413 | 2021-02-18 11:00 | 5.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.0476 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232606.0095 | 284226.8548 | 62.0402 | 75.7
14423 | 2021-02-18 11:00 | 5.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.9487 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232622.0187 | 284245.3002 | 62.0402 | 75.7
14433 | 2021-02-18 11:01 | 5.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.9487 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232643.0549 | 284260.0858 | 62.0402 | 75.7
14443 | 2021-02-18 11:01 | 6.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.025 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232689.0928 | 284259.4697 | 62.0402 | 75.7
14453 | 2021-02-18 11:01 | 6.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.9261 | μmol/L | 11.228 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232713.0488 | 284277.874 | 62.0402 | 75.7
14463 | 2021-02-18 11:02 | 6.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 269.0786 | μmol/L | 11.2157 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232747.056 | 284286.9258 | 62.0402 | 75.7
14473 | 2021-02-18 11:02 | 7.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.957 | μmol/L | 11.2218 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232763.8057 | 284278.6235 | 62.0402 | 75.7
14483 | 2021-02-18 11:02 | 7.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.8952 | μmol/L | 11.2341 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232785.9592 | 284278.5276 | 62.0402 | 75.7
14493 | 2021-02-18 11:03 | 7.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.8726 | μmol/L | 11.2341 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232794.7499 | 284298.8432 | 62.0402 | 75.7
14503 | 2021-02-18 11:03 | 8.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.8952 | μmol/L | 11.2341 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232832.2431 | 284296.0953 | 62.0402 | 75.7
14513 | 2021-02-18 11:03 | 8.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.7964 | μmol/L | 11.2402 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232836.0316 | 284307.5662 | 62.0402 | 75.7
14523 | 2021-02-18 11:04 | 8.6676 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.8273 | μmol/L | 11.2341 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 232868.1483 | 284311.3087 | 62.0402 | 75.7
14533 | 2021-02-18 11:04 | 9.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.7964 | μmol/L | 11.2402 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232883.6825 | 284314.6639 | 62.0402 | 75.7
14543 | 2021-02-18 11:04 | 9.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.8416 | μmol/L | 11.2402 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232877.6839 | 284298.4767 | 62.0402 | 75.7
14553 | 2021-02-18 11:05 | 9.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.7964 | μmol/L | 11.2402 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232890.516 | 284301.557 | 62.0402 | 75.7
14563 | 2021-02-18 11:05 | 10.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.7203 | μmol/L | 11.2463 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 232910.4572 | 284295.6759 | 62.0402 | 75.7
14573 | 2021-02-18 11:05 | 10.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.712 | μmol/L | 11.2524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232906.8123 | 284297.8438 | 62.0402 | 75.7
14583 | 2021-02-18 11:06 | 10.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.6976 | μmol/L | 11.2463 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.616 | 232919.8231 | 284282.2325 | 62.0402 | 75.7
14593 | 2021-02-18 11:06 | 11.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.7572 | μmol/L | 11.2524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232920.7225 | 284289.3615 | 62.0402 | 75.7
14603 | 2021-02-18 11:06 | 11.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.7429 | μmol/L | 11.2463 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232921.3102 | 284281.6963 | 62.0402 | 75.7
14613 | 2021-02-18 11:07 | 11.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.6894 | μmol/L | 11.2524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232935.3541 | 284280.6899 | 62.0402 | 75.7
14623 | 2021-02-18 11:07 | 12.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.7037 | μmol/L | 11.2585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232926.5571 | 284268.8948 | 62.0402 | 75.7
14633 | 2021-02-18 11:07 | 12.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.6585 | μmol/L | 11.2585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232929.8755 | 284264.3376 | 62.0402 | 75.7
14643 | 2021-02-18 11:08 | 12.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.6133 | μmol/L | 11.2585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 232932.8027 | 284264.2848 | 62.0402 | 75.7
14653 | 2021-02-18 11:08 | 13.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.712 | μmol/L | 11.2524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232929.4791 | 284262.4968 | 62.0402 | 75.7
14663 | 2021-02-18 11:08 | 13.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.605 | μmol/L | 11.2647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232928.2988 | 284248.381 | 62.0402 | 75.7
14673 | 2021-02-18 11:09 | 13.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.6441 | μmol/L | 11.2524 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.616 | 232928.3137 | 284251.2805 | 62.0402 | 75.7
14683 | 2021-02-18 11:09 | 14.0009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.6811 | μmol/L | 11.2585 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232924.4349 | 284242.6151 | 62.0402 | 75.7
14693 | 2021-02-18 11:09 | 14.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.605 | μmol/L | 11.2647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232927.181 | 284239.4187 | 62.0402 | 75.7
14703 | 2021-02-18 11:10 | 14.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.5598 | μmol/L | 11.2647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 232921.6771 | 284234.1757 | 62.0402 | 75.7
14713 | 2021-02-18 11:10 | 15.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.605 | μmol/L | 11.2647 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232917.7506 | 284229.3195 | 62.0402 | 75.7
14723 | 2021-02-18 11:10 | 15.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.5515 | μmol/L | 11.2708 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232921.2485 | 284232.6198 | 62.0402 | 75.7
14733 | 2021-02-18 11:11 | 15.6676 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.5063 | μmol/L | 11.2708 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 232910.155 | 284231.5758 | 62.0402 | 75.7
14743 | 2021-02-18 11:11 | 16.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.5063 | μmol/L | 11.2708 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.615 | 232905.5287 | 284209.7349 | 62.0402 | 75.7
14753 | 2021-02-18 11:11 | 16.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4981 | μmol/L | 11.2769 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.613 | 232890.5282 | 284207.1741 | 62.0402 | 75.7
14763 | 2021-02-18 11:12 | 16.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.5207 | μmol/L | 11.2769 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232907.4189 | 284205.1297 | 62.0402 | 75.7
14773 | 2021-02-18 11:12 | 17.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4221 | μmol/L | 11.283 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232892.3745 | 284192.8663 | 62.0402 | 75.7
14783 | 2021-02-18 11:12 | 17.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4898 | μmol/L | 11.283 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232896.3776 | 284196.4139 | 62.0402 | 75.7
14793 | 2021-02-18 11:13 | 17.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4755 | μmol/L | 11.2769 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232891.9515 | 284177.3931 | 62.0402 | 75.7
14803 | 2021-02-18 11:13 | 18.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4138 | μmol/L | 11.2891 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232876.512 | 284172.6441 | 62.0402 | 75.7
14813 | 2021-02-18 11:13 | 18.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.3153 | μmol/L | 11.2953 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232864.4284 | 284162.3869 | 62.0402 | 75.7
14823 | 2021-02-18 11:14 | 18.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.3604 | μmol/L | 11.2953 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232866.3372 | 284160.2099 | 62.0402 | 75.7
14833 | 2021-02-18 11:14 | 19.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4056 | μmol/L | 11.2953 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232856.505 | 284157.3477 | 62.0402 | 75.7
14843 | 2021-02-18 11:14 | 19.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.3153 | μmol/L | 11.2953 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.614 | 232845.8522 | 284147.3339 | 62.0402 | 75.7
14853 | 2021-02-18 11:15 | 19.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.383 | μmol/L | 11.2953 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232842.7548 | 284137.4523 | 62.0402 | 75.7
14863 | 2021-02-18 11:15 | 20.0009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4056 | μmol/L | 11.2953 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232840.1302 | 284142.2981 | 62.0402 | 75.7
14873 | 2021-02-18 11:15 | 20.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.3974 | μmol/L | 11.3014 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.608 | 232822.7252 | 284130.8979 | 62.0402 | 75.7
14883 | 2021-02-18 11:16 | 20.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.4056 | μmol/L | 11.2953 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232828.5479 | 284114.5175 | 62.0402 | 75.7
14893 | 2021-02-18 11:16 | 21.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.3748 | μmol/L | 11.3014 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232810.5451 | 284118.1 | 62.0402 | 75.7
14903 | 2021-02-18 11:16 | 21.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.2454 | μmol/L | 11.3136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232811.4573 | 284105.5463 | 62.0402 | 75.7
14913 | 2021-02-18 11:17 | 21.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.2762 | μmol/L | 11.3075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232805.9658 | 284098.5559 | 62.0402 | 75.7
14923 | 2021-02-18 11:17 | 22.0008 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.2537 | μmol/L | 11.3075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.612 | 232797.4489 | 284098.0902 | 62.0402 | 75.7
14933 | 2021-02-18 11:17 | 22.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.2762 | μmol/L | 11.3075 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232783.4924 | 284096.3865 | 62.0402 | 75.7
14943 | 2021-02-18 11:18 | 22.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.2454 | μmol/L | 11.3136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232775.2309 | 284076.3955 | 62.0402 | 75.7
14953 | 2021-02-18 11:18 | 23.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.268 | μmol/L | 11.3136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232756.5166 | 284075.5496 | 62.0402 | 75.7
14963 | 2021-02-18 11:18 | 23.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.2454 | μmol/L | 11.3136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.61 | 232752.0638 | 284051.4821 | 62.0402 | 75.7
14973 | 2021-02-18 11:19 | 23.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.268 | μmol/L | 11.3136 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232748.6053 | 284037.7989 | 62.0402 | 75.7
14983 | 2021-02-18 11:19 | 24.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.1695 | μmol/L | 11.3197 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.611 | 232729.8225 | 284041.6862 | 62.0402 | 75.7
14993 | 2021-02-18 11:19 | 24.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.1613 | μmol/L | 11.3259 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232725.8242 | 284029.752 | 62.0402 | 75.7
15003 | 2021-02-18 11:20 | 24.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.1839 | μmol/L | 11.3259 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.608 | 232716.8012 | 284026.2614 | 62.0402 | 75.7
15013 | 2021-02-18 11:20 | 25.0008 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.2065 | μmol/L | 11.3259 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.607 | 232710.6573 | 284020.3783 | 62.0402 | 75.7
15023 | 2021-02-18 11:20 | 25.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.1613 | μmol/L | 11.3259 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232705.7305 | 284013.6407 | 62.0402 | 75.7
15033 | 2021-02-18 11:21 | 25.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.229 | μmol/L | 11.3259 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.606 | 232695.613 | 284000.8575 | 62.0402 | 75.7
15043 | 2021-02-18 11:21 | 26.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.108 | μmol/L | 11.332 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.609 | 232681.425 | 284001.3857 | 62.0402 | 75.7
15053 | 2021-02-18 11:21 | 26.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.0772 | μmol/L | 11.3381 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.608 | 232662.3375 | 283980.4573 | 62.0402 | 75.7
15063 | 2021-02-18 11:22 | 26.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.0772 | μmol/L | 11.3381 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.608 | 232644.8057 | 283977.0796 | 62.0402 | 75.7
15073 | 2021-02-18 11:22 | 27.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.0998 | μmol/L | 11.3381 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.607 | 232636.3523 | 283969.976 | 62.0402 | 75.7
15083 | 2021-02-18 11:22 | 27.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.0465 | μmol/L | 11.3442 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.607 | 232634.2409 | 283959.3667 | 62.0402 | 75.7
15093 | 2021-02-18 11:23 | 27.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.0916 | μmol/L | 11.3442 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.605 | 232625.7291 | 283950.027 | 62.0402 | 75.7
15103 | 2021-02-18 11:23 | 28.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9932 | μmol/L | 11.3503 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.607 | 232617.7866 | 283955.0768 | 62.0402 | 75.7
15113 | 2021-02-18 11:23 | 28.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.0076 | μmol/L | 11.3565 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.604 | 232596.4439 | 283941.1813 | 62.0402 | 75.7
15123 | 2021-02-18 11:24 | 28.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9769 | μmol/L | 11.3626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.603 | 232589.2791 | 283928.206 | 62.0402 | 75.7
15133 | 2021-02-18 11:24 | 29.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9625 | μmol/L | 11.3565 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.606 | 232587.9524 | 283916.4444 | 62.0402 | 75.7
15143 | 2021-02-18 11:24 | 29.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9092 | μmol/L | 11.3626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.606 | 232574.9025 | 283905.4288 | 62.0402 | 75.7
15153 | 2021-02-18 11:25 | 29.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 268.0076 | μmol/L | 11.3565 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.604 | 232556.1093 | 283898.2039 | 62.0402 | 75.7
15163 | 2021-02-18 11:25 | 30.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9625 | μmol/L | 11.3565 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.606 | 232548.0294 | 283904.3471 | 62.0402 | 75.7
15173 | 2021-02-18 11:25 | 30.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9769 | μmol/L | 11.3626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.603 | 232543.3747 | 283900.0568 | 62.0402 | 75.7
15183 | 2021-02-18 11:26 | 30.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9543 | μmol/L | 11.3626 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.604 | 232535.1086 | 283885.0304 | 62.0402 | 75.7
15193 | 2021-02-18 11:26 | 31.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9011 | μmol/L | 11.3687 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.604 | 232527.7933 | 283890.3802 | 62.0402 | 75.7
15203 | 2021-02-18 11:26 | 31.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9462 | μmol/L | 11.3687 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.602 | 232517.9184 | 283877.4959 | 62.0402 | 75.7
15213 | 2021-02-18 11:27 | 31.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9462 | μmol/L | 11.3687 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.602 | 232511.396 | 283871.1139 | 62.0402 | 75.7
15223 | 2021-02-18 11:27 | 32.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.938 | μmol/L | 11.3748 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.6 | 232504.0418 | 283855.2315 | 62.0402 | 75.7
15233 | 2021-02-18 11:27 | 32.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.8929 | μmol/L | 11.3748 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.602 | 232495.1554 | 283846.3014 | 62.0402 | 75.7
15243 | 2021-02-18 11:28 | 32.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.9155 | μmol/L | 11.3748 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.601 | 232484.131 | 283848.1123 | 62.0402 | 75.7
15253 | 2021-02-18 11:28 | 33.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.8397 | μmol/L | 11.3809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.602 | 232473.8385 | 283844.1365 | 62.0402 | 75.7
15263 | 2021-02-18 11:28 | 33.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.8622 | μmol/L | 11.3809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.601 | 232470.1892 | 283829.9887 | 62.0402 | 75.7
15273 | 2021-02-18 11:29 | 33.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.8622 | μmol/L | 11.3809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.601 | 232470.7286 | 283842.8933 | 62.0402 | 75.7
15283 | 2021-02-18 11:29 | 34.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.8622 | μmol/L | 11.3809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.601 | 232452.7301 | 283825.3793 | 62.0402 | 75.7
15293 | 2021-02-18 11:29 | 34.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7784 | μmol/L | 11.3932 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.6 | 232443.7947 | 283824.88 | 62.0402 | 75.7
15303 | 2021-02-18 11:30 | 34.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.8009 | μmol/L | 11.3932 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.599 | 232439.6448 | 283824.3695 | 62.0402 | 75.7
15313 | 2021-02-18 11:30 | 35.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7865 | μmol/L | 11.3871 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.602 | 232425.3048 | 283805.9867 | 62.0402 | 75.7
15323 | 2021-02-18 11:30 | 35.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7702 | μmol/L | 11.3993 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.598 | 232416.7921 | 283801.8722 | 62.0402 | 75.7
15333 | 2021-02-18 11:31 | 35.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.8009 | μmol/L | 11.3932 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.599 | 232417.4358 | 283801.9094 | 62.0402 | 75.7
15343 | 2021-02-18 11:31 | 36.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7477 | μmol/L | 11.3993 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.599 | 232396.8755 | 283779.1975 | 62.0402 | 75.7
15353 | 2021-02-18 11:31 | 36.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7252 | μmol/L | 11.3993 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.6 | 232395.6739 | 283789.8316 | 62.0402 | 75.7
15363 | 2021-02-18 11:32 | 36.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7702 | μmol/L | 11.3993 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.598 | 232381.4745 | 283775.8313 | 62.0402 | 75.7
15373 | 2021-02-18 11:32 | 37.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7171 | μmol/L | 11.4054 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.598 | 232369.0487 | 283764.2527 | 62.0402 | 75.7
15383 | 2021-02-18 11:32 | 37.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.6188 | μmol/L | 11.4115 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.6 | 232365.499 | 283769.6642 | 62.0402 | 75.7
15393 | 2021-02-18 11:33 | 37.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.7089 | μmol/L | 11.4115 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.596 | 232363.3629 | 283758.2806 | 62.0402 | 75.7
15403 | 2021-02-18 11:33 | 38.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.6828 | μmol/L | 11.4115 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.597 | 232349.6489 | 283741.8268 | 62.0402 | 75.7
15413 | 2021-02-18 11:33 | 38.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.6521 | μmol/L | 11.4176 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.596 | 232344.8231 | 283740.5146 | 62.0402 | 75.7
15423 | 2021-02-18 11:34 | 38.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.6828 | μmol/L | 11.4115 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.597 | 232345.3074 | 283732.0468 | 62.0402 | 75.7
15433 | 2021-02-18 11:34 | 39.0008 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.5846 | μmol/L | 11.4176 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.599 | 232334.8197 | 283733.5005 | 62.0402 | 75.7
15443 | 2021-02-18 11:34 | 39.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.6026 | μmol/L | 11.4238 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.596 | 232335.2829 | 283734.8272 | 62.0402 | 75.7
15453 | 2021-02-18 11:35 | 39.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.6296 | μmol/L | 11.4176 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.597 | 232314.3395 | 283730.2002 | 62.0402 | 75.7
15463 | 2021-02-18 11:35 | 40.0008 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.5539 | μmol/L | 11.4238 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.598 | 232304.5482 | 283718.528 | 62.0402 | 75.7
15473 | 2021-02-18 11:35 | 40.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.5008 | μmol/L | 11.4299 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.598 | 232295.2452 | 283714.47 | 62.0402 | 75.7
15483 | 2021-02-18 11:36 | 40.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.5233 | μmol/L | 11.4299 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.597 | 232291.6823 | 283702.3735 | 62.0402 | 75.7
15493 | 2021-02-18 11:36 | 41.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4927 | μmol/L | 11.436 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.596 | 232285.3855 | 283702.7269 | 62.0402 | 75.7
15503 | 2021-02-18 11:36 | 41.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.5152 | μmol/L | 11.436 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.595 | 232270.1206 | 283691.037 | 62.0402 | 75.7
15513 | 2021-02-18 11:37 | 41.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4171 | μmol/L | 11.4421 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.597 | 232254.2788 | 283684.8764 | 62.0402 | 75.7
15523 | 2021-02-18 11:37 | 42.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4433 | μmol/L | 11.4421 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.596 | 232258.5109 | 283681.1592 | 62.0402 | 75.7
15533 | 2021-02-18 11:37 | 42.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4847 | μmol/L | 11.4421 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.594 | 232237.0072 | 283674.0685 | 62.0402 | 75.7
15543 | 2021-02-18 11:38 | 42.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4621 | μmol/L | 11.4421 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.595 | 232236.2692 | 283671.8124 | 62.0402 | 75.7
15553 | 2021-02-18 11:38 | 43.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.3596 | μmol/L | 11.4544 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.595 | 232220.4376 | 283663.2657 | 62.0402 | 75.7
15563 | 2021-02-18 11:38 | 43.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4621 | μmol/L | 11.4421 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.595 | 232213.6239 | 283648.1808 | 62.0402 | 75.7
15573 | 2021-02-18 11:39 | 43.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4497 | μmol/L | 11.4544 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.591 | 232209.5581 | 283656.5134 | 62.0402 | 75.7
15583 | 2021-02-18 11:39 | 44.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.4235 | μmol/L | 11.4544 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.592 | 232192.638 | 283634.2775 | 62.0402 | 75.7
15593 | 2021-02-18 11:39 | 44.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.3704 | μmol/L | 11.4605 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.592 | 232184.9888 | 283637.3596 | 62.0402 | 75.7
15603 | 2021-02-18 11:40 | 44.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.3966 | μmol/L | 11.4605 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.591 | 232173.384 | 283634.9954 | 62.0402 | 75.7
15613 | 2021-02-18 11:40 | 45.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2643 | μmol/L | 11.4727 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.592 | 232159.5791 | 283616.6575 | 62.0402 | 75.7
15623 | 2021-02-18 11:40 | 45.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.3624 | μmol/L | 11.4666 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.59 | 232157.2687 | 283616.3334 | 62.0402 | 75.7
15633 | 2021-02-18 11:41 | 45.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2338 | μmol/L | 11.4788 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.591 | 232140.4772 | 283612.6682 | 62.0402 | 75.7
15643 | 2021-02-18 11:41 | 46.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.3849 | μmol/L | 11.4666 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.589 | 232133.3126 | 283608.0383 | 62.0402 | 75.7
15653 | 2021-02-18 11:41 | 46.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.3355 | μmol/L | 11.4727 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.589 | 232121.5495 | 283613.3127 | 62.0402 | 75.7
15663 | 2021-02-18 11:42 | 46.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2868 | μmol/L | 11.4727 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.591 | 232117.774 | 283596.634 | 62.0402 | 75.7
15673 | 2021-02-18 11:42 | 47.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2033 | μmol/L | 11.485 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.59 | 232115.6791 | 283602.7381 | 62.0402 | 75.7
15683 | 2021-02-18 11:42 | 47.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2788 | μmol/L | 11.4788 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.589 | 232090.0817 | 283590.3066 | 62.0402 | 75.7
15693 | 2021-02-18 11:43 | 47.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2257 | μmol/L | 11.485 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.589 | 232080.7263 | 283578.1427 | 62.0402 | 75.7
15703 | 2021-02-18 11:43 | 48.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2744 | μmol/L | 11.485 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.587 | 232070.1397 | 283577.6853 | 62.0402 | 75.7
15713 | 2021-02-18 11:43 | 48.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2482 | μmol/L | 11.485 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.588 | 232062.4418 | 283568.6355 | 62.0402 | 75.7
15723 | 2021-02-18 11:44 | 48.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1764 | μmol/L | 11.4911 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.589 | 232061.6196 | 283569.5081 | 62.0402 | 75.7
15733 | 2021-02-18 11:44 | 49.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.3158 | μmol/L | 11.485 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 232052.6611 | 283566.0632 | 62.0402 | 75.7
15743 | 2021-02-18 11:44 | 49.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1952 | μmol/L | 11.4911 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.588 | 232031.0009 | 283550.2076 | 62.0402 | 75.7
15753 | 2021-02-18 11:45 | 49.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1117 | μmol/L | 11.5033 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.587 | 232026.3692 | 283541.9529 | 62.0402 | 75.7
15763 | 2021-02-18 11:45 | 50.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2097 | μmol/L | 11.4972 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 232016.3071 | 283539.8787 | 62.0402 | 75.7
15773 | 2021-02-18 11:45 | 50.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.2017 | μmol/L | 11.5033 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 231993.8867 | 283532.3807 | 62.0402 | 75.7
15783 | 2021-02-18 11:46 | 50.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1422 | μmol/L | 11.4972 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.588 | 231988.0229 | 283517.8005 | 62.0402 | 75.7
15793 | 2021-02-18 11:46 | 51.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1567 | μmol/L | 11.5033 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 231987.38 | 283530.4942 | 62.0402 | 75.7
15803 | 2021-02-18 11:46 | 51.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0957 | μmol/L | 11.5156 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 231973.3358 | 283512.1751 | 62.0402 | 75.7
15813 | 2021-02-18 11:47 | 51.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1182 | μmol/L | 11.5156 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.582 | 231968.2396 | 283508.6924 | 62.0402 | 75.7
15823 | 2021-02-18 11:47 | 52.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1037 | μmol/L | 11.5094 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 231965.0168 | 283516.7481 | 62.0402 | 75.7
15833 | 2021-02-18 11:47 | 52.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0957 | μmol/L | 11.5156 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 231964.2153 | 283509.5114 | 62.0402 | 75.7
15843 | 2021-02-18 11:48 | 52.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0508 | μmol/L | 11.5156 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 231951.3443 | 283496.2956 | 62.0402 | 75.7
15853 | 2021-02-18 11:48 | 53.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0428 | μmol/L | 11.5217 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 231946.8968 | 283491.3631 | 62.0402 | 75.7
15863 | 2021-02-18 11:48 | 53.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0653 | μmol/L | 11.5217 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.582 | 231935.6697 | 283485.6039 | 62.0402 | 75.7
15873 | 2021-02-18 11:49 | 53.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0348 | μmol/L | 11.5278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.581 | 231932.0669 | 283478.1988 | 62.0402 | 75.7
15883 | 2021-02-18 11:49 | 54.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.1102 | μmol/L | 11.5217 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.58 | 231928.157 | 283470.351 | 62.0402 | 75.7
15893 | 2021-02-18 11:49 | 54.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0123 | μmol/L | 11.5278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.582 | 231915.5579 | 283469.367 | 62.0402 | 75.7
15903 | 2021-02-18 11:50 | 54.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.9449 | μmol/L | 11.5278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 231907.8572 | 283458.4677 | 62.0402 | 75.7
15913 | 2021-02-18 11:50 | 55.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0123 | μmol/L | 11.5278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.582 | 231888.7538 | 283450.7827 | 62.0402 | 75.7
15923 | 2021-02-18 11:50 | 55.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.9594 | μmol/L | 11.5339 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.582 | 231885.1932 | 283450.0852 | 62.0402 | 75.7
15933 | 2021-02-18 11:51 | 55.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 267.0268 | μmol/L | 11.5339 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.579 | 231877.0513 | 283441.4083 | 62.0402 | 75.7
15943 | 2021-02-18 11:51 | 56.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.9818 | μmol/L | 11.5339 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.581 | 231867.7536 | 283433.7339 | 62.0402 | 75.7
15953 | 2021-02-18 11:51 | 56.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8985 | μmol/L | 11.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.58 | 231860.4451 | 283428.9125 | 62.0402 | 75.7
15963 | 2021-02-18 11:52 | 56.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.9739 | μmol/L | 11.54 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.579 | 231850.5545 | 283416.853 | 62.0402 | 75.7
15973 | 2021-02-18 11:52 | 57.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.921 | μmol/L | 11.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.579 | 231838.8659 | 283424.3278 | 62.0402 | 75.7
15983 | 2021-02-18 11:52 | 57.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8905 | μmol/L | 11.5523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.578 | 231828.1943 | 283421.2061 | 62.0402 | 75.7
15993 | 2021-02-18 11:53 | 57.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8456 | μmol/L | 11.5523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.58 | 231834.212 | 283411.8629 | 62.0402 | 75.7
16003 | 2021-02-18 11:53 | 58.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.913 | μmol/L | 11.5523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.577 | 231814.8682 | 283411.524 | 62.0402 | 75.7
16013 | 2021-02-18 11:53 | 58.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8152 | μmol/L | 11.5584 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.579 | 231811.4905 | 283409.4011 | 62.0402 | 75.7
16023 | 2021-02-18 11:54 | 58.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.913 | μmol/L | 11.5523 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.577 | 231797.8202 | 283406.3408 | 62.0402 | 75.7
16033 | 2021-02-18 11:54 | 59.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8601 | μmol/L | 11.5584 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.577 | 231792.9531 | 283396.135 | 62.0402 | 75.7
16043 | 2021-02-18 11:54 | 59.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8297 | μmol/L | 11.5645 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.576 | 231780.5431 | 283387.9364 | 62.0402 | 75.7
16053 | 2021-02-18 11:55 | 59.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8072 | μmol/L | 11.5645 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.577 | 231770.6041 | 283386.7647 | 62.0402 | 75.7
16063 | 2021-02-18 11:55 | 60.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7768 | μmol/L | 11.5706 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.576 | 231768.3663 | 283380.429 | 62.0402 | 75.7
16073 | 2021-02-18 11:55 | 60.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.8746 | μmol/L | 11.5645 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.574 | 231765.4937 | 283377.0092 | 62.0402 | 75.7
16083 | 2021-02-18 11:56 | 60.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7768 | μmol/L | 11.5706 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.576 | 231756.5278 | 283377.4783 | 62.0402 | 75.7
16093 | 2021-02-18 11:56 | 61.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7768 | μmol/L | 11.5706 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.576 | 231750.3015 | 283361.3661 | 62.0402 | 75.7
16103 | 2021-02-18 11:56 | 61.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7544 | μmol/L | 11.5706 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.577 | 231747.4385 | 283369.4399 | 62.0402 | 75.7
16113 | 2021-02-18 11:57 | 61.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7464 | μmol/L | 11.5768 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231741.6996 | 283369.8375 | 62.0402 | 75.7
16123 | 2021-02-18 11:57 | 62.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7464 | μmol/L | 11.5768 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231732.5158 | 283378.5073 | 62.0402 | 75.7
16133 | 2021-02-18 11:57 | 62.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7464 | μmol/L | 11.5768 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231722.5586 | 283356.0482 | 62.0402 | 75.7
16143 | 2021-02-18 11:58 | 62.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7464 | μmol/L | 11.5768 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231715.3464 | 283350.9094 | 62.0402 | 75.7
16153 | 2021-02-18 11:58 | 63.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.7385 | μmol/L | 11.5829 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 231714.0009 | 283340.7771 | 62.0402 | 75.7
16163 | 2021-02-18 11:58 | 63.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6857 | μmol/L | 11.589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 231704.8048 | 283337.9961 | 62.0402 | 75.7
16173 | 2021-02-18 11:59 | 63.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6408 | μmol/L | 11.589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231713.5891 | 283336.8792 | 62.0402 | 75.7
16183 | 2021-02-18 11:59 | 64.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6183 | μmol/L | 11.589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.576 | 231693.2603 | 283328.6928 | 62.0402 | 75.7
16193 | 2021-02-18 11:59 | 64.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6632 | μmol/L | 11.589 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.574 | 231690.4576 | 283332.916 | 62.0402 | 75.7
16203 | 2021-02-18 12:00 | 64.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6104 | μmol/L | 11.5951 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.574 | 231679.416 | 283314.3591 | 62.0402 | 75.7
16213 | 2021-02-18 12:00 | 65.0009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.5879 | μmol/L | 11.5951 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231685.7149 | 283316.5654 | 62.0402 | 75.7
16223 | 2021-02-18 12:00 | 65.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.5352 | μmol/L | 11.6012 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231681.8025 | 283333.5298 | 62.0402 | 75.7
16233 | 2021-02-18 12:01 | 65.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6329 | μmol/L | 11.5951 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 231678.86 | 283313.703 | 62.0402 | 75.7
16243 | 2021-02-18 12:01 | 66.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6249 | μmol/L | 11.6012 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 231670.1 | 283316.9303 | 62.0402 | 75.7
16253 | 2021-02-18 12:01 | 66.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.6025 | μmol/L | 11.6012 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 231656.5571 | 283313.7701 | 62.0402 | 75.7
16263 | 2021-02-18 12:02 | 66.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.4824 | μmol/L | 11.6074 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.575 | 231653.3782 | 283308.2016 | 62.0402 | 75.7
16273 | 2021-02-18 12:02 | 67.0009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.5273 | μmol/L | 11.6074 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 231658.7106 | 283301.3518 | 62.0402 | 75.7
16283 | 2021-02-18 12:02 | 67.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.4969 | μmol/L | 11.6135 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 231658.5281 | 283304.3808 | 62.0402 | 75.7
16293 | 2021-02-18 12:03 | 67.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.5194 | μmol/L | 11.6135 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 231665.8484 | 283299.7324 | 62.0402 | 75.7
16303 | 2021-02-18 12:03 | 68.0004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.5418 | μmol/L | 11.6135 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 231653.5147 | 283304.6635 | 62.0402 | 75.7
16313 | 2021-02-18 12:03 | 68.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.5194 | μmol/L | 11.6135 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 231648.3389 | 283292.3988 | 62.0402 | 75.7
16323 | 2021-02-18 12:04 | 68.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.489 | μmol/L | 11.6196 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 231650.0187 | 283296.1095 | 62.0402 | 75.7
16333 | 2021-02-18 12:04 | 69.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.4217 | μmol/L | 11.6196 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 231645.8854 | 283294.8746 | 62.0402 | 75.7
16343 | 2021-02-18 12:04 | 69.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.4363 | μmol/L | 11.6257 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 231627.3222 | 283282.9983 | 62.0402 | 75.7
16353 | 2021-02-18 12:05 | 69.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.5339 | μmol/L | 11.6196 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 231627.0081 | 283269.8392 | 62.0402 | 75.7
16363 | 2021-02-18 12:05 | 70.0009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.4442 | μmol/L | 11.6196 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.572 | 231626.9651 | 283268.6987 | 62.0402 | 75.7
16373 | 2021-02-18 12:05 | 70.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.4138 | μmol/L | 11.6257 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 231621.2306 | 283269.7536 | 62.0402 | 75.7
16383 | 2021-02-18 12:06 | 70.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.3611 | μmol/L | 11.6318 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 231616.0619 | 283269.1195 | 62.0402 | 75.7
16393 | 2021-02-18 12:06 | 71.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.3611 | μmol/L | 11.6318 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 231613.9689 | 283271.5437 | 62.0402 | 75.7
16403 | 2021-02-18 12:06 | 71.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.406 | μmol/L | 11.6318 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 231606.3534 | 283259.0168 | 62.0402 | 75.7
16413 | 2021-02-18 12:07 | 71.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.3532 | μmol/L | 11.638 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 231595.5341 | 283264.353 | 62.0402 | 75.7
16423 | 2021-02-18 12:07 | 72.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.3981 | μmol/L | 11.638 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 231606.611 | 283255.1154 | 62.0402 | 75.7
16433 | 2021-02-18 12:07 | 72.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.4284 | μmol/L | 11.6318 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 231594.1263 | 283264.204 | 62.0402 | 75.7
16443 | 2021-02-18 12:08 | 72.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.3757 | μmol/L | 11.638 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 231593.132 | 283242.4563 | 62.0402 | 75.7
16453 | 2021-02-18 12:08 | 73.0008 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.3454 | μmol/L | 11.6441 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 231599.491 | 283248.0553 | 62.0402 | 75.7
16463 | 2021-02-18 12:08 | 73.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.3454 | μmol/L | 11.6441 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 231602.5265 | 283255.0341 | 62.0402 | 75.7
16473 | 2021-02-18 12:09 | 73.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.323 | μmol/L | 11.6441 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 231577.714 | 283255.2141 | 62.0402 | 75.7
16483 | 2021-02-18 12:09 | 74.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1503 | μmol/L | 11.6563 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.571 | 231580.7345 | 283236.7782 | 62.0402 | 75.7
16493 | 2021-02-18 12:09 | 74.3341 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.2478 | μmol/L | 11.6502 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 231592.9308 | 283254.0815 | 62.0402 | 75.7
16503 | 2021-02-18 12:10 | 74.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.2176 | μmol/L | 11.6563 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 231587.8996 | 283239.8983 | 62.0402 | 75.7
16513 | 2021-02-18 12:10 | 75.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1727 | μmol/L | 11.6563 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.57 | 231575.366 | 283232.8397 | 62.0402 | 75.7
16523 | 2021-02-18 12:10 | 75.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.2624 | μmol/L | 11.6563 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.566 | 231580.3926 | 283226.7275 | 62.0402 | 75.7
16533 | 2021-02-18 12:11 | 75.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1649 | μmol/L | 11.6624 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.568 | 231582.7571 | 283227.6941 | 62.0402 | 75.7
16543 | 2021-02-18 12:11 | 76.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1795 | μmol/L | 11.6686 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 231577.3046 | 283225.23 | 62.0402 | 75.7
16553 | 2021-02-18 12:11 | 76.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.2321 | μmol/L | 11.6624 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 231568.0583 | 283216.3402 | 62.0402 | 75.7
16563 | 2021-02-18 12:12 | 76.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.157 | μmol/L | 11.6686 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.566 | 231573.2787 | 283214.7433 | 62.0402 | 75.7
16573 | 2021-02-18 12:12 | 77.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1346 | μmol/L | 11.6686 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 231565.8299 | 283197.7046 | 62.0402 | 75.7
16583 | 2021-02-18 12:12 | 77.3337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.0898 | μmol/L | 11.6686 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.569 | 231576.681 | 283199.57 | 62.0402 | 75.7
16593 | 2021-02-18 12:13 | 77.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1346 | μmol/L | 11.6686 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 231553.7487 | 283186.5304 | 62.0402 | 75.7
16603 | 2021-02-18 12:13 | 78.0002 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.082 | μmol/L | 11.6747 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 231552.6391 | 283181.2775 | 62.0402 | 75.7
16613 | 2021-02-18 12:13 | 78.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1268 | μmol/L | 11.6747 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 231549.219 | 283182.7137 | 62.0402 | 75.7
16623 | 2021-02-18 12:14 | 78.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.1268 | μmol/L | 11.6747 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 231544.5581 | 283180.5582 | 62.0402 | 75.7
16633 | 2021-02-18 12:14 | 79.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9767 | μmol/L | 11.6869 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 231530.0781 | 283172.6783 | 62.0402 | 75.7
16643 | 2021-02-18 12:14 | 79.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.0966 | μmol/L | 11.6808 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231541.8195 | 283177.2702 | 62.0402 | 75.7
16653 | 2021-02-18 12:15 | 79.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.0439 | μmol/L | 11.6869 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231529.9689 | 283171.7955 | 62.0402 | 75.7
16663 | 2021-02-18 12:15 | 80.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 266.119 | μmol/L | 11.6808 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 231523.3777 | 283167.0585 | 62.0402 | 75.7
16673 | 2021-02-18 12:15 | 80.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9991 | μmol/L | 11.6869 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.566 | 231531.8584 | 283163.8451 | 62.0402 | 75.7
16683 | 2021-02-18 12:16 | 80.6671 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9913 | μmol/L | 11.693 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231525.1479 | 283169.1485 | 62.0402 | 75.7
16693 | 2021-02-18 12:16 | 81.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9913 | μmol/L | 11.693 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231510.6766 | 283155.8556 | 62.0402 | 75.7
16703 | 2021-02-18 12:16 | 81.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9387 | μmol/L | 11.6992 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231506.7209 | 283163.6315 | 62.0402 | 75.7
16713 | 2021-02-18 12:17 | 81.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9387 | μmol/L | 11.6992 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231495.6519 | 283143.7484 | 62.0402 | 75.7
16723 | 2021-02-18 12:17 | 82.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9835 | μmol/L | 11.6992 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 231498.0542 | 283142.6232 | 62.0402 | 75.7
16733 | 2021-02-18 12:17 | 82.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9309 | μmol/L | 11.7053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 231492.4179 | 283148.3046 | 62.0402 | 75.7
16743 | 2021-02-18 12:18 | 82.667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.8112 | μmol/L | 11.7114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 231478.3234 | 283139.275 | 62.0402 | 75.7
16753 | 2021-02-18 12:18 | 83.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9533 | μmol/L | 11.7053 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 231481.1556 | 283132.4019 | 62.0402 | 75.7
16763 | 2021-02-18 12:18 | 83.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.8336 | μmol/L | 11.7114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231483.0887 | 283126.0563 | 62.0402 | 75.7
16773 | 2021-02-18 12:19 | 83.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.8112 | μmol/L | 11.7114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.565 | 231477.5783 | 283128.8234 | 62.0402 | 75.7
16783 | 2021-02-18 12:19 | 84.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9231 | μmol/L | 11.7114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 231467.6592 | 283122.6586 | 62.0402 | 75.7
16793 | 2021-02-18 12:19 | 84.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.8336 | μmol/L | 11.7114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231465.9573 | 283106.3549 | 62.0402 | 75.7
16803 | 2021-02-18 12:20 | 84.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.781 | μmol/L | 11.7175 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.564 | 231467.5958 | 283109.662 | 62.0402 | 75.7
16813 | 2021-02-18 12:20 | 85.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.9008 | μmol/L | 11.7114 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 231459.4039 | 283117.0999 | 62.0402 | 75.7
16823 | 2021-02-18 12:20 | 85.3342 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7509 | μmol/L | 11.7236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 231451.8991 | 283106.9878 | 62.0402 | 75.7
16833 | 2021-02-18 12:21 | 85.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7732 | μmol/L | 11.7236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 231442.8197 | 283093.3483 | 62.0402 | 75.7
16843 | 2021-02-18 12:21 | 86.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7732 | μmol/L | 11.7236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 231432.9422 | 283086.7509 | 62.0402 | 75.7
16853 | 2021-02-18 12:21 | 86.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7431 | μmol/L | 11.7298 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 231424.6625 | 283082.3519 | 62.0402 | 75.7
16863 | 2021-02-18 12:22 | 86.6673 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7732 | μmol/L | 11.7236 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.562 | 231425.1385 | 283090.2246 | 62.0402 | 75.7
16873 | 2021-02-18 12:22 | 87.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7431 | μmol/L | 11.7298 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 231421.9212 | 283084.3125 | 62.0402 | 75.7
16883 | 2021-02-18 12:22 | 87.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6906 | μmol/L | 11.7359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 231412.8716 | 283079.9342 | 62.0402 | 75.7
16893 | 2021-02-18 12:23 | 87.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6458 | μmol/L | 11.7359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.563 | 231417.5222 | 283068.139 | 62.0402 | 75.7
16903 | 2021-02-18 12:23 | 88.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6906 | μmol/L | 11.7359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 231407.7864 | 283078.1853 | 62.0402 | 75.7
16913 | 2021-02-18 12:23 | 88.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7353 | μmol/L | 11.7359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 231397.7987 | 283067.7059 | 62.0402 | 75.7
16923 | 2021-02-18 12:24 | 88.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7052 | μmol/L | 11.742 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 231396.9484 | 283067.849 | 62.0402 | 75.7
16933 | 2021-02-18 12:24 | 89.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.7353 | μmol/L | 11.7359 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 231367.9007 | 283055.1967 | 62.0402 | 75.7
16943 | 2021-02-18 12:24 | 89.3338 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6828 | μmol/L | 11.742 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 231380.5178 | 283065.1264 | 62.0402 | 75.7
16953 | 2021-02-18 12:25 | 89.6675 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6604 | μmol/L | 11.742 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 231387.7126 | 283059.7668 | 62.0402 | 75.7
16963 | 2021-02-18 12:25 | 90.0005 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6303 | μmol/L | 11.7481 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 231383.1968 | 283049.0309 | 62.0402 | 75.7
16973 | 2021-02-18 12:25 | 90.3334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6303 | μmol/L | 11.7481 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 231371.436 | 283041.4866 | 62.0402 | 75.7
16983 | 2021-02-18 12:26 | 90.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6079 | μmol/L | 11.7481 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.56 | 231364.8346 | 283038.9127 | 62.0402 | 75.7
16993 | 2021-02-18 12:26 | 91.0009 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.4953 | μmol/L | 11.7665 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.558 | 231370.5186 | 283038.2634 | 62.0402 | 75.7
17003 | 2021-02-18 12:26 | 91.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.5778 | μmol/L | 11.7542 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.559 | 231367.0109 | 283036.5566 | 62.0402 | 75.7
17013 | 2021-02-18 12:27 | 91.6668 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.5517 | μmol/L | 11.7542 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.56 | 231365.5204 | 283030.4195 | 62.0402 | 75.7
17023 | 2021-02-18 12:27 | 92.0007 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.507 | μmol/L | 11.7542 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.562 | 231364.8241 | 283031.7656 | 62.0402 | 75.7
17033 | 2021-02-18 12:27 | 92.3336 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.6335 | μmol/L | 11.7604 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.554 | 231349.3396 | 283017.6594 | 62.0402 | 75.7
17043 | 2021-02-18 12:28 | 92.6667 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.4916 | μmol/L | 11.7665 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.558 | 231355.2801 | 283016.598 | 62.0402 | 75.7
17053 | 2021-02-18 12:28 | 93.0006 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.4615 | μmol/L | 11.7726 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.557 | 231352.0922 | 283017.2614 | 62.0402 | 75.7
17063 | 2021-02-18 12:28 | 93.3335 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.4615 | μmol/L | 11.7726 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.557 | 231334.5269 | 283008.1811 | 62.0402 | 75.7
17073 | 2021-02-18 12:29 | 93.6674 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.4838 | μmol/L | 11.7726 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.556 | 231336.437 | 283010.4435 | 62.0402 | 75.7
17083 | 2021-02-18 12:29 | 94.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.4391 | μmol/L | 11.7726 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.558 | 231333.9697 | 283007.5513 | 62.0402 | 75.7
17093 | 2021-02-18 12:29 | 94.334 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.342 | μmol/L | 11.7787 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.56 | 231311.4992 | 282994.2874 | 62.0402 | 75.7
17103 | 2021-02-18 12:30 | 94.6672 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.409 | μmol/L | 11.7787 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.557 | 231312.5408 | 282997.2739 | 62.0402 | 75.7
17113 | 2021-02-18 12:30 | 95.0001 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.3867 | μmol/L | 11.7787 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.558 | 231313.012 | 282995.2874 | 62.0402 | 75.7
17123 | 2021-02-18 12:30 | 95.3339 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.2896 | μmol/L | 11.7848 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.56 | 231305.4248 | 282985.214 | 62.0402 | 75.7
17133 | 2021-02-18 12:31 | 95.6669 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.4761 | μmol/L | 11.7787 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.554 | 231305.8942 | 282980.3375 | 62.0402 | 75.7
17143 | 2021-02-18 12:31 | 96.0003 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 265.3343 | μmol/L | 11.7848 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.558 | 231295.0907 | 282979.4794 | 62.0402 | 75.7