## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 12:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
14266 | 2021-02-18 10:55 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 270.0143 | μmol/L | 10.7108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.656 | 157098.6183 | 307975.8081 | 59.9307 | 38.1
14275 | 2021-02-18 10:55 | 0.33282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.9687 | μmol/L | 10.7108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.658 | 157093.8001 | 307980.9332 | 59.9307 | 38.1
14285 | 2021-02-18 10:56 | 0.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.9004 | μmol/L | 10.7108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.661 | 157088.7035 | 307979.5669 | 59.9307 | 38.1
14295 | 2021-02-18 10:56 | 0.99934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.9317 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.662 | 157064.1337 | 307953.3217 | 59.9307 | 38.1
14305 | 2021-02-18 10:56 | 1.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.8776 | μmol/L | 10.7108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.662 | 156989.577 | 307943.1705 | 59.9307 | 38.1
14315 | 2021-02-18 10:57 | 1.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.8321 | μmol/L | 10.7108 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.664 | 156957.0234 | 307955.3512 | 59.9307 | 38.1
14325 | 2021-02-18 10:57 | 1.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.8179 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.667 | 156955.6323 | 307955.8541 | 59.9307 | 38.1
14335 | 2021-02-18 10:57 | 2.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.8493 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.668 | 156965.1856 | 307971.5031 | 59.9307 | 38.1
14345 | 2021-02-18 10:58 | 2.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.8948 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.666 | 156996.3406 | 307998.2559 | 59.9307 | 38.1
14355 | 2021-02-18 10:58 | 2.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.7724 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.669 | 157019.8406 | 308012.6923 | 59.9307 | 38.1
14365 | 2021-02-18 10:58 | 3.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.7582 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.672 | 157036.3834 | 308030.1436 | 59.9307 | 38.1
14375 | 2021-02-18 10:59 | 3.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6814 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.673 | 157057.5291 | 308049.1299 | 59.9307 | 38.1
14385 | 2021-02-18 10:59 | 3.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.781 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.671 | 157072.6684 | 308065.418 | 59.9307 | 38.1
14395 | 2021-02-18 10:59 | 4.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5905 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.677 | 157089.4808 | 308061.0405 | 59.9307 | 38.1
14405 | 2021-02-18 11:00 | 4.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.7128 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.674 | 157118.5302 | 308079.6255 | 59.9307 | 38.1
14415 | 2021-02-18 11:00 | 4.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6673 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.676 | 157126.0745 | 308085.2274 | 59.9307 | 38.1
14425 | 2021-02-18 11:00 | 5.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6445 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.677 | 157147.2089 | 308089.8194 | 59.9307 | 38.1
14435 | 2021-02-18 11:01 | 5.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5905 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.677 | 157161.4387 | 308112.2635 | 59.9307 | 38.1
14445 | 2021-02-18 11:01 | 5.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5905 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.677 | 157174.8925 | 308110.3439 | 59.9307 | 38.1
14455 | 2021-02-18 11:01 | 6.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6218 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.678 | 157204.4542 | 308123.4529 | 59.9307 | 38.1
14465 | 2021-02-18 11:02 | 6.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6445 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.677 | 157220.8011 | 308126.5949 | 59.9307 | 38.1
14475 | 2021-02-18 11:02 | 6.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5678 | μmol/L | 10.7047 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.678 | 157221.0164 | 308134.9429 | 59.9307 | 38.1
14485 | 2021-02-18 11:02 | 7.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5763 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.68 | 157236.0404 | 308145.44 | 59.9307 | 38.1
14495 | 2021-02-18 11:03 | 7.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6304 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.68 | 157266.1264 | 308155.5191 | 59.9307 | 38.1
14505 | 2021-02-18 11:03 | 7.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6076 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.681 | 157254.8502 | 308156.9315 | 59.9307 | 38.1
14515 | 2021-02-18 11:03 | 8.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5991 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.679 | 157265.6087 | 308151.8862 | 59.9307 | 38.1
14525 | 2021-02-18 11:04 | 8.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6218 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.678 | 157272.3019 | 308163.6277 | 59.9307 | 38.1
14535 | 2021-02-18 11:04 | 8.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5849 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.682 | 157282.4796 | 308159.0421 | 59.9307 | 38.1
14545 | 2021-02-18 11:04 | 9.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6304 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.68 | 157297.0866 | 308159.5014 | 59.9307 | 38.1
14555 | 2021-02-18 11:05 | 9.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5763 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.68 | 157302.0546 | 308175.5937 | 59.9307 | 38.1
14565 | 2021-02-18 11:05 | 9.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.6076 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.681 | 157315.0765 | 308167.1182 | 59.9307 | 38.1
14575 | 2021-02-18 11:05 | 10.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5849 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.682 | 157315.2994 | 308169.0385 | 59.9307 | 38.1
14585 | 2021-02-18 11:06 | 10.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5849 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.682 | 157325.2051 | 308166.4625 | 59.9307 | 38.1
14595 | 2021-02-18 11:06 | 10.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4627 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.685 | 157327.8122 | 308161.005 | 59.9307 | 38.1
14605 | 2021-02-18 11:06 | 11.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5935 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.684 | 157326.574 | 308154.3252 | 59.9307 | 38.1
14615 | 2021-02-18 11:07 | 11.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5167 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.685 | 157341.7238 | 308144.0495 | 59.9307 | 38.1
14625 | 2021-02-18 11:07 | 11.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4627 | μmol/L | 10.6986 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.685 | 157332.4786 | 308149.6504 | 59.9307 | 38.1
14635 | 2021-02-18 11:07 | 12.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.494 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.686 | 157349.5309 | 308141.6674 | 59.9307 | 38.1
14645 | 2021-02-18 11:08 | 12.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.548 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.686 | 157353.6202 | 308135.0104 | 59.9307 | 38.1
14655 | 2021-02-18 11:08 | 12.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.5253 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.687 | 157368.3099 | 308140.2108 | 59.9307 | 38.1
14665 | 2021-02-18 11:08 | 13.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4031 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.69 | 157365.0734 | 308144.4704 | 59.9307 | 38.1
14675 | 2021-02-18 11:09 | 13.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4572 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.69 | 157372.6281 | 308133.9558 | 59.9307 | 38.1
14685 | 2021-02-18 11:09 | 13.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4344 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.691 | 157360.9366 | 308126.6102 | 59.9307 | 38.1
14695 | 2021-02-18 11:09 | 14.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4799 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.689 | 157365.0453 | 308128.0318 | 59.9307 | 38.1
14705 | 2021-02-18 11:10 | 14.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4799 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.689 | 157367.2831 | 308112.0201 | 59.9307 | 38.1
14715 | 2021-02-18 11:10 | 14.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4344 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.691 | 157377.171 | 308107.5653 | 59.9307 | 38.1
14725 | 2021-02-18 11:10 | 15.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.443 | μmol/L | 10.6803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.693 | 157378.1828 | 308115.9961 | 59.9307 | 38.1
14735 | 2021-02-18 11:11 | 15.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4572 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.69 | 157375.1625 | 308105.6907 | 59.9307 | 38.1
14745 | 2021-02-18 11:11 | 15.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.443 | μmol/L | 10.6803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.693 | 157376.8699 | 308100.0059 | 59.9307 | 38.1
14755 | 2021-02-18 11:11 | 16.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4885 | μmol/L | 10.6803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.691 | 157375.4547 | 308096.7072 | 59.9307 | 38.1
14765 | 2021-02-18 11:12 | 16.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.4657 | μmol/L | 10.6803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.692 | 157370.437 | 308090.7147 | 59.9307 | 38.1
14775 | 2021-02-18 11:12 | 16.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.3123 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.694 | 157363.2384 | 308072.0261 | 59.9307 | 38.1
14785 | 2021-02-18 11:12 | 17.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.3663 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.694 | 157376.634 | 308081.3956 | 59.9307 | 38.1
14795 | 2021-02-18 11:13 | 17.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.335 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.693 | 157369.8723 | 308064.6641 | 59.9307 | 38.1
14805 | 2021-02-18 11:13 | 17.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.3663 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.694 | 157368.0746 | 308067.3029 | 59.9307 | 38.1
14815 | 2021-02-18 11:13 | 18.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2896 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.695 | 157373.659 | 308068.6621 | 59.9307 | 38.1
14825 | 2021-02-18 11:14 | 18.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.3295 | μmol/L | 10.6803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.698 | 157365.5133 | 308047.3657 | 59.9307 | 38.1
14835 | 2021-02-18 11:14 | 18.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2982 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.697 | 157361.4385 | 308042.0722 | 59.9307 | 38.1
14845 | 2021-02-18 11:14 | 19.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.3209 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.696 | 157352.6639 | 308021.4494 | 59.9307 | 38.1
14855 | 2021-02-18 11:15 | 19.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2755 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.698 | 157372.9255 | 308048.1136 | 59.9307 | 38.1
14865 | 2021-02-18 11:15 | 19.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2755 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.698 | 157345.866 | 308028.9994 | 59.9307 | 38.1
14875 | 2021-02-18 11:15 | 20.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2528 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.699 | 157361.3688 | 308034.1171 | 59.9307 | 38.1
14885 | 2021-02-18 11:16 | 20.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.1761 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.7 | 157358.3174 | 308004.5456 | 59.9307 | 38.1
14895 | 2021-02-18 11:16 | 20.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.1988 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.699 | 157352.8631 | 307993.7931 | 59.9307 | 38.1
14905 | 2021-02-18 11:16 | 21.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2528 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.699 | 157345.2517 | 308003.3105 | 59.9307 | 38.1
14915 | 2021-02-18 11:17 | 21.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2841 | μmol/L | 10.6803 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.7 | 157341.0477 | 307990.8136 | 59.9307 | 38.1
14925 | 2021-02-18 11:17 | 21.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2528 | μmol/L | 10.6864 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.699 | 157336.4469 | 307981.6478 | 59.9307 | 38.1
14935 | 2021-02-18 11:17 | 22.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.1988 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.699 | 157337.2649 | 307974.6068 | 59.9307 | 38.1
14945 | 2021-02-18 11:18 | 22.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.218 | μmol/L | 10.6925 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.698 | 157321.4675 | 307960.2841 | 59.9307 | 38.1
14955 | 2021-02-18 11:18 | 22.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0854 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.704 | 157330.213 | 307951.0516 | 59.9307 | 38.1
14965 | 2021-02-18 11:18 | 23.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.2039 | μmol/L | 10.6864 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.701 | 157331.7327 | 307946.5557 | 59.9307 | 38.1
14975 | 2021-02-18 11:19 | 23.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0627 | μmol/L | 10.6925 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.705 | 157317.2796 | 307936.0469 | 59.9307 | 38.1
14985 | 2021-02-18 11:19 | 23.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0819 | μmol/L | 10.6925 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.704 | 157305.7928 | 307939.7288 | 59.9307 | 38.1
14995 | 2021-02-18 11:19 | 24.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.1132 | μmol/L | 10.6864 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.705 | 157309.1814 | 307924.714 | 59.9307 | 38.1
15005 | 2021-02-18 11:20 | 24.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.1273 | μmol/L | 10.6925 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.702 | 157325.1177 | 307922.7907 | 59.9307 | 38.1
15015 | 2021-02-18 11:20 | 24.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.1132 | μmol/L | 10.6864 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.705 | 157298.0499 | 307911.8773 | 59.9307 | 38.1
15025 | 2021-02-18 11:20 | 25.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0905 | μmol/L | 10.6864 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.706 | 157306.9394 | 307903.9333 | 59.9307 | 38.1
15035 | 2021-02-18 11:21 | 25.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.15 | μmol/L | 10.6925 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.701 | 157296.3505 | 307891.76 | 59.9307 | 38.1
15045 | 2021-02-18 11:21 | 25.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.096 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.701 | 157296.4121 | 307885.1609 | 59.9307 | 38.1
15055 | 2021-02-18 11:21 | 26.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.028 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.704 | 157299.3975 | 307892.9223 | 59.9307 | 38.1
15065 | 2021-02-18 11:22 | 26.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0507 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.703 | 157286.9594 | 307886.1774 | 59.9307 | 38.1
15075 | 2021-02-18 11:22 | 26.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.96 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.707 | 157291.1508 | 307865.6534 | 59.9307 | 38.1
15085 | 2021-02-18 11:22 | 27.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0053 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.705 | 157280.8982 | 307867.0778 | 59.9307 | 38.1
15095 | 2021-02-18 11:23 | 27.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9826 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.706 | 157276.1564 | 307856.2891 | 59.9307 | 38.1
15105 | 2021-02-18 11:23 | 27.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.96 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.707 | 157274.5547 | 307850.8475 | 59.9307 | 38.1
15115 | 2021-02-18 11:23 | 28.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 269.0592 | μmol/L | 10.6925 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.705 | 157263.2975 | 307844.1385 | 59.9307 | 38.1
15125 | 2021-02-18 11:24 | 28.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9826 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.706 | 157267.3149 | 307836.4658 | 59.9307 | 38.1
15135 | 2021-02-18 11:24 | 28.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.96 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.707 | 157260.7206 | 307833.2994 | 59.9307 | 38.1
15145 | 2021-02-18 11:24 | 29.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9146 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.709 | 157253.4324 | 307819.2668 | 59.9307 | 38.1
15155 | 2021-02-18 11:25 | 29.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9826 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.706 | 157236.9225 | 307805.4865 | 59.9307 | 38.1
15165 | 2021-02-18 11:25 | 29.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9826 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.706 | 157245.8453 | 307811.4985 | 59.9307 | 38.1
15175 | 2021-02-18 11:25 | 30.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.96 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.707 | 157242.5077 | 307811.1306 | 59.9307 | 38.1
15185 | 2021-02-18 11:26 | 30.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9146 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.709 | 157247.1291 | 307794.4044 | 59.9307 | 38.1
15195 | 2021-02-18 11:26 | 30.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9373 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.708 | 157250.1164 | 307790.4418 | 59.9307 | 38.1
15205 | 2021-02-18 11:26 | 31.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9685 | μmol/L | 10.6925 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.709 | 157232.6271 | 307786.0726 | 59.9307 | 38.1
15215 | 2021-02-18 11:27 | 31.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.892 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.71 | 157230.4625 | 307773.8197 | 59.9307 | 38.1
15225 | 2021-02-18 11:27 | 31.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9373 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.708 | 157226.5773 | 307790.5396 | 59.9307 | 38.1
15235 | 2021-02-18 11:27 | 32.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.8607 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.709 | 157222.6315 | 307771.7007 | 59.9307 | 38.1
15245 | 2021-02-18 11:28 | 32.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.9146 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.709 | 157223.9764 | 307777.2136 | 59.9307 | 38.1
15255 | 2021-02-18 11:28 | 32.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.8467 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.712 | 157223.8023 | 307770.9911 | 59.9307 | 38.1
15265 | 2021-02-18 11:28 | 33.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.8693 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.711 | 157218.5202 | 307753.702 | 59.9307 | 38.1
15275 | 2021-02-18 11:29 | 33.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7928 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.712 | 157215.7968 | 307759.1142 | 59.9307 | 38.1
15285 | 2021-02-18 11:29 | 33.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.8693 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.711 | 157203.0937 | 307718.6113 | 59.9307 | 38.1
15295 | 2021-02-18 11:29 | 34.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7787 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 157202.5652 | 307726.0518 | 59.9307 | 38.1
15305 | 2021-02-18 11:30 | 34.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7248 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 157199.8107 | 307739.3831 | 59.9307 | 38.1
15315 | 2021-02-18 11:30 | 34.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.8467 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.712 | 157207.0786 | 307716.4458 | 59.9307 | 38.1
15325 | 2021-02-18 11:30 | 35.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.824 | μmol/L | 10.6986 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.713 | 157203.6791 | 307705.2282 | 59.9307 | 38.1
15335 | 2021-02-18 11:31 | 35.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7475 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.714 | 157189.6314 | 307692.2698 | 59.9307 | 38.1
15345 | 2021-02-18 11:31 | 35.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7701 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.713 | 157193.3529 | 307694.9063 | 59.9307 | 38.1
15355 | 2021-02-18 11:31 | 36.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.8154 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.711 | 157192.2302 | 307686.5096 | 59.9307 | 38.1
15365 | 2021-02-18 11:32 | 36.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7475 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.714 | 157181.9149 | 307668.1258 | 59.9307 | 38.1
15375 | 2021-02-18 11:32 | 36.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7389 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.712 | 157183.1629 | 307675.0229 | 59.9307 | 38.1
15385 | 2021-02-18 11:32 | 37.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7022 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 157166.5584 | 307664.2515 | 59.9307 | 38.1
15395 | 2021-02-18 11:33 | 37.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6257 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157170.9109 | 307665.5336 | 59.9307 | 38.1
15405 | 2021-02-18 11:33 | 37.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7022 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 157177.148 | 307649.294 | 59.9307 | 38.1
15415 | 2021-02-18 11:33 | 38.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.7022 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 157162.8359 | 307640.9035 | 59.9307 | 38.1
15425 | 2021-02-18 11:34 | 38.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.8099 | μmol/L | 10.6925 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 157164.9022 | 307640.649 | 59.9307 | 38.1
15435 | 2021-02-18 11:34 | 38.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6936 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.714 | 157153.6971 | 307632.1121 | 59.9307 | 38.1
15445 | 2021-02-18 11:34 | 39.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6569 | μmol/L | 10.7047 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 157156.7134 | 307629.9479 | 59.9307 | 38.1
15455 | 2021-02-18 11:35 | 39.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6483 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 157146.7723 | 307622.989 | 59.9307 | 38.1
15465 | 2021-02-18 11:35 | 39.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.671 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 157147.7383 | 307639.922 | 59.9307 | 38.1
15475 | 2021-02-18 11:35 | 40.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6483 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 157138.9339 | 307620.6702 | 59.9307 | 38.1
15485 | 2021-02-18 11:36 | 40.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6257 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157140.4665 | 307607.3839 | 59.9307 | 38.1
15495 | 2021-02-18 11:36 | 40.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6257 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157131.6802 | 307608.6055 | 59.9307 | 38.1
15505 | 2021-02-18 11:36 | 41.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5719 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157124.1132 | 307604.443 | 59.9307 | 38.1
15515 | 2021-02-18 11:37 | 41.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5945 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 157121.1273 | 307610.7115 | 59.9307 | 38.1
15525 | 2021-02-18 11:37 | 41.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6171 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 157114.9123 | 307599.9123 | 59.9307 | 38.1
15535 | 2021-02-18 11:37 | 42.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6398 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.714 | 157117.01 | 307594.2628 | 59.9307 | 38.1
15545 | 2021-02-18 11:38 | 42.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6257 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157119.9379 | 307591.9716 | 59.9307 | 38.1
15555 | 2021-02-18 11:38 | 42.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6624 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.713 | 157102.8129 | 307587.3697 | 59.9307 | 38.1
15565 | 2021-02-18 11:38 | 43.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6171 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 157103.1902 | 307575.9776 | 59.9307 | 38.1
15575 | 2021-02-18 11:39 | 43.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6257 | μmol/L | 10.7108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157090.2877 | 307579.5878 | 59.9307 | 38.1
15585 | 2021-02-18 11:39 | 43.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5181 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157094.3767 | 307562.7179 | 59.9307 | 38.1
15595 | 2021-02-18 11:39 | 44.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5719 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157081.2011 | 307560.7451 | 59.9307 | 38.1
15605 | 2021-02-18 11:40 | 44.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5719 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157076.5496 | 307541.7534 | 59.9307 | 38.1
15615 | 2021-02-18 11:40 | 44.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6171 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 157076.5654 | 307556.5904 | 59.9307 | 38.1
15625 | 2021-02-18 11:40 | 45.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5719 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157073.7992 | 307544.5437 | 59.9307 | 38.1
15635 | 2021-02-18 11:41 | 45.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4728 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 157068.0287 | 307559.4593 | 59.9307 | 38.1
15645 | 2021-02-18 11:41 | 45.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5181 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157061.2003 | 307528.4 | 59.9307 | 38.1
15655 | 2021-02-18 11:41 | 46.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.6398 | μmol/L | 10.7169 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.714 | 157055.4534 | 307538.8845 | 59.9307 | 38.1
15665 | 2021-02-18 11:42 | 46.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4954 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 157054.2796 | 307532.4056 | 59.9307 | 38.1
15675 | 2021-02-18 11:42 | 46.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4954 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 157046.8003 | 307508.9955 | 59.9307 | 38.1
15685 | 2021-02-18 11:42 | 47.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5181 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157045.8996 | 307504.0996 | 59.9307 | 38.1
15695 | 2021-02-18 11:43 | 47.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5181 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157036.082 | 307520.6765 | 59.9307 | 38.1
15705 | 2021-02-18 11:43 | 47.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4643 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157031.7862 | 307512.7747 | 59.9307 | 38.1
15715 | 2021-02-18 11:43 | 48.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3964 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.72 | 157027.2143 | 307490.8224 | 59.9307 | 38.1
15725 | 2021-02-18 11:44 | 48.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.419 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 157027.9914 | 307505.3462 | 59.9307 | 38.1
15735 | 2021-02-18 11:44 | 48.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4643 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157009.1326 | 307484.1882 | 59.9307 | 38.1
15745 | 2021-02-18 11:44 | 49.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4643 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157011.7095 | 307474.2018 | 59.9307 | 38.1
15755 | 2021-02-18 11:45 | 49.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4728 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 157003.8654 | 307480.8495 | 59.9307 | 38.1
15765 | 2021-02-18 11:45 | 49.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.5181 | μmol/L | 10.723 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 157004.8028 | 307476.861 | 59.9307 | 38.1
15775 | 2021-02-18 11:45 | 50.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4869 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 156996.4794 | 307474.0726 | 59.9307 | 38.1
15785 | 2021-02-18 11:46 | 50.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4869 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 156989.0736 | 307449.906 | 59.9307 | 38.1
15795 | 2021-02-18 11:46 | 50.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3567 | μmol/L | 10.7413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 156983.3445 | 307454.5133 | 59.9307 | 38.1
15805 | 2021-02-18 11:46 | 51.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3879 | μmol/L | 10.7352 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 156979.4224 | 307450.3072 | 59.9307 | 38.1
15815 | 2021-02-18 11:47 | 51.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4643 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 156983.1302 | 307458.9187 | 59.9307 | 38.1
15825 | 2021-02-18 11:47 | 51.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3567 | μmol/L | 10.7413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 156967.0981 | 307436.6717 | 59.9307 | 38.1
15835 | 2021-02-18 11:47 | 52.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.419 | μmol/L | 10.7291 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156960.3513 | 307438.6124 | 59.9307 | 38.1
15845 | 2021-02-18 11:48 | 52.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2351 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.72 | 156963.8327 | 307433.6029 | 59.9307 | 38.1
15855 | 2021-02-18 11:48 | 52.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4331 | μmol/L | 10.7352 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 156945.4702 | 307439.093 | 59.9307 | 38.1
15865 | 2021-02-18 11:48 | 53.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3879 | μmol/L | 10.7352 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 156949.3649 | 307419.1312 | 59.9307 | 38.1
15875 | 2021-02-18 11:49 | 53.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3879 | μmol/L | 10.7352 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 156947.9935 | 307403.433 | 59.9307 | 38.1
15885 | 2021-02-18 11:49 | 53.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2577 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156943.3668 | 307398.069 | 59.9307 | 38.1
15895 | 2021-02-18 11:49 | 54.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.4105 | μmol/L | 10.7352 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.717 | 156932.6116 | 307387.9965 | 59.9307 | 38.1
15905 | 2021-02-18 11:50 | 54.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2577 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156928.6741 | 307388.8406 | 59.9307 | 38.1
15915 | 2021-02-18 11:50 | 54.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3482 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 156927.6942 | 307385.2834 | 59.9307 | 38.1
15925 | 2021-02-18 11:50 | 55.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3341 | μmol/L | 10.7413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 156925.4335 | 307384.5799 | 59.9307 | 38.1
15935 | 2021-02-18 11:51 | 55.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3341 | μmol/L | 10.7413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 156920.0532 | 307363.588 | 59.9307 | 38.1
15945 | 2021-02-18 11:51 | 55.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3115 | μmol/L | 10.7413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156924.1921 | 307378.1085 | 59.9307 | 38.1
15955 | 2021-02-18 11:51 | 56.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2889 | μmol/L | 10.7413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.72 | 156917.6336 | 307382.5928 | 59.9307 | 38.1
15965 | 2021-02-18 11:52 | 56.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.204 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156920.0187 | 307367.3464 | 59.9307 | 38.1
15975 | 2021-02-18 11:52 | 56.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2577 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156908.9361 | 307365.921 | 59.9307 | 38.1
15985 | 2021-02-18 11:52 | 57.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2577 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156901.3205 | 307360.9986 | 59.9307 | 38.1
15995 | 2021-02-18 11:53 | 57.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1899 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.722 | 156901.6179 | 307352.7021 | 59.9307 | 38.1
16005 | 2021-02-18 11:53 | 57.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2804 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 156896.4667 | 307354.2218 | 59.9307 | 38.1
16015 | 2021-02-18 11:53 | 58.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1729 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.718 | 156895.1103 | 307339.6179 | 59.9307 | 38.1
16025 | 2021-02-18 11:54 | 58.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2125 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.721 | 156894.2014 | 307344.3801 | 59.9307 | 38.1
16035 | 2021-02-18 11:54 | 58.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.3115 | μmol/L | 10.7413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156890.1531 | 307341.8187 | 59.9307 | 38.1
16045 | 2021-02-18 11:54 | 59.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1362 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.722 | 156881.7244 | 307333.9328 | 59.9307 | 38.1
16055 | 2021-02-18 11:55 | 59.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1814 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.72 | 156892.5405 | 307336.9711 | 59.9307 | 38.1
16065 | 2021-02-18 11:55 | 59.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.2351 | μmol/L | 10.7473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.72 | 156886.4457 | 307323.2089 | 59.9307 | 38.1
16075 | 2021-02-18 11:55 | 60.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.204 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 156888.9963 | 307325.2565 | 59.9307 | 38.1
16085 | 2021-02-18 11:56 | 60.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1588 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.721 | 156888.2914 | 307326.0355 | 59.9307 | 38.1
16095 | 2021-02-18 11:56 | 60.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1362 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.722 | 156884.1454 | 307323.6957 | 59.9307 | 38.1
16105 | 2021-02-18 11:56 | 61.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1588 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.721 | 156884.3416 | 307313.6661 | 59.9307 | 38.1
16115 | 2021-02-18 11:57 | 61.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.1362 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.722 | 156879.5969 | 307318.7174 | 59.9307 | 38.1
16125 | 2021-02-18 11:57 | 61.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.0374 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156883.2309 | 307311.9254 | 59.9307 | 38.1
16135 | 2021-02-18 11:57 | 62.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.091 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156874.6621 | 307297.5852 | 59.9307 | 38.1
16145 | 2021-02-18 11:58 | 62.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.0685 | μmol/L | 10.7534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156874.4363 | 307307.2026 | 59.9307 | 38.1
16155 | 2021-02-18 11:58 | 62.9998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.0825 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.722 | 156875.5702 | 307289.709 | 59.9307 | 38.1
16165 | 2021-02-18 11:58 | 63.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.0599 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.723 | 156872.3455 | 307275.7962 | 59.9307 | 38.1
16175 | 2021-02-18 11:59 | 63.6658 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.0374 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156867.8048 | 307282.0451 | 59.9307 | 38.1
16185 | 2021-02-18 11:59 | 63.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 268.0374 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156863.4105 | 307265.7344 | 59.9307 | 38.1
16195 | 2021-02-18 11:59 | 64.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9385 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156864.8356 | 307278.498 | 59.9307 | 38.1
16205 | 2021-02-18 12:00 | 64.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9611 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156863.2211 | 307285.7037 | 59.9307 | 38.1
16215 | 2021-02-18 12:00 | 64.9989 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9837 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156863.8755 | 307274.6281 | 59.9307 | 38.1
16225 | 2021-02-18 12:00 | 65.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9611 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156858.3577 | 307276.032 | 59.9307 | 38.1
16235 | 2021-02-18 12:01 | 65.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9837 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156858.525 | 307267.5395 | 59.9307 | 38.1
16245 | 2021-02-18 12:01 | 65.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9075 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156865.2119 | 307278.3754 | 59.9307 | 38.1
16255 | 2021-02-18 12:01 | 66.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9922 | μmol/L | 10.7595 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156865.9144 | 307272.7573 | 59.9307 | 38.1
16265 | 2021-02-18 12:02 | 66.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.916 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156871.2624 | 307283.1665 | 59.9307 | 38.1
16275 | 2021-02-18 12:02 | 66.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8623 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156873.5284 | 307262.8526 | 59.9307 | 38.1
16285 | 2021-02-18 12:02 | 67.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.9385 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156863.0724 | 307259.7026 | 59.9307 | 38.1
16295 | 2021-02-18 12:03 | 67.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8623 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156874.9406 | 307259.6569 | 59.9307 | 38.1
16305 | 2021-02-18 12:03 | 67.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8934 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156860.6974 | 307259.4433 | 59.9307 | 38.1
16315 | 2021-02-18 12:03 | 68.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8934 | μmol/L | 10.7656 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156851.911 | 307252.8698 | 59.9307 | 38.1
16325 | 2021-02-18 12:04 | 68.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8849 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156860.9351 | 307249.8289 | 59.9307 | 38.1
16335 | 2021-02-18 12:04 | 68.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8623 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156864.4307 | 307256.7957 | 59.9307 | 38.1
16345 | 2021-02-18 12:04 | 69.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8538 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156850.9517 | 307238.3595 | 59.9307 | 38.1
16355 | 2021-02-18 12:05 | 69.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8538 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156858.6317 | 307250.8538 | 59.9307 | 38.1
16365 | 2021-02-18 12:05 | 69.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8313 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156837.1867 | 307241.7524 | 59.9307 | 38.1
16375 | 2021-02-18 12:05 | 70.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8172 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156847.6973 | 307226.5489 | 59.9307 | 38.1
16385 | 2021-02-18 12:06 | 70.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.8172 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156841.3782 | 307220.9758 | 59.9307 | 38.1
16395 | 2021-02-18 12:06 | 70.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.71 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156852.6473 | 307229.7187 | 59.9307 | 38.1
16405 | 2021-02-18 12:06 | 71.3325 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7946 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.73 | 156837.3804 | 307220.5352 | 59.9307 | 38.1
16415 | 2021-02-18 12:07 | 71.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.741 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.73 | 156841.2675 | 307205.3896 | 59.9307 | 38.1
16425 | 2021-02-18 12:07 | 71.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7861 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156840.6367 | 307208.8719 | 59.9307 | 38.1
16435 | 2021-02-18 12:07 | 72.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7861 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156842.1106 | 307206.7858 | 59.9307 | 38.1
16445 | 2021-02-18 12:08 | 72.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7636 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156842.4691 | 307210.9768 | 59.9307 | 38.1
16455 | 2021-02-18 12:08 | 72.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7861 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156850.8052 | 307204.4996 | 59.9307 | 38.1
16465 | 2021-02-18 12:08 | 73.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7946 | μmol/L | 10.7717 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.73 | 156836.0463 | 307200.8761 | 59.9307 | 38.1
16475 | 2021-02-18 12:09 | 73.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6874 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.73 | 156839.0838 | 307197.5308 | 59.9307 | 38.1
16485 | 2021-02-18 12:09 | 73.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7776 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156832.8312 | 307191.6539 | 59.9307 | 38.1
16495 | 2021-02-18 12:09 | 74.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6423 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.732 | 156842.4864 | 307202.0273 | 59.9307 | 38.1
16505 | 2021-02-18 12:10 | 74.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6874 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.73 | 156842.3453 | 307195.6836 | 59.9307 | 38.1
16515 | 2021-02-18 12:10 | 74.9992 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7861 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156832.3333 | 307187.4175 | 59.9307 | 38.1
16525 | 2021-02-18 12:10 | 75.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.7636 | μmol/L | 10.7778 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156834.702 | 307188.4101 | 59.9307 | 38.1
16535 | 2021-02-18 12:11 | 75.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.71 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156837.3632 | 307183.5918 | 59.9307 | 38.1
16545 | 2021-02-18 12:11 | 75.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6649 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156821.5911 | 307170.7395 | 59.9307 | 38.1
16555 | 2021-02-18 12:11 | 76.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6564 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156829.7467 | 307160.0417 | 59.9307 | 38.1
16565 | 2021-02-18 12:12 | 76.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5887 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.732 | 156827.512 | 307173.8438 | 59.9307 | 38.1
16575 | 2021-02-18 12:12 | 76.999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6649 | μmol/L | 10.7839 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156837.6324 | 307186.2126 | 59.9307 | 38.1
16585 | 2021-02-18 12:12 | 77.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6113 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156834.6518 | 307162.7827 | 59.9307 | 38.1
16595 | 2021-02-18 12:13 | 77.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6564 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156824.8262 | 307162.4627 | 59.9307 | 38.1
16605 | 2021-02-18 12:13 | 77.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5887 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.732 | 156826.2038 | 307146.9938 | 59.9307 | 38.1
16615 | 2021-02-18 12:13 | 78.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5662 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.733 | 156819.541 | 307136.8154 | 59.9307 | 38.1
16625 | 2021-02-18 12:14 | 78.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5317 | μmol/L | 10.7961 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.732 | 156811.2417 | 307139.4154 | 59.9307 | 38.1
16635 | 2021-02-18 12:14 | 78.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5662 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.733 | 156815.075 | 307146.6038 | 59.9307 | 38.1
16645 | 2021-02-18 12:14 | 79.3326 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5627 | μmol/L | 10.79 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.733 | 156811.1596 | 307126.096 | 59.9307 | 38.1
16655 | 2021-02-18 12:15 | 79.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5887 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.732 | 156815.4855 | 307135.4029 | 59.9307 | 38.1
16665 | 2021-02-18 12:15 | 79.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5662 | μmol/L | 10.79 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.733 | 156805.7656 | 307136.6894 | 59.9307 | 38.1
16675 | 2021-02-18 12:15 | 80.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5458 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156810.23 | 307121.6284 | 59.9307 | 38.1
16685 | 2021-02-18 12:16 | 80.6664 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4866 | μmol/L | 10.7961 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.734 | 156805.357 | 307112.1436 | 59.9307 | 38.1
16695 | 2021-02-18 12:16 | 80.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5458 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156791.2458 | 307105.0659 | 59.9307 | 38.1
16705 | 2021-02-18 12:16 | 81.3323 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5993 | μmol/L | 10.7961 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156788.1114 | 307111.9805 | 59.9307 | 38.1
16715 | 2021-02-18 12:17 | 81.6661 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5007 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156802.045 | 307124.6225 | 59.9307 | 38.1
16725 | 2021-02-18 12:17 | 81.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5768 | μmol/L | 10.7961 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.73 | 156792.4312 | 307112.5119 | 59.9307 | 38.1
16735 | 2021-02-18 12:17 | 82.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5542 | μmol/L | 10.7961 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156773.4681 | 307094.424 | 59.9307 | 38.1
16745 | 2021-02-18 12:18 | 82.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5458 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156779.0111 | 307090.8383 | 59.9307 | 38.1
16755 | 2021-02-18 12:18 | 82.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.6219 | μmol/L | 10.7961 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156767.8713 | 307082.2104 | 59.9307 | 38.1
16765 | 2021-02-18 12:18 | 83.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5542 | μmol/L | 10.7961 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156758.9854 | 307077.8685 | 59.9307 | 38.1
16775 | 2021-02-18 12:19 | 83.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5458 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156749.2189 | 307069.8248 | 59.9307 | 38.1
16785 | 2021-02-18 12:19 | 83.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5683 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156753.0373 | 307079.6515 | 59.9307 | 38.1
16795 | 2021-02-18 12:19 | 84.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5458 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156755.8135 | 307073.8679 | 59.9307 | 38.1
16805 | 2021-02-18 12:20 | 84.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5458 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156750.322 | 307075.3376 | 59.9307 | 38.1
16815 | 2021-02-18 12:20 | 84.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5007 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156747.0812 | 307072.8019 | 59.9307 | 38.1
16825 | 2021-02-18 12:20 | 85.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5458 | μmol/L | 10.8022 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156739.0194 | 307061.8488 | 59.9307 | 38.1
16835 | 2021-02-18 12:21 | 85.6662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4471 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156731.9335 | 307064.4803 | 59.9307 | 38.1
16845 | 2021-02-18 12:21 | 85.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5598 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156731.9843 | 307062.7843 | 59.9307 | 38.1
16855 | 2021-02-18 12:21 | 86.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5148 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156724.9233 | 307060.3196 | 59.9307 | 38.1
16865 | 2021-02-18 12:22 | 86.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5148 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156727.6115 | 307034.0486 | 59.9307 | 38.1
16875 | 2021-02-18 12:22 | 86.9995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.3936 | μmol/L | 10.8144 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.731 | 156722.1619 | 307048.1606 | 59.9307 | 38.1
16885 | 2021-02-18 12:22 | 87.3329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4922 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156712.2241 | 307035.0275 | 59.9307 | 38.1
16895 | 2021-02-18 12:23 | 87.6656 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4922 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156712.5123 | 307030.2946 | 59.9307 | 38.1
16905 | 2021-02-18 12:23 | 87.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5148 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156702.3827 | 307036.4191 | 59.9307 | 38.1
16915 | 2021-02-18 12:23 | 88.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4838 | μmol/L | 10.8144 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156702.3725 | 307030.1901 | 59.9307 | 38.1
16925 | 2021-02-18 12:24 | 88.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5288 | μmol/L | 10.8144 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156695.3469 | 307018.5684 | 59.9307 | 38.1
16935 | 2021-02-18 12:24 | 88.9997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4922 | μmol/L | 10.8083 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156695.0931 | 307030.3663 | 59.9307 | 38.1
16945 | 2021-02-18 12:24 | 89.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4302 | μmol/L | 10.8205 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156691.2571 | 307024.8976 | 59.9307 | 38.1
16955 | 2021-02-18 12:25 | 89.6659 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4528 | μmol/L | 10.8205 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156670.4761 | 307014.691 | 59.9307 | 38.1
16965 | 2021-02-18 12:25 | 89.9996 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.5514 | μmol/L | 10.8144 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156679.8363 | 307016.2167 | 59.9307 | 38.1
16975 | 2021-02-18 12:25 | 90.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4302 | μmol/L | 10.8205 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156665.8073 | 306993.5708 | 59.9307 | 38.1
16985 | 2021-02-18 12:26 | 90.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4387 | μmol/L | 10.8144 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156681.5466 | 306996.7127 | 59.9307 | 38.1
16995 | 2021-02-18 12:26 | 90.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4302 | μmol/L | 10.8205 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156657.3825 | 306999.2835 | 59.9307 | 38.1
17005 | 2021-02-18 12:26 | 91.333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4218 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156664.2125 | 306993.8889 | 59.9307 | 38.1
17015 | 2021-02-18 12:27 | 91.666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4669 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.723 | 156666.0937 | 306988.6134 | 59.9307 | 38.1
17025 | 2021-02-18 12:27 | 91.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4302 | μmol/L | 10.8205 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156654.1878 | 306980.7323 | 59.9307 | 38.1
17035 | 2021-02-18 12:27 | 92.3327 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.3317 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.729 | 156648.4788 | 306974.7563 | 59.9307 | 38.1
17045 | 2021-02-18 12:28 | 92.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4218 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156642.7527 | 306972.0237 | 59.9307 | 38.1
17055 | 2021-02-18 12:28 | 92.9993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4218 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156653.3593 | 306970.8921 | 59.9307 | 38.1
17065 | 2021-02-18 12:28 | 93.3331 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.3233 | μmol/L | 10.8326 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.727 | 156640.4028 | 306952.6429 | 59.9307 | 38.1
17075 | 2021-02-18 12:29 | 93.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4443 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156646.4665 | 306969.4144 | 59.9307 | 38.1
17085 | 2021-02-18 12:29 | 93.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4753 | μmol/L | 10.8205 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156641.171 | 306961.3565 | 59.9307 | 38.1
17095 | 2021-02-18 12:29 | 94.3324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4218 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.725 | 156637.7732 | 306955.3077 | 59.9307 | 38.1
17105 | 2021-02-18 12:30 | 94.6663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.3908 | μmol/L | 10.8326 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156627.8035 | 306961.416 | 59.9307 | 38.1
17115 | 2021-02-18 12:30 | 94.9994 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.4443 | μmol/L | 10.8265 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.724 | 156629.6861 | 306959.2712 | 59.9307 | 38.1
17125 | 2021-02-18 12:30 | 95.3328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.3458 | μmol/L | 10.8326 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156623.9894 | 306954.847 | 59.9307 | 38.1
17135 | 2021-02-18 12:31 | 95.6657 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.3007 | μmol/L | 10.8326 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.728 | 156625.6032 | 306944.8531 | 59.9307 | 38.1
17145 | 2021-02-18 12:31 | 95.9991 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 267.3458 | μmol/L | 10.8326 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 23.726 | 156616.0514 | 306929.0921 | 59.9307 | 38.1