## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 10:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12643 | 2021-02-18 09:56 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.1483 | μmol/L | 10.6367 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.804 | 128994.1075 | 222414.0768 | 27.3 | 43.4
12653 | 2021-02-18 09:56 | 0.33558 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0963 | μmol/L | 10.6367 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.806 | 128994.6248 | 222406.643 | 27.3 | 43.4
12662 | 2021-02-18 09:57 | 0.66839 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0963 | μmol/L | 10.6367 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.806 | 128973.7159 | 222390.8249 | 27.3 | 43.4
12673 | 2021-02-18 09:57 | 1.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0817 | μmol/L | 10.6306 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.809 | 128957.5215 | 222381.8647 | 27.3 | 43.4
12683 | 2021-02-18 09:57 | 1.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.9663 | μmol/L | 10.6367 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.811 | 128930.1344 | 222374.2015 | 27.3 | 43.4
12692 | 2021-02-18 09:58 | 1.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0297 | μmol/L | 10.6306 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.811 | 128907.5569 | 222375.4608 | 27.3 | 43.4
12703 | 2021-02-18 09:58 | 2.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.9257 | μmol/L | 10.6306 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.815 | 128897.9353 | 222353.26 | 27.3 | 43.4
12713 | 2021-02-18 09:58 | 2.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.9891 | μmol/L | 10.6245 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.815 | 128890.949 | 222340.3623 | 27.3 | 43.4
12722 | 2021-02-18 09:59 | 2.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0151 | μmol/L | 10.6245 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.814 | 128854.4815 | 222337.7633 | 27.3 | 43.4
12733 | 2021-02-18 09:59 | 3.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0265 | μmol/L | 10.6184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.816 | 128853.8082 | 222327.5285 | 27.3 | 43.4
12742 | 2021-02-18 09:59 | 3.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0379 | μmol/L | 10.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.818 | 128829.1567 | 222306.9954 | 27.3 | 43.4
12753 | 2021-02-18 10:00 | 3.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0379 | μmol/L | 10.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.818 | 128825.509 | 222299.1041 | 27.3 | 43.4
12763 | 2021-02-18 10:00 | 4.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.9226 | μmol/L | 10.6184 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.82 | 128808.1394 | 222283.4718 | 27.3 | 43.4
12772 | 2021-02-18 10:00 | 4.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0119 | μmol/L | 10.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.819 | 128798.799 | 222284.0795 | 27.3 | 43.4
12782 | 2021-02-18 10:01 | 4.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.882 | μmol/L | 10.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.824 | 128785.4294 | 222268.2776 | 27.3 | 43.4
12793 | 2021-02-18 10:01 | 5.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.934 | μmol/L | 10.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.822 | 128767.537 | 222262.1539 | 27.3 | 43.4
12802 | 2021-02-18 10:01 | 5.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.9194 | μmol/L | 10.6062 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.825 | 128768.1728 | 222241.3672 | 27.3 | 43.4
12813 | 2021-02-18 10:02 | 5.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8301 | μmol/L | 10.6123 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.826 | 128748.0934 | 222234.0735 | 27.3 | 43.4
12822 | 2021-02-18 10:02 | 6.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8675 | μmol/L | 10.6062 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.827 | 128732.0076 | 222220.4782 | 27.3 | 43.4
12833 | 2021-02-18 10:02 | 6.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.9308 | μmol/L | 10.6001 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.827 | 128732.1001 | 222202.8911 | 27.3 | 43.4
12842 | 2021-02-18 10:03 | 6.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.9828 | μmol/L | 10.6001 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.825 | 128713.4996 | 222196.3247 | 27.3 | 43.4
12853 | 2021-02-18 10:03 | 7.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8789 | μmol/L | 10.6001 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.829 | 128707.1292 | 222188.8216 | 27.3 | 43.4
12862 | 2021-02-18 10:03 | 7.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 309.0202 | μmol/L | 10.594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.826 | 128706.9836 | 222191.3252 | 27.3 | 43.4
12872 | 2021-02-18 10:04 | 7.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7636 | μmol/L | 10.6062 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.831 | 128696.1552 | 222175.0125 | 27.3 | 43.4
12883 | 2021-02-18 10:04 | 8.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7491 | μmol/L | 10.6001 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.834 | 128683.3558 | 222150.4787 | 27.3 | 43.4
12893 | 2021-02-18 10:04 | 8.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8384 | μmol/L | 10.594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.833 | 128667.0612 | 222151.3281 | 27.3 | 43.4
12903 | 2021-02-18 10:05 | 8.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8124 | μmol/L | 10.594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.834 | 128661.8827 | 222138.884 | 27.3 | 43.4
12912 | 2021-02-18 10:05 | 9.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8384 | μmol/L | 10.594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.833 | 128645.1263 | 222118.8809 | 27.3 | 43.4
12923 | 2021-02-18 10:05 | 9.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8498 | μmol/L | 10.5879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.835 | 128634.6976 | 222108.1864 | 27.3 | 43.4
12932 | 2021-02-18 10:06 | 9.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7605 | μmol/L | 10.594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.836 | 128631.6371 | 222101.9187 | 27.3 | 43.4
12943 | 2021-02-18 10:06 | 10.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8872 | μmol/L | 10.5818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.836 | 128621.0085 | 222089.5153 | 27.3 | 43.4
12952 | 2021-02-18 10:06 | 10.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.72 | μmol/L | 10.5879 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.84 | 128624.2813 | 222085.397 | 27.3 | 43.4
12963 | 2021-02-18 10:07 | 10.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7834 | μmol/L | 10.5818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.84 | 128610.8986 | 222073.8705 | 27.3 | 43.4
12973 | 2021-02-18 10:07 | 11.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.8133 | μmol/L | 10.5818 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.839 | 128599.1405 | 222065.2953 | 27.3 | 43.4
12983 | 2021-02-18 10:07 | 11.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7574 | μmol/L | 10.5818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.841 | 128582.34 | 222054.4758 | 27.3 | 43.4
12992 | 2021-02-18 10:08 | 11.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7689 | μmol/L | 10.5757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.843 | 128586.5147 | 222045.9095 | 27.3 | 43.4
13002 | 2021-02-18 10:08 | 12.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7574 | μmol/L | 10.5818 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.841 | 128574.965 | 222037.4836 | 27.3 | 43.4
13013 | 2021-02-18 10:08 | 12.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.717 | μmol/L | 10.5757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.845 | 128567.2811 | 222020.1014 | 27.3 | 43.4
13022 | 2021-02-18 10:09 | 12.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7544 | μmol/L | 10.5696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.846 | 128556.569 | 222009.6713 | 27.3 | 43.4
13032 | 2021-02-18 10:09 | 13.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.743 | μmol/L | 10.5757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.844 | 128544.8909 | 222005.7549 | 27.3 | 43.4
13043 | 2021-02-18 10:09 | 13.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7584 | μmol/L | 10.5696 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.846 | 128547.7631 | 222003.6255 | 27.3 | 43.4
13053 | 2021-02-18 10:10 | 13.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6651 | μmol/L | 10.5757 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.847 | 128547.6365 | 221996.1241 | 27.3 | 43.4
13062 | 2021-02-18 10:10 | 14.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7659 | μmol/L | 10.5635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.848 | 128528.139 | 221982.465 | 27.3 | 43.4
13072 | 2021-02-18 10:10 | 14.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.7025 | μmol/L | 10.5696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.848 | 128517.6734 | 221959.9451 | 27.3 | 43.4
13082 | 2021-02-18 10:11 | 14.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5988 | μmol/L | 10.5696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.852 | 128527.5599 | 221954.3269 | 27.3 | 43.4
13092 | 2021-02-18 10:11 | 15.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6881 | μmol/L | 10.5635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.851 | 128527.6861 | 221950.5126 | 27.3 | 43.4
13102 | 2021-02-18 10:11 | 15.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.718 | μmol/L | 10.5635 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.85 | 128512.1876 | 221942.2881 | 27.3 | 43.4
13112 | 2021-02-18 10:12 | 15.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6103 | μmol/L | 10.5635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.854 | 128497.62 | 221918.3133 | 27.3 | 43.4
13123 | 2021-02-18 10:12 | 16.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6362 | μmol/L | 10.5635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.853 | 128489.7383 | 221913.5062 | 27.3 | 43.4
13133 | 2021-02-18 10:12 | 16.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6881 | μmol/L | 10.5635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.851 | 128486.2438 | 221917.2111 | 27.3 | 43.4
13143 | 2021-02-18 10:13 | 16.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6881 | μmol/L | 10.5635 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.851 | 128479.4 | 221907.4191 | 27.3 | 43.4
13153 | 2021-02-18 10:13 | 17.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.737 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.854 | 128458.0048 | 221901.9343 | 27.3 | 43.4
13163 | 2021-02-18 10:13 | 17.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.737 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.854 | 128466.7938 | 221888.8993 | 27.3 | 43.4
13172 | 2021-02-18 10:14 | 17.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6851 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.856 | 128446.1686 | 221875.1384 | 27.3 | 43.4
13182 | 2021-02-18 10:14 | 18.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6592 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.857 | 128439.2002 | 221865.594 | 27.3 | 43.4
13193 | 2021-02-18 10:14 | 18.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6073 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.859 | 128424.8661 | 221846.4245 | 27.3 | 43.4
13202 | 2021-02-18 10:15 | 18.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6073 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.859 | 128443.7489 | 221849.6446 | 27.3 | 43.4
13213 | 2021-02-18 10:15 | 19.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6592 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.857 | 128419.8652 | 221834.4049 | 27.3 | 43.4
13222 | 2021-02-18 10:15 | 19.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5554 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.861 | 128412.2869 | 221824.813 | 27.3 | 43.4
13233 | 2021-02-18 10:16 | 19.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5036 | μmol/L | 10.5513 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.863 | 128397.6626 | 221811.887 | 27.3 | 43.4
13243 | 2021-02-18 10:16 | 20.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.541 | μmol/L | 10.5452 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.864 | 128393.5081 | 221794.3371 | 27.3 | 43.4
13253 | 2021-02-18 10:16 | 20.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5335 | μmol/L | 10.5513 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.862 | 128387.4804 | 221790.5575 | 27.3 | 43.4
13263 | 2021-02-18 10:17 | 20.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5151 | μmol/L | 10.5452 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.865 | 128372.2867 | 221782.2696 | 27.3 | 43.4
13272 | 2021-02-18 10:17 | 21.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5929 | μmol/L | 10.5452 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.862 | 128355.5513 | 221763.1173 | 27.3 | 43.4
13282 | 2021-02-18 10:17 | 21.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5785 | μmol/L | 10.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.865 | 128363.2193 | 221761.1217 | 27.3 | 43.4
13292 | 2021-02-18 10:18 | 21.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.541 | μmol/L | 10.5452 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.864 | 128348.197 | 221757.2598 | 27.3 | 43.4
13303 | 2021-02-18 10:18 | 22.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5191 | μmol/L | 10.5452 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.865 | 128346.4682 | 221745.6341 | 27.3 | 43.4
13313 | 2021-02-18 10:18 | 22.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6083 | μmol/L | 10.5391 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.864 | 128338.1842 | 221737.621 | 27.3 | 43.4
13323 | 2021-02-18 10:19 | 22.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5151 | μmol/L | 10.5452 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.865 | 128343.4199 | 221727.1585 | 27.3 | 43.4
13333 | 2021-02-18 10:19 | 23.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5525 | μmol/L | 10.5391 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.866 | 128319.3641 | 221723.0324 | 27.3 | 43.4
13342 | 2021-02-18 10:19 | 23.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.6977 | μmol/L | 10.533 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.863 | 128314.7216 | 221705.5583 | 27.3 | 43.4
13352 | 2021-02-18 10:20 | 23.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.5421 | μmol/L | 10.533 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.869 | 128311.1365 | 221692.3771 | 27.3 | 43.4
13362 | 2021-02-18 10:20 | 24.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4528 | μmol/L | 10.5391 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.87 | 128306.8482 | 221691.7509 | 27.3 | 43.4
13373 | 2021-02-18 10:20 | 24.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4528 | μmol/L | 10.5391 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.87 | 128299.1801 | 221668.0312 | 27.3 | 43.4
13383 | 2021-02-18 10:21 | 24.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4384 | μmol/L | 10.533 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.873 | 128279.9134 | 221662.8808 | 27.3 | 43.4
13392 | 2021-02-18 10:21 | 25.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4125 | μmol/L | 10.533 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.874 | 128295.733 | 221657.9243 | 27.3 | 43.4
13402 | 2021-02-18 10:21 | 25.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4384 | μmol/L | 10.533 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.873 | 128283.4005 | 221651.4794 | 27.3 | 43.4
13413 | 2021-02-18 10:22 | 25.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4644 | μmol/L | 10.533 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.872 | 128268.6957 | 221633.8712 | 27.3 | 43.4
13423 | 2021-02-18 10:22 | 26.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4384 | μmol/L | 10.533 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.873 | 128267.9284 | 221633.1056 | 27.3 | 43.4
13432 | 2021-02-18 10:22 | 26.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4241 | μmol/L | 10.527 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.876 | 128259.999 | 221625.0818 | 27.3 | 43.4
13442 | 2021-02-18 10:23 | 26.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4719 | μmol/L | 10.527 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.874 | 128258.2877 | 221614.9806 | 27.3 | 43.4
13452 | 2021-02-18 10:23 | 27.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4201 | μmol/L | 10.527 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.876 | 128245.4477 | 221602.2763 | 27.3 | 43.4
13462 | 2021-02-18 10:23 | 27.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4835 | μmol/L | 10.5209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.876 | 128242.9066 | 221586.945 | 27.3 | 43.4
13473 | 2021-02-18 10:24 | 27.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3683 | μmol/L | 10.527 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.878 | 128244.5029 | 221591.8936 | 27.3 | 43.4
13482 | 2021-02-18 10:24 | 28.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2906 | μmol/L | 10.527 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.881 | 128228.3287 | 221569.8857 | 27.3 | 43.4
13493 | 2021-02-18 10:24 | 28.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3798 | μmol/L | 10.5209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.88 | 128209.0949 | 221572.2489 | 27.3 | 43.4
13503 | 2021-02-18 10:25 | 28.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3539 | μmol/L | 10.5209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.881 | 128204.3812 | 221557.3161 | 27.3 | 43.4
13513 | 2021-02-18 10:25 | 29.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3022 | μmol/L | 10.5209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.883 | 128210.2561 | 221550.81 | 27.3 | 43.4
13522 | 2021-02-18 10:25 | 29.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3914 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.882 | 128202.359 | 221544.0684 | 27.3 | 43.4
13532 | 2021-02-18 10:26 | 29.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3539 | μmol/L | 10.5209 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.881 | 128189.6274 | 221530.5872 | 27.3 | 43.4
13542 | 2021-02-18 10:26 | 30.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3655 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.883 | 128169.7323 | 221519.1705 | 27.3 | 43.4
13553 | 2021-02-18 10:26 | 30.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4173 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.881 | 128169.3552 | 221513.5648 | 27.3 | 43.4
13562 | 2021-02-18 10:27 | 30.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3655 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.883 | 128159.6782 | 221502.1364 | 27.3 | 43.4
13573 | 2021-02-18 10:27 | 31.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3396 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.884 | 128149.9149 | 221494.5276 | 27.3 | 43.4
13582 | 2021-02-18 10:27 | 31.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2878 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.886 | 128145.9628 | 221483.8285 | 27.3 | 43.4
13592 | 2021-02-18 10:28 | 31.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3512 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.886 | 128136.3687 | 221479.1297 | 27.3 | 43.4
13603 | 2021-02-18 10:28 | 32.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2878 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.886 | 128128.8694 | 221481.6258 | 27.3 | 43.4
13613 | 2021-02-18 10:28 | 32.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3914 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.882 | 128137.1235 | 221464.339 | 27.3 | 43.4
13623 | 2021-02-18 10:29 | 32.669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.4173 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.881 | 128125.3433 | 221455.5196 | 27.3 | 43.4
13632 | 2021-02-18 10:29 | 33.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2619 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.887 | 128121.271 | 221447.2662 | 27.3 | 43.4
13642 | 2021-02-18 10:29 | 33.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2619 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.887 | 128105.9634 | 221436.4859 | 27.3 | 43.4
13652 | 2021-02-18 10:30 | 33.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3512 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.886 | 128096.0017 | 221428.2127 | 27.3 | 43.4
13663 | 2021-02-18 10:30 | 34.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3253 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.887 | 128096.2554 | 221429.7828 | 27.3 | 43.4
13672 | 2021-02-18 10:30 | 34.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3253 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.887 | 128075.498 | 221410.4554 | 27.3 | 43.4
13683 | 2021-02-18 10:31 | 34.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3253 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.887 | 128072.4329 | 221401.2727 | 27.3 | 43.4
13692 | 2021-02-18 10:31 | 35.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3137 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.885 | 128064.1899 | 221408.7403 | 27.3 | 43.4
13702 | 2021-02-18 10:31 | 35.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.236 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.888 | 128060.435 | 221392.7332 | 27.3 | 43.4
13712 | 2021-02-18 10:32 | 35.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2476 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.89 | 128067.0829 | 221379.1225 | 27.3 | 43.4
13722 | 2021-02-18 10:32 | 36.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2735 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.889 | 128050.5902 | 221376.6114 | 27.3 | 43.4
13733 | 2021-02-18 10:32 | 36.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2476 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.89 | 128038.8165 | 221360.8935 | 27.3 | 43.4
13743 | 2021-02-18 10:33 | 36.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2217 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.891 | 128035.4567 | 221357.4608 | 27.3 | 43.4
13752 | 2021-02-18 10:33 | 37.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2735 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.889 | 128019.3503 | 221350.7867 | 27.3 | 43.4
13763 | 2021-02-18 10:33 | 37.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2102 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.889 | 128008.7086 | 221354.2105 | 27.3 | 43.4
13772 | 2021-02-18 10:34 | 37.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1843 | μmol/L | 10.5148 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.89 | 128010.3952 | 221338.486 | 27.3 | 43.4
13783 | 2021-02-18 10:34 | 38.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1958 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.892 | 128006.1018 | 221335.65 | 27.3 | 43.4
13792 | 2021-02-18 10:34 | 38.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2592 | μmol/L | 10.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.892 | 128010.669 | 221321.4561 | 27.3 | 43.4
13802 | 2021-02-18 10:35 | 38.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2592 | μmol/L | 10.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.892 | 128002.3535 | 221313.5029 | 27.3 | 43.4
13813 | 2021-02-18 10:35 | 39.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1557 | μmol/L | 10.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.896 | 128004.0286 | 221324.8407 | 27.3 | 43.4
13822 | 2021-02-18 10:35 | 39.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.0924 | μmol/L | 10.5087 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.896 | 127999.8842 | 221310.7209 | 27.3 | 43.4
13833 | 2021-02-18 10:36 | 39.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2707 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.894 | 127975.5118 | 221296.1757 | 27.3 | 43.4
13842 | 2021-02-18 10:36 | 40.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.3225 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.892 | 127964.2923 | 221288.5851 | 27.3 | 43.4
13853 | 2021-02-18 10:36 | 40.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2592 | μmol/L | 10.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.892 | 127962.9463 | 221286.4418 | 27.3 | 43.4
13863 | 2021-02-18 10:37 | 40.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1557 | μmol/L | 10.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.896 | 127962.6454 | 221275.1268 | 27.3 | 43.4
13873 | 2021-02-18 10:37 | 41.0022 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.2449 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.895 | 127956.4878 | 221267.1975 | 27.3 | 43.4
13882 | 2021-02-18 10:37 | 41.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1672 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.898 | 127963.4251 | 221263.2299 | 27.3 | 43.4
13892 | 2021-02-18 10:38 | 41.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1298 | μmol/L | 10.5026 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.897 | 127949.1116 | 221246.5582 | 27.3 | 43.4
13902 | 2021-02-18 10:38 | 42.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1529 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.901 | 127953.2474 | 221244.0259 | 27.3 | 43.4
13912 | 2021-02-18 10:38 | 42.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1672 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.898 | 127943.8842 | 221239.6844 | 27.3 | 43.4
13923 | 2021-02-18 10:39 | 42.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1155 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.9 | 127942.8182 | 221228.6453 | 27.3 | 43.4
13933 | 2021-02-18 10:39 | 43.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.1414 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.899 | 127944.9964 | 221217.9863 | 27.3 | 43.4
13943 | 2021-02-18 10:39 | 43.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.9862 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.905 | 127950.8186 | 221210.2035 | 27.3 | 43.4
13953 | 2021-02-18 10:40 | 43.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.0379 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.903 | 127939.4927 | 221214.5003 | 27.3 | 43.4
13962 | 2021-02-18 10:40 | 44.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 308.0236 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.906 | 127940.4759 | 221203.5863 | 27.3 | 43.4
13972 | 2021-02-18 10:40 | 44.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8828 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.909 | 127943.4906 | 221206.6659 | 27.3 | 43.4
13983 | 2021-02-18 10:41 | 44.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.9603 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.906 | 127949.9825 | 221192.3229 | 27.3 | 43.4
13993 | 2021-02-18 10:41 | 45.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8828 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.909 | 127950.9888 | 221196.7546 | 27.3 | 43.4
14003 | 2021-02-18 10:41 | 45.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.7652 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.916 | 127958.7064 | 221186.652 | 27.3 | 43.4
14013 | 2021-02-18 10:42 | 45.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.9202 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.91 | 127961.4673 | 221178.2664 | 27.3 | 43.4
14022 | 2021-02-18 10:42 | 46.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8169 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.914 | 127946.6464 | 221160.8863 | 27.3 | 43.4
14033 | 2021-02-18 10:42 | 46.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8427 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.913 | 127949.5333 | 221161.858 | 27.3 | 43.4
14042 | 2021-02-18 10:43 | 46.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.702 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.916 | 127939.4032 | 221163.023 | 27.3 | 43.4
14053 | 2021-02-18 10:43 | 47.0024 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.5987 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.92 | 127923.0312 | 221149.002 | 27.3 | 43.4
14062 | 2021-02-18 10:43 | 47.3355 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.7652 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.916 | 127915.8369 | 221150.0065 | 27.3 | 43.4
14073 | 2021-02-18 10:44 | 47.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8801 | μmol/L | 10.4843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.914 | 127910.433 | 221136.3585 | 27.3 | 43.4
14082 | 2021-02-18 10:44 | 48.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.702 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.916 | 127908.3587 | 221131.6112 | 27.3 | 43.4
14092 | 2021-02-18 10:44 | 48.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.7135 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.918 | 127897.9881 | 221117.5572 | 27.3 | 43.4
14102 | 2021-02-18 10:45 | 48.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8169 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.914 | 127883.9765 | 221104.8795 | 27.3 | 43.4
14112 | 2021-02-18 10:45 | 49.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.7794 | μmol/L | 10.4965 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.913 | 127883.0186 | 221111.497 | 27.3 | 43.4
14122 | 2021-02-18 10:45 | 49.3356 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8427 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.913 | 127878.9315 | 221106.4872 | 27.3 | 43.4
14132 | 2021-02-18 10:46 | 49.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8685 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.912 | 127869.1673 | 221093.9477 | 27.3 | 43.4
14143 | 2021-02-18 10:46 | 50.0023 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8169 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.914 | 127841.9113 | 221079.2883 | 27.3 | 43.4
14153 | 2021-02-18 10:46 | 50.3354 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8169 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.914 | 127839.6464 | 221080.0416 | 27.3 | 43.4
14163 | 2021-02-18 10:47 | 50.6691 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.8026 | μmol/L | 10.4843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.917 | 127833.8707 | 221083.874 | 27.3 | 43.4
14173 | 2021-02-18 10:47 | 51.0021 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.9318 | μmol/L | 10.4843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.912 | 127820.5406 | 221069.067 | 27.3 | 43.4
14183 | 2021-02-18 10:47 | 51.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.9434 | μmol/L | 10.4782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.914 | 127816.7523 | 221058.1815 | 27.3 | 43.4
14192 | 2021-02-18 10:48 | 51.6688 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.791 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.915 | 127805.7368 | 221054.3443 | 27.3 | 43.4
14202 | 2021-02-18 10:48 | 52.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.906 | μmol/L | 10.4843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.913 | 127804.6092 | 221055.8404 | 27.3 | 43.4
14212 | 2021-02-18 10:48 | 52.3353 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.7652 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.916 | 127790.201 | 221035.1202 | 27.3 | 43.4
14222 | 2021-02-18 10:49 | 52.6689 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.791 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.915 | 127786.7377 | 221030.0205 | 27.3 | 43.4
14232 | 2021-02-18 10:49 | 53.002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.9577 | μmol/L | 10.4843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.911 | 127776.2711 | 221021.9373 | 27.3 | 43.4
14242 | 2021-02-18 10:49 | 53.3357 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.791 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.915 | 127765.9564 | 221017.3595 | 27.3 | 43.4
14253 | 2021-02-18 10:50 | 53.6687 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.791 | μmol/L | 10.4904 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.915 | 127759.1202 | 221015.0595 | 27.3 | 43.4