## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 10:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12644 | 2021-02-18 09:56 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6263 | μmol/L | 10.4687 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.767 | 105273.9006 | 309186.2829 | 28.7 | 67.6
12654 | 2021-02-18 09:56 | 0.32891 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5266 | μmol/L | 10.4748 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.769 | 105262.7377 | 309176.2879 | 28.7 | 67.6
12664 | 2021-02-18 09:57 | 0.66255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.544 | μmol/L | 10.4626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.773 | 105248.0514 | 309170.2003 | 28.7 | 67.6
12674 | 2021-02-18 09:57 | 0.99538 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5212 | μmol/L | 10.4626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.774 | 105229.4871 | 309149.5727 | 28.7 | 67.6
12684 | 2021-02-18 09:57 | 1.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6437 | μmol/L | 10.4566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.771 | 105221.808 | 309134.3234 | 28.7 | 67.6
12694 | 2021-02-18 09:58 | 1.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5754 | μmol/L | 10.4566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.774 | 105212.7253 | 309125.101 | 28.7 | 67.6
12704 | 2021-02-18 09:58 | 1.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5982 | μmol/L | 10.4566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.773 | 105200.3638 | 309124.0126 | 28.7 | 67.6
12714 | 2021-02-18 09:58 | 2.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5754 | μmol/L | 10.4566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.774 | 105187.825 | 309104.6536 | 28.7 | 67.6
12724 | 2021-02-18 09:59 | 2.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5159 | μmol/L | 10.4505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.779 | 105182.5467 | 309083.7362 | 28.7 | 67.6
12734 | 2021-02-18 09:59 | 2.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5841 | μmol/L | 10.4505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.776 | 105162.5219 | 309058.568 | 28.7 | 67.6
12744 | 2021-02-18 09:59 | 3.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5386 | μmol/L | 10.4505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.778 | 105164.4132 | 309039.7404 | 28.7 | 67.6
12754 | 2021-02-18 10:00 | 3.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4476 | μmol/L | 10.4505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.782 | 105149.7595 | 309012.5633 | 28.7 | 67.6
12764 | 2021-02-18 10:00 | 3.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4248 | μmol/L | 10.4505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.783 | 105128.4944 | 308985.7747 | 28.7 | 67.6
12774 | 2021-02-18 10:00 | 4.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5246 | μmol/L | 10.4444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.781 | 105122.9804 | 308993.2531 | 28.7 | 67.6
12784 | 2021-02-18 10:01 | 4.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6244 | μmol/L | 10.4384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.779 | 105122.5711 | 308974.9188 | 28.7 | 67.6
12794 | 2021-02-18 10:01 | 4.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4878 | μmol/L | 10.4384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 105109.4197 | 308934.3438 | 28.7 | 67.6
12804 | 2021-02-18 10:01 | 5.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4878 | μmol/L | 10.4384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.785 | 105083.5124 | 308918.5285 | 28.7 | 67.6
12814 | 2021-02-18 10:02 | 5.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5333 | μmol/L | 10.4384 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.783 | 105082.9573 | 308917.7739 | 28.7 | 67.6
12824 | 2021-02-18 10:02 | 5.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4738 | μmol/L | 10.4323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.788 | 105074.093 | 308895.7025 | 28.7 | 67.6
12834 | 2021-02-18 10:02 | 6.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4965 | μmol/L | 10.4323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.787 | 105070.6258 | 308868.5918 | 28.7 | 67.6
12844 | 2021-02-18 10:03 | 6.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.451 | μmol/L | 10.4323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 105063.1763 | 308858.0605 | 28.7 | 67.6
12854 | 2021-02-18 10:03 | 6.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5508 | μmol/L | 10.4262 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.787 | 105044.9019 | 308826.6389 | 28.7 | 67.6
12864 | 2021-02-18 10:03 | 7.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5053 | μmol/L | 10.4262 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 105037.332 | 308811.491 | 28.7 | 67.6
12874 | 2021-02-18 10:04 | 7.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5823 | μmol/L | 10.4202 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.788 | 105018.6396 | 308779.5702 | 28.7 | 67.6
12884 | 2021-02-18 10:04 | 7.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.591 | μmol/L | 10.4141 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.79 | 105019.0633 | 308781.4222 | 28.7 | 67.6
12894 | 2021-02-18 10:04 | 8.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6681 | μmol/L | 10.408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 105011.0745 | 308761.7901 | 28.7 | 67.6
12904 | 2021-02-18 10:05 | 8.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5228 | μmol/L | 10.4141 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.793 | 104995.3322 | 308728.1355 | 28.7 | 67.6
12914 | 2021-02-18 10:05 | 8.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6681 | μmol/L | 10.408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 104981.0077 | 308726.3339 | 28.7 | 67.6
12924 | 2021-02-18 10:05 | 9.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5998 | μmol/L | 10.408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.792 | 104968.2784 | 308710.9942 | 28.7 | 67.6
12934 | 2021-02-18 10:06 | 9.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6313 | μmol/L | 10.402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.793 | 104953.1736 | 308685.3963 | 28.7 | 67.6
12944 | 2021-02-18 10:06 | 9.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7364 | μmol/L | 10.408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.786 | 104941.3549 | 308684.2364 | 28.7 | 67.6
12954 | 2021-02-18 10:06 | 10.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6226 | μmol/L | 10.408 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.791 | 104931.7548 | 308648.6309 | 28.7 | 67.6
12964 | 2021-02-18 10:07 | 10.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6313 | μmol/L | 10.402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.793 | 104922.2478 | 308631.2889 | 28.7 | 67.6
12974 | 2021-02-18 10:07 | 10.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7767 | μmol/L | 10.3959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.789 | 104918.4751 | 308611.3214 | 28.7 | 67.6
12984 | 2021-02-18 10:07 | 11.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5403 | μmol/L | 10.402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.797 | 104905.3495 | 308590.0271 | 28.7 | 67.6
12994 | 2021-02-18 10:08 | 11.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5403 | μmol/L | 10.402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.797 | 104895.2792 | 308579.8216 | 28.7 | 67.6
13004 | 2021-02-18 10:08 | 11.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7084 | μmol/L | 10.3959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.792 | 104882.4478 | 308563.8332 | 28.7 | 67.6
13014 | 2021-02-18 10:08 | 12.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6629 | μmol/L | 10.3959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.794 | 104885.6278 | 308535.7679 | 28.7 | 67.6
13024 | 2021-02-18 10:09 | 12.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5718 | μmol/L | 10.3959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.798 | 104878.4647 | 308524.5965 | 28.7 | 67.6
13034 | 2021-02-18 10:09 | 12.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6174 | μmol/L | 10.3959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.796 | 104873.532 | 308507.1812 | 28.7 | 67.6
13044 | 2021-02-18 10:09 | 13.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6034 | μmol/L | 10.3898 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.799 | 104868.5606 | 308489.3887 | 28.7 | 67.6
13054 | 2021-02-18 10:10 | 13.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6489 | μmol/L | 10.3898 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.797 | 104848.8137 | 308475.6345 | 28.7 | 67.6
13064 | 2021-02-18 10:10 | 13.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7032 | μmol/L | 10.3838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.797 | 104850.7008 | 308463.9712 | 28.7 | 67.6
13074 | 2021-02-18 10:10 | 14.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5124 | μmol/L | 10.3898 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.803 | 104843.9507 | 308446.1277 | 28.7 | 67.6
13084 | 2021-02-18 10:11 | 14.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5894 | μmol/L | 10.3838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.802 | 104839.9221 | 308422.9484 | 28.7 | 67.6
13094 | 2021-02-18 10:11 | 14.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5212 | μmol/L | 10.3838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.805 | 104829.2215 | 308411.8539 | 28.7 | 67.6
13104 | 2021-02-18 10:11 | 15.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.621 | μmol/L | 10.3777 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.803 | 104831.1261 | 308385.3386 | 28.7 | 67.6
13114 | 2021-02-18 10:12 | 15.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6893 | μmol/L | 10.3777 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.8 | 104827.1716 | 308386.2335 | 28.7 | 67.6
13124 | 2021-02-18 10:12 | 15.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6981 | μmol/L | 10.3716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.802 | 104828.4149 | 308375.287 | 28.7 | 67.6
13134 | 2021-02-18 10:12 | 16.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.607 | μmol/L | 10.3716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.806 | 104807.2114 | 308341.6744 | 28.7 | 67.6
13144 | 2021-02-18 10:13 | 16.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5843 | μmol/L | 10.3716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.807 | 104811.2663 | 308315.6101 | 28.7 | 67.6
13154 | 2021-02-18 10:13 | 16.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4705 | μmol/L | 10.3716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.812 | 104808.364 | 308313.7699 | 28.7 | 67.6
13164 | 2021-02-18 10:13 | 17.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6474 | μmol/L | 10.3595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.809 | 104794.4862 | 308280.4883 | 28.7 | 67.6
13174 | 2021-02-18 10:14 | 17.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5703 | μmol/L | 10.3656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.81 | 104793.0603 | 308287.5187 | 28.7 | 67.6
13184 | 2021-02-18 10:14 | 17.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5843 | μmol/L | 10.3716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.807 | 104785.8389 | 308272.0888 | 28.7 | 67.6
13194 | 2021-02-18 10:14 | 18.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.516 | μmol/L | 10.3716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.81 | 104783.4182 | 308264.6433 | 28.7 | 67.6
13204 | 2021-02-18 10:15 | 18.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5021 | μmol/L | 10.3656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.813 | 104766.8497 | 308246.6914 | 28.7 | 67.6
13214 | 2021-02-18 10:15 | 18.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5336 | μmol/L | 10.3595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.814 | 104764.5686 | 308227.6331 | 28.7 | 67.6
13224 | 2021-02-18 10:15 | 19.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5564 | μmol/L | 10.3595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.813 | 104762.1716 | 308188.8929 | 28.7 | 67.6
13234 | 2021-02-18 10:16 | 19.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5652 | μmol/L | 10.3534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.815 | 104752.6011 | 308184.3973 | 28.7 | 67.6
13244 | 2021-02-18 10:16 | 19.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5109 | μmol/L | 10.3595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.815 | 104752.5476 | 308166.4193 | 28.7 | 67.6
13254 | 2021-02-18 10:16 | 20.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3745 | μmol/L | 10.3595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.821 | 104732.708 | 308148.1478 | 28.7 | 67.6
13264 | 2021-02-18 10:17 | 20.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.497 | μmol/L | 10.3534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.818 | 104737.4306 | 308138.471 | 28.7 | 67.6
13274 | 2021-02-18 10:17 | 20.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4288 | μmol/L | 10.3534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.821 | 104727.0602 | 308105.383 | 28.7 | 67.6
13284 | 2021-02-18 10:17 | 21.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4515 | μmol/L | 10.3534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.82 | 104729.9936 | 308109.8805 | 28.7 | 67.6
13294 | 2021-02-18 10:18 | 21.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.406 | μmol/L | 10.3534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.822 | 104725.365 | 308078.2002 | 28.7 | 67.6
13304 | 2021-02-18 10:18 | 21.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.406 | μmol/L | 10.3534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.822 | 104717.0642 | 308068.7122 | 28.7 | 67.6
13314 | 2021-02-18 10:18 | 22.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3921 | μmol/L | 10.3474 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.825 | 104713.9255 | 308063.935 | 28.7 | 67.6
13324 | 2021-02-18 10:19 | 22.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5917 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.821 | 104699.3644 | 308032.2618 | 28.7 | 67.6
13334 | 2021-02-18 10:19 | 22.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4919 | μmol/L | 10.3413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.823 | 104700.4525 | 308005.2699 | 28.7 | 67.6
13344 | 2021-02-18 10:19 | 23.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4919 | μmol/L | 10.3413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.823 | 104693.3168 | 307991.0363 | 28.7 | 67.6
13354 | 2021-02-18 10:20 | 23.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5007 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.825 | 104680.5177 | 307974.0863 | 28.7 | 67.6
13364 | 2021-02-18 10:20 | 23.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4325 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.828 | 104675.7017 | 307973.9574 | 28.7 | 67.6
13374 | 2021-02-18 10:20 | 24.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3871 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.83 | 104668.8277 | 307954.9254 | 28.7 | 67.6
13384 | 2021-02-18 10:21 | 24.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3782 | μmol/L | 10.3413 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.828 | 104662.8638 | 307949.759 | 28.7 | 67.6
13394 | 2021-02-18 10:21 | 24.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4325 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.828 | 104648.0372 | 307922.3349 | 28.7 | 67.6
13404 | 2021-02-18 10:21 | 25.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5007 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.825 | 104644.7182 | 307913.3728 | 28.7 | 67.6
13414 | 2021-02-18 10:22 | 25.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6006 | μmol/L | 10.3291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.823 | 104637.2225 | 307878.7286 | 28.7 | 67.6
13424 | 2021-02-18 10:22 | 25.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.569 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.822 | 104612.1819 | 307862.8934 | 28.7 | 67.6
13434 | 2021-02-18 10:22 | 26.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5235 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.824 | 104608.2626 | 307850.6072 | 28.7 | 67.6
13444 | 2021-02-18 10:23 | 26.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6006 | μmol/L | 10.3291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.823 | 104595.2256 | 307834.3412 | 28.7 | 67.6
13454 | 2021-02-18 10:23 | 26.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4641 | μmol/L | 10.3291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.829 | 104603.0759 | 307816.481 | 28.7 | 67.6
13464 | 2021-02-18 10:23 | 27.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4187 | μmol/L | 10.3291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.831 | 104601.6071 | 307810.0615 | 28.7 | 67.6
13474 | 2021-02-18 10:24 | 27.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3821 | μmol/L | 10.3231 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.835 | 104600.8313 | 307793.2153 | 28.7 | 67.6
13484 | 2021-02-18 10:24 | 27.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3277 | μmol/L | 10.3291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.835 | 104601.4328 | 307793.5006 | 28.7 | 67.6
13494 | 2021-02-18 10:24 | 28.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3189 | μmol/L | 10.3352 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.833 | 104593.8979 | 307758.6081 | 28.7 | 67.6
13504 | 2021-02-18 10:25 | 28.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.305 | μmol/L | 10.3291 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.836 | 104593.2955 | 307765.0968 | 28.7 | 67.6
13514 | 2021-02-18 10:25 | 28.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4275 | μmol/L | 10.3231 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.833 | 104572.3087 | 307740.7982 | 28.7 | 67.6
13524 | 2021-02-18 10:25 | 29.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4048 | μmol/L | 10.3231 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.834 | 104569.0847 | 307726.1457 | 28.7 | 67.6
13534 | 2021-02-18 10:26 | 29.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4453 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.837 | 104563.241 | 307704.4711 | 28.7 | 67.6
13544 | 2021-02-18 10:26 | 29.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2912 | μmol/L | 10.3231 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.839 | 104549.175 | 307687.156 | 28.7 | 67.6
13554 | 2021-02-18 10:26 | 30.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3455 | μmol/L | 10.317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.839 | 104552.1147 | 307672.4437 | 28.7 | 67.6
13564 | 2021-02-18 10:27 | 30.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5135 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.834 | 104543.3016 | 307661.3912 | 28.7 | 67.6
13574 | 2021-02-18 10:27 | 30.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3139 | μmol/L | 10.3231 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.838 | 104543.4883 | 307650.9861 | 28.7 | 67.6
13584 | 2021-02-18 10:27 | 31.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4225 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.838 | 104532.4084 | 307632.6578 | 28.7 | 67.6
13594 | 2021-02-18 10:28 | 31.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2912 | μmol/L | 10.3231 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.839 | 104521.8802 | 307610.0081 | 28.7 | 67.6
13604 | 2021-02-18 10:28 | 31.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3544 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.841 | 104517.5595 | 307613.9012 | 28.7 | 67.6
13614 | 2021-02-18 10:28 | 32.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3998 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.839 | 104503.6883 | 307605.9755 | 28.7 | 67.6
13624 | 2021-02-18 10:29 | 32.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3998 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.839 | 104495.3226 | 307576.0892 | 28.7 | 67.6
13634 | 2021-02-18 10:29 | 32.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4225 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.838 | 104493.0583 | 307569.6897 | 28.7 | 67.6
13644 | 2021-02-18 10:29 | 33.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4137 | μmol/L | 10.317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.836 | 104477.7569 | 307560.0685 | 28.7 | 67.6
13654 | 2021-02-18 10:30 | 33.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4453 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.837 | 104467.4295 | 307543.3517 | 28.7 | 67.6
13664 | 2021-02-18 10:30 | 33.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5135 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.834 | 104455.8718 | 307522.3519 | 28.7 | 67.6
13674 | 2021-02-18 10:30 | 34.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3998 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.839 | 104460.7383 | 307509.3566 | 28.7 | 67.6
13684 | 2021-02-18 10:31 | 34.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.463 | μmol/L | 10.2988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.841 | 104449.0426 | 307494.9765 | 28.7 | 67.6
13694 | 2021-02-18 10:31 | 34.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4403 | μmol/L | 10.2988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.842 | 104443.9521 | 307481.2707 | 28.7 | 67.6
13704 | 2021-02-18 10:31 | 35.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4858 | μmol/L | 10.2988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.84 | 104434.3981 | 307470.9768 | 28.7 | 67.6
13714 | 2021-02-18 10:32 | 35.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3316 | μmol/L | 10.3109 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.842 | 104437.2399 | 307450.8681 | 28.7 | 67.6
13724 | 2021-02-18 10:32 | 35.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4314 | μmol/L | 10.3049 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.84 | 104420.6322 | 307428.8012 | 28.7 | 67.6
13734 | 2021-02-18 10:32 | 36.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4947 | μmol/L | 10.2927 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.842 | 104416.9423 | 307419.3887 | 28.7 | 67.6
13744 | 2021-02-18 10:33 | 36.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3948 | μmol/L | 10.2988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.844 | 104401.7763 | 307397.0892 | 28.7 | 67.6
13754 | 2021-02-18 10:33 | 36.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4719 | μmol/L | 10.2927 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.843 | 104404.4907 | 307418.8377 | 28.7 | 67.6
13764 | 2021-02-18 10:33 | 37.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4087 | μmol/L | 10.3049 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.841 | 104405.4016 | 307395.6094 | 28.7 | 67.6
13774 | 2021-02-18 10:34 | 37.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3721 | μmol/L | 10.2988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.845 | 104394.2132 | 307368.5688 | 28.7 | 67.6
13784 | 2021-02-18 10:34 | 37.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3583 | μmol/L | 10.2927 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.848 | 104390.304 | 307361.6302 | 28.7 | 67.6
13794 | 2021-02-18 10:34 | 38.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4231 | μmol/L | 10.2927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.845 | 104376.4453 | 307341.5509 | 28.7 | 67.6
13804 | 2021-02-18 10:35 | 38.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4458 | μmol/L | 10.2927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.844 | 104382.2822 | 307343.9726 | 28.7 | 67.6
13814 | 2021-02-18 10:35 | 38.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4037 | μmol/L | 10.2927 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.846 | 104379.7777 | 307323.1858 | 28.7 | 67.6
13824 | 2021-02-18 10:35 | 39.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3233 | μmol/L | 10.2988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.847 | 104372.9882 | 307306.8934 | 28.7 | 67.6
13834 | 2021-02-18 10:36 | 39.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.304 | μmol/L | 10.2988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.848 | 104369.8449 | 307301.0612 | 28.7 | 67.6
13844 | 2021-02-18 10:36 | 39.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4003 | μmol/L | 10.2927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.846 | 104370.7182 | 307288.4598 | 28.7 | 67.6
13854 | 2021-02-18 10:36 | 40.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3322 | μmol/L | 10.2927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.849 | 104375.1488 | 307271.7696 | 28.7 | 67.6
13864 | 2021-02-18 10:37 | 40.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8645 | μmol/L | 10.2867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.872 | 104455.2193 | 307259.4448 | 28.7 | 67.6
13874 | 2021-02-18 10:37 | 40.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4479 | μmol/L | 10.2927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.888 | 104541.5534 | 307234.4992 | 28.7 | 67.6
13884 | 2021-02-18 10:37 | 41.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4705 | μmol/L | 10.2927 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.887 | 104552.0888 | 307239.6804 | 28.7 | 67.6
13894 | 2021-02-18 10:38 | 41.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5473 | μmol/L | 10.2867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.886 | 104524.7658 | 307222.9287 | 28.7 | 67.6
13904 | 2021-02-18 10:38 | 41.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5473 | μmol/L | 10.2867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.886 | 104511.8064 | 307201.4888 | 28.7 | 67.6
13914 | 2021-02-18 10:38 | 42.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6153 | μmol/L | 10.2867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.883 | 104492.7267 | 307189.8534 | 28.7 | 67.6
13924 | 2021-02-18 10:39 | 42.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6153 | μmol/L | 10.2867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.883 | 104480.4205 | 307178.3873 | 28.7 | 67.6
13934 | 2021-02-18 10:39 | 42.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6153 | μmol/L | 10.2867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.883 | 104469.4833 | 307171.3733 | 28.7 | 67.6
13944 | 2021-02-18 10:39 | 43.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7601 | μmol/L | 10.2806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.879 | 104451.2402 | 307177.4353 | 28.7 | 67.6
13954 | 2021-02-18 10:40 | 43.6628 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7827 | μmol/L | 10.2806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.878 | 104422.7463 | 307139.1768 | 28.7 | 67.6
13964 | 2021-02-18 10:40 | 43.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8281 | μmol/L | 10.2806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.876 | 104416.4578 | 307143.0675 | 28.7 | 67.6
13974 | 2021-02-18 10:40 | 44.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8281 | μmol/L | 10.2806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.876 | 104406.5239 | 307111.9955 | 28.7 | 67.6
13984 | 2021-02-18 10:41 | 44.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8054 | μmol/L | 10.2806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.877 | 104414.1317 | 307112.7042 | 28.7 | 67.6
13994 | 2021-02-18 10:41 | 44.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7148 | μmol/L | 10.2806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.881 | 104427.0068 | 307091.993 | 28.7 | 67.6
14004 | 2021-02-18 10:41 | 45.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7237 | μmol/L | 10.2745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.883 | 104438.0024 | 307084.14 | 28.7 | 67.6
14014 | 2021-02-18 10:42 | 45.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5562 | μmol/L | 10.2806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.888 | 104440.4229 | 307070.148 | 28.7 | 67.6
14024 | 2021-02-18 10:42 | 45.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6104 | μmol/L | 10.2745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.888 | 104448.2609 | 307059.2304 | 28.7 | 67.6
14034 | 2021-02-18 10:42 | 46.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5741 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.892 | 104454.0714 | 307046.7011 | 28.7 | 67.6
14044 | 2021-02-18 10:43 | 46.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4794 | μmol/L | 10.2867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.889 | 104451.0828 | 307034.4443 | 28.7 | 67.6
14054 | 2021-02-18 10:43 | 46.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5741 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.892 | 104449.1766 | 307028.8621 | 28.7 | 67.6
14064 | 2021-02-18 10:43 | 47.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4068 | μmol/L | 10.2745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.897 | 104446.772 | 307012.6868 | 28.7 | 67.6
14074 | 2021-02-18 10:44 | 47.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3615 | μmol/L | 10.2745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.899 | 104447.017 | 307000.2749 | 28.7 | 67.6
14084 | 2021-02-18 10:44 | 47.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3478 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.902 | 104447.9946 | 306987.9269 | 28.7 | 67.6
14094 | 2021-02-18 10:44 | 48.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4246 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.901 | 104450.8528 | 306984.5399 | 28.7 | 67.6
14104 | 2021-02-18 10:45 | 48.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5693 | μmol/L | 10.2563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.897 | 104438.4994 | 306969.8677 | 28.7 | 67.6
14114 | 2021-02-18 10:45 | 48.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5151 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.897 | 104432.097 | 306978.4767 | 28.7 | 67.6
14124 | 2021-02-18 10:45 | 49.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4836 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.896 | 104403.2059 | 306940.8114 | 28.7 | 67.6
14134 | 2021-02-18 10:46 | 49.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4925 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.898 | 104384.964 | 306940.9324 | 28.7 | 67.6
14144 | 2021-02-18 10:46 | 49.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5288 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.894 | 104371.7208 | 306928.3139 | 28.7 | 67.6
14154 | 2021-02-18 10:46 | 50.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6283 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.892 | 104357.5858 | 306914.1897 | 28.7 | 67.6
14164 | 2021-02-18 10:47 | 50.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6057 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.893 | 104335.6918 | 306895.3466 | 28.7 | 67.6
14174 | 2021-02-18 10:47 | 50.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6873 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.887 | 104329.0924 | 306892.2237 | 28.7 | 67.6
14184 | 2021-02-18 10:47 | 51.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5741 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.892 | 104325.7555 | 306873.9569 | 28.7 | 67.6
14194 | 2021-02-18 10:48 | 51.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.6962 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.889 | 104330.9834 | 306871.9159 | 28.7 | 67.6
14204 | 2021-02-18 10:48 | 51.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7189 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.888 | 104326.5808 | 306865.9345 | 28.7 | 67.6
14214 | 2021-02-18 10:48 | 52.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.642 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.889 | 104339.7426 | 306864.5172 | 28.7 | 67.6
14224 | 2021-02-18 10:49 | 52.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5241 | μmol/L | 10.2563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.899 | 104346.0336 | 306825.6785 | 28.7 | 67.6
14234 | 2021-02-18 10:49 | 52.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4699 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.899 | 104346.6033 | 306819.6473 | 28.7 | 67.6
14244 | 2021-02-18 10:49 | 53.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4383 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.898 | 104338.4239 | 306817.097 | 28.7 | 67.6
14254 | 2021-02-18 10:50 | 53.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5378 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.896 | 104330.0168 | 306808.9273 | 28.7 | 67.6