## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 12:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
14268 | 2021-02-18 10:55 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2979 | μmol/L | 10.2563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.909 | 104319.7095 | 306604.8989 | 28.7 | 67.6
14278 | 2021-02-18 10:55 | 0.33336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2979 | μmol/L | 10.2563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.909 | 104305.6615 | 306618.2766 | 28.7 | 67.6
14288 | 2021-02-18 10:56 | 0.66629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2752 | μmol/L | 10.2563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.91 | 104293.3798 | 306595.7003 | 28.7 | 67.6
14298 | 2021-02-18 10:56 | 0.99942 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2663 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.908 | 104229.051 | 306559.7708 | 28.7 | 67.6
14308 | 2021-02-18 10:56 | 1.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1896 | μmol/L | 10.2685 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.909 | 104184.4641 | 306574.6985 | 28.7 | 67.6
14318 | 2021-02-18 10:57 | 1.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1307 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.914 | 104189.4038 | 306613.0261 | 28.7 | 67.6
14328 | 2021-02-18 10:57 | 1.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0629 | μmol/L | 10.2624 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.917 | 104222.5522 | 306633.7993 | 28.7 | 67.6
14338 | 2021-02-18 10:57 | 2.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.1712 | μmol/L | 10.2503 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.917 | 104240.7579 | 306645.9644 | 28.7 | 67.6
14348 | 2021-02-18 10:58 | 2.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.864 | μmol/L | 10.2442 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.933 | 104294.8278 | 306672.1545 | 28.7 | 67.6
14358 | 2021-02-18 10:58 | 2.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.022 | μmol/L | 10.2442 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.926 | 104321.1093 | 306702.4891 | 28.7 | 67.6
14368 | 2021-02-18 10:58 | 3.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0941 | μmol/L | 10.226 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.93 | 104344.3438 | 306712.8146 | 28.7 | 67.6
14378 | 2021-02-18 10:59 | 3.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0264 | μmol/L | 10.226 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.933 | 104354.3731 | 306739.1878 | 28.7 | 67.6
14388 | 2021-02-18 10:59 | 3.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9181 | μmol/L | 10.2381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.933 | 104362.7489 | 306759.9407 | 28.7 | 67.6
14398 | 2021-02-18 10:59 | 4.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9722 | μmol/L | 10.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.933 | 104385.3122 | 306785.4448 | 28.7 | 67.6
14408 | 2021-02-18 11:00 | 4.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9407 | μmol/L | 10.2381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.932 | 104394.1751 | 306788.8626 | 28.7 | 67.6
14418 | 2021-02-18 11:00 | 4.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9633 | μmol/L | 10.2381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.931 | 104398.7148 | 306793.677 | 28.7 | 67.6
14428 | 2021-02-18 11:00 | 5.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9271 | μmol/L | 10.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.935 | 104425.1469 | 306803.7057 | 28.7 | 67.6
14438 | 2021-02-18 11:01 | 5.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9271 | μmol/L | 10.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.935 | 104432.5144 | 306828.0662 | 28.7 | 67.6
14448 | 2021-02-18 11:01 | 6 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7692 | μmol/L | 10.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.942 | 104447.7152 | 306840.5911 | 28.7 | 67.6
14458 | 2021-02-18 11:01 | 6.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8594 | μmol/L | 10.2321 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.938 | 104459.3047 | 306847.7395 | 28.7 | 67.6
14468 | 2021-02-18 11:02 | 6.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8909 | μmol/L | 10.226 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.939 | 104461.1587 | 306865.0459 | 28.7 | 67.6
14478 | 2021-02-18 11:02 | 6.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9902 | μmol/L | 10.2199 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.937 | 104481.7959 | 306863.2102 | 28.7 | 67.6
14488 | 2021-02-18 11:02 | 7.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.9089 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.943 | 104511.6984 | 306856.6283 | 28.7 | 67.6
14498 | 2021-02-18 11:03 | 7.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8277 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.949 | 104537.1309 | 306856.1216 | 28.7 | 67.6
14508 | 2021-02-18 11:03 | 7.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7961 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.948 | 104563.3885 | 306860.806 | 28.7 | 67.6
14518 | 2021-02-18 11:03 | 8.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7374 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.953 | 104561.02 | 306857.279 | 28.7 | 67.6
14528 | 2021-02-18 11:04 | 8.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7825 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.951 | 104572.719 | 306865.5676 | 28.7 | 67.6
14538 | 2021-02-18 11:04 | 8.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8051 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.95 | 104574.8397 | 306868.8627 | 28.7 | 67.6
14548 | 2021-02-18 11:04 | 9.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8592 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.95 | 104576.5673 | 306865.4995 | 28.7 | 67.6
14558 | 2021-02-18 11:05 | 9.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7239 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.956 | 104584.1447 | 306849.2947 | 28.7 | 67.6
14568 | 2021-02-18 11:05 | 9.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7374 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.953 | 104584.2885 | 306853.6513 | 28.7 | 67.6
14578 | 2021-02-18 11:05 | 10.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.8367 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.951 | 104595.3624 | 306844.9345 | 28.7 | 67.6
14588 | 2021-02-18 11:06 | 10.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6473 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.957 | 104588.8061 | 306848.7494 | 28.7 | 67.6
14598 | 2021-02-18 11:06 | 10.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.7465 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.955 | 104605.9284 | 306847.1455 | 28.7 | 67.6
14608 | 2021-02-18 11:06 | 11.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6563 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.959 | 104616.7943 | 306850.1942 | 28.7 | 67.6
14618 | 2021-02-18 11:07 | 11.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6112 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.961 | 104623.6704 | 306844.3762 | 28.7 | 67.6
14628 | 2021-02-18 11:07 | 11.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5662 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.963 | 104635.9717 | 306831.6485 | 28.7 | 67.6
14638 | 2021-02-18 11:07 | 12.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.5301 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.967 | 104650.8035 | 306838.4631 | 28.7 | 67.6
14648 | 2021-02-18 11:08 | 12.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.386 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.971 | 104666.6453 | 306825.0006 | 28.7 | 67.6
14658 | 2021-02-18 11:08 | 12.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4175 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.972 | 104678.2027 | 306820.2134 | 28.7 | 67.6
14668 | 2021-02-18 11:08 | 13.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.2825 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.978 | 104698.1333 | 306808.2834 | 28.7 | 67.6
14678 | 2021-02-18 11:09 | 13.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.17 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.983 | 104703.9795 | 306805.2759 | 28.7 | 67.6
14688 | 2021-02-18 11:09 | 13.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.0936 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.984 | 104728.8138 | 306797.4346 | 28.7 | 67.6
14698 | 2021-02-18 11:09 | 14.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.9677 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.992 | 104743.3301 | 306804.5256 | 28.7 | 67.6
14708 | 2021-02-18 11:10 | 14.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.9902 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.991 | 104750.8308 | 306793.0116 | 28.7 | 67.6
14718 | 2021-02-18 11:10 | 15 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.9767 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.994 | 104766.4006 | 306779.7304 | 28.7 | 67.6
14728 | 2021-02-18 11:10 | 15.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.8105 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.999 | 104776.6225 | 306768.9127 | 28.7 | 67.6
14738 | 2021-02-18 11:11 | 15.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.8644 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.999 | 104781.3834 | 306763.221 | 28.7 | 67.6
14748 | 2021-02-18 11:11 | 15.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7207 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.003 | 104792.8375 | 306759.3255 | 28.7 | 67.6
14758 | 2021-02-18 11:11 | 16.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7432 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.002 | 104785.6204 | 306751.2153 | 28.7 | 67.6
14768 | 2021-02-18 11:12 | 16.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7746 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.003 | 104787.7275 | 306758.9707 | 28.7 | 67.6
14778 | 2021-02-18 11:12 | 16.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7746 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.003 | 104792.1274 | 306737.1592 | 28.7 | 67.6
14788 | 2021-02-18 11:12 | 17.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7746 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.003 | 104789.2773 | 306731.152 | 28.7 | 67.6
14798 | 2021-02-18 11:13 | 17.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7387 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.007 | 104791.6566 | 306721.3639 | 28.7 | 67.6
14808 | 2021-02-18 11:13 | 17.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7073 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.006 | 104784.6765 | 306718.1161 | 28.7 | 67.6
14818 | 2021-02-18 11:13 | 18.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.6983 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.004 | 104769.441 | 306698.0431 | 28.7 | 67.6
14828 | 2021-02-18 11:14 | 18.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.6624 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.008 | 104772.3889 | 306706.5574 | 28.7 | 67.6
14838 | 2021-02-18 11:14 | 18.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7073 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.006 | 104766.3184 | 306692.983 | 28.7 | 67.6
14848 | 2021-02-18 11:14 | 19.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.7746 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.003 | 104755.0018 | 306699.3591 | 28.7 | 67.6
14858 | 2021-02-18 11:15 | 19.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4854 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.063 | 105024.8655 | 306676.6574 | 28.7 | 67.6
14868 | 2021-02-18 11:15 | 19.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.24 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.074 | 105116.5604 | 306672.4049 | 28.7 | 67.6
14878 | 2021-02-18 11:15 | 20.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8391 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.092 | 105175.9206 | 306665.7997 | 28.7 | 67.6
14888 | 2021-02-18 11:16 | 20.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8878 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.085 | 105162.8916 | 306636.1396 | 28.7 | 67.6
14898 | 2021-02-18 11:16 | 20.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.9859 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.083 | 105138.4705 | 306660.1242 | 28.7 | 67.6
14908 | 2021-02-18 11:16 | 21.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.1196 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.077 | 105104.0676 | 306645.7609 | 28.7 | 67.6
14918 | 2021-02-18 11:17 | 21.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.2756 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.07 | 105056.5643 | 306606.3304 | 28.7 | 67.6
14928 | 2021-02-18 11:17 | 21.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4318 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.063 | 105040.5431 | 306619.8517 | 28.7 | 67.6
14938 | 2021-02-18 11:17 | 22.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4541 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.062 | 105013.5939 | 306615.6026 | 28.7 | 67.6
14948 | 2021-02-18 11:18 | 22.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5657 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.057 | 104985.3996 | 306610.4539 | 28.7 | 67.6
14958 | 2021-02-18 11:18 | 22.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6103 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.055 | 104978.521 | 306600.5719 | 28.7 | 67.6
14968 | 2021-02-18 11:18 | 23.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6417 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.056 | 104957.9573 | 306585.7965 | 28.7 | 67.6
14978 | 2021-02-18 11:19 | 23.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.588 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.056 | 104954.8261 | 306590.4154 | 28.7 | 67.6
14988 | 2021-02-18 11:19 | 23.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6327 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.054 | 104948.7428 | 306565.023 | 28.7 | 67.6
14998 | 2021-02-18 11:19 | 24.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.512 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.057 | 104939.2898 | 306558.8336 | 28.7 | 67.6
15008 | 2021-02-18 11:20 | 24.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.646 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.051 | 104938.72 | 306555.3635 | 28.7 | 67.6
15018 | 2021-02-18 11:20 | 24.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7444 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.049 | 104923.0897 | 306540.5545 | 28.7 | 67.6
15028 | 2021-02-18 11:20 | 25.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6773 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.052 | 104930.8822 | 306548.7729 | 28.7 | 67.6
15038 | 2021-02-18 11:21 | 25.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.655 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.053 | 104914.9054 | 306530.1796 | 28.7 | 67.6
15048 | 2021-02-18 11:21 | 25.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6997 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.051 | 104909.8876 | 306529.9722 | 28.7 | 67.6
15058 | 2021-02-18 11:21 | 26.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8204 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.048 | 104890.4965 | 306507.9841 | 28.7 | 67.6
15068 | 2021-02-18 11:22 | 26.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7534 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.051 | 104881.4444 | 306503.6403 | 28.7 | 67.6
15078 | 2021-02-18 11:22 | 27 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8114 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.046 | 104874.8048 | 306501.807 | 28.7 | 67.6
15088 | 2021-02-18 11:22 | 27.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7667 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.048 | 104860.5982 | 306489.26 | 28.7 | 67.6
15098 | 2021-02-18 11:23 | 27.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9099 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.044 | 104848.5349 | 306493.4223 | 28.7 | 67.6
15108 | 2021-02-18 11:23 | 28 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8248 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.043 | 104835.7419 | 306463.2174 | 28.7 | 67.6
15118 | 2021-02-18 11:23 | 28.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0127 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.037 | 104827.0969 | 306449.5191 | 28.7 | 67.6
15128 | 2021-02-18 11:24 | 28.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0127 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.037 | 104812.8651 | 306461.5722 | 28.7 | 67.6
15138 | 2021-02-18 11:24 | 28.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0798 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.034 | 104795.354 | 306442.0444 | 28.7 | 67.6
15148 | 2021-02-18 11:24 | 29.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0351 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.036 | 104791.2142 | 306432.546 | 28.7 | 67.6
15158 | 2021-02-18 11:25 | 29.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1112 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.035 | 104786.4702 | 306436.0473 | 28.7 | 67.6
15168 | 2021-02-18 11:25 | 29.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9589 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.037 | 104765.6606 | 306415.3796 | 28.7 | 67.6
15178 | 2021-02-18 11:25 | 30.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0351 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.036 | 104763.0104 | 306413.9628 | 28.7 | 67.6
15188 | 2021-02-18 11:26 | 30.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1022 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104748.0648 | 306416.0995 | 28.7 | 67.6
15198 | 2021-02-18 11:26 | 30.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1917 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104736.1597 | 306401.135 | 28.7 | 67.6
15208 | 2021-02-18 11:26 | 31.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.026 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.034 | 104725.6093 | 306394.3497 | 28.7 | 67.6
15218 | 2021-02-18 11:27 | 31.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2679 | μmol/L | 10.1835 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104719.3848 | 306390.8642 | 28.7 | 67.6
15228 | 2021-02-18 11:27 | 31.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1379 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104713.0729 | 306395.3581 | 28.7 | 67.6
15238 | 2021-02-18 11:27 | 32.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0932 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.031 | 104707.426 | 306370.3827 | 28.7 | 67.6
15248 | 2021-02-18 11:28 | 32.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1693 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104709.2432 | 306390.34 | 28.7 | 67.6
15258 | 2021-02-18 11:28 | 32.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1022 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104706.3281 | 306363.0967 | 28.7 | 67.6
15268 | 2021-02-18 11:28 | 33.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1693 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104701.1986 | 306374.5888 | 28.7 | 67.6
15278 | 2021-02-18 11:29 | 33.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1603 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104694.022 | 306354.5145 | 28.7 | 67.6
15288 | 2021-02-18 11:29 | 34 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1827 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.027 | 104686.2331 | 306335.538 | 28.7 | 67.6
15298 | 2021-02-18 11:29 | 34.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1379 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104688.7728 | 306339.4117 | 28.7 | 67.6
15308 | 2021-02-18 11:30 | 34.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0708 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104675.6336 | 306317.4627 | 28.7 | 67.6
15318 | 2021-02-18 11:30 | 35 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1022 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104670.6712 | 306313.9738 | 28.7 | 67.6
15328 | 2021-02-18 11:30 | 35.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1693 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104666.4431 | 306309.3295 | 28.7 | 67.6
15338 | 2021-02-18 11:31 | 35.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.3037 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.024 | 104660.8863 | 306311.2394 | 28.7 | 67.6
15348 | 2021-02-18 11:31 | 35.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1379 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104652.3562 | 306294.7672 | 28.7 | 67.6
15358 | 2021-02-18 11:31 | 36.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2275 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104646.3955 | 306288.8671 | 28.7 | 67.6
15368 | 2021-02-18 11:32 | 36.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1693 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104635.6677 | 306276.9532 | 28.7 | 67.6
15378 | 2021-02-18 11:32 | 36.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2813 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104630.8091 | 306265.6892 | 28.7 | 67.6
15388 | 2021-02-18 11:32 | 37.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.3037 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.024 | 104618.3573 | 306264.1635 | 28.7 | 67.6
15398 | 2021-02-18 11:33 | 37.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1827 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.027 | 104615.0129 | 306274.501 | 28.7 | 67.6
15408 | 2021-02-18 11:33 | 37.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2275 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104616.0272 | 306273.5114 | 28.7 | 67.6
15418 | 2021-02-18 11:33 | 38.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2813 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104619.5064 | 306276.3935 | 28.7 | 67.6
15428 | 2021-02-18 11:34 | 38.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.3261 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104609.1404 | 306264.3343 | 28.7 | 67.6
15438 | 2021-02-18 11:34 | 38.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2499 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.024 | 104599.3979 | 306255.1729 | 28.7 | 67.6
15448 | 2021-02-18 11:34 | 39.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2051 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.026 | 104586.8548 | 306249.0602 | 28.7 | 67.6
15458 | 2021-02-18 11:35 | 39.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2275 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104585.3561 | 306228.3722 | 28.7 | 67.6
15468 | 2021-02-18 11:35 | 39.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2051 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.026 | 104585.2708 | 306241.9307 | 28.7 | 67.6
15478 | 2021-02-18 11:35 | 40.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1794 | μmol/L | 10.1957 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.027 | 104577.4944 | 306229.3443 | 28.7 | 67.6
15488 | 2021-02-18 11:36 | 40.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.3485 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.022 | 104575.5974 | 306222.086 | 28.7 | 67.6
15498 | 2021-02-18 11:36 | 40.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2409 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.022 | 104567.7196 | 306209.5211 | 28.7 | 67.6
15508 | 2021-02-18 11:36 | 41.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2723 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104558.6234 | 306197.596 | 28.7 | 67.6
15518 | 2021-02-18 11:37 | 41.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.3261 | μmol/L | 10.1896 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104567.7322 | 306195.334 | 28.7 | 67.6
15528 | 2021-02-18 11:37 | 41.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2723 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104556.9235 | 306186.8429 | 28.7 | 67.6
15538 | 2021-02-18 11:37 | 42.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2409 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.022 | 104563.3727 | 306176.3393 | 28.7 | 67.6
15548 | 2021-02-18 11:38 | 42.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2319 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.02 | 104547.1523 | 306172.4522 | 28.7 | 67.6
15558 | 2021-02-18 11:38 | 42.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2275 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104554.1768 | 306182.2538 | 28.7 | 67.6
15568 | 2021-02-18 11:38 | 43.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1961 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.024 | 104549.4721 | 306165.8338 | 28.7 | 67.6
15578 | 2021-02-18 11:39 | 43.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1289 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.027 | 104547.4709 | 306178.1917 | 28.7 | 67.6
15588 | 2021-02-18 11:39 | 43.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2499 | μmol/L | 10.1957 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.024 | 104535.2283 | 306158.0102 | 28.7 | 67.6
15598 | 2021-02-18 11:39 | 44.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1647 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104537.5758 | 306159.3564 | 28.7 | 67.6
15608 | 2021-02-18 11:40 | 44.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1065 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104531.216 | 306144.3769 | 28.7 | 67.6
15618 | 2021-02-18 11:40 | 44.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.2185 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104535.852 | 306146.0309 | 28.7 | 67.6
15628 | 2021-02-18 11:40 | 45.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0975 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.026 | 104530.184 | 306126.9532 | 28.7 | 67.6
15638 | 2021-02-18 11:41 | 45.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1961 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.024 | 104537.7633 | 306126.9821 | 28.7 | 67.6
15648 | 2021-02-18 11:41 | 45.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9409 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104538.9707 | 306137.9867 | 28.7 | 67.6
15658 | 2021-02-18 11:41 | 46.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9947 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104529.837 | 306105.2915 | 28.7 | 67.6
15668 | 2021-02-18 11:42 | 46.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9543 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104537.584 | 306117.502 | 28.7 | 67.6
15678 | 2021-02-18 11:42 | 46.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9543 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104542.2119 | 306115.7067 | 28.7 | 67.6
15688 | 2021-02-18 11:42 | 47.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.008 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104550.1401 | 306108.8363 | 28.7 | 67.6
15698 | 2021-02-18 11:43 | 47.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.017 | μmol/L | 10.2017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104537.7656 | 306078.4024 | 28.7 | 67.6
15708 | 2021-02-18 11:43 | 48 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8962 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.035 | 104546.9753 | 306089.3793 | 28.7 | 67.6
15718 | 2021-02-18 11:43 | 48.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9186 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.034 | 104551.3534 | 306083.8312 | 28.7 | 67.6
15728 | 2021-02-18 11:44 | 48.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7978 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.037 | 104558.1612 | 306082.6754 | 28.7 | 67.6
15738 | 2021-02-18 11:44 | 48.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8962 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.035 | 104556.136 | 306051.86 | 28.7 | 67.6
15748 | 2021-02-18 11:44 | 49.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.714 | μmol/L | 10.2078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.043 | 104546.6574 | 306056.3696 | 28.7 | 67.6
15758 | 2021-02-18 11:45 | 49.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8425 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.035 | 104546.2948 | 306062.5756 | 28.7 | 67.6
15768 | 2021-02-18 11:45 | 49.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8068 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.039 | 104550.6651 | 306048.5202 | 28.7 | 67.6
15778 | 2021-02-18 11:45 | 50.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.762 | μmol/L | 10.2078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.041 | 104550.2088 | 306040.0516 | 28.7 | 67.6
15788 | 2021-02-18 11:46 | 50.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.781 | μmol/L | 10.2078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104551.0064 | 306045.6088 | 28.7 | 67.6
15798 | 2021-02-18 11:46 | 50.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7274 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104538.5063 | 306015.6511 | 28.7 | 67.6
15808 | 2021-02-18 11:46 | 51.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7531 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.039 | 104540.8795 | 306036.2805 | 28.7 | 67.6
15818 | 2021-02-18 11:47 | 51.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7307 | μmol/L | 10.2139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104540.7193 | 306019.7618 | 28.7 | 67.6
15828 | 2021-02-18 11:47 | 51.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7274 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104542.1296 | 306009.3038 | 28.7 | 67.6
15838 | 2021-02-18 11:47 | 52.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.781 | μmol/L | 10.2078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104545.8562 | 305991.4066 | 28.7 | 67.6
15848 | 2021-02-18 11:48 | 52.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6156 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.045 | 104549.5695 | 306001.6664 | 28.7 | 67.6
15858 | 2021-02-18 11:48 | 52.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.705 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.041 | 104546.5728 | 305994.3649 | 28.7 | 67.6
15868 | 2021-02-18 11:48 | 53.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6827 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.042 | 104543.2991 | 305981.3918 | 28.7 | 67.6
15878 | 2021-02-18 11:49 | 53.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6023 | μmol/L | 10.2078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.048 | 104533.2215 | 305970.3053 | 28.7 | 67.6
15888 | 2021-02-18 11:49 | 53.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6513 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.041 | 104527.1738 | 305985.6175 | 28.7 | 67.6
15898 | 2021-02-18 11:49 | 54.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.714 | μmol/L | 10.2078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.043 | 104512.5231 | 305957.7323 | 28.7 | 67.6
15908 | 2021-02-18 11:50 | 54.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7274 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104514.1257 | 305956.7391 | 28.7 | 67.6
15918 | 2021-02-18 11:50 | 54.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7721 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.038 | 104511.3204 | 305944.7312 | 28.7 | 67.6
15928 | 2021-02-18 11:50 | 55.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.705 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.041 | 104495.642 | 305953.206 | 28.7 | 67.6
15938 | 2021-02-18 11:51 | 55.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6513 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.041 | 104486.7399 | 305950.3205 | 28.7 | 67.6
15948 | 2021-02-18 11:51 | 55.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6827 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.042 | 104487.4532 | 305930.0368 | 28.7 | 67.6
15958 | 2021-02-18 11:51 | 56.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.781 | μmol/L | 10.2078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104481.5061 | 305910.0837 | 28.7 | 67.6
15968 | 2021-02-18 11:52 | 56.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6737 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104476.3728 | 305924.7734 | 28.7 | 67.6
15978 | 2021-02-18 11:52 | 56.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.781 | μmol/L | 10.2078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104472.0569 | 305905.6774 | 28.7 | 67.6
15988 | 2021-02-18 11:52 | 57.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7497 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.039 | 104473.5625 | 305920.8994 | 28.7 | 67.6
15998 | 2021-02-18 11:53 | 57.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8391 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.035 | 104462.3776 | 305921.0415 | 28.7 | 67.6
16008 | 2021-02-18 11:53 | 57.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.705 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.041 | 104456.8602 | 305912.6146 | 28.7 | 67.6
16018 | 2021-02-18 11:53 | 58.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8168 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.036 | 104451.096 | 305918.0332 | 28.7 | 67.6
16028 | 2021-02-18 11:54 | 58.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6647 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.038 | 104441.2212 | 305891.9209 | 28.7 | 67.6
16038 | 2021-02-18 11:54 | 58.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8615 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.034 | 104439.9356 | 305892.1353 | 28.7 | 67.6
16048 | 2021-02-18 11:54 | 59.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8301 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104434.9298 | 305902.7593 | 28.7 | 67.6
16058 | 2021-02-18 11:55 | 59.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7184 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.038 | 104423.8544 | 305889.2981 | 28.7 | 67.6
16068 | 2021-02-18 11:55 | 59.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7988 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104414.4347 | 305886.2 | 28.7 | 67.6
16078 | 2021-02-18 11:55 | 60.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7854 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.035 | 104420.6951 | 305876.5791 | 28.7 | 67.6
16088 | 2021-02-18 11:56 | 60.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7631 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.036 | 104425.3075 | 305882.9463 | 28.7 | 67.6
16098 | 2021-02-18 11:56 | 60.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.696 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.039 | 104428.6874 | 305869.0031 | 28.7 | 67.6
16108 | 2021-02-18 11:56 | 61.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.629 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.042 | 104440.8294 | 305876.5478 | 28.7 | 67.6
16118 | 2021-02-18 11:57 | 61.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6827 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.042 | 104432.7267 | 305843.0556 | 28.7 | 67.6
16128 | 2021-02-18 11:57 | 62 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.629 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.042 | 104436.9139 | 305868.6614 | 28.7 | 67.6
16138 | 2021-02-18 11:57 | 62.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5084 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.045 | 104429.9501 | 305852.6632 | 28.7 | 67.6
16148 | 2021-02-18 11:58 | 62.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.696 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.039 | 104436.693 | 305862.6485 | 28.7 | 67.6
16158 | 2021-02-18 11:58 | 62.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6737 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104434.0624 | 305854.8142 | 28.7 | 67.6
16168 | 2021-02-18 11:58 | 63.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6737 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104428.0787 | 305838.1842 | 28.7 | 67.6
16178 | 2021-02-18 11:59 | 63.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6737 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104415.3214 | 305833.8364 | 28.7 | 67.6
16188 | 2021-02-18 11:59 | 63.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7407 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.037 | 104407.5841 | 305834.2952 | 28.7 | 67.6
16198 | 2021-02-18 11:59 | 64.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7274 | μmol/L | 10.2139 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104399.6713 | 305834.4696 | 28.7 | 67.6
16208 | 2021-02-18 12:00 | 64.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7184 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.038 | 104390 | 305822.0539 | 28.7 | 67.6
16218 | 2021-02-18 12:00 | 65.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7764 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104375.4136 | 305812.4082 | 28.7 | 67.6
16228 | 2021-02-18 12:00 | 65.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8078 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.034 | 104368.2893 | 305790.8781 | 28.7 | 67.6
16238 | 2021-02-18 12:01 | 65.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8525 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104368.3942 | 305811.3576 | 28.7 | 67.6
16248 | 2021-02-18 12:01 | 65.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8749 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.031 | 104360.808 | 305811.2676 | 28.7 | 67.6
16258 | 2021-02-18 12:01 | 66.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9196 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104358.1978 | 305812.9728 | 28.7 | 67.6
16268 | 2021-02-18 12:02 | 66.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0314 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.024 | 104364.1472 | 305805.0164 | 28.7 | 67.6
16278 | 2021-02-18 12:02 | 67.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8749 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.031 | 104353.8553 | 305814.0289 | 28.7 | 67.6
16288 | 2021-02-18 12:02 | 67.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9196 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104360.7099 | 305796.3991 | 28.7 | 67.6
16298 | 2021-02-18 12:03 | 67.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9106 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.027 | 104344.1778 | 305785.1007 | 28.7 | 67.6
16308 | 2021-02-18 12:03 | 67.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9196 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104353.0719 | 305796.8474 | 28.7 | 67.6
16318 | 2021-02-18 12:03 | 68.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7898 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104354.7185 | 305794.3262 | 28.7 | 67.6
16328 | 2021-02-18 12:04 | 68.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8525 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104346.041 | 305783.7165 | 28.7 | 67.6
16338 | 2021-02-18 12:04 | 68.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8659 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104329.5486 | 305768.2353 | 28.7 | 67.6
16348 | 2021-02-18 12:04 | 69.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8972 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104330.2741 | 305784.8311 | 28.7 | 67.6
16358 | 2021-02-18 12:05 | 69.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9196 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104329.6864 | 305767.6039 | 28.7 | 67.6
16368 | 2021-02-18 12:05 | 69.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7764 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104338.6998 | 305779.7618 | 28.7 | 67.6
16378 | 2021-02-18 12:05 | 70.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8882 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104320.3992 | 305764.1546 | 28.7 | 67.6
16388 | 2021-02-18 12:06 | 70.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7988 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104329.7507 | 305778.3322 | 28.7 | 67.6
16398 | 2021-02-18 12:06 | 70.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8882 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104331.9655 | 305755.8081 | 28.7 | 67.6
16408 | 2021-02-18 12:06 | 71.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9106 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.027 | 104334.0944 | 305766.6588 | 28.7 | 67.6
16418 | 2021-02-18 12:07 | 71.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8525 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104331.9669 | 305760.281 | 28.7 | 67.6
16428 | 2021-02-18 12:07 | 71.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7675 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.031 | 104328.1832 | 305754.1627 | 28.7 | 67.6
16438 | 2021-02-18 12:07 | 72.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7764 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.033 | 104332.0691 | 305759.3902 | 28.7 | 67.6
16448 | 2021-02-18 12:08 | 72.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8972 | μmol/L | 10.2199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104320.9233 | 305745.3765 | 28.7 | 67.6
16458 | 2021-02-18 12:08 | 72.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.933 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.026 | 104316.6458 | 305742.4868 | 28.7 | 67.6
16468 | 2021-02-18 12:08 | 73.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7898 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104312.7216 | 305734.153 | 28.7 | 67.6
16478 | 2021-02-18 12:09 | 73.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7361 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104312.3416 | 305742.6881 | 28.7 | 67.6
16488 | 2021-02-18 12:09 | 73.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8435 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104301.9752 | 305741.0846 | 28.7 | 67.6
16498 | 2021-02-18 12:09 | 74.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8659 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.029 | 104305.4246 | 305734.0761 | 28.7 | 67.6
16508 | 2021-02-18 12:10 | 74.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8345 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104292.7408 | 305734.3168 | 28.7 | 67.6
16518 | 2021-02-18 12:10 | 74.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.933 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.026 | 104288.1186 | 305732.0502 | 28.7 | 67.6
16528 | 2021-02-18 12:10 | 75.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7898 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104289.7387 | 305725.4946 | 28.7 | 67.6
16538 | 2021-02-18 12:11 | 75.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9553 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104276.5202 | 305714.7293 | 28.7 | 67.6
16548 | 2021-02-18 12:11 | 75.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0001 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104260.9549 | 305698.643 | 28.7 | 67.6
16558 | 2021-02-18 12:11 | 76.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9464 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104263.8201 | 305706.3493 | 28.7 | 67.6
16568 | 2021-02-18 12:12 | 76.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0001 | μmol/L | 10.226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104255.3563 | 305701.0611 | 28.7 | 67.6
16578 | 2021-02-18 12:12 | 76.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9464 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104245.2995 | 305701.6932 | 28.7 | 67.6
16588 | 2021-02-18 12:12 | 77.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0806 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.017 | 104250.0608 | 305704.4645 | 28.7 | 67.6
16598 | 2021-02-18 12:13 | 77.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0135 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.02 | 104245.1124 | 305698.948 | 28.7 | 67.6
16608 | 2021-02-18 12:13 | 77.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0045 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.018 | 104221.543 | 305692.346 | 28.7 | 67.6
16618 | 2021-02-18 12:13 | 78.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0806 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.017 | 104240.347 | 305680.4022 | 28.7 | 67.6
16628 | 2021-02-18 12:14 | 78.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.1478 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.014 | 104232.9508 | 305677.0463 | 28.7 | 67.6
16638 | 2021-02-18 12:14 | 78.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9911 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.021 | 104229.7056 | 305661.4906 | 28.7 | 67.6
16648 | 2021-02-18 12:14 | 79.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0045 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.018 | 104207.5216 | 305650.1537 | 28.7 | 67.6
16658 | 2021-02-18 12:15 | 79.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0135 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.02 | 104211.8313 | 305660.8252 | 28.7 | 67.6
16668 | 2021-02-18 12:15 | 79.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0045 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.018 | 104210.689 | 305646.3851 | 28.7 | 67.6
16678 | 2021-02-18 12:15 | 80.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9821 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.019 | 104208.3288 | 305633.9604 | 28.7 | 67.6
16688 | 2021-02-18 12:16 | 80.6666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.215 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.011 | 104200.3466 | 305648.6338 | 28.7 | 67.6
16698 | 2021-02-18 12:16 | 80.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0269 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.017 | 104191.3084 | 305630.7483 | 28.7 | 67.6
16708 | 2021-02-18 12:16 | 81.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9732 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.017 | 104194.3064 | 305640.878 | 28.7 | 67.6
16718 | 2021-02-18 12:17 | 81.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9508 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.018 | 104202.3937 | 305627.7149 | 28.7 | 67.6
16728 | 2021-02-18 12:17 | 81.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9821 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.019 | 104187.5949 | 305610.3821 | 28.7 | 67.6
16738 | 2021-02-18 12:17 | 82.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9732 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.017 | 104181.4769 | 305626.8903 | 28.7 | 67.6
16748 | 2021-02-18 12:18 | 82.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.103 | μmol/L | 10.2321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.016 | 104176.3181 | 305602.316 | 28.7 | 67.6
16758 | 2021-02-18 12:18 | 82.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0627 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.013 | 104187.6235 | 305614.5169 | 28.7 | 67.6
16768 | 2021-02-18 12:18 | 83.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.0493 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.016 | 104187.6531 | 305624.8089 | 28.7 | 67.6
16778 | 2021-02-18 12:19 | 83.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9061 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.02 | 104192.5293 | 305612.6925 | 28.7 | 67.6
16788 | 2021-02-18 12:19 | 84 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8837 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.021 | 104179.3239 | 305593.4803 | 28.7 | 67.6
16798 | 2021-02-18 12:19 | 84.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9061 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.02 | 104184.4736 | 305585.5276 | 28.7 | 67.6
16808 | 2021-02-18 12:20 | 84.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8837 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.021 | 104189.4249 | 305594.3325 | 28.7 | 67.6
16818 | 2021-02-18 12:20 | 84.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9821 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.019 | 104183.4195 | 305583.0196 | 28.7 | 67.6
16828 | 2021-02-18 12:20 | 85.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8927 | μmol/L | 10.2381 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.023 | 104190.4041 | 305594.0639 | 28.7 | 67.6
16838 | 2021-02-18 12:21 | 85.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7406 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104188.6047 | 305578.8015 | 28.7 | 67.6
16848 | 2021-02-18 12:21 | 85.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8613 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.022 | 104188.7983 | 305570.3981 | 28.7 | 67.6
16858 | 2021-02-18 12:21 | 86.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7272 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104201.1058 | 305583.5523 | 28.7 | 67.6
16868 | 2021-02-18 12:22 | 86.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.8837 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.021 | 104192.0217 | 305566.3261 | 28.7 | 67.6
16878 | 2021-02-18 12:22 | 86.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.83 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.021 | 104187.8217 | 305562.0531 | 28.7 | 67.6
16888 | 2021-02-18 12:22 | 87.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7406 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104190.0752 | 305557.99 | 28.7 | 67.6
16898 | 2021-02-18 12:23 | 87.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6646 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.026 | 104187.5135 | 305565.5488 | 28.7 | 67.6
16908 | 2021-02-18 12:23 | 87.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.7942 | μmol/L | 10.2442 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.025 | 104199.3407 | 305550.4811 | 28.7 | 67.6
16918 | 2021-02-18 12:23 | 88.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6959 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.027 | 104187.4257 | 305550.9441 | 28.7 | 67.6
16928 | 2021-02-18 12:24 | 88.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6735 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.028 | 104190.0322 | 305513.7998 | 28.7 | 67.6
16938 | 2021-02-18 12:24 | 89 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.6288 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104195.7468 | 305534.9934 | 28.7 | 67.6
16948 | 2021-02-18 12:24 | 89.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5752 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 104204.8286 | 305529.3667 | 28.7 | 67.6
16958 | 2021-02-18 12:25 | 89.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.5842 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 104209.655 | 305533.9062 | 28.7 | 67.6
16968 | 2021-02-18 12:25 | 89.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4859 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.034 | 104214.4183 | 305526.1197 | 28.7 | 67.6
16978 | 2021-02-18 12:25 | 90.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4055 | μmol/L | 10.2503 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 104218.7193 | 305524.4792 | 28.7 | 67.6
16988 | 2021-02-18 12:26 | 90.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4412 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.036 | 104214.6191 | 305507.3126 | 28.7 | 67.6
16998 | 2021-02-18 12:26 | 91 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4412 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.036 | 104215.0203 | 305522.0068 | 28.7 | 67.6
17008 | 2021-02-18 12:26 | 91.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3743 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.039 | 104218.4182 | 305499.9015 | 28.7 | 67.6
17018 | 2021-02-18 12:27 | 91.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4189 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.037 | 104217.0929 | 305493.1193 | 28.7 | 67.6
17028 | 2021-02-18 12:27 | 91.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.3966 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.038 | 104218.4977 | 305505.3866 | 28.7 | 67.6
17038 | 2021-02-18 12:27 | 92.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.0397 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.054 | 104299.9964 | 305472.228 | 28.7 | 67.6
17048 | 2021-02-18 12:28 | 92.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.4521 | μmol/L | 10.2624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.078 | 104423.6518 | 305472.7156 | 28.7 | 67.6
17058 | 2021-02-18 12:28 | 93 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5334 | μmol/L | 10.2503 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.079 | 104420.3455 | 305486.4873 | 28.7 | 67.6
17068 | 2021-02-18 12:28 | 93.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5945 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.074 | 104406.0209 | 305468.5105 | 28.7 | 67.6
17078 | 2021-02-18 12:29 | 93.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5411 | μmol/L | 10.2624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.074 | 104389.2964 | 305456.9847 | 28.7 | 67.6
17088 | 2021-02-18 12:29 | 93.9998 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.5633 | μmol/L | 10.2624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.073 | 104393.9009 | 305458.3231 | 28.7 | 67.6
17098 | 2021-02-18 12:29 | 94.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.4611 | μmol/L | 10.2563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.08 | 104407.9737 | 305454.3008 | 28.7 | 67.6
17108 | 2021-02-18 12:30 | 94.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.1912 | μmol/L | 10.2563 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.092 | 104472.0229 | 305472.5112 | 28.7 | 67.6
17118 | 2021-02-18 12:30 | 95.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.9381 | μmol/L | 10.2624 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.101 | 104514.0372 | 305444.0835 | 28.7 | 67.6
17128 | 2021-02-18 12:30 | 95.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.9693 | μmol/L | 10.2563 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.102 | 104537.0265 | 305463.8061 | 28.7 | 67.6
17138 | 2021-02-18 12:31 | 95.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.7519 | μmol/L | 10.2685 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.107 | 104538.074 | 305449.8927 | 28.7 | 67.6
17148 | 2021-02-18 12:31 | 95.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.9326 | μmol/L | 10.2685 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.099 | 104517.7428 | 305446.348 | 28.7 | 67.6