## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 10:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
12645 | 2021-02-18 09:56 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 294.1769 | μmol/L | 11.3599 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.27 | 160653.8554 | 283410.0724 | 36.4 | 83.1
12655 | 2021-02-18 09:56 | 0.33125 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 294.2259 | μmol/L | 11.3599 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.268 | 160659.6122 | 283384.0698 | 36.4 | 83.1
12665 | 2021-02-18 09:57 | 0.66402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 294.1564 | μmol/L | 11.3599 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.271 | 160676.5897 | 283372.7092 | 36.4 | 83.1
12675 | 2021-02-18 09:57 | 0.99764 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 294.1699 | μmol/L | 11.366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 160652.6244 | 283367.6913 | 36.4 | 83.1
12685 | 2021-02-18 09:57 | 1.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 294.0474 | μmol/L | 11.366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160643.5053 | 283334.1829 | 36.4 | 83.1
12695 | 2021-02-18 09:58 | 1.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 294.0569 | μmol/L | 11.3721 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.27 | 160639.0591 | 283329.3153 | 36.4 | 83.1
12705 | 2021-02-18 09:58 | 1.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 294.0719 | μmol/L | 11.366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160651.4605 | 283310.8495 | 36.4 | 83.1
12715 | 2021-02-18 09:58 | 2.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.9834 | μmol/L | 11.3721 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160630.7193 | 283291.1625 | 36.4 | 83.1
12725 | 2021-02-18 09:59 | 2.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.952 | μmol/L | 11.3782 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160620.5937 | 283277.0319 | 36.4 | 83.1
12735 | 2021-02-18 09:59 | 2.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.948 | μmol/L | 11.3782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160603.2138 | 283254.0425 | 36.4 | 83.1
12745 | 2021-02-18 09:59 | 3.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.8391 | μmol/L | 11.3843 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.274 | 160614.2718 | 283239.9552 | 36.4 | 83.1
12755 | 2021-02-18 10:00 | 3.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.85 | μmol/L | 11.3782 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160600.5091 | 283214.6046 | 36.4 | 83.1
12765 | 2021-02-18 10:00 | 3.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.7792 | μmol/L | 11.3905 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.274 | 160596.8081 | 283204.1244 | 36.4 | 83.1
12775 | 2021-02-18 10:00 | 4.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.9016 | μmol/L | 11.3905 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.269 | 160570.0495 | 283192.0501 | 36.4 | 83.1
12785 | 2021-02-18 10:01 | 4.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.8526 | μmol/L | 11.3905 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.271 | 160552.8621 | 283158.8594 | 36.4 | 83.1
12795 | 2021-02-18 10:01 | 4.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.7437 | μmol/L | 11.3966 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160554.1741 | 283138.856 | 36.4 | 83.1
12805 | 2021-02-18 10:01 | 5.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6105 | μmol/L | 11.4027 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160550.4075 | 283137.689 | 36.4 | 83.1
12815 | 2021-02-18 10:02 | 5.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6105 | μmol/L | 11.4027 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160534.0707 | 283118.4513 | 36.4 | 83.1
12825 | 2021-02-18 10:02 | 5.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6879 | μmol/L | 11.4027 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160509.6354 | 283105.0112 | 36.4 | 83.1
12835 | 2021-02-18 10:02 | 6.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6035 | μmol/L | 11.4088 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.274 | 160482.6001 | 283083.0764 | 36.4 | 83.1
12845 | 2021-02-18 10:03 | 6.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.5996 | μmol/L | 11.4088 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.274 | 160472.4812 | 283063.6192 | 36.4 | 83.1
12855 | 2021-02-18 10:03 | 6.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.7014 | μmol/L | 11.4088 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.27 | 160447.2646 | 283043.2151 | 36.4 | 83.1
12865 | 2021-02-18 10:03 | 7.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6525 | μmol/L | 11.4088 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160426.6025 | 283039.7094 | 36.4 | 83.1
12875 | 2021-02-18 10:04 | 7.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6865 | μmol/L | 11.4149 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.268 | 160402.0353 | 283015.6359 | 36.4 | 83.1
12885 | 2021-02-18 10:04 | 7.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.7355 | μmol/L | 11.4149 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.266 | 160390.3386 | 283008.0079 | 36.4 | 83.1
12895 | 2021-02-18 10:04 | 8.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.666 | μmol/L | 11.4149 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 160379.646 | 282977.5185 | 36.4 | 83.1
12905 | 2021-02-18 10:05 | 8.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.4975 | μmol/L | 11.4271 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.271 | 160383.5321 | 282973.8265 | 36.4 | 83.1
12915 | 2021-02-18 10:05 | 8.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6307 | μmol/L | 11.421 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 160385.03 | 282946.4467 | 36.4 | 83.1
12925 | 2021-02-18 10:05 | 9.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.6307 | μmol/L | 11.421 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 160364.1684 | 282944.1185 | 36.4 | 83.1
12935 | 2021-02-18 10:06 | 9.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.4023 | μmol/L | 11.4393 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.27 | 160360.9423 | 282928.2576 | 36.4 | 83.1
12945 | 2021-02-18 10:06 | 9.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.3534 | μmol/L | 11.4393 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160370.2495 | 282904.116 | 36.4 | 83.1
12955 | 2021-02-18 10:06 | 10.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.3888 | μmol/L | 11.4332 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160359.61 | 282895.2662 | 36.4 | 83.1
12965 | 2021-02-18 10:07 | 10.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.2937 | μmol/L | 11.4455 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160348.03 | 282867.2189 | 36.4 | 83.1
12975 | 2021-02-18 10:07 | 10.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.2448 | μmol/L | 11.4455 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.274 | 160341.84 | 282863.9945 | 36.4 | 83.1
12985 | 2021-02-18 10:07 | 11.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.0765 | μmol/L | 11.4577 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160341.6923 | 282856.864 | 36.4 | 83.1
12995 | 2021-02-18 10:08 | 11.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.2095 | μmol/L | 11.4516 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160350.2033 | 282820.942 | 36.4 | 83.1
13005 | 2021-02-18 10:08 | 11.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.0521 | μmol/L | 11.4577 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.277 | 160337.8284 | 282801.1123 | 36.4 | 83.1
13015 | 2021-02-18 10:08 | 12.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 293.1118 | μmol/L | 11.4516 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.277 | 160330.4808 | 282807.7175 | 36.4 | 83.1
13025 | 2021-02-18 10:09 | 12.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.968 | μmol/L | 11.4638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.278 | 160328.069 | 282793.4435 | 36.4 | 83.1
13035 | 2021-02-18 10:09 | 12.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.9192 | μmol/L | 11.4638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.28 | 160331.4906 | 282778.5375 | 36.4 | 83.1
13045 | 2021-02-18 10:09 | 13.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.9192 | μmol/L | 11.4638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.28 | 160334.3593 | 282765.9505 | 36.4 | 83.1
13055 | 2021-02-18 10:10 | 13.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.9192 | μmol/L | 11.4638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.28 | 160318.382 | 282760.0722 | 36.4 | 83.1
13065 | 2021-02-18 10:10 | 13.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.9436 | μmol/L | 11.4638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 160322.4319 | 282743.6434 | 36.4 | 83.1
13075 | 2021-02-18 10:10 | 14.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.9436 | μmol/L | 11.4638 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 160314.9164 | 282732.1435 | 36.4 | 83.1
13085 | 2021-02-18 10:11 | 14.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.884 | μmol/L | 11.4699 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 160313.9579 | 282709.2712 | 36.4 | 83.1
13095 | 2021-02-18 10:11 | 14.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.9084 | μmol/L | 11.4699 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.278 | 160293.7722 | 282685.4468 | 36.4 | 83.1
13105 | 2021-02-18 10:11 | 15.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.7647 | μmol/L | 11.4821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 160275.9899 | 282688.4579 | 36.4 | 83.1
13115 | 2021-02-18 10:12 | 15.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.7851 | μmol/L | 11.4821 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.278 | 160272.5363 | 282680.4734 | 36.4 | 83.1
13125 | 2021-02-18 10:12 | 15.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.7891 | μmol/L | 11.4821 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.278 | 160255.7696 | 282641.497 | 36.4 | 83.1
13135 | 2021-02-18 10:12 | 16.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.6456 | μmol/L | 11.4943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.279 | 160258.2451 | 282627.9887 | 36.4 | 83.1
13145 | 2021-02-18 10:13 | 16.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.6212 | μmol/L | 11.4943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.28 | 160246.162 | 282626.4017 | 36.4 | 83.1
13155 | 2021-02-18 10:13 | 16.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.7187 | μmol/L | 11.4943 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160230.7633 | 282605.1826 | 36.4 | 83.1
13165 | 2021-02-18 10:13 | 17.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.6591 | μmol/L | 11.5005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160215.9701 | 282591.9213 | 36.4 | 83.1
13175 | 2021-02-18 10:14 | 17.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.6835 | μmol/L | 11.5005 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.275 | 160201.367 | 282562.1243 | 36.4 | 83.1
13185 | 2021-02-18 10:14 | 17.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.4913 | μmol/L | 11.5127 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.278 | 160210.0398 | 282571.6207 | 36.4 | 83.1
13195 | 2021-02-18 10:14 | 18.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.5752 | μmol/L | 11.5066 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.277 | 160189.4256 | 282540.6994 | 36.4 | 83.1
13205 | 2021-02-18 10:15 | 18.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.6132 | μmol/L | 11.5127 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160179.0588 | 282547.7967 | 36.4 | 83.1
13215 | 2021-02-18 10:15 | 18.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.4805 | μmol/L | 11.5188 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160172.941 | 282521.3129 | 36.4 | 83.1
13225 | 2021-02-18 10:15 | 19.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3615 | μmol/L | 11.531 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.276 | 160149.0451 | 282508.4335 | 36.4 | 83.1
13235 | 2021-02-18 10:16 | 19.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.4698 | μmol/L | 11.5249 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.274 | 160130.1494 | 282493.9001 | 36.4 | 83.1
13245 | 2021-02-18 10:16 | 19.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.5077 | μmol/L | 11.531 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.27 | 160131.4746 | 282495.8004 | 36.4 | 83.1
13255 | 2021-02-18 10:16 | 20.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3264 | μmol/L | 11.5371 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.275 | 160114.7652 | 282476.7926 | 36.4 | 83.1
13265 | 2021-02-18 10:17 | 20.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3644 | μmol/L | 11.5432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.271 | 160093.5729 | 282454.2769 | 36.4 | 83.1
13275 | 2021-02-18 10:17 | 20.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.4131 | μmol/L | 11.5432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 160070.8569 | 282437.7264 | 36.4 | 83.1
13285 | 2021-02-18 10:17 | 21.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3157 | μmol/L | 11.5432 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160066.2467 | 282422.1563 | 36.4 | 83.1
13295 | 2021-02-18 10:18 | 21.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.2806 | μmol/L | 11.5493 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160056.9769 | 282392.696 | 36.4 | 83.1
13305 | 2021-02-18 10:18 | 21.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.1968 | μmol/L | 11.5555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.273 | 160054.4486 | 282390.7432 | 36.4 | 83.1
13315 | 2021-02-18 10:18 | 22.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.2348 | μmol/L | 11.5616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 160035.3098 | 282376.4649 | 36.4 | 83.1
13325 | 2021-02-18 10:19 | 22.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3429 | μmol/L | 11.5555 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.267 | 160002.8562 | 282376.7216 | 36.4 | 83.1
13335 | 2021-02-18 10:19 | 22.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.2348 | μmol/L | 11.5616 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 160002.5332 | 282358.3635 | 36.4 | 83.1
13345 | 2021-02-18 10:19 | 23.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.1023 | μmol/L | 11.5677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.272 | 160004.856 | 282347.3321 | 36.4 | 83.1
13355 | 2021-02-18 10:20 | 23.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.151 | μmol/L | 11.5677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.27 | 160000.8553 | 282339.8054 | 36.4 | 83.1
13365 | 2021-02-18 10:20 | 23.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.0566 | μmol/L | 11.5799 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 159979.044 | 282328.343 | 36.4 | 83.1
13375 | 2021-02-18 10:20 | 24.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.2484 | μmol/L | 11.5677 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159956.6031 | 282299.1432 | 36.4 | 83.1
13385 | 2021-02-18 10:21 | 24.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.0459 | μmol/L | 11.586 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.267 | 159940.9355 | 282288.7976 | 36.4 | 83.1
13395 | 2021-02-18 10:21 | 24.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.0459 | μmol/L | 11.586 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.267 | 159933.874 | 282272.7533 | 36.4 | 83.1
13405 | 2021-02-18 10:21 | 25.3306 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.9865 | μmol/L | 11.5921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.267 | 159930.82 | 282265.8878 | 36.4 | 83.1
13415 | 2021-02-18 10:22 | 25.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.0109 | μmol/L | 11.5921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159928.0313 | 282245.4929 | 36.4 | 83.1
13425 | 2021-02-18 10:22 | 25.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.0702 | μmol/L | 11.586 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159918.2208 | 282227.3149 | 36.4 | 83.1
13435 | 2021-02-18 10:22 | 26.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8192 | μmol/L | 11.6044 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 159894.9329 | 282212.9817 | 36.4 | 83.1
13445 | 2021-02-18 10:23 | 26.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.0595 | μmol/L | 11.5921 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.264 | 159875.2826 | 282197.9553 | 36.4 | 83.1
13455 | 2021-02-18 10:23 | 26.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8922 | μmol/L | 11.6044 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159870.1005 | 282183.9709 | 36.4 | 83.1
13465 | 2021-02-18 10:23 | 27.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.7843 | μmol/L | 11.6105 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 159871.6708 | 282177.392 | 36.4 | 83.1
13475 | 2021-02-18 10:24 | 27.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8815 | μmol/L | 11.6105 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.264 | 159849.7881 | 282161.6268 | 36.4 | 83.1
13485 | 2021-02-18 10:24 | 27.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8359 | μmol/L | 11.6227 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.261 | 159830.3346 | 282147.6613 | 36.4 | 83.1
13495 | 2021-02-18 10:24 | 28.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.763 | μmol/L | 11.6227 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.264 | 159814.6612 | 282137.5843 | 36.4 | 83.1
13505 | 2021-02-18 10:25 | 28.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6551 | μmol/L | 11.6288 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159739.9665 | 282136.5453 | 36.4 | 83.1
13515 | 2021-02-18 10:25 | 28.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.728 | μmol/L | 11.6288 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.263 | 159724.0272 | 282128.1401 | 36.4 | 83.1
13525 | 2021-02-18 10:25 | 29.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6891 | μmol/L | 11.6349 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.262 | 159706.0563 | 282108.2802 | 36.4 | 83.1
13535 | 2021-02-18 10:26 | 29.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6095 | μmol/L | 11.641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.263 | 159700.2398 | 282101.142 | 36.4 | 83.1
13545 | 2021-02-18 10:26 | 29.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.7027 | μmol/L | 11.641 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.259 | 159669.1687 | 282082.3416 | 36.4 | 83.1
13555 | 2021-02-18 10:26 | 30.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6475 | μmol/L | 11.6471 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.259 | 159665.9407 | 282065.9083 | 36.4 | 83.1
13565 | 2021-02-18 10:27 | 30.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6962 | μmol/L | 11.6471 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.257 | 159639.7731 | 282042.1362 | 36.4 | 83.1
13575 | 2021-02-18 10:27 | 30.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5989 | μmol/L | 11.6471 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.261 | 159655.3173 | 282054.5118 | 36.4 | 83.1
13585 | 2021-02-18 10:27 | 31.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6435 | μmol/L | 11.6471 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.259 | 159637.8116 | 282045.4287 | 36.4 | 83.1
13595 | 2021-02-18 10:28 | 31.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5777 | μmol/L | 11.6594 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.257 | 159633.266 | 282032.829 | 36.4 | 83.1
13605 | 2021-02-18 10:28 | 31.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5251 | μmol/L | 11.6594 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.259 | 159619.1016 | 282008.8652 | 36.4 | 83.1
13615 | 2021-02-18 10:28 | 32.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5145 | μmol/L | 11.6655 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.257 | 159605.3134 | 281998.9372 | 36.4 | 83.1
13625 | 2021-02-18 10:29 | 32.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5039 | μmol/L | 11.6716 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.255 | 159595.7216 | 281995.1383 | 36.4 | 83.1
13635 | 2021-02-18 10:29 | 32.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5565 | μmol/L | 11.6716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.253 | 159574.2793 | 281974.6501 | 36.4 | 83.1
13645 | 2021-02-18 10:29 | 33.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.3476 | μmol/L | 11.6777 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.259 | 159566.4643 | 281978.9543 | 36.4 | 83.1
13655 | 2021-02-18 10:30 | 33.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.469 | μmol/L | 11.6777 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.254 | 159553.779 | 281948.8604 | 36.4 | 83.1
13665 | 2021-02-18 10:30 | 33.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.4342 | μmol/L | 11.6838 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.253 | 159540.9697 | 281953.0948 | 36.4 | 83.1
13675 | 2021-02-18 10:30 | 34.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.469 | μmol/L | 11.6777 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.254 | 159529.4181 | 281937.2688 | 36.4 | 83.1
13685 | 2021-02-18 10:31 | 34.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.4479 | μmol/L | 11.6899 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.25 | 159506.6644 | 281927.5888 | 36.4 | 83.1
13695 | 2021-02-18 10:31 | 34.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.2916 | μmol/L | 11.696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.254 | 159516.9389 | 281915.4471 | 36.4 | 83.1
13705 | 2021-02-18 10:31 | 35.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.3402 | μmol/L | 11.696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.252 | 159499.3179 | 281907.2653 | 36.4 | 83.1
13715 | 2021-02-18 10:32 | 35.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.3402 | μmol/L | 11.696 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.252 | 159486.1029 | 281879.3457 | 36.4 | 83.1
13725 | 2021-02-18 10:32 | 35.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.3296 | μmol/L | 11.7021 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.25 | 159469.21 | 281880.0829 | 36.4 | 83.1
13735 | 2021-02-18 10:32 | 36.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.2325 | μmol/L | 11.7021 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.254 | 159458.5752 | 281860.0221 | 36.4 | 83.1
13745 | 2021-02-18 10:33 | 36.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.222 | μmol/L | 11.7083 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.252 | 159460.621 | 281860.2751 | 36.4 | 83.1
13755 | 2021-02-18 10:33 | 36.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1629 | μmol/L | 11.7144 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.252 | 159458.1458 | 281839.7911 | 36.4 | 83.1
13765 | 2021-02-18 10:33 | 37.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1629 | μmol/L | 11.7144 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.252 | 159438.1222 | 281822.511 | 36.4 | 83.1
13775 | 2021-02-18 10:34 | 37.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1281 | μmol/L | 11.7205 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.251 | 159443.7627 | 281809.7293 | 36.4 | 83.1
13785 | 2021-02-18 10:34 | 37.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0933 | μmol/L | 11.7266 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.25 | 159477.2211 | 281805.3296 | 36.4 | 83.1
13795 | 2021-02-18 10:34 | 38.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.9858 | μmol/L | 11.7327 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.252 | 159489.9111 | 281797.8763 | 36.4 | 83.1
13805 | 2021-02-18 10:35 | 38.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1419 | μmol/L | 11.7266 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.248 | 159497.524 | 281782.8291 | 36.4 | 83.1
13815 | 2021-02-18 10:35 | 38.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1314 | μmol/L | 11.7327 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.246 | 159486.9022 | 281770.3844 | 36.4 | 83.1
13825 | 2021-02-18 10:35 | 39.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0828 | μmol/L | 11.7327 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.248 | 159469.76 | 281763.2476 | 36.4 | 83.1
13835 | 2021-02-18 10:36 | 39.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1209 | μmol/L | 11.7388 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.244 | 159448.3476 | 281748.9568 | 36.4 | 83.1
13845 | 2021-02-18 10:36 | 39.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0028 | μmol/L | 11.751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.244 | 159458.6209 | 281747.7433 | 36.4 | 83.1
13855 | 2021-02-18 10:36 | 40.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1104 | μmol/L | 11.7449 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.242 | 159443.5726 | 281736.4844 | 36.4 | 83.1
13865 | 2021-02-18 10:37 | 40.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0756 | μmol/L | 11.751 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.241 | 159431.1576 | 281736.4988 | 36.4 | 83.1
13875 | 2021-02-18 10:37 | 40.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.9923 | μmol/L | 11.7572 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.242 | 159435.2015 | 281727.0651 | 36.4 | 83.1
13885 | 2021-02-18 10:37 | 41.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0061 | μmol/L | 11.7633 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.239 | 159428.2264 | 281714.0597 | 36.4 | 83.1
13895 | 2021-02-18 10:38 | 41.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.9576 | μmol/L | 11.7633 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.241 | 159430.4468 | 281686.3114 | 36.4 | 83.1
13905 | 2021-02-18 10:38 | 41.9973 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.9091 | μmol/L | 11.7633 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.243 | 159445.4246 | 281683.8886 | 36.4 | 83.1
13915 | 2021-02-18 10:38 | 42.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0409 | μmol/L | 11.7572 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.24 | 159458.4611 | 281691.8422 | 36.4 | 83.1
13925 | 2021-02-18 10:39 | 42.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.9471 | μmol/L | 11.7694 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.239 | 159447.2898 | 281656.2064 | 36.4 | 83.1
13935 | 2021-02-18 10:39 | 42.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8882 | μmol/L | 11.7755 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.239 | 159459.4363 | 281647.7166 | 36.4 | 83.1
13945 | 2021-02-18 10:39 | 43.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7565 | μmol/L | 11.7816 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.242 | 159452.5574 | 281648.8249 | 36.4 | 83.1
13955 | 2021-02-18 10:40 | 43.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7807 | μmol/L | 11.7816 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.241 | 159446.3063 | 281645.4834 | 36.4 | 83.1
13965 | 2021-02-18 10:40 | 43.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7218 | μmol/L | 11.7877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.241 | 159438.6246 | 281620.3113 | 36.4 | 83.1
13975 | 2021-02-18 10:40 | 44.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7114 | μmol/L | 11.7938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.239 | 159421.2281 | 281611.8006 | 36.4 | 83.1
13985 | 2021-02-18 10:41 | 44.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6871 | μmol/L | 11.7938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.24 | 159404.8692 | 281600.4846 | 36.4 | 83.1
13995 | 2021-02-18 10:41 | 44.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6283 | μmol/L | 11.7999 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.24 | 159387.5688 | 281598.3398 | 36.4 | 83.1
14005 | 2021-02-18 10:41 | 45.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6421 | μmol/L | 11.806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.237 | 159376.9099 | 281582.8488 | 36.4 | 83.1
14015 | 2021-02-18 10:42 | 45.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5486 | μmol/L | 11.8183 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.236 | 159364.7802 | 281576.3669 | 36.4 | 83.1
14025 | 2021-02-18 10:42 | 45.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6801 | μmol/L | 11.8122 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.233 | 159358.1724 | 281552.644 | 36.4 | 83.1
14035 | 2021-02-18 10:42 | 46.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6559 | μmol/L | 11.8122 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.234 | 159340.8449 | 281543.5399 | 36.4 | 83.1
14045 | 2021-02-18 10:43 | 46.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.514 | μmol/L | 11.8244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.235 | 159336.3119 | 281535.5813 | 36.4 | 83.1
14055 | 2021-02-18 10:43 | 46.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5866 | μmol/L | 11.8244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.232 | 159326.5633 | 281520.2902 | 36.4 | 83.1
14065 | 2021-02-18 10:43 | 47.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5624 | μmol/L | 11.8244 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.233 | 159326.2712 | 281510.0622 | 36.4 | 83.1
14075 | 2021-02-18 10:44 | 47.664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3859 | μmol/L | 11.8427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.233 | 159311.9891 | 281505.2599 | 36.4 | 83.1
14085 | 2021-02-18 10:44 | 47.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.4932 | μmol/L | 11.8366 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.231 | 159304.6116 | 281497.8698 | 36.4 | 83.1
14095 | 2021-02-18 10:44 | 48.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.4828 | μmol/L | 11.8427 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.229 | 159301.1172 | 281492.0115 | 36.4 | 83.1
14105 | 2021-02-18 10:45 | 48.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3514 | μmol/L | 11.8488 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.232 | 159294.0471 | 281483.4948 | 36.4 | 83.1
14115 | 2021-02-18 10:45 | 48.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3895 | μmol/L | 11.8549 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.228 | 159283.9601 | 281455.9503 | 36.4 | 83.1
14125 | 2021-02-18 10:45 | 49.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3065 | μmol/L | 11.8611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.229 | 159289.1524 | 281462.6018 | 36.4 | 83.1
14135 | 2021-02-18 10:46 | 49.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3549 | μmol/L | 11.8611 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.227 | 159277.4956 | 281465.9572 | 36.4 | 83.1
14145 | 2021-02-18 10:46 | 49.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3203 | μmol/L | 11.8672 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.226 | 159272.1699 | 281441.3212 | 36.4 | 83.1
14155 | 2021-02-18 10:46 | 50.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.2374 | μmol/L | 11.8733 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.227 | 159269.482 | 281432.1256 | 36.4 | 83.1
14165 | 2021-02-18 10:47 | 50.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.1544 | μmol/L | 11.8794 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.228 | 159265.7884 | 281425.2482 | 36.4 | 83.1
14175 | 2021-02-18 10:47 | 50.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.1199 | μmol/L | 11.8855 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.227 | 159254.8244 | 281419.4603 | 36.4 | 83.1
14185 | 2021-02-18 10:47 | 51.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.0026 | μmol/L | 11.8977 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.227 | 159249.9263 | 281401.3632 | 36.4 | 83.1
14195 | 2021-02-18 10:48 | 51.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.9542 | μmol/L | 11.8977 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.229 | 159248.2187 | 281408.2731 | 36.4 | 83.1
14205 | 2021-02-18 10:48 | 51.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.8714 | μmol/L | 11.9038 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.23 | 159232.4458 | 281390.2169 | 36.4 | 83.1
14215 | 2021-02-18 10:48 | 52.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.8955 | μmol/L | 11.9038 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.229 | 159234.3462 | 281372.3754 | 36.4 | 83.1
14225 | 2021-02-18 10:49 | 52.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.8853 | μmol/L | 11.91 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.227 | 159227.8337 | 281364.796 | 36.4 | 83.1
14235 | 2021-02-18 10:49 | 52.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.6816 | μmol/L | 11.9161 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.233 | 159229.0693 | 281368.8456 | 36.4 | 83.1
14245 | 2021-02-18 10:49 | 53.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.7783 | μmol/L | 11.9161 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.229 | 159216.3515 | 281341.9609 | 36.4 | 83.1
14255 | 2021-02-18 10:50 | 53.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.8508 | μmol/L | 11.9161 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.226 | 159231.6039 | 281359.3913 | 36.4 | 83.1