## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 12:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
14269 | 2021-02-18 10:55 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3657 | μmol/L | 11.9894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.217 | 158873.5328 | 281227.3031 | 36.4 | 83.1
14279 | 2021-02-18 10:55 | 0.32683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3175 | μmol/L | 11.9894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.219 | 158849.2219 | 281216.7209 | 36.4 | 83.1
14289 | 2021-02-18 10:56 | 0.65958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2831 | μmol/L | 11.9955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 158842.0769 | 281199.5078 | 36.4 | 83.1
14299 | 2021-02-18 10:56 | 0.99345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.1663 | μmol/L | 12.0078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 158709.0549 | 281203.0215 | 36.4 | 83.1
14309 | 2021-02-18 10:56 | 1.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2006 | μmol/L | 12.0016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.219 | 158644.0216 | 281191.9701 | 36.4 | 83.1
14319 | 2021-02-18 10:57 | 1.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2933 | μmol/L | 11.9894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.22 | 158630.1845 | 281205.4316 | 36.4 | 83.1
14329 | 2021-02-18 10:57 | 1.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3518 | μmol/L | 11.9833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.22 | 158641.2873 | 281235.9754 | 36.4 | 83.1
14339 | 2021-02-18 10:57 | 2.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2349 | μmol/L | 11.9955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.22 | 158646.7551 | 281244.5534 | 36.4 | 83.1
14349 | 2021-02-18 10:58 | 2.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3175 | μmol/L | 11.9894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.219 | 158692.6353 | 281245.6006 | 36.4 | 83.1
14359 | 2021-02-18 10:58 | 2.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4483 | μmol/L | 11.9833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 158688.4331 | 281270.8662 | 36.4 | 83.1
14369 | 2021-02-18 10:58 | 3.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4725 | μmol/L | 11.9833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.215 | 158707.1609 | 281276.155 | 36.4 | 83.1
14379 | 2021-02-18 10:59 | 3.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.5449 | μmol/L | 11.9833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.212 | 158718.4111 | 281288.2129 | 36.4 | 83.1
14389 | 2021-02-18 10:59 | 3.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4623 | μmol/L | 11.9894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 158733.5005 | 281305.3874 | 36.4 | 83.1
14399 | 2021-02-18 10:59 | 4.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4623 | μmol/L | 11.9894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 158748.0573 | 281320.7401 | 36.4 | 83.1
14409 | 2021-02-18 11:00 | 4.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.4521 | μmol/L | 11.9955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.211 | 158784.8992 | 281317.8172 | 36.4 | 83.1
14419 | 2021-02-18 11:00 | 4.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.428 | μmol/L | 11.9955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.212 | 158798.521 | 281329.6751 | 36.4 | 83.1
14429 | 2021-02-18 11:00 | 5.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3454 | μmol/L | 12.0016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 158812.3863 | 281351.3955 | 36.4 | 83.1
14439 | 2021-02-18 11:01 | 5.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.2971 | μmol/L | 12.0016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.215 | 158842.9505 | 281345.7706 | 36.4 | 83.1
14449 | 2021-02-18 11:01 | 5.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3937 | μmol/L | 12.0016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.211 | 158877.5539 | 281369.1423 | 36.4 | 83.1
14459 | 2021-02-18 11:01 | 6.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.3212 | μmol/L | 12.0016 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.214 | 158892.0485 | 281377.8451 | 36.4 | 83.1
14469 | 2021-02-18 11:02 | 6.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.1663 | μmol/L | 12.0078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 158915.9189 | 281369.2034 | 36.4 | 83.1
14479 | 2021-02-18 11:02 | 6.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0978 | μmol/L | 12.02 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 158933.0988 | 281368.4353 | 36.4 | 83.1
14489 | 2021-02-18 11:02 | 7.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0254 | μmol/L | 12.02 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.219 | 158949.9034 | 281368.0635 | 36.4 | 83.1
14499 | 2021-02-18 11:03 | 7.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0736 | μmol/L | 12.02 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.217 | 158951.8064 | 281362.9 | 36.4 | 83.1
14509 | 2021-02-18 11:03 | 7.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.1562 | μmol/L | 12.0139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 158990.8742 | 281384.1985 | 36.4 | 83.1
14519 | 2021-02-18 11:03 | 8.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0254 | μmol/L | 12.02 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.219 | 159008.5641 | 281377.1412 | 36.4 | 83.1
14529 | 2021-02-18 11:04 | 8.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0394 | μmol/L | 12.0261 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 159021.9762 | 281376.5819 | 36.4 | 83.1
14539 | 2021-02-18 11:04 | 8.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8605 | μmol/L | 12.0322 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.221 | 159041.6852 | 281376.0695 | 36.4 | 83.1
14549 | 2021-02-18 11:04 | 9.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8846 | μmol/L | 12.0322 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.22 | 159035.0908 | 281385.6498 | 36.4 | 83.1
14559 | 2021-02-18 11:05 | 9.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8745 | μmol/L | 12.0383 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 159032.6095 | 281371.6017 | 36.4 | 83.1
14569 | 2021-02-18 11:05 | 9.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8263 | μmol/L | 12.0383 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.22 | 159036.3768 | 281378.046 | 36.4 | 83.1
14579 | 2021-02-18 11:05 | 10.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8986 | μmol/L | 12.0383 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.217 | 159049.8408 | 281373.7048 | 36.4 | 83.1
14589 | 2021-02-18 11:06 | 10.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8885 | μmol/L | 12.0444 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.215 | 159043.7442 | 281370.1103 | 36.4 | 83.1
14599 | 2021-02-18 11:06 | 10.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 289.0191 | μmol/L | 12.0383 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.212 | 159036.8093 | 281362.7429 | 36.4 | 83.1
14609 | 2021-02-18 11:06 | 11.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.9266 | μmol/L | 12.0505 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.211 | 159020.388 | 281363.549 | 36.4 | 83.1
14619 | 2021-02-18 11:07 | 11.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8924 | μmol/L | 12.0567 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.21 | 159021.554 | 281357.1626 | 36.4 | 83.1
14629 | 2021-02-18 11:07 | 11.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.81 | μmol/L | 12.0628 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.211 | 159024.2412 | 281355.3049 | 36.4 | 83.1
14639 | 2021-02-18 11:07 | 12.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8683 | μmol/L | 12.0567 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.211 | 159018.4649 | 281367.5369 | 36.4 | 83.1
14649 | 2021-02-18 11:08 | 12.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.81 | μmol/L | 12.0628 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.211 | 159005.2869 | 281355.0862 | 36.4 | 83.1
14659 | 2021-02-18 11:08 | 12.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7999 | μmol/L | 12.0689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 158995.8182 | 281344.0009 | 36.4 | 83.1
14669 | 2021-02-18 11:08 | 13.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.9927 | μmol/L | 12.0689 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.201 | 158975.4617 | 281335.7292 | 36.4 | 83.1
14679 | 2021-02-18 11:09 | 13.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8139 | μmol/L | 12.075 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 158969.4383 | 281346.5194 | 36.4 | 83.1
14689 | 2021-02-18 11:09 | 13.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.8139 | μmol/L | 12.075 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 158960.4175 | 281340.456 | 36.4 | 83.1
14699 | 2021-02-18 11:09 | 14.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7316 | μmol/L | 12.0811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158954.6536 | 281314.1141 | 36.4 | 83.1
14709 | 2021-02-18 11:10 | 14.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7898 | μmol/L | 12.075 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158964.2525 | 281315.098 | 36.4 | 83.1
14719 | 2021-02-18 11:10 | 14.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7316 | μmol/L | 12.0811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158942.0927 | 281305.9396 | 36.4 | 83.1
14729 | 2021-02-18 11:10 | 15.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7938 | μmol/L | 12.0872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.202 | 158954.4134 | 281303.3466 | 36.4 | 83.1
14739 | 2021-02-18 11:11 | 15.6593 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7596 | μmol/L | 12.0933 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.201 | 158951.4733 | 281299.6309 | 36.4 | 83.1
14749 | 2021-02-18 11:11 | 15.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.7938 | μmol/L | 12.0872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.202 | 158953.4062 | 281291.3001 | 36.4 | 83.1
14759 | 2021-02-18 11:11 | 16.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6291 | μmol/L | 12.0994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.204 | 158957.61 | 281302.7818 | 36.4 | 83.1
14769 | 2021-02-18 11:12 | 16.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.6532 | μmol/L | 12.0994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.203 | 158952.9691 | 281286.5953 | 36.4 | 83.1
14779 | 2021-02-18 11:12 | 16.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5709 | μmol/L | 12.1056 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.204 | 158953.6113 | 281290.7568 | 36.4 | 83.1
14789 | 2021-02-18 11:12 | 17.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.5709 | μmol/L | 12.1056 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.204 | 158960.2458 | 281287.7963 | 36.4 | 83.1
14799 | 2021-02-18 11:13 | 17.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4405 | μmol/L | 12.1117 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158961.5973 | 281270.3702 | 36.4 | 83.1
14809 | 2021-02-18 11:13 | 17.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.2761 | μmol/L | 12.1239 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 158958.4215 | 281264.7034 | 36.4 | 83.1
14819 | 2021-02-18 11:13 | 18.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.4305 | μmol/L | 12.1178 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.205 | 158978.2663 | 281267.61 | 36.4 | 83.1
14829 | 2021-02-18 11:14 | 18.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.3723 | μmol/L | 12.1239 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.205 | 158967.5239 | 281250.5974 | 36.4 | 83.1
14839 | 2021-02-18 11:14 | 18.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.3623 | μmol/L | 12.13 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.203 | 158966.4747 | 281258.2231 | 36.4 | 83.1
14849 | 2021-02-18 11:14 | 19.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.184 | μmol/L | 12.1361 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.208 | 158954.0384 | 281243.1198 | 36.4 | 83.1
14859 | 2021-02-18 11:15 | 19.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.198 | μmol/L | 12.1422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.205 | 158947.8748 | 281238.6942 | 36.4 | 83.1
14869 | 2021-02-18 11:15 | 19.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1259 | μmol/L | 12.1422 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.208 | 158946.8148 | 281218.2998 | 36.4 | 83.1
14879 | 2021-02-18 11:15 | 20.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0918 | μmol/L | 12.1483 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158961.7672 | 281229.5356 | 36.4 | 83.1
14889 | 2021-02-18 11:16 | 20.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0918 | μmol/L | 12.1483 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158970.5736 | 281214.2954 | 36.4 | 83.1
14899 | 2021-02-18 11:16 | 20.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9277 | μmol/L | 12.1606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 158966.0467 | 281207.9535 | 36.4 | 83.1
14909 | 2021-02-18 11:16 | 21.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9757 | μmol/L | 12.1606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158959.8237 | 281191.2247 | 36.4 | 83.1
14919 | 2021-02-18 11:17 | 21.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9757 | μmol/L | 12.1606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 158948.3223 | 281179.0008 | 36.4 | 83.1
14929 | 2021-02-18 11:17 | 21.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9277 | μmol/L | 12.1606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 158939.4758 | 281179.2204 | 36.4 | 83.1
14939 | 2021-02-18 11:17 | 22.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7877 | μmol/L | 12.1728 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.21 | 158950.4375 | 281173.5643 | 36.4 | 83.1
14949 | 2021-02-18 11:18 | 22.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0719 | μmol/L | 12.1606 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.203 | 158933.4247 | 281172.3106 | 36.4 | 83.1
14959 | 2021-02-18 11:18 | 22.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8837 | μmol/L | 12.1728 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 158947.3979 | 281156.6332 | 36.4 | 83.1
14969 | 2021-02-18 11:18 | 23.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8837 | μmol/L | 12.1728 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 158939.7331 | 281151.0965 | 36.4 | 83.1
14979 | 2021-02-18 11:19 | 23.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.7918 | μmol/L | 12.185 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.205 | 158917.6557 | 281142.7118 | 36.4 | 83.1
14989 | 2021-02-18 11:19 | 23.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9119 | μmol/L | 12.185 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.2 | 158888.2679 | 281146.0459 | 36.4 | 83.1
14999 | 2021-02-18 11:19 | 24.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9599 | μmol/L | 12.185 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.198 | 158860.4981 | 281129.6706 | 36.4 | 83.1
15009 | 2021-02-18 11:20 | 24.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0321 | μmol/L | 12.185 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.195 | 158827.8012 | 281141.1788 | 36.4 | 83.1
15019 | 2021-02-18 11:20 | 24.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0843 | μmol/L | 12.1972 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.188 | 158811.3952 | 281123.56 | 36.4 | 83.1
15029 | 2021-02-18 11:20 | 25.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1904 | μmol/L | 12.1911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.186 | 158791.071 | 281120.2484 | 36.4 | 83.1
15039 | 2021-02-18 11:21 | 25.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0744 | μmol/L | 12.2034 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.186 | 158761.7118 | 281119.0693 | 36.4 | 83.1
15049 | 2021-02-18 11:21 | 25.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.1366 | μmol/L | 12.2095 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.181 | 158736.7802 | 281112.6217 | 36.4 | 83.1
15059 | 2021-02-18 11:21 | 26.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0786 | μmol/L | 12.2156 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.181 | 158710.6647 | 281099.204 | 36.4 | 83.1
15069 | 2021-02-18 11:22 | 26.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0206 | μmol/L | 12.2217 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.181 | 158695.1723 | 281079.1849 | 36.4 | 83.1
15079 | 2021-02-18 11:22 | 26.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0928 | μmol/L | 12.2217 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.178 | 158697.1008 | 281092.7981 | 36.4 | 83.1
15089 | 2021-02-18 11:22 | 27.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 288.0928 | μmol/L | 12.2217 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.178 | 158693.8043 | 281076.0646 | 36.4 | 83.1
15099 | 2021-02-18 11:23 | 27.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.9966 | μmol/L | 12.2217 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.182 | 158696.1568 | 281066.1749 | 36.4 | 83.1
15109 | 2021-02-18 11:23 | 27.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.8665 | μmol/L | 12.2278 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.185 | 158741.3836 | 281077.3271 | 36.4 | 83.1
15119 | 2021-02-18 11:23 | 28.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.6744 | μmol/L | 12.2278 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.193 | 158777.0782 | 281041.9004 | 36.4 | 83.1
15129 | 2021-02-18 11:24 | 28.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.4485 | μmol/L | 12.2339 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.2 | 158828.6555 | 281049.3248 | 36.4 | 83.1
15139 | 2021-02-18 11:24 | 28.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 287.1749 | μmol/L | 12.24 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 158900.4579 | 281046.861 | 36.4 | 83.1
15149 | 2021-02-18 11:24 | 29.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.9354 | μmol/L | 12.24 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.219 | 158995.2965 | 281045.6786 | 36.4 | 83.1
15159 | 2021-02-18 11:25 | 29.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 286.3658 | μmol/L | 12.2523 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.238 | 159113.3851 | 281043.9959 | 36.4 | 83.1
15169 | 2021-02-18 11:25 | 29.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.97 | μmol/L | 12.2461 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.257 | 159244.5669 | 281028.0628 | 36.4 | 83.1
15179 | 2021-02-18 11:25 | 30.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.4026 | μmol/L | 12.2584 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.276 | 159394.1304 | 281012.9763 | 36.4 | 83.1
15189 | 2021-02-18 11:26 | 30.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 285.1174 | μmol/L | 12.2584 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.288 | 159525.0346 | 281009.6775 | 36.4 | 83.1
15199 | 2021-02-18 11:26 | 30.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.8326 | μmol/L | 12.2584 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.3 | 159621.4511 | 281009.1822 | 36.4 | 83.1
15209 | 2021-02-18 11:26 | 31.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4572 | μmol/L | 12.2706 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.311 | 159680.9162 | 280992.9472 | 36.4 | 83.1
15219 | 2021-02-18 11:27 | 31.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2678 | μmol/L | 12.2706 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.319 | 159747.3315 | 281000.8957 | 36.4 | 83.1
15229 | 2021-02-18 11:27 | 31.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.045 | μmol/L | 12.2767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.326 | 159789.0381 | 281007.3685 | 36.4 | 83.1
15239 | 2021-02-18 11:27 | 32.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8461 | μmol/L | 12.2828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.332 | 159830.0356 | 280989.2379 | 36.4 | 83.1
15249 | 2021-02-18 11:28 | 32.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.8087 | μmol/L | 12.2767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.336 | 159860.2109 | 280976.1782 | 36.4 | 83.1
15259 | 2021-02-18 11:28 | 32.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4821 | μmol/L | 12.2889 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.345 | 159892.2898 | 280970.1694 | 36.4 | 83.1
15269 | 2021-02-18 11:28 | 33.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.5391 | μmol/L | 12.2828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.345 | 159944.7648 | 280960.0796 | 36.4 | 83.1
15279 | 2021-02-18 11:29 | 33.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.317 | μmol/L | 12.2889 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.352 | 159971.6493 | 280950.9766 | 36.4 | 83.1
15289 | 2021-02-18 11:29 | 33.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1088 | μmol/L | 12.3012 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.356 | 159997.0057 | 280952.2431 | 36.4 | 83.1
15299 | 2021-02-18 11:29 | 34.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0382 | μmol/L | 12.3012 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.359 | 160011.0321 | 280942.1612 | 36.4 | 83.1
15309 | 2021-02-18 11:30 | 34.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0382 | μmol/L | 12.3012 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.359 | 160028.9805 | 280936.1083 | 36.4 | 83.1
15319 | 2021-02-18 11:30 | 34.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8871 | μmol/L | 12.3073 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.363 | 160054.6733 | 280934.5141 | 36.4 | 83.1
15329 | 2021-02-18 11:30 | 35.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5852 | μmol/L | 12.3195 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.371 | 160075.2373 | 280917.1109 | 36.4 | 83.1
15339 | 2021-02-18 11:31 | 35.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4541 | μmol/L | 12.3134 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.379 | 160153.141 | 280924.74 | 36.4 | 83.1
15349 | 2021-02-18 11:31 | 35.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1527 | μmol/L | 12.3256 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.387 | 160198.2011 | 280897.3517 | 36.4 | 83.1
15359 | 2021-02-18 11:31 | 36.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.0354 | μmol/L | 12.3256 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.392 | 160270.6974 | 280893.6166 | 36.4 | 83.1
15369 | 2021-02-18 11:32 | 36.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9514 | μmol/L | 12.3195 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.398 | 160303.6281 | 280900.2816 | 36.4 | 83.1
15379 | 2021-02-18 11:32 | 36.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7872 | μmol/L | 12.3317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.4 | 160319.3148 | 280903.7252 | 36.4 | 83.1
15389 | 2021-02-18 11:32 | 37.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6232 | μmol/L | 12.3317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.407 | 160338.7272 | 280882.6869 | 36.4 | 83.1
15399 | 2021-02-18 11:33 | 37.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6369 | μmol/L | 12.3378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.404 | 160364.2984 | 280891.0854 | 36.4 | 83.1
15409 | 2021-02-18 11:33 | 37.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3463 | μmol/L | 12.344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.414 | 160396.868 | 280880.4857 | 36.4 | 83.1
15419 | 2021-02-18 11:33 | 38.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3463 | μmol/L | 12.344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.414 | 160413.3145 | 280868.989 | 36.4 | 83.1
15429 | 2021-02-18 11:34 | 38.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2664 | μmol/L | 12.3501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.415 | 160428.3231 | 280866.3125 | 36.4 | 83.1
15439 | 2021-02-18 11:34 | 38.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3034 | μmol/L | 12.3562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.411 | 160394.1473 | 280856.843 | 36.4 | 83.1
15449 | 2021-02-18 11:34 | 39.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4769 | μmol/L | 12.3501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.406 | 160338.2174 | 280852.26 | 36.4 | 83.1
15459 | 2021-02-18 11:35 | 39.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6446 | μmol/L | 12.3623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.394 | 160251.8132 | 280842.4918 | 36.4 | 83.1
15469 | 2021-02-18 11:35 | 39.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8926 | μmol/L | 12.3684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 160136.487 | 280831.2342 | 36.4 | 83.1
15479 | 2021-02-18 11:35 | 40.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2543 | μmol/L | 12.3623 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.368 | 160031.3393 | 280825.6634 | 36.4 | 83.1
15489 | 2021-02-18 11:36 | 40.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.503 | μmol/L | 12.3684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.355 | 159950.9298 | 280832.2086 | 36.4 | 83.1
15499 | 2021-02-18 11:36 | 40.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.7617 | μmol/L | 12.3684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.344 | 159849.8799 | 280815.9322 | 36.4 | 83.1
15509 | 2021-02-18 11:36 | 41.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9306 | μmol/L | 12.3806 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.332 | 159730.0664 | 280820.2798 | 36.4 | 83.1
15519 | 2021-02-18 11:37 | 41.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2939 | μmol/L | 12.3745 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.319 | 159640.2935 | 280812.1711 | 36.4 | 83.1
15529 | 2021-02-18 11:37 | 41.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.341 | μmol/L | 12.3745 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.317 | 159595.1375 | 280807.0775 | 36.4 | 83.1
15539 | 2021-02-18 11:37 | 42.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.3882 | μmol/L | 12.3745 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.315 | 159587.9992 | 280805.5793 | 36.4 | 83.1
15549 | 2021-02-18 11:38 | 42.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1191 | μmol/L | 12.3806 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.324 | 159662.0996 | 280814.724 | 36.4 | 83.1
15559 | 2021-02-18 11:38 | 42.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.709 | μmol/L | 12.3867 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.339 | 159747.9163 | 280810.0346 | 36.4 | 83.1
15569 | 2021-02-18 11:38 | 43.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5914 | μmol/L | 12.3867 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.344 | 159837.123 | 280793.2405 | 36.4 | 83.1
15579 | 2021-02-18 11:39 | 43.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3895 | μmol/L | 12.3806 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.355 | 159899.8249 | 280788.7527 | 36.4 | 83.1
15589 | 2021-02-18 11:39 | 43.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2016 | μmol/L | 12.3806 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.363 | 159958.4369 | 280779.7882 | 36.4 | 83.1
15599 | 2021-02-18 11:39 | 44.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8302 | μmol/L | 12.3929 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.374 | 160020.1046 | 280780.5128 | 36.4 | 83.1
15609 | 2021-02-18 11:40 | 44.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6057 | μmol/L | 12.3867 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.386 | 160130.6995 | 280782.5191 | 36.4 | 83.1
15619 | 2021-02-18 11:40 | 44.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.1709 | μmol/L | 12.3806 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.407 | 160288.4178 | 280765.4315 | 36.4 | 83.1
15629 | 2021-02-18 11:40 | 45.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4882 | μmol/L | 12.399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.429 | 160455.3173 | 280742.9796 | 36.4 | 83.1
15639 | 2021-02-18 11:41 | 45.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.9992 | μmol/L | 12.399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.45 | 160617.8623 | 280747.9309 | 36.4 | 83.1
15649 | 2021-02-18 11:41 | 45.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5578 | μmol/L | 12.399 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.469 | 160755.8451 | 280744.9137 | 36.4 | 83.1
15659 | 2021-02-18 11:41 | 46.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.2697 | μmol/L | 12.4051 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.479 | 160815.3689 | 280745.8545 | 36.4 | 83.1
15669 | 2021-02-18 11:42 | 46.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.2039 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.477 | 160814.4616 | 280747.8849 | 36.4 | 83.1
15679 | 2021-02-18 11:42 | 46.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.2503 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.475 | 160777.3731 | 280738.8126 | 36.4 | 83.1
15689 | 2021-02-18 11:42 | 47.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.3662 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.47 | 160753.7611 | 280737.4985 | 36.4 | 83.1
15699 | 2021-02-18 11:43 | 47.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.4822 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.465 | 160713.2723 | 280737.4694 | 36.4 | 83.1
15709 | 2021-02-18 11:43 | 47.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.668 | μmol/L | 12.4173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.457 | 160667.1968 | 280739.7036 | 36.4 | 83.1
15719 | 2021-02-18 11:43 | 48.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.728 | μmol/L | 12.4234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.452 | 160629.882 | 280713.5216 | 36.4 | 83.1
15729 | 2021-02-18 11:44 | 48.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.728 | μmol/L | 12.4234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.452 | 160600.4874 | 280719.0809 | 36.4 | 83.1
15739 | 2021-02-18 11:44 | 48.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.695 | μmol/L | 12.4295 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.451 | 160594.8962 | 280707.4292 | 36.4 | 83.1
15749 | 2021-02-18 11:44 | 49.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5557 | μmol/L | 12.4295 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.457 | 160629.4728 | 280720.6374 | 36.4 | 83.1
15759 | 2021-02-18 11:45 | 49.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.314 | μmol/L | 12.4356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.465 | 160707.3048 | 280699.5692 | 36.4 | 83.1
15769 | 2021-02-18 11:45 | 49.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.0358 | μmol/L | 12.4356 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.477 | 160795.4738 | 280685.2486 | 36.4 | 83.1
15779 | 2021-02-18 11:45 | 50.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8371 | μmol/L | 12.4295 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.488 | 160872.1293 | 280682.8878 | 36.4 | 83.1
15789 | 2021-02-18 11:46 | 50.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.6095 | μmol/L | 12.4418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.493 | 160906.196 | 280683.7278 | 36.4 | 83.1
15799 | 2021-02-18 11:46 | 50.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.5401 | μmol/L | 12.4418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.496 | 160923.4216 | 280679.868 | 36.4 | 83.1
15809 | 2021-02-18 11:46 | 51.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.5439 | μmol/L | 12.454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.491 | 160877.4896 | 280659.1239 | 36.4 | 83.1
15819 | 2021-02-18 11:47 | 51.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.7521 | μmol/L | 12.454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.482 | 160814.2189 | 280676.8428 | 36.4 | 83.1
15829 | 2021-02-18 11:47 | 51.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.8813 | μmol/L | 12.4601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.474 | 160739.4125 | 280666.9379 | 36.4 | 83.1
15839 | 2021-02-18 11:47 | 52.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 278.9875 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.467 | 160676.3078 | 280663.7012 | 36.4 | 83.1
15849 | 2021-02-18 11:48 | 52.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.1826 | μmol/L | 12.4601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.461 | 160650.0496 | 280661.142 | 36.4 | 83.1
15859 | 2021-02-18 11:48 | 52.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.2618 | μmol/L | 12.454 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.46 | 160613.2834 | 280658.0378 | 36.4 | 83.1
15869 | 2021-02-18 11:48 | 53.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.3353 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.452 | 160564.0376 | 280648.1772 | 36.4 | 83.1
15879 | 2021-02-18 11:49 | 53.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6235 | μmol/L | 12.4601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.442 | 160458.0599 | 280627.3773 | 36.4 | 83.1
15889 | 2021-02-18 11:49 | 53.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.9626 | μmol/L | 12.4662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.425 | 160360.4079 | 280621.8603 | 36.4 | 83.1
15899 | 2021-02-18 11:49 | 54.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0364 | μmol/L | 12.4784 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.417 | 160242.5894 | 280624.1508 | 36.4 | 83.1
15909 | 2021-02-18 11:50 | 54.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4091 | μmol/L | 12.4784 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.401 | 160160.1656 | 280610.8749 | 36.4 | 83.1
15919 | 2021-02-18 11:50 | 54.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5394 | μmol/L | 12.4846 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.393 | 160079.4476 | 280613.6265 | 36.4 | 83.1
15929 | 2021-02-18 11:50 | 55.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6602 | μmol/L | 12.4968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.383 | 160008.4098 | 280613.719 | 36.4 | 83.1
15939 | 2021-02-18 11:51 | 55.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9873 | μmol/L | 12.4968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.369 | 159901.6028 | 280600.5419 | 36.4 | 83.1
15949 | 2021-02-18 11:51 | 55.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3147 | μmol/L | 12.4968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.355 | 159773.4244 | 280614.5947 | 36.4 | 83.1
15959 | 2021-02-18 11:51 | 56.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6427 | μmol/L | 12.4968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.341 | 159654.544 | 280594.5247 | 36.4 | 83.1
15969 | 2021-02-18 11:52 | 56.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8911 | μmol/L | 12.5029 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.328 | 159533.1995 | 280582.0478 | 36.4 | 83.1
15979 | 2021-02-18 11:52 | 56.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1964 | μmol/L | 12.5029 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.315 | 159447.8707 | 280591.6575 | 36.4 | 83.1
15989 | 2021-02-18 11:52 | 57.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4551 | μmol/L | 12.5029 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.304 | 159374.9012 | 280590.9997 | 36.4 | 83.1
15999 | 2021-02-18 11:53 | 57.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.6338 | μmol/L | 12.509 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.294 | 159273.8365 | 280575.7146 | 36.4 | 83.1
16009 | 2021-02-18 11:53 | 57.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9069 | μmol/L | 12.5151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.28 | 159194.5476 | 280566.8929 | 36.4 | 83.1
16019 | 2021-02-18 11:53 | 58.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.072 | μmol/L | 12.5151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.273 | 159119.8115 | 280575.4869 | 36.4 | 83.1
16029 | 2021-02-18 11:54 | 58.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2985 | μmol/L | 12.5212 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.261 | 159027.1238 | 280577.2172 | 36.4 | 83.1
16039 | 2021-02-18 11:54 | 58.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.5488 | μmol/L | 12.5273 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.248 | 158945.6607 | 280557.7669 | 36.4 | 83.1
16049 | 2021-02-18 11:54 | 59.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7854 | μmol/L | 12.5273 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.238 | 158879.8911 | 280567.6335 | 36.4 | 83.1
16059 | 2021-02-18 11:55 | 59.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.008 | μmol/L | 12.5212 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.231 | 158824.414 | 280546.2823 | 36.4 | 83.1
16069 | 2021-02-18 11:55 | 59.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0696 | μmol/L | 12.5273 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.226 | 158768.4931 | 280551.2579 | 36.4 | 83.1
16079 | 2021-02-18 11:55 | 60.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.06 | μmol/L | 12.5335 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.224 | 158733.3905 | 280557.0585 | 36.4 | 83.1
16089 | 2021-02-18 11:56 | 60.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2497 | μmol/L | 12.5335 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.216 | 158677.6913 | 280541.9272 | 36.4 | 83.1
16099 | 2021-02-18 11:56 | 60.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3825 | μmol/L | 12.5396 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.208 | 158626.1507 | 280535.2739 | 36.4 | 83.1
16109 | 2021-02-18 11:56 | 61.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4442 | μmol/L | 12.5457 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 158606.9908 | 280533.6883 | 36.4 | 83.1
16119 | 2021-02-18 11:57 | 61.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4442 | μmol/L | 12.5457 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 158573.4736 | 280530.5878 | 36.4 | 83.1
16129 | 2021-02-18 11:57 | 61.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.5012 | μmol/L | 12.5396 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 158559.8166 | 280521.238 | 36.4 | 83.1
16139 | 2021-02-18 11:57 | 62.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4584 | μmol/L | 12.5518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.2 | 158551.4128 | 280509.7361 | 36.4 | 83.1
16149 | 2021-02-18 11:58 | 62.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.4679 | μmol/L | 12.5457 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.202 | 158544.3762 | 280501.7589 | 36.4 | 83.1
16159 | 2021-02-18 11:58 | 62.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.2258 | μmol/L | 12.564 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.205 | 158571.1697 | 280508.366 | 36.4 | 83.1
16169 | 2021-02-18 11:58 | 63.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.3302 | μmol/L | 12.5579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 158588.0715 | 280501.4293 | 36.4 | 83.1
16179 | 2021-02-18 11:59 | 63.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.131 | μmol/L | 12.564 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.209 | 158621.0202 | 280521.059 | 36.4 | 83.1
16189 | 2021-02-18 11:59 | 63.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0504 | μmol/L | 12.5701 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.21 | 158636.0303 | 280519.6479 | 36.4 | 83.1
16199 | 2021-02-18 11:59 | 64.3264 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 284.0172 | μmol/L | 12.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.209 | 158645.8542 | 280499.4596 | 36.4 | 83.1
16209 | 2021-02-18 12:00 | 64.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.7803 | μmol/L | 12.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.219 | 158681.2773 | 280497.9707 | 36.4 | 83.1
16219 | 2021-02-18 12:00 | 64.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6998 | μmol/L | 12.5824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.22 | 158688.284 | 280501.4658 | 36.4 | 83.1
16229 | 2021-02-18 12:00 | 65.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.6525 | μmol/L | 12.5824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.222 | 158718.2764 | 280492.2551 | 36.4 | 83.1
16239 | 2021-02-18 12:01 | 65.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.5484 | μmol/L | 12.5885 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.224 | 158722.3451 | 280501.1021 | 36.4 | 83.1
16249 | 2021-02-18 12:01 | 65.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.5011 | μmol/L | 12.5885 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.226 | 158744.8405 | 280507.0399 | 36.4 | 83.1
16259 | 2021-02-18 12:01 | 66.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4916 | μmol/L | 12.5946 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.224 | 158731.0445 | 280501.9749 | 36.4 | 83.1
16269 | 2021-02-18 12:02 | 66.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.4112 | μmol/L | 12.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.225 | 158736.8402 | 280486.6599 | 36.4 | 83.1
16279 | 2021-02-18 12:02 | 66.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.3072 | μmol/L | 12.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.227 | 158750.0441 | 280497.384 | 36.4 | 83.1
16289 | 2021-02-18 12:02 | 67.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.2505 | μmol/L | 12.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.227 | 158754.7374 | 280486.1595 | 36.4 | 83.1
16299 | 2021-02-18 12:03 | 67.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.1796 | μmol/L | 12.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.23 | 158770.7924 | 280466.7414 | 36.4 | 83.1
16309 | 2021-02-18 12:03 | 67.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0521 | μmol/L | 12.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.233 | 158768.1986 | 280488.7819 | 36.4 | 83.1
16319 | 2021-02-18 12:03 | 68.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 283.0427 | μmol/L | 12.6252 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.231 | 158765.8541 | 280472.321 | 36.4 | 83.1
16329 | 2021-02-18 12:04 | 68.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.9483 | μmol/L | 12.6252 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.235 | 158785.818 | 280463.8212 | 36.4 | 83.1
16339 | 2021-02-18 12:04 | 68.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8775 | μmol/L | 12.6252 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.238 | 158832.2482 | 280462.9654 | 36.4 | 83.1
16349 | 2021-02-18 12:04 | 69.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.8775 | μmol/L | 12.6252 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.238 | 158847.3056 | 280455.399 | 36.4 | 83.1
16359 | 2021-02-18 12:05 | 69.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.5993 | μmol/L | 12.6374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.245 | 158876.5741 | 280447.8456 | 36.4 | 83.1
16369 | 2021-02-18 12:05 | 69.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.4485 | μmol/L | 12.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.249 | 158892.1189 | 280458.6823 | 36.4 | 83.1
16379 | 2021-02-18 12:05 | 70.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3779 | μmol/L | 12.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.252 | 158922.5994 | 280456.9527 | 36.4 | 83.1
16389 | 2021-02-18 12:06 | 70.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.3073 | μmol/L | 12.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.255 | 158943.7595 | 280453.285 | 36.4 | 83.1
16399 | 2021-02-18 12:06 | 70.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.2367 | μmol/L | 12.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.258 | 158962.2346 | 280460.4698 | 36.4 | 83.1
16409 | 2021-02-18 12:06 | 71.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9733 | μmol/L | 12.6618 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 158991.7332 | 280456.2976 | 36.4 | 83.1
16419 | 2021-02-18 12:07 | 71.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1802 | μmol/L | 12.6496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.258 | 158989.4341 | 280439.5108 | 36.4 | 83.1
16429 | 2021-02-18 12:07 | 71.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 282.1002 | μmol/L | 12.6557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.259 | 158993.6309 | 280442.0701 | 36.4 | 83.1
16439 | 2021-02-18 12:07 | 72.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9169 | μmol/L | 12.668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 158994.3825 | 280430.4853 | 36.4 | 83.1
16449 | 2021-02-18 12:08 | 72.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8605 | μmol/L | 12.6741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 159005.059 | 280426.5106 | 36.4 | 83.1
16459 | 2021-02-18 12:08 | 72.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.9075 | μmol/L | 12.6741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.26 | 158996.7594 | 280426.79 | 36.4 | 83.1
16469 | 2021-02-18 12:08 | 73.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.8042 | μmol/L | 12.6802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 158995.925 | 280421.9153 | 36.4 | 83.1
16479 | 2021-02-18 12:09 | 73.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7807 | μmol/L | 12.6802 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 159001.7036 | 280421.5177 | 36.4 | 83.1
16489 | 2021-02-18 12:09 | 73.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7243 | μmol/L | 12.6863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 159012.8841 | 280433.2187 | 36.4 | 83.1
16499 | 2021-02-18 12:09 | 74.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5741 | μmol/L | 12.6924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.267 | 159026.4708 | 280414.431 | 36.4 | 83.1
16509 | 2021-02-18 12:10 | 74.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6117 | μmol/L | 12.6985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 159026.0931 | 280414.008 | 36.4 | 83.1
16519 | 2021-02-18 12:10 | 74.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6117 | μmol/L | 12.6985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 159021.1486 | 280420.0579 | 36.4 | 83.1
16529 | 2021-02-18 12:10 | 75.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5976 | μmol/L | 12.6924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159021.5461 | 280411.3315 | 36.4 | 83.1
16539 | 2021-02-18 12:11 | 75.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.7009 | μmol/L | 12.6863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.264 | 159009.7001 | 280406.4419 | 36.4 | 83.1
16549 | 2021-02-18 12:11 | 75.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.6211 | μmol/L | 12.6924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.265 | 159022.7324 | 280407.9138 | 36.4 | 83.1
16559 | 2021-02-18 12:11 | 76.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.5319 | μmol/L | 12.7046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.264 | 159030.6686 | 280397.5792 | 36.4 | 83.1
16569 | 2021-02-18 12:12 | 76.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.4616 | μmol/L | 12.7046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.267 | 159033.2708 | 280385.0243 | 36.4 | 83.1
16579 | 2021-02-18 12:12 | 76.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3725 | μmol/L | 12.7169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159023.5428 | 280391.4264 | 36.4 | 83.1
16589 | 2021-02-18 12:12 | 77.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3818 | μmol/L | 12.7108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.268 | 159006.3265 | 280389.745 | 36.4 | 83.1
16599 | 2021-02-18 12:13 | 77.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.3725 | μmol/L | 12.7169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159032.1419 | 280383.3488 | 36.4 | 83.1
16609 | 2021-02-18 12:13 | 77.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2928 | μmol/L | 12.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.267 | 159035.0678 | 280397.5645 | 36.4 | 83.1
16619 | 2021-02-18 12:13 | 78.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2132 | μmol/L | 12.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.268 | 159029.5275 | 280381.2962 | 36.4 | 83.1
16629 | 2021-02-18 12:14 | 78.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2366 | μmol/L | 12.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.267 | 159029.1016 | 280365.0643 | 36.4 | 83.1
16639 | 2021-02-18 12:14 | 78.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.2601 | μmol/L | 12.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159043.3782 | 280374.6002 | 36.4 | 83.1
16649 | 2021-02-18 12:14 | 79.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0915 | μmol/L | 12.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159054.5807 | 280366.3236 | 36.4 | 83.1
16659 | 2021-02-18 12:15 | 79.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0447 | μmol/L | 12.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.268 | 159044.5446 | 280367.6093 | 36.4 | 83.1
16669 | 2021-02-18 12:15 | 79.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0213 | μmol/L | 12.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.269 | 159042.3367 | 280357.185 | 36.4 | 83.1
16679 | 2021-02-18 12:15 | 80.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0915 | μmol/L | 12.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 159049.94 | 280356.7864 | 36.4 | 83.1
16689 | 2021-02-18 12:16 | 80.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.115 | μmol/L | 12.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.265 | 159030.2193 | 280354.7078 | 36.4 | 83.1
16699 | 2021-02-18 12:16 | 80.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0822 | μmol/L | 12.7535 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.264 | 159013.4136 | 280346.3652 | 36.4 | 83.1
16709 | 2021-02-18 12:16 | 81.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0261 | μmol/L | 12.7597 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.264 | 158990.3698 | 280344.4785 | 36.4 | 83.1
16719 | 2021-02-18 12:17 | 81.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9231 | μmol/L | 12.7658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.266 | 158998.9435 | 280338.1703 | 36.4 | 83.1
16729 | 2021-02-18 12:17 | 81.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9934 | μmol/L | 12.7658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 158993.4735 | 280341.9857 | 36.4 | 83.1
16739 | 2021-02-18 12:17 | 82.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.97 | μmol/L | 12.7658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.264 | 158994.1953 | 280354.2574 | 36.4 | 83.1
16749 | 2021-02-18 12:18 | 82.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 281.0637 | μmol/L | 12.7658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.26 | 158977.7723 | 280340.8425 | 36.4 | 83.1
16759 | 2021-02-18 12:18 | 82.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9373 | μmol/L | 12.7719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 158967.204 | 280328.8624 | 36.4 | 83.1
16769 | 2021-02-18 12:18 | 83.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9607 | μmol/L | 12.7719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 158981.0289 | 280332.7603 | 36.4 | 83.1
16779 | 2021-02-18 12:19 | 83.6597 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9983 | μmol/L | 12.778 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.258 | 158961.5766 | 280322.183 | 36.4 | 83.1
16789 | 2021-02-18 12:19 | 83.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8627 | μmol/L | 12.7902 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.259 | 158949.9436 | 280312.9854 | 36.4 | 83.1
16799 | 2021-02-18 12:19 | 84.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8954 | μmol/L | 12.7841 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.26 | 158939.6365 | 280324.745 | 36.4 | 83.1
16809 | 2021-02-18 12:20 | 84.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.989 | μmol/L | 12.7841 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.256 | 158934.3347 | 280314.8299 | 36.4 | 83.1
16819 | 2021-02-18 12:20 | 84.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.9656 | μmol/L | 12.7841 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.257 | 158942.0906 | 280299.5858 | 36.4 | 83.1
16829 | 2021-02-18 12:20 | 85.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.8535 | μmol/L | 12.7963 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.257 | 158940.0314 | 280314.7643 | 36.4 | 83.1
16839 | 2021-02-18 12:21 | 85.6596 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.774 | μmol/L | 12.8025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.258 | 158934.7284 | 280308.6889 | 36.4 | 83.1
16849 | 2021-02-18 12:21 | 85.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7648 | μmol/L | 12.8086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.256 | 158929.3384 | 280310.1222 | 36.4 | 83.1
16859 | 2021-02-18 12:21 | 86.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.7882 | μmol/L | 12.8086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.255 | 158936.1273 | 280287.0039 | 36.4 | 83.1
16869 | 2021-02-18 12:22 | 86.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6853 | μmol/L | 12.8147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.257 | 158941.8926 | 280277.9953 | 36.4 | 83.1
16879 | 2021-02-18 12:22 | 86.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6385 | μmol/L | 12.8147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.259 | 158951.1597 | 280276.3021 | 36.4 | 83.1
16889 | 2021-02-18 12:22 | 87.326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.6017 | μmol/L | 12.8208 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.258 | 158936.9928 | 280277.3315 | 36.4 | 83.1
16899 | 2021-02-18 12:23 | 87.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5265 | μmol/L | 12.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.259 | 158938.6331 | 280276.9555 | 36.4 | 83.1
16909 | 2021-02-18 12:23 | 87.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.5265 | μmol/L | 12.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.259 | 158945.2278 | 280270.6446 | 36.4 | 83.1
16919 | 2021-02-18 12:23 | 88.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4798 | μmol/L | 12.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.261 | 158951.977 | 280270.2957 | 36.4 | 83.1
16929 | 2021-02-18 12:24 | 88.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.4706 | μmol/L | 12.833 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.259 | 158963.2897 | 280247.1394 | 36.4 | 83.1
16939 | 2021-02-18 12:24 | 88.9928 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3537 | μmol/L | 12.833 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.264 | 158980.5487 | 280248.3463 | 36.4 | 83.1
16949 | 2021-02-18 12:24 | 89.3265 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.3637 | μmol/L | 12.8391 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.261 | 158977.3913 | 280249.2873 | 36.4 | 83.1
16959 | 2021-02-18 12:25 | 89.6594 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2652 | μmol/L | 12.8453 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.263 | 158987.3143 | 280248.3312 | 36.4 | 83.1
16969 | 2021-02-18 12:25 | 89.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2185 | μmol/L | 12.8453 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.265 | 159007.5613 | 280242.4795 | 36.4 | 83.1
16979 | 2021-02-18 12:25 | 90.3262 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.2143 | μmol/L | 12.8453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.265 | 159002.0377 | 280255.4137 | 36.4 | 83.1
16989 | 2021-02-18 12:26 | 90.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1159 | μmol/L | 12.8514 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.267 | 158997.3387 | 280226.2319 | 36.4 | 83.1
16999 | 2021-02-18 12:26 | 90.9929 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.1259 | μmol/L | 12.8575 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.264 | 158984.0623 | 280228.3689 | 36.4 | 83.1
17009 | 2021-02-18 12:26 | 91.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0367 | μmol/L | 12.8575 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.268 | 159002.1992 | 280221.9264 | 36.4 | 83.1
17019 | 2021-02-18 12:27 | 91.6598 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.9675 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.266 | 158997.0911 | 280223.3575 | 36.4 | 83.1
17029 | 2021-02-18 12:27 | 91.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 280.0142 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.264 | 158998.3871 | 280219.0259 | 36.4 | 83.1
17039 | 2021-02-18 12:27 | 92.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.9908 | μmol/L | 12.8697 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.265 | 158976.6767 | 280210.9931 | 36.4 | 83.1
17049 | 2021-02-18 12:28 | 92.6599 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.865 | μmol/L | 12.8758 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 158995.2558 | 280222.4733 | 36.4 | 83.1
17059 | 2021-02-18 12:28 | 92.9927 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.865 | μmol/L | 12.8758 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 158998.5072 | 280216.8392 | 36.4 | 83.1
17069 | 2021-02-18 12:28 | 93.3263 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7392 | μmol/L | 12.8819 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.271 | 158998.629 | 280204.9512 | 36.4 | 83.1
17079 | 2021-02-18 12:29 | 93.6595 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7534 | μmol/L | 12.8881 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 159001.0905 | 280205.0887 | 36.4 | 83.1
17089 | 2021-02-18 12:29 | 93.9931 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.7301 | μmol/L | 12.8881 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.269 | 159009.5266 | 280205.1324 | 36.4 | 83.1
17099 | 2021-02-18 12:29 | 94.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6186 | μmol/L | 12.9003 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.269 | 159002.9366 | 280198.6228 | 36.4 | 83.1
17109 | 2021-02-18 12:30 | 94.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6652 | μmol/L | 12.9003 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.267 | 158991.1256 | 280199.099 | 36.4 | 83.1
17119 | 2021-02-18 12:30 | 94.993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6095 | μmol/L | 12.9064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.267 | 158977.3993 | 280197.5976 | 36.4 | 83.1
17129 | 2021-02-18 12:30 | 95.3261 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5537 | μmol/L | 12.9125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.267 | 158992.966 | 280191.123 | 36.4 | 83.1
17139 | 2021-02-18 12:31 | 95.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.5304 | μmol/L | 12.9125 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.268 | 158988.96 | 280174.8669 | 36.4 | 83.1
17149 | 2021-02-18 12:31 | 95.9932 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 279.6328 | μmol/L | 12.9064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.266 | 158981.5352 | 280185.2286 | 36.4 | 83.1