## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 15:00

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17155 | 2021-02-18 12:50 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 183.8817 | μmol/L | 32.208 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.751 | 201732.6849 | 282455.8906 | 62.0402 | 75.7
17156 | 2021-02-18 13:39 | 49.1805 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.021 | μmol/L | 34.4254 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.033 | 204927.0134 | 281109.6272 | 62.0402 | 75.7
17165 | 2021-02-18 13:40 | 49.518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.3063 | μmol/L | 34.3761 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.032 | 204945.1973 | 281080.2338 | 62.0402 | 75.7
17175 | 2021-02-18 13:40 | 49.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2318 | μmol/L | 34.3761 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.037 | 204986.2669 | 281041.0436 | 62.0402 | 75.7
17185 | 2021-02-18 13:40 | 50.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1128 | μmol/L | 34.3761 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.045 | 204982.7609 | 281010.2059 | 62.0402 | 75.7
17195 | 2021-02-18 13:41 | 50.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.682 | μmol/L | 34.4439 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.049 | 205013.6168 | 280975.3882 | 62.0402 | 75.7
17205 | 2021-02-18 13:41 | 50.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.6902 | μmol/L | 34.4316 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.053 | 205027.4212 | 280940.648 | 62.0402 | 75.7
17215 | 2021-02-18 13:41 | 51.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.5404 | μmol/L | 34.4562 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.054 | 204990.837 | 280922.1742 | 62.0402 | 75.7
17225 | 2021-02-18 13:42 | 51.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0047 | μmol/L | 34.3823 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.05 | 204921.9638 | 280882.3589 | 62.0402 | 75.7
17235 | 2021-02-18 13:42 | 51.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.8319 | μmol/L | 34.4192 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.048 | 204859.1398 | 280841.769 | 62.0402 | 75.7
17245 | 2021-02-18 13:42 | 52.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.6631 | μmol/L | 34.4501 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.048 | 204859.8745 | 280806.9355 | 62.0402 | 75.7
17255 | 2021-02-18 13:43 | 52.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.3344 | μmol/L | 34.333 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.046 | 204778.7765 | 280784.5111 | 62.0402 | 75.7
17265 | 2021-02-18 13:43 | 52.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.079 | μmol/L | 34.3823 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.045 | 204744.2493 | 280750.8959 | 62.0402 | 75.7
17275 | 2021-02-18 13:43 | 53.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1924 | μmol/L | 34.3453 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.051 | 204761.7701 | 280726.4519 | 62.0402 | 75.7
17285 | 2021-02-18 13:44 | 53.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.9979 | μmol/L | 34.37 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.055 | 204768.8879 | 280679.9977 | 62.0402 | 75.7
17295 | 2021-02-18 13:44 | 53.8513 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2937 | μmol/L | 34.3268 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.051 | 204718.5378 | 280659.3657 | 62.0402 | 75.7
17305 | 2021-02-18 13:44 | 54.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2708 | μmol/L | 34.3391 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.048 | 204630.0452 | 280632.3318 | 62.0402 | 75.7
17315 | 2021-02-18 13:45 | 54.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2559 | μmol/L | 34.3391 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.049 | 204624.0859 | 280593.7694 | 62.0402 | 75.7
17325 | 2021-02-18 13:45 | 54.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0843 | μmol/L | 34.3515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.056 | 204664.5485 | 280579.4059 | 62.0402 | 75.7
17335 | 2021-02-18 13:45 | 55.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.8157 | μmol/L | 34.3761 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.065 | 204707.7717 | 280550.2139 | 62.0402 | 75.7
17345 | 2021-02-18 13:46 | 55.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2461 | μmol/L | 34.3083 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.061 | 204646.378 | 280515.5991 | 62.0402 | 75.7
17355 | 2021-02-18 13:46 | 55.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.3682 | μmol/L | 34.3268 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.046 | 204455.4542 | 280484.5956 | 62.0402 | 75.7
17365 | 2021-02-18 13:46 | 56.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6753 | μmol/L | 34.2899 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.039 | 204357.6878 | 280468.8985 | 62.0402 | 75.7
17375 | 2021-02-18 13:47 | 56.5187 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.1494 | μmol/L | 34.3884 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.038 | 204323.4373 | 280440.9527 | 62.0402 | 75.7
17385 | 2021-02-18 13:47 | 56.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6903 | μmol/L | 34.2899 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.038 | 204240.6504 | 280412.2918 | 62.0402 | 75.7
17395 | 2021-02-18 13:47 | 57.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.9152 | μmol/L | 34.2652 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.032 | 204163.5429 | 280373.8471 | 62.0402 | 75.7
17405 | 2021-02-18 13:48 | 57.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8027 | μmol/L | 34.2775 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.035 | 204147.1024 | 280332.3329 | 62.0402 | 75.7
17415 | 2021-02-18 13:48 | 57.8512 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.5928 | μmol/L | 34.3022 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.04 | 204179.7132 | 280311.4757 | 62.0402 | 75.7
17425 | 2021-02-18 13:48 | 58.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.6464 | μmol/L | 34.2652 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.05 | 204240.4682 | 280284.3253 | 62.0402 | 75.7
17435 | 2021-02-18 13:49 | 58.5179 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.4139 | μmol/L | 34.3022 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.052 | 204245.9947 | 280266.3462 | 62.0402 | 75.7
17445 | 2021-02-18 13:49 | 58.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.8452 | μmol/L | 34.2344 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.048 | 204164.161 | 280252.0568 | 62.0402 | 75.7
17455 | 2021-02-18 13:49 | 59.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2141 | μmol/L | 34.3576 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.045 | 204106.8178 | 280209.1461 | 62.0402 | 75.7
17465 | 2021-02-18 13:50 | 59.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2788 | μmol/L | 34.3268 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.052 | 204143.5655 | 280187.5371 | 62.0402 | 75.7
17475 | 2021-02-18 13:50 | 59.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.253 | μmol/L | 34.3207 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.056 | 204122.3136 | 280153.053 | 62.0402 | 75.7
17485 | 2021-02-18 13:50 | 60.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.8454 | μmol/L | 34.3761 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.063 | 204188.8976 | 280115.5295 | 62.0402 | 75.7
17495 | 2021-02-18 13:51 | 60.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.2958 | μmol/L | 34.2775 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.069 | 204278.0316 | 280098.65 | 62.0402 | 75.7
17505 | 2021-02-18 13:51 | 60.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 167.0688 | μmol/L | 34.2837 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.082 | 204337.5337 | 280066.2078 | 62.0402 | 75.7
17515 | 2021-02-18 13:51 | 61.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.8866 | μmol/L | 34.2899 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.092 | 204426.3949 | 280046.4223 | 62.0402 | 75.7
17525 | 2021-02-18 13:52 | 61.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.3914 | μmol/L | 34.3453 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.105 | 204475.5374 | 280016.8368 | 62.0402 | 75.7
17535 | 2021-02-18 13:52 | 61.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.519 | μmol/L | 34.3083 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.11 | 204556.1418 | 279998.3642 | 62.0402 | 75.7
17545 | 2021-02-18 13:52 | 62.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.1952 | μmol/L | 34.3515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.116 | 204575.8175 | 279982.6905 | 62.0402 | 75.7
17555 | 2021-02-18 13:53 | 62.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0396 | μmol/L | 34.3638 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.122 | 204625.9991 | 279937.3189 | 62.0402 | 75.7
17565 | 2021-02-18 13:53 | 62.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.8652 | μmol/L | 34.3823 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.127 | 204661.2892 | 279922.2133 | 62.0402 | 75.7
17575 | 2021-02-18 13:53 | 63.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0812 | μmol/L | 34.3453 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.126 | 204637.7981 | 279904.3275 | 62.0402 | 75.7
17585 | 2021-02-18 13:54 | 63.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0826 | μmol/L | 34.3207 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.135 | 204665.8677 | 279880.3095 | 62.0402 | 75.7
17595 | 2021-02-18 13:54 | 63.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.0638 | μmol/L | 34.3268 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.134 | 204654.6398 | 279842.6047 | 62.0402 | 75.7
17605 | 2021-02-18 13:54 | 64.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 166.3843 | μmol/L | 34.2652 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.135 | 204660.9412 | 279807.3604 | 62.0402 | 75.7
17615 | 2021-02-18 13:55 | 64.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6134 | μmol/L | 34.4069 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.135 | 204630.2985 | 279792.5123 | 62.0402 | 75.7
17625 | 2021-02-18 13:55 | 64.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.5611 | μmol/L | 34.4192 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.134 | 204594.9632 | 279764.7149 | 62.0402 | 75.7
17635 | 2021-02-18 13:55 | 65.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.4729 | μmol/L | 34.4192 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.14 | 204615.5616 | 279737.1398 | 62.0402 | 75.7
17645 | 2021-02-18 13:56 | 65.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.3659 | μmol/L | 34.4254 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.145 | 204631.4667 | 279721.0127 | 62.0402 | 75.7
17655 | 2021-02-18 13:56 | 65.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.1505 | μmol/L | 34.4624 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.146 | 204646.4033 | 279689.9374 | 62.0402 | 75.7
17665 | 2021-02-18 13:56 | 66.1848 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.508 | μmol/L | 34.3884 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.149 | 204633.9123 | 279661.1724 | 62.0402 | 75.7
17675 | 2021-02-18 13:57 | 66.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.6647 | μmol/L | 34.3515 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.152 | 204650.7614 | 279638.8765 | 62.0402 | 75.7
17685 | 2021-02-18 13:57 | 66.8513 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.7691 | μmol/L | 34.3268 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.154 | 204645.8029 | 279614.485 | 62.0402 | 75.7
17695 | 2021-02-18 13:57 | 67.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.4949 | μmol/L | 34.3638 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.159 | 204687.4578 | 279598.8797 | 62.0402 | 75.7
17705 | 2021-02-18 13:58 | 67.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 165.1916 | μmol/L | 34.4008 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.166 | 204747.9279 | 279565.5775 | 62.0402 | 75.7
17715 | 2021-02-18 13:58 | 67.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.5006 | μmol/L | 34.4932 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.179 | 204855.3358 | 279544.6154 | 62.0402 | 75.7
17725 | 2021-02-18 13:58 | 68.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.6255 | μmol/L | 34.4377 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.191 | 204965.59 | 279517.6396 | 62.0402 | 75.7
17735 | 2021-02-18 13:59 | 68.5179 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 164.2444 | μmol/L | 34.4624 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.208 | 205123.0359 | 279498.774 | 62.0402 | 75.7
17745 | 2021-02-18 13:59 | 68.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.8351 | μmol/L | 34.487 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.227 | 205301.549 | 279469.3664 | 62.0402 | 75.7
17755 | 2021-02-18 13:59 | 69.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.3376 | μmol/L | 34.5363 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.243 | 205454.4692 | 279447.1242 | 62.0402 | 75.7
17765 | 2021-02-18 14:00 | 69.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.2918 | μmol/L | 34.561 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.237 | 205368.7252 | 279417.0591 | 62.0402 | 75.7
17775 | 2021-02-18 14:00 | 69.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 163.2195 | μmol/L | 34.561 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.242 | 205357.4723 | 279399.7062 | 62.0402 | 75.7
17785 | 2021-02-18 14:00 | 70.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.7395 | μmol/L | 34.6287 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.25 | 205460.6118 | 279382.718 | 62.0402 | 75.7
17795 | 2021-02-18 14:01 | 70.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.5105 | μmol/L | 34.6472 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.259 | 205584.3766 | 279353.6054 | 62.0402 | 75.7
17805 | 2021-02-18 14:01 | 70.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.3868 | μmol/L | 34.6595 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.263 | 205612.1488 | 279323.3889 | 62.0402 | 75.7
17815 | 2021-02-18 14:01 | 71.1845 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.4541 | μmol/L | 34.6041 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.279 | 205724.7288 | 279304.2905 | 62.0402 | 75.7
17825 | 2021-02-18 14:02 | 71.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.1999 | μmol/L | 34.6595 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.276 | 205775.7174 | 279287.5848 | 62.0402 | 75.7
17835 | 2021-02-18 14:02 | 71.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.5234 | μmol/L | 34.6287 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.265 | 205646.5143 | 279252.1159 | 62.0402 | 75.7
17845 | 2021-02-18 14:02 | 72.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 162.2861 | μmol/L | 34.6595 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.27 | 205654.8722 | 279233.8891 | 62.0402 | 75.7
17855 | 2021-02-18 14:03 | 72.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.8597 | μmol/L | 34.715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.279 | 205732.1727 | 279206.7037 | 62.0402 | 75.7
17865 | 2021-02-18 14:03 | 72.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.4197 | μmol/L | 34.7705 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.289 | 205847.9587 | 279181.3666 | 62.0402 | 75.7
17875 | 2021-02-18 14:03 | 73.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.1923 | μmol/L | 34.7889 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.298 | 205926.9472 | 279172.6159 | 62.0402 | 75.7
17885 | 2021-02-18 14:04 | 73.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 161.0551 | μmol/L | 34.8013 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.303 | 205980.9789 | 279128.9549 | 62.0402 | 75.7
17895 | 2021-02-18 14:04 | 73.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.862 | μmol/L | 34.8321 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.305 | 205991.8746 | 279114.4986 | 62.0402 | 75.7
17905 | 2021-02-18 14:04 | 74.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.894 | μmol/L | 34.8074 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.312 | 206014.7254 | 279104.5183 | 62.0402 | 75.7
17915 | 2021-02-18 14:05 | 74.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.8503 | μmol/L | 34.7889 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.322 | 206123.6079 | 279075.4826 | 62.0402 | 75.7
17925 | 2021-02-18 14:05 | 74.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.9676 | μmol/L | 34.7643 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.323 | 206121.166 | 279040.6787 | 62.0402 | 75.7
17935 | 2021-02-18 14:05 | 75.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.291 | μmol/L | 34.8752 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.329 | 206149.3164 | 279026.6377 | 62.0402 | 75.7
17945 | 2021-02-18 14:06 | 75.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.0643 | μmol/L | 34.8752 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.345 | 206289.6178 | 279012.3355 | 62.0402 | 75.7
17955 | 2021-02-18 14:06 | 75.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.208 | μmol/L | 34.8136 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.358 | 206392.2121 | 278993.6128 | 62.0402 | 75.7
17965 | 2021-02-18 14:06 | 76.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.0717 | μmol/L | 34.8259 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.363 | 206451.6415 | 278961.062 | 62.0402 | 75.7
17975 | 2021-02-18 14:07 | 76.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.9719 | μmol/L | 34.8074 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.377 | 206598.5623 | 278942.7655 | 62.0402 | 75.7
17985 | 2021-02-18 14:07 | 76.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.7645 | μmol/L | 34.8013 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.394 | 206762.547 | 278934.425 | 62.0402 | 75.7
17995 | 2021-02-18 14:07 | 77.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.264 | μmol/L | 34.8506 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.411 | 206872.0971 | 278903.5213 | 62.0402 | 75.7
18005 | 2021-02-18 14:08 | 77.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.2033 | μmol/L | 34.8567 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.413 | 206910.9478 | 278864.3615 | 62.0402 | 75.7
18015 | 2021-02-18 14:08 | 77.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.2864 | μmol/L | 34.8198 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.421 | 206945.8326 | 278858.6387 | 62.0402 | 75.7
18025 | 2021-02-18 14:08 | 78.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.2442 | μmol/L | 34.8198 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.424 | 206950.3495 | 278837.4946 | 62.0402 | 75.7
18035 | 2021-02-18 14:09 | 78.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.2078 | μmol/L | 34.8506 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.415 | 206853.2649 | 278815.6852 | 62.0402 | 75.7
18045 | 2021-02-18 14:09 | 78.8518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.1949 | μmol/L | 34.8875 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.402 | 206686.6797 | 278784.0424 | 62.0402 | 75.7
18055 | 2021-02-18 14:09 | 79.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.668 | μmol/L | 34.8567 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.38 | 206457.8381 | 278774.9997 | 62.0402 | 75.7
18065 | 2021-02-18 14:10 | 79.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.815 | μmol/L | 34.8875 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.358 | 206174.0132 | 278751.0052 | 62.0402 | 75.7
18075 | 2021-02-18 14:10 | 79.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 160.0405 | μmol/L | 34.8691 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.349 | 206038.3327 | 278726.6013 | 62.0402 | 75.7
18085 | 2021-02-18 14:10 | 80.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.9139 | μmol/L | 34.8875 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.351 | 206055.0121 | 278703.3724 | 62.0402 | 75.7
18095 | 2021-02-18 14:11 | 80.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.4644 | μmol/L | 34.9615 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.355 | 206071.4162 | 278690.975 | 62.0402 | 75.7
18105 | 2021-02-18 14:11 | 80.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.3052 | μmol/L | 34.9861 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.357 | 206082.8082 | 278672.523 | 62.0402 | 75.7
18115 | 2021-02-18 14:11 | 81.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.1746 | μmol/L | 35.0293 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.35 | 205973.7202 | 278649.0518 | 62.0402 | 75.7
18125 | 2021-02-18 14:12 | 81.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.3479 | μmol/L | 35.0046 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.347 | 205908.4333 | 278631.5441 | 62.0402 | 75.7
18135 | 2021-02-18 14:12 | 81.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.7455 | μmol/L | 34.9245 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.349 | 205917.6888 | 278610.9825 | 62.0402 | 75.7
18145 | 2021-02-18 14:12 | 82.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.5863 | μmol/L | 34.9492 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.351 | 205947.5664 | 278600.1316 | 62.0402 | 75.7
18155 | 2021-02-18 14:13 | 82.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.8336 | μmol/L | 34.8814 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.359 | 206006.8548 | 278570.8552 | 62.0402 | 75.7
18165 | 2021-02-18 14:13 | 82.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.4916 | μmol/L | 34.9245 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.367 | 206050.4682 | 278548.7856 | 62.0402 | 75.7
18175 | 2021-02-18 14:13 | 83.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.7627 | μmol/L | 35.0539 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.37 | 206071.2243 | 278536.064 | 62.0402 | 75.7
18185 | 2021-02-18 14:14 | 83.5187 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.9772 | μmol/L | 34.9923 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.378 | 206106.8412 | 278525.0324 | 62.0402 | 75.7
18195 | 2021-02-18 14:14 | 83.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.8224 | μmol/L | 34.9738 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.396 | 206299.5252 | 278491.7017 | 62.0402 | 75.7
18205 | 2021-02-18 14:14 | 84.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6777 | μmol/L | 34.98 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.404 | 206375.0679 | 278474.2508 | 62.0402 | 75.7
18215 | 2021-02-18 14:15 | 84.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6679 | μmol/L | 34.9553 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.414 | 206467.2663 | 278472.8292 | 62.0402 | 75.7
18225 | 2021-02-18 14:15 | 84.8518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.3977 | μmol/L | 34.98 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.424 | 206545.8394 | 278452.9045 | 62.0402 | 75.7
18235 | 2021-02-18 14:15 | 85.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.2442 | μmol/L | 34.9985 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.428 | 206560.0673 | 278438.9413 | 62.0402 | 75.7
18245 | 2021-02-18 14:16 | 85.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.3372 | μmol/L | 34.9861 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.426 | 206544.6129 | 278421.2631 | 62.0402 | 75.7
18255 | 2021-02-18 14:16 | 85.8516 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.4254 | μmol/L | 34.9615 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.429 | 206487.8009 | 278392.0873 | 62.0402 | 75.7
18265 | 2021-02-18 14:16 | 86.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6535 | μmol/L | 34.9368 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.422 | 206423.0301 | 278385.3918 | 62.0402 | 75.7
18275 | 2021-02-18 14:17 | 86.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.6027 | μmol/L | 34.9677 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.414 | 206307.5459 | 278354.392 | 62.0402 | 75.7
18285 | 2021-02-18 14:17 | 86.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.78 | μmol/L | 34.9553 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.406 | 206212.1785 | 278338.0315 | 62.0402 | 75.7
18295 | 2021-02-18 14:17 | 87.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 159.0177 | μmol/L | 34.9184 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.403 | 206146.6442 | 278331.1266 | 62.0402 | 75.7
18305 | 2021-02-18 14:18 | 87.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.8547 | μmol/L | 34.9492 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.403 | 206132.7942 | 278307.9967 | 62.0402 | 75.7
18315 | 2021-02-18 14:18 | 87.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.8403 | μmol/L | 34.9307 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.411 | 206189.2416 | 278301.0677 | 62.0402 | 75.7
18325 | 2021-02-18 14:18 | 88.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.7838 | μmol/L | 34.9122 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.422 | 206284.616 | 278278.841 | 62.0402 | 75.7
18335 | 2021-02-18 14:19 | 88.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.0629 | μmol/L | 35.017 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.434 | 206394.7796 | 278257.7115 | 62.0402 | 75.7
18345 | 2021-02-18 14:19 | 88.8516 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.197 | μmol/L | 34.9492 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.45 | 206581.3482 | 278237.7582 | 62.0402 | 75.7
18355 | 2021-02-18 14:19 | 89.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.96 | μmol/L | 34.9492 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.467 | 206699.7211 | 278235.3478 | 62.0402 | 75.7
18365 | 2021-02-18 14:20 | 89.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.2519 | μmol/L | 34.8937 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.467 | 206692.0114 | 278206.5073 | 62.0402 | 75.7
18375 | 2021-02-18 14:20 | 89.8512 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.4145 | μmol/L | 34.8814 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.46 | 206624.7903 | 278198.734 | 62.0402 | 75.7
18385 | 2021-02-18 14:20 | 90.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.3951 | μmol/L | 34.8506 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.473 | 206717.9737 | 278167.1129 | 62.0402 | 75.7
18395 | 2021-02-18 14:21 | 90.5179 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.941 | μmol/L | 34.9184 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.48 | 206773.0198 | 278163.772 | 62.0402 | 75.7
18405 | 2021-02-18 14:21 | 90.8516 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7745 | μmol/L | 34.9553 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.478 | 206737.6535 | 278140.8261 | 62.0402 | 75.7
18415 | 2021-02-18 14:21 | 91.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1629 | μmol/L | 34.8629 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.485 | 206793.2751 | 278129.5692 | 62.0402 | 75.7
18425 | 2021-02-18 14:22 | 91.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.9637 | μmol/L | 34.8875 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.49 | 206820.4408 | 278111.4513 | 62.0402 | 75.7
18435 | 2021-02-18 14:22 | 91.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.3009 | μmol/L | 34.8074 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.496 | 206879.2678 | 278097.2145 | 62.0402 | 75.7
18445 | 2021-02-18 14:22 | 92.1848 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1435 | μmol/L | 34.8321 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.498 | 206866.6386 | 278087.9938 | 62.0402 | 75.7
18455 | 2021-02-18 14:23 | 92.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7093 | μmol/L | 34.9307 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.492 | 206763.9716 | 278078.6259 | 62.0402 | 75.7
18465 | 2021-02-18 14:23 | 92.8513 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.0612 | μmol/L | 34.8875 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.483 | 206691.1798 | 278052.8119 | 62.0402 | 75.7
18475 | 2021-02-18 14:23 | 93.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.6402 | μmol/L | 34.9677 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.483 | 206650.2261 | 278042.2704 | 62.0402 | 75.7
18485 | 2021-02-18 14:24 | 93.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7232 | μmol/L | 34.9307 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.491 | 206737.704 | 278030.1726 | 62.0402 | 75.7
18495 | 2021-02-18 14:24 | 93.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.185 | μmol/L | 34.8198 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.499 | 206757.7169 | 278011.7175 | 62.0402 | 75.7
18505 | 2021-02-18 14:24 | 94.1848 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.3745 | μmol/L | 34.7828 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.5 | 206753.4227 | 277997.4584 | 62.0402 | 75.7
18515 | 2021-02-18 14:25 | 94.5178 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.2774 | μmol/L | 34.8013 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.5 | 206794.4204 | 277977.9658 | 62.0402 | 75.7
18525 | 2021-02-18 14:25 | 94.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.9167 | μmol/L | 34.8629 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.502 | 206724.7672 | 277957.5322 | 62.0402 | 75.7
18535 | 2021-02-18 14:25 | 95.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.2536 | μmol/L | 34.7828 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.508 | 206794.7149 | 277948.1509 | 62.0402 | 75.7
18545 | 2021-02-18 14:26 | 95.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 158.1649 | μmol/L | 34.7705 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.519 | 206909.7626 | 277939.6914 | 62.0402 | 75.7
18555 | 2021-02-18 14:26 | 95.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.8916 | μmol/L | 34.7828 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.534 | 207032.5463 | 277915.5177 | 62.0402 | 75.7
18565 | 2021-02-18 14:26 | 96.1848 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.831 | μmol/L | 34.7705 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.543 | 207109.169 | 277911.3356 | 62.0402 | 75.7
18575 | 2021-02-18 14:27 | 96.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.7982 | μmol/L | 34.7581 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.55 | 207143.996 | 277879.7787 | 62.0402 | 75.7
18585 | 2021-02-18 14:27 | 96.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.955 | μmol/L | 34.7335 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.548 | 207142.0815 | 277872.8859 | 62.0402 | 75.7
18595 | 2021-02-18 14:27 | 97.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.7201 | μmol/L | 34.7951 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.614 | 207818.2412 | 277868.1734 | 62.0402 | 75.7
18605 | 2021-02-18 14:28 | 97.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.082 | μmol/L | 34.7335 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.611 | 207758.7368 | 277844.1564 | 62.0402 | 75.7
18615 | 2021-02-18 14:28 | 97.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.0045 | μmol/L | 34.7643 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.605 | 207669.614 | 277828.4378 | 62.0402 | 75.7
18625 | 2021-02-18 14:28 | 98.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.2611 | μmol/L | 34.715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.605 | 207655.9624 | 277819.9108 | 62.0402 | 75.7
18635 | 2021-02-18 14:29 | 98.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.0682 | μmol/L | 34.7335 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.612 | 207710.1892 | 277805.401 | 62.0402 | 75.7
18645 | 2021-02-18 14:29 | 98.8513 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 157.3291 | μmol/L | 34.678 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.614 | 207706.5762 | 277789.1229 | 62.0402 | 75.7
18655 | 2021-02-18 14:29 | 99.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.9626 | μmol/L | 34.7458 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.615 | 207711.4978 | 277771.6969 | 62.0402 | 75.7
18665 | 2021-02-18 14:30 | 99.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.5093 | μmol/L | 34.8198 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.62 | 207765.495 | 277760.9972 | 62.0402 | 75.7
18675 | 2021-02-18 14:30 | 99.8518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.4033 | μmol/L | 34.7766 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.644 | 207977.2385 | 277734.4867 | 62.0402 | 75.7
18685 | 2021-02-18 14:30 | 100.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.1598 | μmol/L | 34.715 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.685 | 208394.1508 | 277730.0852 | 62.0402 | 75.7
18695 | 2021-02-18 14:31 | 100.5179 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 156.0724 | μmol/L | 34.6842 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.703 | 208578.4629 | 277721.6455 | 62.0402 | 75.7
18705 | 2021-02-18 14:31 | 100.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.8213 | μmol/L | 34.6719 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.726 | 208778.0421 | 277713.557 | 62.0402 | 75.7
18715 | 2021-02-18 14:31 | 101.1845 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.9069 | μmol/L | 34.6287 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.736 | 208895.9202 | 277714.6129 | 62.0402 | 75.7
18725 | 2021-02-18 14:32 | 101.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.6165 | μmol/L | 34.6719 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.741 | 208932.1125 | 277685.0147 | 62.0402 | 75.7
18735 | 2021-02-18 14:32 | 101.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.566 | μmol/L | 34.6472 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.754 | 209056.9232 | 277668.5465 | 62.0402 | 75.7
18745 | 2021-02-18 14:32 | 102.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.33 | μmol/L | 34.6534 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.769 | 209188.5308 | 277660.6854 | 62.0402 | 75.7
18755 | 2021-02-18 14:33 | 102.518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5467 | μmol/L | 34.5979 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.774 | 209200.5451 | 277648.8482 | 62.0402 | 75.7
18765 | 2021-02-18 14:33 | 102.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3797 | μmol/L | 34.6411 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.77 | 209166.74 | 277626.5779 | 62.0402 | 75.7
18775 | 2021-02-18 14:33 | 103.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5063 | μmol/L | 34.6164 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.77 | 209148.5473 | 277627.1421 | 62.0402 | 75.7
18785 | 2021-02-18 14:34 | 103.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.2436 | μmol/L | 34.6411 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.78 | 209203.8021 | 277595.935 | 62.0402 | 75.7
18795 | 2021-02-18 14:34 | 103.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9946 | μmol/L | 34.6472 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.796 | 209358.1327 | 277585.5516 | 62.0402 | 75.7
18805 | 2021-02-18 14:34 | 104.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9268 | μmol/L | 34.6472 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.801 | 209389.6427 | 277576.758 | 62.0402 | 75.7
18815 | 2021-02-18 14:35 | 104.518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4547 | μmol/L | 34.5548 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.797 | 209343.6618 | 277573.005 | 62.0402 | 75.7
18825 | 2021-02-18 14:35 | 104.8516 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5063 | μmol/L | 34.6164 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.77 | 209048.7194 | 277547.7688 | 62.0402 | 75.7
18835 | 2021-02-18 14:35 | 105.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.3415 | μmol/L | 34.561 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.803 | 209405.8271 | 277539.9427 | 62.0402 | 75.7
18845 | 2021-02-18 14:36 | 105.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.9022 | μmol/L | 34.5486 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.84 | 209743.9484 | 277539.8562 | 62.0402 | 75.7
18855 | 2021-02-18 14:36 | 105.8512 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.984 | μmol/L | 34.5671 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.827 | 209608.3823 | 277517.3433 | 62.0402 | 75.7
18865 | 2021-02-18 14:36 | 106.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.615 | μmol/L | 34.4624 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.82 | 209475.1941 | 277512.6981 | 62.0402 | 75.7
18875 | 2021-02-18 14:37 | 106.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.5811 | μmol/L | 34.5302 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.797 | 209218.1357 | 277487.8515 | 62.0402 | 75.7
18885 | 2021-02-18 14:37 | 106.8518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.4236 | μmol/L | 34.5794 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.79 | 209119.9777 | 277474.369 | 62.0402 | 75.7
18895 | 2021-02-18 14:37 | 107.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.6808 | μmol/L | 34.524 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.792 | 209152.3705 | 277460.5264 | 62.0402 | 75.7
18905 | 2021-02-18 14:38 | 107.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 155.0035 | μmol/L | 34.6349 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.8 | 209222.1771 | 277454.859 | 62.0402 | 75.7
18915 | 2021-02-18 14:38 | 107.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.8722 | μmol/L | 34.6287 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.812 | 209324.569 | 277445.3367 | 62.0402 | 75.7
18925 | 2021-02-18 14:38 | 108.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.462 | μmol/L | 34.6534 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.833 | 209515.8186 | 277427.9136 | 62.0402 | 75.7
18935 | 2021-02-18 14:39 | 108.5179 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 154.129 | μmol/L | 34.6472 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.86 | 209782.0057 | 277414.0179 | 62.0402 | 75.7
18945 | 2021-02-18 14:39 | 108.8518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.9091 | μmol/L | 34.6534 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.874 | 209951.9059 | 277403.4407 | 62.0402 | 75.7
18955 | 2021-02-18 14:39 | 109.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8279 | μmol/L | 34.5979 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.901 | 210170.3761 | 277398.5716 | 62.0402 | 75.7
18965 | 2021-02-18 14:40 | 109.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7737 | μmol/L | 34.561 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.919 | 210401.0299 | 277400.4179 | 62.0402 | 75.7
18975 | 2021-02-18 14:40 | 109.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.5275 | μmol/L | 34.5486 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.942 | 210615.4012 | 277382.0155 | 62.0402 | 75.7
18985 | 2021-02-18 14:40 | 110.1851 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.594 | μmol/L | 34.5117 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.951 | 210706.1802 | 277374.815 | 62.0402 | 75.7
18995 | 2021-02-18 14:41 | 110.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4471 | μmol/L | 34.5486 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.948 | 210672.5589 | 277363.6374 | 62.0402 | 75.7
19005 | 2021-02-18 14:41 | 110.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.3002 | μmol/L | 34.5856 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.945 | 210606.9131 | 277344.0875 | 62.0402 | 75.7
19015 | 2021-02-18 14:41 | 111.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.3 | μmol/L | 34.5671 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.952 | 210618.8831 | 277346.1888 | 62.0402 | 75.7
19025 | 2021-02-18 14:42 | 111.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.5089 | μmol/L | 34.4993 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.962 | 210756.0288 | 277324.7866 | 62.0402 | 75.7
19035 | 2021-02-18 14:42 | 111.8512 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.8461 | μmol/L | 34.6041 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.972 | 210860.3947 | 277328.427 | 62.0402 | 75.7
19045 | 2021-02-18 14:42 | 112.1848 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.7971 | μmol/L | 34.5794 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.985 | 210994.7372 | 277324.7825 | 62.0402 | 75.7
19055 | 2021-02-18 14:43 | 112.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.5752 | μmol/L | 34.5918 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.997 | 211068.8293 | 277298.9754 | 62.0402 | 75.7
19065 | 2021-02-18 14:43 | 112.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.3403 | μmol/L | 34.6226 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.003 | 211128.1057 | 277285.8271 | 62.0402 | 75.7
19075 | 2021-02-18 14:43 | 113.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.15 | μmol/L | 34.6287 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.015 | 211275.7873 | 277276.967 | 62.0402 | 75.7
19085 | 2021-02-18 14:44 | 113.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.159 | μmol/L | 34.5979 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.026 | 211366.8692 | 277280.6713 | 62.0402 | 75.7
19095 | 2021-02-18 14:44 | 113.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.1811 | μmol/L | 34.5671 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.036 | 211415.5594 | 277280.53 | 62.0402 | 75.7
19105 | 2021-02-18 14:44 | 114.1845 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.744 | μmol/L | 34.6226 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.048 | 211548.5495 | 277270.0752 | 62.0402 | 75.7
19115 | 2021-02-18 14:45 | 114.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.6912 | μmol/L | 34.6041 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.059 | 211673.1898 | 277260.7475 | 62.0402 | 75.7
19125 | 2021-02-18 14:45 | 114.8518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.4711 | μmol/L | 34.6164 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.071 | 211805.7492 | 277251.9086 | 62.0402 | 75.7
19135 | 2021-02-18 14:45 | 115.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.2819 | μmol/L | 34.6411 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.076 | 211849.5572 | 277242.2007 | 62.0402 | 75.7
19145 | 2021-02-18 14:46 | 115.518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.1192 | μmol/L | 34.6657 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.079 | 211859.7231 | 277228.4893 | 62.0402 | 75.7
19155 | 2021-02-18 14:46 | 115.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.9742 | μmol/L | 34.6842 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.083 | 211893.668 | 277227.0815 | 62.0402 | 75.7
19165 | 2021-02-18 14:46 | 116.1848 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.0839 | μmol/L | 34.678 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.077 | 211849.3957 | 277213.1506 | 62.0402 | 75.7
19175 | 2021-02-18 14:47 | 116.5185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.9476 | μmol/L | 34.7027 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.078 | 211838.0753 | 277221.599 | 62.0402 | 75.7
19185 | 2021-02-18 14:47 | 116.8516 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.7501 | μmol/L | 34.7212 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.086 | 211913.0263 | 277206.5613 | 62.0402 | 75.7
19195 | 2021-02-18 14:47 | 117.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.2155 | μmol/L | 34.7889 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.101 | 212070.3446 | 277197.3564 | 62.0402 | 75.7
19205 | 2021-02-18 14:48 | 117.5182 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.0887 | μmol/L | 34.8013 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.106 | 212106.6884 | 277178.7629 | 62.0402 | 75.7
19215 | 2021-02-18 14:48 | 117.852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.0665 | μmol/L | 34.8136 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.103 | 212092.9063 | 277182.8695 | 62.0402 | 75.7
19225 | 2021-02-18 14:48 | 118.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.8915 | μmol/L | 34.8382 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.107 | 212118.8451 | 277172.9826 | 62.0402 | 75.7
19235 | 2021-02-18 14:49 | 118.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.4275 | μmol/L | 34.9184 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.112 | 212159.733 | 277163.9336 | 62.0402 | 75.7
19245 | 2021-02-18 14:49 | 118.8513 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.6208 | μmol/L | 34.8691 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.116 | 212198.6536 | 277155.5261 | 62.0402 | 75.7
19255 | 2021-02-18 14:49 | 119.1852 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.1703 | μmol/L | 34.9492 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.12 | 212207.0176 | 277144.1451 | 62.0402 | 75.7
19265 | 2021-02-18 14:50 | 119.5179 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.5297 | μmol/L | 34.8691 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.123 | 212275.2961 | 277142.3245 | 62.0402 | 75.7
19275 | 2021-02-18 14:50 | 119.8516 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.0759 | μmol/L | 34.9368 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.132 | 212326.8754 | 277126.3977 | 62.0402 | 75.7
19285 | 2021-02-18 14:50 | 120.1853 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.2689 | μmol/L | 34.8875 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.136 | 212391.7737 | 277118.9295 | 62.0402 | 75.7
19295 | 2021-02-18 14:51 | 120.5181 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.0557 | μmol/L | 34.9122 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.143 | 212464.8055 | 277115.3227 | 62.0402 | 75.7
19305 | 2021-02-18 14:51 | 120.8517 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.9298 | μmol/L | 34.9245 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.148 | 212474.9597 | 277091.5891 | 62.0402 | 75.7
19315 | 2021-02-18 14:51 | 121.1846 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.1438 | μmol/L | 34.8814 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.148 | 212501.7763 | 277082.9433 | 62.0402 | 75.7
19325 | 2021-02-18 14:52 | 121.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.0354 | μmol/L | 34.8875 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.154 | 212561.9516 | 277075.8566 | 62.0402 | 75.7
19335 | 2021-02-18 14:52 | 121.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.6394 | μmol/L | 34.9492 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.161 | 212614.1275 | 277069.9348 | 62.0402 | 75.7
19345 | 2021-02-18 14:52 | 122.1847 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.0142 | μmol/L | 34.8814 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.158 | 212532.5944 | 277065.9881 | 62.0402 | 75.7
19355 | 2021-02-18 14:53 | 122.5187 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.4374 | μmol/L | 35.0108 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.153 | 212487.2277 | 277056.1377 | 62.0402 | 75.7
19365 | 2021-02-18 14:53 | 122.8516 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.6993 | μmol/L | 34.9553 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.154 | 212496.4765 | 277036.7876 | 62.0402 | 75.7
19375 | 2021-02-18 14:53 | 123.1845 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.6958 | μmol/L | 34.943 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.159 | 212521.5304 | 277035.2265 | 62.0402 | 75.7
19385 | 2021-02-18 14:54 | 123.5184 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.5466 | μmol/L | 34.9861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.154 | 212558.2773 | 277038.5858 | 62.0402 | 75.7
19395 | 2021-02-18 14:54 | 123.8519 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.4821 | μmol/L | 34.9861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.159 | 212547.7806 | 277025.4318 | 62.0402 | 75.7
19405 | 2021-02-18 14:54 | 124.1848 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.495 | μmol/L | 34.9861 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.158 | 212538.4645 | 277017.7919 | 62.0402 | 75.7
19415 | 2021-02-18 14:55 | 124.5186 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.3389 | μmol/L | 35.0046 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.163 | 212594.2837 | 277005.0054 | 62.0402 | 75.7
19425 | 2021-02-18 14:55 | 124.8514 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.9838 | μmol/L | 35.0478 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.174 | 212704.0772 | 277003.8876 | 62.0402 | 75.7
19435 | 2021-02-18 14:55 | 125.1849 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.1328 | μmol/L | 35.0046 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.179 | 212726.4204 | 276996.4886 | 62.0402 | 75.7
19445 | 2021-02-18 14:56 | 125.5179 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.292 | μmol/L | 34.9985 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.169 | 212637.1577 | 276987.2264 | 62.0402 | 75.7
19455 | 2021-02-18 14:56 | 125.8518 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.9004 | μmol/L | 35.0724 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.171 | 212643.2053 | 276990.3047 | 62.0402 | 75.7
19465 | 2021-02-18 14:56 | 126.1845 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.8024 | μmol/L | 35.0663 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.181 | 212715.0598 | 276962.0396 | 62.0402 | 75.7
19475 | 2021-02-18 14:57 | 126.5183 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.6421 | μmol/L | 35.0909 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.184 | 212760.4451 | 276966.7185 | 62.0402 | 75.7
19485 | 2021-02-18 14:57 | 126.8515 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.8823 | μmol/L | 35.0293 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.189 | 212780.0866 | 276966.2989 | 62.0402 | 75.7
19495 | 2021-02-18 14:57 | 127.185 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.7701 | μmol/L | 35.0416 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.193 | 212815.5313 | 276962.9197 | 62.0402 | 75.7