## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19516 | 2021-02-18 15:34 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.8052 | μmol/L | 37.6 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.228 | 213785.7862 | 276703.467 | 62.0402 | 75.7 | #N/A
19525 | 2021-02-18 15:34 | 0.33682 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.3348 | μmol/L | 37.6679 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.24 | 213925.647 | 276692.3935 | 62.0402 | 75.7 | #N/A
19535 | 2021-02-18 15:35 | 0.67087 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.2165 | μmol/L | 37.6802 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.245 | 214019.0379 | 276690.8053 | 62.0402 | 75.7 | #N/A
19545 | 2021-02-18 15:35 | 1.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.7937 | μmol/L | 37.7481 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.253 | 214125.6785 | 276683.3548 | 62.0402 | 75.7 | #N/A
19555 | 2021-02-18 15:35 | 1.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.6503 | μmol/L | 37.711 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.195 | 213503.9738 | 276670.2211 | 62.0402 | 75.7 | #N/A
19565 | 2021-02-18 15:36 | 1.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.1968 | μmol/L | 37.8159 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.19 | 213459.6204 | 276661.3474 | 62.0402 | 75.7 | #N/A | -0.48381 | 29.0285
19575 | 2021-02-18 15:36 | 2.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.0229 | μmol/L | 37.8467 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.192 | 213515.9912 | 276654.6492 | 62.0402 | 75.7 | #N/A | 135.0745
19585 | 2021-02-18 15:36 | 2.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.2221 | μmol/L | 37.8776 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.162 | 213179.7274 | 276637.2591 | 62.0402 | 75.7 | #N/A
19595 | 2021-02-18 15:37 | 2.6709 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.8709 | μmol/L | 37.9207 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.174 | 213304.4124 | 276627.0688 | 62.0402 | 75.7 | #N/A
19605 | 2021-02-18 15:37 | 3.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.8555 | μmol/L | 37.9763 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.152 | 213060.1615 | 276617.9932 | 62.0402 | 75.7 | #N/A
19615 | 2021-02-18 15:37 | 3.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.9975 | μmol/L | 37.9639 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.145 | 213029.5924 | 276622.8287 | 62.0402 | 75.7 | #N/A
19625 | 2021-02-18 15:38 | 3.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.3861 | μmol/L | 38.0626 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.156 | 213142.5153 | 276609.1343 | 62.0402 | 75.7 | #N/A
19635 | 2021-02-18 15:38 | 4.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.1844 | μmol/L | 38.0564 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.176 | 213389.7752 | 276603.6839 | 62.0402 | 75.7 | #N/A
19645 | 2021-02-18 15:38 | 4.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.1122 | μmol/L | 38.0996 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.164 | 213239.6761 | 276594.5365 | 62.0402 | 75.7 | #N/A
19655 | 2021-02-18 15:39 | 4.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.9543 | μmol/L | 38.1366 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.162 | 213244.0869 | 276588.3893 | 62.0402 | 75.7 | #N/A
19665 | 2021-02-18 15:39 | 5.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.8246 | μmol/L | 38.149 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.168 | 213327.5121 | 276583.9242 | 62.0402 | 75.7 | #N/A
19675 | 2021-02-18 15:39 | 5.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.0192 | μmol/L | 38.1305 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.159 | 213246.377 | 276571.2526 | 62.0402 | 75.7 | #N/A
19685 | 2021-02-18 15:40 | 5.6708 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.7983 | μmol/L | 38.1921 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.152 | 213175.9816 | 276574.4401 | 62.0402 | 75.7 | #N/A
19695 | 2021-02-18 15:40 | 6.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.5539 | μmol/L | 38.2538 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.147 | 213131.8587 | 276571.1413 | 62.0402 | 75.7 | #N/A
19705 | 2021-02-18 15:40 | 6.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.7733 | μmol/L | 38.2538 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.128 | 212969.0271 | 276568.0256 | 62.0402 | 75.7 | #N/A
19715 | 2021-02-18 15:41 | 6.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.1526 | μmol/L | 38.3217 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.153 | 213244.9715 | 276559.0862 | 62.0402 | 75.7 | #N/A
19725 | 2021-02-18 15:41 | 7.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.5454 | μmol/L | 38.3895 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.177 | 213501.6683 | 276560.9292 | 62.0402 | 75.7 | #N/A
19735 | 2021-02-18 15:41 | 7.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.4497 | μmol/L | 38.3834 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.188 | 213623.7455 | 276554.8046 | 62.0402 | 75.7 | #N/A
19745 | 2021-02-18 15:42 | 7.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.4924 | μmol/L | 38.3957 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.179 | 213562.2834 | 276545.9931 | 62.0402 | 75.7 | #N/A
19755 | 2021-02-18 15:42 | 8.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.293 | μmol/L | 38.4389 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.178 | 213542.1276 | 276538.1591 | 62.0402 | 75.7 | #N/A
19765 | 2021-02-18 15:42 | 8.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.9567 | μmol/L | 38.4821 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.189 | 213685.2413 | 276550.6025 | 62.0402 | 75.7 | #N/A
19775 | 2021-02-18 15:43 | 8.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.8389 | μmol/L | 38.4759 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.202 | 213819.6579 | 276527.9305 | 62.0402 | 75.7 | #N/A
19785 | 2021-02-18 15:43 | 9.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.2411 | μmol/L | 38.5869 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.207 | 213885.8542 | 276527.2981 | 62.0402 | 75.7 | #N/A
19795 | 2021-02-18 15:43 | 9.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.0757 | μmol/L | 38.6116 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.211 | 213937.6046 | 276525.8157 | 62.0402 | 75.7 | #N/A
19805 | 2021-02-18 15:44 | 9.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.7526 | μmol/L | 38.6548 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.221 | 214041.9058 | 276535.8437 | 62.0402 | 75.7 | #N/A
19815 | 2021-02-18 15:44 | 10.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.8922 | μmol/L | 38.7165 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.182 | 213627.3481 | 276517.8494 | 62.0402 | 75.7 | #N/A
19825 | 2021-02-18 15:44 | 10.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.0656 | μmol/L | 38.7042 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.172 | 213529.6545 | 276507.6805 | 62.0402 | 75.7 | #N/A
19835 | 2021-02-18 15:45 | 10.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.783 | μmol/L | 38.7782 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.165 | 213501.7901 | 276510.4432 | 62.0402 | 75.7 | #N/A
19845 | 2021-02-18 15:45 | 11.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.9065 | μmol/L | 38.8522 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.122 | 213039.1814 | 276509.2632 | 62.0402 | 75.7 | #N/A
19855 | 2021-02-18 15:45 | 11.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.5082 | μmol/L | 38.7967 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.093 | 212740.5774 | 276491.7448 | 62.0402 | 75.7 | #N/A
19865 | 2021-02-18 15:46 | 11.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.8515 | μmol/L | 38.9509 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.084 | 212637.2744 | 276494.7756 | 62.0402 | 75.7 | #N/A
19875 | 2021-02-18 15:46 | 12.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.92 | μmol/L | 38.9324 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.086 | 212686.0729 | 276479.0791 | 62.0402 | 75.7 | #N/A
19885 | 2021-02-18 15:46 | 12.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.6824 | μmol/L | 38.9324 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.107 | 212907.0455 | 276478.6874 | 62.0402 | 75.7 | #N/A
19895 | 2021-02-18 15:47 | 12.6709 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.8509 | μmol/L | 38.9694 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.076 | 212570.3475 | 276474.67 | 62.0402 | 75.7 | #N/A
19905 | 2021-02-18 15:47 | 13.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.4418 | μmol/L | 39.062 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.071 | 212520.3696 | 276469.2241 | 62.0402 | 75.7 | #N/A
19915 | 2021-02-18 15:47 | 13.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.1062 | μmol/L | 39.0867 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.09 | 212773.2433 | 276460.2013 | 62.0402 | 75.7 | #N/A
19925 | 2021-02-18 15:48 | 13.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.9297 | μmol/L | 39.0928 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.103 | 212889.3656 | 276460.2357 | 62.0402 | 75.7 | #N/A
19935 | 2021-02-18 15:48 | 14.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.7509 | μmol/L | 39.1175 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.109 | 212960.3186 | 276451.4497 | 62.0402 | 75.7 | #N/A
19945 | 2021-02-18 15:48 | 14.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.7789 | μmol/L | 39.1484 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.093 | 212831.6446 | 276444.6361 | 62.0402 | 75.7 | #N/A
19955 | 2021-02-18 15:49 | 14.6709 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.7103 | μmol/L | 39.1669 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.091 | 212827.884 | 276441.3353 | 62.0402 | 75.7 | #N/A
19965 | 2021-02-18 15:49 | 15.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.1527 | μmol/L | 39.2533 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.102 | 212952.6598 | 276440.6143 | 62.0402 | 75.7 | #N/A
19975 | 2021-02-18 15:49 | 15.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.2979 | μmol/L | 39.2101 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.108 | 213015.0603 | 276439.0202 | 62.0402 | 75.7 | #N/A
19985 | 2021-02-18 15:50 | 15.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 127.8308 | μmol/L | 39.2779 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.12 | 213163.4211 | 276425.6616 | 62.0402 | 75.7 | #N/A
19995 | 2021-02-18 15:50 | 16.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 127.5652 | μmol/L | 39.3273 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.123 | 213196.1707 | 276440.3154 | 62.0402 | 75.7 | #N/A
20005 | 2021-02-18 15:50 | 16.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 127.0564 | μmol/L | 39.3952 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.138 | 213344.9367 | 276432.4323 | 62.0402 | 75.7 | #N/A
20015 | 2021-02-18 15:51 | 16.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.9118 | μmol/L | 39.3705 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.162 | 213598.2858 | 276428.8869 | 62.0402 | 75.7 | #N/A
20025 | 2021-02-18 15:51 | 17.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.9109 | μmol/L | 39.3458 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.173 | 213746.0839 | 276436.8781 | 62.0402 | 75.7 | #N/A
20035 | 2021-02-18 15:51 | 17.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.2973 | μmol/L | 39.4692 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.174 | 213755.8751 | 276433.3385 | 62.0402 | 75.7 | #N/A
20045 | 2021-02-18 15:52 | 17.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.2611 | μmol/L | 39.4384 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.191 | 213963.099 | 276421.4054 | 62.0402 | 75.7 | #N/A
20055 | 2021-02-18 15:52 | 18.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.0501 | μmol/L | 39.4569 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.202 | 214074.1923 | 276430.7635 | 62.0402 | 75.7 | #N/A
20065 | 2021-02-18 15:52 | 18.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.3623 | μmol/L | 39.4199 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.19 | 213965.6978 | 276415.2996 | 62.0402 | 75.7 | #N/A
20075 | 2021-02-18 15:53 | 18.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.5986 | μmol/L | 39.4075 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.174 | 213794.6193 | 276402.5699 | 62.0402 | 75.7 | #N/A
20085 | 2021-02-18 15:53 | 19.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.9193 | μmol/L | 39.5309 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.181 | 213881.8653 | 276422.9826 | 62.0402 | 75.7 | #N/A
20095 | 2021-02-18 15:53 | 19.3375 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.7796 | μmol/L | 39.5124 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.202 | 214126.3167 | 276405.0653 | 62.0402 | 75.7 | #N/A
20105 | 2021-02-18 15:54 | 19.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.6429 | μmol/L | 39.5001 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.22 | 214292.8903 | 276399.4536 | 62.0402 | 75.7 | #N/A
20115 | 2021-02-18 15:54 | 20.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.054 | μmol/L | 39.5988 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.23 | 214417.3428 | 276410.8738 | 62.0402 | 75.7 | #N/A
20125 | 2021-02-18 15:54 | 20.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.4656 | μmol/L | 39.5186 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.228 | 214410.1072 | 276397.0672 | 62.0402 | 75.7 | #N/A
20135 | 2021-02-18 15:55 | 20.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.471 | μmol/L | 39.5556 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.211 | 214209.7128 | 276388.5251 | 62.0402 | 75.7 | #N/A
20145 | 2021-02-18 15:55 | 21.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.684 | μmol/L | 39.5433 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.197 | 214058.1469 | 276390.754 | 62.0402 | 75.7 | #N/A
20155 | 2021-02-18 15:55 | 21.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.7031 | μmol/L | 39.5371 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.198 | 214065.6452 | 276395.6963 | 62.0402 | 75.7 | #N/A
20165 | 2021-02-18 15:56 | 21.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.878 | μmol/L | 39.4877 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.204 | 214154.7466 | 276392.7243 | 62.0402 | 75.7 | #N/A
20175 | 2021-02-18 15:56 | 22.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.165 | μmol/L | 39.6297 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.206 | 214156.3737 | 276400.4677 | 62.0402 | 75.7 | #N/A
20185 | 2021-02-18 15:56 | 22.3367 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.9875 | μmol/L | 39.4877 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.194 | 214051.2825 | 276384.8358 | 62.0402 | 75.7 | #N/A
20195 | 2021-02-18 15:57 | 22.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.6043 | μmol/L | 39.6112 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.174 | 213798.927 | 276398.3219 | 62.0402 | 75.7 | #N/A
20205 | 2021-02-18 15:57 | 23.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.2403 | μmol/L | 39.5371 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.149 | 213531.4863 | 276386.8834 | 62.0402 | 75.7 | #N/A
20215 | 2021-02-18 15:57 | 23.3375 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.9547 | μmol/L | 39.6112 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.142 | 213488.424 | 276385.3205 | 62.0402 | 75.7 | #N/A
20225 | 2021-02-18 15:58 | 23.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.2034 | μmol/L | 39.5309 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.156 | 213657.1348 | 276394.9706 | 62.0402 | 75.7 | #N/A
20235 | 2021-02-18 15:58 | 24.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.6974 | μmol/L | 39.5988 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.171 | 213771.1597 | 276387.2351 | 62.0402 | 75.7 | #N/A
20245 | 2021-02-18 15:58 | 24.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.7167 | μmol/L | 39.568 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.183 | 213932.8651 | 276381.0852 | 62.0402 | 75.7 | #N/A
20255 | 2021-02-18 15:59 | 24.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.2957 | μmol/L | 39.6297 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.194 | 214030.5754 | 276385.9204 | 62.0402 | 75.7 | #N/A
20265 | 2021-02-18 15:59 | 25.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.8753 | μmol/L | 39.6914 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.205 | 214172.7057 | 276369.4468 | 62.0402 | 75.7 | #N/A
20275 | 2021-02-18 15:59 | 25.3375 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.2036 | μmol/L | 39.5926 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.219 | 214302.0825 | 276379.9946 | 62.0402 | 75.7 | #N/A
20285 | 2021-02-18 16:00 | 25.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.4656 | μmol/L | 39.5433 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.217 | 214242.0172 | 276373.2561 | 62.0402 | 75.7 | #N/A
20295 | 2021-02-18 16:00 | 26.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.2908 | μmol/L | 39.5926 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.211 | 214215.8433 | 276383.8639 | 62.0402 | 75.7 | #N/A
20305 | 2021-02-18 16:00 | 26.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.3884 | μmol/L | 39.7469 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.225 | 214379.8193 | 276383.7274 | 62.0402 | 75.7 | #N/A
20315 | 2021-02-18 16:01 | 26.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.981 | μmol/L | 39.6605 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.21 | 214219.7731 | 276375.0745 | 62.0402 | 75.7 | #N/A
20325 | 2021-02-18 16:01 | 27.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.3032 | μmol/L | 39.5988 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.208 | 214205.5814 | 276367.7649 | 62.0402 | 75.7 | #N/A
20335 | 2021-02-18 16:01 | 27.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.837 | μmol/L | 39.7037 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.203 | 214139.1846 | 276364.8008 | 62.0402 | 75.7 | #N/A
20345 | 2021-02-18 16:02 | 27.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.0328 | μmol/L | 39.6544 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.208 | 214189.5293 | 276380.0707 | 62.0402 | 75.7 | #N/A
20355 | 2021-02-18 16:02 | 28.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.3753 | μmol/L | 39.5865 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.206 | 214172.5757 | 276373.213 | 62.0402 | 75.7 | #N/A
20365 | 2021-02-18 16:02 | 28.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.2536 | μmol/L | 39.6358 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.196 | 214050.6695 | 276375.4321 | 62.0402 | 75.7 | #N/A
20375 | 2021-02-18 16:03 | 28.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.8902 | μmol/L | 39.7037 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.199 | 214087.6051 | 276367.6217 | 62.0402 | 75.7 | #N/A
20385 | 2021-02-18 16:03 | 29.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.7802 | μmol/L | 39.6976 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.211 | 214222.443 | 276385.6881 | 62.0402 | 75.7 | #N/A
20395 | 2021-02-18 16:03 | 29.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.0359 | μmol/L | 39.6358 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.216 | 214275.1701 | 276370.3661 | 62.0402 | 75.7 | #N/A
20405 | 2021-02-18 16:04 | 29.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.7975 | μmol/L | 39.6605 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.226 | 214394.9844 | 276371.2861 | 62.0402 | 75.7 | #N/A
20415 | 2021-02-18 16:04 | 30.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.2528 | μmol/L | 39.7346 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 22.244 | 214571.9199 | 276377.3644 | 62.0402 | 75.7 | #N/A
20425 | 2021-02-18 16:04 | 30.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.8012 | μmol/L | 39.6173 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.245 | 214590.9421 | 276370.4249 | 62.0402 | 75.7 | #N/A
20435 | 2021-02-18 16:05 | 30.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.3894 | μmol/L | 39.7222 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.236 | 214488.7532 | 276357.0224 | 62.0402 | 75.7 | #N/A
20445 | 2021-02-18 16:05 | 31.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.8637 | μmol/L | 39.6112 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.242 | 214550.2386 | 276364.3466 | 62.0402 | 75.7 | #N/A
20455 | 2021-02-18 16:05 | 31.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.6107 | μmol/L | 39.6544 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.246 | 214615.6409 | 276362.3287 | 62.0402 | 75.7 | #N/A
20465 | 2021-02-18 16:06 | 31.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.7501 | μmol/L | 39.5988 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.258 | 214687.4501 | 276361.076 | 62.0402 | 75.7 | #N/A
20475 | 2021-02-18 16:06 | 32.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.4897 | μmol/L | 39.6235 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.271 | 214849.239 | 276373.6344 | 62.0402 | 75.7 | #N/A
20485 | 2021-02-18 16:06 | 32.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.0009 | μmol/L | 39.7222 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.272 | 214889.8525 | 276371.5196 | 62.0402 | 75.7 | #N/A
20495 | 2021-02-18 16:07 | 32.6708 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.0881 | μmol/L | 39.6976 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.275 | 214892.0223 | 276362.7222 | 62.0402 | 75.7 | #N/A
20505 | 2021-02-18 16:07 | 33.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.3606 | μmol/L | 39.5988 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.294 | 215082.9708 | 276367.7512 | 62.0402 | 75.7 | #N/A
20515 | 2021-02-18 16:07 | 33.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.4259 | μmol/L | 39.5741 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.299 | 215153.1864 | 276370.7134 | 62.0402 | 75.7 | #N/A
20525 | 2021-02-18 16:08 | 33.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.2445 | μmol/L | 39.605 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.302 | 215154.4719 | 276365.0399 | 62.0402 | 75.7 | #N/A
20535 | 2021-02-18 16:08 | 34.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.2286 | μmol/L | 39.5926 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.309 | 215235.8392 | 276355.2584 | 62.0402 | 75.7 | #N/A
20545 | 2021-02-18 16:08 | 34.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.7711 | μmol/L | 39.6852 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.31 | 215236.4533 | 276360.1001 | 62.0402 | 75.7 | #N/A
20555 | 2021-02-18 16:09 | 34.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.3581 | μmol/L | 39.5926 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.297 | 215081.6098 | 276360.7367 | 62.0402 | 75.7 | #N/A
20565 | 2021-02-18 16:09 | 35.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.5963 | μmol/L | 39.568 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.286 | 214959.3928 | 276360.5563 | 62.0402 | 75.7 | #N/A
20575 | 2021-02-18 16:09 | 35.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.6205 | μmol/L | 39.5741 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.281 | 214961.5127 | 276362.7846 | 62.0402 | 75.7 | #N/A
20585 | 2021-02-18 16:10 | 35.6708 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.9891 | μmol/L | 39.5741 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.247 | 214564.8499 | 276373.1688 | 62.0402 | 75.7 | #N/A
20595 | 2021-02-18 16:10 | 36.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.512 | μmol/L | 39.5248 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.221 | 214314.989 | 276369.6758 | 62.0402 | 75.7 | #N/A
20605 | 2021-02-18 16:10 | 36.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.911 | μmol/L | 39.5124 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.19 | 213953.281 | 276364.3352 | 62.0402 | 75.7 | #N/A
20615 | 2021-02-18 16:11 | 36.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.7933 | μmol/L | 39.568 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.176 | 213820.6232 | 276376.2688 | 62.0402 | 75.7 | #N/A
20625 | 2021-02-18 16:11 | 37.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.2725 | μmol/L | 39.4631 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.179 | 213823.3394 | 276373.0805 | 62.0402 | 75.7 | #N/A
20635 | 2021-02-18 16:11 | 37.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.9028 | μmol/L | 39.5186 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.188 | 213901.2592 | 276378.4447 | 62.0402 | 75.7 | #N/A
20645 | 2021-02-18 16:12 | 37.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.5993 | μmol/L | 39.5248 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.213 | 214207.769 | 276373.0627 | 62.0402 | 75.7 | #N/A
20655 | 2021-02-18 16:12 | 38.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.6753 | μmol/L | 39.4507 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.239 | 214508.3944 | 276387.3087 | 62.0402 | 75.7 | #N/A
20665 | 2021-02-18 16:12 | 38.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.441 | μmol/L | 39.4877 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.244 | 214530.9515 | 276379.1269 | 62.0402 | 75.7 | #N/A
20675 | 2021-02-18 16:13 | 38.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.8184 | μmol/L | 39.5556 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.271 | 214782.9996 | 276373.6493 | 62.0402 | 75.7 | #N/A
20685 | 2021-02-18 16:13 | 39.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.0736 | μmol/L | 39.4445 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.297 | 215089.911 | 276389.8985 | 62.0402 | 75.7 | #N/A
20695 | 2021-02-18 16:13 | 39.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.3942 | μmol/L | 39.4322 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.273 | 214843.5013 | 276381.795 | 62.0402 | 75.7 | #N/A
20705 | 2021-02-18 16:14 | 39.6708 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.3157 | μmol/L | 39.5001 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.25 | 214591.9662 | 276391.6843 | 62.0402 | 75.7 | #N/A
20715 | 2021-02-18 16:14 | 40.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.1281 | μmol/L | 39.5186 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.259 | 214666.7412 | 276385.9833 | 62.0402 | 75.7 | #N/A
20725 | 2021-02-18 16:14 | 40.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.5144 | μmol/L | 39.4569 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.251 | 214578.5129 | 276404.888 | 62.0402 | 75.7 | #N/A
20735 | 2021-02-18 16:15 | 40.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.1656 | μmol/L | 39.352 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.238 | 214477.2085 | 276405.4154 | 62.0402 | 75.7 | #N/A
20745 | 2021-02-18 16:15 | 41.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.7383 | μmol/L | 39.4692 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.225 | 214335.1514 | 276400.2561 | 62.0402 | 75.7 | #N/A
20755 | 2021-02-18 16:15 | 41.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.6559 | μmol/L | 39.389 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.177 | 213803.8603 | 276403.929 | 62.0402 | 75.7 | #N/A
20765 | 2021-02-18 16:16 | 41.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.9963 | μmol/L | 39.3397 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.168 | 213675.0047 | 276400.7008 | 62.0402 | 75.7 | #N/A
20775 | 2021-02-18 16:16 | 42.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.8574 | μmol/L | 39.3952 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.156 | 213540.7834 | 276400.0716 | 62.0402 | 75.7 | #N/A
20785 | 2021-02-18 16:16 | 42.3375 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 127.2327 | μmol/L | 39.3705 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.133 | 213313.0573 | 276392.9131 | 62.0402 | 75.7 | #N/A
20795 | 2021-02-18 16:17 | 42.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 127.124 | μmol/L | 39.352 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.151 | 213502.778 | 276389.515 | 62.0402 | 75.7 | #N/A
20805 | 2021-02-18 16:17 | 43.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.6919 | μmol/L | 39.3952 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.171 | 213694.2445 | 276388.7751 | 62.0402 | 75.7 | #N/A
20815 | 2021-02-18 16:17 | 43.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.1698 | μmol/L | 39.4075 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.213 | 214163.0877 | 276382.1974 | 62.0402 | 75.7 | #N/A
20825 | 2021-02-18 16:18 | 43.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 126.1698 | μmol/L | 39.315 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.254 | 214585.4812 | 276383.2624 | 62.0402 | 75.7 | #N/A
20835 | 2021-02-18 16:18 | 44.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.6417 | μmol/L | 39.4014 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.264 | 214688.9135 | 276387.7604 | 62.0402 | 75.7 | #N/A
20845 | 2021-02-18 16:18 | 44.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 125.4261 | μmol/L | 39.3828 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.292 | 214983.0231 | 276385.4621 | 62.0402 | 75.7 | #N/A
20855 | 2021-02-18 16:19 | 44.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.8052 | μmol/L | 39.4507 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.319 | 215241.5967 | 276384.0953 | 62.0402 | 75.7 | #N/A
20865 | 2021-02-18 16:19 | 45.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.732 | μmol/L | 39.4322 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.334 | 215438.2524 | 276398.776 | 62.0402 | 75.7 | #N/A
20875 | 2021-02-18 16:19 | 45.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.2679 | μmol/L | 39.4569 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.366 | 215776.094 | 276402.5908 | 62.0402 | 75.7 | #N/A
20885 | 2021-02-18 16:20 | 45.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.6631 | μmol/L | 39.3273 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.387 | 216014.0941 | 276401.2882 | 62.0402 | 75.7 | #N/A
20895 | 2021-02-18 16:20 | 46.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.4444 | μmol/L | 39.3211 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.41 | 216242.6109 | 276404.5589 | 62.0402 | 75.7 | #N/A
20905 | 2021-02-18 16:20 | 46.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.2 | μmol/L | 39.352 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.419 | 216354.1751 | 276408.4032 | 62.0402 | 75.7 | #N/A
20915 | 2021-02-18 16:21 | 46.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.2347 | μmol/L | 39.3335 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.424 | 216434.4174 | 276434.5157 | 62.0402 | 75.7 | #N/A
20925 | 2021-02-18 16:21 | 47.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.8754 | μmol/L | 39.3952 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.43 | 216509.2549 | 276427.2299 | 62.0402 | 75.7 | #N/A
20935 | 2021-02-18 16:21 | 47.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.0977 | μmol/L | 39.3397 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.434 | 216530.6431 | 276429.9507 | 62.0402 | 75.7 | #N/A
20945 | 2021-02-18 16:22 | 47.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 124.0575 | μmol/L | 39.3458 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.435 | 216558.0446 | 276441.8219 | 62.0402 | 75.7 | #N/A
20955 | 2021-02-18 16:22 | 48.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.6183 | μmol/L | 39.4199 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.443 | 216655.4656 | 276433.4003 | 62.0402 | 75.7 | #N/A
20965 | 2021-02-18 16:22 | 48.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.3214 | μmol/L | 39.4754 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.446 | 216693.8786 | 276424.1803 | 62.0402 | 75.7 | #N/A
20975 | 2021-02-18 16:23 | 48.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.4445 | μmol/L | 39.4384 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.451 | 216742.7835 | 276446.7137 | 62.0402 | 75.7 | #N/A
20985 | 2021-02-18 16:23 | 49.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.8351 | μmol/L | 39.3767 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.442 | 216635.8811 | 276441.8865 | 62.0402 | 75.7 | #N/A
20995 | 2021-02-18 16:23 | 49.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.7334 | μmol/L | 39.4384 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.424 | 216475.4588 | 276441.7059 | 62.0402 | 75.7 | #N/A
21005 | 2021-02-18 16:24 | 49.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.6959 | μmol/L | 39.4014 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.444 | 216671.9276 | 276445.9866 | 62.0402 | 75.7 | #N/A
21015 | 2021-02-18 16:24 | 50.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.1853 | μmol/L | 39.4816 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.456 | 216815.9275 | 276437.2642 | 62.0402 | 75.7 | #N/A
21025 | 2021-02-18 16:24 | 50.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.0442 | μmol/L | 39.4754 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.472 | 216989.3113 | 276444.181 | 62.0402 | 75.7 | #N/A
21035 | 2021-02-18 16:25 | 50.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.1694 | μmol/L | 39.4692 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.463 | 216921.2132 | 276456.0845 | 62.0402 | 75.7 | #N/A
21045 | 2021-02-18 16:25 | 51.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 122.8755 | μmol/L | 39.5309 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.463 | 216889.3776 | 276447.8353 | 62.0402 | 75.7 | #N/A
21055 | 2021-02-18 16:25 | 51.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.1179 | μmol/L | 39.5248 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.443 | 216702.4273 | 276455.0167 | 62.0402 | 75.7 | #N/A
21065 | 2021-02-18 16:26 | 51.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.8299 | μmol/L | 39.4137 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.426 | 216528.9583 | 276452.0628 | 62.0402 | 75.7 | #N/A
21075 | 2021-02-18 16:26 | 52.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.1204 | μmol/L | 39.5309 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.44 | 216693.4872 | 276459.4533 | 62.0402 | 75.7 | #N/A
21085 | 2021-02-18 16:26 | 52.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.5996 | μmol/L | 39.426 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.442 | 216710.2382 | 276454.3678 | 62.0402 | 75.7 | #N/A
21095 | 2021-02-18 16:27 | 52.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 123.0696 | μmol/L | 39.5371 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.442 | 216745.7858 | 276456.9194 | 62.0402 | 75.7 | #N/A
21105 | 2021-02-18 16:27 | 53.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 122.945 | μmol/L | 39.5186 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.462 | 216926.8255 | 276450.5967 | 62.0402 | 75.7 | #N/A
21115 | 2021-02-18 16:27 | 53.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 122.7329 | μmol/L | 39.4939 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.493 | 217288.5514 | 276442.3718 | 62.0402 | 75.7 | #N/A
21125 | 2021-02-18 16:28 | 53.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 121.8864 | μmol/L | 39.5988 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.526 | 217612.6876 | 276447.4733 | 62.0402 | 75.7 | #N/A
21135 | 2021-02-18 16:28 | 54.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 121.8615 | μmol/L | 39.5618 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.545 | 217845.8497 | 276450.6189 | 62.0402 | 75.7 | #N/A
21145 | 2021-02-18 16:28 | 54.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 121.762 | μmol/L | 39.5495 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.56 | 218031.5539 | 276452.3619 | 62.0402 | 75.7 | #N/A
21155 | 2021-02-18 16:29 | 54.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 121.5847 | μmol/L | 39.5803 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.563 | 218076.4773 | 276454.9534 | 62.0402 | 75.7 | #N/A
21165 | 2021-02-18 16:29 | 55.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 121.4763 | μmol/L | 39.5988 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.565 | 218122.9847 | 276444.6192 | 62.0402 | 75.7 | #N/A
21175 | 2021-02-18 16:29 | 55.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 121.4612 | μmol/L | 39.5865 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.572 | 218179.9211 | 276457.9531 | 62.0402 | 75.7 | #N/A
21185 | 2021-02-18 16:30 | 55.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.645 | μmol/L | 39.6976 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.6 | 218465.9061 | 276466.5227 | 62.0402 | 75.7 | #N/A
21195 | 2021-02-18 16:30 | 56.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.4686 | μmol/L | 39.7284 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.603 | 218500.2234 | 276452.2252 | 62.0402 | 75.7 | #N/A
21205 | 2021-02-18 16:30 | 56.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.174 | μmol/L | 39.7778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.609 | 218592.4361 | 276458.8505 | 62.0402 | 75.7 | #N/A
21215 | 2021-02-18 16:31 | 56.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.3149 | μmol/L | 39.7346 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.615 | 218652.2264 | 276475.0452 | 62.0402 | 75.7 | #N/A
21225 | 2021-02-18 16:31 | 57.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.259 | μmol/L | 39.7531 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.612 | 218661.5907 | 276471.5799 | 62.0402 | 75.7 | #N/A
21235 | 2021-02-18 16:31 | 57.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.4227 | μmol/L | 39.7161 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.613 | 218678.192 | 276475.2492 | 62.0402 | 75.7 | #N/A
21245 | 2021-02-18 16:32 | 57.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.311 | μmol/L | 39.784 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.593 | 218473.3218 | 276475.1994 | 62.0402 | 75.7 | #N/A
21255 | 2021-02-18 16:32 | 58.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.8029 | μmol/L | 39.6729 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.596 | 218468.0603 | 276475.1277 | 62.0402 | 75.7 | #N/A
21265 | 2021-02-18 16:32 | 58.337 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.9162 | μmol/L | 39.6976 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.574 | 218202.6188 | 276476.2544 | 62.0402 | 75.7 | #N/A
21275 | 2021-02-18 16:33 | 58.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.5648 | μmol/L | 39.7963 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.563 | 218149.3438 | 276482.9935 | 62.0402 | 75.7 | #N/A
21285 | 2021-02-18 16:33 | 59.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.4876 | μmol/L | 39.7531 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.59 | 218445.5142 | 276479.2244 | 62.0402 | 75.7 | #N/A
21295 | 2021-02-18 16:33 | 59.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.9128 | μmol/L | 39.8333 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.609 | 218685.4012 | 276472.3372 | 62.0402 | 75.7 | #N/A
21305 | 2021-02-18 16:34 | 59.6704 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.002 | μmol/L | 39.7901 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.62 | 218794.7109 | 276473.3602 | 62.0402 | 75.7 | #N/A
21315 | 2021-02-18 16:34 | 60.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.0497 | μmol/L | 39.7778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.621 | 218791.947 | 276467.545 | 62.0402 | 75.7 | #N/A
21325 | 2021-02-18 16:34 | 60.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.1677 | μmol/L | 39.7593 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.618 | 218800.3519 | 276470.5508 | 62.0402 | 75.7 | #N/A
21335 | 2021-02-18 16:35 | 60.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.587 | μmol/L | 39.7099 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.6 | 218581.3848 | 276459.9381 | 62.0402 | 75.7 | #N/A
21345 | 2021-02-18 16:35 | 61.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.7529 | μmol/L | 39.8827 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.602 | 218582.7508 | 276481.9578 | 62.0402 | 75.7 | #N/A
21355 | 2021-02-18 16:35 | 61.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.1077 | μmol/L | 39.7963 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.607 | 218672.1319 | 276470.3851 | 62.0402 | 75.7 | #N/A
21365 | 2021-02-18 16:36 | 61.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.1263 | μmol/L | 39.821 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.594 | 218543.9762 | 276467.1408 | 62.0402 | 75.7 | #N/A
21375 | 2021-02-18 16:36 | 62.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.8627 | μmol/L | 39.8704 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.597 | 218552.1439 | 276463.9283 | 62.0402 | 75.7 | #N/A
21385 | 2021-02-18 16:36 | 62.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.618 | μmol/L | 39.9136 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.601 | 218640.3009 | 276470.5282 | 62.0402 | 75.7 | #N/A
21395 | 2021-02-18 16:37 | 62.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5289 | μmol/L | 39.9259 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.604 | 218656.2542 | 276463.9292 | 62.0402 | 75.7 | #N/A
21405 | 2021-02-18 16:37 | 63.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5055 | μmol/L | 39.9506 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.595 | 218555.6673 | 276459.2312 | 62.0402 | 75.7 | #N/A
21415 | 2021-02-18 16:37 | 63.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.6378 | μmol/L | 39.9444 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.585 | 218458.267 | 276463.9161 | 62.0402 | 75.7 | #N/A
21425 | 2021-02-18 16:38 | 63.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5992 | μmol/L | 39.9197 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.6 | 218620.7615 | 276471.6244 | 62.0402 | 75.7 | #N/A
21435 | 2021-02-18 16:38 | 64.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.3134 | μmol/L | 39.9629 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.608 | 218660.3303 | 276465.7519 | 62.0402 | 75.7 | #N/A
21445 | 2021-02-18 16:38 | 64.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.4239 | μmol/L | 39.9197 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.617 | 218804.4247 | 276476.9546 | 62.0402 | 75.7 | #N/A
21455 | 2021-02-18 16:39 | 64.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.2152 | μmol/L | 39.9444 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.626 | 218875.2846 | 276474.5356 | 62.0402 | 75.7 | #N/A
21465 | 2021-02-18 16:39 | 65.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.306 | μmol/L | 39.9382 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.62 | 218819.2874 | 276479.9964 | 62.0402 | 75.7 | #N/A
21475 | 2021-02-18 16:39 | 65.3375 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.2405 | μmol/L | 39.9259 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.632 | 218952.5165 | 276472.796 | 62.0402 | 75.7 | #N/A
21485 | 2021-02-18 16:40 | 65.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.3319 | μmol/L | 39.8889 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.64 | 219049.453 | 276468.5304 | 62.0402 | 75.7 | #N/A
21495 | 2021-02-18 16:40 | 66.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.0321 | μmol/L | 39.9506 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.641 | 219062.767 | 276477.8469 | 62.0402 | 75.7 | #N/A
21505 | 2021-02-18 16:40 | 66.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.1479 | μmol/L | 39.9259 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.641 | 219056.7136 | 276463.8242 | 62.0402 | 75.7 | #N/A
21515 | 2021-02-18 16:41 | 66.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.8116 | μmol/L | 39.8086 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.63 | 218947.4015 | 276462.8146 | 62.0402 | 75.7 | #N/A
21525 | 2021-02-18 16:41 | 67.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.4742 | μmol/L | 39.8827 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.629 | 218955.2158 | 276473.7586 | 62.0402 | 75.7 | #N/A
21535 | 2021-02-18 16:41 | 67.3371 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.7223 | μmol/L | 39.8518 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.619 | 218837.8304 | 276479.8259 | 62.0402 | 75.7 | #N/A
21545 | 2021-02-18 16:42 | 67.6707 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.4323 | μmol/L | 39.9136 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.619 | 218802.2682 | 276477.0309 | 62.0402 | 75.7 | #N/A
21555 | 2021-02-18 16:42 | 68.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5438 | μmol/L | 39.9074 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.611 | 218712.6988 | 276471.2927 | 62.0402 | 75.7 | #N/A
21565 | 2021-02-18 16:42 | 68.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.8547 | μmol/L | 39.8457 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.609 | 218695.5582 | 276471.0166 | 62.0402 | 75.7 | #N/A
21575 | 2021-02-18 16:43 | 68.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.6992 | μmol/L | 39.8765 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.61 | 218705.6636 | 276473.6445 | 62.0402 | 75.7 | #N/A
21585 | 2021-02-18 16:43 | 69.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.9461 | μmol/L | 39.8086 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.617 | 218785.8781 | 276483.5351 | 62.0402 | 75.7 | #N/A
21595 | 2021-02-18 16:43 | 69.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.2358 | μmol/L | 39.9444 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.624 | 218845.7155 | 276481.2522 | 62.0402 | 75.7 | #N/A
21605 | 2021-02-18 16:44 | 69.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.6524 | μmol/L | 39.8272 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.637 | 219008.3354 | 276465.961 | 62.0402 | 75.7 | #N/A
21615 | 2021-02-18 16:44 | 70.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.8156 | μmol/L | 39.821 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.624 | 218870.6515 | 276473.1773 | 62.0402 | 75.7 | #N/A
21625 | 2021-02-18 16:44 | 70.3373 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.3673 | μmol/L | 39.8704 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.645 | 219107.9705 | 276478.3346 | 62.0402 | 75.7 | #N/A
21635 | 2021-02-18 16:45 | 70.6701 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.3859 | μmol/L | 39.8642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.646 | 219102.5668 | 276474.6903 | 62.0402 | 75.7 | #N/A
21645 | 2021-02-18 16:45 | 71.0039 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.7931 | μmol/L | 39.784 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.643 | 219075.8919 | 276474.0759 | 62.0402 | 75.7 | #N/A
21655 | 2021-02-18 16:45 | 71.3375 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.1339 | μmol/L | 39.9136 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.648 | 219091.5601 | 276472.1683 | 62.0402 | 75.7 | #N/A
21665 | 2021-02-18 16:46 | 71.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5845 | μmol/L | 39.8086 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.652 | 219168.5654 | 276486.818 | 62.0402 | 75.7 | #N/A
21675 | 2021-02-18 16:46 | 72.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.6218 | μmol/L | 39.7654 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.668 | 219323.9489 | 276475.4855 | 62.0402 | 75.7 | #N/A
21685 | 2021-02-18 16:46 | 72.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.0922 | μmol/L | 39.8457 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.683 | 219506.0456 | 276463.8969 | 62.0402 | 75.7 | #N/A
21695 | 2021-02-18 16:47 | 72.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.1979 | μmol/L | 39.7593 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.712 | 219792.934 | 276476.1445 | 62.0402 | 75.7 | #N/A
21705 | 2021-02-18 16:47 | 73.0036 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.0315 | μmol/L | 39.784 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.717 | 219852.4059 | 276467.6308 | 62.0402 | 75.7 | #N/A
21715 | 2021-02-18 16:47 | 73.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 118.8609 | μmol/L | 39.8272 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.714 | 219807.9655 | 276471.297 | 62.0402 | 75.7 | #N/A
21725 | 2021-02-18 16:48 | 73.6709 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 118.7732 | μmol/L | 39.8086 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.731 | 219974.0887 | 276473.4511 | 62.0402 | 75.7 | #N/A
21735 | 2021-02-18 16:48 | 74.0041 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.4671 | μmol/L | 39.7037 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.711 | 219787.5697 | 276467.0952 | 62.0402 | 75.7 | #N/A
21745 | 2021-02-18 16:48 | 74.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.0907 | μmol/L | 39.8086 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.7 | 219647.3889 | 276472.6308 | 62.0402 | 75.7 | #N/A
21755 | 2021-02-18 16:49 | 74.6706 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.2553 | μmol/L | 39.7778 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.698 | 219630.5677 | 276457.6946 | 62.0402 | 75.7 | #N/A
21765 | 2021-02-18 16:49 | 75.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.0497 | μmol/L | 39.8086 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.704 | 219685.0779 | 276464.3154 | 62.0402 | 75.7 | #N/A
21775 | 2021-02-18 16:49 | 75.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5558 | μmol/L | 39.784 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.666 | 219277.4578 | 276470.1816 | 62.0402 | 75.7 | #N/A
21785 | 2021-02-18 16:50 | 75.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.0472 | μmol/L | 39.7099 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.652 | 219146.8689 | 276474.0282 | 62.0402 | 75.7 | #N/A
21795 | 2021-02-18 16:50 | 76.0042 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.1783 | μmol/L | 39.858 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.669 | 219318.7626 | 276471.4534 | 62.0402 | 75.7 | #N/A
21805 | 2021-02-18 16:50 | 76.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 118.9256 | μmol/L | 39.8704 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.688 | 219519.0581 | 276458.831 | 62.0402 | 75.7 | #N/A
21815 | 2021-02-18 16:51 | 76.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5701 | μmol/L | 39.7037 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.701 | 219640.8025 | 276468.2864 | 62.0402 | 75.7 | #N/A
21825 | 2021-02-18 16:51 | 77.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.8537 | μmol/L | 39.6297 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.707 | 219727.1567 | 276475.6602 | 62.0402 | 75.7 | #N/A
21835 | 2021-02-18 16:51 | 77.3375 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.564 | μmol/L | 39.7161 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.696 | 219577.4959 | 276464.4598 | 62.0402 | 75.7 | #N/A
21845 | 2021-02-18 16:52 | 77.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.2431 | μmol/L | 39.7408 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.716 | 219813.9007 | 276461.2161 | 62.0402 | 75.7 | #N/A
21855 | 2021-02-18 16:52 | 78.0035 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.5509 | μmol/L | 39.6482 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.728 | 219942.605 | 276458.8744 | 62.0402 | 75.7 | #N/A
21865 | 2021-02-18 16:52 | 78.3374 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.3927 | μmol/L | 39.6667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.735 | 219989.817 | 276451.8402 | 62.0402 | 75.7 | #N/A
21875 | 2021-02-18 16:53 | 78.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 119.4605 | μmol/L | 39.6544 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.734 | 219980.4487 | 276446.8929 | 62.0402 | 75.7 | #N/A
21885 | 2021-02-18 16:53 | 79.0037 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.0884 | μmol/L | 39.5926 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.701 | 219627.4697 | 276454.4023 | 62.0402 | 75.7 | #N/A
21895 | 2021-02-18 16:53 | 79.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.0735 | μmol/L | 39.6667 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.669 | 219285.5221 | 276451.7608 | 62.0402 | 75.7 | #N/A
21905 | 2021-02-18 16:54 | 79.6705 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.4172 | μmol/L | 39.642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.647 | 219005.4383 | 276445.7468 | 62.0402 | 75.7 | #N/A
21915 | 2021-02-18 16:54 | 80.0034 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.2823 | μmol/L | 39.642 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.66 | 219156.3242 | 276442.5082 | 62.0402 | 75.7 | #N/A
21925 | 2021-02-18 16:54 | 80.3372 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.6025 | μmol/L | 39.5803 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.657 | 219099.1312 | 276450.1971 | 62.0402 | 75.7 | #N/A
21935 | 2021-02-18 16:55 | 80.6703 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.6324 | μmol/L | 39.605 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.643 | 218961.622 | 276453.5052 | 62.0402 | 75.7 | #N/A
21945 | 2021-02-18 16:55 | 81.004 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.5677 | μmol/L | 39.5988 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.652 | 219051.9762 | 276450.4958 | 62.0402 | 75.7 | #N/A
21955 | 2021-02-18 16:55 | 81.3369 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.314 | μmol/L | 39.5865 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.682 | 219364.3247 | 276460.016 | 62.0402 | 75.7 | #N/A
21965 | 2021-02-18 16:56 | 81.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.0241 | μmol/L | 39.5865 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.71 | 219660.7978 | 276451.2539 | 62.0402 | 75.7 | #N/A
21975 | 2021-02-18 16:56 | 82.0038 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.1669 | μmol/L | 39.5248 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.724 | 219807.4352 | 276468.1637 | 62.0402 | 75.7 | #N/A
21985 | 2021-02-18 16:56 | 82.3368 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.0655 | μmol/L | 39.5865 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.706 | 219628.8835 | 276453.6828 | 62.0402 | 75.7 | #N/A
21995 | 2021-02-18 16:57 | 82.6702 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 120.0784 | μmol/L | 39.5371 | °C | 999 | hPa | Humid | 28 | 1 | 0 | 22.727 | 219764.0192 | 276465.1666 | 62.0402 | 75.7 | #N/A